## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3298-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3298-5_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3298-5_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3298-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3298-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3298-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3298-5_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3298-5_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3298-5_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3298-5_0_2_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_3298-5_0_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_3298-5_0_2_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_3298-5_0_2_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_3298-5_0_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3298-5_0_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_3298-5_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3298-5_0_2_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_3298-5_0_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_3298-5_0_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_3298-5_0_2_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_3298-5_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3298-5_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3298-5_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3298-5_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3298-5_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3298-5_0_2_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_3298-5_0_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_3298-5_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3298-5_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3298-5_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3298-5_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3298-5_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3298-5_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3298-5_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3298-5_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3298-5_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3298-5_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3298-5_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3298-5_0_2_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_3298-5_0_2_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3298-5_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_3298-5_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3298-5_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3298-5_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3298-5_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3298-5_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3298-5_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3298-5_0_2_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_3298-5_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3298-5_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_3298-5_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3298-5_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3298-5_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3298-5_0_2_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3298-5_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3298-5_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3298-5_0_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3298-5_0_2_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_3298-5_0_2_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3298-5_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3298-5_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3298-5_0_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_3298-5_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_MV_150_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3298-5_0_2_load_0 | 0 | 0.0015995 | 0.00040086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3298-5_0_2_load_1 | 2 | 0.0036727 | 0.00092047 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3298-5_0_2_load_3 | 3 | 0.000295 | 7.3933e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3298-5_0_2_load_5 | 5 | 0.0040382 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3298-5_0_2_load_7 | 8 | 0.0085606 | 0.0021455 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3298-5_0_2_load_41 | 9 | 0.0015473 | 0.00038779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3298-5_0_2_load_40 | 11 | 0.0028233 | 0.00070758 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3298-5_0_2_load_23 | 12 | 0.00044547 | 0.00011164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3298-5_0_2_load_21 | 13 | 0.00072172 | 0.00018088 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3298-5_0_2_load_20 | 14 | 0.0014682 | 0.00036796 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3298-5_0_2_load_8 | 15 | 0.0017488 | 0.0004383 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3298-5_0_2_load_42 | 16 | 0.0022786 | 0.00057108 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3298-5_0_2_load_29 | 18 | 0.0051187 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3298-5_0_2_load_37 | 19 | 0.0014813 | 0.00037125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3298-5_0_2_load_9 | 20 | 0.0033254 | 0.00083343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3298-5_0_2_load_10 | 21 | 0.0043678 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3298-5_0_2_load_11 | 22 | 0.0059051 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3298-5_0_2_load_12 | 23 | 0.0035206 | 0.00088234 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3298-5_0_2_load_53 | 25 | 0.0044502 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3298-5_0_2_load_14 | 27 | 0.0009765 | 0.00024473 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3298-5_0_2_load_16 | 29 | 0.0045791 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3298-5_0_2_load_17 | 30 | 0.00075381 | 0.00018892 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3298-5_0_2_load_19 | 32 | 0.00083947 | 0.00021039 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3298-5_0_2_load_25 | 33 | 0.0024168 | 0.00060571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3298-5_0_2_load_28 | 34 | 0.0017697 | 0.00044352 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3298-5_0_2_load_24 | 35 | 0.0017961 | 0.00045014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3298-5_0_2_load_26 | 36 | 0.0026436 | 0.00066256 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3298-5_0_2_load_27 | 37 | 0.0044018 | 0.0011032 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3298-5_0_2_load_60 | 38 | 0.0052519 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3298-5_0_2_load_61 | 39 | 0.0052003 | 0.0013033 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3298-5_0_2_load_32 | 40 | 0.0036973 | 0.00092664 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3298-5_0_2_load_34 | 41 | 0.0018014 | 0.00045148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3298-5_0_2_load_35 | 42 | 0.001061 | 0.00026591 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3298-5_0_2_load_38 | 44 | 0.001174 | 0.00029423 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3298-5_0_2_load_39 | 45 | 0.002333 | 0.00058471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3298-5_0_2_load_45 | 46 | 0.0021348 | 0.00053504 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3298-5_0_2_load_46 | 48 | 0.0012239 | 0.00030673 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3298-5_0_2_load_48 | 49 | 0.0019796 | 0.00049613 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3298-5_0_2_load_43 | 50 | 0.0018981 | 0.00047571 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3298-5_0_2_load_44 | 51 | 0.0015914 | 0.00039885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3298-5_0_2_load_50 | 52 | 0.0053293 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3298-5_0_2_load_49 | 53 | 0.0010859 | 0.00027215 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3298-5_0_2_load_51 | 54 | 0.0012462 | 0.00031232 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3298-5_0_2_load_56 | 56 | 0.0010218 | 0.00025609 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3298-5_0_2_load_55 | 58 | 0.0042707 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3298-5_0_2_load_58 | 59 | 0.0019357 | 0.00048514 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3298-5_0_2_load_59 | 60 | 0.002128 | 0.00053331 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3298-5_0_2_load_62 | 62 | 0.0018665 | 0.0004678 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3298-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3298-5_0_2_line_1 | NAYY 4x150 SE | 1 | 4 | 0.023376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3298-5_0_2_line_2 | NAYY 4x150 SE | 1 | 5 | 0.045709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3298-5_0_2_line_3 | NAYY 4x150 SE | 1 | 6 | 0.051777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3298-5_0_2_line_4 | NAYY 4x150 SE | 2 | 3 | 0.023644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3298-5_0_2_line_5 | NAYY 4x150 SE | 3 | 7 | 0.021521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3298-5_0_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.0098125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3298-5_0_2_line_7 | NAYY 4x150 SE | 5 | 9 | 0.014293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3298-5_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.027199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3298-5_0_2_line_9 | NAYY 4x150 SE | 6 | 11 | 0.021439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3298-5_0_2_line_10 | NAYY 4x150 SE | 7 | 12 | 0.022189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3298-5_0_2_line_11 | NAYY 4x150 SE | 7 | 13 | 0.024682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3298-5_0_2_line_12 | NAYY 4x150 SE | 7 | 14 | 0.010873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3298-5_0_2_line_13 | NAYY 4x150 SE | 8 | 15 | 0.0058837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3298-5_0_2_line_14 | NAYY 4x150 SE | 9 | 16 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3298-5_0_2_line_15 | NAYY 4x150 SE | 10 | 17 | 0.01528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3298-5_0_2_line_16 | NAYY 4x150 SE | 10 | 18 | 0.049025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3298-5_0_2_line_17 | NAYY 4x150 SE | 11 | 19 | 0.010362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3298-5_0_2_line_18 | NAYY 4x150 SE | 13 | 24 | 0.026274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3298-5_0_2_line_19 | NAYY 4x150 SE | 14 | 32 | 0.028441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3298-5_0_2_line_20 | NAYY 4x150 SE | 16 | 50 | 0.0035205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3298-5_0_2_line_21 | NAYY 4x150 SE | 17 | 40 | 0.0089886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3298-5_0_2_line_22 | NAYY 4x150 SE | 19 | 42 | 0.0084928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3298-5_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.013871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3298-5_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.026794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3298-5_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.017193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3298-5_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0021267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3298-5_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0067897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3298-5_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.01563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3298-5_0_2_line_29 | NAYY 4x150 SE | 26 | 58 | 0.012253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3298-5_0_2_line_30 | NAYY 4x150 SE | 26 | 55 | 0.050918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3298-5_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.018797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3298-5_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3298-5_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.042189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3298-5_0_2_line_34 | NAYY 4x150 SE | 28 | 31 | 0.023397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3298-5_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.011778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3298-5_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.012298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3298-5_0_2_line_37 | NAYY 4x150 SE | 31 | 34 | 0.016189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3298-5_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0095523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3298-5_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.024545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3298-5_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.001485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3298-5_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.019331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3298-5_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0033549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3298-5_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0027656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3298-5_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0099788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3298-5_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0077593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3298-5_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0062932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3298-5_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.010232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3298-5_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.00078501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3298-5_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.019195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3298-5_0_2_line_50 | NAYY 4x150 SE | 48 | 51 | 0.011724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3298-5_0_2_line_51 | NAYY 4x150 SE | 49 | 52 | 0.055416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3298-5_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.010692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3298-5_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3298-5_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.019529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3298-5_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.015092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3298-5_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.01296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3298-5_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.02932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3298-5_0_2_line_58 | NAYY 4x150 SE | 57 | 61 | 0.12588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3298-5_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.044208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3298-5_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.001143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3298-5_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.010139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3298-5_0_2_trafo_9 | 0.25 MVA 20/0.4 kV | 63 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2742527.5657 | 1220975.5292 | 2742539.7806 | 1220968.1667
1 | 2742544.8932 | 1220990.7792 | 2742544.6461 | 1220989.372 | 2742527.5657 | 1220975.5292
2 | 2742527.5657 | 1220975.5292 | 2742531.3397 | 1220982.7479 | 2742536.9311 | 1221012.9632 | 2742538.111 | 1221019.6956
3 | 2742483.3742 | 1220978.441 | 2742488.0487 | 1220968.0217 | 2742499.7914 | 1220971.4834 | 2742522.71 | 1220975.4463 | 2742527.5657 | 1220975.5292
4 | 2742593.6723 | 1220957.809 | 2742617.0627 | 1220954.3531
5 | 2742638.1829 | 1220954.4147 | 2742630.3375 | 1220952.3917 | 2742617.0627 | 1220954.3531
6 | 2742544.8932 | 1220990.7792 | 2742554.5939 | 1220989.3028
7 | 2742538.111 | 1221019.6956 | 2742538.9744 | 1221024.6221 | 2742538.7648 | 1221033.9109
8 | 2742472.8576 | 1221001.4425 | 2742471.8992 | 1220993.6018 | 2742474.1355 | 1220992.1318 | 2742478.2502 | 1220987.6597 | 2742479.7653 | 1220984.9269 | 2742483.3742 | 1220978.441
9 | 2742483.3742 | 1220978.441 | 2742488.1915 | 1220999.3321
10 | 2742638.1829 | 1220954.4147 | 2742636.0761 | 1220950.7944 | 2742635.1276 | 1220943.4988 | 2742636.1991 | 1220936.7965 | 2742635.5385 | 1220932.9977
11 | 2742638.1829 | 1220954.4147 | 2742641.0046 | 1220964.6243 | 2742641.4501 | 1220973.5871 | 2742640.789 | 1220978.6604
12 | 2742638.1829 | 1220954.4147 | 2742642.2201 | 1220955.7125 | 2742648.8522 | 1220955.6828
13 | 2742554.5939 | 1220989.3028 | 2742560.4107 | 1220988.4176
14 | 2742538.7648 | 1221033.9109 | 2742538.5171 | 1221044.892
15 | 2742472.8576 | 1221001.4425 | 2742468.1515 | 1221007.791 | 2742464.147 | 1221014.0005
16 | 2742472.8576 | 1221001.4425 | 2742475.5164 | 1221006.4215 | 2742479.02 | 1221017.3258 | 2742479.8446 | 1221024.7297 | 2742478.6115 | 1221049.1759
17 | 2742490.4477 | 1221009.4453 | 2742489.4802 | 1221004.921 | 2742488.1915 | 1220999.3321
18 | 2742637.7959 | 1221004.7597 | 2742638.9668 | 1220992.644 | 2742640.789 | 1220978.6604
19 | 2742677.161 | 1220957.4127 | 2742664.8946 | 1220955.611 | 2742648.8522 | 1220955.6828
20 | 2742538.5171 | 1221044.892 | 2742538.4819 | 1221046.4513 | 2742538.0543 | 1221048.3649
21 | 2742464.147 | 1221014.0005 | 2742461.0293 | 1221020.8985 | 2742460.606 | 1221022.2527
22 | 2742492.2236 | 1221017.7503 | 2742490.4477 | 1221009.4453
23 | 2742635.1922 | 1221033.5497 | 2742635.95 | 1221047.3996
24 | 2742635.1922 | 1221033.5497 | 2742635.1242 | 1221032.3083 | 2742637.5906 | 1221006.8765
25 | 2742635.95 | 1221047.3996 | 2742635.9529 | 1221047.4523 | 2742639.4181 | 1221062.4815 | 2742640.1352 | 1221064.0414
26 | 2742637.7959 | 1221004.7597 | 2742637.5906 | 1221006.8765
27 | 2742640.1352 | 1221064.0414 | 2742642.9712 | 1221070.2104
28 | 2742651.3501 | 1221083.363 | 2742644.2514 | 1221072.9952 | 2742642.9712 | 1221070.2104
29 | 2742651.3501 | 1221083.363 | 2742657.239 | 1221082.7702 | 2742663.5564 | 1221082.3124
30 | 2742651.7929 | 1221133.917 | 2742652.875 | 1221130.8848 | 2742652.8094 | 1221103.2261 | 2742652.7343 | 1221088.9454 | 2742651.3501 | 1221083.363
31 | 2742719.1041 | 1220987.893 | 2742702.261 | 1220996.2389
32 | 2742691.7888 | 1221001.4279 | 2742702.261 | 1220996.2389
33 | 2742719.1041 | 1220987.893 | 2742711.7508 | 1220977.6969 | 2742705.6976 | 1220970.2566 | 2742697.4146 | 1220963.697 | 2742688.4363 | 1220960.7147
34 | 2742734.2687 | 1221005.6383 | 2742729.7119 | 1221001.6368 | 2742719.1041 | 1220987.893
35 | 2742688.4363 | 1220960.7147 | 2742679.5529 | 1220957.764 | 2742677.161 | 1220957.4127
36 | 2742734.2687 | 1221005.6383 | 2742724.2585 | 1221012.7823
37 | 2742734.2687 | 1221005.6383 | 2742741.4681 | 1221008.9581 | 2742746.8341 | 1221010.8661 | 2742749.3957 | 1221011.0069
38 | 2742716.4832 | 1221018.3313 | 2742724.2585 | 1221012.7823
39 | 2742716.4832 | 1221018.3313 | 2742696.5042 | 1221032.5898
40 | 2742695.2955 | 1221033.4525 | 2742696.5042 | 1221032.5898
41 | 2742695.2955 | 1221033.4525 | 2742679.561 | 1221044.6818
42 | 2742676.8302 | 1221046.6306 | 2742679.561 | 1221044.6818
43 | 2742492.8018 | 1221020.4547 | 2742492.2236 | 1221017.7503
44 | 2742522.3729 | 1221083.9647 | 2742522.4547 | 1221080.2301 | 2742525.792 | 1221074.9536
45 | 2742522.3729 | 1221083.9647 | 2742522.8502 | 1221087.8016 | 2742525.7394 | 1221090.4105
46 | 2742529.156 | 1221069.6349 | 2742525.792 | 1221074.9536
47 | 2742534.087 | 1221096.2111 | 2742529.1503 | 1221093.4906 | 2742525.7394 | 1221090.4105
48 | 2742529.5756 | 1221068.9715 | 2742529.156 | 1221069.6349
49 | 2742534.087 | 1221096.2111 | 2742541.7712 | 1221098.6193 | 2742547.0734 | 1221100.3365 | 2742552.1014 | 1221102.7312
50 | 2742529.5756 | 1221068.9715 | 2742532.4735 | 1221064.3896 | 2742534.7036 | 1221058.4944
51 | 2742602.808 | 1221124.4647 | 2742597.3842 | 1221123.2939 | 2742585.5183 | 1221119.6067 | 2742564.4312 | 1221108.6035 | 2742552.1014 | 1221102.7312
52 | 2742538.0543 | 1221048.3649 | 2742537.3597 | 1221051.4732 | 2742534.7036 | 1221058.4944
53 | 2742617.8611 | 1221127.1614 | 2742609.4959 | 1221125.9084 | 2742602.808 | 1221124.4647
54 | 2742617.8611 | 1221127.1614 | 2742624.4326 | 1221128.1457 | 2742637.0965 | 1221130.5193
55 | 2742651.7929 | 1221133.917 | 2742642.4614 | 1221131.5248 | 2742637.0965 | 1221130.5193
56 | 2742651.7929 | 1221133.917 | 2742656.4859 | 1221141.4137 | 2742659.0861 | 1221144.6035
57 | 2742681.1381 | 1221163.5788 | 2742676.0839 | 1221160.0658 | 2742665.26 | 1221152.1775 | 2742659.0861 | 1221144.6035
58 | 2742681.1381 | 1221163.5788 | 2742799.0858 | 1221207.5656
59 | 2742705.8933 | 1221075.4469 | 2742699.5 | 1221073.2967 | 2742689.8587 | 1221074.0107 | 2742669.6932 | 1221081.8677 | 2742663.5564 | 1221082.3124
60 | 2742706.9767 | 1221075.8113 | 2742705.8933 | 1221075.4469
61 | 2742799.0858 | 1221207.5656 | 2742806.9593 | 1221211.2464 | 2742808.3501 | 1221211.648

## bus_geodata
| x | y | coords
0 | 2742539.7806 | 1220968.1667
1 | 2742527.5657 | 1220975.5292
2 | 2742593.6723 | 1220957.809
3 | 2742617.0627 | 1220954.3531
4 | 2742544.8932 | 1220990.7792
5 | 2742538.111 | 1221019.6956
6 | 2742483.3742 | 1220978.441
7 | 2742638.1829 | 1220954.4147
8 | 2742554.5939 | 1220989.3028
9 | 2742538.7648 | 1221033.9109
10 | 2742472.8576 | 1221001.4425
11 | 2742488.1915 | 1220999.3321
12 | 2742635.5385 | 1220932.9977
13 | 2742640.789 | 1220978.6604
14 | 2742648.8522 | 1220955.6828
15 | 2742560.4107 | 1220988.4176
16 | 2742538.5171 | 1221044.892
17 | 2742464.147 | 1221014.0005
18 | 2742478.6115 | 1221049.1759
19 | 2742490.4477 | 1221009.4453
20 | 2742635.1922 | 1221033.5497
21 | 2742635.95 | 1221047.3996
22 | 2742637.5906 | 1221006.8765
23 | 2742640.1352 | 1221064.0414
24 | 2742637.7959 | 1221004.7597
25 | 2742642.9712 | 1221070.2104
26 | 2742651.3501 | 1221083.363
27 | 2742702.261 | 1220996.2389
28 | 2742719.1041 | 1220987.893
29 | 2742691.7888 | 1221001.4279
30 | 2742688.4363 | 1220960.7147
31 | 2742734.2687 | 1221005.6383
32 | 2742677.161 | 1220957.4127
33 | 2742724.2585 | 1221012.7823
34 | 2742749.3957 | 1221011.0069
35 | 2742716.4832 | 1221018.3313
36 | 2742696.5042 | 1221032.5898
37 | 2742695.2955 | 1221033.4525
38 | 2742679.561 | 1221044.6818
39 | 2742676.8302 | 1221046.6306
40 | 2742460.606 | 1221022.2527
41 | 2742492.8018 | 1221020.4547
42 | 2742492.2236 | 1221017.7503
43 | 2742522.3729 | 1221083.9647
44 | 2742525.792 | 1221074.9536
45 | 2742525.7394 | 1221090.4105
46 | 2742529.156 | 1221069.6349
47 | 2742534.087 | 1221096.2111
48 | 2742529.5756 | 1221068.9715
49 | 2742552.1014 | 1221102.7312
50 | 2742538.0543 | 1221048.3649
51 | 2742534.7036 | 1221058.4944
52 | 2742602.808 | 1221124.4647
53 | 2742617.8611 | 1221127.1614
54 | 2742637.0965 | 1221130.5193
55 | 2742651.7929 | 1221133.917
56 | 2742659.0861 | 1221144.6035
57 | 2742681.1381 | 1221163.5788
58 | 2742663.5564 | 1221082.3124
59 | 2742705.8933 | 1221075.4469
60 | 2742706.9767 | 1221075.8113
61 | 2742799.0858 | 1221207.5656
62 | 2742808.3501 | 1221211.648
63 | 2742637.7959 | 1221004.7597

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1