## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3311-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3311-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3311-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3311-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3311-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3311-2_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3311-2_0_2_node_387 | 0.4 | n |  | TRUE
7 | bus_LV_3311-2_0_2_node_388 | 0.4 | n |  | TRUE
8 | bus_LV_3311-2_0_2_node_180 | 0.4 | n |  | TRUE
9 | bus_LV_3311-2_0_2_node_393 | 0.4 | n |  | TRUE
10 | bus_LV_3311-2_0_2_node_394 | 0.4 | n |  | TRUE
11 | bus_LV_3311-2_0_2_node_385 | 0.4 | n |  | TRUE
12 | bus_LV_3311-2_0_2_node_177 | 0.4 | n |  | TRUE
13 | bus_LV_3311-2_0_2_node_386 | 0.4 | n |  | TRUE
14 | bus_LV_3311-2_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3311-2_0_2_node_390 | 0.4 | n |  | TRUE
16 | bus_LV_3311-2_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3311-2_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3311-2_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3311-2_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3311-2_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3311-2_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3311-2_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3311-2_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3311-2_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3311-2_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3311-2_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3311-2_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3311-2_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3311-2_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3311-2_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3311-2_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3311-2_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3311-2_0_2_node_410 | 0.4 | n |  | TRUE
34 | bus_LV_3311-2_0_2_node_398 | 0.4 | n |  | TRUE
35 | bus_LV_3311-2_0_2_node_395 | 0.4 | n |  | TRUE
36 | bus_LV_3311-2_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3311-2_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3311-2_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3311-2_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3311-2_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3311-2_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3311-2_0_2_node_391 | 0.4 | n |  | TRUE
43 | bus_LV_3311-2_0_2_node_421 | 0.4 | n |  | TRUE
44 | bus_LV_3311-2_0_2_node_399 | 0.4 | n |  | TRUE
45 | bus_LV_3311-2_0_2_node_389 | 0.4 | n |  | TRUE
46 | bus_LV_3311-2_0_2_node_407 | 0.4 | n |  | TRUE
47 | bus_LV_3311-2_0_2_node_397 | 0.4 | n |  | TRUE
48 | bus_LV_3311-2_0_2_node_408 | 0.4 | n |  | TRUE
49 | bus_LV_3311-2_0_2_node_409 | 0.4 | n |  | TRUE
50 | bus_LV_3311-2_0_2_node_169 | 0.4 | n |  | TRUE
51 | bus_LV_3311-2_0_2_node_176 | 0.4 | n |  | TRUE
52 | bus_LV_3311-2_0_2_node_174 | 0.4 | n |  | TRUE
53 | bus_LV_3311-2_0_2_node_404 | 0.4 | n |  | TRUE
54 | bus_LV_3311-2_0_2_node_172 | 0.4 | n |  | TRUE
55 | bus_LV_3311-2_0_2_node_178 | 0.4 | n |  | TRUE
56 | bus_LV_3311-2_0_2_node_179 | 0.4 | n |  | TRUE
57 | bus_LV_3311-2_0_2_node_392 | 0.4 | n |  | TRUE
58 | bus_LV_3311-2_0_2_node_400 | 0.4 | n |  | TRUE
59 | bus_LV_3311-2_0_2_node_396 | 0.4 | n |  | TRUE
60 | bus_LV_3311-2_0_2_node_411 | 0.4 | n |  | TRUE
61 | bus_LV_3311-2_0_2_node_406 | 0.4 | n |  | TRUE
62 | bus_LV_3311-2_0_2_node_401 | 0.4 | n |  | TRUE
63 | bus_LV_3311-2_0_2_node_402 | 0.4 | n |  | TRUE
64 | bus_LV_3311-2_0_2_node_403 | 0.4 | n |  | TRUE
65 | bus_LV_3311-2_0_2_node_405 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_394 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3311-2_0_2_load_0 | 0 | 0.0046015 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3311-2_0_2_load_1 | 1 | 0.00039505 | 9.9009e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3311-2_0_2_load_2 | 2 | 0.0022096 | 0.00055379 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3311-2_0_2_load_3 | 3 | 0.00026849 | 6.7289e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3311-2_0_2_load_387 | 6 | 0.0037298 | 0.00093478 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3311-2_0_2_load_388 | 7 | 0.0025444 | 0.0006377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3311-2_0_2_load_180 | 8 | 0.0023458 | 0.0005879 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3311-2_0_2_load_393 | 9 | 0.00068475 | 0.00017161 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3311-2_0_2_load_394 | 10 | 0.00099944 | 0.00025048 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3311-2_0_2_load_385 | 11 | 0.0012862 | 0.00032236 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3311-2_0_2_load_177 | 12 | 0.00017741 | 4.4464e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3311-2_0_2_load_10 | 14 | 0.0016016 | 0.0004014 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3311-2_0_2_load_390 | 15 | 0.0016261 | 0.00040754 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3311-2_0_2_load_11 | 16 | 0.00092034 | 0.00023066 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3311-2_0_2_load_12 | 17 | 0.0010523 | 0.00026373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3311-2_0_2_load_13 | 18 | 0.00061608 | 0.0001544 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3311-2_0_2_load_15 | 20 | 0.0014628 | 0.00036661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3311-2_0_2_load_18 | 22 | 0.00083392 | 0.000209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3311-2_0_2_load_24 | 24 | 0.00054978 | 0.00013779 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3311-2_0_2_load_25 | 25 | 0.0010087 | 0.00025281 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3311-2_0_2_load_27 | 27 | 0.00042693 | 0.000107 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3311-2_0_2_load_20 | 28 | 0.00082944 | 0.00020788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3311-2_0_2_load_19 | 29 | 0.00083922 | 0.00021033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3311-2_0_2_load_22 | 31 | 0.0006587 | 0.00016508 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3311-2_0_2_load_23 | 32 | 0.0013619 | 0.00034132 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3311-2_0_2_load_398 | 34 | 0.00063328 | 0.00015871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3311-2_0_2_load_395 | 35 | 0.00059129 | 0.00014819 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3311-2_0_2_load_32 | 36 | 0.00070882 | 0.00017765 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3311-2_0_2_load_28 | 38 | 0.00038527 | 9.6557e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3311-2_0_2_load_30 | 40 | 0.0010423 | 0.00026123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3311-2_0_2_load_31 | 41 | 0.0018747 | 0.00046984 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3311-2_0_2_load_421 | 43 | 0.0017476 | 0.00043798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3311-2_0_2_load_399 | 44 | 0.0017319 | 0.00043406 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3311-2_0_2_load_389 | 45 | 0.0013476 | 0.00033773 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3311-2_0_2_load_397 | 47 | 0.00064369 | 0.00016132 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3311-2_0_2_load_408 | 48 | 0.0010276 | 0.00025754 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3311-2_0_2_load_409 | 49 | 0.00019907 | 4.9891e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3311-2_0_2_load_176 | 51 | 0.00029667 | 7.4352e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3311-2_0_2_load_174 | 52 | 0.00016558 | 4.1499e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3311-2_0_2_load_404 | 53 | 0.0056278 | 0.0014105 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3311-2_0_2_load_178 | 55 | 0.00019161 | 4.8022e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3311-2_0_2_load_179 | 56 | 0.000232 | 5.8145e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3311-2_0_2_load_400 | 58 | 0.0013603 | 0.00034093 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3311-2_0_2_load_396 | 59 | 0.00047213 | 0.00011833 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3311-2_0_2_load_411 | 60 | 0.0019266 | 0.00048285 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3311-2_0_2_load_406 | 61 | 0.00072821 | 0.00018251 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3311-2_0_2_load_401 | 62 | 0.00052165 | 0.00013074 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3311-2_0_2_load_402 | 63 | 0.00043047 | 0.00010789 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3311-2_0_2_load_403 | 64 | 0.00085593 | 0.00021452 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3311-2_0_2_load_405 | 65 | 0.001011 | 0.00025337 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3311-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3311-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3311-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3311-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3311-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3311-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.053578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3311-2_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.053337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3311-2_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.060979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3311-2_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.013275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3311-2_0_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.042276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3311-2_0_2_line_10 | NAYY 4x150 SE | 6 | 44 | 0.040156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3311-2_0_2_line_11 | NAYY 4x150 SE | 7 | 45 | 0.029893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3311-2_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.38376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3311-2_0_2_line_13 | NAYY 4x150 SE | 9 | 49 | 0.0077849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3311-2_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.3615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3311-2_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.071239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3311-2_0_2_line_16 | NAYY 4x150 SE | 12 | 54 | 0.026772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3311-2_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.012842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3311-2_0_2_line_18 | NAYY 4x150 SE | 15 | 53 | 0.017142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3311-2_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0080192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3311-2_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3311-2_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.13871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3311-2_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0029825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3311-2_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.005355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3311-2_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.02219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3311-2_0_2_line_25 | NAYY 4x150 SE | 21 | 26 | 0.081948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3311-2_0_2_line_26 | NAYY 4x150 SE | 21 | 27 | 0.038247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3311-2_0_2_line_27 | NAYY 4x150 SE | 22 | 28 | 0.015138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3311-2_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.033673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3311-2_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.002948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3311-2_0_2_line_30 | NAYY 4x150 SE | 24 | 34 | 0.045119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3311-2_0_2_line_31 | NAYY 4x150 SE | 25 | 35 | 0.01488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3311-2_0_2_line_32 | NAYY 4x150 SE | 26 | 36 | 0.025415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3311-2_0_2_line_33 | NAYY 4x150 SE | 26 | 37 | 0.006179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3311-2_0_2_line_34 | NAYY 4x150 SE | 27 | 38 | 0.078712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3311-2_0_2_line_35 | NAYY 4x150 SE | 28 | 29 | 0.012191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3311-2_0_2_line_36 | NAYY 4x150 SE | 29 | 30 | 0.14891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3311-2_0_2_line_37 | NAYY 4x150 SE | 30 | 31 | 0.0013589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3311-2_0_2_line_38 | NAYY 4x150 SE | 31 | 32 | 0.021325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3311-2_0_2_line_39 | NAYY 4x150 SE | 32 | 33 | 0.048743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3311-2_0_2_line_40 | NAYY 4x150 SE | 33 | 60 | 0.023482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3311-2_0_2_line_41 | NAYY 4x150 SE | 33 | 61 | 0.14588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3311-2_0_2_line_42 | NAYY 4x150 SE | 34 | 62 | 0.029462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3311-2_0_2_line_43 | NAYY 4x150 SE | 35 | 59 | 0.011899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3311-2_0_2_line_44 | NAYY 4x150 SE | 37 | 43 | 0.015011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3311-2_0_2_line_45 | NAYY 4x150 SE | 38 | 39 | 0.14881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3311-2_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.034404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3311-2_0_2_line_47 | NAYY 4x150 SE | 39 | 41 | 0.14452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3311-2_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.11425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3311-2_0_2_line_49 | NAYY 4x150 SE | 42 | 57 | 0.11391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3311-2_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.061032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3311-2_0_2_line_51 | NAYY 4x150 SE | 46 | 48 | 0.013592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3311-2_0_2_line_52 | NAYY 4x150 SE | 46 | 49 | 0.067633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3311-2_0_2_line_53 | NAYY 4x150 SE | 47 | 59 | 0.03182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3311-2_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.12735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3311-2_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.19296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3311-2_0_2_line_56 | NAYY 4x150 SE | 51 | 55 | 0.0014113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3311-2_0_2_line_57 | NAYY 4x150 SE | 52 | 54 | 0.069662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3311-2_0_2_line_58 | NAYY 4x150 SE | 53 | 58 | 0.014297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3311-2_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0068013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3311-2_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.088439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3311-2_0_2_line_61 | NAYY 4x150 SE | 61 | 65 | 0.057224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3311-2_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.018417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_3311-2_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.016849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3311-2_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.027934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3311-2_0_2_trafo_394 | 0.25 MVA 20/0.4 kV | 66 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2729789.4545 | 1222127.4877 | 2729789.4545 | 1222127.4877 | 2729796.3779 | 1222129.0843 | 2729802.5683 | 1222132.2774 | 2729832.0852 | 1222146.8994 | 2729858.4508 | 1222145.9736 | 2729871.4384 | 1222146.4572 | 2729894.6742 | 1222150.9121 | 2729911.3409 | 1222155.6843
1 | 2729789.4545 | 1222127.4877 | 2729783.2326 | 1222129.5649 | 2729779.2574 | 1222134.3933 | 2729778.7827 | 1222135.1763
2 | 2729911.3409 | 1222155.6843 | 2729923.9035 | 1222159.2814
3 | 2729770.5205 | 1222148.8035 | 2729778.7827 | 1222135.1763
4 | 2729936.5483 | 1222162.902 | 2729923.9035 | 1222159.2814
5 | 2729770.5205 | 1222148.8035 | 2729760.7959 | 1222096.1154
6 | 2729770.5205 | 1222148.8035 | 2729759.9094 | 1222154.5102 | 2729751.7299 | 1222155.8887 | 2729738.3149 | 1222154.473 | 2729729.2482 | 1222153.041 | 2729718.9281 | 1222152.7159 | 2729718.9281 | 1222152.7159
7 | 2729770.5205 | 1222148.8035 | 2729790.8218 | 1222156.6412 | 2729794.4163 | 1222160.2224 | 2729795.0542 | 1222164.7178 | 2729790.2809 | 1222169.2619 | 2729786.6063 | 1222170.7497 | 2729774.9269 | 1222174.298 | 2729768.9164 | 1222177.5668
8 | 2729936.5483 | 1222162.902 | 2729945.9844 | 1222166.8778 | 2729949.0103 | 1222167.1199
9 | 2729949.9616 | 1222123.0512 | 2729945.1658 | 1222144.2527 | 2729936.5483 | 1222162.902
10 | 2729760.7959 | 1222096.1154 | 2729760.7959 | 1222096.1154 | 2729732.9689 | 1222078.7951 | 2729729.5518 | 1222072.2545
11 | 2729689.5171 | 1222158.06 | 2729718.9281 | 1222152.7159
12 | 2729768.9164 | 1222177.5668 | 2729728.7461 | 1222559.2157
13 | 2729949.0103 | 1222167.1199 | 2729952.2941 | 1222167.3826 | 2729956.7473 | 1222166.8041
14 | 2729311.9839 | 1222655.929 | 2729668.1185 | 1222593.8678
15 | 2729728.7461 | 1222559.2157 | 2729722.0211 | 1222568.032 | 2729714.4821 | 1222573.8169 | 2729703.028 | 1222580.2948 | 2729679.8824 | 1222588.4863 | 2729668.1185 | 1222593.8678
16 | 2729304.2937 | 1222681.2603 | 2729310.8869 | 1222666.258 | 2729311.9839 | 1222655.929
17 | 2729488.1416 | 1222015.4679 | 2729485.8444 | 1222015.554 | 2729478.6487 | 1222018.4443 | 2729476.6113 | 1222020.3478
18 | 2729505.2361 | 1222016.1742 | 2729494.669 | 1222015.2234 | 2729488.1416 | 1222015.4679
19 | 2730342.418 | 1221992.4651 | 2730334.656 | 1221994.4799
20 | 2730342.418 | 1221992.4651 | 2730350.4724 | 1221990.3745 | 2730356.1923 | 1221989.3809
21 | 2730198.4854 | 1222012.7122 | 2730239.5386 | 1222006.4159 | 2730272.9654 | 1222009.8387 | 2730310.254 | 1222000.8139 | 2730334.656 | 1221994.4799
22 | 2730359.1309 | 1221988.8705 | 2730356.1923 | 1221989.3809
23 | 2730193.1396 | 1222013.2291 | 2730198.4854 | 1222012.7122
24 | 2730380.7404 | 1221991.7677 | 2730369.1527 | 1221988.3818 | 2730364.3433 | 1221987.965 | 2730359.1309 | 1221988.8705
25 | 2730193.1396 | 1222013.2291 | 2730198.8758 | 1222010.1297 | 2730207.9322 | 1222004.7567 | 2730223.3727 | 1221992.3398 | 2730238.3127 | 1221981.6467 | 2730244.4782 | 1221979.7355 | 2730254.0802 | 1221975.7868 | 2730258.0511 | 1221969.791 | 2730258.3253 | 1221966.9725
26 | 2730193.1396 | 1222013.2291 | 2730155.0372 | 1222016.5522
27 | 2730394.2082 | 1221998.6266 | 2730381.9479 | 1221992.1205 | 2730380.7404 | 1221991.7677
28 | 2730137.1865 | 1222133.1814 | 2730165.0488 | 1222120.7358 | 2730167.5471 | 1222118.8043
29 | 2730137.1865 | 1222133.1814 | 2730134.4148 | 1222134.1854
30 | 2730204.6165 | 1222093.1673 | 2730182.925 | 1222106.9153 | 2730167.5471 | 1222118.8043
31 | 2730134.4148 | 1222134.1854 | 2730120.4238 | 1222139.2531
32 | 2730258.3253 | 1221966.9725 | 2730279.1929 | 1221954.4966 | 2730278.9596 | 1221953.3683
33 | 2730258.0354 | 1221960.8055 | 2730258.356 | 1221965.572 | 2730258.3253 | 1221966.9725
34 | 2730087.1456 | 1222053.6083 | 2730089.5598 | 1222052.8643 | 2730102.4547 | 1222046.8411 | 2730113.8619 | 1222039.451 | 2730123.9951 | 1222029.9425 | 2730133.3181 | 1222022.7848 | 2730142.3828 | 1222019.1133 | 2730152.3666 | 1222016.7851 | 2730155.0372 | 1222016.5522
35 | 2730394.2082 | 1221998.6266 | 2730403.0406 | 1222003.3137 | 2730405.2045 | 1222003.6655
36 | 2730552.1213 | 1222018.0366 | 2730527.5099 | 1222021.978 | 2730519.3679 | 1222022.6668 | 2730509.2572 | 1222022.1226 | 2730497.0413 | 1222019.9976 | 2730452.6952 | 1222011.3856 | 2730405.2045 | 1222003.6655
37 | 2730552.1213 | 1222018.0366 | 2730550.9318 | 1222018.6936
38 | 2730532.2652 | 1222029.0052 | 2730550.9318 | 1222018.6936
39 | 2730484.3914 | 1222032.475 | 2730496.5396 | 1222032.4968 | 2730519.2481 | 1222033.3173 | 2730523.8288 | 1222032.7395 | 2730528.6551 | 1222030.9994 | 2730532.2652 | 1222029.0052
40 | 2730505.4638 | 1222041.811 | 2730499.7226 | 1222039.2498 | 2730491.8295 | 1222037.2419 | 2730486.3773 | 1222034.9983 | 2730484.3914 | 1222032.475
41 | 2730484.3914 | 1222032.475 | 2730466.5676 | 1222032.44 | 2730459.0383 | 1222033.9096 | 2730419.8634 | 1222048.3299 | 2730399.9419 | 1222053.6424 | 2730384.4726 | 1222055.9389 | 2730364.6445 | 1222059.7634 | 2730359.6628 | 1222059.9434 | 2730349.7223 | 1222058.2133 | 2730342.6113 | 1222058.2577
42 | 2730204.6165 | 1222093.1673 | 2730204.6165 | 1222093.1673 | 2730224.6653 | 1222085.4883 | 2730231.0752 | 1222080.7127
43 | 2730109.236 | 1222143.3054 | 2730120.4238 | 1222139.2531
44 | 2730258.0354 | 1221960.8055 | 2730257.2001 | 1221957.3623 | 2730255.8277 | 1221952.4616 | 2730254.1539 | 1221949.8895 | 2730251.6598 | 1221947.6999
45 | 2729942.2701 | 1222037.4471 | 2729952.8149 | 1222038.6115 | 2729982.7718 | 1222035.1848 | 2730004.6612 | 1222036.3302 | 2730022.2422 | 1222040.1838 | 2730041.9297 | 1222047.9867 | 2730058.9275 | 1222054.5633 | 2730068.6559 | 1222056.2772 | 2730079.552 | 1222055.9482 | 2730087.1456 | 1222053.6083
46 | 2729942.2701 | 1222037.4471 | 2729955.4478 | 1222034.7992 | 2729963.1146 | 1222032.5869 | 2729968.7837 | 1222028.7298 | 2729972.9588 | 1222024.1394
47 | 2729942.2701 | 1222037.4471 | 2729921.5585 | 1222035.1823 | 2729894.3042 | 1222030.5617 | 2729842.9447 | 1222022.0125 | 2729799.2405 | 1222017.1659
48 | 2729694.1446 | 1221976.622 | 2729726.498 | 1221996.5762 | 2729738.5011 | 1222003.2542 | 2729750.3124 | 1222007.237 | 2729767.589 | 1222012.1842 | 2729785.5201 | 1222015.6444 | 2729799.2405 | 1222017.1659
49 | 2729584.8153 | 1221962.2858 | 2729588.9132 | 1221959.1391 | 2729593.8972 | 1221957.1126 | 2729599.7758 | 1221956.1731 | 2729615.3027 | 1221955.7551 | 2729628.3399 | 1221957.1178 | 2729647.9148 | 1221961.0694 | 2729666.7042 | 1221966.5941 | 2729694.1446 | 1221976.622
50 | 2730017.7208 | 1222141.8789 | 2730021.814 | 1222141.379 | 2730029.4854 | 1222142.4251 | 2730046.1388 | 1222146.6923 | 2730078.0276 | 1222149.0284
51 | 2730017.7208 | 1222141.8789 | 2730017.62 | 1222138.852 | 2730017.3349 | 1222135.5765 | 2730016.2686 | 1222131.9391 | 2730014.5594 | 1222128.8993
52 | 2730017.7208 | 1222141.8789 | 2730015.2177 | 1222142.1801 | 2730010.0887 | 1222144.937 | 2729994.503 | 1222157.0955 | 2729981.9713 | 1222163.5272 | 2729956.7473 | 1222166.8041
53 | 2730109.236 | 1222143.3054 | 2730107.1047 | 1222144.0774 | 2730079.8892 | 1222149.1648 | 2730078.0276 | 1222149.0284
54 | 2729141.6074 | 1222524.3357 | 2729158.3587 | 1222511.1327 | 2729171.3525 | 1222503.6085 | 2729179.8938 | 1222499.168 | 2729188.9044 | 1222492.6804 | 2729199.3516 | 1222485.3789 | 2729215.2929 | 1222476.9958 | 2729219.9748 | 1222474.5288 | 2729230.5822 | 1222468.5875 | 2729241.1818 | 1222462.6572 | 2729245.2762 | 1222459.2988 | 2729247.8018 | 1222455.4262
55 | 2729141.6074 | 1222524.3357 | 2729179.2794 | 1222558.9142 | 2729210.8325 | 1222635.561 | 2729225.0096 | 1222642.3631 | 2729247.5575 | 1222643.1309 | 2729260.3133 | 1222643.0633 | 2729267.9641 | 1222641.0987
56 | 2729247.8018 | 1222455.4262 | 2729248.5728 | 1222454.2441 | 2729248.5728 | 1222454.2441
57 | 2729304.2937 | 1222681.2603 | 2729304.2019 | 1222653.369 | 2729302.5344 | 1222648.7513 | 2729295.8846 | 1222644.7147 | 2729287.297 | 1222640.4692 | 2729278.1058 | 1222639.5578 | 2729269.2173 | 1222640.7769 | 2729267.9641 | 1222641.0987
58 | 2729505.2361 | 1222016.1742 | 2729516.0257 | 1222017.145 | 2729519.4889 | 1222017.184
59 | 2729251.5434 | 1222448.1258 | 2729248.5728 | 1222454.2441
60 | 2729584.8153 | 1221962.2858 | 2729568.0886 | 1221986.7862 | 2729563.0084 | 1221992.5359 | 2729556.9917 | 1221998.0762 | 2729542.7788 | 1222008.898 | 2729534.4404 | 1222013.3869 | 2729528.415 | 1222015.8467 | 2729522.3754 | 1222017.2165 | 2729519.4889 | 1222017.184
61 | 2730342.6113 | 1222058.2577 | 2730327.5178 | 1222063.4872 | 2730321.4175 | 1222064.1542 | 2730290.2841 | 1222057.5453 | 2730287.0172 | 1222057.1891
62 | 2730245.8052 | 1222069.6571 | 2730236.2361 | 1222076.8677 | 2730231.0752 | 1222080.7127
63 | 2730245.8052 | 1222069.6571 | 2730254.0045 | 1222063.4787 | 2730260.0059 | 1222060.7741
64 | 2730287.0172 | 1222057.1891 | 2730279.565 | 1222056.3765 | 2730269.0177 | 1222056.7127 | 2730260.0059 | 1222060.7741

## bus_geodata
| x | y | coords
0 | 2729789.4545 | 1222127.4877
1 | 2729911.3409 | 1222155.6843
2 | 2729778.7827 | 1222135.1763
3 | 2729923.9035 | 1222159.2814
4 | 2729770.5205 | 1222148.8035
5 | 2729936.5483 | 1222162.902
6 | 2729760.7959 | 1222096.1154
7 | 2729718.9281 | 1222152.7159
8 | 2729768.9164 | 1222177.5668
9 | 2729949.0103 | 1222167.1199
10 | 2729949.9616 | 1222123.0512
11 | 2729668.1185 | 1222593.8678
12 | 2729311.9839 | 1222655.929
13 | 2729728.7461 | 1222559.2157
14 | 2729476.6113 | 1222020.3478
15 | 2729488.1416 | 1222015.4679
16 | 2730342.418 | 1221992.4651
17 | 2730334.656 | 1221994.4799
18 | 2730356.1923 | 1221989.3809
19 | 2730198.4854 | 1222012.7122
20 | 2730359.1309 | 1221988.8705
21 | 2730193.1396 | 1222013.2291
22 | 2730380.7404 | 1221991.7677
23 | 2730137.1865 | 1222133.1814
24 | 2730167.5471 | 1222118.8043
25 | 2730134.4148 | 1222134.1854
26 | 2730258.3253 | 1221966.9725
27 | 2730155.0372 | 1222016.5522
28 | 2730394.2082 | 1221998.6266
29 | 2730405.2045 | 1222003.6655
30 | 2730552.1213 | 1222018.0366
31 | 2730550.9318 | 1222018.6936
32 | 2730532.2652 | 1222029.0052
33 | 2730484.3914 | 1222032.475
34 | 2730204.6165 | 1222093.1673
35 | 2730120.4238 | 1222139.2531
36 | 2730278.9596 | 1221953.3683
37 | 2730258.0354 | 1221960.8055
38 | 2730087.1456 | 1222053.6083
39 | 2729942.2701 | 1222037.4471
40 | 2729972.9588 | 1222024.1394
41 | 2729799.2405 | 1222017.1659
42 | 2729694.1446 | 1221976.622
43 | 2730251.6598 | 1221947.6999
44 | 2729729.5518 | 1222072.2546
45 | 2729689.5171 | 1222158.06
46 | 2730017.7208 | 1222141.8789
47 | 2730078.0276 | 1222149.0284
48 | 2730014.5594 | 1222128.8993
49 | 2729956.7473 | 1222166.8041
50 | 2729141.6074 | 1222524.3357
51 | 2729247.8018 | 1222455.4262
52 | 2729267.9641 | 1222641.0987
53 | 2729505.2361 | 1222016.1742
54 | 2729304.2937 | 1222681.2603
55 | 2729248.5728 | 1222454.2441
56 | 2729251.5434 | 1222448.1258
57 | 2729584.8153 | 1221962.2858
58 | 2729519.4889 | 1222017.184
59 | 2730109.236 | 1222143.3054
60 | 2730505.4638 | 1222041.811
61 | 2730342.6113 | 1222058.2577
62 | 2730231.0752 | 1222080.7127
63 | 2730245.8052 | 1222069.6571
64 | 2730260.0059 | 1222060.7741
65 | 2730287.0172 | 1222057.1891
66 | 2729949.9616 | 1222123.0512

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1