## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3311-2_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_3311-2_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_3311-2_1_3_node_160 | 0.4 | n |  | TRUE
3 | bus_LV_3311-2_1_3_node_149 | 0.4 | n |  | TRUE
4 | bus_LV_3311-2_1_3_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_3311-2_1_3_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_3311-2_1_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_3311-2_1_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_3311-2_1_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_3311-2_1_3_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_3311-2_1_3_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_3311-2_1_3_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_3311-2_1_3_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_3311-2_1_3_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_3311-2_1_3_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_3311-2_1_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_3311-2_1_3_node_132 | 0.4 | n |  | TRUE
17 | bus_LV_3311-2_1_3_node_122 | 0.4 | n |  | TRUE
18 | bus_LV_3311-2_1_3_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_3311-2_1_3_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_3311-2_1_3_node_148 | 0.4 | n |  | TRUE
21 | bus_LV_3311-2_1_3_node_150 | 0.4 | n |  | TRUE
22 | bus_LV_3311-2_1_3_node_151 | 0.4 | n |  | TRUE
23 | bus_LV_3311-2_1_3_node_114 | 0.4 | n |  | TRUE
24 | bus_LV_3311-2_1_3_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_3311-2_1_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_3311-2_1_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_3311-2_1_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_3311-2_1_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_3311-2_1_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_3311-2_1_3_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_3311-2_1_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_3311-2_1_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_3311-2_1_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_3311-2_1_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_3311-2_1_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_3311-2_1_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_3311-2_1_3_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_3311-2_1_3_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_3311-2_1_3_node_135 | 0.4 | n |  | TRUE
40 | bus_LV_3311-2_1_3_node_136 | 0.4 | n |  | TRUE
41 | bus_LV_3311-2_1_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_3311-2_1_3_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_3311-2_1_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_3311-2_1_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_3311-2_1_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_3311-2_1_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_3311-2_1_3_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_3311-2_1_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_3311-2_1_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_3311-2_1_3_node_137 | 0.4 | n |  | TRUE
51 | bus_LV_3311-2_1_3_node_112 | 0.4 | n |  | TRUE
52 | bus_LV_3311-2_1_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_3311-2_1_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_3311-2_1_3_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_3311-2_1_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_3311-2_1_3_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_3311-2_1_3_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_3311-2_1_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_3311-2_1_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_3311-2_1_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_3311-2_1_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_3311-2_1_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_3311-2_1_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3311-2_1_3_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_3311-2_1_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_3311-2_1_3_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_3311-2_1_3_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_3311-2_1_3_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_3311-2_1_3_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_3311-2_1_3_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_3311-2_1_3_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_3311-2_1_3_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_3311-2_1_3_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_3311-2_1_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_3311-2_1_3_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_3311-2_1_3_node_110 | 0.4 | n |  | TRUE
77 | bus_LV_3311-2_1_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_3311-2_1_3_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_3311-2_1_3_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_3311-2_1_3_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_3311-2_1_3_node_92 | 0.4 | n |  | TRUE
82 | bus_LV_3311-2_1_3_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_3311-2_1_3_node_141 | 0.4 | n |  | TRUE
84 | bus_LV_3311-2_1_3_node_138 | 0.4 | n |  | TRUE
85 | bus_LV_3311-2_1_3_node_162 | 0.4 | n |  | TRUE
86 | bus_LV_3311-2_1_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_3311-2_1_3_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_3311-2_1_3_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_3311-2_1_3_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_3311-2_1_3_node_101 | 0.4 | n |  | TRUE
91 | bus_LV_3311-2_1_3_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_3311-2_1_3_node_104 | 0.4 | n |  | TRUE
93 | bus_LV_3311-2_1_3_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_3311-2_1_3_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_3311-2_1_3_node_106 | 0.4 | n |  | TRUE
96 | bus_LV_3311-2_1_3_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_3311-2_1_3_node_133 | 0.4 | n |  | TRUE
98 | bus_LV_3311-2_1_3_node_109 | 0.4 | n |  | TRUE
99 | bus_LV_3311-2_1_3_node_419 | 0.4 | n |  | TRUE
100 | bus_LV_3311-2_1_3_node_115 | 0.4 | n |  | TRUE
101 | bus_LV_3311-2_1_3_node_126 | 0.4 | n |  | TRUE
102 | bus_LV_3311-2_1_3_node_117 | 0.4 | n |  | TRUE
103 | bus_LV_3311-2_1_3_node_118 | 0.4 | n |  | TRUE
104 | bus_LV_3311-2_1_3_node_119 | 0.4 | n |  | TRUE
105 | bus_LV_3311-2_1_3_node_120 | 0.4 | n |  | TRUE
106 | bus_LV_3311-2_1_3_node_121 | 0.4 | n |  | TRUE
107 | bus_LV_3311-2_1_3_node_123 | 0.4 | n |  | TRUE
108 | bus_LV_3311-2_1_3_node_131 | 0.4 | n |  | TRUE
109 | bus_LV_3311-2_1_3_node_124 | 0.4 | n |  | TRUE
110 | bus_LV_3311-2_1_3_node_125 | 0.4 | n |  | TRUE
111 | bus_LV_3311-2_1_3_node_127 | 0.4 | n |  | TRUE
112 | bus_LV_3311-2_1_3_node_129 | 0.4 | n |  | TRUE
113 | bus_LV_3311-2_1_3_node_134 | 0.4 | n |  | TRUE
114 | bus_LV_3311-2_1_3_node_139 | 0.4 | n |  | TRUE
115 | bus_LV_3311-2_1_3_node_140 | 0.4 | n |  | TRUE
116 | bus_LV_3311-2_1_3_node_142 | 0.4 | n |  | TRUE
117 | bus_LV_3311-2_1_3_node_143 | 0.4 | n |  | TRUE
118 | bus_LV_3311-2_1_3_node_144 | 0.4 | n |  | TRUE
119 | bus_LV_3311-2_1_3_node_145 | 0.4 | n |  | TRUE
120 | bus_LV_3311-2_1_3_node_152 | 0.4 | n |  | TRUE
121 | bus_LV_3311-2_1_3_node_153 | 0.4 | n |  | TRUE
122 | bus_LV_3311-2_1_3_node_158 | 0.4 | n |  | TRUE
123 | bus_LV_3311-2_1_3_node_154 | 0.4 | n |  | TRUE
124 | bus_LV_3311-2_1_3_node_155 | 0.4 | n |  | TRUE
125 | bus_LV_3311-2_1_3_node_156 | 0.4 | n |  | TRUE
126 | bus_LV_3311-2_1_3_node_157 | 0.4 | n |  | TRUE
127 | bus_LV_3311-2_1_3_node_159 | 0.4 | n |  | TRUE
128 | bus_LV_3311-2_1_3_node_168 | 0.4 | n |  | TRUE
129 | bus_LV_3311-2_1_3_node_170 | 0.4 | n |  | TRUE
130 | bus_LV_3311-2_1_3_node_161 | 0.4 | n |  | TRUE
131 | bus_LV_3311-2_1_3_node_167 | 0.4 | n |  | TRUE
132 | bus_LV_3311-2_1_3_node_163 | 0.4 | n |  | TRUE
133 | bus_LV_3311-2_1_3_node_164 | 0.4 | n |  | TRUE
134 | bus_LV_3311-2_1_3_node_165 | 0.4 | n |  | TRUE
135 | bus_LV_3311-2_1_3_node_173 | 0.4 | n |  | TRUE
136 | bus_MV_54_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3311-2_1_3_load_6 | 0 | 0.00097464 | 0.00024427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3311-2_1_3_load_7 | 1 | 0.00037216 | 9.3272e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3311-2_1_3_load_160 | 2 | 0.00021978 | 5.5083e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3311-2_1_3_load_34 | 4 | 0.00063187 | 0.00015836 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3311-2_1_3_load_38 | 8 | 0.00059285 | 0.00014858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3311-2_1_3_load_39 | 9 | 0.0014884 | 0.00037304 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3311-2_1_3_load_40 | 10 | 0.0013616 | 0.00034124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3311-2_1_3_load_43 | 13 | 0.00048258 | 0.00012095 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3311-2_1_3_load_132 | 16 | 0.0011149 | 0.00027943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3311-2_1_3_load_96 | 18 | 0.00066329 | 0.00016624 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3311-2_1_3_load_95 | 19 | 0.00051574 | 0.00012926 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3311-2_1_3_load_148 | 20 | 0.00043563 | 0.00010918 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3311-2_1_3_load_150 | 21 | 0.00030585 | 7.6653e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3311-2_1_3_load_151 | 22 | 0.00018918 | 4.7412e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3311-2_1_3_load_114 | 23 | 0.00049621 | 0.00012436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3311-2_1_3_load_146 | 24 | 0.00090235 | 0.00022615 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3311-2_1_3_load_46 | 25 | 0.00073826 | 0.00018503 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3311-2_1_3_load_47 | 26 | 0.001315 | 0.00032958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3311-2_1_3_load_48 | 27 | 0.0011623 | 0.0002913 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3311-2_1_3_load_50 | 29 | 0.00090029 | 0.00022563 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3311-2_1_3_load_98 | 30 | 0.0044767 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3311-2_1_3_load_51 | 31 | 0.00018844 | 4.7229e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3311-2_1_3_load_52 | 32 | 0.00022042 | 5.5243e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3311-2_1_3_load_53 | 33 | 0.00016619 | 4.1652e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3311-2_1_3_load_78 | 37 | 0.00017734 | 4.4446e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3311-2_1_3_load_75 | 38 | 0.00019256 | 4.8261e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3311-2_1_3_load_135 | 39 | 0.00013424 | 3.3644e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3311-2_1_3_load_136 | 40 | 0.00011732 | 2.9403e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3311-2_1_3_load_57 | 41 | 0.00057395 | 0.00014384 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3311-2_1_3_load_58 | 42 | 0.0002058 | 5.1577e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3311-2_1_3_load_59 | 43 | 0.00062946 | 0.00015776 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3311-2_1_3_load_61 | 45 | 0.000552 | 0.00013834 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3311-2_1_3_load_63 | 47 | 0.00063472 | 0.00015908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3311-2_1_3_load_89 | 49 | 0.00025423 | 6.3716e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3311-2_1_3_load_137 | 50 | 0.00051194 | 0.0001283 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3311-2_1_3_load_112 | 51 | 0.00066902 | 0.00016767 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3311-2_1_3_load_65 | 52 | 0.002231 | 0.00055914 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3311-2_1_3_load_66 | 53 | 0.00051828 | 0.00012989 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3311-2_1_3_load_111 | 57 | 0.00063448 | 0.00015902 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3311-2_1_3_load_69 | 58 | 0.0011274 | 0.00028255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3311-2_1_3_load_71 | 60 | 0.0027032 | 0.00067748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3311-2_1_3_load_72 | 61 | 0.0012205 | 0.00030588 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3311-2_1_3_load_73 | 62 | 0.0058716 | 0.0014716 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3311-2_1_3_load_74 | 63 | 0.00098527 | 0.00024693 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3311-2_1_3_load_83 | 64 | 0.00039699 | 9.9496e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3311-2_1_3_load_77 | 66 | 0.00043209 | 0.00010829 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3311-2_1_3_load_82 | 68 | 0.0013807 | 0.00034604 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3311-2_1_3_load_116 | 69 | 0.0006012 | 0.00015067 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3311-2_1_3_load_102 | 70 | 0.00047559 | 0.00011919 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3311-2_1_3_load_81 | 71 | 0.0013516 | 0.00033873 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3311-2_1_3_load_130 | 72 | 0.00063795 | 0.00015989 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3311-2_1_3_load_87 | 73 | 0.0001803 | 4.5187e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3311-2_1_3_load_84 | 74 | 0.00072789 | 0.00018243 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3311-2_1_3_load_85 | 75 | 0.0010493 | 0.00026298 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3311-2_1_3_load_86 | 77 | 0.00012979 | 3.2528e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3311-2_1_3_load_90 | 79 | 0.00028775 | 7.2118e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3311-2_1_3_load_93 | 82 | 0.00030648 | 7.6811e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3311-2_1_3_load_138 | 84 | 0.00024357 | 6.1045e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3311-2_1_3_load_162 | 85 | 0.00039208 | 9.8265e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3311-2_1_3_load_94 | 86 | 0.0036432 | 0.00091308 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3311-2_1_3_load_97 | 87 | 0.00060374 | 0.00015131 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3311-2_1_3_load_99 | 88 | 0.00034341 | 8.6066e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3311-2_1_3_load_100 | 89 | 0.0011029 | 0.00027642 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3311-2_1_3_load_103 | 91 | 0.001115 | 0.00027945 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3311-2_1_3_load_104 | 92 | 0.00052178 | 0.00013077 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3311-2_1_3_load_105 | 94 | 0.00044943 | 0.00011264 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3311-2_1_3_load_106 | 95 | 0.00042194 | 0.00010575 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3311-2_1_3_load_109 | 98 | 0.00045109 | 0.00011305 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3311-2_1_3_load_419 | 99 | 0.0024824 | 0.00062215 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3311-2_1_3_load_115 | 100 | 0.00032225 | 8.0762e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3311-2_1_3_load_117 | 102 | 0.00074439 | 0.00018656 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3311-2_1_3_load_118 | 103 | 0.00096056 | 0.00024074 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3311-2_1_3_load_119 | 104 | 0.00056824 | 0.00014241 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3311-2_1_3_load_121 | 106 | 0.00062034 | 0.00015547 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3311-2_1_3_load_123 | 107 | 0.00055794 | 0.00013983 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3311-2_1_3_load_131 | 108 | 0.00049087 | 0.00012302 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3311-2_1_3_load_124 | 109 | 0.0004141 | 0.00010378 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3311-2_1_3_load_125 | 110 | 0.00063599 | 0.00015939 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3311-2_1_3_load_129 | 112 | 0.00010981 | 2.752e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3311-2_1_3_load_134 | 113 | 0.00065275 | 0.00016359 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3311-2_1_3_load_139 | 114 | 0.00033602 | 8.4213e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3311-2_1_3_load_140 | 115 | 0.00037786 | 9.47e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3311-2_1_3_load_142 | 116 | 0.00041457 | 0.0001039 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3311-2_1_3_load_143 | 117 | 0.0012695 | 0.00031818 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3311-2_1_3_load_144 | 118 | 0.00024938 | 6.2501e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3311-2_1_3_load_145 | 119 | 0.00095396 | 0.00023908 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3311-2_1_3_load_158 | 122 | 0.00096004 | 0.00024061 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3311-2_1_3_load_154 | 123 | 0.00032499 | 8.145e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3311-2_1_3_load_159 | 127 | 0.00043627 | 0.00010934 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3311-2_1_3_load_168 | 128 | 0.00024164 | 6.0561e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3311-2_1_3_load_170 | 129 | 0.00024234 | 6.0736e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3311-2_1_3_load_161 | 130 | 0.00024804 | 6.2165e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3311-2_1_3_load_167 | 131 | 0.00017109 | 4.2878e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3311-2_1_3_load_163 | 132 | 0.00018034 | 4.5198e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3311-2_1_3_load_164 | 133 | 0.00032324 | 8.1012e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3311-2_1_3_load_173 | 135 | 0.0018422 | 0.00046171 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3311-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3311-2_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3311-2_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.14632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3311-2_1_3_line_3 | NAYY 4x150 SE | 2 | 130 | 0.016731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3311-2_1_3_line_4 | NAYY 4x150 SE | 3 | 20 | 0.07543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3311-2_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.069038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3311-2_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.030218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3311-2_1_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.008591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3311-2_1_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.16964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3311-2_1_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.049954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3311-2_1_3_line_10 | NAYY 4x150 SE | 6 | 10 | 0.017968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3311-2_1_3_line_11 | NAYY 4x150 SE | 7 | 11 | 0.081264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3311-2_1_3_line_12 | NAYY 4x150 SE | 7 | 12 | 0.069299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3311-2_1_3_line_13 | NAYY 4x150 SE | 7 | 13 | 0.13237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3311-2_1_3_line_14 | NAYY 4x150 SE | 8 | 14 | 0.065314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3311-2_1_3_line_15 | NAYY 4x150 SE | 10 | 15 | 0.14627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3311-2_1_3_line_16 | NAYY 4x150 SE | 11 | 16 | 0.051259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3311-2_1_3_line_17 | NAYY 4x150 SE | 11 | 17 | 0.09145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3311-2_1_3_line_18 | NAYY 4x150 SE | 12 | 18 | 0.041496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3311-2_1_3_line_19 | NAYY 4x150 SE | 12 | 19 | 0.018181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3311-2_1_3_line_20 | NAYY 4x150 SE | 13 | 20 | 0.097244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3311-2_1_3_line_21 | NAYY 4x150 SE | 14 | 21 | 0.049093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3311-2_1_3_line_22 | NAYY 4x150 SE | 14 | 22 | 0.051798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3311-2_1_3_line_23 | NAYY 4x150 SE | 15 | 23 | 0.0014372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3311-2_1_3_line_24 | NAYY 4x150 SE | 15 | 24 | 0.042922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3311-2_1_3_line_25 | NAYY 4x150 SE | 17 | 107 | 0.070353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3311-2_1_3_line_26 | NAYY 4x150 SE | 17 | 105 | 0.034926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3311-2_1_3_line_27 | NAYY 4x150 SE | 18 | 87 | 0.029782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3311-2_1_3_line_28 | NAYY 4x150 SE | 19 | 86 | 0.045648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3311-2_1_3_line_29 | NAYY 4x150 SE | 21 | 120 | 0.011274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3311-2_1_3_line_30 | NAYY 4x150 SE | 22 | 121 | 0.021966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3311-2_1_3_line_31 | NAYY 4x150 SE | 23 | 48 | 0.022193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3311-2_1_3_line_32 | NAYY 4x150 SE | 25 | 26 | 0.017859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3311-2_1_3_line_33 | NAYY 4x150 SE | 25 | 27 | 0.094993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3311-2_1_3_line_34 | NAYY 4x150 SE | 26 | 28 | 0.035921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3311-2_1_3_line_35 | NAYY 4x150 SE | 28 | 29 | 0.032999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3311-2_1_3_line_36 | NAYY 4x150 SE | 29 | 30 | 0.1521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3311-2_1_3_line_37 | NAYY 4x150 SE | 30 | 63 | 0.025798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3311-2_1_3_line_38 | NAYY 4x150 SE | 31 | 32 | 0.095379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3311-2_1_3_line_39 | NAYY 4x150 SE | 31 | 33 | 0.013674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3311-2_1_3_line_40 | NAYY 4x150 SE | 32 | 34 | 0.034106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3311-2_1_3_line_41 | NAYY 4x150 SE | 34 | 35 | 0.039588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3311-2_1_3_line_42 | NAYY 4x150 SE | 34 | 36 | 0.017786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3311-2_1_3_line_43 | NAYY 4x150 SE | 35 | 37 | 0.028611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3311-2_1_3_line_44 | NAYY 4x150 SE | 35 | 38 | 0.019352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3311-2_1_3_line_45 | NAYY 4x150 SE | 36 | 39 | 0.05061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3311-2_1_3_line_46 | NAYY 4x150 SE | 36 | 40 | 0.072264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3311-2_1_3_line_47 | NAYY 4x150 SE | 37 | 68 | 0.051448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3311-2_1_3_line_48 | NAYY 4x150 SE | 38 | 65 | 0.096088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3311-2_1_3_line_49 | NAYY 4x150 SE | 39 | 112 | 0.080807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3311-2_1_3_line_50 | NAYY 4x150 SE | 40 | 46 | 0.039793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3311-2_1_3_line_51 | NAYY 4x150 SE | 41 | 42 | 0.046545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3311-2_1_3_line_52 | NAYY 4x150 SE | 41 | 43 | 0.092657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3311-2_1_3_line_53 | NAYY 4x150 SE | 42 | 44 | 0.063545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3311-2_1_3_line_54 | NAYY 4x150 SE | 43 | 45 | 0.049223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3311-2_1_3_line_55 | NAYY 4x150 SE | 44 | 46 | 0.039915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3311-2_1_3_line_56 | NAYY 4x150 SE | 44 | 47 | 0.10166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3311-2_1_3_line_57 | NAYY 4x150 SE | 45 | 48 | 0.030969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3311-2_1_3_line_58 | NAYY 4x150 SE | 46 | 49 | 0.020968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3311-2_1_3_line_59 | NAYY 4x150 SE | 47 | 50 | 0.068229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3311-2_1_3_line_60 | NAYY 4x150 SE | 48 | 51 | 0.097146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3311-2_1_3_line_61 | NAYY 4x150 SE | 51 | 57 | 0.07711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3311-2_1_3_line_62 | NAYY 4x150 SE | 52 | 53 | 0.059332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3311-2_1_3_line_63 | NAYY 4x150 SE | 53 | 54 | 0.011388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3311-2_1_3_line_64 | NAYY 4x150 SE | 54 | 55 | 0.054393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3311-2_1_3_line_65 | NAYY 4x150 SE | 55 | 56 | 0.00767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3311-2_1_3_line_66 | NAYY 4x150 SE | 55 | 57 | 0.099466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3311-2_1_3_line_67 | NAYY 4x150 SE | 56 | 99 | 0.33968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3311-2_1_3_line_68 | NAYY 4x150 SE | 58 | 59 | 0.14669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3311-2_1_3_line_69 | NAYY 4x150 SE | 59 | 60 | 0.019372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3311-2_1_3_line_70 | NAYY 4x150 SE | 59 | 61 | 0.071579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3311-2_1_3_line_71 | NAYY 4x150 SE | 60 | 62 | 0.0068959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3311-2_1_3_line_72 | NAYY 4x150 SE | 61 | 63 | 0.15134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3311-2_1_3_line_73 | NAYY 4x150 SE | 62 | 64 | 0.11801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3311-2_1_3_line_74 | NAYY 4x150 SE | 64 | 74 | 0.011787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3311-2_1_3_line_75 | NAYY 4x150 SE | 65 | 66 | 0.14275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3311-2_1_3_line_76 | NAYY 4x150 SE | 66 | 67 | 0.052031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_3311-2_1_3_line_77 | NAYY 4x150 SE | 67 | 69 | 0.029351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3311-2_1_3_line_78 | NAYY 4x150 SE | 67 | 70 | 0.04211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_3311-2_1_3_line_79 | NAYY 4x150 SE | 68 | 73 | 0.029118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3311-2_1_3_line_80 | NAYY 4x150 SE | 69 | 102 | 0.13431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3311-2_1_3_line_81 | NAYY 4x150 SE | 70 | 90 | 0.11595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_3311-2_1_3_line_82 | NAYY 4x150 SE | 71 | 72 | 0.19667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3311-2_1_3_line_83 | NAYY 4x150 SE | 72 | 102 | 0.052812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3311-2_1_3_line_84 | NAYY 4x150 SE | 73 | 77 | 0.028638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3311-2_1_3_line_85 | NAYY 4x150 SE | 74 | 75 | 0.0020768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_3311-2_1_3_line_86 | NAYY 4x150 SE | 75 | 76 | 0.0060329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_3311-2_1_3_line_87 | NAYY 4x150 SE | 76 | 98 | 0.040879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_3311-2_1_3_line_88 | NAYY 4x150 SE | 77 | 78 | 0.075264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3311-2_1_3_line_89 | NAYY 4x150 SE | 78 | 79 | 0.080183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3311-2_1_3_line_90 | NAYY 4x150 SE | 78 | 80 | 0.13506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3311-2_1_3_line_91 | NAYY 4x150 SE | 79 | 81 | 0.10007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3311-2_1_3_line_92 | NAYY 4x150 SE | 80 | 82 | 0.074699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3311-2_1_3_line_93 | NAYY 4x150 SE | 81 | 83 | 0.11293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3311-2_1_3_line_94 | NAYY 4x150 SE | 81 | 84 | 0.040805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3311-2_1_3_line_95 | NAYY 4x150 SE | 82 | 85 | 0.11178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3311-2_1_3_line_96 | NAYY 4x150 SE | 83 | 117 | 0.015565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3311-2_1_3_line_97 | NAYY 4x150 SE | 84 | 114 | 0.0083583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3311-2_1_3_line_98 | NAYY 4x150 SE | 88 | 89 | 0.035957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3311-2_1_3_line_99 | NAYY 4x150 SE | 88 | 90 | 0.058388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3311-2_1_3_line_100 | NAYY 4x150 SE | 90 | 91 | 0.050384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
101 | LV_3311-2_1_3_line_101 | NAYY 4x150 SE | 91 | 92 | 0.046278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
102 | LV_3311-2_1_3_line_102 | NAYY 4x150 SE | 92 | 93 | 0.11179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_3311-2_1_3_line_103 | NAYY 4x150 SE | 93 | 95 | 0.1221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
104 | LV_3311-2_1_3_line_104 | NAYY 4x150 SE | 94 | 95 | 0.039508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
105 | LV_3311-2_1_3_line_105 | NAYY 4x150 SE | 94 | 96 | 0.068382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
106 | LV_3311-2_1_3_line_106 | NAYY 4x150 SE | 94 | 97 | 0.10369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3311-2_1_3_line_107 | NAYY 4x150 SE | 96 | 98 | 0.12515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
108 | LV_3311-2_1_3_line_108 | NAYY 4x150 SE | 97 | 113 | 0.10063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3311-2_1_3_line_109 | NAYY 4x150 SE | 100 | 101 | 0.076946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3311-2_1_3_line_110 | NAYY 4x150 SE | 101 | 109 | 0.053659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3311-2_1_3_line_111 | NAYY 4x150 SE | 103 | 104 | 0.031583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3311-2_1_3_line_112 | NAYY 4x150 SE | 103 | 105 | 0.0093139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3311-2_1_3_line_113 | NAYY 4x150 SE | 104 | 106 | 0.028868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3311-2_1_3_line_114 | NAYY 4x150 SE | 107 | 108 | 0.0060905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3311-2_1_3_line_115 | NAYY 4x150 SE | 109 | 110 | 0.025112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3311-2_1_3_line_116 | NAYY 4x150 SE | 110 | 111 | 0.019837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3311-2_1_3_line_117 | NAYY 4x150 SE | 111 | 112 | 0.035463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3311-2_1_3_line_118 | NAYY 4x150 SE | 114 | 115 | 0.014729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3311-2_1_3_line_119 | NAYY 4x150 SE | 115 | 116 | 0.019099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3311-2_1_3_line_120 | NAYY 4x150 SE | 116 | 118 | 0.045802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3311-2_1_3_line_121 | NAYY 4x150 SE | 118 | 119 | 0.0078182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3311-2_1_3_line_122 | NAYY 4x150 SE | 120 | 122 | 0.047884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3311-2_1_3_line_123 | NAYY 4x150 SE | 121 | 123 | 0.14009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3311-2_1_3_line_124 | NAYY 4x150 SE | 123 | 124 | 0.097625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3311-2_1_3_line_125 | NAYY 4x150 SE | 124 | 125 | 0.10628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3311-2_1_3_line_126 | NAYY 4x150 SE | 124 | 126 | 0.24434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3311-2_1_3_line_127 | NAYY 4x150 SE | 125 | 127 | 0.19518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3311-2_1_3_line_128 | NAYY 4x150 SE | 126 | 128 | 0.090436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3311-2_1_3_line_129 | NAYY 4x150 SE | 126 | 129 | 0.027485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3311-2_1_3_line_130 | NAYY 4x150 SE | 128 | 135 | 0.014336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3311-2_1_3_line_131 | NAYY 4x150 SE | 128 | 134 | 0.00571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3311-2_1_3_line_132 | NAYY 4x150 SE | 130 | 131 | 0.10694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3311-2_1_3_line_133 | NAYY 4x150 SE | 132 | 133 | 0.063308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3311-2_1_3_line_134 | NAYY 4x150 SE | 133 | 134 | 0.067286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3311-2_1_3_trafo_78 | 0.25 MVA 20/0.4 kV | 136 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2728717.4872 | 1222176.111 | 2728712.2575 | 1222177.4365 | 2728679.869 | 1222184.5448
1 | 2728780.7421 | 1222315.3934 | 2728717.4872 | 1222176.111
2 | 2728599.2585 | 1222306.6552 | 2728679.869 | 1222184.5448
3 | 2728796.1456 | 1222312.752 | 2728791.1423 | 1222316.1877 | 2728787.1194 | 1222316.9569 | 2728780.7421 | 1222315.3934
4 | 2728599.2585 | 1222306.6552 | 2728588.2341 | 1222307.6846 | 2728571.0089 | 1222313.0059 | 2728567.1176 | 1222316.8138 | 2728564.9681 | 1222321.827 | 2728564.3971 | 1222328.9426 | 2728567.4981 | 1222351.8726 | 2728569.5279 | 1222356.6091
5 | 2728466.4185 | 1222508.4732 | 2728465.1345 | 1222509.9578 | 2728462.6721 | 1222511.5504 | 2728459.0798 | 1222513.1186 | 2728455.0608 | 1222514.066 | 2728443.8609 | 1222515.8592 | 2728408.3276 | 1222521.553 | 2728399.8447 | 1222523.7575
6 | 2728372.2113 | 1222535.6301 | 2728384.1915 | 1222528.9608 | 2728396.1193 | 1222524.7256 | 2728399.8447 | 1222523.7575
7 | 2728469.126 | 1222500.4473 | 2728468.5733 | 1222503.9049 | 2728467.3886 | 1222507.1152 | 2728466.4185 | 1222508.4732
8 | 2728466.4185 | 1222508.4732 | 2728470.3564 | 1222511.2826 | 2728473.5046 | 1222515.1759 | 2728497.5132 | 1222578.6676 | 2728500.816 | 1222583.1313 | 2728505.0967 | 1222585.1698 | 2728509.905 | 1222586.319 | 2728511.256 | 1222585.9478 | 2728516.3623 | 1222583.4894 | 2728528.4387 | 1222577.2895 | 2728540.1842 | 1222572.0054 | 2728540.8716 | 1222571.7978 | 2728547.9048 | 1222569.7035 | 2728554.7961 | 1222568.2067 | 2728561.2466 | 1222568.1459 | 2728567.419 | 1222568.6685 | 2728582.6068 | 1222571.2428
9 | 2728372.2113 | 1222535.6301 | 2728418.5231 | 1222554.6885
10 | 2728372.2113 | 1222535.6301 | 2728356.5791 | 1222544.4888
11 | 2728469.126 | 1222500.4473 | 2728469.1556 | 1222496.9674 | 2728468.4422 | 1222493.4603 | 2728467.3981 | 1222491.5695 | 2728465.3234 | 1222488.9115 | 2728462.502 | 1222486.7489 | 2728458.6338 | 1222484.5748 | 2728399.903 | 1222468.5841
12 | 2728532.1262 | 1222477.8887 | 2728521.3127 | 1222481.1134 | 2728513.0211 | 1222486.3164 | 2728501.0024 | 1222495.8092 | 2728495.7742 | 1222498.9878 | 2728490.2796 | 1222500.8041 | 2728476.2177 | 1222500.2113 | 2728469.126 | 1222500.4473
13 | 2728469.126 | 1222500.4473 | 2728477.8165 | 1222497.855 | 2728489.1287 | 1222495.0746 | 2728494.4564 | 1222491.8536 | 2728502.273 | 1222483.3487 | 2728511.7564 | 1222471.7996 | 2728518.4896 | 1222461.4699 | 2728522.573 | 1222454.0298 | 2728525.2381 | 1222446.5702 | 2728534.7715 | 1222413.3936 | 2728537.6655 | 1222406.5728 | 2728540.1807 | 1222401.8343 | 2728542.2173 | 1222399.769
14 | 2728645.8279 | 1222586.165 | 2728639.788 | 1222583.0209 | 2728630.9052 | 1222579.7708 | 2728598.2473 | 1222573.894 | 2728582.6068 | 1222571.2428
15 | 2728217.3956 | 1222580.8198 | 2728226.6507 | 1222578.773 | 2728232.8844 | 1222577.8621 | 2728278.1968 | 1222575.3583 | 2728290.2958 | 1222573.7288 | 2728301.8042 | 1222571.3415 | 2728312.5538 | 1222567.5478 | 2728321.9644 | 1222563.5696 | 2728330.379 | 1222559.3364 | 2728356.5791 | 1222544.4888
16 | 2728399.903 | 1222468.5841 | 2728410.7734 | 1222442.3306 | 2728415.0297 | 1222433.9044 | 2728418.0752 | 1222424.6293 | 2728414.4122 | 1222424.5502
17 | 2728399.903 | 1222468.5841 | 2728348.3517 | 1222452.8488 | 2728337.4605 | 1222449.478 | 2728325.3233 | 1222444.4235 | 2728313.8887 | 1222437.7495
18 | 2728532.1262 | 1222477.8887 | 2728557.4711 | 1222473.8992 | 2728569.3622 | 1222473.4778 | 2728572.8485 | 1222475.315
19 | 2728532.1262 | 1222477.8887 | 2728550.0857 | 1222475.0617
20 | 2728542.2173 | 1222399.769 | 2728544.0673 | 1222397.8928 | 2728551.084 | 1222393.4074 | 2728577.7885 | 1222380.2399 | 2728591.3454 | 1222373.6718 | 2728596.0564 | 1222371.6052 | 2728597.8398 | 1222369.4865 | 2728594.9814 | 1222364.821 | 2728582.8541 | 1222360.3666 | 2728576.7908 | 1222361.1029 | 2728572.3589 | 1222360.0842 | 2728569.5279 | 1222356.6091
21 | 2728645.8279 | 1222586.165 | 2728642.2843 | 1222595.6517 | 2728639.0255 | 1222607.0572 | 2728635.5616 | 1222619.8816 | 2728633.0464 | 1222628.4787 | 2728632.3148 | 1222633.2865
22 | 2728645.8279 | 1222586.165 | 2728651.4333 | 1222589.3998 | 2728658.2891 | 1222592.3504 | 2728664.8418 | 1222593.1815 | 2728671.4251 | 1222592.9458 | 2728678.8918 | 1222592.2066 | 2728685.9871 | 1222591.804 | 2728694.1275 | 1222594.6489 | 2728695.3825 | 1222595.3476
23 | 2728217.3956 | 1222580.8198 | 2728215.9926 | 1222581.1311
24 | 2728217.3956 | 1222580.8198 | 2728196.9924 | 1222575.9321 | 2728194.0524 | 1222561.3126 | 2728188.5596 | 1222556.9263
25 | 2728313.8887 | 1222437.7495 | 2728311.7475 | 1222440.2831 | 2728309.4769 | 1222441.7799 | 2728298.9761 | 1222442.8211 | 2728276.0944 | 1222447.6432 | 2728263.587 | 1222450.6095 | 2728251.997 | 1222452.5503 | 2728246.2482 | 1222452.0097
26 | 2728284.6978 | 1222418.4716 | 2728303.6422 | 1222431.5681 | 2728313.8887 | 1222437.7495
27 | 2728572.8485 | 1222475.315 | 2728576.6017 | 1222477.2928 | 2728581.3608 | 1222482.4775 | 2728586.2683 | 1222492.3804 | 2728578.9962 | 1222490.7646
28 | 2728586.2683 | 1222492.3804 | 2728581.3608 | 1222482.4775 | 2728576.6017 | 1222477.2928 | 2728569.3622 | 1222473.4778 | 2728557.4711 | 1222473.8992 | 2728550.0857 | 1222475.0617
29 | 2728635.4032 | 1222643.3527 | 2728631.6314 | 1222637.7779 | 2728632.3148 | 1222633.2865
30 | 2728713.3175 | 1222607.8967 | 2728707.2107 | 1222602.5937 | 2728699.7802 | 1222597.7959 | 2728695.3825 | 1222595.3476
31 | 2728194.3261 | 1222585.9384 | 2728215.9926 | 1222581.1311
32 | 2727965.7204 | 1223293.8876 | 2727976.9139 | 1223307.8039
33 | 2727885.1523 | 1223245.5338 | 2727956.7867 | 1223282.7808 | 2727965.7204 | 1223293.8876
34 | 2727982.0467 | 1223342.1495 | 2727981.3618 | 1223313.3337 | 2727976.9139 | 1223307.8039
35 | 2727982.0467 | 1223342.1495 | 2727999.2643 | 1223341.2523 | 2728010.8125 | 1223351.9738
36 | 2728144.2057 | 1223278.8862 | 2728010.8125 | 1223351.9738
37 | 2728144.2057 | 1223278.8862 | 2728134.6709 | 1223254.9147
38 | 2728086.3478 | 1222806.3364 | 2728094.9824 | 1222807.7351 | 2728171.2154 | 1222837.0326 | 2728176.0553 | 1222835.9333
39 | 2728086.3478 | 1222806.3364 | 2728072.8493 | 1222804.1498
40 | 2728209.3141 | 1222828.3792 | 2728176.0553 | 1222835.9333
41 | 2728209.3141 | 1222828.3792 | 2728223.5099 | 1222828.0068 | 2728244.4481 | 1222842.5251
42 | 2728203.783 | 1222812.1915 | 2728206.7187 | 1222814.6789 | 2728209.3141 | 1222828.3792
43 | 2728244.4481 | 1222842.5251 | 2728267.8047 | 1222859.0491
44 | 2728244.4481 | 1222842.5251 | 2728240.0403 | 1222852.0156 | 2728235.6699 | 1222859.7552
45 | 2728203.783 | 1222812.1915 | 2728165.1624 | 1222779.4839
46 | 2728251.0074 | 1222778.9816 | 2728241.1315 | 1222782.7386 | 2728234.817 | 1222782.836 | 2728224.9488 | 1222785.181 | 2728218.3189 | 1222788.9968 | 2728209.7086 | 1222787.1877 | 2728206.6201 | 1222789.6788 | 2728209.3207 | 1222794.6298 | 2728208.3493 | 1222806.9633 | 2728203.783 | 1222812.1915
47 | 2728309.8046 | 1222888.7627 | 2728267.8047 | 1222859.0491
48 | 2728161.9774 | 1222908.3915 | 2728166.0473 | 1222903.3083 | 2728176.981 | 1222900.7972 | 2728206.4441 | 1222898.5408 | 2728218.8269 | 1222885.1188 | 2728225.8155 | 1222872.7482 | 2728234.2584 | 1222862.2549 | 2728235.6699 | 1222859.7552
49 | 2728165.1624 | 1222779.4839 | 2728157.5564 | 1222773.0425 | 2728145.0473 | 1222764.1438 | 2728109.5109 | 1222753.8597 | 2728092.0258 | 1222747.8352
50 | 2728251.0074 | 1222778.9816 | 2728288.9335 | 1222791.3753
51 | 2728290.4907 | 1222706.1474 | 2728299.3774 | 1222712.7257 | 2728310.9658 | 1222717.1679 | 2728329.4787 | 1222725.9517 | 2728330.1675 | 1222728.445
52 | 2728290.4907 | 1222706.1474 | 2728279.5873 | 1222698.0763 | 2728261.7988 | 1222699.3275 | 2728253.4463 | 1222696.1116 | 2728233.6048 | 1222662.3681 | 2728230.787 | 1222649.5096
53 | 2728327.8246 | 1222787.8661 | 2728337.094 | 1222773.8879 | 2728338.5974 | 1222769.261 | 2728338.156 | 1222757.3641 | 2728330.1675 | 1222728.445
54 | 2728194.6276 | 1222616.3138 | 2728230.6275 | 1222648.7819 | 2728230.787 | 1222649.5096
55 | 2728288.9335 | 1222791.3753 | 2728294.2025 | 1222788.0417 | 2728295.9824 | 1222787.4796 | 2728324.8979 | 1222788.4813 | 2728327.8246 | 1222787.8661
56 | 2728327.8246 | 1222787.8661 | 2728363.6062 | 1222774.104 | 2728366.3314 | 1222773.6847 | 2728374.9388 | 1222776.6838 | 2728397.1227 | 1222787.6154 | 2728401.755 | 1222791.2849 | 2728407.0733 | 1222798.3275 | 2728413.2991 | 1222804.8004 | 2728415.4959 | 1222806.8542
57 | 2728194.3261 | 1222585.9384 | 2728197.492 | 1222602.3976 | 2728194.6276 | 1222616.3138
58 | 2728288.9335 | 1222791.3753 | 2728304.158 | 1222797.1303 | 2728308.1988 | 1222799.5145
59 | 2728454.7595 | 1222862.2078 | 2728443.878 | 1222846.8273 | 2728435.2989 | 1222831.2852 | 2728431.1437 | 1222824.4901 | 2728423.7332 | 1222814.5555 | 2728415.4959 | 1222806.8542
60 | 2728194.3261 | 1222585.9384 | 2728189.8052 | 1222586.9419 | 2728183.7711 | 1222587.7459 | 2728178.1943 | 1222588.104 | 2728170.3394 | 1222588.2016 | 2728162.6488 | 1222587.7135 | 2728154.1009 | 1222586.1616 | 2728120.5354 | 1222576.9652 | 2728112.7581 | 1222575.2186 | 2728103.5866 | 1222574.0871 | 2728099.0225 | 1222573.7704
61 | 2728022.2807 | 1222580.7886 | 2728031.0092 | 1222580.2978 | 2728093.0492 | 1222573.6711 | 2728098.4728 | 1222573.7323 | 2728099.0225 | 1222573.7704
62 | 2728035.5823 | 1222617.9143 | 2728018.7765 | 1222614.2399 | 2728004.4747 | 1222610.3515 | 2727998.4658 | 1222607.8759 | 2727991.7944 | 1222603.0397 | 2727981.719 | 1222595.5239
63 | 2727970.9985 | 1222592.0617 | 2727980.1899 | 1222594.3833 | 2727981.719 | 1222595.5239
64 | 2727970.9985 | 1222592.0617 | 2727966.3592 | 1222589.4043 | 2727961.7192 | 1222587.1249 | 2727955.7785 | 1222584.295 | 2727949.1659 | 1222581.6619 | 2727937.8496 | 1222577.9491 | 2727935.0501 | 1222576.1764 | 2727932.6182 | 1222573.8889 | 2727931.0228 | 1222571.1636 | 2727930.6051 | 1222569.064 | 2727930.687 | 1222565.6074 | 2727931.4995 | 1222562.7559
65 | 2727923.8124 | 1222562.4572 | 2727931.4995 | 1222562.7559
66 | 2727931.4995 | 1222562.7559 | 2727933.3791 | 1222558.971 | 2727935.3687 | 1222557.1234 | 2727937.3673 | 1222555.9209 | 2727939.6534 | 1222555.4586 | 2727942.1063 | 1222555.7115 | 2727944.291 | 1222556.4368 | 2727971.572 | 1222571.0459 | 2727982.7616 | 1222575.3566 | 2727993.0819 | 1222578.4587 | 2728001.7046 | 1222580.0564 | 2728009.751 | 1222580.5854 | 2728018.5662 | 1222580.9975 | 2728022.2807 | 1222580.7886
67 | 2727923.8124 | 1222562.4572 | 2727592.8714 | 1222485.906
68 | 2728175.5534 | 1223183.6174 | 2728184.928 | 1223189.713 | 2728223.9674 | 1223209.4697 | 2728309.4485 | 1223242.8122
69 | 2728175.5534 | 1223183.6174 | 2728159.3079 | 1223173.0654
70 | 2728175.5534 | 1223183.6174 | 2728167.6233 | 1223194.9892 | 2728199.9783 | 1223240.1223 | 2728200.5296 | 1223242.234
71 | 2728153.5248 | 1223169.3092 | 2728159.3079 | 1223173.0654
72 | 2728200.5296 | 1223242.234 | 2728206.3696 | 1223264.602 | 2728203.0105 | 1223271.2128 | 2728194.4644 | 1223269.6275 | 2728136.3416 | 1223228.2094 | 2728126.993 | 1223227.5966 | 2728123.5719 | 1223237.4421 | 2728131.5 | 1223246.9426 | 2728134.6709 | 1223254.9147
73 | 2728153.5248 | 1223169.3092 | 2728131.7096 | 1223155.1395 | 2728083.2601 | 1223122.7931 | 2728051.0123 | 1223112.8488
74 | 2728039.3942 | 1223110.9904 | 2728049.3002 | 1223112.3209 | 2728051.0123 | 1223112.8488
75 | 2728161.9774 | 1222908.3915 | 2728143.9843 | 1222920.5807 | 2728147.9952 | 1222935.4902 | 2728128.4635 | 1222932.4674 | 2728105.8106 | 1222940.4976 | 2728086.1185 | 1222942.8091 | 2728074.4615 | 1222950.3756 | 2728047.9099 | 1222959.4341
76 | 2728088.7091 | 1222987.4009 | 2728087.8722 | 1222984.336 | 2728078.5537 | 1222982.3117 | 2728063.3634 | 1222974.2784 | 2728051.9192 | 1222967.0264 | 2728047.9099 | 1222959.4341
77 | 2728088.7091 | 1222987.4009 | 2728104.8776 | 1222988.761 | 2728116.4402 | 1222994.9718
78 | 2728088.7091 | 1222987.4009 | 2728052.989 | 1222986.7654 | 2728046.6074 | 1222986.5786
79 | 2728309.8046 | 1222888.7627 | 2728330.4543 | 1222903.3718 | 2728333.9379 | 1222904.9461
80 | 2728222.4931 | 1223074.991 | 2728167.3709 | 1223044.3619 | 2728152.1504 | 1223031.4016 | 2728139.9271 | 1223018.7728 | 2728129.1371 | 1223005.4631 | 2728119.4352 | 1222996.5805 | 2728116.4402 | 1222994.9718
81 | 2727932.3046 | 1222968.4785 | 2727993.9885 | 1222979.969 | 2727999.8971 | 1222981.4528 | 2728025.7088 | 1222985.967 | 2728046.6074 | 1222986.5786
82 | 2728454.5447 | 1223164.733 | 2728271.2632 | 1223102.0904 | 2728268.657 | 1223100.6423
83 | 2728222.4931 | 1223074.991 | 2728268.657 | 1223100.6423
84 | 2728360.0344 | 1222916.7401 | 2728333.9379 | 1222904.9461
85 | 2728037.3358 | 1223110.7139 | 2728039.3942 | 1223110.9904
86 | 2728031.3566 | 1223109.9108 | 2728037.3358 | 1223110.7139
87 | 2728031.3566 | 1223109.9108 | 2728024.8418 | 1223095.359 | 2728006.5755 | 1223083.6123 | 2728003.601 | 1223082.384
88 | 2728432.6934 | 1222923.8595 | 2728422.0028 | 1222928.1101 | 2728376.7834 | 1222924.3097 | 2728360.0344 | 1222916.7401
89 | 2728432.6934 | 1222923.8595 | 2728437.6515 | 1222922.2763 | 2728451.4071 | 1222929.2787 | 2728473.967 | 1222937.8724 | 2728508.2556 | 1222946.6809
90 | 2728545.4452 | 1222998.5198 | 2728460.9031 | 1222945.2187 | 2728445.9985 | 1222934.5107 | 2728432.6934 | 1222923.8595
91 | 2728593.3888 | 1222949.2596 | 2728591.1015 | 1222956.4493 | 2728588.8709 | 1222961.016 | 2728583.4639 | 1222966.8706 | 2728576.5276 | 1222969.0671 | 2728572.681 | 1222969.4176 | 2728512.6729 | 1222947.8157 | 2728508.2556 | 1222946.6809
92 | 2728545.4452 | 1222998.5198 | 2728542.6927 | 1223000.9067 | 2728541.032 | 1223001.5714 | 2728539.572 | 1223001.3731 | 2728526.7026 | 1222994.801 | 2728520.217 | 1222992.9929 | 2728516.3202 | 1222992.8642 | 2728514.3638 | 1222993.1667 | 2728485.7779 | 1222998.7321 | 2728474.3125 | 1222996.9109
93 | 2728593.3888 | 1222949.2596 | 2728601.0177 | 1222943.453 | 2728616.3182 | 1222939.3468 | 2728654.0065 | 1222936.3475 | 2728687.1299 | 1222935.3403 | 2728703.8218 | 1222937.7586
94 | 2728593.3888 | 1222949.2596 | 2728595.5533 | 1222924.5864 | 2728599.1847 | 1222918.3931 | 2728607.7211 | 1222916.0283
95 | 2728413.0199 | 1223024.4165 | 2728406.2002 | 1223019.8102 | 2728405.4852 | 1223015.3245 | 2728399.42 | 1222993.6873 | 2728417.3142 | 1222987.8573 | 2728474.3125 | 1222996.9109
96 | 2728719.2474 | 1222940.1495 | 2728703.8218 | 1222937.7586
97 | 2728607.7211 | 1222916.0283 | 2728615.7761 | 1222913.7969
98 | 2727892.6133 | 1222885.4032 | 2727897.245 | 1222915.9384 | 2727899.6158 | 1222920.4224
99 | 2727932.3046 | 1222968.4785 | 2727918.8255 | 1222952.476 | 2727910.8343 | 1222941.64 | 2727899.6158 | 1222920.4224
100 | 2727932.3046 | 1222968.4785 | 2727891.9353 | 1222954.3554 | 2727885.6541 | 1222950.0484
101 | 2727885.6541 | 1222950.0484 | 2727871.711 | 1222940.4876 | 2727848.533 | 1222922.4458
102 | 2727745.8626 | 1222882.4394 | 2727762.1823 | 1222891.2633 | 2727780.6931 | 1222898.0327 | 2727832.1323 | 1222909.6795 | 2727848.533 | 1222922.4458
103 | 2727745.8626 | 1222882.4394 | 2727745.6181 | 1222888.5279 | 2727759.739 | 1222903.6431 | 2727777.8361 | 1222913.7729 | 2727800.5123 | 1222919.1195 | 2727810.969 | 1222925.0265 | 2727823.188 | 1222934.0183 | 2727822.5073 | 1222946.9808 | 2727823.9108 | 1222958.0145
104 | 2727840.0558 | 1222993.8155 | 2727835.8915 | 1222986.8336 | 2727828.5128 | 1222970.4398 | 2727824.422 | 1222962.0341 | 2727823.9108 | 1222958.0145
105 | 2727887.4089 | 1223042.0957 | 2727864.3807 | 1223024.5647 | 2727848.2673 | 1223007.5828 | 2727840.0558 | 1222993.8155
106 | 2727840.0558 | 1222993.8155 | 2727740.5186 | 1223022.8491
107 | 2727887.4089 | 1223042.0957 | 2727908.0605 | 1223047.01 | 2727929.5121 | 1223052.1194 | 2727951.3059 | 1223066.7106 | 2727960.8115 | 1223073.0867 | 2727988.4225 | 1223076.116 | 2728003.601 | 1223082.384
108 | 2727740.5186 | 1223022.8491 | 2727684.2026 | 1223000.2118 | 2727647.226 | 1222985.1367
109 | 2728009.7511 | 1222697.6577 | 2727981.1189 | 1222683.4641 | 2727939.7547 | 1222665.772
110 | 2728009.7511 | 1222697.6577 | 2727993.4408 | 1222700.7318 | 2727991.1186 | 1222702.8725 | 2727991.3416 | 1222705.5572 | 2727993.7806 | 1222708.5676 | 2728016.7879 | 1222723.327
111 | 2728293.995 | 1222419.0299 | 2728325.5211 | 1222420.9231
112 | 2728284.6978 | 1222418.4716 | 2728293.995 | 1222419.0299
113 | 2728354.3371 | 1222422.6535 | 2728325.5211 | 1222420.9231
114 | 2728240.1844 | 1222451.4394 | 2728246.2482 | 1222452.0097
115 | 2728016.7879 | 1222723.327 | 2728023.4465 | 1222727.5985 | 2728038.4497 | 1222736.0109
116 | 2728057.4933 | 1222740.4855 | 2728042.9978 | 1222738.5611 | 2728038.4497 | 1222736.0109
117 | 2728057.4933 | 1222740.4855 | 2728070.563 | 1222741.6787 | 2728086.4804 | 1222745.9245 | 2728092.0258 | 1222747.8352
118 | 2728629.9963 | 1222909.9831 | 2728628.8986 | 1222910.1616 | 2728615.7761 | 1222913.7969
119 | 2728629.9963 | 1222909.9831 | 2728648.8474 | 1222906.9168
120 | 2728692.5591 | 1222893.5639 | 2728657.3205 | 1222905.5386 | 2728648.8474 | 1222906.9168
121 | 2728699.9615 | 1222891.0484 | 2728692.5591 | 1222893.5639
122 | 2728635.4032 | 1222643.3527 | 2728653.6723 | 1222653.9227 | 2728661.986 | 1222658.5727 | 2728662.9875 | 1222664.1878 | 2728661.518 | 1222667.2363 | 2728655.8896 | 1222668.2266 | 2728653.3582 | 1222668.4499
123 | 2728713.3175 | 1222607.8967 | 2728717.2603 | 1222612.2298 | 2728720.0913 | 1222618.4961 | 2728723.4731 | 1222625.6083 | 2728727.3179 | 1222633.0641 | 2728731.8948 | 1222638.9456 | 2728739.9934 | 1222646.8716 | 2728746.2668 | 1222651.4887 | 2728752.5097 | 1222657.1616 | 2728758.2353 | 1222665.7035 | 2728776.3708 | 1222697.5103 | 2728784.6127 | 1222707.5745 | 2728795.0802 | 1222719.9108
124 | 2728855.8397 | 1222796.2763 | 2728831.9971 | 1222766.6808 | 2728814.8556 | 1222743.3021 | 2728796.724 | 1222721.848 | 2728795.0802 | 1222719.9108
125 | 2728873.164 | 1222898.4118 | 2728872.769 | 1222855.702 | 2728873.2465 | 1222845.5707 | 2728871.0213 | 1222825.0059 | 2728865.1839 | 1222810.0786 | 2728861.1133 | 1222802.9069 | 2728855.8397 | 1222796.2763
126 | 2728855.8397 | 1222796.2763 | 2728857.6259 | 1222795.4254 | 2728885.7799 | 1222783.9476 | 2728929.5261 | 1222767.537 | 2728942.5409 | 1222763.2042 | 2729022.3337 | 1222724.7681 | 2729049.0494 | 1222712.4705 | 2729048.8005 | 1222706.1043 | 2729062.7734 | 1222682.7994
127 | 2728873.164 | 1222898.4118 | 2728865.0532 | 1222874.2611 | 2728850.8484 | 1222857.1843 | 2728820.871 | 1222830.2583 | 2728792.579 | 1222816.2349 | 2728778.3196 | 1222801.6702 | 2728750.124 | 1222783.1788 | 2728744.3247 | 1222769.9872 | 2728742.4238 | 1222763.1375
128 | 2729062.7734 | 1222682.7994 | 2729060.0026 | 1222682.5169 | 2729058.0096 | 1222681.0058 | 2729056.2931 | 1222678.9892 | 2729054.8741 | 1222675.5 | 2729054.6859 | 1222672.2822 | 2729054.7632 | 1222669.0702 | 2729060.1639 | 1222642.5546 | 2729064.39 | 1222617.3703 | 2729068.05 | 1222598.0006
129 | 2729062.7734 | 1222682.7994 | 2729068.7753 | 1222679.9828 | 2729072.2159 | 1222677.0216 | 2729076.4143 | 1222673.3986 | 2729082.0547 | 1222669.7623 | 2729085.8581 | 1222668.3456
130 | 2729068.05 | 1222598.0006 | 2729056.913 | 1222588.9732
131 | 2729068.05 | 1222598.0006 | 2729070.0477 | 1222592.6506
132 | 2728796.1456 | 1222312.752 | 2728813.6762 | 1222418.2466
133 | 2728991.1346 | 1222521.717 | 2728991.9775 | 1222529.8413 | 2728998.6743 | 1222546.422 | 2729003.3883 | 1222549.8158 | 2729008.2572 | 1222549.9214 | 2729016.8249 | 1222544.6027 | 2729024.2986 | 1222544.598 | 2729026.0428 | 1222546.7375 | 2729028.043 | 1222552.6702
134 | 2729070.0477 | 1222592.6506 | 2729069.5463 | 1222586.0344 | 2729067.1105 | 1222575.9067 | 2729061.071 | 1222569.604 | 2729056.4966 | 1222568.871 | 2729048.7568 | 1222571.3497 | 2729042.6101 | 1222569.2926 | 2729032.2251 | 1222559.0481 | 2729028.4524 | 1222553.8844 | 2729028.043 | 1222552.6702

## bus_geodata
| x | y | coords
0 | 2728717.4872 | 1222176.111
1 | 2728679.869 | 1222184.5448
2 | 2728780.7421 | 1222315.3934
3 | 2728599.2585 | 1222306.6552
4 | 2728399.8447 | 1222523.7575
5 | 2728466.4185 | 1222508.4732
6 | 2728372.2113 | 1222535.6301
7 | 2728469.126 | 1222500.4473
8 | 2728582.6068 | 1222571.2428
9 | 2728418.5231 | 1222554.6885
10 | 2728356.5791 | 1222544.4888
11 | 2728399.903 | 1222468.5841
12 | 2728532.1262 | 1222477.8887
13 | 2728542.2173 | 1222399.769
14 | 2728645.8279 | 1222586.165
15 | 2728217.3956 | 1222580.8198
16 | 2728414.4122 | 1222424.5502
17 | 2728313.8887 | 1222437.7495
18 | 2728572.8485 | 1222475.315
19 | 2728550.0857 | 1222475.0617
20 | 2728569.5279 | 1222356.6091
21 | 2728632.3148 | 1222633.2865
22 | 2728695.3825 | 1222595.3476
23 | 2728215.9926 | 1222581.1311
24 | 2728188.5596 | 1222556.9263
25 | 2727965.7204 | 1223293.8876
26 | 2727976.9139 | 1223307.8039
27 | 2727885.1523 | 1223245.5338
28 | 2727982.0467 | 1223342.1495
29 | 2728010.8125 | 1223351.9738
30 | 2728144.2057 | 1223278.8862
31 | 2728086.3478 | 1222806.3364
32 | 2728176.0553 | 1222835.9333
33 | 2728072.8493 | 1222804.1498
34 | 2728209.3141 | 1222828.3792
35 | 2728244.4481 | 1222842.5251
36 | 2728203.783 | 1222812.1915
37 | 2728267.8047 | 1222859.0491
38 | 2728235.6699 | 1222859.7552
39 | 2728165.1624 | 1222779.4839
40 | 2728251.0074 | 1222778.9816
41 | 2728290.4907 | 1222706.1474
42 | 2728330.1675 | 1222728.445
43 | 2728230.787 | 1222649.5096
44 | 2728327.8246 | 1222787.8661
45 | 2728194.6276 | 1222616.3138
46 | 2728288.9335 | 1222791.3753
47 | 2728415.4959 | 1222806.8542
48 | 2728194.3261 | 1222585.9384
49 | 2728308.1988 | 1222799.5145
50 | 2728454.7595 | 1222862.2078
51 | 2728099.0225 | 1222573.7704
52 | 2728035.5823 | 1222617.9143
53 | 2727981.719 | 1222595.5239
54 | 2727970.9985 | 1222592.0617
55 | 2727931.4995 | 1222562.7559
56 | 2727923.8124 | 1222562.4572
57 | 2728022.2807 | 1222580.7886
58 | 2728309.4485 | 1223242.8122
59 | 2728175.5534 | 1223183.6174
60 | 2728159.3079 | 1223173.0654
61 | 2728200.5296 | 1223242.234
62 | 2728153.5248 | 1223169.3092
63 | 2728134.6709 | 1223254.9147
64 | 2728051.0123 | 1223112.8488
65 | 2728161.9774 | 1222908.3915
66 | 2728047.9099 | 1222959.4341
67 | 2728088.7091 | 1222987.4009
68 | 2728309.8046 | 1222888.7627
69 | 2728116.4402 | 1222994.9718
70 | 2728046.6074 | 1222986.5786
71 | 2728454.5447 | 1223164.733
72 | 2728268.657 | 1223100.6423
73 | 2728333.9379 | 1222904.9461
74 | 2728039.3942 | 1223110.9904
75 | 2728037.3358 | 1223110.7139
76 | 2728031.3566 | 1223109.9108
77 | 2728360.0344 | 1222916.7401
78 | 2728432.6934 | 1222923.8595
79 | 2728508.2556 | 1222946.6809
80 | 2728545.4452 | 1222998.5198
81 | 2728593.3888 | 1222949.2596
82 | 2728474.3125 | 1222996.9109
83 | 2728703.8218 | 1222937.7586
84 | 2728607.7211 | 1222916.0283
85 | 2728413.0199 | 1223024.4165
86 | 2728586.2683 | 1222492.3804
87 | 2728578.9962 | 1222490.7646
88 | 2727899.6158 | 1222920.4224
89 | 2727892.6133 | 1222885.4032
90 | 2727932.3046 | 1222968.4785
91 | 2727885.6541 | 1222950.0484
92 | 2727848.533 | 1222922.4458
93 | 2727745.8626 | 1222882.4394
94 | 2727840.0558 | 1222993.8155
95 | 2727823.9108 | 1222958.0145
96 | 2727887.4089 | 1223042.0957
97 | 2727740.5186 | 1223022.8491
98 | 2728003.601 | 1223082.384
99 | 2727592.8714 | 1222485.906
100 | 2727939.7547 | 1222665.772
101 | 2728009.7511 | 1222697.6577
102 | 2728222.4931 | 1223074.991
103 | 2728293.995 | 1222419.0299
104 | 2728325.5211 | 1222420.9231
105 | 2728284.6978 | 1222418.4716
106 | 2728354.3371 | 1222422.6535
107 | 2728246.2482 | 1222452.0097
108 | 2728240.1844 | 1222451.4394
109 | 2728016.7879 | 1222723.327
110 | 2728038.4497 | 1222736.0109
111 | 2728057.4933 | 1222740.4855
112 | 2728092.0258 | 1222747.8352
113 | 2727647.226 | 1222985.1367
114 | 2728615.7761 | 1222913.7969
115 | 2728629.9963 | 1222909.9831
116 | 2728648.8474 | 1222906.9168
117 | 2728719.2474 | 1222940.1495
118 | 2728692.5591 | 1222893.5639
119 | 2728699.9615 | 1222891.0484
120 | 2728635.4032 | 1222643.3527
121 | 2728713.3175 | 1222607.8966
122 | 2728653.3582 | 1222668.4499
123 | 2728795.0802 | 1222719.9108
124 | 2728855.8397 | 1222796.2763
125 | 2728873.164 | 1222898.4118
126 | 2729062.7734 | 1222682.7994
127 | 2728742.4238 | 1222763.1375
128 | 2729068.05 | 1222598.0006
129 | 2729085.8581 | 1222668.3456
130 | 2728796.1456 | 1222312.752
131 | 2728813.6762 | 1222418.2466
132 | 2728991.1346 | 1222521.717
133 | 2729028.043 | 1222552.6702
134 | 2729070.0477 | 1222592.6506
135 | 2729056.913 | 1222588.9732
136 | 2728244.4481 | 1222842.5251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1