## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3311-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3311-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3311-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3311-3_0_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_3311-3_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_3311-3_0_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_3311-3_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_3311-3_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3311-3_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_3311-3_0_3_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_3311-3_0_3_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_3311-3_0_3_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_3311-3_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3311-3_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3311-3_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3311-3_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3311-3_0_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_3311-3_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3311-3_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_3311-3_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_3311-3_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3311-3_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_3311-3_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3311-3_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3311-3_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_3311-3_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_3311-3_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_3311-3_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_3311-3_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3311-3_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3311-3_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_3311-3_0_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_3311-3_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3311-3_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3311-3_0_3_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_3311-3_0_3_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_3311-3_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3311-3_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3311-3_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3311-3_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3311-3_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3311-3_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3311-3_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3311-3_0_3_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_3311-3_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_3311-3_0_3_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_3311-3_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3311-3_0_3_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_3311-3_0_3_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_3311-3_0_3_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_3311-3_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3311-3_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3311-3_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3311-3_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_3311-3_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3311-3_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3311-3_0_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_3311-3_0_3_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_3311-3_0_3_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_3311-3_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_3311-3_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_3311-3_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3311-3_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3311-3_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_3311-3_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_3311-3_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3311-3_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3311-3_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3311-3_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_3311-3_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_3311-3_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_3311-3_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_3311-3_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3311-3_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3311-3_0_3_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_3311-3_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_3311-3_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_3311-3_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_3311-3_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3311-3_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_3311-3_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3311-3_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3311-3_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3311-3_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3311-3_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_3311-3_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_MV_54_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3311-3_0_3_load_0 | 0 | 0.00029558 | 7.4078e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3311-3_0_3_load_1 | 1 | 0.00026324 | 6.5974e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3311-3_0_3_load_2 | 2 | 0.00043394 | 0.00010876 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3311-3_0_3_load_16 | 3 | 0.00042107 | 0.00010553 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3311-3_0_3_load_17 | 4 | 0.00021558 | 5.4029e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3311-3_0_3_load_21 | 6 | 0.00034218 | 8.5758e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3311-3_0_3_load_22 | 7 | 0.00031451 | 7.8823e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3311-3_0_3_load_23 | 8 | 0.00055057 | 0.00013799 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3311-3_0_3_load_62 | 9 | 0.0027324 | 0.00068479 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3311-3_0_3_load_3 | 10 | 0.0005514 | 0.00013819 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3311-3_0_3_load_4 | 11 | 0.00033817 | 8.4753e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3311-3_0_3_load_5 | 12 | 0.00081201 | 0.00020351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3311-3_0_3_load_15 | 14 | 0.002334 | 0.00058495 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3311-3_0_3_load_12 | 15 | 0.0012228 | 0.00030646 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3311-3_0_3_load_58 | 16 | 0.0039796 | 0.00099738 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3311-3_0_3_load_13 | 17 | 0.00088283 | 0.00022126 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3311-3_0_3_load_7 | 18 | 0.0031176 | 0.00078134 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3311-3_0_3_load_8 | 19 | 0.001904 | 0.00047718 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3311-3_0_3_load_9 | 20 | 0.001264 | 0.00031679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3311-3_0_3_load_10 | 22 | 0.0025437 | 0.00063752 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3311-3_0_3_load_11 | 23 | 0.0014087 | 0.00035304 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3311-3_0_3_load_35 | 25 | 0.0001874 | 4.6966e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3311-3_0_3_load_33 | 26 | 0.0011355 | 0.00028459 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3311-3_0_3_load_37 | 27 | 0.00029949 | 7.506e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3311-3_0_3_load_14 | 30 | 0.0010241 | 0.00025667 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3311-3_0_3_load_56 | 31 | 0.0020325 | 0.00050939 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3311-3_0_3_load_28 | 33 | 0.00097283 | 0.00024381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3311-3_0_3_load_84 | 34 | 0.0005636 | 0.00014125 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3311-3_0_3_load_82 | 35 | 0.0032075 | 0.00080386 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3311-3_0_3_load_32 | 36 | 0.0045441 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3311-3_0_3_load_29 | 37 | 0.0050037 | 0.0012541 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3311-3_0_3_load_61 | 39 | 0.0022541 | 0.00056492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3311-3_0_3_load_27 | 40 | 0.00089515 | 0.00022435 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3311-3_0_3_load_25 | 41 | 0.0014088 | 0.00035308 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3311-3_0_3_load_26 | 42 | 0.0016429 | 0.00041175 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3311-3_0_3_load_83 | 43 | 0.0011393 | 0.00028554 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3311-3_0_3_load_85 | 44 | 0.0023431 | 0.00058725 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3311-3_0_3_load_86 | 45 | 0.0023327 | 0.00058464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3311-3_0_3_load_31 | 46 | 0.002468 | 0.00061853 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3311-3_0_3_load_69 | 48 | 0.0034706 | 0.00086982 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3311-3_0_3_load_66 | 49 | 0.0079396 | 0.0019899 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3311-3_0_3_load_39 | 50 | 0.0035669 | 0.00089395 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3311-3_0_3_load_40 | 51 | 0.0038782 | 0.00097196 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3311-3_0_3_load_41 | 52 | 0.0029848 | 0.00074807 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3311-3_0_3_load_42 | 53 | 0.0028286 | 0.00070891 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3311-3_0_3_load_43 | 54 | 0.0039777 | 0.0009969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3311-3_0_3_load_44 | 55 | 0.0025285 | 0.00063371 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3311-3_0_3_load_70 | 56 | 0.0034535 | 0.00086552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3311-3_0_3_load_81 | 57 | 0.0037747 | 0.00094602 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3311-3_0_3_load_71 | 58 | 0.0023203 | 0.00058152 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3311-3_0_3_load_45 | 60 | 0.0027045 | 0.00067782 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3311-3_0_3_load_46 | 61 | 0.0024861 | 0.00062308 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3311-3_0_3_load_47 | 62 | 0.0042963 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3311-3_0_3_load_48 | 63 | 0.004604 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3311-3_0_3_load_49 | 64 | 0.0041849 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3311-3_0_3_load_59 | 65 | 0.0027742 | 0.00069528 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3311-3_0_3_load_50 | 67 | 0.0019323 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3311-3_0_3_load_51 | 68 | 0.0040306 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3311-3_0_3_load_53 | 70 | 0.0024074 | 0.00060336 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3311-3_0_3_load_54 | 71 | 0.0027976 | 0.00070113 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3311-3_0_3_load_63 | 72 | 0.0046891 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3311-3_0_3_load_64 | 73 | 0.0025612 | 0.00064191 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3311-3_0_3_load_55 | 74 | 0.0057177 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3311-3_0_3_load_60 | 75 | 0.0025751 | 0.00064537 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3311-3_0_3_load_72 | 76 | 0.0039771 | 0.00099676 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3311-3_0_3_load_73 | 78 | 0.0018047 | 0.00045229 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3311-3_0_3_load_67 | 79 | 0.0054777 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3311-3_0_3_load_74 | 80 | 0.0017145 | 0.00042969 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3311-3_0_3_load_75 | 81 | 0.0067404 | 0.0016893 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3311-3_0_3_load_76 | 82 | 0.0025924 | 0.00064972 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3311-3_0_3_load_77 | 83 | 0.0018764 | 0.00047027 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3311-3_0_3_load_79 | 84 | 0.0018639 | 0.00046713 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3311-3_0_3_load_80 | 85 | 0.002541 | 0.00063684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3311-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.071085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3311-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.057777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3311-3_0_3_line_2 | NAYY 4x150 SE | 2 | 8 | 0.029189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3311-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.062104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3311-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.070301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3311-3_0_3_line_5 | NAYY 4x150 SE | 5 | 32 | 0.01935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3311-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.093734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3311-3_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3311-3_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.025822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3311-3_0_3_line_9 | NAYY 4x150 SE | 9 | 39 | 0.02506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3311-3_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.010565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3311-3_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.11796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3311-3_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.04249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3311-3_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.09733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3311-3_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.022705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3311-3_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.019185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3311-3_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0020962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3311-3_0_3_line_17 | NAYY 4x150 SE | 16 | 31 | 0.0055799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3311-3_0_3_line_18 | NAYY 4x150 SE | 17 | 30 | 0.023331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3311-3_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.072488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3311-3_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.053849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3311-3_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.35859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3311-3_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.007643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3311-3_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.019655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3311-3_0_3_line_24 | NAYY 4x150 SE | 21 | 27 | 0.040299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3311-3_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.090775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3311-3_0_3_line_26 | NAYY 4x150 SE | 23 | 28 | 0.059025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3311-3_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.016431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3311-3_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.055829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3311-3_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.096568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3311-3_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.086254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3311-3_0_3_line_31 | NAYY 4x150 SE | 29 | 36 | 0.075496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3311-3_0_3_line_32 | NAYY 4x150 SE | 29 | 37 | 0.012743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3311-3_0_3_line_33 | NAYY 4x150 SE | 31 | 74 | 0.029819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3311-3_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.082651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3311-3_0_3_line_35 | NAYY 4x150 SE | 33 | 40 | 0.021011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3311-3_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.01703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3311-3_0_3_line_37 | NAYY 4x150 SE | 35 | 43 | 0.0047504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3311-3_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.067343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3311-3_0_3_line_39 | NAYY 4x150 SE | 38 | 46 | 0.02772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3311-3_0_3_line_40 | NAYY 4x150 SE | 39 | 54 | 0.041641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3311-3_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.044203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3311-3_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0088237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3311-3_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.21539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3311-3_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.020921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3311-3_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.021515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3311-3_0_3_line_46 | NAYY 4x150 SE | 45 | 59 | 0.013097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3311-3_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.029532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3311-3_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.016918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3311-3_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.011732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3311-3_0_3_line_50 | NAYY 4x150 SE | 49 | 79 | 0.0085147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3311-3_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0099414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3311-3_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.026414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3311-3_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.015772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3311-3_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.022301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3311-3_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.0080131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3311-3_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.0080276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3311-3_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.077072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3311-3_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.023488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3311-3_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0044354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3311-3_0_3_line_60 | NAYY 4x150 SE | 58 | 78 | 0.023126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3311-3_0_3_line_61 | NAYY 4x150 SE | 59 | 82 | 0.024874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3311-3_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.022543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3311-3_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.02768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3311-3_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.022773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3311-3_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0040289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3311-3_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.035394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3311-3_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0057145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3311-3_0_3_line_68 | NAYY 4x150 SE | 66 | 75 | 0.0031374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3311-3_0_3_line_69 | NAYY 4x150 SE | 66 | 74 | 0.03447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3311-3_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.015623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3311-3_0_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.013287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3311-3_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.016065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3311-3_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.023288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3311-3_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.01708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3311-3_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0034005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3311-3_0_3_line_76 | NAYY 4x150 SE | 73 | 77 | 0.0083642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3311-3_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.021066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3311-3_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.024377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3311-3_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.013537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3311-3_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.00045906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3311-3_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.014811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3311-3_0_3_line_82 | NAYY 4x150 SE | 81 | 83 | 0.015831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3311-3_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3311-3_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0071508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3311-3_0_3_trafo_59 | 0.25 MVA 20/0.4 kV | 86 | 65 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2728343.4437 | 1223256.0724 | 2728350.4402 | 1223258.8014 | 2728409.2964 | 1223282.8367
1 | 2728409.2964 | 1223282.8367 | 2728443.3593 | 1223296.7471 | 2728450.0822 | 1223299.4944 | 2728463.2174 | 1223303.4607
2 | 2728463.2174 | 1223303.4607 | 2728491.1607 | 1223311.8985
3 | 2728268.913 | 1223491.3551 | 2728247.0884 | 1223470.3566 | 2728223.8253 | 1223448.6489
4 | 2728287.4188 | 1223554.3269 | 2728292.5014 | 1223534.6316 | 2728277.0468 | 1223499.181 | 2728268.913 | 1223491.3551
5 | 2728287.4188 | 1223554.3269 | 2728301.2902 | 1223567.859
6 | 2728287.4188 | 1223554.3269 | 2728258.6385 | 1223528.2301 | 2728233.0236 | 1223508.3623 | 2728212.7903 | 1223498.5977
7 | 2728176.9459 | 1223481.2994 | 2728212.7903 | 1223498.5977
8 | 2728515.8798 | 1223319.3628 | 2728491.1607 | 1223311.8985
9 | 2728539.8701 | 1223326.607 | 2728515.8798 | 1223319.3628
10 | 2728491.0036 | 1223178.9797 | 2728481.6814 | 1223174.0078
11 | 2728491.0036 | 1223178.9797 | 2728534.79 | 1223202.3326 | 2728602.9093 | 1223207.8244
12 | 2728643.5187 | 1223201.0132 | 2728624.307 | 1223209.5495 | 2728602.9093 | 1223207.8244
13 | 2728643.5187 | 1223201.0132 | 2728642.8921 | 1223206.4819 | 2728644.3308 | 1223215.031 | 2728647.9367 | 1223231.4111 | 2728651.6034 | 1223240.4198 | 2728656.1697 | 1223250.9826 | 2728656.9682 | 1223259.6625 | 2728659.2593 | 1223279.3057 | 2728655.2915 | 1223288.7832 | 2728650.1352 | 1223292.5443
14 | 2728643.5187 | 1223201.0132 | 2728664.2031 | 1223191.6509
15 | 2728632.9241 | 1223299.7755 | 2728642.3805 | 1223298.2007 | 2728650.1352 | 1223292.5443
16 | 2728664.2031 | 1223191.6509 | 2728664.8561 | 1223191.3553 | 2728666.2331 | 1223191.4378
17 | 2728635.7367 | 1223304.5947 | 2728632.9241 | 1223299.7755 | 2728632.9241 | 1223299.7755
18 | 2728689.5225 | 1223192.8324 | 2728666.2331 | 1223191.4378
19 | 2728699.6729 | 1223088.3728 | 2728697.917 | 1223085.8621 | 2728682.0256 | 1223064.6904 | 2728674.8865 | 1223055.2173 | 2728668.5276 | 1223049.3084 | 2728661.7145 | 1223044.0569 | 2728653.5503 | 1223039.8882 | 2728649.1683 | 1223038.3623
20 | 2728699.6729 | 1223088.3728 | 2728730.5351 | 1223132.5004
21 | 2728699.6729 | 1223088.3728 | 2728951.7566 | 1222833.3384
22 | 2728641.7935 | 1223036.4486 | 2728645.6512 | 1223037.1375 | 2728649.1683 | 1223038.3623
23 | 2728741.7996 | 1223148.6068 | 2728730.5351 | 1223132.5004
24 | 2728951.7566 | 1222833.3384 | 2728938.8583 | 1222795.1598
25 | 2729024.0025 | 1222878.7181 | 2729023.2499 | 1222873.542 | 2729021.8695 | 1222868.9751 | 2729016.7093 | 1222862.0243 | 2728959.5325 | 1222832.6729 | 2728955.1366 | 1222832.1106 | 2728951.7566 | 1222833.3384
26 | 2728775.6273 | 1223196.9769 | 2728765.5605 | 1223182.5809 | 2728741.7996 | 1223148.6068
27 | 2729024.0025 | 1222878.7181 | 2729020.4261 | 1222878.5071 | 2729010.3579 | 1222870.4713
28 | 2729024.0025 | 1222878.7181 | 2729024.4162 | 1222884.832 | 2729030.4964 | 1222914.777 | 2729037.6151 | 1222932.5493
29 | 2728831.3319 | 1223275.9683 | 2728781.5013 | 1223205.2996 | 2728775.6273 | 1223196.9769
30 | 2728775.6273 | 1223196.9769 | 2728766.3315 | 1223197.4318 | 2728689.5225 | 1223192.8324
31 | 2728758.8072 | 1223256.2501 | 2728824.3126 | 1223276.7504 | 2728831.3319 | 1223275.9683
32 | 2728831.3319 | 1223275.9683 | 2728838.7315 | 1223286.3425
33 | 2728653.9587 | 1223327.3376 | 2728645.8723 | 1223321.9621 | 2728635.7367 | 1223304.5947
34 | 2728301.2902 | 1223567.859 | 2728326.214 | 1223563.4704 | 2728347.859 | 1223562.6808 | 2728366.1954 | 1223557.016 | 2728382.685 | 1223556.7117
35 | 2728382.685 | 1223556.7117 | 2728385.6387 | 1223556.6572 | 2728403.3509 | 1223560.1681
36 | 2728489.1717 | 1223360.7653 | 2728505.3187 | 1223366.1776
37 | 2728505.3187 | 1223366.1776 | 2728509.8228 | 1223367.6873
38 | 2728871.2383 | 1223345.2327 | 2728853.0113 | 1223309.3646 | 2728847.216 | 1223299.1754 | 2728841.257 | 1223289.8833 | 2728838.7315 | 1223286.3425
39 | 2728871.2383 | 1223345.2327 | 2728862.3314 | 1223347.7086 | 2728856.4167 | 1223347.2357 | 2728845.8264 | 1223340.5166
40 | 2728579.7338 | 1223338.6444 | 2728539.8701 | 1223326.607
41 | 2728445.5323 | 1223573.2635 | 2728408.8061 | 1223561.2494 | 2728403.3509 | 1223560.1681
42 | 2728445.5323 | 1223573.2635 | 2728453.9186 | 1223576.0068
43 | 2728509.8228 | 1223367.6873 | 2728445.5323 | 1223573.2635
44 | 2728529.659 | 1223374.3362 | 2728509.8228 | 1223367.6873
45 | 2728529.659 | 1223374.3362 | 2728550.0587 | 1223381.1739
46 | 2728561.8424 | 1223375.4571 | 2728550.0587 | 1223381.1739 | 2728550.0587 | 1223381.1739
47 | 2728822.3089 | 1223349.3104 | 2728832.3213 | 1223338.1736 | 2728840.4842 | 1223337.1272 | 2728845.8264 | 1223340.5166
48 | 2728822.3089 | 1223349.3104 | 2728823.7284 | 1223359.0824 | 2728830.2587 | 1223361.7225
49 | 2728822.3089 | 1223349.3104 | 2728810.5792 | 1223349.0564
50 | 2728810.5792 | 1223349.0564 | 2728802.0666 | 1223348.8721
51 | 2728626.3687 | 1223352.728 | 2728635.8855 | 1223355.6024
52 | 2728601.0829 | 1223345.091 | 2728626.3687 | 1223352.728
53 | 2728650.9835 | 1223360.1624 | 2728635.8855 | 1223355.6024
54 | 2728601.0829 | 1223345.091 | 2728579.7338 | 1223338.6444
55 | 2728601.0829 | 1223345.091 | 2728593.7229 | 1223348.2596
56 | 2728650.9835 | 1223360.1624 | 2728658.6683 | 1223362.4834
57 | 2728593.7229 | 1223348.2596 | 2728591.5645 | 1223349.1888 | 2728562.6825 | 1223342.9044 | 2728549.3212 | 1223345.4401 | 2728546.241 | 1223356.3269 | 2728559.0392 | 1223372.0198
58 | 2728681.1534 | 1223369.2745 | 2728658.6683 | 1223362.4834
59 | 2728561.8424 | 1223375.4571 | 2728559.0392 | 1223372.0198
60 | 2728681.1534 | 1223369.2745 | 2728703.2914 | 1223375.9608
61 | 2728561.8424 | 1223375.4571 | 2728577.5619 | 1223394.7344
62 | 2728738.7917 | 1223337.4289 | 2728718.6483 | 1223327.3084
63 | 2728738.7917 | 1223337.4289 | 2728763.5258 | 1223349.8558
64 | 2728698.299 | 1223317.0845 | 2728718.6483 | 1223327.3084
65 | 2728767.1259 | 1223351.6645 | 2728763.5258 | 1223349.8558
66 | 2728682.0273 | 1223338.1447 | 2728679.0627 | 1223330.3862 | 2728684.6023 | 1223318.7409 | 2728696.4626 | 1223316.1619 | 2728698.299 | 1223317.0845
67 | 2728684.0671 | 1223343.4828 | 2728682.0273 | 1223338.1447
68 | 2728684.0671 | 1223343.4828 | 2728686.1455 | 1223345.833
69 | 2728684.0671 | 1223343.4828 | 2728673.0356 | 1223340.0193 | 2728653.9587 | 1223327.3376
70 | 2728771.962 | 1223396.6859 | 2728786.8423 | 1223401.4453
71 | 2728759.307 | 1223392.6383 | 2728771.962 | 1223396.6859
72 | 2728759.307 | 1223392.6383 | 2728743.9049 | 1223388.0725
73 | 2728759.307 | 1223392.6383 | 2728755.0644 | 1223404.9899 | 2728753.1927 | 1223415.0456
74 | 2728727.5296 | 1223383.2183 | 2728743.9049 | 1223388.0725
75 | 2728727.5296 | 1223383.2183 | 2728724.2694 | 1223382.2519
76 | 2728716.2501 | 1223379.8747 | 2728724.2694 | 1223382.2519
77 | 2728686.1455 | 1223345.833 | 2728700.1011 | 1223361.6137
78 | 2728716.2501 | 1223379.8747 | 2728700.1011 | 1223361.6137
79 | 2728716.2501 | 1223379.8747 | 2728703.2914 | 1223375.9608
80 | 2728591.2937 | 1223401.4142 | 2728590.8809 | 1223401.2134
81 | 2728590.8809 | 1223401.2134 | 2728577.5619 | 1223394.7344 | 2728577.5619 | 1223394.7344
82 | 2728605.5294 | 1223408.3391 | 2728591.2937 | 1223401.4142
83 | 2728605.5294 | 1223408.3391 | 2728608.9726 | 1223410.0141 | 2728618.3671 | 1223414.182
84 | 2728624.9035 | 1223417.0819 | 2728618.3671 | 1223414.182

## bus_geodata
| x | y | coords
0 | 2728343.4437 | 1223256.0724
1 | 2728409.2964 | 1223282.8367
2 | 2728463.2174 | 1223303.4607
3 | 2728223.8253 | 1223448.6489
4 | 2728268.913 | 1223491.3551
5 | 2728287.4188 | 1223554.3269
6 | 2728176.9459 | 1223481.2994
7 | 2728212.7903 | 1223498.5977
8 | 2728491.1607 | 1223311.8985
9 | 2728515.8798 | 1223319.3628
10 | 2728491.0036 | 1223178.9797
11 | 2728481.6814 | 1223174.0078
12 | 2728602.9093 | 1223207.8244
13 | 2728643.5187 | 1223201.0132
14 | 2728650.1352 | 1223292.5443
15 | 2728664.2031 | 1223191.6509
16 | 2728632.9241 | 1223299.7755
17 | 2728666.2331 | 1223191.4378
18 | 2728699.6729 | 1223088.3728
19 | 2728649.1683 | 1223038.3623
20 | 2728730.5351 | 1223132.5005
21 | 2728951.7566 | 1222833.3384
22 | 2728641.7935 | 1223036.4486
23 | 2728741.7996 | 1223148.6068
24 | 2729024.0025 | 1222878.7181
25 | 2729010.3579 | 1222870.4713
26 | 2729037.6151 | 1222932.5493
27 | 2728938.8583 | 1222795.1598
28 | 2728775.6273 | 1223196.9769
29 | 2728831.3319 | 1223275.9683
30 | 2728689.5225 | 1223192.8324
31 | 2728635.7367 | 1223304.5947
32 | 2728301.2902 | 1223567.859
33 | 2728382.685 | 1223556.7117
34 | 2728489.1717 | 1223360.7653
35 | 2728505.3187 | 1223366.1776
36 | 2728758.8072 | 1223256.2501
37 | 2728838.7315 | 1223286.3425
38 | 2728871.2383 | 1223345.2327
39 | 2728539.8701 | 1223326.607
40 | 2728403.3509 | 1223560.1681
41 | 2728445.5323 | 1223573.2635
42 | 2728453.9186 | 1223576.0068
43 | 2728509.8228 | 1223367.6873
44 | 2728529.659 | 1223374.3362
45 | 2728550.0587 | 1223381.1739
46 | 2728845.8264 | 1223340.5166
47 | 2728822.3089 | 1223349.3104
48 | 2728830.2587 | 1223361.7225
49 | 2728810.5792 | 1223349.0564
50 | 2728626.3687 | 1223352.728
51 | 2728635.8855 | 1223355.6024
52 | 2728601.0829 | 1223345.091
53 | 2728650.9835 | 1223360.1624
54 | 2728579.7338 | 1223338.6444
55 | 2728593.7229 | 1223348.2596
56 | 2728658.6683 | 1223362.4834
57 | 2728559.0392 | 1223372.0198
58 | 2728681.1534 | 1223369.2745
59 | 2728561.8424 | 1223375.4571
60 | 2728738.7917 | 1223337.4289
61 | 2728718.6483 | 1223327.3084
62 | 2728763.5258 | 1223349.8558
63 | 2728698.299 | 1223317.0845
64 | 2728767.1259 | 1223351.6645
65 | 2728682.0273 | 1223338.1447
66 | 2728684.0671 | 1223343.4828
67 | 2728771.962 | 1223396.6859
68 | 2728786.8423 | 1223401.4453
69 | 2728759.307 | 1223392.6383
70 | 2728743.9049 | 1223388.0725
71 | 2728753.1927 | 1223415.0456
72 | 2728727.5296 | 1223383.2183
73 | 2728724.2694 | 1223382.2519
74 | 2728653.9587 | 1223327.3376
75 | 2728686.1455 | 1223345.833
76 | 2728700.1011 | 1223361.6137
77 | 2728716.2501 | 1223379.8747
78 | 2728703.2914 | 1223375.9608
79 | 2728802.0666 | 1223348.8721
80 | 2728590.8809 | 1223401.2134
81 | 2728591.2937 | 1223401.4142
82 | 2728577.5619 | 1223394.7344
83 | 2728605.5294 | 1223408.3391
84 | 2728618.3671 | 1223414.182
85 | 2728624.9035 | 1223417.0819
86 | 2728684.0671 | 1223343.4828

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1