## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3312-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3312-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3312-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3312-1_0_3_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_3312-1_0_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_3312-1_0_3_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_3312-1_0_3_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_3312-1_0_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_3312-1_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_3312-1_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3312-1_0_3_node_105 | 0.4 | n |  | TRUE
11 | bus_LV_3312-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3312-1_0_3_node_97 | 0.4 | n |  | TRUE
13 | bus_LV_3312-1_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_3312-1_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3312-1_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3312-1_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3312-1_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_3312-1_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_3312-1_0_3_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_3312-1_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_3312-1_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3312-1_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3312-1_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3312-1_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3312-1_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3312-1_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3312-1_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3312-1_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3312-1_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3312-1_0_3_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_3312-1_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3312-1_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3312-1_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3312-1_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3312-1_0_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_3312-1_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3312-1_0_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_3312-1_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3312-1_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3312-1_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3312-1_0_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_3312-1_0_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_3312-1_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3312-1_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3312-1_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3312-1_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3312-1_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3312-1_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3312-1_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_3312-1_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3312-1_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3312-1_0_3_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_3312-1_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3312-1_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_3312-1_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3312-1_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3312-1_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_3312-1_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_3312-1_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3312-1_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_3312-1_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3312-1_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3312-1_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_3312-1_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3312-1_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_3312-1_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3312-1_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_3312-1_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_3312-1_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_3312-1_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3312-1_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3312-1_0_3_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_3312-1_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3312-1_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_3312-1_0_3_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3312-1_0_3_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_3312-1_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_3312-1_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_3312-1_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_3312-1_0_3_node_100 | 0.4 | n |  | TRUE
81 | bus_LV_3312-1_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3312-1_0_3_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_3312-1_0_3_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_3312-1_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_3312-1_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_3312-1_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_3312-1_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_3312-1_0_3_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_3312-1_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3312-1_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_3312-1_0_3_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_3312-1_0_3_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_3312-1_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_3312-1_0_3_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_3312-1_0_3_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3312-1_0_3_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_3312-1_0_3_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_3312-1_0_3_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_3312-1_0_3_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_3312-1_0_3_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_3312-1_0_3_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_3312-1_0_3_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_3312-1_0_3_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_3312-1_0_3_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_3312-1_0_3_node_103 | 0.4 | n |  | TRUE
106 | bus_MV_10_1_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3312-1_0_3_load_0 | 0 | 0.019414 | 0.0048655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3312-1_0_3_load_1 | 1 | 0.001104 | 0.00027668 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3312-1_0_3_load_59 | 5 | 0.00044331 | 0.0001111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3312-1_0_3_load_57 | 6 | 0.0051644 | 0.0012943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3312-1_0_3_load_54 | 7 | 0.0051732 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3312-1_0_3_load_3 | 8 | 0.00023132 | 5.7975e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3312-1_0_3_load_4 | 9 | 0.00086926 | 0.00021786 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3312-1_0_3_load_105 | 10 | 0.0014023 | 0.00035144 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3312-1_0_3_load_7 | 11 | 0.0014658 | 0.00036737 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3312-1_0_3_load_97 | 12 | 0.0032275 | 0.00080889 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3312-1_0_3_load_5 | 13 | 0.0013675 | 0.00034272 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3312-1_0_3_load_17 | 16 | 0.0014296 | 0.0003583 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3312-1_0_3_load_18 | 18 | 0.00066457 | 0.00016656 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3312-1_0_3_load_95 | 19 | 0.0021801 | 0.00054638 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3312-1_0_3_load_8 | 20 | 0.00015093 | 3.7827e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3312-1_0_3_load_9 | 21 | 0.00033865 | 8.4873e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3312-1_0_3_load_10 | 22 | 0.00046733 | 0.00011712 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3312-1_0_3_load_11 | 23 | 0.0028382 | 0.00071133 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3312-1_0_3_load_14 | 26 | 0.00062194 | 0.00015587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3312-1_0_3_load_15 | 27 | 0.00022334 | 5.5974e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3312-1_0_3_load_22 | 28 | 0.0014853 | 0.00037224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3312-1_0_3_load_19 | 29 | 0.00093922 | 0.00023539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3312-1_0_3_load_94 | 30 | 0.0016256 | 0.00040741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3312-1_0_3_load_20 | 31 | 0.002651 | 0.0006644 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3312-1_0_3_load_25 | 34 | 0.0022 | 0.00055138 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3312-1_0_3_load_85 | 35 | 0.0022666 | 0.00056807 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3312-1_0_3_load_26 | 36 | 0.0027529 | 0.00068994 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3312-1_0_3_load_27 | 38 | 0.0021708 | 0.00054406 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3312-1_0_3_load_29 | 40 | 0.003424 | 0.00085815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3312-1_0_3_load_88 | 42 | 0.0035649 | 0.00089344 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3312-1_0_3_load_30 | 43 | 0.0094309 | 0.0023636 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3312-1_0_3_load_33 | 46 | 0.0019368 | 0.0004854 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3312-1_0_3_load_34 | 47 | 0.0016846 | 0.00042219 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3312-1_0_3_load_35 | 48 | 0.0021604 | 0.00054145 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3312-1_0_3_load_73 | 49 | 0.0016395 | 0.00041089 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3312-1_0_3_load_36 | 50 | 0.0018815 | 0.00047154 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3312-1_0_3_load_47 | 51 | 0.0046369 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3312-1_0_3_load_71 | 52 | 0.0018885 | 0.00047331 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3312-1_0_3_load_37 | 53 | 0.0046267 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3312-1_0_3_load_39 | 57 | 0.0032209 | 0.00080724 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3312-1_0_3_load_55 | 59 | 0.001417 | 0.00035513 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3312-1_0_3_load_41 | 60 | 0.0051623 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3312-1_0_3_load_51 | 61 | 0.0024524 | 0.00061463 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3312-1_0_3_load_43 | 63 | 0.0030922 | 0.00077497 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3312-1_0_3_load_45 | 64 | 0.0024524 | 0.00061462 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3312-1_0_3_load_46 | 65 | 0.0018227 | 0.0004568 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3312-1_0_3_load_67 | 66 | 0.0021695 | 0.00054374 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3312-1_0_3_load_48 | 67 | 0.0083699 | 0.0020977 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3312-1_0_3_load_50 | 69 | 0.0043616 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3312-1_0_3_load_60 | 70 | 0.0045539 | 0.0011413 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3312-1_0_3_load_61 | 71 | 0.0048436 | 0.0012139 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3312-1_0_3_load_52 | 72 | 0.005549 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3312-1_0_3_load_62 | 73 | 0.0034061 | 0.00085364 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3312-1_0_3_load_65 | 76 | 0.002512 | 0.00062957 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3312-1_0_3_load_79 | 77 | 0.0034758 | 0.00087111 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3312-1_0_3_load_75 | 78 | 0.0039041 | 0.00097845 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3312-1_0_3_load_66 | 79 | 0.0027168 | 0.0006809 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3312-1_0_3_load_68 | 82 | 0.0017374 | 0.00043544 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3312-1_0_3_load_69 | 83 | 0.002923 | 0.00073258 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3312-1_0_3_load_70 | 84 | 0.0018697 | 0.0004686 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3312-1_0_3_load_72 | 85 | 0.0037773 | 0.00094668 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3312-1_0_3_load_74 | 86 | 0.0017131 | 0.00042934 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3312-1_0_3_load_83 | 89 | 0.0038347 | 0.00096107 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3312-1_0_3_load_80 | 90 | 0.0027173 | 0.00068103 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3312-1_0_3_load_98 | 91 | 0.0024092 | 0.0006038 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3312-1_0_3_load_99 | 92 | 0.0023075 | 0.0005783 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3312-1_0_3_load_93 | 93 | 0.0010524 | 0.00026376 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3312-1_0_3_load_81 | 94 | 0.0025859 | 0.00064809 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3312-1_0_3_load_92 | 95 | 0.0011769 | 0.00029495 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3312-1_0_3_load_101 | 96 | 0.0010149 | 0.00025436 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3312-1_0_3_load_102 | 97 | 0.001684 | 0.00042204 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3312-1_0_3_load_82 | 98 | 0.0022975 | 0.00057581 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3312-1_0_3_load_86 | 99 | 0.0022985 | 0.00057605 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3312-1_0_3_load_91 | 100 | 0.00090787 | 0.00022753 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3312-1_0_3_load_89 | 101 | 0.0020291 | 0.00050854 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3312-1_0_3_load_90 | 102 | 0.0027234 | 0.00068255 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3312-1_0_3_load_104 | 103 | 0.0023294 | 0.00058381 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3312-1_0_3_load_96 | 104 | 0.00061178 | 0.00015333 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3312-1_0_3_load_103 | 105 | 0.002687 | 0.00067343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3312-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3312-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.03736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3312-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.071225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3312-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3312-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3312-1_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0083621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3312-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.036627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3312-1_0_3_line_7 | NAYY 4x150 SE | 5 | 24 | 0.076901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3312-1_0_3_line_8 | NAYY 4x150 SE | 7 | 62 | 0.024081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3312-1_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.027231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3312-1_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.18954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3312-1_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0016362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3312-1_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0068536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3312-1_0_3_line_13 | NAYY 4x150 SE | 12 | 104 | 0.01366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3312-1_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0011099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3312-1_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.021114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3312-1_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3312-1_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.013662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3312-1_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.039232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3312-1_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.007343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3312-1_0_3_line_20 | NAYY 4x150 SE | 17 | 28 | 0.041421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3312-1_0_3_line_21 | NAYY 4x150 SE | 18 | 29 | 0.0018706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3312-1_0_3_line_22 | NAYY 4x150 SE | 19 | 30 | 0.039971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3312-1_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0021355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3312-1_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.014253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3312-1_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.028255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3312-1_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.056066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3312-1_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.027305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3312-1_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.014512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3312-1_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0062584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3312-1_0_3_line_30 | NAYY 4x150 SE | 28 | 32 | 0.0083827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3312-1_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0082368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3312-1_0_3_line_32 | NAYY 4x150 SE | 30 | 104 | 0.0069616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3312-1_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.010378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3312-1_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.014648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3312-1_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0013677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3312-1_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.01536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3312-1_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.019136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3312-1_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0057745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3312-1_0_3_line_39 | NAYY 4x150 SE | 37 | 99 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3312-1_0_3_line_40 | NAYY 4x150 SE | 37 | 89 | 0.0048944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3312-1_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.051499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3312-1_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0035902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3312-1_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.018618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3312-1_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.021679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3312-1_0_3_line_45 | NAYY 4x150 SE | 42 | 101 | 0.016826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3312-1_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.027924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3312-1_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.034768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3312-1_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.016788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3312-1_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.015967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3312-1_0_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.017434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3312-1_0_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.0015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3312-1_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.029862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3312-1_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.0049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3312-1_0_3_line_54 | NAYY 4x150 SE | 49 | 52 | 0.022564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3312-1_0_3_line_55 | NAYY 4x150 SE | 50 | 53 | 0.017467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3312-1_0_3_line_56 | NAYY 4x150 SE | 51 | 54 | 0.029078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3312-1_0_3_line_57 | NAYY 4x150 SE | 52 | 83 | 0.00054616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3312-1_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.0075765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3312-1_0_3_line_59 | NAYY 4x150 SE | 54 | 64 | 0.019295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3312-1_0_3_line_60 | NAYY 4x150 SE | 54 | 65 | 0.01596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3312-1_0_3_line_61 | NAYY 4x150 SE | 54 | 63 | 0.010104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3312-1_0_3_line_62 | NAYY 4x150 SE | 55 | 56 | 0.029551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3312-1_0_3_line_63 | NAYY 4x150 SE | 55 | 57 | 0.030489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3312-1_0_3_line_64 | NAYY 4x150 SE | 56 | 58 | 0.020475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3312-1_0_3_line_65 | NAYY 4x150 SE | 56 | 59 | 0.027642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3312-1_0_3_line_66 | NAYY 4x150 SE | 58 | 60 | 0.020704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3312-1_0_3_line_67 | NAYY 4x150 SE | 59 | 61 | 0.022914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3312-1_0_3_line_68 | NAYY 4x150 SE | 59 | 62 | 0.032594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3312-1_0_3_line_69 | NAYY 4x150 SE | 61 | 68 | 0.016361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3312-1_0_3_line_70 | NAYY 4x150 SE | 62 | 72 | 0.026018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3312-1_0_3_line_71 | NAYY 4x150 SE | 65 | 66 | 0.00093859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3312-1_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.029668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3312-1_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.020294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3312-1_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.0087677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3312-1_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.028261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3312-1_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.010739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_3312-1_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 0.018704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3312-1_0_3_line_78 | NAYY 4x150 SE | 74 | 75 | 0.008364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3312-1_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.036712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3312-1_0_3_line_80 | NAYY 4x150 SE | 75 | 77 | 0.01864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3312-1_0_3_line_81 | NAYY 4x150 SE | 75 | 78 | 0.01231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3312-1_0_3_line_82 | NAYY 4x150 SE | 76 | 79 | 0.0011804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3312-1_0_3_line_83 | NAYY 4x150 SE | 77 | 80 | 0.0093374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3312-1_0_3_line_84 | NAYY 4x150 SE | 78 | 81 | 0.0288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3312-1_0_3_line_85 | NAYY 4x150 SE | 80 | 96 | 0.013192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3312-1_0_3_line_86 | NAYY 4x150 SE | 80 | 97 | 0.012709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3312-1_0_3_line_87 | NAYY 4x150 SE | 81 | 87 | 0.016587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3312-1_0_3_line_88 | NAYY 4x150 SE | 81 | 88 | 0.025497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3312-1_0_3_line_89 | NAYY 4x150 SE | 82 | 83 | 0.020399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3312-1_0_3_line_90 | NAYY 4x150 SE | 82 | 84 | 0.0023388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3312-1_0_3_line_91 | NAYY 4x150 SE | 84 | 85 | 0.021312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3312-1_0_3_line_92 | NAYY 4x150 SE | 85 | 86 | 0.00015807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3312-1_0_3_line_93 | NAYY 4x150 SE | 87 | 89 | 0.019838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3312-1_0_3_line_94 | NAYY 4x150 SE | 87 | 90 | 0.015346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3312-1_0_3_line_95 | NAYY 4x150 SE | 88 | 91 | 0.010963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3312-1_0_3_line_96 | NAYY 4x150 SE | 88 | 92 | 0.010914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3312-1_0_3_line_97 | NAYY 4x150 SE | 88 | 93 | 0.012926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3312-1_0_3_line_98 | NAYY 4x150 SE | 90 | 94 | 0.021603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3312-1_0_3_line_99 | NAYY 4x150 SE | 93 | 95 | 0.00069157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3312-1_0_3_line_100 | NAYY 4x150 SE | 94 | 98 | 0.00062215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3312-1_0_3_line_101 | NAYY 4x150 SE | 96 | 105 | 0.0039631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3312-1_0_3_line_102 | NAYY 4x150 SE | 99 | 100 | 0.021874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3312-1_0_3_line_103 | NAYY 4x150 SE | 101 | 102 | 0.020014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3312-1_0_3_line_104 | NAYY 4x150 SE | 102 | 103 | 0.0061626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3312-1_0_3_trafo_62 | 0.25 MVA 20/0.4 kV | 106 | 73 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2718190.096 | 1228827.5334 | 2718188.3211 | 1228863.068 | 2718188.3211 | 1228863.068
1 | 2718225.6587 | 1228864.3666 | 2718188.3211 | 1228863.068
2 | 2718188.3211 | 1228863.068 | 2718180.8194 | 1228933.897
3 | 2718233.8686 | 1228870.3567 | 2718225.6587 | 1228864.3666
4 | 2718203.8497 | 1228966.736 | 2718195.4829 | 1228951.8692 | 2718180.8194 | 1228933.897
5 | 2718233.8686 | 1228870.3567 | 2718229.6057 | 1228875.1091 | 2718228.387 | 1228876.667
6 | 2718233.8686 | 1228870.3567 | 2718257.2465 | 1228842.1611
7 | 2718130.435 | 1228989.6289 | 2718203.8497 | 1228966.736
8 | 2718272.6166 | 1228823.6236 | 2718257.2465 | 1228842.1611
9 | 2718349.9411 | 1229144.6185 | 2718340.5441 | 1229152.9453 | 2718334.415 | 1229166.2793
10 | 2718431.6141 | 1228973.5809 | 2718349.9411 | 1229144.6185
11 | 2718333.7316 | 1229167.7659 | 2718334.415 | 1229166.2793
12 | 2718432.3182 | 1228966.7635 | 2718431.6141 | 1228973.5809
13 | 2718432.3182 | 1228966.7635 | 2718433.7217 | 1228953.1758
14 | 2718493.5096 | 1228953.2553 | 2718492.9455 | 1228954.2112
15 | 2718503.7904 | 1228934.8011 | 2718493.5096 | 1228953.2553
16 | 2718493.5096 | 1228953.2553 | 2718481.2213 | 1228951.368
17 | 2718503.7904 | 1228934.8011 | 2718505.905 | 1228930.9958 | 2718509.359 | 1228922.3467
18 | 2718503.7904 | 1228934.8011 | 2718513.156 | 1228945.5295 | 2718526.535 | 1228955.2816 | 2718533.7567 | 1228959.6392
19 | 2718481.2213 | 1228951.368 | 2718473.9635 | 1228950.2532
20 | 2718509.359 | 1228922.3467 | 2718517.4225 | 1228901.8356 | 2718519.8145 | 1228882.6015
21 | 2718533.7567 | 1228959.6392 | 2718535.3583 | 1228960.6056
22 | 2718434.4369 | 1228946.2511 | 2718434.4369 | 1228946.2511 | 2718441.5953 | 1228945.2818 | 2718473.9635 | 1228950.2532
23 | 2718086.8554 | 1229044.8156 | 2718085.5319 | 1229046.4916
24 | 2718086.8554 | 1229044.8156 | 2718095.6884 | 1229033.63
25 | 2718071.0686 | 1229070.3064 | 2718074.1964 | 1229060.8462 | 2718085.5319 | 1229046.4916
26 | 2718130.435 | 1228989.6289 | 2718095.6884 | 1229033.63
27 | 2718062.4971 | 1229096.2307 | 2718071.0686 | 1229070.3064
28 | 2718062.4971 | 1229096.2307 | 2718060.861 | 1229110.65
29 | 2718060.861 | 1229110.65 | 2718060.1553 | 1229116.8685
30 | 2718519.974 | 1228874.2203 | 2718519.8145 | 1228882.6015
31 | 2718542.4107 | 1228964.8611 | 2718535.3583 | 1228960.6056
32 | 2718434.4369 | 1228946.2511 | 2718433.7217 | 1228953.1758
33 | 2718509.7681 | 1228872.182 | 2718519.974 | 1228874.2203
34 | 2718519.974 | 1228874.2203 | 2718525.2361 | 1228864.2172 | 2718526.0062 | 1228860.9621
35 | 2718509.7681 | 1228872.182 | 2718508.427 | 1228871.9138
36 | 2718526.0062 | 1228860.9621 | 2718529.5425 | 1228846.0151
37 | 2718489.5171 | 1228869.165 | 2718498.9584 | 1228870.0205 | 2718508.427 | 1228871.9138
38 | 2718530.872 | 1228840.3957 | 2718529.5425 | 1228846.0151
39 | 2718489.5171 | 1228869.165 | 2718487.4576 | 1228885.3341
40 | 2718489.5171 | 1228869.165 | 2718484.6426 | 1228868.7246
41 | 2718534.2521 | 1228789.8716 | 2718537.232 | 1228801.5846 | 2718536.6993 | 1228811.5708 | 2718534.4574 | 1228823.2798 | 2718532.2877 | 1228834.412 | 2718530.872 | 1228840.3957
42 | 2718534.2521 | 1228789.8716 | 2718533.031 | 1228786.4954
43 | 2718526.2449 | 1228769.1624 | 2718530.517 | 1228779.5446 | 2718533.031 | 1228786.4954
44 | 2718526.2449 | 1228769.1624 | 2718505.2287 | 1228774.4811
45 | 2718505.2287 | 1228774.4811 | 2718505.2287 | 1228774.4811 | 2718503.0663 | 1228791.1672
46 | 2718456.8857 | 1228715.772 | 2718447.0157 | 1228715.4974 | 2718430.6361 | 1228718.9963 | 2718429.3848 | 1228719.3528
47 | 2718395.9472 | 1228728.8802 | 2718429.3848 | 1228719.3528
48 | 2718456.8857 | 1228715.772 | 2718454.9176 | 1228732.4442
49 | 2718395.9472 | 1228728.8802 | 2718380.6636 | 1228733.5026
50 | 2718395.9472 | 1228728.8802 | 2718393.8881 | 1228746.1927
51 | 2718454.7406 | 1228733.9435 | 2718454.9176 | 1228732.4442
52 | 2718380.6636 | 1228733.5026 | 2718359.4164 | 1228739.9286 | 2718352.3253 | 1228742.8378
53 | 2718393.8881 | 1228746.1927 | 2718393.3094 | 1228751.0584
54 | 2718452.0954 | 1228756.3515 | 2718454.7406 | 1228733.9435
55 | 2718352.3253 | 1228742.8378 | 2718341.3216 | 1228747.3522 | 2718336.7232 | 1228750.5011
56 | 2718389.8752 | 1228779.9329 | 2718393.3094 | 1228751.0584
57 | 2718452.0314 | 1228756.8939 | 2718452.0954 | 1228756.3515
58 | 2718330.5903 | 1228754.9447 | 2718333.3844 | 1228752.7874 | 2718336.7232 | 1228750.5011
59 | 2718389.8752 | 1228779.9329 | 2718387.8237 | 1228783.9953 | 2718386.0101 | 1228798.6273
60 | 2718389.8752 | 1228779.9329 | 2718405.0366 | 1228784.9189
61 | 2718389.8752 | 1228779.9329 | 2718379.7999 | 1228779.1658
62 | 2718311.1759 | 1228777.265 | 2718327.3677 | 1228758.8281 | 2718330.5903 | 1228754.9447
63 | 2718330.5903 | 1228754.9447 | 2718325.4141 | 1228737.0387 | 2718321.5773 | 1228725.8269
64 | 2718290.6872 | 1228775.8897 | 2718311.1759 | 1228777.265
65 | 2718293.443 | 1228798.5068 | 2718311.1759 | 1228777.265
66 | 2718290.6872 | 1228775.8897 | 2718291.6253 | 1228755.2074
67 | 2718293.443 | 1228798.5068 | 2718311.041 | 1228813.1817
68 | 2718272.6166 | 1228823.6236 | 2718293.443 | 1228798.5068
69 | 2718323.6063 | 1228823.6599 | 2718311.041 | 1228813.1817
70 | 2718272.6166 | 1228823.6236 | 2718292.8347 | 1228839.9999
71 | 2718405.9282 | 1228785.2121 | 2718405.0366 | 1228784.9189
72 | 2718323.6063 | 1228823.6599 | 2718342.7729 | 1228801.0136
73 | 2718323.6063 | 1228823.6599 | 2718339.201 | 1228836.6464
74 | 2718339.201 | 1228836.6464 | 2718345.9384 | 1228842.2571
75 | 2718345.9384 | 1228842.2571 | 2718354.1951 | 1228849.1329 | 2718369.919 | 1228856.8519
76 | 2718369.919 | 1228856.8519 | 2718369.919 | 1228856.8519 | 2718380.6034 | 1228857.9327
77 | 2718399.2126 | 1228859.815 | 2718380.6034 | 1228857.9327
78 | 2718399.2126 | 1228859.815 | 2718407.3744 | 1228861.7457
79 | 2718399.2126 | 1228859.815 | 2718402.3794 | 1228823.2403
80 | 2718407.3744 | 1228861.7457 | 2718405.3037 | 1228880.2706
81 | 2718407.3744 | 1228861.7457 | 2718419.6343 | 1228862.8524
82 | 2718402.4812 | 1228822.0643 | 2718402.3794 | 1228823.2403
83 | 2718404.2665 | 1228889.5502 | 2718405.3037 | 1228880.2706
84 | 2718448.3172 | 1228865.4415 | 2718419.6343 | 1228862.8524
85 | 2718404.2665 | 1228889.5502 | 2718402.8001 | 1228902.6604
86 | 2718404.2665 | 1228889.5502 | 2718416.8664 | 1228891.2105
87 | 2718464.8849 | 1228866.9393 | 2718448.3172 | 1228865.4415
88 | 2718446.121 | 1228890.8401 | 2718448.3172 | 1228865.4415
89 | 2718449.64 | 1228777.1518 | 2718452.0314 | 1228756.8939
90 | 2718449.64 | 1228777.1518 | 2718449.3658 | 1228779.4745
91 | 2718449.3658 | 1228779.4745 | 2718446.8673 | 1228800.64
92 | 2718446.8487 | 1228800.797 | 2718446.8673 | 1228800.64
93 | 2718464.8849 | 1228866.9393 | 2718484.6426 | 1228868.7246
94 | 2718464.8849 | 1228866.9393 | 2718466.2658 | 1228851.6556
95 | 2718446.121 | 1228890.8401 | 2718457.0331 | 1228891.9006
96 | 2718446.121 | 1228890.8401 | 2718435.2697 | 1228889.6768
97 | 2718446.121 | 1228890.8401 | 2718445.0114 | 1228903.7181
98 | 2718466.2658 | 1228851.6556 | 2718468.2097 | 1228830.1401
99 | 2718444.952 | 1228904.4072 | 2718445.0114 | 1228903.7181
100 | 2718468.2097 | 1228830.1401 | 2718468.2657 | 1228829.5205
101 | 2718402.3596 | 1228906.5989 | 2718402.8001 | 1228902.6604
102 | 2718487.4576 | 1228885.3341 | 2718486.3454 | 1228894.0659 | 2718485.36 | 1228907.1002
103 | 2718500.4942 | 1228811.0154 | 2718503.0663 | 1228791.1672
104 | 2718499.7022 | 1228817.1269 | 2718500.4942 | 1228811.0154

## bus_geodata
| x | y | coords
0 | 2718190.096 | 1228827.5334
1 | 2718188.3211 | 1228863.068
2 | 2718225.6587 | 1228864.3666
3 | 2718180.8194 | 1228933.897
4 | 2718233.8686 | 1228870.3567
5 | 2718203.8497 | 1228966.736
6 | 2718228.387 | 1228876.667
7 | 2718257.2465 | 1228842.1611
8 | 2718349.9411 | 1229144.6185
9 | 2718334.415 | 1229166.2793
10 | 2718431.6141 | 1228973.5809
11 | 2718333.7316 | 1229167.7659
12 | 2718432.3182 | 1228966.7635
13 | 2718492.9455 | 1228954.2112
14 | 2718493.5096 | 1228953.2553
15 | 2718503.7904 | 1228934.8011
16 | 2718481.2213 | 1228951.368
17 | 2718509.359 | 1228922.3467
18 | 2718533.7567 | 1228959.6392
19 | 2718473.9635 | 1228950.2532
20 | 2718086.8554 | 1229044.8156
21 | 2718085.5319 | 1229046.4916
22 | 2718095.6884 | 1229033.63
23 | 2718071.0686 | 1229070.3064
24 | 2718130.435 | 1228989.6289
25 | 2718062.4971 | 1229096.2307
26 | 2718060.861 | 1229110.65
27 | 2718060.1553 | 1229116.8685
28 | 2718519.8145 | 1228882.6015
29 | 2718535.3583 | 1228960.6056
30 | 2718434.4369 | 1228946.2511
31 | 2718542.4107 | 1228964.8611
32 | 2718519.974 | 1228874.2202
33 | 2718509.7681 | 1228872.182
34 | 2718526.0062 | 1228860.9621
35 | 2718508.427 | 1228871.9138
36 | 2718529.5425 | 1228846.0151
37 | 2718489.5171 | 1228869.165
38 | 2718530.872 | 1228840.3957
39 | 2718534.2521 | 1228789.8716
40 | 2718533.031 | 1228786.4954
41 | 2718526.2449 | 1228769.1624
42 | 2718505.2287 | 1228774.4811
43 | 2718429.3848 | 1228719.3528
44 | 2718456.8857 | 1228715.772
45 | 2718395.9472 | 1228728.8802
46 | 2718454.9176 | 1228732.4442
47 | 2718380.6636 | 1228733.5026
48 | 2718393.8881 | 1228746.1927
49 | 2718454.7406 | 1228733.9435
50 | 2718352.3253 | 1228742.8378
51 | 2718393.3094 | 1228751.0584
52 | 2718452.0954 | 1228756.3515
53 | 2718336.7232 | 1228750.5011
54 | 2718389.8752 | 1228779.9329
55 | 2718330.5903 | 1228754.9447
56 | 2718311.1759 | 1228777.265
57 | 2718321.5773 | 1228725.8269
58 | 2718290.6872 | 1228775.8897
59 | 2718293.443 | 1228798.5068
60 | 2718291.6253 | 1228755.2074
61 | 2718311.041 | 1228813.1817
62 | 2718272.6166 | 1228823.6236
63 | 2718379.7999 | 1228779.1658
64 | 2718386.0101 | 1228798.6273
65 | 2718405.0366 | 1228784.9189
66 | 2718405.9282 | 1228785.2121
67 | 2718342.7729 | 1228801.0136
68 | 2718323.6063 | 1228823.6599
69 | 2718339.201 | 1228836.6464
70 | 2718345.9384 | 1228842.2571
71 | 2718369.919 | 1228856.8519
72 | 2718292.8347 | 1228839.9999
73 | 2718380.6034 | 1228857.9327
74 | 2718399.2126 | 1228859.815
75 | 2718407.3744 | 1228861.7457
76 | 2718402.3794 | 1228823.2403
77 | 2718405.3037 | 1228880.2706
78 | 2718419.6343 | 1228862.8524
79 | 2718402.4812 | 1228822.0643
80 | 2718404.2665 | 1228889.5502
81 | 2718448.3172 | 1228865.4415
82 | 2718449.64 | 1228777.1518
83 | 2718452.0314 | 1228756.8939
84 | 2718449.3658 | 1228779.4745
85 | 2718446.8673 | 1228800.64
86 | 2718446.8487 | 1228800.797
87 | 2718464.8849 | 1228866.9393
88 | 2718446.121 | 1228890.8401
89 | 2718484.6426 | 1228868.7246
90 | 2718466.2658 | 1228851.6556
91 | 2718457.0331 | 1228891.9006
92 | 2718435.2697 | 1228889.6768
93 | 2718445.0114 | 1228903.7181
94 | 2718468.2097 | 1228830.1401
95 | 2718444.952 | 1228904.4072
96 | 2718402.8001 | 1228902.6604
97 | 2718416.8664 | 1228891.2105
98 | 2718468.2657 | 1228829.5205
99 | 2718487.4576 | 1228885.3341
100 | 2718485.36 | 1228907.1002
101 | 2718503.0663 | 1228791.1672
102 | 2718500.4942 | 1228811.0154
103 | 2718499.7022 | 1228817.1269
104 | 2718433.7217 | 1228953.1758
105 | 2718402.3596 | 1228906.5989
106 | 2718399.2126 | 1228859.815

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1