## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3313-5_1_1_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3313-5_1_1_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_3313-5_1_1_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_3313-5_1_1_node_136 | 0.4 | n |  | TRUE
4 | bus_LV_3313-5_1_1_node_138 | 0.4 | n |  | TRUE
5 | bus_LV_3313-5_1_1_node_137 | 0.4 | n |  | TRUE
6 | bus_LV_3313-5_1_1_node_153 | 0.4 | n |  | TRUE
7 | bus_LV_3313-5_1_1_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3313-5_1_1_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3313-5_1_1_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_3313-5_1_1_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_3313-5_1_1_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3313-5_1_1_node_192 | 0.4 | n |  | TRUE
13 | bus_LV_3313-5_1_1_node_154 | 0.4 | n |  | TRUE
14 | bus_LV_3313-5_1_1_node_139 | 0.4 | n |  | TRUE
15 | bus_LV_3313-5_1_1_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_3313-5_1_1_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_3313-5_1_1_node_143 | 0.4 | n |  | TRUE
18 | bus_LV_3313-5_1_1_node_144 | 0.4 | n |  | TRUE
19 | bus_LV_3313-5_1_1_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_3313-5_1_1_node_148 | 0.4 | n |  | TRUE
21 | bus_LV_3313-5_1_1_node_145 | 0.4 | n |  | TRUE
22 | bus_LV_3313-5_1_1_node_146 | 0.4 | n |  | TRUE
23 | bus_LV_3313-5_1_1_node_147 | 0.4 | n |  | TRUE
24 | bus_LV_3313-5_1_1_node_149 | 0.4 | n |  | TRUE
25 | bus_LV_3313-5_1_1_node_150 | 0.4 | n |  | TRUE
26 | bus_LV_3313-5_1_1_node_151 | 0.4 | n |  | TRUE
27 | bus_LV_3313-5_1_1_node_152 | 0.4 | n |  | TRUE
28 | bus_LV_3313-5_1_1_node_157 | 0.4 | n |  | TRUE
29 | bus_LV_3313-5_1_1_node_155 | 0.4 | n |  | TRUE
30 | bus_LV_3313-5_1_1_node_156 | 0.4 | n |  | TRUE
31 | bus_LV_3313-5_1_1_node_188 | 0.4 | n |  | TRUE
32 | bus_LV_3313-5_1_1_node_158 | 0.4 | n |  | TRUE
33 | bus_LV_3313-5_1_1_node_159 | 0.4 | n |  | TRUE
34 | bus_LV_3313-5_1_1_node_160 | 0.4 | n |  | TRUE
35 | bus_LV_3313-5_1_1_node_125 | 0.4 | n |  | TRUE
36 | bus_LV_3313-5_1_1_node_161 | 0.4 | n |  | TRUE
37 | bus_LV_3313-5_1_1_node_162 | 0.4 | n |  | TRUE
38 | bus_LV_3313-5_1_1_node_163 | 0.4 | n |  | TRUE
39 | bus_LV_3313-5_1_1_node_164 | 0.4 | n |  | TRUE
40 | bus_LV_3313-5_1_1_node_191 | 0.4 | n |  | TRUE
41 | bus_LV_3313-5_1_1_node_181 | 0.4 | n |  | TRUE
42 | bus_LV_3313-5_1_1_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_3313-5_1_1_node_183 | 0.4 | n |  | TRUE
44 | bus_LV_3313-5_1_1_node_184 | 0.4 | n |  | TRUE
45 | bus_LV_3313-5_1_1_node_193 | 0.4 | n |  | TRUE
46 | bus_LV_3313-5_1_1_node_186 | 0.4 | n |  | TRUE
47 | bus_LV_3313-5_1_1_node_189 | 0.4 | n |  | TRUE
48 | bus_LV_3313-5_1_1_node_190 | 0.4 | n |  | TRUE
49 | bus_LV_3313-5_1_1_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_3313-5_1_1_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_3313-5_1_1_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_3313-5_1_1_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_3313-5_1_1_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_3313-5_1_1_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_3313-5_1_1_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_3313-5_1_1_node_124 | 0.4 | n |  | TRUE
57 | bus_LV_3313-5_1_1_node_120 | 0.4 | n |  | TRUE
58 | bus_LV_3313-5_1_1_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_3313-5_1_1_node_123 | 0.4 | n |  | TRUE
60 | bus_MV_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3313-5_1_1_load_128 | 0 | 0.00057888 | 0.00014508 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3313-5_1_1_load_127 | 2 | 0.0015437 | 0.0003869 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3313-5_1_1_load_136 | 3 | 0.00015197 | 3.8087e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3313-5_1_1_load_138 | 4 | 0.001413 | 0.00035412 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3313-5_1_1_load_11 | 7 | 0.00041208 | 0.00010328 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3313-5_1_1_load_13 | 9 | 0.00012058 | 3.0219e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3313-5_1_1_load_141 | 16 | 0.00062355 | 0.00015628 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3313-5_1_1_load_143 | 17 | 0.00056213 | 0.00014088 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3313-5_1_1_load_144 | 18 | 0.00077281 | 0.00019368 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3313-5_1_1_load_142 | 19 | 0.0020933 | 0.00052464 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3313-5_1_1_load_148 | 20 | 0.00086501 | 0.00021679 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3313-5_1_1_load_145 | 21 | 0.00075214 | 0.00018851 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3313-5_1_1_load_146 | 22 | 0.00080611 | 0.00020203 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3313-5_1_1_load_147 | 23 | 0.0021491 | 0.00053863 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3313-5_1_1_load_149 | 24 | 0.0007201 | 0.00018047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3313-5_1_1_load_150 | 25 | 0.00063044 | 0.000158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3313-5_1_1_load_152 | 27 | 0.0014121 | 0.00035392 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3313-5_1_1_load_157 | 28 | 0.0007962 | 0.00019955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3313-5_1_1_load_155 | 29 | 0.0027289 | 0.00068392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3313-5_1_1_load_156 | 30 | 0.0012797 | 0.00032072 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3313-5_1_1_load_188 | 31 | 0.0022474 | 0.00056326 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3313-5_1_1_load_158 | 32 | 0.00030593 | 7.6673e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3313-5_1_1_load_159 | 33 | 0.0011159 | 0.00027966 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3313-5_1_1_load_160 | 34 | 0.00012251 | 3.0705e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3313-5_1_1_load_161 | 36 | 0.00056411 | 0.00014138 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3313-5_1_1_load_163 | 38 | 0.00066727 | 0.00016723 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3313-5_1_1_load_164 | 39 | 0.00048097 | 0.00012054 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3313-5_1_1_load_191 | 40 | 0.00019091 | 4.7847e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3313-5_1_1_load_183 | 43 | 0.0003077 | 7.7116e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3313-5_1_1_load_184 | 44 | 0.00046989 | 0.00011777 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3313-5_1_1_load_193 | 45 | 0.0010789 | 0.00027041 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3313-5_1_1_load_186 | 46 | 0.0012551 | 0.00031456 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3313-5_1_1_load_189 | 47 | 0.0026752 | 0.00067048 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3313-5_1_1_load_190 | 48 | 0.00039819 | 9.9795e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3313-5_1_1_load_91 | 49 | 0.00012133 | 3.0408e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3313-5_1_1_load_94 | 50 | 0.000557 | 0.0001396 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3313-5_1_1_load_96 | 51 | 0.00035369 | 8.8643e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3313-5_1_1_load_99 | 52 | 0.00031378 | 7.864e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3313-5_1_1_load_101 | 54 | 0.00026505 | 6.6428e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3313-5_1_1_load_102 | 55 | 0.00032005 | 8.0211e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3313-5_1_1_load_124 | 56 | 0.00043075 | 0.00010796 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3313-5_1_1_load_120 | 57 | 0.00039425 | 9.8808e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3313-5_1_1_load_121 | 58 | 0.001239 | 0.00031051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3313-5_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3313-5_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0012943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3313-5_1_1_line_2 | NAYY 4x150 SE | 1 | 59 | 0.059894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3313-5_1_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.17069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3313-5_1_1_line_4 | NAYY 4x150 SE | 4 | 5 | 0.093969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3313-5_1_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.21945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3313-5_1_1_line_6 | NAYY 4x150 SE | 6 | 28 | 0.032197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3313-5_1_1_line_7 | NAYY 4x150 SE | 6 | 26 | 0.20524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3313-5_1_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.032418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3313-5_1_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.026891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3313-5_1_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.69926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3313-5_1_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.081772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3313-5_1_1_line_12 | NAYY 4x150 SE | 9 | 12 | 0.15909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3313-5_1_1_line_13 | NAYY 4x150 SE | 10 | 49 | 0.058511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3313-5_1_1_line_14 | NAYY 4x150 SE | 11 | 13 | 0.53073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3313-5_1_1_line_15 | NAYY 4x150 SE | 12 | 48 | 0.097836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3313-5_1_1_line_16 | NAYY 4x150 SE | 13 | 29 | 0.02216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3313-5_1_1_line_17 | NAYY 4x150 SE | 13 | 27 | 0.017831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3313-5_1_1_line_18 | NAYY 4x150 SE | 14 | 15 | 0.046062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3313-5_1_1_line_19 | NAYY 4x150 SE | 14 | 16 | 0.035621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3313-5_1_1_line_20 | NAYY 4x150 SE | 15 | 17 | 0.021586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3313-5_1_1_line_21 | NAYY 4x150 SE | 15 | 18 | 0.028026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3313-5_1_1_line_22 | NAYY 4x150 SE | 16 | 19 | 0.0014543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3313-5_1_1_line_23 | NAYY 4x150 SE | 17 | 20 | 0.057087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3313-5_1_1_line_24 | NAYY 4x150 SE | 18 | 21 | 0.043114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3313-5_1_1_line_25 | NAYY 4x150 SE | 20 | 24 | 0.025151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3313-5_1_1_line_26 | NAYY 4x150 SE | 21 | 22 | 0.0020679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3313-5_1_1_line_27 | NAYY 4x150 SE | 22 | 23 | 0.010425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3313-5_1_1_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0019486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3313-5_1_1_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0064568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3313-5_1_1_line_30 | NAYY 4x150 SE | 26 | 27 | 0.026303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3313-5_1_1_line_31 | NAYY 4x150 SE | 28 | 32 | 0.0076392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3313-5_1_1_line_32 | NAYY 4x150 SE | 29 | 30 | 0.015635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3313-5_1_1_line_33 | NAYY 4x150 SE | 30 | 31 | 0.02115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3313-5_1_1_line_34 | NAYY 4x150 SE | 31 | 47 | 0.021929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3313-5_1_1_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0030602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3313-5_1_1_line_36 | NAYY 4x150 SE | 34 | 35 | 0.18109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3313-5_1_1_line_37 | NAYY 4x150 SE | 34 | 36 | 0.010354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3313-5_1_1_line_38 | NAYY 4x150 SE | 35 | 37 | 0.048425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3313-5_1_1_line_39 | NAYY 4x150 SE | 35 | 42 | 0.22381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3313-5_1_1_line_40 | NAYY 4x150 SE | 37 | 38 | 0.023009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3313-5_1_1_line_41 | NAYY 4x150 SE | 37 | 39 | 0.043662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3313-5_1_1_line_42 | NAYY 4x150 SE | 39 | 40 | 0.020568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3313-5_1_1_line_43 | NAYY 4x150 SE | 40 | 48 | 0.0081095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3313-5_1_1_line_44 | NAYY 4x150 SE | 41 | 42 | 0.16148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3313-5_1_1_line_45 | NAYY 4x150 SE | 41 | 43 | 0.026975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3313-5_1_1_line_46 | NAYY 4x150 SE | 42 | 56 | 0.11698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3313-5_1_1_line_47 | NAYY 4x150 SE | 42 | 57 | 0.061605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3313-5_1_1_line_48 | NAYY 4x150 SE | 43 | 44 | 0.019297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3313-5_1_1_line_49 | NAYY 4x150 SE | 44 | 45 | 0.020318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3313-5_1_1_line_50 | NAYY 4x150 SE | 46 | 47 | 0.041152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3313-5_1_1_line_51 | NAYY 4x150 SE | 50 | 51 | 0.15294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3313-5_1_1_line_52 | NAYY 4x150 SE | 51 | 52 | 0.050746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3313-5_1_1_line_53 | NAYY 4x150 SE | 52 | 53 | 0.041197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3313-5_1_1_line_54 | NAYY 4x150 SE | 53 | 54 | 0.053904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3313-5_1_1_line_55 | NAYY 4x150 SE | 54 | 55 | 0.066715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3313-5_1_1_line_56 | NAYY 4x150 SE | 55 | 56 | 0.024644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3313-5_1_1_line_57 | NAYY 4x150 SE | 57 | 58 | 0.005008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3313-5_1_1_line_58 | NAYY 4x150 SE | 58 | 59 | 0.010581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3313-5_1_1_trafo_147 | 0.25 MVA 20/0.4 kV | 60 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2721179.1316 | 1230879.2363 | 2721173.8174 | 1230866.0174 | 2721167.9318 | 1230855.1415
1 | 2721167.3158 | 1230854.0033 | 2721167.9318 | 1230855.1415
2 | 2721119.4503 | 1230886.0369 | 2721154.556 | 1230882.1045 | 2721179.1316 | 1230879.2363
3 | 2720414.2776 | 1231288.1257 | 2720500.3261 | 1231435.5426
4 | 2720320.1464 | 1231284.8508 | 2720346.9313 | 1231286.5053 | 2720373.5751 | 1231286.1444 | 2720396.3834 | 1231287.763 | 2720414.2776 | 1231288.1257
5 | 2720268.2882 | 1231071.6199 | 2720320.1464 | 1231284.8508
6 | 2720268.2882 | 1231071.6199 | 2720278.408 | 1231069.4674 | 2720282.8944 | 1231065.6551 | 2720283.773 | 1231060.8023 | 2720285.5102 | 1231057.3235 | 2720288.7896 | 1231054.7545 | 2720291.7361 | 1231054.3261
7 | 2720268.2882 | 1231071.6199 | 2720267.4077 | 1231055.2335 | 2720267.4849 | 1231045.8053 | 2720268.0926 | 1231041.2361 | 2720270.3104 | 1231034.5979 | 2720274.9359 | 1231028.7868 | 2720281.0843 | 1231024.4633 | 2720300.5301 | 1231015.216 | 2720325.582 | 1231002.9909 | 2720340.8137 | 1230992.7131 | 2720358.0995 | 1230975.2824 | 2720377.9658 | 1230951.2764 | 2720385.2907 | 1230940.1269 | 2720391.5294 | 1230925.3747
8 | 2720888.6187 | 1230630.357 | 2720891.2197 | 1230625.4059 | 2720888.8717 | 1230620.899 | 2720886.984 | 1230616.8574 | 2720887.0993 | 1230611.1885 | 2720888.4091 | 1230606.7671 | 2720894.943 | 1230604.2503
9 | 2720888.6187 | 1230630.357 | 2720886.5263 | 1230626.3223 | 2720880.4494 | 1230618.1478 | 2720871.4399 | 1230611.4815 | 2720870.6733 | 1230610.9157
10 | 2720888.6187 | 1230630.357 | 2720778.1004 | 1231320.8311
11 | 2720816.5641 | 1230554.3651 | 2720837.5452 | 1230578.1549 | 2720845.7584 | 1230578.9002 | 2720848.0338 | 1230588.0982 | 2720855.0696 | 1230597.1818 | 2720863.8335 | 1230605.8669 | 2720870.6733 | 1230610.9157
12 | 2720870.6733 | 1230610.9157 | 2720745.3612 | 1230708.9203
13 | 2720778.1004 | 1231320.8311 | 2720753.7587 | 1231339.1292 | 2720738.0917 | 1231358.9047 | 2720736.543 | 1231361.2722
14 | 2720816.5641 | 1230554.3651 | 2720398.9859 | 1230881.9354
15 | 2720745.3612 | 1230708.9203 | 2720752.1307 | 1230715.4519 | 2720762.8238 | 1230729.4914 | 2720770.5329 | 1230744.9604 | 2720785.3427 | 1230770.4149 | 2720796.5927 | 1230782.3975 | 2720802.9915 | 1230786.5207
16 | 2720398.9859 | 1230881.9354 | 2720377.7864 | 1230875.4822
17 | 2720398.9859 | 1230881.9354 | 2720396.7458 | 1230899.6251
18 | 2720407.1656 | 1231051.7925 | 2720405.3648 | 1231048.6869 | 2720395.7081 | 1231044.4324 | 2720383.5602 | 1231038.9932 | 2720370.5513 | 1231025.5635
19 | 2720407.1656 | 1231051.7925 | 2720412.586 | 1231050.5012 | 2720418.3235 | 1231050.0059 | 2720422.4412 | 1231050.1894 | 2720426.5554 | 1231050.9178 | 2720432.6619 | 1231056.1457 | 2720436.8934 | 1231062.8777
20 | 2720370.5513 | 1231025.5635 | 2720363.4695 | 1231007.8949 | 2720362.5986 | 1231005.4971
21 | 2720370.5513 | 1231025.5635 | 2720381.301 | 1231015.8845 | 2720387.8169 | 1231009.1333 | 2720391.4699 | 1231007.1053
22 | 2720437.6674 | 1231064.109 | 2720436.8934 | 1231062.8777
23 | 2720362.5986 | 1231005.4971 | 2720361.2234 | 1231001.7112 | 2720361.4133 | 1230997.2003 | 2720363.5765 | 1230992.5181 | 2720368.4342 | 1230987.2122 | 2720372.489 | 1230981.9012 | 2720378.0052 | 1230975.8858 | 2720382.8699 | 1230968.3672 | 2720386.3059 | 1230962.1873 | 2720388.267 | 1230957.2383
24 | 2720391.4699 | 1231007.1053 | 2720395.2571 | 1231005.0028 | 2720401.7252 | 1231003.9774 | 2720406.5217 | 1231001.6949 | 2720409.3612 | 1230999.5285 | 2720427.9148 | 1230985.3511
25 | 2720388.267 | 1230957.2383 | 2720389.4358 | 1230954.2888 | 2720391.9803 | 1230942.0083 | 2720394.2819 | 1230932.8565
26 | 2720427.9148 | 1230985.3511 | 2720429.5579 | 1230984.0956
27 | 2720437.8418 | 1230977.7656 | 2720429.5579 | 1230984.0956
28 | 2720394.2819 | 1230932.8565 | 2720394.7572 | 1230930.9668
29 | 2720391.5294 | 1230925.3747 | 2720394.7572 | 1230930.9668
30 | 2720391.5294 | 1230925.3747 | 2720395.7568 | 1230907.4349 | 2720396.7458 | 1230899.6251
31 | 2720299.3504 | 1231054.0266 | 2720294.0933 | 1231053.9834 | 2720291.7361 | 1231054.3261
32 | 2720362.8287 | 1230870.9291 | 2720377.7864 | 1230875.4822
33 | 2720342.595 | 1230864.7699 | 2720362.8287 | 1230870.9291
34 | 2720321.6161 | 1230858.3839 | 2720342.595 | 1230864.7699
35 | 2720302.4105 | 1231054.0517 | 2720299.3504 | 1231054.0266
36 | 2720909.2046 | 1230842.9458 | 2720913.9182 | 1230863.3691 | 2720917.1062 | 1230888.0204 | 2720917.2648 | 1230898.8434 | 2720915.2032 | 1230906.3297 | 2720910.9923 | 1230910.3473 | 2720904.5272 | 1230911.2165 | 2720887.2381 | 1230904.1371 | 2720876.5728 | 1230907.0115 | 2720861.2066 | 1230915.6505 | 2720854.4906 | 1230921.7745 | 2720846.5961 | 1230933.3233 | 2720839.6801 | 1230945.5592 | 2720833.0997 | 1230961.0379 | 2720832.9728 | 1230964.0705
37 | 2720832.5398 | 1230974.415 | 2720832.9728 | 1230964.0705
38 | 2720868.6975 | 1230816.3121 | 2720875.4073 | 1230819.8068 | 2720909.2046 | 1230842.9458
39 | 2720909.2046 | 1230842.9458 | 2720945.8171 | 1230872.5586 | 2720952.6821 | 1230880.7047 | 2720955.1537 | 1230886.9489 | 2720954.5497 | 1230892.4299 | 2720952.3865 | 1230903.7839 | 2720951.5484 | 1230914.064 | 2720952.4915 | 1230919.0983 | 2720954.5868 | 1230923.3554 | 2720960.4851 | 1230932.8386 | 2720977.0966 | 1230924.8145 | 2720997.9014 | 1230913.64 | 2721008.6405 | 1230910.1224 | 2721018.5769 | 1230910.3025 | 2721028.6769 | 1230914.3558 | 2721038.5326 | 1230920.3612 | 2721059.7651 | 1230933.9377
40 | 2720868.6975 | 1230816.3121 | 2720873.9489 | 1230793.9106
41 | 2720868.6975 | 1230816.3121 | 2720840.5987 | 1230801.6737 | 2720829.3632 | 1230797.5192
42 | 2720810.0717 | 1230790.3861 | 2720829.3632 | 1230797.5192
43 | 2720802.9915 | 1230786.5207 | 2720807.5337 | 1230789.4476 | 2720810.0717 | 1230790.3861
44 | 2721059.7651 | 1230933.9377 | 2721042.2361 | 1231094.4652
45 | 2721042.2361 | 1231094.4652 | 2721025.9125 | 1231095.8118 | 2721015.325 | 1231095.3834
46 | 2721059.7651 | 1230933.9377 | 2721073.6277 | 1230942.9605 | 2721082.9451 | 1230945.2632 | 2721114.3465 | 1230945.0025 | 2721147.367 | 1230944.1078 | 2721173.6257 | 1230946.9241
47 | 2721059.7651 | 1230933.9377 | 2721063.8014 | 1230929.9389 | 2721075.9552 | 1230922.4359 | 2721094.8095 | 1230901.7699 | 2721106.0849 | 1230894.0482
48 | 2721015.325 | 1231095.3834 | 2721012.6274 | 1231095.2743 | 2721003.5356 | 1231097.1574 | 2720998.0078 | 1231101.8598 | 2720997.9831 | 1231101.9094
49 | 2720994.6101 | 1231121.1699 | 2720994.6735 | 1231119.3838 | 2720993.7107 | 1231110.4904 | 2720997.9831 | 1231101.9094
50 | 2720321.6161 | 1230858.3839 | 2720283.1026 | 1230843.8842
51 | 2721290.8923 | 1231037.5821 | 2721291.7766 | 1231042.92 | 2721290.4494 | 1231047.074 | 2721285.8043 | 1231049.7147 | 2721278.7504 | 1231052.7066 | 2721276.4992 | 1231056.8418 | 2721276.9362 | 1231065.869 | 2721283.0631 | 1231090.1023 | 2721283.0335 | 1231098.2305 | 2721281.4273 | 1231108.9953 | 2721278.0018 | 1231119.4449 | 2721267.7054 | 1231142.1087 | 2721259.7355 | 1231160.2941 | 2721258.2922 | 1231163.823 | 2721259.6567 | 1231166.7532 | 2721261.9234 | 1231170.3912 | 2721264.4581 | 1231175.0844
52 | 2721295.2971 | 1230987.0282 | 2721290.8923 | 1231037.5821
53 | 2721318.289 | 1230952.9664 | 2721314.6793 | 1230959.4424 | 2721309.4233 | 1230968.2533 | 2721301.2656 | 1230980.0297 | 2721295.2971 | 1230987.0282
54 | 2721318.289 | 1230952.9664 | 2721284.9244 | 1230951.4178 | 2721264.662 | 1230954.5515
55 | 2721198.1587 | 1230949.2377 | 2721264.662 | 1230954.5515
56 | 2721173.6257 | 1230946.9241 | 2721186.5416 | 1230948.3094 | 2721198.1587 | 1230949.2377
57 | 2721110.3036 | 1230891.3556 | 2721108.4018 | 1230892.4615 | 2721106.0849 | 1230894.0482
58 | 2721119.4503 | 1230886.0369 | 2721110.3036 | 1230891.3556

## bus_geodata
| x | y | coords
0 | 2721167.9318 | 1230855.1415
1 | 2721179.1316 | 1230879.2363
2 | 2721167.3158 | 1230854.0033
3 | 2720500.3261 | 1231435.5426
4 | 2720414.2776 | 1231288.1257
5 | 2720320.1464 | 1231284.8508
6 | 2720268.2882 | 1231071.6199
7 | 2720894.943 | 1230604.2503
8 | 2720888.6187 | 1230630.357
9 | 2720870.6733 | 1230610.9157
10 | 2720778.1004 | 1231320.8311
11 | 2720816.5641 | 1230554.3651
12 | 2720745.3612 | 1230708.9203
13 | 2720398.9859 | 1230881.9354
14 | 2720407.1656 | 1231051.7925
15 | 2720370.5513 | 1231025.5635
16 | 2720436.8934 | 1231062.8777
17 | 2720362.5986 | 1231005.4971
18 | 2720391.4699 | 1231007.1053
19 | 2720437.6674 | 1231064.109
20 | 2720388.267 | 1230957.2383
21 | 2720427.9148 | 1230985.3511
22 | 2720429.5579 | 1230984.0956
23 | 2720437.8418 | 1230977.7656
24 | 2720394.2819 | 1230932.8565
25 | 2720394.7572 | 1230930.9668
26 | 2720391.5294 | 1230925.3747
27 | 2720396.7458 | 1230899.6251
28 | 2720291.7361 | 1231054.3261
29 | 2720377.7864 | 1230875.4822
30 | 2720362.8287 | 1230870.9291
31 | 2720342.595 | 1230864.7699
32 | 2720299.3504 | 1231054.0266
33 | 2720302.4105 | 1231054.0517
34 | 2720832.9728 | 1230964.0705
35 | 2720909.2046 | 1230842.9458
36 | 2720832.5398 | 1230974.415
37 | 2720868.6975 | 1230816.3121
38 | 2720873.9489 | 1230793.9106
39 | 2720829.3632 | 1230797.5192
40 | 2720810.0717 | 1230790.3861
41 | 2721042.2361 | 1231094.4652
42 | 2721059.7651 | 1230933.9377
43 | 2721015.325 | 1231095.3834
44 | 2720997.9831 | 1231101.9094
45 | 2720994.6101 | 1231121.1699
46 | 2720283.1026 | 1230843.8842
47 | 2720321.6161 | 1230858.3839
48 | 2720802.9915 | 1230786.5207
49 | 2720736.543 | 1231361.2722
50 | 2721264.458 | 1231175.0844
51 | 2721290.8923 | 1231037.5821
52 | 2721295.2971 | 1230987.0282
53 | 2721318.289 | 1230952.9664
54 | 2721264.662 | 1230954.5515
55 | 2721198.1587 | 1230949.2377
56 | 2721173.6257 | 1230946.9241
57 | 2721106.0849 | 1230894.0482
58 | 2721110.3036 | 1230891.3556
59 | 2721119.4503 | 1230886.0369
60 | 2720437.8418 | 1230977.7656

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1