## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-10_0_3_node_146 | 0.4 | n |  | TRUE
3 | bus_LV_3341-10_0_3_node_130 | 0.4 | n |  | TRUE
4 | bus_LV_3341-10_0_3_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_3341-10_0_3_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_3341-10_0_3_node_114 | 0.4 | n |  | TRUE
7 | bus_LV_3341-10_0_3_node_112 | 0.4 | n |  | TRUE
8 | bus_LV_3341-10_0_3_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_3341-10_0_3_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_3341-10_0_3_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_3341-10_0_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_3341-10_0_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3341-10_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_3341-10_0_3_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_3341-10_0_3_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_3341-10_0_3_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_3341-10_0_3_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_3341-10_0_3_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_3341-10_0_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_3341-10_0_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_3341-10_0_3_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_3341-10_0_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_3341-10_0_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_3341-10_0_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_3341-10_0_3_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_3341-10_0_3_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_3341-10_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_3341-10_0_3_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_3341-10_0_3_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_3341-10_0_3_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_3341-10_0_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_3341-10_0_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_3341-10_0_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_3341-10_0_3_node_143 | 0.4 | n |  | TRUE
35 | bus_LV_3341-10_0_3_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_3341-10_0_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_3341-10_0_3_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_3341-10_0_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_3341-10_0_3_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_3341-10_0_3_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_3341-10_0_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_3341-10_0_3_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_3341-10_0_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_3341-10_0_3_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_3341-10_0_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_3341-10_0_3_node_109 | 0.4 | n |  | TRUE
47 | bus_LV_3341-10_0_3_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_3341-10_0_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_3341-10_0_3_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_3341-10_0_3_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_3341-10_0_3_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_3341-10_0_3_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_3341-10_0_3_node_103 | 0.4 | n |  | TRUE
54 | bus_LV_3341-10_0_3_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_3341-10_0_3_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_3341-10_0_3_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_3341-10_0_3_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_3341-10_0_3_node_106 | 0.4 | n |  | TRUE
59 | bus_LV_3341-10_0_3_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_3341-10_0_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_3341-10_0_3_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_3341-10_0_3_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_3341-10_0_3_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_3341-10_0_3_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_3341-10_0_3_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_3341-10_0_3_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_3341-10_0_3_node_123 | 0.4 | n |  | TRUE
68 | bus_LV_3341-10_0_3_node_121 | 0.4 | n |  | TRUE
69 | bus_LV_3341-10_0_3_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_3341-10_0_3_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_3341-10_0_3_node_125 | 0.4 | n |  | TRUE
72 | bus_LV_3341-10_0_3_node_126 | 0.4 | n |  | TRUE
73 | bus_LV_3341-10_0_3_node_132 | 0.4 | n |  | TRUE
74 | bus_LV_3341-10_0_3_node_133 | 0.4 | n |  | TRUE
75 | bus_LV_3341-10_0_3_node_134 | 0.4 | n |  | TRUE
76 | bus_LV_3341-10_0_3_node_135 | 0.4 | n |  | TRUE
77 | bus_LV_3341-10_0_3_node_136 | 0.4 | n |  | TRUE
78 | bus_LV_3341-10_0_3_node_137 | 0.4 | n |  | TRUE
79 | bus_LV_3341-10_0_3_node_138 | 0.4 | n |  | TRUE
80 | bus_LV_3341-10_0_3_node_139 | 0.4 | n |  | TRUE
81 | bus_LV_3341-10_0_3_node_140 | 0.4 | n |  | TRUE
82 | bus_LV_3341-10_0_3_node_141 | 0.4 | n |  | TRUE
83 | bus_LV_3341-10_0_3_node_142 | 0.4 | n |  | TRUE
84 | bus_MV_10_1_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-10_0_3_load_0 | 0 | 0.00016963 | 4.2513e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-10_0_3_load_146 | 2 | 0.00022044 | 5.5248e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-10_0_3_load_130 | 3 | 0.00040325 | 0.00010106 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-10_0_3_load_114 | 6 | 0.004856 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-10_0_3_load_62 | 8 | 0.00066726 | 0.00016723 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-10_0_3_load_63 | 9 | 0.00087092 | 0.00021827 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-10_0_3_load_70 | 11 | 0.0026968 | 0.00067589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-10_0_3_load_67 | 12 | 0.0022498 | 0.00056384 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-10_0_3_load_65 | 13 | 0.0021466 | 0.00053798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-10_0_3_load_66 | 14 | 0.0007527 | 0.00018864 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-10_0_3_load_68 | 15 | 0.00329 | 0.00082454 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-10_0_3_load_69 | 16 | 0.0021471 | 0.00053811 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-10_0_3_load_83 | 17 | 0.0014953 | 0.00037476 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-10_0_3_load_88 | 18 | 0.0025549 | 0.00064032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-10_0_3_load_71 | 19 | 0.00044601 | 0.00011178 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-10_0_3_load_72 | 20 | 0.0011233 | 0.00028153 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-10_0_3_load_73 | 21 | 0.0025973 | 0.00065094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-10_0_3_load_74 | 22 | 0.00078133 | 0.00019582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-10_0_3_load_75 | 23 | 0.001009 | 0.00025288 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-10_0_3_load_76 | 24 | 0.00061058 | 0.00015303 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-10_0_3_load_77 | 25 | 0.0041011 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-10_0_3_load_78 | 26 | 0.0034191 | 0.00085692 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-10_0_3_load_79 | 27 | 0.0020434 | 0.00051212 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-10_0_3_load_80 | 28 | 0.0053343 | 0.0013369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-10_0_3_load_81 | 29 | 0.0024364 | 0.00061063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-10_0_3_load_82 | 30 | 0.0037474 | 0.0009392 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-10_0_3_load_84 | 31 | 0.0028411 | 0.00071204 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-10_0_3_load_85 | 32 | 0.0014424 | 0.0003615 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-10_0_3_load_86 | 33 | 0.0024148 | 0.0006052 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-10_0_3_load_143 | 34 | 0.002105 | 0.00052756 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-10_0_3_load_87 | 36 | 0.0013159 | 0.00032979 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-10_0_3_load_92 | 37 | 0.0011167 | 0.00027987 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-10_0_3_load_90 | 38 | 0.0039838 | 0.00099843 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-10_0_3_load_91 | 39 | 0.0020233 | 0.0005071 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-10_0_3_load_93 | 40 | 0.0029695 | 0.00074423 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-10_0_3_load_94 | 41 | 0.0018209 | 0.00045635 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-10_0_3_load_95 | 42 | 0.0018834 | 0.00047202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-10_0_3_load_96 | 43 | 0.0032861 | 0.00082358 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-10_0_3_load_97 | 44 | 0.0027784 | 0.00069632 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-10_0_3_load_98 | 45 | 0.0034067 | 0.00085379 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-10_0_3_load_108 | 48 | 0.0011455 | 0.00028708 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-10_0_3_load_99 | 49 | 0.0012078 | 0.0003027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-10_0_3_load_100 | 50 | 0.001047 | 0.0002624 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-10_0_3_load_102 | 52 | 0.0020042 | 0.0005023 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-10_0_3_load_103 | 53 | 0.0011014 | 0.00027604 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-10_0_3_load_113 | 54 | 0.00064024 | 0.00016046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-10_0_3_load_104 | 55 | 0.0012205 | 0.00030588 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-10_0_3_load_111 | 56 | 0.0012585 | 0.00031542 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-10_0_3_load_105 | 57 | 0.0011439 | 0.00028669 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-10_0_3_load_106 | 58 | 0.0011405 | 0.00028584 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-10_0_3_load_107 | 59 | 0.0011602 | 0.00029078 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-10_0_3_load_115 | 61 | 0.0078235 | 0.0019608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-10_0_3_load_110 | 62 | 0.0011906 | 0.0002984 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-10_0_3_load_116 | 63 | 0.0058274 | 0.0014605 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-10_0_3_load_118 | 64 | 0.0023636 | 0.00059238 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-10_0_3_load_120 | 65 | 0.001541 | 0.00038622 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-10_0_3_load_127 | 66 | 0.010124 | 0.0025372 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-10_0_3_load_123 | 67 | 0.0016703 | 0.0004186 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-10_0_3_load_121 | 68 | 0.00205 | 0.00051378 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-10_0_3_load_122 | 69 | 0.0015472 | 0.00038776 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-10_0_3_load_124 | 70 | 0.0017531 | 0.00043937 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-10_0_3_load_125 | 71 | 0.0017175 | 0.00043044 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-10_0_3_load_126 | 72 | 0.0078368 | 0.0019641 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-10_0_3_load_132 | 73 | 0.00063622 | 0.00015945 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-10_0_3_load_133 | 74 | 0.001288 | 0.00032281 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-10_0_3_load_134 | 75 | 0.00042596 | 0.00010676 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3341-10_0_3_load_135 | 76 | 0.0005033 | 0.00012614 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3341-10_0_3_load_136 | 77 | 0.00069226 | 0.0001735 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3341-10_0_3_load_137 | 78 | 0.00062134 | 0.00015572 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3341-10_0_3_load_138 | 79 | 0.00079447 | 0.00019911 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3341-10_0_3_load_139 | 80 | 0.00087933 | 0.00022038 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3341-10_0_3_load_140 | 81 | 0.0009376 | 0.00023499 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3341-10_0_3_load_141 | 82 | 0.0004028 | 0.00010095 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3341-10_0_3_load_142 | 83 | 0.0011908 | 0.00029845 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.16057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.20628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.22278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.059317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-10_0_3_line_5 | NAYY 4x150 SE | 4 | 60 | 0.10349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-10_0_3_line_6 | NAYY 4x150 SE | 5 | 73 | 0.071694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-10_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.15426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-10_0_3_line_8 | NAYY 4x150 SE | 7 | 62 | 0.091856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-10_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.011642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-10_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.022403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-10_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.036518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-10_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.043069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-10_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.012702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-10_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.044394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-10_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.093334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-10_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.034686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-10_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.011812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-10_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.02048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-10_0_3_line_19 | NAYY 4x150 SE | 18 | 33 | 0.0088328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-10_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.015829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-10_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0048868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-10_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0060417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-10_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.027601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-10_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.00069733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-10_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.012969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-10_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0097334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-10_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-10_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0068718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-10_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.017087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-10_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.010748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-10_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.012857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-10_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.016172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-10_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-10_0_3_line_34 | NAYY 4x150 SE | 33 | 36 | 0.0069156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-10_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.034902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3341-10_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0051836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3341-10_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.010806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-10_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.00084057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3341-10_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.025433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3341-10_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3341-10_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0055852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3341-10_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0065559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3341-10_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.030425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3341-10_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.045282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3341-10_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.023131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3341-10_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.045461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3341-10_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.026331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3341-10_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.067161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-10_0_3_line_49 | NAYY 4x150 SE | 47 | 60 | 0.1753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3341-10_0_3_line_50 | NAYY 4x150 SE | 47 | 61 | 0.084397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-10_0_3_line_51 | NAYY 4x150 SE | 48 | 59 | 0.0090037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-10_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.062793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-10_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.013498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-10_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0012705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-10_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.019402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-10_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.022688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-10_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.021265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-10_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0086359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-10_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.036699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-10_0_3_line_60 | NAYY 4x150 SE | 56 | 62 | 0.022484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-10_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0089742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-10_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.021396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-10_0_3_line_63 | NAYY 4x150 SE | 60 | 66 | 0.070575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-10_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0046062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-10_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.028258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-10_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.006582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-10_0_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0039965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-10_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0028073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-10_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0045858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-10_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0067479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-10_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0067643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-10_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.016007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-10_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0088225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-10_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0068067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3341-10_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0029966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3341-10_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.010479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3341-10_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0094982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3341-10_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.020952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3341-10_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0079809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3341-10_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3341-10_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0072186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3341-10_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.01567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-10_0_3_trafo_143 | 0.25 MVA 20/0.4 kV | 84 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2717702.0347 | 1233104.7032 | 2717708.226 | 1233121.706 | 2717709.1674 | 1233135.3466 | 2717705.8634 | 1233149.2033 | 2717710.6059 | 1233164.4093 | 2717749.8898 | 1233177.331 | 2717780.6155 | 1233184.1563 | 2717789.7306 | 1233192.3324 | 2717791.9769 | 1233201.2618 | 2717791.8908 | 1233205.604
1 | 2717970.7738 | 1233102.8737 | 2717791.8908 | 1233205.604
2 | 2717701.8507 | 1232881.9243 | 2717702.0347 | 1233104.7032
3 | 2718007.915 | 1233059.7321 | 2718005.3481 | 1233068.477 | 2717996.8661 | 1233075.3252 | 2717972.7634 | 1233094.5955 | 2717970.7738 | 1233102.8737
4 | 2717715.262 | 1232881.7098 | 2717708.1652 | 1232882.8702 | 2717701.8507 | 1232881.9243
5 | 2718007.915 | 1233059.7321 | 2718037.1638 | 1233041.8097 | 2718072.9569 | 1233027.2868 | 2718089.9635 | 1233022.8878 | 2718088.6984 | 1233009.9523
6 | 2717715.262 | 1232881.7098 | 2717711.4147 | 1232870.6248 | 2717710.5465 | 1232860.5441 | 2717715.9537 | 1232828.8481 | 2717722.214 | 1232822.5115 | 2717729.741 | 1232817.9903 | 2717729.741 | 1232817.9903
7 | 2718271.729 | 1232739.8092 | 2718275.422 | 1232741.484 | 2718278.065 | 1232744.161 | 2718275.8616 | 1232750.9781 | 2718268.4154 | 1232761.6829 | 2718260.0355 | 1232770.9792 | 2718255.4117 | 1232810.3519 | 2718250.152 | 1232844.7636 | 2718253.1703 | 1232861.3035 | 2718264.0784 | 1232880.9806
8 | 2718264.0784 | 1232880.9806 | 2718222.8873 | 1232881.6396 | 2718208.9335 | 1232876.8471 | 2718204.6202 | 1232874.7597 | 2718193.7008 | 1232868.9602 | 2718184.0842 | 1232861.6298 | 2718179.4341 | 1232856.8643
9 | 2717740.3499 | 1232702.0818 | 2717741.8916 | 1232702.4836 | 2717751.4109 | 1232705.7025
10 | 2717772.4167 | 1232713.4414 | 2717765.6807 | 1232710.5279 | 2717751.4109 | 1232705.7025
11 | 2717772.4167 | 1232713.4414 | 2717777.2777 | 1232689.83 | 2717789.5521 | 1232691.886
12 | 2717772.4167 | 1232713.4414 | 2717792.2799 | 1232721.9973 | 2717813.3954 | 1232725.724
13 | 2717825.9044 | 1232727.9317 | 2717813.3954 | 1232725.724
14 | 2717825.9044 | 1232727.9317 | 2717840.123 | 1232730.4412 | 2717869.2917 | 1232737.2611
15 | 2717869.2917 | 1232737.2611 | 2717877.7494 | 1232739.2386 | 2717907.7664 | 1232753.2562 | 2717948.2108 | 1232776.5104 | 2717952.1054 | 1232779.4275
16 | 2717980.4143 | 1232799.4104 | 2717972.032 | 1232794.3529 | 2717952.1054 | 1232779.4275
17 | 2717980.4143 | 1232799.4104 | 2717986.1918 | 1232802.8963 | 2717990.7892 | 1232805.0198
18 | 2718009.382 | 1232813.608 | 2717990.7892 | 1232805.0198
19 | 2718009.382 | 1232813.608 | 2718014.5677 | 1232816.0033 | 2718017.0599 | 1232817.8814
20 | 2717835.4241 | 1232775.5339 | 2717850.4554 | 1232780.4967
21 | 2717830.7837 | 1232774.0018 | 2717835.4241 | 1232775.5339
22 | 2717856.1925 | 1232782.3908 | 2717850.4554 | 1232780.4967
23 | 2717856.1925 | 1232782.3908 | 2717882.4024 | 1232791.0443
24 | 2717882.4024 | 1232791.0443 | 2717883.0645 | 1232791.2629
25 | 2717883.0645 | 1232791.2629 | 2717895.3794 | 1232795.3288
26 | 2717904.4717 | 1232798.7296 | 2717902.5596 | 1232797.6994 | 2717895.3794 | 1232795.3288
27 | 2717904.4717 | 1232798.7296 | 2717924.0161 | 1232809.2594
28 | 2717930.0658 | 1232812.5187 | 2717924.0161 | 1232809.2594
29 | 2717930.0658 | 1232812.5187 | 2717945.1086 | 1232820.6231
30 | 2717954.571 | 1232825.7211 | 2717945.1086 | 1232820.6231
31 | 2717954.571 | 1232825.7211 | 2717965.8899 | 1232831.8193
32 | 2717981.1086 | 1232836.6394 | 2717971.9276 | 1232835.0721 | 2717965.8899 | 1232831.8193
33 | 2717981.1086 | 1232836.6394 | 2717990.2091 | 1232838.193 | 2717994.517 | 1232837.6959
34 | 2718022.5177 | 1232822.1046 | 2718022.373 | 1232821.8852 | 2718017.0599 | 1232817.8814
35 | 2718028.468 | 1232831.1247 | 2718020.7937 | 1232834.664 | 2717994.517 | 1232837.6959
36 | 2718028.468 | 1232831.1247 | 2718032.7427 | 1232834.0567
37 | 2718028.468 | 1232831.1247 | 2718022.5177 | 1232822.1046
38 | 2718033.4359 | 1232834.5322 | 2718032.7427 | 1232834.0567
39 | 2718033.4359 | 1232834.5322 | 2718054.4093 | 1232848.9177
40 | 2718055.2762 | 1232849.5123 | 2718054.4093 | 1232848.9177
41 | 2718059.882 | 1232852.6715 | 2718055.2762 | 1232849.5123
42 | 2718059.882 | 1232852.6715 | 2718065.2885 | 1232856.3797
43 | 2718065.2885 | 1232856.3797 | 2718090.3788 | 1232873.5891
44 | 2718090.3788 | 1232873.5891 | 2718091.6796 | 1232874.4814 | 2718128.829 | 1232897.5031
45 | 2718148.5241 | 1232909.6335 | 2718143.0323 | 1232906.3049 | 2718128.829 | 1232897.5031
46 | 2718187.4012 | 1232933.1972 | 2718148.5241 | 1232909.6335
47 | 2718198.9514 | 1232956.7679 | 2718192.9935 | 1232947.1307 | 2718187.4012 | 1232933.1972
48 | 2718187.4012 | 1232933.1972 | 2718183.1028 | 1232920.8464 | 2718181.3796 | 1232907.3458 | 2718173.9622 | 1232891.4968 | 2718160.0923 | 1232873.1814
49 | 2718088.6984 | 1233009.9523 | 2718108.8298 | 1233020.5608 | 2718148.143 | 1233021.743 | 2718167.4695 | 1233018.3689 | 2718181.5509 | 1233011.3988 | 2718217.4014 | 1232983.3672 | 2718199.7879 | 1232958.119 | 2718198.9514 | 1232956.7679
50 | 2718198.9514 | 1232956.7679 | 2718186.3686 | 1232962.6335 | 2718177.6266 | 1232963.5048 | 2718144.4226 | 1232941.1158 | 2718135.8021 | 1232940.444 | 2718125.0391 | 1232933.0913
51 | 2718154.6567 | 1232866.0036 | 2718160.0923 | 1232873.1814
52 | 2718125.096 | 1232767.2004 | 2718130.921 | 1232765.8412 | 2718136.9002 | 1232766.049 | 2718142.1807 | 1232770.1573 | 2718146.5817 | 1232791.4506 | 2718143.3748 | 1232799.6045 | 2718146.9609 | 1232812.7575
53 | 2718111.9515 | 1232770.2677 | 2718125.096 | 1232767.2004
54 | 2718147.2952 | 1232813.9833 | 2718146.9609 | 1232812.7575
55 | 2718111.9515 | 1232770.2677 | 2718115.7864 | 1232789.2867
56 | 2718147.2952 | 1232813.9833 | 2718147.8924 | 1232816.1741 | 2718158.5711 | 1232831.4207 | 2718159.6948 | 1232832.8307
57 | 2718120.1058 | 1232810.1071 | 2718118.7006 | 1232803.7396 | 2718115.7864 | 1232789.2867
58 | 2718165.0771 | 1232839.5843 | 2718159.6948 | 1232832.8307
59 | 2718120.1058 | 1232810.1071 | 2718122.1119 | 1232819.1975 | 2718127.4385 | 1232833.9373 | 2718135.2204 | 1232842.6966
60 | 2718179.4341 | 1232856.8643 | 2718176.2388 | 1232853.5896 | 2718165.0771 | 1232839.5843
61 | 2718135.2204 | 1232842.6966 | 2718141.1808 | 1232849.4055
62 | 2718154.6567 | 1232866.0036 | 2718147.3212 | 1232856.317 | 2718141.1808 | 1232849.4055
63 | 2718088.6984 | 1233009.9523 | 2718066.068 | 1232998.5604 | 2718050.6631 | 1232997.8205 | 2718030.8984 | 1232993.9026 | 2718021.7774 | 1232990.6989
64 | 2718125.0391 | 1232933.0913 | 2718121.2357 | 1232930.4929
65 | 2718097.9005 | 1232914.5554 | 2718104.92 | 1232919.3468 | 2718121.2357 | 1232930.4929
66 | 2718092.4642 | 1232910.8446 | 2718097.9005 | 1232914.5554
67 | 2718089.1634 | 1232908.5915 | 2718092.4642 | 1232910.8446
68 | 2718089.1634 | 1232908.5915 | 2718086.8447 | 1232907.0088
69 | 2718083.0192 | 1232904.4833 | 2718083.9455 | 1232905.0298 | 2718086.8447 | 1232907.0088
70 | 2718077.2075 | 1232901.0543 | 2718083.0192 | 1232904.4833
71 | 2718077.2075 | 1232901.0543 | 2718071.3816 | 1232897.617
72 | 2718057.5953 | 1232889.4829 | 2718071.3816 | 1232897.617
73 | 2717729.741 | 1232817.9903 | 2717731.4501 | 1232811.241 | 2717730.523 | 1232809.6284
74 | 2717730.523 | 1232809.6284 | 2717727.1305 | 1232803.7273 | 2717727.1305 | 1232803.7273
75 | 2717727.1305 | 1232803.7273 | 2717724.314 | 1232802.7043
76 | 2717724.314 | 1232802.7043 | 2717714.465 | 1232799.1271
77 | 2717714.465 | 1232799.1271 | 2717705.5374 | 1232795.8845
78 | 2717705.5374 | 1232795.8845 | 2717685.8443 | 1232788.7319
79 | 2717678.3429 | 1232786.0073 | 2717685.8443 | 1232788.7319
80 | 2717678.3429 | 1232786.0073 | 2717661.2429 | 1232779.7965
81 | 2717661.2429 | 1232779.7965 | 2717654.458 | 1232777.3322
82 | 2717639.7297 | 1232771.9828 | 2717654.458 | 1232777.3322

## bus_geodata
| x | y | coords
0 | 2717791.8908 | 1233205.604
1 | 2717702.0347 | 1233104.7032
2 | 2717970.7738 | 1233102.8737
3 | 2717701.8507 | 1232881.9243
4 | 2718007.915 | 1233059.7321
5 | 2717715.262 | 1232881.7098
6 | 2718271.729 | 1232739.8092
7 | 2718264.0784 | 1232880.9806
8 | 2717740.3499 | 1232702.0818
9 | 2717751.4109 | 1232705.7025
10 | 2717772.4167 | 1232713.4414
11 | 2717789.5521 | 1232691.886
12 | 2717813.3954 | 1232725.724
13 | 2717825.9044 | 1232727.9317
14 | 2717869.2917 | 1232737.2611
15 | 2717952.1054 | 1232779.4275
16 | 2717980.4143 | 1232799.4104
17 | 2717990.7892 | 1232805.0198
18 | 2718009.382 | 1232813.608
19 | 2717835.4241 | 1232775.5339
20 | 2717850.4554 | 1232780.4967
21 | 2717830.7837 | 1232774.0018
22 | 2717856.1925 | 1232782.3908
23 | 2717882.4024 | 1232791.0443
24 | 2717883.0645 | 1232791.2629
25 | 2717895.3794 | 1232795.3288
26 | 2717904.4717 | 1232798.7296
27 | 2717924.0161 | 1232809.2594
28 | 2717930.0658 | 1232812.5187
29 | 2717945.1086 | 1232820.6231
30 | 2717954.571 | 1232825.7211
31 | 2717965.8899 | 1232831.8193
32 | 2717981.1086 | 1232836.6394
33 | 2718017.0599 | 1232817.8814
34 | 2717994.517 | 1232837.6959
35 | 2718028.468 | 1232831.1247
36 | 2718022.5177 | 1232822.1046
37 | 2718032.7427 | 1232834.0567
38 | 2718033.4359 | 1232834.5322
39 | 2718054.4093 | 1232848.9177
40 | 2718055.2762 | 1232849.5123
41 | 2718059.882 | 1232852.6715
42 | 2718065.2885 | 1232856.3797
43 | 2718090.3788 | 1232873.5891
44 | 2718128.829 | 1232897.5031
45 | 2718148.5241 | 1232909.6335
46 | 2718187.4012 | 1232933.1972
47 | 2718198.9514 | 1232956.7679
48 | 2718160.0923 | 1232873.1814
49 | 2718125.096 | 1232767.2004
50 | 2718146.9609 | 1232812.7575
51 | 2718111.9515 | 1232770.2677
52 | 2718147.2952 | 1232813.9833
53 | 2718115.7864 | 1232789.2867
54 | 2718159.6948 | 1232832.8307
55 | 2718120.1058 | 1232810.1071
56 | 2718165.0771 | 1232839.5843
57 | 2718135.2204 | 1232842.6966
58 | 2718141.1808 | 1232849.4055
59 | 2718154.6567 | 1232866.0036
60 | 2718088.6984 | 1233009.9523
61 | 2718125.0391 | 1232933.0913
62 | 2718179.4341 | 1232856.8643
63 | 2718121.2357 | 1232930.4929
64 | 2718097.9005 | 1232914.5554
65 | 2718092.4642 | 1232910.8446
66 | 2718021.7774 | 1232990.6989
67 | 2718089.1634 | 1232908.5915
68 | 2718086.8447 | 1232907.0088
69 | 2718083.0192 | 1232904.4833
70 | 2718077.2075 | 1232901.0543
71 | 2718071.3816 | 1232897.617
72 | 2718057.5953 | 1232889.4829
73 | 2717729.741 | 1232817.9903
74 | 2717730.523 | 1232809.6284
75 | 2717727.1305 | 1232803.7273
76 | 2717724.314 | 1232802.7043
77 | 2717714.465 | 1232799.1271
78 | 2717705.5374 | 1232795.8845
79 | 2717685.8443 | 1232788.7319
80 | 2717678.3429 | 1232786.0073
81 | 2717661.2429 | 1232779.7965
82 | 2717654.458 | 1232777.3322
83 | 2717639.7297 | 1232771.9828
84 | 2718028.468 | 1232831.1247

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1