## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-13_0_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_3341-13_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3341-13_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_3341-13_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_3341-13_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3341-13_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3341-13_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3341-13_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_3341-13_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_3341-13_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_3341-13_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_3341-13_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_3341-13_0_3_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_3341-13_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_3341-13_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3341-13_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3341-13_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3341-13_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3341-13_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3341-13_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3341-13_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3341-13_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3341-13_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3341-13_0_3_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_3341-13_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3341-13_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_3341-13_0_3_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_3341-13_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_3341-13_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_3341-13_0_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_3341-13_0_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_3341-13_0_3_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_3341-13_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_3341-13_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3341-13_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_3341-13_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_3341-13_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3341-13_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3341-13_0_3_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_3341-13_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_3341-13_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3341-13_0_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_3341-13_0_3_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_3341-13_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_3341-13_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3341-13_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3341-13_0_3_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_3341-13_0_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_3341-13_0_3_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_3341-13_0_3_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_3341-13_0_3_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_3341-13_0_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_3341-13_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3341-13_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_3341-13_0_3_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_3341-13_0_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_3341-13_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3341-13_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_3341-13_0_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_3341-13_0_3_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_3341-13_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3341-13_0_3_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_3341-13_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_3341-13_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_3341-13_0_3_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_3341-13_0_3_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_3341-13_0_3_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_3341-13_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_3341-13_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_3341-13_0_3_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_3341-13_0_3_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_3341-13_0_3_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_3341-13_0_3_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_3341-13_0_3_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_3341-13_0_3_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_3341-13_0_3_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_3341-13_0_3_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_3341-13_0_3_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_3341-13_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_3341-13_0_3_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_3341-13_0_3_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_3341-13_0_3_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_3341-13_0_3_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_3341-13_0_3_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_3341-13_0_3_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_3341-13_0_3_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_3341-13_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_3341-13_0_3_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_3341-13_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_3341-13_0_3_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_3341-13_0_3_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_3341-13_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_3341-13_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_3341-13_0_3_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_3341-13_0_3_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_3341-13_0_3_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_3341-13_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_3341-13_0_3_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_3341-13_0_3_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_3341-13_0_3_node_100 | 0.4 | n |  | TRUE
101 | bus_MV_10_1_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-13_0_3_load_0 | 0 | 0.0018424 | 0.00046174 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-13_0_3_load_7 | 1 | 0.0028154 | 0.0007056 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-13_0_3_load_5 | 2 | 0.0032815 | 0.00082243 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-13_0_3_load_1 | 3 | 0.0037478 | 0.00093929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-13_0_3_load_3 | 5 | 0.0030261 | 0.00075841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-13_0_3_load_29 | 9 | 0.0042971 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-13_0_3_load_28 | 10 | 0.0015082 | 0.00037799 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-13_0_3_load_49 | 12 | 0.0017724 | 0.00044422 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-13_0_3_load_6 | 15 | 0.0035383 | 0.00088678 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-13_0_3_load_8 | 16 | 0.0031328 | 0.00078515 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-13_0_3_load_10 | 18 | 0.0023745 | 0.0005951 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-13_0_3_load_11 | 19 | 0.0065155 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-13_0_3_load_13 | 22 | 0.0022682 | 0.00056846 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-13_0_3_load_16 | 23 | 0.0036407 | 0.00091244 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-13_0_3_load_59 | 26 | 0.0023216 | 0.00058184 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-13_0_3_load_93 | 27 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-13_0_3_load_42 | 28 | 0.00088839 | 0.00022265 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-13_0_3_load_55 | 30 | 0.00719 | 0.001802 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-13_0_3_load_58 | 31 | 0.0028214 | 0.00070712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-13_0_3_load_75 | 32 | 0.0013422 | 0.00033638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-13_0_3_load_17 | 34 | 0.0020669 | 0.000518 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-13_0_3_load_18 | 35 | 0.0018107 | 0.0004538 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-13_0_3_load_26 | 40 | 0.0014454 | 0.00036225 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-13_0_3_load_89 | 42 | 0.00175 | 0.00043859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-13_0_3_load_87 | 43 | 0.00094439 | 0.00023669 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-13_0_3_load_34 | 46 | 0.0014298 | 0.00035835 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-13_0_3_load_78 | 48 | 0.00031676 | 7.9387e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-13_0_3_load_25 | 49 | 0.0011287 | 0.00028288 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-13_0_3_load_94 | 50 | 0.0012667 | 0.00031747 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-13_0_3_load_95 | 51 | 0.0017794 | 0.00044596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-13_0_3_load_37 | 53 | 0.00083832 | 0.0002101 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-13_0_3_load_35 | 54 | 0.0044456 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-13_0_3_load_32 | 57 | 0.0014216 | 0.00035627 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-13_0_3_load_96 | 60 | 0.00073544 | 0.00018432 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-13_0_3_load_48 | 61 | 0.0023323 | 0.00058453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-13_0_3_load_76 | 62 | 0.00084568 | 0.00021195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-13_0_3_load_73 | 63 | 0.00085468 | 0.0002142 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-13_0_3_load_71 | 64 | 0.0012059 | 0.00030222 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-13_0_3_load_97 | 65 | 0.0032941 | 0.00082557 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-13_0_3_load_40 | 66 | 0.0028532 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-13_0_3_load_41 | 67 | 0.00084933 | 0.00021286 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-13_0_3_load_43 | 68 | 0.0019661 | 0.00049276 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-13_0_3_load_44 | 69 | 0.0022019 | 0.00055185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-13_0_3_load_47 | 72 | 0.0022695 | 0.00056878 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-13_0_3_load_54 | 73 | 0.0037242 | 0.00093337 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-13_0_3_load_52 | 74 | 0.0022105 | 0.00055399 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-13_0_3_load_50 | 75 | 0.0021944 | 0.00054998 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-13_0_3_load_51 | 76 | 0.0022475 | 0.00056327 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-13_0_3_load_53 | 77 | 0.0022307 | 0.00055906 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-13_0_3_load_60 | 79 | 0.0034634 | 0.00086802 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-13_0_3_load_61 | 80 | 0.0022995 | 0.00057631 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-13_0_3_load_62 | 81 | 0.0034445 | 0.00086327 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-13_0_3_load_63 | 82 | 0.00082784 | 0.00020748 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-13_0_3_load_64 | 83 | 0.0024162 | 0.00060557 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-13_0_3_load_65 | 84 | 0.0021983 | 0.00055096 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-13_0_3_load_66 | 85 | 0.014171 | 0.0035517 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-13_0_3_load_68 | 87 | 0.0018945 | 0.00047481 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-13_0_3_load_69 | 88 | 0.0031897 | 0.00079942 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-13_0_3_load_70 | 89 | 0.0014324 | 0.000359 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-13_0_3_load_74 | 90 | 0.00098998 | 0.00024811 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-13_0_3_load_80 | 91 | 0.00012394 | 3.1062e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-13_0_3_load_86 | 92 | 0.00010326 | 2.5879e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-13_0_3_load_84 | 93 | 0.00021083 | 5.2839e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-13_0_3_load_82 | 94 | 0.00057164 | 0.00014327 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-13_0_3_load_83 | 95 | 0.00023793 | 5.963e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-13_0_3_load_91 | 97 | 0.0014344 | 0.0003595 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3341-13_0_3_load_99 | 99 | 0.0023838 | 0.00059743 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3341-13_0_3_load_100 | 100 | 0.0019512 | 0.00048903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-13_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0067479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-13_0_3_line_2 | NAYY 4x150 SE | 2 | 15 | 0.012222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-13_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.067434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-13_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.01925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-13_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-13_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0098485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-13_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.042062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-13_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.02463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-13_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.025728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-13_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.038657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-13_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.029157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-13_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.004682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-13_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.02493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-13_0_3_line_14 | NAYY 4x150 SE | 10 | 50 | 0.0069521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-13_0_3_line_15 | NAYY 4x150 SE | 11 | 37 | 0.017466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-13_0_3_line_16 | NAYY 4x150 SE | 11 | 34 | 0.022333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-13_0_3_line_17 | NAYY 4x150 SE | 12 | 61 | 0.030479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-13_0_3_line_18 | NAYY 4x150 SE | 13 | 62 | 0.016245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-13_0_3_line_19 | NAYY 4x150 SE | 14 | 57 | 0.0094197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-13_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.0092157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-13_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.017529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-13_0_3_line_22 | NAYY 4x150 SE | 17 | 18 | 0.0084655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3341-13_0_3_line_23 | NAYY 4x150 SE | 17 | 19 | 0.013655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3341-13_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.025402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3341-13_0_3_line_25 | NAYY 4x150 SE | 19 | 21 | 0.043626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3341-13_0_3_line_26 | NAYY 4x150 SE | 20 | 22 | 0.0040261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3341-13_0_3_line_27 | NAYY 4x150 SE | 21 | 23 | 0.016193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3341-13_0_3_line_28 | NAYY 4x150 SE | 22 | 24 | 0.039031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3341-13_0_3_line_29 | NAYY 4x150 SE | 23 | 30 | 0.0026087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-13_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.015386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3341-13_0_3_line_31 | NAYY 4x150 SE | 24 | 29 | 0.006196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-13_0_3_line_32 | NAYY 4x150 SE | 25 | 26 | 0.022809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-13_0_3_line_33 | NAYY 4x150 SE | 25 | 27 | 0.022602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-13_0_3_line_34 | NAYY 4x150 SE | 26 | 31 | 0.0023208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-13_0_3_line_35 | NAYY 4x150 SE | 27 | 32 | 0.030478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-13_0_3_line_36 | NAYY 4x150 SE | 28 | 67 | 0.015328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3341-13_0_3_line_37 | NAYY 4x150 SE | 29 | 66 | 0.040474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-13_0_3_line_38 | NAYY 4x150 SE | 29 | 53 | 0.0028573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-13_0_3_line_39 | NAYY 4x150 SE | 30 | 33 | 0.0083396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-13_0_3_line_40 | NAYY 4x150 SE | 31 | 78 | 0.017544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-13_0_3_line_41 | NAYY 4x150 SE | 32 | 90 | 0.029754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-13_0_3_line_42 | NAYY 4x150 SE | 33 | 78 | 0.021193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-13_0_3_line_43 | NAYY 4x150 SE | 34 | 35 | 0.037147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-13_0_3_line_44 | NAYY 4x150 SE | 35 | 36 | 0.042265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-13_0_3_line_45 | NAYY 4x150 SE | 36 | 38 | 0.070654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-13_0_3_line_46 | NAYY 4x150 SE | 37 | 39 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-13_0_3_line_47 | NAYY 4x150 SE | 37 | 40 | 0.032106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-13_0_3_line_48 | NAYY 4x150 SE | 38 | 47 | 0.014265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-13_0_3_line_49 | NAYY 4x150 SE | 38 | 48 | 0.027208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-13_0_3_line_50 | NAYY 4x150 SE | 39 | 51 | 0.018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-13_0_3_line_51 | NAYY 4x150 SE | 40 | 49 | 0.016042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-13_0_3_line_52 | NAYY 4x150 SE | 41 | 42 | 0.0081784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-13_0_3_line_53 | NAYY 4x150 SE | 41 | 43 | 0.0078698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-13_0_3_line_54 | NAYY 4x150 SE | 42 | 50 | 0.0086225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-13_0_3_line_55 | NAYY 4x150 SE | 43 | 52 | 0.0024723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-13_0_3_line_56 | NAYY 4x150 SE | 44 | 45 | 0.048991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-13_0_3_line_57 | NAYY 4x150 SE | 44 | 46 | 0.029008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-13_0_3_line_58 | NAYY 4x150 SE | 45 | 53 | 0.042753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-13_0_3_line_59 | NAYY 4x150 SE | 46 | 54 | 0.011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-13_0_3_line_60 | NAYY 4x150 SE | 47 | 55 | 0.030285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-13_0_3_line_61 | NAYY 4x150 SE | 48 | 56 | 0.032387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-13_0_3_line_62 | NAYY 4x150 SE | 52 | 96 | 0.00546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-13_0_3_line_63 | NAYY 4x150 SE | 52 | 97 | 0.003706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-13_0_3_line_64 | NAYY 4x150 SE | 55 | 95 | 0.025276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-13_0_3_line_65 | NAYY 4x150 SE | 56 | 91 | 0.031737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-13_0_3_line_66 | NAYY 4x150 SE | 58 | 59 | 0.079089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-13_0_3_line_67 | NAYY 4x150 SE | 58 | 60 | 0.010239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-13_0_3_line_68 | NAYY 4x150 SE | 59 | 63 | 0.010088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-13_0_3_line_69 | NAYY 4x150 SE | 59 | 64 | 0.039652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-13_0_3_line_70 | NAYY 4x150 SE | 60 | 65 | 0.01673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-13_0_3_line_71 | NAYY 4x150 SE | 61 | 72 | 0.023196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-13_0_3_line_72 | NAYY 4x150 SE | 63 | 90 | 0.018163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-13_0_3_line_73 | NAYY 4x150 SE | 64 | 89 | 0.0055412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-13_0_3_line_74 | NAYY 4x150 SE | 67 | 68 | 0.0079963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3341-13_0_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.017279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3341-13_0_3_line_76 | NAYY 4x150 SE | 69 | 70 | 0.014037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_3341-13_0_3_line_77 | NAYY 4x150 SE | 70 | 71 | 0.01928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_3341-13_0_3_line_78 | NAYY 4x150 SE | 70 | 72 | 0.0052942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3341-13_0_3_line_79 | NAYY 4x150 SE | 71 | 73 | 0.00697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3341-13_0_3_line_80 | NAYY 4x150 SE | 71 | 74 | 0.010448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_3341-13_0_3_line_81 | NAYY 4x150 SE | 74 | 75 | 0.0033455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_3341-13_0_3_line_82 | NAYY 4x150 SE | 75 | 76 | 0.020163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3341-13_0_3_line_83 | NAYY 4x150 SE | 76 | 77 | 0.0037818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3341-13_0_3_line_84 | NAYY 4x150 SE | 78 | 79 | 0.031568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3341-13_0_3_line_85 | NAYY 4x150 SE | 79 | 80 | 0.018941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3341-13_0_3_line_86 | NAYY 4x150 SE | 80 | 81 | 0.031818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3341-13_0_3_line_87 | NAYY 4x150 SE | 81 | 82 | 0.019652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3341-13_0_3_line_88 | NAYY 4x150 SE | 82 | 83 | 0.0015485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3341-13_0_3_line_89 | NAYY 4x150 SE | 84 | 85 | 0.0098809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3341-13_0_3_line_90 | NAYY 4x150 SE | 84 | 86 | 0.01811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3341-13_0_3_line_91 | NAYY 4x150 SE | 86 | 87 | 0.0023971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3341-13_0_3_line_92 | NAYY 4x150 SE | 86 | 88 | 0.011114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3341-13_0_3_line_93 | NAYY 4x150 SE | 87 | 89 | 0.021052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3341-13_0_3_line_94 | NAYY 4x150 SE | 91 | 92 | 0.039402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3341-13_0_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.017536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3341-13_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.021869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3341-13_0_3_line_97 | NAYY 4x150 SE | 96 | 98 | 0.00602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3341-13_0_3_line_98 | NAYY 4x150 SE | 96 | 99 | 0.003339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3341-13_0_3_line_99 | NAYY 4x150 SE | 98 | 100 | 0.007122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-13_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 101 | 75 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2718555.1848 | 1234880.8367 | 2718446.3104 | 1234939.305
1 | 2718555.1848 | 1234880.8367 | 2718552.3985 | 1234874.6909
2 | 2718552.3985 | 1234874.6909 | 2718551.2979 | 1234872.2634 | 2718550.6815 | 1234867.4917 | 2718552.0893 | 1234862.9606 | 2718552.0893 | 1234862.9606
3 | 2718742.8424 | 1234751.0126 | 2718754.5659 | 1234753.8825 | 2718762.2335 | 1234756.2599 | 2718767.6805 | 1234757.9924 | 2718774.7549 | 1234759.7463 | 2718780.2463 | 1234759.2557 | 2718783.9382 | 1234757.5058 | 2718786.4157 | 1234755.5315 | 2718792.6294 | 1234750.3516 | 2718798.1697 | 1234746.6594 | 2718803.281 | 1234744.7378 | 2718804.6262 | 1234744.556
4 | 2718742.8424 | 1234751.0126 | 2718739.4599 | 1234747.5089 | 2718732.4378 | 1234743.5209 | 2718726.9198 | 1234740.4724
5 | 2718737.2799 | 1234765.2796 | 2718738.7592 | 1234763.2409 | 2718741.0403 | 1234760.8623 | 2718742.7484 | 1234756.8488 | 2718743.1984 | 1234753.6552 | 2718742.8424 | 1234751.0126
6 | 2718718.2993 | 1234735.7099 | 2718726.9198 | 1234740.4724
7 | 2718737.2799 | 1234765.2796 | 2718731.0067 | 1234765.1097 | 2718724.3087 | 1234764.9757 | 2718728.8576 | 1234769.9706 | 2718732.3674 | 1234773.5436 | 2718733.2605 | 1234775.0738 | 2718732.7962 | 1234777.0884 | 2718730.2623 | 1234781.1299 | 2718725.0856 | 1234788.2211
8 | 2718737.2799 | 1234765.2796 | 2718737.4437 | 1234767.3067 | 2718738.4012 | 1234770.1615 | 2718740.5529 | 1234774.2522 | 2718742.5285 | 1234776.9272 | 2718745.5225 | 1234779.4112 | 2718751.5336 | 1234784.2984
9 | 2718718.2993 | 1234735.7099 | 2718715.2819 | 1234740.8316 | 2718702.2622 | 1234745.6086 | 2718696.7002 | 1234747.622
10 | 2718687.2038 | 1234714.8832 | 2718688.6437 | 1234719.36 | 2718691.0362 | 1234721.6318 | 2718695.6726 | 1234724.5267 | 2718701.6811 | 1234727.716 | 2718711.1402 | 1234731.7526 | 2718718.2993 | 1234735.7099
11 | 2718725.0856 | 1234788.2211 | 2718722.4085 | 1234788.8236 | 2718715.8711 | 1234789.7493 | 2718710.857 | 1234789.8492 | 2718705.0965 | 1234790.5458 | 2718696.1833 | 1234791.7365
12 | 2718729.7726 | 1234788.2036 | 2718728.3086 | 1234788.3411 | 2718725.0856 | 1234788.2211
13 | 2718768.463 | 1234802.1435 | 2718766.867 | 1234798.6644 | 2718763.8975 | 1234794.9576 | 2718759.1164 | 1234790.2138 | 2718753.1365 | 1234785.6017 | 2718751.5336 | 1234784.2984
14 | 2718690.1632 | 1234749.9883 | 2718696.7002 | 1234747.622
15 | 2718680.5457 | 1234699.1153 | 2718685.1548 | 1234705.6459 | 2718686.27 | 1234709.3267 | 2718687.2038 | 1234714.8832
16 | 2718687.2038 | 1234714.8832 | 2718695.6511 | 1234714.2403 | 2718702.1563 | 1234714.1702 | 2718709.4153 | 1234712.9796
17 | 2718665.8335 | 1234794.5105 | 2718681.0824 | 1234793.1015 | 2718693.5118 | 1234792.0934 | 2718696.1833 | 1234791.7365
18 | 2718729.7726 | 1234788.2036 | 2718730.5404 | 1234798.6495 | 2718730.8098 | 1234804.4137
19 | 2718768.463 | 1234802.1435 | 2718759.1588 | 1234803.6143 | 2718759.1588 | 1234803.6143
20 | 2718552.0893 | 1234862.9606 | 2718555.605 | 1234859.7948 | 2718559.6182 | 1234857.7931
21 | 2718575.3045 | 1234849.9689 | 2718559.6182 | 1234857.7931
22 | 2718575.3045 | 1234849.9689 | 2718582.8803 | 1234846.1912
23 | 2718575.3045 | 1234849.9689 | 2718577.3815 | 1234853.6355 | 2718585.8523 | 1234849.4662
24 | 2718600.736 | 1234829.5044 | 2718596.0559 | 1234837.5175 | 2718593.6581 | 1234840.8167 | 2718582.8803 | 1234846.1912
25 | 2718626.9637 | 1234843.4725 | 2718624.419 | 1234843.8887 | 2718615.7812 | 1234842.3261 | 2718610.3198 | 1234843.5959 | 2718609.798 | 1234843.5633 | 2718608.6768 | 1234843.2184 | 2718603.4393 | 1234841.6126 | 2718602.2627 | 1234841.3889 | 2718585.8523 | 1234849.4662
26 | 2718600.736 | 1234829.5044 | 2718599.1391 | 1234828.7164 | 2718597.1243 | 1234827.7253
27 | 2718626.9637 | 1234843.4725 | 2718631.5499 | 1234859.0024
28 | 2718567.6829 | 1234802.8234 | 2718571.1368 | 1234807.307 | 2718579.0836 | 1234816.1727 | 2718586.0856 | 1234821.172 | 2718592.7062 | 1234825.5521 | 2718597.1243 | 1234827.7253
29 | 2718632.2888 | 1234861.5043 | 2718631.5499 | 1234859.0024
30 | 2718567.6829 | 1234802.8234 | 2718577.3388 | 1234801.5595 | 2718582.9637 | 1234801.052
31 | 2718563.897 | 1234797.9106 | 2718567.6829 | 1234802.8234
32 | 2718677.9947 | 1234845.6821 | 2718679.5572 | 1234848.9493 | 2718680.4865 | 1234853.2157 | 2718680.0488 | 1234855.798 | 2718678.5695 | 1234857.8367 | 2718675.4709 | 1234860.2101 | 2718670.3754 | 1234862.4879 | 2718670.1964 | 1234862.5743
33 | 2718677.9947 | 1234845.6821 | 2718687.0811 | 1234848.2879 | 2718700.125 | 1234846.623
34 | 2718668.1064 | 1234863.5834 | 2718670.1964 | 1234862.5743
35 | 2718730.4348 | 1234843.4393 | 2718703.803 | 1234846.1536 | 2718700.125 | 1234846.623
36 | 2718598.2484 | 1234799.9058 | 2718586.9261 | 1234800.6946 | 2718582.9637 | 1234801.052
37 | 2718526.4701 | 1234813.5765 | 2718563.897 | 1234797.9106
38 | 2718563.897 | 1234797.9106 | 2718563.218 | 1234797.0297 | 2718562.2319 | 1234795.5899
39 | 2718634.6508 | 1234869.5024 | 2718632.2888 | 1234861.5043
40 | 2718651.8979 | 1234870.2585 | 2718655.6282 | 1234868.476 | 2718662.3669 | 1234865.8084 | 2718666.6599 | 1234864.2818 | 2718668.1064 | 1234863.5834
41 | 2718760.0748 | 1234841.0005 | 2718751.5989 | 1234841.2824 | 2718730.4348 | 1234843.4393
42 | 2718651.8979 | 1234870.2585 | 2718650.0359 | 1234865.3063 | 2718634.6508 | 1234869.5024
43 | 2718709.4153 | 1234712.9796 | 2718713.1557 | 1234712.3662 | 2718726.8322 | 1234709.9597 | 2718734.9659 | 1234708.3432 | 2718745.6405 | 1234705.0274
44 | 2718781.1751 | 1234682.5459 | 2718771.4972 | 1234690.2031 | 2718761.1981 | 1234697.492 | 2718754.4232 | 1234701.204 | 2718745.9978 | 1234704.9164 | 2718745.6405 | 1234705.0274
45 | 2718788.9023 | 1234622.5299 | 2718793.6266 | 1234633.9002 | 2718798.3542 | 1234646.2379 | 2718801.4429 | 1234654.2061 | 2718800.9493 | 1234658.444 | 2718800.2506 | 1234663.0894 | 2718797.7124 | 1234668.0982 | 2718791.2974 | 1234675.0089 | 2718781.1751 | 1234682.5459
46 | 2718680.5457 | 1234699.1153 | 2718675.439 | 1234690.2062 | 2718668.7023 | 1234681.776
47 | 2718680.5457 | 1234699.1153 | 2718709.374 | 1234684.982
48 | 2718775.4284 | 1234627.2866 | 2718778.5341 | 1234626.4592 | 2718788.9023 | 1234622.5299
49 | 2718788.9023 | 1234622.5299 | 2718797.1318 | 1234618.0241 | 2718804.2434 | 1234613.0067 | 2718811.4115 | 1234607.4344 | 2718811.4433 | 1234607.4048
50 | 2718668.7023 | 1234681.776 | 2718662.7186 | 1234680.3776 | 2718656.3307 | 1234681.0172 | 2718650.9225 | 1234681.8544
51 | 2718723.7785 | 1234677.9201 | 2718709.374 | 1234684.982
52 | 2718673.8194 | 1234753.8138 | 2718678.0992 | 1234752.9541 | 2718681.8185 | 1234752.1135
53 | 2718673.8194 | 1234753.8138 | 2718666.2788 | 1234756.0663
54 | 2718681.8185 | 1234752.1135 | 2718688.4049 | 1234750.6248 | 2718690.1632 | 1234749.9883
55 | 2718663.9099 | 1234756.7739 | 2718666.2788 | 1234756.0663
56 | 2718600.3856 | 1234732.9532 | 2718582.9166 | 1234736.841 | 2718572.2418 | 1234741.732 | 2718566.6936 | 1234745.0684 | 2718562.3517 | 1234749.7967 | 2718558.9761 | 1234755.4227
57 | 2718600.3856 | 1234732.9532 | 2718597.2438 | 1234740.8969 | 2718594.1307 | 1234747.4067 | 2718592.9106 | 1234750.874 | 2718594.3023 | 1234760.3459
58 | 2718558.9761 | 1234755.4227 | 2718555.5477 | 1234764.0724 | 2718554.3598 | 1234772.7557 | 2718555.008 | 1234780.864 | 2718556.9185 | 1234787.185 | 2718560.2606 | 1234792.7116 | 2718562.2319 | 1234795.5899
59 | 2718601.3178 | 1234766.6433 | 2718597.9279 | 1234766.9203 | 2718595.0835 | 1234765.6626 | 2718594.3023 | 1234760.3459
60 | 2718775.4284 | 1234627.2866 | 2718767.2378 | 1234629.4691 | 2718745.6539 | 1234633.1407
61 | 2718834.1041 | 1234584.3141 | 2718823.7332 | 1234595.9382 | 2718811.4433 | 1234607.4048
62 | 2718659.0445 | 1234759.2787 | 2718663.9099 | 1234756.7739
63 | 2718663.2104 | 1234753.1347 | 2718663.9099 | 1234756.7739
64 | 2718745.6539 | 1234633.1407 | 2718750.5393 | 1234624.3424 | 2718755.6902 | 1234621.9545 | 2718762.5563 | 1234615.3392
65 | 2718834.1041 | 1234584.3141 | 2718830.8374 | 1234580.7014 | 2718828.0911 | 1234578.7004 | 2718822.2273 | 1234576.2256 | 2718815.9285 | 1234574.6762 | 2718806.8202 | 1234573.1484 | 2718805.4488 | 1234572.9806
66 | 2718779.7381 | 1234855.812 | 2718849.7166 | 1234844.5577 | 2718842.1168 | 1234841.4477
67 | 2718842.1168 | 1234841.4477 | 2718849.9309 | 1234838.3904 | 2718851.7409 | 1234838.0186
68 | 2718779.7381 | 1234855.812 | 2718779.5865 | 1234853.1735 | 2718778.8251 | 1234850.7341 | 2718777.2587 | 1234847.667 | 2718776.3402 | 1234846.5509
69 | 2718779.7381 | 1234855.812 | 2718779.4731 | 1234858.8425 | 2718778.4022 | 1234861.6567 | 2718776.5492 | 1234864.2106 | 2718774.2726 | 1234865.9887 | 2718770.5567 | 1234868.1829 | 2718767.5061 | 1234869.2895 | 2718762.5959 | 1234870.2477 | 2718751.6208 | 1234871.6072 | 2718747.7509 | 1234872.3087
70 | 2718868.2167 | 1234837.9447 | 2718858.9094 | 1234836.5463 | 2718851.7409 | 1234838.0186
71 | 2718642.7258 | 1234796.5244 | 2718652.1901 | 1234795.7712 | 2718665.8335 | 1234794.5105
72 | 2718776.3402 | 1234846.5509 | 2718774.886 | 1234844.7839 | 2718771.4836 | 1234842.2806 | 2718766.8423 | 1234840.7755 | 2718760.0748 | 1234841.0005
73 | 2718747.7509 | 1234872.3087 | 2718742.2986 | 1234873.2971
74 | 2718598.2484 | 1234799.9058 | 2718606.2254 | 1234799.3501
75 | 2718623.4555 | 1234798.0567 | 2718613.9703 | 1234798.8106 | 2718606.2254 | 1234799.3501
76 | 2718637.4482 | 1234796.9444 | 2718623.4555 | 1234798.0567
77 | 2718637.4482 | 1234796.9444 | 2718638.9039 | 1234816.1667
78 | 2718637.4482 | 1234796.9444 | 2718642.7258 | 1234796.5244
79 | 2718638.9039 | 1234816.1667 | 2718631.9412 | 1234816.7838
80 | 2718638.9039 | 1234816.1667 | 2718649.3095 | 1234815.2273
81 | 2718652.6415 | 1234814.9266 | 2718649.3095 | 1234815.2273
82 | 2718652.6415 | 1234814.9266 | 2718672.723 | 1234813.1137
83 | 2718676.4894 | 1234812.7737 | 2718672.723 | 1234813.1137
84 | 2718651.8979 | 1234870.2585 | 2718644.5369 | 1234873.7588 | 2718638.3673 | 1234877.8834 | 2718631.9969 | 1234882.5822 | 2718626.0865 | 1234888.0922
85 | 2718612.2322 | 1234901.0078 | 2718626.0865 | 1234888.0922
86 | 2718612.2322 | 1234901.0078 | 2718609.4234 | 1234903.6263 | 2718589.0396 | 1234922.7901
87 | 2718589.0396 | 1234922.7901 | 2718586.8619 | 1234924.8375 | 2718577.7498 | 1234933.7628 | 2718575.8625 | 1234937.1846
88 | 2718575.2805 | 1234938.6046 | 2718575.4324 | 1234937.9644 | 2718575.8625 | 1234937.1846
89 | 2718691.4998 | 1234881.3806 | 2718701.2484 | 1234879.7692
90 | 2718719.1395 | 1234876.9625 | 2718709.0243 | 1234878.4838 | 2718701.2484 | 1234879.7692
91 | 2718719.1395 | 1234876.9625 | 2718721.51 | 1234876.6063
92 | 2718720.676 | 1234887.9687 | 2718719.1395 | 1234876.9625
93 | 2718721.51 | 1234876.6063 | 2718736.3171 | 1234874.3814 | 2718742.2986 | 1234873.2971
94 | 2718766.3711 | 1234568.0048 | 2718776.3469 | 1234569.6365 | 2718794.7655 | 1234571.6729 | 2718805.4488 | 1234572.9806
95 | 2718778.305 | 1234600.1656 | 2718790.9333 | 1234587.9983 | 2718790.9333 | 1234587.9983
96 | 2718778.305 | 1234600.1656 | 2718762.5563 | 1234615.3392
97 | 2718659.0445 | 1234759.2787 | 2718657.384 | 1234760.1574 | 2718653.5007 | 1234761.6366
98 | 2718658.2005 | 1234756.0482 | 2718659.0445 | 1234759.2787
99 | 2718648.3157 | 1234761.5663 | 2718648.6559 | 1234763.4858 | 2718653.5007 | 1234761.6366

## bus_geodata
| x | y | coords
0 | 2718446.3104 | 1234939.305
1 | 2718555.1848 | 1234880.8367
2 | 2718552.3985 | 1234874.6909
3 | 2718804.6262 | 1234744.556
4 | 2718742.8424 | 1234751.0126
5 | 2718726.9198 | 1234740.4724
6 | 2718737.2799 | 1234765.2796
7 | 2718718.2993 | 1234735.7099
8 | 2718725.0856 | 1234788.2211
9 | 2718751.5336 | 1234784.2984
10 | 2718696.7002 | 1234747.622
11 | 2718687.2038 | 1234714.8832
12 | 2718696.1833 | 1234791.7365
13 | 2718729.7726 | 1234788.2036
14 | 2718768.463 | 1234802.1435
15 | 2718552.0893 | 1234862.9606
16 | 2718559.6182 | 1234857.7931
17 | 2718575.3045 | 1234849.9689
18 | 2718582.8803 | 1234846.1912
19 | 2718585.8523 | 1234849.4662
20 | 2718600.736 | 1234829.5044
21 | 2718626.9637 | 1234843.4725
22 | 2718597.1243 | 1234827.7253
23 | 2718631.5499 | 1234859.0024
24 | 2718567.683 | 1234802.8234
25 | 2718677.9947 | 1234845.6821
26 | 2718670.1964 | 1234862.5743
27 | 2718700.125 | 1234846.623
28 | 2718582.9637 | 1234801.052
29 | 2718563.897 | 1234797.9106
30 | 2718632.2888 | 1234861.5043
31 | 2718668.1064 | 1234863.5834
32 | 2718730.4348 | 1234843.4393
33 | 2718634.6508 | 1234869.5024
34 | 2718709.4153 | 1234712.9796
35 | 2718745.6405 | 1234705.0274
36 | 2718781.1751 | 1234682.5459
37 | 2718680.5457 | 1234699.1153
38 | 2718788.9023 | 1234622.5299
39 | 2718668.7023 | 1234681.776
40 | 2718709.374 | 1234684.982
41 | 2718673.8194 | 1234753.8138
42 | 2718681.8185 | 1234752.1135
43 | 2718666.2788 | 1234756.0663
44 | 2718600.3856 | 1234732.9532
45 | 2718558.9761 | 1234755.4227
46 | 2718594.3023 | 1234760.3459
47 | 2718775.4284 | 1234627.2866
48 | 2718811.4433 | 1234607.4048
49 | 2718723.7785 | 1234677.9201
50 | 2718690.1632 | 1234749.9883
51 | 2718650.9225 | 1234681.8544
52 | 2718663.9099 | 1234756.7739
53 | 2718562.2319 | 1234795.5899
54 | 2718601.3178 | 1234766.6433
55 | 2718745.6539 | 1234633.1407
56 | 2718834.1041 | 1234584.3141
57 | 2718759.1588 | 1234803.6143
58 | 2718842.1168 | 1234841.4477
59 | 2718779.7381 | 1234855.812
60 | 2718851.7409 | 1234838.0186
61 | 2718665.8335 | 1234794.5105
62 | 2718730.8098 | 1234804.4137
63 | 2718776.3402 | 1234846.5509
64 | 2718747.7509 | 1234872.3087
65 | 2718868.2167 | 1234837.9447
66 | 2718526.4701 | 1234813.5765
67 | 2718598.2484 | 1234799.9058
68 | 2718606.2254 | 1234799.3501
69 | 2718623.4555 | 1234798.0567
70 | 2718637.4482 | 1234796.9444
71 | 2718638.9039 | 1234816.1667
72 | 2718642.7258 | 1234796.5244
73 | 2718631.9412 | 1234816.7838
74 | 2718649.3095 | 1234815.2273
75 | 2718652.6415 | 1234814.9266
76 | 2718672.723 | 1234813.1137
77 | 2718676.4894 | 1234812.7737
78 | 2718651.8979 | 1234870.2585
79 | 2718626.0865 | 1234888.0922
80 | 2718612.2322 | 1234901.0078
81 | 2718589.0396 | 1234922.7901
82 | 2718575.8625 | 1234937.1846
83 | 2718575.2805 | 1234938.6046
84 | 2718701.2484 | 1234879.7692
85 | 2718691.4998 | 1234881.3806
86 | 2718719.1395 | 1234876.9625
87 | 2718721.51 | 1234876.6063
88 | 2718720.676 | 1234887.9687
89 | 2718742.2986 | 1234873.2971
90 | 2718760.0748 | 1234841.0005
91 | 2718805.4488 | 1234572.9806
92 | 2718766.3711 | 1234568.0048
93 | 2718790.9333 | 1234587.9983
94 | 2718778.305 | 1234600.1656
95 | 2718762.5563 | 1234615.3392
96 | 2718659.0445 | 1234759.2787
97 | 2718663.2104 | 1234753.1347
98 | 2718653.5007 | 1234761.6366
99 | 2718658.2005 | 1234756.0482
100 | 2718648.3157 | 1234761.5663
101 | 2718638.9039 | 1234816.1667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1