## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-14_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-14_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3341-14_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3341-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3341-14_0_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_3341-14_0_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_3341-14_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3341-14_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3341-14_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3341-14_0_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_3341-14_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3341-14_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3341-14_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3341-14_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3341-14_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3341-14_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3341-14_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3341-14_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3341-14_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3341-14_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_3341-14_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3341-14_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3341-14_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3341-14_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3341-14_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3341-14_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3341-14_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3341-14_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3341-14_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_3341-14_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3341-14_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3341-14_0_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_3341-14_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_3341-14_0_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_3341-14_0_2_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_3341-14_0_2_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_3341-14_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_3341-14_0_2_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_3341-14_0_2_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_3341-14_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_3341-14_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_3341-14_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3341-14_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3341-14_0_2_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_3341-14_0_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3341-14_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3341-14_0_2_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_3341-14_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_3341-14_0_2_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3341-14_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3341-14_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3341-14_0_2_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_3341-14_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_3341-14_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3341-14_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_MV_10_1_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-14_0_2_load_0 | 0 | 0.0011431 | 0.00028649 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-14_0_2_load_1 | 1 | 0.00014554 | 3.6477e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-14_0_2_load_2 | 2 | 7.076e-05 | 1.7734e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-14_0_2_load_4 | 4 | 0.0003964 | 9.9348e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-14_0_2_load_23 | 5 | 0.0015345 | 0.00038457 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-14_0_2_load_24 | 6 | 0.0016629 | 0.00041676 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-14_0_2_load_22 | 7 | 0.0022142 | 0.00055493 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-14_0_2_load_5 | 8 | 0.00013896 | 3.4826e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-14_0_2_load_21 | 10 | 6.6558e-05 | 1.6681e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-14_0_2_load_8 | 12 | 0.001779 | 0.00044585 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-14_0_2_load_9 | 13 | 0.013756 | 0.0034475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-14_0_2_load_10 | 14 | 0.0057759 | 0.0014476 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-14_0_2_load_12 | 16 | 0.0083128 | 0.0020834 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-14_0_2_load_14 | 18 | 0.0026379 | 0.00066111 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-14_0_2_load_15 | 19 | 0.00040502 | 0.00010151 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-14_0_2_load_20 | 20 | 0.0050234 | 0.001259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-14_0_2_load_16 | 22 | 0.00080811 | 0.00020253 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-14_0_2_load_17 | 23 | 0.00056904 | 0.00014261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-14_0_2_load_19 | 25 | 0.0029821 | 0.00074739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-14_0_2_load_29 | 27 | 0.016107 | 0.0040369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-14_0_2_load_25 | 28 | 0.0003688 | 9.243e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-14_0_2_load_26 | 29 | 0.0032122 | 0.00080506 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-14_0_2_load_30 | 30 | 0.00039287 | 9.8463e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-14_0_2_load_31 | 31 | 0.0013857 | 0.0003473 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-14_0_2_load_45 | 32 | 0.0007594 | 0.00019032 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-14_0_2_load_47 | 34 | 0.0014482 | 0.00036296 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-14_0_2_load_42 | 37 | 0.0089116 | 0.0022335 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-14_0_2_load_56 | 38 | 0.0029112 | 0.00072962 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-14_0_2_load_57 | 39 | 0.00074021 | 0.00018551 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-14_0_2_load_32 | 40 | 0.0024962 | 0.00062562 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-14_0_2_load_36 | 43 | 0.00067163 | 0.00016833 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-14_0_2_load_55 | 44 | 0.0010348 | 0.00025934 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-14_0_2_load_50 | 45 | 0.00097662 | 0.00024477 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-14_0_2_load_38 | 47 | 0.0018227 | 0.00045682 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-14_0_2_load_48 | 48 | 0.00162 | 0.000406 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-14_0_2_load_46 | 49 | 0.00056416 | 0.00014139 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-14_0_2_load_43 | 50 | 0.0042267 | 0.0010593 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-14_0_2_load_44 | 51 | 0.013435 | 0.0033672 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-14_0_2_load_54 | 52 | 0.00036036 | 9.0316e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-14_0_2_load_53 | 53 | 0.013297 | 0.0033326 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-14_0_2_load_52 | 54 | 0.058052 | 0.014549 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-14_0_2_load_49 | 55 | 0.0010236 | 0.00025653 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-14_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-14_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.050414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-14_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-14_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-14_0_2_line_4 | NAYY 4x150 SE | 3 | 8 | 0.034698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-14_0_2_line_5 | NAYY 4x150 SE | 4 | 9 | 0.039141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-14_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.044603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-14_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.25587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-14_0_2_line_8 | NAYY 4x150 SE | 6 | 28 | 0.12949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-14_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.062702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-14_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.041894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-14_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.048824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-14_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.21241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-14_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0060599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-14_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.091813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-14_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.035252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-14_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.10175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-14_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.077153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-14_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.011344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-14_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.12015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-14_0_2_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0073856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-14_0_2_line_21 | NAYY 4x150 SE | 19 | 22 | 0.043551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-14_0_2_line_22 | NAYY 4x150 SE | 20 | 25 | 0.026184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-14_0_2_line_23 | NAYY 4x150 SE | 21 | 26 | 0.053243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-14_0_2_line_24 | NAYY 4x150 SE | 21 | 27 | 0.0064453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-14_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0068121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-14_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.064724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-14_0_2_line_27 | NAYY 4x150 SE | 26 | 32 | 0.0049891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-14_0_2_line_28 | NAYY 4x150 SE | 27 | 33 | 0.048679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-14_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.018247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-14_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0089367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-14_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.028839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-14_0_2_line_32 | NAYY 4x150 SE | 31 | 38 | 0.0036977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-14_0_2_line_33 | NAYY 4x150 SE | 33 | 36 | 0.023629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-14_0_2_line_34 | NAYY 4x150 SE | 33 | 37 | 0.038512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-14_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.022898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-14_0_2_line_36 | NAYY 4x150 SE | 35 | 49 | 0.02887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-14_0_2_line_37 | NAYY 4x150 SE | 35 | 50 | 0.019503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-14_0_2_line_38 | NAYY 4x150 SE | 35 | 46 | 0.035646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-14_0_2_line_39 | NAYY 4x150 SE | 36 | 52 | 0.025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3341-14_0_2_line_40 | NAYY 4x150 SE | 36 | 44 | 0.016427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-14_0_2_line_41 | NAYY 4x150 SE | 37 | 49 | 0.0077714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-14_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.011917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-14_0_2_line_43 | NAYY 4x150 SE | 39 | 42 | 0.012118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-14_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.020392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-14_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.024711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-14_0_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0075644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-14_0_2_line_47 | NAYY 4x150 SE | 42 | 44 | 0.013776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-14_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0046671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-14_0_2_line_49 | NAYY 4x150 SE | 45 | 48 | 0.0087746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-14_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.017631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-14_0_2_line_51 | NAYY 4x150 SE | 48 | 55 | 0.0051248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-14_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.067106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-14_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.020694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3341-14_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.016477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-14_0_2_trafo_52 | 0.25 MVA 20/0.4 kV | 56 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2719626.9832 | 1233647.9891 | 2719643.8531 | 1233654.6285
1 | 2719626.9832 | 1233647.9891 | 2719580.0718 | 1233629.5262
2 | 2719660.8836 | 1233661.1836 | 2719654.5922 | 1233658.8551 | 2719643.8531 | 1233654.6285
3 | 2719580.0718 | 1233629.5262 | 2719575.5307 | 1233627.739 | 2719541.5151 | 1233616.7959
4 | 2719660.8836 | 1233661.1836 | 2719674.6215 | 1233661.138 | 2719688.0699 | 1233659.6743 | 2719695.4198 | 1233658.5725
5 | 2719504.2552 | 1233604.8092 | 2719541.5151 | 1233616.7959
6 | 2719498.6537 | 1233168.0904 | 2719498.6537 | 1233168.0904 | 2719499.6153 | 1233171.4903 | 2719501.5994 | 1233173.7542 | 2719503.7879 | 1233176.0222 | 2719510.0095 | 1233179.5946 | 2719517.4331 | 1233184.4033 | 2719524.8363 | 1233189.4674 | 2719533.2584 | 1233194.7076
7 | 2719533.2584 | 1233194.7076 | 2719684.3343 | 1233401.2131
8 | 2719449.3002 | 1233048.3743 | 2719498.6537 | 1233168.0904
9 | 2719735.6734 | 1233436.9481 | 2719734.4093 | 1233436.0945 | 2719716.736 | 1233426.2195 | 2719698.3267 | 1233412.282 | 2719684.3343 | 1233401.2131
10 | 2719736.2664 | 1233649.359 | 2719701.9321 | 1233657.5962 | 2719695.4198 | 1233658.5725
11 | 2719504.2552 | 1233604.8092 | 2719480.9529 | 1233595.8113 | 2719458.5893 | 1233587.5375
12 | 2719736.2664 | 1233649.359 | 2719735.6734 | 1233436.9481
13 | 2719245.425 | 1233087.6166 | 2719245.3458 | 1233087.4609 | 2719245.207 | 1233084.5669 | 2719245.5461 | 1233081.5983
14 | 2719234.6372 | 1232992.003 | 2719235.2981 | 1233001.3348 | 2719235.1024 | 1233010.705 | 2719235.9914 | 1233017.3504 | 2719238.0866 | 1233024.2758 | 2719240.4105 | 1233029.9936 | 2719243.5154 | 1233036.7947 | 2719245.6436 | 1233042.453 | 2719246.7528 | 1233047.9352 | 2719247.6691 | 1233052.4684 | 2719247.5925 | 1233056.6591 | 2719247.4787 | 1233062.328 | 2719246.9717 | 1233066.8326 | 2719246.6771 | 1233071.6972 | 2719245.5461 | 1233081.5983
15 | 2719245.425 | 1233087.6166 | 2719246.9049 | 1233090.528 | 2719249.323 | 1233091.9332 | 2719252.53 | 1233094.0214 | 2719256.3537 | 1233095.5771 | 2719260.3871 | 1233097.6264 | 2719264.4082 | 1233099.5308 | 2719267.3979 | 1233101.8816 | 2719269.5872 | 1233104.4943 | 2719272.2237 | 1233108.8006
16 | 2719134.6636 | 1233010.6244 | 2719160.5363 | 1233002.6255 | 2719173.48 | 1232999.5826 | 2719184.8926 | 1232997.3541 | 2719234.6372 | 1232992.003
17 | 2719234.6372 | 1232992.003 | 2719247.299 | 1232990.5558 | 2719267.035 | 1232988.7058 | 2719311.3973 | 1232984.245
18 | 2719134.6636 | 1233010.6244 | 2719131.5601 | 1232999.7127
19 | 2719134.6636 | 1233010.6244 | 2719074.7516 | 1233114.774
20 | 2719318.7458 | 1232983.5061 | 2719311.3973 | 1232984.245
21 | 2719131.5601 | 1232999.7127 | 2719125.0987 | 1232976.9947 | 2719125.1011 | 1232969.3219 | 2719126.4199 | 1232957.1338
22 | 2719048.7358 | 1233115.5754 | 2719052.4308 | 1233115.2495 | 2719058.3557 | 1233113.9894 | 2719069.4125 | 1233114.389 | 2719074.7516 | 1233114.774
23 | 2719318.7458 | 1232983.5061 | 2719308.6115 | 1232952.2554 | 2719299.8632 | 1232933.8206
24 | 2719318.7458 | 1232983.5061 | 2719325.1681 | 1232982.961
25 | 2719020.0738 | 1233078.7612 | 2719026.1678 | 1233081.8055
26 | 2719020.0738 | 1233078.7612 | 2719014.762 | 1233086.461 | 2719013.2734 | 1233091.5797 | 2719013.4596 | 1233096.2761 | 2719017.244 | 1233105.0812 | 2719024.2719 | 1233113.0282 | 2719030.485 | 1233115.9105 | 2719039.6925 | 1233116.3731 | 2719048.7358 | 1233115.5754
27 | 2719299.8632 | 1232933.8206 | 2719296.2426 | 1232930.388
28 | 2719373.7654 | 1232980.2415 | 2719336.119 | 1232982.0315 | 2719325.1681 | 1232982.961
29 | 2719434.3801 | 1233037.962 | 2719435.4446 | 1233038.6273 | 2719440.4558 | 1233041.7638 | 2719446.6818 | 1233045.8811 | 2719449.3002 | 1233048.3743
30 | 2719434.3801 | 1233037.962 | 2719430.4259 | 1233035.4906 | 2719426.8216 | 1233033.1941
31 | 2719425.2212 | 1233005.1846 | 2719423.8148 | 1233021.5244 | 2719423.6926 | 1233026.8484 | 2719424.8626 | 1233030.0523 | 2719426.8216 | 1233033.1941 | 2719426.8216 | 1233033.1941
32 | 2719425.2212 | 1233005.1846 | 2719425.5384 | 1233001.5005
33 | 2719397.4339 | 1232979.0604 | 2719381.3467 | 1232979.8601 | 2719373.7654 | 1232980.2415
34 | 2719373.7654 | 1232980.2415 | 2719370.4187 | 1232941.8755
35 | 2719367.2345 | 1232905.3726 | 2719344.741 | 1232909.6551
36 | 2719367.2345 | 1232905.3726 | 2719369.7434 | 1232934.1335
37 | 2719367.2345 | 1232905.3726 | 2719359.8024 | 1232887.3417
38 | 2719398.0704 | 1232889.001 | 2719385.8271 | 1232899.7637 | 2719367.2345 | 1232905.3726
39 | 2719397.4339 | 1232979.0604 | 2719399.1541 | 1232989.937 | 2719398.147 | 1233004.217
40 | 2719397.4339 | 1232979.0604 | 2719413.8402 | 1232978.2411
41 | 2719370.4187 | 1232941.8755 | 2719369.7434 | 1232934.1335
42 | 2719425.5384 | 1233001.5005 | 2719426.5604 | 1232989.6273
43 | 2719427.5996 | 1232977.554 | 2719426.5604 | 1232989.6273
44 | 2719452.2938 | 1232975.4597 | 2719450.4019 | 1232955.1556
45 | 2719452.2938 | 1232975.4597 | 2719427.5996 | 1232977.554
46 | 2719452.2938 | 1232975.4597 | 2719459.7465 | 1232974.1648
47 | 2719427.5996 | 1232977.554 | 2719413.8402 | 1232978.2411
48 | 2719459.7465 | 1232974.1648 | 2719464.3447 | 1232973.3658
49 | 2719472.8434 | 1232971.2236 | 2719466.8633 | 1232972.9282 | 2719464.3447 | 1232973.3658
50 | 2719398.0704 | 1232889.001 | 2719403.2908 | 1232889.6508 | 2719410.9658 | 1232887.6256 | 2719414.98 | 1232885.7447
51 | 2719472.8434 | 1232971.2236 | 2719477.7719 | 1232969.8187
52 | 2719359.8024 | 1232887.3417 | 2719352.098 | 1232868.6503 | 2719309.5528 | 1232870.3309 | 2719305.3393 | 1232871.2418
53 | 2719384.9889 | 1233015.4726 | 2719387.4258 | 1233015.3996 | 2719394.4055 | 1233014.0498 | 2719397.7029 | 1233010.5132 | 2719398.147 | 1233004.217
54 | 2719377.247 | 1233004.7172 | 2719378.0428 | 1233013.4874 | 2719380.7647 | 1233015.5993 | 2719384.9889 | 1233015.4726

## bus_geodata
| x | y | coords
0 | 2719626.9832 | 1233647.9891
1 | 2719643.8531 | 1233654.6285
2 | 2719580.0718 | 1233629.5262
3 | 2719660.8836 | 1233661.1836
4 | 2719541.5151 | 1233616.7959
5 | 2719533.2584 | 1233194.7076
6 | 2719498.6537 | 1233168.0904
7 | 2719684.3343 | 1233401.2131
8 | 2719695.4198 | 1233658.5725
9 | 2719504.2552 | 1233604.8092
10 | 2719735.6734 | 1233436.9481
11 | 2719736.2664 | 1233649.359
12 | 2719458.5893 | 1233587.5375
13 | 2719245.5461 | 1233081.5983
14 | 2719245.425 | 1233087.6166
15 | 2719234.6372 | 1232992.003
16 | 2719272.2237 | 1233108.8006
17 | 2719134.6636 | 1233010.6244
18 | 2719311.3973 | 1232984.245
19 | 2719131.5601 | 1232999.7127
20 | 2719074.7516 | 1233114.774
21 | 2719318.7458 | 1232983.5061
22 | 2719126.4199 | 1232957.1338
23 | 2719026.1678 | 1233081.8055
24 | 2719020.0738 | 1233078.7612
25 | 2719048.7358 | 1233115.5754
26 | 2719299.8632 | 1232933.8206
27 | 2719325.1681 | 1232982.961
28 | 2719449.3002 | 1233048.3743
29 | 2719434.3801 | 1233037.962
30 | 2719426.8216 | 1233033.1941
31 | 2719425.2212 | 1233005.1846
32 | 2719296.2426 | 1232930.3881
33 | 2719373.7654 | 1232980.2415
34 | 2719344.741 | 1232909.6551
35 | 2719367.2345 | 1232905.3726
36 | 2719397.4339 | 1232979.0604
37 | 2719370.4187 | 1232941.8755
38 | 2719425.5384 | 1233001.5005
39 | 2719426.5604 | 1232989.6273
40 | 2719450.4019 | 1232955.1556
41 | 2719452.2938 | 1232975.4597
42 | 2719427.5996 | 1232977.554
43 | 2719459.7465 | 1232974.1648
44 | 2719413.8402 | 1232978.2411
45 | 2719464.3447 | 1232973.3658
46 | 2719398.0704 | 1232889.001
47 | 2719414.98 | 1232885.7447
48 | 2719472.8434 | 1232971.2236
49 | 2719369.7434 | 1232934.1335
50 | 2719359.8024 | 1232887.3417
51 | 2719305.3393 | 1232871.2418
52 | 2719398.147 | 1233004.217
53 | 2719384.9889 | 1233015.4726
54 | 2719377.247 | 1233004.7172
55 | 2719477.7719 | 1232969.8187
56 | 2719397.4339 | 1232979.0604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1