## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3341-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3341-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3341-15_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3341-15_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3341-15_0_4_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_3341-15_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_3341-15_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_3341-15_0_4_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_3341-15_0_4_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_3341-15_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3341-15_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3341-15_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3341-15_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3341-15_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3341-15_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3341-15_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3341-15_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3341-15_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_3341-15_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3341-15_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3341-15_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3341-15_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_3341-15_0_4_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_3341-15_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3341-15_0_4_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_3341-15_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3341-15_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3341-15_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3341-15_0_4_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_3341-15_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3341-15_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_3341-15_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3341-15_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3341-15_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3341-15_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3341-15_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3341-15_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3341-15_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_3341-15_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_3341-15_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3341-15_0_4_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_3341-15_0_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_3341-15_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_3341-15_0_4_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_3341-15_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3341-15_0_4_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_3341-15_0_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3341-15_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_3341-15_0_4_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_3341-15_0_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_3341-15_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_3341-15_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3341-15_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3341-15_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3341-15_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_3341-15_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3341-15_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3341-15_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_3341-15_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3341-15_0_4_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_3341-15_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3341-15_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_3341-15_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_3341-15_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_3341-15_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3341-15_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_3341-15_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_3341-15_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3341-15_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_3341-15_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3341-15_0_4_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_3341-15_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_3341-15_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_3341-15_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_3341-15_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_3341-15_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3341-15_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_3341-15_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_3341-15_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3341-15_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_3341-15_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_3341-15_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_3341-15_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_3341-15_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_3341-15_0_4_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_3341-15_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_3341-15_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_3341-15_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_3341-15_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_3341-15_0_4_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_3341-15_0_4_node_79 | 0.4 | n |  | TRUE
94 | bus_MV_10_1_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-15_0_4_load_0 | 0 | 0.00047432 | 0.00011888 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-15_0_4_load_3 | 3 | 0.0014274 | 0.00035775 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-15_0_4_load_4 | 4 | 0.0011506 | 0.00028837 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-15_0_4_load_5 | 5 | 0.002802 | 0.00070224 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-15_0_4_load_6 | 6 | 0.00067868 | 0.00017009 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-15_0_4_load_82 | 7 | 0.0028263 | 0.00070834 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-15_0_4_load_87 | 10 | 0.0034667 | 0.00086884 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-15_0_4_load_81 | 11 | 0.0038128 | 0.00095558 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-15_0_4_load_12 | 12 | 0.0026713 | 0.00066949 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-15_0_4_load_7 | 14 | 0.0012134 | 0.0003041 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-15_0_4_load_8 | 15 | 0.0021309 | 0.00053407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-15_0_4_load_9 | 16 | 0.00071545 | 0.00017931 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-15_0_4_load_11 | 18 | 0.0038592 | 0.00096721 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-15_0_4_load_24 | 19 | 0.0010266 | 0.00025729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-15_0_4_load_56 | 20 | 0.0022271 | 0.00055816 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-15_0_4_load_16 | 21 | 0.0014656 | 0.00036731 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-15_0_4_load_15 | 22 | 0.0016637 | 0.00041696 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-15_0_4_load_17 | 23 | 0.0011858 | 0.00029719 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-15_0_4_load_69 | 25 | 0.0014879 | 0.00037289 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-15_0_4_load_67 | 27 | 0.0031538 | 0.00079042 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-15_0_4_load_18 | 28 | 0.020393 | 0.005111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-15_0_4_load_19 | 29 | 0.021923 | 0.0054944 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-15_0_4_load_21 | 30 | 0.00068517 | 0.00017172 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-15_0_4_load_95 | 31 | 0.016853 | 0.0042236 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-15_0_4_load_22 | 32 | 0.0010866 | 0.00027232 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-15_0_4_load_57 | 33 | 0.0025755 | 0.00064547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-15_0_4_load_26 | 34 | 0.002643 | 0.0006624 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-15_0_4_load_27 | 35 | 0.0015379 | 0.00038543 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-15_0_4_load_29 | 37 | 0.0029856 | 0.00074827 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-15_0_4_load_31 | 39 | 0.0031352 | 0.00078575 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-15_0_4_load_33 | 41 | 0.0019906 | 0.0004989 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-15_0_4_load_90 | 43 | 0.0009993 | 0.00025045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-15_0_4_load_71 | 44 | 0.0012977 | 0.00032522 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-15_0_4_load_55 | 45 | 0.0021778 | 0.00054581 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-15_0_4_load_35 | 47 | 0.0065016 | 0.0016294 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-15_0_4_load_91 | 48 | 0.0011506 | 0.00028836 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-15_0_4_load_72 | 49 | 0.0010696 | 0.00026806 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-15_0_4_load_89 | 51 | 0.0037253 | 0.00093365 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-15_0_4_load_83 | 52 | 0.00082037 | 0.0002056 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-15_0_4_load_36 | 53 | 0.0013209 | 0.00033104 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-15_0_4_load_37 | 54 | 0.0013738 | 0.0003443 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-15_0_4_load_39 | 56 | 0.0011564 | 0.00028982 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-15_0_4_load_40 | 57 | 0.0035963 | 0.00090132 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-15_0_4_load_41 | 58 | 0.0012283 | 0.00030784 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-15_0_4_load_42 | 59 | 0.0014493 | 0.00036322 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-15_0_4_load_48 | 61 | 0.0013222 | 0.00033137 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-15_0_4_load_94 | 62 | 0.00066075 | 0.0001656 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-15_0_4_load_46 | 63 | 0.0011103 | 0.00027826 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-15_0_4_load_44 | 64 | 0.0014578 | 0.00036537 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-15_0_4_load_45 | 65 | 0.0013204 | 0.00033093 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-15_0_4_load_50 | 68 | 0.0016434 | 0.00041188 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-15_0_4_load_52 | 69 | 0.0014104 | 0.00035347 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-15_0_4_load_76 | 70 | 0.0044312 | 0.0011106 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-15_0_4_load_51 | 71 | 0.0027794 | 0.00069658 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-15_0_4_load_77 | 72 | 0.0019474 | 0.00048806 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-15_0_4_load_53 | 73 | 0.0013766 | 0.00034502 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-15_0_4_load_58 | 74 | 0.0014704 | 0.00036851 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-15_0_4_load_59 | 75 | 0.0023388 | 0.00058617 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-15_0_4_load_60 | 76 | 0.0030033 | 0.00075271 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-15_0_4_load_61 | 77 | 0.0010922 | 0.00027373 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-15_0_4_load_62 | 78 | 0.0014292 | 0.00035818 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-15_0_4_load_63 | 79 | 0.00094026 | 0.00023565 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-15_0_4_load_64 | 80 | 0.0029104 | 0.00072941 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-15_0_4_load_80 | 81 | 0.0027311 | 0.00068448 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-15_0_4_load_73 | 82 | 0.0027281 | 0.00068373 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-15_0_4_load_85 | 83 | 0.0026354 | 0.00066051 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3341-15_0_4_load_74 | 84 | 0.0055644 | 0.0013946 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3341-15_0_4_load_65 | 85 | 0.0031134 | 0.00078028 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3341-15_0_4_load_66 | 86 | 0.0027206 | 0.00068184 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3341-15_0_4_load_68 | 87 | 0.00079995 | 0.00020049 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3341-15_0_4_load_70 | 88 | 0.0037805 | 0.00094749 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3341-15_0_4_load_75 | 89 | 0.0033707 | 0.00084479 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3341-15_0_4_load_86 | 90 | 0.0017481 | 0.00043811 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3341-15_0_4_load_84 | 91 | 0.0036494 | 0.00091463 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3341-15_0_4_load_78 | 92 | 0.0022706 | 0.00056905 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3341-15_0_4_load_79 | 93 | 0.0061371 | 0.0015381 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-15_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-15_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.021937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3341-15_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3341-15_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-15_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.018027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3341-15_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0020617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3341-15_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.025465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-15_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.017681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3341-15_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.017298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3341-15_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0073261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-15_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.065629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-15_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.006379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3341-15_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3341-15_0_4_line_13 | NAYY 4x150 SE | 12 | 17 | 0.013802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3341-15_0_4_line_14 | NAYY 4x150 SE | 13 | 21 | 0.0036852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3341-15_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0046071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-15_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0071934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-15_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.052602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-15_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0083421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3341-15_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.019225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3341-15_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0042443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3341-15_0_4_line_21 | NAYY 4x150 SE | 20 | 33 | 0.0052647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3341-15_0_4_line_22 | NAYY 4x150 SE | 21 | 24 | 0.037382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3341-15_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0022273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-15_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.022963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-15_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.065922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3341-15_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.018592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-15_0_4_line_27 | NAYY 4x150 SE | 26 | 32 | 0.02081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-15_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.019377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3341-15_0_4_line_29 | NAYY 4x150 SE | 27 | 85 | 0.012193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-15_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.034351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-15_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0040168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-15_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.061798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-15_0_4_line_33 | NAYY 4x150 SE | 33 | 52 | 0.0035207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3341-15_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0091687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-15_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.031579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-15_0_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0049068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-15_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.037412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-15_0_4_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0075674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-15_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.031252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3341-15_0_4_line_40 | NAYY 4x150 SE | 38 | 41 | 0.01631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3341-15_0_4_line_41 | NAYY 4x150 SE | 38 | 42 | 0.051162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-15_0_4_line_42 | NAYY 4x150 SE | 39 | 43 | 0.0097067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-15_0_4_line_43 | NAYY 4x150 SE | 40 | 44 | 0.010825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3341-15_0_4_line_44 | NAYY 4x150 SE | 40 | 45 | 0.022857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-15_0_4_line_45 | NAYY 4x150 SE | 41 | 46 | 0.021568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3341-15_0_4_line_46 | NAYY 4x150 SE | 42 | 47 | 0.013516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-15_0_4_line_47 | NAYY 4x150 SE | 43 | 48 | 0.0050402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-15_0_4_line_48 | NAYY 4x150 SE | 44 | 49 | 0.0086034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3341-15_0_4_line_49 | NAYY 4x150 SE | 45 | 50 | 0.026666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-15_0_4_line_50 | NAYY 4x150 SE | 46 | 51 | 0.013641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-15_0_4_line_51 | NAYY 4x150 SE | 46 | 52 | 0.018152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3341-15_0_4_line_52 | NAYY 4x150 SE | 49 | 84 | 0.029668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3341-15_0_4_line_53 | NAYY 4x150 SE | 50 | 73 | 0.02131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-15_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.007373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-15_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0034756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-15_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0071573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-15_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.016858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-15_0_4_line_58 | NAYY 4x150 SE | 55 | 58 | 0.01359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-15_0_4_line_59 | NAYY 4x150 SE | 56 | 59 | 0.0070367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-15_0_4_line_60 | NAYY 4x150 SE | 58 | 60 | 0.062581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-15_0_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0073299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-15_0_4_line_62 | NAYY 4x150 SE | 60 | 62 | 0.26126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-15_0_4_line_63 | NAYY 4x150 SE | 61 | 63 | 0.0070491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-15_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0071609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-15_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0073534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-15_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.010646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-15_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.02427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-15_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.019209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-15_0_4_line_69 | NAYY 4x150 SE | 67 | 69 | 0.018397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-15_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.009925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-15_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.015183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-15_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.013416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-15_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0074074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-15_0_4_line_74 | NAYY 4x150 SE | 72 | 92 | 0.00014288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3341-15_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.014555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3341-15_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.01151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3341-15_0_4_line_77 | NAYY 4x150 SE | 75 | 77 | 0.0057632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3341-15_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.0097816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_3341-15_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.0036488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3341-15_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.009015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3341-15_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.0016734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_3341-15_0_4_line_82 | NAYY 4x150 SE | 80 | 82 | 0.011686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_3341-15_0_4_line_83 | NAYY 4x150 SE | 81 | 83 | 0.008974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_3341-15_0_4_line_84 | NAYY 4x150 SE | 82 | 84 | 0.013081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_3341-15_0_4_line_85 | NAYY 4x150 SE | 83 | 91 | 0.011218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3341-15_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0055376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3341-15_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.014369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3341-15_0_4_line_88 | NAYY 4x150 SE | 87 | 88 | 0.0027675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3341-15_0_4_line_89 | NAYY 4x150 SE | 88 | 89 | 0.00086205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3341-15_0_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.010943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3341-15_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.013474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3341-15_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.016299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-15_0_4_trafo_85 | 0.25 MVA 20/0.4 kV | 94 | 83 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2719705.1184 | 1232842.6948 | 2719711.7084 | 1232852.2659
1 | 2719705.1184 | 1232842.6948 | 2719724.2338 | 1232831.8377
2 | 2719705.1184 | 1232842.6948 | 2719690.1269 | 1232851.2084
3 | 2719724.2338 | 1232831.8377 | 2719714.5322 | 1232818.6593
4 | 2719724.2338 | 1232831.8377 | 2719739.795 | 1232822.7363
5 | 2719690.1269 | 1232851.2084 | 2719688.3341 | 1232852.2265
6 | 2719714.5322 | 1232818.6593 | 2719699.4356 | 1232798.1522
7 | 2719754.9122 | 1232813.5855 | 2719752.5376 | 1232815.2834 | 2719739.795 | 1232822.7363
8 | 2719673.2927 | 1232860.7685 | 2719688.3341 | 1232852.2265
9 | 2719695.0923 | 1232792.2524 | 2719699.4356 | 1232798.1522
10 | 2719741.5746 | 1232856.4178 | 2719742.1727 | 1232857.9311 | 2719769.2169 | 1232844.1204 | 2719754.9122 | 1232813.5855
11 | 2719754.9122 | 1232813.5855 | 2719760.0965 | 1232809.8687
12 | 2719673.2927 | 1232860.7685 | 2719660.6835 | 1232868.2317
13 | 2719770.7285 | 1232801.083 | 2719762.6817 | 1232808.0153 | 2719760.0965 | 1232809.8687
14 | 2719660.6835 | 1232868.2317 | 2719657.5139 | 1232870.1117
15 | 2719822.3267 | 1232825.4111 | 2719818.0779 | 1232823.6298
16 | 2719822.3267 | 1232825.4111 | 2719828.9607 | 1232828.1924
17 | 2719770.7285 | 1232801.083 | 2719780.7587 | 1232807.7238 | 2719792.0581 | 1232812.2662 | 2719808.1662 | 1232819.4744 | 2719818.0779 | 1232823.6298
18 | 2719770.7285 | 1232801.083 | 2719775.7115 | 1232794.3927
19 | 2719775.7115 | 1232794.3927 | 2719776.9951 | 1232792.6692 | 2719782.6664 | 1232784.1099 | 2719786.2205 | 1232778.3023
20 | 2719786.2205 | 1232778.3023 | 2719788.436 | 1232774.6821
21 | 2719788.436 | 1232774.6821 | 2719791.1841 | 1232770.1916
22 | 2719625.3617 | 1232889.182 | 2719657.5139 | 1232870.1117
23 | 2719650.28 | 1232822.8221 | 2719651.435 | 1232824.7265
24 | 2719650.28 | 1232822.8221 | 2719638.3728 | 1232803.1878
25 | 2719589.71 | 1232848.6655 | 2719613.4432 | 1232895.4472 | 2719625.3617 | 1232889.182
26 | 2719628.7317 | 1232787.2904 | 2719628.7317 | 1232787.2904 | 2719638.3728 | 1232803.1878
27 | 2719589.71 | 1232848.6655 | 2719608.3628 | 1232839.3333
28 | 2719589.71 | 1232848.6655 | 2719581.3767 | 1232831.1721
29 | 2719629.4162 | 1232775.1166 | 2719629.4162 | 1232775.1166 | 2719628.7317 | 1232787.2904
30 | 2719581.3767 | 1232831.1721 | 2719573.7233 | 1232815.1059 | 2719587.6241 | 1232806.1148
31 | 2719590.9969 | 1232803.9333 | 2719587.6241 | 1232806.1148
32 | 2719587.6241 | 1232806.1148 | 2719533.9633 | 1232775.4633
33 | 2719791.1841 | 1232770.1916 | 2719793.0219 | 1232767.1886
34 | 2719855.7671 | 1232659.1874 | 2719850.8985 | 1232664.7895 | 2719849.9084 | 1232666.2284
35 | 2719851.0856 | 1232694.9285 | 2719846.1073 | 1232685.6541 | 2719844.3349 | 1232677.4006 | 2719846.2948 | 1232671.4798 | 2719849.9084 | 1232666.2284
36 | 2719855.7671 | 1232659.1874 | 2719858.9858 | 1232655.4838
37 | 2719851.0856 | 1232694.9285 | 2719833.0538 | 1232713.2353 | 2719823.8917 | 1232720.6232
38 | 2719858.9858 | 1232655.4838 | 2719860.1491 | 1232654.1452 | 2719863.1423 | 1232649.1843
39 | 2719806.6726 | 1232694.5107 | 2719823.8917 | 1232720.6232
40 | 2719823.8917 | 1232720.6232 | 2719816.8453 | 1232728.265 | 2719813.7569 | 1232733.3105
41 | 2719823.8917 | 1232720.6232 | 2719851.3135 | 1232752.3236 | 2719857.7119 | 1232745.6473
42 | 2719863.1423 | 1232649.1843 | 2719866.1281 | 1232644.2356 | 2719867.682 | 1232640.629
43 | 2719806.6726 | 1232694.5107 | 2719798.4124 | 1232701.5066
44 | 2719806.6726 | 1232694.5107 | 2719802.1185 | 1232682.9763 | 2719798.2721 | 1232673.2529
45 | 2719802.497 | 1232751.7058 | 2719813.7569 | 1232733.3105
46 | 2719857.7119 | 1232745.6473 | 2719866.8337 | 1232735.6736
47 | 2719869.6763 | 1232636.0002 | 2719867.682 | 1232640.629
48 | 2719791.8471 | 1232707.0668 | 2719798.4124 | 1232701.5066
49 | 2719789.2938 | 1232648.1455 | 2719791.8087 | 1232655.2686 | 2719797.0811 | 1232670.2424 | 2719798.2721 | 1232673.2529
50 | 2719814.6006 | 1232758.0659 | 2719802.497 | 1232751.7058
51 | 2719802.497 | 1232751.7058 | 2719793.0219 | 1232767.1886
52 | 2719791.8471 | 1232707.0668 | 2719783.1398 | 1232714.4413 | 2719766.4986 | 1232721.9514
53 | 2719789.2938 | 1232648.1455 | 2719777.5393 | 1232650.7552 | 2719768.3342 | 1232649.6631
54 | 2719650.3136 | 1232634.0498 | 2719643.0211 | 1232632.9634
55 | 2719639.5834 | 1232632.4513 | 2719643.0211 | 1232632.9634
56 | 2719650.3136 | 1232634.0498 | 2719657.3928 | 1232635.1044
57 | 2719639.5834 | 1232632.4513 | 2719638.6158 | 1232649.2786
58 | 2719639.5834 | 1232632.4513 | 2719626.4425 | 1232629.44 | 2719626.3341 | 1232629.4324
59 | 2719664.3527 | 1232636.1412 | 2719657.3928 | 1232635.1044
60 | 2719577.0086 | 1232599.6215 | 2719600.0764 | 1232627.5969 | 2719626.3341 | 1232629.4324
61 | 2719664.3527 | 1232636.1412 | 2719671.6026 | 1232637.2212
62 | 2719577.0086 | 1232599.6215 | 2719317.4609 | 1232569.7824
63 | 2719671.6026 | 1232637.2212 | 2719678.5748 | 1232638.2598
64 | 2719685.6575 | 1232639.315 | 2719678.5748 | 1232638.2598
65 | 2719685.6575 | 1232639.315 | 2719692.9307 | 1232640.3984
66 | 2719703.4606 | 1232641.9671 | 2719692.9307 | 1232640.3984
67 | 2719727.6322 | 1232644.8339 | 2719703.4606 | 1232641.9671
68 | 2719703.4606 | 1232641.9671 | 2719702.2303 | 1232661.1371
69 | 2719727.6322 | 1232644.8339 | 2719745.9011 | 1232647.0015
70 | 2719702.2303 | 1232661.1371 | 2719701.5946 | 1232671.0417
71 | 2719760.9784 | 1232648.7903 | 2719745.9011 | 1232647.0015
72 | 2719701.5946 | 1232671.0417 | 2719701.5946 | 1232671.0417 | 2719688.181 | 1232670.7814
73 | 2719760.9784 | 1232648.7903 | 2719768.3342 | 1232649.6631
74 | 2719688.0381 | 1232670.7786 | 2719688.181 | 1232670.7814
75 | 2719716.3006 | 1232744.6054 | 2719714.4555 | 1232745.4381 | 2719702.9408 | 1232750.3819
76 | 2719716.3006 | 1232744.6054 | 2719726.7916 | 1232739.8709
77 | 2719702.9408 | 1232750.3819 | 2719697.645 | 1232752.6557
78 | 2719726.7916 | 1232739.8709 | 2719735.7073 | 1232735.8473
79 | 2719697.645 | 1232752.6557 | 2719696.8911 | 1232752.9794 | 2719694.2547 | 1232754.0037
80 | 2719743.9243 | 1232732.139 | 2719735.7073 | 1232735.8473
81 | 2719692.695 | 1232754.6097 | 2719694.2547 | 1232754.0037
82 | 2719754.5756 | 1232727.3322 | 2719743.9243 | 1232732.139
83 | 2719692.695 | 1232754.6097 | 2719684.3302 | 1232757.8598
84 | 2719754.5756 | 1232727.3322 | 2719766.4986 | 1232721.9514
85 | 2719673.5495 | 1232760.7239 | 2719679.3413 | 1232759.7981 | 2719684.3302 | 1232757.8598
86 | 2719629.4162 | 1232775.1166 | 2719633.0013 | 1232770.8961
87 | 2719633.0013 | 1232770.8961 | 2719634.5984 | 1232769.016 | 2719645.8553 | 1232765.1506
88 | 2719648.5881 | 1232764.7138 | 2719645.8553 | 1232765.1506 | 2719645.8553 | 1232765.1506
89 | 2719648.5881 | 1232764.7138 | 2719649.4393 | 1232764.5777
90 | 2719649.4393 | 1232764.5777 | 2719660.2448 | 1232762.8505
91 | 2719673.5495 | 1232760.7239 | 2719660.2448 | 1232762.8505
92 | 2719671.742 | 1232670.4624 | 2719688.0381 | 1232670.7786

## bus_geodata
| x | y | coords
0 | 2719711.7084 | 1232852.2659
1 | 2719705.1184 | 1232842.6948
2 | 2719724.2338 | 1232831.8377
3 | 2719690.1269 | 1232851.2084
4 | 2719714.5322 | 1232818.6593
5 | 2719739.795 | 1232822.7363
6 | 2719688.3341 | 1232852.2265
7 | 2719699.4356 | 1232798.1522
8 | 2719754.9122 | 1232813.5855
9 | 2719673.2927 | 1232860.7685
10 | 2719695.0923 | 1232792.2524
11 | 2719741.5746 | 1232856.4178
12 | 2719760.0965 | 1232809.8687
13 | 2719660.6835 | 1232868.2317
14 | 2719822.3267 | 1232825.4111
15 | 2719818.0779 | 1232823.6298
16 | 2719828.9607 | 1232828.1924
17 | 2719770.7285 | 1232801.083
18 | 2719775.7115 | 1232794.3927
19 | 2719786.2205 | 1232778.3023
20 | 2719788.436 | 1232774.6821
21 | 2719657.5139 | 1232870.1117
22 | 2719651.435 | 1232824.7265
23 | 2719650.28 | 1232822.8221
24 | 2719625.3617 | 1232889.182
25 | 2719638.3728 | 1232803.1878
26 | 2719589.71 | 1232848.6655
27 | 2719628.7317 | 1232787.2904
28 | 2719581.3767 | 1232831.1721
29 | 2719587.6241 | 1232806.1148
30 | 2719590.9969 | 1232803.9333
31 | 2719533.9633 | 1232775.4633
32 | 2719608.3628 | 1232839.3333
33 | 2719791.1841 | 1232770.1916
34 | 2719849.9084 | 1232666.2284
35 | 2719855.7671 | 1232659.1874
36 | 2719851.0856 | 1232694.9285
37 | 2719858.9858 | 1232655.4838
38 | 2719823.8917 | 1232720.6232
39 | 2719863.1423 | 1232649.1843
40 | 2719806.6726 | 1232694.5107
41 | 2719813.7569 | 1232733.3105
42 | 2719857.7119 | 1232745.6473
43 | 2719867.682 | 1232640.629
44 | 2719798.4124 | 1232701.5066
45 | 2719798.2721 | 1232673.2529
46 | 2719802.497 | 1232751.7058
47 | 2719866.8337 | 1232735.6736
48 | 2719869.6763 | 1232636.0002
49 | 2719791.8471 | 1232707.0668
50 | 2719789.2938 | 1232648.1455
51 | 2719814.6006 | 1232758.0659
52 | 2719793.0219 | 1232767.1886
53 | 2719643.0211 | 1232632.9634
54 | 2719650.3136 | 1232634.0498
55 | 2719639.5834 | 1232632.4513
56 | 2719657.3928 | 1232635.1044
57 | 2719638.6158 | 1232649.2786
58 | 2719626.3341 | 1232629.4324
59 | 2719664.3527 | 1232636.1412
60 | 2719577.0086 | 1232599.6215
61 | 2719671.6026 | 1232637.2212
62 | 2719317.4609 | 1232569.7824
63 | 2719678.5748 | 1232638.2598
64 | 2719685.6575 | 1232639.315
65 | 2719692.9307 | 1232640.3984
66 | 2719703.4606 | 1232641.9671
67 | 2719727.6322 | 1232644.8339
68 | 2719702.2303 | 1232661.1371
69 | 2719745.9011 | 1232647.0015
70 | 2719701.5946 | 1232671.0417
71 | 2719760.9784 | 1232648.7903
72 | 2719688.181 | 1232670.7814
73 | 2719768.3342 | 1232649.6631
74 | 2719716.3006 | 1232744.6054
75 | 2719702.9408 | 1232750.3819
76 | 2719726.7916 | 1232739.8709
77 | 2719697.645 | 1232752.6557
78 | 2719735.7073 | 1232735.8473
79 | 2719694.2547 | 1232754.0037
80 | 2719743.9243 | 1232732.139
81 | 2719692.695 | 1232754.6097
82 | 2719754.5756 | 1232727.3322
83 | 2719684.3302 | 1232757.8597
84 | 2719766.4986 | 1232721.9514
85 | 2719629.4162 | 1232775.1166
86 | 2719633.0013 | 1232770.8961
87 | 2719645.8553 | 1232765.1506
88 | 2719648.5881 | 1232764.7138
89 | 2719649.4393 | 1232764.5777
90 | 2719660.2448 | 1232762.8505
91 | 2719673.5495 | 1232760.7239
92 | 2719688.0381 | 1232670.7786
93 | 2719671.742 | 1232670.4624
94 | 2719806.6726 | 1232694.5107

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1