## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3341-16_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3341-16_0_2_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_3341-16_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3341-16_0_2_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_3341-16_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3341-16_0_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3341-16_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_3341-16_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3341-16_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3341-16_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3341-16_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3341-16_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3341-16_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3341-16_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3341-16_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3341-16_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3341-16_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3341-16_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3341-16_0_2_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_3341-16_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3341-16_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3341-16_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3341-16_0_2_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_3341-16_0_2_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_3341-16_0_2_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_3341-16_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3341-16_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3341-16_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3341-16_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3341-16_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3341-16_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3341-16_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_3341-16_0_2_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_3341-16_0_2_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_3341-16_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3341-16_0_2_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_3341-16_0_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_3341-16_0_2_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_3341-16_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3341-16_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3341-16_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3341-16_0_2_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_3341-16_0_2_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_3341-16_0_2_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3341-16_0_2_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3341-16_0_2_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_3341-16_0_2_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_3341-16_0_2_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_3341-16_0_2_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3341-16_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3341-16_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3341-16_0_2_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_3341-16_0_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_3341-16_0_2_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3341-16_0_2_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_3341-16_0_2_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_3341-16_0_2_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_3341-16_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_3341-16_0_2_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3341-16_0_2_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3341-16_0_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_3341-16_0_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_3341-16_0_2_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_3341-16_0_2_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3341-16_0_2_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3341-16_0_2_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_3341-16_0_2_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_3341-16_0_2_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3341-16_0_2_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3341-16_0_2_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3341-16_0_2_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_3341-16_0_2_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_3341-16_0_2_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_3341-16_0_2_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_3341-16_0_2_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_3341-16_0_2_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_3341-16_0_2_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_3341-16_0_2_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_3341-16_0_2_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_3341-16_0_2_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3341-16_0_2_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3341-16_0_2_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3341-16_0_2_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3341-16_0_2_node_78 | 0.4 | n |  | TRUE
87 | bus_MV_10_1_node_245 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-16_0_2_load_0 | 0 | 0.0010631 | 0.00026645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-16_0_2_load_1 | 1 | 0.0015943 | 0.00039957 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-16_0_2_load_2 | 2 | 0.0010035 | 0.00025149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-16_0_2_load_3 | 3 | 0.00061884 | 0.0001551 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-16_0_2_load_5 | 5 | 0.0038422 | 0.00096295 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-16_0_2_load_49 | 6 | 0.0018372 | 0.00046044 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-16_0_2_load_19 | 7 | 0.00079331 | 0.00019882 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-16_0_2_load_20 | 8 | 0.0013316 | 0.00033374 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-16_0_2_load_6 | 11 | 0.0017417 | 0.0004365 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-16_0_2_load_7 | 12 | 0.00077675 | 0.00019467 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-16_0_2_load_8 | 13 | 0.0015705 | 0.00039361 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-16_0_2_load_13 | 15 | 0.0049119 | 0.001231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-16_0_2_load_10 | 16 | 0.00055045 | 0.00013796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-16_0_2_load_11 | 18 | 0.00064492 | 0.00016163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-16_0_2_load_15 | 20 | 0.00050309 | 0.00012609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-16_0_2_load_74 | 21 | 0.0019628 | 0.00049192 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-16_0_2_load_16 | 22 | 0.00096128 | 0.00024092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-16_0_2_load_17 | 23 | 0.00043771 | 0.0001097 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-16_0_2_load_21 | 24 | 0.00027816 | 6.9713e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-16_0_2_load_85 | 25 | 0.00049293 | 0.00012354 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-16_0_2_load_86 | 26 | 0.00042899 | 0.00010751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-16_0_2_load_22 | 28 | 0.0013071 | 0.00032759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-16_0_2_load_23 | 29 | 0.00067528 | 0.00016924 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-16_0_2_load_26 | 32 | 0.00089707 | 0.00022483 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-16_0_2_load_45 | 34 | 0.0018093 | 0.00045346 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-16_0_2_load_46 | 35 | 0.0019421 | 0.00048675 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-16_0_2_load_87 | 38 | 0.009836 | 0.0024651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-16_0_2_load_53 | 40 | 0.0090806 | 0.0022758 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-16_0_2_load_44 | 41 | 0.00029989 | 7.516e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-16_0_2_load_41 | 42 | 0.00024688 | 6.1874e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-16_0_2_load_33 | 43 | 0.011645 | 0.0029185 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-16_0_2_load_71 | 44 | 0.01453 | 0.0036415 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-16_0_2_load_69 | 45 | 0.00095847 | 0.00024022 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-16_0_2_load_28 | 46 | 0.00042255 | 0.0001059 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-16_0_2_load_29 | 47 | 0.00039606 | 9.9261e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-16_0_2_load_32 | 50 | 0.00043136 | 0.00010811 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-16_0_2_load_42 | 51 | 0.0008093 | 0.00020283 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-16_0_2_load_38 | 52 | 0.00039082 | 9.7948e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-16_0_2_load_39 | 53 | 0.00027312 | 6.845e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-16_0_2_load_34 | 54 | 0.032817 | 0.0082247 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-16_0_2_load_37 | 57 | 0.0087851 | 0.0022018 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-16_0_2_load_73 | 58 | 0.013006 | 0.0032597 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-16_0_2_load_72 | 59 | 0.0049457 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-16_0_2_load_57 | 60 | 0.0063548 | 0.0015927 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-16_0_2_load_66 | 63 | 0.0023874 | 0.00059835 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-16_0_2_load_47 | 65 | 0.0015909 | 0.00039871 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-16_0_2_load_48 | 66 | 0.0020069 | 0.00050298 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-16_0_2_load_50 | 67 | 0.0016885 | 0.00042319 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-16_0_2_load_75 | 68 | 0.0009068 | 0.00022727 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-16_0_2_load_58 | 69 | 0.00063606 | 0.00015941 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-16_0_2_load_55 | 70 | 0.0028782 | 0.00072135 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-16_0_2_load_56 | 71 | 0.0013685 | 0.00034297 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-16_0_2_load_63 | 72 | 0.0039535 | 0.00099084 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-16_0_2_load_84 | 73 | 0.0019235 | 0.00048208 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-16_0_2_load_61 | 74 | 0.0025653 | 0.00064292 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-16_0_2_load_83 | 75 | 0.0025868 | 0.00064833 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-16_0_2_load_59 | 76 | 0.0010216 | 0.00025604 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-16_0_2_load_80 | 77 | 0.0011776 | 0.00029513 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-16_0_2_load_79 | 78 | 0.001112 | 0.0002787 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-16_0_2_load_60 | 79 | 0.0019105 | 0.00047883 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-16_0_2_load_62 | 80 | 0.0038727 | 0.0009706 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-16_0_2_load_64 | 81 | 0.0044326 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-16_0_2_load_76 | 82 | 0.0042647 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-16_0_2_load_82 | 84 | 0.010346 | 0.0025929 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-16_0_2_load_81 | 85 | 0.0045879 | 0.0011498 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-16_0_2_load_78 | 86 | 0.0012463 | 0.00031235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-16_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0091879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-16_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-16_0_2_line_3 | NAYY 4x150 SE | 3 | 10 | 0.015131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-16_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.090207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-16_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.078334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-16_0_2_line_6 | NAYY 4x150 SE | 5 | 10 | 0.010553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-16_0_2_line_7 | NAYY 4x150 SE | 6 | 65 | 0.018893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-16_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.024178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-16_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.031718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-16_0_2_line_10 | NAYY 4x150 SE | 9 | 24 | 0.0041779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-16_0_2_line_11 | NAYY 4x150 SE | 9 | 23 | 0.034885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-16_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-16_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.017962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-16_0_2_line_14 | NAYY 4x150 SE | 13 | 17 | 0.014494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-16_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.013071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-16_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.096163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-16_0_2_line_17 | NAYY 4x150 SE | 15 | 21 | 0.034602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-16_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.039484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-16_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.052773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-16_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.026507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-16_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.033337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-16_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.050795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-16_0_2_line_23 | NAYY 4x150 SE | 21 | 27 | 0.032223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-16_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.1528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-16_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0065397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-16_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0023422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-16_0_2_line_27 | NAYY 4x150 SE | 27 | 68 | 0.015814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-16_0_2_line_28 | NAYY 4x150 SE | 27 | 59 | 0.03899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-16_0_2_line_29 | NAYY 4x150 SE | 27 | 67 | 0.040793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-16_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.024533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3341-16_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0064368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3341-16_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.021774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3341-16_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0055743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-16_0_2_line_34 | NAYY 4x150 SE | 30 | 33 | 0.006906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3341-16_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3341-16_0_2_line_36 | NAYY 4x150 SE | 31 | 35 | 0.018154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-16_0_2_line_37 | NAYY 4x150 SE | 31 | 36 | 0.029379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-16_0_2_line_38 | NAYY 4x150 SE | 32 | 37 | 0.01745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-16_0_2_line_39 | NAYY 4x150 SE | 33 | 38 | 0.02231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-16_0_2_line_40 | NAYY 4x150 SE | 33 | 39 | 0.019279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3341-16_0_2_line_41 | NAYY 4x150 SE | 34 | 40 | 0.0069636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3341-16_0_2_line_42 | NAYY 4x150 SE | 36 | 41 | 0.037615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-16_0_2_line_43 | NAYY 4x150 SE | 36 | 42 | 0.0023368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-16_0_2_line_44 | NAYY 4x150 SE | 37 | 43 | 0.022745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-16_0_2_line_45 | NAYY 4x150 SE | 39 | 44 | 0.01788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3341-16_0_2_line_46 | NAYY 4x150 SE | 39 | 45 | 0.01788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-16_0_2_line_47 | NAYY 4x150 SE | 40 | 61 | 0.016365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3341-16_0_2_line_48 | NAYY 4x150 SE | 42 | 51 | 0.016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-16_0_2_line_49 | NAYY 4x150 SE | 43 | 54 | 0.0027877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-16_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.00023152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-16_0_2_line_51 | NAYY 4x150 SE | 46 | 48 | 0.020356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-16_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.019377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-16_0_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.022999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-16_0_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.027932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-16_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0071136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-16_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0060785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-16_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.057973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-16_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.062118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-16_0_2_line_59 | NAYY 4x150 SE | 56 | 60 | 0.052744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-16_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.015629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-16_0_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.017398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-16_0_2_line_62 | NAYY 4x150 SE | 60 | 69 | 0.010746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-16_0_2_line_63 | NAYY 4x150 SE | 61 | 70 | 0.0010009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-16_0_2_line_64 | NAYY 4x150 SE | 61 | 71 | 0.0073875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-16_0_2_line_65 | NAYY 4x150 SE | 62 | 63 | 0.014835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-16_0_2_line_66 | NAYY 4x150 SE | 62 | 64 | 0.022238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-16_0_2_line_67 | NAYY 4x150 SE | 63 | 82 | 0.027867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-16_0_2_line_68 | NAYY 4x150 SE | 64 | 81 | 0.027537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-16_0_2_line_69 | NAYY 4x150 SE | 65 | 66 | 0.026618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-16_0_2_line_70 | NAYY 4x150 SE | 66 | 67 | 0.016432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-16_0_2_line_71 | NAYY 4x150 SE | 68 | 84 | 0.0082538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-16_0_2_line_72 | NAYY 4x150 SE | 69 | 76 | 0.0050698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-16_0_2_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0082568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-16_0_2_line_74 | NAYY 4x150 SE | 71 | 73 | 0.019722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3341-16_0_2_line_75 | NAYY 4x150 SE | 72 | 74 | 0.016336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3341-16_0_2_line_76 | NAYY 4x150 SE | 73 | 75 | 0.012212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3341-16_0_2_line_77 | NAYY 4x150 SE | 74 | 79 | 0.0041555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3341-16_0_2_line_78 | NAYY 4x150 SE | 75 | 84 | 0.032305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3341-16_0_2_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0073181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3341-16_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.014537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3341-16_0_2_line_81 | NAYY 4x150 SE | 78 | 86 | 0.0077441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3341-16_0_2_line_82 | NAYY 4x150 SE | 79 | 80 | 0.012891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3341-16_0_2_line_83 | NAYY 4x150 SE | 80 | 81 | 0.013075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3341-16_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0092967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3341-16_0_2_line_85 | NAYY 4x150 SE | 83 | 85 | 0.025108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-16_0_2_trafo_71 | 0.25 MVA 20/0.4 kV | 87 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2719462.6016 | 1232537.045 | 2719447.3376 | 1232527.8126 | 2719443.5129 | 1232525.1814
1 | 2719462.6016 | 1232537.045 | 2719468.2754 | 1232540.4768 | 2719470.493 | 1232541.7497
2 | 2719483.9463 | 1232551.1739 | 2719478.3539 | 1232546.2618 | 2719470.493 | 1232541.7497
3 | 2719492.7511 | 1232563.2648 | 2719487.6051 | 1232554.3876 | 2719483.9463 | 1232551.1739
4 | 2719577.0086 | 1232599.6215 | 2719498.8252 | 1232554.6244
5 | 2719577.0086 | 1232599.6215 | 2719621.4974 | 1232563.5877 | 2719639.2706 | 1232552.2466
6 | 2719492.7511 | 1232563.2648 | 2719498.8252 | 1232554.6244
7 | 2719655.1969 | 1232542.084 | 2719639.2706 | 1232552.2466
8 | 2719480.5551 | 1232200.2897 | 2719471.9501 | 1232202.9917 | 2719456.8304 | 1232201.9102
9 | 2719503.5869 | 1232179.0084 | 2719483.7653 | 1232199.2817 | 2719480.5551 | 1232200.2897
10 | 2719503.5869 | 1232179.0084 | 2719506.0346 | 1232175.6227
11 | 2719503.5869 | 1232179.0084 | 2719502.5723 | 1232192.1652 | 2719504.0518 | 1232205.9726 | 2719507.8884 | 1232212.7664
12 | 2719558.2087 | 1232379.0037 | 2719572.3541 | 1232377.828 | 2719576.0678 | 1232378.0034
13 | 2719576.0678 | 1232378.0034 | 2719594.0095 | 1232378.8505
14 | 2719608.4874 | 1232379.534 | 2719594.0095 | 1232378.8505
15 | 2719730.2335 | 1232430.4812 | 2719728.7795 | 1232443.471
16 | 2719730.2335 | 1232430.4812 | 2719647.9541 | 1232380.7076
17 | 2719727.7217 | 1232477.824 | 2719726.1874 | 1232466.6287 | 2719728.7795 | 1232443.471
18 | 2719608.4874 | 1232379.534 | 2719647.9541 | 1232380.7076
19 | 2719608.4874 | 1232379.534 | 2719654.1164 | 1232353.021
20 | 2719677.0351 | 1232339.7039 | 2719654.1164 | 1232353.021
21 | 2719677.0351 | 1232339.7039 | 2719662.1729 | 1232323.5919 | 2719659.9867 | 1232312.3859
22 | 2719659.9867 | 1232312.3859 | 2719659.3306 | 1232309.023 | 2719652.8041 | 1232267.5251 | 2719652.4746 | 1232262.1748
23 | 2719732.0971 | 1232509.7489 | 2719727.7217 | 1232477.824
24 | 2719652.4746 | 1232262.1748 | 2719507.8884 | 1232212.7664
25 | 2719509.8662 | 1232170.3229 | 2719506.0346 | 1232175.6227
26 | 2719509.8662 | 1232170.3229 | 2719511.2384 | 1232168.4248
27 | 2719732.0971 | 1232509.7489 | 2719736.9124 | 1232502.3289 | 2719743.5518 | 1232500.2118
28 | 2719732.0971 | 1232509.7489 | 2719748.1506 | 1232545.281
29 | 2719732.0971 | 1232509.7489 | 2719693.3211 | 1232522.4159
30 | 2719810.9295 | 1232540.5719 | 2719825.5897 | 1232521.9425 | 2719826.1472 | 1232521.3316
31 | 2719806.9489 | 1232545.6302 | 2719810.9295 | 1232540.5719
32 | 2719840.6836 | 1232505.1222 | 2719835.7052 | 1232510.8597 | 2719826.1472 | 1232521.3316
33 | 2719806.9489 | 1232545.6302 | 2719804.596 | 1232550.6836
34 | 2719801.9633 | 1232540.837 | 2719806.9489 | 1232545.6302
35 | 2719840.6836 | 1232505.1222 | 2719832.0369 | 1232493.8891
36 | 2719840.6836 | 1232505.1222 | 2719853.046 | 1232491.8278
37 | 2719840.6836 | 1232505.1222 | 2719851.302 | 1232515.2888 | 2719861.1485 | 1232526.1739
38 | 2719796.8374 | 1232566.2874 | 2719798.6597 | 1232563.433 | 2719804.596 | 1232550.6836
39 | 2719801.9633 | 1232540.837 | 2719784.6101 | 1232548.0153 | 2719783.3826 | 1232544.6545
40 | 2719801.9633 | 1232540.837 | 2719788.2247 | 1232527.2715
41 | 2719827.7893 | 1232488.371 | 2719832.0369 | 1232493.8891
42 | 2719861.1485 | 1232526.1739 | 2719873.8258 | 1232525.5178 | 2719885.4144 | 1232525.1401 | 2719897.6127 | 1232524.5746 | 2719898.7192 | 1232524.4399
43 | 2719861.1485 | 1232526.1739 | 2719862.7198 | 1232527.9035
44 | 2719796.8374 | 1232566.2874 | 2719791.2745 | 1232580.3533 | 2719790.0895 | 1232587.8798
45 | 2719788.2247 | 1232527.2715 | 2719771.9117 | 1232534.6932
46 | 2719788.2247 | 1232527.2715 | 2719800.7039 | 1232514.4667
47 | 2719819.1472 | 1232474.4746 | 2719827.7893 | 1232488.371
48 | 2719862.7198 | 1232527.9035 | 2719863.3714 | 1232528.6206 | 2719871.9477 | 1232536.0106 | 2719875.4713 | 1232538.1834 | 2719875.5142 | 1232538.2021
49 | 2719790.0895 | 1232587.8798 | 2719789.6559 | 1232590.6335
50 | 2719907.0221 | 1232560.6746 | 2719906.9728 | 1232560.4484
51 | 2719911.3581 | 1232580.5634 | 2719907.0221 | 1232560.6746
52 | 2719902.8453 | 1232541.5159 | 2719906.9728 | 1232560.4484
53 | 2719911.3581 | 1232580.5634 | 2719908.1519 | 1232582.934 | 2719902.8759 | 1232584.6511 | 2719902.3644 | 1232582.9728 | 2719891.0728 | 1232586.0688
54 | 2719902.8453 | 1232541.5159 | 2719894.1427 | 1232541.8851 | 2719885.8312 | 1232541.6395 | 2719879.6984 | 1232540.0257 | 2719875.5142 | 1232538.2021
55 | 2719884.2124 | 1232587.9499 | 2719891.0728 | 1232586.0688
56 | 2719884.2124 | 1232587.9499 | 2719878.3503 | 1232589.5572
57 | 2719789.2938 | 1232648.1455 | 2719786.5642 | 1232633.6455 | 2719787.0788 | 1232607.0012 | 2719789.6559 | 1232590.6335
58 | 2719727.6322 | 1232644.8339 | 2719777.5393 | 1232650.7552 | 2719789.2938 | 1232648.1455
59 | 2719727.6322 | 1232644.8339 | 2719728.199 | 1232627.9874 | 2719723.0619 | 1232614.1729 | 2719703.7113 | 1232610.736 | 2719702.2322 | 1232610.5129
60 | 2719755.3137 | 1232561.1355 | 2719761.2481 | 1232575.6
61 | 2719755.3137 | 1232561.1355 | 2719748.1506 | 1232545.281
62 | 2719702.2322 | 1232610.5129 | 2719691.6061 | 1232608.9098
63 | 2719819.1472 | 1232474.4746 | 2719820.078 | 1232474.1066
64 | 2719819.1472 | 1232474.4746 | 2719812.2289 | 1232477.0656
65 | 2719881.6189 | 1232461.3791 | 2719891.1259 | 1232472.7681
66 | 2719881.6189 | 1232461.3791 | 2719896.8157 | 1232445.1059
67 | 2719891.1259 | 1232472.7681 | 2719900.1149 | 1232483.5366 | 2719902.1639 | 1232486.3468 | 2719908.5961 | 1232494.4708
68 | 2719896.8157 | 1232445.1059 | 2719883.2701 | 1232447.8683 | 2719870.6342 | 1232453.1949
69 | 2719655.1969 | 1232542.084 | 2719667.887 | 1232533.9865 | 2719678.2399 | 1232528.8332
70 | 2719678.2399 | 1232528.8332 | 2719686.9531 | 1232524.4961 | 2719693.3211 | 1232522.4159
71 | 2719751.4155 | 1232497.7043 | 2719743.5518 | 1232500.2118
72 | 2719686.5931 | 1232608.1535 | 2719691.6061 | 1232608.9098
73 | 2719820.078 | 1232474.1066 | 2719827.7565 | 1232471.0708
74 | 2719812.2289 | 1232477.0656 | 2719793.7599 | 1232483.9825
75 | 2719842.8787 | 1232464.8953 | 2719835.3643 | 1232468.063 | 2719827.7565 | 1232471.0708
76 | 2719793.7599 | 1232483.9825 | 2719789.8178 | 1232485.459 | 2719782.1933 | 1232487.8902
77 | 2719846.7079 | 1232463.2811 | 2719842.8787 | 1232464.8953
78 | 2719751.4155 | 1232497.7043 | 2719782.1933 | 1232487.8902
79 | 2719679.3569 | 1232607.0618 | 2719686.5931 | 1232608.1535
80 | 2719679.3569 | 1232607.0618 | 2719664.9826 | 1232604.8932
81 | 2719657.3251 | 1232603.738 | 2719664.9826 | 1232604.8932
82 | 2719846.7079 | 1232463.2811 | 2719858.5862 | 1232458.2738
83 | 2719870.6342 | 1232453.1949 | 2719858.5862 | 1232458.2738
84 | 2719914.3654 | 1232501.7609 | 2719913.9296 | 1232501.2072 | 2719908.5961 | 1232494.4708
85 | 2719914.3654 | 1232501.7609 | 2719931.2361 | 1232489.2356 | 2719928.8185 | 1232485.9286

## bus_geodata
| x | y | coords
0 | 2719462.6016 | 1232537.045
1 | 2719443.5129 | 1232525.1814
2 | 2719470.493 | 1232541.7497
3 | 2719483.9463 | 1232551.1739
4 | 2719577.0086 | 1232599.6215
5 | 2719498.8252 | 1232554.6244
6 | 2719639.2706 | 1232552.2466
7 | 2719480.5551 | 1232200.2897
8 | 2719456.8304 | 1232201.9102
9 | 2719503.5869 | 1232179.0084
10 | 2719492.7511 | 1232563.2648
11 | 2719558.2087 | 1232379.0037
12 | 2719576.0678 | 1232378.0034
13 | 2719594.0095 | 1232378.8505
14 | 2719730.2335 | 1232430.4812
15 | 2719728.7795 | 1232443.471
16 | 2719647.9541 | 1232380.7076
17 | 2719608.4874 | 1232379.534
18 | 2719654.1164 | 1232353.021
19 | 2719677.0351 | 1232339.7039
20 | 2719659.9867 | 1232312.3859
21 | 2719727.7217 | 1232477.824
22 | 2719652.4746 | 1232262.1748
23 | 2719507.8884 | 1232212.7664
24 | 2719506.0346 | 1232175.6227
25 | 2719509.8662 | 1232170.3229
26 | 2719511.2384 | 1232168.4248
27 | 2719732.0971 | 1232509.7489
28 | 2719810.9295 | 1232540.5719
29 | 2719826.1472 | 1232521.3316
30 | 2719806.9489 | 1232545.6302
31 | 2719840.6836 | 1232505.1222
32 | 2719804.596 | 1232550.6836
33 | 2719801.9633 | 1232540.837
34 | 2719832.0369 | 1232493.8891
35 | 2719853.046 | 1232491.8278
36 | 2719861.1485 | 1232526.1739
37 | 2719796.8374 | 1232566.2874
38 | 2719783.3826 | 1232544.6545
39 | 2719788.2247 | 1232527.2715
40 | 2719827.7893 | 1232488.371
41 | 2719898.7192 | 1232524.4399
42 | 2719862.7198 | 1232527.9035
43 | 2719790.0895 | 1232587.8798
44 | 2719771.9117 | 1232534.6932
45 | 2719800.7039 | 1232514.4667
46 | 2719907.0221 | 1232560.6746
47 | 2719906.9728 | 1232560.4484
48 | 2719911.3581 | 1232580.5634
49 | 2719902.8453 | 1232541.5159
50 | 2719891.0728 | 1232586.0688
51 | 2719875.5142 | 1232538.2021
52 | 2719884.2124 | 1232587.9499
53 | 2719878.3503 | 1232589.5572
54 | 2719789.6559 | 1232590.6335
55 | 2719789.2938 | 1232648.1455
56 | 2719727.6322 | 1232644.8339
57 | 2719755.3137 | 1232561.1355
58 | 2719761.2481 | 1232575.6
59 | 2719748.1506 | 1232545.281
60 | 2719702.2323 | 1232610.5129
61 | 2719819.1472 | 1232474.4746
62 | 2719881.6189 | 1232461.3791
63 | 2719891.1259 | 1232472.7681
64 | 2719896.8157 | 1232445.1059
65 | 2719655.1969 | 1232542.084
66 | 2719678.2399 | 1232528.8332
67 | 2719693.3211 | 1232522.4159
68 | 2719743.5518 | 1232500.2118
69 | 2719691.6061 | 1232608.9097
70 | 2719820.078 | 1232474.1066
71 | 2719812.229 | 1232477.0656
72 | 2719827.7565 | 1232471.0708
73 | 2719793.76 | 1232483.9825
74 | 2719842.8787 | 1232464.8953
75 | 2719782.1933 | 1232487.8902
76 | 2719686.5931 | 1232608.1535
77 | 2719679.3569 | 1232607.0618
78 | 2719664.9826 | 1232604.8932
79 | 2719846.7079 | 1232463.2811
80 | 2719858.5862 | 1232458.2738
81 | 2719870.6342 | 1232453.1949
82 | 2719908.5961 | 1232494.4708
83 | 2719914.3654 | 1232501.7609
84 | 2719751.4155 | 1232497.7043
85 | 2719928.8185 | 1232485.9286
86 | 2719657.3251 | 1232603.738
87 | 2719788.2247 | 1232527.2715

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1