## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-25_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-25_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-25_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3341-25_0_2_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_3341-25_0_2_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_3341-25_0_2_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_3341-25_0_2_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_3341-25_0_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_3341-25_0_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_3341-25_0_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_3341-25_0_2_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_3341-25_0_2_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_3341-25_0_2_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_3341-25_0_2_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_3341-25_0_2_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_3341-25_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_3341-25_0_2_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_3341-25_0_2_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3341-25_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3341-25_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3341-25_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_3341-25_0_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_3341-25_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3341-25_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3341-25_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3341-25_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3341-25_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3341-25_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_3341-25_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3341-25_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3341-25_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3341-25_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3341-25_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3341-25_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3341-25_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3341-25_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3341-25_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_3341-25_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3341-25_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3341-25_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_3341-25_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3341-25_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3341-25_0_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3341-25_0_2_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_3341-25_0_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_3341-25_0_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_3341-25_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_3341-25_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3341-25_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3341-25_0_2_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_3341-25_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3341-25_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3341-25_0_2_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_3341-25_0_2_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_3341-25_0_2_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_3341-25_0_2_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3341-25_0_2_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_3341-25_0_2_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3341-25_0_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3341-25_0_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_3341-25_0_2_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_3341-25_0_2_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3341-25_0_2_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3341-25_0_2_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_3341-25_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_3341-25_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3341-25_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3341-25_0_2_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3341-25_0_2_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3341-25_0_2_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3341-25_0_2_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3341-25_0_2_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3341-25_0_2_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3341-25_0_2_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_3341-25_0_2_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3341-25_0_2_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_3341-25_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3341-25_0_2_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_3341-25_0_2_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3341-25_0_2_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_3341-25_0_2_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3341-25_0_2_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_3341-25_0_2_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_3341-25_0_2_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3341-25_0_2_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_3341-25_0_2_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_10_1_node_283 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-25_0_2_load_0 | 0 | 0.0047027 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-25_0_2_load_1 | 1 | 0.0035246 | 0.00088335 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-25_0_2_load_2 | 2 | 0.0031269 | 0.00078367 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-25_0_2_load_23 | 3 | 0.0016201 | 0.00040604 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-25_0_2_load_24 | 4 | 0.0012382 | 0.00031033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-25_0_2_load_38 | 5 | 0.0022626 | 0.00056706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-25_0_2_load_39 | 6 | 0.0029713 | 0.00074468 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-25_0_2_load_25 | 7 | 0.0025227 | 0.00063225 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-25_0_2_load_26 | 8 | 0.0017133 | 0.0004294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-25_0_2_load_28 | 9 | 0.0030983 | 0.00077651 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-25_0_2_load_3 | 10 | 0.00038997 | 9.7736e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-25_0_2_load_88 | 11 | 0.0019131 | 0.00047946 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-25_0_2_load_89 | 12 | 0.00083382 | 0.00020897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-25_0_2_load_87 | 13 | 0.0015633 | 0.0003918 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-25_0_2_load_4 | 14 | 0.0028238 | 0.00070771 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-25_0_2_load_5 | 15 | 0.0022729 | 0.00056963 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-25_0_2_load_6 | 16 | 0.0021889 | 0.00054859 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-25_0_2_load_7 | 17 | 0.0032694 | 0.00081938 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-25_0_2_load_31 | 20 | 0.0021624 | 0.00054194 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-25_0_2_load_32 | 21 | 0.0024869 | 0.00062328 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-25_0_2_load_10 | 22 | 0.0033592 | 0.00084188 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-25_0_2_load_12 | 24 | 0.0055702 | 0.001396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-25_0_2_load_13 | 25 | 0.0024299 | 0.000609 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-25_0_2_load_33 | 27 | 0.0029765 | 0.00074597 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-25_0_2_load_16 | 28 | 0.0035738 | 0.00089567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-25_0_2_load_19 | 29 | 0.0055331 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-25_0_2_load_18 | 30 | 0.0037365 | 0.00093645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-25_0_2_load_20 | 31 | 0.0038192 | 0.00095719 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-25_0_2_load_21 | 32 | 0.002692 | 0.00067467 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-25_0_2_load_27 | 34 | 0.0011651 | 0.00029201 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-25_0_2_load_29 | 35 | 0.0017947 | 0.0004498 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-25_0_2_load_40 | 36 | 0.0018432 | 0.00046196 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-25_0_2_load_30 | 37 | 0.0016067 | 0.00040269 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-25_0_2_load_36 | 39 | 0.0023725 | 0.00059462 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-25_0_2_load_37 | 40 | 0.001156 | 0.00028971 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-25_0_2_load_57 | 42 | 0.0035442 | 0.00088825 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-25_0_2_load_55 | 43 | 0.0032956 | 0.00082596 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-25_0_2_load_62 | 44 | 0.0045708 | 0.0011456 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-25_0_2_load_56 | 45 | 0.0032452 | 0.00081331 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-25_0_2_load_51 | 46 | 0.00082999 | 0.00020802 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-25_0_2_load_41 | 47 | 0.0024781 | 0.00062107 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-25_0_2_load_42 | 48 | 0.0029414 | 0.00073718 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-25_0_2_load_43 | 50 | 0.0050668 | 0.0012699 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-25_0_2_load_44 | 51 | 0.0020126 | 0.00050441 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-25_0_2_load_79 | 52 | 0.0024364 | 0.00061062 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-25_0_2_load_80 | 53 | 0.0020046 | 0.00050239 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-25_0_2_load_78 | 54 | 0.0032605 | 0.00081716 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-25_0_2_load_77 | 56 | 0.0026171 | 0.0006559 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-25_0_2_load_46 | 57 | 0.0021383 | 0.0005359 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-25_0_2_load_71 | 59 | 0.0036416 | 0.00091267 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-25_0_2_load_76 | 60 | 0.0019549 | 0.00048993 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-25_0_2_load_50 | 61 | 0.0039251 | 0.00098372 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-25_0_2_load_47 | 62 | 0.0026612 | 0.00066696 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-25_0_2_load_49 | 64 | 0.0024463 | 0.00061309 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-25_0_2_load_58 | 65 | 0.0024012 | 0.00060179 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-25_0_2_load_59 | 66 | 0.0019638 | 0.00049217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-25_0_2_load_53 | 67 | 0.0016981 | 0.00042559 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-25_0_2_load_54 | 68 | 0.0028153 | 0.00070558 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-25_0_2_load_64 | 69 | 0.0011087 | 0.00027787 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-25_0_2_load_60 | 70 | 0.0037113 | 0.00093014 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-25_0_2_load_61 | 71 | 0.0018119 | 0.00045411 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-25_0_2_load_69 | 73 | 0.0014257 | 0.00035732 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-25_0_2_load_68 | 74 | 0.001469 | 0.00036816 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-25_0_2_load_67 | 76 | 0.0028625 | 0.00071742 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-25_0_2_load_66 | 77 | 0.0037135 | 0.00093068 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-25_0_2_load_73 | 78 | 0.00342 | 0.00085713 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3341-25_0_2_load_74 | 79 | 0.0014571 | 0.00036517 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3341-25_0_2_load_75 | 80 | 0.0019919 | 0.00049921 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3341-25_0_2_load_82 | 81 | 0.0012415 | 0.00031116 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3341-25_0_2_load_84 | 82 | 0.0021034 | 0.00052717 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3341-25_0_2_load_81 | 83 | 0.0013824 | 0.00034647 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3341-25_0_2_load_86 | 85 | 0.0055984 | 0.0014031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-25_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-25_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0027477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-25_0_2_line_2 | NAYY 4x150 SE | 2 | 5 | 0.023758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-25_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.033881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-25_0_2_line_4 | NAYY 4x150 SE | 4 | 33 | 0.028865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-25_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0013461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-25_0_2_line_6 | NAYY 4x150 SE | 6 | 36 | 0.020977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-25_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.042028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-25_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0040205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-25_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.023978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-25_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.16973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-25_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0092876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-25_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.023894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-25_0_2_line_13 | NAYY 4x150 SE | 13 | 84 | 0.017586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-25_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.00014927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-25_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.026421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-25_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.027547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-25_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.005054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-25_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.023496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-25_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.020977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-25_0_2_line_20 | NAYY 4x150 SE | 18 | 21 | 0.019189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-25_0_2_line_21 | NAYY 4x150 SE | 19 | 22 | 0.0047836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-25_0_2_line_22 | NAYY 4x150 SE | 19 | 23 | 0.032845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-25_0_2_line_23 | NAYY 4x150 SE | 20 | 27 | 0.023942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-25_0_2_line_24 | NAYY 4x150 SE | 21 | 28 | 0.056248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-25_0_2_line_25 | NAYY 4x150 SE | 23 | 29 | 0.019704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-25_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.030096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-25_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.019005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-25_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.005483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-25_0_2_line_29 | NAYY 4x150 SE | 27 | 41 | 0.019106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-25_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0074711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-25_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.02855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3341-25_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.019399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3341-25_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.015674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3341-25_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.00512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3341-25_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.016538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3341-25_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0034512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3341-25_0_2_line_37 | NAYY 4x150 SE | 36 | 47 | 0.0031015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-25_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.011502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3341-25_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.038829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3341-25_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0075759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3341-25_0_2_line_41 | NAYY 4x150 SE | 40 | 46 | 0.025209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3341-25_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.006885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-25_0_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.036497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-25_0_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.026112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-25_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.010418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-25_0_2_line_46 | NAYY 4x150 SE | 44 | 69 | 0.024564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-25_0_2_line_47 | NAYY 4x150 SE | 44 | 70 | 0.015979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-25_0_2_line_48 | NAYY 4x150 SE | 46 | 49 | 0.027567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3341-25_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.04247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-25_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.026781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-25_0_2_line_51 | NAYY 4x150 SE | 49 | 67 | 0.0025096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3341-25_0_2_line_52 | NAYY 4x150 SE | 49 | 68 | 0.036532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-25_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.014028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-25_0_2_line_54 | NAYY 4x150 SE | 51 | 55 | 0.013708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-25_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.012608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-25_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.017057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-25_0_2_line_57 | NAYY 4x150 SE | 53 | 81 | 0.021917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-25_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.04278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-25_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.024468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-25_0_2_line_60 | NAYY 4x150 SE | 56 | 60 | 0.022479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-25_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.01336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-25_0_2_line_62 | NAYY 4x150 SE | 57 | 59 | 0.04659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-25_0_2_line_63 | NAYY 4x150 SE | 58 | 61 | 0.015908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-25_0_2_line_64 | NAYY 4x150 SE | 58 | 62 | 0.011463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-25_0_2_line_65 | NAYY 4x150 SE | 59 | 63 | 0.01058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-25_0_2_line_66 | NAYY 4x150 SE | 60 | 78 | 0.026822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-25_0_2_line_67 | NAYY 4x150 SE | 62 | 64 | 0.020964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3341-25_0_2_line_68 | NAYY 4x150 SE | 63 | 78 | 0.023422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-25_0_2_line_69 | NAYY 4x150 SE | 63 | 79 | 0.008186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-25_0_2_line_70 | NAYY 4x150 SE | 64 | 65 | 0.043099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3341-25_0_2_line_71 | NAYY 4x150 SE | 65 | 66 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-25_0_2_line_72 | NAYY 4x150 SE | 65 | 67 | 0.041371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_3341-25_0_2_line_73 | NAYY 4x150 SE | 69 | 75 | 0.017517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-25_0_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.016405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3341-25_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.023594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3341-25_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.014901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3341-25_0_2_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0062325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3341-25_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.0081291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3341-25_0_2_line_79 | NAYY 4x150 SE | 75 | 76 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3341-25_0_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.035598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3341-25_0_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.028026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3341-25_0_2_line_82 | NAYY 4x150 SE | 81 | 83 | 0.024991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3341-25_0_2_line_83 | NAYY 4x150 SE | 82 | 85 | 0.012256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3341-25_0_2_line_84 | NAYY 4x150 SE | 82 | 84 | 0.022363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-25_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 86 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2720960.7179 | 1233021.2815 | 2720964.8264 | 1233011.8175
1 | 2720965.9206 | 1233009.297 | 2720964.8264 | 1233011.8175
2 | 2720965.9206 | 1233009.297 | 2720971.9642 | 1232995.3755 | 2720976.4717 | 1232988.0738
3 | 2720889.49 | 1232946.1923 | 2720907.7558 | 1232917.6565
4 | 2720893.1853 | 1232895.9148 | 2720906.2555 | 1232906.8116 | 2720909.3262 | 1232915.2031 | 2720907.7558 | 1232917.6565
5 | 2720976.4717 | 1232988.0738 | 2720977.1788 | 1232986.9284
6 | 2720988.1979 | 1232969.0784 | 2720977.1788 | 1232986.9284
7 | 2720977.1788 | 1232986.9284 | 2720941.5456 | 1232964.6428
8 | 2720923.7542 | 1232986.0937 | 2720926.9724 | 1232983.6839
9 | 2720941.5456 | 1232964.6428 | 2720926.9724 | 1232983.6839
10 | 2721164.2611 | 1232975.2272 | 2721331.8712 | 1233001.9538
11 | 2721164.2611 | 1232975.2272 | 2721163.3313 | 1232977.392 | 2721159.5891 | 1232983.2266
12 | 2721164.2611 | 1232975.2272 | 2721165.8122 | 1232971.6157 | 2721165.9337 | 1232965.6578 | 2721165.2638 | 1232959.8839 | 2721162.416 | 1232955.4334 | 2721160.0759 | 1232953.7064
13 | 2721145.3191 | 1232947.0448 | 2721148.9763 | 1232951.5452 | 2721152.1225 | 1232951.02 | 2721157.7825 | 1232952.014 | 2721160.0759 | 1232953.7064
14 | 2720823.7082 | 1232891.0467 | 2720823.7832 | 1232890.9176
15 | 2720836.076 | 1232867.5405 | 2720827.5341 | 1232884.4596 | 2720823.7832 | 1232890.9176
16 | 2720823.7082 | 1232891.0467 | 2720818.8848 | 1232899.3513 | 2720808.1474 | 1232913.7273
17 | 2720838.3537 | 1232863.0289 | 2720836.076 | 1232867.5405
18 | 2720794.0871 | 1232932.5519 | 2720808.1474 | 1232913.7273
19 | 2720838.3537 | 1232863.0289 | 2720847.1509 | 1232843.9857
20 | 2720838.3537 | 1232863.0289 | 2720828.8737 | 1232854.7184 | 2720823.7046 | 1232850.6439
21 | 2720794.0871 | 1232932.5519 | 2720791.1965 | 1232936.3634
22 | 2720794.0871 | 1232932.5519 | 2720806.3767 | 1232940.497 | 2720814.178 | 1232946.4381 | 2720820.6076 | 1232949.4378 | 2720821.9063 | 1232949.2641
23 | 2720847.1509 | 1232843.9857 | 2720857.1915 | 1232822.2507
24 | 2720823.7046 | 1232850.6439 | 2720770.0737 | 1232867.6005
25 | 2720821.9063 | 1232949.2641 | 2720831.104 | 1232948.3614 | 2720840.3744 | 1232943.5127
26 | 2720755.2097 | 1232879.6637 | 2720738.2113 | 1232904.4995
27 | 2720765.9438 | 1232863.9804 | 2720755.2097 | 1232879.6637
28 | 2720765.9438 | 1232863.9804 | 2720770.0737 | 1232867.6005
29 | 2720865.2042 | 1232804.9057 | 2720857.1915 | 1232822.2507
30 | 2720845.9241 | 1232938.5108 | 2720840.3744 | 1232943.5127
31 | 2720845.9241 | 1232938.5108 | 2720867.1318 | 1232919.3965
32 | 2720867.1318 | 1232919.3965 | 2720881.5421 | 1232906.4087
33 | 2720893.1853 | 1232895.9148 | 2720881.5421 | 1232906.4087
34 | 2720893.1853 | 1232895.9148 | 2720895.4831 | 1232891.3394
35 | 2720895.4831 | 1232891.3394 | 2720900.9133 | 1232880.5262 | 2720904.2559 | 1232877.6063
36 | 2720906.8551 | 1232875.3358 | 2720904.2559 | 1232877.6063
37 | 2720989.8271 | 1232966.4393 | 2720988.1979 | 1232969.0784
38 | 2720915.5178 | 1232867.7685 | 2720906.8551 | 1232875.3358
39 | 2720915.5178 | 1232867.7685 | 2720923.8014 | 1232878.29 | 2720945.8135 | 1232891.1815
40 | 2720915.5178 | 1232867.7685 | 2720921.2248 | 1232862.7862
41 | 2720921.2248 | 1232862.7862 | 2720929.8446 | 1232855.261 | 2720939.4803 | 1232845.4283
42 | 2720865.2042 | 1232804.9057 | 2720868.0922 | 1232798.6558
43 | 2720865.2042 | 1232804.9057 | 2720900.4207 | 1232814.488
44 | 2720879.0454 | 1232774.9519 | 2720868.0922 | 1232798.6558
45 | 2720909.8496 | 1232810.6183 | 2720901.3812 | 1232814.7494 | 2720900.4207 | 1232814.488
46 | 2720879.0454 | 1232774.9519 | 2720890.2994 | 1232753.1179
47 | 2720879.0454 | 1232774.9519 | 2720894.9504 | 1232773.4156
48 | 2720958.7126 | 1232825.6801 | 2720956.6294 | 1232827.9284 | 2720939.4803 | 1232845.4283
49 | 2720989.8271 | 1232966.4393 | 2721012.1362 | 1232930.3006
50 | 2721012.1362 | 1232930.3006 | 2721026.2042 | 1232907.5118
51 | 2720958.7126 | 1232825.6801 | 2720960.422 | 1232823.8427
52 | 2720957.2185 | 1232859.2545 | 2720954.1477 | 1232855.7003 | 2720952.8694 | 1232852.2715 | 2720953.4036 | 1232847.9789 | 2720958.568 | 1232837.242 | 2720960.1013 | 1232832.6139 | 2720958.7126 | 1232825.6801
53 | 2721033.5719 | 1232895.5746 | 2721030.5177 | 1232900.5242 | 2721026.2042 | 1232907.5118
54 | 2721040.7704 | 1232883.9085 | 2721033.5719 | 1232895.5746
55 | 2721092.8152 | 1232941.982 | 2721092.8152 | 1232941.982 | 2721086.8325 | 1232937.8679 | 2721083.2091 | 1232933.9354
56 | 2721086.6538 | 1232917.2655 | 2721085.0222 | 1232922.641 | 2721083.2091 | 1232933.9354 | 2721083.2091 | 1232933.9354
57 | 2721112.2769 | 1232938.2482 | 2721109.985 | 1232941.2312 | 2721103.4847 | 1232944.3012 | 2721098.3391 | 1232943.707 | 2721092.8152 | 1232941.982
58 | 2721092.7431 | 1232874.9991 | 2721088.343 | 1232911.6998 | 2721086.6538 | 1232917.2655
59 | 2721040.7704 | 1232883.9085 | 2721037.8656 | 1232875.1867 | 2721032.7995 | 1232868.089 | 2721028.3227 | 1232863.3011
60 | 2721095.419 | 1232852.6803 | 2721092.7431 | 1232874.9991
61 | 2721016.6741 | 1232860.688 | 2721020.2142 | 1232859.0477 | 2721023.7992 | 1232859.6656 | 2721027.4256 | 1232862.3416 | 2721028.3227 | 1232863.3011
62 | 2721063.8047 | 1232833.1069 | 2721028.3227 | 1232863.3011
63 | 2721016.6741 | 1232860.688 | 2721007.5993 | 1232873.7694
64 | 2721016.6741 | 1232860.688 | 2721016.4856 | 1232855.8136 | 2721013.3698 | 1232850.0121
65 | 2721067.7119 | 1232823.2749 | 2721063.8047 | 1232833.1069
66 | 2721095.419 | 1232852.6803 | 2721096.7112 | 1232841.9028 | 2721090.8259 | 1232827.0599
67 | 2721006.5264 | 1232832.7478 | 2721011.428 | 1232834.916 | 2721013.3219 | 1232838.98 | 2721012.6565 | 1232845.2493 | 2721013.3698 | 1232850.0121
68 | 2721067.7119 | 1232823.2749 | 2721090.8259 | 1232827.0599
69 | 2721070.0832 | 1232815.4391 | 2721067.7119 | 1232823.2749
70 | 2720988.6016 | 1232793.5527 | 2721006.5264 | 1232832.7478
71 | 2720988.6016 | 1232793.5527 | 2720999.3526 | 1232781.9966
72 | 2720960.422 | 1232823.8427 | 2720988.6016 | 1232793.5527
73 | 2720898.325 | 1232737.5472 | 2720890.2994 | 1232753.1179
74 | 2720933.2697 | 1232754.3716 | 2720928.7752 | 1232770.1484
75 | 2720933.2697 | 1232754.3716 | 2720944.1751 | 1232733.4489
76 | 2720933.2697 | 1232754.3716 | 2720919.8434 | 1232747.9074
77 | 2720919.8434 | 1232747.9074 | 2720914.2278 | 1232745.2037
78 | 2720898.325 | 1232737.5472 | 2720902.0492 | 1232730.3214
79 | 2720898.325 | 1232737.5472 | 2720914.2278 | 1232745.2037
80 | 2721070.0832 | 1232815.4391 | 2721066.0516 | 1232780.0698
81 | 2721112.2769 | 1232938.2482 | 2721128.4115 | 1232961.1637
82 | 2721127.5002 | 1232918.4291 | 2721122.4178 | 1232925.0492 | 2721112.2769 | 1232938.2482
83 | 2721123.1454 | 1232972.191 | 2721127.4098 | 1232962.5145 | 2721128.4115 | 1232961.1637
84 | 2721145.3191 | 1232947.0448 | 2721133.0716 | 1232954.8793 | 2721128.4115 | 1232961.1637

## bus_geodata
| x | y | coords
0 | 2720960.7179 | 1233021.2815
1 | 2720964.8264 | 1233011.8175
2 | 2720965.9206 | 1233009.297
3 | 2720889.49 | 1232946.1923
4 | 2720907.7558 | 1232917.6565
5 | 2720976.4717 | 1232988.0738
6 | 2720977.1788 | 1232986.9284
7 | 2720923.7542 | 1232986.0937
8 | 2720926.9724 | 1232983.6839
9 | 2720941.5456 | 1232964.6428
10 | 2721331.8712 | 1233001.9538
11 | 2721164.2611 | 1232975.2272
12 | 2721159.589 | 1232983.2266
13 | 2721160.0759 | 1232953.7064
14 | 2720823.7832 | 1232890.9176
15 | 2720823.7082 | 1232891.0467
16 | 2720836.076 | 1232867.5405
17 | 2720808.1474 | 1232913.7273
18 | 2720838.3537 | 1232863.0289
19 | 2720794.0871 | 1232932.5519
20 | 2720847.1509 | 1232843.9857
21 | 2720823.7046 | 1232850.6439
22 | 2720791.1965 | 1232936.3634
23 | 2720821.9063 | 1232949.2641
24 | 2720755.2097 | 1232879.6637
25 | 2720738.2113 | 1232904.4995
26 | 2720765.9438 | 1232863.9804
27 | 2720857.1915 | 1232822.2507
28 | 2720770.0737 | 1232867.6005
29 | 2720840.3744 | 1232943.5127
30 | 2720845.9241 | 1232938.5108
31 | 2720867.1318 | 1232919.3965
32 | 2720881.5421 | 1232906.4087
33 | 2720893.1853 | 1232895.9148
34 | 2720895.4831 | 1232891.3394
35 | 2720904.2559 | 1232877.6063
36 | 2720988.1979 | 1232969.0784
37 | 2720906.8551 | 1232875.3358
38 | 2720915.5178 | 1232867.7685
39 | 2720945.8135 | 1232891.1815
40 | 2720921.2248 | 1232862.7862
41 | 2720865.2042 | 1232804.9057
42 | 2720868.0922 | 1232798.6558
43 | 2720900.4207 | 1232814.488
44 | 2720879.0454 | 1232774.9519
45 | 2720909.8496 | 1232810.6183
46 | 2720939.4803 | 1232845.4283
47 | 2720989.8271 | 1232966.4393
48 | 2721012.1362 | 1232930.3006
49 | 2720958.7126 | 1232825.6801
50 | 2721026.2042 | 1232907.5118
51 | 2721033.5719 | 1232895.5746
52 | 2721083.2091 | 1232933.9354
53 | 2721092.8152 | 1232941.982
54 | 2721086.6538 | 1232917.2655
55 | 2721040.7704 | 1232883.9085
56 | 2721092.7431 | 1232874.9991
57 | 2721028.3227 | 1232863.3011
58 | 2721016.6741 | 1232860.688
59 | 2721063.8047 | 1232833.1069
60 | 2721095.419 | 1232852.6803
61 | 2721007.5993 | 1232873.7694
62 | 2721013.3698 | 1232850.0121
63 | 2721067.7119 | 1232823.2749
64 | 2721006.5264 | 1232832.7478
65 | 2720988.6016 | 1232793.5527
66 | 2720999.3526 | 1232781.9966
67 | 2720960.422 | 1232823.8427
68 | 2720957.2185 | 1232859.2545
69 | 2720890.2994 | 1232753.1179
70 | 2720894.9504 | 1232773.4156
71 | 2720928.7752 | 1232770.1484
72 | 2720933.2697 | 1232754.3716
73 | 2720944.1751 | 1232733.4489
74 | 2720919.8434 | 1232747.9074
75 | 2720898.325 | 1232737.5472
76 | 2720914.2278 | 1232745.2037
77 | 2720902.0492 | 1232730.3214
78 | 2721090.8259 | 1232827.0599
79 | 2721070.0832 | 1232815.4391
80 | 2721066.0516 | 1232780.0698
81 | 2721112.2769 | 1232938.2482
82 | 2721128.4115 | 1232961.1637
83 | 2721127.5002 | 1232918.4291
84 | 2721145.3191 | 1232947.0448
85 | 2721123.1454 | 1232972.191
86 | 2720915.5178 | 1232867.7685

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1