## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-26_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-26_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-26_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_3341-26_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3341-26_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3341-26_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3341-26_0_3_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_3341-26_0_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_3341-26_0_3_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_3341-26_0_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_3341-26_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3341-26_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_3341-26_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_3341-26_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_3341-26_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3341-26_0_3_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_3341-26_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3341-26_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3341-26_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3341-26_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3341-26_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3341-26_0_3_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_3341-26_0_3_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_3341-26_0_3_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_3341-26_0_3_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_3341-26_0_3_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_3341-26_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_3341-26_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_3341-26_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_3341-26_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_3341-26_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3341-26_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3341-26_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3341-26_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3341-26_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3341-26_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3341-26_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3341-26_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_3341-26_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_3341-26_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3341-26_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_3341-26_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_3341-26_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_3341-26_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_3341-26_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3341-26_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_3341-26_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3341-26_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3341-26_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3341-26_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3341-26_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3341-26_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3341-26_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3341-26_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3341-26_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3341-26_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_3341-26_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_3341-26_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3341-26_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3341-26_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3341-26_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_3341-26_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3341-26_0_3_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_3341-26_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3341-26_0_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_3341-26_0_3_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_3341-26_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3341-26_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_3341-26_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3341-26_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3341-26_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3341-26_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3341-26_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_3341-26_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_3341-26_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3341-26_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3341-26_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3341-26_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3341-26_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3341-26_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_3341-26_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3341-26_0_3_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_3341-26_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3341-26_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3341-26_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3341-26_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3341-26_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_3341-26_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_3341-26_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3341-26_0_3_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_3341-26_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_3341-26_0_3_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_3341-26_0_3_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_3341-26_0_3_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_3341-26_0_3_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_3341-26_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_3341-26_0_3_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_3341-26_0_3_node_99 | 0.4 | n |  | TRUE
98 | bus_MV_10_1_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-26_0_3_load_0 | 0 | 0.001244 | 0.00031179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-26_0_3_load_4 | 2 | 0.00098794 | 0.0002476 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-26_0_3_load_2 | 3 | 0.0014436 | 0.00036179 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-26_0_3_load_102 | 6 | 0.0022022 | 0.00055194 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-26_0_3_load_61 | 8 | 0.0022096 | 0.00055377 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-26_0_3_load_59 | 9 | 0.0055182 | 0.001383 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-26_0_3_load_6 | 10 | 0.0011576 | 0.00029013 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-26_0_3_load_18 | 11 | 0.002112 | 0.00052932 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-26_0_3_load_19 | 12 | 0.0063067 | 0.0015806 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-26_0_3_load_20 | 13 | 0.0050515 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-26_0_3_load_16 | 14 | 0.00095748 | 0.00023997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-26_0_3_load_62 | 15 | 0.0032178 | 0.00080646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-26_0_3_load_7 | 16 | 0.001555 | 0.00038973 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-26_0_3_load_10 | 19 | 0.0025108 | 0.00062928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-26_0_3_load_11 | 20 | 0.00126 | 0.00031578 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-26_0_3_load_101 | 21 | 0.00093911 | 0.00023536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-26_0_3_load_92 | 22 | 0.0026488 | 0.00066386 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-26_0_3_load_87 | 23 | 0.0012457 | 0.0003122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-26_0_3_load_12 | 26 | 0.0021388 | 0.00053604 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-26_0_3_load_13 | 27 | 0.00086862 | 0.0002177 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-26_0_3_load_14 | 28 | 0.0011508 | 0.00028841 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-26_0_3_load_17 | 30 | 0.004134 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-26_0_3_load_21 | 31 | 0.00236 | 0.00059148 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-26_0_3_load_22 | 32 | 0.0025419 | 0.00063707 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-26_0_3_load_24 | 34 | 0.0037928 | 0.00095056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-26_0_3_load_25 | 35 | 0.0023136 | 0.00057985 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-26_0_3_load_38 | 38 | 0.0027178 | 0.00068114 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-26_0_3_load_41 | 39 | 0.0070046 | 0.0017555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-26_0_3_load_26 | 40 | 0.0071682 | 0.0017965 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-26_0_3_load_27 | 41 | 0.0082514 | 0.002068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-26_0_3_load_29 | 43 | 0.0071635 | 0.0017954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-26_0_3_load_30 | 44 | 0.0080784 | 0.0020246 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-26_0_3_load_33 | 46 | 0.0038559 | 0.00096637 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-26_0_3_load_35 | 49 | 0.0028776 | 0.0007212 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-26_0_3_load_43 | 51 | 0.0022545 | 0.00056503 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-26_0_3_load_42 | 52 | 0.0038008 | 0.00095256 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-26_0_3_load_49 | 56 | 0.0022055 | 0.00055275 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-26_0_3_load_50 | 57 | 0.0010623 | 0.00026624 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-26_0_3_load_45 | 58 | 0.0010341 | 0.00025918 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-26_0_3_load_44 | 59 | 0.0030621 | 0.00076743 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-26_0_3_load_46 | 60 | 0.002209 | 0.00055364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-26_0_3_load_48 | 61 | 0.0023991 | 0.00060126 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-26_0_3_load_78 | 62 | 0.0012284 | 0.00030786 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-26_0_3_load_51 | 63 | 0.003369 | 0.00084434 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-26_0_3_load_73 | 64 | 0.0024836 | 0.00062245 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-26_0_3_load_79 | 65 | 0.00086452 | 0.00021667 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-26_0_3_load_52 | 66 | 0.0056189 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-26_0_3_load_74 | 67 | 0.0031736 | 0.00079539 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-26_0_3_load_54 | 69 | 0.0034449 | 0.00086338 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-26_0_3_load_55 | 70 | 0.0014735 | 0.0003693 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-26_0_3_load_56 | 71 | 0.0040721 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-26_0_3_load_69 | 72 | 0.0019272 | 0.000483 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-26_0_3_load_57 | 73 | 0.0026734 | 0.00067002 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-26_0_3_load_66 | 74 | 0.00092081 | 0.00023078 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-26_0_3_load_67 | 75 | 0.00062326 | 0.0001562 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-26_0_3_load_68 | 76 | 0.0010167 | 0.00025482 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-26_0_3_load_72 | 78 | 0.003108 | 0.00077894 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-26_0_3_load_88 | 79 | 0.0028058 | 0.00070321 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-26_0_3_load_76 | 80 | 0.001127 | 0.00028245 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-26_0_3_load_89 | 81 | 0.0011843 | 0.00029681 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-26_0_3_load_77 | 83 | 0.0032151 | 0.00080578 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-26_0_3_load_84 | 85 | 0.00099859 | 0.00025027 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-26_0_3_load_80 | 86 | 0.0011496 | 0.00028811 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-26_0_3_load_81 | 87 | 0.00088619 | 0.0002221 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-26_0_3_load_83 | 88 | 0.00088322 | 0.00022136 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-26_0_3_load_85 | 89 | 0.00086493 | 0.00021677 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3341-26_0_3_load_86 | 90 | 0.00086507 | 0.00021681 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3341-26_0_3_load_97 | 91 | 0.00086456 | 0.00021668 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3341-26_0_3_load_90 | 92 | 0.0041398 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3341-26_0_3_load_91 | 93 | 0.0026723 | 0.00066973 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3341-26_0_3_load_94 | 94 | 0.001982 | 0.00049674 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3341-26_0_3_load_99 | 97 | 0.0027211 | 0.00068196 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-26_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-26_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-26_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-26_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-26_0_3_line_4 | NAYY 4x150 SE | 3 | 10 | 0.0095188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-26_0_3_line_5 | NAYY 4x150 SE | 3 | 11 | 0.14088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-26_0_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.059207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-26_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.060585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-26_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0097606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-26_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.048298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-26_0_3_line_10 | NAYY 4x150 SE | 8 | 15 | 0.027915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-26_0_3_line_11 | NAYY 4x150 SE | 9 | 55 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-26_0_3_line_12 | NAYY 4x150 SE | 11 | 14 | 0.022012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-26_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.023284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-26_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.024114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-26_0_3_line_15 | NAYY 4x150 SE | 13 | 31 | 0.025627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-26_0_3_line_16 | NAYY 4x150 SE | 14 | 29 | 0.010834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-26_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.002647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-26_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.019678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-26_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.057067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-26_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.012929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-26_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.081686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-26_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.029853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-26_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.013538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-26_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.011592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-26_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.016506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-26_0_3_line_26 | NAYY 4x150 SE | 24 | 94 | 0.026663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-26_0_3_line_27 | NAYY 4x150 SE | 25 | 79 | 0.019996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-26_0_3_line_28 | NAYY 4x150 SE | 25 | 77 | 0.034895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-26_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.023029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-26_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0062176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-26_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0027105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-26_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.059392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-26_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.030929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-26_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0071234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-26_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.020017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-26_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.01124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-26_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0097692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-26_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.011807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-26_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.029871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-26_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.012493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-26_0_3_line_41 | NAYY 4x150 SE | 38 | 48 | 0.0076243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-26_0_3_line_42 | NAYY 4x150 SE | 39 | 54 | 0.025894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-26_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.019359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-26_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.012251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-26_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.013959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-26_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.037469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-26_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0048974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-26_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-26_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.010265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-26_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.013635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-26_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.002329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-26_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.030779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3341-26_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.017437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-26_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.015192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-26_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.011238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-26_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.0091047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-26_0_3_line_57 | NAYY 4x150 SE | 53 | 57 | 0.011634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-26_0_3_line_58 | NAYY 4x150 SE | 53 | 58 | 0.023958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-26_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.022617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-26_0_3_line_60 | NAYY 4x150 SE | 56 | 63 | 0.015596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-26_0_3_line_61 | NAYY 4x150 SE | 57 | 64 | 0.0062112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-26_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.012538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-26_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0069087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-26_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.015919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-26_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.013603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-26_0_3_line_66 | NAYY 4x150 SE | 62 | 65 | 0.021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-26_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.015972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-26_0_3_line_68 | NAYY 4x150 SE | 64 | 67 | 0.041763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-26_0_3_line_69 | NAYY 4x150 SE | 65 | 84 | 0.0031748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-26_0_3_line_70 | NAYY 4x150 SE | 66 | 68 | 0.012023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-26_0_3_line_71 | NAYY 4x150 SE | 67 | 82 | 0.0045847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-26_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0072797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-26_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.025744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-26_0_3_line_74 | NAYY 4x150 SE | 69 | 71 | 0.00476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3341-26_0_3_line_75 | NAYY 4x150 SE | 70 | 72 | 0.03281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3341-26_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.017916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3341-26_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.034256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3341-26_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0017383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3341-26_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.012558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3341-26_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.021723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3341-26_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.010091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3341-26_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.020746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3341-26_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.009221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3341-26_0_3_line_84 | NAYY 4x150 SE | 81 | 92 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3341-26_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.015659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3341-26_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.011544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3341-26_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.004188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3341-26_0_3_line_88 | NAYY 4x150 SE | 85 | 89 | 0.0068281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3341-26_0_3_line_89 | NAYY 4x150 SE | 86 | 87 | 0.026332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3341-26_0_3_line_90 | NAYY 4x150 SE | 87 | 88 | 0.03398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3341-26_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.014044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3341-26_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.016751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3341-26_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.043107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3341-26_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.025991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3341-26_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.081839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3341-26_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.018448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-26_0_3_trafo_35 | 0.25 MVA 20/0.4 kV | 98 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2721724.3442 | 1231248.2358 | 2721720.3581 | 1231227.5821 | 2721725.2171 | 1231205.6305 | 2721729.3727 | 1231198.9042
1 | 2721729.3727 | 1231198.9042 | 2721647.8302 | 1231140.4276
2 | 2721724.3442 | 1231248.2358 | 2721718.4206 | 1231263.3601 | 2721712.1685 | 1231267.8913 | 2721705.9905 | 1231267.8829
3 | 2721667.8509 | 1231116.518 | 2721647.8302 | 1231140.4276
4 | 2721696.4717 | 1231267.87 | 2721705.9905 | 1231267.8829
5 | 2721809.72 | 1231363.2167 | 2721705.9905 | 1231267.8829
6 | 2721618.9185 | 1231097.9353 | 2721626.4018 | 1231100.9909 | 2721638.8017 | 1231101.8341 | 2721651.8496 | 1231100.6334 | 2721657.8578 | 1231100.9899 | 2721664.1775 | 1231105.0002 | 2721667.8509 | 1231116.518
7 | 2721618.9185 | 1231097.9353 | 2721600.6897 | 1231109.0715 | 2721589.5009 | 1231121.9753 | 2721570.6227 | 1231133.7543
8 | 2721892.6312 | 1231221.5063 | 2721895.8145 | 1231212.2794
9 | 2721892.6312 | 1231221.5063 | 2721912.893 | 1231218.0078 | 2721925.5103 | 1231218.9562 | 2721934.9485 | 1231226.7782 | 2721936.6331 | 1231229.0463
10 | 2721895.8145 | 1231212.2794 | 2721896.3607 | 1231210.6963 | 2721903.4235 | 1231200.633 | 2721915.9578 | 1231194.5195
11 | 2721949.5086 | 1231246.3815 | 2721936.6331 | 1231229.0463
12 | 2721795.4851 | 1231379.9935 | 2721806.8827 | 1231366.1656 | 2721809.72 | 1231363.2167
13 | 2721809.72 | 1231363.2167 | 2721825.8638 | 1231346.4379
14 | 2721825.8638 | 1231346.4379 | 2721831.7074 | 1231340.3645 | 2721842.6079 | 1231329.0854
15 | 2721842.6079 | 1231329.0854 | 2721852.5514 | 1231318.7965 | 2721860.7156 | 1231310.9567
16 | 2721788.5945 | 1231388.3533 | 2721795.4851 | 1231379.9935
17 | 2722046.781 | 1231405.8282 | 2722044.4607 | 1231407.1021
18 | 2722026.1913 | 1231413.1448 | 2722031.1972 | 1231413.2254 | 2722036.8966 | 1231411.263 | 2722040.3936 | 1231409.5667 | 2722043.3253 | 1231407.7254 | 2722044.4607 | 1231407.1021
19 | 2722046.781 | 1231405.8282 | 2722065.1616 | 1231383.2428 | 2722082.2542 | 1231361.1316
20 | 2722026.1913 | 1231413.1448 | 2722022.1414 | 1231411.149 | 2722019.057 | 1231408.25 | 2722016.064 | 1231405.3307
21 | 2722026.1913 | 1231413.1448 | 2722035.5623 | 1231494.2915
22 | 2722082.2542 | 1231361.1316 | 2722089.1167 | 1231352.2541 | 2722101.2833 | 1231338.1424
23 | 2722016.064 | 1231405.3307 | 2722015.1468 | 1231401.6644 | 2722015.6875 | 1231391.9209
24 | 2722108.8525 | 1231329.3632 | 2722101.2833 | 1231338.1424
25 | 2722016.6021 | 1231375.4398 | 2722015.6875 | 1231391.9209
26 | 2722108.8525 | 1231329.3632 | 2722128.8965 | 1231346.9457
27 | 2722016.6021 | 1231375.4398 | 2722025.4886 | 1231366.5817 | 2722031.9896 | 1231362.9455
28 | 2722018.9005 | 1231340.6256 | 2722016.6021 | 1231375.4398
29 | 2721774.1933 | 1231409.6708 | 2721780.4768 | 1231399.6405 | 2721787.0119 | 1231390.5538
30 | 2721770.8925 | 1231414.9398 | 2721774.1933 | 1231409.6708
31 | 2721788.5945 | 1231388.3533 | 2721787.0119 | 1231390.5538
32 | 2721788.5945 | 1231388.3533 | 2721815.5655 | 1231404.1741 | 2721820.308 | 1231410.4541 | 2721822.7668 | 1231419.1115 | 2721822.623 | 1231426.4922 | 2721821.7045 | 1231430.2537
33 | 2721860.7156 | 1231310.9567 | 2721878.0618 | 1231294.2996 | 2721883.2282 | 1231289.7563
34 | 2721888.5774 | 1231285.0522 | 2721883.2282 | 1231289.7563
35 | 2721888.5774 | 1231285.0522 | 2721892.1036 | 1231294.4876 | 2721898.4267 | 1231302.1633
36 | 2721888.5774 | 1231285.0522 | 2721893.4301 | 1231281.1596 | 2721897.5251 | 1231278.2576
37 | 2721903.8962 | 1231310.142 | 2721902.866 | 1231307.5521 | 2721898.4267 | 1231302.1633
38 | 2721907.936 | 1231272.7614 | 2721899.9723 | 1231276.5234 | 2721897.5251 | 1231278.2576
39 | 2721903.8962 | 1231310.142 | 2721907.5346 | 1231303.4001 | 2721913.1986 | 1231298.7347 | 2721916.3729 | 1231298.3661 | 2721925.3305 | 1231305.8558
40 | 2721907.936 | 1231272.7614 | 2721909.3972 | 1231264.3179 | 2721912.289 | 1231261.6662
41 | 2721931.1796 | 1231310.7464 | 2721925.3305 | 1231305.8558
42 | 2721931.5877 | 1231260.2251 | 2721926.5531 | 1231253.4164 | 2721921.9351 | 1231253.2549 | 2721918.2457 | 1231256.2039 | 2721912.289 | 1231261.6662
43 | 2721832.7297 | 1231377.0922 | 2721834.8333 | 1231382.9852 | 2721844.9035 | 1231381.7794 | 2721847.8155 | 1231382.3065
44 | 2721859.8707 | 1231384.4883 | 2721847.8155 | 1231382.3065
45 | 2721859.8707 | 1231384.4883 | 2721860.0981 | 1231380.79 | 2721866.1432 | 1231372.5073
46 | 2721866.1432 | 1231372.5073 | 2721874.0275 | 1231361.7046 | 2721876.0068 | 1231360.8667 | 2721879.2682 | 1231356.2521 | 2721879.5434 | 1231353.5444 | 2721879.4868 | 1231345.5924 | 2721882.8783 | 1231341.1101
47 | 2721885.8332 | 1231337.2046 | 2721882.8783 | 1231341.1101
48 | 2721885.8332 | 1231337.2046 | 2721900.0111 | 1231343.684
49 | 2721909.3477 | 1231347.9509 | 2721900.0111 | 1231343.684
50 | 2721909.3477 | 1231347.9509 | 2721912.3158 | 1231346.9221 | 2721916.8357 | 1231337.4516
51 | 2721931.1796 | 1231310.7464 | 2721933.4831 | 1231310.36
52 | 2721931.1796 | 1231310.7464 | 2721925.6657 | 1231324.3443 | 2721921.2137 | 1231328.2784 | 2721916.8357 | 1231337.4516
53 | 2721933.4831 | 1231310.36 | 2721936.2703 | 1231318.1456 | 2721944.4262 | 1231322.3317
54 | 2721933.4831 | 1231310.36 | 2721938.6367 | 1231309.1536 | 2721943.4356 | 1231300.4954
55 | 2721954.7748 | 1231325.6868 | 2721951.5039 | 1231325.9644 | 2721944.4262 | 1231322.3317
56 | 2721954.7748 | 1231325.6868 | 2721959.364 | 1231317.8232
57 | 2721954.7748 | 1231325.6868 | 2721959.611 | 1231326.2865 | 2721961.9393 | 1231326.5344 | 2721965.9525 | 1231328.3847
58 | 2721954.7748 | 1231325.6868 | 2721951.8851 | 1231330.6426 | 2721947.1745 | 1231348.2442
59 | 2721949.5086 | 1231246.3815 | 2721937.6068 | 1231255.9785 | 2721931.5877 | 1231260.2251
60 | 2721959.364 | 1231317.8232 | 2721967.225 | 1231304.3535
61 | 2721965.9525 | 1231328.3847 | 2721969.9919 | 1231330.247 | 2721970.5804 | 1231331.4712 | 2721970.9421 | 1231331.6532
62 | 2721943.9716 | 1231360.3656 | 2721944.32 | 1231358.9102 | 2721947.1745 | 1231348.2442
63 | 2721943.9716 | 1231360.3656 | 2721942.3631 | 1231367.0844
64 | 2721942.3631 | 1231367.0844 | 2721938.6566 | 1231382.5664
65 | 2721938.6566 | 1231382.5664 | 2721935.5698 | 1231395.4603 | 2721935.4588 | 1231395.7867
66 | 2721935.4588 | 1231395.7867 | 2721928.6344 | 1231415.8546
67 | 2721973.932 | 1231289.8694 | 2721968.2803 | 1231302.5452 | 2721967.225 | 1231304.3535
68 | 2721970.9421 | 1231331.6532 | 2721977.5164 | 1231334.9608 | 2721978.9068 | 1231336.6128 | 2721978.6802 | 1231347.6504 | 2721990.1071 | 1231355.2688 | 2721990.7779 | 1231359.4971 | 2721989.3481 | 1231362.3478 | 2721989.3481 | 1231362.3478
69 | 2721927.6123 | 1231418.8604 | 2721928.6344 | 1231415.8546
70 | 2721978.1572 | 1231278.6619 | 2721977.286 | 1231282.347 | 2721973.932 | 1231289.8694
71 | 2721990.873 | 1231366.6715 | 2721989.3481 | 1231362.3478
72 | 2721978.1572 | 1231278.6619 | 2721979.8309 | 1231271.5772
73 | 2721978.1572 | 1231278.6619 | 2721990.0331 | 1231291.7271 | 2721993.3221 | 1231293.5183 | 2721997.5866 | 1231292.8163 | 2721997.6016 | 1231292.8024
74 | 2721979.8309 | 1231271.5772 | 2721980.9254 | 1231266.9447
75 | 2722018.0294 | 1231267.2152 | 2722001.3088 | 1231289.3788 | 2721997.6016 | 1231292.8024
76 | 2721987.9771 | 1231250.6853 | 2721982.6044 | 1231259.8379 | 2721980.9254 | 1231266.9447
77 | 2722034.2329 | 1231295.6625 | 2722033.2328 | 1231300.1093 | 2722030.0422 | 1231308.6507 | 2722025.0697 | 1231316.8997 | 2722020.5846 | 1231323.1794 | 2722020.2741 | 1231326.3959
78 | 2722020.1071 | 1231328.1261 | 2722020.2741 | 1231326.3959
79 | 2722018.9005 | 1231340.6256 | 2722020.1071 | 1231328.1261
80 | 2722018.9005 | 1231340.6256 | 2721999.0596 | 1231349.47 | 2721999.0596 | 1231349.47
81 | 2721999.0596 | 1231349.47 | 2721995.3672 | 1231354.0424 | 2721994.134 | 1231358.072
82 | 2722031.9896 | 1231362.9455 | 2722038.4712 | 1231359.3201 | 2722045.6206 | 1231356.4757 | 2722049.9542 | 1231352.8898
83 | 2721990.873 | 1231366.6715 | 2721992.6549 | 1231362.905 | 2721994.134 | 1231358.072
84 | 2722049.9542 | 1231352.8898 | 2722053.2657 | 1231350.1497 | 2722057.2843 | 1231345.1748
85 | 2721984.1807 | 1231380.8345 | 2721990.873 | 1231366.6715
86 | 2721927.6123 | 1231418.8604 | 2721925.5087 | 1231430.2109
87 | 2721927.6123 | 1231418.8604 | 2721923.5046 | 1231419.6768
88 | 2721925.5087 | 1231430.2109 | 2721924.2645 | 1231436.9247
89 | 2721923.5046 | 1231419.6768 | 2721923.5046 | 1231419.6768 | 2721921.4179 | 1231422.0582 | 2721917.4321 | 1231443.149 | 2721916.754 | 1231444.7095
90 | 2721898.6118 | 1231447.1149 | 2721899.0067 | 1231455.0252 | 2721899.7775 | 1231456.9648 | 2721901.3752 | 1231458.1096 | 2721903.4081 | 1231458.3515 | 2721906.062 | 1231457.4941 | 2721911.9401 | 1231453.4669 | 2721914.5537 | 1231449.7731 | 2721916.754 | 1231444.7095
91 | 2721921.0414 | 1231450.574 | 2721922.8842 | 1231444.3729 | 2721924.2645 | 1231436.9247
92 | 2721916.2698 | 1231466.6306 | 2721921.0414 | 1231450.574
93 | 2722081.4681 | 1231309.6071 | 2722068.0743 | 1231331.8167 | 2722057.2843 | 1231345.1748
94 | 2722129.8319 | 1231369.4375 | 2722133.1589 | 1231364.5908 | 2722134.2434 | 1231351.636 | 2722128.8965 | 1231346.9457
95 | 2722129.8319 | 1231369.4375 | 2722178.0403 | 1231435.5702
96 | 2722178.0403 | 1231435.5702 | 2722163.2519 | 1231446.653

## bus_geodata
| x | y | coords
0 | 2721729.3727 | 1231198.9042
1 | 2721724.3442 | 1231248.2358
2 | 2721647.8302 | 1231140.4276
3 | 2721705.9905 | 1231267.8829
4 | 2721667.8509 | 1231116.518
5 | 2721618.9185 | 1231097.9353
6 | 2721570.6227 | 1231133.7543
7 | 2721892.6312 | 1231221.5063
8 | 2721895.8145 | 1231212.2794
9 | 2721936.6331 | 1231229.0463
10 | 2721696.4717 | 1231267.87
11 | 2721809.72 | 1231363.2167
12 | 2721825.8638 | 1231346.4379
13 | 2721842.6079 | 1231329.0854
14 | 2721795.4851 | 1231379.9935
15 | 2721915.9578 | 1231194.5195
16 | 2722044.4607 | 1231407.1021
17 | 2722046.781 | 1231405.8282
18 | 2722026.1913 | 1231413.1448
19 | 2722082.2542 | 1231361.1316
20 | 2722016.064 | 1231405.3307
21 | 2722035.5623 | 1231494.2915
22 | 2722101.2833 | 1231338.1424
23 | 2722015.6875 | 1231391.9209
24 | 2722108.8525 | 1231329.3632
25 | 2722016.6021 | 1231375.4398
26 | 2721774.1933 | 1231409.6708
27 | 2721787.0119 | 1231390.5538
28 | 2721770.8925 | 1231414.9398
29 | 2721788.5945 | 1231388.3533
30 | 2721821.7045 | 1231430.2537
31 | 2721860.7156 | 1231310.9567
32 | 2721883.2282 | 1231289.7563
33 | 2721888.5774 | 1231285.0522
34 | 2721898.4267 | 1231302.1633
35 | 2721897.5251 | 1231278.2576
36 | 2721903.8962 | 1231310.142
37 | 2721907.936 | 1231272.7614
38 | 2721925.3305 | 1231305.8558
39 | 2721912.289 | 1231261.6662
40 | 2721832.7297 | 1231377.0922
41 | 2721847.8155 | 1231382.3065
42 | 2721859.8707 | 1231384.4883
43 | 2721866.1432 | 1231372.5073
44 | 2721882.8783 | 1231341.1101
45 | 2721885.8332 | 1231337.2046
46 | 2721900.0111 | 1231343.684
47 | 2721909.3477 | 1231347.9509
48 | 2721931.1796 | 1231310.7464
49 | 2721916.8357 | 1231337.4516
50 | 2721933.4831 | 1231310.36
51 | 2721944.4262 | 1231322.3317
52 | 2721943.4356 | 1231300.4954
53 | 2721954.7748 | 1231325.6868
54 | 2721931.5877 | 1231260.2251
55 | 2721949.5086 | 1231246.3815
56 | 2721959.364 | 1231317.8232
57 | 2721965.9525 | 1231328.3847
58 | 2721947.1745 | 1231348.2442
59 | 2721943.9716 | 1231360.3656
60 | 2721942.3631 | 1231367.0844
61 | 2721938.6566 | 1231382.5664
62 | 2721935.4588 | 1231395.7867
63 | 2721967.225 | 1231304.3535
64 | 2721970.9421 | 1231331.6532
65 | 2721928.6344 | 1231415.8546
66 | 2721973.932 | 1231289.8694
67 | 2721989.3481 | 1231362.3478
68 | 2721978.1572 | 1231278.6619
69 | 2721979.8309 | 1231271.5772
70 | 2721997.6016 | 1231292.8024
71 | 2721980.9254 | 1231266.9447
72 | 2722018.0294 | 1231267.2152
73 | 2721987.9771 | 1231250.6853
74 | 2722034.2329 | 1231295.6625
75 | 2722020.2741 | 1231326.3959
76 | 2722020.1071 | 1231328.1261
77 | 2722018.9005 | 1231340.6256
78 | 2721999.0596 | 1231349.47
79 | 2722031.9896 | 1231362.9455
80 | 2721994.134 | 1231358.072
81 | 2722049.9542 | 1231352.8898
82 | 2721990.873 | 1231366.6715
83 | 2721984.1807 | 1231380.8345
84 | 2721927.6123 | 1231418.8604
85 | 2721925.5087 | 1231430.2109
86 | 2721923.5046 | 1231419.6768
87 | 2721916.754 | 1231444.7095
88 | 2721898.6118 | 1231447.1149
89 | 2721924.2645 | 1231436.9247
90 | 2721921.0414 | 1231450.574
91 | 2721916.2698 | 1231466.6306
92 | 2722057.2843 | 1231345.1748
93 | 2722081.4681 | 1231309.6071
94 | 2722128.8965 | 1231346.9457
95 | 2722129.8319 | 1231369.4375
96 | 2722178.0403 | 1231435.5702
97 | 2722163.2519 | 1231446.653
98 | 2721909.3477 | 1231347.9509

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1