## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-29_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-29_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-29_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3341-29_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3341-29_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3341-29_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3341-29_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3341-29_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3341-29_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3341-29_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3341-29_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3341-29_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3341-29_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3341-29_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_3341-29_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_3341-29_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3341-29_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3341-29_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_3341-29_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_3341-29_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3341-29_0_2_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_3341-29_0_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_3341-29_0_2_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_3341-29_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_3341-29_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3341-29_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3341-29_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3341-29_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3341-29_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3341-29_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3341-29_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3341-29_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3341-29_0_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_3341-29_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3341-29_0_2_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_3341-29_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_3341-29_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3341-29_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3341-29_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3341-29_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_3341-29_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3341-29_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3341-29_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3341-29_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_3341-29_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3341-29_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3341-29_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_3341-29_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3341-29_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3341-29_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_3341-29_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_3341-29_0_2_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3341-29_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3341-29_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3341-29_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3341-29_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3341-29_0_2_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_3341-29_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3341-29_0_2_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_3341-29_0_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_3341-29_0_2_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_3341-29_0_2_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3341-29_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_3341-29_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3341-29_0_2_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3341-29_0_2_node_62 | 0.4 | n |  | TRUE
66 | bus_MV_10_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-29_0_2_load_0 | 0 | 0.002345 | 0.00058771 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-29_0_2_load_1 | 1 | 0.003119 | 0.00078169 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-29_0_2_load_2 | 2 | 0.0011748 | 0.00029443 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-29_0_2_load_4 | 4 | 0.0052765 | 0.0013224 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-29_0_2_load_5 | 5 | 0.0026377 | 0.00066107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-29_0_2_load_6 | 6 | 0.0027593 | 0.00069155 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-29_0_2_load_9 | 7 | 0.0034838 | 0.00087313 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-29_0_2_load_7 | 8 | 0.0053526 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-29_0_2_load_8 | 10 | 0.0027303 | 0.00068428 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-29_0_2_load_11 | 11 | 0.0054506 | 0.0013661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-29_0_2_load_12 | 12 | 0.0030511 | 0.00076467 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-29_0_2_load_13 | 13 | 0.0028539 | 0.00071525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-29_0_2_load_14 | 14 | 0.0038461 | 0.00096392 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-29_0_2_load_16 | 16 | 0.0045535 | 0.0011412 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-29_0_2_load_17 | 17 | 0.0029837 | 0.0007478 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-29_0_2_load_18 | 18 | 0.0011442 | 0.00028675 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-29_0_2_load_19 | 19 | 0.0025506 | 0.00063924 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-29_0_2_load_55 | 20 | 0.0063238 | 0.0015849 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-29_0_2_load_28 | 21 | 0.0030966 | 0.00077608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-29_0_2_load_20 | 24 | 0.0043229 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-29_0_2_load_21 | 25 | 0.0010323 | 0.00025871 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-29_0_2_load_24 | 28 | 0.0027539 | 0.00069019 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-29_0_2_load_29 | 31 | 0.0028633 | 0.0007176 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-29_0_2_load_30 | 33 | 0.003625 | 0.00090851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-29_0_2_load_60 | 34 | 0.0075848 | 0.0019009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-29_0_2_load_34 | 37 | 0.0019815 | 0.00049662 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-29_0_2_load_35 | 38 | 0.002578 | 0.00064612 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-29_0_2_load_36 | 39 | 0.00046366 | 0.0001162 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-29_0_2_load_37 | 40 | 0.0026221 | 0.00065715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-29_0_2_load_38 | 41 | 0.0020168 | 0.00050545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-29_0_2_load_42 | 43 | 0.0047834 | 0.0011988 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-29_0_2_load_39 | 44 | 0.0010211 | 0.00025591 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-29_0_2_load_40 | 45 | 0.00058621 | 0.00014692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-29_0_2_load_46 | 46 | 0.0049464 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-29_0_2_load_43 | 47 | 0.002576 | 0.00064561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-29_0_2_load_44 | 48 | 0.0013519 | 0.00033882 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-29_0_2_load_45 | 49 | 0.0013623 | 0.00034143 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-29_0_2_load_47 | 50 | 0.0022758 | 0.00057036 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-29_0_2_load_49 | 51 | 0.0023676 | 0.00059338 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-29_0_2_load_50 | 52 | 0.0023398 | 0.00058641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-29_0_2_load_52 | 54 | 0.0023291 | 0.00058372 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-29_0_2_load_53 | 55 | 0.0013438 | 0.00033679 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-29_0_2_load_65 | 56 | 0.0066656 | 0.0016706 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-29_0_2_load_66 | 58 | 0.0032404 | 0.00081211 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-29_0_2_load_64 | 59 | 0.00067081 | 0.00016812 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-29_0_2_load_58 | 60 | 0.0014327 | 0.00035906 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-29_0_2_load_56 | 61 | 0.0013976 | 0.00035026 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-29_0_2_load_59 | 62 | 0.00076092 | 0.00019071 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-29_0_2_load_57 | 63 | 0.0043249 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-29_0_2_load_63 | 64 | 0.0033618 | 0.00084255 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-29_0_2_load_62 | 65 | 0.0084185 | 0.0021099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-29_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-29_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0047448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-29_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-29_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-29_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0020791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-29_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0025707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-29_0_2_line_6 | NAYY 4x150 SE | 6 | 9 | 0.013334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-29_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.022244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-29_0_2_line_8 | NAYY 4x150 SE | 8 | 10 | 0.030119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-29_0_2_line_9 | NAYY 4x150 SE | 9 | 11 | 0.015352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-29_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.058862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-29_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0083428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-29_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.012602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-29_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.013205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-29_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0026044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-29_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.044974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-29_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.023993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-29_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.015746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-29_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.015364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-29_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.020831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-29_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.019663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-29_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.032638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-29_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.0054421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-29_0_2_line_23 | NAYY 4x150 SE | 22 | 43 | 0.04002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-29_0_2_line_24 | NAYY 4x150 SE | 22 | 46 | 0.015856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-29_0_2_line_25 | NAYY 4x150 SE | 22 | 45 | 0.011855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-29_0_2_line_26 | NAYY 4x150 SE | 23 | 29 | 0.014155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-29_0_2_line_27 | NAYY 4x150 SE | 23 | 27 | 0.017688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-29_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0097303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-29_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.030821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-29_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.047259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-29_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.003598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-29_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.016747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-29_0_2_line_33 | NAYY 4x150 SE | 29 | 33 | 0.0054038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-29_0_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.026598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-29_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.001306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-29_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.030545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-29_0_2_line_37 | NAYY 4x150 SE | 34 | 65 | 0.025824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-29_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.021044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-29_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-29_0_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.015448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-29_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.028935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-29_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.030196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-29_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.018523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-29_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.02318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-29_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.041913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-29_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.009121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-29_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.0059638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-29_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.023304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-29_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.010133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-29_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0063763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-29_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.030665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-29_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.00095719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-29_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.013108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-29_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.010105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-29_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.01626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-29_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.068474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-29_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-29_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.010397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-29_0_2_line_59 | NAYY 4x150 SE | 56 | 59 | 0.013048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-29_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.0028293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-29_0_2_line_61 | NAYY 4x150 SE | 57 | 61 | 0.017677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-29_0_2_line_62 | NAYY 4x150 SE | 59 | 64 | 2.3466e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-29_0_2_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0066436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-29_0_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.035817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-29_0_2_trafo_16 | 0.25 MVA 20/0.4 kV | 66 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2720691.056 | 1233103.3642 | 2720678.3672 | 1233124.8647
1 | 2720691.056 | 1233103.3642 | 2720693.4675 | 1233099.2779
2 | 2720660.1514 | 1233153.3429 | 2720669.8898 | 1233139.2293 | 2720678.3672 | 1233124.8647
3 | 2720693.4675 | 1233099.2779 | 2720705.4556 | 1233078.9647
4 | 2720660.1514 | 1233153.3429 | 2720658.7499 | 1233154.8787
5 | 2720706.7622 | 1233076.7507 | 2720705.4556 | 1233078.9647
6 | 2720713.5394 | 1233065.267 | 2720706.7622 | 1233076.7507
7 | 2720642.2141 | 1233066.2642 | 2720654.2612 | 1233047.5644
8 | 2720654.2612 | 1233047.5644 | 2720669.9836 | 1233023.1598 | 2720670.6334 | 1233022.2869
9 | 2720713.5394 | 1233065.267 | 2720721.3985 | 1233052.0795
10 | 2720721.3985 | 1233052.0795 | 2720670.6334 | 1233022.2869
11 | 2720721.3985 | 1233052.0795 | 2720725.6694 | 1233044.9128
12 | 2720732.121 | 1233034.087 | 2720725.6694 | 1233044.9128
13 | 2720732.121 | 1233034.087 | 2720738.8813 | 1233022.7433
14 | 2720740.2146 | 1233020.5061 | 2720738.8813 | 1233022.7433
15 | 2720740.2146 | 1233020.5061 | 2720751.314 | 1233023.6563 | 2720755.4376 | 1233024.9745 | 2720759.1957 | 1233027.1303 | 2720762.4163 | 1233030.0203 | 2720764.9066 | 1233033.4403 | 2720766.638 | 1233037.312 | 2720767.531 | 1233041.4445 | 2720767.9869 | 1233049.1789
16 | 2720740.2146 | 1233020.5061 | 2720752.4769 | 1232999.8831
17 | 2720768.9135 | 1233064.8974 | 2720767.9869 | 1233049.1789
18 | 2720752.4769 | 1232999.8831 | 2720760.3291 | 1232986.6771
19 | 2720770.1393 | 1233085.6928 | 2720768.9135 | 1233064.8974
20 | 2720760.3291 | 1232986.6771 | 2720767.849 | 1232974.03 | 2720770.3776 | 1232969.7756
21 | 2720776.1554 | 1233117.5144 | 2720771.0729 | 1233101.5316 | 2720770.1393 | 1233085.6928
22 | 2720773.158 | 1232965.0973 | 2720770.3776 | 1232969.7756
23 | 2720776.1554 | 1233117.5144 | 2720789.4897 | 1233155.2475
24 | 2720776.1554 | 1233117.5144 | 2720788.7695 | 1233113.9568 | 2720791.5082 | 1233113.712
25 | 2720776.1554 | 1233117.5144 | 2720764.7449 | 1233120.7296
26 | 2720773.158 | 1232965.0973 | 2720784.8319 | 1232973.1521
27 | 2720781.7507 | 1232949.6261 | 2720776.4522 | 1232959.1595 | 2720773.158 | 1232965.0973
28 | 2720726.2904 | 1232953.8718 | 2720730.2333 | 1232955.6399 | 2720735.642 | 1232955.5831
29 | 2720723.8325 | 1232925.5079 | 2720722.6614 | 1232930.2101 | 2720721.1473 | 1232943.9682 | 2720721.3596 | 1232948.7986 | 2720724.2591 | 1232952.9609 | 2720726.2904 | 1232953.8718
30 | 2720781.7507 | 1232949.6261 | 2720769.9206 | 1232947.762 | 2720758.6253 | 1232949.0224 | 2720743.7641 | 1232952.8236 | 2720735.642 | 1232955.5831
31 | 2720723.8325 | 1232925.5079 | 2720725.8647 | 1232922.5387
32 | 2720784.8319 | 1232973.1521 | 2720796.1567 | 1232967.0885 | 2720798.8279 | 1232964.2454
33 | 2720784.8319 | 1232973.1521 | 2720782.8576 | 1232978.1823
34 | 2720820.6076 | 1232949.4378 | 2720808.5584 | 1232955.7425 | 2720803.7122 | 1232959.0466 | 2720798.8279 | 1232964.2454
35 | 2720820.6076 | 1232949.4378 | 2720821.9063 | 1232949.2641
36 | 2720821.9063 | 1232949.2641 | 2720823.0426 | 1232967.8689 | 2720818.8244 | 1232976.4122 | 2720817.1916 | 1232978.1406
37 | 2720799.4581 | 1232996.9129 | 2720817.1916 | 1232978.1406
38 | 2720682.2452 | 1233227.0398 | 2720685.006 | 1233226.462 | 2720687.7404 | 1233226.8178 | 2720696.9747 | 1233227.0722 | 2720699.1773 | 1233226.7611 | 2720702.4081 | 1233224.3025
39 | 2720682.2452 | 1233227.0398 | 2720695.2423 | 1233235.922 | 2720695.863 | 1233243.0181
40 | 2720702.4081 | 1233224.3025 | 2720710.3695 | 1233221.9735 | 2720717.52 | 1233221.8003
41 | 2720717.52 | 1233221.8003 | 2720728.5924 | 1233221.5321 | 2720736.6468 | 1233219.8499 | 2720743.114 | 1233217.2681 | 2720745.3694 | 1233215.8437
42 | 2720745.3694 | 1233215.8437 | 2720751.2001 | 1233212.1615 | 2720760.631 | 1233208.7059 | 2720771.9554 | 1233206.3674 | 2720773.6368 | 1233206.1715
43 | 2720773.6368 | 1233206.1715 | 2720783.9801 | 1233204.9662 | 2720787.5102 | 1233203.8037 | 2720791.1647 | 1233201.3648
44 | 2720811.08 | 1233190.7054 | 2720801.9491 | 1233198.3927 | 2720798.3276 | 1233199.9537 | 2720791.1647 | 1233201.3648 | 2720791.1647 | 1233201.3648
45 | 2720811.08 | 1233190.7054 | 2720801.1832 | 1233179.4508 | 2720791.4377 | 1233160.7599 | 2720789.4897 | 1233155.2475
46 | 2720759.4094 | 1233128.1272 | 2720764.7449 | 1233120.7296 | 2720764.7449 | 1233120.7296
47 | 2720797.4483 | 1233113.181 | 2720791.5082 | 1233113.712
48 | 2720817.1094 | 1233102.7904 | 2720806.0988 | 1233112.4077 | 2720797.4483 | 1233113.181
49 | 2720817.1094 | 1233102.7904 | 2720817.1094 | 1233102.7904 | 2720821.9346 | 1233093.8798
50 | 2720824.9708 | 1233088.2728 | 2720821.9346 | 1233093.8798
51 | 2720824.9708 | 1233088.2728 | 2720835.3108 | 1233069.1777 | 2720841.4167 | 1233062.634
52 | 2720841.4167 | 1233062.634 | 2720842.0697 | 1233061.9341
53 | 2720851.0124 | 1233052.35 | 2720842.0697 | 1233061.9341
54 | 2720851.0124 | 1233052.35 | 2720857.4422 | 1233044.5411
55 | 2720851.0124 | 1233052.35 | 2720840.0431 | 1233040.3479
56 | 2720857.4422 | 1233044.5411 | 2720903.8705 | 1232994.2114
57 | 2720829.431 | 1233028.7367 | 2720840.0431 | 1233040.3479
58 | 2720903.8705 | 1232994.2114 | 2720903.8705 | 1232994.2114 | 2720914.2209 | 1232993.2322
59 | 2720894.5282 | 1232985.1029 | 2720903.8705 | 1232994.2114
60 | 2720829.431 | 1233028.7367 | 2720831.155 | 1233026.4934
61 | 2720829.431 | 1233028.7367 | 2720818.4283 | 1233042.5717
62 | 2720894.5282 | 1232985.1029 | 2720894.5282 | 1232985.1029 | 2720894.5213 | 1232985.0805
63 | 2720835.2034 | 1233021.2258 | 2720831.155 | 1233026.4934
64 | 2720796.1341 | 1233070.6048 | 2720818.4283 | 1233042.5717

## bus_geodata
| x | y | coords
0 | 2720691.056 | 1233103.3642
1 | 2720678.3672 | 1233124.8647
2 | 2720693.4675 | 1233099.2779
3 | 2720660.1514 | 1233153.3429
4 | 2720705.4556 | 1233078.9647
5 | 2720658.7499 | 1233154.8787
6 | 2720706.7622 | 1233076.7507
7 | 2720642.2141 | 1233066.2642
8 | 2720654.2612 | 1233047.5644
9 | 2720713.5394 | 1233065.267
10 | 2720670.6334 | 1233022.2869
11 | 2720721.3985 | 1233052.0795
12 | 2720725.6694 | 1233044.9128
13 | 2720732.121 | 1233034.087
14 | 2720738.8813 | 1233022.7433
15 | 2720740.2146 | 1233020.5061
16 | 2720767.9869 | 1233049.1789
17 | 2720752.4769 | 1232999.8831
18 | 2720768.9135 | 1233064.8974
19 | 2720760.3291 | 1232986.6771
20 | 2720770.1393 | 1233085.6928
21 | 2720770.3776 | 1232969.7756
22 | 2720776.1554 | 1233117.5144
23 | 2720773.158 | 1232965.0973
24 | 2720726.2904 | 1232953.8718
25 | 2720735.642 | 1232955.5831
26 | 2720723.8325 | 1232925.5079
27 | 2720781.7507 | 1232949.6261
28 | 2720725.8647 | 1232922.5387
29 | 2720784.8319 | 1232973.1521
30 | 2720820.6076 | 1232949.4378
31 | 2720798.8279 | 1232964.2454
32 | 2720821.9063 | 1232949.2641
33 | 2720782.8576 | 1232978.1823
34 | 2720817.1916 | 1232978.1406
35 | 2720682.2452 | 1233227.0398
36 | 2720702.4081 | 1233224.3025
37 | 2720695.863 | 1233243.0181
38 | 2720717.52 | 1233221.8003
39 | 2720745.3694 | 1233215.8437
40 | 2720773.6368 | 1233206.1715
41 | 2720791.1647 | 1233201.3648
42 | 2720811.08 | 1233190.7054
43 | 2720789.4897 | 1233155.2475
44 | 2720759.4094 | 1233128.1272
45 | 2720764.7449 | 1233120.7296
46 | 2720791.5082 | 1233113.712
47 | 2720817.1094 | 1233102.7904
48 | 2720797.4483 | 1233113.181
49 | 2720821.9346 | 1233093.8798
50 | 2720824.9708 | 1233088.2728
51 | 2720841.4167 | 1233062.634
52 | 2720842.0697 | 1233061.9341
53 | 2720851.0124 | 1233052.35
54 | 2720857.4422 | 1233044.5411
55 | 2720840.0431 | 1233040.3479
56 | 2720903.8705 | 1232994.2114
57 | 2720829.431 | 1233028.7367
58 | 2720914.2209 | 1232993.2322
59 | 2720894.5282 | 1232985.1029
60 | 2720831.155 | 1233026.4934
61 | 2720818.4283 | 1233042.5717
62 | 2720835.2034 | 1233021.2258
63 | 2720796.1341 | 1233070.6048
64 | 2720894.5213 | 1232985.0805
65 | 2720799.4581 | 1232996.9129
66 | 2720740.2146 | 1233020.5061

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1