## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3341-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3341-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3341-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3341-3_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_3341-3_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_3341-3_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3341-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3341-3_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_3341-3_0_3_node_116 | 0.4 | n |  | TRUE
12 | bus_LV_3341-3_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_3341-3_0_3_node_128 | 0.4 | n |  | TRUE
14 | bus_LV_3341-3_0_3_node_126 | 0.4 | n |  | TRUE
15 | bus_LV_3341-3_0_3_node_130 | 0.4 | n |  | TRUE
16 | bus_LV_3341-3_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3341-3_0_3_node_145 | 0.4 | n |  | TRUE
18 | bus_LV_3341-3_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_3341-3_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3341-3_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3341-3_0_3_node_129 | 0.4 | n |  | TRUE
22 | bus_LV_3341-3_0_3_node_127 | 0.4 | n |  | TRUE
23 | bus_LV_3341-3_0_3_node_131 | 0.4 | n |  | TRUE
24 | bus_LV_3341-3_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3341-3_0_3_node_133 | 0.4 | n |  | TRUE
26 | bus_LV_3341-3_0_3_node_132 | 0.4 | n |  | TRUE
27 | bus_LV_3341-3_0_3_node_137 | 0.4 | n |  | TRUE
28 | bus_LV_3341-3_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_3341-3_0_3_node_136 | 0.4 | n |  | TRUE
30 | bus_LV_3341-3_0_3_node_135 | 0.4 | n |  | TRUE
31 | bus_LV_3341-3_0_3_node_140 | 0.4 | n |  | TRUE
32 | bus_LV_3341-3_0_3_node_138 | 0.4 | n |  | TRUE
33 | bus_LV_3341-3_0_3_node_139 | 0.4 | n |  | TRUE
34 | bus_LV_3341-3_0_3_node_134 | 0.4 | n |  | TRUE
35 | bus_LV_3341-3_0_3_node_141 | 0.4 | n |  | TRUE
36 | bus_LV_3341-3_0_3_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_3341-3_0_3_node_142 | 0.4 | n |  | TRUE
38 | bus_LV_3341-3_0_3_node_124 | 0.4 | n |  | TRUE
39 | bus_LV_3341-3_0_3_node_143 | 0.4 | n |  | TRUE
40 | bus_LV_3341-3_0_3_node_144 | 0.4 | n |  | TRUE
41 | bus_LV_3341-3_0_3_node_120 | 0.4 | n |  | TRUE
42 | bus_LV_3341-3_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3341-3_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_3341-3_0_3_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_3341-3_0_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_3341-3_0_3_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_3341-3_0_3_node_108 | 0.4 | n |  | TRUE
48 | bus_LV_3341-3_0_3_node_105 | 0.4 | n |  | TRUE
49 | bus_LV_3341-3_0_3_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_3341-3_0_3_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_3341-3_0_3_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_3341-3_0_3_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_3341-3_0_3_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_3341-3_0_3_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_3341-3_0_3_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_3341-3_0_3_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_3341-3_0_3_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_3341-3_0_3_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_3341-3_0_3_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_3341-3_0_3_node_113 | 0.4 | n |  | TRUE
61 | bus_LV_3341-3_0_3_node_114 | 0.4 | n |  | TRUE
62 | bus_LV_3341-3_0_3_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_3341-3_0_3_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_3341-3_0_3_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_3341-3_0_3_node_119 | 0.4 | n |  | TRUE
66 | bus_LV_3341-3_0_3_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_3341-3_0_3_node_123 | 0.4 | n |  | TRUE
68 | bus_LV_3341-3_0_3_node_125 | 0.4 | n |  | TRUE
69 | bus_MV_10_1_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-3_0_3_load_0 | 0 | 0.0025148 | 0.00063028 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-3_0_3_load_1 | 1 | 0.0014478 | 0.00036286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-3_0_3_load_3 | 3 | 0.0027962 | 0.00070078 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-3_0_3_load_45 | 6 | 0.0014285 | 0.00035802 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-3_0_3_load_12 | 7 | 0.00059489 | 0.00014909 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-3_0_3_load_7 | 8 | 0.00064978 | 0.00016285 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-3_0_3_load_116 | 11 | 0.0012769 | 0.00032002 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-3_0_3_load_43 | 12 | 0.00049025 | 0.00012287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-3_0_3_load_128 | 13 | 0.0022908 | 0.00057414 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-3_0_3_load_126 | 14 | 0.00093069 | 0.00023325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-3_0_3_load_130 | 15 | 0.00094053 | 0.00023572 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-3_0_3_load_145 | 17 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-3_0_3_load_10 | 19 | 0.0012878 | 0.00032275 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-3_0_3_load_129 | 21 | 0.0013966 | 0.00035002 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-3_0_3_load_127 | 22 | 0.0010836 | 0.00027157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-3_0_3_load_131 | 23 | 0.001377 | 0.00034511 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-3_0_3_load_133 | 25 | 0.0014954 | 0.00037477 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-3_0_3_load_132 | 26 | 0.0013997 | 0.0003508 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-3_0_3_load_137 | 27 | 0.0014314 | 0.00035875 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-3_0_3_load_56 | 28 | 0.0010989 | 0.00027541 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-3_0_3_load_136 | 29 | 0.0013455 | 0.0003372 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-3_0_3_load_135 | 30 | 0.0011809 | 0.00029596 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-3_0_3_load_140 | 31 | 0.0013308 | 0.00033354 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-3_0_3_load_138 | 32 | 0.0013927 | 0.00034905 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-3_0_3_load_139 | 33 | 0.0044249 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-3_0_3_load_134 | 34 | 0.0033738 | 0.00084555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-3_0_3_load_141 | 35 | 0.0030787 | 0.0007716 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-3_0_3_load_142 | 37 | 0.003715 | 0.00093106 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-3_0_3_load_124 | 38 | 0.0052737 | 0.0013217 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-3_0_3_load_143 | 39 | 0.0013723 | 0.00034393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-3_0_3_load_144 | 40 | 0.0027898 | 0.0006992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-3_0_3_load_120 | 41 | 0.0024189 | 0.00060623 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-3_0_3_load_97 | 44 | 0.00056769 | 0.00014228 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-3_0_3_load_105 | 48 | 0.001151 | 0.00028846 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-3_0_3_load_103 | 49 | 0.0027753 | 0.00069555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-3_0_3_load_100 | 50 | 0.004315 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-3_0_3_load_101 | 51 | 0.0035492 | 0.0008895 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-3_0_3_load_102 | 52 | 0.0033015 | 0.00082743 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-3_0_3_load_104 | 53 | 0.0033299 | 0.00083455 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-3_0_3_load_106 | 54 | 0.0034304 | 0.00085975 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-3_0_3_load_107 | 55 | 0.00497 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-3_0_3_load_111 | 56 | 0.0019054 | 0.00047754 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-3_0_3_load_109 | 57 | 0.0016481 | 0.00041305 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-3_0_3_load_112 | 58 | 0.0033166 | 0.00083121 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-3_0_3_load_121 | 59 | 0.0022291 | 0.00055867 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-3_0_3_load_113 | 60 | 0.0019798 | 0.00049618 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-3_0_3_load_114 | 61 | 0.0013683 | 0.00034294 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-3_0_3_load_115 | 62 | 0.0028777 | 0.00072122 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-3_0_3_load_117 | 63 | 0.0020922 | 0.00052437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-3_0_3_load_119 | 65 | 0.0020532 | 0.00051459 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-3_0_3_load_122 | 66 | 0.0028844 | 0.00072291 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-3_0_3_load_125 | 68 | 0.00096256 | 0.00024124 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.050733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.5425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.006022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.10133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-3_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.076085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-3_0_3_line_8 | NAYY 4x150 SE | 5 | 12 | 0.007989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-3_0_3_line_9 | NAYY 4x150 SE | 6 | 42 | 0.058564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-3_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.008378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3341-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.054156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-3_0_3_line_12 | NAYY 4x150 SE | 10 | 15 | 0.026895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3341-3_0_3_line_13 | NAYY 4x150 SE | 11 | 61 | 0.018765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-3_0_3_line_14 | NAYY 4x150 SE | 12 | 18 | 0.1506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-3_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3341-3_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.017489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3341-3_0_3_line_17 | NAYY 4x150 SE | 14 | 68 | 0.020793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3341-3_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.035281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-3_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.057324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-3_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.028929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-3_0_3_line_21 | NAYY 4x150 SE | 20 | 24 | 0.61372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-3_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.018835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3341-3_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.02053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-3_0_3_line_24 | NAYY 4x150 SE | 22 | 68 | 0.019353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3341-3_0_3_line_25 | NAYY 4x150 SE | 23 | 34 | 0.0026694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-3_0_3_line_26 | NAYY 4x150 SE | 24 | 28 | 0.049349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-3_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0069517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-3_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.01866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-3_0_3_line_29 | NAYY 4x150 SE | 26 | 41 | 0.020005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-3_0_3_line_30 | NAYY 4x150 SE | 27 | 32 | 0.0027507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-3_0_3_line_31 | NAYY 4x150 SE | 28 | 42 | 0.31749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-3_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.021323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-3_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.019678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-3_0_3_line_34 | NAYY 4x150 SE | 30 | 34 | 0.016633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-3_0_3_line_35 | NAYY 4x150 SE | 31 | 35 | 0.0049602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-3_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0091083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-3_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.24352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-3_0_3_line_38 | NAYY 4x150 SE | 36 | 45 | 0.14272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-3_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.028335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-3_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.00090951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-3_0_3_line_41 | NAYY 4x150 SE | 38 | 67 | 0.016017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-3_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.024824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-3_0_3_line_43 | NAYY 4x150 SE | 40 | 49 | 0.0039174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-3_0_3_line_44 | NAYY 4x150 SE | 41 | 64 | 0.011517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-3_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.46142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-3_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0082952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-3_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-3_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.006007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-3_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.024625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-3_0_3_line_50 | NAYY 4x150 SE | 47 | 57 | 0.0048291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-3_0_3_line_51 | NAYY 4x150 SE | 48 | 54 | 0.014901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-3_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.020059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-3_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.010774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-3_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.015955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-3_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0075349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-3_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0043541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.019353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-3_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.018781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-3_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.013846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-3_0_3_line_60 | NAYY 4x150 SE | 59 | 67 | 0.0090279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-3_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0023038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-3_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.024095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-3_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0058125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-3_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.017295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-3_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.013514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-3_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.053602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-3_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.010042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-3_0_3_trafo_129 | 0.25 MVA 20/0.4 kV | 69 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60
0 | 2721170.3913 | 1233564.9416 | 2721140.4857 | 1233557.5174 | 2721130.6289 | 1233552.5347 | 2721124.3658 | 1233549.9494 | 2721121.5115 | 1233546.1993
1 | 2721220.9439 | 1233565.8979 | 2721206.2871 | 1233566.4216 | 2721193.4019 | 1233565.1134 | 2721173.5257 | 1233565.7197 | 2721170.3913 | 1233564.9416
2 | 2721121.5115 | 1233546.1993 | 2721121.5115 | 1233546.1993 | 2721120.6052 | 1233541.2546 | 2721122.7949 | 1233521.509
3 | 2721231.5858 | 1233560.6107 | 2721220.9439 | 1233565.8979
4 | 2721220.9439 | 1233565.8979 | 2721229.7304 | 1233592.1428 | 2721244.8016 | 1233586.5234 | 2721255.0187 | 1233586.4652 | 2721258.7406 | 1233591.1115 | 2721261.5403 | 1233597.8963 | 2721257.2217 | 1233612.4645 | 2721259.9696 | 1233627.7218 | 2721275.4264 | 1233638.4458 | 2721279.6369 | 1233657.3582 | 2721280.8309 | 1233668.2358 | 2721280.2494 | 1233681.1343 | 2721279.6527 | 1233692.5536 | 2721281.2774 | 1233707.5545 | 2721287.6805 | 1233718.8499 | 2721293.6397 | 1233725.9216 | 2721307.9596 | 1233733.3421 | 2721317.0841 | 1233736.3419 | 2721330.9032 | 1233738.2478 | 2721336.6838 | 1233741.4573 | 2721340.4889 | 1233745.7273 | 2721340.3024 | 1233757.8222 | 2721341.2648 | 1233765.2034 | 2721344.1204 | 1233768.1307 | 2721348.0172 | 1233769.4002 | 2721354.6267 | 1233769.4685 | 2721362.386 | 1233768.4928 | 2721368.8102 | 1233766.5113 | 2721375.4674 | 1233766.1025 | 2721381.7989 | 1233768.2891 | 2721384.5467 | 1233770.9363 | 2721387.8476 | 1233778.7545 | 2721387.847 | 1233783.9698 | 2721387.6778 | 1233790.0268 | 2721391.1313 | 1233797.0475 | 2721394.8393 | 1233800.8819 | 2721403.2795 | 1233805.8583 | 2721410.6479 | 1233810.2902 | 2721418.6096 | 1233814.9677 | 2721423.0223 | 1233818.4051 | 2721427.2013 | 1233822.9052 | 2721428.2492 | 1233826.0959 | 2721427.8679 | 1233830.6696 | 2721424.6865 | 1233840.7127 | 2721418.7809 | 1233852.5128 | 2721413.6908 | 1233862.9506 | 2721413.0543 | 1233867.7859 | 2721416.3288 | 1233870.9665 | 2721420.235 | 1233873.6151 | 2721425.2445 | 1233873.0503 | 2721428.2736 | 1233871.5666 | 2721430.0599 | 1233866.4211 | 2721430.8001 | 1233860.5871 | 2721433.0322 | 1233853.2712 | 2721435.4357 | 1233847.9382 | 2721442.7132 | 1233843.1163 | 2721452.1083 | 1233841.0177 | 2721467.8081 | 1233843.5184 | 2721473.2789 | 1233844.4643 | 2721478.6515 | 1233845.3971 | 2721486.0691 | 1233845.5711
5 | 2721123.849 | 1233515.5884 | 2721123.055 | 1233519.1644 | 2721122.7949 | 1233521.509
6 | 2721231.5858 | 1233560.6107 | 2721250.813 | 1233543.9449 | 2721277.5446 | 1233535.4613 | 2721312.325 | 1233518.524 | 2721321.343 | 1233520.076
7 | 2721231.5858 | 1233560.6107 | 2721275.7548 | 1233561.1789 | 2721295.3781 | 1233552.5612 | 2721305.7167 | 1233554.2746
8 | 2721486.0691 | 1233845.5711 | 2721493.7275 | 1233843.2966
9 | 2721167.5819 | 1233483.6433 | 2721137.4293 | 1233494.2483 | 2721131.4725 | 1233497.8076 | 2721129.4919 | 1233500.2359 | 2721125.7735 | 1233506.921 | 2721123.849 | 1233515.5884
10 | 2720901.5457 | 1233286.9892 | 2720909.7401 | 1233288.8463
11 | 2720901.5457 | 1233286.9892 | 2720894.3227 | 1233277.2233 | 2720891.4493 | 1233262.8644 | 2720894.9791 | 1233244.9773 | 2720897.7753 | 1233236.2823
12 | 2720909.7401 | 1233288.8463 | 2720922.5704 | 1233291.7652 | 2720933.7563 | 1233283.7923
13 | 2720897.7753 | 1233236.2823 | 2720903.5203 | 1233218.4183
14 | 2721572.6199 | 1233731.8375 | 2721574.0701 | 1233744.2328 | 2721577.3884 | 1233756.3661 | 2721571.4318 | 1233775.0816 | 2721566.6611 | 1233786.1708 | 2721559.0426 | 1233794.6997 | 2721538.2284 | 1233815.2685 | 2721524.3847 | 1233827.8956 | 2721513.0638 | 1233834.1804 | 2721498.2594 | 1233841.9507 | 2721493.7275 | 1233843.2966
15 | 2720948.9387 | 1233256.1235 | 2720943.3344 | 1233269.961
16 | 2720943.3344 | 1233269.961 | 2720939.3463 | 1233279.808 | 2720933.7563 | 1233283.7923
17 | 2720955.0361 | 1233236.2491 | 2720949.37 | 1233255.0586 | 2720948.9387 | 1233256.1235
18 | 2721590.1058 | 1233677.4511 | 2721595.674 | 1233661.8079 | 2721599.2602 | 1233643.4776
19 | 2721590.1058 | 1233677.4511 | 2721580.2833 | 1233701.1472 | 2721575.9126 | 1233715.6362 | 2721575.2245 | 1233720.0257 | 2721572.6199 | 1233731.8375
20 | 2721694.7923 | 1233360.37 | 2721682.1196 | 1233386.3761
21 | 2721281.9156 | 1233188.2808 | 2721292.3555 | 1233189.5837 | 2721311.6026 | 1233180.5359 | 2721321.2791 | 1233181.0226 | 2721326.9347 | 1233197.051 | 2721328.8761 | 1233216.5731 | 2721337.3203 | 1233237.707 | 2721339.8174 | 1233257.8298 | 2721335.0478 | 1233278.1378 | 2721333.7823 | 1233304.1219 | 2721354.771 | 1233326.5796 | 2721384.8886 | 1233367.0273 | 2721396.1175 | 1233371.9495 | 2721402.3424 | 1233368.6295 | 2721412.7203 | 1233353.685 | 2721422.8318 | 1233355.8488 | 2721429.085 | 1233348.1815 | 2721444.7526 | 1233327.1401 | 2721455.3384 | 1233319.0721 | 2721467.4849 | 1233317.6414 | 2721476.7878 | 1233303.7981 | 2721490.526 | 1233311.5629 | 2721511.9691 | 1233312.1462 | 2721531.4503 | 1233331.26 | 2721557.2368 | 1233334.6122 | 2721581.2282 | 1233346.1122 | 2721596.5602 | 1233342.2338 | 2721610.5178 | 1233341.4854 | 2721622.8838 | 1233336.7346 | 2721639.7519 | 1233336.2461 | 2721643.0628 | 1233340.9843 | 2721652.1061 | 1233344.2721 | 2721666.6274 | 1233348.1724 | 2721688.2332 | 1233355.9655 | 2721694.7923 | 1233360.37
22 | 2720961.2359 | 1233217.9558 | 2720969.2697 | 1233200.9199 | 2720969.2697 | 1233200.9199
23 | 2720969.2697 | 1233200.9199 | 2720982.4145 | 1233185.1499
24 | 2720955.0361 | 1233236.2491 | 2720959.3282 | 1233222.0013 | 2720961.2359 | 1233217.9558
25 | 2720984.1237 | 1233183.0994 | 2720982.4145 | 1233185.1499
26 | 2721281.9156 | 1233188.2808 | 2721272.4783 | 1233199.8198 | 2721263.2294 | 1233207.326 | 2721250.3057 | 1233225.7818
27 | 2720939.9763 | 1233150.836 | 2720943.5412 | 1233144.8679
28 | 2720956.3946 | 1233131.3421 | 2720943.5642 | 1233144.8293 | 2720943.5412 | 1233144.8679
29 | 2720929.7175 | 1233168.0107 | 2720939.9763 | 1233150.836
30 | 2720956.3946 | 1233131.3421 | 2720958.2905 | 1233129.3492
31 | 2721167.5819 | 1233483.6433 | 2721170.5715 | 1233478.5334 | 2721171.3039 | 1233466.3941 | 2721174.7423 | 1233454.8771 | 2721182.0808 | 1233442.6168 | 2721187.4472 | 1233436.8215 | 2721199.3527 | 1233433.0835 | 2721207.4355 | 1233431.8584 | 2721227.5505 | 1233434.0482 | 2721235.1773 | 1233432.1578 | 2721240.2056 | 1233427.3454 | 2721243.4204 | 1233413.066 | 2721242.8739 | 1233396.4303 | 2721240.0912 | 1233380.2716 | 2721239.9153 | 1233361.8087 | 2721241.1044 | 1233345.1083 | 2721247.6297 | 1233334.1214 | 2721249.6791 | 1233311.267 | 2721247.6734 | 1233304.8987 | 2721238.9584 | 1233291.4545 | 2721237.0152 | 1233284.6204 | 2721239.7842 | 1233254.7083 | 2721246.7774 | 1233230.8205 | 2721250.3057 | 1233225.7818
32 | 2720994.7737 | 1233170.3226 | 2721008.4265 | 1233153.9431
33 | 2721008.4265 | 1233153.9431 | 2721021.0261 | 1233138.8273
34 | 2720984.1237 | 1233183.0994 | 2720994.7737 | 1233170.3226
35 | 2721021.0261 | 1233138.8273 | 2721024.202 | 1233135.0171
36 | 2720964.5683 | 1233122.75 | 2720958.2905 | 1233129.3492
37 | 2721118.6124 | 1233164.3872 | 2721113.5059 | 1233137.0055 | 2721110.1447 | 1233102.0198 | 2721113.3031 | 1233058.1821 | 2721110.7481 | 1233050.1458 | 2721103.7913 | 1233047.0126 | 2721074.5974 | 1233067.7013 | 2721067.9358 | 1233083.5228 | 2721030.335 | 1233127.6594 | 2721024.202 | 1233135.0171
38 | 2721118.6124 | 1233164.3872 | 2721112.7261 | 1233175.2427 | 2721089.7107 | 1233237.6353 | 2721090.1343 | 1233250.2875 | 2721097.8097 | 1233270.538 | 2721102.9185 | 1233299.6656
39 | 2720901.8825 | 1233089.9456 | 2720900.5219 | 1233091.3661 | 2720883.972 | 1233111.8933
40 | 2720901.8825 | 1233089.9456 | 2720902.5117 | 1233089.2888
41 | 2720873.9186 | 1233124.3628 | 2720883.972 | 1233111.8933
42 | 2720919.6832 | 1233071.3619 | 2720902.5117 | 1233089.2888
43 | 2720922.393 | 1233068.5329 | 2720919.6832 | 1233071.3619
44 | 2720918.6768 | 1233171.2888 | 2720929.7175 | 1233168.0107 | 2720929.7175 | 1233168.0107
45 | 2721098.6502 | 1233315.8584 | 2721103.9907 | 1233326.5647 | 2721108.3709 | 1233330.8797 | 2721105.8369 | 1233335.9321 | 2721101.1484 | 1233338.194 | 2721095.2011 | 1233344.9894 | 2721091.5535 | 1233350.4306 | 2721084.1291 | 1233375.0771 | 2721086.5259 | 1233377.4945 | 2721089.5371 | 1233377.2668 | 2721109.389 | 1233360.0573 | 2721112.4349 | 1233359.241 | 2721113.5001 | 1233360.4859 | 2721106.9887 | 1233378.2342 | 2721096.9066 | 1233392.8295 | 2721097.5049 | 1233395.0546 | 2721100.5497 | 1233396.8959 | 2721105.64 | 1233394.6089 | 2721114.7813 | 1233387.9008 | 2721123.8259 | 1233380.7349 | 2721130.3123 | 1233377.9537 | 2721134.8594 | 1233373.7096 | 2721145.2759 | 1233368.7179 | 2721152.233 | 1233362.9106 | 2721170.7479 | 1233348.5097 | 2721173.9403 | 1233346.0839 | 2721176.9551 | 1233347.5354 | 2721176.9113 | 1233353.3948 | 2721165.983 | 1233370.1078 | 2721155.3502 | 1233389.0397 | 2721144.241 | 1233412.3988 | 2721140.7716 | 1233423.5816 | 2721134.7075 | 1233430.5414 | 2721131.815 | 1233434.9749 | 2721133.698 | 1233437.3374 | 2721142.6025 | 1233434.4388 | 2721147.835 | 1233433.7226 | 2721151.2142 | 1233430.2998 | 2721154.333 | 1233429.2514 | 2721155.7572 | 1233430.715 | 2721155.4051 | 1233433.4989 | 2721152.3335 | 1233439.2855 | 2721148.0995 | 1233443.4025 | 2721144.7084 | 1233446.2913 | 2721145.1073 | 1233448.2677 | 2721147.7535 | 1233449.2224 | 2721151.677 | 1233448.0792 | 2721160.5032 | 1233438.9962 | 2721162.9807 | 1233438.2016 | 2721164.2449 | 1233439.3394 | 2721162.7907 | 1233450.8524 | 2721162.8151 | 1233461.9063 | 2721165.1668 | 1233473.5859 | 2721167.5819 | 1233483.6433
46 | 2721098.6502 | 1233315.8584 | 2721106.9311 | 1233316.3455
47 | 2721102.9185 | 1233299.6656 | 2721098.6502 | 1233315.8584
48 | 2720811.08 | 1233190.7054 | 2720816.526 | 1233193.2738
49 | 2720816.526 | 1233193.2738 | 2720841.1391 | 1233194.0414
50 | 2720811.08 | 1233190.7054 | 2720807.891 | 1233187.079
51 | 2720841.1391 | 1233194.0414 | 2720852.4201 | 1233184.3057
52 | 2720922.393 | 1233068.5329 | 2720936.2684 | 1233054.0472
53 | 2720943.7211 | 1233046.2667 | 2720936.2684 | 1233054.0472
54 | 2720943.7211 | 1233046.2667 | 2720945.5728 | 1233044.3335 | 2720953.2688 | 1233033.5139
55 | 2720953.2688 | 1233033.5139 | 2720957.6363 | 1233027.3739
56 | 2720852.4201 | 1233184.3057 | 2720855.7164 | 1233181.4609 | 2720855.7164 | 1233181.4609
57 | 2720855.7164 | 1233181.4609 | 2720862.8756 | 1233163.4809
58 | 2720862.8756 | 1233163.4809 | 2720862.8756 | 1233163.4809 | 2720863.7211 | 1233144.7193
59 | 2720869.7005 | 1233132.3446 | 2720863.7733 | 1233143.5608 | 2720863.7211 | 1233144.7193
60 | 2720873.9186 | 1233124.3628 | 2720869.7005 | 1233132.3446
61 | 2720904.2256 | 1233216.2251 | 2720903.5203 | 1233218.4183
62 | 2720904.2256 | 1233216.2251 | 2720911.6024 | 1233193.2869
63 | 2720913.3818 | 1233187.7536 | 2720911.6024 | 1233193.2869
64 | 2720918.6768 | 1233171.2888 | 2720913.3818 | 1233187.7536
65 | 2720918.6768 | 1233171.2888 | 2720918.4354 | 1233157.7766
66 | 2720918.4354 | 1233157.7766 | 2720918.3618 | 1233153.657 | 2720913.6783 | 1233138.9276 | 2720900.0588 | 1233128.9981 | 2720882.9002 | 1233128.3548
67 | 2720873.9186 | 1233124.3628 | 2720880.5947 | 1233128.2683 | 2720882.9002 | 1233128.3548

## bus_geodata
| x | y | coords
0 | 2721170.3913 | 1233564.9416
1 | 2721121.5115 | 1233546.1993
2 | 2721220.9439 | 1233565.8979
3 | 2721122.7949 | 1233521.509
4 | 2721231.5858 | 1233560.6107
5 | 2721486.0691 | 1233845.5711
6 | 2721123.849 | 1233515.5884
7 | 2721321.343 | 1233520.076
8 | 2721305.7167 | 1233554.2746
9 | 2720901.5457 | 1233286.9892
10 | 2720909.7401 | 1233288.8463
11 | 2720897.7753 | 1233236.2823
12 | 2721493.7275 | 1233843.2966
13 | 2720943.3344 | 1233269.961
14 | 2720948.9387 | 1233256.1235
15 | 2720933.7563 | 1233283.7923
16 | 2721590.1058 | 1233677.4511
17 | 2721599.2602 | 1233643.4776
18 | 2721572.6199 | 1233731.8375
19 | 2721682.1196 | 1233386.3761
20 | 2721694.7923 | 1233360.37
21 | 2720969.2697 | 1233200.9199
22 | 2720961.2359 | 1233217.9558
23 | 2720982.4145 | 1233185.1499
24 | 2721281.9156 | 1233188.2808
25 | 2720943.5412 | 1233144.8679
26 | 2720939.9763 | 1233150.836
27 | 2720956.3946 | 1233131.3421
28 | 2721250.3057 | 1233225.7818
29 | 2721008.4265 | 1233153.9431
30 | 2720994.7737 | 1233170.3226
31 | 2721021.0261 | 1233138.8273
32 | 2720958.2905 | 1233129.3492
33 | 2720964.5683 | 1233122.75
34 | 2720984.1237 | 1233183.0994
35 | 2721024.202 | 1233135.0171
36 | 2721118.6124 | 1233164.3872
37 | 2720901.8825 | 1233089.9456
38 | 2720883.972 | 1233111.8933
39 | 2720902.5117 | 1233089.2888
40 | 2720919.6832 | 1233071.3619
41 | 2720929.7175 | 1233168.0107
42 | 2721167.5819 | 1233483.6433
43 | 2721098.6502 | 1233315.8584
44 | 2721106.9311 | 1233316.3455
45 | 2721102.9185 | 1233299.6656
46 | 2720816.526 | 1233193.2738
47 | 2720811.08 | 1233190.7054
48 | 2720841.1391 | 1233194.0414
49 | 2720922.393 | 1233068.5329
50 | 2720943.7211 | 1233046.2667
51 | 2720936.2684 | 1233054.0472
52 | 2720953.2688 | 1233033.5139
53 | 2720957.6363 | 1233027.3739
54 | 2720852.4201 | 1233184.3057
55 | 2720855.7164 | 1233181.4609
56 | 2720862.8756 | 1233163.4809
57 | 2720807.891 | 1233187.079
58 | 2720863.7211 | 1233144.7193
59 | 2720869.7005 | 1233132.3446
60 | 2720904.2256 | 1233216.2251
61 | 2720903.5203 | 1233218.4183
62 | 2720911.6024 | 1233193.2869
63 | 2720913.3818 | 1233187.7536
64 | 2720918.6768 | 1233171.2888
65 | 2720918.4354 | 1233157.7766
66 | 2720882.9002 | 1233128.3548
67 | 2720873.9186 | 1233124.3628
68 | 2720955.0361 | 1233236.2491
69 | 2720909.7401 | 1233288.8463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1