## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-3_2_2_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_3341-3_2_2_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_3341-3_2_2_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_3341-3_2_2_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_3341-3_2_2_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_3341-3_2_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_3341-3_2_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_3341-3_2_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_3341-3_2_2_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_3341-3_2_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_3341-3_2_2_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_3341-3_2_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3341-3_2_2_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_3341-3_2_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_3341-3_2_2_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_3341-3_2_2_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_3341-3_2_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_3341-3_2_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_3341-3_2_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_3341-3_2_2_node_148 | 0.4 | n |  | TRUE
20 | bus_LV_3341-3_2_2_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_3341-3_2_2_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_3341-3_2_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_3341-3_2_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_3341-3_2_2_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3341-3_2_2_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_3341-3_2_2_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_3341-3_2_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_3341-3_2_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_3341-3_2_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_3341-3_2_2_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_3341-3_2_2_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_3341-3_2_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_3341-3_2_2_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_3341-3_2_2_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_3341-3_2_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_3341-3_2_2_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_3341-3_2_2_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_3341-3_2_2_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_3341-3_2_2_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_3341-3_2_2_node_146 | 0.4 | n |  | TRUE
41 | bus_LV_3341-3_2_2_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_3341-3_2_2_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_3341-3_2_2_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_3341-3_2_2_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_3341-3_2_2_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_3341-3_2_2_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_3341-3_2_2_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_3341-3_2_2_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_3341-3_2_2_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_3341-3_2_2_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_3341-3_2_2_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_3341-3_2_2_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_3341-3_2_2_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_3341-3_2_2_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_3341-3_2_2_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_3341-3_2_2_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_3341-3_2_2_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_3341-3_2_2_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_3341-3_2_2_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_3341-3_2_2_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_3341-3_2_2_node_147 | 0.4 | n |  | TRUE
62 | bus_LV_3341-3_2_2_node_96 | 0.4 | n |  | TRUE
63 | bus_MV_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-3_2_2_load_16 | 0 | 0.00096398 | 0.0002416 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-3_2_2_load_18 | 2 | 0.0013955 | 0.00034975 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-3_2_2_load_19 | 3 | 0.0017777 | 0.00044554 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-3_2_2_load_20 | 4 | 0.00043423 | 0.00010883 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-3_2_2_load_26 | 7 | 0.0004796 | 0.0001202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-3_2_2_load_24 | 8 | 0.00034321 | 8.6016e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-3_2_2_load_78 | 10 | 0.00021152 | 5.3011e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-3_2_2_load_28 | 13 | 0.00061557 | 0.00015428 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-3_2_2_load_60 | 14 | 0.00064082 | 0.00016061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-3_2_2_load_29 | 16 | 0.00022598 | 5.6635e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-3_2_2_load_148 | 19 | 0.0002575 | 6.4535e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-3_2_2_load_70 | 20 | 0.00031531 | 7.9024e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-3_2_2_load_65 | 21 | 0.00016152 | 4.0481e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-3_2_2_load_33 | 22 | 0.00032466 | 8.1368e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-3_2_2_load_149 | 26 | 0.00036183 | 9.0682e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-3_2_2_load_41 | 28 | 0.00096508 | 0.00024187 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-3_2_2_load_72 | 30 | 0.0014945 | 0.00037455 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-3_2_2_load_74 | 31 | 0.00077605 | 0.0001945 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-3_2_2_load_46 | 32 | 0.00079114 | 0.00019828 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-3_2_2_load_49 | 35 | 0.0023357 | 0.00058538 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-3_2_2_load_50 | 36 | 0.00058134 | 0.0001457 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-3_2_2_load_51 | 37 | 0.00056442 | 0.00014146 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-3_2_2_load_63 | 39 | 0.00076729 | 0.0001923 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-3_2_2_load_146 | 40 | 0.00096291 | 0.00024133 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-3_2_2_load_61 | 41 | 0.00069512 | 0.00017421 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-3_2_2_load_64 | 43 | 0.000267 | 6.6918e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-3_2_2_load_66 | 44 | 6.8864e-05 | 1.7259e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-3_2_2_load_69 | 46 | 9.8534e-05 | 2.4695e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-3_2_2_load_75 | 47 | 0.0011628 | 0.00029143 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-3_2_2_load_90 | 50 | 0.00041476 | 0.00010395 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-3_2_2_load_88 | 51 | 0.00072577 | 0.00018189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-3_2_2_load_80 | 53 | 0.00078906 | 0.00019776 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-3_2_2_load_81 | 54 | 0.00036314 | 9.1013e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-3_2_2_load_95 | 55 | 0.00025049 | 6.2779e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-3_2_2_load_89 | 56 | 0.00048526 | 0.00012162 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-3_2_2_load_94 | 57 | 0.00025738 | 6.4505e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-3_2_2_load_91 | 58 | 6.525e-05 | 1.6353e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-3_2_2_load_147 | 61 | 0.0010844 | 0.00027177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-3_2_2_load_96 | 62 | 0.00053515 | 0.00013412 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-3_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-3_2_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.044349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-3_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-3_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-3_2_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.11419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-3_2_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0098667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-3_2_2_line_6 | NAYY 4x150 SE | 5 | 9 | 0.083211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-3_2_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.035857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-3_2_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.2765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-3_2_2_line_9 | NAYY 4x150 SE | 7 | 14 | 0.017386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-3_2_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.003004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-3_2_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.092658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-3_2_2_line_12 | NAYY 4x150 SE | 10 | 52 | 0.01197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-3_2_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.053434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-3_2_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.012958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-3_2_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.15052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-3_2_2_line_16 | NAYY 4x150 SE | 12 | 16 | 0.14885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-3_2_2_line_17 | NAYY 4x150 SE | 14 | 41 | 0.16697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-3_2_2_line_18 | NAYY 4x150 SE | 15 | 20 | 0.03368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-3_2_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.22419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-3_2_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.47089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-3_2_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.24952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-3_2_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.064035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-3_2_2_line_23 | NAYY 4x150 SE | 20 | 25 | 0.0065935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-3_2_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.026285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-3_2_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.059368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-3_2_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.15615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-3_2_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.041092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-3_2_2_line_28 | NAYY 4x150 SE | 25 | 44 | 0.038329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-3_2_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.41935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-3_2_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.37813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-3_2_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.052752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-3_2_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.12684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-3_2_2_line_33 | NAYY 4x150 SE | 31 | 43 | 0.66026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-3_2_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.19959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-3_2_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.019194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-3_2_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.036357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-3_2_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.036585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-3_2_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.029212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-3_2_2_line_39 | NAYY 4x150 SE | 34 | 38 | 0.052359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-3_2_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.018935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-3_2_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.008916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-3_2_2_line_42 | NAYY 4x150 SE | 39 | 42 | 0.01978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-3_2_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.042113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-3_2_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.050673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-3_2_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0090393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-3_2_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.019538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-3_2_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.029371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-3_2_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.078233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-3_2_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.15401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-3_2_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.08072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-3_2_2_line_51 | NAYY 4x150 SE | 50 | 55 | 0.023317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-3_2_2_line_52 | NAYY 4x150 SE | 51 | 56 | 0.42581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-3_2_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.044491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-3_2_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.047639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-3_2_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.01449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-3_2_2_line_56 | NAYY 4x150 SE | 55 | 62 | 0.22131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-3_2_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.20312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-3_2_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.14307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-3_2_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.14267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-3_2_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.29078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-3_2_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.37024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-3_2_2_trafo_64 | 0.25 MVA 20/0.4 kV | 63 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45
0 | 2720567.5424 | 1234537.9041 | 2720572.3569 | 1234526.0255 | 2720572.7847 | 1234523.2319 | 2720572.6038 | 1234520.5816 | 2720571.9129 | 1234517.6875 | 2720569.898 | 1234513.2541 | 2720567.3765 | 1234508.7883 | 2720564.9791 | 1234505.2923 | 2720561.745 | 1234502.3577 | 2720551.9113 | 1234495.9132
1 | 2720567.5424 | 1234537.9041 | 2720529.9232 | 1234520.5269 | 2720527.3019 | 1234519.2634
2 | 2720567.5424 | 1234537.9041 | 2720569.8461 | 1234538.9294 | 2720590.2854 | 1234548.3345
3 | 2720499.4491 | 1234505.838 | 2720527.3019 | 1234519.2634
4 | 2720690.1147 | 1234602.6223 | 2720684.6544 | 1234597.8409 | 2720678.6752 | 1234592.8821 | 2720671.3506 | 1234587.8071 | 2720663.876 | 1234583.0292 | 2720656.2023 | 1234578.7366 | 2720643.0983 | 1234572.6545 | 2720626.1753 | 1234564.8491 | 2720590.2854 | 1234548.3345
5 | 2720490.5488 | 1234501.5798 | 2720492.424 | 1234502.4518 | 2720499.4491 | 1234505.838
6 | 2720690.1147 | 1234602.6223 | 2720699.6991 | 1234613.1144 | 2720733.9381 | 1234651.4521 | 2720745.5845 | 1234664.7884
7 | 2720490.5488 | 1234501.5798 | 2720486.3483 | 1234485.8152 | 2720483.9443 | 1234479.2834 | 2720477.2573 | 1234468.6254
8 | 2720490.5488 | 1234501.5798 | 2720433.511 | 1234470.5985 | 2720416.7245 | 1234460.8838 | 2720405.2838 | 1234453.7796 | 2720363.4994 | 1234424.0647 | 2720300.5798 | 1234378.3648 | 2720265.1269 | 1234352.6376 | 2720260.6572 | 1234348.8067
9 | 2720477.2573 | 1234468.6254 | 2720475.4216 | 1234465.6996 | 2720467.1964 | 1234454.4543
10 | 2720258.3764 | 1234346.8519 | 2720260.6572 | 1234348.8067
11 | 2720745.5845 | 1234664.7884 | 2720806.9811 | 1234734.185
12 | 2720814.9125 | 1234743.1499 | 2720806.9811 | 1234734.185
13 | 2720258.3764 | 1234346.8519 | 2720248.0623 | 1234336.8128 | 2720242.198 | 1234329.8886 | 2720237.0368 | 1234322.645 | 2720231.5306 | 1234313.7375 | 2720226.6109 | 1234304.2859
14 | 2720258.3764 | 1234346.8519 | 2720250.2266 | 1234356.9266
15 | 2720200.5389 | 1234157.3621 | 2720204.7756 | 1234169.5132 | 2720207.2075 | 1234178.8032 | 2720209.2826 | 1234188.1416 | 2720210.9383 | 1234196.871 | 2720211.9426 | 1234205.6095 | 2720212.8686 | 1234219.3393 | 2720213.1531 | 1234250.17 | 2720214.188 | 1234261.8892 | 2720215.4846 | 1234271.9013 | 2720217.3625 | 1234280.1237 | 2720219.9296 | 1234288.7159 | 2720223.0962 | 1234296.4974 | 2720226.6109 | 1234304.2859
16 | 2720226.6109 | 1234304.2859 | 2720209.6455 | 1234317.5868 | 2720195.956 | 1234329.1526 | 2720192.8418 | 1234331.5026 | 2720188.3456 | 1234334.047 | 2720180.9219 | 1234337.1994 | 2720169.9065 | 1234340.8574 | 2720154.8983 | 1234345.3798 | 2720104.9668 | 1234360.8497 | 2720092.3607 | 1234362.2321
17 | 2720467.1964 | 1234454.4543 | 2720462.6907 | 1234448.2941 | 2720457.7898 | 1234437.5639 | 2720455.5462 | 1234427.9773 | 2720453.8301 | 1234400.2201 | 2720457.6976 | 1234376.7906 | 2720463.739 | 1234356.6857 | 2720467.9846 | 1234348.9544 | 2720475.0926 | 1234343.0827 | 2720483.5221 | 1234339.6286 | 2720491.709 | 1234339.55 | 2720521.3477 | 1234342.698
18 | 2720200.5389 | 1234157.3621 | 2720191.3861 | 1234131.078 | 2720189.682 | 1234125.4835
19 | 2719872.312 | 1234351.1778 | 2719895.8038 | 1234357.7347 | 2719940.0625 | 1234371.5501 | 2719964.2309 | 1234375.719 | 2719982.0644 | 1234375.2565 | 2719996.3898 | 1234373.4109 | 2720022.4322 | 1234369.9006 | 2720092.3607 | 1234362.2321
20 | 2719846.4582 | 1234153.2523 | 2719839.3102 | 1234154.3757 | 2719830.967 | 1234156.1867 | 2719822.1468 | 1234159.5005 | 2719815.5633 | 1234163.4153 | 2719808.5822 | 1234168.2785 | 2719799.8928 | 1234175.2423 | 2719794.9482 | 1234179.7462 | 2719790.5731 | 1234184.1727 | 2719784.746 | 1234191.1387 | 2719777.679 | 1234200.2591 | 2719770.1754 | 1234209.6266 | 2719762.7171 | 1234216.0036 | 2719757.5811 | 1234218.7357 | 2719746.4989 | 1234224.5837 | 2719737.0485 | 1234229.8642 | 2719728.6371 | 1234233.9425 | 2719720.8827 | 1234236.9776 | 2719714.0994 | 1234239.9211 | 2719707.5726 | 1234241.4131 | 2719700.6736 | 1234241.83 | 2719691.963 | 1234240.8427 | 2719684.0623 | 1234239.8717 | 2719675.3522 | 1234238.484 | 2719667.2383 | 1234238.3205 | 2719657.2987 | 1234238.198 | 2719669.1315 | 1234256.7179 | 2719682.0305 | 1234274.1806 | 2719694.1747 | 1234283.6328 | 2719733.5636 | 1234307.312 | 2719749.4938 | 1234317.5079 | 2719765.1945 | 1234323.3067 | 2719781.1634 | 1234326.6979 | 2719825.2955 | 1234335.5503 | 2719857.9383 | 1234347.1624 | 2719872.312 | 1234351.1778
21 | 2719872.312 | 1234351.1778 | 2719930.3935 | 1234593.8454
22 | 2719846.4582 | 1234153.2523 | 2719858.2118 | 1234153.5451 | 2719872.6512 | 1234153.5808 | 2719882.8217 | 1234152.7742 | 2719892.1863 | 1234151.7512 | 2719898.877 | 1234151.5305 | 2719910.0985 | 1234148.9214
23 | 2720188.3361 | 1234119.0288 | 2720189.682 | 1234125.4835
24 | 2720124.2981 | 1234062.1327 | 2720116.9535 | 1234063.6076 | 2720109.3408 | 1234065.2329 | 2720104.9388 | 1234066.4782 | 2720100.8633 | 1234068.4308 | 2720099.2799 | 1234069.5089
25 | 2720124.2981 | 1234062.1327 | 2720133.0663 | 1234060.2862 | 2720146.1604 | 1234056.4589 | 2720165.5737 | 1234050.5689 | 2720173.7869 | 1234047.7104 | 2720181.1468 | 1234044.7346
26 | 2720188.3361 | 1234119.0288 | 2720187.7267 | 1234114.3461 | 2720187.7067 | 1234110.0978 | 2720188.5866 | 1234104.0329 | 2720189.9455 | 1234099.0008 | 2720192.3503 | 1234093.545 | 2720200.9651 | 1234076.828 | 2720214.4858 | 1234050.4357 | 2720218.0711 | 1234042.4017 | 2720219.8625 | 1234037.3228 | 2720220.9416 | 1234033.0189 | 2720221.8019 | 1234028.6772 | 2720222.2457 | 1234025.0833 | 2720222.5468 | 1234019.1847 | 2720218.3825 | 1234020.6572 | 2720212.8131 | 1234023.836 | 2720203.1291 | 1234030.5233 | 2720195.1165 | 1234036.188 | 2720184.0479 | 1234043.5701 | 2720181.1468 | 1234044.7346
27 | 2720150.4879 | 1234023.3419 | 2720155.5677 | 1234022.2771 | 2720159.4607 | 1234021.4885 | 2720162.2739 | 1234023.1689 | 2720171.2133 | 1234032.3237 | 2720176.7676 | 1234038.4966 | 2720181.1468 | 1234044.7346
28 | 2720188.3361 | 1234119.0288 | 2720192.2798 | 1234116.1062 | 2720196.2513 | 1234110.3152 | 2720199.6331 | 1234104.1008 | 2720204.6065 | 1234098.9417 | 2720209.3421 | 1234095.8016 | 2720214.8465 | 1234092.3907
29 | 2721240.2792 | 1234003.1352 | 2721212.5993 | 1233991.7725 | 2721108.4024 | 1233962.102 | 2721091.4808 | 1233955.285 | 2721054.6257 | 1233935.5961 | 2721026.2929 | 1233928.0018 | 2720997.5227 | 1233918.4527 | 2720986.1517 | 1233910.1367 | 2720931.0602 | 1233892.3678 | 2720919.5381 | 1233888.4858 | 2720904.0145 | 1233879.1846 | 2720883.9023 | 1233868.3779 | 2720858.0884 | 1233862.7484 | 2720848.1752 | 1233862.0869
30 | 2721103.2618 | 1234087.5544 | 2721094.278 | 1234077.3075 | 2721059.5965 | 1234054.6715 | 2721014.728 | 1234023.9551 | 2721006.8746 | 1234013.9649 | 2721007.4334 | 1233999.1754 | 2721020.6596 | 1233987.791 | 2721043.1801 | 1233983.3238 | 2721068.2839 | 1233986.6045 | 2721121.1762 | 1233998.9033 | 2721179.3697 | 1234011.1661 | 2721208.9499 | 1234012.526 | 2721226.8483 | 1234009.3218 | 2721240.2792 | 1234003.1352
31 | 2720795.7063 | 1233857.6646 | 2720799.5866 | 1233858.8447 | 2720848.1752 | 1233862.0869
32 | 2721103.2618 | 1234087.5544 | 2721029.377 | 1234112.1804 | 2721030.2843 | 1234136.3962 | 2721018.1579 | 1234157.9393
33 | 2720607.4913 | 1234358.6801 | 2720609.1576 | 1234360.0268 | 2720618.1985 | 1234364.8698 | 2720635.8657 | 1234376.3266 | 2720642.6429 | 1234381.1569 | 2720645.9874 | 1234386.4847 | 2720709.817 | 1234430.1273 | 2720795.9563 | 1234450.483 | 2720817.2121 | 1234449.2808 | 2720836.3324 | 1234426.8847 | 2720936.6849 | 1234413.3484 | 2720955.7422 | 1234405.5967 | 2720963.6235 | 1234350.6348 | 2720953.7961 | 1234317.8749 | 2720946.7399 | 1234274.7074 | 2720984.4262 | 1234211.5122 | 2720986.2053 | 1234192.9445 | 2721009.7078 | 1234172.9513 | 2721018.1579 | 1234157.9393
34 | 2720566.295 | 1234268.1939 | 2720544.596 | 1234213.2427 | 2720541.8951 | 1234205.2926 | 2720541.164 | 1234200.6518 | 2720541.3022 | 1234195.7061 | 2720542.0672 | 1234189.7279 | 2720544.7276 | 1234174.6808 | 2720546.7183 | 1234168.0047 | 2720548.9133 | 1234162.4558 | 2720551.7235 | 1234156.4413 | 2720554.2891 | 1234152.0342 | 2720558.0598 | 1234147.9408 | 2720562.9167 | 1234144.0584 | 2720605.1195 | 1234114.0793 | 2720612.8304 | 1234107.9976 | 2720615.1517 | 1234105.9203
35 | 2720626.6911 | 1234090.676 | 2720620.1693 | 1234100.4738 | 2720617.0954 | 1234104.181 | 2720615.1517 | 1234105.9203
36 | 2720566.295 | 1234268.1939 | 2720573.1942 | 1234281.9339 | 2720575.1524 | 1234287.3002 | 2720576.0151 | 1234291.0541 | 2720575.9361 | 1234293.4544 | 2720575.4536 | 1234296.3358 | 2720573.7123 | 1234302.1767
37 | 2720595.9726 | 1234289.302 | 2720587.9605 | 1234285.2473 | 2720577.9438 | 1234276.9929 | 2720572.9908 | 1234272.1886 | 2720566.295 | 1234268.1939
38 | 2720626.6911 | 1234090.676 | 2720626.3301 | 1234084.219 | 2720626.9544 | 1234080.6955 | 2720633.834 | 1234062.8062
39 | 2720654.1087 | 1234046.0298 | 2720626.6911 | 1234090.676
40 | 2720568.3028 | 1234320.3226 | 2720573.7123 | 1234302.1767
41 | 2720646.5811 | 1234041.2175 | 2720654.1087 | 1234046.0298
42 | 2720561.6279 | 1234338.8119 | 2720563.328 | 1234336.3778 | 2720564.8499 | 1234331.905 | 2720568.3028 | 1234320.3226
43 | 2720561.6279 | 1234338.8119 | 2720559.4355 | 1234340.8802 | 2720556.6107 | 1234342.7689 | 2720552.9477 | 1234344.1735 | 2720548.1457 | 1234344.9878 | 2720539.4681 | 1234344.6226 | 2720521.3477 | 1234342.698
44 | 2720561.6279 | 1234338.8119 | 2720569.1566 | 1234343.1793 | 2720572.7585 | 1234344.787 | 2720577.2697 | 1234345.6125 | 2720586.29 | 1234347.3748 | 2720593.3167 | 1234349.9861 | 2720601.3951 | 1234353.7531 | 2720607.4913 | 1234358.6801
45 | 2720222.0978 | 1234086.997 | 2720215.2851 | 1234092.1188 | 2720214.8465 | 1234092.3907
46 | 2720222.0978 | 1234086.997 | 2720227.4792 | 1234083.0026 | 2720231.4219 | 1234078.6344 | 2720235.6013 | 1234073.0478
47 | 2721061.6516 | 1234907.9608 | 2721042.9779 | 1234885.2907
48 | 2721061.6516 | 1234907.9608 | 2721055.0081 | 1234904.7895 | 2721052.0548 | 1234904.0732 | 2721049.3367 | 1234904.0734 | 2721046.5031 | 1234904.9164 | 2721044.0748 | 1234906.6683 | 2721040.6749 | 1234910.4021 | 2721037.1238 | 1234915.6118 | 2721012.7518 | 1234904.4841 | 2720993.6542 | 1234895.7104
49 | 2720993.6542 | 1234895.7104 | 2720982.7914 | 1234889.6732 | 2720971.3353 | 1234883.0234 | 2720958.9048 | 1234875.1418 | 2720944.0958 | 1234865.0877 | 2720933.1422 | 1234857.1806 | 2720925.326 | 1234850.9943 | 2720911.1933 | 1234838.9525 | 2720881.4743 | 1234812.6265 | 2720871.239 | 1234803.1178
50 | 2720993.6542 | 1234895.7104 | 2720997.0709 | 1234907.8676 | 2720999.7413 | 1234918.008 | 2721000.7431 | 1234927.1803 | 2721000.3945 | 1234934.2567 | 2720999.4363 | 1234941.5208 | 2720995.6139 | 1234951.1286 | 2720989.8562 | 1234963.1989 | 2720985.0069 | 1234972.2331
51 | 2720854.8313 | 1234786.5635 | 2720865.9811 | 1234798.2331 | 2720871.239 | 1234803.1178
52 | 2720985.0069 | 1234972.2331 | 2720983.7334 | 1234974.6057 | 2720979.4714 | 1234984.2379 | 2720971.7023 | 1234998.4135 | 2720963.7102 | 1235012.0174 | 2720956.3566 | 1235024.0107 | 2720950.2419 | 1235035.0285 | 2720946.2745 | 1235040.6079 | 2720938.6195 | 1235047.3353 | 2720933.4788 | 1235050.6778 | 2720924.6155 | 1235055.3902 | 2720909.4448 | 1235062.376 | 2720902.7019 | 1235064.4627 | 2720891.0011 | 1235072.0753 | 2720885.7429 | 1235079.7079 | 2720874.6725 | 1235094.6615 | 2720863.3683 | 1235111.434 | 2720853.7726 | 1235133.9126 | 2720849.9879 | 1235150.2378 | 2720841.3462 | 1235165.6524 | 2720833.1873 | 1235177.4293 | 2720822.2112 | 1235188.137 | 2720812.6956 | 1235196.6505 | 2720782.3538 | 1235220.731 | 2720756.4714 | 1235246.6815 | 2720730.9273 | 1235273.1284 | 2720721.1954 | 1235282.238 | 2720715.5387 | 1235288.116
53 | 2720814.9125 | 1234743.1499 | 2720844.8341 | 1234776.0769
54 | 2720814.9125 | 1234743.1499 | 2720814.3696 | 1234754.9484 | 2720813.7139 | 1234767.0783 | 2720812.0598 | 1234778.7875 | 2720810.1214 | 1234784.0078 | 2720806.8004 | 1234787.5877 | 2720805.6553 | 1234788.3993
55 | 2720854.8313 | 1234786.5635 | 2720847.8376 | 1234779.3821 | 2720844.8341 | 1234776.0769
56 | 2720854.8313 | 1234786.5635 | 2720860.5146 | 1234782.6092 | 2720868.1369 | 1234777.5045 | 2720888.6926 | 1234766.7473 | 2720946.3426 | 1234736.5737 | 2720977.979 | 1234718.592 | 2721001.4321 | 1234703.8909 | 2721046.6871 | 1234675.6563
57 | 2720715.5387 | 1235288.116 | 2720518.4676 | 1235238.9209
58 | 2720518.4676 | 1235238.9209 | 2720521.4687 | 1235241.0057 | 2720523.5436 | 1235245.8294 | 2720524.3218 | 1235250.3822 | 2720524.6154 | 1235256.0595 | 2720524.0616 | 1235260.2183 | 2720521.3843 | 1235265.3014 | 2720516.2367 | 1235268.6331 | 2720508.5885 | 1235272.4477 | 2720499.2186 | 1235276.7945 | 2720490.8243 | 1235280.0714 | 2720479.4045 | 1235282.464 | 2720470.3707 | 1235284.4269 | 2720461.0459 | 1235286.5507 | 2720452.4592 | 1235289.6124 | 2720447.457 | 1235292.8692 | 2720440.2074 | 1235299.8056 | 2720431.8657 | 1235310.5675 | 2720425.1719 | 1235319.2166
59 | 2720425.1719 | 1235319.2166 | 2720428.1845 | 1235321.8576 | 2720466.4963 | 1235366.0478 | 2720516.4686 | 1235428.7485
60 | 2720425.1719 | 1235319.2166 | 2720353.1509 | 1235259.8982 | 2720196.9235 | 1235138.2485
61 | 2720196.9235 | 1235138.2485 | 2720212.0411 | 1235136.0748 | 2720220.6152 | 1235134.0133 | 2720224.295 | 1235132.8757 | 2720230.0395 | 1235130.7235 | 2720233.9369 | 1235127.8111 | 2720239.4974 | 1235124.2763 | 2720244.6703 | 1235119.3214 | 2720251.7236 | 1235111.9804 | 2720260.2775 | 1235101.5785 | 2720266.894 | 1235094.8736 | 2720272.2631 | 1235090.3231 | 2720276.8096 | 1235086.7678 | 2720281.2379 | 1235083.8106 | 2720282.9802 | 1235082.6449 | 2720287.3269 | 1235078.4851 | 2720289.0319 | 1235074.672 | 2720289.7064 | 1235071.6499 | 2720292.4918 | 1235064.2114 | 2720296.1015 | 1235057.568 | 2720300.8662 | 1235051.8376 | 2720307.4252 | 1235048.7234 | 2720314.3846 | 1235046.0288 | 2720322.116 | 1235045.585 | 2720330.2154 | 1235047.5283 | 2720340.5037 | 1235049.8052 | 2720346.7797 | 1235050.9443 | 2720351.8698 | 1235051.2032 | 2720357.7697 | 1235050.7223 | 2720363.8671 | 1235049.467 | 2720372.6821 | 1235046.3653 | 2720386.2004 | 1235040.5678 | 2720399.6864 | 1235035.6148 | 2720411.7573 | 1235031.0001 | 2720422.601 | 1235027.1723 | 2720436.2456 | 1235025.225 | 2720449.8452 | 1235025.5009 | 2720463.4448 | 1235025.7768 | 2720474.2346 | 1235025.3508 | 2720480.9491 | 1235023.908 | 2720485.8763 | 1235021.3725 | 2720488.3713 | 1235018.1872 | 2720488.8744 | 1235013.5381 | 2720487.1652 | 1235008.5994 | 2720482.7786 | 1235003.8955 | 2720468.1042 | 1234996.5143

## bus_geodata
| x | y | coords
0 | 2720551.9113 | 1234495.9132
1 | 2720567.5424 | 1234537.9041
2 | 2720527.3019 | 1234519.2634
3 | 2720590.2854 | 1234548.3345
4 | 2720499.4491 | 1234505.838
5 | 2720690.1147 | 1234602.6223
6 | 2720490.5488 | 1234501.5798
7 | 2720477.2573 | 1234468.6254
8 | 2720260.6572 | 1234348.8067
9 | 2720745.5845 | 1234664.7884
10 | 2720806.9811 | 1234734.185
11 | 2720258.3764 | 1234346.8519
12 | 2720226.6109 | 1234304.2859
13 | 2720250.2266 | 1234356.9266
14 | 2720467.1964 | 1234454.4543
15 | 2720200.5389 | 1234157.3621
16 | 2720092.3607 | 1234362.2321
17 | 2719872.312 | 1234351.1778
18 | 2719846.4582 | 1234153.2523
19 | 2719930.3935 | 1234593.8454
20 | 2720189.682 | 1234125.4835
21 | 2719910.0985 | 1234148.9214
22 | 2720099.2799 | 1234069.5089
23 | 2720124.2981 | 1234062.1327
24 | 2720181.1468 | 1234044.7346
25 | 2720188.3361 | 1234119.0288
26 | 2720150.4879 | 1234023.3419
27 | 2721240.2792 | 1234003.1352
28 | 2720848.1752 | 1233862.0869
29 | 2721103.2618 | 1234087.5544
30 | 2720795.7063 | 1233857.6646
31 | 2721018.1579 | 1234157.9393
32 | 2720615.1517 | 1234105.9203
33 | 2720566.295 | 1234268.1939
34 | 2720626.6911 | 1234090.676
35 | 2720573.7123 | 1234302.1767
36 | 2720595.9726 | 1234289.302
37 | 2720633.834 | 1234062.8062
38 | 2720654.1087 | 1234046.0298
39 | 2720568.3028 | 1234320.3226
40 | 2720646.5811 | 1234041.2175
41 | 2720521.3477 | 1234342.698
42 | 2720561.6279 | 1234338.8119
43 | 2720607.4913 | 1234358.6801
44 | 2720214.8465 | 1234092.3907
45 | 2720222.0978 | 1234086.997
46 | 2720235.6013 | 1234073.0478
47 | 2721042.9779 | 1234885.2907
48 | 2721061.6516 | 1234907.9608
49 | 2720993.6542 | 1234895.7104
50 | 2720871.239 | 1234803.1178
51 | 2720985.0069 | 1234972.2331
52 | 2720814.9125 | 1234743.1499
53 | 2720844.8341 | 1234776.0769
54 | 2720805.6553 | 1234788.3993
55 | 2720854.8313 | 1234786.5635
56 | 2720715.5387 | 1235288.116
57 | 2720518.4676 | 1235238.9209
58 | 2720516.4686 | 1235428.7485
59 | 2720425.1719 | 1235319.2166
60 | 2720196.9235 | 1235138.2485
61 | 2720468.1042 | 1234996.5143
62 | 2721046.6871 | 1234675.6563
63 | 2720607.4913 | 1234358.6801

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1