## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3341-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3341-8_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3341-8_0_3_node_152 | 0.4 | n |  | TRUE
4 | bus_LV_3341-8_0_3_node_148 | 0.4 | n |  | TRUE
5 | bus_LV_3341-8_0_3_node_153 | 0.4 | n |  | TRUE
6 | bus_LV_3341-8_0_3_node_146 | 0.4 | n |  | TRUE
7 | bus_LV_3341-8_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3341-8_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3341-8_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3341-8_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3341-8_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3341-8_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3341-8_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3341-8_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_3341-8_0_3_node_180 | 0.4 | n |  | TRUE
16 | bus_LV_3341-8_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3341-8_0_3_node_149 | 0.4 | n |  | TRUE
18 | bus_LV_3341-8_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3341-8_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3341-8_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3341-8_0_3_node_129 | 0.4 | n |  | TRUE
22 | bus_LV_3341-8_0_3_node_145 | 0.4 | n |  | TRUE
23 | bus_LV_3341-8_0_3_node_150 | 0.4 | n |  | TRUE
24 | bus_LV_3341-8_0_3_node_130 | 0.4 | n |  | TRUE
25 | bus_LV_3341-8_0_3_node_127 | 0.4 | n |  | TRUE
26 | bus_LV_3341-8_0_3_node_143 | 0.4 | n |  | TRUE
27 | bus_LV_3341-8_0_3_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_3341-8_0_3_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_3341-8_0_3_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_3341-8_0_3_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_3341-8_0_3_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_3341-8_0_3_node_174 | 0.4 | n |  | TRUE
33 | bus_LV_3341-8_0_3_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_3341-8_0_3_node_173 | 0.4 | n |  | TRUE
35 | bus_LV_3341-8_0_3_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_3341-8_0_3_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_3341-8_0_3_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_3341-8_0_3_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_3341-8_0_3_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_3341-8_0_3_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_3341-8_0_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_3341-8_0_3_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_3341-8_0_3_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_3341-8_0_3_node_111 | 0.4 | n |  | TRUE
45 | bus_LV_3341-8_0_3_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_3341-8_0_3_node_112 | 0.4 | n |  | TRUE
47 | bus_LV_3341-8_0_3_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_3341-8_0_3_node_125 | 0.4 | n |  | TRUE
49 | bus_LV_3341-8_0_3_node_137 | 0.4 | n |  | TRUE
50 | bus_LV_3341-8_0_3_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_3341-8_0_3_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_3341-8_0_3_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_3341-8_0_3_node_124 | 0.4 | n |  | TRUE
54 | bus_LV_3341-8_0_3_node_151 | 0.4 | n |  | TRUE
55 | bus_LV_3341-8_0_3_node_134 | 0.4 | n |  | TRUE
56 | bus_LV_3341-8_0_3_node_131 | 0.4 | n |  | TRUE
57 | bus_LV_3341-8_0_3_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_3341-8_0_3_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_3341-8_0_3_node_128 | 0.4 | n |  | TRUE
60 | bus_LV_3341-8_0_3_node_138 | 0.4 | n |  | TRUE
61 | bus_LV_3341-8_0_3_node_142 | 0.4 | n |  | TRUE
62 | bus_LV_3341-8_0_3_node_139 | 0.4 | n |  | TRUE
63 | bus_LV_3341-8_0_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_3341-8_0_3_node_115 | 0.4 | n |  | TRUE
65 | bus_LV_3341-8_0_3_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_3341-8_0_3_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_3341-8_0_3_node_118 | 0.4 | n |  | TRUE
68 | bus_LV_3341-8_0_3_node_119 | 0.4 | n |  | TRUE
69 | bus_LV_3341-8_0_3_node_177 | 0.4 | n |  | TRUE
70 | bus_LV_3341-8_0_3_node_179 | 0.4 | n |  | TRUE
71 | bus_LV_3341-8_0_3_node_178 | 0.4 | n |  | TRUE
72 | bus_LV_3341-8_0_3_node_181 | 0.4 | n |  | TRUE
73 | bus_LV_3341-8_0_3_node_175 | 0.4 | n |  | TRUE
74 | bus_LV_3341-8_0_3_node_132 | 0.4 | n |  | TRUE
75 | bus_LV_3341-8_0_3_node_136 | 0.4 | n |  | TRUE
76 | bus_LV_3341-8_0_3_node_135 | 0.4 | n |  | TRUE
77 | bus_LV_3341-8_0_3_node_133 | 0.4 | n |  | TRUE
78 | bus_LV_3341-8_0_3_node_147 | 0.4 | n |  | TRUE
79 | bus_LV_3341-8_0_3_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_3341-8_0_3_node_141 | 0.4 | n |  | TRUE
81 | bus_LV_3341-8_0_3_node_144 | 0.4 | n |  | TRUE
82 | bus_LV_3341-8_0_3_node_154 | 0.4 | n |  | TRUE
83 | bus_LV_3341-8_0_3_node_155 | 0.4 | n |  | TRUE
84 | bus_LV_3341-8_0_3_node_156 | 0.4 | n |  | TRUE
85 | bus_LV_3341-8_0_3_node_157 | 0.4 | n |  | TRUE
86 | bus_LV_3341-8_0_3_node_158 | 0.4 | n |  | TRUE
87 | bus_LV_3341-8_0_3_node_159 | 0.4 | n |  | TRUE
88 | bus_LV_3341-8_0_3_node_160 | 0.4 | n |  | TRUE
89 | bus_LV_3341-8_0_3_node_161 | 0.4 | n |  | TRUE
90 | bus_LV_3341-8_0_3_node_162 | 0.4 | n |  | TRUE
91 | bus_LV_3341-8_0_3_node_163 | 0.4 | n |  | TRUE
92 | bus_LV_3341-8_0_3_node_164 | 0.4 | n |  | TRUE
93 | bus_LV_3341-8_0_3_node_165 | 0.4 | n |  | TRUE
94 | bus_LV_3341-8_0_3_node_166 | 0.4 | n |  | TRUE
95 | bus_LV_3341-8_0_3_node_167 | 0.4 | n |  | TRUE
96 | bus_LV_3341-8_0_3_node_168 | 0.4 | n |  | TRUE
97 | bus_LV_3341-8_0_3_node_169 | 0.4 | n |  | TRUE
98 | bus_LV_3341-8_0_3_node_170 | 0.4 | n |  | TRUE
99 | bus_LV_3341-8_0_3_node_171 | 0.4 | n |  | TRUE
100 | bus_LV_3341-8_0_3_node_172 | 0.4 | n |  | TRUE
101 | bus_LV_3341-8_0_3_node_176 | 0.4 | n |  | TRUE
102 | bus_MV_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-8_0_3_load_0 | 0 | 0.00058328 | 0.00014618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-8_0_3_load_1 | 1 | 0.00046894 | 0.00011753 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-8_0_3_load_152 | 3 | 0.00063942 | 0.00016025 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-8_0_3_load_148 | 4 | 0.0019504 | 0.00048881 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-8_0_3_load_153 | 5 | 0.00024716 | 6.1943e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-8_0_3_load_4 | 7 | 0.00036836 | 9.232e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-8_0_3_load_7 | 10 | 0.00073504 | 0.00018422 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-8_0_3_load_10 | 12 | 0.00051976 | 0.00013026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-8_0_3_load_8 | 13 | 0.0012736 | 0.00031919 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-8_0_3_load_180 | 15 | 0.00013028 | 3.2652e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-8_0_3_load_11 | 16 | 0.0005551 | 0.00013912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-8_0_3_load_149 | 17 | 0.00036125 | 9.0537e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-8_0_3_load_12 | 19 | 0.00053288 | 0.00013355 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-8_0_3_load_145 | 22 | 0.00035273 | 8.8403e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-8_0_3_load_150 | 23 | 0.00041872 | 0.00010494 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-8_0_3_load_127 | 25 | 0.00023806 | 5.9662e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-8_0_3_load_91 | 27 | 0.00055498 | 0.00013909 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-8_0_3_load_92 | 28 | 0.00059795 | 0.00014986 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-8_0_3_load_93 | 29 | 8.8476e-05 | 2.2174e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-8_0_3_load_94 | 30 | 0.00013697 | 3.4328e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-8_0_3_load_95 | 31 | 0.0017438 | 0.00043703 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-8_0_3_load_100 | 33 | 0.00023773 | 5.9582e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-8_0_3_load_173 | 34 | 0.00011876 | 2.9764e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-8_0_3_load_98 | 35 | 0.00019689 | 4.9346e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-8_0_3_load_102 | 36 | 0.00047043 | 0.0001179 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-8_0_3_load_96 | 37 | 0.00031637 | 7.929e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-8_0_3_load_97 | 38 | 0.00044715 | 0.00011207 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-8_0_3_load_105 | 41 | 0.0041344 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-8_0_3_load_108 | 45 | 0.0041685 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-8_0_3_load_126 | 47 | 0.00034467 | 8.6384e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-8_0_3_load_125 | 48 | 0.00064534 | 0.00016174 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-8_0_3_load_137 | 49 | 0.0027967 | 0.00070092 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-8_0_3_load_113 | 50 | 0.0012359 | 0.00030974 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-8_0_3_load_114 | 51 | 0.0023863 | 0.00059805 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-8_0_3_load_151 | 54 | 0.00022034 | 5.5222e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-8_0_3_load_134 | 55 | 0.00041764 | 0.00010467 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-8_0_3_load_131 | 56 | 0.00017365 | 4.3521e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-8_0_3_load_121 | 57 | 0.0015136 | 0.00037933 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-8_0_3_load_128 | 59 | 0.00062999 | 0.00015789 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-8_0_3_load_142 | 61 | 0.0040071 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-8_0_3_load_139 | 62 | 0.00026296 | 6.5904e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-8_0_3_load_120 | 63 | 0.0010424 | 0.00026125 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-8_0_3_load_115 | 64 | 0.0018685 | 0.00046829 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-8_0_3_load_117 | 65 | 0.00111 | 0.00027818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-8_0_3_load_118 | 67 | 0.0010765 | 0.00026979 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-8_0_3_load_179 | 70 | 0.0027959 | 0.00070071 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3341-8_0_3_load_181 | 72 | 0.0029676 | 0.00074375 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3341-8_0_3_load_175 | 73 | 0.0012021 | 0.00030128 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3341-8_0_3_load_132 | 74 | 0.00011994 | 3.006e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3341-8_0_3_load_136 | 75 | 0.00052863 | 0.00013249 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3341-8_0_3_load_135 | 76 | 0.0001606 | 4.0249e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3341-8_0_3_load_133 | 77 | 0.00013181 | 3.3034e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3341-8_0_3_load_147 | 78 | 0.0024963 | 0.00062563 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3341-8_0_3_load_140 | 79 | 0.00026329 | 6.5988e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3341-8_0_3_load_141 | 80 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3341-8_0_3_load_144 | 81 | 0.00051703 | 0.00012958 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3341-8_0_3_load_154 | 82 | 0.00051362 | 0.00012872 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3341-8_0_3_load_155 | 83 | 0.00051482 | 0.00012902 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3341-8_0_3_load_156 | 84 | 0.00063566 | 0.00015931 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3341-8_0_3_load_158 | 86 | 0.0011142 | 0.00027924 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3341-8_0_3_load_159 | 87 | 0.00057313 | 0.00014364 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3341-8_0_3_load_160 | 88 | 0.00093472 | 0.00023426 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3341-8_0_3_load_161 | 89 | 0.00054297 | 0.00013608 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3341-8_0_3_load_162 | 90 | 0.00042153 | 0.00010565 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3341-8_0_3_load_163 | 91 | 0.00064333 | 0.00016123 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3341-8_0_3_load_164 | 92 | 0.0005464 | 0.00013694 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3341-8_0_3_load_165 | 93 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3341-8_0_3_load_166 | 94 | 0.00055377 | 0.00013879 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3341-8_0_3_load_167 | 95 | 0.00014637 | 3.6683e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3341-8_0_3_load_168 | 96 | 0.00022336 | 5.598e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3341-8_0_3_load_169 | 97 | 0.00016955 | 4.2493e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3341-8_0_3_load_170 | 98 | 0.00022771 | 5.707e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3341-8_0_3_load_171 | 99 | 0.00019588 | 4.9092e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3341-8_0_3_load_172 | 100 | 0.00019287 | 4.8339e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3341-8_0_3_load_176 | 101 | 0.0010473 | 0.00026248 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-8_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-8_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0088371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-8_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-8_0_3_line_6 | NAYY 4x150 SE | 5 | 82 | 0.034233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-8_0_3_line_7 | NAYY 4x150 SE | 6 | 78 | 0.012494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-8_0_3_line_8 | NAYY 4x150 SE | 6 | 81 | 0.023706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-8_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.14121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-8_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.10852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-8_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.026594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-8_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.11347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-8_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.00073445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-8_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.18699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-8_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.010873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-8_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.028903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-8_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.013424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-8_0_3_line_18 | NAYY 4x150 SE | 14 | 18 | 0.055795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-8_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.012729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-8_0_3_line_20 | NAYY 4x150 SE | 17 | 23 | 0.0033862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-8_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.002843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-8_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.069904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-8_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.019659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-8_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.01369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-8_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.017369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-8_0_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.04319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-8_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.034845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-8_0_3_line_28 | NAYY 4x150 SE | 24 | 75 | 0.02186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-8_0_3_line_29 | NAYY 4x150 SE | 24 | 76 | 0.019795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-8_0_3_line_30 | NAYY 4x150 SE | 25 | 59 | 0.010415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-8_0_3_line_31 | NAYY 4x150 SE | 26 | 81 | 0.020892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-8_0_3_line_32 | NAYY 4x150 SE | 26 | 80 | 0.019227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-8_0_3_line_33 | NAYY 4x150 SE | 27 | 28 | 0.013554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-8_0_3_line_34 | NAYY 4x150 SE | 27 | 29 | 0.010479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-8_0_3_line_35 | NAYY 4x150 SE | 28 | 30 | 0.016802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-8_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.0042082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-8_0_3_line_37 | NAYY 4x150 SE | 30 | 35 | 0.013393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-8_0_3_line_38 | NAYY 4x150 SE | 31 | 36 | 0.0073101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-8_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.14632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-8_0_3_line_40 | NAYY 4x150 SE | 32 | 34 | 0.10758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-8_0_3_line_41 | NAYY 4x150 SE | 33 | 40 | 0.020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-8_0_3_line_42 | NAYY 4x150 SE | 34 | 100 | 0.020595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-8_0_3_line_43 | NAYY 4x150 SE | 35 | 37 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-8_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.0030867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-8_0_3_line_45 | NAYY 4x150 SE | 38 | 39 | 0.015435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-8_0_3_line_46 | NAYY 4x150 SE | 39 | 40 | 0.040881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-8_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.026838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-8_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.029647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-8_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.02564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-8_0_3_line_50 | NAYY 4x150 SE | 43 | 47 | 0.0062221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-8_0_3_line_51 | NAYY 4x150 SE | 43 | 48 | 0.02458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-8_0_3_line_52 | NAYY 4x150 SE | 44 | 49 | 0.02071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-8_0_3_line_53 | NAYY 4x150 SE | 45 | 46 | 0.016543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-8_0_3_line_54 | NAYY 4x150 SE | 46 | 50 | 0.020216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-8_0_3_line_55 | NAYY 4x150 SE | 46 | 51 | 0.031884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-8_0_3_line_56 | NAYY 4x150 SE | 47 | 59 | 0.017396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-8_0_3_line_57 | NAYY 4x150 SE | 48 | 58 | 0.0095525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-8_0_3_line_58 | NAYY 4x150 SE | 49 | 63 | 0.00056594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-8_0_3_line_59 | NAYY 4x150 SE | 50 | 64 | 0.02561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-8_0_3_line_60 | NAYY 4x150 SE | 51 | 65 | 0.0043393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-8_0_3_line_61 | NAYY 4x150 SE | 52 | 53 | 0.073027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-8_0_3_line_62 | NAYY 4x150 SE | 52 | 54 | 0.045416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-8_0_3_line_63 | NAYY 4x150 SE | 53 | 55 | 0.0078233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-8_0_3_line_64 | NAYY 4x150 SE | 53 | 56 | 0.0081808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-8_0_3_line_65 | NAYY 4x150 SE | 56 | 74 | 0.0086904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-8_0_3_line_66 | NAYY 4x150 SE | 57 | 58 | 0.011104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-8_0_3_line_67 | NAYY 4x150 SE | 60 | 61 | 0.0026341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-8_0_3_line_68 | NAYY 4x150 SE | 60 | 62 | 0.013879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-8_0_3_line_69 | NAYY 4x150 SE | 61 | 78 | 0.023538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-8_0_3_line_70 | NAYY 4x150 SE | 62 | 79 | 0.0020553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-8_0_3_line_71 | NAYY 4x150 SE | 63 | 66 | 0.013397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-8_0_3_line_72 | NAYY 4x150 SE | 64 | 66 | 0.018223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-8_0_3_line_73 | NAYY 4x150 SE | 65 | 67 | 0.0086881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-8_0_3_line_74 | NAYY 4x150 SE | 67 | 68 | 0.024859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3341-8_0_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.022258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3341-8_0_3_line_76 | NAYY 4x150 SE | 68 | 70 | 0.0084657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3341-8_0_3_line_77 | NAYY 4x150 SE | 69 | 73 | 0.010541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3341-8_0_3_line_78 | NAYY 4x150 SE | 69 | 71 | 0.01346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3341-8_0_3_line_79 | NAYY 4x150 SE | 71 | 72 | 0.001593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3341-8_0_3_line_80 | NAYY 4x150 SE | 73 | 101 | 0.053604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3341-8_0_3_line_81 | NAYY 4x150 SE | 74 | 77 | 0.0048159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3341-8_0_3_line_82 | NAYY 4x150 SE | 76 | 77 | 0.01329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3341-8_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0048593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3341-8_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.020336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3341-8_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.01041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3341-8_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.013165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3341-8_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3341-8_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.00065778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3341-8_0_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.016754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3341-8_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0073604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3341-8_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.008653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3341-8_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0083298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3341-8_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0082426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3341-8_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.0080574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3341-8_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.007244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3341-8_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.015472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3341-8_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.0040132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3341-8_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.020493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3341-8_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.011438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3341-8_0_3_line_100 | NAYY 4x150 SE | 99 | 100 | 0.018846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-8_0_3_trafo_146 | 0.25 MVA 20/0.4 kV | 102 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2721488.19 | 1235675.4723 | 2721488.1263 | 1235677.4134 | 2721487.5189 | 1235702.1273
1 | 2721488.074 | 1235730.2777 | 2721487.4947 | 1235716.0431 | 2721487.4931 | 1235703.1771 | 2721487.5189 | 1235702.1273
2 | 2721488.074 | 1235730.2777 | 2721477.7583 | 1235731.2676 | 2721471.4453 | 1235732.3505 | 2721470.3645 | 1235732.4367
3 | 2721488.074 | 1235730.2777 | 2721489.6693 | 1235749.9819 | 2721490.7647 | 1235759.4323
4 | 2721461.5451 | 1235732.7215 | 2721465.3413 | 1235732.8372 | 2721470.3645 | 1235732.4367
5 | 2721493.5046 | 1235777.8609 | 2721491.2843 | 1235763.9152 | 2721490.7647 | 1235759.4323
6 | 2721461.5451 | 1235732.7215 | 2721460.908 | 1235732.702 | 2721456.212 | 1235732.4503 | 2721452.7987 | 1235730.5567 | 2721449.4476 | 1235725.6287 | 2721442.8031 | 1235712.9381 | 2721440.6704 | 1235708.7443
7 | 2721493.5046 | 1235777.8609 | 2721496.1956 | 1235790.0616
8 | 2721493.5046 | 1235777.8609 | 2721483.2951 | 1235781.7998 | 2721472.2741 | 1235788.2375
9 | 2721300.7898 | 1235769.0605 | 2721288.5194 | 1235766.4301 | 2721254.3334 | 1235761.5728 | 2721231.1423 | 1235758.4192 | 2721161.0703 | 1235748.8059
10 | 2721053.559 | 1235734.0563 | 2721161.0703 | 1235748.8059
11 | 2721300.7898 | 1235769.0605 | 2721312.7423 | 1235772.0626 | 2721326.4869 | 1235775.9019
12 | 2720940.787 | 1235718.7806 | 2721053.559 | 1235734.0563
13 | 2721326.4869 | 1235775.9019 | 2721327.171 | 1235776.169
14 | 2720940.787 | 1235718.7806 | 2721016.5819 | 1235547.8404
15 | 2721327.171 | 1235776.169 | 2721337.2996 | 1235780.1236
16 | 2721358.9734 | 1235829.0754 | 2721355.3911 | 1235826.9338 | 2721354.0483 | 1235821.8912 | 2721349.9317 | 1235815.8911 | 2721339.5919 | 1235809.3507
17 | 2721358.9734 | 1235829.0754 | 2721359.3634 | 1235831.4742 | 2721361.6531 | 1235837.2257 | 2721362.4042 | 1235841.9694
18 | 2721409.1871 | 1235820.4943 | 2721403.8962 | 1235826.7579 | 2721396.0862 | 1235831.4577 | 2721391.0152 | 1235832.5217 | 2721385.9751 | 1235830.5949 | 2721378.483 | 1235828.2621 | 2721366.9338 | 1235827.0141 | 2721360.8687 | 1235827.4572 | 2721358.9734 | 1235829.0754
19 | 2721349.0598 | 1235784.989 | 2721342.9267 | 1235782.3206 | 2721337.2996 | 1235780.1236
20 | 2721362.4042 | 1235841.9694 | 2721362.9337 | 1235845.314 | 2721362.9337 | 1235845.314
21 | 2721411.6326 | 1235821.9566 | 2721409.1871 | 1235820.4943
22 | 2721409.1871 | 1235820.4943 | 2721393.322 | 1235810.0394 | 2721362.4355 | 1235791.5488 | 2721353.574 | 1235786.953 | 2721349.0598 | 1235784.989
23 | 2721411.6326 | 1235821.9566 | 2721428.0567 | 1235832.8344
24 | 2721411.6326 | 1235821.9566 | 2721423.9549 | 1235815.9918
25 | 2721428.0567 | 1235832.8344 | 2721424.2732 | 1235840.53 | 2721424.7446 | 1235849.3135
26 | 2721428.0567 | 1235832.8344 | 2721453.0845 | 1235849.4262 | 2721464.3472 | 1235856.2382
27 | 2721454.2343 | 1235798.775 | 2721428.5603 | 1235813.7625 | 2721423.9549 | 1235815.9918
28 | 2721424.7446 | 1235849.3135 | 2721424.9857 | 1235853.811 | 2721419.5035 | 1235870.2783
29 | 2721424.7446 | 1235849.3135 | 2721435.438 | 1235855.0145 | 2721434.6388 | 1235862.6491
30 | 2721464.3472 | 1235856.2382 | 2721473.2585 | 1235861.6281
31 | 2721454.2343 | 1235798.775 | 2721472.2741 | 1235788.2375
32 | 2721454.2343 | 1235798.775 | 2721464.8847 | 1235814.7832
33 | 2721569.9697 | 1235308.0197 | 2721569.9697 | 1235308.0197 | 2721559.0856 | 1235299.9424
34 | 2721579.0143 | 1235313.3118 | 2721569.9697 | 1235308.0197
35 | 2721559.0856 | 1235299.9424 | 2721557.8887 | 1235299.0542 | 2721546.3889 | 1235288.9445
36 | 2721579.0143 | 1235313.3118 | 2721582.6464 | 1235315.437
37 | 2721535.4201 | 1235281.3569 | 2721537.9712 | 1235282.7223 | 2721542.762 | 1235285.7561 | 2721546.3889 | 1235288.9445
38 | 2721588.787 | 1235319.3842 | 2721586.5329 | 1235317.711 | 2721582.6464 | 1235315.437
39 | 2721384.0586 | 1235412.2705 | 2721479.6688 | 1235301.5025
40 | 2721384.0586 | 1235412.2705 | 2721377.3609 | 1235418.0828 | 2721374.4154 | 1235422.1815 | 2721372.0537 | 1235426.9816 | 2721371.069 | 1235430.709 | 2721370.5324 | 1235434.3677 | 2721370.2686 | 1235438.7548 | 2721370.5532 | 1235444.8322 | 2721371.6227 | 1235452.1378 | 2721373.673 | 1235461.0869 | 2721376.2335 | 1235474.7059 | 2721381.7232 | 1235502.7965 | 2721384.5354 | 1235513.6765
41 | 2721468.4741 | 1235284.0801 | 2721479.6688 | 1235301.5025
42 | 2721389.6894 | 1235533.6164 | 2721384.5354 | 1235513.6765
43 | 2721535.4201 | 1235281.3569 | 2721530.475 | 1235278.7102 | 2721524.6492 | 1235277.3591
44 | 2721524.6492 | 1235277.3591 | 2721522.7968 | 1235276.9295 | 2721521.6625 | 1235276.5859
45 | 2721506.8908 | 1235272.1114 | 2721521.6625 | 1235276.5859
46 | 2721506.8908 | 1235272.1114 | 2721499.7586 | 1235271.3983 | 2721494.4426 | 1235273.3133 | 2721486.5117 | 1235275.7421 | 2721468.4741 | 1235284.0801
47 | 2721518.3542 | 1235890.0717 | 2721526.9461 | 1235897.0976 | 2721534.9545 | 1235905.6351 | 2721537.2847 | 1235908.9271
48 | 2721518.3542 | 1235890.0717 | 2721510.7678 | 1235884.9568 | 2721498.8866 | 1235877.3743 | 2721493.3768 | 1235873.9922
49 | 2721520.6546 | 1235864.965 | 2721521.198 | 1235869.1128 | 2721521.4405 | 1235872.7985 | 2721521.3587 | 1235879.013 | 2721520.9386 | 1235882.8965 | 2721519.9128 | 1235886.4117 | 2721518.3542 | 1235890.0717
50 | 2721493.3768 | 1235873.9922 | 2721491.0477 | 1235872.3877 | 2721488.1437 | 1235870.6313
51 | 2721493.3768 | 1235873.9922 | 2721480.282 | 1235894.7933
52 | 2721520.6546 | 1235864.965 | 2721539.5998 | 1235856.5984
53 | 2721579.3183 | 1235908.4117 | 2721566.7296 | 1235919.1448
54 | 2721579.3183 | 1235908.4117 | 2721568.3947 | 1235893.9986 | 2721567.7344 | 1235891.9722
55 | 2721579.3183 | 1235908.4117 | 2721603.5759 | 1235887.7192
56 | 2721488.1437 | 1235870.6313 | 2721473.2585 | 1235861.6281
57 | 2721475.193 | 1235902.8773 | 2721480.282 | 1235894.7933
58 | 2721539.5998 | 1235856.5984 | 2721540.1175 | 1235856.3698
59 | 2721567.7344 | 1235891.9722 | 2721561.372 | 1235872.4485 | 2721559.4113 | 1235867.7666
60 | 2721606.8773 | 1235884.903 | 2721603.5759 | 1235887.7192
61 | 2721412.5208 | 1235933.2432 | 2721431.2442 | 1235943.0895 | 2721439.5729 | 1235901.5592 | 2721430.9972 | 1235897.4361
62 | 2721412.5208 | 1235933.2432 | 2721409.8055 | 1235928.3171 | 2721405.4125 | 1235925.8475 | 2721401.6312 | 1235923.4461 | 2721398.2569 | 1235919.6518 | 2721394.9481 | 1235915.6142 | 2721401.4295 | 1235896.7206
63 | 2721430.9972 | 1235897.4361 | 2721423.7335 | 1235894.5305
64 | 2721430.9972 | 1235897.4361 | 2721431.8489 | 1235889.2998
65 | 2721432.7537 | 1235880.6566 | 2721431.8489 | 1235889.2998
66 | 2721475.193 | 1235902.8773 | 2721484.5272 | 1235908.8917
67 | 2721503.178 | 1235815.2781 | 2721502.4362 | 1235812.7507
68 | 2721503.178 | 1235815.2781 | 2721489.8157 | 1235819.0301
69 | 2721496.1956 | 1235790.0616 | 2721496.9613 | 1235793.5332 | 2721499.9864 | 1235804.404 | 2721502.4362 | 1235812.7507
70 | 2721487.8058 | 1235819.4602 | 2721489.8157 | 1235819.0301
71 | 2721552.3722 | 1235850.9579 | 2721540.1175 | 1235856.3698
72 | 2721552.3722 | 1235850.9579 | 2721559.4113 | 1235867.7666
73 | 2721613.4872 | 1235879.2645 | 2721606.8773 | 1235884.903
74 | 2721634.1474 | 1235865.5656 | 2721628.8299 | 1235868.3146 | 2721617.1403 | 1235876.1483 | 2721613.4872 | 1235879.2645
75 | 2721634.1474 | 1235865.5656 | 2721640.4976 | 1235862.293 | 2721645.4064 | 1235860.6477 | 2721649.7469 | 1235859.7692 | 2721655.1442 | 1235858.6677
76 | 2721634.1474 | 1235865.5656 | 2721630.8476 | 1235857.7695
77 | 2721655.1442 | 1235858.6677 | 2721662.5029 | 1235866.2153
78 | 2721659.5875 | 1235849.8181 | 2721660.8341 | 1235857.3275 | 2721659.7323 | 1235857.5274 | 2721655.1442 | 1235858.6677
79 | 2721659.408 | 1235848.2354 | 2721659.5875 | 1235849.8181
80 | 2721673.0737 | 1235910.5661 | 2721675.1761 | 1235906.6059 | 2721677.5161 | 1235901.394 | 2721679.844 | 1235897.1382 | 2721681.3242 | 1235893.9882 | 2721681.9835 | 1235891.3662 | 2721681.6491 | 1235888.4792 | 2721679.6918 | 1235884.9919 | 2721670.5657 | 1235874.4853 | 2721662.5029 | 1235866.2153
81 | 2721432.7537 | 1235880.6566 | 2721433.2551 | 1235875.8669
82 | 2721433.2551 | 1235875.8669 | 2721434.6388 | 1235862.6491
83 | 2721440.6704 | 1235708.7443 | 2721438.4676 | 1235704.4129
84 | 2721429.3194 | 1235686.2512 | 2721432.9567 | 1235693.5766 | 2721438.4676 | 1235704.4129
85 | 2721424.6898 | 1235676.9274 | 2721429.3194 | 1235686.2512
86 | 2721424.6898 | 1235676.9274 | 2721412.1048 | 1235680.7929
87 | 2721424.6898 | 1235676.9274 | 2721420.8697 | 1235664.8315
88 | 2721411.4761 | 1235680.986 | 2721412.1048 | 1235680.7929
89 | 2721420.8697 | 1235664.8315 | 2721418.4474 | 1235657.1615 | 2721416.3405 | 1235648.7095
90 | 2721414.6164 | 1235641.5546 | 2721414.9562 | 1235643.1565 | 2721416.3405 | 1235648.7095
91 | 2721414.6164 | 1235641.5546 | 2721412.8203 | 1235633.0901
92 | 2721412.8203 | 1235633.0901 | 2721411.0913 | 1235624.9417
93 | 2721411.0913 | 1235624.9417 | 2721409.8398 | 1235619.0434 | 2721409.3244 | 1235616.8913
94 | 2721409.3244 | 1235616.8913 | 2721407.4477 | 1235609.0555
95 | 2721407.4477 | 1235609.0555 | 2721405.7606 | 1235602.0107
96 | 2721405.7606 | 1235602.0107 | 2721402.7743 | 1235589.5417 | 2721402.1901 | 1235586.956
97 | 2721401.3055 | 1235583.0415 | 2721402.1901 | 1235586.956
98 | 2721401.3055 | 1235583.0415 | 2721396.7887 | 1235563.0523
99 | 2721394.2678 | 1235551.8961 | 2721396.7887 | 1235563.0523
100 | 2721394.2678 | 1235551.8961 | 2721393.2497 | 1235547.3905 | 2721389.6894 | 1235533.6164

## bus_geodata
| x | y | coords
0 | 2721488.19 | 1235675.4723
1 | 2721487.5189 | 1235702.1273
2 | 2721488.074 | 1235730.2777
3 | 2721470.3645 | 1235732.4367
4 | 2721490.7647 | 1235759.4323
5 | 2721461.5451 | 1235732.7215
6 | 2721493.5046 | 1235777.8609
7 | 2721161.0703 | 1235748.8059
8 | 2721300.7898 | 1235769.0605
9 | 2721053.559 | 1235734.0563
10 | 2721326.4869 | 1235775.9019
11 | 2720940.787 | 1235718.7806
12 | 2721327.171 | 1235776.169
13 | 2721339.5919 | 1235809.3507
14 | 2721358.9734 | 1235829.0754
15 | 2721016.5819 | 1235547.8404
16 | 2721337.2996 | 1235780.1236
17 | 2721362.4042 | 1235841.9694
18 | 2721409.1871 | 1235820.4943
19 | 2721349.0598 | 1235784.989
20 | 2721411.6326 | 1235821.9566
21 | 2721428.0567 | 1235832.8344
22 | 2721423.9549 | 1235815.9918
23 | 2721362.9337 | 1235845.314
24 | 2721424.7446 | 1235849.3135
25 | 2721464.3472 | 1235856.2382
26 | 2721454.2343 | 1235798.775
27 | 2721569.9697 | 1235308.0197
28 | 2721559.0856 | 1235299.9424
29 | 2721579.0143 | 1235313.3118
30 | 2721546.3889 | 1235288.9445
31 | 2721582.6464 | 1235315.437
32 | 2721384.0586 | 1235412.2705
33 | 2721479.6688 | 1235301.5025
34 | 2721384.5354 | 1235513.6765
35 | 2721535.4201 | 1235281.3569
36 | 2721588.787 | 1235319.3842
37 | 2721524.6492 | 1235277.3591
38 | 2721521.6625 | 1235276.5859
39 | 2721506.8908 | 1235272.1114
40 | 2721468.4741 | 1235284.0801
41 | 2721537.2847 | 1235908.9271
42 | 2721518.3542 | 1235890.0717
43 | 2721493.3768 | 1235873.9922
44 | 2721520.6546 | 1235864.965
45 | 2721566.7296 | 1235919.1448
46 | 2721579.3183 | 1235908.4117
47 | 2721488.1437 | 1235870.6312
48 | 2721480.282 | 1235894.7933
49 | 2721539.5998 | 1235856.5984
50 | 2721567.7344 | 1235891.9722
51 | 2721603.5759 | 1235887.7192
52 | 2721412.5208 | 1235933.2432
53 | 2721430.9972 | 1235897.4361
54 | 2721401.4295 | 1235896.7206
55 | 2721423.7335 | 1235894.5305
56 | 2721431.8489 | 1235889.2998
57 | 2721484.5272 | 1235908.8917
58 | 2721475.193 | 1235902.8773
59 | 2721473.2585 | 1235861.6281
60 | 2721503.178 | 1235815.2781
61 | 2721502.4362 | 1235812.7507
62 | 2721489.8157 | 1235819.0301
63 | 2721540.1175 | 1235856.3698
64 | 2721559.4113 | 1235867.7666
65 | 2721606.8773 | 1235884.903
66 | 2721552.3722 | 1235850.9579
67 | 2721613.4872 | 1235879.2645
68 | 2721634.1474 | 1235865.5656
69 | 2721655.1442 | 1235858.6677
70 | 2721630.8476 | 1235857.7695
71 | 2721659.5875 | 1235849.8181
72 | 2721659.408 | 1235848.2354
73 | 2721662.5029 | 1235866.2153
74 | 2721432.7537 | 1235880.6566
75 | 2721419.5035 | 1235870.2783
76 | 2721434.6388 | 1235862.6491
77 | 2721433.2551 | 1235875.8669
78 | 2721496.1956 | 1235790.0616
79 | 2721487.8058 | 1235819.4602
80 | 2721464.8847 | 1235814.7832
81 | 2721472.2741 | 1235788.2375
82 | 2721440.6704 | 1235708.7443
83 | 2721438.4676 | 1235704.4129
84 | 2721429.3194 | 1235686.2512
85 | 2721424.6898 | 1235676.9274
86 | 2721412.1048 | 1235680.7929
87 | 2721420.8697 | 1235664.8315
88 | 2721411.4761 | 1235680.986
89 | 2721416.3405 | 1235648.7095
90 | 2721414.6164 | 1235641.5546
91 | 2721412.8203 | 1235633.0901
92 | 2721411.0913 | 1235624.9417
93 | 2721409.3244 | 1235616.8913
94 | 2721407.4477 | 1235609.0555
95 | 2721405.7606 | 1235602.0107
96 | 2721402.1901 | 1235586.956
97 | 2721401.3055 | 1235583.0415
98 | 2721396.7887 | 1235563.0523
99 | 2721394.2678 | 1235551.8961
100 | 2721389.6894 | 1235533.6164
101 | 2721673.0737 | 1235910.5661
102 | 2721493.5046 | 1235777.8609

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1