## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3341-8_1_2_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_3341-8_1_2_node_90 | 0.4 | n |  | TRUE
2 | bus_LV_3341-8_1_2_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_3341-8_1_2_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_3341-8_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_3341-8_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_3341-8_1_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_3341-8_1_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3341-8_1_2_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_3341-8_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_3341-8_1_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3341-8_1_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3341-8_1_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_3341-8_1_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3341-8_1_2_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3341-8_1_2_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3341-8_1_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_3341-8_1_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_3341-8_1_2_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_3341-8_1_2_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_3341-8_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_3341-8_1_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_3341-8_1_2_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_3341-8_1_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_3341-8_1_2_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_3341-8_1_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_3341-8_1_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_3341-8_1_2_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_3341-8_1_2_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_3341-8_1_2_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_3341-8_1_2_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_3341-8_1_2_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_3341-8_1_2_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_3341-8_1_2_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_3341-8_1_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_3341-8_1_2_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_3341-8_1_2_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_3341-8_1_2_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_3341-8_1_2_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_3341-8_1_2_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_3341-8_1_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3341-8_1_2_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_3341-8_1_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_3341-8_1_2_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_3341-8_1_2_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_3341-8_1_2_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_3341-8_1_2_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_3341-8_1_2_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_3341-8_1_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_3341-8_1_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_3341-8_1_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_3341-8_1_2_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_3341-8_1_2_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_3341-8_1_2_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_3341-8_1_2_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_3341-8_1_2_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_3341-8_1_2_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_3341-8_1_2_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_3341-8_1_2_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_3341-8_1_2_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_3341-8_1_2_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_3341-8_1_2_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_3341-8_1_2_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_3341-8_1_2_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_3341-8_1_2_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_3341-8_1_2_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_3341-8_1_2_node_182 | 0.4 | n |  | TRUE
67 | bus_LV_3341-8_1_2_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_3341-8_1_2_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_3341-8_1_2_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_3341-8_1_2_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3341-8_1_2_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_3341-8_1_2_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_3341-8_1_2_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_3341-8_1_2_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_3341-8_1_2_node_104 | 0.4 | n |  | TRUE
76 | bus_MV_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3341-8_1_2_load_16 | 0 | 0.00016184 | 4.056e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3341-8_1_2_load_17 | 2 | 0.00040253 | 0.00010088 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3341-8_1_2_load_21 | 6 | 0.00021701 | 5.4387e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3341-8_1_2_load_22 | 7 | 0.00018098 | 4.5357e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3341-8_1_2_load_23 | 9 | 0.00010684 | 2.6777e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3341-8_1_2_load_26 | 12 | 8.5483e-05 | 2.1424e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3341-8_1_2_load_40 | 13 | 0.00027965 | 7.0087e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3341-8_1_2_load_28 | 15 | 8.1196e-05 | 2.035e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3341-8_1_2_load_29 | 16 | 0.00036661 | 9.188e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3341-8_1_2_load_30 | 17 | 0.00014367 | 3.6008e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3341-8_1_2_load_31 | 19 | 0.00015941 | 3.9952e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3341-8_1_2_load_36 | 22 | 0.00089855 | 0.0002252 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3341-8_1_2_load_37 | 25 | 0.00012268 | 3.0746e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3341-8_1_2_load_47 | 26 | 0.00015698 | 3.9344e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3341-8_1_2_load_46 | 27 | 7.8222e-05 | 1.9604e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3341-8_1_2_load_41 | 29 | 0.0001492 | 3.7394e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3341-8_1_2_load_43 | 30 | 0.0011963 | 0.00029982 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3341-8_1_2_load_59 | 32 | 0.00019357 | 4.8514e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3341-8_1_2_load_49 | 33 | 0.00048232 | 0.00012088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3341-8_1_2_load_50 | 34 | 0.0036157 | 0.00090618 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3341-8_1_2_load_51 | 35 | 0.0010032 | 0.00025143 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3341-8_1_2_load_52 | 36 | 0.00084288 | 0.00021125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3341-8_1_2_load_53 | 39 | 0.00086472 | 0.00021672 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3341-8_1_2_load_54 | 40 | 0.00034309 | 8.5986e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3341-8_1_2_load_71 | 43 | 0.00037406 | 9.3748e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3341-8_1_2_load_57 | 44 | 0.002601 | 0.00065188 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3341-8_1_2_load_64 | 45 | 4.7108e-05 | 1.1806e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3341-8_1_2_load_62 | 48 | 0.00013883 | 3.4794e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3341-8_1_2_load_65 | 49 | 0.00052136 | 0.00013067 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3341-8_1_2_load_63 | 50 | 9.6961e-05 | 2.4301e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3341-8_1_2_load_66 | 51 | 0.00026432 | 6.6246e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3341-8_1_2_load_67 | 52 | 0.0042491 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3341-8_1_2_load_77 | 56 | 0.00098862 | 0.00024777 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3341-8_1_2_load_81 | 57 | 0.0019028 | 0.00047688 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3341-8_1_2_load_73 | 59 | 0.0012004 | 0.00030084 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3341-8_1_2_load_75 | 61 | 0.001972 | 0.00049423 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3341-8_1_2_load_76 | 63 | 0.0034373 | 0.00086147 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3341-8_1_2_load_78 | 64 | 0.0031761 | 0.000796 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3341-8_1_2_load_182 | 66 | 0.0019113 | 0.00047902 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3341-8_1_2_load_103 | 69 | 0.00069696 | 0.00017468 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3341-8_1_2_load_84 | 70 | 0.0018049 | 0.00045234 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3341-8_1_2_load_85 | 71 | 0.00022225 | 5.57e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3341-8_1_2_load_86 | 72 | 0.00044083 | 0.00011048 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3341-8_1_2_load_88 | 73 | 0.00010179 | 2.5511e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3341-8_1_2_load_89 | 74 | 0.0005883 | 0.00014744 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3341-8_1_2_load_104 | 75 | 0.00042722 | 0.00010707 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3341-8_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3341-8_1_2_line_1 | NAYY 4x150 SE | 1 | 51 | 0.38048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3341-8_1_2_line_2 | NAYY 4x150 SE | 1 | 73 | 0.035481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3341-8_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.033948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3341-8_1_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.053889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3341-8_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.032531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3341-8_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.090963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3341-8_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.014902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3341-8_1_2_line_8 | NAYY 4x150 SE | 5 | 8 | 0.15297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3341-8_1_2_line_9 | NAYY 4x150 SE | 8 | 30 | 0.020485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3341-8_1_2_line_10 | NAYY 4x150 SE | 8 | 29 | 0.12594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3341-8_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.061527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3341-8_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.091625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3341-8_1_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0058987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3341-8_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.041559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3341-8_1_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0079861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3341-8_1_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.012414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3341-8_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.044631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3341-8_1_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.014247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3341-8_1_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.019897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3341-8_1_2_line_20 | NAYY 4x150 SE | 18 | 29 | 0.050336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3341-8_1_2_line_21 | NAYY 4x150 SE | 18 | 28 | 0.034397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3341-8_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.015613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3341-8_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.15474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3341-8_1_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.042631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3341-8_1_2_line_25 | NAYY 4x150 SE | 21 | 26 | 0.062629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3341-8_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.014459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3341-8_1_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.12579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3341-8_1_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.025046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3341-8_1_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.0074352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3341-8_1_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.015397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3341-8_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.03856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3341-8_1_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.38317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3341-8_1_2_line_33 | NAYY 4x150 SE | 32 | 45 | 0.16664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3341-8_1_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.027829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3341-8_1_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0042612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3341-8_1_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.049447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3341-8_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.067766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3341-8_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.088335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3341-8_1_2_line_39 | NAYY 4x150 SE | 37 | 42 | 0.055517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3341-8_1_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.053309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3341-8_1_2_line_41 | NAYY 4x150 SE | 38 | 67 | 0.15332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3341-8_1_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0092037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3341-8_1_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.29618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3341-8_1_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.021331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3341-8_1_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.072424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3341-8_1_2_line_46 | NAYY 4x150 SE | 43 | 58 | 0.043439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3341-8_1_2_line_47 | NAYY 4x150 SE | 45 | 50 | 0.0056609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3341-8_1_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.013107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3341-8_1_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0078641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3341-8_1_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.019578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3341-8_1_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0096982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3341-8_1_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.093029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3341-8_1_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.011237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3341-8_1_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.061554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3341-8_1_2_line_55 | NAYY 4x150 SE | 54 | 57 | 0.04961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3341-8_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.070524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3341-8_1_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.017291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3341-8_1_2_line_58 | NAYY 4x150 SE | 57 | 60 | 0.032131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3341-8_1_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.008814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3341-8_1_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.028947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3341-8_1_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.024274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3341-8_1_2_line_62 | NAYY 4x150 SE | 60 | 62 | 0.086604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3341-8_1_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.025709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3341-8_1_2_line_64 | NAYY 4x150 SE | 62 | 65 | 0.10816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3341-8_1_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.011081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3341-8_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.018406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3341-8_1_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.10574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3341-8_1_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.016153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3341-8_1_2_line_69 | NAYY 4x150 SE | 68 | 74 | 0.028792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3341-8_1_2_line_70 | NAYY 4x150 SE | 68 | 71 | 0.053422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3341-8_1_2_line_71 | NAYY 4x150 SE | 69 | 75 | 0.043239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3341-8_1_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.021785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3341-8_1_2_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0046569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3341-8_1_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.001198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3341-8_1_2_trafo_54 | 0.25 MVA 20/0.4 kV | 76 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2719641.4434 | 1234752.2487 | 2719785.4182 | 1234684.0516
1 | 2719641.4434 | 1234752.2487 | 2719859.3346 | 1235064.1583
2 | 2719641.4434 | 1234752.2487 | 2719632.8354 | 1234746.2039 | 2719619.1612 | 1234739.4565 | 2719610.7395 | 1234734.6149
3 | 2720124.2839 | 1235763.6862 | 2720126.4097 | 1235754.7775 | 2720127.9141 | 1235750.7602 | 2720129.635 | 1235746.1469 | 2720131.7492 | 1235741.9306 | 2720136.1239 | 1235736.359 | 2720138.7093 | 1235733.6089
4 | 2720124.2839 | 1235763.6862 | 2720105.5164 | 1235746.1593 | 2720086.478 | 1235725.3425
5 | 2720074.9544 | 1235715.917 | 2720084.5865 | 1235704.5469 | 2720089.3782 | 1235698.5722 | 2720094.5138 | 1235695.4291 | 2720098.2013 | 1235693.8912
6 | 2720178.9975 | 1235654.6376 | 2720168.6252 | 1235655.4396 | 2720162.2967 | 1235656.9239 | 2720156.9403 | 1235660.8743 | 2720153.6369 | 1235663.632 | 2720149.9368 | 1235665.7922 | 2720117.1267 | 1235681.9197 | 2720101.889 | 1235692.3423 | 2720098.2013 | 1235693.8912
7 | 2720074.9544 | 1235715.917 | 2720085.6009 | 1235724.3835 | 2720086.478 | 1235725.3425
8 | 2719951.4767 | 1235629.7975 | 2719958.5217 | 1235632.5642 | 2719967.9738 | 1235637.2144 | 2719976.6049 | 1235642.037 | 2719995.5586 | 1235658.6221 | 2720010.8984 | 1235673.0992 | 2720024.9788 | 1235684.7153 | 2720030.0414 | 1235684.0615 | 2720036.7502 | 1235686.5991 | 2720045.8731 | 1235692.9218 | 2720065.7683 | 1235708.6032 | 2720074.9544 | 1235715.917
9 | 2719951.4767 | 1235629.7975 | 2719950.7291 | 1235626.3352 | 2719944.7386 | 1235610.4866
10 | 2719951.4767 | 1235629.7975 | 2719950.8229 | 1235631.8082 | 2719948.754 | 1235633.7902 | 2719946.6607 | 1235636.9839 | 2719946.1744 | 1235640.8216 | 2719946.9023 | 1235644.8841 | 2719948.0308 | 1235649.3549 | 2719951.1047 | 1235658.3242 | 2719956.4892 | 1235673.2117 | 2719959.5391 | 1235682.9923 | 2719963.5868 | 1235703.713 | 2719965.4061 | 1235714.0804 | 2719965.7458 | 1235727.2423 | 2719967.0008 | 1235735.5633 | 2719970.5371 | 1235741.5062 | 2719973.912 | 1235749.6838
11 | 2720019.6565 | 1235831.8937 | 2720030.9497 | 1235836.4478 | 2720042.5602 | 1235844.778 | 2720056.6193 | 1235852.5573 | 2720063.8642 | 1235855.5283 | 2720067.6781 | 1235857.8406 | 2720069.2484 | 1235860.2965 | 2720070.1962 | 1235863.9631
12 | 2720019.6565 | 1235831.8937 | 2720046.3824 | 1235863.526 | 2720062.9232 | 1235877.7273 | 2720074.8725 | 1235886.1423 | 2720079.6409 | 1235890.6645 | 2720082.172 | 1235893.8961 | 2720082.2804 | 1235897.1453
13 | 2720019.6565 | 1235831.8937 | 2720015.5321 | 1235827.6767
14 | 2720082.2804 | 1235897.1453 | 2720075.6662 | 1235894.4317 | 2720067.0561 | 1235889.7205 | 2720052.7887 | 1235881.014 | 2720045.8087 | 1235877.3544
15 | 2720009.9481 | 1235821.9673 | 2720015.5321 | 1235827.6767
16 | 2720009.9481 | 1235821.9673 | 2720000.4224 | 1235829.9592
17 | 2720009.9481 | 1235821.9673 | 2720022.6056 | 1235817.4527 | 2720032.8182 | 1235814.4232 | 2720037.1029 | 1235813.2978 | 2720040.1524 | 1235813.3594 | 2720042.3641 | 1235814.4161 | 2720045.7697 | 1235816.709 | 2720051.2708 | 1235820.1776
18 | 2720009.9481 | 1235821.9673 | 2720007.8567 | 1235819.8234 | 2720001.038 | 1235810.8731
19 | 2719991.1988 | 1235793.7992 | 2719994.546 | 1235802.3515 | 2720001.038 | 1235810.8731
20 | 2719991.1988 | 1235793.7992 | 2719990.2629 | 1235790.2885 | 2719985.292 | 1235784.9171 | 2719979.7071 | 1235779.9559 | 2719976.3631 | 1235774.6173 | 2719975.247 | 1235769.5351 | 2719975.9745 | 1235763.8786 | 2719976.6902 | 1235758.4331 | 2719975.762 | 1235754.1664 | 2719973.912 | 1235749.6838
21 | 2719966.0646 | 1235812.9849 | 2719968.681 | 1235813.1268 | 2719974.7968 | 1235812.0383 | 2719979.0979 | 1235810.1013 | 2719982.814 | 1235807.1406 | 2719985.9256 | 1235803.7563 | 2719989.2528 | 1235800.1873 | 2719991.1988 | 1235793.7992
22 | 2719718.7094 | 1235613.1561 | 2719720.0464 | 1235617.4309 | 2719721.7968 | 1235621.1025 | 2719726.1239 | 1235626.6887
23 | 2719756.6188 | 1235778.3982 | 2719726.1239 | 1235626.6887
24 | 2719718.7094 | 1235613.1561 | 2719718.7912 | 1235609.0989 | 2719719.314 | 1235603.4493 | 2719721.4319 | 1235599.0328 | 2719721.685 | 1235596.6137 | 2719721.1537 | 1235592.5553 | 2719716.6683 | 1235583.3575 | 2719712.5875 | 1235574.368 | 2719712.1382 | 1235573.0737
25 | 2719756.6188 | 1235778.3982 | 2719761.443 | 1235779.7966 | 2719768.9331 | 1235780.7595 | 2719778.2422 | 1235782.3595 | 2719785.9285 | 1235783.7267 | 2719792.1507 | 1235787.4997 | 2719798.7577 | 1235792.081 | 2719803.9255 | 1235797.4563 | 2719809.2815 | 1235803.6359 | 2719810.4069 | 1235805.106
26 | 2719825.9875 | 1235824.6899 | 2719828.1005 | 1235826.8898 | 2719832.1027 | 1235830.0064 | 2719837.5159 | 1235833.3516
27 | 2719958.918 | 1235800.4115 | 2719837.5159 | 1235833.3516
28 | 2719825.9875 | 1235824.6899 | 2719823.3331 | 1235821.9341 | 2719816.2072 | 1235812.6829 | 2719810.4069 | 1235805.106
29 | 2719825.9875 | 1235824.6899 | 2719820.9517 | 1235830.1601
30 | 2719966.0646 | 1235812.9849 | 2719963.4436 | 1235811.1972 | 2719961.4402 | 1235809.9446 | 2719960.6843 | 1235806.8936 | 2719959.0076 | 1235800.7103 | 2719958.918 | 1235800.4115
31 | 2719931.889 | 1235574.1348 | 2719933.4186 | 1235578.6138 | 2719935.3518 | 1235583.7236 | 2719942.2494 | 1235603.9014 | 2719944.7386 | 1235610.4866
32 | 2719931.889 | 1235574.1348 | 2720101.0523 | 1235230.3319
33 | 2719990.6963 | 1235105.4762 | 2720101.0523 | 1235230.3319
34 | 2719386.8509 | 1234950.9886 | 2719378.824 | 1234946.1678 | 2719361.9156 | 1234938.7444
35 | 2719389.4012 | 1234954.3767 | 2719389.2225 | 1234954.2833 | 2719386.8509 | 1234950.9886 | 2719386.8509 | 1234950.9886
36 | 2719315.5125 | 1234925.0962 | 2719315.8857 | 1234925.0645 | 2719324.8396 | 1234924.4438 | 2719332.7398 | 1234925.4032 | 2719341.4087 | 1234928.4131 | 2719361.9156 | 1234938.7444
37 | 2719255.4299 | 1234952.6064 | 2719263.4925 | 1234945.4736 | 2719279.4896 | 1234934.1967 | 2719284.8992 | 1234931.3697 | 2719290.4077 | 1234930.0237 | 2719301.6355 | 1234927.0133 | 2719308.1575 | 1234925.721 | 2719315.5125 | 1234925.0962
38 | 2719327.2523 | 1234837.5444 | 2719315.5125 | 1234925.0962
39 | 2719222.9993 | 1234920.363 | 2719224.83 | 1234929.1068 | 2719225.2886 | 1234936.8111 | 2719228.1968 | 1234943.5527 | 2719231.5503 | 1234948.4795 | 2719237.3529 | 1234952.8439 | 2719242.1948 | 1234954.1532 | 2719248.7038 | 1234953.8836 | 2719255.4299 | 1234952.6064
40 | 2719255.4299 | 1234952.6064 | 2719262.3777 | 1234960.6413 | 2719274.7844 | 1234969.7977 | 2719292.0616 | 1234978.8407 | 2719298.9714 | 1234982.3865
41 | 2719469.9481 | 1234787.4601 | 2719466.9011 | 1234788.3774 | 2719462.9969 | 1234789.7556 | 2719458.3069 | 1234790.6731 | 2719449.1354 | 1234792.3123 | 2719440.1642 | 1234794.1557 | 2719433.025 | 1234795.6356 | 2719423.633 | 1234798.071 | 2719412.3998 | 1234802.4599 | 2719404.2018 | 1234806.1426 | 2719392.9053 | 1234811.4199 | 2719382.434 | 1234817.0808 | 2719362.6856 | 1234829.6386 | 2719358.7092 | 1234831.9717 | 2719348.8012 | 1234831.4612 | 2719327.2523 | 1234837.5444
42 | 2719307.5767 | 1234985.566 | 2719301.5113 | 1234983.6898 | 2719298.9714 | 1234982.3865
43 | 2719307.5767 | 1234985.566 | 2719392.4266 | 1235269.3352
44 | 2719392.4266 | 1235269.3352 | 2719398.9249 | 1235274.848 | 2719405.1893 | 1235280.3227 | 2719407.8172 | 1235283.9636
45 | 2719222.9993 | 1234920.363 | 2719206.1551 | 1234929.7104 | 2719159.3407 | 1234954.8971
46 | 2719120.1029 | 1234972.308 | 2719123.0585 | 1234972.1671 | 2719129.3558 | 1234971.1258 | 2719135.5289 | 1234967.9693 | 2719157.4774 | 1234955.8996 | 2719159.3407 | 1234954.8971
47 | 2719990.6963 | 1235105.4762 | 2719990.3401 | 1235103.245 | 2719988.5026 | 1235100.3825
48 | 2719972.2432 | 1235094.3724 | 2719970.2524 | 1235092.1081 | 2719968.2691 | 1235089.844 | 2719967.3082 | 1235087.1892 | 2719967.1488 | 1235084.9619 | 2719967.394 | 1235082.943
49 | 2719972.2432 | 1235094.3724 | 2719978.7076 | 1235095.9264 | 2719979.8727 | 1235096.273
50 | 2719967.394 | 1235082.943 | 2719957.3149 | 1235079.3032 | 2719949.2484 | 1235075.6343
51 | 2719988.5026 | 1235100.3825 | 2719988.3657 | 1235100.1693 | 2719984.5626 | 1235097.6682 | 2719979.8727 | 1235096.273
52 | 2719859.3346 | 1235064.1583 | 2719864.9445 | 1235067.9189 | 2719872.2346 | 1235069.078 | 2719881.5535 | 1235069.8778 | 2719892.0481 | 1235071.3129 | 2719905.4488 | 1235073.1848 | 2719915.3758 | 1235074.6085 | 2719921.4647 | 1235074.5202 | 2719927.189 | 1235072.612 | 2719932.7166 | 1235070.6998 | 2719935.4653 | 1235070.6774 | 2719940.4035 | 1235072.0783 | 2719948.4626 | 1235075.2768 | 2719949.2484 | 1235075.6343
53 | 2718960.6927 | 1234935.7517 | 2718959.4804 | 1234945.2462 | 2718959.297 | 1234946.9013
54 | 2718960.6927 | 1234935.7517 | 2718965.563 | 1234935.6491 | 2718974.3005 | 1234935.6241 | 2718981.6037 | 1234935.7704 | 2718987.9166 | 1234935.0851 | 2718990.3778 | 1234933.9224 | 2718994.2462 | 1234933.1881 | 2719003.5079 | 1234930.805 | 2719004.6182 | 1234933.9631 | 2719006.7699 | 1234937.2867 | 2719010.3401 | 1234941.6061 | 2719014.1468 | 1234945.0852
55 | 2719014.1468 | 1234945.0852 | 2719019.934 | 1234949.0932 | 2719026.3585 | 1234952.6581 | 2719035.0512 | 1234955.6235 | 2719046.5459 | 1234958.9342 | 2719060.0993 | 1234962.7374
56 | 2718966.3445 | 1234897.4007 | 2718976.0107 | 1234902.4205 | 2718984.4671 | 1234906.2262 | 2718992.0816 | 1234911.2382 | 2718994.8468 | 1234914.1738 | 2718999.6117 | 1234919.3289 | 2719001.3694 | 1234924.1791 | 2719002.8916 | 1234929.0691 | 2719003.5079 | 1234930.805 | 2719004.6182 | 1234933.9631 | 2719006.7699 | 1234937.2867 | 2719010.3401 | 1234941.6061 | 2719014.1468 | 1234945.0852
57 | 2718966.3445 | 1234897.4007 | 2718968.651 | 1234892.9989 | 2718971.7618 | 1234890.0254 | 2718975.0328 | 1234888.8789 | 2718979.2896 | 1234889.1643 | 2718979.5726 | 1234889.205
58 | 2719091.1881 | 1234970.8494 | 2719067.5434 | 1234964.8263 | 2719060.0993 | 1234962.7374
59 | 2719120.1029 | 1234972.308 | 2719121.4733 | 1234968.5324 | 2719122.5767 | 1234964.1065 | 2719122.6357 | 1234963.8779
60 | 2719091.1881 | 1234970.8494 | 2719093.4026 | 1234971.4165 | 2719108.6131 | 1234972.5334 | 2719116.958 | 1234972.4561 | 2719120.1029 | 1234972.308
61 | 2719122.6357 | 1234963.8779 | 2719123.4631 | 1234960.6771 | 2719123.532 | 1234957.2423 | 2719122.0967 | 1234953.6885 | 2719120.0187 | 1234950.0884 | 2719117.9537 | 1234947.734 | 2719112.5958 | 1234944.2126 | 2719112.5958 | 1234944.2126
62 | 2719091.1881 | 1234970.8494 | 2719090.7172 | 1234973.1863 | 2719090.0712 | 1234975.1972 | 2719089.2216 | 1234976.7926 | 2719083.1621 | 1234981.4527 | 2719046.7389 | 1235009.3453 | 2719038.9135 | 1235014.8597 | 2719036.2195 | 1235017.4411 | 2719034.1387 | 1235020.0237 | 2719033.0798 | 1235022.2376 | 2719032.0211 | 1235024.4404 | 2719032.0343 | 1235029.8228
63 | 2719112.5958 | 1234944.2126 | 2719117.8758 | 1234935.011 | 2719126.1687 | 1234922.3924
64 | 2718926.0263 | 1235042.6439 | 2718928.7681 | 1235041.0752 | 2718930.9702 | 1235040.7524 | 2718935.4417 | 1235040.5195 | 2718980.5781 | 1235037.5763 | 2718995.6084 | 1235037.4772 | 2719003.5407 | 1235036.8244 | 2719006.8319 | 1235034.6663 | 2719010.9284 | 1235033.1249 | 2719017.4785 | 1235030.4206 | 2719022.3643 | 1235029.9181 | 2719027.05 | 1235029.2002 | 2719032.0343 | 1235029.8228
65 | 2719032.0343 | 1235029.8228 | 2719034.8115 | 1235032.9142 | 2719036.8563 | 1235036.2801 | 2719038.5101 | 1235038.7672
66 | 2718940.0803 | 1235052.3552 | 2718937.0467 | 1235051.4827 | 2718933.2149 | 1235050.394 | 2718930.0695 | 1235048.6741 | 2718926.5917 | 1235045.791 | 2718926.0263 | 1235042.6439
67 | 2719539.7979 | 1234708.2565 | 2719535.4519 | 1234712.0166 | 2719531.4702 | 1234717.2407 | 2719524.8177 | 1234725.002 | 2719520.0219 | 1234731.1772 | 2719513.7542 | 1234739.7581 | 2719501.4879 | 1234754.0896 | 2719483.6361 | 1234774.3359 | 2719476.3431 | 1234782.329 | 2719473.2476 | 1234784.9022 | 2719469.9481 | 1234787.4601
68 | 2719469.9481 | 1234787.4601 | 2719480.9513 | 1234793.375 | 2719484.4888 | 1234794.3173
69 | 2719539.7979 | 1234708.2565 | 2719534.179 | 1234707.176 | 2719518.576 | 1234701.4464 | 2719520.8204 | 1234695.4007
70 | 2719539.7979 | 1234708.2565 | 2719544.7054 | 1234705.5642 | 2719548.5823 | 1234704.419 | 2719553.264 | 1234703.9128 | 2719561.6088 | 1234704.2365 | 2719568.2384 | 1234706.6385 | 2719577.5196 | 1234710.8398 | 2719585.764 | 1234714.6421 | 2719589.2017 | 1234717.3942
71 | 2719484.4888 | 1234794.3173 | 2719506.2853 | 1234800.1232 | 2719512.1733 | 1234802.4991 | 2719522.7224 | 1234803.8902 | 2719526.4133 | 1234804.0139
72 | 2719605.8572 | 1234731.4034 | 2719600.939 | 1234727.7025 | 2719593.558 | 1234720.8817 | 2719589.2017 | 1234717.3942
73 | 2719605.8572 | 1234731.4034 | 2719608.1363 | 1234733.1184 | 2719609.7008 | 1234734.0178
74 | 2719610.7395 | 1234734.6149 | 2719609.7008 | 1234734.0178

## bus_geodata
| x | y | coords
0 | 2719785.4182 | 1234684.0516
1 | 2719641.4434 | 1234752.2487
2 | 2720138.7093 | 1235733.6089
3 | 2720124.2839 | 1235763.6862
4 | 2720098.2013 | 1235693.8912
5 | 2720074.9544 | 1235715.917
6 | 2720178.9975 | 1235654.6376
7 | 2720086.478 | 1235725.3425
8 | 2719951.4767 | 1235629.7975
9 | 2720070.1962 | 1235863.9631
10 | 2720019.6565 | 1235831.8937
11 | 2720082.2804 | 1235897.1453
12 | 2720015.5321 | 1235827.6767
13 | 2720045.8087 | 1235877.3544
14 | 2720009.9481 | 1235821.9673
15 | 2720000.4224 | 1235829.9592
16 | 2720051.2708 | 1235820.1776
17 | 2720001.038 | 1235810.8731
18 | 2719991.1988 | 1235793.7992
19 | 2719726.1239 | 1235626.6887
20 | 2719718.7094 | 1235613.1561
21 | 2719756.6188 | 1235778.3982
22 | 2719712.1382 | 1235573.0737
23 | 2719837.5159 | 1235833.3516
24 | 2719825.9875 | 1235824.6899
25 | 2719958.918 | 1235800.4115
26 | 2719810.4069 | 1235805.106
27 | 2719820.9517 | 1235830.1601
28 | 2719966.0646 | 1235812.9849
29 | 2719973.912 | 1235749.6838
30 | 2719944.7386 | 1235610.4866
31 | 2719931.889 | 1235574.1348
32 | 2720101.0523 | 1235230.3319
33 | 2719386.8509 | 1234950.9886
34 | 2719361.9156 | 1234938.7444
35 | 2719389.4012 | 1234954.3767
36 | 2719315.5125 | 1234925.0962
37 | 2719255.4299 | 1234952.6064
38 | 2719327.2523 | 1234837.5444
39 | 2719298.9714 | 1234982.3865
40 | 2719307.5767 | 1234985.566
41 | 2719392.4266 | 1235269.3352
42 | 2719222.9993 | 1234920.363
43 | 2719159.3407 | 1234954.8971
44 | 2719407.8172 | 1235283.9636
45 | 2719990.6963 | 1235105.4762
46 | 2719972.2432 | 1235094.3724
47 | 2719967.394 | 1235082.943
48 | 2719979.8727 | 1235096.273
49 | 2719949.2484 | 1235075.6343
50 | 2719988.5026 | 1235100.3825
51 | 2719859.3346 | 1235064.1583
52 | 2718959.297 | 1234946.9013
53 | 2718960.6927 | 1234935.7517
54 | 2719014.1468 | 1234945.0852
55 | 2718966.3445 | 1234897.4007
56 | 2718979.5726 | 1234889.205
57 | 2719060.0993 | 1234962.7374
58 | 2719120.1029 | 1234972.308
59 | 2719122.6357 | 1234963.8779
60 | 2719091.1881 | 1234970.8494
61 | 2719112.5958 | 1234944.2126
62 | 2719032.0343 | 1235029.8228
63 | 2719126.1687 | 1234922.3924
64 | 2719038.5101 | 1235038.7672
65 | 2718926.0263 | 1235042.6439
66 | 2718940.0803 | 1235052.3552
67 | 2719469.9481 | 1234787.4601
68 | 2719539.7979 | 1234708.2565
69 | 2719484.4888 | 1234794.3173
70 | 2719605.8572 | 1234731.4034
71 | 2719589.2017 | 1234717.3942
72 | 2719609.7008 | 1234734.0178
73 | 2719610.7395 | 1234734.6149
74 | 2719520.8204 | 1234695.4007
75 | 2719526.4133 | 1234804.0139
76 | 2719307.5767 | 1234985.566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1