## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3352-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3352-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3352-14_0_3_node_59 | 0.4 | n |  | TRUE
3 | bus_LV_3352-14_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3352-14_0_3_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_3352-14_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3352-14_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3352-14_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3352-14_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3352-14_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3352-14_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3352-14_0_3_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_3352-14_0_3_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_3352-14_0_3_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_3352-14_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3352-14_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3352-14_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3352-14_0_3_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_3352-14_0_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_3352-14_0_3_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_3352-14_0_3_node_88 | 0.4 | n |  | TRUE
21 | bus_LV_3352-14_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_3352-14_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3352-14_0_3_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_3352-14_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_3352-14_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3352-14_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_3352-14_0_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_3352-14_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_3352-14_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3352-14_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3352-14_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3352-14_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_3352-14_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3352-14_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3352-14_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3352-14_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3352-14_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_3352-14_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3352-14_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3352-14_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3352-14_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3352-14_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3352-14_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3352-14_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3352-14_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3352-14_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3352-14_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_3352-14_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_3352-14_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_3352-14_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3352-14_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3352-14_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3352-14_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3352-14_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_3352-14_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_3352-14_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3352-14_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3352-14_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_3352-14_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3352-14_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_3352-14_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3352-14_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3352-14_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3352-14_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3352-14_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3352-14_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3352-14_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3352-14_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_3352-14_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3352-14_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3352-14_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3352-14_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3352-14_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3352-14_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3352-14_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3352-14_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3352-14_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_3352-14_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_3352-14_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3352-14_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3352-14_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_3352-14_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3352-14_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_3352-14_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_3352-14_0_3_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_3352-14_0_3_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_3352-14_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_3352-14_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3352-14_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_3352-14_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3352-14_0_3_node_89 | 0.4 | n |  | TRUE
92 | bus_MV_153_1_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3352-14_0_3_load_0 | 0 | 0.0013172 | 0.00033012 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3352-14_0_3_load_59 | 2 | 0.0012784 | 0.0003204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3352-14_0_3_load_2 | 3 | 0.0013398 | 0.00033577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3352-14_0_3_load_58 | 4 | 0.0012447 | 0.00031196 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3352-14_0_3_load_3 | 5 | 0.016352 | 0.0040981 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3352-14_0_3_load_4 | 6 | 0.017215 | 0.0043146 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3352-14_0_3_load_6 | 8 | 0.0023605 | 0.00059159 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3352-14_0_3_load_82 | 11 | 0.0077643 | 0.0019459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3352-14_0_3_load_87 | 13 | 0.0012823 | 0.00032139 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3352-14_0_3_load_11 | 14 | 0.0086308 | 0.0021631 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3352-14_0_3_load_12 | 15 | 0.0040397 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3352-14_0_3_load_9 | 16 | 0.0038957 | 0.00097635 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3352-14_0_3_load_81 | 18 | 0.0027776 | 0.00069614 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3352-14_0_3_load_84 | 19 | 0.017936 | 0.0044951 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3352-14_0_3_load_88 | 20 | 0.0022484 | 0.00056351 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3352-14_0_3_load_8 | 21 | 0.0041049 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3352-14_0_3_load_91 | 23 | 0.0029703 | 0.00074442 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3352-14_0_3_load_41 | 24 | 0.0029286 | 0.00073398 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3352-14_0_3_load_15 | 25 | 0.0022255 | 0.00055776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3352-14_0_3_load_13 | 26 | 0.0019018 | 0.00047664 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3352-14_0_3_load_90 | 27 | 0.0020902 | 0.00052386 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3352-14_0_3_load_17 | 30 | 0.0028114 | 0.00070461 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3352-14_0_3_load_19 | 31 | 0.0024062 | 0.00060305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3352-14_0_3_load_25 | 33 | 0.0023758 | 0.00059542 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3352-14_0_3_load_22 | 34 | 0.0012744 | 0.0003194 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3352-14_0_3_load_20 | 35 | 0.0022975 | 0.0005758 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3352-14_0_3_load_23 | 36 | 0.00083038 | 0.00020811 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3352-14_0_3_load_21 | 37 | 0.006907 | 0.001731 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3352-14_0_3_load_26 | 39 | 0.00047901 | 0.00012005 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3352-14_0_3_load_27 | 40 | 0.00030787 | 7.716e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3352-14_0_3_load_28 | 41 | 0.00031898 | 7.9945e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3352-14_0_3_load_29 | 42 | 0.00029605 | 7.4196e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3352-14_0_3_load_30 | 43 | 0.00019217 | 4.8162e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3352-14_0_3_load_31 | 44 | 0.0002382 | 5.9698e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3352-14_0_3_load_57 | 47 | 0.0024451 | 0.00061281 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3352-14_0_3_load_56 | 48 | 0.0017762 | 0.00044516 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3352-14_0_3_load_54 | 49 | 0.0023704 | 0.00059408 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3352-14_0_3_load_34 | 50 | 0.0026889 | 0.00067389 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3352-14_0_3_load_35 | 51 | 0.0024617 | 0.00061695 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3352-14_0_3_load_36 | 52 | 0.0023501 | 0.00058898 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3352-14_0_3_load_37 | 53 | 0.0027528 | 0.00068992 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3352-14_0_3_load_39 | 54 | 0.00051937 | 0.00013017 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3352-14_0_3_load_40 | 55 | 0.0045577 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3352-14_0_3_load_42 | 56 | 0.0022643 | 0.00056748 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3352-14_0_3_load_43 | 57 | 0.0022674 | 0.00056827 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3352-14_0_3_load_44 | 58 | 0.0011478 | 0.00028766 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3352-14_0_3_load_48 | 59 | 0.0022203 | 0.00055645 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3352-14_0_3_load_45 | 61 | 0.00037139 | 9.3079e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3352-14_0_3_load_46 | 62 | 0.0016545 | 0.00041466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3352-14_0_3_load_47 | 63 | 0.0016669 | 0.00041776 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3352-14_0_3_load_55 | 64 | 0.0001557 | 3.9022e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3352-14_0_3_load_53 | 65 | 0.0017085 | 0.0004282 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3352-14_0_3_load_52 | 66 | 0.0052742 | 0.0013218 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3352-14_0_3_load_49 | 67 | 0.0013152 | 0.00032962 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3352-14_0_3_load_61 | 69 | 0.0017748 | 0.0004448 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3352-14_0_3_load_60 | 70 | 0.0019444 | 0.00048732 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3352-14_0_3_load_62 | 71 | 0.0025253 | 0.0006329 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3352-14_0_3_load_63 | 72 | 0.0021285 | 0.00053346 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3352-14_0_3_load_64 | 73 | 0.0015881 | 0.00039801 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3352-14_0_3_load_65 | 74 | 0.0022564 | 0.0005655 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3352-14_0_3_load_66 | 75 | 0.0021298 | 0.00053377 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3352-14_0_3_load_67 | 76 | 0.0023021 | 0.00057695 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3352-14_0_3_load_68 | 77 | 0.0020027 | 0.00050193 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3352-14_0_3_load_70 | 79 | 0.0034079 | 0.0008541 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3352-14_0_3_load_71 | 80 | 0.0040513 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3352-14_0_3_load_78 | 81 | 0.0028082 | 0.00070381 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3352-14_0_3_load_77 | 82 | 0.0031986 | 0.00080164 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3352-14_0_3_load_72 | 83 | 0.0038362 | 0.00096144 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3352-14_0_3_load_73 | 84 | 0.0034199 | 0.00085712 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3352-14_0_3_load_75 | 86 | 0.0028331 | 0.00071005 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3352-14_0_3_load_80 | 88 | 0.0040664 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3352-14_0_3_load_79 | 89 | 0.0035799 | 0.0008972 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3352-14_0_3_load_85 | 90 | 0.0031694 | 0.00079433 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3352-14_0_3_load_89 | 91 | 0.0037008 | 0.00092752 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3352-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0088103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3352-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.1856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3352-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3352-14_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3352-14_0_3_line_4 | NAYY 4x150 SE | 4 | 70 | 0.042747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3352-14_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.043181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3352-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.051067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3352-14_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.033746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3352-14_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.042957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3352-14_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.038321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3352-14_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3352-14_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.025446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3352-14_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.015881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3352-14_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.025747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3352-14_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.022104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3352-14_0_3_line_15 | NAYY 4x150 SE | 10 | 16 | 0.041943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3352-14_0_3_line_16 | NAYY 4x150 SE | 11 | 17 | 0.032273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3352-14_0_3_line_17 | NAYY 4x150 SE | 11 | 18 | 0.023683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3352-14_0_3_line_18 | NAYY 4x150 SE | 12 | 19 | 0.0044748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3352-14_0_3_line_19 | NAYY 4x150 SE | 13 | 20 | 0.010152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3352-14_0_3_line_20 | NAYY 4x150 SE | 14 | 22 | 0.027688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3352-14_0_3_line_21 | NAYY 4x150 SE | 14 | 23 | 0.019753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3352-14_0_3_line_22 | NAYY 4x150 SE | 15 | 24 | 0.022559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3352-14_0_3_line_23 | NAYY 4x150 SE | 16 | 21 | 0.027076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3352-14_0_3_line_24 | NAYY 4x150 SE | 17 | 90 | 0.03118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3352-14_0_3_line_25 | NAYY 4x150 SE | 18 | 88 | 0.019351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3352-14_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.015453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3352-14_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.023566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3352-14_0_3_line_28 | NAYY 4x150 SE | 23 | 27 | 0.017634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3352-14_0_3_line_29 | NAYY 4x150 SE | 24 | 28 | 0.020896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3352-14_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.016657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3352-14_0_3_line_31 | NAYY 4x150 SE | 27 | 91 | 0.004199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3352-14_0_3_line_32 | NAYY 4x150 SE | 28 | 55 | 0.029971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3352-14_0_3_line_33 | NAYY 4x150 SE | 28 | 52 | 0.017345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3352-14_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.014631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3352-14_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.01115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3352-14_0_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.00964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3352-14_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.038255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3352-14_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.014101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3352-14_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.024676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3352-14_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.003424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3352-14_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.018108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3352-14_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.030232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3352-14_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.030416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3352-14_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.016669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3352-14_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.016114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3352-14_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.016678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3352-14_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.01035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3352-14_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.04599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3352-14_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.015165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3352-14_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.012884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3352-14_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.041997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3352-14_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.010184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3352-14_0_3_line_53 | NAYY 4x150 SE | 49 | 68 | 0.010349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3352-14_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.017413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3352-14_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0099944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3352-14_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.0077394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3352-14_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.014507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3352-14_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.011893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3352-14_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.02343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3352-14_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0065116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3352-14_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.00037786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3352-14_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0098555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3352-14_0_3_line_63 | NAYY 4x150 SE | 60 | 66 | 0.016067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3352-14_0_3_line_64 | NAYY 4x150 SE | 60 | 67 | 0.015016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3352-14_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.025286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3352-14_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0043008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3352-14_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.012013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3352-14_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0082179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3352-14_0_3_line_69 | NAYY 4x150 SE | 65 | 68 | 0.01373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3352-14_0_3_line_70 | NAYY 4x150 SE | 66 | 69 | 0.032102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3352-14_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.047835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3352-14_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.025679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3352-14_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0087705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3352-14_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.039482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3352-14_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.028673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3352-14_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.019944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3352-14_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.00018331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3352-14_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.032519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3352-14_0_3_line_79 | NAYY 4x150 SE | 76 | 78 | 0.030444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3352-14_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.014092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3352-14_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.019921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3352-14_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.021811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3352-14_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.023211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3352-14_0_3_line_84 | NAYY 4x150 SE | 82 | 87 | 0.0031207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3352-14_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.015077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3352-14_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.018609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3352-14_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0087417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3352-14_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.045675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3352-14_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.002083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3352-14_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3352-14_0_3_trafo_41 | 0.25 MVA 20/0.4 kV | 92 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2728045.6414 | 1236406.0724 | 2728045.8622 | 1236397.2648
1 | 2727947.7381 | 1236239.7235 | 2728045.8622 | 1236397.2648
2 | 2728045.6414 | 1236406.0724 | 2728060.8346 | 1236416.2084 | 2728068.7555 | 1236417.8249 | 2728072.1628 | 1236424.7338
3 | 2727931.8509 | 1236245.1125 | 2727947.7381 | 1236239.7235
4 | 2727931.8509 | 1236245.1125 | 2727902.0551 | 1236255.2193 | 2727891.0743 | 1236257.8187
5 | 2727619.6679 | 1236145.7507 | 2727637.4643 | 1236163.7411 | 2727650.1626 | 1236176.323
6 | 2727581.6713 | 1236114.5348 | 2727585.0757 | 1236113.9296 | 2727588.2093 | 1236114.653 | 2727591.1952 | 1236116.263 | 2727597.1817 | 1236123.0194 | 2727619.6679 | 1236145.7507
7 | 2727674.1392 | 1236200.0707 | 2727667.8314 | 1236193.8299 | 2727650.1626 | 1236176.323
8 | 2727581.6713 | 1236114.5348 | 2727585.3961 | 1236133.5418 | 2727589.925 | 1236156.6918
9 | 2727674.1392 | 1236200.0707 | 2727678.9902 | 1236192.0348 | 2727693.922 | 1236167.2239
10 | 2727674.1392 | 1236200.0707 | 2727663.141 | 1236218.3274
11 | 2727589.925 | 1236156.6918 | 2727593.8331 | 1236176.6702 | 2727594.8235 | 1236181.6623
12 | 2727589.925 | 1236156.6918 | 2727574.3099 | 1236159.5852
13 | 2727709.2726 | 1236146.5254 | 2727693.922 | 1236167.2239
14 | 2727693.922 | 1236167.2239 | 2727708.261 | 1236184.0462
15 | 2727693.922 | 1236167.2239 | 2727677.3543 | 1236143.5035 | 2727670.2505 | 1236132.605
16 | 2727663.141 | 1236218.3274 | 2727646.2362 | 1236245.8428
17 | 2727663.141 | 1236218.3274 | 2727683.3951 | 1236230.6017
18 | 2727594.8235 | 1236181.6623 | 2727595.6873 | 1236186.053
19 | 2727564.3273 | 1236161.435 | 2727574.3099 | 1236159.5852
20 | 2727709.2726 | 1236146.5254 | 2727719.7807 | 1236133.4625 | 2727727.4286 | 1236125.6204
21 | 2727709.2726 | 1236146.5254 | 2727723.3808 | 1236160.3513
22 | 2727727.3856 | 1236195.8611 | 2727717.2545 | 1236190.7118 | 2727708.261 | 1236184.0462 | 2727708.261 | 1236184.0462
23 | 2727662.2813 | 1236106.9096 | 2727668.1208 | 1236129.3376 | 2727670.2505 | 1236132.605
24 | 2727646.2362 | 1236245.8428 | 2727619.3187 | 1236230.106
25 | 2727699.944 | 1236240.6306 | 2727683.3951 | 1236230.6017
26 | 2727727.4286 | 1236125.6204 | 2727734.4881 | 1236118.3883 | 2727738.3944 | 1236114.7381
27 | 2727727.4286 | 1236125.6204 | 2727709.2145 | 1236110.6672
28 | 2727736.991 | 1236171.5237 | 2727733.1591 | 1236168.891 | 2727730.7254 | 1236166.6034 | 2727723.3808 | 1236160.3513
29 | 2727747.1096 | 1236202.7082 | 2727728.9059 | 1236196.6339 | 2727727.3856 | 1236195.8611
30 | 2727750.5647 | 1236103.3658 | 2727738.3944 | 1236114.7381
31 | 2727740.4518 | 1236173.9016 | 2727736.991 | 1236171.5237
32 | 2727747.1096 | 1236202.7082 | 2727749.6649 | 1236203.5638 | 2727773.8098 | 1236216.2527
33 | 2727747.1096 | 1236202.7082 | 2727761.7772 | 1236193.4507
34 | 2727750.5647 | 1236103.3658 | 2727760.1871 | 1236114.3877
35 | 2727760.1871 | 1236114.3877 | 2727767.5203 | 1236122.7874
36 | 2727773.8602 | 1236130.0493 | 2727767.5203 | 1236122.7874
37 | 2727787.7776 | 1236072.14 | 2727798.4416 | 1236063.8068 | 2727810.0603 | 1236055.7833 | 2727818.6565 | 1236049.5795
38 | 2727787.7776 | 1236072.14 | 2727796.7871 | 1236082.9873
39 | 2727814.8908 | 1236099.7505 | 2727812.1247 | 1236097.3737 | 2727796.7871 | 1236082.9873
40 | 2727776.1121 | 1236132.6287 | 2727773.8602 | 1236130.0493
41 | 2727828.625 | 1236111.5517 | 2727814.8908 | 1236099.7505
42 | 2727828.625 | 1236111.5517 | 2727809.6662 | 1236135.1008
43 | 2727828.625 | 1236111.5517 | 2727842.5188 | 1236121.9705 | 2727853.1427 | 1236129.5487
44 | 2727853.1427 | 1236129.5487 | 2727866.713 | 1236139.2284
45 | 2727866.713 | 1236139.2284 | 2727879.8316 | 1236148.586
46 | 2727879.8316 | 1236148.586 | 2727893.4097 | 1236158.2713
47 | 2727893.4097 | 1236158.2713 | 2727901.8357 | 1236164.2815
48 | 2727942.1287 | 1236185.3903 | 2727935.1792 | 1236183.995 | 2727926.143 | 1236180.3752 | 2727913.01 | 1236172.2522 | 2727901.8357 | 1236164.2815
49 | 2727942.1287 | 1236185.3903 | 2727939.5637 | 1236193.4084 | 2727937.6802 | 1236199.3173 | 2727937.51 | 1236199.8363
50 | 2727937.51 | 1236199.8363 | 2727946.829 | 1236208.7327
51 | 2727937.51 | 1236199.8363 | 2727926.3457 | 1236208.9035 | 2727914.9455 | 1236219.7893 | 2727903.6267 | 1236223.3025
52 | 2727903.6267 | 1236223.3025 | 2727899.4675 | 1236224.5935 | 2727893.712 | 1236225.5152
53 | 2727883.4928 | 1236227.1517 | 2727893.712 | 1236225.5152
54 | 2727770.229 | 1236188.1163 | 2727774.422 | 1236185.4699 | 2727784.0547 | 1236181.4293 | 2727785.9572 | 1236182.0735
55 | 2727770.229 | 1236188.1163 | 2727761.7772 | 1236193.4507
56 | 2727785.9572 | 1236182.0735 | 2727793.2879 | 1236184.5554
57 | 2727807.0286 | 1236189.2078 | 2727793.2879 | 1236184.5554
58 | 2727784.3373 | 1236221.7853 | 2727773.8098 | 1236216.2527
59 | 2727784.3373 | 1236221.7853 | 2727791.8293 | 1236225.7226 | 2727805.8008 | 1236231.088
60 | 2727805.8008 | 1236231.088 | 2727811.8795 | 1236233.4225
61 | 2727812.2322 | 1236233.5579 | 2727811.8795 | 1236233.4225
62 | 2727821.4327 | 1236237.0912 | 2727812.2322 | 1236233.5579
63 | 2727821.4327 | 1236237.0912 | 2727835.9293 | 1236244.0189
64 | 2727821.4327 | 1236237.0912 | 2727836.2599 | 1236234.7165
65 | 2727828.2129 | 1236202.7896 | 2727840.5299 | 1236208.3446 | 2727851.8355 | 1236211.634
66 | 2727855.9651 | 1236212.8354 | 2727851.8355 | 1236211.634
67 | 2727855.9651 | 1236212.8354 | 2727867.4997 | 1236216.1914
68 | 2727867.4997 | 1236216.1914 | 2727875.3904 | 1236218.4872
69 | 2727883.4928 | 1236227.1517 | 2727881.8901 | 1236220.3782 | 2727875.3904 | 1236218.4872
70 | 2727865.7863 | 1236255.4889 | 2727851.5761 | 1236251.4963 | 2727835.9293 | 1236244.0189
71 | 2727883.4928 | 1236227.1517 | 2727836.2599 | 1236234.7165
72 | 2727865.7863 | 1236255.4889 | 2727869.5367 | 1236256.5427 | 2727887.1573 | 1236258.746 | 2727891.0743 | 1236257.8187
73 | 2727859.2239 | 1236281.8131 | 2727851.1732 | 1236285.2928
74 | 2727859.2239 | 1236281.8131 | 2727862.3218 | 1236280.4741 | 2727870.6841 | 1236278.8305 | 2727879.1645 | 1236280.8369 | 2727883.9065 | 1236287.0109 | 2727884.5896 | 1236292.8972 | 2727883.4668 | 1236297.9328 | 2727883.4668 | 1236297.9328
75 | 2727851.1732 | 1236285.2928 | 2727824.8531 | 1236296.6689
76 | 2727883.4668 | 1236297.9328 | 2727875.1988 | 1236305.0386 | 2727867.3226 | 1236309.4796
77 | 2727824.8531 | 1236296.6689 | 2727824.6849 | 1236296.7416
78 | 2727867.3226 | 1236309.4796 | 2727838.9966 | 1236325.4515
79 | 2727796.7396 | 1236308.8201 | 2727824.6849 | 1236296.7416
80 | 2727796.7396 | 1236308.8201 | 2727786.794 | 1236298.8372
81 | 2727796.7396 | 1236308.8201 | 2727786.7537 | 1236320.137 | 2727783.887 | 1236324.0215
82 | 2727769.1479 | 1236286.0579 | 2727785.6103 | 1236297.6491 | 2727786.794 | 1236298.8372
83 | 2727750.1694 | 1236272.6951 | 2727769.1479 | 1236286.0579
84 | 2727747.6178 | 1236270.8985 | 2727750.1694 | 1236272.6951
85 | 2727726.2226 | 1236239.5175 | 2727734.3102 | 1236226.793
86 | 2727709.2014 | 1236246.2408 | 2727720.5133 | 1236241.2019 | 2727725.7099 | 1236240.324 | 2727726.2226 | 1236239.5175
87 | 2727709.2014 | 1236246.2408 | 2727701.7254 | 1236241.7102
88 | 2727747.6178 | 1236270.8985 | 2727733.4125 | 1236260.8958 | 2727719.2968 | 1236252.3518 | 2727709.2014 | 1236246.2408
89 | 2727699.944 | 1236240.6306 | 2727701.7254 | 1236241.7102
90 | 2727747.6178 | 1236270.8985 | 2727740.2436 | 1236284.3797

## bus_geodata
| x | y | coords
0 | 2728045.8622 | 1236397.2648
1 | 2728045.6414 | 1236406.0724
2 | 2727947.7381 | 1236239.7235
3 | 2728072.1628 | 1236424.7338
4 | 2727931.8509 | 1236245.1125
5 | 2727619.6679 | 1236145.7507
6 | 2727650.1626 | 1236176.323
7 | 2727581.6713 | 1236114.5348
8 | 2727674.1392 | 1236200.0707
9 | 2727589.925 | 1236156.6918
10 | 2727693.922 | 1236167.2239
11 | 2727663.141 | 1236218.3274
12 | 2727594.8235 | 1236181.6623
13 | 2727574.3099 | 1236159.5852
14 | 2727709.2726 | 1236146.5254
15 | 2727708.261 | 1236184.0462
16 | 2727670.2505 | 1236132.605
17 | 2727646.2362 | 1236245.8428
18 | 2727683.3951 | 1236230.6017
19 | 2727595.6873 | 1236186.053
20 | 2727564.3273 | 1236161.435
21 | 2727662.2813 | 1236106.9096
22 | 2727727.4286 | 1236125.6204
23 | 2727723.3808 | 1236160.3513
24 | 2727727.3856 | 1236195.8611
25 | 2727738.3944 | 1236114.7381
26 | 2727709.2145 | 1236110.6672
27 | 2727736.991 | 1236171.5237
28 | 2727747.1096 | 1236202.7082
29 | 2727750.5647 | 1236103.3658
30 | 2727760.1871 | 1236114.3877
31 | 2727767.5203 | 1236122.7874
32 | 2727787.7776 | 1236072.14
33 | 2727818.6565 | 1236049.5795
34 | 2727796.7871 | 1236082.9873
35 | 2727773.8602 | 1236130.0493
36 | 2727814.8908 | 1236099.7505
37 | 2727776.1121 | 1236132.6287
38 | 2727828.625 | 1236111.5517
39 | 2727809.6662 | 1236135.1008
40 | 2727853.1427 | 1236129.5487
41 | 2727866.713 | 1236139.2284
42 | 2727879.8316 | 1236148.586
43 | 2727893.4097 | 1236158.2713
44 | 2727901.8357 | 1236164.2815
45 | 2727942.1287 | 1236185.3903
46 | 2727937.51 | 1236199.8363
47 | 2727946.829 | 1236208.7327
48 | 2727903.6267 | 1236223.3025
49 | 2727893.712 | 1236225.5152
50 | 2727770.229 | 1236188.1163
51 | 2727785.9573 | 1236182.0735
52 | 2727761.7772 | 1236193.4507
53 | 2727793.2879 | 1236184.5554
54 | 2727807.0286 | 1236189.2078
55 | 2727773.8098 | 1236216.2527
56 | 2727784.3373 | 1236221.7853
57 | 2727805.8008 | 1236231.088
58 | 2727811.8795 | 1236233.4225
59 | 2727812.2322 | 1236233.5579
60 | 2727821.4327 | 1236237.0912
61 | 2727828.2129 | 1236202.7896
62 | 2727851.8355 | 1236211.634
63 | 2727855.9651 | 1236212.8354
64 | 2727867.4997 | 1236216.1914
65 | 2727875.3904 | 1236218.4872
66 | 2727835.9293 | 1236244.0189
67 | 2727836.2599 | 1236234.7165
68 | 2727883.4928 | 1236227.1517
69 | 2727865.7863 | 1236255.4889
70 | 2727891.0743 | 1236257.8187
71 | 2727859.2239 | 1236281.8131
72 | 2727851.1732 | 1236285.2928
73 | 2727883.4668 | 1236297.9328
74 | 2727824.8531 | 1236296.6689
75 | 2727867.3226 | 1236309.4796
76 | 2727824.6849 | 1236296.7416
77 | 2727838.9966 | 1236325.4515
78 | 2727796.7396 | 1236308.8201
79 | 2727786.794 | 1236298.8372
80 | 2727783.887 | 1236324.0215
81 | 2727769.1479 | 1236286.0579
82 | 2727750.1694 | 1236272.6951
83 | 2727726.2226 | 1236239.5175
84 | 2727734.3102 | 1236226.793
85 | 2727709.2014 | 1236246.2408
86 | 2727701.7254 | 1236241.7102
87 | 2727747.6178 | 1236270.8985
88 | 2727699.944 | 1236240.6306
89 | 2727740.2436 | 1236284.3797
90 | 2727619.3187 | 1236230.106
91 | 2727740.4518 | 1236173.9016
92 | 2727747.1096 | 1236202.7082

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1