## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3352-3_1_2_node_229 | 0.4 | n |  | TRUE
1 | bus_LV_3352-3_1_2_node_231 | 0.4 | n |  | TRUE
2 | bus_LV_3352-3_1_2_node_228 | 0.4 | n |  | TRUE
3 | bus_LV_3352-3_1_2_node_220 | 0.4 | n |  | TRUE
4 | bus_LV_3352-3_1_2_node_230 | 0.4 | n |  | TRUE
5 | bus_LV_3352-3_1_2_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_3352-3_1_2_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_3352-3_1_2_node_173 | 0.4 | n |  | TRUE
8 | bus_LV_3352-3_1_2_node_172 | 0.4 | n |  | TRUE
9 | bus_LV_3352-3_1_2_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_3352-3_1_2_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_3352-3_1_2_node_169 | 0.4 | n |  | TRUE
12 | bus_LV_3352-3_1_2_node_174 | 0.4 | n |  | TRUE
13 | bus_LV_3352-3_1_2_node_168 | 0.4 | n |  | TRUE
14 | bus_LV_3352-3_1_2_node_157 | 0.4 | n |  | TRUE
15 | bus_LV_3352-3_1_2_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_3352-3_1_2_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_3352-3_1_2_node_95 | 0.4 | n |  | TRUE
18 | bus_LV_3352-3_1_2_node_103 | 0.4 | n |  | TRUE
19 | bus_LV_3352-3_1_2_node_97 | 0.4 | n |  | TRUE
20 | bus_LV_3352-3_1_2_node_117 | 0.4 | n |  | TRUE
21 | bus_LV_3352-3_1_2_node_116 | 0.4 | n |  | TRUE
22 | bus_LV_3352-3_1_2_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_3352-3_1_2_node_119 | 0.4 | n |  | TRUE
24 | bus_LV_3352-3_1_2_node_176 | 0.4 | n |  | TRUE
25 | bus_LV_3352-3_1_2_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_3352-3_1_2_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_3352-3_1_2_node_150 | 0.4 | n |  | TRUE
28 | bus_LV_3352-3_1_2_node_151 | 0.4 | n |  | TRUE
29 | bus_LV_3352-3_1_2_node_152 | 0.4 | n |  | TRUE
30 | bus_LV_3352-3_1_2_node_153 | 0.4 | n |  | TRUE
31 | bus_LV_3352-3_1_2_node_154 | 0.4 | n |  | TRUE
32 | bus_LV_3352-3_1_2_node_155 | 0.4 | n |  | TRUE
33 | bus_LV_3352-3_1_2_node_161 | 0.4 | n |  | TRUE
34 | bus_LV_3352-3_1_2_node_159 | 0.4 | n |  | TRUE
35 | bus_LV_3352-3_1_2_node_164 | 0.4 | n |  | TRUE
36 | bus_LV_3352-3_1_2_node_156 | 0.4 | n |  | TRUE
37 | bus_LV_3352-3_1_2_node_162 | 0.4 | n |  | TRUE
38 | bus_LV_3352-3_1_2_node_160 | 0.4 | n |  | TRUE
39 | bus_LV_3352-3_1_2_node_165 | 0.4 | n |  | TRUE
40 | bus_LV_3352-3_1_2_node_158 | 0.4 | n |  | TRUE
41 | bus_LV_3352-3_1_2_node_171 | 0.4 | n |  | TRUE
42 | bus_LV_3352-3_1_2_node_170 | 0.4 | n |  | TRUE
43 | bus_LV_3352-3_1_2_node_167 | 0.4 | n |  | TRUE
44 | bus_LV_3352-3_1_2_node_163 | 0.4 | n |  | TRUE
45 | bus_LV_3352-3_1_2_node_166 | 0.4 | n |  | TRUE
46 | bus_LV_3352-3_1_2_node_175 | 0.4 | n |  | TRUE
47 | bus_LV_3352-3_1_2_node_177 | 0.4 | n |  | TRUE
48 | bus_LV_3352-3_1_2_node_178 | 0.4 | n |  | TRUE
49 | bus_LV_3352-3_1_2_node_181 | 0.4 | n |  | TRUE
50 | bus_LV_3352-3_1_2_node_182 | 0.4 | n |  | TRUE
51 | bus_LV_3352-3_1_2_node_281 | 0.4 | n |  | TRUE
52 | bus_LV_3352-3_1_2_node_280 | 0.4 | n |  | TRUE
53 | bus_LV_3352-3_1_2_node_268 | 0.4 | n |  | TRUE
54 | bus_LV_3352-3_1_2_node_270 | 0.4 | n |  | TRUE
55 | bus_LV_3352-3_1_2_node_267 | 0.4 | n |  | TRUE
56 | bus_LV_3352-3_1_2_node_183 | 0.4 | n |  | TRUE
57 | bus_LV_3352-3_1_2_node_184 | 0.4 | n |  | TRUE
58 | bus_LV_3352-3_1_2_node_185 | 0.4 | n |  | TRUE
59 | bus_LV_3352-3_1_2_node_186 | 0.4 | n |  | TRUE
60 | bus_LV_3352-3_1_2_node_187 | 0.4 | n |  | TRUE
61 | bus_LV_3352-3_1_2_node_188 | 0.4 | n |  | TRUE
62 | bus_LV_3352-3_1_2_node_189 | 0.4 | n |  | TRUE
63 | bus_LV_3352-3_1_2_node_263 | 0.4 | n |  | TRUE
64 | bus_LV_3352-3_1_2_node_266 | 0.4 | n |  | TRUE
65 | bus_LV_3352-3_1_2_node_277 | 0.4 | n |  | TRUE
66 | bus_LV_3352-3_1_2_node_262 | 0.4 | n |  | TRUE
67 | bus_LV_3352-3_1_2_node_265 | 0.4 | n |  | TRUE
68 | bus_LV_3352-3_1_2_node_269 | 0.4 | n |  | TRUE
69 | bus_LV_3352-3_1_2_node_278 | 0.4 | n |  | TRUE
70 | bus_LV_3352-3_1_2_node_190 | 0.4 | n |  | TRUE
71 | bus_LV_3352-3_1_2_node_191 | 0.4 | n |  | TRUE
72 | bus_LV_3352-3_1_2_node_194 | 0.4 | n |  | TRUE
73 | bus_LV_3352-3_1_2_node_195 | 0.4 | n |  | TRUE
74 | bus_LV_3352-3_1_2_node_261 | 0.4 | n |  | TRUE
75 | bus_LV_3352-3_1_2_node_259 | 0.4 | n |  | TRUE
76 | bus_LV_3352-3_1_2_node_198 | 0.4 | n |  | TRUE
77 | bus_LV_3352-3_1_2_node_210 | 0.4 | n |  | TRUE
78 | bus_LV_3352-3_1_2_node_212 | 0.4 | n |  | TRUE
79 | bus_LV_3352-3_1_2_node_208 | 0.4 | n |  | TRUE
80 | bus_LV_3352-3_1_2_node_192 | 0.4 | n |  | TRUE
81 | bus_LV_3352-3_1_2_node_193 | 0.4 | n |  | TRUE
82 | bus_LV_3352-3_1_2_node_196 | 0.4 | n |  | TRUE
83 | bus_LV_3352-3_1_2_node_197 | 0.4 | n |  | TRUE
84 | bus_LV_3352-3_1_2_node_203 | 0.4 | n |  | TRUE
85 | bus_LV_3352-3_1_2_node_204 | 0.4 | n |  | TRUE
86 | bus_LV_3352-3_1_2_node_205 | 0.4 | n |  | TRUE
87 | bus_LV_3352-3_1_2_node_215 | 0.4 | n |  | TRUE
88 | bus_LV_3352-3_1_2_node_233 | 0.4 | n |  | TRUE
89 | bus_LV_3352-3_1_2_node_209 | 0.4 | n |  | TRUE
90 | bus_LV_3352-3_1_2_node_237 | 0.4 | n |  | TRUE
91 | bus_LV_3352-3_1_2_node_199 | 0.4 | n |  | TRUE
92 | bus_LV_3352-3_1_2_node_200 | 0.4 | n |  | TRUE
93 | bus_LV_3352-3_1_2_node_201 | 0.4 | n |  | TRUE
94 | bus_LV_3352-3_1_2_node_202 | 0.4 | n |  | TRUE
95 | bus_LV_3352-3_1_2_node_221 | 0.4 | n |  | TRUE
96 | bus_LV_3352-3_1_2_node_222 | 0.4 | n |  | TRUE
97 | bus_LV_3352-3_1_2_node_227 | 0.4 | n |  | TRUE
98 | bus_LV_3352-3_1_2_node_234 | 0.4 | n |  | TRUE
99 | bus_LV_3352-3_1_2_node_211 | 0.4 | n |  | TRUE
100 | bus_LV_3352-3_1_2_node_207 | 0.4 | n |  | TRUE
101 | bus_LV_3352-3_1_2_node_236 | 0.4 | n |  | TRUE
102 | bus_LV_3352-3_1_2_node_206 | 0.4 | n |  | TRUE
103 | bus_LV_3352-3_1_2_node_213 | 0.4 | n |  | TRUE
104 | bus_LV_3352-3_1_2_node_214 | 0.4 | n |  | TRUE
105 | bus_LV_3352-3_1_2_node_218 | 0.4 | n |  | TRUE
106 | bus_LV_3352-3_1_2_node_217 | 0.4 | n |  | TRUE
107 | bus_LV_3352-3_1_2_node_232 | 0.4 | n |  | TRUE
108 | bus_LV_3352-3_1_2_node_226 | 0.4 | n |  | TRUE
109 | bus_LV_3352-3_1_2_node_216 | 0.4 | n |  | TRUE
110 | bus_LV_3352-3_1_2_node_223 | 0.4 | n |  | TRUE
111 | bus_LV_3352-3_1_2_node_224 | 0.4 | n |  | TRUE
112 | bus_LV_3352-3_1_2_node_225 | 0.4 | n |  | TRUE
113 | bus_LV_3352-3_1_2_node_235 | 0.4 | n |  | TRUE
114 | bus_LV_3352-3_1_2_node_238 | 0.4 | n |  | TRUE
115 | bus_LV_3352-3_1_2_node_239 | 0.4 | n |  | TRUE
116 | bus_LV_3352-3_1_2_node_240 | 0.4 | n |  | TRUE
117 | bus_LV_3352-3_1_2_node_241 | 0.4 | n |  | TRUE
118 | bus_LV_3352-3_1_2_node_242 | 0.4 | n |  | TRUE
119 | bus_LV_3352-3_1_2_node_243 | 0.4 | n |  | TRUE
120 | bus_LV_3352-3_1_2_node_249 | 0.4 | n |  | TRUE
121 | bus_LV_3352-3_1_2_node_244 | 0.4 | n |  | TRUE
122 | bus_LV_3352-3_1_2_node_250 | 0.4 | n |  | TRUE
123 | bus_LV_3352-3_1_2_node_245 | 0.4 | n |  | TRUE
124 | bus_LV_3352-3_1_2_node_246 | 0.4 | n |  | TRUE
125 | bus_LV_3352-3_1_2_node_247 | 0.4 | n |  | TRUE
126 | bus_LV_3352-3_1_2_node_248 | 0.4 | n |  | TRUE
127 | bus_LV_3352-3_1_2_node_260 | 0.4 | n |  | TRUE
128 | bus_LV_3352-3_1_2_node_272 | 0.4 | n |  | TRUE
129 | bus_LV_3352-3_1_2_node_273 | 0.4 | n |  | TRUE
130 | bus_LV_3352-3_1_2_node_251 | 0.4 | n |  | TRUE
131 | bus_LV_3352-3_1_2_node_252 | 0.4 | n |  | TRUE
132 | bus_LV_3352-3_1_2_node_253 | 0.4 | n |  | TRUE
133 | bus_LV_3352-3_1_2_node_254 | 0.4 | n |  | TRUE
134 | bus_LV_3352-3_1_2_node_255 | 0.4 | n |  | TRUE
135 | bus_LV_3352-3_1_2_node_256 | 0.4 | n |  | TRUE
136 | bus_LV_3352-3_1_2_node_257 | 0.4 | n |  | TRUE
137 | bus_LV_3352-3_1_2_node_258 | 0.4 | n |  | TRUE
138 | bus_LV_3352-3_1_2_node_279 | 0.4 | n |  | TRUE
139 | bus_LV_3352-3_1_2_node_282 | 0.4 | n |  | TRUE
140 | bus_LV_3352-3_1_2_node_275 | 0.4 | n |  | TRUE
141 | bus_LV_3352-3_1_2_node_264 | 0.4 | n |  | TRUE
142 | bus_LV_3352-3_1_2_node_271 | 0.4 | n |  | TRUE
143 | bus_LV_3352-3_1_2_node_274 | 0.4 | n |  | TRUE
144 | bus_LV_3352-3_1_2_node_276 | 0.4 | n |  | TRUE
145 | bus_MV_153_1_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3352-3_1_2_load_231 | 1 | 0.0001965 | 4.9248e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3352-3_1_2_load_220 | 3 | 0.00011134 | 2.7904e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3352-3_1_2_load_230 | 4 | 0.00014857 | 3.7236e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3352-3_1_2_load_78 | 5 | 9.9164e-05 | 2.4853e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3352-3_1_2_load_173 | 7 | 0.00016422 | 4.1158e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3352-3_1_2_load_172 | 8 | 0.00018769 | 4.7039e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3352-3_1_2_load_80 | 9 | 0.00028796 | 7.2169e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3352-3_1_2_load_81 | 10 | 0.00051825 | 0.00012988 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3352-3_1_2_load_174 | 12 | 0.00012893 | 3.2313e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3352-3_1_2_load_91 | 15 | 0.00063391 | 0.00015887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3352-3_1_2_load_95 | 17 | 0.00062518 | 0.00015669 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3352-3_1_2_load_103 | 18 | 0.00053931 | 0.00013516 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3352-3_1_2_load_117 | 20 | 0.0013675 | 0.00034272 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3352-3_1_2_load_116 | 21 | 0.00086723 | 0.00021735 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3352-3_1_2_load_118 | 22 | 0.0026726 | 0.00066981 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3352-3_1_2_load_119 | 23 | 0.00052875 | 0.00013252 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3352-3_1_2_load_176 | 24 | 0.00036182 | 9.068e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3352-3_1_2_load_147 | 25 | 0.00010557 | 2.6458e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3352-3_1_2_load_150 | 27 | 6.52e-05 | 1.6341e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3352-3_1_2_load_152 | 29 | 0.00020973 | 5.2564e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3352-3_1_2_load_154 | 31 | 0.00030182 | 7.5644e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3352-3_1_2_load_155 | 32 | 0.0001467 | 3.6766e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3352-3_1_2_load_161 | 33 | 0.00010149 | 2.5437e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3352-3_1_2_load_159 | 34 | 0.00018361 | 4.6017e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3352-3_1_2_load_164 | 35 | 0.00032043 | 8.0307e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3352-3_1_2_load_162 | 37 | 0.00010789 | 2.704e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3352-3_1_2_load_160 | 38 | 0.00046698 | 0.00011704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3352-3_1_2_load_165 | 39 | 0.00019522 | 4.8927e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3352-3_1_2_load_158 | 40 | 0.00027682 | 6.9377e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3352-3_1_2_load_171 | 41 | 0.00053313 | 0.00013362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3352-3_1_2_load_170 | 42 | 0.0010555 | 0.00026454 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3352-3_1_2_load_163 | 44 | 0.00017703 | 4.4368e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3352-3_1_2_load_166 | 45 | 0.0002356 | 5.9047e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3352-3_1_2_load_177 | 47 | 0.0004739 | 0.00011877 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3352-3_1_2_load_182 | 50 | 0.00025091 | 6.2884e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3352-3_1_2_load_281 | 51 | 0.0016189 | 0.00040574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3352-3_1_2_load_280 | 52 | 0.0021943 | 0.00054994 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3352-3_1_2_load_270 | 54 | 0.00044534 | 0.00011161 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3352-3_1_2_load_183 | 56 | 0.0013629 | 0.00034157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3352-3_1_2_load_186 | 59 | 0.0016257 | 0.00040744 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3352-3_1_2_load_188 | 61 | 0.0010088 | 0.00025283 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3352-3_1_2_load_263 | 63 | 0.0028813 | 0.00072213 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3352-3_1_2_load_266 | 64 | 0.00074773 | 0.0001874 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3352-3_1_2_load_277 | 65 | 0.0021798 | 0.0005463 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3352-3_1_2_load_262 | 66 | 0.00046745 | 0.00011715 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3352-3_1_2_load_265 | 67 | 0.00090789 | 0.00022754 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3352-3_1_2_load_269 | 68 | 0.00059636 | 0.00014946 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3352-3_1_2_load_278 | 69 | 0.0014827 | 0.0003716 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3352-3_1_2_load_190 | 70 | 0.0011663 | 0.00029229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3352-3_1_2_load_194 | 72 | 0.00050356 | 0.0001262 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3352-3_1_2_load_195 | 73 | 0.00060352 | 0.00015126 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3352-3_1_2_load_261 | 74 | 0.00051135 | 0.00012816 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3352-3_1_2_load_259 | 75 | 0.00068497 | 0.00017167 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3352-3_1_2_load_198 | 76 | 0.0011449 | 0.00028694 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3352-3_1_2_load_210 | 77 | 0.00061536 | 0.00015422 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3352-3_1_2_load_212 | 78 | 0.00026289 | 6.5887e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3352-3_1_2_load_208 | 79 | 0.00027039 | 6.7766e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3352-3_1_2_load_192 | 80 | 0.0047724 | 0.0011961 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3352-3_1_2_load_197 | 83 | 0.0013647 | 0.00034204 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3352-3_1_2_load_203 | 84 | 0.00042675 | 0.00010695 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3352-3_1_2_load_204 | 85 | 0.00021026 | 5.2696e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3352-3_1_2_load_205 | 86 | 0.00086767 | 0.00021746 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3352-3_1_2_load_215 | 87 | 0.0003698 | 9.268e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3352-3_1_2_load_233 | 88 | 0.00086405 | 0.00021655 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3352-3_1_2_load_237 | 90 | 0.00047038 | 0.00011789 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3352-3_1_2_load_200 | 92 | 8.73e-05 | 2.1879e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3352-3_1_2_load_201 | 93 | 0.00028314 | 7.0962e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3352-3_1_2_load_202 | 94 | 9.0123e-05 | 2.2587e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3352-3_1_2_load_221 | 95 | 0.00020632 | 5.171e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3352-3_1_2_load_227 | 97 | 8.2642e-05 | 2.0712e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3352-3_1_2_load_234 | 98 | 0.00093979 | 0.00023553 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3352-3_1_2_load_207 | 100 | 0.00043901 | 0.00011003 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3352-3_1_2_load_236 | 101 | 0.00099326 | 0.00024893 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3352-3_1_2_load_206 | 102 | 0.00038741 | 9.7094e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3352-3_1_2_load_214 | 104 | 0.00029184 | 7.3143e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3352-3_1_2_load_218 | 105 | 0.00028648 | 7.1798e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3352-3_1_2_load_232 | 107 | 0.00044037 | 0.00011037 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3352-3_1_2_load_226 | 108 | 0.00041535 | 0.0001041 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3352-3_1_2_load_216 | 109 | 0.00026872 | 6.7348e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3352-3_1_2_load_224 | 111 | 0.00013013 | 3.2614e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3352-3_1_2_load_225 | 112 | 0.00045556 | 0.00011417 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3352-3_1_2_load_235 | 113 | 0.00098531 | 0.00024694 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3352-3_1_2_load_239 | 115 | 0.0033459 | 0.00083857 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3352-3_1_2_load_241 | 117 | 0.0024152 | 0.00060531 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3352-3_1_2_load_242 | 118 | 0.00059609 | 0.00014939 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3352-3_1_2_load_243 | 119 | 0.0045564 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3352-3_1_2_load_249 | 120 | 0.00048175 | 0.00012074 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3352-3_1_2_load_250 | 122 | 0.0018922 | 0.00047423 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3352-3_1_2_load_245 | 123 | 0.00069794 | 0.00017492 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3352-3_1_2_load_248 | 126 | 0.0022815 | 0.0005718 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3352-3_1_2_load_260 | 127 | 0.0032605 | 0.00081715 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3352-3_1_2_load_272 | 128 | 0.0056089 | 0.0014057 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3352-3_1_2_load_273 | 129 | 0.0018604 | 0.00046625 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3352-3_1_2_load_251 | 130 | 0.00038876 | 9.7433e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3352-3_1_2_load_252 | 131 | 0.00089392 | 0.00022404 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3352-3_1_2_load_253 | 132 | 0.0011264 | 0.00028229 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3352-3_1_2_load_255 | 134 | 0.0037605 | 0.00094246 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3352-3_1_2_load_256 | 135 | 0.00030361 | 7.6092e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3352-3_1_2_load_257 | 136 | 0.0012897 | 0.00032324 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3352-3_1_2_load_258 | 137 | 0.0005114 | 0.00012817 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3352-3_1_2_load_279 | 138 | 0.00013989 | 3.5059e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3352-3_1_2_load_282 | 139 | 0.0004118 | 0.00010321 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3352-3_1_2_load_275 | 140 | 0.0010767 | 0.00026984 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3352-3_1_2_load_264 | 141 | 0.0011241 | 0.00028172 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3352-3_1_2_load_271 | 142 | 0.00053488 | 0.00013405 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3352-3_1_2_load_276 | 144 | 0.0014823 | 0.00037149 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 127 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3352-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3352-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3352-3_1_2_line_2 | NAYY 4x150 SE | 2 | 4 | 0.078027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3352-3_1_2_line_3 | NAYY 4x150 SE | 2 | 97 | 0.13157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3352-3_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.16161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3352-3_1_2_line_5 | NAYY 4x150 SE | 4 | 92 | 0.34965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3352-3_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.013768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3352-3_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.060438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3352-3_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.010158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3352-3_1_2_line_9 | NAYY 4x150 SE | 8 | 14 | 0.056859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3352-3_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.091931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3352-3_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.02677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3352-3_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0036819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3352-3_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.15117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3352-3_1_2_line_14 | NAYY 4x150 SE | 12 | 46 | 0.036159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3352-3_1_2_line_15 | NAYY 4x150 SE | 13 | 42 | 0.062478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3352-3_1_2_line_16 | NAYY 4x150 SE | 13 | 43 | 0.091588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3352-3_1_2_line_17 | NAYY 4x150 SE | 14 | 41 | 0.070079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3352-3_1_2_line_18 | NAYY 4x150 SE | 14 | 36 | 0.023152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3352-3_1_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.12095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3352-3_1_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.040784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3352-3_1_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.15743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3352-3_1_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.23621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3352-3_1_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.19502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3352-3_1_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.065347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3352-3_1_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.024669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3352-3_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.14978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3352-3_1_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.12204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3352-3_1_2_line_28 | NAYY 4x150 SE | 24 | 46 | 0.02857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3352-3_1_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.045888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3352-3_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.015047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3352-3_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.072567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3352-3_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.04539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3352-3_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.008829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3352-3_1_2_line_34 | NAYY 4x150 SE | 28 | 31 | 0.078515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3352-3_1_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.12578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3352-3_1_2_line_36 | NAYY 4x150 SE | 30 | 33 | 0.0095121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3352-3_1_2_line_37 | NAYY 4x150 SE | 30 | 34 | 0.018858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3352-3_1_2_line_38 | NAYY 4x150 SE | 31 | 35 | 0.025592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3352-3_1_2_line_39 | NAYY 4x150 SE | 32 | 36 | 0.045056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3352-3_1_2_line_40 | NAYY 4x150 SE | 33 | 37 | 0.012867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3352-3_1_2_line_41 | NAYY 4x150 SE | 34 | 38 | 0.0064578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3352-3_1_2_line_42 | NAYY 4x150 SE | 35 | 39 | 0.021311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3352-3_1_2_line_43 | NAYY 4x150 SE | 36 | 40 | 0.013226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3352-3_1_2_line_44 | NAYY 4x150 SE | 37 | 44 | 0.011345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3352-3_1_2_line_45 | NAYY 4x150 SE | 39 | 45 | 5.9348e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3352-3_1_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.025714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3352-3_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.084025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3352-3_1_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.12439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3352-3_1_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.016216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3352-3_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.06664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3352-3_1_2_line_51 | NAYY 4x150 SE | 50 | 53 | 0.018347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3352-3_1_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.015439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3352-3_1_2_line_53 | NAYY 4x150 SE | 52 | 139 | 0.0018299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3352-3_1_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.02744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3352-3_1_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.1009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3352-3_1_2_line_56 | NAYY 4x150 SE | 55 | 68 | 0.018244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3352-3_1_2_line_57 | NAYY 4x150 SE | 55 | 61 | 0.017615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3352-3_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.12746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3352-3_1_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.054555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3352-3_1_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.044365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3352-3_1_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.011194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3352-3_1_2_line_62 | NAYY 4x150 SE | 58 | 61 | 0.028988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3352-3_1_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.01141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3352-3_1_2_line_64 | NAYY 4x150 SE | 60 | 63 | 0.0019483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3352-3_1_2_line_65 | NAYY 4x150 SE | 60 | 64 | 0.014481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3352-3_1_2_line_66 | NAYY 4x150 SE | 62 | 65 | 0.010158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3352-3_1_2_line_67 | NAYY 4x150 SE | 63 | 66 | 0.03638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3352-3_1_2_line_68 | NAYY 4x150 SE | 64 | 67 | 0.021351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3352-3_1_2_line_69 | NAYY 4x150 SE | 65 | 69 | 0.0075326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3352-3_1_2_line_70 | NAYY 4x150 SE | 66 | 125 | 0.022093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3352-3_1_2_line_71 | NAYY 4x150 SE | 67 | 141 | 0.0069875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3352-3_1_2_line_72 | NAYY 4x150 SE | 68 | 142 | 0.020384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3352-3_1_2_line_73 | NAYY 4x150 SE | 70 | 71 | 0.065652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3352-3_1_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.040918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3352-3_1_2_line_75 | NAYY 4x150 SE | 71 | 73 | 0.040517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3352-3_1_2_line_76 | NAYY 4x150 SE | 72 | 76 | 0.081123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3352-3_1_2_line_77 | NAYY 4x150 SE | 74 | 75 | 0.060091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3352-3_1_2_line_78 | NAYY 4x150 SE | 75 | 127 | 0.039675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3352-3_1_2_line_79 | NAYY 4x150 SE | 76 | 77 | 0.14172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3352-3_1_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.016162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3352-3_1_2_line_81 | NAYY 4x150 SE | 77 | 79 | 0.18647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3352-3_1_2_line_82 | NAYY 4x150 SE | 78 | 87 | 0.019336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3352-3_1_2_line_83 | NAYY 4x150 SE | 79 | 102 | 0.014584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3352-3_1_2_line_84 | NAYY 4x150 SE | 80 | 81 | 0.1187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3352-3_1_2_line_85 | NAYY 4x150 SE | 81 | 82 | 0.006137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3352-3_1_2_line_86 | NAYY 4x150 SE | 81 | 83 | 0.011353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3352-3_1_2_line_87 | NAYY 4x150 SE | 82 | 84 | 0.033847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3352-3_1_2_line_88 | NAYY 4x150 SE | 82 | 85 | 0.041212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3352-3_1_2_line_89 | NAYY 4x150 SE | 83 | 86 | 0.035488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3352-3_1_2_line_90 | NAYY 4x150 SE | 84 | 88 | 0.0062356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3352-3_1_2_line_91 | NAYY 4x150 SE | 85 | 89 | 0.053969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3352-3_1_2_line_92 | NAYY 4x150 SE | 86 | 90 | 0.0090561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3352-3_1_2_line_93 | NAYY 4x150 SE | 87 | 108 | 0.042822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3352-3_1_2_line_94 | NAYY 4x150 SE | 88 | 98 | 0.03679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3352-3_1_2_line_95 | NAYY 4x150 SE | 89 | 99 | 0.029794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3352-3_1_2_line_96 | NAYY 4x150 SE | 89 | 100 | 0.146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3352-3_1_2_line_97 | NAYY 4x150 SE | 90 | 101 | 0.014637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3352-3_1_2_line_98 | NAYY 4x150 SE | 91 | 92 | 0.025061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3352-3_1_2_line_99 | NAYY 4x150 SE | 91 | 93 | 0.03787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3352-3_1_2_line_100 | NAYY 4x150 SE | 93 | 94 | 0.020219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3352-3_1_2_line_101 | NAYY 4x150 SE | 94 | 95 | 0.26292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3352-3_1_2_line_102 | NAYY 4x150 SE | 95 | 96 | 0.11444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3352-3_1_2_line_103 | NAYY 4x150 SE | 96 | 110 | 0.029654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3352-3_1_2_line_104 | NAYY 4x150 SE | 96 | 111 | 0.031407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3352-3_1_2_line_105 | NAYY 4x150 SE | 98 | 113 | 0.026428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3352-3_1_2_line_106 | NAYY 4x150 SE | 99 | 103 | 0.052096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3352-3_1_2_line_107 | NAYY 4x150 SE | 99 | 104 | 0.013092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3352-3_1_2_line_108 | NAYY 4x150 SE | 100 | 102 | 0.0016173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3352-3_1_2_line_109 | NAYY 4x150 SE | 101 | 114 | 0.060284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3352-3_1_2_line_110 | NAYY 4x150 SE | 103 | 105 | 0.14909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3352-3_1_2_line_111 | NAYY 4x150 SE | 103 | 106 | 0.16847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3352-3_1_2_line_112 | NAYY 4x150 SE | 104 | 107 | 0.014167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3352-3_1_2_line_113 | NAYY 4x150 SE | 106 | 109 | 0.015481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3352-3_1_2_line_114 | NAYY 4x150 SE | 108 | 110 | 0.063972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3352-3_1_2_line_115 | NAYY 4x150 SE | 110 | 112 | 0.054879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3352-3_1_2_line_116 | NAYY 4x150 SE | 114 | 115 | 0.059555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3352-3_1_2_line_117 | NAYY 4x150 SE | 114 | 116 | 0.005555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3352-3_1_2_line_118 | NAYY 4x150 SE | 115 | 117 | 0.018133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3352-3_1_2_line_119 | NAYY 4x150 SE | 116 | 118 | 0.024084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3352-3_1_2_line_120 | NAYY 4x150 SE | 116 | 119 | 0.015093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3352-3_1_2_line_121 | NAYY 4x150 SE | 118 | 120 | 0.031589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3352-3_1_2_line_122 | NAYY 4x150 SE | 119 | 121 | 0.045368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3352-3_1_2_line_123 | NAYY 4x150 SE | 120 | 122 | 0.034664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3352-3_1_2_line_124 | NAYY 4x150 SE | 121 | 123 | 0.085951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3352-3_1_2_line_125 | NAYY 4x150 SE | 121 | 124 | 0.053231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3352-3_1_2_line_126 | NAYY 4x150 SE | 122 | 130 | 0.010486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3352-3_1_2_line_127 | NAYY 4x150 SE | 124 | 125 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3352-3_1_2_line_128 | NAYY 4x150 SE | 124 | 126 | 0.016142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3352-3_1_2_line_129 | NAYY 4x150 SE | 125 | 127 | 0.028815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3352-3_1_2_line_130 | NAYY 4x150 SE | 126 | 128 | 0.0024713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3352-3_1_2_line_131 | NAYY 4x150 SE | 128 | 129 | 0.046887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3352-3_1_2_line_132 | NAYY 4x150 SE | 129 | 143 | 0.011467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3352-3_1_2_line_133 | NAYY 4x150 SE | 130 | 131 | 0.03305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3352-3_1_2_line_134 | NAYY 4x150 SE | 132 | 133 | 0.064352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3352-3_1_2_line_135 | NAYY 4x150 SE | 133 | 134 | 0.0089081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3352-3_1_2_line_136 | NAYY 4x150 SE | 133 | 135 | 0.024826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3352-3_1_2_line_137 | NAYY 4x150 SE | 134 | 136 | 0.086682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3352-3_1_2_line_138 | NAYY 4x150 SE | 135 | 137 | 0.0057215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3352-3_1_2_line_139 | NAYY 4x150 SE | 136 | 138 | 0.0044627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3352-3_1_2_line_140 | NAYY 4x150 SE | 137 | 139 | 0.013103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3352-3_1_2_line_141 | NAYY 4x150 SE | 138 | 140 | 0.012104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_3352-3_1_2_line_142 | NAYY 4x150 SE | 140 | 143 | 0.0082903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3352-3_1_2_line_143 | NAYY 4x150 SE | 143 | 144 | 0.027372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3352-3_1_2_trafo_260 | 0.25 MVA 20/0.4 kV | 145 | 127 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2728403.4305 | 1233907.9453 | 2728401.3611 | 1233913.9946 | 2728401.5152 | 1233918.4238 | 2728403.1474 | 1233930.1467
1 | 2728458.5465 | 1234023.7998 | 2728459.2117 | 1234016.8528 | 2728457.4625 | 1234003.8931 | 2728452.7325 | 1233992.9039 | 2728438.0958 | 1233970.0796 | 2728403.4305 | 1233907.9453
2 | 2728458.5465 | 1234023.7998 | 2728439.0071 | 1234069.3934 | 2728432.0469 | 1234085.8901 | 2728428.8541 | 1234093.4608 | 2728427.4365 | 1234095.2741
3 | 2728458.5465 | 1234023.7998 | 2728452.4098 | 1234065.2351 | 2728449.5117 | 1234088.9368 | 2728451.0513 | 1234101.7808 | 2728455.2835 | 1234114.4273 | 2728466.1611 | 1234123.0251 | 2728472.6689 | 1234123.5885 | 2728478.7603 | 1234120.6511 | 2728486.7406 | 1234111.1926
4 | 2728427.4365 | 1234095.2741 | 2728266.9618 | 1234076.1167
5 | 2728245.4819 | 1234393.8479 | 2728427.4365 | 1234095.2741
6 | 2727605.4485 | 1234546.7129 | 2727594.0709 | 1234538.9593
7 | 2727650.2206 | 1234506.274 | 2727619.7644 | 1234530.6402 | 2727605.4485 | 1234546.7129
8 | 2727605.4485 | 1234546.7129 | 2727598.6903 | 1234554.2963
9 | 2727650.9348 | 1234557.2319 | 2727635.0559 | 1234550.5519 | 2727603.4229 | 1234559.2242 | 2727598.6903 | 1234554.2963
10 | 2727654.5563 | 1234772.1721 | 2727663.5603 | 1234778.9547 | 2727680.8034 | 1234792.9369 | 2727704.6811 | 1234811.054 | 2727709.5983 | 1234814.0733 | 2727716.5145 | 1234814.9783 | 2727722.3856 | 1234814.1371 | 2727727.6147 | 1234812.5148 | 2727731.0249 | 1234815.1903
11 | 2727757.7164 | 1234817.2436 | 2727731.0249 | 1234815.1903
12 | 2727757.7164 | 1234817.2436 | 2727757.7893 | 1234820.1921 | 2727757.8162 | 1234820.9241
13 | 2727727.9508 | 1234678.9772 | 2727753.072 | 1234697.7329 | 2727757.9097 | 1234753.7169 | 2727756.5091 | 1234765.6746 | 2727756.9312 | 1234784.7663 | 2727757.7164 | 1234817.2436
14 | 2727768.032 | 1234854.0517 | 2727762.442 | 1234848.8716 | 2727759.6984 | 1234840.906 | 2727758.2334 | 1234832.2784 | 2727757.8162 | 1234820.9241
15 | 2727692.9567 | 1234726.0088 | 2727704.2398 | 1234721.7366 | 2727719.8451 | 1234698.864 | 2727720.3941 | 1234687.4218 | 2727727.9508 | 1234678.9772
16 | 2727795.5977 | 1234630.7914 | 2727788.5261 | 1234626.191 | 2727773.0584 | 1234628.5715 | 2727727.9508 | 1234678.9772
17 | 2727650.9348 | 1234557.2319 | 2727640.2127 | 1234563.9294 | 2727627.7944 | 1234578.7306 | 2727624.6953 | 1234596.4454 | 2727629.1106 | 1234616.1345
18 | 2727650.9348 | 1234557.2319 | 2727673.0172 | 1234550.0781
19 | 2727186.0915 | 1235026.8672 | 2727222.9907 | 1235103.3653 | 2727231.7555 | 1235123.6366 | 2727235.2726 | 1235137.1194
20 | 2727186.0915 | 1235026.8672 | 2727204.5482 | 1235013.907 | 2727217.1959 | 1235000.7755
21 | 2727186.0915 | 1235026.8672 | 2727075.0236 | 1235138.4394
22 | 2727433.1648 | 1234938.8873 | 2727396.0125 | 1234952.9468 | 2727380.3896 | 1234946.729 | 2727343.6702 | 1234940.6146 | 2727309.2458 | 1234945.7591 | 2727224.403 | 1234993.2927 | 2727217.1959 | 1235000.7755
23 | 2727433.1648 | 1234938.8873 | 2727467.7067 | 1234915.2307 | 2727478.727 | 1234912.9429 | 2727484.4857 | 1234919.7944 | 2727478.0203 | 1234984.999 | 2727480.0169 | 1234997.0964 | 2727521.1349 | 1235033.876
24 | 2727433.1648 | 1234938.8873 | 2727428.8263 | 1234891.9662 | 2727437.8274 | 1234876.1178
25 | 2727521.1349 | 1235033.876 | 2727530.7559 | 1235011.1609
26 | 2727647.9625 | 1234943.7795 | 2727590.88 | 1234943.1085 | 2727578.3615 | 1234949.5785 | 2727537.7328 | 1234994.6884 | 2727530.7559 | 1235011.1609
27 | 2727748.101 | 1234874.025 | 2727647.9625 | 1234943.7795
28 | 2727768.032 | 1234854.0517 | 2727759.1095 | 1234866.1588 | 2727748.101 | 1234874.025
29 | 2727855.2753 | 1234439.3486 | 2727854.4983 | 1234434.9949 | 2727858.7843 | 1234402.2821 | 2727860.4592 | 1234393.9763
30 | 2727855.2753 | 1234439.3486 | 2727849.6149 | 1234443.0521 | 2727849.4366 | 1234451.333
31 | 2727877.3266 | 1234507.858 | 2727876.2864 | 1234498.8503 | 2727871.3933 | 1234485.912 | 2727864.2661 | 1234471.58 | 2727860.0776 | 1234462.8382 | 2727857.486 | 1234451.6731 | 2727855.2753 | 1234439.3486
32 | 2727830.6367 | 1234486.7392 | 2727843.0207 | 1234482.3875 | 2727849.0831 | 1234467.7502 | 2727849.4366 | 1234451.333
33 | 2727877.3266 | 1234507.858 | 2727885.674 | 1234504.913
34 | 2727877.3266 | 1234507.858 | 2727877.4303 | 1234514.9995 | 2727874.4884 | 1234523.6212 | 2727870.1194 | 1234536.6269 | 2727864.8157 | 1234548.3782 | 2727854.6576 | 1234566.497 | 2727845.6338 | 1234578.327
35 | 2727830.6367 | 1234486.7392 | 2727761.374 | 1234511.0778 | 2727730.3963 | 1234531.5067 | 2727715.8836 | 1234536.2039
36 | 2727885.674 | 1234504.913 | 2727888.0926 | 1234504.0643 | 2727892.5754 | 1234501.9479 | 2727894.5643 | 1234502.0525
37 | 2727885.674 | 1234504.913 | 2727887.9657 | 1234509.9554 | 2727892.7447 | 1234516.9418 | 2727895.122 | 1234521.1743
38 | 2727828.4761 | 1234597.24 | 2727833.2093 | 1234593.08 | 2727844.2008 | 1234580.2057 | 2727845.6338 | 1234578.327
39 | 2727673.0172 | 1234550.0781 | 2727715.8836 | 1234536.2039
40 | 2727894.5643 | 1234502.0525 | 2727900.4566 | 1234502.3623 | 2727904.1502 | 1234496.4556
41 | 2727893.0142 | 1234527.2785 | 2727895.122 | 1234521.1743
42 | 2727828.4761 | 1234597.24 | 2727812.4692 | 1234611.309
43 | 2727673.0172 | 1234550.0781 | 2727672.1327 | 1234563.2744
44 | 2727910.1654 | 1234486.8361 | 2727904.1502 | 1234496.4556
45 | 2727812.4246 | 1234611.3481 | 2727812.4692 | 1234611.309
46 | 2727795.5977 | 1234630.7914 | 2727812.4246 | 1234611.3481
47 | 2727768.032 | 1234854.0517 | 2727773.4254 | 1234857.4594 | 2727779.7723 | 1234860.187 | 2727784.8146 | 1234861.263 | 2727794.3579 | 1234861.1237 | 2727801.2988 | 1234857.3587 | 2727809.1459 | 1234853.3575 | 2727815.3009 | 1234849.8758 | 2727821.5097 | 1234848.8196 | 2727828.8085 | 1234850.5892 | 2727833.7855 | 1234855.4003 | 2727837.2762 | 1234860.6687 | 2727838.4978 | 1234865.734
48 | 2727898.6562 | 1234971.8936 | 2727871.3643 | 1234935.1755 | 2727848.868 | 1234904.2879 | 2727843.2369 | 1234892.2344 | 2727840.1788 | 1234882.3492 | 2727839.8481 | 1234871.3329 | 2727838.4978 | 1234865.734
49 | 2727898.6562 | 1234971.8936 | 2727901.7545 | 1234976.0415 | 2727904.7241 | 1234980.1866 | 2727907.7175 | 1234985.3332
50 | 2727907.7175 | 1234985.3332 | 2727910.7448 | 1234992.0706 | 2727922.2983 | 1235050.1871
51 | 2727925.8757 | 1235068.1822 | 2727922.2983 | 1235050.1871
52 | 2727978.7452 | 1235396.5486 | 2727976.6119 | 1235406.0575 | 2727975.4831 | 1235411.6381
53 | 2727978.7452 | 1235396.5486 | 2727979.1458 | 1235394.7632
54 | 2727903.7251 | 1235076.112 | 2727911.7404 | 1235065.6981 | 2727925.8757 | 1235068.1822
55 | 2727898.7348 | 1235156.2828 | 2727898.1375 | 1235154.1348 | 2727899.4076 | 1235147.5455 | 2727907.1052 | 1235137.1136 | 2727915.8184 | 1235129.795 | 2727923.6467 | 1235121.7346 | 2727927.0607 | 1235117.549 | 2727930.8383 | 1235110.5467 | 2727932.1254 | 1235104.9253 | 2727931.5365 | 1235097.8178 | 2727925.8757 | 1235068.1822
56 | 2727898.7348 | 1235156.2828 | 2727894.4472 | 1235155.3341 | 2727887.7715 | 1235154.1784 | 2727880.6987 | 1235154.4388
57 | 2727898.7348 | 1235156.2828 | 2727899.479 | 1235158.9899 | 2727903.319 | 1235163.4986 | 2727907.2178 | 1235165.9735 | 2727911.2894 | 1235167.2489
58 | 2727898.4718 | 1235194.4979 | 2727886.7172 | 1235193.6331 | 2727875.9798 | 1235193.3462 | 2727855.8931 | 1235192.302 | 2727839.056 | 1235191.5391 | 2727825.9047 | 1235189.4322 | 2727813.3588 | 1235187.3383 | 2727803.2844 | 1235183.6852 | 2727795.8788 | 1235178.4549 | 2727792.105 | 1235174.7373 | 2727787.8892 | 1235172.2112 | 2727782.8449 | 1235170.8905 | 2727778.7767 | 1235171.0031 | 2727776.1296 | 1235171.1038
59 | 2727898.4718 | 1235194.4979 | 2727902.7352 | 1235186.0271 | 2727905.3159 | 1235179.3993 | 2727907.3931 | 1235176.4638 | 2727911.9017 | 1235174.537 | 2727918.8405 | 1235174.0193 | 2727926.1661 | 1235172.4201 | 2727931.9019 | 1235170.1083 | 2727939.9062 | 1235166.1774
60 | 2727898.4718 | 1235194.4979 | 2727888.9078 | 1235224.7952 | 2727885.0642 | 1235236.7888
61 | 2727951.1008 | 1235167.0302 | 2727939.9062 | 1235166.1774
62 | 2727939.9062 | 1235166.1774 | 2727935.5446 | 1235165.8498 | 2727927.1199 | 1235166.102 | 2727920.0242 | 1235167.9286 | 2727913.8509 | 1235168.0513 | 2727911.2894 | 1235167.2489
63 | 2727884.7274 | 1235248.0469 | 2727884.2244 | 1235244.333 | 2727884.3138 | 1235239.1305 | 2727885.0642 | 1235236.7888
64 | 2727951.1008 | 1235167.0302 | 2727953.0181 | 1235167.3765
65 | 2727951.1008 | 1235167.0302 | 2727952.7522 | 1235152.6439
66 | 2727884.7274 | 1235248.0469 | 2727886.4923 | 1235251.877 | 2727889.67 | 1235254.4364 | 2727891.2641 | 1235255.396
67 | 2727953.0181 | 1235167.3765 | 2727960.9581 | 1235168.8107 | 2727964.7664 | 1235168.8149 | 2727967.6342 | 1235167.4867 | 2727969.4585 | 1235164.3455 | 2727973.294 | 1235158.1674 | 2727977.7531 | 1235148.7298
68 | 2727951.8106 | 1235132.096 | 2727950.0099 | 1235138.6052 | 2727953.2541 | 1235148.272 | 2727952.7522 | 1235152.6439
69 | 2727898.3497 | 1235257.8038 | 2727892.6971 | 1235256.2586 | 2727891.2641 | 1235255.396
70 | 2727995.9758 | 1235140.6858 | 2727991.5725 | 1235140.1905 | 2727983.3371 | 1235141.492 | 2727979.5771 | 1235144.8694 | 2727977.7531 | 1235148.7298
71 | 2727953.6737 | 1235125.3615 | 2727951.8106 | 1235132.096
72 | 2727860.8804 | 1235159.0037 | 2727869.2452 | 1235156.9598 | 2727878.4363 | 1235154.5222 | 2727880.6987 | 1235154.4388
73 | 2728135.9562 | 1234802.7422 | 2728109.8072 | 1234862.9619
74 | 2728135.9562 | 1234802.7422 | 2728146.3025 | 1234804.3444 | 2728172.9566 | 1234789.6248
75 | 2728135.9562 | 1234802.7422 | 2728137.6295 | 1234798.8861 | 2728143.3767 | 1234784.8428 | 2728148.5464 | 1234764.3453
76 | 2728243.3251 | 1234804.1699 | 2728241.8843 | 1234805.5741 | 2728222.1757 | 1234785.9101 | 2728209.2788 | 1234781.4503 | 2728179.8285 | 1234785.8298 | 2728172.9566 | 1234789.6248
77 | 2728015.9029 | 1235049.4165 | 2728015.2626 | 1235056.2862 | 2728010.743 | 1235060.1254 | 2727994.8952 | 1235062.9753 | 2727988.7729 | 1235072.6737 | 2727986.2907 | 1235084.9083 | 2727987.8877 | 1235091.9359
78 | 2727987.8877 | 1235091.9359 | 2727988.0887 | 1235092.8203 | 2727999.4306 | 1235092.8202 | 2728007.0372 | 1235094.6967 | 2728007.7668 | 1235106.5112 | 2728006.4122 | 1235114.1468
79 | 2728384.814 | 1234812.1834 | 2728243.3251 | 1234804.1699
80 | 2728384.814 | 1234812.1834 | 2728384.9615 | 1234811.4574 | 2728386.8519 | 1234796.1526
81 | 2728351.9853 | 1234994.1219 | 2728349.1947 | 1234983.6845 | 2728351.6492 | 1234954.2017 | 2728361.6167 | 1234926.3826 | 2728384.814 | 1234812.1834
82 | 2728386.8519 | 1234796.1526 | 2728388.2658 | 1234784.7064 | 2728391.7261 | 1234777.713
83 | 2728355.7521 | 1235008.211 | 2728351.9853 | 1234994.1219
84 | 2728227.1358 | 1235166.2577 | 2728256.1076 | 1235136.2801 | 2728260.878 | 1235111.3734 | 2728254.6371 | 1235092.5451 | 2728241.5616 | 1235082.0207 | 2728226.7598 | 1235079.4204
85 | 2728227.1358 | 1235166.2577 | 2728232.8722 | 1235168.4834
86 | 2728227.1358 | 1235166.2577 | 2728219.4747 | 1235164.4576 | 2728215.9937 | 1235164.3247
87 | 2728232.8722 | 1235168.4834 | 2728233.8465 | 1235202.3167
88 | 2728232.8722 | 1235168.4834 | 2728241.0125 | 1235170.8833 | 2728247.8572 | 1235170.5196 | 2728253.8736 | 1235168.5478 | 2728263.3246 | 1235164.2482 | 2728270.2676 | 1235158.2779
89 | 2728180.8515 | 1235167.8052 | 2728186.1075 | 1235166.2392 | 2728208.0666 | 1235164.0222 | 2728215.9937 | 1235164.3247
90 | 2728233.8465 | 1235202.3167 | 2728234.026 | 1235208.5498
91 | 2728317.278 | 1235140.4042 | 2728308.5978 | 1235139.5161 | 2728302.803 | 1235139.2907 | 2728295.3356 | 1235139.741 | 2728289.9469 | 1235141.3927 | 2728283.9449 | 1235144.4546 | 2728278.2616 | 1235148.88 | 2728272.559 | 1235156.3076 | 2728270.2676 | 1235158.2779
92 | 2728180.8515 | 1235167.8052 | 2728172.1725 | 1235170.3912
93 | 2728391.7261 | 1234777.713 | 2728397.1179 | 1234766.816 | 2728409.8855 | 1234738.9361
94 | 2728234.026 | 1235208.5498 | 2728234.1485 | 1235212.8036 | 2728227.8532 | 1235241.0136 | 2728227.5874 | 1235244.6345
95 | 2728317.278 | 1235140.4042 | 2728336.3869 | 1235142.9079 | 2728346.9219 | 1235144.1587
96 | 2728317.278 | 1235140.4042 | 2728321.2203 | 1235131.0593 | 2728350.5372 | 1235103.3582 | 2728353.7781 | 1235093.1863 | 2728349.0739 | 1235059.323 | 2728357.867 | 1235016.1212 | 2728356.1699 | 1235009.7734
97 | 2728159.438 | 1235177.5701 | 2728163.3101 | 1235175.0214 | 2728172.048 | 1235170.4283 | 2728172.1725 | 1235170.3912
98 | 2728239.0848 | 1234418.0785 | 2728245.4819 | 1234393.8479
99 | 2728239.0848 | 1234418.0785 | 2728263.9452 | 1234407.5284 | 2728273.4878 | 1234412.7213
100 | 2728291.2477 | 1234422.3857 | 2728273.4878 | 1234412.7213
101 | 2728507.8377 | 1234571.4397 | 2728291.2477 | 1234422.3857
102 | 2728449.5289 | 1234663.9625 | 2728452.3501 | 1234659.2084 | 2728476.8115 | 1234646.7713 | 2728507.8377 | 1234571.4397
103 | 2728449.5289 | 1234663.9625 | 2728442.8903 | 1234663.5187 | 2728429.1139 | 1234671.3608 | 2728425.6307 | 1234677.6686
104 | 2728449.5289 | 1234663.9625 | 2728464.7649 | 1234686.2995 | 2728468.9399 | 1234687.5871
105 | 2728225.6527 | 1235270.992 | 2728227.5874 | 1235244.6345
106 | 2728346.9219 | 1235144.1587 | 2728356.6709 | 1235143.5911 | 2728365.1038 | 1235141.5604 | 2728373.6325 | 1235137.5524 | 2728382.0995 | 1235131.4969 | 2728387.8235 | 1235125.5378 | 2728391.1557 | 1235120.9504
107 | 2728346.9219 | 1235144.1587 | 2728344.5626 | 1235157.0368
108 | 2728355.7521 | 1235008.211 | 2728356.1699 | 1235009.7734
109 | 2728107.1634 | 1235206.5148 | 2728112.8604 | 1235205.3033 | 2728123.0697 | 1235201.6426 | 2728138.3642 | 1235191.4416 | 2728159.438 | 1235177.5701
110 | 2728391.1557 | 1235120.9504 | 2728427.3855 | 1235126.8606 | 2728445.6956 | 1235136.887 | 2728448.8572 | 1235147.8867 | 2728445.2229 | 1235158.7395 | 2728414.1176 | 1235197.3551 | 2728403.9846 | 1235213.4664
111 | 2728391.1557 | 1235120.9504 | 2728452.2067 | 1235010.5663 | 2728467.9337 | 1234996.172 | 2728482.3343 | 1234993.3921 | 2728488.4097 | 1234995.7032
112 | 2728342.5442 | 1235171.0596 | 2728344.5355 | 1235157.1848 | 2728344.5626 | 1235157.0368
113 | 2728488.4097 | 1234995.7032 | 2728498.5329 | 1234999.5475 | 2728502.1652 | 1235002.4542
114 | 2728425.6307 | 1234677.6686 | 2728421.8718 | 1234684.4708 | 2728415.8413 | 1234725.9308 | 2728409.8855 | 1234738.9361
115 | 2728425.6307 | 1234677.6686 | 2728417.7931 | 1234680.5016 | 2728408.006 | 1234701.352 | 2728392.1891 | 1234718.8249
116 | 2728107.1634 | 1235206.5148 | 2728102.2361 | 1235156.2665 | 2728099.7439 | 1235147.5499
117 | 2728101.5931 | 1235206.4168 | 2728107.1634 | 1235206.5148
118 | 2728099.7439 | 1235147.5499 | 2728114.6756 | 1235137.262
119 | 2728101.5931 | 1235206.4168 | 2728102.3427 | 1235230.4888
120 | 2728101.5931 | 1235206.4168 | 2728090.6378 | 1235204.3011 | 2728087.0966 | 1235202.584
121 | 2728102.3427 | 1235230.4888 | 2728103.3105 | 1235261.5667 | 2728103.6607 | 1235261.9177
122 | 2728052.9585 | 1235173.2852 | 2728070.6536 | 1235191.8377 | 2728076.8161 | 1235196.7747 | 2728081.5414 | 1235199.8902 | 2728087.0966 | 1235202.584
123 | 2728103.6607 | 1235261.9177 | 2728119.733 | 1235278.0235 | 2728127.0968 | 1235287.3852
124 | 2728052.9585 | 1235173.2852 | 2728043.6398 | 1235174.6189 | 2728044.2716 | 1235179.7257 | 2728044.7399 | 1235184.6955 | 2728047.9468 | 1235195.0288 | 2728052.4936 | 1235206.0693 | 2728059.5544 | 1235222.0126 | 2728064.6376 | 1235234.8663 | 2728066.7735 | 1235247.0617
125 | 2728052.9585 | 1235173.2852 | 2728049.4344 | 1235169.584 | 2728040.3127 | 1235161.0803 | 2728035.8718 | 1235158.816 | 2728030.083 | 1235157.6125 | 2728014.3707 | 1235158.7527 | 2728009.3844 | 1235160.7136 | 2728005.7376 | 1235161.6469
126 | 2728127.0968 | 1235287.3852 | 2728133.5797 | 1235295.6269
127 | 2727995.9758 | 1235140.6858 | 2727999.0843 | 1235143.2994 | 2728003.3224 | 1235150.4077 | 2728005.7376 | 1235161.6469
128 | 2728005.7376 | 1235161.6469 | 2728003.4533 | 1235165.7567 | 2728001.7321 | 1235169.0335 | 2728000.5077 | 1235176.6748
129 | 2727995.9758 | 1235140.6858 | 2728004.6812 | 1235123.9037 | 2728006.4122 | 1235114.1468
130 | 2728000.5077 | 1235176.6748 | 2728000.1168 | 1235179.115
131 | 2728000.1168 | 1235179.115 | 2727992.6985 | 1235225.4117
132 | 2727990.8842 | 1235236.7343 | 2727992.6985 | 1235225.4117
133 | 2728133.5797 | 1235295.6269 | 2728137.9122 | 1235301.1348 | 2728139.8365 | 1235314.7544 | 2728144.9323 | 1235325.9355
134 | 2727990.3312 | 1235352.6416 | 2727985.7651 | 1235348.8178 | 2727987.0997 | 1235342.3967 | 2727988.4083 | 1235331.2156 | 2727983.1921 | 1235309.4294 | 2727973.4774 | 1235300.6906 | 2727969.0799 | 1235298.085
135 | 2727990.3312 | 1235352.6416 | 2727994.0705 | 1235344.5563
136 | 2727990.3312 | 1235352.6416 | 2727989.0922 | 1235355.3283 | 2727984.5521 | 1235370.6655 | 2727983.2665 | 1235376.3956
137 | 2727993.6122 | 1235260.9782 | 2727997.3561 | 1235269.8125 | 2728002.7852 | 1235286.6435 | 2728004.032 | 1235296.5898 | 2728002.945 | 1235313.2915 | 2728000.7105 | 1235325.6315 | 2727996.8033 | 1235338.6471 | 2727994.0705 | 1235344.5563
138 | 2727982.014 | 1235381.9783 | 2727983.2665 | 1235376.3956
139 | 2727993.6122 | 1235260.9782 | 2727992.2336 | 1235257.7253 | 2727991.9979 | 1235256.8259
140 | 2727982.014 | 1235381.9783 | 2727979.1458 | 1235394.7632
141 | 2727990.2092 | 1235244.989 | 2727989.9741 | 1235249.1028 | 2727991.9979 | 1235256.8259
142 | 2727990.8842 | 1235236.7343 | 2727990.5696 | 1235238.6847 | 2727990.2092 | 1235244.989
143 | 2727966.5532 | 1235245.0394 | 2727983.0125 | 1235234.8743 | 2727990.8842 | 1235236.7343

## bus_geodata
| x | y | coords
0 | 2728403.4305 | 1233907.9453
1 | 2728403.1474 | 1233930.1467
2 | 2728458.5465 | 1234023.7998
3 | 2728266.9618 | 1234076.1167
4 | 2728427.4365 | 1234095.2741
5 | 2727594.0709 | 1234538.9593
6 | 2727605.4485 | 1234546.7129
7 | 2727650.2206 | 1234506.274
8 | 2727598.6903 | 1234554.2963
9 | 2727654.5563 | 1234772.1721
10 | 2727731.0249 | 1234815.1903
11 | 2727757.7164 | 1234817.2436
12 | 2727757.8162 | 1234820.9241
13 | 2727727.9508 | 1234678.9772
14 | 2727650.9348 | 1234557.2319
15 | 2727235.2726 | 1235137.1194
16 | 2727186.0915 | 1235026.8672
17 | 2727217.1959 | 1235000.7755
18 | 2727075.0236 | 1235138.4394
19 | 2727433.1648 | 1234938.8873
20 | 2727521.1349 | 1235033.876
21 | 2727437.8274 | 1234876.1178
22 | 2727530.7559 | 1235011.1609
23 | 2727647.9625 | 1234943.7795
24 | 2727748.101 | 1234874.025
25 | 2727860.4592 | 1234393.9763
26 | 2727855.2753 | 1234439.3486
27 | 2727849.4366 | 1234451.333
28 | 2727877.3266 | 1234507.858
29 | 2727830.6367 | 1234486.7392
30 | 2727885.674 | 1234504.913
31 | 2727845.6338 | 1234578.327
32 | 2727715.8836 | 1234536.2039
33 | 2727894.5643 | 1234502.0525
34 | 2727895.122 | 1234521.1743
35 | 2727828.4761 | 1234597.24
36 | 2727673.0172 | 1234550.0781
37 | 2727904.1502 | 1234496.4556
38 | 2727893.0142 | 1234527.2785
39 | 2727812.4692 | 1234611.309
40 | 2727672.1327 | 1234563.2744
41 | 2727629.1106 | 1234616.1345
42 | 2727692.9567 | 1234726.0088
43 | 2727795.5977 | 1234630.7914
44 | 2727910.1654 | 1234486.8361
45 | 2727812.4246 | 1234611.3481
46 | 2727768.032 | 1234854.0517
47 | 2727838.4978 | 1234865.734
48 | 2727898.6562 | 1234971.8936
49 | 2727907.7175 | 1234985.3332
50 | 2727922.2983 | 1235050.1871
51 | 2727975.4831 | 1235411.6381
52 | 2727978.7452 | 1235396.5486
53 | 2727925.8757 | 1235068.1822
54 | 2727903.7251 | 1235076.112
55 | 2727898.7348 | 1235156.2828
56 | 2727776.1296 | 1235171.1038
57 | 2727898.4718 | 1235194.4979
58 | 2727939.9062 | 1235166.1774
59 | 2727885.0642 | 1235236.7888
60 | 2727951.1008 | 1235167.0302
61 | 2727911.2894 | 1235167.2489
62 | 2727884.7274 | 1235248.0469
63 | 2727953.0181 | 1235167.3765
64 | 2727952.7522 | 1235152.6439
65 | 2727891.2641 | 1235255.396
66 | 2727977.7531 | 1235148.7298
67 | 2727951.8106 | 1235132.096
68 | 2727880.6987 | 1235154.4388
69 | 2727898.3497 | 1235257.8038
70 | 2728109.8072 | 1234862.9619
71 | 2728135.9562 | 1234802.7422
72 | 2728172.9566 | 1234789.6248
73 | 2728148.5464 | 1234764.3453
74 | 2728015.9029 | 1235049.4165
75 | 2727987.8877 | 1235091.9359
76 | 2728243.3251 | 1234804.1699
77 | 2728384.814 | 1234812.1834
78 | 2728386.8519 | 1234796.1526
79 | 2728351.9853 | 1234994.1219
80 | 2728226.7598 | 1235079.4204
81 | 2728227.1358 | 1235166.2577
82 | 2728232.8722 | 1235168.4834
83 | 2728215.9937 | 1235164.3247
84 | 2728233.8465 | 1235202.3167
85 | 2728270.2676 | 1235158.2779
86 | 2728180.8515 | 1235167.8052
87 | 2728391.7261 | 1234777.713
88 | 2728234.026 | 1235208.5498
89 | 2728317.278 | 1235140.4042
90 | 2728172.1725 | 1235170.3912
91 | 2728239.0848 | 1234418.0785
92 | 2728245.4819 | 1234393.8479
93 | 2728273.4878 | 1234412.7213
94 | 2728291.2477 | 1234422.3857
95 | 2728507.8377 | 1234571.4397
96 | 2728449.5289 | 1234663.9625
97 | 2728486.7406 | 1234111.1926
98 | 2728227.5874 | 1235244.6345
99 | 2728346.9219 | 1235144.1587
100 | 2728356.1699 | 1235009.7734
101 | 2728159.438 | 1235177.5701
102 | 2728355.7521 | 1235008.211
103 | 2728391.1557 | 1235120.9504
104 | 2728344.5626 | 1235157.0368
105 | 2728403.9846 | 1235213.4664
106 | 2728488.4097 | 1234995.7032
107 | 2728342.5442 | 1235171.0596
108 | 2728409.8855 | 1234738.9361
109 | 2728502.1652 | 1235002.4542
110 | 2728425.6307 | 1234677.6686
111 | 2728468.9399 | 1234687.5871
112 | 2728392.1891 | 1234718.8249
113 | 2728225.6527 | 1235270.992
114 | 2728107.1634 | 1235206.5148
115 | 2728099.7439 | 1235147.5499
116 | 2728101.5931 | 1235206.4168
117 | 2728114.6756 | 1235137.262
118 | 2728102.3427 | 1235230.4888
119 | 2728087.0966 | 1235202.584
120 | 2728103.6607 | 1235261.9177
121 | 2728052.9585 | 1235173.2852
122 | 2728127.0968 | 1235287.3852
123 | 2728066.7735 | 1235247.0617
124 | 2728005.7376 | 1235161.6469
125 | 2727995.9758 | 1235140.6858
126 | 2728000.5077 | 1235176.6748
127 | 2728006.4122 | 1235114.1468
128 | 2728000.1167 | 1235179.115
129 | 2727992.6985 | 1235225.4117
130 | 2728133.5797 | 1235295.6269
131 | 2728144.9323 | 1235325.9355
132 | 2727969.0799 | 1235298.085
133 | 2727990.3312 | 1235352.6416
134 | 2727994.0705 | 1235344.5563
135 | 2727983.2665 | 1235376.3956
136 | 2727993.6122 | 1235260.9782
137 | 2727982.0141 | 1235381.9783
138 | 2727991.9979 | 1235256.8259
139 | 2727979.1458 | 1235394.7632
140 | 2727990.2092 | 1235244.989
141 | 2727953.6737 | 1235125.3615
142 | 2727860.8804 | 1235159.0037
143 | 2727990.8842 | 1235236.7343
144 | 2727966.5532 | 1235245.0394
145 | 2727995.9758 | 1235140.6858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1