## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3352-4_1_2_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_3352-4_1_2_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_3352-4_1_2_node_49 | 0.4 | n |  | TRUE
3 | bus_LV_3352-4_1_2_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_3352-4_1_2_node_304 | 0.4 | n |  | TRUE
5 | bus_LV_3352-4_1_2_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_3352-4_1_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_3352-4_1_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_3352-4_1_2_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_3352-4_1_2_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_3352-4_1_2_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_3352-4_1_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_3352-4_1_2_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_3352-4_1_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3352-4_1_2_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_3352-4_1_2_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_3352-4_1_2_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_3352-4_1_2_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_3352-4_1_2_node_106 | 0.4 | n |  | TRUE
19 | bus_LV_3352-4_1_2_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_3352-4_1_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_3352-4_1_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_3352-4_1_2_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_3352-4_1_2_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_3352-4_1_2_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_3352-4_1_2_node_222 | 0.4 | n |  | TRUE
26 | bus_LV_3352-4_1_2_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_3352-4_1_2_node_95 | 0.4 | n |  | TRUE
28 | bus_LV_3352-4_1_2_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_3352-4_1_2_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_3352-4_1_2_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_3352-4_1_2_node_247 | 0.4 | n |  | TRUE
32 | bus_LV_3352-4_1_2_node_246 | 0.4 | n |  | TRUE
33 | bus_LV_3352-4_1_2_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_3352-4_1_2_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_3352-4_1_2_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_3352-4_1_2_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_3352-4_1_2_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_3352-4_1_2_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_3352-4_1_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_3352-4_1_2_node_109 | 0.4 | n |  | TRUE
41 | bus_LV_3352-4_1_2_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_3352-4_1_2_node_219 | 0.4 | n |  | TRUE
43 | bus_LV_3352-4_1_2_node_220 | 0.4 | n |  | TRUE
44 | bus_LV_3352-4_1_2_node_221 | 0.4 | n |  | TRUE
45 | bus_LV_3352-4_1_2_node_223 | 0.4 | n |  | TRUE
46 | bus_LV_3352-4_1_2_node_248 | 0.4 | n |  | TRUE
47 | bus_LV_3352-4_1_2_node_232 | 0.4 | n |  | TRUE
48 | bus_LV_3352-4_1_2_node_230 | 0.4 | n |  | TRUE
49 | bus_LV_3352-4_1_2_node_224 | 0.4 | n |  | TRUE
50 | bus_LV_3352-4_1_2_node_225 | 0.4 | n |  | TRUE
51 | bus_LV_3352-4_1_2_node_226 | 0.4 | n |  | TRUE
52 | bus_LV_3352-4_1_2_node_227 | 0.4 | n |  | TRUE
53 | bus_LV_3352-4_1_2_node_228 | 0.4 | n |  | TRUE
54 | bus_LV_3352-4_1_2_node_229 | 0.4 | n |  | TRUE
55 | bus_LV_3352-4_1_2_node_249 | 0.4 | n |  | TRUE
56 | bus_LV_3352-4_1_2_node_231 | 0.4 | n |  | TRUE
57 | bus_LV_3352-4_1_2_node_233 | 0.4 | n |  | TRUE
58 | bus_LV_3352-4_1_2_node_234 | 0.4 | n |  | TRUE
59 | bus_LV_3352-4_1_2_node_235 | 0.4 | n |  | TRUE
60 | bus_LV_3352-4_1_2_node_236 | 0.4 | n |  | TRUE
61 | bus_LV_3352-4_1_2_node_237 | 0.4 | n |  | TRUE
62 | bus_LV_3352-4_1_2_node_239 | 0.4 | n |  | TRUE
63 | bus_LV_3352-4_1_2_node_301 | 0.4 | n |  | TRUE
64 | bus_LV_3352-4_1_2_node_238 | 0.4 | n |  | TRUE
65 | bus_LV_3352-4_1_2_node_240 | 0.4 | n |  | TRUE
66 | bus_LV_3352-4_1_2_node_244 | 0.4 | n |  | TRUE
67 | bus_LV_3352-4_1_2_node_245 | 0.4 | n |  | TRUE
68 | bus_LV_3352-4_1_2_node_241 | 0.4 | n |  | TRUE
69 | bus_LV_3352-4_1_2_node_242 | 0.4 | n |  | TRUE
70 | bus_LV_3352-4_1_2_node_243 | 0.4 | n |  | TRUE
71 | bus_LV_3352-4_1_2_node_264 | 0.4 | n |  | TRUE
72 | bus_LV_3352-4_1_2_node_253 | 0.4 | n |  | TRUE
73 | bus_LV_3352-4_1_2_node_250 | 0.4 | n |  | TRUE
74 | bus_LV_3352-4_1_2_node_251 | 0.4 | n |  | TRUE
75 | bus_LV_3352-4_1_2_node_252 | 0.4 | n |  | TRUE
76 | bus_LV_3352-4_1_2_node_254 | 0.4 | n |  | TRUE
77 | bus_LV_3352-4_1_2_node_255 | 0.4 | n |  | TRUE
78 | bus_LV_3352-4_1_2_node_256 | 0.4 | n |  | TRUE
79 | bus_LV_3352-4_1_2_node_257 | 0.4 | n |  | TRUE
80 | bus_LV_3352-4_1_2_node_259 | 0.4 | n |  | TRUE
81 | bus_LV_3352-4_1_2_node_260 | 0.4 | n |  | TRUE
82 | bus_LV_3352-4_1_2_node_261 | 0.4 | n |  | TRUE
83 | bus_LV_3352-4_1_2_node_262 | 0.4 | n |  | TRUE
84 | bus_LV_3352-4_1_2_node_263 | 0.4 | n |  | TRUE
85 | bus_LV_3352-4_1_2_node_266 | 0.4 | n |  | TRUE
86 | bus_LV_3352-4_1_2_node_268 | 0.4 | n |  | TRUE
87 | bus_LV_3352-4_1_2_node_265 | 0.4 | n |  | TRUE
88 | bus_LV_3352-4_1_2_node_267 | 0.4 | n |  | TRUE
89 | bus_LV_3352-4_1_2_node_272 | 0.4 | n |  | TRUE
90 | bus_LV_3352-4_1_2_node_269 | 0.4 | n |  | TRUE
91 | bus_LV_3352-4_1_2_node_270 | 0.4 | n |  | TRUE
92 | bus_MV_153_1_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3352-4_1_2_load_49 | 2 | 0.00018709 | 4.689e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3352-4_1_2_load_52 | 3 | 0.00017961 | 4.5016e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3352-4_1_2_load_304 | 4 | 0.00036809 | 9.2253e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3352-4_1_2_load_34 | 6 | 0.00012 | 3.0075e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3352-4_1_2_load_39 | 8 | 9.8114e-05 | 2.459e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3352-4_1_2_load_46 | 10 | 9.9063e-05 | 2.4827e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3352-4_1_2_load_47 | 11 | 7.3827e-05 | 1.8503e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3352-4_1_2_load_50 | 12 | 0.00012169 | 3.0499e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3352-4_1_2_load_40 | 13 | 0.00053391 | 0.00013381 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3352-4_1_2_load_42 | 15 | 0.00014122 | 3.5392e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3352-4_1_2_load_44 | 17 | 0.00013104 | 3.2842e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3352-4_1_2_load_106 | 18 | 0.0001694 | 4.2455e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3352-4_1_2_load_107 | 19 | 8.5661e-05 | 2.1469e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3352-4_1_2_load_45 | 20 | 0.00015136 | 3.7935e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3352-4_1_2_load_48 | 21 | 7.3967e-05 | 1.8538e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3352-4_1_2_load_51 | 22 | 0.00015617 | 3.914e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3352-4_1_2_load_53 | 23 | 0.00010379 | 2.6011e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3352-4_1_2_load_55 | 24 | 0.00091402 | 0.00022907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3352-4_1_2_load_222 | 25 | 0.0031568 | 0.00079118 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3352-4_1_2_load_94 | 26 | 0.0025425 | 0.00063721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3352-4_1_2_load_95 | 27 | 0.00122 | 0.00030577 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3352-4_1_2_load_98 | 30 | 0.0036799 | 0.00092226 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3352-4_1_2_load_247 | 31 | 0.0029343 | 0.00073541 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3352-4_1_2_load_246 | 32 | 0.0017162 | 0.00043012 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3352-4_1_2_load_99 | 33 | 0.00015996 | 4.0089e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3352-4_1_2_load_101 | 35 | 8.2959e-05 | 2.0791e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3352-4_1_2_load_102 | 36 | 0.00019222 | 4.8174e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3352-4_1_2_load_105 | 37 | 0.00012913 | 3.2364e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3352-4_1_2_load_104 | 38 | 0.00021086 | 5.2847e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3352-4_1_2_load_108 | 39 | 0.00016571 | 4.153e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3352-4_1_2_load_109 | 40 | 6.1255e-05 | 1.5352e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3352-4_1_2_load_110 | 41 | 0.00012973 | 3.2514e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3352-4_1_2_load_219 | 42 | 0.007167 | 0.0017962 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3352-4_1_2_load_220 | 43 | 0.0027814 | 0.00069707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3352-4_1_2_load_248 | 46 | 0.0040762 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3352-4_1_2_load_230 | 48 | 0.0041696 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3352-4_1_2_load_224 | 49 | 0.0035039 | 0.00087817 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3352-4_1_2_load_225 | 50 | 0.004977 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3352-4_1_2_load_227 | 52 | 0.003599 | 0.00090201 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3352-4_1_2_load_228 | 53 | 0.004063 | 0.0010183 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3352-4_1_2_load_229 | 54 | 0.0012308 | 0.00030846 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3352-4_1_2_load_249 | 55 | 0.0044381 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3352-4_1_2_load_231 | 56 | 0.0050887 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3352-4_1_2_load_233 | 57 | 0.0023322 | 0.00058451 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3352-4_1_2_load_234 | 58 | 0.0039843 | 0.00099855 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3352-4_1_2_load_236 | 60 | 0.0030899 | 0.0007744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3352-4_1_2_load_301 | 63 | 0.0051018 | 0.0012786 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3352-4_1_2_load_238 | 64 | 0.0034697 | 0.00086958 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3352-4_1_2_load_245 | 67 | 0.002663 | 0.00066741 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3352-4_1_2_load_241 | 68 | 0.0027144 | 0.00068028 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3352-4_1_2_load_242 | 69 | 0.0024902 | 0.0006241 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3352-4_1_2_load_243 | 70 | 0.0044087 | 0.0011049 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3352-4_1_2_load_264 | 71 | 0.001848 | 0.00046316 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3352-4_1_2_load_253 | 72 | 0.0046016 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3352-4_1_2_load_250 | 73 | 0.00068333 | 0.00017126 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3352-4_1_2_load_251 | 74 | 0.002941 | 0.00073707 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3352-4_1_2_load_252 | 75 | 0.0013846 | 0.00034702 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3352-4_1_2_load_254 | 76 | 0.0091177 | 0.0022851 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3352-4_1_2_load_255 | 77 | 0.0017642 | 0.00044216 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3352-4_1_2_load_257 | 79 | 0.0053636 | 0.0013442 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3352-4_1_2_load_259 | 80 | 0.0019381 | 0.00048573 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3352-4_1_2_load_260 | 81 | 0.0011011 | 0.00027595 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3352-4_1_2_load_263 | 84 | 0.0020758 | 0.00052025 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3352-4_1_2_load_268 | 86 | 0.0067903 | 0.0017018 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3352-4_1_2_load_265 | 87 | 0.0013408 | 0.00033603 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3352-4_1_2_load_267 | 88 | 0.00072872 | 0.00018263 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3352-4_1_2_load_272 | 89 | 0.00098279 | 0.00024631 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3352-4_1_2_load_269 | 90 | 0.0009781 | 0.00024513 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3352-4_1_2_load_270 | 91 | 0.0010378 | 0.0002601 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3352-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3352-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3352-4_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.14697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3352-4_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.040173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3352-4_1_2_line_4 | NAYY 4x150 SE | 1 | 5 | 0.22212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3352-4_1_2_line_5 | NAYY 4x150 SE | 2 | 21 | 0.078935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3352-4_1_2_line_6 | NAYY 4x150 SE | 3 | 22 | 0.031308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3352-4_1_2_line_7 | NAYY 4x150 SE | 5 | 23 | 0.18158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3352-4_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.093842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3352-4_1_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.11001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3352-4_1_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.01522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3352-4_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0024291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3352-4_1_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0040719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3352-4_1_2_line_13 | NAYY 4x150 SE | 10 | 20 | 0.019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3352-4_1_2_line_14 | NAYY 4x150 SE | 11 | 21 | 0.0016185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3352-4_1_2_line_15 | NAYY 4x150 SE | 12 | 22 | 0.011813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3352-4_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.017046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3352-4_1_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.018472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3352-4_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.25621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3352-4_1_2_line_19 | NAYY 4x150 SE | 14 | 17 | 0.0021204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3352-4_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.11668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3352-4_1_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.24082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3352-4_1_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.084143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3352-4_1_2_line_23 | NAYY 4x150 SE | 18 | 36 | 0.0031532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3352-4_1_2_line_24 | NAYY 4x150 SE | 19 | 39 | 0.036448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3352-4_1_2_line_25 | NAYY 4x150 SE | 19 | 38 | 0.089997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3352-4_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0012953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3352-4_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.47701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3352-4_1_2_line_28 | NAYY 4x150 SE | 25 | 46 | 0.022737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3352-4_1_2_line_29 | NAYY 4x150 SE | 25 | 43 | 0.027097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3352-4_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.017911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3352-4_1_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.10806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3352-4_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.015724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3352-4_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.001924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3352-4_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.013565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3352-4_1_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.014022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3352-4_1_2_line_36 | NAYY 4x150 SE | 31 | 53 | 0.024979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3352-4_1_2_line_37 | NAYY 4x150 SE | 32 | 70 | 0.024667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3352-4_1_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.056694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3352-4_1_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.012357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3352-4_1_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.046665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3352-4_1_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0044564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3352-4_1_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0035305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3352-4_1_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.015972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3352-4_1_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.022029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3352-4_1_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.032074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3352-4_1_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.062119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3352-4_1_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.033803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3352-4_1_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.04101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3352-4_1_2_line_49 | NAYY 4x150 SE | 47 | 52 | 0.043328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3352-4_1_2_line_50 | NAYY 4x150 SE | 48 | 56 | 0.016706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3352-4_1_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.013478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3352-4_1_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.018703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3352-4_1_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.023259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3352-4_1_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0060037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3352-4_1_2_line_55 | NAYY 4x150 SE | 51 | 54 | 0.015203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3352-4_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.010083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3352-4_1_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0025096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3352-4_1_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.013445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3352-4_1_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.023135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3352-4_1_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.11415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3352-4_1_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.011704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3352-4_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.018468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3352-4_1_2_line_63 | NAYY 4x150 SE | 62 | 65 | 0.029606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3352-4_1_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.020239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3352-4_1_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.019746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3352-4_1_2_line_66 | NAYY 4x150 SE | 65 | 67 | 0.020066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3352-4_1_2_line_67 | NAYY 4x150 SE | 65 | 68 | 0.01804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3352-4_1_2_line_68 | NAYY 4x150 SE | 66 | 71 | 0.026889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3352-4_1_2_line_69 | NAYY 4x150 SE | 67 | 72 | 0.0018404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3352-4_1_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.019867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3352-4_1_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0039782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3352-4_1_2_line_72 | NAYY 4x150 SE | 71 | 83 | 0.019449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3352-4_1_2_line_73 | NAYY 4x150 SE | 72 | 74 | 0.017593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3352-4_1_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3352-4_1_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0025027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3352-4_1_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0056802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3352-4_1_2_line_77 | NAYY 4x150 SE | 76 | 78 | 0.024055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3352-4_1_2_line_78 | NAYY 4x150 SE | 77 | 79 | 0.018792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3352-4_1_2_line_79 | NAYY 4x150 SE | 78 | 80 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3352-4_1_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.022406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3352-4_1_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0083307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3352-4_1_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.00849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3352-4_1_2_line_83 | NAYY 4x150 SE | 82 | 84 | 0.032256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3352-4_1_2_line_84 | NAYY 4x150 SE | 83 | 85 | 0.040973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3352-4_1_2_line_85 | NAYY 4x150 SE | 84 | 86 | 0.012332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3352-4_1_2_line_86 | NAYY 4x150 SE | 85 | 89 | 0.0202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3352-4_1_2_line_87 | NAYY 4x150 SE | 85 | 88 | 0.0034112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3352-4_1_2_line_88 | NAYY 4x150 SE | 87 | 88 | 0.017837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3352-4_1_2_line_89 | NAYY 4x150 SE | 89 | 91 | 0.040951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3352-4_1_2_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0018452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3352-4_1_2_trafo_246 | 0.25 MVA 20/0.4 kV | 92 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2728241.9843 | 1236849.6029 | 2728250.133 | 1236842.395 | 2728257.4897 | 1236836.1152 | 2728266.6176 | 1236826.6821 | 2728283.9344 | 1236806.439 | 2728297.8292 | 1236790.0809 | 2728305.6902 | 1236781.4879 | 2728311.3149 | 1236775.8491 | 2728314.0514 | 1236773.5618 | 2728298.1036 | 1236761.6295
1 | 2728241.9843 | 1236849.6029 | 2728234.7846 | 1236855.9751 | 2728228.9478 | 1236860.7391
2 | 2728241.9843 | 1236849.6029 | 2728236.828 | 1236844.7764 | 2728216.0504 | 1236851.0999 | 2728199.4974 | 1236853.1666 | 2728153.1452 | 1236818.7597 | 2728128.9999 | 1236812.4336 | 2728122.8749 | 1236814.9591 | 2728119.5163 | 1236824.3279 | 2728118.82 | 1236826.4569
3 | 2728298.1036 | 1236761.6295 | 2728263.0863 | 1236741.7566
4 | 2728298.1036 | 1236761.6295 | 2728303.483 | 1236748.4346 | 2728326.3953 | 1236721.8182 | 2728327.6096 | 1236710.4682 | 2728308.933 | 1236675.9468 | 2728304.0923 | 1236664.2213 | 2728308.3919 | 1236644.9535 | 2728313.2633 | 1236610.4408 | 2728312.4412 | 1236603.6507 | 2728304.4626 | 1236602.2661 | 2728306.0669 | 1236595.2837 | 2728296.0743 | 1236585.8711 | 2728277.2975 | 1236589.5798
5 | 2728167.8394 | 1236910.7046 | 2728197.8316 | 1236886.1362 | 2728228.9478 | 1236860.7391
6 | 2728118.82 | 1236826.4569 | 2728116.923 | 1236832.2564 | 2728108.8014 | 1236837.1632 | 2728093.1777 | 1236835.4483
7 | 2728277.2975 | 1236589.5798 | 2728260.183 | 1236606.3911 | 2728251.1009 | 1236633.3066 | 2728203.0977 | 1236652.8424 | 2728134.3806 | 1236653.2935 | 2728128.1299 | 1236659.2609
8 | 2727977.468 | 1236894.7919 | 2727917.7542 | 1236926.4657 | 2727898.6281 | 1236944.4417
9 | 2727977.468 | 1236894.7919 | 2727986.5691 | 1236876.3947 | 2728024.6984 | 1236864.6398 | 2728043.0346 | 1236858.4965 | 2728068.5801 | 1236842.3068
10 | 2728068.5801 | 1236842.3068 | 2728081.4356 | 1236834.1594
11 | 2728163.4718 | 1236914.3519 | 2728161.6171 | 1236915.9205
12 | 2728163.4718 | 1236914.3519 | 2728166.1933 | 1236912.0531 | 2728166.5874 | 1236911.7302
13 | 2728146.8379 | 1236927.9811 | 2728151.9456 | 1236924.1003 | 2728161.6171 | 1236915.9205
14 | 2728166.5874 | 1236911.7302 | 2728167.8394 | 1236910.7046
15 | 2728081.4356 | 1236834.1594 | 2728081.4356 | 1236834.1594 | 2728093.1777 | 1236835.4483
16 | 2728078.0889 | 1236969.9571 | 2728094.5387 | 1236974.427
17 | 2728112.3646 | 1236979.2707 | 2728094.5387 | 1236974.427
18 | 2728078.0889 | 1236969.9571 | 2728069.3558 | 1236984.2697 | 2728062.3646 | 1236998.1863 | 2728058.6147 | 1237006.0565 | 2728057.888 | 1237010.2666 | 2728058.3783 | 1237015.9598 | 2728060.0341 | 1237019.8988 | 2728064.5932 | 1237023.9894 | 2728069.8061 | 1237025.1361 | 2728078.3638 | 1237022.8075 | 2728096.3573 | 1237018.1471 | 2728114.7166 | 1237014.7736 | 2728127.3371 | 1237012.8775 | 2728175.2874 | 1237012.823 | 2728194.2136 | 1237012.6424 | 2728203.3733 | 1237011.8839 | 2728213.6358 | 1237009.1253 | 2728234.5709 | 1237004.5956 | 2728240.1091 | 1237003.6477 | 2728245.3695 | 1237005.7519 | 2728249.1783 | 1237009.1815 | 2728251.2916 | 1237015.4101
19 | 2728078.0889 | 1236969.9571 | 2728079.0532 | 1236968.0687
20 | 2728251.2916 | 1237015.4101 | 2728251.0459 | 1237021.1764 | 2728247.8258 | 1237026.2333 | 2728242.0138 | 1237030.0444 | 2728210.6502 | 1237046.4256 | 2728184.603 | 1237058.4625 | 2728169.4637 | 1237066.5982 | 2728155.8077 | 1237076.2129
21 | 2728251.2916 | 1237015.4101 | 2728355.1463 | 1237232.6809
22 | 2728079.0532 | 1236968.0687 | 2728085.9128 | 1236954.6351 | 2728090.9544 | 1236947.5935 | 2728096.9876 | 1236943.3533 | 2728105.4864 | 1236940.601 | 2728121.7358 | 1236938.2049 | 2728132.514 | 1236936.4582 | 2728140.4181 | 1236932.859 | 2728146.8379 | 1236927.9811
23 | 2728153.1982 | 1237077.982 | 2728154.3382 | 1237077.2475 | 2728155.8077 | 1237076.2129
24 | 2728386.8894 | 1237219.8256 | 2728383.2458 | 1237219.5216 | 2728365.9403 | 1237221.7828 | 2728355.1463 | 1237232.6809 | 2728355.1463 | 1237232.6809
25 | 2728304.3458 | 1237296.2468 | 2728318.2843 | 1237294.4143 | 2728335.3296 | 1237285.2749 | 2728344.6095 | 1237269.4843 | 2728355.1463 | 1237232.6809
26 | 2728127.193 | 1236660.1554 | 2728128.1299 | 1236659.2609
27 | 2728127.193 | 1236660.1554 | 2727746.5851 | 1236372.6288
28 | 2727732.4798 | 1236390.461 | 2727746.5851 | 1236372.6288
29 | 2727746.5851 | 1236372.6288 | 2727763.3955 | 1236351.3766
30 | 2727638.3191 | 1236511.2938 | 2727638.8057 | 1236509.0149 | 2727639.2612 | 1236499.0942 | 2727641.7448 | 1236494.0198
31 | 2727661.4273 | 1236391.6359 | 2727649.3683 | 1236435.6581 | 2727656.0225 | 1236464.8478 | 2727641.7448 | 1236494.0198
32 | 2727661.4273 | 1236391.6359 | 2727661.3684 | 1236385.574 | 2727655.3467 | 1236378.0049
33 | 2727661.4389 | 1236393.56 | 2727661.4273 | 1236391.6359
34 | 2727655.3467 | 1236378.0049 | 2727664.1622 | 1236367.6952
35 | 2727655.3467 | 1236378.0049 | 2727646.6114 | 1236367.0357
36 | 2727679.6918 | 1236348.2502 | 2727678.2691 | 1236351.1972 | 2727664.1622 | 1236367.6952
37 | 2727631.2448 | 1236347.7393 | 2727646.6114 | 1236367.0357
38 | 2728113.2558 | 1237102.0822 | 2728101.9891 | 1237110.7021 | 2728096.5052 | 1237115.7992 | 2728093.0911 | 1237119.6844 | 2728088.6746 | 1237127.2289 | 2728084.599 | 1237137.2161 | 2728080.5379 | 1237146.7039
39 | 2728113.2558 | 1237102.0822 | 2728125.5027 | 1237103.7278
40 | 2728113.2558 | 1237102.0822 | 2728136.669 | 1237088.6315 | 2728153.1982 | 1237077.982
41 | 2728129.9194 | 1237104.3213 | 2728125.5027 | 1237103.7278
42 | 2728390.4076 | 1237220.1193 | 2728386.8894 | 1237219.8256
43 | 2728390.4076 | 1237220.1193 | 2728406.3242 | 1237221.4476
44 | 2727776.6703 | 1236333.8005 | 2727767.9312 | 1236345.6425 | 2727763.3955 | 1236351.3766
45 | 2727796.7396 | 1236308.8201 | 2727786.7537 | 1236320.137 | 2727776.6703 | 1236333.8005
46 | 2727796.7396 | 1236308.8201 | 2727785.6103 | 1236297.6491 | 2727747.6178 | 1236270.8985
47 | 2727747.6178 | 1236270.8985 | 2727733.4125 | 1236260.8958 | 2727719.2968 | 1236252.3518
48 | 2727747.6178 | 1236270.8985 | 2727727.9372 | 1236306.8779
49 | 2727719.2968 | 1236252.3518 | 2727698.732 | 1236287.0722 | 2727697.5534 | 1236289.803
50 | 2727719.9203 | 1236321.5343 | 2727727.9372 | 1236306.8779
51 | 2727687.0816 | 1236324.8664 | 2727688.0804 | 1236319.8374 | 2727690.0055 | 1236311.7112
52 | 2727682.3018 | 1236342.8436 | 2727684.4385 | 1236338.1745 | 2727687.0816 | 1236324.8664
53 | 2727697.5534 | 1236289.803 | 2727692.3266 | 1236301.9136 | 2727690.0055 | 1236311.7112
54 | 2727682.3018 | 1236342.8436 | 2727679.6918 | 1236348.2502
55 | 2727682.3018 | 1236342.8436 | 2727693.481 | 1236353.1467
56 | 2727697.5794 | 1236362.1103 | 2727695.1503 | 1236354.6852 | 2727693.481 | 1236353.1467
57 | 2727639.4154 | 1236257.4295 | 2727638.1423 | 1236259.5923
58 | 2727646.2362 | 1236245.8428 | 2727639.4154 | 1236257.4295
59 | 2727638.1423 | 1236259.5923 | 2727634.6002 | 1236265.6093 | 2727626.2479 | 1236279.4357
60 | 2727570.2208 | 1236186.9607 | 2727594.8235 | 1236181.6623 | 2727600.3034 | 1236209.5145 | 2727602.0692 | 1236216.1135 | 2727605.9027 | 1236221.6004 | 2727612.2507 | 1236225.9738 | 2727646.2362 | 1236245.8428
61 | 2727620.2342 | 1236289.4763 | 2727624.6395 | 1236282.0981 | 2727626.2479 | 1236279.4357
62 | 2727570.2208 | 1236186.9607 | 2727572.613 | 1236205.2718
63 | 2727620.2342 | 1236289.4763 | 2727613.355 | 1236301.016 | 2727605.1521 | 1236314.9737
64 | 2727620.2342 | 1236289.4763 | 2727637.8453 | 1236299.4492
65 | 2727605.1521 | 1236314.9737 | 2727598.7985 | 1236325.6573 | 2727594.7834 | 1236331.7873
66 | 2727605.1521 | 1236314.9737 | 2727594.3008 | 1236298.0944
67 | 2727605.1521 | 1236314.9737 | 2727616.3902 | 1236329.0859
68 | 2727594.7834 | 1236331.7873 | 2727588.5057 | 1236337.1792 | 2727581.6609 | 1236342.192 | 2727574.9649 | 1236345.5621 | 2727572.4713 | 1236346.4084
69 | 2727593.3055 | 1236296.5463 | 2727594.3008 | 1236298.0944
70 | 2727616.3902 | 1236329.0859 | 2727628.7666 | 1236344.6273
71 | 2727631.2448 | 1236347.7393 | 2727628.7666 | 1236344.6273
72 | 2727553.3423 | 1236349.2454 | 2727561.8431 | 1236348.8943 | 2727569.0171 | 1236347.5805 | 2727572.4713 | 1236346.4084
73 | 2727585.5132 | 1236280.9456 | 2727585.5132 | 1236280.9456 | 2727587.6017 | 1236287.6739 | 2727593.3055 | 1236296.5463
74 | 2727589.2502 | 1236262.574 | 2727585.2307 | 1236275.0679 | 2727585.5132 | 1236280.9456
75 | 2727590.0167 | 1236260.1916 | 2727589.2502 | 1236262.574
76 | 2727526.0471 | 1236306.7677 | 2727530.5259 | 1236303.274
77 | 2727507.0803 | 1236321.5624 | 2727526.0471 | 1236306.7677
78 | 2727545.8729 | 1236292.4374 | 2727533.0945 | 1236301.2705 | 2727530.5259 | 1236303.274
79 | 2727507.0803 | 1236321.5624 | 2727513.4486 | 1236328.8608 | 2727516.5584 | 1236332.0969 | 2727518.0373 | 1236333.2899
80 | 2727518.0373 | 1236333.2899 | 2727522.8608 | 1236337.1809 | 2727531.5255 | 1236342.2378 | 2727537.2231 | 1236344.6222
81 | 2727545.0224 | 1236347.5208 | 2727541.8336 | 1236346.5516 | 2727537.2231 | 1236344.6222
82 | 2727545.0224 | 1236347.5208 | 2727547.5867 | 1236348.3099 | 2727553.3423 | 1236349.2454
83 | 2727545.0224 | 1236347.5208 | 2727531.5889 | 1236361.8333 | 2727530.5712 | 1236367.6275 | 2727532.7628 | 1236369.9097 | 2727534.573 | 1236372.9987
84 | 2727563.3385 | 1236388.1482 | 2727564.0382 | 1236381.6577 | 2727563.384 | 1236373.7037 | 2727561.2067 | 1236366.8846 | 2727555.9998 | 1236355.2074 | 2727553.3423 | 1236349.2454
85 | 2727534.573 | 1236372.9987 | 2727535.5084 | 1236374.5948 | 2727534.5182 | 1236378.7548 | 2727537.6908 | 1236384.088
86 | 2727563.3385 | 1236388.1482 | 2727557.7478 | 1236399.2708 | 2727553.1715 | 1236405.5275
87 | 2727563.3385 | 1236388.1482 | 2727566.0182 | 1236386.0373 | 2727566.0182 | 1236386.0373
88 | 2727575.1405 | 1236370.7736 | 2727569.9618 | 1236380.762 | 2727566.0182 | 1236386.0373
89 | 2727553.1715 | 1236405.5275 | 2727549.9802 | 1236409.8907 | 2727538.5897 | 1236421.0777 | 2727527.567 | 1236430.6491 | 2727523.1902 | 1236433.0287
90 | 2727521.5691 | 1236433.91 | 2727523.1902 | 1236433.0287

## bus_geodata
| x | y | coords
0 | 2728241.9843 | 1236849.6029
1 | 2728298.1036 | 1236761.6295
2 | 2728228.9478 | 1236860.7391
3 | 2728118.82 | 1236826.4569
4 | 2728263.0863 | 1236741.7566
5 | 2728277.2975 | 1236589.5798
6 | 2727898.6281 | 1236944.4417
7 | 2727977.468 | 1236894.7919
8 | 2728068.5801 | 1236842.3068
9 | 2728163.4718 | 1236914.3519
10 | 2728161.6171 | 1236915.9205
11 | 2728166.5874 | 1236911.7302
12 | 2728081.4356 | 1236834.1594
13 | 2728094.5387 | 1236974.427
14 | 2728078.0889 | 1236969.9571
15 | 2728112.3646 | 1236979.2707
16 | 2728251.2916 | 1237015.4101
17 | 2728079.0532 | 1236968.0687
18 | 2728155.8077 | 1237076.2129
19 | 2728355.1463 | 1237232.6809
20 | 2728146.8379 | 1236927.9811
21 | 2728167.8394 | 1236910.7046
22 | 2728093.1777 | 1236835.4483
23 | 2728128.1299 | 1236659.2609
24 | 2728127.193 | 1236660.1554
25 | 2727746.5851 | 1236372.6288
26 | 2727638.3191 | 1236511.2938
27 | 2727641.7448 | 1236494.0198
28 | 2727661.4273 | 1236391.6359
29 | 2727655.3467 | 1236378.0049
30 | 2727661.4389 | 1236393.56
31 | 2727664.1622 | 1236367.6952
32 | 2727646.6114 | 1236367.0357
33 | 2728080.5379 | 1237146.7039
34 | 2728113.2558 | 1237102.0822
35 | 2728125.5027 | 1237103.7278
36 | 2728153.1982 | 1237077.982
37 | 2728129.9194 | 1237104.3213
38 | 2728304.3458 | 1237296.2468
39 | 2728386.8894 | 1237219.8256
40 | 2728390.4076 | 1237220.1193
41 | 2728406.3242 | 1237221.4476
42 | 2727776.6703 | 1236333.8005
43 | 2727763.3955 | 1236351.3766
44 | 2727796.7396 | 1236308.8201
45 | 2727747.6178 | 1236270.8985
46 | 2727732.4798 | 1236390.461
47 | 2727719.2968 | 1236252.3518
48 | 2727727.9372 | 1236306.8779
49 | 2727687.0816 | 1236324.8664
50 | 2727690.0055 | 1236311.7112
51 | 2727682.3018 | 1236342.8436
52 | 2727697.5534 | 1236289.803
53 | 2727679.6918 | 1236348.2502
54 | 2727693.481 | 1236353.1467
55 | 2727697.5794 | 1236362.1103
56 | 2727719.9203 | 1236321.5343
57 | 2727639.4154 | 1236257.4295
58 | 2727638.1423 | 1236259.5923
59 | 2727646.2362 | 1236245.8428
60 | 2727626.2479 | 1236279.4357
61 | 2727570.2208 | 1236186.9607
62 | 2727620.2342 | 1236289.4763
63 | 2727572.613 | 1236205.2718
64 | 2727637.8453 | 1236299.4492
65 | 2727605.1521 | 1236314.9737
66 | 2727594.7834 | 1236331.7873
67 | 2727594.3008 | 1236298.0944
68 | 2727616.3902 | 1236329.0859
69 | 2727628.7666 | 1236344.6273
70 | 2727631.2448 | 1236347.7393
71 | 2727572.4713 | 1236346.4084
72 | 2727593.3055 | 1236296.5463
73 | 2727589.2502 | 1236262.574
74 | 2727585.5132 | 1236280.9456
75 | 2727590.0167 | 1236260.1916
76 | 2727526.0471 | 1236306.7677
77 | 2727530.5259 | 1236303.274
78 | 2727507.0803 | 1236321.5624
79 | 2727545.8729 | 1236292.4374
80 | 2727518.0373 | 1236333.2899
81 | 2727537.2231 | 1236344.6222
82 | 2727545.0224 | 1236347.5208
83 | 2727553.3423 | 1236349.2454
84 | 2727534.573 | 1236372.9987
85 | 2727563.3385 | 1236388.1482
86 | 2727537.6908 | 1236384.088
87 | 2727575.1405 | 1236370.7736
88 | 2727566.0182 | 1236386.0373
89 | 2727553.1715 | 1236405.5275
90 | 2727521.5691 | 1236433.91
91 | 2727523.1902 | 1236433.0287
92 | 2727646.6114 | 1236367.0357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1