## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3352-4_2_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3352-4_2_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_3352-4_2_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_3352-4_2_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3352-4_2_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3352-4_2_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3352-4_2_3_node_118 | 0.4 | n |  | TRUE
7 | bus_LV_3352-4_2_3_node_288 | 0.4 | n |  | TRUE
8 | bus_LV_3352-4_2_3_node_208 | 0.4 | n |  | TRUE
9 | bus_LV_3352-4_2_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3352-4_2_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3352-4_2_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_3352-4_2_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3352-4_2_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3352-4_2_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3352-4_2_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_3352-4_2_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_3352-4_2_3_node_182 | 0.4 | n |  | TRUE
18 | bus_LV_3352-4_2_3_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_3352-4_2_3_node_183 | 0.4 | n |  | TRUE
20 | bus_LV_3352-4_2_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3352-4_2_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3352-4_2_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3352-4_2_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_3352-4_2_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3352-4_2_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3352-4_2_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3352-4_2_3_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_3352-4_2_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_3352-4_2_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3352-4_2_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3352-4_2_3_node_119 | 0.4 | n |  | TRUE
32 | bus_LV_3352-4_2_3_node_298 | 0.4 | n |  | TRUE
33 | bus_LV_3352-4_2_3_node_299 | 0.4 | n |  | TRUE
34 | bus_LV_3352-4_2_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_3352-4_2_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_3352-4_2_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_3352-4_2_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_3352-4_2_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_3352-4_2_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3352-4_2_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_3352-4_2_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_3352-4_2_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_3352-4_2_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_3352-4_2_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_3352-4_2_3_node_292 | 0.4 | n |  | TRUE
46 | bus_LV_3352-4_2_3_node_291 | 0.4 | n |  | TRUE
47 | bus_LV_3352-4_2_3_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_3352-4_2_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_3352-4_2_3_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_3352-4_2_3_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_3352-4_2_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_3352-4_2_3_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_3352-4_2_3_node_206 | 0.4 | n |  | TRUE
54 | bus_LV_3352-4_2_3_node_211 | 0.4 | n |  | TRUE
55 | bus_LV_3352-4_2_3_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_3352-4_2_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_3352-4_2_3_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_3352-4_2_3_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_3352-4_2_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_3352-4_2_3_node_303 | 0.4 | n |  | TRUE
61 | bus_LV_3352-4_2_3_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_3352-4_2_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_3352-4_2_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_3352-4_2_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_3352-4_2_3_node_213 | 0.4 | n |  | TRUE
66 | bus_LV_3352-4_2_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_3352-4_2_3_node_274 | 0.4 | n |  | TRUE
68 | bus_LV_3352-4_2_3_node_275 | 0.4 | n |  | TRUE
69 | bus_LV_3352-4_2_3_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_3352-4_2_3_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_3352-4_2_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_3352-4_2_3_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_3352-4_2_3_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_3352-4_2_3_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_3352-4_2_3_node_218 | 0.4 | n |  | TRUE
76 | bus_LV_3352-4_2_3_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_3352-4_2_3_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_3352-4_2_3_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_3352-4_2_3_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_3352-4_2_3_node_287 | 0.4 | n |  | TRUE
81 | bus_LV_3352-4_2_3_node_114 | 0.4 | n |  | TRUE
82 | bus_LV_3352-4_2_3_node_115 | 0.4 | n |  | TRUE
83 | bus_LV_3352-4_2_3_node_116 | 0.4 | n |  | TRUE
84 | bus_LV_3352-4_2_3_node_300 | 0.4 | n |  | TRUE
85 | bus_LV_3352-4_2_3_node_294 | 0.4 | n |  | TRUE
86 | bus_LV_3352-4_2_3_node_184 | 0.4 | n |  | TRUE
87 | bus_LV_3352-4_2_3_node_185 | 0.4 | n |  | TRUE
88 | bus_LV_3352-4_2_3_node_186 | 0.4 | n |  | TRUE
89 | bus_LV_3352-4_2_3_node_187 | 0.4 | n |  | TRUE
90 | bus_LV_3352-4_2_3_node_188 | 0.4 | n |  | TRUE
91 | bus_LV_3352-4_2_3_node_189 | 0.4 | n |  | TRUE
92 | bus_LV_3352-4_2_3_node_190 | 0.4 | n |  | TRUE
93 | bus_LV_3352-4_2_3_node_195 | 0.4 | n |  | TRUE
94 | bus_LV_3352-4_2_3_node_192 | 0.4 | n |  | TRUE
95 | bus_LV_3352-4_2_3_node_191 | 0.4 | n |  | TRUE
96 | bus_LV_3352-4_2_3_node_193 | 0.4 | n |  | TRUE
97 | bus_LV_3352-4_2_3_node_194 | 0.4 | n |  | TRUE
98 | bus_LV_3352-4_2_3_node_199 | 0.4 | n |  | TRUE
99 | bus_LV_3352-4_2_3_node_200 | 0.4 | n |  | TRUE
100 | bus_LV_3352-4_2_3_node_196 | 0.4 | n |  | TRUE
101 | bus_LV_3352-4_2_3_node_197 | 0.4 | n |  | TRUE
102 | bus_LV_3352-4_2_3_node_198 | 0.4 | n |  | TRUE
103 | bus_LV_3352-4_2_3_node_205 | 0.4 | n |  | TRUE
104 | bus_LV_3352-4_2_3_node_201 | 0.4 | n |  | TRUE
105 | bus_LV_3352-4_2_3_node_203 | 0.4 | n |  | TRUE
106 | bus_LV_3352-4_2_3_node_209 | 0.4 | n |  | TRUE
107 | bus_LV_3352-4_2_3_node_202 | 0.4 | n |  | TRUE
108 | bus_LV_3352-4_2_3_node_204 | 0.4 | n |  | TRUE
109 | bus_LV_3352-4_2_3_node_207 | 0.4 | n |  | TRUE
110 | bus_LV_3352-4_2_3_node_290 | 0.4 | n |  | TRUE
111 | bus_LV_3352-4_2_3_node_289 | 0.4 | n |  | TRUE
112 | bus_LV_3352-4_2_3_node_210 | 0.4 | n |  | TRUE
113 | bus_LV_3352-4_2_3_node_212 | 0.4 | n |  | TRUE
114 | bus_LV_3352-4_2_3_node_214 | 0.4 | n |  | TRUE
115 | bus_LV_3352-4_2_3_node_216 | 0.4 | n |  | TRUE
116 | bus_LV_3352-4_2_3_node_215 | 0.4 | n |  | TRUE
117 | bus_LV_3352-4_2_3_node_217 | 0.4 | n |  | TRUE
118 | bus_LV_3352-4_2_3_node_305 | 0.4 | n |  | TRUE
119 | bus_LV_3352-4_2_3_node_293 | 0.4 | n |  | TRUE
120 | bus_LV_3352-4_2_3_node_295 | 0.4 | n |  | TRUE
121 | bus_LV_3352-4_2_3_node_296 | 0.4 | n |  | TRUE
122 | bus_LV_3352-4_2_3_node_297 | 0.4 | n |  | TRUE
123 | bus_MV_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3352-4_2_3_load_5 | 0 | 0.00012293 | 3.0808e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3352-4_2_3_load_6 | 1 | 9.2442e-05 | 2.3168e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3352-4_2_3_load_10 | 5 | 0.00062085 | 0.0001556 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3352-4_2_3_load_118 | 6 | 0.00040061 | 0.0001004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3352-4_2_3_load_288 | 7 | 0.00097632 | 0.00024469 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3352-4_2_3_load_11 | 9 | 0.00015116 | 3.7885e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3352-4_2_3_load_12 | 10 | 0.00078051 | 0.00019561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3352-4_2_3_load_30 | 16 | 0.00069388 | 0.0001739 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3352-4_2_3_load_59 | 18 | 0.00041709 | 0.00010453 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3352-4_2_3_load_183 | 19 | 0.00023526 | 5.8962e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3352-4_2_3_load_17 | 20 | 0.0012033 | 0.00030157 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3352-4_2_3_load_18 | 21 | 0.00077149 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3352-4_2_3_load_20 | 24 | 0.00097573 | 0.00024454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3352-4_2_3_load_21 | 25 | 0.00060588 | 0.00015185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3352-4_2_3_load_117 | 27 | 0.00019078 | 4.7814e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3352-4_2_3_load_27 | 28 | 0.00030713 | 7.6974e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3352-4_2_3_load_26 | 30 | 0.00062352 | 0.00015627 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3352-4_2_3_load_119 | 31 | 0.00031292 | 7.8425e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3352-4_2_3_load_298 | 32 | 0.0011817 | 0.00029617 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3352-4_2_3_load_299 | 33 | 0.00071731 | 0.00017977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3352-4_2_3_load_31 | 34 | 0.0011993 | 0.00030057 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3352-4_2_3_load_76 | 35 | 0.00045327 | 0.0001136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3352-4_2_3_load_56 | 36 | 0.00087898 | 0.00022029 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3352-4_2_3_load_57 | 37 | 0.0015688 | 0.00039319 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3352-4_2_3_load_60 | 38 | 0.000301 | 7.5437e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3352-4_2_3_load_77 | 43 | 0.00013636 | 3.4174e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3352-4_2_3_load_70 | 44 | 0.00018821 | 4.7171e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3352-4_2_3_load_292 | 45 | 0.00042132 | 0.00010559 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3352-4_2_3_load_291 | 46 | 0.00025843 | 6.4769e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3352-4_2_3_load_65 | 47 | 0.0008015 | 0.00020088 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3352-4_2_3_load_71 | 52 | 0.0011499 | 0.00028819 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3352-4_2_3_load_211 | 54 | 0.00027681 | 6.9374e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3352-4_2_3_load_74 | 55 | 0.0004803 | 0.00012037 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3352-4_2_3_load_72 | 56 | 0.00018074 | 4.5298e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3352-4_2_3_load_73 | 57 | 0.00046654 | 0.00011692 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3352-4_2_3_load_75 | 58 | 0.0004296 | 0.00010767 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3352-4_2_3_load_303 | 60 | 0.0023514 | 0.00058932 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3352-4_2_3_load_78 | 61 | 0.00023139 | 5.7991e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3352-4_2_3_load_79 | 62 | 0.00014862 | 3.7247e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3352-4_2_3_load_80 | 63 | 0.001215 | 0.00030452 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3352-4_2_3_load_82 | 64 | 0.00036701 | 9.1982e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3352-4_2_3_load_213 | 65 | 0.0012465 | 0.00031239 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3352-4_2_3_load_274 | 67 | 0.0024599 | 0.0006165 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3352-4_2_3_load_275 | 68 | 0.00076336 | 0.00019131 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3352-4_2_3_load_84 | 69 | 0.00032261 | 8.0853e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3352-4_2_3_load_85 | 70 | 0.00022362 | 5.6045e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3352-4_2_3_load_86 | 71 | 0.00030917 | 7.7485e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3352-4_2_3_load_93 | 76 | 0.00047052 | 0.00011792 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3352-4_2_3_load_90 | 77 | 0.000144 | 3.609e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3352-4_2_3_load_287 | 80 | 0.00020674 | 5.1814e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3352-4_2_3_load_114 | 81 | 0.00018201 | 4.5616e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3352-4_2_3_load_116 | 83 | 7.8182e-05 | 1.9594e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3352-4_2_3_load_300 | 84 | 0.00022306 | 5.5903e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3352-4_2_3_load_185 | 87 | 0.00061937 | 0.00015523 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3352-4_2_3_load_186 | 88 | 0.00053973 | 0.00013527 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3352-4_2_3_load_187 | 89 | 0.0006462 | 0.00016195 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3352-4_2_3_load_190 | 92 | 0.00065017 | 0.00016295 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3352-4_2_3_load_195 | 93 | 0.00063275 | 0.00015858 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3352-4_2_3_load_192 | 94 | 0.00094846 | 0.00023771 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3352-4_2_3_load_191 | 95 | 0.0005971 | 0.00014965 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3352-4_2_3_load_193 | 96 | 0.001795 | 0.00044988 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3352-4_2_3_load_199 | 98 | 0.00070867 | 0.00017761 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3352-4_2_3_load_196 | 100 | 0.0012454 | 0.00031212 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3352-4_2_3_load_197 | 101 | 0.00028152 | 7.0557e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3352-4_2_3_load_198 | 102 | 0.0012751 | 0.00031957 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3352-4_2_3_load_205 | 103 | 0.0012727 | 0.00031896 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3352-4_2_3_load_201 | 104 | 0.00066693 | 0.00016715 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3352-4_2_3_load_209 | 106 | 0.00097775 | 0.00024505 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3352-4_2_3_load_202 | 107 | 0.00073388 | 0.00018393 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3352-4_2_3_load_204 | 108 | 0.00094079 | 0.00023578 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3352-4_2_3_load_290 | 110 | 0.00056309 | 0.00014112 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3352-4_2_3_load_289 | 111 | 0.00068492 | 0.00017166 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3352-4_2_3_load_210 | 112 | 0.00097705 | 0.00024487 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3352-4_2_3_load_212 | 113 | 0.00063681 | 0.0001596 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3352-4_2_3_load_215 | 116 | 0.00089526 | 0.00022437 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3352-4_2_3_load_217 | 117 | 0.00068541 | 0.00017178 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3352-4_2_3_load_305 | 118 | 0.00057702 | 0.00014462 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3352-4_2_3_load_295 | 120 | 0.00040795 | 0.00010224 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3352-4_2_3_load_296 | 121 | 0.00042677 | 0.00010696 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3352-4_2_3_load_297 | 122 | 0.00022854 | 5.7277e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3352-4_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.16315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3352-4_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.1552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3352-4_2_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.16832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3352-4_2_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3352-4_2_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.040949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3352-4_2_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.045149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3352-4_2_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.059053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3352-4_2_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.13054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3352-4_2_3_line_8 | NAYY 4x150 SE | 6 | 28 | 0.041205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3352-4_2_3_line_9 | NAYY 4x150 SE | 8 | 111 | 0.021387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3352-4_2_3_line_10 | NAYY 4x150 SE | 8 | 109 | 0.012313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3352-4_2_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0084668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3352-4_2_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.02909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3352-4_2_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.010275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3352-4_2_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.019777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3352-4_2_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.055418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3352-4_2_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.051419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3352-4_2_3_line_17 | NAYY 4x150 SE | 12 | 16 | 0.026687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3352-4_2_3_line_18 | NAYY 4x150 SE | 13 | 17 | 0.032554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3352-4_2_3_line_19 | NAYY 4x150 SE | 13 | 18 | 0.0079543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3352-4_2_3_line_20 | NAYY 4x150 SE | 14 | 19 | 0.031203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3352-4_2_3_line_21 | NAYY 4x150 SE | 15 | 32 | 0.028749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3352-4_2_3_line_22 | NAYY 4x150 SE | 15 | 33 | 0.022482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3352-4_2_3_line_23 | NAYY 4x150 SE | 17 | 84 | 0.026745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3352-4_2_3_line_24 | NAYY 4x150 SE | 17 | 85 | 0.083664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3352-4_2_3_line_25 | NAYY 4x150 SE | 18 | 37 | 0.027978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3352-4_2_3_line_26 | NAYY 4x150 SE | 19 | 86 | 0.009755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3352-4_2_3_line_27 | NAYY 4x150 SE | 20 | 21 | 0.0094053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3352-4_2_3_line_28 | NAYY 4x150 SE | 21 | 22 | 0.069579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3352-4_2_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.17996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3352-4_2_3_line_30 | NAYY 4x150 SE | 22 | 24 | 0.17693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3352-4_2_3_line_31 | NAYY 4x150 SE | 23 | 28 | 0.08977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3352-4_2_3_line_32 | NAYY 4x150 SE | 23 | 29 | 0.22289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3352-4_2_3_line_33 | NAYY 4x150 SE | 23 | 30 | 0.12968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3352-4_2_3_line_34 | NAYY 4x150 SE | 23 | 26 | 0.11365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3352-4_2_3_line_35 | NAYY 4x150 SE | 24 | 25 | 0.27166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3352-4_2_3_line_36 | NAYY 4x150 SE | 26 | 27 | 0.06285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3352-4_2_3_line_37 | NAYY 4x150 SE | 27 | 83 | 0.065097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3352-4_2_3_line_38 | NAYY 4x150 SE | 29 | 31 | 0.033022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3352-4_2_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.21885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3352-4_2_3_line_40 | NAYY 4x150 SE | 35 | 59 | 0.079606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3352-4_2_3_line_41 | NAYY 4x150 SE | 35 | 60 | 0.21658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3352-4_2_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.20748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3352-4_2_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.021862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3352-4_2_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.073582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3352-4_2_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.08117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3352-4_2_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.034896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3352-4_2_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.064371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3352-4_2_3_line_48 | NAYY 4x150 SE | 41 | 44 | 0.054311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3352-4_2_3_line_49 | NAYY 4x150 SE | 42 | 45 | 0.00244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3352-4_2_3_line_50 | NAYY 4x150 SE | 42 | 46 | 0.021489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3352-4_2_3_line_51 | NAYY 4x150 SE | 43 | 61 | 0.023102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3352-4_2_3_line_52 | NAYY 4x150 SE | 44 | 49 | 0.062909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3352-4_2_3_line_53 | NAYY 4x150 SE | 45 | 119 | 0.047975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3352-4_2_3_line_54 | NAYY 4x150 SE | 45 | 85 | 0.052265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3352-4_2_3_line_55 | NAYY 4x150 SE | 47 | 48 | 0.017445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3352-4_2_3_line_56 | NAYY 4x150 SE | 47 | 49 | 0.039701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3352-4_2_3_line_57 | NAYY 4x150 SE | 48 | 50 | 0.11397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3352-4_2_3_line_58 | NAYY 4x150 SE | 48 | 51 | 0.02836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3352-4_2_3_line_59 | NAYY 4x150 SE | 49 | 52 | 0.061021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3352-4_2_3_line_60 | NAYY 4x150 SE | 50 | 53 | 0.064379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3352-4_2_3_line_61 | NAYY 4x150 SE | 50 | 54 | 0.007986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3352-4_2_3_line_62 | NAYY 4x150 SE | 51 | 55 | 0.031681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3352-4_2_3_line_63 | NAYY 4x150 SE | 51 | 56 | 0.0058198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3352-4_2_3_line_64 | NAYY 4x150 SE | 53 | 109 | 0.005422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3352-4_2_3_line_65 | NAYY 4x150 SE | 53 | 103 | 0.028392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3352-4_2_3_line_66 | NAYY 4x150 SE | 54 | 113 | 0.02674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3352-4_2_3_line_67 | NAYY 4x150 SE | 55 | 58 | 0.0067472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3352-4_2_3_line_68 | NAYY 4x150 SE | 56 | 57 | 0.027237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3352-4_2_3_line_69 | NAYY 4x150 SE | 59 | 64 | 0.027342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3352-4_2_3_line_70 | NAYY 4x150 SE | 59 | 63 | 0.15783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3352-4_2_3_line_71 | NAYY 4x150 SE | 61 | 62 | 0.00022592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3352-4_2_3_line_72 | NAYY 4x150 SE | 62 | 63 | 0.02981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3352-4_2_3_line_73 | NAYY 4x150 SE | 64 | 65 | 0.021323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3352-4_2_3_line_74 | NAYY 4x150 SE | 65 | 114 | 0.016182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3352-4_2_3_line_75 | NAYY 4x150 SE | 66 | 67 | 0.013092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3352-4_2_3_line_76 | NAYY 4x150 SE | 66 | 68 | 0.020372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3352-4_2_3_line_77 | NAYY 4x150 SE | 67 | 114 | 0.023717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3352-4_2_3_line_78 | NAYY 4x150 SE | 69 | 70 | 0.020622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3352-4_2_3_line_79 | NAYY 4x150 SE | 69 | 71 | 0.086031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3352-4_2_3_line_80 | NAYY 4x150 SE | 70 | 72 | 0.066048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3352-4_2_3_line_81 | NAYY 4x150 SE | 72 | 73 | 0.076365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3352-4_2_3_line_82 | NAYY 4x150 SE | 72 | 74 | 0.034094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3352-4_2_3_line_83 | NAYY 4x150 SE | 73 | 75 | 0.031363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3352-4_2_3_line_84 | NAYY 4x150 SE | 74 | 76 | 0.021584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3352-4_2_3_line_85 | NAYY 4x150 SE | 74 | 77 | 0.075423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3352-4_2_3_line_86 | NAYY 4x150 SE | 75 | 118 | 0.018469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3352-4_2_3_line_87 | NAYY 4x150 SE | 75 | 115 | 0.020285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3352-4_2_3_line_88 | NAYY 4x150 SE | 77 | 78 | 0.25744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3352-4_2_3_line_89 | NAYY 4x150 SE | 78 | 79 | 0.00863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3352-4_2_3_line_90 | NAYY 4x150 SE | 79 | 80 | 0.084532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3352-4_2_3_line_91 | NAYY 4x150 SE | 81 | 82 | 0.0084479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3352-4_2_3_line_92 | NAYY 4x150 SE | 82 | 83 | 0.027993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3352-4_2_3_line_93 | NAYY 4x150 SE | 85 | 122 | 0.00993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3352-4_2_3_line_94 | NAYY 4x150 SE | 86 | 87 | 0.014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3352-4_2_3_line_95 | NAYY 4x150 SE | 86 | 88 | 0.041556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3352-4_2_3_line_96 | NAYY 4x150 SE | 89 | 90 | 0.016767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3352-4_2_3_line_97 | NAYY 4x150 SE | 90 | 91 | 0.004488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3352-4_2_3_line_98 | NAYY 4x150 SE | 90 | 92 | 0.020534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3352-4_2_3_line_99 | NAYY 4x150 SE | 91 | 93 | 0.053712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3352-4_2_3_line_100 | NAYY 4x150 SE | 91 | 94 | 0.059593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3352-4_2_3_line_101 | NAYY 4x150 SE | 93 | 100 | 0.0076955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3352-4_2_3_line_102 | NAYY 4x150 SE | 94 | 95 | 0.0037256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3352-4_2_3_line_103 | NAYY 4x150 SE | 95 | 96 | 0.055042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3352-4_2_3_line_104 | NAYY 4x150 SE | 96 | 97 | 0.014128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3352-4_2_3_line_105 | NAYY 4x150 SE | 97 | 98 | 0.014777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3352-4_2_3_line_106 | NAYY 4x150 SE | 97 | 99 | 0.053529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3352-4_2_3_line_107 | NAYY 4x150 SE | 98 | 104 | 0.017613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3352-4_2_3_line_108 | NAYY 4x150 SE | 99 | 105 | 0.005806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3352-4_2_3_line_109 | NAYY 4x150 SE | 99 | 106 | 0.025577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3352-4_2_3_line_110 | NAYY 4x150 SE | 100 | 101 | 0.024437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3352-4_2_3_line_111 | NAYY 4x150 SE | 101 | 102 | 0.0057554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3352-4_2_3_line_112 | NAYY 4x150 SE | 102 | 103 | 0.021499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3352-4_2_3_line_113 | NAYY 4x150 SE | 105 | 107 | 0.0081856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3352-4_2_3_line_114 | NAYY 4x150 SE | 106 | 112 | 0.012786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3352-4_2_3_line_115 | NAYY 4x150 SE | 107 | 108 | 0.0056237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3352-4_2_3_line_116 | NAYY 4x150 SE | 109 | 110 | 0.015159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3352-4_2_3_line_117 | NAYY 4x150 SE | 114 | 115 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3352-4_2_3_line_118 | NAYY 4x150 SE | 115 | 116 | 0.063783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3352-4_2_3_line_119 | NAYY 4x150 SE | 116 | 117 | 0.023292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3352-4_2_3_line_120 | NAYY 4x150 SE | 119 | 120 | 0.023156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3352-4_2_3_line_121 | NAYY 4x150 SE | 119 | 121 | 0.019499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3352-4_2_3_trafo_68 | 0.25 MVA 20/0.4 kV | 123 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2729925.4734 | 1235376.8473 | 2729954.6274 | 1235368.1693 | 2729974.8621 | 1235364.153 | 2729999.6418 | 1235369.7109 | 2730021.3062 | 1235377.1579 | 2730077.2874 | 1235407.7542
1 | 2729783.8802 | 1235439.3196 | 2729847.1989 | 1235405.986 | 2729893.5166 | 1235386.3596 | 2729925.4734 | 1235376.8473
2 | 2730224.2212 | 1235364.3241 | 2730184.6166 | 1235381.582 | 2730166.5847 | 1235392.1736 | 2730156.467 | 1235409.9114 | 2730136.5279 | 1235420.1278 | 2730117.49 | 1235418.5984 | 2730090.4279 | 1235414.9361 | 2730077.2874 | 1235407.7542
3 | 2729774.482 | 1235441.5162 | 2729783.8802 | 1235439.3196
4 | 2729801.8414 | 1235403.1815 | 2729797.0306 | 1235409.5595 | 2729791.8738 | 1235417.22 | 2729789.7396 | 1235422.033 | 2729787.5121 | 1235426.9552 | 2729786.414 | 1235430.7788 | 2729785.7747 | 1235436.125 | 2729783.8802 | 1235439.3196
5 | 2730224.2212 | 1235364.3241 | 2730215.4085 | 1235374.6731 | 2730208.5685 | 1235385.1765 | 2730198.7459 | 1235398.0833 | 2730197.2467 | 1235400.4514
6 | 2729774.482 | 1235441.5162 | 2729772.0925 | 1235444.8446 | 2729767.9922 | 1235446.7789 | 2729763.4846 | 1235448.2928 | 2729754.2932 | 1235450.7275 | 2729742.6506 | 1235454.1206 | 2729728.3596 | 1235457.4446 | 2729719.1682 | 1235459.8794
7 | 2729774.482 | 1235441.5162 | 2729773.7914 | 1235438.821 | 2729771.3093 | 1235436.6873 | 2729765.3829 | 1235435.2233 | 2729756.5843 | 1235435.6203 | 2729743.7802 | 1235435.3405 | 2729726.2247 | 1235434.2229 | 2729710.8834 | 1235434.3325 | 2729687.269 | 1235437.82 | 2729673.5428 | 1235438.8546 | 2729660.5971 | 1235438.127 | 2729647.1052 | 1235439.8785
8 | 2730197.2467 | 1235400.4514 | 2730188.6914 | 1235413.9653 | 2730179.9355 | 1235429.6756 | 2730179.2327 | 1235436.8663 | 2730179.2327 | 1235436.8663
9 | 2729660.4689 | 1235451.9692 | 2729655.8642 | 1235450.6565 | 2729650.2964 | 1235447.677 | 2729649.2256 | 1235446.4415 | 2729650.8463 | 1235442.9517 | 2729647.1052 | 1235439.8785
10 | 2729636.7409 | 1235446.1021 | 2729644.9109 | 1235440.1642 | 2729647.1052 | 1235439.8785
11 | 2729325.7377 | 1235639.7657 | 2729317.387 | 1235641.1629 | 2729317.387 | 1235641.1629
12 | 2729290.7758 | 1235630.0411 | 2729300.5601 | 1235635.1249 | 2729310.2515 | 1235639.951 | 2729317.387 | 1235641.1629
13 | 2729334.6745 | 1235634.7449 | 2729332.1294 | 1235636.5466 | 2729325.7377 | 1235639.7657
14 | 2729272.3241 | 1235625.2578 | 2729275.9557 | 1235628.4951 | 2729281.8253 | 1235629.7794 | 2729290.7758 | 1235630.0411
15 | 2729290.7758 | 1235630.0411 | 2729295.9281 | 1235630.1977 | 2729305.2344 | 1235628.7212 | 2729315.8381 | 1235625.3825 | 2729324.6414 | 1235617.8011 | 2729325.3469 | 1235616.3486 | 2729329.7518 | 1235612.5857 | 2729336.5932 | 1235604.361
16 | 2729385.4704 | 1235626.9331 | 2729374.6307 | 1235628.9432 | 2729367.0048 | 1235630.7787 | 2729358.3249 | 1235632.6913 | 2729350.9523 | 1235632.6308 | 2729341.8814 | 1235633.3784 | 2729334.6745 | 1235634.7449
17 | 2729356.2101 | 1235618.9115 | 2729349.7961 | 1235623.4979 | 2729341.3335 | 1235630.0303 | 2729334.6745 | 1235634.7449
18 | 2729272.3241 | 1235625.2578 | 2729277.7964 | 1235620.4505 | 2729284.3186 | 1235611.2403 | 2729288.3109 | 1235602.0861 | 2729288.6404 | 1235598.0788
19 | 2729272.3241 | 1235625.2578 | 2729264.4955 | 1235626.6664 | 2729264.4955 | 1235626.6664
20 | 2729336.5932 | 1235604.361 | 2729338.0236 | 1235602.6463 | 2729344.8899 | 1235596.4127 | 2729354.9911 | 1235593.5524 | 2729364.082 | 1235592.1538
21 | 2729385.4704 | 1235626.9331 | 2729392.9249 | 1235627.7517 | 2729399.1749 | 1235631.035 | 2729404.1932 | 1235637.3385 | 2729408.2013 | 1235642.052
22 | 2729385.4704 | 1235626.9331 | 2729395.6134 | 1235621.8052 | 2729406.7232 | 1235620.6017
23 | 2729304.4022 | 1235576.9039 | 2729301.0064 | 1235580.5664 | 2729296.9484 | 1235589.608 | 2729288.6404 | 1235598.0788
24 | 2729288.6404 | 1235598.0788 | 2729289.3078 | 1235590.031 | 2729288.3755 | 1235574.7867 | 2729287.0361 | 1235559.111 | 2729286.0839 | 1235549.649 | 2729286.1929 | 1235539.7764 | 2729289.1678 | 1235514.7645
25 | 2729236.7913 | 1235628.7413 | 2729238.0206 | 1235628.403 | 2729249.7668 | 1235626.1344 | 2729255.5557 | 1235626.2605 | 2729264.4955 | 1235626.6664
26 | 2729373.6263 | 1235590.2665 | 2729371.2623 | 1235591.049 | 2729364.082 | 1235592.1538
27 | 2729992.4369 | 1235684.5147 | 2729994.8779 | 1235675.4316 | 2729994.8779 | 1235675.4316
28 | 2730053.2856 | 1235643.316 | 2730045.4522 | 1235649.0828 | 2730028.608 | 1235666.3287 | 2730009.1213 | 1235667.6923 | 2729994.8779 | 1235675.4316
29 | 2730053.2856 | 1235643.316 | 2730071.0149 | 1235630.2486 | 2730080.2967 | 1235616.429 | 2730086.9232 | 1235587.3162 | 2730105.6046 | 1235554.3084 | 2730116.2346 | 1235547.3798 | 2730129.6586 | 1235544.9273 | 2730140.8421 | 1235529.3257 | 2730137.2278 | 1235520.4835 | 2730130.3017 | 1235508.3326 | 2730125.9854 | 1235507.3373
30 | 2730053.2856 | 1235643.316 | 2730050.0983 | 1235655.7568 | 2730048.5705 | 1235684.3697 | 2730037.1079 | 1235702.0227 | 2730023.4435 | 1235710.9756 | 2730010.6756 | 1235721.5163 | 2730004.1834 | 1235742.7922 | 2729993.5161 | 1235764.9331 | 2729980.0434 | 1235778.9724 | 2729972.9607 | 1235775.7036 | 2729965.6212 | 1235776.7123
31 | 2730125.9854 | 1235507.3373 | 2730137.0372 | 1235486.3505 | 2730151.3524 | 1235475.0211 | 2730160.05 | 1235460.5883 | 2730171.2183 | 1235442.9292 | 2730179.2327 | 1235436.8663
32 | 2730125.9854 | 1235507.3373 | 2730130.3017 | 1235508.3326 | 2730137.2278 | 1235520.4835 | 2730140.8421 | 1235529.3257 | 2730129.6586 | 1235544.9273 | 2730126.7359 | 1235562.2112 | 2730128.6665 | 1235598.8178 | 2730130.9328 | 1235634.2752 | 2730138.7994 | 1235690.1947 | 2730144.7441 | 1235719.1272
33 | 2730125.9854 | 1235507.3373 | 2730112.5825 | 1235507.4438 | 2730099.7447 | 1235509.3977 | 2730086.0212 | 1235512.7334 | 2730072.5629 | 1235517.098 | 2730058.756 | 1235522.1667 | 2730048.9504 | 1235524.9878 | 2730032.9334 | 1235533.1441 | 2730020.9815 | 1235540.9781 | 2730013.1329 | 1235547.0893 | 2730007.8657 | 1235552.9693
34 | 2730125.9854 | 1235507.3373 | 2730130.3017 | 1235508.3326 | 2730147.6425 | 1235512.3269 | 2730164.5574 | 1235512.9535 | 2730175.3239 | 1235512.578 | 2730188.1349 | 1235511.8469 | 2730195.5825 | 1235509.8751 | 2730204.8094 | 1235505.8295 | 2730212.2763 | 1235503.669 | 2730217.5671 | 1235503.3848 | 2730223.8024 | 1235505.9458 | 2730230.2017 | 1235510.3453 | 2730233.4804 | 1235514.8099
35 | 2729965.6212 | 1235776.7123 | 2729962.7703 | 1235777.1041 | 2729952.9608 | 1235780.1254 | 2729942.4049 | 1235779.8943 | 2729923.7637 | 1235778.2742 | 2729913.6401 | 1235784.5803 | 2729910.5854 | 1235786.4818 | 2729897.4511 | 1235792.6777 | 2729894.4364 | 1235800.7074 | 2729899.8536 | 1235812.9696 | 2729899.7043 | 1235838.4768 | 2729898.5861 | 1235841.8329 | 2729896.2204 | 1235848.9205 | 2729886.7221 | 1235856.4081 | 2729882.2414 | 1235856.7104 | 2729869.736 | 1235853.2007 | 2729853.4442 | 1235855.2797 | 2729841.8133 | 1235867.1689 | 2729832.4493 | 1235868.1762 | 2729823.9302 | 1235867.5896 | 2729814.4323 | 1235875.0662 | 2729806.1007 | 1235884.6033 | 2729801.3796 | 1235896.2433 | 2729794.3363 | 1235908.4887 | 2729787.8439 | 1235909.7368 | 2729786.6006 | 1235911.379
36 | 2730233.4804 | 1235514.8099 | 2730235.3328 | 1235517.3415 | 2730241.8301 | 1235526.5917 | 2730248.1586 | 1235538.3626 | 2730255.8254 | 1235545.7258 | 2730268.8495 | 1235553.9072 | 2730276.3492 | 1235558.9439
37 | 2730330.0025 | 1235595.8023 | 2730322.6611 | 1235590.9185 | 2730290.6578 | 1235568.5533 | 2730276.3492 | 1235558.9439
38 | 2730144.7441 | 1235719.1272 | 2730156.2035 | 1235718.2108 | 2730165.4484 | 1235724.0294 | 2730175.7751 | 1235721.625
39 | 2729545.9393 | 1235187.1757 | 2729421.8314 | 1235006.9183
40 | 2729578.4744 | 1235259.8297 | 2729545.9393 | 1235187.1757
41 | 2729545.9393 | 1235187.1757 | 2729568.4221 | 1234971.7678
42 | 2729236.7913 | 1235628.7413 | 2729223.1916 | 1235632.4839 | 2729218.588 | 1235635.642 | 2729212.1124 | 1235643.063 | 2729202.8796 | 1235655.7729 | 2729196.068 | 1235664.0318 | 2729188.5493 | 1235670.685 | 2729177.555 | 1235677.3738 | 2729167.159 | 1235685.4435 | 2729153.7007 | 1235698.9067 | 2729135.0268 | 1235714.7808 | 2729115.8447 | 1235730.0101 | 2729099.8684 | 1235742.9961 | 2729096.1981 | 1235747.1087 | 2729094.2012 | 1235751.9027 | 2729092.755 | 1235760.2672 | 2729092.328 | 1235767.8909
43 | 2729238.6826 | 1235354.5535 | 2729245.944 | 1235375.1746
44 | 2729259.1547 | 1235447.0545 | 2729255.9442 | 1235431.7718 | 2729254.1312 | 1235408.6351 | 2729252.3856 | 1235391.794 | 2729247.3958 | 1235379.2972 | 2729245.944 | 1235375.1746
45 | 2729318.0043 | 1235336.5086 | 2729303.5294 | 1235340.6304 | 2729277.0954 | 1235347.0384 | 2729254.7729 | 1235351.69 | 2729238.6826 | 1235354.5535
46 | 2729259.1547 | 1235447.0545 | 2729264.7416 | 1235450.9015 | 2729270.7014 | 1235452.9217 | 2729281.2924 | 1235455.0428 | 2729286.6128 | 1235457.5718 | 2729290.0017 | 1235461.5267
47 | 2729318.0043 | 1235336.5086 | 2729362.4604 | 1235320.2515 | 2729377.9142 | 1235313.0829
48 | 2729318.0043 | 1235336.5086 | 2729322.7048 | 1235343.5168 | 2729327.7187 | 1235345.5165 | 2729336.169 | 1235344.4328 | 2729343.3948 | 1235343.6006 | 2729368.0642 | 1235344.387
49 | 2729290.0017 | 1235461.5267 | 2729291.0974 | 1235463.7079
50 | 2729306.0077 | 1235447.2296 | 2729295.1378 | 1235457.9132 | 2729290.0017 | 1235461.5267
51 | 2729377.9142 | 1235313.0829 | 2729398.8716 | 1235303.3613
52 | 2729430.779 | 1235348.5409 | 2729406.2369 | 1235345.6039 | 2729368.0642 | 1235344.387
53 | 2729291.0974 | 1235463.7079 | 2729303.4531 | 1235467.5356 | 2729319.2294 | 1235474.5626 | 2729326.9732 | 1235481.5704 | 2729333.2929 | 1235485.489
54 | 2729291.0974 | 1235463.7079 | 2729292.9333 | 1235467.3621 | 2729294.5706 | 1235474.2257 | 2729295.0302 | 1235482.3203 | 2729294.6187 | 1235486.615 | 2729292.1849 | 1235496.8595 | 2729289.7972 | 1235509.5071 | 2729289.1678 | 1235514.7645
55 | 2729487.5405 | 1235354.7495 | 2729480.6044 | 1235353.7531 | 2729470.1851 | 1235353.1271
56 | 2729430.779 | 1235348.5409 | 2729440.5883 | 1235349.7111 | 2729458.5181 | 1235352.4263 | 2729470.1851 | 1235353.1271
57 | 2729487.5405 | 1235354.7495 | 2729491.6612 | 1235358.8205 | 2729509.4509 | 1235383.5735 | 2729521.5927 | 1235396.8605 | 2729536.1204 | 1235406.6299 | 2729567.3804 | 1235420.5454 | 2729574.674 | 1235424.2409
58 | 2729515.759 | 1235351.9288 | 2729494.5797 | 1235353.1015 | 2729487.5405 | 1235354.7495
59 | 2729478.3436 | 1235313.3475 | 2729468.1255 | 1235315.2932 | 2729460.4065 | 1235319.295 | 2729452.4075 | 1235327.461 | 2729446.2286 | 1235335.8334 | 2729441.0089 | 1235341.8804 | 2729430.779 | 1235348.5409
60 | 2729574.674 | 1235424.2409 | 2729602.59 | 1235438.3839 | 2729611.7671 | 1235441.1086 | 2729623.2155 | 1235442.1036 | 2729627.3463 | 1235443.9731 | 2729631.7332 | 1235447.6386 | 2729632.348 | 1235449.2978
61 | 2729574.674 | 1235424.2409 | 2729568.2814 | 1235427.482 | 2729567.5517 | 1235427.8534
62 | 2729515.759 | 1235351.9288 | 2729526.9352 | 1235351.8724 | 2729535.0779 | 1235354.1296 | 2729540.0627 | 1235357.808 | 2729541.9158 | 1235361.7073 | 2729541.8087 | 1235363.2458
63 | 2729515.759 | 1235351.9288 | 2729518.8414 | 1235346.9923
64 | 2729632.348 | 1235449.2978 | 2729636.7409 | 1235446.1021
65 | 2729632.348 | 1235449.2978 | 2729633.2845 | 1235451.8315 | 2729632.3635 | 1235459.6847 | 2729627.2093 | 1235470.7038 | 2729622.8317 | 1235474.2258
66 | 2729544.7021 | 1235441.1572 | 2729547.8663 | 1235437.7122 | 2729554.4344 | 1235435.0976 | 2729561.0311 | 1235431.1715 | 2729567.5517 | 1235427.8534
67 | 2729541.3398 | 1235369.9767 | 2729541.8087 | 1235363.2458
68 | 2729518.8414 | 1235346.9923 | 2729520.9447 | 1235343.6237 | 2729521.9396 | 1235339.6643 | 2729521.8766 | 1235334.225 | 2729525.0352 | 1235331.0356 | 2729530.9023 | 1235328.6282 | 2729533.8124 | 1235328.5026
69 | 2729578.4744 | 1235259.8297 | 2729593.6112 | 1235270.1462 | 2729602.5171 | 1235271.6016
70 | 2729578.4744 | 1235259.8297 | 2729569.4353 | 1235258.7427 | 2729546.8931 | 1235258.8624 | 2729523.508 | 1235260.1426 | 2729498.0435 | 1235264.0687 | 2729469.0463 | 1235271.3318 | 2729458.9136 | 1235275.9593 | 2729448.7733 | 1235280.5868 | 2729427.9009 | 1235289.8955 | 2729426.1186 | 1235290.7223
71 | 2729399.0766 | 1235303.2663 | 2729398.8716 | 1235303.3613
72 | 2729399.0766 | 1235303.2663 | 2729426.1186 | 1235290.7223
73 | 2729602.5171 | 1235271.6016 | 2729610.8123 | 1235272.9571 | 2729623.5121 | 1235275.3176
74 | 2729639.4214 | 1235278.2746 | 2729623.5121 | 1235275.3176
75 | 2729619.9738 | 1235264.6166 | 2729606.9498 | 1235262.9533
76 | 2729606.9498 | 1235262.9533 | 2729600.4665 | 1235253.693 | 2729591.4679 | 1235252.5783
77 | 2729619.9738 | 1235264.6166 | 2729639.4214 | 1235278.2746
78 | 2729825.0278 | 1235191.5852 | 2729822.801 | 1235194.2742 | 2729809.4685 | 1235205.0314
79 | 2729837.0379 | 1235120.7455 | 2729822.0966 | 1235137.8446 | 2729825.7672 | 1235147.6108 | 2729834.9751 | 1235159.6777 | 2729838.962 | 1235166.0591 | 2729837.7711 | 1235176.1972 | 2729825.0278 | 1235191.5852
80 | 2729774.0209 | 1235249.9445 | 2729768.1719 | 1235238.3514 | 2729809.4685 | 1235205.0314
81 | 2729774.0209 | 1235249.9445 | 2729758.6352 | 1235256.2249 | 2729734.0098 | 1235264.3607 | 2729708.7822 | 1235269.9146 | 2729700.6217 | 1235270.5481
82 | 2729774.0209 | 1235249.9445 | 2729793.9738 | 1235237.3586 | 2729802.5361 | 1235231.1626
83 | 2729673.8753 | 1235283.9423 | 2729688.1327 | 1235282.1742 | 2729700.6217 | 1235270.5481
84 | 2729804.3916 | 1235250.5306 | 2729808.0961 | 1235245.2404 | 2729802.5361 | 1235231.1626
85 | 2729802.5361 | 1235231.1626 | 2729810.8216 | 1235225.1608 | 2729830.2553 | 1235208.9717 | 2729849.4285 | 1235185.6599 | 2729855.8164 | 1235178.34
86 | 2729673.8753 | 1235283.9423 | 2729677.6769 | 1235288.0621 | 2729680.5793 | 1235292.4514 | 2729688.2139 | 1235292.3179
87 | 2729673.8753 | 1235283.9423 | 2729656.2298 | 1235283.1121 | 2729653.6567 | 1235282.3665
88 | 2730078.8647 | 1235069.4801 | 2730011.6802 | 1235078.5841 | 2729980.8321 | 1235085.5818 | 2729953.2931 | 1235096.7222 | 2729927.8714 | 1235110.0664 | 2729908.4104 | 1235124.3641 | 2729876.3688 | 1235154.7893 | 2729855.8164 | 1235178.34
89 | 2730081.5622 | 1235077.6794 | 2730078.8647 | 1235069.4801
90 | 2730081.5622 | 1235077.6794 | 2730084.0198 | 1235100.6304 | 2730084.9746 | 1235111.9942 | 2730087.8874 | 1235129.3726 | 2730083.1698 | 1235139.4223 | 2730075.8312 | 1235146.4231 | 2730068.1713 | 1235154.6068
91 | 2730353.1004 | 1235609.6799 | 2730358.4997 | 1235610.9995 | 2730361.3286 | 1235611.589
92 | 2730353.1004 | 1235609.6799 | 2730351.3482 | 1235606.7279 | 2730347.1454 | 1235604.0112 | 2730340.0577 | 1235603.0437 | 2730335.8686 | 1235599.7046 | 2730330.0025 | 1235595.8023
93 | 2729282.6059 | 1235520.9269 | 2729284.247 | 1235516.4922 | 2729289.1678 | 1235514.7645
94 | 2729373.6263 | 1235590.2665 | 2729373.7967 | 1235586.2669 | 2729373.9409 | 1235584.513 | 2729374.4329 | 1235582.433 | 2729377.8821 | 1235581.1849 | 2729380.663 | 1235580.0333
95 | 2729406.058 | 1235569.155 | 2729406.0585 | 1235573.9924 | 2729403.454 | 1235577.1272 | 2729398.9727 | 1235580.2211 | 2729390.0631 | 1235583.9858 | 2729380.2687 | 1235588.0537 | 2729373.6263 | 1235590.2665
96 | 2729525.1696 | 1235533.4314 | 2729523.854 | 1235529.5328 | 2729519.5071 | 1235528.893 | 2729514.4142 | 1235529.1378 | 2729511.733 | 1235530.8095
97 | 2729529.5453 | 1235534.4832 | 2729525.1696 | 1235533.4314
98 | 2729508.8944 | 1235540.616 | 2729512.3807 | 1235539.0574 | 2729515.0812 | 1235540.2061 | 2729519.898 | 1235535.9631 | 2729522.2629 | 1235535.8367 | 2729523.2342 | 1235532.9555 | 2729525.1696 | 1235533.4314
99 | 2729529.5453 | 1235534.4832 | 2729532.7165 | 1235527.591 | 2729540.9482 | 1235519.1634 | 2729552.5779 | 1235511.8441 | 2729570.2568 | 1235501.2629
100 | 2729529.5453 | 1235534.4832 | 2729523.6481 | 1235547.2988 | 2729518.7374 | 1235560.7031 | 2729516.9475 | 1235567.7922 | 2729517.165 | 1235571.3555 | 2729518.6038 | 1235573.7667 | 2729521.7291 | 1235573.8349 | 2729535.5137 | 1235569.6898
101 | 2729576.9018 | 1235497.3835 | 2729574.6093 | 1235498.6578 | 2729570.2568 | 1235501.2629
102 | 2729539.0815 | 1235568.617 | 2729535.5137 | 1235569.6898
103 | 2729539.0815 | 1235568.617 | 2729541.5204 | 1235567.8836 | 2729565.1702 | 1235562.7505 | 2729593.0622 | 1235557.9944
104 | 2729607.0412 | 1235555.9691 | 2729599.108 | 1235556.9635 | 2729593.0622 | 1235557.9944
105 | 2729607.0412 | 1235555.9691 | 2729608.3351 | 1235547.6792 | 2729606.8265 | 1235541.4728
106 | 2729651.0288 | 1235537.5577 | 2729650.0181 | 1235545.0086 | 2729647.7015 | 1235548.8168 | 2729643.4737 | 1235551.3934 | 2729631.5238 | 1235552.9228 | 2729607.0412 | 1235555.9691
107 | 2729602.6664 | 1235524.3581 | 2729606.8265 | 1235541.4728
108 | 2729651.0288 | 1235537.5577 | 2729651.0041 | 1235531.7522
109 | 2729651.0288 | 1235537.5577 | 2729653.9923 | 1235528.0476 | 2729657.7116 | 1235521.3676 | 2729663.2237 | 1235515.611
110 | 2729576.9018 | 1235497.3835 | 2729592.8572 | 1235488.5139 | 2729598.5854 | 1235486.1891
111 | 2729603.9183 | 1235484.0248 | 2729598.5854 | 1235486.1891
112 | 2729603.9183 | 1235484.0248 | 2729617.507 | 1235478.5098 | 2729622.8317 | 1235474.2258
113 | 2729651.0041 | 1235531.7522 | 2729647.5915 | 1235531.3218 | 2729645.8268 | 1235528.9258 | 2729644.2777 | 1235528.0693
114 | 2729667.3246 | 1235504.1295 | 2729667.303 | 1235508.5884 | 2729666.3338 | 1235512.059 | 2729664.1886 | 1235514.6032 | 2729663.2237 | 1235515.611
115 | 2729639.3561 | 1235525.3482 | 2729644.2777 | 1235528.0693
116 | 2729641.1993 | 1235460.0111 | 2729641.4111 | 1235455.5119 | 2729638.598 | 1235448.0776 | 2729636.7409 | 1235446.1021
117 | 2729639.4214 | 1235278.2746 | 2729653.6567 | 1235282.3665
118 | 2729653.6567 | 1235282.3665 | 2729652.1478 | 1235291.8304 | 2729653.8107 | 1235311.7168 | 2729653.7145 | 1235323.0576 | 2729649.7863 | 1235331.3233 | 2729643.6897 | 1235336.2611 | 2729637.8661 | 1235337.2386
119 | 2729618.2601 | 1235328.5442 | 2729630.323 | 1235338.5047 | 2729637.8661 | 1235337.2386
120 | 2729333.2929 | 1235485.489 | 2729342.1058 | 1235491.03 | 2729345.4111 | 1235496.7401 | 2729351.2487 | 1235498.8022
121 | 2729333.2929 | 1235485.489 | 2729334.2844 | 1235504.9604

## bus_geodata
| x | y | coords
0 | 2729925.4734 | 1235376.8473
1 | 2730077.2874 | 1235407.7542
2 | 2729783.8802 | 1235439.3196
3 | 2730224.2212 | 1235364.3241
4 | 2729774.482 | 1235441.5162
5 | 2729801.8414 | 1235403.1815
6 | 2730197.2467 | 1235400.4514
7 | 2729719.1682 | 1235459.8794
8 | 2729647.1052 | 1235439.8785
9 | 2729317.387 | 1235641.1629
10 | 2729325.7377 | 1235639.7657
11 | 2729290.7758 | 1235630.0411
12 | 2729334.6745 | 1235634.7449
13 | 2729272.3241 | 1235625.2578
14 | 2729336.5932 | 1235604.361
15 | 2729385.4704 | 1235626.9331
16 | 2729356.2101 | 1235618.9115
17 | 2729288.6404 | 1235598.0788
18 | 2729264.4955 | 1235626.6664
19 | 2729364.082 | 1235592.1538
20 | 2729992.4369 | 1235684.5147
21 | 2729994.8779 | 1235675.4316
22 | 2730053.2856 | 1235643.316
23 | 2730125.9854 | 1235507.3373
24 | 2729965.6212 | 1235776.7123
25 | 2729786.6006 | 1235911.379
26 | 2730233.4804 | 1235514.8099
27 | 2730276.3492 | 1235558.9439
28 | 2730179.2327 | 1235436.8663
29 | 2730144.7441 | 1235719.1272
30 | 2730007.8657 | 1235552.9693
31 | 2730175.7751 | 1235721.625
32 | 2729408.2013 | 1235642.052
33 | 2729406.7232 | 1235620.6017
34 | 2729421.8314 | 1235006.9183
35 | 2729545.9393 | 1235187.1757
36 | 2729092.328 | 1235767.8909
37 | 2729236.7913 | 1235628.7413
38 | 2729245.944 | 1235375.1746
39 | 2729238.6826 | 1235354.5535
40 | 2729259.1547 | 1235447.0545
41 | 2729318.0043 | 1235336.5086
42 | 2729290.0017 | 1235461.5267
43 | 2729377.9142 | 1235313.0829
44 | 2729368.0642 | 1235344.387
45 | 2729291.0974 | 1235463.7079
46 | 2729306.0077 | 1235447.2296
47 | 2729470.1851 | 1235353.1271
48 | 2729487.5405 | 1235354.7495
49 | 2729430.779 | 1235348.5409
50 | 2729574.674 | 1235424.2409
51 | 2729515.759 | 1235351.9288
52 | 2729478.3436 | 1235313.3475
53 | 2729632.348 | 1235449.2978
54 | 2729567.5517 | 1235427.8534
55 | 2729541.8087 | 1235363.2458
56 | 2729518.8414 | 1235346.9923
57 | 2729533.8124 | 1235328.5026
58 | 2729541.3398 | 1235369.9767
59 | 2729578.4744 | 1235259.8297
60 | 2729568.4221 | 1234971.7678
61 | 2729398.8716 | 1235303.3613
62 | 2729399.0766 | 1235303.2663
63 | 2729426.1186 | 1235290.7223
64 | 2729602.5171 | 1235271.6016
65 | 2729623.5121 | 1235275.3176
66 | 2729606.9498 | 1235262.9533
67 | 2729619.9738 | 1235264.6166
68 | 2729591.4679 | 1235252.5783
69 | 2729825.0278 | 1235191.5852
70 | 2729809.4685 | 1235205.0314
71 | 2729837.0379 | 1235120.7455
72 | 2729774.0209 | 1235249.9445
73 | 2729700.6217 | 1235270.5481
74 | 2729802.5361 | 1235231.1626
75 | 2729673.8753 | 1235283.9423
76 | 2729804.3916 | 1235250.5306
77 | 2729855.8164 | 1235178.34
78 | 2730078.8647 | 1235069.4801
79 | 2730081.5622 | 1235077.6794
80 | 2730068.1713 | 1235154.6068
81 | 2730361.3286 | 1235611.589
82 | 2730353.1004 | 1235609.6799
83 | 2730330.0025 | 1235595.8023
84 | 2729304.4022 | 1235576.9039
85 | 2729289.1678 | 1235514.7645
86 | 2729373.6263 | 1235590.2665
87 | 2729380.663 | 1235580.0333
88 | 2729406.058 | 1235569.155
89 | 2729511.733 | 1235530.8095
90 | 2729525.1696 | 1235533.4314
91 | 2729529.5453 | 1235534.4832
92 | 2729508.8944 | 1235540.616
93 | 2729570.2568 | 1235501.2629
94 | 2729535.5137 | 1235569.6898
95 | 2729539.0815 | 1235568.617
96 | 2729593.0622 | 1235557.9944
97 | 2729607.0412 | 1235555.9691
98 | 2729606.8265 | 1235541.4728
99 | 2729651.0288 | 1235537.5577
100 | 2729576.9018 | 1235497.3835
101 | 2729598.5854 | 1235486.1891
102 | 2729603.9183 | 1235484.0248
103 | 2729622.8317 | 1235474.2258
104 | 2729602.6664 | 1235524.3581
105 | 2729651.0041 | 1235531.7522
106 | 2729663.2237 | 1235515.611
107 | 2729644.2777 | 1235528.0693
108 | 2729639.3561 | 1235525.3482
109 | 2729636.7409 | 1235446.1021
110 | 2729641.1993 | 1235460.0111
111 | 2729660.4689 | 1235451.9692
112 | 2729667.3246 | 1235504.1295
113 | 2729544.7021 | 1235441.1572
114 | 2729639.4214 | 1235278.2746
115 | 2729653.6567 | 1235282.3665
116 | 2729637.8661 | 1235337.2386
117 | 2729618.2601 | 1235328.5442
118 | 2729688.2139 | 1235292.3179
119 | 2729333.2929 | 1235485.489
120 | 2729351.2487 | 1235498.8022
121 | 2729334.2844 | 1235504.9604
122 | 2729282.6059 | 1235520.9269
123 | 2729574.674 | 1235424.2409

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1