## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3359-11_2_2_node_91 | 0.4 | n |  | TRUE
1 | bus_LV_3359-11_2_2_node_92 | 0.4 | n |  | TRUE
2 | bus_LV_3359-11_2_2_node_93 | 0.4 | n |  | TRUE
3 | bus_LV_3359-11_2_2_node_94 | 0.4 | n |  | TRUE
4 | bus_LV_3359-11_2_2_node_95 | 0.4 | n |  | TRUE
5 | bus_LV_3359-11_2_2_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_3359-11_2_2_node_97 | 0.4 | n |  | TRUE
7 | bus_LV_3359-11_2_2_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_3359-11_2_2_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_3359-11_2_2_node_166 | 0.4 | n |  | TRUE
10 | bus_LV_3359-11_2_2_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_3359-11_2_2_node_125 | 0.4 | n |  | TRUE
12 | bus_LV_3359-11_2_2_node_160 | 0.4 | n |  | TRUE
13 | bus_LV_3359-11_2_2_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_3359-11_2_2_node_130 | 0.4 | n |  | TRUE
15 | bus_LV_3359-11_2_2_node_101 | 0.4 | n |  | TRUE
16 | bus_LV_3359-11_2_2_node_102 | 0.4 | n |  | TRUE
17 | bus_LV_3359-11_2_2_node_103 | 0.4 | n |  | TRUE
18 | bus_LV_3359-11_2_2_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_3359-11_2_2_node_105 | 0.4 | n |  | TRUE
20 | bus_LV_3359-11_2_2_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_3359-11_2_2_node_110 | 0.4 | n |  | TRUE
22 | bus_LV_3359-11_2_2_node_198 | 0.4 | n |  | TRUE
23 | bus_LV_3359-11_2_2_node_193 | 0.4 | n |  | TRUE
24 | bus_LV_3359-11_2_2_node_107 | 0.4 | n |  | TRUE
25 | bus_LV_3359-11_2_2_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_3359-11_2_2_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_3359-11_2_2_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_3359-11_2_2_node_404 | 0.4 | n |  | TRUE
29 | bus_LV_3359-11_2_2_node_135 | 0.4 | n |  | TRUE
30 | bus_LV_3359-11_2_2_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_3359-11_2_2_node_112 | 0.4 | n |  | TRUE
32 | bus_LV_3359-11_2_2_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_3359-11_2_2_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_3359-11_2_2_node_116 | 0.4 | n |  | TRUE
35 | bus_LV_3359-11_2_2_node_117 | 0.4 | n |  | TRUE
36 | bus_LV_3359-11_2_2_node_118 | 0.4 | n |  | TRUE
37 | bus_LV_3359-11_2_2_node_138 | 0.4 | n |  | TRUE
38 | bus_LV_3359-11_2_2_node_126 | 0.4 | n |  | TRUE
39 | bus_LV_3359-11_2_2_node_127 | 0.4 | n |  | TRUE
40 | bus_LV_3359-11_2_2_node_128 | 0.4 | n |  | TRUE
41 | bus_LV_3359-11_2_2_node_129 | 0.4 | n |  | TRUE
42 | bus_LV_3359-11_2_2_node_410 | 0.4 | n |  | TRUE
43 | bus_LV_3359-11_2_2_node_131 | 0.4 | n |  | TRUE
44 | bus_LV_3359-11_2_2_node_132 | 0.4 | n |  | TRUE
45 | bus_LV_3359-11_2_2_node_401 | 0.4 | n |  | TRUE
46 | bus_LV_3359-11_2_2_node_196 | 0.4 | n |  | TRUE
47 | bus_LV_3359-11_2_2_node_134 | 0.4 | n |  | TRUE
48 | bus_LV_3359-11_2_2_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_3359-11_2_2_node_136 | 0.4 | n |  | TRUE
50 | bus_LV_3359-11_2_2_node_203 | 0.4 | n |  | TRUE
51 | bus_LV_3359-11_2_2_node_137 | 0.4 | n |  | TRUE
52 | bus_LV_3359-11_2_2_node_139 | 0.4 | n |  | TRUE
53 | bus_LV_3359-11_2_2_node_141 | 0.4 | n |  | TRUE
54 | bus_LV_3359-11_2_2_node_183 | 0.4 | n |  | TRUE
55 | bus_LV_3359-11_2_2_node_142 | 0.4 | n |  | TRUE
56 | bus_LV_3359-11_2_2_node_143 | 0.4 | n |  | TRUE
57 | bus_LV_3359-11_2_2_node_144 | 0.4 | n |  | TRUE
58 | bus_LV_3359-11_2_2_node_145 | 0.4 | n |  | TRUE
59 | bus_LV_3359-11_2_2_node_146 | 0.4 | n |  | TRUE
60 | bus_LV_3359-11_2_2_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_3359-11_2_2_node_148 | 0.4 | n |  | TRUE
62 | bus_LV_3359-11_2_2_node_201 | 0.4 | n |  | TRUE
63 | bus_LV_3359-11_2_2_node_150 | 0.4 | n |  | TRUE
64 | bus_LV_3359-11_2_2_node_151 | 0.4 | n |  | TRUE
65 | bus_LV_3359-11_2_2_node_152 | 0.4 | n |  | TRUE
66 | bus_LV_3359-11_2_2_node_153 | 0.4 | n |  | TRUE
67 | bus_LV_3359-11_2_2_node_154 | 0.4 | n |  | TRUE
68 | bus_LV_3359-11_2_2_node_155 | 0.4 | n |  | TRUE
69 | bus_LV_3359-11_2_2_node_208 | 0.4 | n |  | TRUE
70 | bus_LV_3359-11_2_2_node_159 | 0.4 | n |  | TRUE
71 | bus_LV_3359-11_2_2_node_156 | 0.4 | n |  | TRUE
72 | bus_LV_3359-11_2_2_node_157 | 0.4 | n |  | TRUE
73 | bus_LV_3359-11_2_2_node_158 | 0.4 | n |  | TRUE
74 | bus_LV_3359-11_2_2_node_161 | 0.4 | n |  | TRUE
75 | bus_LV_3359-11_2_2_node_162 | 0.4 | n |  | TRUE
76 | bus_LV_3359-11_2_2_node_163 | 0.4 | n |  | TRUE
77 | bus_LV_3359-11_2_2_node_164 | 0.4 | n |  | TRUE
78 | bus_LV_3359-11_2_2_node_165 | 0.4 | n |  | TRUE
79 | bus_LV_3359-11_2_2_node_205 | 0.4 | n |  | TRUE
80 | bus_LV_3359-11_2_2_node_167 | 0.4 | n |  | TRUE
81 | bus_LV_3359-11_2_2_node_168 | 0.4 | n |  | TRUE
82 | bus_LV_3359-11_2_2_node_399 | 0.4 | n |  | TRUE
83 | bus_LV_3359-11_2_2_node_169 | 0.4 | n |  | TRUE
84 | bus_LV_3359-11_2_2_node_170 | 0.4 | n |  | TRUE
85 | bus_LV_3359-11_2_2_node_172 | 0.4 | n |  | TRUE
86 | bus_LV_3359-11_2_2_node_191 | 0.4 | n |  | TRUE
87 | bus_LV_3359-11_2_2_node_192 | 0.4 | n |  | TRUE
88 | bus_LV_3359-11_2_2_node_194 | 0.4 | n |  | TRUE
89 | bus_LV_3359-11_2_2_node_195 | 0.4 | n |  | TRUE
90 | bus_LV_3359-11_2_2_node_197 | 0.4 | n |  | TRUE
91 | bus_LV_3359-11_2_2_node_200 | 0.4 | n |  | TRUE
92 | bus_LV_3359-11_2_2_node_209 | 0.4 | n |  | TRUE
93 | bus_LV_3359-11_2_2_node_202 | 0.4 | n |  | TRUE
94 | bus_LV_3359-11_2_2_node_409 | 0.4 | n |  | TRUE
95 | bus_LV_3359-11_2_2_node_204 | 0.4 | n |  | TRUE
96 | bus_LV_3359-11_2_2_node_206 | 0.4 | n |  | TRUE
97 | bus_LV_3359-11_2_2_node_207 | 0.4 | n |  | TRUE
98 | bus_LV_3359-11_2_2_node_436 | 0.4 | n |  | TRUE
99 | bus_LV_3359-11_2_2_node_434 | 0.4 | n |  | TRUE
100 | bus_LV_3359-11_2_2_node_411 | 0.4 | n |  | TRUE
101 | bus_LV_3359-11_2_2_node_210 | 0.4 | n |  | TRUE
102 | bus_LV_3359-11_2_2_node_211 | 0.4 | n |  | TRUE
103 | bus_LV_3359-11_2_2_node_213 | 0.4 | n |  | TRUE
104 | bus_LV_3359-11_2_2_node_220 | 0.4 | n |  | TRUE
105 | bus_LV_3359-11_2_2_node_214 | 0.4 | n |  | TRUE
106 | bus_LV_3359-11_2_2_node_215 | 0.4 | n |  | TRUE
107 | bus_LV_3359-11_2_2_node_216 | 0.4 | n |  | TRUE
108 | bus_LV_3359-11_2_2_node_217 | 0.4 | n |  | TRUE
109 | bus_LV_3359-11_2_2_node_218 | 0.4 | n |  | TRUE
110 | bus_LV_3359-11_2_2_node_219 | 0.4 | n |  | TRUE
111 | bus_LV_3359-11_2_2_node_221 | 0.4 | n |  | TRUE
112 | bus_LV_3359-11_2_2_node_222 | 0.4 | n |  | TRUE
113 | bus_LV_3359-11_2_2_node_405 | 0.4 | n |  | TRUE
114 | bus_LV_3359-11_2_2_node_226 | 0.4 | n |  | TRUE
115 | bus_LV_3359-11_2_2_node_385 | 0.4 | n |  | TRUE
116 | bus_LV_3359-11_2_2_node_386 | 0.4 | n |  | TRUE
117 | bus_LV_3359-11_2_2_node_387 | 0.4 | n |  | TRUE
118 | bus_LV_3359-11_2_2_node_388 | 0.4 | n |  | TRUE
119 | bus_LV_3359-11_2_2_node_389 | 0.4 | n |  | TRUE
120 | bus_LV_3359-11_2_2_node_390 | 0.4 | n |  | TRUE
121 | bus_LV_3359-11_2_2_node_391 | 0.4 | n |  | TRUE
122 | bus_LV_3359-11_2_2_node_392 | 0.4 | n |  | TRUE
123 | bus_LV_3359-11_2_2_node_393 | 0.4 | n |  | TRUE
124 | bus_LV_3359-11_2_2_node_394 | 0.4 | n |  | TRUE
125 | bus_LV_3359-11_2_2_node_407 | 0.4 | n |  | TRUE
126 | bus_LV_3359-11_2_2_node_408 | 0.4 | n |  | TRUE
127 | bus_LV_3359-11_2_2_node_398 | 0.4 | n |  | TRUE
128 | bus_LV_3359-11_2_2_node_395 | 0.4 | n |  | TRUE
129 | bus_LV_3359-11_2_2_node_396 | 0.4 | n |  | TRUE
130 | bus_LV_3359-11_2_2_node_397 | 0.4 | n |  | TRUE
131 | bus_LV_3359-11_2_2_node_402 | 0.4 | n |  | TRUE
132 | bus_LV_3359-11_2_2_node_403 | 0.4 | n |  | TRUE
133 | bus_LV_3359-11_2_2_node_412 | 0.4 | n |  | TRUE
134 | bus_LV_3359-11_2_2_node_435 | 0.4 | n |  | TRUE
135 | bus_MV_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3359-11_2_2_load_91 | 0 | 0.0015659 | 0.00039244 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3359-11_2_2_load_92 | 1 | 0.00029478 | 7.3878e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3359-11_2_2_load_94 | 3 | 7.1165e-05 | 1.7836e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3359-11_2_2_load_96 | 5 | 0.0045775 | 0.0011472 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3359-11_2_2_load_97 | 6 | 0.00058046 | 0.00014548 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3359-11_2_2_load_99 | 7 | 0.0021049 | 0.00052753 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3359-11_2_2_load_100 | 8 | 0.00014842 | 3.7198e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3359-11_2_2_load_166 | 9 | 0.00015781 | 3.9552e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3359-11_2_2_load_125 | 11 | 0.0012691 | 0.00031807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3359-11_2_2_load_115 | 13 | 0.0018145 | 0.00045475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3359-11_2_2_load_130 | 14 | 0.0001556 | 3.8997e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3359-11_2_2_load_101 | 15 | 0.00018892 | 4.7348e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3359-11_2_2_load_102 | 16 | 0.0013003 | 0.00032589 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3359-11_2_2_load_104 | 18 | 0.0001317 | 3.3008e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3359-11_2_2_load_105 | 19 | 0.00061674 | 0.00015457 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3359-11_2_2_load_110 | 21 | 9.5117e-05 | 2.3839e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3359-11_2_2_load_108 | 25 | 0.00039089 | 9.7967e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3359-11_2_2_load_149 | 27 | 4.1963e-05 | 1.0517e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3359-11_2_2_load_404 | 28 | 7.5899e-05 | 1.9022e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3359-11_2_2_load_135 | 29 | 0.00022133 | 5.5472e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3359-11_2_2_load_111 | 30 | 0.0013181 | 0.00033034 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3359-11_2_2_load_112 | 31 | 0.0011487 | 0.00028788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3359-11_2_2_load_114 | 33 | 0.0014261 | 0.00035741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3359-11_2_2_load_116 | 34 | 0.00024716 | 6.1943e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3359-11_2_2_load_117 | 35 | 0.0027039 | 0.00067765 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3359-11_2_2_load_118 | 36 | 0.0011827 | 0.00029642 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3359-11_2_2_load_138 | 37 | 0.00028657 | 7.1821e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3359-11_2_2_load_126 | 38 | 0.00014204 | 3.5599e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3359-11_2_2_load_127 | 39 | 0.00018589 | 4.6588e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3359-11_2_2_load_129 | 41 | 0.0027272 | 0.0006835 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3359-11_2_2_load_410 | 42 | 0.00052669 | 0.000132 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3359-11_2_2_load_132 | 44 | 4.3949e-05 | 1.1015e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3359-11_2_2_load_401 | 45 | 0.00014746 | 3.6958e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3359-11_2_2_load_196 | 46 | 6.0877e-05 | 1.5257e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3359-11_2_2_load_134 | 47 | 0.00023139 | 5.7991e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3359-11_2_2_load_136 | 49 | 0.00026522 | 6.647e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3359-11_2_2_load_203 | 50 | 0.00013263 | 3.324e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3359-11_2_2_load_137 | 51 | 0.00021471 | 5.3812e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3359-11_2_2_load_139 | 52 | 0.00028708 | 7.1948e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3359-11_2_2_load_141 | 53 | 0.0002481 | 6.218e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3359-11_2_2_load_183 | 54 | 0.00024815 | 6.2192e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3359-11_2_2_load_142 | 55 | 0.0001325 | 3.3207e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3359-11_2_2_load_143 | 56 | 0.00011955 | 2.9961e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3359-11_2_2_load_145 | 58 | 0.00015503 | 3.8854e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3359-11_2_2_load_147 | 60 | 0.00020913 | 5.2413e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3359-11_2_2_load_148 | 61 | 8.6571e-05 | 2.1697e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3359-11_2_2_load_201 | 62 | 6.0108e-05 | 1.5064e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3359-11_2_2_load_150 | 63 | 0.00038717 | 9.7034e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3359-11_2_2_load_151 | 64 | 0.00043899 | 0.00011002 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3359-11_2_2_load_152 | 65 | 0.00080585 | 0.00020197 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3359-11_2_2_load_154 | 67 | 0.00054498 | 0.00013659 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3359-11_2_2_load_155 | 68 | 0.00054248 | 0.00013596 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3359-11_2_2_load_208 | 69 | 0.00029837 | 7.4779e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3359-11_2_2_load_156 | 71 | 0.00029646 | 7.4299e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3359-11_2_2_load_157 | 72 | 0.00023768 | 5.9569e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3359-11_2_2_load_162 | 75 | 0.0013038 | 0.00032676 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3359-11_2_2_load_163 | 76 | 0.0042377 | 0.0010621 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3359-11_2_2_load_164 | 77 | 0.0035782 | 0.00089678 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3359-11_2_2_load_167 | 80 | 0.00021428 | 5.3704e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3359-11_2_2_load_168 | 81 | 0.00026973 | 6.76e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3359-11_2_2_load_399 | 82 | 0.00026123 | 6.547e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3359-11_2_2_load_169 | 83 | 0.00015823 | 3.9657e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3359-11_2_2_load_170 | 84 | 0.000251 | 6.2907e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3359-11_2_2_load_191 | 86 | 0.00077054 | 0.00019311 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3359-11_2_2_load_192 | 87 | 4.8765e-05 | 1.2222e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3359-11_2_2_load_194 | 88 | 7.1832e-05 | 1.8003e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3359-11_2_2_load_195 | 89 | 7.6486e-05 | 1.9169e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3359-11_2_2_load_197 | 90 | 7.5913e-05 | 1.9026e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3359-11_2_2_load_209 | 92 | 0.00074745 | 0.00018733 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3359-11_2_2_load_202 | 93 | 7.7691e-05 | 1.9471e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3359-11_2_2_load_409 | 94 | 0.00019138 | 4.7965e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3359-11_2_2_load_204 | 95 | 0.00020713 | 5.1912e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3359-11_2_2_load_206 | 96 | 0.00391 | 0.00097993 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3359-11_2_2_load_436 | 98 | 0.0014408 | 0.0003611 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3359-11_2_2_load_434 | 99 | 0.0025371 | 0.00063586 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3359-11_2_2_load_411 | 100 | 4.5051e-05 | 1.1291e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3359-11_2_2_load_210 | 101 | 8.4654e-05 | 2.1216e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3359-11_2_2_load_211 | 102 | 3.9073e-05 | 9.7926e-06 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3359-11_2_2_load_213 | 103 | 0.00014102 | 3.5344e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3359-11_2_2_load_214 | 105 | 0.00018046 | 4.5228e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3359-11_2_2_load_215 | 106 | 0.00016151 | 4.0479e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3359-11_2_2_load_217 | 108 | 0.00020357 | 5.102e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3359-11_2_2_load_221 | 111 | 0.00038056 | 9.5376e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3359-11_2_2_load_222 | 112 | 0.00013828 | 3.4656e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3359-11_2_2_load_405 | 113 | 9.2387e-05 | 2.3154e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3359-11_2_2_load_226 | 114 | 0.00028663 | 7.1836e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3359-11_2_2_load_385 | 115 | 0.00010601 | 2.657e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3359-11_2_2_load_388 | 118 | 0.00018527 | 4.6434e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3359-11_2_2_load_389 | 119 | 7.3216e-05 | 1.835e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3359-11_2_2_load_390 | 120 | 0.00032927 | 8.2524e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3359-11_2_2_load_391 | 121 | 0.00017841 | 4.4715e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3359-11_2_2_load_392 | 122 | 0.00010335 | 2.5902e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3359-11_2_2_load_394 | 124 | 0.00063901 | 0.00016015 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3359-11_2_2_load_407 | 125 | 0.00027334 | 6.8505e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3359-11_2_2_load_408 | 126 | 0.00018943 | 4.7476e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3359-11_2_2_load_395 | 128 | 0.00029166 | 7.3097e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3359-11_2_2_load_396 | 129 | 0.00017285 | 4.3322e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3359-11_2_2_load_397 | 130 | 0.00016435 | 4.1191e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3359-11_2_2_load_402 | 131 | 0.00037991 | 9.5213e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3359-11_2_2_load_412 | 133 | 5.3279e-05 | 1.3353e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3359-11_2_2_load_435 | 134 | 0.0032146 | 0.00080566 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3359-11_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.06032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3359-11_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3359-11_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.052541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3359-11_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3359-11_2_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3359-11_2_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.010258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3359-11_2_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.042521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3359-11_2_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.037373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3359-11_2_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.10915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3359-11_2_2_line_9 | NAYY 4x150 SE | 7 | 13 | 0.023926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3359-11_2_2_line_10 | NAYY 4x150 SE | 8 | 14 | 0.032751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3359-11_2_2_line_11 | NAYY 4x150 SE | 9 | 80 | 0.018386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3359-11_2_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0098087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3359-11_2_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.003112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3359-11_2_2_line_14 | NAYY 4x150 SE | 11 | 35 | 0.019352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3359-11_2_2_line_15 | NAYY 4x150 SE | 12 | 76 | 0.022264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3359-11_2_2_line_16 | NAYY 4x150 SE | 12 | 73 | 0.0378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3359-11_2_2_line_17 | NAYY 4x150 SE | 13 | 32 | 0.016089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3359-11_2_2_line_18 | NAYY 4x150 SE | 14 | 40 | 0.11704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3359-11_2_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.032149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3359-11_2_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.013376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3359-11_2_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.026654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3359-11_2_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.069202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3359-11_2_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.049111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3359-11_2_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.016482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3359-11_2_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.084512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3359-11_2_2_line_26 | NAYY 4x150 SE | 20 | 23 | 0.11013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3359-11_2_2_line_27 | NAYY 4x150 SE | 21 | 29 | 0.021726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3359-11_2_2_line_28 | NAYY 4x150 SE | 22 | 92 | 0.019916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3359-11_2_2_line_29 | NAYY 4x150 SE | 23 | 89 | 0.037975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3359-11_2_2_line_30 | NAYY 4x150 SE | 23 | 86 | 0.037767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3359-11_2_2_line_31 | NAYY 4x150 SE | 24 | 25 | 0.062191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3359-11_2_2_line_32 | NAYY 4x150 SE | 24 | 26 | 0.060812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3359-11_2_2_line_33 | NAYY 4x150 SE | 25 | 27 | 0.20461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3359-11_2_2_line_34 | NAYY 4x150 SE | 26 | 28 | 0.050278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3359-11_2_2_line_35 | NAYY 4x150 SE | 27 | 59 | 0.11146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3359-11_2_2_line_36 | NAYY 4x150 SE | 28 | 132 | 0.076102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3359-11_2_2_line_37 | NAYY 4x150 SE | 29 | 49 | 0.02057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3359-11_2_2_line_38 | NAYY 4x150 SE | 30 | 31 | 0.019332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3359-11_2_2_line_39 | NAYY 4x150 SE | 30 | 32 | 0.0029097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3359-11_2_2_line_40 | NAYY 4x150 SE | 31 | 33 | 0.0087463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3359-11_2_2_line_41 | NAYY 4x150 SE | 32 | 34 | 0.017474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3359-11_2_2_line_42 | NAYY 4x150 SE | 33 | 35 | 0.03423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3359-11_2_2_line_43 | NAYY 4x150 SE | 34 | 36 | 0.0050951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3359-11_2_2_line_44 | NAYY 4x150 SE | 36 | 37 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3359-11_2_2_line_45 | NAYY 4x150 SE | 37 | 51 | 0.00076134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3359-11_2_2_line_46 | NAYY 4x150 SE | 38 | 39 | 0.032371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3359-11_2_2_line_47 | NAYY 4x150 SE | 38 | 40 | 0.051889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3359-11_2_2_line_48 | NAYY 4x150 SE | 39 | 41 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3359-11_2_2_line_49 | NAYY 4x150 SE | 40 | 42 | 0.13518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3359-11_2_2_line_50 | NAYY 4x150 SE | 41 | 43 | 0.16063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3359-11_2_2_line_51 | NAYY 4x150 SE | 43 | 44 | 0.15257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3359-11_2_2_line_52 | NAYY 4x150 SE | 43 | 45 | 0.13556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3359-11_2_2_line_53 | NAYY 4x150 SE | 44 | 46 | 0.047823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3359-11_2_2_line_54 | NAYY 4x150 SE | 45 | 131 | 0.010435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3359-11_2_2_line_55 | NAYY 4x150 SE | 46 | 88 | 0.016501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3359-11_2_2_line_56 | NAYY 4x150 SE | 47 | 48 | 0.025665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3359-11_2_2_line_57 | NAYY 4x150 SE | 48 | 53 | 0.13747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3359-11_2_2_line_58 | NAYY 4x150 SE | 48 | 52 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3359-11_2_2_line_59 | NAYY 4x150 SE | 49 | 50 | 0.10376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3359-11_2_2_line_60 | NAYY 4x150 SE | 50 | 95 | 0.014242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3359-11_2_2_line_61 | NAYY 4x150 SE | 51 | 52 | 0.018556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3359-11_2_2_line_62 | NAYY 4x150 SE | 53 | 54 | 0.035395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3359-11_2_2_line_63 | NAYY 4x150 SE | 54 | 85 | 0.17509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3359-11_2_2_line_64 | NAYY 4x150 SE | 55 | 56 | 0.0071351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3359-11_2_2_line_65 | NAYY 4x150 SE | 55 | 57 | 0.029518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3359-11_2_2_line_66 | NAYY 4x150 SE | 57 | 58 | 0.07696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3359-11_2_2_line_67 | NAYY 4x150 SE | 57 | 59 | 0.19846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3359-11_2_2_line_68 | NAYY 4x150 SE | 58 | 60 | 0.023977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3359-11_2_2_line_69 | NAYY 4x150 SE | 59 | 61 | 0.072467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3359-11_2_2_line_70 | NAYY 4x150 SE | 60 | 62 | 0.11083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3359-11_2_2_line_71 | NAYY 4x150 SE | 62 | 91 | 0.009637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3359-11_2_2_line_72 | NAYY 4x150 SE | 63 | 64 | 0.043474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3359-11_2_2_line_73 | NAYY 4x150 SE | 63 | 65 | 0.0084237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3359-11_2_2_line_74 | NAYY 4x150 SE | 64 | 66 | 0.016302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3359-11_2_2_line_75 | NAYY 4x150 SE | 66 | 67 | 0.075104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3359-11_2_2_line_76 | NAYY 4x150 SE | 66 | 68 | 0.028122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3359-11_2_2_line_77 | NAYY 4x150 SE | 67 | 69 | 0.15488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3359-11_2_2_line_78 | NAYY 4x150 SE | 68 | 70 | 0.02002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3359-11_2_2_line_79 | NAYY 4x150 SE | 69 | 100 | 0.0046579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3359-11_2_2_line_80 | NAYY 4x150 SE | 70 | 75 | 0.020022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3359-11_2_2_line_81 | NAYY 4x150 SE | 71 | 72 | 0.0084473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3359-11_2_2_line_82 | NAYY 4x150 SE | 71 | 73 | 0.01058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3359-11_2_2_line_83 | NAYY 4x150 SE | 73 | 74 | 0.010923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3359-11_2_2_line_84 | NAYY 4x150 SE | 74 | 77 | 0.018707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3359-11_2_2_line_85 | NAYY 4x150 SE | 74 | 78 | 0.049236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3359-11_2_2_line_86 | NAYY 4x150 SE | 75 | 78 | 0.038909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3359-11_2_2_line_87 | NAYY 4x150 SE | 78 | 79 | 0.008448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3359-11_2_2_line_88 | NAYY 4x150 SE | 79 | 96 | 0.021543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3359-11_2_2_line_89 | NAYY 4x150 SE | 79 | 97 | 0.00886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3359-11_2_2_line_90 | NAYY 4x150 SE | 80 | 81 | 0.025966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3359-11_2_2_line_91 | NAYY 4x150 SE | 81 | 82 | 0.028981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3359-11_2_2_line_92 | NAYY 4x150 SE | 82 | 130 | 0.069008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3359-11_2_2_line_93 | NAYY 4x150 SE | 83 | 84 | 0.024399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3359-11_2_2_line_94 | NAYY 4x150 SE | 84 | 85 | 0.068776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3359-11_2_2_line_95 | NAYY 4x150 SE | 86 | 87 | 0.016735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3359-11_2_2_line_96 | NAYY 4x150 SE | 87 | 88 | 0.023001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3359-11_2_2_line_97 | NAYY 4x150 SE | 89 | 90 | 0.061418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3359-11_2_2_line_98 | NAYY 4x150 SE | 90 | 91 | 0.062768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3359-11_2_2_line_99 | NAYY 4x150 SE | 91 | 93 | 0.15394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3359-11_2_2_line_100 | NAYY 4x150 SE | 93 | 94 | 0.023811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3359-11_2_2_line_101 | NAYY 4x150 SE | 97 | 98 | 0.015003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3359-11_2_2_line_102 | NAYY 4x150 SE | 97 | 99 | 0.0029316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3359-11_2_2_line_103 | NAYY 4x150 SE | 99 | 134 | 0.0079257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3359-11_2_2_line_104 | NAYY 4x150 SE | 100 | 133 | 0.008173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3359-11_2_2_line_105 | NAYY 4x150 SE | 101 | 102 | 0.02437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3359-11_2_2_line_106 | NAYY 4x150 SE | 101 | 103 | 0.28209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3359-11_2_2_line_107 | NAYY 4x150 SE | 103 | 104 | 0.27606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3359-11_2_2_line_108 | NAYY 4x150 SE | 104 | 108 | 0.082503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3359-11_2_2_line_109 | NAYY 4x150 SE | 105 | 106 | 0.023369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3359-11_2_2_line_110 | NAYY 4x150 SE | 105 | 107 | 0.03048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3359-11_2_2_line_111 | NAYY 4x150 SE | 106 | 108 | 0.080494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3359-11_2_2_line_112 | NAYY 4x150 SE | 107 | 109 | 0.1473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3359-11_2_2_line_113 | NAYY 4x150 SE | 107 | 110 | 0.16881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3359-11_2_2_line_114 | NAYY 4x150 SE | 109 | 111 | 0.097368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3359-11_2_2_line_115 | NAYY 4x150 SE | 109 | 112 | 0.038232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3359-11_2_2_line_116 | NAYY 4x150 SE | 110 | 113 | 0.043732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3359-11_2_2_line_117 | NAYY 4x150 SE | 112 | 114 | 0.047203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3359-11_2_2_line_118 | NAYY 4x150 SE | 113 | 132 | 0.38302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3359-11_2_2_line_119 | NAYY 4x150 SE | 115 | 116 | 0.094272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3359-11_2_2_line_120 | NAYY 4x150 SE | 115 | 117 | 0.11735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3359-11_2_2_line_121 | NAYY 4x150 SE | 116 | 118 | 0.055418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3359-11_2_2_line_122 | NAYY 4x150 SE | 116 | 119 | 0.0060374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3359-11_2_2_line_123 | NAYY 4x150 SE | 117 | 120 | 0.076631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3359-11_2_2_line_124 | NAYY 4x150 SE | 117 | 121 | 0.15515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3359-11_2_2_line_125 | NAYY 4x150 SE | 118 | 122 | 0.12062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3359-11_2_2_line_126 | NAYY 4x150 SE | 119 | 123 | 0.059328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3359-11_2_2_line_127 | NAYY 4x150 SE | 121 | 124 | 0.06968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3359-11_2_2_line_128 | NAYY 4x150 SE | 123 | 125 | 0.020316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3359-11_2_2_line_129 | NAYY 4x150 SE | 123 | 126 | 0.019031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3359-11_2_2_line_130 | NAYY 4x150 SE | 124 | 127 | 0.0080146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3359-11_2_2_line_131 | NAYY 4x150 SE | 127 | 128 | 0.15884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3359-11_2_2_line_132 | NAYY 4x150 SE | 128 | 129 | 0.038976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3359-11_2_2_line_133 | NAYY 4x150 SE | 129 | 130 | 0.068647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3359-11_2_2_trafo_130 | 0.25 MVA 20/0.4 kV | 135 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2741236.8775 | 1229715.7765 | 2741237.9461 | 1229720.524 | 2741238.6386 | 1229734.119 | 2741231.2489 | 1229754.2166 | 2741233.4111 | 1229774.5301 | 2741233.4111 | 1229774.5301
1 | 2741232.4081 | 1229686.6296 | 2741232.2358 | 1229695.1551 | 2741236.8775 | 1229715.7765
2 | 2741218.9928 | 1229825.0541 | 2741233.4111 | 1229774.5301
3 | 2741253.1917 | 1229675.0686 | 2741232.4081 | 1229686.6296
4 | 2741232.4081 | 1229686.6296 | 2741218.4606 | 1229692.459 | 2741209.8082 | 1229693.2286
5 | 2741218.9928 | 1229825.0541 | 2741218.9928 | 1229825.0541 | 2741227.0821 | 1229831.3615
6 | 2741253.1917 | 1229675.0686 | 2741257.5236 | 1229672.6583 | 2741271.6629 | 1229668.0123 | 2741289.6589 | 1229665.6377 | 2741294.1513 | 1229666.206
7 | 2741209.8082 | 1229693.2286 | 2741207.5085 | 1229693.4332 | 2741182.6407 | 1229690.607 | 2741172.7572 | 1229688.8623
8 | 2741237.6269 | 1229930.6897 | 2741235.0082 | 1229912.3663 | 2741248.8272 | 1229861.2275 | 2741236.9552 | 1229839.0596 | 2741227.0821 | 1229831.3615
9 | 2741316.8536 | 1229673.1266 | 2741302.6482 | 1229667.281 | 2741294.1513 | 1229666.206
10 | 2741140.5046 | 1229683.1686 | 2741172.7572 | 1229688.8623
11 | 2741237.6269 | 1229930.6897 | 2741239.1929 | 1229941.6468 | 2741242.3216 | 1229948.2621
12 | 2741251.4648 | 1229631.9788 | 2741260.4966 | 1229635.8046
13 | 2741251.4648 | 1229631.9788 | 2741248.5908 | 1229630.7651
14 | 2741278.3161 | 1229643.3527 | 2741260.4966 | 1229635.8046
15 | 2741248.5908 | 1229630.7651 | 2741252.1784 | 1229608.792
16 | 2741212.5184 | 1229619.4319 | 2741228.2694 | 1229625.7448 | 2741248.5908 | 1229630.7651
17 | 2741331.7324 | 1229679.2492 | 2741316.8536 | 1229673.1266
18 | 2741026.8237 | 1229656.1246 | 2741084.8116 | 1229673.3371 | 2741140.5046 | 1229683.1686
19 | 2740507.546 | 1229773.4506 | 2740520.8376 | 1229763.2748 | 2740533.0938 | 1229753.9341 | 2740533.0938 | 1229753.9341
20 | 2740496.9254 | 1229781.5814 | 2740507.546 | 1229773.4506
21 | 2740533.0938 | 1229753.9341 | 2740538.6469 | 1229748.2603 | 2740543.0249 | 1229741.9583 | 2740545.1385 | 1229733.6677 | 2740545.6434 | 1229731.2337
22 | 2740496.9254 | 1229781.5814 | 2740482.898 | 1229764.2238 | 2740446.0218 | 1229735.2695
23 | 2740533.1586 | 1229686.7771 | 2740538.0081 | 1229691.6293 | 2740541.6563 | 1229696.6421 | 2740545.0818 | 1229702.7394 | 2740547.3078 | 1229708.9196 | 2740547.7095 | 1229715.9686 | 2740546.8579 | 1229725.3789 | 2740545.6434 | 1229731.2337
24 | 2740433.0586 | 1229725.0911 | 2740446.0218 | 1229735.2695
25 | 2740587.7591 | 1229622.645 | 2740564.2417 | 1229646.977 | 2740551.5552 | 1229660.4 | 2740546.026 | 1229666.3412 | 2740540.8702 | 1229673.4811 | 2740533.1586 | 1229686.7771
26 | 2740533.1586 | 1229686.7771 | 2740526.6073 | 1229683.0635 | 2740520.0578 | 1229678.9497 | 2740515.1158 | 1229674.4846 | 2740510.9944 | 1229668.6488 | 2740509.0472 | 1229662.8533 | 2740508.4815 | 1229657.2906 | 2740508.9132 | 1229651.8517 | 2740510.1403 | 1229646.4315 | 2740512.487 | 1229640.782 | 2740515.6243 | 1229635.3514 | 2740519.3511 | 1229629.9903 | 2740523.473 | 1229625.228 | 2740527.1559 | 1229620.7667 | 2740529.7885 | 1229617.4483 | 2740530.4391 | 1229613.9717 | 2740529.9984 | 1229610.8141 | 2740528.3874 | 1229606.8281 | 2740525.062 | 1229603.2242 | 2740519.8463 | 1229598.1521
27 | 2740415.9708 | 1229711.6742 | 2740433.0586 | 1229725.0911
28 | 2740587.7591 | 1229622.645 | 2740596.3171 | 1229604.6539
29 | 2740519.8463 | 1229598.1521 | 2740516.6958 | 1229602.8596 | 2740507.2942 | 1229614.2251 | 2740501.9804 | 1229619.0705 | 2740497.3742 | 1229622.1977 | 2740493.207 | 1229623.7451 | 2740492.8563 | 1229623.8106
30 | 2740519.8463 | 1229598.1521 | 2740533.1471 | 1229573.178 | 2740539.5322 | 1229566.1817
31 | 2740306.1996 | 1229965.3499 | 2740367.4528 | 1229977.0944
32 | 2740385.0754 | 1230034.0933 | 2740368.8835 | 1230001.2269 | 2740367.8245 | 1229990.2368 | 2740367.4528 | 1229977.0944
33 | 2740236.5878 | 1229772.9495 | 2740306.1996 | 1229965.3499
34 | 2740385.0754 | 1230034.0933 | 2740372.775 | 1230053.0417 | 2740364.7226 | 1230068.9321 | 2740356.881 | 1230074.9302
35 | 2740147.5131 | 1229705.9494 | 2740236.5878 | 1229772.9495
36 | 2740296.4349 | 1230121.1662 | 2740356.881 | 1230074.9302
37 | 2740415.9708 | 1229711.6742 | 2740399.7921 | 1229698.971
38 | 2741329.722 | 1229677.1457 | 2741316.3655 | 1229663.17
39 | 2741331.7324 | 1229679.2492 | 2741329.722 | 1229677.1457
40 | 2741308.7944 | 1229658.791 | 2741316.3655 | 1229663.17 | 2741316.3655 | 1229663.17
41 | 2741331.7324 | 1229679.2492 | 2741341.6581 | 1229688.9269 | 2741343.8845 | 1229691.7702
42 | 2741308.7944 | 1229658.791 | 2741292.464 | 1229649.3456 | 2741278.3161 | 1229643.3527
43 | 2741347.0256 | 1229695.7819 | 2741343.8845 | 1229691.7702
44 | 2741356.0112 | 1229707.2576 | 2741347.0256 | 1229695.7819
45 | 2741356.0112 | 1229707.2576 | 2741356.4806 | 1229707.857
46 | 2740986.3143 | 1229624.2708 | 2740958.538 | 1229607.6458
47 | 2741026.8237 | 1229656.1246 | 2741020.9035 | 1229648.4998 | 2740987.9183 | 1229625.2308 | 2740986.3143 | 1229624.2708
48 | 2740945.8644 | 1229598.2883 | 2740948.431 | 1229601.5965 | 2740958.538 | 1229607.6458
49 | 2741026.8237 | 1229656.1246 | 2740989.1828 | 1229785.9565
50 | 2740945.8644 | 1229598.2883 | 2740785.6035 | 1229609.191
51 | 2740785.6035 | 1229609.191 | 2740765.7134 | 1229605.4614 | 2740639.2107 | 1229566.6188
52 | 2740785.6035 | 1229609.191 | 2740781.2919 | 1229744.687
53 | 2740639.2107 | 1229566.6188 | 2740619.7246 | 1229560.6356 | 2740592.7824 | 1229555.4386
54 | 2740790.1524 | 1229750.1994 | 2740781.2919 | 1229744.687
55 | 2740576.3021 | 1229554.615 | 2740592.7824 | 1229555.4386
56 | 2741376.0231 | 1229732.8153 | 2741389.0501 | 1229754.9282
57 | 2741376.0231 | 1229732.8153 | 2741374.3933 | 1229715.6283 | 2741455.793 | 1229759.1907 | 2741465.7916 | 1229758.4723 | 2741465.0795 | 1229740.6287 | 2741465.0795 | 1229740.6287
58 | 2741376.0231 | 1229732.8153 | 2741367.9205 | 1229722.4673
59 | 2740318.3634 | 1229635.5045 | 2740324.9228 | 1229637.5064 | 2740352.7422 | 1229662.0286 | 2740399.7921 | 1229698.971
60 | 2740304.7412 | 1229631.3472 | 2740318.3634 | 1229635.5045
61 | 2741356.4806 | 1229707.857 | 2741367.9205 | 1229722.4673
62 | 2741499.8923 | 1229747.0229 | 2741465.0795 | 1229740.6287
63 | 2741499.8923 | 1229747.0229 | 2741565.5244 | 1229584.7046
64 | 2740163.2641 | 1229507.785 | 2740156.702 | 1229504.9833
65 | 2740190.7717 | 1229518.4171 | 2740179.5504 | 1229514.7383 | 2740163.2641 | 1229507.785
66 | 2740190.7717 | 1229518.4171 | 2740200.5779 | 1229518.4705 | 2740247.9837 | 1229504.4204 | 2740265.4665 | 1229501.5942
67 | 2740190.7717 | 1229518.4171 | 2740181.575 | 1229529.1541 | 2740185.0778 | 1229590.1452 | 2740153.6997 | 1229701.3579 | 2740147.5131 | 1229705.9494
68 | 2740265.4665 | 1229501.5942 | 2740269.2335 | 1229500.9852 | 2740289.3896 | 1229500.538 | 2740289.3896 | 1229500.538
69 | 2740078.236 | 1229701.3689 | 2740105.447 | 1229709.6171 | 2740139.0744 | 1229712.2005 | 2740147.5131 | 1229705.9494
70 | 2740289.3896 | 1229500.538 | 2740308.4633 | 1229504.2022 | 2740329.8153 | 1229511.2009 | 2740341.0331 | 1229518.2384 | 2740352.8709 | 1229527.5814 | 2740375.4375 | 1229555.3492 | 2740379.2697 | 1229558.2968
71 | 2740386.9085 | 1229564.1721 | 2740379.2697 | 1229558.2968
72 | 2741103.1159 | 1229547.4459 | 2741100.0188 | 1229546.4649 | 2741084.2946 | 1229542.8443 | 2741075.1748 | 1229539.7364 | 2741062.9309 | 1229532.0543
73 | 2741055.7954 | 1229527.5773 | 2741062.9309 | 1229532.0543
74 | 2741116.9528 | 1229555.6303 | 2741112.5464 | 1229551.9225 | 2741108.2937 | 1229549.0858 | 2741103.1159 | 1229547.4459
75 | 2741116.9528 | 1229555.6303 | 2741130.0905 | 1229551.9944 | 2741127.5203 | 1229523.3083 | 2741121.6065 | 1229500.4147 | 2741117.5305 | 1229492.3606
76 | 2741116.9528 | 1229555.6303 | 2741120.7051 | 1229559.7562 | 2741124.3493 | 1229561.0883 | 2741132.4414 | 1229562.4704 | 2741141.9721 | 1229565.1878 | 2741142.4308 | 1229565.4819
77 | 2741057.2123 | 1229360.303 | 2741058.8257 | 1229364.1511 | 2741056.8001 | 1229365.8267 | 2741058.5419 | 1229371.6398 | 2741059.7497 | 1229389.4061 | 2741062.3608 | 1229394.9951 | 2741065.066 | 1229398.8515 | 2741081.3822 | 1229407.2459 | 2741088.9437 | 1229420.4479 | 2741089.7897 | 1229444.8336 | 2741098.3023 | 1229454.3661 | 2741117.5305 | 1229492.3606
78 | 2741159.2845 | 1229576.2862 | 2741142.4308 | 1229565.4819
79 | 2741055.4112 | 1229356.0074 | 2741057.2123 | 1229360.303
80 | 2741159.2845 | 1229576.2862 | 2741167.2817 | 1229575.9201 | 2741173.9266 | 1229574.4098 | 2741178.8405 | 1229572.7027
81 | 2741202.6985 | 1229615.4954 | 2741202.6985 | 1229615.4954 | 2741196.5477 | 1229609.7054
82 | 2741212.5184 | 1229619.4319 | 2741202.6985 | 1229615.4954
83 | 2741205.9392 | 1229611.4799 | 2741206.5229 | 1229612.1165 | 2741212.5963 | 1229617.432 | 2741212.5184 | 1229619.4319
84 | 2741215.2102 | 1229598.333 | 2741215.3106 | 1229602.717 | 2741213.6031 | 1229602.8099 | 2741209.8193 | 1229603.8431 | 2741207.3021 | 1229607.0751 | 2741205.9392 | 1229611.4799
85 | 2741205.9392 | 1229611.4799 | 2741203.1554 | 1229608.3889 | 2741200.4839 | 1229600.8856 | 2741200.4674 | 1229595.2025 | 2741204.9341 | 1229586.8012 | 2741207.7593 | 1229581.4525 | 2741210.7014 | 1229573.1039 | 2741212.4848 | 1229566.307
86 | 2741212.4848 | 1229566.307 | 2741190.0056 | 1229567.2408 | 2741189.9789 | 1229572.5114 | 2741178.8405 | 1229572.7027
87 | 2741220.6692 | 1229564.1216 | 2741212.4848 | 1229566.307
88 | 2741242.2443 | 1229562.9663 | 2741220.6692 | 1229564.1216
89 | 2741218.3867 | 1229555.56 | 2741220.6692 | 1229564.1216
90 | 2741253.4234 | 1229971.7355 | 2741242.3216 | 1229948.2621
91 | 2741253.4234 | 1229971.7355 | 2741265.8141 | 1229997.9342
92 | 2741295.3181 | 1230060.317 | 2741265.8141 | 1229997.9342
93 | 2741532.6003 | 1229525.5248 | 2741531.8579 | 1229501.1367
94 | 2741565.5244 | 1229584.7046 | 2741538.0653 | 1229546.829 | 2741532.6003 | 1229525.5248 | 2741532.6003 | 1229525.5248
95 | 2740553.5698 | 1229557.7069 | 2740548.5033 | 1229559.0397 | 2740540.8267 | 1229564.7632 | 2740539.5322 | 1229566.1817
96 | 2740553.5698 | 1229557.7069 | 2740559.3254 | 1229556.1929 | 2740576.3021 | 1229554.615 | 2740576.3021 | 1229554.615
97 | 2740438.0372 | 1229600.5814 | 2740444.352 | 1229605.1639 | 2740457.8354 | 1229614.1346 | 2740466.3807 | 1229619.1074 | 2740470.3763 | 1229620.97 | 2740475.9566 | 1229623.1259 | 2740479.9322 | 1229624.2319 | 2740484.1289 | 1229624.6425 | 2740488.6623 | 1229624.594 | 2740492.8563 | 1229623.8106
98 | 2740386.9085 | 1229564.1721 | 2740430.8876 | 1229595.3931 | 2740438.0372 | 1229600.5814
99 | 2740386.9085 | 1229564.1721 | 2740391.9028 | 1229559.6972 | 2740394.3341 | 1229555.5955 | 2740397.0678 | 1229547.3528 | 2740398.9357 | 1229537.2659 | 2740401.3066 | 1229514.2241 | 2740403.1627 | 1229504.6373 | 2740404.069 | 1229500.5997 | 2740404.8814 | 1229496.3707 | 2740405.7326 | 1229494.6671 | 2740422.3909 | 1229482.194 | 2740423.7835 | 1229479.3911 | 2740425.5044 | 1229466.8653 | 2740427.9667 | 1229461.452 | 2740435.7131 | 1229447.6452 | 2740436.9852 | 1229441.2808 | 2740434.5929 | 1229430.5817 | 2740433.1778 | 1229426.3853
100 | 2740425.5692 | 1229403.8231 | 2740433.1778 | 1229426.3853
101 | 2741203.4611 | 1229556.929 | 2741216.7969 | 1229556.1227 | 2741218.3867 | 1229555.56
102 | 2741218.3867 | 1229555.56 | 2741220.2147 | 1229553.268
103 | 2741228.1391 | 1229553.4119 | 2741220.2147 | 1229553.268
104 | 2741055.4112 | 1229356.0074 | 2741055.4112 | 1229356.0074 | 2741057.0188 | 1229347.9941
105 | 2740709.2342 | 1231032.8875 | 2740717.8423 | 1231034.2422 | 2740725.0661 | 1231029.3311 | 2740731.8799 | 1231028.1177
106 | 2740432.8403 | 1230976.4762 | 2740709.2342 | 1231032.8875
107 | 2740457.3446 | 1230701.5038 | 2740432.8403 | 1230976.4762
108 | 2740457.3446 | 1230701.5038 | 2740430.1032 | 1230674.5591 | 2740403.6399 | 1230659.8881 | 2740389.8518 | 1230657.9077
109 | 2740290.2335 | 1230630.0765 | 2740311.3092 | 1230636.6218 | 2740312.5123 | 1230637.1163
110 | 2740261.167 | 1230620.903 | 2740279.4134 | 1230626.7162 | 2740290.2335 | 1230630.0765
111 | 2740312.5123 | 1230637.1163 | 2740340.188 | 1230648.4914 | 2740373.8922 | 1230655.6154 | 2740389.8518 | 1230657.9077
112 | 2740261.167 | 1230620.903 | 2740243.1918 | 1230633.1341 | 2740242.1764 | 1230635.0563 | 2740238.7561 | 1230644.8064 | 2740231.2873 | 1230654.6388 | 2740222.849 | 1230665.4159 | 2740216.7415 | 1230671.5105 | 2740211.1721 | 1230678.5631 | 2740206.117 | 1230685.9837 | 2740198.2103 | 1230701.2106 | 2740193.884 | 1230709.5381 | 2740189.8842 | 1230716.5499 | 2740181.3647 | 1230731.4175 | 2740176.5236 | 1230738.7654
113 | 2740227.588 | 1230529.7983 | 2740222.2848 | 1230535.8452 | 2740229.3075 | 1230544.5962 | 2740240.0037 | 1230558.2381 | 2740276.8552 | 1230593.8495 | 2740282.0788 | 1230605.6163 | 2740270.9606 | 1230602.4735 | 2740264.8807 | 1230603.8646 | 2740257.3931 | 1230605.5005 | 2740239.4193 | 1230611.5708 | 2740261.167 | 1230620.903
114 | 2740176.5236 | 1230738.7654 | 2740174.2472 | 1230740.5021 | 2740168.7686 | 1230744.3541 | 2740156.6207 | 1230751.7854 | 2740139.8329 | 1230761.8874 | 2740134.7441 | 1230764.959 | 2740131.7228 | 1230766.1555 | 2740129.8641 | 1230766.8902 | 2740125.4926 | 1230768.1438 | 2740118.1779 | 1230769.2057 | 2740104.279 | 1230771.2022 | 2740092.3401 | 1230772.6666 | 2740087.603 | 1230773.251
115 | 2740176.5236 | 1230738.7654 | 2740169.728 | 1230756.365 | 2740168.3683 | 1230775.6834
116 | 2740227.588 | 1230529.7983 | 2740238.3079 | 1230527.994 | 2740249.1411 | 1230506.6197 | 2740256.8271 | 1230502.1355
117 | 2740183.7802 | 1230819.886 | 2740180.7543 | 1230815.4208 | 2740173.3093 | 1230797.919 | 2740168.3488 | 1230775.9607 | 2740168.3683 | 1230775.6834
118 | 2740296.4349 | 1230121.1662 | 2740256.8271 | 1230502.1355
119 | 2740797.9418 | 1229990.1597 | 2740870.4026 | 1230050.4635
120 | 2740960.6034 | 1230125.531 | 2740870.4026 | 1230050.4635
121 | 2740797.9418 | 1229990.1597 | 2740771.2408 | 1229976.1487 | 2740758.7965 | 1229976.4767 | 2740746.2667 | 1229979.1665
122 | 2740797.9418 | 1229990.1597 | 2740803.8921 | 1229989.1381
123 | 2740960.6034 | 1230125.531 | 2740960.2612 | 1230132.6069 | 2740959.1419 | 1230138.897 | 2740955.119 | 1230145.8744 | 2740945.1928 | 1230164.0216 | 2740935.851 | 1230187.5652 | 2740932.7528 | 1230196.1326
124 | 2740960.6034 | 1230125.531 | 2741011.4163 | 1230158.7647 | 2741083.1081 | 1230205.0388 | 2741090.1814 | 1230210.7742
125 | 2740631.676 | 1230012.8207 | 2740634.0728 | 1230013.0801 | 2740644.0781 | 1230013.0167 | 2740661.3873 | 1230008.2219 | 2740706.1226 | 1229987.7845 | 2740746.2667 | 1229979.1665
126 | 2740860.5069 | 1230002.1517 | 2740847.6532 | 1230001.847 | 2740836.8168 | 1229998.2872 | 2740820.2326 | 1229990.7101 | 2740810.7487 | 1229987.961 | 2740803.8921 | 1229989.1381
127 | 2741090.1814 | 1230210.7742 | 2741144.3046 | 1230254.6608
128 | 2740860.5069 | 1230002.1517 | 2740862.0486 | 1230000.0975 | 2740864.3039 | 1229997.671 | 2740866.5249 | 1229994.1317 | 2740867.449 | 1229990.3169 | 2740867.4267 | 1229987.1024 | 2740866.13 | 1229984.2581
129 | 2740860.5069 | 1230002.1517 | 2740870.914 | 1230002.3984 | 2740876.4332 | 1230001.9954 | 2740879.1969 | 1230000.504
130 | 2741150.5299 | 1230259.7087 | 2741144.3046 | 1230254.6608
131 | 2741272.1895 | 1230157.5805 | 2741150.5299 | 1230259.7087
132 | 2741272.1895 | 1230157.5805 | 2741298.5681 | 1230128.8876 | 2741298.5681 | 1230128.8876
133 | 2741295.3181 | 1230060.317 | 2741295.3181 | 1230060.317 | 2741298.5681 | 1230128.8876

## bus_geodata
| x | y | coords
0 | 2741236.8775 | 1229715.7765
1 | 2741233.4111 | 1229774.5301
2 | 2741232.4081 | 1229686.6296
3 | 2741218.9928 | 1229825.0541
4 | 2741253.1917 | 1229675.0686
5 | 2741209.8082 | 1229693.2286
6 | 2741227.0821 | 1229831.3615
7 | 2741294.1513 | 1229666.206
8 | 2741172.7572 | 1229688.8623
9 | 2741237.6269 | 1229930.6897
10 | 2741251.4648 | 1229631.9788
11 | 2741260.4966 | 1229635.8046
12 | 2741248.5908 | 1229630.7651
13 | 2741316.8536 | 1229673.1266
14 | 2741140.5046 | 1229683.1686
15 | 2740507.546 | 1229773.4506
16 | 2740533.0938 | 1229753.9341
17 | 2740496.9254 | 1229781.5814
18 | 2740545.6434 | 1229731.2337
19 | 2740446.0218 | 1229735.2695
20 | 2740533.1586 | 1229686.7771
21 | 2740433.0586 | 1229725.0911
22 | 2740587.7591 | 1229622.645
23 | 2740519.8463 | 1229598.1521
24 | 2740367.4528 | 1229977.0944
25 | 2740306.1996 | 1229965.3499
26 | 2740385.0754 | 1230034.0933
27 | 2740236.5878 | 1229772.9495
28 | 2740356.881 | 1230074.9302
29 | 2740415.9708 | 1229711.6742
30 | 2741329.722 | 1229677.1457
31 | 2741316.3655 | 1229663.17
32 | 2741331.7324 | 1229679.2492
33 | 2741308.7944 | 1229658.791
34 | 2741343.8845 | 1229691.7702
35 | 2741278.3161 | 1229643.3527
36 | 2741347.0256 | 1229695.7819
37 | 2741356.0112 | 1229707.2576
38 | 2740986.3143 | 1229624.2708
39 | 2740958.538 | 1229607.6458
40 | 2741026.8237 | 1229656.1246
41 | 2740945.8644 | 1229598.2883
42 | 2740989.1828 | 1229785.9565
43 | 2740785.6035 | 1229609.191
44 | 2740639.2107 | 1229566.6188
45 | 2740781.2919 | 1229744.687
46 | 2740592.7824 | 1229555.4386
47 | 2741389.0501 | 1229754.9282
48 | 2741376.0231 | 1229732.8153
49 | 2740399.7921 | 1229698.971
50 | 2740318.3634 | 1229635.5045
51 | 2741356.4806 | 1229707.857
52 | 2741367.9205 | 1229722.4673
53 | 2741465.0795 | 1229740.6287
54 | 2741499.8923 | 1229747.0229
55 | 2740163.2641 | 1229507.785
56 | 2740156.702 | 1229504.9833
57 | 2740190.7717 | 1229518.4171
58 | 2740265.4665 | 1229501.5942
59 | 2740147.5131 | 1229705.9494
60 | 2740289.3896 | 1229500.538
61 | 2740078.236 | 1229701.3689
62 | 2740379.2697 | 1229558.2968
63 | 2741062.9309 | 1229532.0543
64 | 2741103.1159 | 1229547.4459
65 | 2741055.7954 | 1229527.5773
66 | 2741116.9528 | 1229555.6303
67 | 2741117.5305 | 1229492.3606
68 | 2741142.4308 | 1229565.4819
69 | 2741057.2123 | 1229360.303
70 | 2741159.2845 | 1229576.2862
71 | 2741202.6985 | 1229615.4954
72 | 2741196.5477 | 1229609.7054
73 | 2741212.5184 | 1229619.4319
74 | 2741205.9392 | 1229611.4799
75 | 2741178.8405 | 1229572.7028
76 | 2741252.1784 | 1229608.792
77 | 2741215.2102 | 1229598.333
78 | 2741212.4848 | 1229566.307
79 | 2741220.6692 | 1229564.1216
80 | 2741242.3216 | 1229948.2621
81 | 2741253.4234 | 1229971.7355
82 | 2741265.8141 | 1229997.9342
83 | 2741531.8579 | 1229501.1367
84 | 2741532.6003 | 1229525.5248
85 | 2741565.5244 | 1229584.7046
86 | 2740539.5322 | 1229566.1817
87 | 2740553.5698 | 1229557.7069
88 | 2740576.3021 | 1229554.615
89 | 2740492.8563 | 1229623.8106
90 | 2740438.0372 | 1229600.5814
91 | 2740386.9085 | 1229564.1721
92 | 2740596.3171 | 1229604.6539
93 | 2740433.1778 | 1229426.3853
94 | 2740425.5692 | 1229403.8231
95 | 2740304.7412 | 1229631.3471
96 | 2741242.2443 | 1229562.9663
97 | 2741218.3867 | 1229555.56
98 | 2741203.4611 | 1229556.929
99 | 2741220.2147 | 1229553.268
100 | 2741055.4112 | 1229356.0074
101 | 2740709.2342 | 1231032.8875
102 | 2740731.8799 | 1231028.1177
103 | 2740432.8403 | 1230976.4762
104 | 2740457.3446 | 1230701.5038
105 | 2740290.2335 | 1230630.0765
106 | 2740312.5123 | 1230637.1163
107 | 2740261.167 | 1230620.903
108 | 2740389.8518 | 1230657.9077
109 | 2740176.5236 | 1230738.7654
110 | 2740227.588 | 1230529.7983
111 | 2740087.603 | 1230773.2509
112 | 2740168.3683 | 1230775.6834
113 | 2740256.8271 | 1230502.1355
114 | 2740183.7802 | 1230819.886
115 | 2740870.4026 | 1230050.4635
116 | 2740797.9418 | 1229990.1597
117 | 2740960.6034 | 1230125.531
118 | 2740746.2667 | 1229979.1665
119 | 2740803.8921 | 1229989.1381
120 | 2740932.7528 | 1230196.1326
121 | 2741090.1814 | 1230210.7742
122 | 2740631.676 | 1230012.8207
123 | 2740860.5069 | 1230002.1517
124 | 2741144.3046 | 1230254.6608
125 | 2740866.13 | 1229984.2581
126 | 2740879.1969 | 1230000.504
127 | 2741150.5299 | 1230259.7087
128 | 2741272.1895 | 1230157.5805
129 | 2741298.5681 | 1230128.8875
130 | 2741295.3181 | 1230060.317
131 | 2740790.1524 | 1229750.1994
132 | 2740296.4349 | 1230121.1662
133 | 2741057.0188 | 1229347.9941
134 | 2741228.1391 | 1229553.4119
135 | 2741140.5046 | 1229683.1686

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1