## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3359-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3359-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3359-15_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3359-15_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3359-15_0_2_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_3359-15_0_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_3359-15_0_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_3359-15_0_2_node_149 | 0.4 | n |  | TRUE
8 | bus_LV_3359-15_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3359-15_0_2_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_3359-15_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3359-15_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3359-15_0_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_3359-15_0_2_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_3359-15_0_2_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_3359-15_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3359-15_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3359-15_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_3359-15_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_3359-15_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3359-15_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3359-15_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3359-15_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3359-15_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3359-15_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3359-15_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_3359-15_0_2_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_3359-15_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3359-15_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3359-15_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3359-15_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3359-15_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_3359-15_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_3359-15_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_3359-15_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_3359-15_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3359-15_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3359-15_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3359-15_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3359-15_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3359-15_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3359-15_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_3359-15_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3359-15_0_2_node_150 | 0.4 | n |  | TRUE
44 | bus_LV_3359-15_0_2_node_151 | 0.4 | n |  | TRUE
45 | bus_LV_3359-15_0_2_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_3359-15_0_2_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_3359-15_0_2_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_3359-15_0_2_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_3359-15_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_3359-15_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3359-15_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3359-15_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3359-15_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3359-15_0_2_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_3359-15_0_2_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_3359-15_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_3359-15_0_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3359-15_0_2_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_3359-15_0_2_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3359-15_0_2_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_3359-15_0_2_node_152 | 0.4 | n |  | TRUE
62 | bus_LV_3359-15_0_2_node_153 | 0.4 | n |  | TRUE
63 | bus_LV_3359-15_0_2_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_3359-15_0_2_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_3359-15_0_2_node_156 | 0.4 | n |  | TRUE
66 | bus_LV_3359-15_0_2_node_157 | 0.4 | n |  | TRUE
67 | bus_LV_3359-15_0_2_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3359-15_0_2_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3359-15_0_2_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3359-15_0_2_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_3359-15_0_2_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_3359-15_0_2_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3359-15_0_2_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3359-15_0_2_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_3359-15_0_2_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3359-15_0_2_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_3359-15_0_2_node_117 | 0.4 | n |  | TRUE
78 | bus_LV_3359-15_0_2_node_115 | 0.4 | n |  | TRUE
79 | bus_LV_3359-15_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_3359-15_0_2_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_3359-15_0_2_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_3359-15_0_2_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_3359-15_0_2_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_3359-15_0_2_node_158 | 0.4 | n |  | TRUE
85 | bus_LV_3359-15_0_2_node_110 | 0.4 | n |  | TRUE
86 | bus_LV_3359-15_0_2_node_111 | 0.4 | n |  | TRUE
87 | bus_LV_3359-15_0_2_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_3359-15_0_2_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_3359-15_0_2_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_3359-15_0_2_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_3359-15_0_2_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_3359-15_0_2_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_3359-15_0_2_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_3359-15_0_2_node_129 | 0.4 | n |  | TRUE
95 | bus_LV_3359-15_0_2_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_3359-15_0_2_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_3359-15_0_2_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_3359-15_0_2_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_3359-15_0_2_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_3359-15_0_2_node_133 | 0.4 | n |  | TRUE
101 | bus_LV_3359-15_0_2_node_118 | 0.4 | n |  | TRUE
102 | bus_LV_3359-15_0_2_node_135 | 0.4 | n |  | TRUE
103 | bus_LV_3359-15_0_2_node_119 | 0.4 | n |  | TRUE
104 | bus_LV_3359-15_0_2_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_3359-15_0_2_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_3359-15_0_2_node_127 | 0.4 | n |  | TRUE
107 | bus_LV_3359-15_0_2_node_83 | 0.4 | n |  | TRUE
108 | bus_LV_3359-15_0_2_node_84 | 0.4 | n |  | TRUE
109 | bus_LV_3359-15_0_2_node_85 | 0.4 | n |  | TRUE
110 | bus_LV_3359-15_0_2_node_86 | 0.4 | n |  | TRUE
111 | bus_LV_3359-15_0_2_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_3359-15_0_2_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_3359-15_0_2_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_3359-15_0_2_node_88 | 0.4 | n |  | TRUE
115 | bus_LV_3359-15_0_2_node_89 | 0.4 | n |  | TRUE
116 | bus_LV_3359-15_0_2_node_90 | 0.4 | n |  | TRUE
117 | bus_LV_3359-15_0_2_node_91 | 0.4 | n |  | TRUE
118 | bus_LV_3359-15_0_2_node_92 | 0.4 | n |  | TRUE
119 | bus_LV_3359-15_0_2_node_93 | 0.4 | n |  | TRUE
120 | bus_LV_3359-15_0_2_node_94 | 0.4 | n |  | TRUE
121 | bus_LV_3359-15_0_2_node_112 | 0.4 | n |  | TRUE
122 | bus_LV_3359-15_0_2_node_138 | 0.4 | n |  | TRUE
123 | bus_LV_3359-15_0_2_node_123 | 0.4 | n |  | TRUE
124 | bus_LV_3359-15_0_2_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_3359-15_0_2_node_148 | 0.4 | n |  | TRUE
126 | bus_LV_3359-15_0_2_node_122 | 0.4 | n |  | TRUE
127 | bus_LV_3359-15_0_2_node_95 | 0.4 | n |  | TRUE
128 | bus_LV_3359-15_0_2_node_97 | 0.4 | n |  | TRUE
129 | bus_LV_3359-15_0_2_node_99 | 0.4 | n |  | TRUE
130 | bus_LV_3359-15_0_2_node_154 | 0.4 | n |  | TRUE
131 | bus_LV_3359-15_0_2_node_116 | 0.4 | n |  | TRUE
132 | bus_LV_3359-15_0_2_node_125 | 0.4 | n |  | TRUE
133 | bus_LV_3359-15_0_2_node_136 | 0.4 | n |  | TRUE
134 | bus_LV_3359-15_0_2_node_107 | 0.4 | n |  | TRUE
135 | bus_LV_3359-15_0_2_node_114 | 0.4 | n |  | TRUE
136 | bus_LV_3359-15_0_2_node_120 | 0.4 | n |  | TRUE
137 | bus_LV_3359-15_0_2_node_121 | 0.4 | n |  | TRUE
138 | bus_LV_3359-15_0_2_node_106 | 0.4 | n |  | TRUE
139 | bus_LV_3359-15_0_2_node_108 | 0.4 | n |  | TRUE
140 | bus_LV_3359-15_0_2_node_142 | 0.4 | n |  | TRUE
141 | bus_LV_3359-15_0_2_node_141 | 0.4 | n |  | TRUE
142 | bus_LV_3359-15_0_2_node_139 | 0.4 | n |  | TRUE
143 | bus_LV_3359-15_0_2_node_143 | 0.4 | n |  | TRUE
144 | bus_LV_3359-15_0_2_node_144 | 0.4 | n |  | TRUE
145 | bus_LV_3359-15_0_2_node_140 | 0.4 | n |  | TRUE
146 | bus_LV_3359-15_0_2_node_137 | 0.4 | n |  | TRUE
147 | bus_LV_3359-15_0_2_node_126 | 0.4 | n |  | TRUE
148 | bus_LV_3359-15_0_2_node_132 | 0.4 | n |  | TRUE
149 | bus_LV_3359-15_0_2_node_130 | 0.4 | n |  | TRUE
150 | bus_LV_3359-15_0_2_node_131 | 0.4 | n |  | TRUE
151 | bus_LV_3359-15_0_2_node_124 | 0.4 | n |  | TRUE
152 | bus_LV_3359-15_0_2_node_134 | 0.4 | n |  | TRUE
153 | bus_LV_3359-15_0_2_node_128 | 0.4 | n |  | TRUE
154 | bus_LV_3359-15_0_2_node_155 | 0.4 | n |  | TRUE
155 | bus_LV_3359-15_0_2_node_145 | 0.4 | n |  | TRUE
156 | bus_LV_3359-15_0_2_node_146 | 0.4 | n |  | TRUE
157 | bus_MV_38_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3359-15_0_2_load_0 | 0 | 0.00012375 | 3.1015e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3359-15_0_2_load_1 | 1 | 0.0001218 | 3.0525e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3359-15_0_2_load_3 | 2 | 0.00064585 | 0.00016187 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3359-15_0_2_load_2 | 3 | 0.00021027 | 5.2699e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3359-15_0_2_load_17 | 4 | 0.00070918 | 0.00017774 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3359-15_0_2_load_30 | 6 | 0.00086417 | 0.00021658 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3359-15_0_2_load_149 | 7 | 0.00082409 | 0.00020654 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3359-15_0_2_load_8 | 8 | 0.00078156 | 0.00019588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3359-15_0_2_load_41 | 9 | 0.00031993 | 8.0183e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3359-15_0_2_load_12 | 10 | 0.00015738 | 3.9442e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3359-15_0_2_load_15 | 12 | 0.00073504 | 0.00018422 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3359-15_0_2_load_4 | 13 | 0.00041368 | 0.00010368 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3359-15_0_2_load_5 | 14 | 0.00064394 | 0.00016139 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3359-15_0_2_load_7 | 16 | 0.00080255 | 0.00020114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3359-15_0_2_load_24 | 17 | 0.00046041 | 0.00011539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3359-15_0_2_load_9 | 19 | 0.0001718 | 4.3057e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3359-15_0_2_load_10 | 20 | 0.00015059 | 3.7742e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3359-15_0_2_load_13 | 21 | 0.00014359 | 3.5988e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3359-15_0_2_load_14 | 22 | 0.00073032 | 0.00018303 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3359-15_0_2_load_16 | 23 | 0.00082457 | 0.00020666 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3359-15_0_2_load_33 | 25 | 0.0010461 | 0.00026218 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3359-15_0_2_load_40 | 26 | 0.00090016 | 0.0002256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3359-15_0_2_load_19 | 27 | 0.001141 | 0.00028596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3359-15_0_2_load_20 | 28 | 0.001028 | 0.00025765 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3359-15_0_2_load_21 | 29 | 0.0011246 | 0.00028186 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3359-15_0_2_load_39 | 31 | 0.00092132 | 0.0002309 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3359-15_0_2_load_37 | 32 | 0.0013504 | 0.00033844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3359-15_0_2_load_32 | 33 | 0.002187 | 0.00054813 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3359-15_0_2_load_31 | 34 | 0.00078827 | 0.00019756 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3359-15_0_2_load_26 | 36 | 0.00065713 | 0.00016469 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3359-15_0_2_load_27 | 37 | 0.00056174 | 0.00014078 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3359-15_0_2_load_28 | 38 | 0.0010487 | 0.00026283 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3359-15_0_2_load_70 | 41 | 0.00081907 | 0.00020528 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3359-15_0_2_load_35 | 42 | 0.00074796 | 0.00018746 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3359-15_0_2_load_150 | 43 | 0.00086 | 0.00021554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3359-15_0_2_load_151 | 44 | 0.0010168 | 0.00025484 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3359-15_0_2_load_55 | 45 | 0.0005366 | 0.00013449 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3359-15_0_2_load_52 | 48 | 0.0018072 | 0.00045292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3359-15_0_2_load_42 | 50 | 0.0021546 | 0.00053999 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3359-15_0_2_load_43 | 51 | 0.0012094 | 0.00030312 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3359-15_0_2_load_44 | 52 | 0.0017199 | 0.00043106 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3359-15_0_2_load_45 | 53 | 0.0010198 | 0.00025558 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3359-15_0_2_load_105 | 54 | 0.0015363 | 0.00038503 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3359-15_0_2_load_104 | 55 | 0.0013411 | 0.00033611 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3359-15_0_2_load_46 | 56 | 0.002141 | 0.00053659 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3359-15_0_2_load_47 | 57 | 0.0010216 | 0.00025605 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3359-15_0_2_load_49 | 58 | 0.0011531 | 0.000289 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3359-15_0_2_load_152 | 61 | 0.0064798 | 0.001624 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3359-15_0_2_load_109 | 63 | 0.002806 | 0.00070326 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3359-15_0_2_load_96 | 64 | 0.0010326 | 0.00025879 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3359-15_0_2_load_157 | 66 | 0.0072305 | 0.0018121 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3359-15_0_2_load_54 | 68 | 0.0022598 | 0.00056635 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3359-15_0_2_load_59 | 69 | 0.0053716 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3359-15_0_2_load_58 | 71 | 0.00033031 | 8.2783e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3359-15_0_2_load_60 | 72 | 0.0026982 | 0.00067623 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3359-15_0_2_load_62 | 74 | 0.0021993 | 0.0005512 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3359-15_0_2_load_63 | 75 | 0.0017566 | 0.00044026 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3359-15_0_2_load_64 | 76 | 0.0013837 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3359-15_0_2_load_117 | 77 | 0.0017697 | 0.00044353 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3359-15_0_2_load_115 | 78 | 0.0056258 | 0.00141 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3359-15_0_2_load_65 | 79 | 0.0038239 | 0.00095835 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3359-15_0_2_load_66 | 80 | 0.0030304 | 0.00075948 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3359-15_0_2_load_67 | 81 | 0.0032939 | 0.00082552 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3359-15_0_2_load_69 | 83 | 0.0014122 | 0.00035393 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3359-15_0_2_load_158 | 84 | 0.0057108 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3359-15_0_2_load_110 | 85 | 0.0022056 | 0.00055278 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3359-15_0_2_load_111 | 86 | 0.0024242 | 0.00060756 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3359-15_0_2_load_71 | 87 | 0.00088685 | 0.00022227 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3359-15_0_2_load_72 | 88 | 0.00084951 | 0.00021291 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3359-15_0_2_load_73 | 89 | 0.00092675 | 0.00023227 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3359-15_0_2_load_75 | 91 | 0.0010548 | 0.00026437 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3359-15_0_2_load_81 | 92 | 0.00072145 | 0.00018081 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3359-15_0_2_load_82 | 93 | 0.00064957 | 0.0001628 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3359-15_0_2_load_76 | 95 | 0.003003 | 0.00075261 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3359-15_0_2_load_77 | 96 | 0.00076319 | 0.00019127 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3359-15_0_2_load_80 | 99 | 0.00066131 | 0.00016574 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3359-15_0_2_load_133 | 100 | 0.00050507 | 0.00012658 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3359-15_0_2_load_135 | 102 | 0.00058654 | 0.000147 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3359-15_0_2_load_87 | 104 | 0.00062082 | 0.00015559 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3359-15_0_2_load_127 | 106 | 0.00068742 | 0.00017228 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3359-15_0_2_load_83 | 107 | 0.00057017 | 0.0001429 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3359-15_0_2_load_84 | 108 | 0.00062694 | 0.00015713 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3359-15_0_2_load_85 | 109 | 0.0012376 | 0.00031018 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3359-15_0_2_load_86 | 110 | 0.0013105 | 0.00032844 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3359-15_0_2_load_102 | 112 | 0.0021023 | 0.00052689 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3359-15_0_2_load_103 | 113 | 0.0029726 | 0.00074499 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3359-15_0_2_load_88 | 114 | 0.0012176 | 0.00030516 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3359-15_0_2_load_91 | 117 | 0.0011831 | 0.00029651 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3359-15_0_2_load_93 | 119 | 0.00080025 | 0.00020056 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3359-15_0_2_load_94 | 120 | 0.0013058 | 0.00032726 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3359-15_0_2_load_112 | 121 | 0.00077408 | 0.000194 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3359-15_0_2_load_138 | 122 | 0.0012503 | 0.00031336 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3359-15_0_2_load_123 | 123 | 0.0012107 | 0.00030343 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3359-15_0_2_load_148 | 125 | 0.00068088 | 0.00017064 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3359-15_0_2_load_122 | 126 | 0.0012186 | 0.0003054 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3359-15_0_2_load_95 | 127 | 0.0010818 | 0.00027113 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3359-15_0_2_load_154 | 130 | 0.0016514 | 0.00041387 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3359-15_0_2_load_125 | 132 | 0.00065173 | 0.00016334 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3359-15_0_2_load_114 | 135 | 0.0018101 | 0.00045366 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3359-15_0_2_load_120 | 136 | 0.0015117 | 0.00037886 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3359-15_0_2_load_121 | 137 | 0.001187 | 0.0002975 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3359-15_0_2_load_142 | 140 | 0.002378 | 0.00059598 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3359-15_0_2_load_141 | 141 | 0.0013046 | 0.00032697 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3359-15_0_2_load_139 | 142 | 0.00089791 | 0.00022504 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3359-15_0_2_load_143 | 143 | 0.0016425 | 0.00041165 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3359-15_0_2_load_144 | 144 | 0.0013481 | 0.00033787 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3359-15_0_2_load_140 | 145 | 0.00095936 | 0.00024044 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3359-15_0_2_load_126 | 147 | 0.00078371 | 0.00019642 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3359-15_0_2_load_132 | 148 | 0.0011181 | 0.00028021 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3359-15_0_2_load_130 | 149 | 0.00087707 | 0.00021981 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3359-15_0_2_load_131 | 150 | 0.0010586 | 0.0002653 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3359-15_0_2_load_124 | 151 | 0.00068317 | 0.00017122 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3359-15_0_2_load_134 | 152 | 0.0008315 | 0.00020839 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3359-15_0_2_load_128 | 153 | 0.00073388 | 0.00018393 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3359-15_0_2_load_155 | 154 | 0.0017236 | 0.00043198 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3359-15_0_2_load_146 | 156 | 0.0011199 | 0.00028067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3359-15_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.071206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3359-15_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3359-15_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0068092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3359-15_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.12283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3359-15_0_2_line_4 | NAYY 4x150 SE | 3 | 10 | 0.024369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3359-15_0_2_line_5 | NAYY 4x150 SE | 4 | 12 | 0.086013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3359-15_0_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.065507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3359-15_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.02643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3359-15_0_2_line_8 | NAYY 4x150 SE | 6 | 34 | 0.078683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3359-15_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.031771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3359-15_0_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.11308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3359-15_0_2_line_11 | NAYY 4x150 SE | 8 | 15 | 0.10924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3359-15_0_2_line_12 | NAYY 4x150 SE | 9 | 26 | 0.0056145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3359-15_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3359-15_0_2_line_14 | NAYY 4x150 SE | 11 | 21 | 0.028051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3359-15_0_2_line_15 | NAYY 4x150 SE | 11 | 19 | 0.015624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3359-15_0_2_line_16 | NAYY 4x150 SE | 12 | 22 | 0.022962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3359-15_0_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.029051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3359-15_0_2_line_18 | NAYY 4x150 SE | 13 | 15 | 0.0083174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3359-15_0_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0063028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3359-15_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.026348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3359-15_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.00048559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3359-15_0_2_line_22 | NAYY 4x150 SE | 18 | 33 | 0.045406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3359-15_0_2_line_23 | NAYY 4x150 SE | 18 | 30 | 0.052284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3359-15_0_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.028117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3359-15_0_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.017647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3359-15_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.022022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3359-15_0_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.068448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3359-15_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0086378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3359-15_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.017559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3359-15_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.016317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3359-15_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.011853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3359-15_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.015398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3359-15_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.017736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3359-15_0_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.033864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3359-15_0_2_line_35 | NAYY 4x150 SE | 35 | 42 | 0.010908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3359-15_0_2_line_36 | NAYY 4x150 SE | 35 | 40 | 0.037284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3359-15_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3359-15_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.029074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3359-15_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.014379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3359-15_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.045435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3359-15_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.024909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3359-15_0_2_line_42 | NAYY 4x150 SE | 42 | 45 | 0.020132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3359-15_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.085825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3359-15_0_2_line_44 | NAYY 4x150 SE | 44 | 156 | 0.034495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3359-15_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0065349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3359-15_0_2_line_46 | NAYY 4x150 SE | 46 | 70 | 0.004847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3359-15_0_2_line_47 | NAYY 4x150 SE | 46 | 71 | 0.0061719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3359-15_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.012247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3359-15_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.018917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3359-15_0_2_line_50 | NAYY 4x150 SE | 48 | 67 | 0.011949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3359-15_0_2_line_51 | NAYY 4x150 SE | 49 | 59 | 0.036913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3359-15_0_2_line_52 | NAYY 4x150 SE | 49 | 56 | 0.043545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3359-15_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0022586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3359-15_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.029244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3359-15_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0023428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3359-15_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.028933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3359-15_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0035963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3359-15_0_2_line_58 | NAYY 4x150 SE | 55 | 138 | 0.014149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3359-15_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.10239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3359-15_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.01912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_3359-15_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.028616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3359-15_0_2_line_62 | NAYY 4x150 SE | 59 | 61 | 0.021366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3359-15_0_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.041589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3359-15_0_2_line_64 | NAYY 4x150 SE | 60 | 63 | 0.060911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3359-15_0_2_line_65 | NAYY 4x150 SE | 60 | 64 | 0.022592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3359-15_0_2_line_66 | NAYY 4x150 SE | 62 | 65 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3359-15_0_2_line_67 | NAYY 4x150 SE | 62 | 66 | 0.007083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3359-15_0_2_line_68 | NAYY 4x150 SE | 63 | 133 | 0.11295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3359-15_0_2_line_69 | NAYY 4x150 SE | 64 | 127 | 0.0023341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3359-15_0_2_line_70 | NAYY 4x150 SE | 65 | 84 | 0.030774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3359-15_0_2_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0093491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3359-15_0_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.019371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3359-15_0_2_line_73 | NAYY 4x150 SE | 69 | 70 | 0.018698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3359-15_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.013233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3359-15_0_2_line_75 | NAYY 4x150 SE | 72 | 74 | 0.013369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3359-15_0_2_line_76 | NAYY 4x150 SE | 73 | 75 | 0.014748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3359-15_0_2_line_77 | NAYY 4x150 SE | 73 | 76 | 0.0088385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3359-15_0_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.012918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3359-15_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.010486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3359-15_0_2_line_80 | NAYY 4x150 SE | 78 | 135 | 0.017811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3359-15_0_2_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0027644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3359-15_0_2_line_82 | NAYY 4x150 SE | 79 | 81 | 0.01725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3359-15_0_2_line_83 | NAYY 4x150 SE | 80 | 82 | 0.011234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3359-15_0_2_line_84 | NAYY 4x150 SE | 81 | 83 | 0.0057767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3359-15_0_2_line_85 | NAYY 4x150 SE | 81 | 84 | 0.055678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3359-15_0_2_line_86 | NAYY 4x150 SE | 82 | 85 | 0.008317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3359-15_0_2_line_87 | NAYY 4x150 SE | 82 | 86 | 0.00503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3359-15_0_2_line_88 | NAYY 4x150 SE | 87 | 88 | 0.0068129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3359-15_0_2_line_89 | NAYY 4x150 SE | 87 | 89 | 0.018344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3359-15_0_2_line_90 | NAYY 4x150 SE | 88 | 90 | 0.018697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3359-15_0_2_line_91 | NAYY 4x150 SE | 89 | 91 | 0.0029402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3359-15_0_2_line_92 | NAYY 4x150 SE | 90 | 92 | 0.01644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3359-15_0_2_line_93 | NAYY 4x150 SE | 90 | 93 | 0.013485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3359-15_0_2_line_94 | NAYY 4x150 SE | 93 | 94 | 0.019287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3359-15_0_2_line_95 | NAYY 4x150 SE | 94 | 105 | 0.002579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3359-15_0_2_line_96 | NAYY 4x150 SE | 94 | 106 | 0.012693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3359-15_0_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.014255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_3359-15_0_2_line_98 | NAYY 4x150 SE | 95 | 97 | 0.010552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_3359-15_0_2_line_99 | NAYY 4x150 SE | 96 | 98 | 0.011672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
100 | LV_3359-15_0_2_line_100 | NAYY 4x150 SE | 97 | 99 | 0.048665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
101 | LV_3359-15_0_2_line_101 | NAYY 4x150 SE | 98 | 100 | 0.014378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
102 | LV_3359-15_0_2_line_102 | NAYY 4x150 SE | 99 | 101 | 0.0096889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3359-15_0_2_line_103 | NAYY 4x150 SE | 100 | 102 | 0.0032522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
104 | LV_3359-15_0_2_line_104 | NAYY 4x150 SE | 101 | 103 | 0.021412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3359-15_0_2_line_105 | NAYY 4x150 SE | 101 | 104 | 0.0035203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3359-15_0_2_line_106 | NAYY 4x150 SE | 102 | 147 | 0.050062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
107 | LV_3359-15_0_2_line_107 | NAYY 4x150 SE | 103 | 148 | 0.011394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3359-15_0_2_line_108 | NAYY 4x150 SE | 103 | 149 | 0.028547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3359-15_0_2_line_109 | NAYY 4x150 SE | 104 | 109 | 0.053553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3359-15_0_2_line_110 | NAYY 4x150 SE | 105 | 132 | 0.0073633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
111 | LV_3359-15_0_2_line_111 | NAYY 4x150 SE | 105 | 128 | 0.04033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
112 | LV_3359-15_0_2_line_112 | NAYY 4x150 SE | 106 | 153 | 0.015146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3359-15_0_2_line_113 | NAYY 4x150 SE | 107 | 108 | 0.014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3359-15_0_2_line_114 | NAYY 4x150 SE | 107 | 109 | 0.0074305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3359-15_0_2_line_115 | NAYY 4x150 SE | 108 | 110 | 0.0055323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3359-15_0_2_line_116 | NAYY 4x150 SE | 110 | 111 | 0.020079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3359-15_0_2_line_117 | NAYY 4x150 SE | 111 | 112 | 0.016946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3359-15_0_2_line_118 | NAYY 4x150 SE | 111 | 113 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3359-15_0_2_line_119 | NAYY 4x150 SE | 112 | 136 | 0.0076022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3359-15_0_2_line_120 | NAYY 4x150 SE | 114 | 115 | 0.017765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3359-15_0_2_line_121 | NAYY 4x150 SE | 114 | 116 | 0.0030707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3359-15_0_2_line_122 | NAYY 4x150 SE | 115 | 117 | 0.014566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3359-15_0_2_line_123 | NAYY 4x150 SE | 115 | 118 | 0.011485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3359-15_0_2_line_124 | NAYY 4x150 SE | 116 | 119 | 0.01553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3359-15_0_2_line_125 | NAYY 4x150 SE | 116 | 120 | 0.017718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3359-15_0_2_line_126 | NAYY 4x150 SE | 117 | 121 | 0.00084324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3359-15_0_2_line_127 | NAYY 4x150 SE | 118 | 122 | 0.023934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3359-15_0_2_line_128 | NAYY 4x150 SE | 118 | 123 | 0.0079563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3359-15_0_2_line_129 | NAYY 4x150 SE | 121 | 124 | 0.042271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3359-15_0_2_line_130 | NAYY 4x150 SE | 122 | 125 | 0.031535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3359-15_0_2_line_131 | NAYY 4x150 SE | 123 | 126 | 0.011691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3359-15_0_2_line_132 | NAYY 4x150 SE | 124 | 147 | 0.025986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
133 | LV_3359-15_0_2_line_133 | NAYY 4x150 SE | 124 | 132 | 0.0076579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
134 | LV_3359-15_0_2_line_134 | NAYY 4x150 SE | 127 | 128 | 0.015591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
135 | LV_3359-15_0_2_line_135 | NAYY 4x150 SE | 128 | 129 | 0.04019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
136 | LV_3359-15_0_2_line_136 | NAYY 4x150 SE | 129 | 130 | 0.02432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3359-15_0_2_line_137 | NAYY 4x150 SE | 129 | 131 | 0.045147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3359-15_0_2_line_138 | NAYY 4x150 SE | 131 | 134 | 0.03715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3359-15_0_2_line_139 | NAYY 4x150 SE | 131 | 135 | 0.01737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3359-15_0_2_line_140 | NAYY 4x150 SE | 133 | 146 | 0.026175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3359-15_0_2_line_141 | NAYY 4x150 SE | 134 | 140 | 0.024353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_3359-15_0_2_line_142 | NAYY 4x150 SE | 134 | 138 | 0.00747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3359-15_0_2_line_143 | NAYY 4x150 SE | 136 | 137 | 0.009281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_3359-15_0_2_line_144 | NAYY 4x150 SE | 137 | 151 | 0.0037185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_3359-15_0_2_line_145 | NAYY 4x150 SE | 138 | 139 | 0.029535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_3359-15_0_2_line_146 | NAYY 4x150 SE | 139 | 141 | 0.0079201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_3359-15_0_2_line_147 | NAYY 4x150 SE | 139 | 142 | 0.052653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_3359-15_0_2_line_148 | NAYY 4x150 SE | 140 | 143 | 0.013231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_3359-15_0_2_line_149 | NAYY 4x150 SE | 141 | 144 | 0.0084955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_3359-15_0_2_line_150 | NAYY 4x150 SE | 142 | 145 | 0.0017947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_3359-15_0_2_line_151 | NAYY 4x150 SE | 144 | 155 | 0.030982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_3359-15_0_2_line_152 | NAYY 4x150 SE | 146 | 154 | 0.019992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_3359-15_0_2_line_153 | NAYY 4x150 SE | 149 | 150 | 0.11674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
154 | LV_3359-15_0_2_line_154 | NAYY 4x150 SE | 151 | 152 | 0.0088969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
155 | LV_3359-15_0_2_line_155 | NAYY 4x150 SE | 155 | 156 | 0.072604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3359-15_0_2_trafo_157 | 0.25 MVA 20/0.4 kV | 157 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2742608.704 | 1228791.6577 | 2742599.3387 | 1228783.7875 | 2742587.1833 | 1228775.4332 | 2742576.8259 | 1228769.5465 | 2742572.2648 | 1228764.3993 | 2742570.9784 | 1228757.3512 | 2742571.991 | 1228749.9023 | 2742580.1707 | 1228742.9255
1 | 2742608.704 | 1228791.6577 | 2742509.9183 | 1228828.6244
2 | 2742586.8814 | 1228744.0799 | 2742580.1707 | 1228742.9255 | 2742580.1707 | 1228742.9255
3 | 2742435.2033 | 1228926.1208 | 2742509.9183 | 1228828.6244
4 | 2742586.8814 | 1228744.0799 | 2742592.4909 | 1228745.0449 | 2742610.0878 | 1228751.3049
5 | 2742435.2033 | 1228926.1208 | 2742423.6655 | 1228924.9023 | 2742397.3024 | 1228918.877 | 2742355.5175 | 1228898.7703 | 2742354.6414 | 1228898.293
6 | 2742490.7812 | 1228951.066 | 2742484.2802 | 1228952.5338 | 2742477.5964 | 1228949.6155 | 2742472.1211 | 1228940.8656 | 2742463.606 | 1228932.4432 | 2742448.1856 | 1228927.4918 | 2742435.2033 | 1228926.1208
7 | 2742490.7812 | 1228951.066 | 2742508.3006 | 1228970.8554
8 | 2742572.4387 | 1229016.1469 | 2742571.8215 | 1229016.0649 | 2742510.5969 | 1228973.4492 | 2742508.3006 | 1228970.8554
9 | 2742370.8985 | 1229042.6979 | 2742369.3365 | 1229050.9455 | 2742358.3863 | 1229056.8441 | 2742355.0299 | 1229057.7313 | 2742347.7554 | 1229056.0465
10 | 2742370.8985 | 1229042.6979 | 2742303.5119 | 1228951.8947
11 | 2742254.5417 | 1229080.9141 | 2742259.7054 | 1229067.2256 | 2742261.7791 | 1229061.0253 | 2742264.051 | 1229057.9437 | 2742269.6919 | 1229056.2994 | 2742283.9233 | 1229056.451 | 2742297.1525 | 1229056.3563 | 2742321.0204 | 1229054.5035 | 2742333.9759 | 1229053.8129 | 2742340.7302 | 1229054.4195 | 2742347.7554 | 1229056.0465
12 | 2742303.5119 | 1228951.8947 | 2742305.4747 | 1228946.6344
13 | 2742622.9449 | 1228753.7271 | 2742611.3639 | 1228751.7588 | 2742610.0878 | 1228751.3049
14 | 2742622.9449 | 1228753.7271 | 2742640.316 | 1228756.6907 | 2742650.7012 | 1228757.6432
15 | 2742622.9449 | 1228753.7271 | 2742636.7574 | 1228761.0301
16 | 2742334.4779 | 1228887.3063 | 2742354.6414 | 1228898.293
17 | 2742247.0901 | 1229077.2192 | 2742243.2304 | 1229075.3054 | 2742221.4991 | 1229063.4757
18 | 2742254.5417 | 1229080.9141 | 2742247.0901 | 1229077.2192
19 | 2742254.5417 | 1229080.9141 | 2742260.1883 | 1229083.7145
20 | 2742283.7932 | 1229095.4213 | 2742260.1883 | 1229083.7145
21 | 2742283.7932 | 1229095.4213 | 2742284.2282 | 1229095.6371
22 | 2742284.2282 | 1229095.6371 | 2742325.1008 | 1229115.4138
23 | 2742284.2282 | 1229095.6371 | 2742280.7103 | 1229101.0577 | 2742265.621 | 1229106.0344 | 2742261.6561 | 1229108.2749 | 2742259.4544 | 1229110.9579 | 2742251.3554 | 1229131.3821
24 | 2742661.6139 | 1228774.1723 | 2742636.7574 | 1228761.0301
25 | 2742318.7315 | 1228879.3522 | 2742328.3413 | 1228883.9626 | 2742334.4779 | 1228887.3063
26 | 2742298.108 | 1228871.773 | 2742312.1167 | 1228876.1787 | 2742318.7315 | 1228879.3522
27 | 2742298.108 | 1228871.773 | 2742306.4182 | 1228900.1634 | 2742310.6771 | 1228923.9528 | 2742308.0075 | 1228938.4069
28 | 2742305.4747 | 1228946.6344 | 2742307.4808 | 1228941.2581 | 2742308.0075 | 1228938.4069
29 | 2742262.8717 | 1229128.7495 | 2742279.6216 | 1229123.4809
30 | 2742295.1869 | 1229118.5848 | 2742279.6216 | 1229123.4809
31 | 2742251.3554 | 1229131.3821 | 2742257.1053 | 1229130.5634 | 2742262.8717 | 1229128.7495
32 | 2742251.3554 | 1229131.3821 | 2742237.5787 | 1229124.5056
33 | 2742251.3554 | 1229131.3821 | 2742244.6376 | 1229146.6682 | 2742244.206 | 1229147.6136
34 | 2742355.584 | 1229130.1635 | 2742325.1008 | 1229115.4138
35 | 2742355.584 | 1229130.1635 | 2742366.4032 | 1229128.7768 | 2742366.4032 | 1229128.7768
36 | 2742326.5388 | 1229143.1132 | 2742324.1938 | 1229139.1202 | 2742341.6277 | 1229133.7216 | 2742355.584 | 1229130.1635
37 | 2742290.6303 | 1229169.3071 | 2742291.2194 | 1229170.276
38 | 2742312.0635 | 1229187.3389 | 2742308.4771 | 1229181.6926 | 2742296.389 | 1229178.7786 | 2742291.2194 | 1229170.276
39 | 2742283.1603 | 1229157.0209 | 2742290.6303 | 1229169.3071
40 | 2742283.1603 | 1229157.0209 | 2742326.5388 | 1229143.1132
41 | 2742326.5388 | 1229143.1132 | 2742345.3345 | 1229137.1911 | 2742350.4632 | 1229136.3177
42 | 2742386.4673 | 1229129.9753 | 2742380.2671 | 1229129.0756 | 2742366.4032 | 1229128.7768
43 | 2742548.0765 | 1229288.8111 | 2742586.3838 | 1229212.01
44 | 2742548.2001 | 1229323.3063 | 2742548.0765 | 1229288.8111
45 | 2742392.9344 | 1229130.9138 | 2742386.4673 | 1229129.9753
46 | 2742392.9344 | 1229130.9138 | 2742390.7987 | 1229135.2665
47 | 2742392.9344 | 1229130.9138 | 2742398.8524 | 1229132.6659
48 | 2742362.1218 | 1229200.237 | 2742368.4767 | 1229189.7673
49 | 2742362.1218 | 1229200.237 | 2742373.6082 | 1229215.2918
50 | 2742374.6767 | 1229179.5527 | 2742368.4767 | 1229189.7673
51 | 2742373.6082 | 1229215.2918 | 2742391.8743 | 1229240.0063 | 2742390.0945 | 1229245.9578
52 | 2742373.6082 | 1229215.2918 | 2742370.3082 | 1229221.1068 | 2742368.2388 | 1229224.5936 | 2742367.9743 | 1229225.5103 | 2742366.7041 | 1229226.959 | 2742365.5832 | 1229227.5549 | 2742359.5915 | 1229226.4438 | 2742351.9118 | 1229229.0401 | 2742348.0024 | 1229235.9304 | 2742345.0549 | 1229241.759
53 | 2742498.2228 | 1229288.989 | 2742498.2348 | 1229291.2476
54 | 2742498.2348 | 1229291.2476 | 2742498.3904 | 1229320.4908
55 | 2742498.3904 | 1229320.4908 | 2742498.4029 | 1229322.8336
56 | 2742498.5569 | 1229351.7658 | 2742498.4029 | 1229322.8336
57 | 2742498.576 | 1229355.3621 | 2742498.5569 | 1229351.7658
58 | 2742498.6513 | 1229369.5104 | 2742498.576 | 1229355.3621
59 | 2742345.0549 | 1229241.759 | 2742341.6849 | 1229248.4235 | 2742363.0361 | 1229263.6367 | 2742358.6812 | 1229269.1929 | 2742355.996 | 1229274.0217 | 2742364.5475 | 1229281.5441 | 2742382.413 | 1229314.1114 | 2742377.0157 | 1229319.4448
60 | 2742363.4156 | 1229332.8839 | 2742377.0157 | 1229319.4448
61 | 2742348.3442 | 1229357.0892 | 2742361.0639 | 1229335.2078 | 2742363.4156 | 1229332.8839
62 | 2742390.0945 | 1229245.9578 | 2742386.0632 | 1229244.649 | 2742373.9523 | 1229241.1116 | 2742369.8275 | 1229243.0701
63 | 2742390.0945 | 1229245.9578 | 2742387.4639 | 1229254.202 | 2742387.6713 | 1229262.3141 | 2742400.5718 | 1229275.6013 | 2742406.412 | 1229277.9654
64 | 2742348.3442 | 1229357.0892 | 2742333.9585 | 1229342.8436 | 2742318.6261 | 1229322.5478 | 2742304.9553 | 1229315.8367
65 | 2742348.3442 | 1229357.0892 | 2742365.8672 | 1229371.3495
66 | 2742406.412 | 1229277.9654 | 2742413.6821 | 1229280.1302 | 2742420.7085 | 1229285.5032
67 | 2742406.412 | 1229277.9654 | 2742404.2795 | 1229284.7202
68 | 2742206.2347 | 1229266.2436 | 2742239.9299 | 1229293.9513 | 2742273.8515 | 1229307.4411 | 2742290.2857 | 1229308.6353 | 2742304.9553 | 1229315.8367
69 | 2742367.6776 | 1229372.8228 | 2742365.8672 | 1229371.3495
70 | 2742420.7085 | 1229285.5032 | 2742429.1515 | 1229273.1946 | 2742429.8295 | 1229270.2082 | 2742428.5505 | 1229257.4775
71 | 2742374.6767 | 1229179.5527 | 2742376.8567 | 1229170.4613
72 | 2742376.8567 | 1229170.4613 | 2742380.0325 | 1229157.2169 | 2742382.565 | 1229152.0536
73 | 2742390.7987 | 1229135.2665 | 2742382.565 | 1229152.0536
74 | 2742447.2395 | 1229304.6887 | 2742451 | 1229292.001
75 | 2742464.2597 | 1229290.2948 | 2742451 | 1229292.001
76 | 2742447.2395 | 1229304.6887 | 2742437.7606 | 1229309.9329 | 2742433.8551 | 1229310.2111
77 | 2742447.2395 | 1229304.6887 | 2742453.8913 | 1229310.5087 | 2742453.8913 | 1229310.5087
78 | 2742453.8942 | 1229323.4267 | 2742453.8913 | 1229310.5087
79 | 2742453.8942 | 1229323.4267 | 2742453.8965 | 1229333.9125
80 | 2742453.9005 | 1229351.7233 | 2742453.8965 | 1229333.9125
81 | 2742468.0859 | 1229215.1946 | 2742470.546 | 1229216.4556
82 | 2742452.7349 | 1229207.3259 | 2742468.0859 | 1229215.1946
83 | 2742480.5434 | 1229221.5801 | 2742470.546 | 1229216.4556
84 | 2742452.7349 | 1229207.3259 | 2742447.5943 | 1229204.6909
85 | 2742428.5505 | 1229257.4775 | 2742452.7349 | 1229207.3259
86 | 2742480.5434 | 1229221.5801 | 2742481.4822 | 1229229.8432
87 | 2742484.3295 | 1229218.2568 | 2742480.5434 | 1229221.5801
88 | 2742411.8382 | 1229428.4344 | 2742405.2133 | 1229426.8451
89 | 2742411.8382 | 1229428.4344 | 2742429.6759 | 1229432.7134
90 | 2742387.0321 | 1229422.4837 | 2742405.2133 | 1229426.8451
91 | 2742429.6759 | 1229432.7134 | 2742432.535 | 1229433.3992
92 | 2742387.0321 | 1229422.4837 | 2742381.1776 | 1229427.0476 | 2742372.4491 | 1229429.4518
93 | 2742387.0321 | 1229422.4837 | 2742373.9209 | 1229419.3303
94 | 2742355.7131 | 1229413.0257 | 2742370.7016 | 1229418.556 | 2742373.9209 | 1229419.3303
95 | 2742353.2863 | 1229412.1335 | 2742355.7131 | 1229413.0257
96 | 2742355.7131 | 1229413.0257 | 2742353.3577 | 1229421.8104 | 2742353.449 | 1229425.4078
97 | 2742330.2031 | 1229528.4982 | 2742330.4718 | 1229514.2455
98 | 2742335.7031 | 1229536.7665 | 2742330.1528 | 1229531.1621 | 2742330.2031 | 1229528.4982
99 | 2742327.3682 | 1229503.1264 | 2742330.5176 | 1229511.8205 | 2742330.4718 | 1229514.2455
100 | 2742335.7031 | 1229536.7665 | 2742340.4364 | 1229529.3288 | 2742349.6575 | 1229521.854 | 2742375.1228 | 1229510.2636
101 | 2742327.3682 | 1229503.1264 | 2742326.4995 | 1229494.1422 | 2742326.2182 | 1229488.7974
102 | 2742383.9412 | 1229506.2499 | 2742375.1228 | 1229510.2636
103 | 2742326.9269 | 1229485.6234 | 2742326.2182 | 1229488.7974
104 | 2742390.2724 | 1229526.7083 | 2742383.9412 | 1229506.2499
105 | 2742383.9412 | 1229506.2499 | 2742387.1216 | 1229504.7407
106 | 2742335.4921 | 1229436.6043 | 2742335.007 | 1229439.8871 | 2742333.4188 | 1229445.1203 | 2742331.535 | 1229451.9368 | 2742328.4611 | 1229463.5067 | 2742327.9872 | 1229467.1541 | 2742327.6531 | 1229482.3706 | 2742326.9269 | 1229485.6234
107 | 2742401.5949 | 1229525.1669 | 2742390.2724 | 1229526.7083
108 | 2742390.2724 | 1229526.7083 | 2742396.9361 | 1229549.7325 | 2742399.7217 | 1229553.0465 | 2742399.9623 | 1229553.1078
109 | 2742387.1216 | 1229504.7407 | 2742435.5041 | 1229481.7827
110 | 2742353.2863 | 1229412.1335 | 2742345.9532 | 1229411.4673
111 | 2742353.2863 | 1229412.1335 | 2742374.3034 | 1229394.1319 | 2742379.7701 | 1229382.6638
112 | 2742353.8335 | 1229440.5493 | 2742353.449 | 1229425.4078
113 | 2742442.2171 | 1229478.5973 | 2742455.2387 | 1229472.4184
114 | 2742442.2171 | 1229478.5973 | 2742435.5041 | 1229481.7827
115 | 2742460.2369 | 1229470.0467 | 2742455.2387 | 1229472.4184
116 | 2742478.3777 | 1229461.4387 | 2742460.2369 | 1229470.0467
117 | 2742478.3777 | 1229461.4387 | 2742493.1257 | 1229453.0932
118 | 2742480.0496 | 1229471.9991 | 2742478.3777 | 1229461.4387
119 | 2742493.1257 | 1229453.0932 | 2742499.742 | 1229449.3492
120 | 2742281.3208 | 1229402.2696 | 2742285.6093 | 1229389.9836 | 2742288.0641 | 1229385.9148
121 | 2742289.6504 | 1229383.2855 | 2742288.0641 | 1229385.9148
122 | 2742281.3208 | 1229402.2696 | 2742295.666 | 1229404.7991
123 | 2742269.9767 | 1229400.2742 | 2742281.3208 | 1229402.2696
124 | 2742289.6504 | 1229383.2855 | 2742305.0223 | 1229385.7888
125 | 2742293.1595 | 1229368.1006 | 2742295.9801 | 1229372.8055 | 2742289.6504 | 1229383.2855
126 | 2742296.4964 | 1229404.9455 | 2742295.666 | 1229404.7991
127 | 2742269.9767 | 1229400.2742 | 2742266.7032 | 1229423.9834
128 | 2742269.9767 | 1229400.2742 | 2742262.0208 | 1229400.3548
129 | 2742338.3268 | 1229410.7743 | 2742320.1455 | 1229409.1156 | 2742296.4964 | 1229404.9455
130 | 2742282.4287 | 1229444.6332 | 2742275.6482 | 1229441.0234 | 2742278.1303 | 1229430.7404 | 2742266.7032 | 1229423.9834
131 | 2742250.3308 | 1229400.4732 | 2742262.0208 | 1229400.3548
132 | 2742338.3268 | 1229410.7743 | 2742337.3286 | 1229420.1698 | 2742335.5949 | 1229435.9088 | 2742335.4921 | 1229436.6043
133 | 2742338.3268 | 1229410.7743 | 2742345.9532 | 1229411.4673
134 | 2742379.7701 | 1229382.6638 | 2742367.6776 | 1229372.8228
135 | 2742408.807 | 1229366.5337 | 2742393.2059 | 1229363.7911 | 2742385.2396 | 1229368.5491 | 2742379.7701 | 1229382.6638
136 | 2742408.807 | 1229366.5337 | 2742399.2065 | 1229372.4313 | 2742390.1203 | 1229381.8553
137 | 2742408.807 | 1229366.5337 | 2742420.612 | 1229368.596 | 2742453.9043 | 1229369.0937
138 | 2742491.1599 | 1229369.631 | 2742453.9043 | 1229369.0937
139 | 2742453.9043 | 1229369.0937 | 2742453.9005 | 1229351.7233
140 | 2742188.0791 | 1229247.3374 | 2742206.2347 | 1229266.2436
141 | 2742491.1599 | 1229369.631 | 2742489.8473 | 1229382.6443 | 2742485.6901 | 1229388.1718 | 2742481.449 | 1229389.1718
142 | 2742498.6513 | 1229369.5104 | 2742491.1599 | 1229369.631
143 | 2742499.742 | 1229449.3492 | 2742507.8195 | 1229444.7784
144 | 2742511.0558 | 1229442.947 | 2742507.8195 | 1229444.7784
145 | 2742528.2686 | 1229369.0196 | 2742498.6513 | 1229369.5104
146 | 2742528.2686 | 1229369.0196 | 2742536.1876 | 1229368.8881
147 | 2742528.2686 | 1229369.0196 | 2742528.3179 | 1229408.6778 | 2742525.2088 | 1229412.2175 | 2742516.9421 | 1229411.6902
148 | 2742468.313 | 1229389.9571 | 2742477.9837 | 1229389.9888 | 2742481.449 | 1229389.1718
149 | 2742536.1876 | 1229368.8881 | 2742544.6818 | 1229368.747
150 | 2742515.1511 | 1229411.576 | 2742516.9421 | 1229411.6902
151 | 2742575.6594 | 1229368.2325 | 2742544.6818 | 1229368.747
152 | 2742204.4011 | 1229236.4403 | 2742196.3634 | 1229239.4285 | 2742188.0791 | 1229247.3374
153 | 2742399.9623 | 1229553.1078 | 2742477.6527 | 1229640.2382
154 | 2742518.7989 | 1229438.5654 | 2742511.0558 | 1229442.947
155 | 2742575.6594 | 1229368.2325 | 2742575.3315 | 1229338.9323 | 2742548.2583 | 1229339.5283 | 2742548.2001 | 1229323.3063

## bus_geodata
| x | y | coords
0 | 2742608.704 | 1228791.6577
1 | 2742580.1707 | 1228742.9255
2 | 2742509.9183 | 1228828.6244
3 | 2742586.8814 | 1228744.0799
4 | 2742435.2033 | 1228926.1208
5 | 2742490.7812 | 1228951.066
6 | 2742508.3006 | 1228970.8554
7 | 2742370.8985 | 1229042.6979
8 | 2742347.7554 | 1229056.0465
9 | 2742303.5119 | 1228951.8947
10 | 2742610.0878 | 1228751.3049
11 | 2742622.9449 | 1228753.7271
12 | 2742354.6414 | 1228898.293
13 | 2742247.0901 | 1229077.2192
14 | 2742221.4991 | 1229063.4757
15 | 2742254.5418 | 1229080.9141
16 | 2742260.1883 | 1229083.7145
17 | 2742283.7932 | 1229095.4213
18 | 2742284.2282 | 1229095.6371
19 | 2742636.7574 | 1228761.0301
20 | 2742661.6139 | 1228774.1723
21 | 2742650.7012 | 1228757.6432
22 | 2742334.4779 | 1228887.3063
23 | 2742318.7315 | 1228879.3522
24 | 2742298.108 | 1228871.773
25 | 2742308.0075 | 1228938.4069
26 | 2742305.4747 | 1228946.6344
27 | 2742279.6216 | 1229123.4809
28 | 2742262.8717 | 1229128.7495
29 | 2742295.1869 | 1229118.5848
30 | 2742251.3554 | 1229131.3821
31 | 2742237.5787 | 1229124.5056
32 | 2742244.206 | 1229147.6136
33 | 2742325.1008 | 1229115.4138
34 | 2742572.4387 | 1229016.1469
35 | 2742355.584 | 1229130.1635
36 | 2742291.2194 | 1229170.276
37 | 2742290.6303 | 1229169.3071
38 | 2742312.0635 | 1229187.3389
39 | 2742283.1603 | 1229157.0209
40 | 2742326.5388 | 1229143.1132
41 | 2742350.4632 | 1229136.3177
42 | 2742366.4032 | 1229128.7768
43 | 2742586.3838 | 1229212.01
44 | 2742548.0765 | 1229288.8111
45 | 2742386.4673 | 1229129.9753
46 | 2742392.9344 | 1229130.9138
47 | 2742362.1218 | 1229200.237
48 | 2742368.4767 | 1229189.7673
49 | 2742373.6082 | 1229215.2918
50 | 2742498.2228 | 1229288.989
51 | 2742498.2348 | 1229291.2476
52 | 2742498.3904 | 1229320.4908
53 | 2742498.4029 | 1229322.8336
54 | 2742498.5569 | 1229351.7658
55 | 2742498.576 | 1229355.3621
56 | 2742345.0549 | 1229241.759
57 | 2742377.0157 | 1229319.4448
58 | 2742363.4156 | 1229332.8839
59 | 2742390.0945 | 1229245.9578
60 | 2742348.3442 | 1229357.0892
61 | 2742369.8275 | 1229243.0701
62 | 2742406.412 | 1229277.9654
63 | 2742304.9553 | 1229315.8367
64 | 2742365.8672 | 1229371.3495
65 | 2742420.7085 | 1229285.5032
66 | 2742404.2795 | 1229284.7202
67 | 2742374.6767 | 1229179.5527
68 | 2742376.8567 | 1229170.4613
69 | 2742382.565 | 1229152.0536
70 | 2742390.7987 | 1229135.2665
71 | 2742398.8524 | 1229132.6659
72 | 2742451 | 1229292.001
73 | 2742447.2395 | 1229304.6887
74 | 2742464.2597 | 1229290.2948
75 | 2742433.8551 | 1229310.2111
76 | 2742453.8913 | 1229310.5087
77 | 2742453.8942 | 1229323.4267
78 | 2742453.8965 | 1229333.9125
79 | 2742468.0859 | 1229215.1946
80 | 2742470.546 | 1229216.4556
81 | 2742452.7349 | 1229207.3259
82 | 2742480.5434 | 1229221.5801
83 | 2742447.5943 | 1229204.6909
84 | 2742428.5505 | 1229257.4775
85 | 2742481.4822 | 1229229.8432
86 | 2742484.3295 | 1229218.2568
87 | 2742411.8382 | 1229428.4344
88 | 2742405.2133 | 1229426.8451
89 | 2742429.6759 | 1229432.7134
90 | 2742387.0321 | 1229422.4837
91 | 2742432.535 | 1229433.3992
92 | 2742372.4491 | 1229429.4518
93 | 2742373.9209 | 1229419.3303
94 | 2742355.7131 | 1229413.0257
95 | 2742330.2031 | 1229528.4982
96 | 2742330.4718 | 1229514.2455
97 | 2742335.7031 | 1229536.7665
98 | 2742327.3682 | 1229503.1264
99 | 2742375.1228 | 1229510.2636
100 | 2742326.2182 | 1229488.7974
101 | 2742383.9412 | 1229506.2499
102 | 2742326.9269 | 1229485.6234
103 | 2742390.2724 | 1229526.7083
104 | 2742387.1216 | 1229504.7407
105 | 2742353.2863 | 1229412.1335
106 | 2742353.449 | 1229425.4078
107 | 2742442.2171 | 1229478.5973
108 | 2742455.2387 | 1229472.4184
109 | 2742435.5041 | 1229481.7827
110 | 2742460.2369 | 1229470.0467
111 | 2742478.3777 | 1229461.4387
112 | 2742493.1257 | 1229453.0932
113 | 2742480.0496 | 1229471.9991
114 | 2742288.0641 | 1229385.9148
115 | 2742281.3208 | 1229402.2696
116 | 2742289.6504 | 1229383.2855
117 | 2742295.666 | 1229404.7991
118 | 2742269.9767 | 1229400.2742
119 | 2742305.0223 | 1229385.7888
120 | 2742293.1595 | 1229368.1006
121 | 2742296.4964 | 1229404.9455
122 | 2742266.7032 | 1229423.9834
123 | 2742262.0208 | 1229400.3548
124 | 2742338.3268 | 1229410.7743
125 | 2742282.4287 | 1229444.6332
126 | 2742250.3308 | 1229400.4732
127 | 2742367.6776 | 1229372.8228
128 | 2742379.7701 | 1229382.6638
129 | 2742408.807 | 1229366.5337
130 | 2742390.1203 | 1229381.8553
131 | 2742453.9043 | 1229369.0937
132 | 2742345.9532 | 1229411.4673
133 | 2742206.2347 | 1229266.2436
134 | 2742491.1599 | 1229369.631
135 | 2742453.9005 | 1229351.7233
136 | 2742499.742 | 1229449.3492
137 | 2742507.8195 | 1229444.7784
138 | 2742498.6513 | 1229369.5104
139 | 2742528.2686 | 1229369.0196
140 | 2742481.449 | 1229389.1718
141 | 2742536.1876 | 1229368.8881
142 | 2742516.9421 | 1229411.6902
143 | 2742468.313 | 1229389.9571
144 | 2742544.6818 | 1229368.747
145 | 2742515.1511 | 1229411.576
146 | 2742188.0791 | 1229247.3374
147 | 2742335.4921 | 1229436.6043
148 | 2742401.5949 | 1229525.1669
149 | 2742399.9623 | 1229553.1078
150 | 2742477.6527 | 1229640.2382
151 | 2742511.0558 | 1229442.947
152 | 2742518.7989 | 1229438.5654
153 | 2742353.8335 | 1229440.5493
154 | 2742204.4011 | 1229236.4403
155 | 2742575.6594 | 1229368.2325
156 | 2742548.2001 | 1229323.3063
157 | 2742406.412 | 1229277.9654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1