## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3359-19_1_5_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_3359-19_1_5_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_3359-19_1_5_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_3359-19_1_5_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_3359-19_1_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_3359-19_1_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_3359-19_1_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3359-19_1_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3359-19_1_5_node_231 | 0.4 | n |  | TRUE
9 | bus_LV_3359-19_1_5_node_232 | 0.4 | n |  | TRUE
10 | bus_LV_3359-19_1_5_node_213 | 0.4 | n |  | TRUE
11 | bus_LV_3359-19_1_5_node_180 | 0.4 | n |  | TRUE
12 | bus_LV_3359-19_1_5_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_3359-19_1_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3359-19_1_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_3359-19_1_5_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_3359-19_1_5_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_3359-19_1_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_3359-19_1_5_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_3359-19_1_5_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_3359-19_1_5_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_3359-19_1_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_3359-19_1_5_node_140 | 0.4 | n |  | TRUE
23 | bus_LV_3359-19_1_5_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_3359-19_1_5_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_3359-19_1_5_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_3359-19_1_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3359-19_1_5_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_3359-19_1_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_3359-19_1_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_3359-19_1_5_node_163 | 0.4 | n |  | TRUE
31 | bus_LV_3359-19_1_5_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3359-19_1_5_node_219 | 0.4 | n |  | TRUE
33 | bus_LV_3359-19_1_5_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_3359-19_1_5_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_3359-19_1_5_node_179 | 0.4 | n |  | TRUE
36 | bus_LV_3359-19_1_5_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_3359-19_1_5_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_3359-19_1_5_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_3359-19_1_5_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_3359-19_1_5_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_3359-19_1_5_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_3359-19_1_5_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_3359-19_1_5_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_3359-19_1_5_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_3359-19_1_5_node_129 | 0.4 | n |  | TRUE
46 | bus_LV_3359-19_1_5_node_228 | 0.4 | n |  | TRUE
47 | bus_LV_3359-19_1_5_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_3359-19_1_5_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_3359-19_1_5_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_3359-19_1_5_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_3359-19_1_5_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_3359-19_1_5_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_3359-19_1_5_node_202 | 0.4 | n |  | TRUE
54 | bus_LV_3359-19_1_5_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_3359-19_1_5_node_234 | 0.4 | n |  | TRUE
56 | bus_LV_3359-19_1_5_node_227 | 0.4 | n |  | TRUE
57 | bus_LV_3359-19_1_5_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_3359-19_1_5_node_117 | 0.4 | n |  | TRUE
59 | bus_LV_3359-19_1_5_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_3359-19_1_5_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_3359-19_1_5_node_120 | 0.4 | n |  | TRUE
62 | bus_LV_3359-19_1_5_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_3359-19_1_5_node_122 | 0.4 | n |  | TRUE
64 | bus_LV_3359-19_1_5_node_214 | 0.4 | n |  | TRUE
65 | bus_LV_3359-19_1_5_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_3359-19_1_5_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_3359-19_1_5_node_125 | 0.4 | n |  | TRUE
68 | bus_LV_3359-19_1_5_node_246 | 0.4 | n |  | TRUE
69 | bus_LV_3359-19_1_5_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_3359-19_1_5_node_130 | 0.4 | n |  | TRUE
71 | bus_LV_3359-19_1_5_node_127 | 0.4 | n |  | TRUE
72 | bus_LV_3359-19_1_5_node_128 | 0.4 | n |  | TRUE
73 | bus_LV_3359-19_1_5_node_291 | 0.4 | n |  | TRUE
74 | bus_LV_3359-19_1_5_node_289 | 0.4 | n |  | TRUE
75 | bus_LV_3359-19_1_5_node_176 | 0.4 | n |  | TRUE
76 | bus_LV_3359-19_1_5_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_3359-19_1_5_node_132 | 0.4 | n |  | TRUE
78 | bus_LV_3359-19_1_5_node_145 | 0.4 | n |  | TRUE
79 | bus_LV_3359-19_1_5_node_181 | 0.4 | n |  | TRUE
80 | bus_LV_3359-19_1_5_node_143 | 0.4 | n |  | TRUE
81 | bus_LV_3359-19_1_5_node_144 | 0.4 | n |  | TRUE
82 | bus_LV_3359-19_1_5_node_146 | 0.4 | n |  | TRUE
83 | bus_LV_3359-19_1_5_node_147 | 0.4 | n |  | TRUE
84 | bus_LV_3359-19_1_5_node_173 | 0.4 | n |  | TRUE
85 | bus_LV_3359-19_1_5_node_160 | 0.4 | n |  | TRUE
86 | bus_LV_3359-19_1_5_node_161 | 0.4 | n |  | TRUE
87 | bus_LV_3359-19_1_5_node_162 | 0.4 | n |  | TRUE
88 | bus_LV_3359-19_1_5_node_164 | 0.4 | n |  | TRUE
89 | bus_LV_3359-19_1_5_node_165 | 0.4 | n |  | TRUE
90 | bus_LV_3359-19_1_5_node_238 | 0.4 | n |  | TRUE
91 | bus_LV_3359-19_1_5_node_175 | 0.4 | n |  | TRUE
92 | bus_LV_3359-19_1_5_node_166 | 0.4 | n |  | TRUE
93 | bus_LV_3359-19_1_5_node_167 | 0.4 | n |  | TRUE
94 | bus_LV_3359-19_1_5_node_168 | 0.4 | n |  | TRUE
95 | bus_LV_3359-19_1_5_node_169 | 0.4 | n |  | TRUE
96 | bus_LV_3359-19_1_5_node_170 | 0.4 | n |  | TRUE
97 | bus_LV_3359-19_1_5_node_171 | 0.4 | n |  | TRUE
98 | bus_LV_3359-19_1_5_node_172 | 0.4 | n |  | TRUE
99 | bus_LV_3359-19_1_5_node_187 | 0.4 | n |  | TRUE
100 | bus_LV_3359-19_1_5_node_174 | 0.4 | n |  | TRUE
101 | bus_LV_3359-19_1_5_node_178 | 0.4 | n |  | TRUE
102 | bus_LV_3359-19_1_5_node_177 | 0.4 | n |  | TRUE
103 | bus_LV_3359-19_1_5_node_212 | 0.4 | n |  | TRUE
104 | bus_LV_3359-19_1_5_node_240 | 0.4 | n |  | TRUE
105 | bus_LV_3359-19_1_5_node_182 | 0.4 | n |  | TRUE
106 | bus_LV_3359-19_1_5_node_183 | 0.4 | n |  | TRUE
107 | bus_LV_3359-19_1_5_node_256 | 0.4 | n |  | TRUE
108 | bus_LV_3359-19_1_5_node_217 | 0.4 | n |  | TRUE
109 | bus_LV_3359-19_1_5_node_188 | 0.4 | n |  | TRUE
110 | bus_LV_3359-19_1_5_node_201 | 0.4 | n |  | TRUE
111 | bus_LV_3359-19_1_5_node_211 | 0.4 | n |  | TRUE
112 | bus_LV_3359-19_1_5_node_203 | 0.4 | n |  | TRUE
113 | bus_LV_3359-19_1_5_node_215 | 0.4 | n |  | TRUE
114 | bus_LV_3359-19_1_5_node_216 | 0.4 | n |  | TRUE
115 | bus_LV_3359-19_1_5_node_218 | 0.4 | n |  | TRUE
116 | bus_LV_3359-19_1_5_node_237 | 0.4 | n |  | TRUE
117 | bus_LV_3359-19_1_5_node_263 | 0.4 | n |  | TRUE
118 | bus_LV_3359-19_1_5_node_239 | 0.4 | n |  | TRUE
119 | bus_LV_3359-19_1_5_node_294 | 0.4 | n |  | TRUE
120 | bus_LV_3359-19_1_5_node_299 | 0.4 | n |  | TRUE
121 | bus_LV_3359-19_1_5_node_245 | 0.4 | n |  | TRUE
122 | bus_LV_3359-19_1_5_node_247 | 0.4 | n |  | TRUE
123 | bus_LV_3359-19_1_5_node_255 | 0.4 | n |  | TRUE
124 | bus_LV_3359-19_1_5_node_257 | 0.4 | n |  | TRUE
125 | bus_LV_3359-19_1_5_node_258 | 0.4 | n |  | TRUE
126 | bus_LV_3359-19_1_5_node_276 | 0.4 | n |  | TRUE
127 | bus_LV_3359-19_1_5_node_277 | 0.4 | n |  | TRUE
128 | bus_LV_3359-19_1_5_node_309 | 0.4 | n |  | TRUE
129 | bus_LV_3359-19_1_5_node_278 | 0.4 | n |  | TRUE
130 | bus_LV_3359-19_1_5_node_279 | 0.4 | n |  | TRUE
131 | bus_LV_3359-19_1_5_node_280 | 0.4 | n |  | TRUE
132 | bus_LV_3359-19_1_5_node_281 | 0.4 | n |  | TRUE
133 | bus_LV_3359-19_1_5_node_307 | 0.4 | n |  | TRUE
134 | bus_LV_3359-19_1_5_node_282 | 0.4 | n |  | TRUE
135 | bus_LV_3359-19_1_5_node_283 | 0.4 | n |  | TRUE
136 | bus_LV_3359-19_1_5_node_296 | 0.4 | n |  | TRUE
137 | bus_LV_3359-19_1_5_node_300 | 0.4 | n |  | TRUE
138 | bus_LV_3359-19_1_5_node_284 | 0.4 | n |  | TRUE
139 | bus_LV_3359-19_1_5_node_285 | 0.4 | n |  | TRUE
140 | bus_LV_3359-19_1_5_node_286 | 0.4 | n |  | TRUE
141 | bus_LV_3359-19_1_5_node_287 | 0.4 | n |  | TRUE
142 | bus_LV_3359-19_1_5_node_302 | 0.4 | n |  | TRUE
143 | bus_LV_3359-19_1_5_node_288 | 0.4 | n |  | TRUE
144 | bus_LV_3359-19_1_5_node_290 | 0.4 | n |  | TRUE
145 | bus_LV_3359-19_1_5_node_298 | 0.4 | n |  | TRUE
146 | bus_LV_3359-19_1_5_node_292 | 0.4 | n |  | TRUE
147 | bus_LV_3359-19_1_5_node_293 | 0.4 | n |  | TRUE
148 | bus_LV_3359-19_1_5_node_295 | 0.4 | n |  | TRUE
149 | bus_LV_3359-19_1_5_node_297 | 0.4 | n |  | TRUE
150 | bus_LV_3359-19_1_5_node_301 | 0.4 | n |  | TRUE
151 | bus_LV_3359-19_1_5_node_308 | 0.4 | n |  | TRUE
152 | bus_MV_38_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3359-19_1_5_load_8 | 0 | 0.00067873 | 0.00017011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3359-19_1_5_load_9 | 1 | 0.00088344 | 0.00022141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3359-19_1_5_load_10 | 2 | 0.00050352 | 0.00012619 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3359-19_1_5_load_11 | 4 | 0.00094951 | 0.00023797 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3359-19_1_5_load_231 | 8 | 0.0016344 | 0.00040962 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3359-19_1_5_load_232 | 9 | 0.00043805 | 0.00010979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3359-19_1_5_load_213 | 10 | 0.00028732 | 7.2008e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3359-19_1_5_load_180 | 11 | 0.00058891 | 0.00014759 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3359-19_1_5_load_42 | 12 | 0.00087754 | 0.00021993 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3359-19_1_5_load_40 | 13 | 0.00049222 | 0.00012336 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3359-19_1_5_load_26 | 14 | 0.00025907 | 6.4929e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3359-19_1_5_load_27 | 15 | 0.00079684 | 0.00019971 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3359-19_1_5_load_28 | 16 | 0.0011295 | 0.00028308 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3359-19_1_5_load_29 | 17 | 0.0015741 | 0.00039452 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3359-19_1_5_load_30 | 18 | 0.0010733 | 0.000269 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3359-19_1_5_load_31 | 19 | 0.0010977 | 0.0002751 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3359-19_1_5_load_32 | 20 | 0.0013283 | 0.0003329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3359-19_1_5_load_33 | 21 | 0.0010225 | 0.00025625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3359-19_1_5_load_140 | 22 | 0.0007562 | 0.00018952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3359-19_1_5_load_41 | 23 | 0.0012196 | 0.00030567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3359-19_1_5_load_34 | 25 | 0.00057718 | 0.00014466 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3359-19_1_5_load_35 | 26 | 0.0011394 | 0.00028557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3359-19_1_5_load_37 | 27 | 0.0010334 | 0.000259 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3359-19_1_5_load_38 | 28 | 0.00072691 | 0.00018218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3359-19_1_5_load_39 | 29 | 0.00092551 | 0.00023195 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3359-19_1_5_load_43 | 31 | 0.00085164 | 0.00021344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3359-19_1_5_load_219 | 32 | 0.00078947 | 0.00019786 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3359-19_1_5_load_51 | 33 | 0.0019694 | 0.00049357 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3359-19_1_5_load_52 | 34 | 0.0011708 | 0.00029344 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3359-19_1_5_load_179 | 35 | 0.001117 | 0.00027995 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3359-19_1_5_load_66 | 36 | 0.0012415 | 0.00031115 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3359-19_1_5_load_67 | 37 | 0.0006161 | 0.00015441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3359-19_1_5_load_69 | 39 | 0.00031549 | 7.9068e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3359-19_1_5_load_70 | 40 | 0.0006734 | 0.00016877 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3359-19_1_5_load_71 | 41 | 0.00058117 | 0.00014565 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3359-19_1_5_load_72 | 42 | 0.00038728 | 9.7061e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3359-19_1_5_load_73 | 43 | 0.00082862 | 0.00020767 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3359-19_1_5_load_129 | 45 | 0.00021179 | 5.3079e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3359-19_1_5_load_228 | 46 | 0.0004855 | 0.00012168 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3359-19_1_5_load_98 | 47 | 0.00093018 | 0.00023312 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3359-19_1_5_load_95 | 48 | 0.00045183 | 0.00011324 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3359-19_1_5_load_93 | 49 | 0.00062541 | 0.00015674 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3359-19_1_5_load_94 | 50 | 0.00073863 | 0.00018512 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3359-19_1_5_load_96 | 51 | 0.0015387 | 0.00038562 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3359-19_1_5_load_97 | 52 | 0.00068225 | 0.00017099 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3359-19_1_5_load_202 | 53 | 0.0010872 | 0.00027247 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3359-19_1_5_load_234 | 55 | 0.00081488 | 0.00020423 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3359-19_1_5_load_227 | 56 | 0.00015924 | 3.9909e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3359-19_1_5_load_116 | 57 | 0.0011915 | 0.00029863 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3359-19_1_5_load_117 | 58 | 0.0078053 | 0.0019562 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3359-19_1_5_load_119 | 60 | 0.0010495 | 0.00026303 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3359-19_1_5_load_121 | 62 | 0.00085893 | 0.00021527 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3359-19_1_5_load_122 | 63 | 0.0012687 | 0.00031796 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3359-19_1_5_load_214 | 64 | 0.00089858 | 0.00022521 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3359-19_1_5_load_123 | 65 | 0.00036649 | 9.185e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3359-19_1_5_load_124 | 66 | 0.00030784 | 7.7151e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3359-19_1_5_load_125 | 67 | 0.00020134 | 5.046e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3359-19_1_5_load_246 | 68 | 0.0001806 | 4.5261e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3359-19_1_5_load_126 | 69 | 0.00014788 | 3.7063e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3359-19_1_5_load_127 | 71 | 0.00074741 | 0.00018732 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3359-19_1_5_load_291 | 73 | 0.0014685 | 0.00036805 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3359-19_1_5_load_289 | 74 | 0.00018745 | 4.6978e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3359-19_1_5_load_176 | 75 | 0.00033261 | 8.3359e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3359-19_1_5_load_131 | 76 | 0.0003311 | 8.2981e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3359-19_1_5_load_132 | 77 | 0.00012346 | 3.0941e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3359-19_1_5_load_145 | 78 | 0.0011285 | 0.00028283 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3359-19_1_5_load_181 | 79 | 0.00041757 | 0.00010465 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3359-19_1_5_load_143 | 80 | 0.00022688 | 5.686e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3359-19_1_5_load_144 | 81 | 0.00055503 | 0.0001391 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3359-19_1_5_load_146 | 82 | 0.0010582 | 0.00026522 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3359-19_1_5_load_147 | 83 | 0.00023471 | 5.8823e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3359-19_1_5_load_173 | 84 | 0.00044515 | 0.00011157 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3359-19_1_5_load_160 | 85 | 0.00028073 | 7.0357e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3359-19_1_5_load_161 | 86 | 0.00035019 | 8.7765e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3359-19_1_5_load_162 | 87 | 0.00039947 | 0.00010012 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3359-19_1_5_load_164 | 88 | 0.00021819 | 5.4684e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3359-19_1_5_load_165 | 89 | 0.00024611 | 6.1682e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3359-19_1_5_load_238 | 90 | 0.0019702 | 0.00049378 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3359-19_1_5_load_175 | 91 | 0.00020324 | 5.0938e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3359-19_1_5_load_166 | 92 | 0.0011141 | 0.00027921 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3359-19_1_5_load_167 | 93 | 0.00049538 | 0.00012415 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3359-19_1_5_load_168 | 94 | 0.00053001 | 0.00013283 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3359-19_1_5_load_169 | 95 | 0.0013592 | 0.00034065 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3359-19_1_5_load_170 | 96 | 0.00064353 | 0.00016128 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3359-19_1_5_load_171 | 97 | 0.0012635 | 0.00031665 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3359-19_1_5_load_172 | 98 | 0.00043782 | 0.00010973 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3359-19_1_5_load_187 | 99 | 0.00047888 | 0.00012002 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3359-19_1_5_load_178 | 101 | 0.00016397 | 4.1095e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3359-19_1_5_load_177 | 102 | 0.00053408 | 0.00013385 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3359-19_1_5_load_212 | 103 | 0.00043664 | 0.00010943 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3359-19_1_5_load_182 | 105 | 0.00067511 | 0.0001692 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3359-19_1_5_load_183 | 106 | 0.0016676 | 0.00041793 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3359-19_1_5_load_188 | 109 | 0.00048263 | 0.00012096 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3359-19_1_5_load_201 | 110 | 0.00032582 | 8.1658e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3359-19_1_5_load_211 | 111 | 0.00073688 | 0.00018468 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3359-19_1_5_load_203 | 112 | 0.0023111 | 0.00057921 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3359-19_1_5_load_215 | 113 | 0.0011825 | 0.00029637 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3359-19_1_5_load_216 | 114 | 0.0013593 | 0.00034068 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3359-19_1_5_load_218 | 115 | 0.0011758 | 0.0002947 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3359-19_1_5_load_237 | 116 | 0.0017428 | 0.0004368 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3359-19_1_5_load_263 | 117 | 0.00018154 | 4.5498e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3359-19_1_5_load_239 | 118 | 0.00055466 | 0.00013901 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3359-19_1_5_load_299 | 120 | 0.00018646 | 4.6732e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3359-19_1_5_load_245 | 121 | 0.00025857 | 6.4804e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3359-19_1_5_load_247 | 122 | 0.0002902 | 7.2732e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3359-19_1_5_load_255 | 123 | 0.003233 | 0.00081027 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3359-19_1_5_load_257 | 124 | 0.00053552 | 0.00013421 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3359-19_1_5_load_258 | 125 | 0.001207 | 0.0003025 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3359-19_1_5_load_276 | 126 | 0.00090029 | 0.00022563 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3359-19_1_5_load_277 | 127 | 0.0021733 | 0.00054469 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3359-19_1_5_load_309 | 128 | 0.00029338 | 7.3527e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3359-19_1_5_load_278 | 129 | 0.00035044 | 8.7828e-05 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3359-19_1_5_load_279 | 130 | 0.00019927 | 4.9941e-05 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3359-19_1_5_load_280 | 131 | 0.00014723 | 3.6899e-05 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3359-19_1_5_load_281 | 132 | 0.00031635 | 7.9286e-05 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3359-19_1_5_load_307 | 133 | 0.00025994 | 6.5148e-05 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3359-19_1_5_load_282 | 134 | 0.00025542 | 6.4015e-05 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_3359-19_1_5_load_283 | 135 | 0.00025567 | 6.4078e-05 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_3359-19_1_5_load_296 | 136 | 0.00024577 | 6.1595e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_3359-19_1_5_load_300 | 137 | 0.00086142 | 0.00021589 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_3359-19_1_5_load_284 | 138 | 0.0002329 | 5.8369e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_3359-19_1_5_load_285 | 139 | 0.00037172 | 9.3161e-05 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_3359-19_1_5_load_286 | 140 | 0.00046829 | 0.00011737 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_3359-19_1_5_load_287 | 141 | 0.00079427 | 0.00019906 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_3359-19_1_5_load_302 | 142 | 0.00019807 | 4.9641e-05 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_3359-19_1_5_load_288 | 143 | 0.00053225 | 0.00013339 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_3359-19_1_5_load_290 | 144 | 0.00017825 | 4.4673e-05 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_3359-19_1_5_load_298 | 145 | 0.00035232 | 8.8299e-05 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_3359-19_1_5_load_292 | 146 | 0.0001118 | 2.802e-05 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_3359-19_1_5_load_293 | 147 | 0.00010219 | 2.5612e-05 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_3359-19_1_5_load_295 | 148 | 0.00012163 | 3.0484e-05 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_3359-19_1_5_load_297 | 149 | 0.00037658 | 9.438e-05 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_3359-19_1_5_load_301 | 150 | 0.00051376 | 0.00012876 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_3359-19_1_5_load_308 | 151 | 0.0003718 | 9.3181e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 107 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3359-19_1_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3359-19_1_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3359-19_1_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3359-19_1_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0049678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3359-19_1_5_line_4 | NAYY 4x150 SE | 3 | 10 | 0.0085766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3359-19_1_5_line_5 | NAYY 4x150 SE | 3 | 11 | 0.049107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3359-19_1_5_line_6 | NAYY 4x150 SE | 3 | 6 | 0.077062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3359-19_1_5_line_7 | NAYY 4x150 SE | 4 | 5 | 0.0099012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3359-19_1_5_line_8 | NAYY 4x150 SE | 5 | 12 | 0.0098615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3359-19_1_5_line_9 | NAYY 4x150 SE | 5 | 13 | 0.02393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3359-19_1_5_line_10 | NAYY 4x150 SE | 6 | 7 | 0.055776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3359-19_1_5_line_11 | NAYY 4x150 SE | 7 | 8 | 0.050582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3359-19_1_5_line_12 | NAYY 4x150 SE | 7 | 9 | 0.030138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3359-19_1_5_line_13 | NAYY 4x150 SE | 8 | 116 | 0.16116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3359-19_1_5_line_14 | NAYY 4x150 SE | 9 | 68 | 0.053635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3359-19_1_5_line_15 | NAYY 4x150 SE | 11 | 35 | 0.020326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3359-19_1_5_line_16 | NAYY 4x150 SE | 12 | 31 | 0.0043889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3359-19_1_5_line_17 | NAYY 4x150 SE | 13 | 23 | 0.0070089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3359-19_1_5_line_18 | NAYY 4x150 SE | 14 | 15 | 0.0046639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3359-19_1_5_line_19 | NAYY 4x150 SE | 14 | 16 | 0.013136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3359-19_1_5_line_20 | NAYY 4x150 SE | 15 | 17 | 0.022302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3359-19_1_5_line_21 | NAYY 4x150 SE | 16 | 18 | 0.0017923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3359-19_1_5_line_22 | NAYY 4x150 SE | 17 | 19 | 0.0015956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3359-19_1_5_line_23 | NAYY 4x150 SE | 17 | 20 | 0.011255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3359-19_1_5_line_24 | NAYY 4x150 SE | 18 | 21 | 0.00099019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3359-19_1_5_line_25 | NAYY 4x150 SE | 19 | 22 | 0.020225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3359-19_1_5_line_26 | NAYY 4x150 SE | 20 | 23 | 0.039665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3359-19_1_5_line_27 | NAYY 4x150 SE | 21 | 24 | 0.016362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3359-19_1_5_line_28 | NAYY 4x150 SE | 22 | 79 | 0.033198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3359-19_1_5_line_29 | NAYY 4x150 SE | 24 | 28 | 0.019345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3359-19_1_5_line_30 | NAYY 4x150 SE | 24 | 25 | 0.005969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3359-19_1_5_line_31 | NAYY 4x150 SE | 25 | 26 | 0.011606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3359-19_1_5_line_32 | NAYY 4x150 SE | 26 | 27 | 0.02889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3359-19_1_5_line_33 | NAYY 4x150 SE | 28 | 29 | 0.034663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3359-19_1_5_line_34 | NAYY 4x150 SE | 29 | 30 | 0.0094248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3359-19_1_5_line_35 | NAYY 4x150 SE | 30 | 89 | 0.041656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3359-19_1_5_line_36 | NAYY 4x150 SE | 30 | 86 | 0.04817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3359-19_1_5_line_37 | NAYY 4x150 SE | 31 | 32 | 0.0037106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3359-19_1_5_line_38 | NAYY 4x150 SE | 32 | 115 | 0.013889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3359-19_1_5_line_39 | NAYY 4x150 SE | 33 | 34 | 0.082964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3359-19_1_5_line_40 | NAYY 4x150 SE | 34 | 35 | 0.024979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3359-19_1_5_line_41 | NAYY 4x150 SE | 36 | 37 | 0.040313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3359-19_1_5_line_42 | NAYY 4x150 SE | 36 | 38 | 0.01514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3359-19_1_5_line_43 | NAYY 4x150 SE | 37 | 39 | 0.043746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3359-19_1_5_line_44 | NAYY 4x150 SE | 38 | 40 | 0.062399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3359-19_1_5_line_45 | NAYY 4x150 SE | 38 | 41 | 0.0398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3359-19_1_5_line_46 | NAYY 4x150 SE | 39 | 42 | 0.018506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3359-19_1_5_line_47 | NAYY 4x150 SE | 40 | 43 | 0.007343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3359-19_1_5_line_48 | NAYY 4x150 SE | 41 | 44 | 0.020068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3359-19_1_5_line_49 | NAYY 4x150 SE | 42 | 45 | 0.021788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3359-19_1_5_line_50 | NAYY 4x150 SE | 43 | 46 | 0.012841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3359-19_1_5_line_51 | NAYY 4x150 SE | 44 | 47 | 0.090962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3359-19_1_5_line_52 | NAYY 4x150 SE | 44 | 48 | 0.026978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3359-19_1_5_line_53 | NAYY 4x150 SE | 45 | 75 | 0.00072526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3359-19_1_5_line_54 | NAYY 4x150 SE | 46 | 63 | 0.027635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3359-19_1_5_line_55 | NAYY 4x150 SE | 48 | 49 | 0.0084909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3359-19_1_5_line_56 | NAYY 4x150 SE | 49 | 50 | 0.0080769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3359-19_1_5_line_57 | NAYY 4x150 SE | 50 | 51 | 0.025192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3359-19_1_5_line_58 | NAYY 4x150 SE | 51 | 52 | 0.0099065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3359-19_1_5_line_59 | NAYY 4x150 SE | 52 | 53 | 0.0054596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3359-19_1_5_line_60 | NAYY 4x150 SE | 53 | 112 | 0.047499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3359-19_1_5_line_61 | NAYY 4x150 SE | 54 | 55 | 0.028319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3359-19_1_5_line_62 | NAYY 4x150 SE | 54 | 56 | 0.17263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3359-19_1_5_line_63 | NAYY 4x150 SE | 55 | 117 | 0.049644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3359-19_1_5_line_64 | NAYY 4x150 SE | 56 | 110 | 0.067029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3359-19_1_5_line_65 | NAYY 4x150 SE | 57 | 58 | 0.039081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3359-19_1_5_line_66 | NAYY 4x150 SE | 57 | 59 | 0.0092648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3359-19_1_5_line_67 | NAYY 4x150 SE | 59 | 60 | 0.090938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3359-19_1_5_line_68 | NAYY 4x150 SE | 59 | 61 | 0.12286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3359-19_1_5_line_69 | NAYY 4x150 SE | 61 | 62 | 0.010436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3359-19_1_5_line_70 | NAYY 4x150 SE | 61 | 63 | 0.022332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3359-19_1_5_line_71 | NAYY 4x150 SE | 62 | 64 | 0.018905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3359-19_1_5_line_72 | NAYY 4x150 SE | 64 | 113 | 0.11035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3359-19_1_5_line_73 | NAYY 4x150 SE | 65 | 66 | 0.022207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3359-19_1_5_line_74 | NAYY 4x150 SE | 66 | 67 | 0.02946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3359-19_1_5_line_75 | NAYY 4x150 SE | 66 | 68 | 0.20108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3359-19_1_5_line_76 | NAYY 4x150 SE | 67 | 69 | 0.041848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3359-19_1_5_line_77 | NAYY 4x150 SE | 68 | 121 | 0.056541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3359-19_1_5_line_78 | NAYY 4x150 SE | 69 | 70 | 0.025716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_3359-19_1_5_line_79 | NAYY 4x150 SE | 70 | 76 | 0.028007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3359-19_1_5_line_80 | NAYY 4x150 SE | 71 | 72 | 0.0014301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3359-19_1_5_line_81 | NAYY 4x150 SE | 72 | 73 | 0.029995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3359-19_1_5_line_82 | NAYY 4x150 SE | 72 | 74 | 0.013425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3359-19_1_5_line_83 | NAYY 4x150 SE | 73 | 145 | 0.0007274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3359-19_1_5_line_84 | NAYY 4x150 SE | 74 | 143 | 0.045363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3359-19_1_5_line_85 | NAYY 4x150 SE | 75 | 102 | 0.0070684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3359-19_1_5_line_86 | NAYY 4x150 SE | 76 | 77 | 0.014329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_3359-19_1_5_line_87 | NAYY 4x150 SE | 77 | 78 | 0.0049245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_3359-19_1_5_line_88 | NAYY 4x150 SE | 78 | 80 | 0.014736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_3359-19_1_5_line_89 | NAYY 4x150 SE | 79 | 105 | 0.017409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_3359-19_1_5_line_90 | NAYY 4x150 SE | 79 | 106 | 0.017427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3359-19_1_5_line_91 | NAYY 4x150 SE | 80 | 81 | 0.035563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_3359-19_1_5_line_92 | NAYY 4x150 SE | 81 | 82 | 0.037786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_3359-19_1_5_line_93 | NAYY 4x150 SE | 82 | 83 | 0.021203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_3359-19_1_5_line_94 | NAYY 4x150 SE | 83 | 84 | 0.035651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_3359-19_1_5_line_95 | NAYY 4x150 SE | 84 | 100 | 0.07404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_3359-19_1_5_line_96 | NAYY 4x150 SE | 85 | 86 | 0.011553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3359-19_1_5_line_97 | NAYY 4x150 SE | 85 | 87 | 0.02419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3359-19_1_5_line_98 | NAYY 4x150 SE | 87 | 88 | 0.035075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3359-19_1_5_line_99 | NAYY 4x150 SE | 88 | 90 | 0.14712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3359-19_1_5_line_100 | NAYY 4x150 SE | 89 | 91 | 0.0042795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3359-19_1_5_line_101 | NAYY 4x150 SE | 90 | 118 | 0.041517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3359-19_1_5_line_102 | NAYY 4x150 SE | 91 | 98 | 0.00019763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3359-19_1_5_line_103 | NAYY 4x150 SE | 92 | 93 | 0.018044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3359-19_1_5_line_104 | NAYY 4x150 SE | 92 | 94 | 0.0025521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3359-19_1_5_line_105 | NAYY 4x150 SE | 93 | 95 | 0.0042664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3359-19_1_5_line_106 | NAYY 4x150 SE | 94 | 96 | 0.020379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3359-19_1_5_line_107 | NAYY 4x150 SE | 95 | 97 | 0.0049195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3359-19_1_5_line_108 | NAYY 4x150 SE | 96 | 98 | 0.008625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3359-19_1_5_line_109 | NAYY 4x150 SE | 97 | 99 | 0.016244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3359-19_1_5_line_110 | NAYY 4x150 SE | 99 | 109 | 0.0032674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3359-19_1_5_line_111 | NAYY 4x150 SE | 100 | 101 | 0.096939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
112 | LV_3359-19_1_5_line_112 | NAYY 4x150 SE | 101 | 104 | 0.051061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
113 | LV_3359-19_1_5_line_113 | NAYY 4x150 SE | 102 | 103 | 0.021768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3359-19_1_5_line_114 | NAYY 4x150 SE | 103 | 111 | 0.011703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3359-19_1_5_line_115 | NAYY 4x150 SE | 104 | 119 | 0.006103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_3359-19_1_5_line_116 | NAYY 4x150 SE | 104 | 120 | 0.032202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3359-19_1_5_line_117 | NAYY 4x150 SE | 105 | 107 | 0.09107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_3359-19_1_5_line_118 | NAYY 4x150 SE | 106 | 108 | 0.031485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3359-19_1_5_line_119 | NAYY 4x150 SE | 107 | 125 | 0.011481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3359-19_1_5_line_120 | NAYY 4x150 SE | 107 | 123 | 0.02483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3359-19_1_5_line_121 | NAYY 4x150 SE | 108 | 114 | 0.024139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3359-19_1_5_line_122 | NAYY 4x150 SE | 110 | 111 | 0.027791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3359-19_1_5_line_123 | NAYY 4x150 SE | 113 | 114 | 0.020377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3359-19_1_5_line_124 | NAYY 4x150 SE | 119 | 149 | 0.037779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3359-19_1_5_line_125 | NAYY 4x150 SE | 119 | 147 | 0.011259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
126 | LV_3359-19_1_5_line_126 | NAYY 4x150 SE | 120 | 145 | 0.019031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3359-19_1_5_line_127 | NAYY 4x150 SE | 121 | 122 | 0.050798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3359-19_1_5_line_128 | NAYY 4x150 SE | 123 | 124 | 0.14363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3359-19_1_5_line_129 | NAYY 4x150 SE | 126 | 127 | 0.026516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3359-19_1_5_line_130 | NAYY 4x150 SE | 127 | 128 | 0.62411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3359-19_1_5_line_131 | NAYY 4x150 SE | 128 | 150 | 0.83971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3359-19_1_5_line_132 | NAYY 4x150 SE | 129 | 130 | 0.00027517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
133 | LV_3359-19_1_5_line_133 | NAYY 4x150 SE | 129 | 131 | 0.057553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
134 | LV_3359-19_1_5_line_134 | NAYY 4x150 SE | 130 | 132 | 0.04159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
135 | LV_3359-19_1_5_line_135 | NAYY 4x150 SE | 130 | 133 | 0.20507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3359-19_1_5_line_136 | NAYY 4x150 SE | 131 | 134 | 0.061584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
137 | LV_3359-19_1_5_line_137 | NAYY 4x150 SE | 132 | 135 | 0.11685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
138 | LV_3359-19_1_5_line_138 | NAYY 4x150 SE | 133 | 151 | 0.028268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3359-19_1_5_line_139 | NAYY 4x150 SE | 134 | 136 | 0.22514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
140 | LV_3359-19_1_5_line_140 | NAYY 4x150 SE | 135 | 137 | 0.030561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3359-19_1_5_line_141 | NAYY 4x150 SE | 136 | 148 | 0.1038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
142 | LV_3359-19_1_5_line_142 | NAYY 4x150 SE | 137 | 150 | 0.085172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3359-19_1_5_line_143 | NAYY 4x150 SE | 138 | 139 | 0.051056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_3359-19_1_5_line_144 | NAYY 4x150 SE | 139 | 140 | 0.015547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_3359-19_1_5_line_145 | NAYY 4x150 SE | 140 | 141 | 0.0066166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_3359-19_1_5_line_146 | NAYY 4x150 SE | 141 | 142 | 0.0096737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_3359-19_1_5_line_147 | NAYY 4x150 SE | 142 | 149 | 0.021026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_3359-19_1_5_line_148 | NAYY 4x150 SE | 143 | 144 | 0.009924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_3359-19_1_5_line_149 | NAYY 4x150 SE | 146 | 147 | 0.0033547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
150 | LV_3359-19_1_5_line_150 | NAYY 4x150 SE | 146 | 148 | 0.15703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3359-19_1_5_trafo_256 | 0.25 MVA 20/0.4 kV | 152 | 107 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2746721.8231 | 1230030.3334 | 2746739.7269 | 1230024.6222
1 | 2746721.8231 | 1230030.3334 | 2746698.4203 | 1230037.7987 | 2746695.1669 | 1230039.3244
2 | 2746739.7269 | 1230024.6222 | 2746716.9617 | 1229917.6484
3 | 2746695.1669 | 1230039.3244 | 2746690.6692 | 1230041.4338
4 | 2746716.9617 | 1229917.6484 | 2746715.4106 | 1229909.2132
5 | 2746716.9617 | 1229917.6484 | 2746667.8659 | 1229916.5859
6 | 2746716.9617 | 1229917.6484 | 2746794.1614 | 1229921.3567
7 | 2746681.7048 | 1230045.6378 | 2746690.6692 | 1230041.4338
8 | 2746681.7048 | 1230045.6378 | 2746672.7756 | 1230049.8234
9 | 2746681.7048 | 1230045.6378 | 2746689.2119 | 1230068.3597
10 | 2746794.1614 | 1229921.3567 | 2746799.551 | 1229901.9946 | 2746808.1094 | 1229887.2037 | 2746811.7484 | 1229882.8674 | 2746817.4756 | 1229879.2945 | 2746823.0031 | 1229876.4395
11 | 2746841.9918 | 1229830.3114 | 2746841.2412 | 1229841.0581 | 2746838.1571 | 1229848.0882 | 2746823.0031 | 1229876.4395
12 | 2746823.0031 | 1229876.4395 | 2746833.9297 | 1229874.0849 | 2746851.0026 | 1229874.5068 | 2746852.8835 | 1229874.4299
13 | 2746696.5085 | 1229760.9702 | 2746841.9918 | 1229830.3114
14 | 2746852.8835 | 1229874.4299 | 2746859.8185 | 1229874.1464 | 2746869.6705 | 1229870.8089 | 2746876.8572 | 1229866.4492 | 2746894.8104 | 1229848.432 | 2746896.3539 | 1229846.5276
15 | 2746667.8659 | 1229916.5859 | 2746647.5442 | 1229916.1461 | 2746647.5442 | 1229916.1461
16 | 2746672.7756 | 1230049.8234 | 2746668.8017 | 1230051.6861
17 | 2746689.2119 | 1230068.3597 | 2746691.4107 | 1230075.0148
18 | 2746737.617 | 1230122.1148 | 2746742.1989 | 1230122.9852
19 | 2746755.1039 | 1230125.4368 | 2746742.1989 | 1230122.9852
20 | 2746715.7067 | 1230117.9525 | 2746737.617 | 1230122.1148
21 | 2746755.1039 | 1230125.4368 | 2746756.8647 | 1230125.7713
22 | 2746715.7067 | 1230117.9525 | 2746714.1392 | 1230117.6543
23 | 2746715.7067 | 1230117.9525 | 2746713.5771 | 1230106.9012 | 2746713.5771 | 1230106.9012
24 | 2746756.8647 | 1230125.7713 | 2746757.8375 | 1230125.9561
25 | 2746694.2678 | 1230113.8909 | 2746696.0261 | 1230114.2081 | 2746714.1392 | 1230117.6543
26 | 2746691.4107 | 1230075.0148 | 2746693.4815 | 1230081.2825 | 2746698.4957 | 1230092.1492 | 2746713.5771 | 1230106.9012
27 | 2746773.9117 | 1230129.0097 | 2746757.8375 | 1230125.9561
28 | 2746661.5973 | 1230107.9978 | 2746694.2678 | 1230113.8909
29 | 2746773.9117 | 1230129.0097 | 2746786.6256 | 1230143.5897
30 | 2746773.9117 | 1230129.0097 | 2746779.8269 | 1230129.809
31 | 2746779.8269 | 1230129.809 | 2746791.3288 | 1230131.3632
32 | 2746819.9584 | 1230135.2319 | 2746791.3288 | 1230131.3632
33 | 2746786.6256 | 1230143.5897 | 2746787.163 | 1230144.206 | 2746804.7843 | 1230165.0374 | 2746809.4511 | 1230169.6484
34 | 2746816.1553 | 1230176.2726 | 2746809.4511 | 1230169.6484
35 | 2746816.1553 | 1230176.2726 | 2746809.0101 | 1230217.3108 | 2746809.0101 | 1230217.3108
36 | 2746816.1553 | 1230176.2726 | 2746856.871 | 1230202.0136
37 | 2746665.4419 | 1230053.261 | 2746668.8017 | 1230051.6861
38 | 2746665.4419 | 1230053.261 | 2746652.8656 | 1230059.1561
39 | 2746627.4761 | 1229901.2725 | 2746595.9496 | 1229877.9065 | 2746576.2685 | 1229870.4592 | 2746553.6069 | 1229869.5535
40 | 2746627.4761 | 1229901.2725 | 2746647.5442 | 1229916.1461
41 | 2746289.1795 | 1230063.0881 | 2746281.46 | 1230061.1824 | 2746249.1382 | 1230062.7857
42 | 2746303.8785 | 1230066.7166 | 2746289.1795 | 1230063.0881
43 | 2746249.1382 | 1230062.7857 | 2746226.9167 | 1230063.888 | 2746206.5426 | 1230065.8221 | 2746205.5191 | 1230065.949
44 | 2746303.8785 | 1230066.7166 | 2746325.0236 | 1230071.9415 | 2746364.8792 | 1230064.1086
45 | 2746303.8785 | 1230066.7166 | 2746319.086 | 1230058.2276 | 2746335.4084 | 1230049.0988 | 2746338.8803 | 1230047.8722
46 | 2746205.5191 | 1230065.949 | 2746187.1532 | 1230068.2256
47 | 2746364.8792 | 1230064.1086 | 2746372.0845 | 1230062.6926
48 | 2746357.8018 | 1230041.1873 | 2746338.8803 | 1230047.8722
49 | 2746165.8351 | 1230072.2982 | 2746173.2305 | 1230069.9514 | 2746187.1532 | 1230068.2256
50 | 2746372.0845 | 1230062.6926 | 2746372.4924 | 1230062.6124 | 2746384.8049 | 1230064.2806
51 | 2746357.8018 | 1230041.1873 | 2746353.0307 | 1229973.6539 | 2746330.4689 | 1229967.7712
52 | 2746357.8018 | 1230041.1873 | 2746363.3126 | 1230039.6104 | 2746379.3399 | 1230034.1555 | 2746381.6018 | 1230030.4803
53 | 2746165.8351 | 1230072.2982 | 2746165.1439 | 1230072.5176
54 | 2746411.1769 | 1230071.4891 | 2746399.8819 | 1230066.3232 | 2746384.8049 | 1230064.2806
55 | 2746386.0524 | 1230023.2493 | 2746381.6018 | 1230030.4803
56 | 2746386.0524 | 1230023.2493 | 2746388.0243 | 1230020.0455 | 2746390.2881 | 1230016.3722
57 | 2746390.2881 | 1230016.3722 | 2746394.9714 | 1230008.7731 | 2746411.0269 | 1230006.1698
58 | 2746420.8057 | 1230004.5843 | 2746411.0269 | 1230006.1698
59 | 2746426.1949 | 1230003.7105 | 2746420.8057 | 1230004.5843
60 | 2746473.0814 | 1229996.1072 | 2746439.448 | 1230001.5616 | 2746426.1949 | 1230003.7105
61 | 2746004.703 | 1230300.5288 | 2746005.1494 | 1230306.1114 | 2746007.7159 | 1230308.3764 | 2746025.5787 | 1230315.673
62 | 2746105.8324 | 1230160.6203 | 2746004.703 | 1230300.5288
63 | 2746071.6094 | 1230334.0017 | 2746067.2184 | 1230333.2043 | 2746058.7561 | 1230329.6933 | 2746037.0609 | 1230320.3632 | 2746025.5787 | 1230315.673
64 | 2746100.2235 | 1230093.8266 | 2746105.8324 | 1230160.6203
65 | 2746394.1263 | 1230235.6331 | 2746413.7932 | 1230211.0175 | 2746413.54 | 1230203.4482
66 | 2746413.2302 | 1230194.1885 | 2746413.54 | 1230203.4482
67 | 2746413.2302 | 1230194.1885 | 2746364.9043 | 1230196.5122 | 2746323.249 | 1230190.782 | 2746322.7548 | 1230190.6609
68 | 2746432.5031 | 1230077.9368 | 2746434.0533 | 1230090.375 | 2746430.1502 | 1230100.8327 | 2746418.7845 | 1230113.3418 | 2746412.1872 | 1230127.948 | 2746412.9101 | 1230184.7277 | 2746413.2302 | 1230194.1885
69 | 2746432.5031 | 1230077.9368 | 2746442.59 | 1230080.6129
70 | 2746432.5031 | 1230077.9368 | 2746415.3278 | 1230073.3876 | 2746411.1769 | 1230071.4891
71 | 2746442.59 | 1230080.6129 | 2746460.8627 | 1230085.4608
72 | 2746569.6145 | 1230092.2257 | 2746540.4537 | 1230093.7099 | 2746502.837 | 1230096.5968 | 2746460.8627 | 1230085.4608
73 | 2747027.2343 | 1230005.2123 | 2747007.0215 | 1230014.409 | 2747007.0215 | 1230014.409
74 | 2746981.925 | 1230029.8374 | 2747007.0215 | 1230014.409
75 | 2747007.0215 | 1230014.409 | 2746896.3539 | 1229846.5276
76 | 2746981.925 | 1230029.8374 | 2746970.5194 | 1230036.8492 | 2746948.1818 | 1230054.4834
77 | 2746932.1041 | 1229805.5655 | 2746927.0068 | 1229806.4341 | 2746922.8895 | 1229808.3452 | 2746917.6614 | 1229820.2378 | 2746896.3539 | 1229846.5276
78 | 2746927.9977 | 1230070.4175 | 2746948.1818 | 1230054.4834
79 | 2746927.9977 | 1230070.4175 | 2746956.0047 | 1230070.2702
80 | 2747309.5193 | 1230108.9345 | 2747310.9483 | 1230108.9902
81 | 2747309.5193 | 1230108.9345 | 2747308.2657 | 1230138.9035
82 | 2747309.5193 | 1230108.9345 | 2747296.1222 | 1230108.0766
83 | 2747308.2353 | 1230139.6303 | 2747308.2657 | 1230138.9035
84 | 2747250.8522 | 1230105.1778 | 2747296.1222 | 1230108.0766
85 | 2746165.1439 | 1230072.5176 | 2746158.4066 | 1230074.6556
86 | 2746970.2276 | 1230071.6184 | 2746961.3718 | 1230070.242 | 2746956.0047 | 1230070.2702
87 | 2746970.2276 | 1230071.6184 | 2746975.0937 | 1230072.3747
88 | 2746989.655 | 1230074.6378 | 2746975.0937 | 1230072.3747
89 | 2746661.5973 | 1230107.9978 | 2746659.0996 | 1230125.2271
90 | 2746661.5973 | 1230107.9978 | 2746644.3852 | 1230105.2669
91 | 2746989.655 | 1230074.6378 | 2747024.7957 | 1230080.0995
92 | 2747059.9726 | 1230093.3576 | 2747059.7762 | 1230093.2062 | 2747031.8346 | 1230081.1934 | 2747024.7957 | 1230080.0995
93 | 2747059.9726 | 1230093.3576 | 2747076.7648 | 1230106.303
94 | 2747076.7648 | 1230106.303 | 2747104.9993 | 1230128.0694
95 | 2747164.2825 | 1230172.4069 | 2747139.2468 | 1230154.4713 | 2747104.9993 | 1230128.0694
96 | 2746856.871 | 1230202.0136 | 2746860.3833 | 1230204.2342 | 2746867.1586 | 1230207.2037
97 | 2746888.6539 | 1230218.1103 | 2746882.4334 | 1230213.8985 | 2746867.1586 | 1230207.2037
98 | 2746903.9378 | 1230245.9362 | 2746905.1261 | 1230238.3365 | 2746902.0509 | 1230228.1514 | 2746889.7979 | 1230218.8849 | 2746888.6539 | 1230218.1103
99 | 2746903.9378 | 1230245.9362 | 2747039.0411 | 1230304.183
100 | 2746804.9963 | 1230218.7955 | 2746809.0101 | 1230217.3108
101 | 2747059.1126 | 1230340.1783 | 2747046.0817 | 1230321.9397 | 2747039.0411 | 1230304.183
102 | 2746804.811 | 1230218.8641 | 2746804.811 | 1230218.8641 | 2746804.9963 | 1230218.7955
103 | 2746773.7608 | 1230213.2369 | 2746756.006 | 1230210.0192
104 | 2746776.272 | 1230213.692 | 2746773.7608 | 1230213.2369
105 | 2746751.808 | 1230209.2584 | 2746756.006 | 1230210.0192
106 | 2746796.3242 | 1230217.326 | 2746776.272 | 1230213.692
107 | 2746751.808 | 1230209.2584 | 2746751.808 | 1230209.2584 | 2746752.5979 | 1230204.4027
108 | 2746796.3242 | 1230217.326 | 2746804.811 | 1230218.8641
109 | 2746752.5979 | 1230204.4027 | 2746755.206 | 1230188.3698
110 | 2746755.7306 | 1230185.1447 | 2746755.206 | 1230188.3698
111 | 2747164.2825 | 1230172.4069 | 2747185.028 | 1230179.0374 | 2747259.8633 | 1230186.0109
112 | 2747310.7043 | 1230190.7485 | 2747259.8633 | 1230186.0109
113 | 2746158.4066 | 1230074.6556 | 2746140.3164 | 1230080.3963 | 2746137.6717 | 1230081.2822
114 | 2746126.575 | 1230084.9994 | 2746137.6717 | 1230081.2822
115 | 2747316.7986 | 1230191.3222 | 2747310.7043 | 1230190.7485
116 | 2747310.7043 | 1230190.7485 | 2747308.3888 | 1230158.6302
117 | 2746621.1387 | 1230207.6228 | 2746637.5896 | 1230170.5619 | 2746658.1355 | 1230131.8783 | 2746659.0996 | 1230125.2271
118 | 2746613.2895 | 1230100.3332 | 2746644.3852 | 1230105.2669
119 | 2746610.2825 | 1230211.4475 | 2746621.1387 | 1230207.6228
120 | 2746621.1387 | 1230207.6228 | 2746634.5631 | 1230215.1939 | 2746635.826 | 1230224.5269
121 | 2746613.2895 | 1230100.3332 | 2746589.6398 | 1230095.498
122 | 2746126.575 | 1230084.9994 | 2746100.2235 | 1230093.8266
123 | 2746569.6145 | 1230092.2257 | 2746572.8332 | 1230092.0619 | 2746589.6398 | 1230095.498
124 | 2747316.7986 | 1230191.3222 | 2747353.0893 | 1230201.8207
125 | 2747316.7986 | 1230191.3222 | 2747317.0061 | 1230202.5789
126 | 2747308.2353 | 1230139.6303 | 2747307.7887 | 1230150.3066 | 2747308.3888 | 1230158.6302
127 | 2746979.8307 | 1229789.1015 | 2746971.4757 | 1229790.741 | 2746941.141 | 1229804.0255 | 2746932.1041 | 1229805.5655
128 | 2746635.826 | 1230224.5269 | 2746579.3279 | 1230356.5812
129 | 2746230.2979 | 1231822.3367 | 2746206.3661 | 1231810.9184
130 | 2746206.3661 | 1231810.9184 | 2746152.6132 | 1231189.1292
131 | 2746787.8108 | 1230639.9123 | 2746152.6132 | 1231189.1292
132 | 2747019.2797 | 1230566.8168 | 2747019.554 | 1230566.7944
133 | 2747019.554 | 1230566.7944 | 2747028.5742 | 1230566.0595 | 2747038.052 | 1230564.3256 | 2747062.7014 | 1230560.4538 | 2747076.5035 | 1230558.674
134 | 2746978.5446 | 1230559.1234 | 2746983.3058 | 1230559.7681 | 2746988.9862 | 1230560.8205 | 2746994.2813 | 1230562.1304 | 2747008.263 | 1230565.8126 | 2747014.7633 | 1230566.8076 | 2747018.7329 | 1230566.8613 | 2747019.2797 | 1230566.8168
135 | 2747019.2797 | 1230566.8168 | 2746989.6874 | 1230769.7379
136 | 2747137.6089 | 1230551.0932 | 2747133.6028 | 1230551.3106 | 2747076.5035 | 1230558.674
137 | 2746978.5446 | 1230559.1234 | 2746885.6231 | 1230546.5426 | 2746865.681 | 1230558.1717
138 | 2747013.4517 | 1230784.8823 | 2746998.6513 | 1230774.1846 | 2746989.6874 | 1230769.7379
139 | 2747137.6089 | 1230551.0932 | 2747340.4666 | 1230453.4392
140 | 2746839.281 | 1230573.5668 | 2746865.681 | 1230558.1717
141 | 2747340.4666 | 1230453.4392 | 2747340.6695 | 1230452.0926 | 2747353.4679 | 1230430.7683 | 2747357.8073 | 1230408.2778 | 2747355.2545 | 1230396.9266 | 2747338.2518 | 1230378.1439 | 2747330.1463 | 1230362.4179
142 | 2746839.281 | 1230573.5668 | 2746839.281 | 1230573.5668 | 2746819.3431 | 1230608.5059 | 2746788.2597 | 1230637.5535 | 2746787.8108 | 1230639.9123
143 | 2747452.9145 | 1230230.699 | 2747403.8698 | 1230216.5109
144 | 2747403.8698 | 1230216.5109 | 2747388.9353 | 1230212.1905
145 | 2747382.5793 | 1230210.3518 | 2747388.9353 | 1230212.1905
146 | 2747382.5793 | 1230210.3518 | 2747373.2867 | 1230207.6636
147 | 2747373.2867 | 1230207.6636 | 2747353.0893 | 1230201.8207
148 | 2747240.9485 | 1230104.5436 | 2747250.8522 | 1230105.1778
149 | 2747317.068 | 1230205.9331 | 2747317.0061 | 1230202.5789
150 | 2747317.068 | 1230205.9331 | 2747330.1463 | 1230362.4179

## bus_geodata
| x | y | coords
0 | 2746721.8231 | 1230030.3334
1 | 2746739.7269 | 1230024.6222
2 | 2746695.1669 | 1230039.3244
3 | 2746716.9617 | 1229917.6484
4 | 2746690.6692 | 1230041.4338
5 | 2746681.7048 | 1230045.6378
6 | 2746794.1614 | 1229921.3567
7 | 2746823.0031 | 1229876.4395
8 | 2746841.9918 | 1229830.3114
9 | 2746852.8835 | 1229874.4299
10 | 2746715.4106 | 1229909.2132
11 | 2746667.8659 | 1229916.5859
12 | 2746672.7756 | 1230049.8234
13 | 2746689.2119 | 1230068.3597
14 | 2746742.1989 | 1230122.9852
15 | 2746737.617 | 1230122.1148
16 | 2746755.1039 | 1230125.4368
17 | 2746715.7067 | 1230117.9525
18 | 2746756.8647 | 1230125.7713
19 | 2746714.1392 | 1230117.6543
20 | 2746713.5771 | 1230106.9012
21 | 2746757.8375 | 1230125.9561
22 | 2746694.2678 | 1230113.8909
23 | 2746691.4107 | 1230075.0148
24 | 2746773.9117 | 1230129.0097
25 | 2746779.8269 | 1230129.809
26 | 2746791.3288 | 1230131.3632
27 | 2746819.9584 | 1230135.2319
28 | 2746786.6256 | 1230143.5897
29 | 2746809.4511 | 1230169.6484
30 | 2746816.1553 | 1230176.2726
31 | 2746668.8017 | 1230051.6861
32 | 2746665.4419 | 1230053.261
33 | 2746553.6069 | 1229869.5535
34 | 2746627.4761 | 1229901.2725
35 | 2746647.5442 | 1229916.1461
36 | 2746289.1795 | 1230063.0881
37 | 2746249.1382 | 1230062.7857
38 | 2746303.8785 | 1230066.7166
39 | 2746205.5191 | 1230065.949
40 | 2746364.8792 | 1230064.1086
41 | 2746338.8803 | 1230047.8722
42 | 2746187.1532 | 1230068.2256
43 | 2746372.0845 | 1230062.6926
44 | 2746357.8018 | 1230041.1873
45 | 2746165.8351 | 1230072.2982
46 | 2746384.8049 | 1230064.2806
47 | 2746330.4689 | 1229967.7712
48 | 2746381.6018 | 1230030.4803
49 | 2746386.0524 | 1230023.2493
50 | 2746390.2881 | 1230016.3722
51 | 2746411.0269 | 1230006.1698
52 | 2746420.8057 | 1230004.5843
53 | 2746426.1949 | 1230003.7105
54 | 2746004.703 | 1230300.5288
55 | 2746025.5787 | 1230315.673
56 | 2746105.8324 | 1230160.6203
57 | 2746413.54 | 1230203.4482
58 | 2746394.1263 | 1230235.6331
59 | 2746413.2302 | 1230194.1885
60 | 2746322.7548 | 1230190.6609
61 | 2746432.5031 | 1230077.9368
62 | 2746442.59 | 1230080.6129
63 | 2746411.1769 | 1230071.4891
64 | 2746460.8627 | 1230085.4608
65 | 2747027.2343 | 1230005.2123
66 | 2747007.0215 | 1230014.409
67 | 2746981.925 | 1230029.8374
68 | 2746896.3539 | 1229846.5276
69 | 2746948.1818 | 1230054.4834
70 | 2746927.9977 | 1230070.4175
71 | 2747310.9483 | 1230108.9902
72 | 2747309.5193 | 1230108.9345
73 | 2747308.2657 | 1230138.9035
74 | 2747296.1222 | 1230108.0766
75 | 2746165.1439 | 1230072.5176
76 | 2746956.0047 | 1230070.2702
77 | 2746970.2276 | 1230071.6184
78 | 2746975.0937 | 1230072.3747
79 | 2746661.5973 | 1230107.9978
80 | 2746989.655 | 1230074.6378
81 | 2747024.7957 | 1230080.0995
82 | 2747059.9726 | 1230093.3577
83 | 2747076.7648 | 1230106.303
84 | 2747104.9993 | 1230128.0694
85 | 2746867.1586 | 1230207.2037
86 | 2746856.871 | 1230202.0136
87 | 2746888.6539 | 1230218.1103
88 | 2746903.9378 | 1230245.9362
89 | 2746809.0101 | 1230217.3108
90 | 2747039.0411 | 1230304.183
91 | 2746804.9963 | 1230218.7955
92 | 2746773.7608 | 1230213.2369
93 | 2746756.006 | 1230210.0192
94 | 2746776.272 | 1230213.692
95 | 2746751.808 | 1230209.2584
96 | 2746796.3242 | 1230217.326
97 | 2746752.5979 | 1230204.4027
98 | 2746804.811 | 1230218.8641
99 | 2746755.206 | 1230188.3698
100 | 2747164.2825 | 1230172.4069
101 | 2747259.8633 | 1230186.0109
102 | 2746158.4066 | 1230074.6556
103 | 2746137.6717 | 1230081.2822
104 | 2747310.7043 | 1230190.7485
105 | 2746659.0996 | 1230125.2271
106 | 2746644.3852 | 1230105.2669
107 | 2746621.1387 | 1230207.6228
108 | 2746613.2895 | 1230100.3332
109 | 2746755.7306 | 1230185.1447
110 | 2746100.2235 | 1230093.8266
111 | 2746126.575 | 1230084.9994
112 | 2746473.0814 | 1229996.1072
113 | 2746569.6145 | 1230092.2257
114 | 2746589.6398 | 1230095.498
115 | 2746652.8656 | 1230059.1561
116 | 2746696.5085 | 1229760.9702
117 | 2746071.6094 | 1230334.0017
118 | 2747059.1126 | 1230340.1783
119 | 2747316.7986 | 1230191.3222
120 | 2747308.3888 | 1230158.6302
121 | 2746932.1041 | 1229805.5655
122 | 2746979.8307 | 1229789.1015
123 | 2746635.826 | 1230224.5269
124 | 2746579.3279 | 1230356.5812
125 | 2746610.2825 | 1230211.4475
126 | 2746230.2979 | 1231822.3367
127 | 2746206.3661 | 1231810.9184
128 | 2746152.6132 | 1231189.1292
129 | 2747019.554 | 1230566.7944
130 | 2747019.2797 | 1230566.8168
131 | 2747076.5035 | 1230558.674
132 | 2746978.5446 | 1230559.1234
133 | 2746989.6874 | 1230769.7379
134 | 2747137.6089 | 1230551.0932
135 | 2746865.681 | 1230558.1717
136 | 2747340.4666 | 1230453.4392
137 | 2746839.281 | 1230573.5668
138 | 2747452.9145 | 1230230.699
139 | 2747403.8698 | 1230216.5109
140 | 2747388.9353 | 1230212.1905
141 | 2747382.5793 | 1230210.3518
142 | 2747373.2867 | 1230207.6636
143 | 2747250.8522 | 1230105.1778
144 | 2747240.9485 | 1230104.5436
145 | 2747308.2353 | 1230139.6303
146 | 2747317.068 | 1230205.9331
147 | 2747317.0061 | 1230202.5789
148 | 2747330.1463 | 1230362.4179
149 | 2747353.0893 | 1230201.8207
150 | 2746787.8108 | 1230639.9123
151 | 2747013.4517 | 1230784.8823
152 | 2746610.2825 | 1230211.4475

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1