## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3359-20_1_3_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_3359-20_1_3_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_3359-20_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_3359-20_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_3359-20_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_3359-20_1_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3359-20_1_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3359-20_1_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_3359-20_1_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_3359-20_1_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_3359-20_1_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_3359-20_1_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_3359-20_1_3_node_161 | 0.4 | n |  | TRUE
13 | bus_LV_3359-20_1_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_3359-20_1_3_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_3359-20_1_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_3359-20_1_3_node_125 | 0.4 | n |  | TRUE
17 | bus_LV_3359-20_1_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_3359-20_1_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_3359-20_1_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3359-20_1_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3359-20_1_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3359-20_1_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3359-20_1_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_3359-20_1_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3359-20_1_3_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_3359-20_1_3_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_3359-20_1_3_node_124 | 0.4 | n |  | TRUE
28 | bus_LV_3359-20_1_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_3359-20_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_3359-20_1_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_3359-20_1_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_3359-20_1_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_3359-20_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_3359-20_1_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_3359-20_1_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_3359-20_1_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_3359-20_1_3_node_120 | 0.4 | n |  | TRUE
38 | bus_LV_3359-20_1_3_node_118 | 0.4 | n |  | TRUE
39 | bus_LV_3359-20_1_3_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_3359-20_1_3_node_153 | 0.4 | n |  | TRUE
41 | bus_LV_3359-20_1_3_node_150 | 0.4 | n |  | TRUE
42 | bus_LV_3359-20_1_3_node_154 | 0.4 | n |  | TRUE
43 | bus_LV_3359-20_1_3_node_149 | 0.4 | n |  | TRUE
44 | bus_LV_3359-20_1_3_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_3359-20_1_3_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_3359-20_1_3_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_3359-20_1_3_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_3359-20_1_3_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_3359-20_1_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_3359-20_1_3_node_121 | 0.4 | n |  | TRUE
51 | bus_LV_3359-20_1_3_node_143 | 0.4 | n |  | TRUE
52 | bus_LV_3359-20_1_3_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_3359-20_1_3_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_3359-20_1_3_node_151 | 0.4 | n |  | TRUE
55 | bus_LV_3359-20_1_3_node_152 | 0.4 | n |  | TRUE
56 | bus_LV_3359-20_1_3_node_129 | 0.4 | n |  | TRUE
57 | bus_LV_3359-20_1_3_node_148 | 0.4 | n |  | TRUE
58 | bus_LV_3359-20_1_3_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_3359-20_1_3_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_3359-20_1_3_node_155 | 0.4 | n |  | TRUE
61 | bus_LV_3359-20_1_3_node_167 | 0.4 | n |  | TRUE
62 | bus_LV_3359-20_1_3_node_127 | 0.4 | n |  | TRUE
63 | bus_LV_3359-20_1_3_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_3359-20_1_3_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_3359-20_1_3_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_3359-20_1_3_node_117 | 0.4 | n |  | TRUE
67 | bus_LV_3359-20_1_3_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_3359-20_1_3_node_133 | 0.4 | n |  | TRUE
69 | bus_LV_3359-20_1_3_node_134 | 0.4 | n |  | TRUE
70 | bus_LV_3359-20_1_3_node_135 | 0.4 | n |  | TRUE
71 | bus_LV_3359-20_1_3_node_136 | 0.4 | n |  | TRUE
72 | bus_LV_3359-20_1_3_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_3359-20_1_3_node_137 | 0.4 | n |  | TRUE
74 | bus_LV_3359-20_1_3_node_138 | 0.4 | n |  | TRUE
75 | bus_LV_3359-20_1_3_node_164 | 0.4 | n |  | TRUE
76 | bus_LV_3359-20_1_3_node_163 | 0.4 | n |  | TRUE
77 | bus_LV_3359-20_1_3_node_156 | 0.4 | n |  | TRUE
78 | bus_LV_3359-20_1_3_node_162 | 0.4 | n |  | TRUE
79 | bus_LV_3359-20_1_3_node_126 | 0.4 | n |  | TRUE
80 | bus_LV_3359-20_1_3_node_128 | 0.4 | n |  | TRUE
81 | bus_LV_3359-20_1_3_node_130 | 0.4 | n |  | TRUE
82 | bus_LV_3359-20_1_3_node_131 | 0.4 | n |  | TRUE
83 | bus_LV_3359-20_1_3_node_144 | 0.4 | n |  | TRUE
84 | bus_LV_3359-20_1_3_node_145 | 0.4 | n |  | TRUE
85 | bus_MV_38_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3359-20_1_3_load_8 | 0 | 0.0031962 | 0.00080104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3359-20_1_3_load_9 | 1 | 0.0022883 | 0.00057349 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3359-20_1_3_load_11 | 3 | 0.0016633 | 0.00041686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3359-20_1_3_load_13 | 5 | 0.0057215 | 0.001434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3359-20_1_3_load_14 | 6 | 0.0029452 | 0.00073815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3359-20_1_3_load_15 | 7 | 0.001774 | 0.00044461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3359-20_1_3_load_16 | 8 | 0.0027786 | 0.00069637 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3359-20_1_3_load_23 | 10 | 0.0020547 | 0.00051496 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3359-20_1_3_load_34 | 11 | 0.0055342 | 0.001387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3359-20_1_3_load_161 | 12 | 0.0034504 | 0.00086476 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3359-20_1_3_load_39 | 13 | 0.001953 | 0.00048947 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3359-20_1_3_load_36 | 14 | 0.0054139 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3359-20_1_3_load_125 | 16 | 0.0025082 | 0.00062861 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3359-20_1_3_load_41 | 17 | 0.0015443 | 0.00038705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3359-20_1_3_load_37 | 18 | 0.010453 | 0.0026198 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3359-20_1_3_load_18 | 19 | 0.0022244 | 0.00055749 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3359-20_1_3_load_19 | 20 | 0.001237 | 0.00031001 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3359-20_1_3_load_21 | 21 | 0.0029365 | 0.00073595 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3359-20_1_3_load_22 | 22 | 0.0014221 | 0.00035641 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3359-20_1_3_load_25 | 24 | 0.0014796 | 0.00037081 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3359-20_1_3_load_82 | 26 | 0.0016393 | 0.00041084 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3359-20_1_3_load_124 | 27 | 0.002345 | 0.00058771 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3359-20_1_3_load_83 | 28 | 0.0020395 | 0.00051114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3359-20_1_3_load_38 | 29 | 0.0028938 | 0.00072526 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3359-20_1_3_load_68 | 30 | 0.0013954 | 0.00034972 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3359-20_1_3_load_69 | 31 | 0.0018261 | 0.00045765 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3359-20_1_3_load_70 | 32 | 0.0030764 | 0.00077101 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3359-20_1_3_load_71 | 33 | 0.00096485 | 0.00024181 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3359-20_1_3_load_72 | 34 | 0.00081486 | 0.00020422 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3359-20_1_3_load_73 | 35 | 0.00098648 | 0.00024723 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3359-20_1_3_load_74 | 36 | 0.0017199 | 0.00043104 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3359-20_1_3_load_120 | 37 | 0.00059174 | 0.0001483 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3359-20_1_3_load_153 | 40 | 0.0018304 | 0.00045874 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3359-20_1_3_load_150 | 41 | 0.0014087 | 0.00035306 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3359-20_1_3_load_149 | 43 | 0.00085329 | 0.00021385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3359-20_1_3_load_91 | 44 | 0.0067611 | 0.0016945 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3359-20_1_3_load_92 | 45 | 0.0023226 | 0.00058209 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3359-20_1_3_load_84 | 46 | 0.0014846 | 0.00037209 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3359-20_1_3_load_85 | 47 | 0.0028312 | 0.00070956 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3359-20_1_3_load_86 | 48 | 0.0027859 | 0.00069822 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3359-20_1_3_load_121 | 50 | 0.00090174 | 0.000226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3359-20_1_3_load_143 | 51 | 0.0015864 | 0.00039758 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3359-20_1_3_load_90 | 53 | 0.0030446 | 0.00076305 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3359-20_1_3_load_151 | 54 | 0.0042475 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3359-20_1_3_load_152 | 55 | 0.0022769 | 0.00057064 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3359-20_1_3_load_129 | 56 | 0.00094453 | 0.00023672 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3359-20_1_3_load_148 | 57 | 0.0012582 | 0.00031534 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3359-20_1_3_load_123 | 58 | 0.0014495 | 0.00036328 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3359-20_1_3_load_155 | 60 | 0.0015644 | 0.00039208 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3359-20_1_3_load_167 | 61 | 0.0027811 | 0.00069702 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3359-20_1_3_load_127 | 62 | 0.0012251 | 0.00030703 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3359-20_1_3_load_93 | 63 | 0.0025558 | 0.00064053 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3359-20_1_3_load_94 | 64 | 0.0013015 | 0.00032619 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3359-20_1_3_load_110 | 65 | 0.0043469 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3359-20_1_3_load_117 | 66 | 0.0012959 | 0.00032479 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3359-20_1_3_load_135 | 70 | 0.0012333 | 0.00030908 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3359-20_1_3_load_136 | 71 | 0.0028146 | 0.00070539 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3359-20_1_3_load_132 | 72 | 0.0025309 | 0.00063432 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3359-20_1_3_load_137 | 73 | 0.0012524 | 0.00031389 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3359-20_1_3_load_163 | 76 | 0.00045702 | 0.00011454 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3359-20_1_3_load_156 | 77 | 0.0011159 | 0.00027966 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3359-20_1_3_load_162 | 78 | 0.00084411 | 0.00021155 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3359-20_1_3_load_126 | 79 | 0.00098643 | 0.00024722 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3359-20_1_3_load_128 | 80 | 0.0010851 | 0.00027196 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3359-20_1_3_load_130 | 81 | 0.00089727 | 0.00022488 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3359-20_1_3_load_131 | 82 | 0.0032724 | 0.00082013 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3359-20_1_3_load_144 | 83 | 0.0012665 | 0.00031741 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3359-20_1_3_load_145 | 84 | 0.0034427 | 0.00086283 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3359-20_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3359-20_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3359-20_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3359-20_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3359-20_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.046854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3359-20_1_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3359-20_1_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.031516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3359-20_1_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.012703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3359-20_1_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3359-20_1_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.016822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3359-20_1_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.053117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3359-20_1_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0082785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3359-20_1_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.074957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3359-20_1_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.036257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3359-20_1_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.017442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3359-20_1_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.066305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3359-20_1_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.060042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3359-20_1_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.043536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3359-20_1_3_line_18 | NAYY 4x150 SE | 15 | 22 | 0.028662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3359-20_1_3_line_19 | NAYY 4x150 SE | 15 | 19 | 0.063801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3359-20_1_3_line_20 | NAYY 4x150 SE | 16 | 67 | 0.033733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3359-20_1_3_line_21 | NAYY 4x150 SE | 17 | 30 | 0.02106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3359-20_1_3_line_22 | NAYY 4x150 SE | 18 | 29 | 0.031732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3359-20_1_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.034057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3359-20_1_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.021392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3359-20_1_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.053392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3359-20_1_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.018226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3359-20_1_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.064148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3359-20_1_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3359-20_1_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.13824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3359-20_1_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.005898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3359-20_1_3_line_31 | NAYY 4x150 SE | 28 | 44 | 0.022736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3359-20_1_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.055625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3359-20_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.048369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3359-20_1_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.036497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3359-20_1_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.027998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3359-20_1_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.042681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3359-20_1_3_line_37 | NAYY 4x150 SE | 35 | 39 | 0.02661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3359-20_1_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.12224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3359-20_1_3_line_39 | NAYY 4x150 SE | 38 | 50 | 0.018541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3359-20_1_3_line_40 | NAYY 4x150 SE | 38 | 66 | 0.0017309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3359-20_1_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.051381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3359-20_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3359-20_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.014571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3359-20_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.021917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3359-20_1_3_line_45 | NAYY 4x150 SE | 42 | 76 | 0.025504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3359-20_1_3_line_46 | NAYY 4x150 SE | 43 | 57 | 0.018706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3359-20_1_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0049065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3359-20_1_3_line_48 | NAYY 4x150 SE | 45 | 63 | 0.027649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3359-20_1_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.018465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3359-20_1_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.029067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3359-20_1_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.011204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3359-20_1_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.004406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3359-20_1_3_line_53 | NAYY 4x150 SE | 49 | 53 | 0.013557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3359-20_1_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.052432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3359-20_1_3_line_55 | NAYY 4x150 SE | 51 | 83 | 0.010012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3359-20_1_3_line_56 | NAYY 4x150 SE | 51 | 84 | 0.0066974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3359-20_1_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.072593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3359-20_1_3_line_58 | NAYY 4x150 SE | 52 | 55 | 0.021206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3359-20_1_3_line_59 | NAYY 4x150 SE | 52 | 56 | 0.038374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3359-20_1_3_line_60 | NAYY 4x150 SE | 53 | 57 | 0.041782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3359-20_1_3_line_61 | NAYY 4x150 SE | 54 | 60 | 0.026862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3359-20_1_3_line_62 | NAYY 4x150 SE | 55 | 61 | 0.02928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3359-20_1_3_line_63 | NAYY 4x150 SE | 56 | 62 | 0.012147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3359-20_1_3_line_64 | NAYY 4x150 SE | 58 | 59 | 0.017013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3359-20_1_3_line_65 | NAYY 4x150 SE | 59 | 67 | 0.053053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3359-20_1_3_line_66 | NAYY 4x150 SE | 59 | 66 | 0.05346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3359-20_1_3_line_67 | NAYY 4x150 SE | 60 | 77 | 0.12964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3359-20_1_3_line_68 | NAYY 4x150 SE | 62 | 79 | 0.010275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3359-20_1_3_line_69 | NAYY 4x150 SE | 63 | 64 | 0.0019041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3359-20_1_3_line_70 | NAYY 4x150 SE | 64 | 65 | 0.0047125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3359-20_1_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.016267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3359-20_1_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.019492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3359-20_1_3_line_73 | NAYY 4x150 SE | 68 | 71 | 0.041384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3359-20_1_3_line_74 | NAYY 4x150 SE | 68 | 72 | 0.13235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3359-20_1_3_line_75 | NAYY 4x150 SE | 69 | 73 | 0.042344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3359-20_1_3_line_76 | NAYY 4x150 SE | 70 | 74 | 0.014879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3359-20_1_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.020066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3359-20_1_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.02391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3359-20_1_3_line_79 | NAYY 4x150 SE | 75 | 78 | 0.024054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3359-20_1_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0064833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3359-20_1_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.030185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3359-20_1_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.02236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3359-20_1_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.013513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3359-20_1_3_trafo_117 | 0.25 MVA 20/0.4 kV | 85 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2743704.6085 | 1229739.9334 | 2743681.73 | 1229731.403 | 2743677.8695 | 1229730.2082
1 | 2743717.2287 | 1229744.639 | 2743704.6085 | 1229739.9334
2 | 2743660.5929 | 1229725.2394 | 2743662.5919 | 1229725.4799 | 2743677.8695 | 1229730.2082
3 | 2743751.5983 | 1229745.6483 | 2743717.2287 | 1229744.639
4 | 2743717.2287 | 1229744.639 | 2743716.9834 | 1229753.5298 | 2743717.7878 | 1229758.1867 | 2743722.5631 | 1229763.4957 | 2743744.7103 | 1229777.2936
5 | 2743660.5929 | 1229725.2394 | 2743649.5181 | 1229723.9071 | 2743642.65 | 1229723.8589
6 | 2743751.5983 | 1229745.6483 | 2743758.2026 | 1229745.8414 | 2743782.9776 | 1229748.4241
7 | 2743751.5983 | 1229745.6483 | 2743745.7567 | 1229735.5426 | 2743746.0199 | 1229734.5465
8 | 2743759.0745 | 1229786.2427 | 2743744.7103 | 1229777.2936
9 | 2743626.0616 | 1229725.8916 | 2743635.2566 | 1229723.807 | 2743642.65 | 1229723.8589
10 | 2743830.3984 | 1229726.358 | 2743807.0728 | 1229742.0751 | 2743784.0428 | 1229748.5351 | 2743782.9776 | 1229748.4241
11 | 2743748.1344 | 1229726.5425 | 2743746.0199 | 1229734.5465
12 | 2743759.0745 | 1229786.2427 | 2743761.7491 | 1229791.9123 | 2743762.9938 | 1229797.792 | 2743761.6241 | 1229804.5983 | 2743756.8968 | 1229808.8989 | 2743745.369 | 1229813.2908 | 2743743.1435 | 1229816.9403 | 2743743.4998 | 1229821.008 | 2743746.2874 | 1229823.8891 | 2743750.1938 | 1229825.0067 | 2743757.2675 | 1229823.9656 | 2743770.5262 | 1229821.8331
13 | 2743759.0745 | 1229786.2427 | 2743794.4514 | 1229778.3043
14 | 2743610.9505 | 1229734.1514 | 2743616.0245 | 1229730.2372 | 2743622.4459 | 1229726.7113 | 2743626.0616 | 1229725.8916
15 | 2743748.1344 | 1229726.5425 | 2743751.7471 | 1229712.8674 | 2743759.8153 | 1229710.1934 | 2743769.5683 | 1229684.2507 | 2743761.1992 | 1229670.6779
16 | 2743824.23 | 1229830.457 | 2743824.23 | 1229830.457 | 2743823.2795 | 1229825.2628 | 2743821.2275 | 1229822.3661 | 2743815.1868 | 1229820.1848 | 2743787.5929 | 1229819.8173 | 2743776.3195 | 1229820.9013 | 2743770.5262 | 1229821.8331
17 | 2743837.1514 | 1229771.2127 | 2743824.7092 | 1229771.5165 | 2743812.932 | 1229773.0553 | 2743795.3553 | 1229778.1014 | 2743794.4514 | 1229778.3043
18 | 2743610.9505 | 1229734.1514 | 2743636.141 | 1229747.8247
19 | 2743610.9505 | 1229734.1514 | 2743603.7194 | 1229740.7604 | 2743565.6414 | 1229769.333 | 2743560.5972 | 1229773.2703
20 | 2743746.4465 | 1229640.9202 | 2743747.3901 | 1229648.2828 | 2743761.1992 | 1229670.6779
21 | 2743824.23 | 1229830.457 | 2743823.3587 | 1229834.5173 | 2743820.0297 | 1229838.9741 | 2743810.7794 | 1229845.5412
22 | 2743868.1919 | 1229766.712 | 2743861.8973 | 1229769.4252 | 2743854.6719 | 1229770.785 | 2743837.1514 | 1229771.2127
23 | 2743527.5842 | 1229775.0974 | 2743535.4788 | 1229776.4669 | 2743545.7028 | 1229777.7259 | 2743554.619 | 1229776.3398 | 2743560.5972 | 1229773.2703 | 2743560.5972 | 1229773.2703
24 | 2743527.5842 | 1229775.0974 | 2743527.5842 | 1229775.0974 | 2743519.4087 | 1229776.2567 | 2743511.0817 | 1229780.237 | 2743507.9263 | 1229782.5383
25 | 2743461.586 | 1229808.3677 | 2743487.9679 | 1229797.0942 | 2743507.9263 | 1229782.5383
26 | 2743636.141 | 1229747.8247 | 2743652.159 | 1229756.5191
27 | 2743413.3984 | 1229835.0735 | 2743414.3415 | 1229836.82 | 2743418.3868 | 1229841.9221 | 2743425.0501 | 1229833.3864 | 2743433.5158 | 1229824.2825 | 2743435.6723 | 1229822.8555 | 2743450.2828 | 1229813.1993 | 2743461.586 | 1229808.3677
28 | 2743662.1379 | 1229767.7729 | 2743662.1379 | 1229767.7729 | 2743658.9407 | 1229760.2001 | 2743652.159 | 1229756.5191
29 | 2743413.3984 | 1229835.0735 | 2743400.5793 | 1229807.5624 | 2743402.2903 | 1229788.7982 | 2743407.4447 | 1229766.1581 | 2743413.7938 | 1229730.4463 | 2743426.7865 | 1229714.3454 | 2743428.6887 | 1229705.6863
30 | 2743662.1379 | 1229767.7729 | 2743659.4584 | 1229773.0271
31 | 2743649.1294 | 1229793.2812 | 2743659.4584 | 1229773.0271
32 | 2743810.7794 | 1229845.5412 | 2743778.3416 | 1229868.57 | 2743769.1575 | 1229873.5191 | 2743763.9935 | 1229875.1362
33 | 2743400.8597 | 1229489.6091 | 2743409.219 | 1229489.4457 | 2743426.2564 | 1229488.2333 | 2743440.4473 | 1229485.6288 | 2743448.6968 | 1229483.5819
34 | 2743400.8597 | 1229489.6091 | 2743397.7611 | 1229489.6697 | 2743385.181 | 1229488.6544 | 2743364.6783 | 1229485.2899
35 | 2743475.6988 | 1229476.1862 | 2743475.1277 | 1229476.3348 | 2743452.5788 | 1229482.6187 | 2743448.6968 | 1229483.5819
36 | 2743322.5951 | 1229478.1685 | 2743363.6498 | 1229485.1211 | 2743364.6783 | 1229485.2899
37 | 2743501.594 | 1229470.1012 | 2743489.7569 | 1229472.5288 | 2743475.6988 | 1229476.1862
38 | 2743639.0415 | 1229633.6967 | 2743626.0269 | 1229634.9946 | 2743606.6366 | 1229650.4734 | 2743599.3954 | 1229650.5987 | 2743591.1021 | 1229644.0816 | 2743559.3541 | 1229633.984 | 2743532.1991 | 1229633.9286 | 2743526.2673 | 1229635.3172
39 | 2743625.2144 | 1229622.8309 | 2743629.6766 | 1229630.1229 | 2743639.0415 | 1229633.6967
40 | 2743639.0415 | 1229633.6967 | 2743640.77 | 1229633.7883
41 | 2743501.594 | 1229470.1012 | 2743498.8635 | 1229461.7057 | 2743486.4164 | 1229431.323 | 2743477.7329 | 1229426.9572
42 | 2743501.594 | 1229470.1012 | 2743514.0389 | 1229468.867 | 2743515.2357 | 1229468.8959
43 | 2743464.7145 | 1229420.4121 | 2743477.7329 | 1229426.9572
44 | 2743515.2357 | 1229468.8959 | 2743527.4467 | 1229469.1908 | 2743537.1364 | 1229469.6825
45 | 2743464.7145 | 1229420.4121 | 2743451.2221 | 1229398.7696
46 | 2743555.7003 | 1229471.944 | 2743538.7414 | 1229469.7639 | 2743537.1364 | 1229469.6825
47 | 2743649.1294 | 1229793.2812 | 2743649.1294 | 1229793.2812 | 2743653.6949 | 1229795.0785
48 | 2743653.6949 | 1229795.0785 | 2743679.422 | 1229805.2063
49 | 2743639.855 | 1229483.9367 | 2743621.6026 | 1229481.1442
50 | 2743668.5875 | 1229488.3326 | 2743639.855 | 1229483.9367
51 | 2743610.5271 | 1229479.4498 | 2743621.6026 | 1229481.1442
52 | 2743610.5271 | 1229479.4498 | 2743610.5723 | 1229483.8547
53 | 2743610.5271 | 1229479.4498 | 2743597.1054 | 1229477.5377
54 | 2743625.2144 | 1229622.8309 | 2743606.6249 | 1229573.8055
55 | 2743606.6249 | 1229573.8055 | 2743596.6612 | 1229574.7904
56 | 2743612.4426 | 1229570.4874 | 2743606.6249 | 1229573.8055
57 | 2743610.5723 | 1229483.8547 | 2743593.8795 | 1229481.1493 | 2743538.5963 | 1229474.491
58 | 2743610.5723 | 1229483.8547 | 2743621.4177 | 1229485.4514 | 2743631.5476 | 1229486.9736
59 | 2743610.5723 | 1229483.8547 | 2743610.7136 | 1229497.1365 | 2743613.5786 | 1229511.2515 | 2743613.6386 | 1229521.9402
60 | 2743555.7003 | 1229471.944 | 2743577.6244 | 1229474.7624 | 2743597.1054 | 1229477.5377
61 | 2743538.5963 | 1229474.491 | 2743535.2036 | 1229474.0823 | 2743523.8741 | 1229474.0089 | 2743511.7594 | 1229474.0054
62 | 2743660.5021 | 1229491.3246 | 2743631.5476 | 1229486.9736
63 | 2743613.6386 | 1229521.9402 | 2743613.6386 | 1229521.9402 | 2743605.5739 | 1229524.4588 | 2743601.8835 | 1229524.7038
64 | 2743678.1361 | 1229632.4065 | 2743693.9914 | 1229638.6951
65 | 2743693.9914 | 1229638.6951 | 2743725.7124 | 1229644.2554 | 2743746.4465 | 1229640.9202
66 | 2743693.9914 | 1229638.6951 | 2743665.3973 | 1229636.0909 | 2743650.2293 | 1229634.2896 | 2743640.77 | 1229633.7883
67 | 2743384.4903 | 1229492.7201 | 2743393.9596 | 1229493.6148 | 2743408.5537 | 1229494.4007 | 2743419.7363 | 1229493.6475 | 2743438.6904 | 1229490.5908 | 2743478.1632 | 1229479.6332 | 2743498.8991 | 1229475.2963 | 2743507.5633 | 1229474.0042 | 2743511.7594 | 1229474.0054
68 | 2743591.631 | 1229525.3844 | 2743601.8835 | 1229524.7038
69 | 2743681.1937 | 1229805.9037 | 2743679.422 | 1229805.2063
70 | 2743685.5787 | 1229807.6299 | 2743681.1937 | 1229805.9037
71 | 2743425.0884 | 1229348.2039 | 2743408.7768 | 1229348.5331
72 | 2743425.0884 | 1229348.2039 | 2743430.8642 | 1229360.4429 | 2743432.8549 | 1229366.0593
73 | 2743394.4519 | 1229321.4973 | 2743398.2329 | 1229322.4893 | 2743421.0235 | 1229341.3888 | 2743425.0884 | 1229348.2039
74 | 2743425.0884 | 1229348.2039 | 2743443.8189 | 1229347.8331 | 2743467.222 | 1229352.0234 | 2743475.8184 | 1229355.7452 | 2743507.5394 | 1229380.5212 | 2743508.6404 | 1229381.3818 | 2743524.6573 | 1229381.0124 | 2743539.835 | 1229381.8127 | 2743547.4078 | 1229381.1245
75 | 2743408.7768 | 1229348.5331 | 2743407.3744 | 1229354.1932 | 2743395.6629 | 1229384.7044 | 2743397.0981 | 1229388.2561
76 | 2743437.8257 | 1229380.0836 | 2743432.8549 | 1229366.0593
77 | 2743397.518 | 1229408.0252 | 2743398.481 | 1229391.6784 | 2743397.0981 | 1229388.2561
78 | 2743437.8257 | 1229380.0836 | 2743439.4305 | 1229379.8554 | 2743451.2221 | 1229398.7696
79 | 2743397.518 | 1229408.0252 | 2743409.3348 | 1229408.9554 | 2743421.4012 | 1229410.76
80 | 2743585.3516 | 1229526.3394 | 2743586.1699 | 1229525.747 | 2743591.631 | 1229525.3844
81 | 2743585.3516 | 1229526.3394 | 2743577.2059 | 1229532.2363 | 2743577.4875 | 1229547.2452 | 2743578.2515 | 1229552.3056
82 | 2743578.2515 | 1229552.3056 | 2743579.8331 | 1229562.7822 | 2743583.2446 | 1229574.0412 | 2743583.2446 | 1229574.0412
83 | 2743583.2446 | 1229574.0412 | 2743592.3417 | 1229575.2174 | 2743596.6612 | 1229574.7904

## bus_geodata
| x | y | coords
0 | 2743704.6085 | 1229739.9334
1 | 2743677.8695 | 1229730.2082
2 | 2743717.2287 | 1229744.639
3 | 2743660.5929 | 1229725.2394
4 | 2743751.5983 | 1229745.6483
5 | 2743744.7103 | 1229777.2936
6 | 2743642.65 | 1229723.8589
7 | 2743782.9776 | 1229748.4241
8 | 2743746.0199 | 1229734.5465
9 | 2743759.0745 | 1229786.2427
10 | 2743626.0616 | 1229725.8916
11 | 2743830.3984 | 1229726.358
12 | 2743748.1344 | 1229726.5425
13 | 2743770.5262 | 1229821.8331
14 | 2743794.4514 | 1229778.3043
15 | 2743610.9505 | 1229734.1514
16 | 2743761.1992 | 1229670.6779
17 | 2743824.23 | 1229830.457
18 | 2743837.1514 | 1229771.2127
19 | 2743560.5972 | 1229773.2703
20 | 2743527.5842 | 1229775.0974
21 | 2743507.9263 | 1229782.5383
22 | 2743636.141 | 1229747.8247
23 | 2743461.586 | 1229808.3677
24 | 2743652.159 | 1229756.5191
25 | 2743413.3984 | 1229835.0735
26 | 2743662.1379 | 1229767.7729
27 | 2743428.6887 | 1229705.6863
28 | 2743659.4584 | 1229773.0271
29 | 2743868.1919 | 1229766.712
30 | 2743810.7794 | 1229845.5412
31 | 2743763.9935 | 1229875.1362
32 | 2743400.8597 | 1229489.6091
33 | 2743448.6968 | 1229483.5819
34 | 2743364.6783 | 1229485.2899
35 | 2743475.6988 | 1229476.1862
36 | 2743322.5951 | 1229478.1685
37 | 2743526.2673 | 1229635.3172
38 | 2743639.0415 | 1229633.6967
39 | 2743501.594 | 1229470.1012
40 | 2743477.7329 | 1229426.9572
41 | 2743515.2357 | 1229468.8959
42 | 2743464.7145 | 1229420.4121
43 | 2743537.1364 | 1229469.6825
44 | 2743649.1294 | 1229793.2812
45 | 2743653.6949 | 1229795.0785
46 | 2743639.855 | 1229483.9367
47 | 2743621.6026 | 1229481.1442
48 | 2743668.5875 | 1229488.3326
49 | 2743610.5271 | 1229479.4498
50 | 2743625.2144 | 1229622.8309
51 | 2743606.6249 | 1229573.8055
52 | 2743610.5723 | 1229483.8547
53 | 2743597.1054 | 1229477.5377
54 | 2743538.5963 | 1229474.491
55 | 2743631.5476 | 1229486.9736
56 | 2743613.6386 | 1229521.9402
57 | 2743555.7003 | 1229471.944
58 | 2743678.1361 | 1229632.4065
59 | 2743693.9914 | 1229638.6951
60 | 2743511.7594 | 1229474.0054
61 | 2743660.5021 | 1229491.3246
62 | 2743601.8835 | 1229524.7038
63 | 2743679.422 | 1229805.2063
64 | 2743681.1937 | 1229805.9037
65 | 2743685.5787 | 1229807.6299
66 | 2743640.77 | 1229633.7883
67 | 2743746.4465 | 1229640.9202
68 | 2743425.0884 | 1229348.2039
69 | 2743408.7768 | 1229348.5331
70 | 2743432.8549 | 1229366.0593
71 | 2743394.4519 | 1229321.4973
72 | 2743547.4078 | 1229381.1245
73 | 2743397.0981 | 1229388.2561
74 | 2743437.8257 | 1229380.0836
75 | 2743397.518 | 1229408.0252
76 | 2743451.2221 | 1229398.7696
77 | 2743384.4903 | 1229492.7201
78 | 2743421.4012 | 1229410.76
79 | 2743591.631 | 1229525.3844
80 | 2743585.3516 | 1229526.3394
81 | 2743578.2515 | 1229552.3056
82 | 2743583.2446 | 1229574.0412
83 | 2743596.6612 | 1229574.7904
84 | 2743612.4426 | 1229570.4874
85 | 2743639.0415 | 1229633.6967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1