## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3359-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3359-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3359-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3359-5_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3359-5_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3359-5_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3359-5_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3359-5_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3359-5_0_2_node_114 | 0.4 | n |  | TRUE
9 | bus_LV_3359-5_0_2_node_112 | 0.4 | n |  | TRUE
10 | bus_LV_3359-5_0_2_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_3359-5_0_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_3359-5_0_2_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_3359-5_0_2_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_3359-5_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_3359-5_0_2_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_3359-5_0_2_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_3359-5_0_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_3359-5_0_2_node_99 | 0.4 | n |  | TRUE
19 | bus_LV_3359-5_0_2_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_3359-5_0_2_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_3359-5_0_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_3359-5_0_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_3359-5_0_2_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_3359-5_0_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_3359-5_0_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_3359-5_0_2_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_3359-5_0_2_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_3359-5_0_2_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_3359-5_0_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_3359-5_0_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_3359-5_0_2_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_3359-5_0_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_3359-5_0_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_3359-5_0_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_3359-5_0_2_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_3359-5_0_2_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_3359-5_0_2_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_3359-5_0_2_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_3359-5_0_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_3359-5_0_2_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_3359-5_0_2_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_3359-5_0_2_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_3359-5_0_2_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_3359-5_0_2_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_3359-5_0_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_3359-5_0_2_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_3359-5_0_2_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_3359-5_0_2_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_3359-5_0_2_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_3359-5_0_2_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_3359-5_0_2_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_3359-5_0_2_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_3359-5_0_2_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_3359-5_0_2_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_3359-5_0_2_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_3359-5_0_2_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_3359-5_0_2_node_115 | 0.4 | n |  | TRUE
58 | bus_LV_3359-5_0_2_node_111 | 0.4 | n |  | TRUE
59 | bus_LV_3359-5_0_2_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_3359-5_0_2_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_3359-5_0_2_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_3359-5_0_2_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_3359-5_0_2_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_3359-5_0_2_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_3359-5_0_2_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_3359-5_0_2_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_3359-5_0_2_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_3359-5_0_2_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_3359-5_0_2_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_3359-5_0_2_node_122 | 0.4 | n |  | TRUE
71 | bus_LV_3359-5_0_2_node_104 | 0.4 | n |  | TRUE
72 | bus_LV_3359-5_0_2_node_106 | 0.4 | n |  | TRUE
73 | bus_LV_3359-5_0_2_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_3359-5_0_2_node_123 | 0.4 | n |  | TRUE
75 | bus_LV_3359-5_0_2_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_3359-5_0_2_node_124 | 0.4 | n |  | TRUE
77 | bus_LV_3359-5_0_2_node_116 | 0.4 | n |  | TRUE
78 | bus_LV_3359-5_0_2_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_3359-5_0_2_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_3359-5_0_2_node_119 | 0.4 | n |  | TRUE
81 | bus_LV_3359-5_0_2_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_3359-5_0_2_node_121 | 0.4 | n |  | TRUE
83 | bus_LV_3359-5_0_2_node_125 | 0.4 | n |  | TRUE
84 | bus_LV_3359-5_0_2_node_126 | 0.4 | n |  | TRUE
85 | bus_MV_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3359-5_0_2_load_0 | 0 | 0.00019681 | 4.9326e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3359-5_0_2_load_1 | 1 | 0.00089858 | 0.00022521 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3359-5_0_2_load_2 | 2 | 0.00040482 | 0.00010146 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3359-5_0_2_load_6 | 3 | 0.00033805 | 8.4722e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3359-5_0_2_load_3 | 4 | 0.00010658 | 2.6711e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3359-5_0_2_load_5 | 6 | 0.00014863 | 3.7249e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3359-5_0_2_load_114 | 8 | 0.00016806 | 4.212e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3359-5_0_2_load_112 | 9 | 0.0002625 | 6.5788e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3359-5_0_2_load_42 | 10 | 0.0011079 | 0.00027767 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3359-5_0_2_load_43 | 11 | 0.0011951 | 0.00029951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3359-5_0_2_load_45 | 13 | 0.00073664 | 0.00018462 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3359-5_0_2_load_46 | 14 | 0.0024894 | 0.00062391 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3359-5_0_2_load_47 | 15 | 0.0010679 | 0.00026765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3359-5_0_2_load_48 | 16 | 0.00071307 | 0.00017871 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3359-5_0_2_load_54 | 17 | 0.00063965 | 0.00016031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3359-5_0_2_load_52 | 19 | 0.00075394 | 0.00018896 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3359-5_0_2_load_49 | 21 | 0.0012195 | 0.00030563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3359-5_0_2_load_50 | 22 | 0.00049068 | 0.00012298 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3359-5_0_2_load_51 | 23 | 0.00094402 | 0.00023659 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3359-5_0_2_load_53 | 24 | 0.00075128 | 0.00018829 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3359-5_0_2_load_55 | 25 | 0.00054535 | 0.00013668 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3359-5_0_2_load_63 | 26 | 0.00095839 | 0.0002402 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3359-5_0_2_load_64 | 27 | 0.00065249 | 0.00016353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3359-5_0_2_load_56 | 28 | 0.0018943 | 0.00047476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3359-5_0_2_load_57 | 29 | 0.0003986 | 9.9898e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3359-5_0_2_load_58 | 30 | 0.00071765 | 0.00017986 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3359-5_0_2_load_59 | 31 | 0.0003958 | 9.9198e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3359-5_0_2_load_60 | 32 | 0.0010804 | 0.00027078 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3359-5_0_2_load_61 | 33 | 0.00025332 | 6.3488e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3359-5_0_2_load_62 | 34 | 0.0016396 | 0.00041092 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3359-5_0_2_load_69 | 35 | 0.0022426 | 0.00056205 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3359-5_0_2_load_65 | 37 | 0.001097 | 0.00027494 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3359-5_0_2_load_67 | 38 | 0.00092486 | 0.00023179 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3359-5_0_2_load_89 | 39 | 0.00036124 | 9.0535e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3359-5_0_2_load_86 | 40 | 0.00053726 | 0.00013465 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3359-5_0_2_load_81 | 41 | 0.00022236 | 5.5729e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3359-5_0_2_load_78 | 42 | 0.00062333 | 0.00015622 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3359-5_0_2_load_92 | 43 | 0.0017429 | 0.0004368 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3359-5_0_2_load_73 | 45 | 0.001154 | 0.00028923 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3359-5_0_2_load_75 | 47 | 0.0010287 | 0.00025781 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3359-5_0_2_load_77 | 48 | 0.00051562 | 0.00012923 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3359-5_0_2_load_76 | 49 | 0.0032495 | 0.00081441 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3359-5_0_2_load_79 | 51 | 0.00057583 | 0.00014432 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3359-5_0_2_load_107 | 52 | 0.00037442 | 9.3837e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3359-5_0_2_load_94 | 56 | 0.00040537 | 0.00010159 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3359-5_0_2_load_115 | 57 | 0.00016986 | 4.2572e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3359-5_0_2_load_110 | 59 | 0.00018657 | 4.6759e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3359-5_0_2_load_82 | 60 | 0.00064049 | 0.00016052 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3359-5_0_2_load_83 | 61 | 0.0020525 | 0.00051442 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3359-5_0_2_load_84 | 62 | 0.00096321 | 0.0002414 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3359-5_0_2_load_87 | 64 | 0.0003652 | 9.1528e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3359-5_0_2_load_93 | 65 | 0.0014943 | 0.0003745 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3359-5_0_2_load_90 | 66 | 0.0010043 | 0.00025169 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3359-5_0_2_load_95 | 67 | 0.00076052 | 0.00019061 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3359-5_0_2_load_96 | 68 | 0.0012796 | 0.0003207 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3359-5_0_2_load_97 | 69 | 0.0026986 | 0.00067632 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3359-5_0_2_load_122 | 70 | 0.0012931 | 0.00032408 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3359-5_0_2_load_108 | 73 | 0.00038948 | 9.7614e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3359-5_0_2_load_123 | 74 | 0.00030212 | 7.5718e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3359-5_0_2_load_109 | 75 | 0.00022904 | 5.7403e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3359-5_0_2_load_124 | 76 | 0.00060778 | 0.00015232 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3359-5_0_2_load_116 | 77 | 0.00043593 | 0.00010925 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3359-5_0_2_load_117 | 78 | 0.00038872 | 9.7421e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3359-5_0_2_load_119 | 80 | 0.00046624 | 0.00011685 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3359-5_0_2_load_120 | 81 | 0.00054247 | 0.00013596 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3359-5_0_2_load_121 | 82 | 0.00049311 | 0.00012358 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3359-5_0_2_load_125 | 83 | 0.00032884 | 8.2414e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3359-5_0_2_load_126 | 84 | 0.00048226 | 0.00012087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3359-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3359-5_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.047735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3359-5_0_2_line_2 | NAYY 4x150 SE | 2 | 4 | 0.094354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3359-5_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.18053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3359-5_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.043668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3359-5_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.056083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3359-5_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.11455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3359-5_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.088176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3359-5_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0033119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3359-5_0_2_line_9 | NAYY 4x150 SE | 9 | 58 | 0.0075262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3359-5_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0010264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3359-5_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.048756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3359-5_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.00017665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3359-5_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.067843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3359-5_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.080122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3359-5_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.017231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3359-5_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.016082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3359-5_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.072354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3359-5_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.066772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3359-5_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.049882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3359-5_0_2_line_20 | NAYY 4x150 SE | 19 | 22 | 0.0066859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3359-5_0_2_line_21 | NAYY 4x150 SE | 20 | 68 | 0.031035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3359-5_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.014382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3359-5_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0085527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3359-5_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.009655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3359-5_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.013396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3359-5_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0060315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3359-5_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.027014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3359-5_0_2_line_28 | NAYY 4x150 SE | 27 | 37 | 0.015499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3359-5_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.023604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3359-5_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.018734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3359-5_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.021714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3359-5_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0051003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3359-5_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.018857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3359-5_0_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.036597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3359-5_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0067376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3359-5_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.028542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3359-5_0_2_line_37 | NAYY 4x150 SE | 36 | 39 | 0.054445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3359-5_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.008555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3359-5_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.02439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3359-5_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.016561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3359-5_0_2_line_41 | NAYY 4x150 SE | 40 | 62 | 0.029243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3359-5_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.020335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3359-5_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.028316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3359-5_0_2_line_44 | NAYY 4x150 SE | 42 | 46 | 0.0083925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3359-5_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.069757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3359-5_0_2_line_46 | NAYY 4x150 SE | 44 | 66 | 0.043374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3359-5_0_2_line_47 | NAYY 4x150 SE | 44 | 63 | 0.058813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3359-5_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.045657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3359-5_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.14243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3359-5_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.043194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3359-5_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.098168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3359-5_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.031021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3359-5_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.038664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3359-5_0_2_line_54 | NAYY 4x150 SE | 49 | 52 | 0.19206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3359-5_0_2_line_55 | NAYY 4x150 SE | 50 | 56 | 0.047431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3359-5_0_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.0049855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3359-5_0_2_line_57 | NAYY 4x150 SE | 52 | 54 | 0.01384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3359-5_0_2_line_58 | NAYY 4x150 SE | 52 | 55 | 0.1059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3359-5_0_2_line_59 | NAYY 4x150 SE | 53 | 57 | 0.06586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3359-5_0_2_line_60 | NAYY 4x150 SE | 53 | 58 | 0.15865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3359-5_0_2_line_61 | NAYY 4x150 SE | 54 | 74 | 0.011256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3359-5_0_2_line_62 | NAYY 4x150 SE | 55 | 71 | 0.008441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3359-5_0_2_line_63 | NAYY 4x150 SE | 57 | 70 | 0.0024374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3359-5_0_2_line_64 | NAYY 4x150 SE | 58 | 59 | 0.010236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3359-5_0_2_line_65 | NAYY 4x150 SE | 59 | 75 | 0.005287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3359-5_0_2_line_66 | NAYY 4x150 SE | 60 | 61 | 0.055552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3359-5_0_2_line_67 | NAYY 4x150 SE | 60 | 62 | 0.016491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3359-5_0_2_line_68 | NAYY 4x150 SE | 61 | 63 | 0.024216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3359-5_0_2_line_69 | NAYY 4x150 SE | 63 | 64 | 0.01149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3359-5_0_2_line_70 | NAYY 4x150 SE | 64 | 65 | 0.049412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3359-5_0_2_line_71 | NAYY 4x150 SE | 67 | 68 | 0.063758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3359-5_0_2_line_72 | NAYY 4x150 SE | 67 | 69 | 0.0099572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3359-5_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.10457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3359-5_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.074689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3359-5_0_2_line_75 | NAYY 4x150 SE | 74 | 76 | 0.028652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3359-5_0_2_line_76 | NAYY 4x150 SE | 76 | 83 | 0.020922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3359-5_0_2_line_77 | NAYY 4x150 SE | 76 | 81 | 0.04877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3359-5_0_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.017155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3359-5_0_2_line_79 | NAYY 4x150 SE | 77 | 79 | 0.0092742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3359-5_0_2_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0019494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3359-5_0_2_line_81 | NAYY 4x150 SE | 79 | 81 | 0.010713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3359-5_0_2_line_82 | NAYY 4x150 SE | 79 | 82 | 0.019327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3359-5_0_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.073455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3359-5_0_2_trafo_89 | 0.25 MVA 20/0.4 kV | 85 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2744294.0696 | 1228456.0153 | 2744293.4272 | 1228454.839 | 2744285.1009 | 1228450.5778 | 2744280.7695 | 1228449.7803
1 | 2744235.4865 | 1228456.4353 | 2744235.4865 | 1228456.4353 | 2744244.7108 | 1228450.5649 | 2744257.0099 | 1228451.375 | 2744269.5162 | 1228447.7084 | 2744280.7695 | 1228449.7803
2 | 2744235.4865 | 1228456.4353 | 2744219.9139 | 1228472.1272 | 2744204.5737 | 1228493.552 | 2744201.6454 | 1228499.5752 | 2744192.7465 | 1228507.6666 | 2744171.622 | 1228522.8569 | 2744170.6018 | 1228523.3921
3 | 2744023.8631 | 1228628.5575 | 2744170.6018 | 1228523.3921
4 | 2743983.5198 | 1228611.8461 | 2744023.8631 | 1228628.5575
5 | 2743983.5198 | 1228611.8461 | 2743933.7879 | 1228599.1536 | 2743929.2178 | 1228597.8341
6 | 2743876.4375 | 1228673.5096 | 2743885.0268 | 1228643.4241 | 2743909.4162 | 1228620.7608 | 2743911.1125 | 1228604.8656 | 2743909.0661 | 1228592.0159 | 2743929.2178 | 1228597.8341
7 | 2743876.4375 | 1228673.5096 | 2743865.2893 | 1228674.9634 | 2743859.4779 | 1228680.4833 | 2743854.8731 | 1228692.2156 | 2743842.8365 | 1228709.7066 | 2743828.4988 | 1228721.7372 | 2743822.7315 | 1228737.053
8 | 2743821.5644 | 1228740.1524 | 2743821.5644 | 1228740.1524 | 2743822.7315 | 1228737.053
9 | 2743815.7189 | 1228744.8931 | 2743821.5644 | 1228740.1524
10 | 2743883.2928 | 1228346.5894 | 2743882.7139 | 1228347.437
11 | 2743910.7907 | 1228306.3281 | 2743883.2928 | 1228346.5894
12 | 2743882.7139 | 1228347.437 | 2743882.6143 | 1228347.5829 | 2743882.6143 | 1228347.5829
13 | 2743910.7907 | 1228306.3281 | 2743900.1742 | 1228302.7015 | 2743844.2544 | 1228293.7972
14 | 2743882.6143 | 1228347.5829 | 2743870.3572 | 1228360.3755 | 2743857.0796 | 1228368.3503 | 2743845.121 | 1228371.9421 | 2743830.3213 | 1228373.2743 | 2743812.2902 | 1228372.8046 | 2743810.7757 | 1228372.5655
15 | 2743827.2374 | 1228291.0875 | 2743844.2544 | 1228293.7972
16 | 2743810.7757 | 1228372.5655 | 2743794.8903 | 1228370.0578
17 | 2743762.5303 | 1228259.6245 | 2743800.6244 | 1228281.5757 | 2743821.4386 | 1228290.1642 | 2743827.2374 | 1228291.0875
18 | 2743729.6202 | 1228356.2521 | 2743732.5458 | 1228356.5631 | 2743776.6825 | 1228367.1834 | 2743794.8903 | 1228370.0578
19 | 2743762.5303 | 1228259.6245 | 2743726.3568 | 1228240.378 | 2743717.9855 | 1228237.0061
20 | 2743722.9718 | 1228355.5454 | 2743729.6202 | 1228356.2521
21 | 2743717.9855 | 1228237.0061 | 2743704.1712 | 1228231.4341 | 2743689.2294 | 1228225.3339
22 | 2743708.6704 | 1228354.0251 | 2743722.9718 | 1228355.5454
23 | 2743708.6704 | 1228354.0251 | 2743700.1656 | 1228353.1211
24 | 2743690.5647 | 1228352.1005 | 2743700.1656 | 1228353.1211
25 | 2743677.5747 | 1228348.8264 | 2743690.5647 | 1228352.1005 | 2743690.5647 | 1228352.1005
26 | 2743677.5747 | 1228348.8264 | 2743671.7261 | 1228347.3523
27 | 2743645.5337 | 1228347.3817 | 2743651.375 | 1228344.7476 | 2743664.1622 | 1228345.4459 | 2743671.7261 | 1228347.3523
28 | 2743645.5337 | 1228347.3817 | 2743635.3181 | 1228351.9884 | 2743631.7459 | 1228354.3686
29 | 2743510.0802 | 1228389.0726 | 2743486.8283 | 1228393.1346
30 | 2743510.0802 | 1228389.0726 | 2743528.5343 | 1228385.8488
31 | 2743486.8283 | 1228393.1346 | 2743465.4381 | 1228396.8713
32 | 2743533.5585 | 1228384.9711 | 2743528.5343 | 1228385.8488
33 | 2743465.4381 | 1228396.8713 | 2743446.8621 | 1228400.1165
34 | 2743533.5585 | 1228384.9711 | 2743543.563 | 1228383.2234 | 2743569.5374 | 1228378.2764
35 | 2743569.5374 | 1228378.2764 | 2743576.156 | 1228377.0159
36 | 2743604.3289 | 1228372.6362 | 2743594.3456 | 1228373.5516 | 2743576.156 | 1228377.0159
37 | 2743604.3289 | 1228372.6362 | 2743569.3547 | 1228414.3622
38 | 2743604.3289 | 1228372.6362 | 2743611.4483 | 1228367.8926
39 | 2743611.4483 | 1228367.8926 | 2743631.7459 | 1228354.3686
40 | 2743558.716 | 1228427.0547 | 2743569.3547 | 1228414.3622
41 | 2743558.716 | 1228427.0547 | 2743549.5013 | 1228438.0482 | 2743538.6783 | 1228448.2866
42 | 2743353.9136 | 1228608.7078 | 2743347.7337 | 1228604.2511 | 2743338.5925 | 1228595.4119
43 | 2743364.9359 | 1228582.6253 | 2743353.9136 | 1228608.7078
44 | 2743360.7207 | 1228613.6167 | 2743353.9136 | 1228608.7078
45 | 2743419.3696 | 1228545.8264 | 2743404.2953 | 1228567.6711 | 2743394.6843 | 1228575.4796 | 2743380.9723 | 1228580.4535 | 2743367.9002 | 1228582.7849 | 2743364.9359 | 1228582.6253
46 | 2743419.3696 | 1228545.8264 | 2743395.5392 | 1228529.0483 | 2743381.7288 | 1228525.621
47 | 2743419.3696 | 1228545.8264 | 2743430.7526 | 1228529.9313 | 2743443.1414 | 1228517.597 | 2743460.3046 | 1228504.0657
48 | 2743360.7207 | 1228613.6167 | 2743379.7908 | 1228623.7742 | 2743400.3724 | 1228632.2333 | 2743402.1277 | 1228632.6251
49 | 2743402.1277 | 1228632.6251 | 2743543.2535 | 1228651.8234
50 | 2743360.7207 | 1228613.6167 | 2743358.5656 | 1228624.7079 | 2743355.8886 | 1228644.5497 | 2743355.1264 | 1228656.399
51 | 2743543.2535 | 1228651.8234 | 2743574.9803 | 1228653.942 | 2743641.3026 | 1228656.4621
52 | 2743353.4685 | 1228687.3735 | 2743354.1058 | 1228672.2645 | 2743355.1264 | 1228656.399
53 | 2743641.3026 | 1228656.4621 | 2743652.1545 | 1228656.8744 | 2743679.9201 | 1228655.405
54 | 2743613.4885 | 1228846.4941 | 2743641.3026 | 1228656.4621
55 | 2743353.4685 | 1228687.3735 | 2743356.841 | 1228697.4636 | 2743385.9411 | 1228719.9766
56 | 2743684.8986 | 1228655.1415 | 2743679.9201 | 1228655.405
57 | 2743625.951 | 1228852.514 | 2743613.4885 | 1228846.4941
58 | 2743517.6774 | 1228812.5543 | 2743522.1381 | 1228820.569 | 2743529.2706 | 1228822.7875 | 2743556.3694 | 1228822.1854 | 2743585.3327 | 1228832.8938 | 2743613.4885 | 1228846.4941
59 | 2743684.8986 | 1228655.1415 | 2743685.2224 | 1228648.0208 | 2743687.3812 | 1228634.6056 | 2743692.3884 | 1228618.4457 | 2743700.3561 | 1228591.3671
60 | 2743815.7189 | 1228744.8931 | 2743684.8986 | 1228655.1415
61 | 2743625.951 | 1228852.514 | 2743634.967 | 1228859.2531
62 | 2743509.2429 | 1228811.828 | 2743517.6774 | 1228812.5543
63 | 2743701.0441 | 1228589.0289 | 2743700.3561 | 1228591.3671
64 | 2743815.7189 | 1228744.8931 | 2743815.6017 | 1228751.9298 | 2743814.6389 | 1228754.9793
65 | 2743813.0472 | 1228760.021 | 2743814.6389 | 1228754.9793
66 | 2743525.7635 | 1228458.4825 | 2743504.6307 | 1228473.5302 | 2743480.2472 | 1228490.3276
67 | 2743525.7635 | 1228458.4825 | 2743534.4042 | 1228452.3298 | 2743538.6783 | 1228448.2866
68 | 2743460.3046 | 1228504.0657 | 2743480.2472 | 1228490.3276
69 | 2743460.3046 | 1228504.0657 | 2743452.839 | 1228495.3322
70 | 2743412.9269 | 1228469.4484 | 2743430.4059 | 1228473.3065 | 2743445.0067 | 1228486.1699 | 2743452.839 | 1228495.3322
71 | 2743649.0394 | 1228177.6012 | 2743658.6431 | 1228196.4704 | 2743668.491 | 1228208.6968 | 2743683.9325 | 1228223.1713 | 2743689.2294 | 1228225.3339
72 | 2743644.5229 | 1228168.7273 | 2743649.0394 | 1228177.6012
73 | 2743509.2429 | 1228811.828 | 2743494.1017 | 1228814.1648 | 2743417.1862 | 1228810.6512 | 2743404.7628 | 1228812.5088
74 | 2743438.6391 | 1228865.8948 | 2743420.4039 | 1228862.6412 | 2743415.8625 | 1228861.1081 | 2743412.6017 | 1228857.3929 | 2743409.6616 | 1228850.4381 | 2743408.818 | 1228832.9357 | 2743409.3028 | 1228826.3527 | 2743408.4592 | 1228819.8488 | 2743407.0222 | 1228815.9441 | 2743404.7628 | 1228812.5088
75 | 2743634.967 | 1228859.2531 | 2743657.9166 | 1228876.4069
76 | 2743674.6747 | 1228888.933 | 2743657.9166 | 1228876.4069
77 | 2743657.9166 | 1228876.4069 | 2743637.5752 | 1228920.7325
78 | 2743624.415 | 1228931.5336 | 2743623.6937 | 1228933.3751 | 2743617.8073 | 1228940.7617 | 2743612.0816 | 1228941.0323
79 | 2743627.7976 | 1228922.8983 | 2743624.415 | 1228931.5336
80 | 2743610.1344 | 1228941.1244 | 2743612.0816 | 1228941.0323
81 | 2743637.5752 | 1228920.7325 | 2743635.3216 | 1228923.0246 | 2743627.7976 | 1228922.8983
82 | 2743612.9138 | 1228910.5169 | 2743627.7976 | 1228922.8983
83 | 2743674.6747 | 1228888.933 | 2743745.4616 | 1228869.3146

## bus_geodata
| x | y | coords
0 | 2744294.0696 | 1228456.0153
1 | 2744280.7695 | 1228449.7803
2 | 2744235.4865 | 1228456.4353
3 | 2744023.8631 | 1228628.5575
4 | 2744170.6018 | 1228523.3921
5 | 2743983.5198 | 1228611.8461
6 | 2743929.2178 | 1228597.8341
7 | 2743876.4375 | 1228673.5096
8 | 2743822.7315 | 1228737.053
9 | 2743821.5644 | 1228740.1524
10 | 2743883.2928 | 1228346.5894
11 | 2743882.7139 | 1228347.437
12 | 2743910.7907 | 1228306.3281
13 | 2743882.6143 | 1228347.5829
14 | 2743844.2544 | 1228293.7972
15 | 2743810.7757 | 1228372.5655
16 | 2743827.2374 | 1228291.0875
17 | 2743794.8903 | 1228370.0578
18 | 2743762.5303 | 1228259.6245
19 | 2743729.6202 | 1228356.2521
20 | 2743717.9855 | 1228237.0061
21 | 2743708.6704 | 1228354.0251
22 | 2743722.9718 | 1228355.5454
23 | 2743700.1656 | 1228353.1211
24 | 2743690.5647 | 1228352.1005
25 | 2743677.5747 | 1228348.8264
26 | 2743671.7261 | 1228347.3523
27 | 2743645.5337 | 1228347.3817
28 | 2743510.0802 | 1228389.0726
29 | 2743486.8283 | 1228393.1346
30 | 2743528.5343 | 1228385.8488
31 | 2743465.4381 | 1228396.8713
32 | 2743533.5585 | 1228384.9711
33 | 2743446.8621 | 1228400.1165
34 | 2743569.5374 | 1228378.2764
35 | 2743576.156 | 1228377.0159
36 | 2743604.3289 | 1228372.6362
37 | 2743631.7459 | 1228354.3686
38 | 2743611.4483 | 1228367.8926
39 | 2743569.3547 | 1228414.3622
40 | 2743558.716 | 1228427.0547
41 | 2743338.5925 | 1228595.4119
42 | 2743353.9136 | 1228608.7078
43 | 2743364.9359 | 1228582.6253
44 | 2743419.3696 | 1228545.8264
45 | 2743402.1277 | 1228632.6251
46 | 2743360.7207 | 1228613.6167
47 | 2743543.2535 | 1228651.8234
48 | 2743355.1264 | 1228656.399
49 | 2743641.3026 | 1228656.4621
50 | 2743353.4685 | 1228687.3735
51 | 2743679.9201 | 1228655.405
52 | 2743613.4885 | 1228846.4941
53 | 2743684.8986 | 1228655.1415
54 | 2743625.951 | 1228852.514
55 | 2743517.6774 | 1228812.5543
56 | 2743385.9411 | 1228719.9766
57 | 2743700.3561 | 1228591.3671
58 | 2743815.7189 | 1228744.8931
59 | 2743814.6389 | 1228754.9793
60 | 2743525.7635 | 1228458.4825
61 | 2743480.2472 | 1228490.3276
62 | 2743538.6783 | 1228448.2866
63 | 2743460.3046 | 1228504.0657
64 | 2743452.839 | 1228495.3322
65 | 2743412.9269 | 1228469.4484
66 | 2743381.7288 | 1228525.621
67 | 2743649.0394 | 1228177.6012
68 | 2743689.2294 | 1228225.3339
69 | 2743644.5229 | 1228168.7273
70 | 2743701.0441 | 1228589.0289
71 | 2743509.2429 | 1228811.828
72 | 2743404.7628 | 1228812.5088
73 | 2743438.6391 | 1228865.8948
74 | 2743634.967 | 1228859.2531
75 | 2743813.0472 | 1228760.021
76 | 2743657.9166 | 1228876.4069
77 | 2743624.415 | 1228931.5336
78 | 2743612.0816 | 1228941.0323
79 | 2743627.7976 | 1228922.8983
80 | 2743610.1344 | 1228941.1244
81 | 2743637.5752 | 1228920.7325
82 | 2743612.9138 | 1228910.5169
83 | 2743674.6747 | 1228888.933
84 | 2743745.4616 | 1228869.3146
85 | 2743569.3547 | 1228414.3622

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1