## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3359-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3359-6_0_3_node_100 | 0.4 | n |  | TRUE
2 | bus_LV_3359-6_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3359-6_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3359-6_0_3_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_3359-6_0_3_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_3359-6_0_3_node_91 | 0.4 | n |  | TRUE
7 | bus_LV_3359-6_0_3_node_94 | 0.4 | n |  | TRUE
8 | bus_LV_3359-6_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3359-6_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3359-6_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3359-6_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3359-6_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3359-6_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3359-6_0_3_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_3359-6_0_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_3359-6_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3359-6_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_3359-6_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3359-6_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3359-6_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3359-6_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3359-6_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_3359-6_0_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_3359-6_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_3359-6_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_3359-6_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3359-6_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3359-6_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3359-6_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3359-6_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3359-6_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3359-6_0_3_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_3359-6_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3359-6_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_3359-6_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3359-6_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3359-6_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3359-6_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3359-6_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3359-6_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_3359-6_0_3_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_3359-6_0_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_3359-6_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_3359-6_0_3_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_3359-6_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3359-6_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3359-6_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3359-6_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3359-6_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3359-6_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_3359-6_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3359-6_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_3359-6_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3359-6_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_3359-6_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3359-6_0_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_3359-6_0_3_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_3359-6_0_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_3359-6_0_3_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_3359-6_0_3_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_3359-6_0_3_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_3359-6_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3359-6_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3359-6_0_3_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_3359-6_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_3359-6_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_3359-6_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_3359-6_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_3359-6_0_3_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_3359-6_0_3_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_3359-6_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_3359-6_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3359-6_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_3359-6_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_3359-6_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_3359-6_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_3359-6_0_3_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_3359-6_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3359-6_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_3359-6_0_3_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_3359-6_0_3_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_3359-6_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_3359-6_0_3_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_3359-6_0_3_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_3359-6_0_3_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3359-6_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_3359-6_0_3_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_3359-6_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_3359-6_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_3359-6_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_3359-6_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_3359-6_0_3_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_3359-6_0_3_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_3359-6_0_3_node_96 | 0.4 | n |  | TRUE
95 | bus_MV_38_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3359-6_0_3_load_0 | 0 | 0.0022529 | 0.00056463 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3359-6_0_3_load_100 | 1 | 0.0041586 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3359-6_0_3_load_1 | 2 | 0.0001463 | 3.6667e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3359-6_0_3_load_2 | 3 | 0.00012894 | 3.2315e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3359-6_0_3_load_88 | 4 | 0.0010238 | 0.00025659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3359-6_0_3_load_91 | 6 | 0.00011162 | 2.7975e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3359-6_0_3_load_4 | 8 | 0.0022056 | 0.00055277 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3359-6_0_3_load_5 | 9 | 0.0014406 | 0.00036105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3359-6_0_3_load_6 | 10 | 0.0016009 | 0.00040123 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3359-6_0_3_load_7 | 11 | 0.0068133 | 0.0017076 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3359-6_0_3_load_8 | 12 | 0.0015109 | 0.00037866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3359-6_0_3_load_74 | 14 | 0.0020911 | 0.00052409 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3359-6_0_3_load_70 | 15 | 0.0055261 | 0.001385 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3359-6_0_3_load_11 | 16 | 0.0035371 | 0.00088647 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3359-6_0_3_load_25 | 17 | 0.0016774 | 0.0004204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3359-6_0_3_load_9 | 18 | 0.0036145 | 0.00090589 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3359-6_0_3_load_13 | 20 | 0.0046518 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3359-6_0_3_load_14 | 21 | 0.0018569 | 0.00046537 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3359-6_0_3_load_33 | 22 | 0.0068781 | 0.0017238 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3359-6_0_3_load_75 | 23 | 0.0021904 | 0.00054897 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3359-6_0_3_load_47 | 24 | 0.0015705 | 0.00039361 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3359-6_0_3_load_34 | 25 | 0.0038124 | 0.00095547 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3359-6_0_3_load_15 | 26 | 0.0015616 | 0.00039138 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3359-6_0_3_load_16 | 27 | 0.0012491 | 0.00031305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3359-6_0_3_load_17 | 28 | 0.0012477 | 0.00031269 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3359-6_0_3_load_18 | 29 | 0.0019497 | 0.00048865 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3359-6_0_3_load_19 | 30 | 0.0020225 | 0.00050689 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3359-6_0_3_load_20 | 31 | 0.0014174 | 0.00035524 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3359-6_0_3_load_72 | 32 | 0.0017515 | 0.00043896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3359-6_0_3_load_21 | 33 | 0.002655 | 0.00066541 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3359-6_0_3_load_22 | 35 | 0.0026254 | 0.000658 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3359-6_0_3_load_23 | 36 | 0.0015096 | 0.00037835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3359-6_0_3_load_26 | 38 | 0.0016781 | 0.00042057 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3359-6_0_3_load_27 | 39 | 0.0051012 | 0.0012785 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3359-6_0_3_load_85 | 41 | 0.0034629 | 0.00086789 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3359-6_0_3_load_63 | 42 | 0.003361 | 0.00084234 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3359-6_0_3_load_38 | 43 | 0.0014402 | 0.00036096 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3359-6_0_3_load_86 | 44 | 0.0012084 | 0.00030284 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3359-6_0_3_load_28 | 45 | 0.0014429 | 0.00036161 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3359-6_0_3_load_29 | 46 | 0.0018805 | 0.00047129 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3359-6_0_3_load_30 | 47 | 0.0016419 | 0.0004115 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3359-6_0_3_load_32 | 49 | 0.0069232 | 0.0017351 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3359-6_0_3_load_51 | 50 | 0.0031044 | 0.00077803 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3359-6_0_3_load_49 | 51 | 0.0044871 | 0.0011246 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3359-6_0_3_load_52 | 52 | 0.0038249 | 0.00095862 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3359-6_0_3_load_50 | 54 | 0.0083197 | 0.0020851 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3359-6_0_3_load_35 | 55 | 0.0038169 | 0.00095661 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3359-6_0_3_load_77 | 57 | 0.0016828 | 0.00042176 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3359-6_0_3_load_78 | 58 | 0.0017417 | 0.00043652 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3359-6_0_3_load_36 | 59 | 0.0013601 | 0.00034087 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3359-6_0_3_load_37 | 60 | 0.0016976 | 0.00042547 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3359-6_0_3_load_39 | 61 | 0.0013763 | 0.00034493 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3359-6_0_3_load_56 | 62 | 0.0013196 | 0.00033072 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3359-6_0_3_load_41 | 65 | 0.0046363 | 0.001162 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3359-6_0_3_load_42 | 66 | 0.00074764 | 0.00018738 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3359-6_0_3_load_44 | 68 | 0.00067117 | 0.00016821 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3359-6_0_3_load_45 | 69 | 0.0015524 | 0.00038908 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3359-6_0_3_load_80 | 70 | 0.001161 | 0.00029098 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3359-6_0_3_load_48 | 71 | 0.00070815 | 0.00017748 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3359-6_0_3_load_58 | 72 | 0.0051667 | 0.0012949 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3359-6_0_3_load_59 | 73 | 0.0031096 | 0.00077934 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3359-6_0_3_load_53 | 74 | 0.0013005 | 0.00032594 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3359-6_0_3_load_55 | 75 | 0.0016243 | 0.00040709 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3359-6_0_3_load_84 | 77 | 0.0012351 | 0.00030954 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3359-6_0_3_load_62 | 78 | 0.0015112 | 0.00037874 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3359-6_0_3_load_61 | 79 | 0.00059893 | 0.00015011 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3359-6_0_3_load_60 | 80 | 0.0055869 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3359-6_0_3_load_64 | 81 | 0.0012696 | 0.00031819 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3359-6_0_3_load_65 | 82 | 0.0024169 | 0.00060574 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3359-6_0_3_load_69 | 85 | 0.00061299 | 0.00015363 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3359-6_0_3_load_73 | 86 | 0.00093592 | 0.00023456 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3359-6_0_3_load_99 | 87 | 0.0070974 | 0.0017788 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3359-6_0_3_load_79 | 88 | 0.0017172 | 0.00043036 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3359-6_0_3_load_92 | 89 | 0.00027077 | 6.7862e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3359-6_0_3_load_87 | 91 | 0.0028582 | 0.00071634 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3359-6_0_3_load_98 | 92 | 0.0028592 | 0.00071659 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3359-6_0_3_load_97 | 93 | 0.0028592 | 0.00071659 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3359-6_0_3_load_96 | 94 | 0.0028582 | 0.00071634 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3359-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.24186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3359-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3359-6_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3359-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.28439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3359-6_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3359-6_0_3_line_5 | NAYY 4x150 SE | 5 | 90 | 0.14168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3359-6_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.14469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3359-6_0_3_line_7 | NAYY 4x150 SE | 7 | 84 | 0.077901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3359-6_0_3_line_8 | NAYY 4x150 SE | 7 | 89 | 0.0066315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3359-6_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0095823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3359-6_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 2.4126e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3359-6_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.031827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3359-6_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.023512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3359-6_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.006019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3359-6_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0039976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3359-6_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.022134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3359-6_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.024103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3359-6_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.0055512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3359-6_0_3_line_18 | NAYY 4x150 SE | 15 | 24 | 0.032904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3359-6_0_3_line_19 | NAYY 4x150 SE | 17 | 36 | 0.02186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3359-6_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.017644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3359-6_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.032801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3359-6_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.024597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3359-6_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.017005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3359-6_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.12819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3359-6_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.025715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3359-6_0_3_line_26 | NAYY 4x150 SE | 24 | 33 | 0.025856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3359-6_0_3_line_27 | NAYY 4x150 SE | 25 | 55 | 0.014209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3359-6_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.015017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3359-6_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.010508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3359-6_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0043313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3359-6_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.011661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3359-6_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.019337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3359-6_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.011808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3359-6_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.00048175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3359-6_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.04139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3359-6_0_3_line_36 | NAYY 4x150 SE | 34 | 86 | 0.031108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3359-6_0_3_line_37 | NAYY 4x150 SE | 34 | 82 | 0.020308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3359-6_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0062973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3359-6_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3359-6_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.016209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3359-6_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.017686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3359-6_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.03038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3359-6_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.012072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3359-6_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.014373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3359-6_0_3_line_45 | NAYY 4x150 SE | 40 | 43 | 0.01235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3359-6_0_3_line_46 | NAYY 4x150 SE | 41 | 44 | 0.015385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3359-6_0_3_line_47 | NAYY 4x150 SE | 42 | 64 | 0.033808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3359-6_0_3_line_48 | NAYY 4x150 SE | 43 | 59 | 0.023515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3359-6_0_3_line_49 | NAYY 4x150 SE | 44 | 91 | 0.0017361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3359-6_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.022043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3359-6_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.028743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3359-6_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.046353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3359-6_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.0018665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3359-6_0_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.02641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3359-6_0_3_line_55 | NAYY 4x150 SE | 48 | 51 | 0.014338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3359-6_0_3_line_56 | NAYY 4x150 SE | 49 | 52 | 0.013196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3359-6_0_3_line_57 | NAYY 4x150 SE | 50 | 53 | 0.019537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3359-6_0_3_line_58 | NAYY 4x150 SE | 51 | 54 | 0.030702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3359-6_0_3_line_59 | NAYY 4x150 SE | 53 | 72 | 0.0044696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3359-6_0_3_line_60 | NAYY 4x150 SE | 53 | 67 | 0.005307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3359-6_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.018516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3359-6_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.033522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3359-6_0_3_line_63 | NAYY 4x150 SE | 56 | 58 | 0.0028883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3359-6_0_3_line_64 | NAYY 4x150 SE | 57 | 88 | 0.022654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3359-6_0_3_line_65 | NAYY 4x150 SE | 58 | 90 | 0.028619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3359-6_0_3_line_66 | NAYY 4x150 SE | 59 | 60 | 0.022138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3359-6_0_3_line_67 | NAYY 4x150 SE | 60 | 61 | 0.021719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3359-6_0_3_line_68 | NAYY 4x150 SE | 61 | 62 | 0.022662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3359-6_0_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.01235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3359-6_0_3_line_70 | NAYY 4x150 SE | 63 | 76 | 0.055137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3359-6_0_3_line_71 | NAYY 4x150 SE | 63 | 74 | 0.010256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3359-6_0_3_line_72 | NAYY 4x150 SE | 64 | 80 | 0.015584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_3359-6_0_3_line_73 | NAYY 4x150 SE | 65 | 66 | 0.040546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3359-6_0_3_line_74 | NAYY 4x150 SE | 65 | 67 | 0.013265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3359-6_0_3_line_75 | NAYY 4x150 SE | 66 | 68 | 0.0032454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3359-6_0_3_line_76 | NAYY 4x150 SE | 67 | 69 | 0.046429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3359-6_0_3_line_77 | NAYY 4x150 SE | 68 | 70 | 0.0092897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3359-6_0_3_line_78 | NAYY 4x150 SE | 69 | 71 | 0.058841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3359-6_0_3_line_79 | NAYY 4x150 SE | 72 | 73 | 0.015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_3359-6_0_3_line_80 | NAYY 4x150 SE | 73 | 80 | 0.0050069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_3359-6_0_3_line_81 | NAYY 4x150 SE | 74 | 75 | 0.020106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3359-6_0_3_line_82 | NAYY 4x150 SE | 76 | 77 | 0.012717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3359-6_0_3_line_83 | NAYY 4x150 SE | 76 | 78 | 0.02023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3359-6_0_3_line_84 | NAYY 4x150 SE | 78 | 79 | 0.045094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3359-6_0_3_line_85 | NAYY 4x150 SE | 81 | 82 | 0.02823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3359-6_0_3_line_86 | NAYY 4x150 SE | 81 | 83 | 0.02565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3359-6_0_3_line_87 | NAYY 4x150 SE | 83 | 84 | 0.02252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3359-6_0_3_line_88 | NAYY 4x150 SE | 83 | 85 | 0.044007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3359-6_0_3_line_89 | NAYY 4x150 SE | 84 | 87 | 0.01859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3359-6_0_3_line_90 | NAYY 4x150 SE | 86 | 88 | 0.036068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3359-6_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.0010384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3359-6_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.020964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3359-6_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.00088724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3359-6_0_3_trafo_17 | 0.25 MVA 20/0.4 kV | 95 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2744770.0382 | 1229069.5078 | 2744722.9898 | 1228832.2636
1 | 2744618.0808 | 1229061.9063 | 2744770.0382 | 1229069.5078
2 | 2744509.7748 | 1229015.056 | 2744618.0808 | 1229061.9063
3 | 2744563.0724 | 1229340.9292 | 2744618.0808 | 1229061.9063
4 | 2744563.9209 | 1229355.5921 | 2744563.1737 | 1229342.6848 | 2744563.0724 | 1229340.9292
5 | 2744558.7938 | 1229497.1818 | 2744563.9209 | 1229355.5921
6 | 2744356.2629 | 1229439.7786 | 2744398.3926 | 1229301.3537
7 | 2744337.6671 | 1229515.4276 | 2744356.2629 | 1229439.7786
8 | 2744356.2629 | 1229439.7786 | 2744349.9067 | 1229437.8878
9 | 2744532.5998 | 1229629.1668 | 2744523.0441 | 1229628.4537
10 | 2744523.02 | 1229628.4519 | 2744523.0441 | 1229628.4537
11 | 2744532.5998 | 1229629.1668 | 2744564.3389 | 1229631.5353
12 | 2744523.02 | 1229628.4519 | 2744499.5733 | 1229626.7021
13 | 2744569.5616 | 1229629.383 | 2744566.5569 | 1229631.7009 | 2744564.3389 | 1229631.5353
14 | 2744495.5869 | 1229626.4046 | 2744499.5733 | 1229626.7021
15 | 2744569.5616 | 1229629.383 | 2744573.1147 | 1229626.6447 | 2744573.8018 | 1229621.4568 | 2744569.9097 | 1229616.9471 | 2744564.1311 | 1229614.0641
16 | 2744569.5616 | 1229629.383 | 2744592.86 | 1229635.5589
17 | 2744495.5869 | 1229626.4046 | 2744490.0511 | 1229625.9915
18 | 2744564.1311 | 1229614.0641 | 2744534.6876 | 1229599.375
19 | 2744490.0511 | 1229625.9915 | 2744468.2521 | 1229624.3647
20 | 2744625.5858 | 1229553.1663 | 2744621.4778 | 1229570.3251
21 | 2744625.5858 | 1229553.1663 | 2744596.1374 | 1229538.721
22 | 2744625.5858 | 1229553.1663 | 2744644.6229 | 1229560.4246 | 2744648.7679 | 1229561.2329
23 | 2744580.8707 | 1229531.2322 | 2744596.1374 | 1229538.721
24 | 2744648.7679 | 1229561.2329 | 2744775.7268 | 1229578.9288
25 | 2744580.8707 | 1229531.2322 | 2744557.7833 | 1229519.9072
26 | 2744511.551 | 1229587.8322 | 2744534.6876 | 1229599.375
27 | 2744557.7833 | 1229519.9072 | 2744545.0261 | 1229513.6494
28 | 2744489.941 | 1229577.051 | 2744476.5036 | 1229570.3472
29 | 2744467.1008 | 1229565.6562 | 2744476.5036 | 1229570.3472
30 | 2744489.941 | 1229577.051 | 2744493.8167 | 1229578.9846
31 | 2744456.6664 | 1229560.4505 | 2744467.1008 | 1229565.6562
32 | 2744511.1199 | 1229587.6171 | 2744493.8167 | 1229578.9846
33 | 2744446.1005 | 1229555.1792 | 2744456.6664 | 1229560.4505
34 | 2744511.551 | 1229587.8322 | 2744511.1199 | 1229587.6171
35 | 2744409.0638 | 1229536.7018 | 2744446.1005 | 1229555.1792
36 | 2744409.0638 | 1229536.7018 | 2744439.1598 | 1229528.8318
37 | 2744389.5215 | 1229542.4213 | 2744409.0638 | 1229536.7018
38 | 2744468.2521 | 1229624.3647 | 2744461.9722 | 1229623.8961
39 | 2744443.2079 | 1229622.4958 | 2744461.9722 | 1229623.8961
40 | 2744443.2079 | 1229622.4958 | 2744440.1891 | 1229638.4213
41 | 2744443.2079 | 1229622.4958 | 2744425.5539 | 1229621.4306
42 | 2744434.5312 | 1229668.2701 | 2744440.1891 | 1229638.4213
43 | 2744425.5539 | 1229621.4306 | 2744413.5043 | 1229620.7036
44 | 2744434.5312 | 1229668.2701 | 2744420.4333 | 1229665.4735
45 | 2744434.5312 | 1229668.2701 | 2744446.6383 | 1229670.7067
46 | 2744413.5043 | 1229620.7036 | 2744398.1468 | 1229619.777
47 | 2744408.4738 | 1229691.0353 | 2744414.1503 | 1229664.2271 | 2744420.4333 | 1229665.4735
48 | 2744469.6907 | 1229675.3462 | 2744446.6383 | 1229670.7067
49 | 2744397.7915 | 1229621.4763 | 2744398.1468 | 1229619.777 | 2744398.1468 | 1229619.777
50 | 2744259.9732 | 1229649.4202 | 2744280.7432 | 1229656.8013
51 | 2744259.9732 | 1229649.4202 | 2744232.8896 | 1229639.7955
52 | 2744324.4201 | 1229672.3229 | 2744280.7432 | 1229656.8013
53 | 2744232.8896 | 1229639.7955 | 2744231.1308 | 1229639.1704
54 | 2744324.4201 | 1229672.3229 | 2744350.0681 | 1229678.623
55 | 2744324.4201 | 1229672.3229 | 2744324.9837 | 1229657.9955
56 | 2744218.6966 | 1229634.7517 | 2744231.1308 | 1229639.1704
57 | 2744369.1392 | 1229682.862 | 2744352.7565 | 1229679.2834 | 2744350.0681 | 1229678.623
58 | 2744324.9837 | 1229657.9955 | 2744325.0936 | 1229655.2018 | 2744322.5922 | 1229642.1073 | 2744317.4911 | 1229628.4541
59 | 2744369.1392 | 1229682.862 | 2744373.5154 | 1229683.7713
60 | 2744369.1392 | 1229682.862 | 2744367.1551 | 1229687.7848
61 | 2744528.4026 | 1229505.4951 | 2744545.0261 | 1229513.6494
62 | 2744528.4026 | 1229505.4951 | 2744495.9716 | 1229513.9757
63 | 2744528.4026 | 1229505.4951 | 2744531.1885 | 1229504.733
64 | 2744495.9716 | 1229513.9757 | 2744474.0542 | 1229519.707
65 | 2744558.7938 | 1229497.1818 | 2744531.1885 | 1229504.733
66 | 2744469.6907 | 1229675.3462 | 2744477.5828 | 1229676.9345 | 2744491.2115 | 1229680.5002
67 | 2744491.2115 | 1229680.5002 | 2744512.2233 | 1229685.9976
68 | 2744512.2233 | 1229685.9976 | 2744534.1474 | 1229691.7336
69 | 2744546.0951 | 1229694.8595 | 2744534.1474 | 1229691.7336
70 | 2744546.0951 | 1229694.8595 | 2744545.4748 | 1229697.6136 | 2744527.015 | 1229702.1579 | 2744508.2562 | 1229703.7257 | 2744494.7934 | 1229709.4258
71 | 2744546.0951 | 1229694.8595 | 2744550.6802 | 1229696.4279 | 2744556.0679 | 1229696.9231
72 | 2744408.4738 | 1229691.0353 | 2744393.2154 | 1229687.8647
73 | 2744354.0769 | 1229689.3078 | 2744351.4471 | 1229689.8165 | 2744340.9569 | 1229694.833 | 2744324.4479 | 1229696.456 | 2744314.938 | 1229694.8127 | 2744314.938 | 1229694.8127
74 | 2744367.1551 | 1229687.7848 | 2744363.5017 | 1229687.4848 | 2744354.0769 | 1229689.3078
75 | 2744311.9132 | 1229693.6365 | 2744314.938 | 1229694.8127
76 | 2744367.1551 | 1229687.7848 | 2744367.079 | 1229690.6077 | 2744367.6805 | 1229699.5413 | 2744369.4028 | 1229703.8314 | 2744369.2748 | 1229709.0996 | 2744360.4182 | 1229722.0628 | 2744364.7496 | 1229730.0194
77 | 2744303.2551 | 1229690.2696 | 2744311.9132 | 1229693.6365
78 | 2744404.7593 | 1229755.0584 | 2744399.5078 | 1229753.4062 | 2744396.2458 | 1229753.5271 | 2744391.3909 | 1229731.5564 | 2744387.8883 | 1229729.4139 | 2744382.5988 | 1229729.6969 | 2744374.0278 | 1229730.901 | 2744369.1425 | 1229731.3939 | 2744364.7496 | 1229730.0194
79 | 2744373.5154 | 1229683.7713 | 2744388.3133 | 1229686.8461
80 | 2744388.3133 | 1229686.8461 | 2744393.2154 | 1229687.8647
81 | 2744574.4817 | 1229704.1021 | 2744570.232 | 1229703.3871 | 2744567.438 | 1229701.0949 | 2744563.3211 | 1229698.9707 | 2744556.7679 | 1229696.9875 | 2744556.0679 | 1229696.9231
82 | 2744494.7934 | 1229709.4258 | 2744482.3552 | 1229706.7759
83 | 2744494.7934 | 1229709.4258 | 2744514.4035 | 1229714.3954
84 | 2744557.6991 | 1229726.9592 | 2744528.6758 | 1229718.0123 | 2744514.4035 | 1229714.3954
85 | 2744389.5215 | 1229542.4213 | 2744361.392 | 1229540.0365
86 | 2744335.8335 | 1229537.8697 | 2744361.392 | 1229540.0365
87 | 2744335.8335 | 1229537.8697 | 2744337.6671 | 1229515.4276
88 | 2744335.8335 | 1229537.8697 | 2744291.8918 | 1229535.4683
89 | 2744319.0998 | 1229513.7756 | 2744328.407 | 1229514.4131 | 2744337.6671 | 1229515.4276
90 | 2744474.0542 | 1229519.707 | 2744439.1598 | 1229528.8318
91 | 2744397.579 | 1229622.4927 | 2744397.7915 | 1229621.4763
92 | 2744393.288 | 1229643.0132 | 2744397.579 | 1229622.4927
93 | 2744393.288 | 1229643.0132 | 2744393.1064 | 1229643.8816

## bus_geodata
| x | y | coords
0 | 2744770.0382 | 1229069.5078
1 | 2744722.9898 | 1228832.2636
2 | 2744618.0808 | 1229061.9063
3 | 2744509.7748 | 1229015.056
4 | 2744563.0724 | 1229340.9292
5 | 2744563.9209 | 1229355.5921
6 | 2744398.3926 | 1229301.3537
7 | 2744356.2629 | 1229439.7786
8 | 2744523.0441 | 1229628.4537
9 | 2744532.5998 | 1229629.1668
10 | 2744523.02 | 1229628.4519
11 | 2744564.3389 | 1229631.5353
12 | 2744499.5733 | 1229626.7021
13 | 2744569.5616 | 1229629.383
14 | 2744495.5869 | 1229626.4046
15 | 2744564.1311 | 1229614.0641
16 | 2744592.86 | 1229635.5589
17 | 2744490.0511 | 1229625.9915
18 | 2744621.4778 | 1229570.3251
19 | 2744625.5858 | 1229553.1663
20 | 2744596.1374 | 1229538.721
21 | 2744648.7679 | 1229561.2329
22 | 2744580.8707 | 1229531.2322
23 | 2744775.7268 | 1229578.9288
24 | 2744534.6876 | 1229599.375
25 | 2744557.7833 | 1229519.9072
26 | 2744476.5036 | 1229570.3472
27 | 2744489.941 | 1229577.051
28 | 2744467.1008 | 1229565.6562
29 | 2744493.8167 | 1229578.9846
30 | 2744456.6664 | 1229560.4505
31 | 2744511.1199 | 1229587.6171
32 | 2744446.1005 | 1229555.1792
33 | 2744511.551 | 1229587.8322
34 | 2744409.0638 | 1229536.7018
35 | 2744461.9722 | 1229623.8961
36 | 2744468.2521 | 1229624.3647
37 | 2744443.2079 | 1229622.4958
38 | 2744440.1891 | 1229638.4213
39 | 2744425.5539 | 1229621.4306
40 | 2744434.5312 | 1229668.2701
41 | 2744413.5043 | 1229620.7036
42 | 2744420.4333 | 1229665.4735
43 | 2744446.6383 | 1229670.7067
44 | 2744398.1468 | 1229619.777
45 | 2744259.9732 | 1229649.4202
46 | 2744280.7432 | 1229656.8013
47 | 2744232.8896 | 1229639.7955
48 | 2744324.4201 | 1229672.3229
49 | 2744231.1308 | 1229639.1704
50 | 2744350.0681 | 1229678.623
51 | 2744324.9837 | 1229657.9955
52 | 2744218.6966 | 1229634.7517
53 | 2744369.1392 | 1229682.862
54 | 2744317.4911 | 1229628.4541
55 | 2744545.0261 | 1229513.6494
56 | 2744528.4026 | 1229505.4951
57 | 2744495.9716 | 1229513.9757
58 | 2744531.1885 | 1229504.733
59 | 2744469.6907 | 1229675.3462
60 | 2744491.2115 | 1229680.5002
61 | 2744512.2233 | 1229685.9976
62 | 2744534.1474 | 1229691.7336
63 | 2744546.0951 | 1229694.8595
64 | 2744408.4738 | 1229691.0353
65 | 2744354.0769 | 1229689.3078
66 | 2744314.938 | 1229694.8127
67 | 2744367.1551 | 1229687.7848
68 | 2744311.9132 | 1229693.6365
69 | 2744364.7496 | 1229730.0194
70 | 2744303.2551 | 1229690.2696
71 | 2744404.7593 | 1229755.0584
72 | 2744373.5154 | 1229683.7713
73 | 2744388.3133 | 1229686.8461
74 | 2744556.0679 | 1229696.9231
75 | 2744574.4817 | 1229704.1021
76 | 2744494.7934 | 1229709.4258
77 | 2744482.3552 | 1229706.7759
78 | 2744514.4035 | 1229714.3954
79 | 2744557.6991 | 1229726.9592
80 | 2744393.2154 | 1229687.8647
81 | 2744361.392 | 1229540.0365
82 | 2744389.5215 | 1229542.4213
83 | 2744335.8335 | 1229537.8697
84 | 2744337.6671 | 1229515.4276
85 | 2744291.8918 | 1229535.4683
86 | 2744439.1598 | 1229528.8318
87 | 2744319.0998 | 1229513.7756
88 | 2744474.0542 | 1229519.707
89 | 2744349.9067 | 1229437.8878
90 | 2744558.7938 | 1229497.1818
91 | 2744397.7915 | 1229621.4763
92 | 2744397.579 | 1229622.4927
93 | 2744393.288 | 1229643.0132
94 | 2744393.1064 | 1229643.8816
95 | 2744409.0638 | 1229536.7018

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1