## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3360-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3360-1_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3360-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3360-1_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3360-1_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3360-1_0_3_node_104 | 0.4 | n |  | TRUE
6 | bus_LV_3360-1_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_3360-1_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_3360-1_0_3_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_3360-1_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_3360-1_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3360-1_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3360-1_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_3360-1_0_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_3360-1_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_3360-1_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_3360-1_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_3360-1_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_3360-1_0_3_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_3360-1_0_3_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_3360-1_0_3_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_3360-1_0_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_3360-1_0_3_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_3360-1_0_3_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_3360-1_0_3_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_3360-1_0_3_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_3360-1_0_3_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_3360-1_0_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_3360-1_0_3_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_3360-1_0_3_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_3360-1_0_3_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_3360-1_0_3_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_3360-1_0_3_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_3360-1_0_3_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_3360-1_0_3_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_3360-1_0_3_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_3360-1_0_3_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_3360-1_0_3_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_3360-1_0_3_node_100 | 0.4 | n |  | TRUE
39 | bus_LV_3360-1_0_3_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_3360-1_0_3_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_3360-1_0_3_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_3360-1_0_3_node_166 | 0.4 | n |  | TRUE
43 | bus_LV_3360-1_0_3_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_3360-1_0_3_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_3360-1_0_3_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_3360-1_0_3_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_3360-1_0_3_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_3360-1_0_3_node_169 | 0.4 | n |  | TRUE
49 | bus_LV_3360-1_0_3_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_3360-1_0_3_node_125 | 0.4 | n |  | TRUE
51 | bus_LV_3360-1_0_3_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_3360-1_0_3_node_130 | 0.4 | n |  | TRUE
53 | bus_LV_3360-1_0_3_node_131 | 0.4 | n |  | TRUE
54 | bus_LV_3360-1_0_3_node_132 | 0.4 | n |  | TRUE
55 | bus_LV_3360-1_0_3_node_136 | 0.4 | n |  | TRUE
56 | bus_LV_3360-1_0_3_node_133 | 0.4 | n |  | TRUE
57 | bus_LV_3360-1_0_3_node_134 | 0.4 | n |  | TRUE
58 | bus_LV_3360-1_0_3_node_141 | 0.4 | n |  | TRUE
59 | bus_LV_3360-1_0_3_node_147 | 0.4 | n |  | TRUE
60 | bus_LV_3360-1_0_3_node_135 | 0.4 | n |  | TRUE
61 | bus_LV_3360-1_0_3_node_151 | 0.4 | n |  | TRUE
62 | bus_LV_3360-1_0_3_node_149 | 0.4 | n |  | TRUE
63 | bus_LV_3360-1_0_3_node_153 | 0.4 | n |  | TRUE
64 | bus_LV_3360-1_0_3_node_137 | 0.4 | n |  | TRUE
65 | bus_LV_3360-1_0_3_node_138 | 0.4 | n |  | TRUE
66 | bus_LV_3360-1_0_3_node_139 | 0.4 | n |  | TRUE
67 | bus_LV_3360-1_0_3_node_140 | 0.4 | n |  | TRUE
68 | bus_LV_3360-1_0_3_node_142 | 0.4 | n |  | TRUE
69 | bus_LV_3360-1_0_3_node_143 | 0.4 | n |  | TRUE
70 | bus_LV_3360-1_0_3_node_144 | 0.4 | n |  | TRUE
71 | bus_LV_3360-1_0_3_node_145 | 0.4 | n |  | TRUE
72 | bus_LV_3360-1_0_3_node_146 | 0.4 | n |  | TRUE
73 | bus_LV_3360-1_0_3_node_148 | 0.4 | n |  | TRUE
74 | bus_LV_3360-1_0_3_node_150 | 0.4 | n |  | TRUE
75 | bus_LV_3360-1_0_3_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_3360-1_0_3_node_154 | 0.4 | n |  | TRUE
77 | bus_LV_3360-1_0_3_node_155 | 0.4 | n |  | TRUE
78 | bus_LV_3360-1_0_3_node_156 | 0.4 | n |  | TRUE
79 | bus_LV_3360-1_0_3_node_157 | 0.4 | n |  | TRUE
80 | bus_LV_3360-1_0_3_node_170 | 0.4 | n |  | TRUE
81 | bus_LV_3360-1_0_3_node_163 | 0.4 | n |  | TRUE
82 | bus_LV_3360-1_0_3_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_3360-1_0_3_node_160 | 0.4 | n |  | TRUE
84 | bus_LV_3360-1_0_3_node_161 | 0.4 | n |  | TRUE
85 | bus_LV_3360-1_0_3_node_162 | 0.4 | n |  | TRUE
86 | bus_LV_3360-1_0_3_node_164 | 0.4 | n |  | TRUE
87 | bus_LV_3360-1_0_3_node_165 | 0.4 | n |  | TRUE
88 | bus_LV_3360-1_0_3_node_168 | 0.4 | n |  | TRUE
89 | bus_LV_3360-1_0_3_node_229 | 0.4 | n |  | TRUE
90 | bus_LV_3360-1_0_3_node_167 | 0.4 | n |  | TRUE
91 | bus_LV_3360-1_0_3_node_172 | 0.4 | n |  | TRUE
92 | bus_LV_3360-1_0_3_node_171 | 0.4 | n |  | TRUE
93 | bus_MV_38_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3360-1_0_3_load_0 | 0 | 0.0010116 | 0.00025353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3360-1_0_3_load_5 | 4 | 0.00012485 | 3.129e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3360-1_0_3_load_104 | 5 | 2.9338e-05 | 7.3527e-06 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3360-1_0_3_load_19 | 6 | 0.0004245 | 0.00010639 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3360-1_0_3_load_20 | 7 | 0.0012188 | 0.00030546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3360-1_0_3_load_82 | 8 | 0.00043734 | 0.00010961 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3360-1_0_3_load_23 | 9 | 0.00059585 | 0.00014933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3360-1_0_3_load_27 | 13 | 0.00017427 | 4.3675e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3360-1_0_3_load_29 | 15 | 8.5031e-05 | 2.1311e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3360-1_0_3_load_30 | 16 | 6.4417e-05 | 1.6145e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3360-1_0_3_load_96 | 19 | 0.00018444 | 4.6225e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3360-1_0_3_load_79 | 20 | 0.00095446 | 0.00023921 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3360-1_0_3_load_80 | 21 | 0.00079372 | 0.00019893 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3360-1_0_3_load_83 | 23 | 0.00043987 | 0.00011024 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3360-1_0_3_load_84 | 24 | 0.00094452 | 0.00023672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3360-1_0_3_load_85 | 25 | 0.00054738 | 0.00013719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3360-1_0_3_load_86 | 26 | 0.001343 | 0.0003366 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3360-1_0_3_load_87 | 28 | 0.0006803 | 0.0001705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3360-1_0_3_load_89 | 29 | 0.00078628 | 0.00019706 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3360-1_0_3_load_94 | 30 | 0.0005444 | 0.00013644 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3360-1_0_3_load_88 | 31 | 0.00053679 | 0.00013453 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3360-1_0_3_load_93 | 32 | 3.5419e-05 | 8.8768e-06 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3360-1_0_3_load_91 | 33 | 0.00053761 | 0.00013474 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3360-1_0_3_load_92 | 34 | 0.00058622 | 0.00014692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3360-1_0_3_load_97 | 35 | 0.00012698 | 3.1825e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3360-1_0_3_load_101 | 36 | 0.0001802 | 4.5162e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3360-1_0_3_load_102 | 37 | 0.00010755 | 2.6955e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3360-1_0_3_load_100 | 38 | 0.00016958 | 4.2501e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3360-1_0_3_load_98 | 39 | 8.4637e-05 | 2.1212e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3360-1_0_3_load_99 | 40 | 0.00089791 | 0.00022504 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3360-1_0_3_load_105 | 43 | 4.1337e-05 | 1.036e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3360-1_0_3_load_106 | 44 | 3.8277e-05 | 9.5931e-06 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3360-1_0_3_load_107 | 45 | 0.0010044 | 0.00025173 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3360-1_0_3_load_108 | 46 | 0.0028303 | 0.00070935 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3360-1_0_3_load_109 | 47 | 0.00078114 | 0.00019577 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3360-1_0_3_load_169 | 48 | 0.0012566 | 0.00031494 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3360-1_0_3_load_124 | 49 | 0.0044492 | 0.0011151 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3360-1_0_3_load_126 | 51 | 0.0037415 | 0.00093772 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3360-1_0_3_load_130 | 52 | 0.0028568 | 0.00071598 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3360-1_0_3_load_132 | 54 | 0.039419 | 0.0098792 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3360-1_0_3_load_136 | 55 | 0.0033931 | 0.0008504 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3360-1_0_3_load_141 | 58 | 0.0067193 | 0.001684 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3360-1_0_3_load_147 | 59 | 0.0023044 | 0.00057755 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3360-1_0_3_load_149 | 62 | 0.00072597 | 0.00018195 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3360-1_0_3_load_153 | 63 | 0.0023071 | 0.00057822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3360-1_0_3_load_137 | 64 | 0.0018164 | 0.00045523 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3360-1_0_3_load_138 | 65 | 0.0020511 | 0.00051405 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3360-1_0_3_load_139 | 66 | 0.0019809 | 0.00049645 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3360-1_0_3_load_140 | 67 | 0.0028547 | 0.00071545 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3360-1_0_3_load_142 | 68 | 0.0025304 | 0.00063417 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3360-1_0_3_load_143 | 69 | 0.0024574 | 0.00061589 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3360-1_0_3_load_145 | 71 | 0.0033589 | 0.00084182 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3360-1_0_3_load_146 | 72 | 0.0017444 | 0.00043719 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3360-1_0_3_load_148 | 73 | 0.0014674 | 0.00036777 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3360-1_0_3_load_158 | 75 | 0.0020872 | 0.00052311 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3360-1_0_3_load_155 | 77 | 0.0013633 | 0.00034169 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3360-1_0_3_load_156 | 78 | 0.0029215 | 0.0007322 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3360-1_0_3_load_170 | 80 | 0.0073168 | 0.0018338 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3360-1_0_3_load_163 | 81 | 0.00041461 | 0.00010391 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3360-1_0_3_load_159 | 82 | 0.0013561 | 0.00033987 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3360-1_0_3_load_160 | 83 | 0.0026871 | 0.00067346 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3360-1_0_3_load_161 | 84 | 0.00074315 | 0.00018625 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3360-1_0_3_load_165 | 87 | 0.0023349 | 0.00058517 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3360-1_0_3_load_168 | 88 | 0.0006704 | 0.00016802 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3360-1_0_3_load_229 | 89 | 0.0010259 | 0.00025712 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3360-1_0_3_load_167 | 90 | 0.00021024 | 5.269e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3360-1_0_3_load_172 | 91 | 0.0033799 | 0.00084709 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3360-1_0_3_load_171 | 92 | 0.0029228 | 0.00073251 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3360-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3360-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.39104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3360-1_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.036843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3360-1_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0066983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3360-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.45006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3360-1_0_3_line_5 | NAYY 4x150 SE | 5 | 43 | 0.1507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3360-1_0_3_line_6 | NAYY 4x150 SE | 5 | 30 | 0.17196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3360-1_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.15782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3360-1_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0014131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3360-1_0_3_line_9 | NAYY 4x150 SE | 8 | 21 | 0.00021956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3360-1_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.25747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3360-1_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.01623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3360-1_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.093237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3360-1_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.067749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3360-1_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.03527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3360-1_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.26203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3360-1_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.035187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3360-1_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.24522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3360-1_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.071823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3360-1_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.035007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3360-1_0_3_line_20 | NAYY 4x150 SE | 18 | 36 | 0.086897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3360-1_0_3_line_21 | NAYY 4x150 SE | 18 | 37 | 0.017042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3360-1_0_3_line_22 | NAYY 4x150 SE | 19 | 38 | 0.0045907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3360-1_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.036156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3360-1_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.16004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3360-1_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.067161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3360-1_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.030003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3360-1_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.012101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3360-1_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.032681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3360-1_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.18408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3360-1_0_3_line_30 | NAYY 4x150 SE | 27 | 33 | 0.072153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3360-1_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.062314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3360-1_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.02293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3360-1_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.13687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3360-1_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.22939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3360-1_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.16496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3360-1_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.02558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3360-1_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.10434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3360-1_0_3_line_38 | NAYY 4x150 SE | 35 | 39 | 0.0080532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3360-1_0_3_line_39 | NAYY 4x150 SE | 37 | 41 | 0.21057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3360-1_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.018344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3360-1_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.02093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3360-1_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.31363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3360-1_0_3_line_43 | NAYY 4x150 SE | 42 | 89 | 0.28018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3360-1_0_3_line_44 | NAYY 4x150 SE | 42 | 86 | 0.20779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3360-1_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.052242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3360-1_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.015805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3360-1_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.096948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3360-1_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.12426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3360-1_0_3_line_49 | NAYY 4x150 SE | 48 | 91 | 0.12836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3360-1_0_3_line_50 | NAYY 4x150 SE | 48 | 90 | 0.30526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3360-1_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.022275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3360-1_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.024355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3360-1_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.027964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3360-1_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0045471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3360-1_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.037755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3360-1_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.041026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3360-1_0_3_line_57 | NAYY 4x150 SE | 55 | 63 | 0.029387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3360-1_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.029057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3360-1_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.01439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3360-1_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.028804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3360-1_0_3_line_61 | NAYY 4x150 SE | 58 | 67 | 0.016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3360-1_0_3_line_62 | NAYY 4x150 SE | 59 | 71 | 0.0014711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3360-1_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.048195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3360-1_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.025333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3360-1_0_3_line_65 | NAYY 4x150 SE | 61 | 75 | 0.024935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3360-1_0_3_line_66 | NAYY 4x150 SE | 62 | 74 | 0.0040436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3360-1_0_3_line_67 | NAYY 4x150 SE | 63 | 76 | 0.0024123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3360-1_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.030134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3360-1_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.035867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3360-1_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.0011731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3360-1_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.046019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3360-1_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.016764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3360-1_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.021361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3360-1_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0069519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3360-1_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.018762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3360-1_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.014777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3360-1_0_3_line_77 | NAYY 4x150 SE | 75 | 78 | 0.059851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_3360-1_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.024737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_3360-1_0_3_line_79 | NAYY 4x150 SE | 76 | 78 | 0.022198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_3360-1_0_3_line_80 | NAYY 4x150 SE | 77 | 79 | 0.013107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_3360-1_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3360-1_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.012893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_3360-1_0_3_line_83 | NAYY 4x150 SE | 81 | 84 | 0.012153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_3360-1_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.026332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_3360-1_0_3_line_85 | NAYY 4x150 SE | 82 | 84 | 0.031389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_3360-1_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.034336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_3360-1_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.043899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_3360-1_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.032287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_3360-1_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.024064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_3360-1_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_3360-1_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.0069612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3360-1_0_3_trafo_167 | 0.25 MVA 20/0.4 kV | 93 | 90 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2732330.4325 | 1230017.4326 | 2732326.9003 | 1230011.6825 | 2732321.7113 | 1230007.5079 | 2732319.9852 | 1230006.6687
1 | 2732330.4325 | 1230017.4326 | 2732709.2051 | 1230114.599
2 | 2732709.2051 | 1230114.599 | 2732723.5888 | 1230111.1726 | 2732732.0809 | 1230108.2486 | 2732737.447 | 1230105.833 | 2732741.0961 | 1230099.5425
3 | 2732741.0961 | 1230099.5425 | 2732744.4591 | 1230093.7496
4 | 2733100.6377 | 1230370.2485 | 2732741.0961 | 1230099.5425
5 | 2733228.9155 | 1230291.157 | 2733100.6377 | 1230370.2485
6 | 2733029.197 | 1230526.6624 | 2733100.6377 | 1230370.2485
7 | 2732811.4399 | 1230813.9765 | 2732771.3817 | 1230749.4328 | 2732695.6859 | 1230718.2775
8 | 2732811.4399 | 1230813.9765 | 2732812.1851 | 1230815.1772 | 2732812.1851 | 1230815.1772
9 | 2732812.3964 | 1230815.2368 | 2732812.1851 | 1230815.1772
10 | 2733729.9383 | 1230550.6445 | 2733754.6225 | 1230565.9348 | 2733779.6144 | 1230576.6394 | 2733784.5067 | 1230580.7974 | 2733788.1697 | 1230586.3846 | 2733789.8651 | 1230591.1823 | 2733790.4493 | 1230596.867 | 2733789.8704 | 1230601.7136 | 2733789.1209 | 1230608.4135 | 2733785.6354 | 1230614.1288 | 2733777.4721 | 1230618.9492 | 2733769.1245 | 1230622.1975 | 2733752.2952 | 1230631.2822 | 2733742.9145 | 1230644.071 | 2733738.802 | 1230656.0998 | 2733728.6928 | 1230674.3212 | 2733721.94 | 1230690.8833 | 2733718.7768 | 1230700.4648 | 2733713.2954 | 1230709.0154 | 2733708.8262 | 1230714.3416 | 2733704.5629 | 1230721.9634 | 2733702.5534 | 1230729.102 | 2733701.5703 | 1230734.4066 | 2733702.1446 | 1230738.1783 | 2733702.9554 | 1230739.5609
11 | 2733711.2023 | 1230753.5394 | 2733707.3269 | 1230746.9578 | 2733704.1732 | 1230741.6379 | 2733702.9554 | 1230739.5609
12 | 2733729.9383 | 1230550.6445 | 2733776.9705 | 1230512.6702 | 2733796.6747 | 1230486.3023
13 | 2733729.9383 | 1230550.6445 | 2733719.0176 | 1230547.6853 | 2733700.9564 | 1230546.8562 | 2733674.3932 | 1230548.049 | 2733662.6391 | 1230548.5477
14 | 2733711.2023 | 1230753.5394 | 2733686.3082 | 1230778.5898
15 | 2733796.6747 | 1230486.3023 | 2733660.0827 | 1230423.2662 | 2733603.1442 | 1230405.7496 | 2733580.1028 | 1230391.8314 | 2733581.0052 | 1230383.3778 | 2733596.968 | 1230378.8288
16 | 2733628.3462 | 1230556.0764 | 2733628.3462 | 1230556.0764 | 2733635.6664 | 1230554.0392 | 2733644.5894 | 1230551.8267 | 2733658.4653 | 1230548.7249 | 2733662.6391 | 1230548.5477
17 | 2733485.9481 | 1230912.6688 | 2733490.3291 | 1230904.8494 | 2733494.1962 | 1230901.0107 | 2733499.9373 | 1230897.0696 | 2733550.9768 | 1230877.488 | 2733559.3127 | 1230871.3701 | 2733573.6751 | 1230856.7025 | 2733587.1586 | 1230840.6919 | 2733593.0204 | 1230833.4063 | 2733602.6633 | 1230826.1167 | 2733665.2215 | 1230793.7174 | 2733686.3082 | 1230778.5898
18 | 2733539.8543 | 1230951.9568 | 2733499.6748 | 1230935.0514 | 2733494.8641 | 1230932.9972 | 2733490.8803 | 1230929.5493 | 2733489.427 | 1230926.1138 | 2733486.6486 | 1230920.6134 | 2733485.9481 | 1230912.6688
19 | 2733485.9481 | 1230912.6688 | 2733469.6084 | 1230915.8714 | 2733463.3439 | 1230917.8213 | 2733457.7844 | 1230917.7298 | 2733451.9624 | 1230915.4972
20 | 2733539.8543 | 1230951.9568 | 2733531.7475 | 1230956.9902 | 2733525.222 | 1230961.1138 | 2733521.3396 | 1230966.6424 | 2733518.7872 | 1230973.0016 | 2733520.2006 | 1230981.585 | 2733526.0177 | 1231008.9833 | 2733526.369 | 1231017.2871 | 2733525.4583 | 1231022.0707 | 2733522.4944 | 1231022.8048 | 2733519.5649 | 1231021.6714
21 | 2733539.8543 | 1230951.9568 | 2733555.5635 | 1230958.5645
22 | 2733447.905 | 1230913.3496 | 2733451.9624 | 1230915.4972
23 | 2732847.1971 | 1230825.0422 | 2732812.3964 | 1230815.2368
24 | 2732998.5809 | 1230849.7281 | 2732953.4205 | 1230861.2946 | 2732885.8152 | 1230830.6019 | 2732859.0421 | 1230828.3796 | 2732847.1971 | 1230825.0422
25 | 2732998.5809 | 1230849.7281 | 2733058.5822 | 1230819.5554
26 | 2732998.5809 | 1230849.7281 | 2732991.9703 | 1230878.9938
27 | 2733058.5822 | 1230819.5554 | 2733069.393 | 1230814.119
28 | 2732974.725 | 1230906.7538 | 2732991.9703 | 1230878.9938
29 | 2733229.4394 | 1230795.9729 | 2733115.6044 | 1230770.1016 | 2733105.1456 | 1230774.9382 | 2733090.9093 | 1230803.2991 | 2733069.393 | 1230814.119
30 | 2733229.4394 | 1230795.9729 | 2733290.4606 | 1230834.4765
31 | 2733229.4394 | 1230795.9729 | 2733199.2046 | 1230756.1841 | 2733194.8647 | 1230744.6316
32 | 2732980.316 | 1230672.5255 | 2732992.1959 | 1230667.8428 | 2732998.7823 | 1230660.1067
33 | 2732998.7823 | 1230660.1067 | 2733029.197 | 1230526.6624
34 | 2733029.197 | 1230526.6624 | 2733106.1311 | 1230552.0276 | 2733198.0954 | 1230571.7702 | 2733228.6096 | 1230588.668 | 2733248.0526 | 1230588.4779
35 | 2733194.8647 | 1230744.6316 | 2733248.0526 | 1230588.4779
36 | 2733312.094 | 1230848.127 | 2733290.4606 | 1230834.4765
37 | 2733312.094 | 1230848.127 | 2733340.2692 | 1230865.9051 | 2733381.2735 | 1230886.2753 | 2733405.4468 | 1230893.5439
38 | 2733413.1589 | 1230895.8628 | 2733405.4468 | 1230893.5439
39 | 2733747.1413 | 1231045.3393 | 2733642.8855 | 1231002.1586 | 2733589.2361 | 1230972.7281 | 2733555.5635 | 1230958.5645
40 | 2733432.3428 | 1230903.6895 | 2733441.6065 | 1230910.0157 | 2733447.905 | 1230913.3496
41 | 2733413.1589 | 1230895.8628 | 2733426.9575 | 1230900.0118 | 2733432.3428 | 1230903.6895
42 | 2733611.6927 | 1231328.2117 | 2733747.1413 | 1231045.3393
43 | 2733335.4667 | 1231317.5463 | 2733363.5189 | 1231317.3642 | 2733416.768 | 1231335.1739 | 2733442.6468 | 1231341.0151 | 2733566.1601 | 1231324.7524 | 2733611.6927 | 1231328.2117
44 | 2733594.7459 | 1231526.2322 | 2733627.8485 | 1231464.1678 | 2733629.0099 | 1231462.0477 | 2733627.874 | 1231442.1497 | 2733622.1512 | 1231409.2599 | 2733621.0025 | 1231400.371 | 2733613.8025 | 1231344.5619 | 2733613.0535 | 1231338.7846 | 2733611.6927 | 1231328.2117
45 | 2733280.7077 | 1230284.3237 | 2733263.2422 | 1230286.7891 | 2733228.9155 | 1230291.157
46 | 2733126.843 | 1231281.2182 | 2733137.693 | 1231269.7263
47 | 2733126.843 | 1231281.2182 | 2733099.4726 | 1231310.2081 | 2733103.69 | 1231343.1304 | 2733095.3692 | 1231365.5215
48 | 2733188.1068 | 1231448.2208 | 2733095.3692 | 1231365.5215
49 | 2733188.1068 | 1231448.2208 | 2733258.7612 | 1231555.3836
50 | 2733188.1068 | 1231448.2208 | 2733291.4727 | 1231438.9961 | 2733314.531 | 1231447.2756 | 2733353.5314 | 1231456.8361 | 2733403.1866 | 1231464.5899 | 2733433.1524 | 1231466.2081 | 2733445.4326 | 1231468.2744 | 2733453.0773 | 1231469.6138 | 2733487.5283 | 1231481.2108
51 | 2733442.7746 | 1231739.3779 | 2733453.924 | 1231758.6613
52 | 2733442.7746 | 1231739.3779 | 2733450.108 | 1231735.3391 | 2733464.7625 | 1231728.9596
53 | 2733464.7625 | 1231728.9596 | 2733468.4239 | 1231727.3657 | 2733491.4832 | 1231720.8172
54 | 2733495.8573 | 1231719.575 | 2733491.4832 | 1231720.8172
55 | 2733495.8573 | 1231719.575 | 2733495.599 | 1231708.482 | 2733498.4982 | 1231701.1742 | 2733505.5391 | 1231694.9826 | 2733513.0733 | 1231689.3257
56 | 2733513.0733 | 1231689.3257 | 2733539.0451 | 1231669.8249 | 2733544.9677 | 1231663.6618
57 | 2733544.9677 | 1231663.6618 | 2733557.7174 | 1231650.3945 | 2733560.8367 | 1231639.8599
58 | 2733567.1249 | 1231734.7218 | 2733579.6963 | 1231720.103 | 2733586.5958 | 1231713.1298
59 | 2733567.1249 | 1231734.7218 | 2733567.0596 | 1231735.2653 | 2733566.2265 | 1231742.3303 | 2733566.1235 | 1231743.2065 | 2733561.3769 | 1231746.6196
60 | 2733586.5958 | 1231713.1298 | 2733597.7411 | 1231732.2854 | 2733602.932 | 1231736.4295
61 | 2733551.1376 | 1231759.0722 | 2733551.1376 | 1231759.0722 | 2733556.136 | 1231750.3883 | 2733561.3769 | 1231746.6196
62 | 2733604.0817 | 1231737.3474 | 2733602.932 | 1231736.4295
63 | 2733637.3201 | 1231692.7858 | 2733645.7961 | 1231690.163 | 2733650.8921 | 1231687.5865 | 2733663.6828 | 1231656.5032
64 | 2733637.3201 | 1231692.7858 | 2733646.3633 | 1231714.7856 | 2733646.5426 | 1231716.3218
65 | 2733663.6828 | 1231656.5032 | 2733647.0587 | 1231654.917 | 2733640.9086 | 1231657.203 | 2733639.2729 | 1231657.5609
66 | 2733647.0112 | 1231720.3382 | 2733646.5426 | 1231716.3218
67 | 2733561.5216 | 1231637.5468 | 2733560.8367 | 1231639.8599
68 | 2733497.0067 | 1231783.1635 | 2733501.0594 | 1231781.044 | 2733507.9104 | 1231783.6333 | 2733520.7008 | 1231786.5675 | 2733524.9876 | 1231783.7798
69 | 2733524.9876 | 1231783.7798 | 2733529.2963 | 1231780.978 | 2733532.9397 | 1231773.2533 | 2733541.6752 | 1231764.1306 | 2733550.103 | 1231759.6253
70 | 2733550.103 | 1231759.6253 | 2733551.1376 | 1231759.0722
71 | 2733661.3034 | 1231788.0193 | 2733626.5098 | 1231771.5653 | 2733622.6236 | 1231769.1982 | 2733621.0905 | 1231766.6419
72 | 2733620.775 | 1231750.6742 | 2733618.6482 | 1231758.6665 | 2733619.4326 | 1231763.8775 | 2733621.0905 | 1231766.6419
73 | 2733620.775 | 1231750.6742 | 2733604.0817 | 1231737.3474
74 | 2733620.775 | 1231750.6742 | 2733625.3588 | 1231745.4476
75 | 2733625.3588 | 1231745.4476 | 2733627.8428 | 1231742.6151 | 2733638.4686 | 1231732.036
76 | 2733647.0112 | 1231720.3382 | 2733644.9151 | 1231725.6178 | 2733638.4686 | 1231732.036
77 | 2733582.4254 | 1231645.0153 | 2733625.7957 | 1231660.5105 | 2733639.2729 | 1231657.5609
78 | 2733561.5216 | 1231637.5468 | 2733568.5374 | 1231613.8255
79 | 2733561.5216 | 1231637.5468 | 2733582.4254 | 1231645.0153
80 | 2733572.2547 | 1231601.2571 | 2733568.5374 | 1231613.8255
81 | 2733572.2547 | 1231601.2571 | 2733629.0125 | 1231618.7761
82 | 2733572.2547 | 1231601.2571 | 2733575.914 | 1231588.8941
83 | 2733579.3632 | 1231577.2409 | 2733575.914 | 1231588.8941
84 | 2733549.8924 | 1231566.4364 | 2733555.6069 | 1231540.7318
85 | 2733579.3632 | 1231577.2409 | 2733549.8924 | 1231566.4364 | 2733549.8924 | 1231566.4364
86 | 2733552.7602 | 1231513.011 | 2733544.8408 | 1231531.649 | 2733555.6069 | 1231540.7318
87 | 2733552.7602 | 1231513.011 | 2733594.7459 | 1231526.2322
88 | 2733552.7602 | 1231513.011 | 2733543.7174 | 1231503.4331 | 2733533.3569 | 1231495.8496 | 2733527.37 | 1231493.969
89 | 2733527.37 | 1231493.969 | 2733504.412 | 1231486.7578
90 | 2733487.5283 | 1231481.2108 | 2733498.3516 | 1231484.8542 | 2733504.412 | 1231486.7578
91 | 2733258.7612 | 1231555.3836 | 2733254.7197 | 1231561.0514

## bus_geodata
| x | y | coords
0 | 2732319.9852 | 1230006.6687
1 | 2732330.4325 | 1230017.4326
2 | 2732709.2051 | 1230114.599
3 | 2732741.0961 | 1230099.5425
4 | 2732744.4591 | 1230093.7496
5 | 2733100.6377 | 1230370.2485
6 | 2732695.6859 | 1230718.2775
7 | 2732811.4399 | 1230813.9765
8 | 2732812.1851 | 1230815.1772
9 | 2733702.9554 | 1230739.5609
10 | 2733729.9383 | 1230550.6445
11 | 2733711.2023 | 1230753.5394
12 | 2733796.6747 | 1230486.3023
13 | 2733662.6391 | 1230548.5477
14 | 2733686.3082 | 1230778.5898
15 | 2733596.968 | 1230378.8288
16 | 2733628.3462 | 1230556.0764
17 | 2733485.9481 | 1230912.6688
18 | 2733539.8543 | 1230951.9568
19 | 2733451.9624 | 1230915.4972
20 | 2732847.1971 | 1230825.0422
21 | 2732812.3964 | 1230815.2368
22 | 2732998.5809 | 1230849.7281
23 | 2733058.5822 | 1230819.5554
24 | 2732991.9703 | 1230878.9938
25 | 2733069.393 | 1230814.119
26 | 2732974.725 | 1230906.7538
27 | 2733229.4394 | 1230795.9729
28 | 2732998.7823 | 1230660.1067
29 | 2732980.316 | 1230672.5255
30 | 2733029.197 | 1230526.6624
31 | 2733194.8647 | 1230744.6316
32 | 2733248.0526 | 1230588.4779
33 | 2733290.4606 | 1230834.4765
34 | 2733312.094 | 1230848.127
35 | 2733405.4468 | 1230893.5439
36 | 2733519.5649 | 1231021.6714
37 | 2733555.5635 | 1230958.5645
38 | 2733447.905 | 1230913.3496
39 | 2733413.1589 | 1230895.8628
40 | 2733432.3428 | 1230903.6895
41 | 2733747.1413 | 1231045.3393
42 | 2733611.6927 | 1231328.2117
43 | 2733228.9155 | 1230291.157
44 | 2733280.7077 | 1230284.3237
45 | 2733126.843 | 1231281.2182
46 | 2733137.693 | 1231269.7263
47 | 2733095.3692 | 1231365.5215
48 | 2733188.1068 | 1231448.2208
49 | 2733453.924 | 1231758.6613
50 | 2733442.7746 | 1231739.3779
51 | 2733464.7625 | 1231728.9596
52 | 2733491.4832 | 1231720.8172
53 | 2733495.8573 | 1231719.575
54 | 2733513.0733 | 1231689.3256
55 | 2733544.9677 | 1231663.6618
56 | 2733567.1249 | 1231734.7218
57 | 2733586.5958 | 1231713.1298
58 | 2733561.377 | 1231746.6196
59 | 2733602.932 | 1231736.4295
60 | 2733637.3201 | 1231692.7858
61 | 2733663.6828 | 1231656.5032
62 | 2733646.5426 | 1231716.3218
63 | 2733560.8367 | 1231639.8599
64 | 2733497.0067 | 1231783.1635
65 | 2733524.9876 | 1231783.7798
66 | 2733550.103 | 1231759.6253
67 | 2733551.1376 | 1231759.0722
68 | 2733621.0905 | 1231766.6419
69 | 2733661.3034 | 1231788.0193
70 | 2733620.775 | 1231750.6742
71 | 2733604.0817 | 1231737.3474
72 | 2733625.3588 | 1231745.4476
73 | 2733638.4686 | 1231732.036
74 | 2733647.0112 | 1231720.3382
75 | 2733639.2729 | 1231657.5609
76 | 2733561.5216 | 1231637.5468
77 | 2733568.5374 | 1231613.8255
78 | 2733582.4254 | 1231645.0153
79 | 2733572.2547 | 1231601.2571
80 | 2733629.0125 | 1231618.7761
81 | 2733575.914 | 1231588.8941
82 | 2733549.8924 | 1231566.4364
83 | 2733555.6069 | 1231540.7318
84 | 2733579.3632 | 1231577.2409
85 | 2733552.7602 | 1231513.011
86 | 2733594.7459 | 1231526.2322
87 | 2733527.37 | 1231493.969
88 | 2733504.412 | 1231486.7578
89 | 2733335.4667 | 1231317.5463
90 | 2733487.5283 | 1231481.2108
91 | 2733258.7612 | 1231555.3836
92 | 2733254.7197 | 1231561.0514
93 | 2733552.7602 | 1231513.011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1