## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3360-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3360-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3360-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3360-5_0_2_node_154 | 0.4 | n |  | TRUE
4 | bus_LV_3360-5_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3360-5_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3360-5_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3360-5_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3360-5_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3360-5_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3360-5_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3360-5_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3360-5_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3360-5_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3360-5_0_2_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_3360-5_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3360-5_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_3360-5_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3360-5_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3360-5_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3360-5_0_2_node_155 | 0.4 | n |  | TRUE
21 | bus_LV_3360-5_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_3360-5_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_3360-5_0_2_node_159 | 0.4 | n |  | TRUE
24 | bus_LV_3360-5_0_2_node_160 | 0.4 | n |  | TRUE
25 | bus_LV_3360-5_0_2_node_157 | 0.4 | n |  | TRUE
26 | bus_LV_3360-5_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3360-5_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3360-5_0_2_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_3360-5_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3360-5_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3360-5_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_3360-5_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3360-5_0_2_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_3360-5_0_2_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3360-5_0_2_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_3360-5_0_2_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3360-5_0_2_node_217 | 0.4 | n |  | TRUE
38 | bus_LV_3360-5_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3360-5_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_3360-5_0_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3360-5_0_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3360-5_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3360-5_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3360-5_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3360-5_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3360-5_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3360-5_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_3360-5_0_2_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_3360-5_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_3360-5_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_3360-5_0_2_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3360-5_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3360-5_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_3360-5_0_2_node_175 | 0.4 | n |  | TRUE
55 | bus_LV_3360-5_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3360-5_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3360-5_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3360-5_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3360-5_0_2_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_3360-5_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3360-5_0_2_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_3360-5_0_2_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_3360-5_0_2_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_3360-5_0_2_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_3360-5_0_2_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_3360-5_0_2_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_3360-5_0_2_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_3360-5_0_2_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_3360-5_0_2_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_3360-5_0_2_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_3360-5_0_2_node_163 | 0.4 | n |  | TRUE
72 | bus_LV_3360-5_0_2_node_179 | 0.4 | n |  | TRUE
73 | bus_LV_3360-5_0_2_node_177 | 0.4 | n |  | TRUE
74 | bus_LV_3360-5_0_2_node_156 | 0.4 | n |  | TRUE
75 | bus_LV_3360-5_0_2_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_3360-5_0_2_node_161 | 0.4 | n |  | TRUE
77 | bus_LV_3360-5_0_2_node_162 | 0.4 | n |  | TRUE
78 | bus_LV_3360-5_0_2_node_164 | 0.4 | n |  | TRUE
79 | bus_LV_3360-5_0_2_node_165 | 0.4 | n |  | TRUE
80 | bus_LV_3360-5_0_2_node_166 | 0.4 | n |  | TRUE
81 | bus_LV_3360-5_0_2_node_167 | 0.4 | n |  | TRUE
82 | bus_LV_3360-5_0_2_node_168 | 0.4 | n |  | TRUE
83 | bus_LV_3360-5_0_2_node_169 | 0.4 | n |  | TRUE
84 | bus_LV_3360-5_0_2_node_170 | 0.4 | n |  | TRUE
85 | bus_LV_3360-5_0_2_node_173 | 0.4 | n |  | TRUE
86 | bus_LV_3360-5_0_2_node_171 | 0.4 | n |  | TRUE
87 | bus_LV_3360-5_0_2_node_172 | 0.4 | n |  | TRUE
88 | bus_LV_3360-5_0_2_node_224 | 0.4 | n |  | TRUE
89 | bus_LV_3360-5_0_2_node_174 | 0.4 | n |  | TRUE
90 | bus_LV_3360-5_0_2_node_176 | 0.4 | n |  | TRUE
91 | bus_LV_3360-5_0_2_node_218 | 0.4 | n |  | TRUE
92 | bus_MV_38_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3360-5_0_2_load_0 | 0 | 0.0020358 | 0.00051022 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3360-5_0_2_load_1 | 1 | 0.0037018 | 0.00092777 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3360-5_0_2_load_154 | 3 | 0.00040732 | 0.00010209 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3360-5_0_2_load_9 | 5 | 0.0019285 | 0.00048334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3360-5_0_2_load_4 | 6 | 0.00055962 | 0.00014025 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3360-5_0_2_load_6 | 8 | 0.001048 | 0.00026266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3360-5_0_2_load_7 | 9 | 0.00089135 | 0.00022339 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3360-5_0_2_load_8 | 10 | 0.0011176 | 0.00028011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3360-5_0_2_load_11 | 11 | 0.000741 | 0.00018571 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3360-5_0_2_load_12 | 12 | 0.0010114 | 0.00025349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3360-5_0_2_load_10 | 13 | 0.002316 | 0.00058043 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3360-5_0_2_load_13 | 15 | 0.00056723 | 0.00014216 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3360-5_0_2_load_18 | 16 | 0.0010411 | 0.00026092 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3360-5_0_2_load_19 | 17 | 0.00033785 | 8.4674e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3360-5_0_2_load_21 | 19 | 0.00063298 | 0.00015864 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3360-5_0_2_load_155 | 20 | 0.00094153 | 0.00023597 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3360-5_0_2_load_23 | 22 | 0.00042006 | 0.00010528 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3360-5_0_2_load_159 | 23 | 0.00015854 | 3.9734e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3360-5_0_2_load_157 | 25 | 0.00028594 | 7.1662e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3360-5_0_2_load_28 | 26 | 0.0012161 | 0.0003048 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3360-5_0_2_load_29 | 27 | 0.0015443 | 0.00038705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3360-5_0_2_load_43 | 28 | 0.0014496 | 0.00036331 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3360-5_0_2_load_30 | 29 | 0.0045853 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3360-5_0_2_load_31 | 30 | 0.00033732 | 8.4541e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3360-5_0_2_load_33 | 32 | 0.00063964 | 0.00016031 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3360-5_0_2_load_35 | 34 | 0.0019184 | 0.00048081 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3360-5_0_2_load_101 | 35 | 0.00024383 | 6.111e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3360-5_0_2_load_217 | 37 | 0.0010521 | 0.00026368 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3360-5_0_2_load_36 | 38 | 0.0011075 | 0.00027755 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3360-5_0_2_load_37 | 39 | 0.0015399 | 0.00038594 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3360-5_0_2_load_38 | 40 | 0.0010192 | 0.00025543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3360-5_0_2_load_39 | 41 | 0.0018084 | 0.00045322 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3360-5_0_2_load_40 | 42 | 0.0012574 | 0.00031514 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3360-5_0_2_load_41 | 43 | 0.0011867 | 0.00029741 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3360-5_0_2_load_44 | 45 | 0.0013707 | 0.00034354 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3360-5_0_2_load_45 | 46 | 0.0014827 | 0.00037159 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3360-5_0_2_load_46 | 47 | 0.0017342 | 0.00043464 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3360-5_0_2_load_56 | 48 | 0.0018819 | 0.00047166 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3360-5_0_2_load_48 | 49 | 0.0015104 | 0.00037855 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3360-5_0_2_load_49 | 51 | 0.0013915 | 0.00034875 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3360-5_0_2_load_50 | 52 | 0.0023881 | 0.00059852 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3360-5_0_2_load_52 | 53 | 0.0019246 | 0.00048235 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3360-5_0_2_load_175 | 54 | 0.00042841 | 0.00010737 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3360-5_0_2_load_53 | 55 | 0.00099252 | 0.00024875 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3360-5_0_2_load_55 | 57 | 0.0010395 | 0.00026052 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3360-5_0_2_load_57 | 58 | 0.000391 | 9.7994e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3360-5_0_2_load_104 | 59 | 0.00022236 | 5.573e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3360-5_0_2_load_59 | 60 | 0.0026695 | 0.00066904 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3360-5_0_2_load_60 | 61 | 0.00092056 | 0.00023071 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3360-5_0_2_load_92 | 63 | 0.0010891 | 0.00027296 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3360-5_0_2_load_99 | 64 | 0.00082131 | 0.00020584 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3360-5_0_2_load_98 | 65 | 0.0014374 | 0.00036025 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3360-5_0_2_load_100 | 66 | 0.00037045 | 9.2844e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3360-5_0_2_load_102 | 67 | 0.00031045 | 7.7807e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3360-5_0_2_load_103 | 68 | 0.00022938 | 5.7489e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3360-5_0_2_load_105 | 69 | 0.00038897 | 9.7484e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3360-5_0_2_load_179 | 72 | 0.00023909 | 5.9922e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3360-5_0_2_load_177 | 73 | 0.00058657 | 0.00014701 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3360-5_0_2_load_156 | 74 | 0.00024036 | 6.0241e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3360-5_0_2_load_158 | 75 | 0.00020758 | 5.2025e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3360-5_0_2_load_161 | 76 | 0.00033311 | 8.3486e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3360-5_0_2_load_162 | 77 | 0.00072006 | 0.00018046 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3360-5_0_2_load_164 | 78 | 0.00085295 | 0.00021377 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3360-5_0_2_load_165 | 79 | 0.0016949 | 0.00042479 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3360-5_0_2_load_166 | 80 | 0.00013101 | 3.2835e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3360-5_0_2_load_167 | 81 | 0.00020591 | 5.1606e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3360-5_0_2_load_169 | 83 | 0.00017246 | 4.3221e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3360-5_0_2_load_173 | 85 | 0.00019557 | 4.9013e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3360-5_0_2_load_171 | 86 | 0.00021737 | 5.4477e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3360-5_0_2_load_172 | 87 | 0.000229 | 5.7392e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3360-5_0_2_load_224 | 88 | 0.0019376 | 0.00048562 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3360-5_0_2_load_174 | 89 | 0.0010734 | 0.00026903 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3360-5_0_2_load_176 | 90 | 0.0013386 | 0.00033548 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3360-5_0_2_load_218 | 91 | 0.0007024 | 0.00017604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3360-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3360-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.047915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3360-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.23585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3360-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.041554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3360-5_0_2_line_4 | NAYY 4x150 SE | 3 | 73 | 0.18855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3360-5_0_2_line_5 | NAYY 4x150 SE | 3 | 66 | 0.41713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3360-5_0_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.02697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3360-5_0_2_line_7 | NAYY 4x150 SE | 5 | 13 | 0.034332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3360-5_0_2_line_8 | NAYY 4x150 SE | 5 | 14 | 0.14514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3360-5_0_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.014459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3360-5_0_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.0042308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3360-5_0_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.012715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3360-5_0_2_line_12 | NAYY 4x150 SE | 7 | 10 | 0.0061901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3360-5_0_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.0066613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3360-5_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.018867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3360-5_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.034191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3360-5_0_2_line_16 | NAYY 4x150 SE | 12 | 15 | 0.0076147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3360-5_0_2_line_17 | NAYY 4x150 SE | 14 | 49 | 0.012376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3360-5_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.036804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3360-5_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.028696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3360-5_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.069938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3360-5_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.067259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3360-5_0_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.044142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3360-5_0_2_line_23 | NAYY 4x150 SE | 18 | 22 | 0.013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3360-5_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.062661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3360-5_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.095815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3360-5_0_2_line_26 | NAYY 4x150 SE | 21 | 25 | 0.066789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3360-5_0_2_line_27 | NAYY 4x150 SE | 24 | 72 | 0.062333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3360-5_0_2_line_28 | NAYY 4x150 SE | 25 | 74 | 0.010387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3360-5_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.024173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3360-5_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.05685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3360-5_0_2_line_31 | NAYY 4x150 SE | 28 | 40 | 0.035267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3360-5_0_2_line_32 | NAYY 4x150 SE | 28 | 44 | 0.020383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3360-5_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.055371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3360-5_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.015183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3360-5_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.015816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3360-5_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.0107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3360-5_0_2_line_37 | NAYY 4x150 SE | 31 | 34 | 0.014829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3360-5_0_2_line_38 | NAYY 4x150 SE | 32 | 35 | 0.026274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3360-5_0_2_line_39 | NAYY 4x150 SE | 33 | 36 | 0.024308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3360-5_0_2_line_40 | NAYY 4x150 SE | 33 | 37 | 0.05188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3360-5_0_2_line_41 | NAYY 4x150 SE | 35 | 67 | 0.0040019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3360-5_0_2_line_42 | NAYY 4x150 SE | 36 | 60 | 0.018081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3360-5_0_2_line_43 | NAYY 4x150 SE | 36 | 57 | 0.035624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3360-5_0_2_line_44 | NAYY 4x150 SE | 37 | 91 | 0.038304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3360-5_0_2_line_45 | NAYY 4x150 SE | 38 | 39 | 0.0062782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3360-5_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.01977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3360-5_0_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.010116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3360-5_0_2_line_48 | NAYY 4x150 SE | 41 | 43 | 0.023924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3360-5_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0046269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3360-5_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3360-5_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0084517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3360-5_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.017481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3360-5_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.012238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3360-5_0_2_line_54 | NAYY 4x150 SE | 48 | 56 | 0.017754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3360-5_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.0063604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3360-5_0_2_line_56 | NAYY 4x150 SE | 50 | 55 | 0.024057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3360-5_0_2_line_57 | NAYY 4x150 SE | 50 | 51 | 0.022656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3360-5_0_2_line_58 | NAYY 4x150 SE | 51 | 52 | 0.031297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3360-5_0_2_line_59 | NAYY 4x150 SE | 52 | 53 | 0.033945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3360-5_0_2_line_60 | NAYY 4x150 SE | 52 | 54 | 0.12462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3360-5_0_2_line_61 | NAYY 4x150 SE | 53 | 56 | 0.0065354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3360-5_0_2_line_62 | NAYY 4x150 SE | 54 | 70 | 0.047798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3360-5_0_2_line_63 | NAYY 4x150 SE | 54 | 89 | 0.077429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3360-5_0_2_line_64 | NAYY 4x150 SE | 56 | 57 | 0.010101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3360-5_0_2_line_65 | NAYY 4x150 SE | 58 | 59 | 0.075886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3360-5_0_2_line_66 | NAYY 4x150 SE | 59 | 68 | 0.02207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3360-5_0_2_line_67 | NAYY 4x150 SE | 60 | 61 | 0.00077088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3360-5_0_2_line_68 | NAYY 4x150 SE | 62 | 63 | 0.089904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3360-5_0_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.40299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3360-5_0_2_line_70 | NAYY 4x150 SE | 64 | 65 | 0.07156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3360-5_0_2_line_71 | NAYY 4x150 SE | 65 | 66 | 0.44236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3360-5_0_2_line_72 | NAYY 4x150 SE | 67 | 68 | 0.019853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3360-5_0_2_line_73 | NAYY 4x150 SE | 69 | 70 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3360-5_0_2_line_74 | NAYY 4x150 SE | 70 | 71 | 0.038482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3360-5_0_2_line_75 | NAYY 4x150 SE | 70 | 72 | 0.21669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3360-5_0_2_line_76 | NAYY 4x150 SE | 71 | 79 | 0.026783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3360-5_0_2_line_77 | NAYY 4x150 SE | 71 | 76 | 0.02886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3360-5_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.041409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3360-5_0_2_line_79 | NAYY 4x150 SE | 76 | 77 | 0.032554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3360-5_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.028438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3360-5_0_2_line_81 | NAYY 4x150 SE | 78 | 80 | 0.134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3360-5_0_2_line_82 | NAYY 4x150 SE | 80 | 81 | 0.031241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3360-5_0_2_line_83 | NAYY 4x150 SE | 81 | 82 | 0.052814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3360-5_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.053819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3360-5_0_2_line_85 | NAYY 4x150 SE | 82 | 84 | 0.051988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3360-5_0_2_line_86 | NAYY 4x150 SE | 84 | 85 | 0.038224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3360-5_0_2_line_87 | NAYY 4x150 SE | 84 | 86 | 0.020043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3360-5_0_2_line_88 | NAYY 4x150 SE | 85 | 88 | 0.17591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3360-5_0_2_line_89 | NAYY 4x150 SE | 86 | 87 | 0.023406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3360-5_0_2_line_90 | NAYY 4x150 SE | 89 | 90 | 0.014347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3360-5_0_2_trafo_47 | 0.25 MVA 20/0.4 kV | 92 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2736022.0289 | 1234017.8318 | 2735923.0344 | 1234004.8464 | 2735919.9432 | 1234004.4405
1 | 2736069.5461 | 1234023.9933 | 2736044.6429 | 1234020.7982 | 2736022.0289 | 1234017.8318
2 | 2735919.9432 | 1234004.4405 | 2735956.356 | 1233771.4173
3 | 2736069.5461 | 1234023.9933 | 2736062.5943 | 1234064.9584
4 | 2736143.6102 | 1233793.4422 | 2735956.356 | 1233771.4173
5 | 2735956.356 | 1233771.4173 | 2735902.7289 | 1233357.7444
6 | 2736062.5943 | 1234064.9584 | 2736089.0623 | 1234070.1399
7 | 2736089.0623 | 1234070.1399 | 2736102.6129 | 1234072.7926 | 2736123.0751 | 1234074.3871
8 | 2736050.5602 | 1234210.075 | 2736089.0623 | 1234070.1399
9 | 2736176.0698 | 1234081.4828 | 2736167.1668 | 1234092.876
10 | 2736164.5618 | 1234096.2096 | 2736167.1668 | 1234092.876
11 | 2736176.0698 | 1234081.4828 | 2736163.6089 | 1234078.9532
12 | 2736176.0698 | 1234081.4828 | 2736180.0965 | 1234076.7814
13 | 2736157.0808 | 1234077.628 | 2736163.6089 | 1234078.9532
14 | 2736180.0965 | 1234076.7814 | 2736188.3257 | 1234067.1735 | 2736182.3653 | 1234065.4074
15 | 2736157.0808 | 1234077.628 | 2736152.3552 | 1234076.6687 | 2736123.0751 | 1234074.3871
16 | 2736175.0643 | 1234063.244 | 2736182.3653 | 1234065.4074
17 | 2736050.5602 | 1234210.075 | 2736050.4493 | 1234210.6173 | 2736048.5278 | 1234220.1149 | 2736048.1054 | 1234222.2048
18 | 2735589.2108 | 1233980.5924 | 2735625.6373 | 1233975.3373
19 | 2735654.2073 | 1233972.7544 | 2735630.8247 | 1233974.589 | 2735625.6373 | 1233975.3373
20 | 2735523.0855 | 1234003.2213 | 2735551.5076 | 1233992.2946 | 2735588.3657 | 1233980.7143 | 2735589.2108 | 1233980.5924
21 | 2735589.2108 | 1233980.5924 | 2735571.6524 | 1233915.6659
22 | 2735698.4205 | 1233975.0435 | 2735654.2073 | 1233972.7544
23 | 2735654.2073 | 1233972.7544 | 2735650.9689 | 1233959.8525
24 | 2735698.4205 | 1233975.0435 | 2735696.5524 | 1234003.4364 | 2735697.0814 | 1234013.7574 | 2735699.2341 | 1234018.6441 | 2735713.6825 | 1234030.2952
25 | 2735698.4205 | 1233975.0435 | 2735793.656 | 1233987.8631
26 | 2735698.4205 | 1233975.0435 | 2735698.238 | 1233967.455 | 2735697.4537 | 1233958.3626 | 2735691.5039 | 1233941.6679 | 2735690.2561 | 1233928.9951 | 2735689.7147 | 1233918.5515 | 2735690.0443 | 1233909.4006
27 | 2735793.656 | 1233987.8631 | 2735815.1346 | 1234017.624 | 2735815.7594 | 1234025.7342 | 2735805.6767 | 1234040.0939
28 | 2735691.1315 | 1233899.2059 | 2735690.357 | 1233900.7175 | 2735690.0443 | 1233909.4006
29 | 2736177.5067 | 1234333.203 | 2736167.3727 | 1234334.5802 | 2736157.835 | 1234324.4056
30 | 2736101.7476 | 1234333.6866 | 2736157.835 | 1234324.4056
31 | 2736110.6958 | 1234366.0703 | 2736111.8506 | 1234366.2245 | 2736109.2483 | 1234355.5334 | 2736101.7476 | 1234333.6866
32 | 2736095.1287 | 1234314.4078 | 2736101.7476 | 1234333.6866
33 | 2736021.8327 | 1234405.133 | 2736021.8849 | 1234427.4398 | 2736039.9166 | 1234455.1543 | 2736039.9166 | 1234455.1543
34 | 2736021.7972 | 1234389.9498 | 2736021.8327 | 1234405.133
35 | 2736039.9166 | 1234455.1543 | 2736037.2033 | 1234470.7356
36 | 2736021.7972 | 1234389.9498 | 2736021.7697 | 1234379.251
37 | 2736021.7972 | 1234389.9498 | 2736007.6224 | 1234394.305
38 | 2736037.2033 | 1234470.7356 | 2736035.731 | 1234479.1904 | 2736049.7037 | 1234490.0418
39 | 2736021.7697 | 1234379.251 | 2736017.6156 | 1234355.3019
40 | 2736021.7697 | 1234379.251 | 2736057.0835 | 1234379.8155 | 2736072.7938 | 1234385.0569
41 | 2736049.7037 | 1234490.0418 | 2736049.7037 | 1234490.0418 | 2736045.7299 | 1234490.515
42 | 2736017.6156 | 1234355.3019 | 2736034.4098 | 1234362.0013
43 | 2736017.6156 | 1234355.3019 | 2736015.2608 | 1234341.7363 | 2736014.9576 | 1234336.4581 | 2736016.6514 | 1234330.9477 | 2736022.0025 | 1234321.8178 | 2736022.0988 | 1234321.6185
44 | 2736088.5544 | 1234414.8997 | 2736082.7125 | 1234410.4176 | 2736080.1258 | 1234403.6748 | 2736081.1085 | 1234391.8537 | 2736079.3813 | 1234387.2547 | 2736072.7938 | 1234385.0569
45 | 2736084.7683 | 1234363.9181 | 2736091.0426 | 1234364.1383
46 | 2736110.6958 | 1234366.0703 | 2736098.08 | 1234364.3853 | 2736091.0426 | 1234364.1383
47 | 2736085.8639 | 1234287.4016 | 2736082.5814 | 1234277.8333
48 | 2736085.8639 | 1234287.4016 | 2736093.6273 | 1234310.0313
49 | 2736095.1287 | 1234314.4078 | 2736093.6273 | 1234310.0313
50 | 2736095.1287 | 1234314.4078 | 2736082.3982 | 1234314.0584
51 | 2736082.3982 | 1234314.0584 | 2736073.9496 | 1234313.8264
52 | 2736073.9496 | 1234313.8264 | 2736056.4749 | 1234313.3467
53 | 2736056.4749 | 1234313.3467 | 2736044.2413 | 1234313.0109
54 | 2736026.494 | 1234312.5237 | 2736044.2413 | 1234313.0109
55 | 2736046.8452 | 1234228.4391 | 2736048.1054 | 1234222.2048
56 | 2736046.8452 | 1234228.4391 | 2736041.8046 | 1234236.5752 | 2736034.347 | 1234244.0999 | 2736030.9072 | 1234245.9196
57 | 2736046.8452 | 1234228.4391 | 2736044.1451 | 1234240.1875 | 2736037.6673 | 1234248.5798
58 | 2736037.6673 | 1234248.5798 | 2736029.8023 | 1234255.3834 | 2736022.516 | 1234262.0446 | 2736019.8642 | 1234268.7119 | 2736020.5449 | 1234272.5015
59 | 2736025.7329 | 1234306.0328 | 2736024.1627 | 1234292.6421 | 2736020.5449 | 1234272.5015
60 | 2736020.5449 | 1234272.5015 | 2735895.9466 | 1234274.6465
61 | 2736026.494 | 1234312.5237 | 2736025.7329 | 1234306.0328
62 | 2735863.4067 | 1234248.9493 | 2735868.3337 | 1234267.6113 | 2735890.5321 | 1234273.1348 | 2735895.9466 | 1234274.6465
63 | 2735887.2004 | 1234314.1283 | 2735888.1437 | 1234307.343 | 2735904.8154 | 1234306.5124 | 2735918.8711 | 1234295.9025 | 2735915.1757 | 1234280.0154 | 2735895.9466 | 1234274.6465
64 | 2736026.494 | 1234312.5237 | 2736022.0988 | 1234321.6185
65 | 2736007.3851 | 1234503.7131 | 2735940.0803 | 1234468.6591
66 | 2736026.0158 | 1234492.8621 | 2736021.1909 | 1234493.4365 | 2736007.3851 | 1234503.7131
67 | 2736035.1258 | 1234362.2869 | 2736034.4098 | 1234362.0013
68 | 2735610.561 | 1232835.1794 | 2735572.7886 | 1232887.8297 | 2735570.5881 | 1232912.8899
69 | 2735610.561 | 1232835.1794 | 2736009.7589 | 1232890.313
70 | 2736057.7137 | 1232943.4194 | 2736038.0793 | 1232922.3452 | 2736009.7589 | 1232890.313
71 | 2735902.7289 | 1233357.7444 | 2736057.7137 | 1232943.4194
72 | 2736026.0158 | 1234492.8621 | 2736045.7299 | 1234490.515
73 | 2735863.4067 | 1234248.9493 | 2735876.9394 | 1234247.8713
74 | 2735863.4067 | 1234248.9493 | 2735844.0226 | 1234250.4964 | 2735827.826 | 1234260.6794
75 | 2735863.4067 | 1234248.9493 | 2735805.6767 | 1234040.0939
76 | 2735827.826 | 1234260.6794 | 2735831.4053 | 1234278.0095 | 2735824.1387 | 1234283.4926
77 | 2735827.826 | 1234260.6794 | 2735804.4769 | 1234277.6413
78 | 2735691.1315 | 1233899.2059 | 2735693.4881 | 1233894.6059 | 2735699.5675 | 1233889.0622 | 2735705.6046 | 1233884.0401 | 2735715.0654 | 1233877.0057 | 2735716.4139 | 1233868.7446
79 | 2735804.4769 | 1234277.6413 | 2735796.63 | 1234283.3416 | 2735776.2674 | 1234293.7213
80 | 2735776.2674 | 1234293.7213 | 2735761.4685 | 1234301.2648 | 2735750.2649 | 1234305.0566
81 | 2735616.312 | 1234308.4548 | 2735750.2649 | 1234305.0566
82 | 2735616.312 | 1234308.4548 | 2735592.5554 | 1234291.3889 | 2735590.8433 | 1234290.375
83 | 2735554.7875 | 1234253.3389 | 2735565.1527 | 1234270.3456 | 2735570.2519 | 1234276.2003 | 2735575.7588 | 1234281.4416 | 2735590.8433 | 1234290.375
84 | 2735554.7875 | 1234253.3389 | 2735559.4206 | 1234256.3917 | 2735571.5698 | 1234266.9001 | 2735580.0689 | 1234272.7657 | 2735591.2144 | 1234278.4805 | 2735595.769 | 1234278.996 | 2735600.38 | 1234277.3776
85 | 2735509.0239 | 1234235.124 | 2735512.316 | 1234232.5635 | 2735513.9002 | 1234233.823 | 2735519.6281 | 1234236.6894 | 2735543.8704 | 1234244.916 | 2735554.7875 | 1234253.3389
86 | 2735509.0239 | 1234235.124 | 2735506.1893 | 1234239.2073 | 2735505.264 | 1234244.2461 | 2735505.9907 | 1234247.9103 | 2735508.3424 | 1234251.7117 | 2735512.1349 | 1234254.4338 | 2735515.7539 | 1234256.1289 | 2735527.0009 | 1234257.3976
87 | 2735509.0239 | 1234235.124 | 2735506.0958 | 1234234.3455 | 2735490.9178 | 1234226.6602
88 | 2735527.0009 | 1234257.3976 | 2735478.862 | 1234426.5903
89 | 2735468.6318 | 1234225.0945 | 2735477.21 | 1234222.8548 | 2735484.1083 | 1234223.2123 | 2735490.9178 | 1234226.6602
90 | 2735885.2248 | 1234328.3389 | 2735887.2004 | 1234314.1283

## bus_geodata
| x | y | coords
0 | 2736022.0289 | 1234017.8318
1 | 2735919.9432 | 1234004.4405
2 | 2736069.5461 | 1234023.9933
3 | 2735956.356 | 1233771.4173
4 | 2736062.5943 | 1234064.9584
5 | 2736089.0623 | 1234070.1399
6 | 2736167.1668 | 1234092.876
7 | 2736176.0698 | 1234081.4828
8 | 2736164.5618 | 1234096.2096
9 | 2736163.6089 | 1234078.9532
10 | 2736180.0965 | 1234076.7814
11 | 2736157.0808 | 1234077.628
12 | 2736182.3653 | 1234065.4074
13 | 2736123.0751 | 1234074.3871
14 | 2736050.5602 | 1234210.075
15 | 2736175.0643 | 1234063.244
16 | 2735625.6373 | 1233975.3373
17 | 2735589.2108 | 1233980.5924
18 | 2735654.2073 | 1233972.7544
19 | 2735523.0855 | 1234003.2213
20 | 2735571.6524 | 1233915.6659
21 | 2735698.4205 | 1233975.0435
22 | 2735650.9689 | 1233959.8525
23 | 2735713.6825 | 1234030.2952
24 | 2735793.656 | 1233987.8631
25 | 2735690.0443 | 1233909.4006
26 | 2736177.5067 | 1234333.203
27 | 2736157.835 | 1234324.4056
28 | 2736101.7476 | 1234333.6866
29 | 2736021.8327 | 1234405.133
30 | 2736039.9166 | 1234455.1543
31 | 2736021.7972 | 1234389.9498
32 | 2736037.2033 | 1234470.7356
33 | 2736021.7697 | 1234379.251
34 | 2736007.6224 | 1234394.305
35 | 2736049.7037 | 1234490.0418
36 | 2736017.6156 | 1234355.3019
37 | 2736072.7938 | 1234385.0569
38 | 2736084.7683 | 1234363.9181
39 | 2736091.0426 | 1234364.1383
40 | 2736110.6958 | 1234366.0703
41 | 2736085.8639 | 1234287.4016
42 | 2736082.5814 | 1234277.8333
43 | 2736093.6273 | 1234310.0313
44 | 2736095.1287 | 1234314.4078
45 | 2736082.3982 | 1234314.0584
46 | 2736073.9496 | 1234313.8264
47 | 2736056.4749 | 1234313.3467
48 | 2736044.2413 | 1234313.0109
49 | 2736048.1054 | 1234222.2048
50 | 2736046.8452 | 1234228.4391
51 | 2736037.6673 | 1234248.5798
52 | 2736020.5449 | 1234272.5015
53 | 2736025.7329 | 1234306.0328
54 | 2735895.9466 | 1234274.6465
55 | 2736030.9072 | 1234245.9196
56 | 2736026.494 | 1234312.5237
57 | 2736022.0988 | 1234321.6185
58 | 2735940.0803 | 1234468.6591
59 | 2736007.3851 | 1234503.7131
60 | 2736034.4098 | 1234362.0013
61 | 2736035.1258 | 1234362.2869
62 | 2735610.561 | 1232835.1794
63 | 2735570.5881 | 1232912.8899
64 | 2736009.7589 | 1232890.313
65 | 2736057.7137 | 1232943.4194
66 | 2735902.7289 | 1233357.7444
67 | 2736045.7299 | 1234490.515
68 | 2736026.0158 | 1234492.8621
69 | 2735876.9394 | 1234247.8713
70 | 2735863.4067 | 1234248.9493
71 | 2735827.826 | 1234260.6794
72 | 2735805.6767 | 1234040.0939
73 | 2736143.6102 | 1233793.4422
74 | 2735691.1315 | 1233899.2059
75 | 2735716.4139 | 1233868.7446
76 | 2735804.4769 | 1234277.6413
77 | 2735776.2674 | 1234293.7213
78 | 2735750.2649 | 1234305.0566
79 | 2735824.1387 | 1234283.4926
80 | 2735616.312 | 1234308.4548
81 | 2735590.8433 | 1234290.375
82 | 2735554.7875 | 1234253.3389
83 | 2735600.38 | 1234277.3776
84 | 2735509.0239 | 1234235.124
85 | 2735527.0009 | 1234257.3976
86 | 2735490.9178 | 1234226.6602
87 | 2735468.6318 | 1234225.0945
88 | 2735478.862 | 1234426.5903
89 | 2735887.2004 | 1234314.1283
90 | 2735885.2248 | 1234328.3389
91 | 2736088.5544 | 1234414.8997
92 | 2736046.8452 | 1234228.4391

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1