## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3375-1_1_4_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_3375-1_1_4_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_3375-1_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_3375-1_1_4_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_3375-1_1_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_3375-1_1_4_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_3375-1_1_4_node_121 | 0.4 | n |  | TRUE
7 | bus_LV_3375-1_1_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_3375-1_1_4_node_115 | 0.4 | n |  | TRUE
9 | bus_LV_3375-1_1_4_node_122 | 0.4 | n |  | TRUE
10 | bus_LV_3375-1_1_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_3375-1_1_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_3375-1_1_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3375-1_1_4_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_3375-1_1_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_3375-1_1_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_3375-1_1_4_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_3375-1_1_4_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_3375-1_1_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_3375-1_1_4_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_3375-1_1_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3375-1_1_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_3375-1_1_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_3375-1_1_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_3375-1_1_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_3375-1_1_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_3375-1_1_4_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_3375-1_1_4_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_3375-1_1_4_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_3375-1_1_4_node_133 | 0.4 | n |  | TRUE
30 | bus_LV_3375-1_1_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_3375-1_1_4_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_3375-1_1_4_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_3375-1_1_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3375-1_1_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_3375-1_1_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3375-1_1_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_3375-1_1_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_3375-1_1_4_node_131 | 0.4 | n |  | TRUE
39 | bus_LV_3375-1_1_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_3375-1_1_4_node_248 | 0.4 | n |  | TRUE
41 | bus_LV_3375-1_1_4_node_135 | 0.4 | n |  | TRUE
42 | bus_LV_3375-1_1_4_node_132 | 0.4 | n |  | TRUE
43 | bus_LV_3375-1_1_4_node_120 | 0.4 | n |  | TRUE
44 | bus_LV_3375-1_1_4_node_119 | 0.4 | n |  | TRUE
45 | bus_LV_3375-1_1_4_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_3375-1_1_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_3375-1_1_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_3375-1_1_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_3375-1_1_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_3375-1_1_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_3375-1_1_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_3375-1_1_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_3375-1_1_4_node_140 | 0.4 | n |  | TRUE
54 | bus_LV_3375-1_1_4_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_3375-1_1_4_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_3375-1_1_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_3375-1_1_4_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_3375-1_1_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_3375-1_1_4_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_3375-1_1_4_node_141 | 0.4 | n |  | TRUE
61 | bus_LV_3375-1_1_4_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_3375-1_1_4_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_3375-1_1_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_3375-1_1_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_3375-1_1_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3375-1_1_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3375-1_1_4_node_151 | 0.4 | n |  | TRUE
68 | bus_LV_3375-1_1_4_node_173 | 0.4 | n |  | TRUE
69 | bus_LV_3375-1_1_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3375-1_1_4_node_129 | 0.4 | n |  | TRUE
71 | bus_LV_3375-1_1_4_node_127 | 0.4 | n |  | TRUE
72 | bus_LV_3375-1_1_4_node_149 | 0.4 | n |  | TRUE
73 | bus_LV_3375-1_1_4_node_148 | 0.4 | n |  | TRUE
74 | bus_LV_3375-1_1_4_node_172 | 0.4 | n |  | TRUE
75 | bus_LV_3375-1_1_4_node_128 | 0.4 | n |  | TRUE
76 | bus_LV_3375-1_1_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3375-1_1_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_3375-1_1_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_3375-1_1_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3375-1_1_4_node_108 | 0.4 | n |  | TRUE
81 | bus_LV_3375-1_1_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_3375-1_1_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3375-1_1_4_node_118 | 0.4 | n |  | TRUE
84 | bus_LV_3375-1_1_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3375-1_1_4_node_100 | 0.4 | n |  | TRUE
86 | bus_LV_3375-1_1_4_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_3375-1_1_4_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_3375-1_1_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_3375-1_1_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_3375-1_1_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_3375-1_1_4_node_250 | 0.4 | n |  | TRUE
92 | bus_LV_3375-1_1_4_node_139 | 0.4 | n |  | TRUE
93 | bus_LV_3375-1_1_4_node_134 | 0.4 | n |  | TRUE
94 | bus_LV_3375-1_1_4_node_169 | 0.4 | n |  | TRUE
95 | bus_LV_3375-1_1_4_node_142 | 0.4 | n |  | TRUE
96 | bus_LV_3375-1_1_4_node_249 | 0.4 | n |  | TRUE
97 | bus_LV_3375-1_1_4_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_3375-1_1_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_3375-1_1_4_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_3375-1_1_4_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_3375-1_1_4_node_136 | 0.4 | n |  | TRUE
102 | bus_LV_3375-1_1_4_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_3375-1_1_4_node_110 | 0.4 | n |  | TRUE
104 | bus_LV_3375-1_1_4_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_3375-1_1_4_node_111 | 0.4 | n |  | TRUE
106 | bus_LV_3375-1_1_4_node_113 | 0.4 | n |  | TRUE
107 | bus_LV_3375-1_1_4_node_145 | 0.4 | n |  | TRUE
108 | bus_LV_3375-1_1_4_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_3375-1_1_4_node_143 | 0.4 | n |  | TRUE
110 | bus_LV_3375-1_1_4_node_157 | 0.4 | n |  | TRUE
111 | bus_LV_3375-1_1_4_node_146 | 0.4 | n |  | TRUE
112 | bus_LV_3375-1_1_4_node_158 | 0.4 | n |  | TRUE
113 | bus_LV_3375-1_1_4_node_130 | 0.4 | n |  | TRUE
114 | bus_LV_3375-1_1_4_node_150 | 0.4 | n |  | TRUE
115 | bus_LV_3375-1_1_4_node_147 | 0.4 | n |  | TRUE
116 | bus_LV_3375-1_1_4_node_159 | 0.4 | n |  | TRUE
117 | bus_LV_3375-1_1_4_node_160 | 0.4 | n |  | TRUE
118 | bus_LV_3375-1_1_4_node_152 | 0.4 | n |  | TRUE
119 | bus_LV_3375-1_1_4_node_153 | 0.4 | n |  | TRUE
120 | bus_LV_3375-1_1_4_node_161 | 0.4 | n |  | TRUE
121 | bus_LV_3375-1_1_4_node_154 | 0.4 | n |  | TRUE
122 | bus_LV_3375-1_1_4_node_168 | 0.4 | n |  | TRUE
123 | bus_LV_3375-1_1_4_node_170 | 0.4 | n |  | TRUE
124 | bus_LV_3375-1_1_4_node_162 | 0.4 | n |  | TRUE
125 | bus_LV_3375-1_1_4_node_163 | 0.4 | n |  | TRUE
126 | bus_LV_3375-1_1_4_node_164 | 0.4 | n |  | TRUE
127 | bus_LV_3375-1_1_4_node_165 | 0.4 | n |  | TRUE
128 | bus_LV_3375-1_1_4_node_166 | 0.4 | n |  | TRUE
129 | bus_LV_3375-1_1_4_node_171 | 0.4 | n |  | TRUE
130 | bus_LV_3375-1_1_4_node_167 | 0.4 | n |  | TRUE
131 | bus_MV_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3375-1_1_4_load_3 | 0 | 0.00083052 | 0.00020815 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3375-1_1_4_load_6 | 2 | 0.00070546 | 0.0001768 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3375-1_1_4_load_123 | 5 | 0.00081648 | 0.00020463 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3375-1_1_4_load_121 | 6 | 0.0022332 | 0.0005597 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3375-1_1_4_load_27 | 7 | 0.00033086 | 8.2922e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3375-1_1_4_load_115 | 8 | 0.00039785 | 9.9709e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3375-1_1_4_load_122 | 9 | 0.00042313 | 0.00010605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3375-1_1_4_load_28 | 11 | 0.00040729 | 0.00010208 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3375-1_1_4_load_29 | 12 | 0.0013853 | 0.00034718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3375-1_1_4_load_31 | 13 | 0.00085168 | 0.00021345 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3375-1_1_4_load_32 | 15 | 0.00067191 | 0.0001684 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3375-1_1_4_load_77 | 16 | 0.0002387 | 5.9824e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3375-1_1_4_load_71 | 17 | 0.00028119 | 7.0473e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3375-1_1_4_load_67 | 18 | 0.00032123 | 8.0508e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3375-1_1_4_load_33 | 20 | 0.00063511 | 0.00015917 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3375-1_1_4_load_36 | 23 | 0.00036387 | 9.1193e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3375-1_1_4_load_37 | 24 | 0.0010713 | 0.0002685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3375-1_1_4_load_38 | 25 | 0.00071099 | 0.00017819 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3375-1_1_4_load_133 | 29 | 0.00017007 | 4.2624e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3375-1_1_4_load_40 | 32 | 0.00025841 | 6.4762e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3375-1_1_4_load_41 | 33 | 0.00033685 | 8.4423e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3375-1_1_4_load_43 | 35 | 0.00034386 | 8.618e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3375-1_1_4_load_47 | 37 | 0.00055644 | 0.00013946 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3375-1_1_4_load_131 | 38 | 0.00026686 | 6.6882e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3375-1_1_4_load_248 | 40 | 0.0039227 | 0.00098312 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3375-1_1_4_load_135 | 41 | 0.0041807 | 0.0010478 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3375-1_1_4_load_132 | 42 | 0.00026083 | 6.5371e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3375-1_1_4_load_120 | 43 | 0.00045382 | 0.00011374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3375-1_1_4_load_48 | 46 | 0.0016298 | 0.00040846 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3375-1_1_4_load_49 | 47 | 0.0014463 | 0.00036248 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3375-1_1_4_load_53 | 51 | 0.00068561 | 0.00017183 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3375-1_1_4_load_54 | 52 | 0.0027228 | 0.00068239 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3375-1_1_4_load_140 | 53 | 0.0029239 | 0.00073281 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3375-1_1_4_load_137 | 54 | 0.00071296 | 0.00017868 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3375-1_1_4_load_55 | 56 | 0.00072799 | 0.00018245 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3375-1_1_4_load_75 | 58 | 0.0020106 | 0.0005039 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3375-1_1_4_load_117 | 59 | 0.0039454 | 0.00098881 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3375-1_1_4_load_141 | 60 | 0.0012226 | 0.00030641 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3375-1_1_4_load_96 | 62 | 0.0027399 | 0.00068669 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3375-1_1_4_load_56 | 63 | 3.4994e-05 | 8.7704e-06 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3375-1_1_4_load_57 | 64 | 0.0001658 | 4.1554e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3375-1_1_4_load_151 | 67 | 0.00091428 | 0.00022914 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3375-1_1_4_load_173 | 68 | 0.00077747 | 0.00019485 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3375-1_1_4_load_129 | 70 | 0.00075021 | 0.00018802 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3375-1_1_4_load_127 | 71 | 0.00014724 | 3.6901e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3375-1_1_4_load_172 | 74 | 0.00014856 | 3.7233e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3375-1_1_4_load_128 | 75 | 0.00053499 | 0.00013408 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3375-1_1_4_load_68 | 76 | 0.00028923 | 7.2487e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3375-1_1_4_load_73 | 77 | 0.00048259 | 0.00012095 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3375-1_1_4_load_72 | 79 | 0.00043421 | 0.00010882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3375-1_1_4_load_108 | 80 | 0.00043867 | 0.00010994 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3375-1_1_4_load_76 | 82 | 0.0018531 | 0.00046444 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3375-1_1_4_load_118 | 83 | 0.00060513 | 0.00015166 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3375-1_1_4_load_80 | 84 | 0.0003714 | 9.3082e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3375-1_1_4_load_99 | 87 | 0.00036007 | 9.0242e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3375-1_1_4_load_81 | 88 | 0.00030659 | 7.6839e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3375-1_1_4_load_82 | 89 | 0.00036459 | 9.1376e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3375-1_1_4_load_250 | 91 | 0.00023019 | 5.7692e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3375-1_1_4_load_142 | 95 | 0.00064962 | 0.00016281 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3375-1_1_4_load_249 | 96 | 0.00065401 | 0.00016391 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3375-1_1_4_load_91 | 97 | 0.00068219 | 0.00017097 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3375-1_1_4_load_92 | 98 | 0.0012412 | 0.00031107 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3375-1_1_4_load_95 | 99 | 0.00028196 | 7.0665e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3375-1_1_4_load_97 | 100 | 0.0036127 | 0.00090544 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3375-1_1_4_load_136 | 101 | 0.00015175 | 3.8033e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3375-1_1_4_load_109 | 102 | 0.00072476 | 0.00018164 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3375-1_1_4_load_116 | 104 | 0.0001893 | 4.7443e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3375-1_1_4_load_111 | 105 | 0.00045517 | 0.00011408 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3375-1_1_4_load_145 | 107 | 0.0012956 | 0.0003247 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3375-1_1_4_load_143 | 109 | 0.00051757 | 0.00012972 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3375-1_1_4_load_157 | 110 | 0.0007347 | 0.00018413 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3375-1_1_4_load_146 | 111 | 0.0016445 | 0.00041215 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3375-1_1_4_load_158 | 112 | 0.00078039 | 0.00019558 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3375-1_1_4_load_130 | 113 | 0.00051592 | 0.0001293 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3375-1_1_4_load_150 | 114 | 0.00034197 | 8.5705e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3375-1_1_4_load_147 | 115 | 8.6316e-05 | 2.1633e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3375-1_1_4_load_159 | 116 | 0.00027558 | 6.9067e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3375-1_1_4_load_152 | 118 | 8.5162e-05 | 2.1344e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3375-1_1_4_load_161 | 120 | 0.00012356 | 3.0968e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3375-1_1_4_load_154 | 121 | 9.3397e-05 | 2.3407e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3375-1_1_4_load_168 | 122 | 0.00056826 | 0.00014242 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3375-1_1_4_load_170 | 123 | 0.0020495 | 0.00051366 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3375-1_1_4_load_162 | 124 | 0.00022756 | 5.7031e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3375-1_1_4_load_163 | 125 | 0.00063475 | 0.00015908 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3375-1_1_4_load_171 | 129 | 0.00016842 | 4.221e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3375-1_1_4_load_167 | 130 | 0.00052664 | 0.00013199 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3375-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.17058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3375-1_1_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.030451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3375-1_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.1262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3375-1_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.009174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3375-1_1_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.022396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3375-1_1_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.16006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3375-1_1_4_line_6 | NAYY 4x150 SE | 6 | 9 | 0.026591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3375-1_1_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.019201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3375-1_1_4_line_8 | NAYY 4x150 SE | 8 | 10 | 0.15464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3375-1_1_4_line_9 | NAYY 4x150 SE | 9 | 23 | 0.0013387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3375-1_1_4_line_10 | NAYY 4x150 SE | 10 | 27 | 0.12338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3375-1_1_4_line_11 | NAYY 4x150 SE | 10 | 22 | 0.15872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3375-1_1_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.00017463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3375-1_1_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.031619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3375-1_1_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.013464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3375-1_1_4_line_15 | NAYY 4x150 SE | 14 | 17 | 0.024171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3375-1_1_4_line_16 | NAYY 4x150 SE | 14 | 18 | 0.17462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3375-1_1_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3375-1_1_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.006072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3375-1_1_4_line_19 | NAYY 4x150 SE | 17 | 78 | 0.12833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3375-1_1_4_line_20 | NAYY 4x150 SE | 18 | 76 | 0.095206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3375-1_1_4_line_21 | NAYY 4x150 SE | 19 | 84 | 0.030641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3375-1_1_4_line_22 | NAYY 4x150 SE | 19 | 78 | 0.063148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3375-1_1_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.033999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3375-1_1_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.096742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3375-1_1_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.016406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3375-1_1_4_line_26 | NAYY 4x150 SE | 21 | 24 | 0.048017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3375-1_1_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.049326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3375-1_1_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.020303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3375-1_1_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.11913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3375-1_1_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.062004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3375-1_1_4_line_31 | NAYY 4x150 SE | 27 | 30 | 0.19213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3375-1_1_4_line_32 | NAYY 4x150 SE | 27 | 31 | 0.031503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3375-1_1_4_line_33 | NAYY 4x150 SE | 28 | 93 | 0.063308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3375-1_1_4_line_34 | NAYY 4x150 SE | 30 | 39 | 0.063425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3375-1_1_4_line_35 | NAYY 4x150 SE | 30 | 34 | 0.14036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3375-1_1_4_line_36 | NAYY 4x150 SE | 31 | 97 | 0.044812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3375-1_1_4_line_37 | NAYY 4x150 SE | 32 | 33 | 0.016439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3375-1_1_4_line_38 | NAYY 4x150 SE | 32 | 34 | 0.054143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3375-1_1_4_line_39 | NAYY 4x150 SE | 33 | 35 | 0.060952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3375-1_1_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.082259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3375-1_1_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.021038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3375-1_1_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.042281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3375-1_1_4_line_43 | NAYY 4x150 SE | 37 | 41 | 0.027469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3375-1_1_4_line_44 | NAYY 4x150 SE | 38 | 42 | 0.0016844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3375-1_1_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.023191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3375-1_1_4_line_46 | NAYY 4x150 SE | 41 | 45 | 0.015928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3375-1_1_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.043957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3375-1_1_4_line_48 | NAYY 4x150 SE | 44 | 83 | 0.14715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3375-1_1_4_line_49 | NAYY 4x150 SE | 44 | 82 | 0.070674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3375-1_1_4_line_50 | NAYY 4x150 SE | 45 | 59 | 0.014747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3375-1_1_4_line_51 | NAYY 4x150 SE | 45 | 55 | 0.029338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3375-1_1_4_line_52 | NAYY 4x150 SE | 46 | 47 | 0.023839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3375-1_1_4_line_53 | NAYY 4x150 SE | 46 | 48 | 0.017095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3375-1_1_4_line_54 | NAYY 4x150 SE | 47 | 49 | 0.0072985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3375-1_1_4_line_55 | NAYY 4x150 SE | 48 | 50 | 0.026728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3375-1_1_4_line_56 | NAYY 4x150 SE | 48 | 51 | 0.01242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3375-1_1_4_line_57 | NAYY 4x150 SE | 49 | 52 | 0.026549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3375-1_1_4_line_58 | NAYY 4x150 SE | 50 | 53 | 0.014091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3375-1_1_4_line_59 | NAYY 4x150 SE | 51 | 54 | 0.053701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3375-1_1_4_line_60 | NAYY 4x150 SE | 52 | 55 | 0.01514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3375-1_1_4_line_61 | NAYY 4x150 SE | 53 | 60 | 0.016921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3375-1_1_4_line_62 | NAYY 4x150 SE | 55 | 58 | 0.010782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_3375-1_1_4_line_63 | NAYY 4x150 SE | 56 | 57 | 0.0052314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3375-1_1_4_line_64 | NAYY 4x150 SE | 57 | 61 | 0.031363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3375-1_1_4_line_65 | NAYY 4x150 SE | 57 | 62 | 0.014203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3375-1_1_4_line_66 | NAYY 4x150 SE | 58 | 81 | 0.011644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3375-1_1_4_line_67 | NAYY 4x150 SE | 59 | 104 | 0.034094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3375-1_1_4_line_68 | NAYY 4x150 SE | 61 | 77 | 0.0095878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3375-1_1_4_line_69 | NAYY 4x150 SE | 61 | 76 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3375-1_1_4_line_70 | NAYY 4x150 SE | 62 | 99 | 0.02343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3375-1_1_4_line_71 | NAYY 4x150 SE | 63 | 64 | 0.024533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3375-1_1_4_line_72 | NAYY 4x150 SE | 63 | 65 | 0.068912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3375-1_1_4_line_73 | NAYY 4x150 SE | 65 | 66 | 0.022457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3375-1_1_4_line_74 | NAYY 4x150 SE | 66 | 67 | 0.042222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3375-1_1_4_line_75 | NAYY 4x150 SE | 66 | 68 | 0.23205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3375-1_1_4_line_76 | NAYY 4x150 SE | 67 | 72 | 0.037543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3375-1_1_4_line_77 | NAYY 4x150 SE | 68 | 74 | 0.022742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3375-1_1_4_line_78 | NAYY 4x150 SE | 69 | 70 | 0.034535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3375-1_1_4_line_79 | NAYY 4x150 SE | 69 | 71 | 0.028475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3375-1_1_4_line_80 | NAYY 4x150 SE | 70 | 73 | 0.1235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3375-1_1_4_line_81 | NAYY 4x150 SE | 71 | 75 | 0.026612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3375-1_1_4_line_82 | NAYY 4x150 SE | 72 | 73 | 0.078585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3375-1_1_4_line_83 | NAYY 4x150 SE | 73 | 114 | 0.087881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3375-1_1_4_line_84 | NAYY 4x150 SE | 75 | 86 | 0.10787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3375-1_1_4_line_85 | NAYY 4x150 SE | 77 | 79 | 0.047713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3375-1_1_4_line_86 | NAYY 4x150 SE | 78 | 80 | 0.030216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3375-1_1_4_line_87 | NAYY 4x150 SE | 79 | 81 | 0.039883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3375-1_1_4_line_88 | NAYY 4x150 SE | 81 | 82 | 0.0048937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_3375-1_1_4_line_89 | NAYY 4x150 SE | 83 | 113 | 0.14897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3375-1_1_4_line_90 | NAYY 4x150 SE | 84 | 85 | 0.20022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3375-1_1_4_line_91 | NAYY 4x150 SE | 85 | 86 | 0.19161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3375-1_1_4_line_92 | NAYY 4x150 SE | 85 | 87 | 0.040481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3375-1_1_4_line_93 | NAYY 4x150 SE | 86 | 101 | 0.039703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3375-1_1_4_line_94 | NAYY 4x150 SE | 88 | 89 | 0.0032017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3375-1_1_4_line_95 | NAYY 4x150 SE | 89 | 90 | 0.15226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3375-1_1_4_line_96 | NAYY 4x150 SE | 89 | 91 | 0.23398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3375-1_1_4_line_97 | NAYY 4x150 SE | 90 | 92 | 0.027911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_3375-1_1_4_line_98 | NAYY 4x150 SE | 90 | 93 | 0.25056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_3375-1_1_4_line_99 | NAYY 4x150 SE | 91 | 94 | 0.1979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3375-1_1_4_line_100 | NAYY 4x150 SE | 92 | 95 | 0.02504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_3375-1_1_4_line_101 | NAYY 4x150 SE | 93 | 96 | 0.17379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3375-1_1_4_line_102 | NAYY 4x150 SE | 94 | 122 | 0.18589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3375-1_1_4_line_103 | NAYY 4x150 SE | 94 | 129 | 0.26859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3375-1_1_4_line_104 | NAYY 4x150 SE | 95 | 109 | 0.18252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3375-1_1_4_line_105 | NAYY 4x150 SE | 97 | 98 | 0.12257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3375-1_1_4_line_106 | NAYY 4x150 SE | 99 | 100 | 0.022177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3375-1_1_4_line_107 | NAYY 4x150 SE | 102 | 103 | 0.027581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3375-1_1_4_line_108 | NAYY 4x150 SE | 103 | 105 | 0.03867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3375-1_1_4_line_109 | NAYY 4x150 SE | 103 | 106 | 0.2428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3375-1_1_4_line_110 | NAYY 4x150 SE | 105 | 107 | 0.016412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3375-1_1_4_line_111 | NAYY 4x150 SE | 106 | 110 | 0.074746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3375-1_1_4_line_112 | NAYY 4x150 SE | 106 | 108 | 0.059032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3375-1_1_4_line_113 | NAYY 4x150 SE | 107 | 111 | 0.038728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3375-1_1_4_line_114 | NAYY 4x150 SE | 108 | 109 | 0.094968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3375-1_1_4_line_115 | NAYY 4x150 SE | 110 | 112 | 0.0026168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3375-1_1_4_line_116 | NAYY 4x150 SE | 111 | 115 | 0.069417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3375-1_1_4_line_117 | NAYY 4x150 SE | 115 | 116 | 0.13015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3375-1_1_4_line_118 | NAYY 4x150 SE | 116 | 117 | 0.066064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3375-1_1_4_line_119 | NAYY 4x150 SE | 117 | 120 | 0.021426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3375-1_1_4_line_120 | NAYY 4x150 SE | 118 | 119 | 0.071673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3375-1_1_4_line_121 | NAYY 4x150 SE | 118 | 120 | 0.25928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3375-1_1_4_line_122 | NAYY 4x150 SE | 119 | 121 | 0.18895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3375-1_1_4_line_123 | NAYY 4x150 SE | 122 | 123 | 0.065334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3375-1_1_4_line_124 | NAYY 4x150 SE | 124 | 125 | 0.174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3375-1_1_4_line_125 | NAYY 4x150 SE | 124 | 126 | 0.012043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3375-1_1_4_line_126 | NAYY 4x150 SE | 125 | 127 | 0.027092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3375-1_1_4_line_127 | NAYY 4x150 SE | 126 | 128 | 0.055822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3375-1_1_4_line_128 | NAYY 4x150 SE | 127 | 129 | 0.089549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3375-1_1_4_line_129 | NAYY 4x150 SE | 128 | 130 | 0.070653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3375-1_1_4_trafo_118 | 0.25 MVA 20/0.4 kV | 131 | 83 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2725364.2093 | 1245980.5323 | 2725359.2154 | 1245982.9622 | 2725350.1533 | 1245980.146 | 2725341.8354 | 1245980.3704 | 2725330.1189 | 1245978.7103 | 2725318.4204 | 1245975.8385 | 2725308.5843 | 1245971.3824 | 2725296.4095 | 1245971.7366 | 2725288.8348 | 1245975.4131 | 2725283.6594 | 1245980.3524 | 2725279.2785 | 1245986.3205 | 2725272.5206 | 1245989.614 | 2725242.3947 | 1245986.1526 | 2725211.7509 | 1245978.2322 | 2725204.3945 | 1245975.3722
1 | 2725364.2093 | 1245980.5323 | 2725371.8251 | 1245980.6267 | 2725381.3221 | 1245980.7498 | 2725394.2977 | 1245977.6681
2 | 2725441.7705 | 1245906.62 | 2725443.9555 | 1245924.7818 | 2725461.314 | 1245953.0286 | 2725458.8568 | 1245960.2162 | 2725452.9479 | 1245963.7386 | 2725394.2977 | 1245977.6681
3 | 2725441.7705 | 1245906.62 | 2725448.249 | 1245900.107
4 | 2725448.249 | 1245900.107 | 2725458.2416 | 1245911.0944 | 2725463.4182 | 1245916.5826
5 | 2725448.249 | 1245900.107 | 2725486.8579 | 1245861.3016 | 2725509.1722 | 1245788.289 | 2725521.4357 | 1245762.0445
6 | 2725521.4357 | 1245762.0445 | 2725532.6926 | 1245737.9542
7 | 2725347.4926 | 1245692.8687 | 2725350.2614 | 1245708.4826 | 2725350.5812 | 1245711.8103
8 | 2725301.4097 | 1245572.9456 | 2725283.3585 | 1245598.1192 | 2725282.4601 | 1245609.1541 | 2725286.4482 | 1245619.2803 | 2725335.35 | 1245653.0979 | 2725342.4624 | 1245664.5024 | 2725347.4926 | 1245692.8687
9 | 2725532.6926 | 1245737.9542 | 2725533.2593 | 1245736.7414
10 | 2725231.2009 | 1245483.7089 | 2725224.3966 | 1245485.9561 | 2725248.8871 | 1245514.4419 | 2725290.9052 | 1245562.5371 | 2725301.4097 | 1245572.9456
11 | 2725421.8245 | 1245674.9444 | 2725412.1093 | 1245661.8945 | 2725402.5123 | 1245650.404 | 2725391.5653 | 1245638.7737 | 2725380.2133 | 1245628.7808 | 2725370.6944 | 1245621.4511 | 2725321.9655 | 1245589.1048 | 2725311.0401 | 1245581.0894 | 2725301.4097 | 1245572.9456
12 | 2724992.6874 | 1244788.509 | 2724992.601 | 1244788.3573
13 | 2724992.6874 | 1244788.509 | 2725002.2478 | 1244805.2792 | 2725005.7252 | 1244817.0934
14 | 2725009.5269 | 1244830.0092 | 2725005.7252 | 1244817.0934
15 | 2725009.5269 | 1244830.0092 | 2725026.8893 | 1244828.9408 | 2725032.1579 | 1244824.6795
16 | 2725009.5269 | 1244830.0092 | 2725013.3475 | 1244840.5987 | 2725019.0787 | 1244853.0635 | 2725040.347 | 1244875.3751 | 2725045.8924 | 1244886.6127 | 2725048.0975 | 1244895.6669 | 2725048.7649 | 1244906.6681 | 2725046.392 | 1244922.7652 | 2725042.678 | 1244935.0751 | 2725039.0321 | 1244944.5174 | 2725034.4987 | 1244957.6887 | 2725030.1497 | 1244985.0537 | 2725028.526 | 1244989.8417
17 | 2725093.279 | 1244665.6168 | 2725087.4253 | 1244662.4974 | 2725079.9116 | 1244659.1293
18 | 2725098.6377 | 1244668.4723 | 2725093.279 | 1244665.6168
19 | 2725116.2721 | 1244729.0291 | 2725100.0535 | 1244747.5139 | 2725078.8794 | 1244774.457 | 2725065.8578 | 1244796.201 | 2725036.671 | 1244821.0292 | 2725032.1579 | 1244824.6795
20 | 2725028.526 | 1244989.8417 | 2725026.0311 | 1244997.1994 | 2725020.277 | 1245011.2679 | 2725016.5717 | 1245023.8895 | 2725014.328 | 1245036.7309 | 2725011.9939 | 1245077.5165 | 2725011.3499 | 1245082.6715
21 | 2725098.6377 | 1244668.4723 | 2725123.4017 | 1244686.5173
22 | 2725098.6377 | 1244668.4723 | 2725107.5455 | 1244704.8467 | 2725116.2721 | 1244729.0291
23 | 2725540.2048 | 1245721.8778 | 2725522.2379 | 1245717.7051 | 2725507.1203 | 1245714.0484
24 | 2725421.8245 | 1245674.9444 | 2725428.9033 | 1245683.646 | 2725435.1397 | 1245690.0166 | 2725441.2661 | 1245694.4389 | 2725448.1264 | 1245698.4652 | 2725458.329 | 1245702.4066 | 2725473.5136 | 1245705.9196 | 2725507.1203 | 1245714.0484
25 | 2725540.2048 | 1245721.8778 | 2725533.2593 | 1245736.7414
26 | 2725540.2048 | 1245721.8778 | 2725562.3195 | 1245726.8279 | 2725570.0641 | 1245727.637 | 2725576.9502 | 1245727.2268 | 2725583.7669 | 1245725.4585 | 2725586.9368 | 1245723.6944
27 | 2725421.8245 | 1245674.9444 | 2725423.1244 | 1245714.2277 | 2725421.4342 | 1245724.1004
28 | 2725602.8876 | 1245711.2067 | 2725596.3515 | 1245716.851 | 2725589.4646 | 1245722.2876 | 2725586.9368 | 1245723.6944
29 | 2725592.6222 | 1245593.611 | 2725590.9512 | 1245651.0692 | 2725601.3207 | 1245687.431 | 2725602.8876 | 1245711.2067
30 | 2725231.2009 | 1245483.7089 | 2725241.6712 | 1245487.1663 | 2725261.5636 | 1245491.8236 | 2725274.257 | 1245499.1646 | 2725288.7451 | 1245505.6768
31 | 2725066.4092 | 1245396.9359 | 2725073.1101 | 1245401.381 | 2725087.4452 | 1245407.5885 | 2725121.2259 | 1245418.8662 | 2725148.153 | 1245427.5638 | 2725158.9856 | 1245431.7626 | 2725170.7508 | 1245437.6159 | 2725181.6761 | 1245444.5857 | 2725192.1727 | 1245452.5251 | 2725202.6055 | 1245461.6976 | 2725212.7417 | 1245472.3874 | 2725224.3966 | 1245485.9561 | 2725231.2009 | 1245483.7089
32 | 2725231.2009 | 1245483.7089 | 2725229.8117 | 1245478.6308 | 2725226.6517 | 1245468.6556 | 2725227.8004 | 1245452.922
33 | 2725631.2343 | 1245544.8091 | 2725597.6788 | 1245578.9722 | 2725592.6222 | 1245593.611
34 | 2725059.7794 | 1245455.0234 | 2725058.0042 | 1245448.536 | 2725052.7915 | 1245431.5895 | 2725052.0824 | 1245424.0014 | 2725052.489 | 1245419.4171 | 2725054.214 | 1245413.6041 | 2725061.0356 | 1245403.3725 | 2725066.4092 | 1245396.9359
35 | 2725045.8577 | 1245298.83 | 2725046.4295 | 1245305.4032 | 2725041.9234 | 1245381.4175 | 2725041.1734 | 1245397.9825 | 2725054.214 | 1245413.6041 | 2725061.0356 | 1245403.3725 | 2725066.4092 | 1245396.9359
36 | 2725227.8004 | 1245452.922 | 2725226.9171 | 1245437.1343 | 2725224.0773 | 1245418.0803 | 2725221.5704 | 1245408.6733
37 | 2725042.4791 | 1245244.8642 | 2725040.6989 | 1245228.5215
38 | 2725045.8577 | 1245298.83 | 2725046.2636 | 1245294.2791 | 2725045.2673 | 1245274.1521 | 2725043.7179 | 1245256.2375 | 2725042.4791 | 1245244.8642
39 | 2725040.6989 | 1245228.5215 | 2725039.2159 | 1245214.9073 | 2725037.176 | 1245210.9276 | 2725032.6328 | 1245207.0174 | 2725028.8494 | 1245206.5039 | 2725023.6617 | 1245207.7067 | 2725012.7268 | 1245216.5727 | 2725006.8811 | 1245219.5854 | 2725002.0179 | 1245219.3827 | 2724999.9987 | 1245218.7177
40 | 2725045.8577 | 1245298.83 | 2725043.1158 | 1245304.1212 | 2725037.421 | 1245309.6614 | 2725012.3621 | 1245336.3449 | 2724991.5377 | 1245360.4377
41 | 2724999.9987 | 1245218.7177 | 2724993.4683 | 1245216.5669 | 2724983.7844 | 1245210.5577 | 2724981.6342 | 1245208.818
42 | 2724991.5377 | 1245360.4377 | 2724986.216 | 1245362.6275 | 2724979.5061 | 1245363.2644 | 2724971.4337 | 1245361.8487 | 2724962.8831 | 1245360.1671 | 2724950.0144 | 1245360.6039
43 | 2724981.6342 | 1245208.818 | 2724960.2797 | 1245191.5399
44 | 2724948.3309 | 1245360.661 | 2724950.0144 | 1245360.6039
45 | 2725059.7794 | 1245455.0234 | 2725065.9055 | 1245477.3939
46 | 2724947.8975 | 1245181.5214 | 2724960.2797 | 1245191.5399
47 | 2725059.1257 | 1245165.774 | 2725066.608 | 1245167.5889 | 2725072.809 | 1245169.9439 | 2725078.8212 | 1245174.0853 | 2725083.1533 | 1245179.0475 | 2725086.4839 | 1245184.9005 | 2725089.0838 | 1245192.0726 | 2725089.2875 | 1245193.4313
48 | 2725059.1257 | 1245165.774 | 2725059.9376 | 1245162.3994 | 2725063.2299 | 1245160.4004 | 2725075.0403 | 1245162.3511 | 2725086.546 | 1245164.0507 | 2725097.8903 | 1245162.2995 | 2725107.2586 | 1245159.6282 | 2725122.7654 | 1245154.0393 | 2725137.4505 | 1245145.1304 | 2725157.0222 | 1245124.2255 | 2725176.3912 | 1245097.863
49 | 2725059.1257 | 1245165.774 | 2725050.3723 | 1245165.8118 | 2725044.3824 | 1245167.0643 | 2725038.3173 | 1245169.7276 | 2725023.5946 | 1245178.636 | 2725016.1513 | 1245181.426 | 2725009.0895 | 1245182.9674 | 2725003.2954 | 1245183.1788 | 2724996.738 | 1245181.9507 | 2724992.6635 | 1245180.5087
50 | 2724947.8975 | 1245181.5214 | 2724942.0175 | 1245195.0459
51 | 2724947.8975 | 1245181.5214 | 2724946.6079 | 1245177.0793 | 2724945.694 | 1245173.824 | 2724956.0368 | 1245172.6075 | 2724966.8924 | 1245171.4462
52 | 2724904.8253 | 1245133.6564 | 2724925.705 | 1245145.1607
53 | 2724889.8528 | 1245125.4068 | 2724904.8253 | 1245133.6564
54 | 2724932.0974 | 1245148.6828 | 2724925.705 | 1245145.1607
55 | 2724889.8528 | 1245125.4068 | 2724889.2959 | 1245133.1795 | 2724889.9456 | 1245147.9057 | 2724889.8648 | 1245152.0965
56 | 2724889.8528 | 1245125.4068 | 2724879.1286 | 1245119.1414
57 | 2724932.0974 | 1245148.6828 | 2724954.9376 | 1245162.2178
58 | 2724889.8648 | 1245152.0965 | 2724875.7781 | 1245151.7305
59 | 2724834.3383 | 1245089.5822 | 2724842.103 | 1245095.0648 | 2724864.6757 | 1245110.6976 | 2724879.1286 | 1245119.1414
60 | 2724966.8924 | 1245171.4462 | 2724958.2103 | 1245164.1571 | 2724954.9376 | 1245162.2178
61 | 2724859.1533 | 1245149.3143 | 2724867.2172 | 1245151.5081 | 2724875.7781 | 1245151.7305
62 | 2724966.8924 | 1245171.4462 | 2724977.0263 | 1245175.1287
63 | 2724996.4298 | 1245121.6595 | 2724992.5152 | 1245125.13
64 | 2724996.4298 | 1245121.6595 | 2725001.9865 | 1245117.2951 | 2725005.1924 | 1245112.225 | 2725008.2736 | 1245105.5397 | 2725009.8477 | 1245094.697
65 | 2724996.4298 | 1245121.6595 | 2724984.3877 | 1245114.1294
66 | 2724988.0502 | 1245178.8761 | 2724977.7761 | 1245175.4011 | 2724977.0263 | 1245175.1287
67 | 2724948.8868 | 1245224.1131 | 2724940.6761 | 1245219.6796 | 2724940.7767 | 1245202 | 2724941.7651 | 1245195.6265 | 2724942.0175 | 1245195.0459
68 | 2725009.8477 | 1245094.697 | 2725013.0966 | 1245103.7176
69 | 2725009.8477 | 1245094.697 | 2725011.3499 | 1245082.6715
70 | 2724961.5787 | 1245109.3857 | 2724982.7182 | 1245113.0855 | 2724984.3877 | 1245114.1294
71 | 2725518.0501 | 1244574.5511 | 2725528.0927 | 1244578.6448 | 2725541.3509 | 1244582.0492
72 | 2725469.1855 | 1244527.1659 | 2725471.9339 | 1244527.3131 | 2725506.484 | 1244565.2985 | 2725518.0501 | 1244574.5511 | 2725518.0501 | 1244574.5511
73 | 2725469.1855 | 1244527.1659 | 2725459.4851 | 1244506.8991
74 | 2725459.4851 | 1244506.8991 | 2725442.8069 | 1244499.8737 | 2725433.1082 | 1244498.4564 | 2725422.2278 | 1244489.1421
75 | 2725459.4851 | 1244506.8991 | 2725578.9697 | 1244307.9797
76 | 2725398.4231 | 1244460.7354 | 2725408.4134 | 1244477.3163 | 2725422.2278 | 1244489.1421
77 | 2725578.9697 | 1244307.9797 | 2725601.3943 | 1244311.7676
78 | 2725336.0126 | 1244541.5855 | 2725306.4095 | 1244534.4986 | 2725302.7838 | 1244532.5947
79 | 2725336.0126 | 1244541.5855 | 2725307.7676 | 1244545.1962
80 | 2725327.5802 | 1244426.2869 | 2725322.5772 | 1244453.7602 | 2725299.6501 | 1244502.7399 | 2725288.9791 | 1244517.9942 | 2725289.0871 | 1244525.4027 | 2725302.7838 | 1244532.5947
81 | 2725307.7676 | 1244545.1962 | 2725281.3709 | 1244548.5706
82 | 2725398.4231 | 1244460.7354 | 2725374.3074 | 1244449.0158 | 2725359.7692 | 1244441.947 | 2725327.5802 | 1244426.2869
83 | 2725327.5802 | 1244426.2869 | 2725281.6516 | 1244392.5771 | 2725260.2306 | 1244370.2947
84 | 2725208.6231 | 1244578.9163 | 2725203.0962 | 1244568.5908 | 2725206.3018 | 1244551.0324 | 2725231.2794 | 1244539.839 | 2725266.7976 | 1244547.462 | 2725281.3709 | 1244548.5706 | 2725281.3709 | 1244548.5706
85 | 2725014.9134 | 1245149.477 | 2725016.799 | 1245147.1326 | 2725019.6314 | 1245135.4046 | 2725018.3366 | 1245123.6895 | 2725013.3645 | 1245110.0064 | 2725013.0966 | 1245103.7176
86 | 2725133.0493 | 1244753.5482 | 2725123.2428 | 1244743.9999 | 2725118.5216 | 1244735.2596 | 2725116.2721 | 1244729.0291
87 | 2724988.0502 | 1245178.8761 | 2725004.1782 | 1245162.8245 | 2725014.9134 | 1245149.477
88 | 2724988.0502 | 1245178.8761 | 2724992.6635 | 1245180.5087
89 | 2725176.3912 | 1245097.863 | 2725321.9732 | 1245066.2955
90 | 2725308.8388 | 1244735.6768 | 2725303.6829 | 1244738.2146 | 2725296.9748 | 1244738.0171 | 2725283.6387 | 1244735.2554 | 2725256.8376 | 1244731.186 | 2725237.7864 | 1244729.8827 | 2725220.0005 | 1244729.8739 | 2725207.3327 | 1244730.5404 | 2725201.3384 | 1244730.5472 | 2725193.7376 | 1244727.1617 | 2725163.3452 | 1244702.7218 | 2725155.8271 | 1244697.203 | 2725146.3157 | 1244696.2348 | 2725136.1799 | 1244694.0525 | 2725129.3164 | 1244690.8272 | 2725123.4017 | 1244686.5173
91 | 2725208.6231 | 1244578.9163 | 2725215.5754 | 1244591.8963 | 2725258.2756 | 1244663.1361 | 2725280.9377 | 1244684.2326 | 2725300.3418 | 1244704.6042 | 2725308.9823 | 1244718.8767 | 2725311.6317 | 1244723.3476 | 2725311.6402 | 1244730.4538 | 2725308.8388 | 1244735.6768
92 | 2725308.8388 | 1244735.6768 | 2725344.8275 | 1244754.2117
93 | 2725208.6231 | 1244578.9163 | 2725198.2756 | 1244573.8602 | 2725180.9935 | 1244575.7416 | 2725176.1568 | 1244578.5531 | 2725171.0062 | 1244577.2544
94 | 2725892.3376 | 1245519.1138 | 2725890.2231 | 1245516.7098
95 | 2725798.9655 | 1245396.7594 | 2725802.7873 | 1245402.9346 | 2725827.0975 | 1245450.4799 | 2725847.3861 | 1245468.8593 | 2725867.1962 | 1245490.5427 | 2725880.1553 | 1245505.2636 | 2725890.2231 | 1245516.7098
96 | 2725890.2231 | 1245516.7098 | 2726053.9819 | 1245349.5883
97 | 2725798.9655 | 1245396.7594 | 2725795.8304 | 1245387.7852 | 2725786.7225 | 1245376.7604 | 2725783.6753 | 1245373.9712
98 | 2725631.2343 | 1245544.8091 | 2725649.0012 | 1245526.7144 | 2725650.9902 | 1245497.4203 | 2725668.9399 | 1245456.8103 | 2725693.8623 | 1245433.4739 | 2725700.6293 | 1245429.7919 | 2725710.221 | 1245426.5591 | 2725722.2359 | 1245424.1784 | 2725734.6117 | 1245424.0294 | 2725747.4569 | 1245420.2763 | 2725755.7003 | 1245413.979 | 2725766.1936 | 1245406.7286 | 2725779.545 | 1245398.7159 | 2725787.7894 | 1245392.0183 | 2725798.9655 | 1245396.7594
99 | 2726138.2347 | 1245170.5147 | 2726053.9819 | 1245349.5883
100 | 2725783.6753 | 1245373.9712 | 2725765.2125 | 1245357.056
101 | 2725631.2343 | 1245544.8091 | 2725626.3827 | 1245522.6763 | 2725627.2887 | 1245504.1796 | 2725619.5053 | 1245489.8581 | 2725606.3955 | 1245485.0653 | 2725594.8323 | 1245491.1034 | 2725580.8426 | 1245509.2894 | 2725564.6551 | 1245519.5555 | 2725545.9931 | 1245516.4134 | 2725533.5852 | 1245506.3199 | 2725531.0858 | 1245494.0788
102 | 2726138.2347 | 1245170.5147 | 2726128.6682 | 1245168.2649 | 2726097.5714 | 1245153.0575 | 2726081.2536 | 1245143.4246 | 2726072.4841 | 1245136.043 | 2726063.7775 | 1245126.0606 | 2726046.2207 | 1245098.6195 | 2726019.1308 | 1245075.1684 | 2725995.5612 | 1245057.6214
103 | 2726350.6732 | 1245006.1602 | 2726138.2347 | 1245170.5147
104 | 2725765.2125 | 1245357.056 | 2725764.6139 | 1245356.5077 | 2725748.3239 | 1245341.2937 | 2725665.3386 | 1245220.2872 | 2725660.419 | 1245208.5912
105 | 2725221.5704 | 1245408.6733 | 2725218.9302 | 1245398.7662 | 2725217.2127 | 1245384.1842 | 2725216.0941 | 1245373.4514 | 2725216.3844 | 1245359.7125 | 2725216.3909 | 1245346.1677 | 2725213.0092 | 1245327.7139 | 2725212.1003 | 1245313.1379 | 2725212.5072 | 1245299.6016 | 2725212.6864 | 1245291.1203 | 2725214.7879 | 1245287.5283
106 | 2724939.7333 | 1245105.5625 | 2724961.5787 | 1245109.3857
107 | 2725550.603 | 1244875.2409 | 2725540.1506 | 1244851.9776 | 2725539.6197 | 1244849.9689
108 | 2725550.603 | 1244875.2409 | 2725561.4525 | 1244838.1242
109 | 2725550.603 | 1244875.2409 | 2725572.6831 | 1244904.8112 | 2725603.2676 | 1244973.206 | 2725625.7719 | 1245001.9849 | 2725626.8985 | 1245014.4527 | 2725623.4764 | 1245033.6188 | 2725621.764 | 1245045.2258 | 2725624.0194 | 1245065.413 | 2725637.8992 | 1245061.0255 | 2725653.7302 | 1245060.1489
110 | 2725566.0571 | 1244822.3717 | 2725561.4525 | 1244838.1242
111 | 2725653.7302 | 1245060.1489 | 2725660.5712 | 1245043.7242 | 2725677.6047 | 1245024.2796 | 2725684.1814 | 1245019.9708 | 2725694.8151 | 1245015.748 | 2725700.6998 | 1245011.6359 | 2725702.8567 | 1245007.5495
112 | 2725636.9973 | 1245116.7651 | 2725642.0762 | 1245099.3133 | 2725653.7302 | 1245060.1489
113 | 2725566.6309 | 1244787.2559 | 2725559.1368 | 1244797.8109 | 2725564.1411 | 1244810.283 | 2725566.3394 | 1244821.4057 | 2725566.0571 | 1244822.3717
114 | 2725636.9973 | 1245116.7651 | 2725639.3613 | 1245126.1232 | 2725654.5307 | 1245194.5919 | 2725660.419 | 1245208.5912
115 | 2725704.0782 | 1245005.2353 | 2725702.8567 | 1245007.5495
116 | 2725566.6309 | 1244787.2559 | 2725568.7513 | 1244784.2695 | 2725608.0076 | 1244749.5265 | 2725620.6666 | 1244745.3465 | 2725620.6666 | 1244745.3465
117 | 2725620.6666 | 1244745.3465 | 2725628.7224 | 1244747.9415 | 2725645.4622 | 1244761.6411 | 2725654.9037 | 1244775.1748 | 2725666.9512 | 1244819.0897 | 2725679.3962 | 1244844.2526 | 2725687.1517 | 1244850.4845
118 | 2725727.0989 | 1244827.905 | 2725726.1431 | 1244827.7068 | 2725724.7291 | 1244829.1559 | 2725721.7818 | 1244853.0026 | 2725704.1964 | 1244860.3029 | 2725696.1409 | 1244857.7078 | 2725687.1517 | 1244850.4845
119 | 2725727.0989 | 1244827.905 | 2725735.5003 | 1244836.6461 | 2725740.3216 | 1244838.4832 | 2725740.7574 | 1244834.3333
120 | 2725927.0783 | 1244610.016 | 2725907.1263 | 1244614.096 | 2725888.2831 | 1244616.1534 | 2725867.877 | 1244611.3608 | 2725859.3759 | 1244603.7781
121 | 2725740.7574 | 1244834.3333 | 2725859.3759 | 1244603.7781
122 | 2725927.0783 | 1244610.016 | 2725927.5152 | 1244589.808 | 2725928.5237 | 1244578.9868 | 2725929.913 | 1244570.876 | 2725932.9382 | 1244561.5545 | 2725942.7764 | 1244536.1194 | 2725947.267 | 1244522.2251 | 2725954.338 | 1244494.685 | 2725960.2994 | 1244473.1154 | 2725964.5688 | 1244461.8075 | 2725974.2998 | 1244444.9886 | 2725981.5638 | 1244431.1409
123 | 2725982.0147 | 1245085.2998 | 2725967.37 | 1245068.4077 | 2725965.925 | 1245060.2923 | 2725970.5198 | 1245053.9289 | 2725988.3929 | 1245052.2848 | 2725995.5612 | 1245057.6214
124 | 2726321.8425 | 1244839.6603 | 2726319.8655 | 1244862.9272 | 2726368.5445 | 1244943.3996 | 2726381.2543 | 1244959.1839 | 2726396.0704 | 1244967.996 | 2726411.4956 | 1244979.2514
125 | 2726322.8621 | 1244827.6609 | 2726321.8425 | 1244839.6603
126 | 2726428.7833 | 1244999.2309 | 2726426.856 | 1244993.9075 | 2726420.4829 | 1244985.8092 | 2726411.4956 | 1244979.2514
127 | 2726322.8621 | 1244827.6609 | 2726327.65 | 1244825.3831 | 2726335.5752 | 1244828.41 | 2726351.8176 | 1244837.3525 | 2726360.9245 | 1244839.9042 | 2726369.7473 | 1244840.893 | 2726375.0181 | 1244841.4946
128 | 2726428.7833 | 1244999.2309 | 2726428.0614 | 1245003.3079 | 2726423.7978 | 1245007.2315 | 2726415.2375 | 1245009.54 | 2726408.0903 | 1245009.7434 | 2726387.5146 | 1245006.2464 | 2726376.2581 | 1245003.1373 | 2726360.7642 | 1244997.7582 | 2726352.3963 | 1245000.6157 | 2726350.6732 | 1245006.1602
129 | 2726375.0181 | 1244841.4946 | 2726381.9373 | 1244851.9955 | 2726390.0263 | 1244860.8087 | 2726400.58 | 1244863.2134 | 2726410.6906 | 1244863.3623 | 2726414.9231 | 1244857.3584 | 2726409.6828 | 1244850.7189 | 2726404.8655 | 1244842.676

## bus_geodata
| x | y | coords
0 | 2725204.3945 | 1245975.3722
1 | 2725364.2093 | 1245980.5323
2 | 2725394.2977 | 1245977.6681
3 | 2725441.7705 | 1245906.62
4 | 2725448.249 | 1245900.107
5 | 2725463.4182 | 1245916.5826
6 | 2725521.4357 | 1245762.0445
7 | 2725350.5812 | 1245711.8103
8 | 2725347.4926 | 1245692.8687
9 | 2725532.6926 | 1245737.9542
10 | 2725301.4097 | 1245572.9456
11 | 2724992.601 | 1244788.3573
12 | 2724992.6874 | 1244788.509
13 | 2725005.7252 | 1244817.0934
14 | 2725009.5269 | 1244830.0092
15 | 2725079.9116 | 1244659.1293
16 | 2725093.279 | 1244665.6168
17 | 2725032.1579 | 1244824.6795
18 | 2725028.5261 | 1244989.8417
19 | 2725098.6377 | 1244668.4723
20 | 2725507.1203 | 1245714.0484
21 | 2725540.2048 | 1245721.8778
22 | 2725421.8245 | 1245674.9444
23 | 2725533.2593 | 1245736.7414
24 | 2725586.9368 | 1245723.6944
25 | 2725421.4342 | 1245724.1004
26 | 2725602.8876 | 1245711.2067
27 | 2725231.2009 | 1245483.7089
28 | 2725592.6222 | 1245593.611
29 | 2725288.7451 | 1245505.6768
30 | 2725066.4092 | 1245396.9359
31 | 2725227.8004 | 1245452.922
32 | 2725042.4791 | 1245244.8642
33 | 2725040.6989 | 1245228.5215
34 | 2725045.8577 | 1245298.83
35 | 2724999.9987 | 1245218.7177
36 | 2724991.5377 | 1245360.4377
37 | 2724981.6342 | 1245208.818
38 | 2724950.0144 | 1245360.6039
39 | 2725059.7794 | 1245455.0234
40 | 2725065.9055 | 1245477.3939
41 | 2724960.2797 | 1245191.5399
42 | 2724948.3309 | 1245360.661
43 | 2725089.2875 | 1245193.4313
44 | 2725059.1257 | 1245165.774
45 | 2724947.8975 | 1245181.5214
46 | 2724904.8253 | 1245133.6564
47 | 2724925.705 | 1245145.1607
48 | 2724889.8528 | 1245125.4068
49 | 2724932.0974 | 1245148.6828
50 | 2724889.8648 | 1245152.0965
51 | 2724879.1286 | 1245119.1414
52 | 2724954.9376 | 1245162.2178
53 | 2724875.7781 | 1245151.7305
54 | 2724834.3383 | 1245089.5822
55 | 2724966.8924 | 1245171.4462
56 | 2724992.5152 | 1245125.13
57 | 2724996.4298 | 1245121.6595
58 | 2724977.0263 | 1245175.1287
59 | 2724942.0175 | 1245195.0459
60 | 2724859.1533 | 1245149.3143
61 | 2725009.8477 | 1245094.697
62 | 2724984.3877 | 1245114.1294
63 | 2725518.0501 | 1244574.5511
64 | 2725541.3509 | 1244582.0492
65 | 2725469.1855 | 1244527.1659
66 | 2725459.4851 | 1244506.8991
67 | 2725422.2278 | 1244489.1421
68 | 2725578.9697 | 1244307.9797
69 | 2725336.0126 | 1244541.5855
70 | 2725302.7838 | 1244532.5947
71 | 2725307.7676 | 1244545.1962
72 | 2725398.4231 | 1244460.7354
73 | 2725327.5802 | 1244426.2869
74 | 2725601.3943 | 1244311.7676
75 | 2725281.3709 | 1244548.5706
76 | 2725011.3499 | 1245082.6715
77 | 2725013.0966 | 1245103.7176
78 | 2725116.2721 | 1244729.0291
79 | 2725014.9134 | 1245149.477
80 | 2725133.0493 | 1244753.5482
81 | 2724988.0502 | 1245178.8761
82 | 2724992.6635 | 1245180.5087
83 | 2725176.3912 | 1245097.863
84 | 2725123.4017 | 1244686.5173
85 | 2725308.8388 | 1244735.6768
86 | 2725208.6231 | 1244578.9163
87 | 2725344.8275 | 1244754.2117
88 | 2725892.3376 | 1245519.1138
89 | 2725890.2231 | 1245516.7098
90 | 2725798.9655 | 1245396.7594
91 | 2726053.9819 | 1245349.5883
92 | 2725783.6753 | 1245373.9712
93 | 2725631.2343 | 1245544.8091
94 | 2726138.2347 | 1245170.5147
95 | 2725765.2125 | 1245357.056
96 | 2725531.0858 | 1245494.0788
97 | 2725221.5704 | 1245408.6733
98 | 2725214.7879 | 1245287.5283
99 | 2724961.5787 | 1245109.3858
100 | 2724939.7333 | 1245105.5625
101 | 2725171.0062 | 1244577.2544
102 | 2725539.6197 | 1244849.9689
103 | 2725550.603 | 1244875.2409
104 | 2724948.8868 | 1245224.1131
105 | 2725561.4525 | 1244838.1242
106 | 2725653.7302 | 1245060.1489
107 | 2725566.0571 | 1244822.3717
108 | 2725636.9973 | 1245116.7651
109 | 2725660.419 | 1245208.5912
110 | 2725702.8567 | 1245007.5495
111 | 2725566.6309 | 1244787.2559
112 | 2725704.0782 | 1245005.2353
113 | 2725321.9732 | 1245066.2955
114 | 2725260.2306 | 1244370.2947
115 | 2725620.6666 | 1244745.3465
116 | 2725687.1517 | 1244850.4845
117 | 2725727.0989 | 1244827.905
118 | 2725859.3759 | 1244603.7781
119 | 2725927.0783 | 1244610.016
120 | 2725740.7574 | 1244834.3333
121 | 2725981.5638 | 1244431.1409
122 | 2725995.5612 | 1245057.6214
123 | 2725982.0147 | 1245085.2998
124 | 2726321.8425 | 1244839.6603
125 | 2726411.4956 | 1244979.2514
126 | 2726322.8621 | 1244827.6609
127 | 2726428.7833 | 1244999.2309
128 | 2726375.0181 | 1244841.4946
129 | 2726350.6732 | 1245006.1602
130 | 2726404.8655 | 1244842.676
131 | 2725176.3912 | 1245097.863

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1