## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3378-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3378-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3378-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3378-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3378-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3378-10_0_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_3378-10_0_3_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_3378-10_0_3_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_3378-10_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3378-10_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3378-10_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3378-10_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3378-10_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3378-10_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_3378-10_0_3_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_3378-10_0_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_3378-10_0_3_node_136 | 0.4 | n |  | TRUE
17 | bus_LV_3378-10_0_3_node_137 | 0.4 | n |  | TRUE
18 | bus_LV_3378-10_0_3_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_3378-10_0_3_node_139 | 0.4 | n |  | TRUE
20 | bus_LV_3378-10_0_3_node_140 | 0.4 | n |  | TRUE
21 | bus_LV_3378-10_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3378-10_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3378-10_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3378-10_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3378-10_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3378-10_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3378-10_0_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_3378-10_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_3378-10_0_3_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_3378-10_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3378-10_0_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_3378-10_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_3378-10_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_3378-10_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3378-10_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3378-10_0_3_node_141 | 0.4 | n |  | TRUE
37 | bus_LV_3378-10_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_3378-10_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_3378-10_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_3378-10_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3378-10_0_3_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_3378-10_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_3378-10_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_3378-10_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_3378-10_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_3378-10_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_3378-10_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_3378-10_0_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_3378-10_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_3378-10_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_3378-10_0_3_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_3378-10_0_3_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_3378-10_0_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_3378-10_0_3_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_3378-10_0_3_node_99 | 0.4 | n |  | TRUE
56 | bus_MV_154_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3378-10_0_3_load_0 | 0 | 0.0016897 | 0.00042349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3378-10_0_3_load_1 | 1 | 0.00081963 | 0.00020542 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3378-10_0_3_load_2 | 2 | 0.0027663 | 0.00069331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3378-10_0_3_load_4 | 4 | 0.0015653 | 0.0003923 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3378-10_0_3_load_38 | 6 | 0.0010034 | 0.00025147 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3378-10_0_3_load_5 | 8 | 0.00094446 | 0.0002367 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3378-10_0_3_load_6 | 9 | 0.0014885 | 0.00037306 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3378-10_0_3_load_7 | 10 | 0.0024565 | 0.00061566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3378-10_0_3_load_8 | 11 | 0.0037958 | 0.00095131 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3378-10_0_3_load_25 | 13 | 0.0016911 | 0.00042383 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3378-10_0_3_load_135 | 14 | 0.0008799 | 0.00022052 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3378-10_0_3_load_136 | 16 | 0.00080561 | 0.00020191 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3378-10_0_3_load_137 | 17 | 0.0008391 | 0.0002103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3378-10_0_3_load_138 | 18 | 0.00081398 | 0.000204 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3378-10_0_3_load_139 | 19 | 0.00090415 | 0.0002266 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3378-10_0_3_load_140 | 20 | 0.00085702 | 0.00021479 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3378-10_0_3_load_16 | 21 | 0.039196 | 0.0098235 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3378-10_0_3_load_19 | 26 | 0.0019013 | 0.00047651 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3378-10_0_3_load_51 | 28 | 0.0011724 | 0.00029382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3378-10_0_3_load_62 | 29 | 0.001165 | 0.00029197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3378-10_0_3_load_68 | 31 | 0.019828 | 0.0049693 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3378-10_0_3_load_58 | 32 | 0.0040615 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3378-10_0_3_load_41 | 34 | 0.0012767 | 0.00031998 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3378-10_0_3_load_42 | 35 | 0.0012651 | 0.00031706 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3378-10_0_3_load_141 | 36 | 0.0025069 | 0.00062829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3378-10_0_3_load_44 | 38 | 0.00055264 | 0.00013851 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3378-10_0_3_load_45 | 39 | 0.0014742 | 0.00036948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3378-10_0_3_load_47 | 40 | 0.00074588 | 0.00018693 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3378-10_0_3_load_48 | 42 | 0.0016834 | 0.00042189 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3378-10_0_3_load_49 | 43 | 0.0014064 | 0.00035249 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3378-10_0_3_load_54 | 45 | 0.023096 | 0.0057883 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3378-10_0_3_load_56 | 47 | 0.0017896 | 0.00044851 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3378-10_0_3_load_59 | 48 | 0.0073002 | 0.0018296 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3378-10_0_3_load_60 | 49 | 0.0011601 | 0.00029074 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3378-10_0_3_load_61 | 50 | 0.0039803 | 0.00099757 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3378-10_0_3_load_70 | 51 | 0.00021258 | 5.3279e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3378-10_0_3_load_71 | 52 | 0.00051887 | 0.00013004 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3378-10_0_3_load_72 | 53 | 0.00058755 | 0.00014725 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3378-10_0_3_load_99 | 55 | 0.0004084 | 0.00010236 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3378-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3378-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3378-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.05601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3378-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0021143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3378-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.070574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3378-10_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.015178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3378-10_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.021453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3378-10_0_3_line_7 | NAYY 4x150 SE | 5 | 36 | 0.036185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3378-10_0_3_line_8 | NAYY 4x150 SE | 5 | 37 | 0.018642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3378-10_0_3_line_9 | NAYY 4x150 SE | 6 | 33 | 0.0077853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3378-10_0_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.003722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3378-10_0_3_line_11 | NAYY 4x150 SE | 7 | 30 | 0.016174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3378-10_0_3_line_12 | NAYY 4x150 SE | 8 | 9 | 0.03549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3378-10_0_3_line_13 | NAYY 4x150 SE | 8 | 10 | 0.11426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3378-10_0_3_line_14 | NAYY 4x150 SE | 9 | 11 | 0.025574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3378-10_0_3_line_15 | NAYY 4x150 SE | 10 | 12 | 0.01449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3378-10_0_3_line_16 | NAYY 4x150 SE | 11 | 13 | 0.026627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3378-10_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.010429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3378-10_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.020536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3378-10_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.060528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3378-10_0_3_line_20 | NAYY 4x150 SE | 15 | 46 | 0.021866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3378-10_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3378-10_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.011795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3378-10_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.00016443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3378-10_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.052238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3378-10_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.052998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3378-10_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.003824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3378-10_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.003769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3378-10_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.014685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3378-10_0_3_line_29 | NAYY 4x150 SE | 24 | 29 | 0.055802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3378-10_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.011776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3378-10_0_3_line_31 | NAYY 4x150 SE | 25 | 31 | 0.047756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3378-10_0_3_line_32 | NAYY 4x150 SE | 26 | 27 | 0.010412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3378-10_0_3_line_33 | NAYY 4x150 SE | 27 | 44 | 0.003909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3378-10_0_3_line_34 | NAYY 4x150 SE | 28 | 43 | 0.019485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3378-10_0_3_line_35 | NAYY 4x150 SE | 29 | 49 | 0.0042838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3378-10_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0089894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3378-10_0_3_line_37 | NAYY 4x150 SE | 32 | 46 | 0.018175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3378-10_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.016339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3378-10_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.03404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3378-10_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.066576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3378-10_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.025666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3378-10_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.046229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3378-10_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.041933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3378-10_0_3_line_44 | NAYY 4x150 SE | 41 | 51 | 0.44106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3378-10_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.01738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3378-10_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.021784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3378-10_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0097137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3378-10_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.027266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3378-10_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.03524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3378-10_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0064523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3378-10_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.014505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3378-10_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0031928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3378-10_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0088354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3378-10_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.026372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3378-10_0_3_trafo_54 | 0.25 MVA 20/0.4 kV | 56 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2727866.9819 | 1245529.888 | 2727869.2373 | 1245532.3428 | 2727873.2122 | 1245538.2416
1 | 2727866.9819 | 1245529.888 | 2727864.932 | 1245527.657 | 2727860.5864 | 1245524.4939 | 2727854.9629 | 1245521.7036 | 2727848.656 | 1245520.056
2 | 2727911.9157 | 1245571.6524 | 2727907.7873 | 1245573.832 | 2727903.9813 | 1245573.6831 | 2727899.6112 | 1245571.6538 | 2727893.1908 | 1245565.5212 | 2727882.134 | 1245551.4818 | 2727873.2122 | 1245538.2416
3 | 2727848.656 | 1245520.056 | 2727846.6103 | 1245519.5216
4 | 2727932.8089 | 1245504.9899 | 2727929.0225 | 1245513.0374 | 2727924.5151 | 1245523.6716 | 2727921.3319 | 1245534.9349 | 2727918.9959 | 1245547.2173 | 2727916.9392 | 1245561.9635 | 2727915.0128 | 1245567.5268 | 2727911.9157 | 1245571.6524
5 | 2727911.9157 | 1245571.6524 | 2727919.0449 | 1245585.0518
6 | 2727825.9284 | 1245513.8267 | 2727832.4925 | 1245515.7587 | 2727840.5327 | 1245517.9338 | 2727846.6103 | 1245519.5216
7 | 2727932.8089 | 1245504.9899 | 2727898.3148 | 1245493.7363
8 | 2727932.8089 | 1245504.9899 | 2727940.462 | 1245487.9847
9 | 2727922.7017 | 1245591.9248 | 2727919.0449 | 1245585.0518
10 | 2727823.7412 | 1245510.8102 | 2727825.9284 | 1245513.8267
11 | 2727825.9284 | 1245513.8267 | 2727825.3207 | 1245517.4723 | 2727822.7779 | 1245521.1317 | 2727818.498 | 1245523.3303 | 2727815.2676 | 1245523.4719
12 | 2727881.593 | 1245405.7454 | 2727877.967 | 1245393.2664 | 2727873.9642 | 1245381.2142 | 2727870.1873 | 1245372.1762
13 | 2727834.2128 | 1245500.7946 | 2727858.1373 | 1245477.912 | 2727868.335 | 1245467.6674 | 2727874.057 | 1245460.6403 | 2727878.0875 | 1245454.5886 | 2727881.2306 | 1245447.984 | 2727883.4813 | 1245440.704 | 2727884.8744 | 1245432.5381 | 2727884.9846 | 1245424.9784 | 2727884.4719 | 1245417.9168 | 2727882.3503 | 1245408.3517 | 2727881.593 | 1245405.7454
14 | 2727870.1873 | 1245372.1762 | 2727867.6754 | 1245366.1656 | 2727861.2973 | 1245353.5061 | 2727858.8381 | 1245349.2859
15 | 2727823.7412 | 1245510.8102 | 2727834.2128 | 1245500.7946
16 | 2727844.7816 | 1245326.6796 | 2727853.5205 | 1245340.1603 | 2727858.8381 | 1245349.2859
17 | 2727838.3813 | 1245550.7491 | 2727838.7391 | 1245561.1717
18 | 2727838.7391 | 1245561.1717 | 2727839.4437 | 1245581.6953
19 | 2727838.3813 | 1245550.7491 | 2727862.2628 | 1245553.2883 | 2727870.1988 | 1245588.9276
20 | 2727816.5735 | 1245548.4327 | 2727838.3813 | 1245550.7491
21 | 2727840.1312 | 1245601.7197 | 2727839.4437 | 1245581.6953
22 | 2727870.1988 | 1245588.9276 | 2727872.7624 | 1245600.4402
23 | 2727872.7982 | 1245600.6007 | 2727872.7624 | 1245600.4402
24 | 2727750.5499 | 1245611.0422 | 2727754.7231 | 1245594.5067 | 2727760.8161 | 1245579.3693 | 2727770.0766 | 1245562.9318
25 | 2727805.1782 | 1245523.4434 | 2727781.6867 | 1245546.9798 | 2727771.0482 | 1245561.2074 | 2727770.0766 | 1245562.9318
26 | 2727754.3215 | 1245611.7352 | 2727750.5499 | 1245611.0422
27 | 2727805.1782 | 1245523.4434 | 2727807.5409 | 1245526.3857
28 | 2727754.3215 | 1245611.7352 | 2727751.7397 | 1245626.191
29 | 2727754.3215 | 1245611.7352 | 2727772.6447 | 1245615.1105 | 2727790.6031 | 1245618.934 | 2727796.1719 | 1245623.9028 | 2727799.1949 | 1245634.0767 | 2727799.6044 | 1245634.6842
30 | 2727807.5409 | 1245526.3857 | 2727813.4415 | 1245520.53 | 2727815.2676 | 1245523.4719
31 | 2727807.5409 | 1245526.3857 | 2727785.9724 | 1245548.0175 | 2727778.3492 | 1245557.3502 | 2727775.3668 | 1245561.5586
32 | 2727739.1021 | 1245683.8586 | 2727739.4291 | 1245680.2625 | 2727740.3502 | 1245673.5241
33 | 2727743.0103 | 1245684.1764 | 2727739.1021 | 1245683.8586
34 | 2727751.7397 | 1245626.191 | 2727750.4278 | 1245633.5368 | 2727748.589 | 1245645.4186
35 | 2727799.6044 | 1245634.6842 | 2727801.9988 | 1245638.2363
36 | 2727815.2676 | 1245523.4719 | 2727813.7013 | 1245532.3238
37 | 2727816.5735 | 1245548.4327 | 2727814.1989 | 1245547.0915 | 2727811.9195 | 1245542.3939 | 2727813.7013 | 1245532.3238
38 | 2727922.7017 | 1245591.9248 | 2727919.1971 | 1245605.8279 | 2727921.1441 | 1245606.3147
39 | 2727922.7017 | 1245591.9248 | 2727938.9054 | 1245596.8563 | 2727935.2172 | 1245611.5561 | 2727937.1566 | 1245612.0428
40 | 2727940.462 | 1245487.9847 | 2727943.7648 | 1245480.6385 | 2727947.856 | 1245470.7293 | 2727951.1249 | 1245461.8032 | 2727953.9447 | 1245455.1249 | 2727957.5851 | 1245450.3437 | 2727961.3204 | 1245447.8221 | 2727965.2841 | 1245446.9736 | 2727969.8766 | 1245447.8067 | 2727981.1061 | 1245451.4596
41 | 2727940.462 | 1245487.9847 | 2727939.5213 | 1245471.6948 | 2727939.234 | 1245464.6936 | 2727939.2367 | 1245462.3518
42 | 2727944.4288 | 1245416.6197 | 2727942.392 | 1245423.0925 | 2727941.1108 | 1245429.5704 | 2727940.3941 | 1245438.2625 | 2727939.7737 | 1245449.1474 | 2727939.2378 | 1245461.3686 | 2727939.2367 | 1245462.3518
43 | 2728021.3239 | 1245463.2524 | 2728015.9962 | 1245461.814 | 2728009.8234 | 1245459.6122 | 2727998.1119 | 1245455.9452 | 2727981.9603 | 1245451.7375 | 2727981.1061 | 1245451.4596
44 | 2728443.1537 | 1245592.0662 | 2728021.3239 | 1245463.2524
45 | 2727745.9312 | 1245662.5938 | 2727748.589 | 1245645.4186
46 | 2727743.0103 | 1245684.1764 | 2727743.6037 | 1245678.3841 | 2727745.0626 | 1245668.2068 | 2727745.9312 | 1245662.5938
47 | 2727816.5735 | 1245548.4327 | 2727817.3175 | 1245558.1179
48 | 2727819.4061 | 1245585.3034 | 2727817.3175 | 1245558.1179
49 | 2727835.1093 | 1245643.6629 | 2727810.3412 | 1245643.614 | 2727804.3068 | 1245641.66 | 2727801.9988 | 1245638.2363
50 | 2727841.5616 | 1245643.6757 | 2727835.1093 | 1245643.6629
51 | 2728443.1537 | 1245592.0662 | 2728444.1282 | 1245597.8201 | 2728447.5404 | 1245601.842 | 2728448.7073 | 1245605.0297
52 | 2728449.8048 | 1245608.0279 | 2728448.7073 | 1245605.0297
53 | 2728452.8421 | 1245616.3249 | 2728449.8048 | 1245608.0279
54 | 2728452.8421 | 1245616.3249 | 2728476.5881 | 1245604.8524

## bus_geodata
| x | y | coords
0 | 2727866.9819 | 1245529.888
1 | 2727873.2122 | 1245538.2416
2 | 2727848.656 | 1245520.056
3 | 2727911.9157 | 1245571.6524
4 | 2727846.6103 | 1245519.5216
5 | 2727932.8089 | 1245504.9899
6 | 2727919.0449 | 1245585.0518
7 | 2727825.9284 | 1245513.8267
8 | 2727881.593 | 1245405.7454
9 | 2727870.1873 | 1245372.1762
10 | 2727834.2128 | 1245500.7946
11 | 2727858.8381 | 1245349.2859
12 | 2727823.7412 | 1245510.8102
13 | 2727844.7816 | 1245326.6796
14 | 2727838.7391 | 1245561.1717
15 | 2727838.3813 | 1245550.7491
16 | 2727839.4437 | 1245581.6953
17 | 2727840.1312 | 1245601.7197
18 | 2727870.1988 | 1245588.9276
19 | 2727872.7624 | 1245600.4402
20 | 2727872.7982 | 1245600.6007
21 | 2727770.0766 | 1245562.9318
22 | 2727750.5499 | 1245611.0422
23 | 2727805.1782 | 1245523.4434
24 | 2727754.3214 | 1245611.7352
25 | 2727807.5409 | 1245526.3857
26 | 2727740.3502 | 1245673.5241
27 | 2727739.1021 | 1245683.8586
28 | 2727751.7397 | 1245626.191
29 | 2727799.6044 | 1245634.6842
30 | 2727815.2676 | 1245523.4719
31 | 2727775.3668 | 1245561.5586
32 | 2727813.7013 | 1245532.3238
33 | 2727922.7017 | 1245591.9248
34 | 2727921.1441 | 1245606.3147
35 | 2727937.1566 | 1245612.0428
36 | 2727898.3148 | 1245493.7363
37 | 2727940.462 | 1245487.9847
38 | 2727939.2367 | 1245462.3518
39 | 2727944.4288 | 1245416.6197
40 | 2727981.1061 | 1245451.4596
41 | 2728021.3239 | 1245463.2524
42 | 2727745.9312 | 1245662.5938
43 | 2727748.589 | 1245645.4185
44 | 2727743.0103 | 1245684.1764
45 | 2727817.3175 | 1245558.1179
46 | 2727816.5735 | 1245548.4327
47 | 2727819.4061 | 1245585.3034
48 | 2727835.1093 | 1245643.6629
49 | 2727801.9988 | 1245638.2363
50 | 2727841.5616 | 1245643.6757
51 | 2728443.1537 | 1245592.0662
52 | 2728448.7073 | 1245605.0297
53 | 2728449.8048 | 1245608.0279
54 | 2728452.8421 | 1245616.3249
55 | 2728476.5881 | 1245604.8524
56 | 2727816.5735 | 1245548.4327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1