## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3378-3_1_2_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_3378-3_1_2_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_3378-3_1_2_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_3378-3_1_2_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_3378-3_1_2_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_3378-3_1_2_node_132 | 0.4 | n |  | TRUE
6 | bus_LV_3378-3_1_2_node_158 | 0.4 | n |  | TRUE
7 | bus_LV_3378-3_1_2_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_3378-3_1_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_3378-3_1_2_node_210 | 0.4 | n |  | TRUE
10 | bus_LV_3378-3_1_2_node_264 | 0.4 | n |  | TRUE
11 | bus_LV_3378-3_1_2_node_157 | 0.4 | n |  | TRUE
12 | bus_LV_3378-3_1_2_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_3378-3_1_2_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_3378-3_1_2_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_3378-3_1_2_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_3378-3_1_2_node_127 | 0.4 | n |  | TRUE
17 | bus_LV_3378-3_1_2_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_3378-3_1_2_node_211 | 0.4 | n |  | TRUE
19 | bus_LV_3378-3_1_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_3378-3_1_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_3378-3_1_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_3378-3_1_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_3378-3_1_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_3378-3_1_2_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3378-3_1_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_3378-3_1_2_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_3378-3_1_2_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_3378-3_1_2_node_170 | 0.4 | n |  | TRUE
29 | bus_LV_3378-3_1_2_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_3378-3_1_2_node_104 | 0.4 | n |  | TRUE
31 | bus_LV_3378-3_1_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_3378-3_1_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_3378-3_1_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3378-3_1_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_3378-3_1_2_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_3378-3_1_2_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_3378-3_1_2_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_3378-3_1_2_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_3378-3_1_2_node_188 | 0.4 | n |  | TRUE
40 | bus_LV_3378-3_1_2_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_3378-3_1_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_3378-3_1_2_node_189 | 0.4 | n |  | TRUE
43 | bus_LV_3378-3_1_2_node_187 | 0.4 | n |  | TRUE
44 | bus_LV_3378-3_1_2_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_3378-3_1_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3378-3_1_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_3378-3_1_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_3378-3_1_2_node_220 | 0.4 | n |  | TRUE
49 | bus_LV_3378-3_1_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_3378-3_1_2_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_3378-3_1_2_node_204 | 0.4 | n |  | TRUE
52 | bus_LV_3378-3_1_2_node_203 | 0.4 | n |  | TRUE
53 | bus_LV_3378-3_1_2_node_205 | 0.4 | n |  | TRUE
54 | bus_LV_3378-3_1_2_node_197 | 0.4 | n |  | TRUE
55 | bus_LV_3378-3_1_2_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_3378-3_1_2_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_3378-3_1_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_3378-3_1_2_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_3378-3_1_2_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_3378-3_1_2_node_140 | 0.4 | n |  | TRUE
61 | bus_LV_3378-3_1_2_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_3378-3_1_2_node_138 | 0.4 | n |  | TRUE
63 | bus_LV_3378-3_1_2_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_3378-3_1_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_3378-3_1_2_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_3378-3_1_2_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_3378-3_1_2_node_128 | 0.4 | n |  | TRUE
68 | bus_LV_3378-3_1_2_node_183 | 0.4 | n |  | TRUE
69 | bus_LV_3378-3_1_2_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_3378-3_1_2_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_3378-3_1_2_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_3378-3_1_2_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_3378-3_1_2_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_3378-3_1_2_node_167 | 0.4 | n |  | TRUE
75 | bus_LV_3378-3_1_2_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_3378-3_1_2_node_166 | 0.4 | n |  | TRUE
77 | bus_LV_3378-3_1_2_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_3378-3_1_2_node_105 | 0.4 | n |  | TRUE
79 | bus_LV_3378-3_1_2_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_3378-3_1_2_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_3378-3_1_2_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_3378-3_1_2_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_3378-3_1_2_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_3378-3_1_2_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_3378-3_1_2_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_3378-3_1_2_node_129 | 0.4 | n |  | TRUE
87 | bus_LV_3378-3_1_2_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_3378-3_1_2_node_144 | 0.4 | n |  | TRUE
89 | bus_LV_3378-3_1_2_node_147 | 0.4 | n |  | TRUE
90 | bus_LV_3378-3_1_2_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_3378-3_1_2_node_146 | 0.4 | n |  | TRUE
92 | bus_LV_3378-3_1_2_node_169 | 0.4 | n |  | TRUE
93 | bus_LV_3378-3_1_2_node_110 | 0.4 | n |  | TRUE
94 | bus_LV_3378-3_1_2_node_111 | 0.4 | n |  | TRUE
95 | bus_LV_3378-3_1_2_node_112 | 0.4 | n |  | TRUE
96 | bus_LV_3378-3_1_2_node_113 | 0.4 | n |  | TRUE
97 | bus_LV_3378-3_1_2_node_114 | 0.4 | n |  | TRUE
98 | bus_LV_3378-3_1_2_node_115 | 0.4 | n |  | TRUE
99 | bus_LV_3378-3_1_2_node_117 | 0.4 | n |  | TRUE
100 | bus_LV_3378-3_1_2_node_156 | 0.4 | n |  | TRUE
101 | bus_LV_3378-3_1_2_node_208 | 0.4 | n |  | TRUE
102 | bus_LV_3378-3_1_2_node_223 | 0.4 | n |  | TRUE
103 | bus_LV_3378-3_1_2_node_209 | 0.4 | n |  | TRUE
104 | bus_LV_3378-3_1_2_node_155 | 0.4 | n |  | TRUE
105 | bus_LV_3378-3_1_2_node_206 | 0.4 | n |  | TRUE
106 | bus_LV_3378-3_1_2_node_252 | 0.4 | n |  | TRUE
107 | bus_LV_3378-3_1_2_node_207 | 0.4 | n |  | TRUE
108 | bus_LV_3378-3_1_2_node_118 | 0.4 | n |  | TRUE
109 | bus_LV_3378-3_1_2_node_159 | 0.4 | n |  | TRUE
110 | bus_LV_3378-3_1_2_node_121 | 0.4 | n |  | TRUE
111 | bus_LV_3378-3_1_2_node_124 | 0.4 | n |  | TRUE
112 | bus_LV_3378-3_1_2_node_184 | 0.4 | n |  | TRUE
113 | bus_LV_3378-3_1_2_node_130 | 0.4 | n |  | TRUE
114 | bus_LV_3378-3_1_2_node_135 | 0.4 | n |  | TRUE
115 | bus_LV_3378-3_1_2_node_136 | 0.4 | n |  | TRUE
116 | bus_LV_3378-3_1_2_node_137 | 0.4 | n |  | TRUE
117 | bus_LV_3378-3_1_2_node_139 | 0.4 | n |  | TRUE
118 | bus_LV_3378-3_1_2_node_141 | 0.4 | n |  | TRUE
119 | bus_LV_3378-3_1_2_node_142 | 0.4 | n |  | TRUE
120 | bus_LV_3378-3_1_2_node_143 | 0.4 | n |  | TRUE
121 | bus_LV_3378-3_1_2_node_201 | 0.4 | n |  | TRUE
122 | bus_LV_3378-3_1_2_node_193 | 0.4 | n |  | TRUE
123 | bus_LV_3378-3_1_2_node_253 | 0.4 | n |  | TRUE
124 | bus_LV_3378-3_1_2_node_202 | 0.4 | n |  | TRUE
125 | bus_LV_3378-3_1_2_node_181 | 0.4 | n |  | TRUE
126 | bus_LV_3378-3_1_2_node_194 | 0.4 | n |  | TRUE
127 | bus_LV_3378-3_1_2_node_254 | 0.4 | n |  | TRUE
128 | bus_LV_3378-3_1_2_node_168 | 0.4 | n |  | TRUE
129 | bus_LV_3378-3_1_2_node_178 | 0.4 | n |  | TRUE
130 | bus_LV_3378-3_1_2_node_179 | 0.4 | n |  | TRUE
131 | bus_LV_3378-3_1_2_node_180 | 0.4 | n |  | TRUE
132 | bus_LV_3378-3_1_2_node_185 | 0.4 | n |  | TRUE
133 | bus_LV_3378-3_1_2_node_190 | 0.4 | n |  | TRUE
134 | bus_LV_3378-3_1_2_node_219 | 0.4 | n |  | TRUE
135 | bus_LV_3378-3_1_2_node_217 | 0.4 | n |  | TRUE
136 | bus_LV_3378-3_1_2_node_216 | 0.4 | n |  | TRUE
137 | bus_LV_3378-3_1_2_node_195 | 0.4 | n |  | TRUE
138 | bus_LV_3378-3_1_2_node_196 | 0.4 | n |  | TRUE
139 | bus_LV_3378-3_1_2_node_198 | 0.4 | n |  | TRUE
140 | bus_LV_3378-3_1_2_node_232 | 0.4 | n |  | TRUE
141 | bus_LV_3378-3_1_2_node_263 | 0.4 | n |  | TRUE
142 | bus_LV_3378-3_1_2_node_258 | 0.4 | n |  | TRUE
143 | bus_LV_3378-3_1_2_node_256 | 0.4 | n |  | TRUE
144 | bus_LV_3378-3_1_2_node_218 | 0.4 | n |  | TRUE
145 | bus_LV_3378-3_1_2_node_224 | 0.4 | n |  | TRUE
146 | bus_LV_3378-3_1_2_node_255 | 0.4 | n |  | TRUE
147 | bus_MV_154_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3378-3_1_2_load_16 | 0 | 0.00020964 | 5.254e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3378-3_1_2_load_17 | 1 | 0.00036767 | 9.2146e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3378-3_1_2_load_18 | 2 | 7.0928e-05 | 1.7776e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3378-3_1_2_load_20 | 4 | 0.00017745 | 4.4474e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3378-3_1_2_load_132 | 5 | 0.00046844 | 0.0001174 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3378-3_1_2_load_210 | 9 | 5.256e-05 | 1.3173e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3378-3_1_2_load_264 | 10 | 0.000188 | 4.7117e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3378-3_1_2_load_68 | 12 | 0.00013162 | 3.2986e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3378-3_1_2_load_69 | 13 | 0.00010851 | 2.7195e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3378-3_1_2_load_70 | 14 | 0.0051029 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3378-3_1_2_load_71 | 15 | 0.00010944 | 2.7429e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3378-3_1_2_load_72 | 17 | 0.001297 | 0.00032505 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3378-3_1_2_load_30 | 19 | 0.002863 | 0.00071754 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3378-3_1_2_load_31 | 20 | 0.002851 | 0.00071453 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3378-3_1_2_load_32 | 21 | 0.001819 | 0.00045588 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3378-3_1_2_load_33 | 22 | 0.0015253 | 0.00038227 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3378-3_1_2_load_34 | 23 | 0.0010588 | 0.00026536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3378-3_1_2_load_35 | 24 | 0.0030919 | 0.00077489 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3378-3_1_2_load_36 | 25 | 0.0014422 | 0.00036145 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3378-3_1_2_load_106 | 27 | 0.00082946 | 0.00020788 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3378-3_1_2_load_88 | 29 | 0.0019104 | 0.00047879 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3378-3_1_2_load_104 | 30 | 0.00047727 | 0.00011962 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3378-3_1_2_load_42 | 31 | 0.0013112 | 0.00032862 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3378-3_1_2_load_43 | 32 | 0.00076552 | 0.00019186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3378-3_1_2_load_44 | 33 | 0.00064806 | 0.00016242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3378-3_1_2_load_45 | 34 | 0.0009131 | 0.00022884 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3378-3_1_2_load_46 | 35 | 0.0016336 | 0.00040942 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3378-3_1_2_load_47 | 36 | 0.0029031 | 0.0007276 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3378-3_1_2_load_48 | 37 | 0.0011215 | 0.00028106 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3378-3_1_2_load_67 | 40 | 8.6311e-05 | 2.1632e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3378-3_1_2_load_63 | 41 | 0.0022158 | 0.00055533 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3378-3_1_2_load_189 | 42 | 0.00011225 | 2.8132e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3378-3_1_2_load_187 | 43 | 0.00019841 | 4.9725e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3378-3_1_2_load_49 | 44 | 0.00011067 | 2.7738e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3378-3_1_2_load_50 | 45 | 8.6292e-05 | 2.1627e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3378-3_1_2_load_51 | 46 | 6.7288e-05 | 1.6864e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3378-3_1_2_load_220 | 48 | 0.00052988 | 0.0001328 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3378-3_1_2_load_119 | 50 | 0.00018874 | 4.7303e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3378-3_1_2_load_203 | 52 | 6.8741e-05 | 1.7228e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3378-3_1_2_load_205 | 53 | 0.00027312 | 6.8451e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3378-3_1_2_load_61 | 55 | 0.0014293 | 0.00035822 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3378-3_1_2_load_62 | 56 | 0.0033205 | 0.00083219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3378-3_1_2_load_64 | 57 | 0.00086899 | 0.00021779 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3378-3_1_2_load_66 | 58 | 0.00081532 | 0.00020434 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3378-3_1_2_load_89 | 59 | 0.0017757 | 0.00044503 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3378-3_1_2_load_140 | 60 | 7.4818e-05 | 1.8751e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3378-3_1_2_load_138 | 62 | 0.0017196 | 0.00043097 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3378-3_1_2_load_75 | 63 | 0.00038322 | 9.6043e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3378-3_1_2_load_74 | 66 | 0.0006486 | 0.00016255 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3378-3_1_2_load_183 | 68 | 0.00065729 | 0.00016473 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3378-3_1_2_load_76 | 69 | 0.0013144 | 0.00032943 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3378-3_1_2_load_80 | 72 | 0.00056498 | 0.0001416 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3378-3_1_2_load_79 | 73 | 0.0010893 | 0.00027301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3378-3_1_2_load_167 | 74 | 0.00070322 | 0.00017624 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3378-3_1_2_load_166 | 76 | 0.0041771 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3378-3_1_2_load_108 | 77 | 0.00055411 | 0.00013887 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3378-3_1_2_load_105 | 78 | 0.0019837 | 0.00049717 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3378-3_1_2_load_81 | 79 | 0.00052595 | 0.00013182 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3378-3_1_2_load_82 | 80 | 0.00021027 | 5.2698e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3378-3_1_2_load_84 | 82 | 0.0011123 | 0.00027877 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3378-3_1_2_load_86 | 83 | 0.0017234 | 0.00043193 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3378-3_1_2_load_87 | 84 | 0.00049109 | 0.00012308 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3378-3_1_2_load_129 | 86 | 0.00074333 | 0.0001863 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3378-3_1_2_load_144 | 88 | 0.00050242 | 0.00012592 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3378-3_1_2_load_147 | 89 | 0.00051594 | 0.00012931 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3378-3_1_2_load_103 | 90 | 0.00049302 | 0.00012356 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3378-3_1_2_load_146 | 91 | 0.0021443 | 0.00053741 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3378-3_1_2_load_169 | 92 | 0.0034716 | 0.00087006 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3378-3_1_2_load_110 | 93 | 0.0013179 | 0.00033031 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3378-3_1_2_load_111 | 94 | 0.0027644 | 0.00069283 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3378-3_1_2_load_112 | 95 | 0.00055216 | 0.00013839 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3378-3_1_2_load_113 | 96 | 0.0017625 | 0.00044172 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3378-3_1_2_load_115 | 98 | 0.0032928 | 0.00082526 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3378-3_1_2_load_156 | 100 | 0.00030391 | 7.6168e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3378-3_1_2_load_208 | 101 | 0.00050195 | 0.0001258 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3378-3_1_2_load_223 | 102 | 0.00051377 | 0.00012876 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3378-3_1_2_load_209 | 103 | 0.00042507 | 0.00010653 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3378-3_1_2_load_155 | 104 | 0.00076589 | 0.00019195 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3378-3_1_2_load_206 | 105 | 0.00073845 | 0.00018507 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3378-3_1_2_load_252 | 106 | 0.0007516 | 0.00018837 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3378-3_1_2_load_207 | 107 | 0.00052323 | 0.00013113 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3378-3_1_2_load_118 | 108 | 0.00017637 | 4.4201e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3378-3_1_2_load_159 | 109 | 0.0001119 | 2.8046e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3378-3_1_2_load_121 | 110 | 0.0002653 | 6.6491e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3378-3_1_2_load_124 | 111 | 0.00037246 | 9.3347e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3378-3_1_2_load_184 | 112 | 0.00035697 | 8.9466e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3378-3_1_2_load_130 | 113 | 0.00039044 | 9.7852e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3378-3_1_2_load_135 | 114 | 0.00021243 | 5.324e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3378-3_1_2_load_136 | 115 | 0.0002985 | 7.4812e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3378-3_1_2_load_137 | 116 | 0.00030673 | 7.6875e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3378-3_1_2_load_141 | 118 | 0.00052036 | 0.00013042 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3378-3_1_2_load_142 | 119 | 0.00014751 | 3.697e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3378-3_1_2_load_143 | 120 | 9.951e-05 | 2.494e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3378-3_1_2_load_193 | 122 | 0.00021349 | 5.3505e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3378-3_1_2_load_253 | 123 | 7.6165e-05 | 1.9089e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3378-3_1_2_load_202 | 124 | 8.0662e-05 | 2.0216e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3378-3_1_2_load_181 | 125 | 7.6418e-05 | 1.9152e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3378-3_1_2_load_194 | 126 | 0.00037031 | 9.2809e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3378-3_1_2_load_254 | 127 | 9.7492e-05 | 2.4434e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3378-3_1_2_load_168 | 128 | 0.0017796 | 0.00044601 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3378-3_1_2_load_178 | 129 | 0.00058016 | 0.0001454 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3378-3_1_2_load_180 | 131 | 0.00014547 | 3.6458e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3378-3_1_2_load_185 | 132 | 0.00049477 | 0.000124 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3378-3_1_2_load_219 | 134 | 5.5606e-05 | 1.3936e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3378-3_1_2_load_217 | 135 | 9.2515e-05 | 2.3186e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3378-3_1_2_load_216 | 136 | 0.0014599 | 0.00036587 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3378-3_1_2_load_198 | 139 | 0.00012192 | 3.0557e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3378-3_1_2_load_232 | 140 | 7.3787e-05 | 1.8493e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3378-3_1_2_load_263 | 141 | 0.00068603 | 0.00017194 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3378-3_1_2_load_258 | 142 | 0.00013005 | 3.2595e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3378-3_1_2_load_256 | 143 | 0.00048265 | 0.00012096 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3378-3_1_2_load_218 | 144 | 0.00021988 | 5.5107e-05 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3378-3_1_2_load_224 | 145 | 0.0004274 | 0.00010712 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3378-3_1_2_load_255 | 146 | 0.00020137 | 5.0467e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3378-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3378-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0083009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3378-3_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.050773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3378-3_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.041332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3378-3_1_2_line_4 | NAYY 4x150 SE | 3 | 8 | 0.1493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3378-3_1_2_line_5 | NAYY 4x150 SE | 4 | 9 | 0.32064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3378-3_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.23662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3378-3_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.068575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3378-3_1_2_line_8 | NAYY 4x150 SE | 6 | 11 | 0.007248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3378-3_1_2_line_9 | NAYY 4x150 SE | 7 | 113 | 0.12444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3378-3_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.13874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3378-3_1_2_line_11 | NAYY 4x150 SE | 9 | 18 | 0.023817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3378-3_1_2_line_12 | NAYY 4x150 SE | 11 | 109 | 0.1529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3378-3_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0012941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3378-3_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.03531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3378-3_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.005351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3378-3_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.48805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3378-3_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0095519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3378-3_1_2_line_18 | NAYY 4x150 SE | 16 | 63 | 0.05713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3378-3_1_2_line_19 | NAYY 4x150 SE | 16 | 64 | 0.20434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3378-3_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.026983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3378-3_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.019257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3378-3_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0060626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3378-3_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0046409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3378-3_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.010243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3378-3_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.012466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3378-3_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0038564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3378-3_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.015209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3378-3_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3378-3_1_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.018952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3378-3_1_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3378-3_1_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.015285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3378-3_1_2_line_32 | NAYY 4x150 SE | 28 | 91 | 0.0072662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3378-3_1_2_line_33 | NAYY 4x150 SE | 28 | 92 | 0.0097346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3378-3_1_2_line_34 | NAYY 4x150 SE | 29 | 61 | 0.0049988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3378-3_1_2_line_35 | NAYY 4x150 SE | 30 | 90 | 0.026444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3378-3_1_2_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0086314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3378-3_1_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.0071454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3378-3_1_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.021985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3378-3_1_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.031885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3378-3_1_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.0021368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3378-3_1_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.04678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3378-3_1_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.017235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3378-3_1_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.19415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3378-3_1_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3378-3_1_2_line_45 | NAYY 4x150 SE | 38 | 41 | 0.031491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3378-3_1_2_line_46 | NAYY 4x150 SE | 39 | 42 | 0.060844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3378-3_1_2_line_47 | NAYY 4x150 SE | 39 | 43 | 0.044446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3378-3_1_2_line_48 | NAYY 4x150 SE | 40 | 60 | 0.0063624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3378-3_1_2_line_49 | NAYY 4x150 SE | 41 | 55 | 0.0109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3378-3_1_2_line_50 | NAYY 4x150 SE | 42 | 133 | 0.096279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3378-3_1_2_line_51 | NAYY 4x150 SE | 44 | 45 | 0.0074041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3378-3_1_2_line_52 | NAYY 4x150 SE | 44 | 46 | 0.010362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3378-3_1_2_line_53 | NAYY 4x150 SE | 45 | 47 | 0.030239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3378-3_1_2_line_54 | NAYY 4x150 SE | 46 | 48 | 0.28026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3378-3_1_2_line_55 | NAYY 4x150 SE | 47 | 49 | 0.008784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3378-3_1_2_line_56 | NAYY 4x150 SE | 48 | 50 | 0.25344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3378-3_1_2_line_57 | NAYY 4x150 SE | 49 | 51 | 0.16924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3378-3_1_2_line_58 | NAYY 4x150 SE | 49 | 52 | 0.060625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3378-3_1_2_line_59 | NAYY 4x150 SE | 50 | 110 | 0.011007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3378-3_1_2_line_60 | NAYY 4x150 SE | 50 | 108 | 0.040726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3378-3_1_2_line_61 | NAYY 4x150 SE | 51 | 53 | 0.035746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3378-3_1_2_line_62 | NAYY 4x150 SE | 51 | 54 | 0.17684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3378-3_1_2_line_63 | NAYY 4x150 SE | 53 | 142 | 0.0014454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3378-3_1_2_line_64 | NAYY 4x150 SE | 54 | 140 | 0.031895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3378-3_1_2_line_65 | NAYY 4x150 SE | 54 | 138 | 0.058761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3378-3_1_2_line_66 | NAYY 4x150 SE | 55 | 56 | 0.0037945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3378-3_1_2_line_67 | NAYY 4x150 SE | 56 | 57 | 0.027204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3378-3_1_2_line_68 | NAYY 4x150 SE | 57 | 58 | 0.0012038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3378-3_1_2_line_69 | NAYY 4x150 SE | 58 | 59 | 0.00047946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3378-3_1_2_line_70 | NAYY 4x150 SE | 59 | 61 | 0.015149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3378-3_1_2_line_71 | NAYY 4x150 SE | 60 | 62 | 0.0020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3378-3_1_2_line_72 | NAYY 4x150 SE | 61 | 81 | 0.011401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3378-3_1_2_line_73 | NAYY 4x150 SE | 62 | 115 | 0.022325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3378-3_1_2_line_74 | NAYY 4x150 SE | 63 | 65 | 0.067842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3378-3_1_2_line_75 | NAYY 4x150 SE | 64 | 101 | 0.0048518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3378-3_1_2_line_76 | NAYY 4x150 SE | 65 | 66 | 0.023468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3378-3_1_2_line_77 | NAYY 4x150 SE | 66 | 67 | 0.011966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3378-3_1_2_line_78 | NAYY 4x150 SE | 67 | 68 | 0.01709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3378-3_1_2_line_79 | NAYY 4x150 SE | 68 | 112 | 0.010216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3378-3_1_2_line_80 | NAYY 4x150 SE | 69 | 70 | 0.17931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3378-3_1_2_line_81 | NAYY 4x150 SE | 70 | 71 | 0.078401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3378-3_1_2_line_82 | NAYY 4x150 SE | 71 | 72 | 0.094473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3378-3_1_2_line_83 | NAYY 4x150 SE | 72 | 75 | 0.028142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3378-3_1_2_line_84 | NAYY 4x150 SE | 73 | 74 | 0.01577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3378-3_1_2_line_85 | NAYY 4x150 SE | 74 | 76 | 0.034216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3378-3_1_2_line_86 | NAYY 4x150 SE | 75 | 77 | 0.017454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3378-3_1_2_line_87 | NAYY 4x150 SE | 75 | 78 | 0.020185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3378-3_1_2_line_88 | NAYY 4x150 SE | 76 | 128 | 0.036886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3378-3_1_2_line_89 | NAYY 4x150 SE | 78 | 90 | 0.029403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3378-3_1_2_line_90 | NAYY 4x150 SE | 79 | 80 | 0.048955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3378-3_1_2_line_91 | NAYY 4x150 SE | 79 | 81 | 0.0085751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3378-3_1_2_line_92 | NAYY 4x150 SE | 80 | 82 | 0.01284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3378-3_1_2_line_93 | NAYY 4x150 SE | 81 | 83 | 0.027111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3378-3_1_2_line_94 | NAYY 4x150 SE | 82 | 84 | 0.023957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3378-3_1_2_line_95 | NAYY 4x150 SE | 83 | 85 | 0.0027378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3378-3_1_2_line_96 | NAYY 4x150 SE | 84 | 86 | 0.014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3378-3_1_2_line_97 | NAYY 4x150 SE | 85 | 87 | 0.036216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3378-3_1_2_line_98 | NAYY 4x150 SE | 85 | 88 | 0.030171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3378-3_1_2_line_99 | NAYY 4x150 SE | 87 | 89 | 0.0073689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3378-3_1_2_line_100 | NAYY 4x150 SE | 89 | 104 | 0.031912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3378-3_1_2_line_101 | NAYY 4x150 SE | 92 | 128 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3378-3_1_2_line_102 | NAYY 4x150 SE | 93 | 94 | 0.0044553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3378-3_1_2_line_103 | NAYY 4x150 SE | 93 | 95 | 0.0054143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3378-3_1_2_line_104 | NAYY 4x150 SE | 94 | 96 | 0.015465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3378-3_1_2_line_105 | NAYY 4x150 SE | 95 | 97 | 0.079831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3378-3_1_2_line_106 | NAYY 4x150 SE | 96 | 98 | 0.015582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3378-3_1_2_line_107 | NAYY 4x150 SE | 97 | 99 | 0.066465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3378-3_1_2_line_108 | NAYY 4x150 SE | 98 | 100 | 0.0018839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3378-3_1_2_line_109 | NAYY 4x150 SE | 99 | 102 | 0.042524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3378-3_1_2_line_110 | NAYY 4x150 SE | 99 | 103 | 0.015977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3378-3_1_2_line_111 | NAYY 4x150 SE | 100 | 104 | 0.020663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3378-3_1_2_line_112 | NAYY 4x150 SE | 101 | 105 | 0.0030512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3378-3_1_2_line_113 | NAYY 4x150 SE | 102 | 106 | 0.0029033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3378-3_1_2_line_114 | NAYY 4x150 SE | 103 | 107 | 0.031435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3378-3_1_2_line_115 | NAYY 4x150 SE | 105 | 107 | 0.030509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3378-3_1_2_line_116 | NAYY 4x150 SE | 108 | 109 | 0.24631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3378-3_1_2_line_117 | NAYY 4x150 SE | 110 | 111 | 0.0019189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3378-3_1_2_line_118 | NAYY 4x150 SE | 112 | 132 | 0.00098563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3378-3_1_2_line_119 | NAYY 4x150 SE | 114 | 115 | 0.0073825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3378-3_1_2_line_120 | NAYY 4x150 SE | 114 | 116 | 0.01493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3378-3_1_2_line_121 | NAYY 4x150 SE | 116 | 117 | 0.032982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3378-3_1_2_line_122 | NAYY 4x150 SE | 117 | 118 | 0.013734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3378-3_1_2_line_123 | NAYY 4x150 SE | 117 | 119 | 0.1 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3378-3_1_2_line_124 | NAYY 4x150 SE | 117 | 120 | 0.04166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3378-3_1_2_line_125 | NAYY 4x150 SE | 118 | 121 | 0.059578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3378-3_1_2_line_126 | NAYY 4x150 SE | 119 | 122 | 0.084075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3378-3_1_2_line_127 | NAYY 4x150 SE | 120 | 123 | 0.13321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3378-3_1_2_line_128 | NAYY 4x150 SE | 121 | 124 | 0.053416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3378-3_1_2_line_129 | NAYY 4x150 SE | 121 | 125 | 0.030997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3378-3_1_2_line_130 | NAYY 4x150 SE | 122 | 126 | 0.013425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3378-3_1_2_line_131 | NAYY 4x150 SE | 123 | 127 | 0.0034373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3378-3_1_2_line_132 | NAYY 4x150 SE | 125 | 131 | 0.073543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3378-3_1_2_line_133 | NAYY 4x150 SE | 126 | 137 | 0.21184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3378-3_1_2_line_134 | NAYY 4x150 SE | 129 | 130 | 0.11707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3378-3_1_2_line_135 | NAYY 4x150 SE | 130 | 131 | 0.083937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3378-3_1_2_line_136 | NAYY 4x150 SE | 133 | 134 | 0.09886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3378-3_1_2_line_137 | NAYY 4x150 SE | 133 | 135 | 0.056355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3378-3_1_2_line_138 | NAYY 4x150 SE | 135 | 136 | 0.03607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3378-3_1_2_line_139 | NAYY 4x150 SE | 136 | 144 | 0.011999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3378-3_1_2_line_140 | NAYY 4x150 SE | 137 | 138 | 0.16975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3378-3_1_2_line_141 | NAYY 4x150 SE | 138 | 139 | 0.13328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_3378-3_1_2_line_142 | NAYY 4x150 SE | 140 | 141 | 0.013144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3378-3_1_2_line_143 | NAYY 4x150 SE | 142 | 143 | 0.022654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_3378-3_1_2_line_144 | NAYY 4x150 SE | 143 | 146 | 0.0019964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_3378-3_1_2_line_145 | NAYY 4x150 SE | 144 | 145 | 0.3003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3378-3_1_2_trafo_84 | 0.25 MVA 20/0.4 kV | 147 | 82 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2729194.6501 | 1248172.5849 | 2729194.1619 | 1248172.1098 | 2729183.1496 | 1248160.0148
1 | 2729179.5403 | 1248152.6098 | 2729182.2612 | 1248159.039 | 2729183.1496 | 1248160.0148
2 | 2729220.2729 | 1248213.5929 | 2729220.8829 | 1248205.0209 | 2729216.6753 | 1248195.9991 | 2729211.1988 | 1248188.6955 | 2729194.6501 | 1248172.5849
3 | 2729179.5403 | 1248152.6098 | 2729178.2234 | 1248149.4982 | 2729175.3394 | 1248134.1664 | 2729177.8617 | 1248122.4333 | 2729180.8711 | 1248112.5287
4 | 2729220.2729 | 1248213.5929 | 2729224.7987 | 1248218.7627 | 2729232.3657 | 1248224.7774 | 2729247.9705 | 1248233.236 | 2729252.9479 | 1248236.0581 | 2729279.6359 | 1248243.1017 | 2729301.9403 | 1248246.0796 | 2729361.0744 | 1248243.4894
5 | 2729180.8711 | 1248112.5287 | 2729051.4156 | 1247819.1839
6 | 2728817.7211 | 1248587.7273 | 2728816.8947 | 1248577.7895 | 2728809.3219 | 1248557.1069 | 2728769.5903 | 1248539.9065 | 2728752.9184 | 1248536.7639 | 2728733.7624 | 1248519.6552 | 2728724.8752 | 1248463.1461 | 2728699.3573 | 1248407.2168
7 | 2728667.1916 | 1248346.9145 | 2728681.5129 | 1248378.6531 | 2728696.4279 | 1248400.7962 | 2728699.3573 | 1248407.2168
8 | 2728820.6438 | 1248594.3633 | 2728817.7211 | 1248587.7273
9 | 2728667.1916 | 1248346.9145 | 2728658.3115 | 1248327.2491 | 2728615.8326 | 1248305.3194 | 2728571.2918 | 1248303.5406 | 2728561.0189 | 1248301.4736
10 | 2729361.0744 | 1248243.4894 | 2729370.4884 | 1248171.8432 | 2729385.6817 | 1248107.1291
11 | 2729043.4296 | 1247796.8323 | 2729046.1366 | 1247806.7888 | 2729049.9056 | 1247816.546 | 2729051.4156 | 1247819.1839
12 | 2728820.6438 | 1248594.3633 | 2728833.806 | 1248632.4382 | 2728850.4467 | 1248658.5338 | 2728874.4069 | 1248692.6289 | 2728882.4125 | 1248707.983 | 2728885.1024 | 1248717.3275 | 2728885.5357 | 1248730.2732
13 | 2729013.2896 | 1247821.9706 | 2729014.1999 | 1247821.0507
14 | 2729013.2896 | 1247821.9706 | 2729000.1091 | 1247835.2899 | 2728985.7641 | 1247843.587
15 | 2729016.7037 | 1247816.3216 | 2729014.1999 | 1247821.0507 | 2729014.1999 | 1247821.0507
16 | 2728518.4523 | 1247984.3496 | 2728985.7641 | 1247843.587
17 | 2729021.1731 | 1247807.8798 | 2729016.7037 | 1247816.3216
18 | 2728518.4523 | 1247984.3496 | 2728514.3297 | 1247977.6211 | 2728499.7956 | 1247944.4549 | 2728496.8156 | 1247931.7725
19 | 2728518.4523 | 1247984.3496 | 2728525.6646 | 1247999.7972 | 2728547.3443 | 1248046.2411 | 2728572.7243 | 1248081.6 | 2728570.1625 | 1248087.5497 | 2728554.882 | 1248093.3345 | 2728541.6506 | 1248100.4316 | 2728530.8697 | 1248108.4493 | 2728520.7821 | 1248117.939 | 2728506.1968 | 1248131.0343 | 2728499.646 | 1248135.2515
20 | 2729043.4296 | 1247796.8323 | 2729038.9679 | 1247795.6341 | 2729030.9201 | 1247797.7831 | 2729021.1731 | 1247807.8798
21 | 2728129.2247 | 1248274.2442 | 2728132.6827 | 1248275.2431 | 2728143.7895 | 1248276.2173 | 2728148.2895 | 1248275.9472
22 | 2728123.4002 | 1248272.5618 | 2728129.2247 | 1248274.2442
23 | 2728152.922 | 1248275.6692 | 2728148.2895 | 1248275.9472
24 | 2728113.5593 | 1248269.7192 | 2728123.4002 | 1248272.5618
25 | 2728152.922 | 1248275.6692 | 2728163.8125 | 1248275.0157 | 2728165.3678 | 1248274.9719
26 | 2728113.5593 | 1248269.7192 | 2728109.8544 | 1248268.649
27 | 2728180.5712 | 1248274.5442 | 2728165.3678 | 1248274.9719
28 | 2728097.8686 | 1248267.9008 | 2728106.6311 | 1248267.718 | 2728109.8544 | 1248268.649
29 | 2728180.5712 | 1248274.5442 | 2728176.7574 | 1248255.9789
30 | 2728180.5712 | 1248274.5442 | 2728184.6778 | 1248283.7633 | 2728191.1244 | 1248292.1119
31 | 2728082.5869 | 1248268.2195 | 2728097.8686 | 1248267.9008
32 | 2728176.7574 | 1248255.9789 | 2728181.2984 | 1248250.3065
33 | 2728176.7574 | 1248255.9789 | 2728173.7183 | 1248253.6334 | 2728168.3828 | 1248251.1251
34 | 2728194.1795 | 1248296.0683 | 2728191.1244 | 1248292.1119
35 | 2728056.1662 | 1248269.2602 | 2728073.3836 | 1248268.4114 | 2728082.5869 | 1248268.2195
36 | 2728159.3477 | 1248386.8409 | 2728150.7272 | 1248387.2756
37 | 2728143.5909 | 1248387.6354 | 2728150.7272 | 1248387.2756
38 | 2728159.3477 | 1248386.8409 | 2728170.7958 | 1248386.2637 | 2728181.3153 | 1248386.0099
39 | 2728143.5909 | 1248387.6354 | 2728141.3164 | 1248387.75 | 2728113.3897 | 1248377.9165
40 | 2728181.3153 | 1248386.0099 | 2728183.4515 | 1248385.9583
41 | 2728069.0326 | 1248363.676 | 2728073.1431 | 1248363.7449 | 2728113.3897 | 1248377.9165
42 | 2728200.6816 | 1248385.5426 | 2728183.4515 | 1248385.9583
43 | 2727906.5279 | 1248450.9464 | 2727957.3304 | 1248397.1068 | 2727979.3876 | 1248379.701 | 2728023.4712 | 1248365.2068 | 2728050.2538 | 1248363.3613 | 2728069.0326 | 1248363.676
44 | 2728200.6816 | 1248385.5426 | 2728204.6476 | 1248394.2693 | 2728205.1733 | 1248394.982
45 | 2728200.6816 | 1248385.5426 | 2728200.4552 | 1248379.9439 | 2728200.4471 | 1248354.0557
46 | 2727906.5279 | 1248450.9464 | 2727880.9965 | 1248460.2927 | 2727860.224 | 1248465.1044 | 2727850.2987 | 1248472.4257
47 | 2727906.5279 | 1248450.9464 | 2727878.8238 | 1248485.7013
48 | 2728208.9498 | 1248400.1024 | 2728205.1733 | 1248394.982
49 | 2728200.3786 | 1248343.1568 | 2728200.4442 | 1248344.8464 | 2728200.4471 | 1248354.0557
50 | 2727776.8707 | 1248534.4012 | 2727812.8678 | 1248500.036 | 2727850.2987 | 1248472.4257
51 | 2728363.9752 | 1248771.8221 | 2728362.8049 | 1248764.5111
52 | 2728363.9752 | 1248771.8221 | 2728365.6132 | 1248782.0543
53 | 2728340.954 | 1248758.8814 | 2728361.296 | 1248755.0851 | 2728362.8049 | 1248764.5111
54 | 2728365.6132 | 1248782.0543 | 2728508.2152 | 1249023.3167
55 | 2728340.954 | 1248758.8814 | 2728332.1635 | 1248759.4694
56 | 2728752.0628 | 1248954.2332 | 2728508.2152 | 1249023.3167
57 | 2728193.2711 | 1248833.3624 | 2728192.4684 | 1248823.3363 | 2728197.9537 | 1248813.1571 | 2728204.6888 | 1248806.6637 | 2728216.5801 | 1248799.6147 | 2728225.6761 | 1248796.075 | 2728233.1683 | 1248796.1371 | 2728243.5875 | 1248797.0744 | 2728250.7106 | 1248796.0387 | 2728312.2836 | 1248764.2544 | 2728323.0933 | 1248760.4183 | 2728332.1635 | 1248759.4694
58 | 2728332.1635 | 1248759.4694 | 2728363.7834 | 1248733.7203 | 2728365.8815 | 1248713.9839
59 | 2728752.0628 | 1248954.2332 | 2728752.0628 | 1248954.2332 | 2728752.6491 | 1248943.2419
60 | 2728752.0628 | 1248954.2332 | 2728757.6714 | 1248957.1909 | 2728778.3286 | 1248957.64 | 2728792.0424 | 1248958.1513
61 | 2728193.2711 | 1248833.3624 | 2728212.3455 | 1248822.154 | 2728219.2095 | 1248823.3145 | 2728224.8879 | 1248826.7968
62 | 2728193.2711 | 1248833.3624 | 2728161.2978 | 1248859.4495 | 2728143.2432 | 1248874.5057 | 2728122.4096 | 1248887.0886 | 2728106.3077 | 1248892.2007 | 2728089.5812 | 1248894.4078 | 2728070.6026 | 1248893.5193 | 2728055.3058 | 1248889.6966 | 2728041.4421 | 1248883.5251 | 2728037.9504 | 1248880.814
63 | 2728226.12 | 1248827.5524 | 2728224.8879 | 1248826.7968
64 | 2728037.9504 | 1248880.814 | 2728040.1429 | 1248894.0062 | 2728039.9379 | 1248903.4878 | 2728038.7909 | 1248909.7241 | 2728037.3959 | 1248912.0321
65 | 2728023.6387 | 1248826.1683 | 2728024.253 | 1248853.6611 | 2728027.0057 | 1248865.0527 | 2728033.4112 | 1248877.2907 | 2728037.9504 | 1248880.814
66 | 2728200.3786 | 1248343.1568 | 2728200.2312 | 1248339.3652
67 | 2728200.2312 | 1248339.3652 | 2728199.3426 | 1248316.5089 | 2728198.5901 | 1248312.2441
68 | 2728198.3809 | 1248311.0586 | 2728198.5901 | 1248312.2441
69 | 2728198.3809 | 1248311.0586 | 2728198.2976 | 1248310.5865
70 | 2728194.1795 | 1248296.0683 | 2728197.1758 | 1248304.2291 | 2728198.2976 | 1248310.5865
71 | 2728208.9498 | 1248400.1024 | 2728210.1948 | 1248401.7905
72 | 2728194.1795 | 1248296.0683 | 2728197.918 | 1248285.2953
73 | 2728210.1948 | 1248401.7905 | 2728211.1574 | 1248403.0955 | 2728226.5369 | 1248416.9553
74 | 2728483.1513 | 1247865.7589 | 2728487.9602 | 1247875.6828 | 2728489.6065 | 1247883.7255 | 2728490.3896 | 1247889.77 | 2728493.0331 | 1247910.3564 | 2728495.9846 | 1247928.2359 | 2728496.8156 | 1247931.7725
75 | 2728499.646 | 1248135.2515 | 2728494.8188 | 1248135.7394
76 | 2728483.1513 | 1247865.7589 | 2728476.3495 | 1247861.3298 | 2728462.8213 | 1247855.9654 | 2728462.0506 | 1247855.7582
77 | 2728450.4952 | 1247852.651 | 2728462.0506 | 1247855.7582
78 | 2728450.4952 | 1247852.651 | 2728446.4744 | 1247858.9917 | 2728440.011 | 1247866.0652
79 | 2728432.0176 | 1247872.4124 | 2728432.0176 | 1247872.4124 | 2728439.5792 | 1247866.5378 | 2728440.011 | 1247866.0652
80 | 2727895.7534 | 1248133.3261 | 2727928.2157 | 1248055.681 | 2727949.5312 | 1248007.2543 | 2727941.1025 | 1247965.8586
81 | 2727969.0078 | 1248161.8315 | 2727895.7534 | 1248133.3261
82 | 2727969.0078 | 1248161.8315 | 2727968.5363 | 1248170.7179 | 2727986.5064 | 1248227.8334 | 2727996.4476 | 1248251.5307
83 | 2728007.3344 | 1248277.4819 | 2727996.4476 | 1248251.5307
84 | 2728090.8111 | 1248216.0147 | 2728076.395 | 1248209.6209
85 | 2728090.8111 | 1248216.0147 | 2728122.0892 | 1248229.8869
86 | 2728007.3344 | 1248277.4819 | 2727993.7282 | 1248284.4942 | 2727991.6352 | 1248284.9717
87 | 2728007.3344 | 1248277.4819 | 2728027.1541 | 1248273.6585
88 | 2728155.6681 | 1248245.1477 | 2728141.8298 | 1248238.6422 | 2728122.0892 | 1248229.8869
89 | 2728056.1662 | 1248269.2602 | 2728047.8219 | 1248269.6715 | 2728027.1541 | 1248273.6585
90 | 2728206.3727 | 1248283.8634 | 2728236.1103 | 1248278.8267 | 2728252.3676 | 1248274.2966 | 2728254.06 | 1248273.3961
91 | 2728197.918 | 1248285.2953 | 2728206.3727 | 1248283.8634
92 | 2728265.052 | 1248266.8828 | 2728263.373 | 1248268.4407 | 2728254.06 | 1248273.3961
93 | 2728197.918 | 1248285.2953 | 2728200.0657 | 1248271.2295 | 2728204.1432 | 1248259.0094
94 | 2728265.052 | 1248266.8828 | 2728271.6299 | 1248260.7793 | 2728280.2081 | 1248256.4167 | 2728285.566 | 1248256.2887
95 | 2728205.0098 | 1248256.4124 | 2728204.1432 | 1248259.0094
96 | 2728300.0747 | 1248257.1589 | 2728290.7069 | 1248256.1658 | 2728285.566 | 1248256.2887
97 | 2728217.013 | 1248222.2532 | 2728213.8405 | 1248229.9135 | 2728205.0098 | 1248256.4124
98 | 2728205.0098 | 1248256.4124 | 2728233.6378 | 1248257.9884 | 2728235.1068 | 1248257.6861
99 | 2728217.013 | 1248222.2532 | 2728222.2723 | 1248217.0917
100 | 2728247.5233 | 1248197.6814 | 2728227.1244 | 1248212.3299 | 2728222.2723 | 1248217.0917
101 | 2728168.3828 | 1248251.1251 | 2728155.6681 | 1248245.1477
102 | 2728297.0437 | 1248167.594 | 2728292.8851 | 1248169.1926
103 | 2728302.0975 | 1248165.6514 | 2728297.0437 | 1248167.594
104 | 2728279.6352 | 1248177.1684 | 2728292.8851 | 1248169.1926 | 2728292.8851 | 1248169.1926
105 | 2728378.4281 | 1248183.7903 | 2728368.4149 | 1248181.1489 | 2728340.5085 | 1248170.6579 | 2728326.953 | 1248165.8825 | 2728315.5237 | 1248163.7444 | 2728304.9903 | 1248164.5394 | 2728302.0975 | 1248165.6514
106 | 2728279.6352 | 1248177.1684 | 2728266.3124 | 1248185.2488
107 | 2728378.4281 | 1248183.7903 | 2728403.0118 | 1248169.4657 | 2728418.393 | 1248134.6239
108 | 2728266.3124 | 1248185.2488 | 2728264.7016 | 1248186.2257
109 | 2728418.393 | 1248134.6239 | 2728411.6776 | 1248129.7075 | 2728403.2624 | 1248125.4883 | 2728391.7648 | 1248123.0149 | 2728378.8825 | 1248121.0806
110 | 2728418.393 | 1248134.6239 | 2728424.0734 | 1248137.4494 | 2728432.9126 | 1248141.2776 | 2728432.9126 | 1248141.2776
111 | 2728247.5233 | 1248197.6814 | 2728256.815 | 1248191.009 | 2728264.7016 | 1248186.2257
112 | 2728494.8188 | 1248135.7394 | 2728491.7831 | 1248136.0462
113 | 2728376.0115 | 1248120.6495 | 2728378.8825 | 1248121.0806
114 | 2728432.9126 | 1248141.2776 | 2728447.5927 | 1248146.4445 | 2728456.6894 | 1248147.4536 | 2728463.2741 | 1248146.1159
115 | 2728491.7831 | 1248136.0462 | 2728486.5097 | 1248136.5791 | 2728467.4722 | 1248145.2631 | 2728463.2741 | 1248146.1159
116 | 2728885.5357 | 1248730.2732 | 2728792.0424 | 1248958.1513
117 | 2728752.7513 | 1248941.3257 | 2728752.6491 | 1248943.2419
118 | 2728431.1678 | 1247872.9118 | 2728432.0176 | 1247872.4124
119 | 2728232.021 | 1248421.8975 | 2728226.5369 | 1248416.9553
120 | 2728243.1118 | 1248431.8923 | 2728232.021 | 1248421.8975
121 | 2728267.6128 | 1248453.9722 | 2728243.1118 | 1248431.8923
122 | 2728267.6128 | 1248453.9722 | 2728276.9235 | 1248460.079 | 2728279.3038 | 1248461.1232
123 | 2728267.6128 | 1248453.9722 | 2728261.3662 | 1248458.1184 | 2728255.0569 | 1248458.8826 | 2728245.9736 | 1248457.2736 | 2728227.239 | 1248452.7311 | 2728210.9257 | 1248457.4268 | 2728192.3404 | 1248463.7861 | 2728175.1146 | 1248464.2251 | 2728171.3581 | 1248463.6685
124 | 2728267.6128 | 1248453.9722 | 2728281.0872 | 1248482.344 | 2728285.962 | 1248491.3613
125 | 2728335.1824 | 1248481.7031 | 2728290.977 | 1248466.244 | 2728279.3038 | 1248461.1232
126 | 2728171.3581 | 1248463.6685 | 2728156.131 | 1248461.4123 | 2728141.4866 | 1248463.6978 | 2728125.7878 | 1248468.6295 | 2728105.2761 | 1248479.8849 | 2728095.2159 | 1248489.6321
127 | 2728285.962 | 1248491.3613 | 2728301.1557 | 1248519.4663 | 2728303.6641 | 1248522.59 | 2728317.3387 | 1248539.6119 | 2728311.9633 | 1248544.3441 | 2728260.0666 | 1248517.4421 | 2728254.7869 | 1248525.7015
128 | 2728335.1824 | 1248481.7031 | 2728330.4491 | 1248503.5197 | 2728331.1452 | 1248510.0961 | 2728347.2305 | 1248528.548
129 | 2728335.1824 | 1248481.7031 | 2728365.1172 | 1248489.7499
130 | 2728095.2159 | 1248489.6321 | 2728092.0278 | 1248492.721 | 2728086.8953 | 1248500.0971
131 | 2728252.9356 | 1248528.5976 | 2728254.7869 | 1248525.7015
132 | 2728365.1172 | 1248489.7499 | 2728381.3949 | 1248494.1255 | 2728426.3731 | 1248501.7953 | 2728437.3905 | 1248502.7605
133 | 2727964.7808 | 1248671.1845 | 2727979.0108 | 1248641.1988 | 2727995.8979 | 1248609.2132 | 2728014.1215 | 1248582.1608 | 2728035.4885 | 1248558.5683 | 2728063.8745 | 1248529.6895 | 2728077.6042 | 1248513.4497 | 2728086.8953 | 1248500.0971
134 | 2728521.0072 | 1248510.0865 | 2728533.2278 | 1248507.0599 | 2728544.1907 | 1248506.2858 | 2728567.5078 | 1248505.3795 | 2728582.7436 | 1248503.6973 | 2728611.6579 | 1248497.2522 | 2728636.3681 | 1248492.3149
135 | 2728521.0072 | 1248510.0865 | 2728437.3905 | 1248502.7605
136 | 2727776.8707 | 1248534.4012 | 2727757.5901 | 1248601.7555 | 2727741.6697 | 1248625.7556
137 | 2727776.8707 | 1248534.4012 | 2727721.4588 | 1248544.6702
138 | 2727687.9082 | 1248557.7412 | 2727718.2803 | 1248545.2593 | 2727721.4588 | 1248544.6702
139 | 2727678.1512 | 1248564.5896 | 2727685.5755 | 1248558.6999 | 2727687.9082 | 1248557.7412
140 | 2728023.6387 | 1248826.1683 | 2728018.1163 | 1248814.3053 | 2728008.5369 | 1248802.8218 | 2727987.2643 | 1248774.8937 | 2727978.3833 | 1248754.5064 | 2727970.7812 | 1248712.3277 | 2727964.7808 | 1248671.1845
141 | 2728023.6387 | 1248826.1683 | 2728032.6913 | 1248826.3751 | 2728042.2122 | 1248826.5809 | 2728046.6888 | 1248825.6657 | 2728048.3351 | 1248824.2889 | 2728074.2665 | 1248768.0888 | 2728074.5619 | 1248763.8582 | 2728072.8514 | 1248758.7723 | 2728068.2843 | 1248754.4366 | 2728061.356 | 1248746.8136 | 2728059.2334 | 1248741.919 | 2728057.1326 | 1248736.0129 | 2728056.7963 | 1248727.7369
142 | 2728030.5966 | 1248923.2812 | 2728037.3959 | 1248912.0321
143 | 2728226.12 | 1248827.5524 | 2728233.1949 | 1248831.8912 | 2728241.9211 | 1248843.2885
144 | 2728243.1347 | 1248844.8737 | 2728241.9211 | 1248843.2885
145 | 2727678.1512 | 1248564.5896 | 2727443.0592 | 1248377.7354

## bus_geodata
| x | y | coords
0 | 2729183.1496 | 1248160.0148
1 | 2729194.6501 | 1248172.5849
2 | 2729179.5403 | 1248152.6098
3 | 2729220.2729 | 1248213.5929
4 | 2729180.8711 | 1248112.5287
5 | 2728699.3573 | 1248407.2168
6 | 2728817.7211 | 1248587.7273
7 | 2728667.1916 | 1248346.9145
8 | 2729361.0744 | 1248243.4894
9 | 2729051.4156 | 1247819.1839
10 | 2729385.6817 | 1248107.1291
11 | 2728820.6438 | 1248594.3633
12 | 2729013.2896 | 1247821.9706
13 | 2729014.1999 | 1247821.0507
14 | 2728985.7641 | 1247843.587
15 | 2729016.7036 | 1247816.3216
16 | 2728518.4523 | 1247984.3496
17 | 2729021.1731 | 1247807.8798
18 | 2729043.4296 | 1247796.8323
19 | 2728129.2247 | 1248274.2442
20 | 2728148.2895 | 1248275.9472
21 | 2728123.4002 | 1248272.5618
22 | 2728152.922 | 1248275.6692
23 | 2728113.5593 | 1248269.7192
24 | 2728165.3678 | 1248274.9719
25 | 2728109.8544 | 1248268.649
26 | 2728180.5712 | 1248274.5442
27 | 2728097.8686 | 1248267.9008
28 | 2728176.7574 | 1248255.9789
29 | 2728191.1244 | 1248292.1119
30 | 2728082.5869 | 1248268.2195
31 | 2728150.7272 | 1248387.2756
32 | 2728159.3477 | 1248386.8409
33 | 2728143.5909 | 1248387.6354
34 | 2728181.3153 | 1248386.0099
35 | 2728113.3897 | 1248377.9165
36 | 2728183.4515 | 1248385.9583
37 | 2728069.0326 | 1248363.676
38 | 2728200.6816 | 1248385.5426
39 | 2727906.5279 | 1248450.9464
40 | 2728205.1733 | 1248394.982
41 | 2728200.4471 | 1248354.0557
42 | 2727850.2987 | 1248472.4257
43 | 2727878.8238 | 1248485.7013
44 | 2728363.9752 | 1248771.8221
45 | 2728362.8049 | 1248764.5111
46 | 2728365.6132 | 1248782.0543
47 | 2728340.954 | 1248758.8814
48 | 2728508.2152 | 1249023.3167
49 | 2728332.1635 | 1248759.4694
50 | 2728752.0628 | 1248954.2332
51 | 2728193.2711 | 1248833.3624
52 | 2728365.8815 | 1248713.9839
53 | 2728224.8879 | 1248826.7968
54 | 2728037.9504 | 1248880.814
55 | 2728200.3786 | 1248343.1568
56 | 2728200.2312 | 1248339.3652
57 | 2728198.5901 | 1248312.2441
58 | 2728198.3809 | 1248311.0586
59 | 2728198.2976 | 1248310.5865
60 | 2728208.9498 | 1248400.1024
61 | 2728194.1795 | 1248296.0683
62 | 2728210.1948 | 1248401.7905
63 | 2728496.8156 | 1247931.7725
64 | 2728499.646 | 1248135.2515
65 | 2728483.1513 | 1247865.7589
66 | 2728462.0506 | 1247855.7582
67 | 2728450.4952 | 1247852.651
68 | 2728440.011 | 1247866.0652
69 | 2727941.1025 | 1247965.8586
70 | 2727895.7534 | 1248133.326
71 | 2727969.0078 | 1248161.8315
72 | 2727996.4476 | 1248251.5307
73 | 2728076.395 | 1248209.6209
74 | 2728090.8111 | 1248216.0147
75 | 2728007.3344 | 1248277.4819
76 | 2728122.0892 | 1248229.8869
77 | 2727991.6352 | 1248284.9717
78 | 2728027.1541 | 1248273.6585
79 | 2728206.3727 | 1248283.8634
80 | 2728254.06 | 1248273.3961
81 | 2728197.918 | 1248285.2953
82 | 2728265.052 | 1248266.8828
83 | 2728204.1432 | 1248259.0094
84 | 2728285.566 | 1248256.2886
85 | 2728205.0098 | 1248256.4124
86 | 2728300.0747 | 1248257.1589
87 | 2728217.013 | 1248222.2532
88 | 2728235.1068 | 1248257.6861
89 | 2728222.2723 | 1248217.0917
90 | 2728056.1662 | 1248269.2602
91 | 2728181.2984 | 1248250.3065
92 | 2728168.3828 | 1248251.1251
93 | 2728297.0437 | 1248167.594
94 | 2728292.8851 | 1248169.1926
95 | 2728302.0975 | 1248165.6514
96 | 2728279.6352 | 1248177.1684
97 | 2728378.4281 | 1248183.7903
98 | 2728266.3124 | 1248185.2488
99 | 2728418.393 | 1248134.6239
100 | 2728264.7016 | 1248186.2257
101 | 2728494.8188 | 1248135.7394
102 | 2728378.8825 | 1248121.0806
103 | 2728432.9126 | 1248141.2776
104 | 2728247.5233 | 1248197.6814
105 | 2728491.7831 | 1248136.0462
106 | 2728376.0115 | 1248120.6495
107 | 2728463.2741 | 1248146.1159
108 | 2728792.0424 | 1248958.1513
109 | 2728885.5357 | 1248730.2732
110 | 2728752.6491 | 1248943.2419
111 | 2728752.7513 | 1248941.3257
112 | 2728432.0176 | 1247872.4124
113 | 2728561.0189 | 1248301.4736
114 | 2728232.021 | 1248421.8975
115 | 2728226.5369 | 1248416.9553
116 | 2728243.1118 | 1248431.8923
117 | 2728267.6128 | 1248453.9722
118 | 2728279.3038 | 1248461.1232
119 | 2728171.3581 | 1248463.6685
120 | 2728285.962 | 1248491.3613
121 | 2728335.1824 | 1248481.7031
122 | 2728095.2159 | 1248489.6321
123 | 2728254.7869 | 1248525.7015
124 | 2728347.2305 | 1248528.548
125 | 2728365.1172 | 1248489.7499
126 | 2728086.8954 | 1248500.0971
127 | 2728252.9356 | 1248528.5976
128 | 2728155.6681 | 1248245.1477
129 | 2728636.3681 | 1248492.3149
130 | 2728521.0072 | 1248510.0865
131 | 2728437.3905 | 1248502.7605
132 | 2728431.1678 | 1247872.9118
133 | 2727776.8707 | 1248534.4012
134 | 2727741.6697 | 1248625.7556
135 | 2727721.4588 | 1248544.6702
136 | 2727687.9082 | 1248557.7412
137 | 2727964.7808 | 1248671.1845
138 | 2728023.6387 | 1248826.1683
139 | 2728056.7963 | 1248727.7369
140 | 2728037.3959 | 1248912.0321
141 | 2728030.5966 | 1248923.2812
142 | 2728226.12 | 1248827.5524
143 | 2728241.9211 | 1248843.2885
144 | 2727678.1512 | 1248564.5896
145 | 2727443.0592 | 1248377.7354
146 | 2728243.1347 | 1248844.8737
147 | 2728197.918 | 1248285.2953

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1