## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3378-8_2_3_node_34 | 0.4 | n |  | TRUE
1 | bus_LV_3378-8_2_3_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_3378-8_2_3_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_3378-8_2_3_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_3378-8_2_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_3378-8_2_3_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_3378-8_2_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_3378-8_2_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_3378-8_2_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_3378-8_2_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_3378-8_2_3_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_3378-8_2_3_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_3378-8_2_3_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_3378-8_2_3_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_3378-8_2_3_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_3378-8_2_3_node_307 | 0.4 | n |  | TRUE
16 | bus_LV_3378-8_2_3_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_3378-8_2_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_3378-8_2_3_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_3378-8_2_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_3378-8_2_3_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_3378-8_2_3_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_3378-8_2_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_3378-8_2_3_node_362 | 0.4 | n |  | TRUE
24 | bus_LV_3378-8_2_3_node_271 | 0.4 | n |  | TRUE
25 | bus_LV_3378-8_2_3_node_321 | 0.4 | n |  | TRUE
26 | bus_LV_3378-8_2_3_node_206 | 0.4 | n |  | TRUE
27 | bus_LV_3378-8_2_3_node_207 | 0.4 | n |  | TRUE
28 | bus_LV_3378-8_2_3_node_208 | 0.4 | n |  | TRUE
29 | bus_LV_3378-8_2_3_node_209 | 0.4 | n |  | TRUE
30 | bus_LV_3378-8_2_3_node_210 | 0.4 | n |  | TRUE
31 | bus_LV_3378-8_2_3_node_211 | 0.4 | n |  | TRUE
32 | bus_LV_3378-8_2_3_node_268 | 0.4 | n |  | TRUE
33 | bus_LV_3378-8_2_3_node_234 | 0.4 | n |  | TRUE
34 | bus_LV_3378-8_2_3_node_235 | 0.4 | n |  | TRUE
35 | bus_LV_3378-8_2_3_node_236 | 0.4 | n |  | TRUE
36 | bus_LV_3378-8_2_3_node_238 | 0.4 | n |  | TRUE
37 | bus_LV_3378-8_2_3_node_240 | 0.4 | n |  | TRUE
38 | bus_LV_3378-8_2_3_node_239 | 0.4 | n |  | TRUE
39 | bus_LV_3378-8_2_3_node_276 | 0.4 | n |  | TRUE
40 | bus_LV_3378-8_2_3_node_275 | 0.4 | n |  | TRUE
41 | bus_LV_3378-8_2_3_node_244 | 0.4 | n |  | TRUE
42 | bus_LV_3378-8_2_3_node_241 | 0.4 | n |  | TRUE
43 | bus_LV_3378-8_2_3_node_242 | 0.4 | n |  | TRUE
44 | bus_LV_3378-8_2_3_node_243 | 0.4 | n |  | TRUE
45 | bus_LV_3378-8_2_3_node_245 | 0.4 | n |  | TRUE
46 | bus_LV_3378-8_2_3_node_246 | 0.4 | n |  | TRUE
47 | bus_LV_3378-8_2_3_node_247 | 0.4 | n |  | TRUE
48 | bus_LV_3378-8_2_3_node_283 | 0.4 | n |  | TRUE
49 | bus_LV_3378-8_2_3_node_284 | 0.4 | n |  | TRUE
50 | bus_LV_3378-8_2_3_node_248 | 0.4 | n |  | TRUE
51 | bus_LV_3378-8_2_3_node_401 | 0.4 | n |  | TRUE
52 | bus_LV_3378-8_2_3_node_416 | 0.4 | n |  | TRUE
53 | bus_LV_3378-8_2_3_node_249 | 0.4 | n |  | TRUE
54 | bus_LV_3378-8_2_3_node_341 | 0.4 | n |  | TRUE
55 | bus_LV_3378-8_2_3_node_259 | 0.4 | n |  | TRUE
56 | bus_LV_3378-8_2_3_node_260 | 0.4 | n |  | TRUE
57 | bus_LV_3378-8_2_3_node_262 | 0.4 | n |  | TRUE
58 | bus_LV_3378-8_2_3_node_263 | 0.4 | n |  | TRUE
59 | bus_LV_3378-8_2_3_node_374 | 0.4 | n |  | TRUE
60 | bus_LV_3378-8_2_3_node_375 | 0.4 | n |  | TRUE
61 | bus_LV_3378-8_2_3_node_264 | 0.4 | n |  | TRUE
62 | bus_LV_3378-8_2_3_node_265 | 0.4 | n |  | TRUE
63 | bus_LV_3378-8_2_3_node_266 | 0.4 | n |  | TRUE
64 | bus_LV_3378-8_2_3_node_267 | 0.4 | n |  | TRUE
65 | bus_LV_3378-8_2_3_node_270 | 0.4 | n |  | TRUE
66 | bus_LV_3378-8_2_3_node_274 | 0.4 | n |  | TRUE
67 | bus_LV_3378-8_2_3_node_419 | 0.4 | n |  | TRUE
68 | bus_LV_3378-8_2_3_node_381 | 0.4 | n |  | TRUE
69 | bus_LV_3378-8_2_3_node_346 | 0.4 | n |  | TRUE
70 | bus_LV_3378-8_2_3_node_344 | 0.4 | n |  | TRUE
71 | bus_LV_3378-8_2_3_node_397 | 0.4 | n |  | TRUE
72 | bus_LV_3378-8_2_3_node_395 | 0.4 | n |  | TRUE
73 | bus_LV_3378-8_2_3_node_287 | 0.4 | n |  | TRUE
74 | bus_LV_3378-8_2_3_node_288 | 0.4 | n |  | TRUE
75 | bus_LV_3378-8_2_3_node_289 | 0.4 | n |  | TRUE
76 | bus_LV_3378-8_2_3_node_290 | 0.4 | n |  | TRUE
77 | bus_LV_3378-8_2_3_node_291 | 0.4 | n |  | TRUE
78 | bus_LV_3378-8_2_3_node_292 | 0.4 | n |  | TRUE
79 | bus_LV_3378-8_2_3_node_293 | 0.4 | n |  | TRUE
80 | bus_LV_3378-8_2_3_node_305 | 0.4 | n |  | TRUE
81 | bus_LV_3378-8_2_3_node_340 | 0.4 | n |  | TRUE
82 | bus_LV_3378-8_2_3_node_337 | 0.4 | n |  | TRUE
83 | bus_LV_3378-8_2_3_node_338 | 0.4 | n |  | TRUE
84 | bus_LV_3378-8_2_3_node_339 | 0.4 | n |  | TRUE
85 | bus_LV_3378-8_2_3_node_345 | 0.4 | n |  | TRUE
86 | bus_LV_3378-8_2_3_node_377 | 0.4 | n |  | TRUE
87 | bus_LV_3378-8_2_3_node_417 | 0.4 | n |  | TRUE
88 | bus_LV_3378-8_2_3_node_418 | 0.4 | n |  | TRUE
89 | bus_LV_3378-8_2_3_node_376 | 0.4 | n |  | TRUE
90 | bus_LV_3378-8_2_3_node_396 | 0.4 | n |  | TRUE
91 | bus_LV_3378-8_2_3_node_398 | 0.4 | n |  | TRUE
92 | bus_MV_155_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3378-8_2_3_load_34 | 0 | 0.00060927 | 0.0001527 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3378-8_2_3_load_35 | 1 | 0.0019143 | 0.00047977 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3378-8_2_3_load_38 | 4 | 0.00084126 | 0.00021084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3378-8_2_3_load_39 | 5 | 0.00061547 | 0.00015425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3378-8_2_3_load_40 | 6 | 0.00032712 | 8.1983e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3378-8_2_3_load_41 | 7 | 0.00056196 | 0.00014084 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3378-8_2_3_load_42 | 8 | 0.00035262 | 8.8376e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3378-8_2_3_load_83 | 9 | 0.00038519 | 9.6538e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3378-8_2_3_load_71 | 10 | 0.00064643 | 0.00016201 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3378-8_2_3_load_72 | 11 | 0.00020645 | 5.1742e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3378-8_2_3_load_74 | 13 | 0.000148 | 3.7092e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3378-8_2_3_load_75 | 14 | 0.00011216 | 2.811e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3378-8_2_3_load_307 | 15 | 0.00015247 | 3.8213e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3378-8_2_3_load_76 | 16 | 0.00023762 | 5.9553e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3378-8_2_3_load_77 | 17 | 0.00011943 | 2.9932e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3378-8_2_3_load_78 | 18 | 0.00012445 | 3.1191e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3378-8_2_3_load_84 | 22 | 0.00026946 | 6.7533e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3378-8_2_3_load_362 | 23 | 0.00014288 | 3.581e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3378-8_2_3_load_321 | 25 | 0.00099135 | 0.00024846 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3378-8_2_3_load_206 | 26 | 0.00026577 | 6.6608e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3378-8_2_3_load_207 | 27 | 0.00015607 | 3.9115e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3378-8_2_3_load_208 | 28 | 0.0002508 | 6.2856e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3378-8_2_3_load_209 | 29 | 0.00016157 | 4.0493e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3378-8_2_3_load_210 | 30 | 0.00024817 | 6.2197e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3378-8_2_3_load_211 | 31 | 0.00087976 | 0.00022049 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3378-8_2_3_load_234 | 33 | 0.018315 | 0.0045903 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3378-8_2_3_load_235 | 34 | 0.012994 | 0.0032567 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3378-8_2_3_load_238 | 36 | 0.00038657 | 9.6883e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3378-8_2_3_load_240 | 37 | 0.00026998 | 6.7664e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3378-8_2_3_load_275 | 40 | 0.0026677 | 0.00066858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3378-8_2_3_load_244 | 41 | 0.00019596 | 4.9111e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3378-8_2_3_load_241 | 42 | 0.0011661 | 0.00029224 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3378-8_2_3_load_242 | 43 | 0.00090761 | 0.00022747 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3378-8_2_3_load_243 | 44 | 0.00021524 | 5.3944e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3378-8_2_3_load_283 | 48 | 0.00023972 | 6.0079e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3378-8_2_3_load_284 | 49 | 0.0004602 | 0.00011534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3378-8_2_3_load_401 | 51 | 0.00041228 | 0.00010333 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3378-8_2_3_load_416 | 52 | 0.00059215 | 0.00014841 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3378-8_2_3_load_341 | 54 | 0.00029073 | 7.2865e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3378-8_2_3_load_259 | 55 | 0.0037532 | 0.00094063 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3378-8_2_3_load_260 | 56 | 0.010833 | 0.0027149 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3378-8_2_3_load_262 | 57 | 0.006792 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3378-8_2_3_load_374 | 59 | 0.00016903 | 4.2363e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3378-8_2_3_load_375 | 60 | 0.00052695 | 0.00013207 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3378-8_2_3_load_264 | 61 | 0.0028507 | 0.00071444 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3378-8_2_3_load_266 | 63 | 0.00021548 | 5.4005e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3378-8_2_3_load_267 | 64 | 0.00033894 | 8.4947e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3378-8_2_3_load_270 | 65 | 0.0002055 | 5.1504e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3378-8_2_3_load_274 | 66 | 9.4409e-05 | 2.3661e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3378-8_2_3_load_419 | 67 | 0.00062599 | 0.00015689 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3378-8_2_3_load_381 | 68 | 0.00018445 | 4.6227e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3378-8_2_3_load_344 | 70 | 0.0054969 | 0.0013777 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3378-8_2_3_load_397 | 71 | 0.00084533 | 0.00021186 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3378-8_2_3_load_287 | 73 | 0.00021239 | 5.3229e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3378-8_2_3_load_288 | 74 | 0.00029078 | 7.2877e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3378-8_2_3_load_289 | 75 | 0.00041712 | 0.00010454 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3378-8_2_3_load_290 | 76 | 0.00051024 | 0.00012788 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3378-8_2_3_load_291 | 77 | 0.0021113 | 0.00052915 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3378-8_2_3_load_293 | 79 | 0.0016786 | 0.0004207 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3378-8_2_3_load_340 | 81 | 0.0014857 | 0.00037234 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3378-8_2_3_load_337 | 82 | 0.00032559 | 8.16e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3378-8_2_3_load_338 | 83 | 0.0004725 | 0.00011842 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3378-8_2_3_load_339 | 84 | 0.00080214 | 0.00020104 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3378-8_2_3_load_377 | 86 | 0.0040485 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3378-8_2_3_load_417 | 87 | 0.0010627 | 0.00026635 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3378-8_2_3_load_418 | 88 | 0.0010325 | 0.00025878 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3378-8_2_3_load_376 | 89 | 0.00012929 | 3.2402e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3378-8_2_3_load_398 | 91 | 0.00038928 | 9.7563e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3378-8_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.057422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3378-8_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3378-8_2_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.092157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3378-8_2_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3378-8_2_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3378-8_2_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.40544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3378-8_2_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.36165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3378-8_2_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.035382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3378-8_2_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.010421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3378-8_2_3_line_9 | NAYY 4x150 SE | 9 | 20 | 0.16891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3378-8_2_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0050706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3378-8_2_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0024424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3378-8_2_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.018285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3378-8_2_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0088282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3378-8_2_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.024403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3378-8_2_3_line_15 | NAYY 4x150 SE | 15 | 80 | 0.1613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3378-8_2_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.035986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3378-8_2_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3378-8_2_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.1356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3378-8_2_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.28909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3378-8_2_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.16633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3378-8_2_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.16631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3378-8_2_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.083884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3378-8_2_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.21778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3378-8_2_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.0073395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3378-8_2_3_line_25 | NAYY 4x150 SE | 24 | 67 | 0.31035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3378-8_2_3_line_26 | NAYY 4x150 SE | 24 | 32 | 0.35152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3378-8_2_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0034243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3378-8_2_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.019637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3378-8_2_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.013368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3378-8_2_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.25137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3378-8_2_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.040524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3378-8_2_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.046487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3378-8_2_3_line_33 | NAYY 4x150 SE | 32 | 65 | 0.030028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3378-8_2_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.034834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3378-8_2_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.12411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3378-8_2_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.14482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3378-8_2_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.033018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3378-8_2_3_line_38 | NAYY 4x150 SE | 37 | 41 | 0.0036909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3378-8_2_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.12202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3378-8_2_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.020343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3378-8_2_3_line_41 | NAYY 4x150 SE | 39 | 69 | 0.29354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3378-8_2_3_line_42 | NAYY 4x150 SE | 39 | 70 | 0.047312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3378-8_2_3_line_43 | NAYY 4x150 SE | 39 | 53 | 0.11605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3378-8_2_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.02225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3378-8_2_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0061615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3378-8_2_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3378-8_2_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0049904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3378-8_2_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.056695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3378-8_2_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.035131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3378-8_2_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.034653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3378-8_2_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.025741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3378-8_2_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.11051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3378-8_2_3_line_53 | NAYY 4x150 SE | 47 | 51 | 0.020492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3378-8_2_3_line_54 | NAYY 4x150 SE | 48 | 71 | 0.033566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3378-8_2_3_line_55 | NAYY 4x150 SE | 49 | 72 | 0.049013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3378-8_2_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.006658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3378-8_2_3_line_57 | NAYY 4x150 SE | 50 | 53 | 0.056841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3378-8_2_3_line_58 | NAYY 4x150 SE | 51 | 64 | 0.0060952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3378-8_2_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.013741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3378-8_2_3_line_60 | NAYY 4x150 SE | 54 | 84 | 0.015564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3378-8_2_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.019305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3378-8_2_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.031247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3378-8_2_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.043322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3378-8_2_3_line_64 | NAYY 4x150 SE | 58 | 59 | 0.023799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3378-8_2_3_line_65 | NAYY 4x150 SE | 58 | 60 | 0.022256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3378-8_2_3_line_66 | NAYY 4x150 SE | 59 | 89 | 0.012378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3378-8_2_3_line_67 | NAYY 4x150 SE | 60 | 86 | 0.097957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3378-8_2_3_line_68 | NAYY 4x150 SE | 61 | 62 | 0.02574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3378-8_2_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.0084578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3378-8_2_3_line_70 | NAYY 4x150 SE | 63 | 64 | 0.02258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3378-8_2_3_line_71 | NAYY 4x150 SE | 65 | 66 | 0.35247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_3378-8_2_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.020796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3378-8_2_3_line_73 | NAYY 4x150 SE | 68 | 89 | 0.0015145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_3378-8_2_3_line_74 | NAYY 4x150 SE | 69 | 87 | 0.0689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3378-8_2_3_line_75 | NAYY 4x150 SE | 69 | 88 | 0.13925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3378-8_2_3_line_76 | NAYY 4x150 SE | 70 | 85 | 0.06849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3378-8_2_3_line_77 | NAYY 4x150 SE | 72 | 90 | 0.10247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3378-8_2_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.12667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3378-8_2_3_line_79 | NAYY 4x150 SE | 73 | 75 | 0.30461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3378-8_2_3_line_80 | NAYY 4x150 SE | 74 | 76 | 0.0010381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3378-8_2_3_line_81 | NAYY 4x150 SE | 75 | 77 | 0.068501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3378-8_2_3_line_82 | NAYY 4x150 SE | 76 | 78 | 0.24758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3378-8_2_3_line_83 | NAYY 4x150 SE | 77 | 79 | 0.077395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3378-8_2_3_line_84 | NAYY 4x150 SE | 78 | 80 | 0.022907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3378-8_2_3_line_85 | NAYY 4x150 SE | 79 | 81 | 0.019714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3378-8_2_3_line_86 | NAYY 4x150 SE | 81 | 83 | 0.0017454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3378-8_2_3_line_87 | NAYY 4x150 SE | 82 | 83 | 0.33856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3378-8_2_3_line_88 | NAYY 4x150 SE | 82 | 84 | 0.043108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3378-8_2_3_line_89 | NAYY 4x150 SE | 85 | 86 | 0.42473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_3378-8_2_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.21862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3378-8_2_3_trafo_275 | 0.25 MVA 20/0.4 kV | 92 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2732403.5891 | 1246786.6211 | 2732427.5981 | 1246808.8842 | 2732443.9764 | 1246827.3459
1 | 2732458.8214 | 1246844.0793 | 2732443.9764 | 1246827.3459
2 | 2732326.0331 | 1246739.667 | 2732373.7834 | 1246758.9831 | 2732403.5891 | 1246786.6211
3 | 2732458.8214 | 1246844.0793 | 2732453.053 | 1246843.9423
4 | 2732458.8214 | 1246844.0793 | 2732472.3048 | 1246858.1707 | 2732477.4505 | 1246858.733
5 | 2732084.9636 | 1246428.5186 | 2732087.5336 | 1246440.6977 | 2732159.1161 | 1246548.3873 | 2732169.8061 | 1246570.8899 | 2732182.7582 | 1246601.0607 | 2732209.0055 | 1246630.772 | 2732233.6686 | 1246648.1594 | 2732257.4156 | 1246660.1996 | 2732278.3128 | 1246668.5508 | 2732292.3738 | 1246683.2107 | 2732310.3911 | 1246701.7401 | 2732318.3439 | 1246715.1405 | 2732326.0331 | 1246739.667
6 | 2732029.8544 | 1246554.8029 | 2732074.46 | 1246590.5498 | 2732127.5349 | 1246646.6926 | 2732170.4334 | 1246688.1073 | 2732220.9076 | 1246715.1007 | 2732250.7308 | 1246723.0393 | 2732269.9103 | 1246717.6067 | 2732309.694 | 1246733.2969 | 2732326.0331 | 1246739.667
7 | 2732417.8701 | 1246840.9349 | 2732434.8645 | 1246843.5104 | 2732453.053 | 1246843.9423
8 | 2732417.8701 | 1246840.9349 | 2732409.8159 | 1246839.7144 | 2732407.5964 | 1246839.2141
9 | 2732249.999 | 1246807.9647 | 2732273.0475 | 1246810.9814 | 2732306.1188 | 1246808.806 | 2732342.479 | 1246805.8703 | 2732349.3249 | 1246807.2465 | 2732368.1383 | 1246827.6622 | 2732379.9664 | 1246832.9865 | 2732407.5964 | 1246839.2141
10 | 2730834.5246 | 1249126.5117 | 2730830.2991 | 1249123.7088
11 | 2730828.2638 | 1249122.3587 | 2730830.2991 | 1249123.7088
12 | 2730828.2638 | 1249122.3587 | 2730817.272 | 1249136.9709
13 | 2730828.2638 | 1249122.3587 | 2730820.7957 | 1249117.6507
14 | 2730800.1527 | 1249104.6371 | 2730820.7957 | 1249117.6507
15 | 2730825.7897 | 1248945.3921 | 2730800.1527 | 1249104.6371
16 | 2731956.5974 | 1246770.5281 | 2731951.7896 | 1246767.2862 | 2731921.6224 | 1246768.3965
17 | 2731956.5974 | 1246770.5281 | 2731968.4351 | 1246778.5106
18 | 2731870.7382 | 1246803.5376 | 2731848.358 | 1246777.2723 | 2731843.5186 | 1246768.9241 | 2731845.5313 | 1246758.6153 | 2731852.7448 | 1246753.3265 | 2731865.8782 | 1246755.0312 | 2731878.0684 | 1246762.7868 | 2731889.5317 | 1246766.8676 | 2731918.2784 | 1246768.5195 | 2731921.6224 | 1246768.3965
19 | 2732249.999 | 1246807.9647 | 2732230.0836 | 1246810.8342 | 2732210.8583 | 1246818.0008 | 2732196.2162 | 1246820.5878 | 2732161.9776 | 1246810.7382 | 2732118.413 | 1246801.2703 | 2732035.4524 | 1246794.9838 | 2732000.6574 | 1246791.7731 | 2731978.7029 | 1246785.4344 | 2731968.4351 | 1246778.5106
20 | 2731952.7406 | 1246943.1069 | 2731947.1073 | 1246904.592 | 2731892.6009 | 1246822.1513 | 2731870.7382 | 1246803.5376
21 | 2732249.999 | 1246807.9647 | 2732273.3542 | 1246814.8472 | 2732288.4944 | 1246826.5063 | 2732314.6258 | 1246854.5696 | 2732329.7657 | 1246884.5005 | 2732333.7189 | 1246907.1198 | 2732338.2388 | 1246934.7569
22 | 2731952.7406 | 1246943.1069 | 2731941.4683 | 1246935.8942 | 2731906.9258 | 1246921.3796 | 2731893.0443 | 1246916.6334 | 2731881.4752 | 1246908.4911 | 2731878.322 | 1246905.6927
23 | 2731952.7406 | 1246943.1069 | 2731962.083 | 1246956.56 | 2731983.8703 | 1246970.3793 | 2731993.733 | 1246982.5206 | 2731998.3885 | 1247000.807 | 2732018.4115 | 1247050.3854 | 2732047.0215 | 1247076.0784 | 2732054.2427 | 1247085.0138 | 2732052.0619 | 1247091.66 | 2732050.1432 | 1247109.5998 | 2732049.2501 | 1247122.2133
24 | 2732339.4234 | 1246942.0002 | 2732338.2388 | 1246934.7569
25 | 2731796.7425 | 1246992.1256 | 2731816.9233 | 1246977.628 | 2731820.7379 | 1246978.369 | 2731833.5525 | 1246989.9641 | 2731841.3381 | 1246995.2863 | 2731849.9009 | 1246997.601 | 2731859.4398 | 1246996.8013 | 2731868.7032 | 1246994.116 | 2731874.2418 | 1246992.7713 | 2731882.3477 | 1246993.2075 | 2731892.8126 | 1246997.9889 | 2731937.4589 | 1247022.626 | 2731991.8454 | 1247059.1129 | 2732017.341 | 1247083.8467 | 2732044.6365 | 1247113.9254 | 2732049.2501 | 1247122.2133
26 | 2731913.4186 | 1247300.7368 | 2731920.4181 | 1247297.5674 | 2731930.3001 | 1247293.5504 | 2731936.4217 | 1247291.4625 | 2731941.7446 | 1247290.9694 | 2731947.1878 | 1247291.858 | 2731951.4602 | 1247293.41 | 2731954.3343 | 1247295.3201 | 2731957.4338 | 1247298.3028 | 2731959.9751 | 1247301.5845 | 2731962.526 | 1247306.4678 | 2731969.5407 | 1247325.0069 | 2731973.5961 | 1247332.9041 | 2731978.6893 | 1247337.6328 | 2731986.0288 | 1247338.5303 | 2731994.155 | 1247334.641 | 2732029.0182 | 1247305.825 | 2732044.0347 | 1247288.077 | 2732059.9054 | 1247261.1622 | 2732064.6941 | 1247243.2753 | 2732068.5886 | 1247221.4427 | 2732067.4176 | 1247198.3851 | 2732057.5545 | 1247154.4155 | 2732051.7998 | 1247133.5912 | 2732049.2501 | 1247122.2133
27 | 2731863.2562 | 1247216.4771 | 2731860.1559 | 1247215.023
28 | 2731842.2147 | 1247207.0663 | 2731847.7312 | 1247209.1951 | 2731860.1559 | 1247215.023
29 | 2731863.2562 | 1247216.4771 | 2731866.2992 | 1247217.9045 | 2731874.3591 | 1247223.8349
30 | 2731842.2147 | 1247207.0663 | 2731784.3053 | 1247184.7192 | 2731701.1974 | 1247151.6436 | 2731682.8958 | 1247145.8877 | 2731668.3517 | 1247146.1539 | 2731656.4949 | 1247149.6048 | 2731646.1686 | 1247156.2703 | 2731634.1653 | 1247164.2776 | 2731624.0145 | 1247169.1677 | 2731615.8974 | 1247169.5879 | 2731608.5191 | 1247167.5491
31 | 2731874.3591 | 1247223.8349 | 2731878.5808 | 1247226.9412 | 2731885.0125 | 1247236.3814 | 2731894.6446 | 1247258.2099
32 | 2731913.4186 | 1247300.7368 | 2731900.485 | 1247271.4454 | 2731894.6446 | 1247258.2099
33 | 2731913.4186 | 1247300.7368 | 2731921.5457 | 1247316.8318 | 2731927.2656 | 1247327.3782
34 | 2731937.4094 | 1248307.9528 | 2731912.6052 | 1248283.4951
35 | 2732035.9814 | 1248381.944 | 2732023.1133 | 1248367.8227 | 2731965.2743 | 1248326.1314 | 2731946.8347 | 1248317.2464 | 2731937.4094 | 1248307.9528
36 | 2732035.9814 | 1248381.944 | 2732029.3509 | 1248385.2214 | 2732023.5234 | 1248390.7744 | 2732001.8687 | 1248414.6467 | 2731998.2847 | 1248417.158 | 2731994.2507 | 1248418.8475 | 2731989.9417 | 1248419.6523 | 2731985.563 | 1248419.5214 | 2731981.3183 | 1248418.4593 | 2731977.3874 | 1248416.5367 | 2731941.6945 | 1248394.7118 | 2731929.5694 | 1248389.2816 | 2731922.0028 | 1248386.7666 | 2731914.6166 | 1248384.3106
37 | 2731914.6166 | 1248384.3106 | 2731907.342 | 1248381.8916 | 2731884.1835 | 1248377.6394 | 2731882.3801 | 1248377.5319
38 | 2731878.6958 | 1248377.3123 | 2731882.3801 | 1248377.5319
39 | 2731761.2581 | 1248082.9898 | 2731765.5326 | 1248086.7993 | 2731770.4174 | 1248094.0809 | 2731773.1837 | 1248100.4814 | 2731774.0626 | 1248106.484 | 2731782.0486 | 1248111.2213 | 2731790.7993 | 1248119.2785 | 2731796.1659 | 1248121.8778 | 2731804.6058 | 1248124.8903 | 2731817.1253 | 1248124.168 | 2731829.5094 | 1248120.7069 | 2731848.8187 | 1248110.9165 | 2731859.7981 | 1248108.1138
40 | 2731859.7981 | 1248108.1138 | 2731868.6004 | 1248096.199 | 2731869.829 | 1248090.8075
41 | 2731494.8681 | 1247990.7722 | 2731535.6811 | 1247987.0186 | 2731552.3648 | 1247985.5652 | 2731566.477 | 1247987.3021 | 2731614.2177 | 1248010.7713 | 2731664.8177 | 1248031.6909 | 2731673.3502 | 1248038.3641 | 2731693.5024 | 1248063.0446 | 2731709.1346 | 1248069.4642 | 2731733.3965 | 1248073.4178 | 2731761.2581 | 1248082.9898
42 | 2731761.2581 | 1248082.9898 | 2731750.9699 | 1248066.947 | 2731744.3248 | 1248050.8295 | 2731741.2771 | 1248040.4477
43 | 2731737.7216 | 1248182.9886 | 2731736.0566 | 1248176.3235 | 2731736.2401 | 1248168.0758 | 2731738.7945 | 1248156.1443 | 2731750.7414 | 1248134.2904 | 2731774.0626 | 1248106.484 | 2731773.1837 | 1248100.4814 | 2731770.4174 | 1248094.0809 | 2731765.5326 | 1248086.7993 | 2731761.2581 | 1248082.9898
44 | 2731878.6958 | 1248377.3123 | 2731856.4849 | 1248375.9887
45 | 2731850.5052 | 1248374.6455 | 2731854.6915 | 1248375.8818 | 2731856.4849 | 1248375.9887
46 | 2731850.5052 | 1248374.6455 | 2731837.0165 | 1248370.6619 | 2731827.5601 | 1248367.3022
47 | 2731822.8577 | 1248365.6315 | 2731827.5601 | 1248367.3022
48 | 2731822.8577 | 1248365.6315 | 2731823.16 | 1248413.4918 | 2731823.3943 | 1248422.3159
49 | 2731805.8791 | 1248335.5608 | 2731813.0222 | 1248345.5729 | 2731813.037 | 1248347.9642 | 2731813.911 | 1248351.4645 | 2731816.4996 | 1248357.0159 | 2731822.8577 | 1248365.6315
50 | 2731823.3943 | 1248422.3159 | 2731857.7408 | 1248426.9171
51 | 2731823.3943 | 1248422.3159 | 2731826.2243 | 1248447.9007
52 | 2731760.9043 | 1248234.7607 | 2731766.2376 | 1248245.9892 | 2731788.7367 | 1248290.7734 | 2731803.1934 | 1248328.9396 | 2731804.0297 | 1248331.0823 | 2731805.8791 | 1248335.5608
53 | 2731805.8791 | 1248335.5608 | 2731798.7423 | 1248337.4927 | 2731796.874 | 1248337.5957 | 2731795.0933 | 1248337.1557 | 2731791.9507 | 1248335.451 | 2731787.2201 | 1248332.0653
54 | 2731860.255 | 1248459.9023 | 2731859.5141 | 1248429.381 | 2731857.7408 | 1248426.9171
55 | 2731827.9329 | 1248496.3936 | 2731830.4202 | 1248481.7137 | 2731829.8238 | 1248471.5136 | 2731827.5389 | 1248459.7857 | 2731826.2243 | 1248447.9007
56 | 2731760.9043 | 1248234.7607 | 2731755.6603 | 1248238.8812
57 | 2731737.7216 | 1248182.9886 | 2731748.357 | 1248207.1908 | 2731753.0719 | 1248215.3139 | 2731754.925 | 1248221.6718 | 2731760.9043 | 1248234.7607
58 | 2731787.2201 | 1248332.0653 | 2731784.5739 | 1248330.1713 | 2731782.4045 | 1248328.337
59 | 2731737.7216 | 1248182.9886 | 2731728.4784 | 1248183.8285 | 2731725.3198 | 1248180.6802
60 | 2731725.3198 | 1248180.6802 | 2731714.2961 | 1248169.6928
61 | 2732169.8196 | 1247743.8924 | 2732182.6594 | 1247758.3087
62 | 2732149.1284 | 1247720.4801 | 2732151.5196 | 1247723.3454 | 2732169.8196 | 1247743.8924
63 | 2732121.3704 | 1247687.2194 | 2732149.1284 | 1247720.4801
64 | 2732121.3704 | 1247687.2194 | 2732107.6187 | 1247667.795
65 | 2732121.3704 | 1247687.2194 | 2732103.6807 | 1247700.7249
66 | 2732100.4668 | 1247657.6928 | 2732107.6187 | 1247667.795
67 | 2732033.9878 | 1247680.9164 | 2732034.1493 | 1247681.1156 | 2732048.3703 | 1247688.5055 | 2732053.7073 | 1247694.4852 | 2732063.4291 | 1247712.8847 | 2732070.5395 | 1247721.3283 | 2732074.746 | 1247723.4461 | 2732078.833 | 1247722.1137 | 2732087.4983 | 1247715.0338 | 2732100.9477 | 1247702.8115 | 2732103.6807 | 1247700.7249
68 | 2731771.273 | 1248305.5872 | 2731769.6698 | 1248303.9613 | 2731768.0816 | 1248302.002 | 2731755.9961 | 1248284.9086
69 | 2731771.273 | 1248305.5872 | 2731768.0416 | 1248308.5514 | 2731767.1196 | 1248310.2657 | 2731766.9667 | 1248312.3864
70 | 2731766.9667 | 1248312.3864 | 2731766.9667 | 1248312.3864 | 2731767.6 | 1248314.4801 | 2731768.5241 | 1248316.0687 | 2731770.1068 | 1248317.9389 | 2731782.4045 | 1248328.337
71 | 2732087.5758 | 1247639.4841 | 2732069.7739 | 1247614.3388 | 2732053.2157 | 1247589.4257 | 2732039.3611 | 1247562.1931 | 2732029.6786 | 1247537.2666 | 2732006.258 | 1247473.0773 | 2731992.0902 | 1247438.8539 | 2731976.1761 | 1247407.7166 | 2731941.8027 | 1247354.1821 | 2731927.2656 | 1247327.3782
72 | 2732099.5917 | 1247656.4567 | 2732087.5758 | 1247639.4841
73 | 2732099.5917 | 1247656.4567 | 2732100.4668 | 1247657.6928
74 | 2731426.3811 | 1247981.5678 | 2731494.8681 | 1247990.7722
75 | 2731374.6439 | 1248057.1881 | 2731448.1866 | 1248030.5389 | 2731494.8681 | 1247990.7722
76 | 2731726.3059 | 1247973.7054 | 2731733.8815 | 1248015.2549 | 2731741.2771 | 1248040.4477
77 | 2731827.9329 | 1248496.3936 | 2731817.5992 | 1248500.7677 | 2731783.1273 | 1248501.8246 | 2731776.577 | 1248504.9039 | 2731742.6518 | 1248536.0665 | 2731739.1162 | 1248537.0888
78 | 2731013.8174 | 1248796.8554 | 2731017.1311 | 1248792.6492 | 2731055.1608 | 1248758.7376 | 2731089.8757 | 1248740.4778 | 2731114.5393 | 1248721.4633
79 | 2731361.9731 | 1248556.1376 | 2731299.1718 | 1248574.4625 | 2731284.1872 | 1248581.8149 | 2731266.7235 | 1248594.3393 | 2731246.8577 | 1248611.2923 | 2731205.8205 | 1248652.9986 | 2731150.0553 | 1248682.6688 | 2731141.5048 | 1248688.4292 | 2731137.5173 | 1248692.1331 | 2731127.2532 | 1248708.0758 | 2731116.8126 | 1248719.7107 | 2731114.5393 | 1248721.4633
80 | 2731013.175 | 1248797.6708 | 2731013.8174 | 1248796.8554
81 | 2731361.9731 | 1248556.1376 | 2731369.9079 | 1248553.8223 | 2731382.8342 | 1248546.6357 | 2731418.7116 | 1248518.7417
82 | 2730838.0878 | 1248927.2475 | 2730841.8301 | 1248914.7968 | 2730846.0184 | 1248908.8284 | 2730857.3728 | 1248907.0775 | 2730875.8188 | 1248914.9694 | 2730899.3136 | 1248913.1643 | 2730941.761 | 1248902.4812 | 2730973.9466 | 1248867.0275 | 2730989.6096 | 1248827.5831 | 2731013.175 | 1248797.6708
83 | 2731469.1451 | 1248463.1087 | 2731459.1281 | 1248487.3188 | 2731418.7116 | 1248518.7417
84 | 2730838.0878 | 1248927.2475 | 2730835.9355 | 1248934.0615 | 2730829.4079 | 1248944.0263 | 2730825.7897 | 1248945.3921
85 | 2731469.1451 | 1248463.1087 | 2731476.682 | 1248444.8927
86 | 2731478.1009 | 1248443.8763 | 2731476.682 | 1248444.8927 | 2731476.682 | 1248444.8927
87 | 2731684.727 | 1248184.5572 | 2731674.8912 | 1248189.2874 | 2731665.3719 | 1248196.7715 | 2731652.7211 | 1248211.2256 | 2731642.1436 | 1248235.7347 | 2731626.8301 | 1248271.771 | 2731613.9791 | 1248294.9062 | 2731595.0602 | 1248315.3933 | 2731560.3372 | 1248345.7385 | 2731539.4526 | 1248375.1567 | 2731520.2707 | 1248408.8721 | 2731512.314 | 1248418.8155 | 2731495.0368 | 1248431.7437 | 2731478.1009 | 1248443.8763
88 | 2731684.727 | 1248184.5572 | 2731684.727 | 1248184.5572 | 2731692.6605 | 1248172.6229 | 2731698.4178 | 1248165.4666 | 2731704.3427 | 1248161.9841 | 2731709.1803 | 1248164.5938 | 2731714.2961 | 1248169.6928
89 | 2731726.3059 | 1247973.7054 | 2732033.9878 | 1247680.9164
90 | 2731739.1162 | 1248537.0888 | 2731737.8424 | 1248542.7322 | 2731728.2979 | 1248561.9038 | 2731699.843 | 1248593.3884 | 2731665.3204 | 1248623.9376 | 2731645.7506 | 1248629.5635 | 2731629.7284 | 1248630.2195 | 2731606.1348 | 1248624.8465 | 2731581.6088 | 1248616.2167 | 2731573.7242 | 1248615.441 | 2731565.366 | 1248615.6681

## bus_geodata
| x | y | coords
0 | 2732443.9764 | 1246827.3459
1 | 2732403.5891 | 1246786.6211
2 | 2732458.8214 | 1246844.0793
3 | 2732326.0331 | 1246739.667
4 | 2732453.053 | 1246843.9423
5 | 2732477.4505 | 1246858.733
6 | 2732084.9636 | 1246428.5186
7 | 2732029.8544 | 1246554.8029
8 | 2732417.8701 | 1246840.9349
9 | 2732407.5964 | 1246839.2141
10 | 2730834.5246 | 1249126.5117
11 | 2730830.2991 | 1249123.7088
12 | 2730828.2638 | 1249122.3587
13 | 2730817.272 | 1249136.9709
14 | 2730820.7957 | 1249117.6507
15 | 2730800.1527 | 1249104.6371
16 | 2731956.5974 | 1246770.5281
17 | 2731921.6224 | 1246768.3965
18 | 2731968.4351 | 1246778.5106
19 | 2731870.7382 | 1246803.5376
20 | 2732249.999 | 1246807.9647
21 | 2731952.7406 | 1246943.1069
22 | 2732338.2388 | 1246934.7569
23 | 2731878.322 | 1246905.6927
24 | 2732049.2501 | 1247122.2133
25 | 2732339.4234 | 1246942.0002
26 | 2731860.1559 | 1247215.023
27 | 2731863.2562 | 1247216.4771
28 | 2731842.2147 | 1247207.0663
29 | 2731874.3591 | 1247223.8349
30 | 2731608.5191 | 1247167.5491
31 | 2731894.6446 | 1247258.2099
32 | 2731913.4186 | 1247300.7368
33 | 2731937.4094 | 1248307.9528
34 | 2731912.6052 | 1248283.4951
35 | 2732035.9814 | 1248381.944
36 | 2731914.6166 | 1248384.3106
37 | 2731882.3801 | 1248377.5319
38 | 2731859.7981 | 1248108.1138
39 | 2731761.2581 | 1248082.9898
40 | 2731869.829 | 1248090.8075
41 | 2731878.6958 | 1248377.3123
42 | 2731850.5052 | 1248374.6455
43 | 2731856.4849 | 1248375.9887
44 | 2731827.5601 | 1248367.3022
45 | 2731822.8577 | 1248365.6315
46 | 2731823.3943 | 1248422.3159
47 | 2731805.8791 | 1248335.5608
48 | 2731857.7408 | 1248426.9171
49 | 2731826.2243 | 1248447.9007
50 | 2731760.9043 | 1248234.7607
51 | 2731787.2201 | 1248332.0653
52 | 2731755.6603 | 1248238.8812
53 | 2731737.7216 | 1248182.9886
54 | 2731725.3198 | 1248180.6802
55 | 2732182.6594 | 1247758.3087
56 | 2732169.8196 | 1247743.8924
57 | 2732149.1284 | 1247720.4801
58 | 2732121.3704 | 1247687.2194
59 | 2732107.6187 | 1247667.795
60 | 2732103.6807 | 1247700.7249
61 | 2731755.9961 | 1248284.9086
62 | 2731771.273 | 1248305.5872
63 | 2731766.9667 | 1248312.3864
64 | 2731782.4045 | 1248328.337
65 | 2731927.2656 | 1247327.3782
66 | 2732087.5758 | 1247639.4841
67 | 2731796.7425 | 1246992.1256
68 | 2732099.5917 | 1247656.4567
69 | 2731494.8681 | 1247990.7722
70 | 2731741.2771 | 1248040.4477
71 | 2731860.255 | 1248459.9023
72 | 2731827.9329 | 1248496.3936
73 | 2731114.5393 | 1248721.4633
74 | 2731013.8174 | 1248796.8554
75 | 2731361.9731 | 1248556.1376
76 | 2731013.175 | 1248797.6708
77 | 2731418.7116 | 1248518.7417
78 | 2730838.0878 | 1248927.2475
79 | 2731469.1451 | 1248463.1087
80 | 2730825.7897 | 1248945.3921
81 | 2731476.682 | 1248444.8927
82 | 2731684.727 | 1248184.5572
83 | 2731478.1009 | 1248443.8763
84 | 2731714.2961 | 1248169.6928
85 | 2731726.3059 | 1247973.7054
86 | 2732033.9878 | 1247680.9164
87 | 2731426.3811 | 1247981.5678
88 | 2731374.6439 | 1248057.1881
89 | 2732100.4668 | 1247657.6928
90 | 2731739.1162 | 1248537.0888
91 | 2731565.366 | 1248615.6681
92 | 2731870.8444 | 1248086.3513

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1