## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3394-1_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3394-1_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_3394-1_1_3_node_235 | 0.4 | n |  | TRUE
3 | bus_LV_3394-1_1_3_node_280 | 0.4 | n |  | TRUE
4 | bus_LV_3394-1_1_3_node_108 | 0.4 | n |  | TRUE
5 | bus_LV_3394-1_1_3_node_281 | 0.4 | n |  | TRUE
6 | bus_LV_3394-1_1_3_node_283 | 0.4 | n |  | TRUE
7 | bus_LV_3394-1_1_3_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_3394-1_1_3_node_282 | 0.4 | n |  | TRUE
9 | bus_LV_3394-1_1_3_node_287 | 0.4 | n |  | TRUE
10 | bus_LV_3394-1_1_3_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_3394-1_1_3_node_294 | 0.4 | n |  | TRUE
12 | bus_LV_3394-1_1_3_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_3394-1_1_3_node_343 | 0.4 | n |  | TRUE
14 | bus_LV_3394-1_1_3_node_103 | 0.4 | n |  | TRUE
15 | bus_LV_3394-1_1_3_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_3394-1_1_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_3394-1_1_3_node_323 | 0.4 | n |  | TRUE
18 | bus_LV_3394-1_1_3_node_102 | 0.4 | n |  | TRUE
19 | bus_LV_3394-1_1_3_node_344 | 0.4 | n |  | TRUE
20 | bus_LV_3394-1_1_3_node_345 | 0.4 | n |  | TRUE
21 | bus_LV_3394-1_1_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_3394-1_1_3_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_3394-1_1_3_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_3394-1_1_3_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_3394-1_1_3_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_3394-1_1_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_3394-1_1_3_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_3394-1_1_3_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_3394-1_1_3_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_3394-1_1_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_3394-1_1_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_3394-1_1_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_3394-1_1_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_3394-1_1_3_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_3394-1_1_3_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_3394-1_1_3_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_3394-1_1_3_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_3394-1_1_3_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_3394-1_1_3_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_3394-1_1_3_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_3394-1_1_3_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_3394-1_1_3_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_3394-1_1_3_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_3394-1_1_3_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_3394-1_1_3_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_3394-1_1_3_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_3394-1_1_3_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_3394-1_1_3_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_3394-1_1_3_node_107 | 0.4 | n |  | TRUE
50 | bus_LV_3394-1_1_3_node_109 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3394-1_1_3_load_5 | 0 | 0.00051093 | 0.00012805 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3394-1_1_3_load_235 | 2 | 0.00085255 | 0.00021367 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3394-1_1_3_load_108 | 4 | 0.00204 | 0.00051126 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3394-1_1_3_load_281 | 5 | 0.0015609 | 0.00039119 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3394-1_1_3_load_283 | 6 | 0.0010341 | 0.00025918 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3394-1_1_3_load_79 | 7 | 0.00012418 | 3.1122e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3394-1_1_3_load_282 | 8 | 0.00052892 | 0.00013256 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3394-1_1_3_load_287 | 9 | 6.9104e-05 | 1.7319e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3394-1_1_3_load_64 | 10 | 5.6492e-05 | 1.4158e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3394-1_1_3_load_294 | 11 | 5.651e-05 | 1.4163e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3394-1_1_3_load_81 | 12 | 0.00020499 | 5.1375e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3394-1_1_3_load_343 | 13 | 8.1332e-05 | 2.0384e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3394-1_1_3_load_66 | 15 | 5.1416e-05 | 1.2886e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3394-1_1_3_load_323 | 17 | 8.356e-05 | 2.0942e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3394-1_1_3_load_102 | 18 | 0.00011393 | 2.8555e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3394-1_1_3_load_344 | 19 | 5.6845e-05 | 1.4247e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3394-1_1_3_load_345 | 20 | 7.1432e-05 | 1.7903e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3394-1_1_3_load_96 | 21 | 7.8194e-05 | 1.9597e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3394-1_1_3_load_73 | 22 | 0.00010434 | 2.615e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3394-1_1_3_load_74 | 23 | 7.4634e-05 | 1.8705e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3394-1_1_3_load_76 | 25 | 0.0002952 | 7.3983e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3394-1_1_3_load_77 | 26 | 0.0007262 | 0.000182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3394-1_1_3_load_82 | 29 | 0.00017117 | 4.2899e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3394-1_1_3_load_83 | 30 | 0.00015227 | 3.8162e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3394-1_1_3_load_84 | 31 | 0.00083066 | 0.00020818 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3394-1_1_3_load_85 | 32 | 0.0005837 | 0.00014629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3394-1_1_3_load_86 | 33 | 0.00018535 | 4.6453e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3394-1_1_3_load_87 | 34 | 0.0001394 | 3.4936e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3394-1_1_3_load_88 | 35 | 0.0001486 | 3.7243e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3394-1_1_3_load_89 | 36 | 0.00043683 | 0.00010948 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3394-1_1_3_load_90 | 37 | 0.00019382 | 4.8576e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3394-1_1_3_load_91 | 38 | 0.0001597 | 4.0024e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3394-1_1_3_load_98 | 41 | 0.0014634 | 0.00036676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3394-1_1_3_load_95 | 43 | 7.5945e-05 | 1.9034e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3394-1_1_3_load_106 | 45 | 0.0028184 | 0.00070637 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3394-1_1_3_load_99 | 46 | 8.3944e-05 | 2.1038e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3394-1_1_3_load_110 | 48 | 0.00065444 | 0.00016402 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3394-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.33059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3394-1_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.51577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3394-1_1_3_line_2 | NAYY 4x150 SE | 2 | 50 | 0.25331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3394-1_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.16887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3394-1_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.3425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3394-1_1_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.52301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3394-1_1_3_line_6 | NAYY 4x150 SE | 4 | 48 | 0.39003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3394-1_1_3_line_7 | NAYY 4x150 SE | 4 | 49 | 0.20572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3394-1_1_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.49938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3394-1_1_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.046776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3394-1_1_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.015115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3394-1_1_3_line_11 | NAYY 4x150 SE | 7 | 24 | 0.18414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3394-1_1_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.24441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3394-1_1_3_line_13 | NAYY 4x150 SE | 10 | 15 | 0.1319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3394-1_1_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.24153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3394-1_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.12564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3394-1_1_3_line_16 | NAYY 4x150 SE | 14 | 19 | 0.27176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3394-1_1_3_line_17 | NAYY 4x150 SE | 14 | 47 | 0.024758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3394-1_1_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.2277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3394-1_1_3_line_19 | NAYY 4x150 SE | 16 | 22 | 0.039067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3394-1_1_3_line_20 | NAYY 4x150 SE | 16 | 23 | 0.077695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3394-1_1_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.039871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3394-1_1_3_line_22 | NAYY 4x150 SE | 18 | 47 | 0.077546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3394-1_1_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.4379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3394-1_1_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.28664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3394-1_1_3_line_25 | NAYY 4x150 SE | 21 | 42 | 0.047219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3394-1_1_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.3454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3394-1_1_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.021815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3394-1_1_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.39365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3394-1_1_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.19944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3394-1_1_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.089969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3394-1_1_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.26239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3394-1_1_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.078957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3394-1_1_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.21623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3394-1_1_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.18898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3394-1_1_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.062859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3394-1_1_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.22268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3394-1_1_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.031596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3394-1_1_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.031059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3394-1_1_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.019609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3394-1_1_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.063679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3394-1_1_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.024898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3394-1_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.051682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3394-1_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.1198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3394-1_1_3_line_44 | NAYY 4x150 SE | 40 | 43 | 0.30982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3394-1_1_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.2964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3394-1_1_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.03094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3394-1_1_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.15745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3394-1_1_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.012114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3394-1_1_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.37578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3394-1_1_3_trafo_79 | 0.25 MVA 20/0.4 kV | 51 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2718833.1383 | 1239897.1997 | 2718904.0092 | 1239891.3249 | 2718938.2372 | 1239890.3208 | 2718970.2225 | 1239883.8341 | 2718987.9086 | 1239877.0607 | 2719045.2725 | 1239869.1375 | 2719097.0123 | 1239850.0928 | 2719153.9286 | 1239829.2274
1 | 2718999.4856 | 1240385.403 | 2718833.1383 | 1239897.1997
2 | 2718865.163 | 1240493.1394 | 2718867.2023 | 1240469.1272 | 2718868.446 | 1240459.5331 | 2718870.6853 | 1240454.2292 | 2718874.0282 | 1240447.0792 | 2718885.3034 | 1240429.8575 | 2718891.6475 | 1240419.3982 | 2718896.3889 | 1240408.8957 | 2718910.1103 | 1240372.663 | 2718916.94 | 1240363.2699 | 2718922.1858 | 1240359.3051 | 2718925.9973 | 1240358.2139 | 2718930.6434 | 1240358.5072 | 2718935.2073 | 1240361.768 | 2718937.7158 | 1240365.677 | 2718939.3888 | 1240370.8925 | 2718942.1942 | 1240381.1238 | 2718945.4812 | 1240389.2185 | 2718949.9113 | 1240393.8666 | 2718954.9595 | 1240396.3587 | 2718962.8261 | 1240398.6293 | 2718979.7298 | 1240397.6005 | 2718987.5014 | 1240395.1765 | 2718994.1031 | 1240391.1166 | 2718999.4856 | 1240385.403
3 | 2719051.7727 | 1240881.7639 | 2719047.5397 | 1240881.6345 | 2719043.2396 | 1240884.8509 | 2718997.1715 | 1240941.7183 | 2718977.4113 | 1240974.7494 | 2718964.247 | 1240994.1792 | 2718959.3907 | 1240998.3631 | 2718952.6345 | 1241001.1078 | 2718947.0463 | 1241001.4294 | 2718942.4868 | 1240999.859
4 | 2719051.7727 | 1240881.7639 | 2719053.6151 | 1240883.4244 | 2719054.041 | 1240886.3243 | 2719052.392 | 1240894.6202 | 2719046.8688 | 1240919.2074 | 2719043.8447 | 1240931.9572 | 2719043.2066 | 1240937.3711 | 2719045.0343 | 1240942.7788 | 2719049.6827 | 1240947.8318 | 2719057.1745 | 1240952.5303 | 2719065.3248 | 1240959.8442 | 2719076.3802 | 1240973.8997 | 2719089.2724 | 1240976.7051 | 2719099.1283 | 1240975.5352 | 2719107.0503 | 1240971.2351 | 2719119.3844 | 1240958.8947 | 2719136.3359 | 1240928.2986 | 2719145.8515 | 1240921.1059 | 2719153.7157 | 1240926.8462 | 2719155.6905 | 1240936.972 | 2719154.3821 | 1240950.9016 | 2719144.3817 | 1240993.9028 | 2719141.3891 | 1241026.5362 | 2719144.9636 | 1241030.8226 | 2719154.8455 | 1241042.664 | 2719158.8042 | 1241047.4029 | 2719158.8042 | 1241047.4029
5 | 2719051.7727 | 1240881.7639 | 2719490.02 | 1240596.3123
6 | 2718604.5649 | 1241194.6129 | 2718942.4868 | 1240999.859
7 | 2718870.5668 | 1240829.2785 | 2718876.379 | 1240843.0729 | 2718881.2993 | 1240850.4219 | 2718887.105 | 1240854.3525 | 2718895.2648 | 1240857.4295 | 2718920.341 | 1240867.4623 | 2718925.1931 | 1240871.4183 | 2718929.0778 | 1240877.9792 | 2718933.694 | 1240889.1698 | 2718934.1821 | 1240894.6285 | 2718932.3154 | 1240906.6232 | 2718933.1104 | 1240912.2437 | 2718936.4667 | 1240921.7632 | 2718938.1587 | 1240927.1571 | 2718936.9795 | 1240950.1301 | 2718939.2102 | 1240964.4865 | 2718940.49 | 1240977.6118 | 2718938.7119 | 1240991.5988 | 2718939.6861 | 1240996.1999 | 2718942.4868 | 1240999.859
8 | 2719189.8147 | 1241545.8223 | 2719158.8042 | 1241047.4029
9 | 2719490.02 | 1240596.3123 | 2719493.4919 | 1240584.2945 | 2719501.4449 | 1240572.1113 | 2719502.8407 | 1240565.1559 | 2719500.5361 | 1240560.906 | 2719493.0145 | 1240562.9274
10 | 2719193.084 | 1241560.5796 | 2719189.8147 | 1241545.8223
11 | 2719321.1355 | 1241580.4688 | 2719318.6849 | 1241562.438 | 2719312.0141 | 1241544.4224 | 2719301.2054 | 1241535.8537 | 2719287.2968 | 1241533.639 | 2719247.315 | 1241539.5516 | 2719230.0555 | 1241539.6272 | 2719209.9323 | 1241533.5513 | 2719202.4186 | 1241527.3509 | 2719199.0784 | 1241524.5926 | 2719191.5176 | 1241529.3892 | 2719188.2859 | 1241538.921 | 2719189.8147 | 1241545.8223
12 | 2719542.4781 | 1242196.4706 | 2719340.6289 | 1242334.278
13 | 2719542.4781 | 1242196.4706 | 2719534.0796 | 1242181.3711 | 2719525.1552 | 1242163.054 | 2719520.1644 | 1242149.9205 | 2719515.3345 | 1242135.1777 | 2719513.5706 | 1242122.5206 | 2719513.1379 | 1242103.8409 | 2719513.2923 | 1242096.1822 | 2719513.9493 | 1242083.8408 | 2719514.3817 | 1242075.5204 | 2719513.9424 | 1242070.6742
14 | 2719193.084 | 1241560.5796 | 2718966.3786 | 1241643.9
15 | 2718550.79 | 1242239.2186 | 2718502.7408 | 1242226.4485 | 2718457.8022 | 1242195.7372 | 2718441.692 | 1242181.5098
16 | 2718550.79 | 1242239.2186 | 2718525.0015 | 1242210.6133 | 2718465.7234 | 1242121.3453 | 2718441.9619 | 1242084.7188 | 2718395.9923 | 1242042.7004 | 2718384.8401 | 1242025.9193
17 | 2718574.7846 | 1242245.592 | 2718550.79 | 1242239.2186
18 | 2719341.2002 | 1241946.8295 | 2719349.4059 | 1241956.9362 | 2719355.9791 | 1241965.1195 | 2719361.6423 | 1241971.5498 | 2719370.4041 | 1241978.4429 | 2719378.3118 | 1241987.198 | 2719386.8542 | 1241997.8564 | 2719397.7934 | 1242010.0309 | 2719405.3301 | 1242017.2997 | 2719413.1502 | 1242023.64 | 2719425.4998 | 1242032.6181 | 2719432.7853 | 1242039.2146 | 2719453.394 | 1242059.3793 | 2719462.5292 | 1242067.6255 | 2719471.2122 | 1242071.2922 | 2719476.1903 | 1242071.9263 | 2719483.7456 | 1242071.1333 | 2719491.6129 | 1242068.7452 | 2719498.9415 | 1242066.0684 | 2719504.3635 | 1242064.5652 | 2719509.2027 | 1242065.341 | 2719512.1225 | 1242067.5461 | 2719513.9424 | 1242070.6742 | 2719513.9424 | 1242070.6742
19 | 2719341.2002 | 1241946.8295 | 2719343.4825 | 1241943.5171 | 2719344.1544 | 1241936.814 | 2719340.3977 | 1241929.21 | 2719330.4626 | 1241914.0978 | 2719329.691 | 1241912.537
20 | 2719341.2002 | 1241946.8295 | 2719331.4021 | 1241947.8333 | 2719315.2844 | 1241944.9625 | 2719291.8367 | 1241938.4414 | 2719266.9562 | 1241927.6091
21 | 2718632.2576 | 1242293.1912 | 2718656.2694 | 1242325.0205
22 | 2718574.7846 | 1242245.592 | 2718622.3698 | 1242272.8542 | 2718629.8383 | 1242289.9843 | 2718632.2576 | 1242293.1912
23 | 2718384.8401 | 1242025.9193 | 2718373.7183 | 1242009.1841 | 2718333.9539 | 1241982.4359 | 2718279.5182 | 1241960.6441 | 2718222.3778 | 1241947.4281 | 2718216.6106 | 1241938.9507 | 2718209.2054 | 1241928.0387 | 2718213.2325 | 1241912.6619 | 2718228.7083 | 1241898.4474 | 2718235.8653 | 1241881.5983 | 2718267.53 | 1241863.6812 | 2718268.7677 | 1241848.2598 | 2718253.2203 | 1241834.9614 | 2718214.8191 | 1241817.5154 | 2718187.1629 | 1241820.9786 | 2718181.9846 | 1241815.5711 | 2718194.5586 | 1241795.0138
24 | 2718642.7854 | 1241900.9188 | 2718384.8401 | 1242025.9193
25 | 2718689.0083 | 1241908.7648 | 2718661.2161 | 1241901.2696 | 2718642.7854 | 1241900.9188
26 | 2719321.1355 | 1241580.4688 | 2719316.6344 | 1241584.2926 | 2719315.4571 | 1241595.8228 | 2719306.7259 | 1241631.7324 | 2719304.4931 | 1241660.022 | 2719284.9555 | 1241763.9704 | 2719302.7209 | 1241844.7274 | 2719316.155 | 1241866.3597 | 2719319.4871 | 1241890.1796 | 2719322.9491 | 1241898.9008 | 2719329.691 | 1241912.537
27 | 2719246.9549 | 1241918.9011 | 2719266.9562 | 1241927.6091
28 | 2719321.1355 | 1241580.4688 | 2719324.3532 | 1241582.1682 | 2719326.525 | 1241588.1168 | 2719327.7004 | 1241596.6029 | 2719329.9549 | 1241611.972 | 2719349.666 | 1241656.9164 | 2719379.6804 | 1241724.231 | 2719405.0895 | 1241758.4481 | 2719437.373 | 1241783.6295 | 2719458.791 | 1241807.5914 | 2719472.7542 | 1241833.3381 | 2719498.72 | 1241862.0178 | 2719548.1416 | 1241881.4833
29 | 2719683.512 | 1241743.2321 | 2719683.1406 | 1241753.3885 | 2719574.8681 | 1241836.7194 | 2719548.7106 | 1241881.7074 | 2719548.1416 | 1241881.4833
30 | 2719604.4456 | 1241712.5352 | 2719611.0857 | 1241725.6465 | 2719645.9247 | 1241727.9617 | 2719683.512 | 1241743.2321
31 | 2719604.4456 | 1241712.5352 | 2719560.3632 | 1241625.542 | 2719542.9451 | 1241563.7069 | 2719540.8108 | 1241537.8982 | 2719542.7622 | 1241512.7501 | 2719552.9568 | 1241505.9943 | 2719587.9849 | 1241519.2442
32 | 2719604.4456 | 1241712.5352 | 2719597.6894 | 1241713.055 | 2719576.157 | 1241710.9083 | 2719530.6979 | 1241688.8189
33 | 2719587.9849 | 1241519.2442 | 2719610.3896 | 1241304.174
34 | 2719610.3896 | 1241304.174 | 2719653.5968 | 1241302.31 | 2719703.866 | 1241289.6686 | 2719747.0883 | 1241252.9768 | 2719763.2771 | 1241231.4413 | 2719769.6115 | 1241223.3735
35 | 2718848.9894 | 1242057.0197 | 2718839.8438 | 1242044.984 | 2718824.8028 | 1241999.6725
36 | 2718988.8928 | 1242228.2206 | 2718967.8385 | 1242214.9882 | 2718944.84 | 1242184.9803 | 2718919.8388 | 1242146.9813 | 2718877.8388 | 1242094.986 | 2718848.9894 | 1242057.0197
37 | 2718812.3259 | 1241970.8336 | 2718818.9484 | 1241982.0361 | 2718824.8028 | 1241999.6725
38 | 2718988.8928 | 1242228.2206 | 2719002.8392 | 1242236.9858 | 2719012.7447 | 1242247.6941
39 | 2718812.3259 | 1241970.8336 | 2718802.3468 | 1241953.9531
40 | 2719053.9031 | 1242296.1586 | 2719039.8376 | 1242276.9829 | 2719012.7447 | 1242247.6941
41 | 2718789.6767 | 1241932.5205 | 2718802.3468 | 1241953.9531
42 | 2719053.9031 | 1242296.1586 | 2719029.911 | 1242314.5592 | 2719016.0567 | 1242318.0176 | 2719008.9363 | 1242317.2032
43 | 2718689.0083 | 1241908.7648 | 2718754.9819 | 1241949.4958 | 2718776.5396 | 1241948.8377 | 2718789.6767 | 1241932.5205
44 | 2718789.6767 | 1241932.5205 | 2718706.8225 | 1241685.9714 | 2718700.1053 | 1241636.7011
45 | 2718668.9424 | 1241342.7655 | 2718666.8324 | 1241409.289 | 2718690.6595 | 1241567.4174 | 2718700.1053 | 1241636.7011
46 | 2718668.9424 | 1241342.7655 | 2718669.9271 | 1241311.8415
47 | 2718604.5649 | 1241194.6129 | 2718611.3203 | 1241204.7451 | 2718646.169 | 1241215.4281 | 2718661.3596 | 1241221.2809 | 2718658.2334 | 1241238.4214 | 2718662.0594 | 1241269.8459 | 2718670.5091 | 1241293.5676 | 2718669.9271 | 1241311.8415
48 | 2718574.7846 | 1242245.592 | 2718571.6641 | 1242233.887
49 | 2718865.163 | 1240493.1394 | 2718861.387 | 1240538.8901 | 2718841.3845 | 1240568.892 | 2718828.0526 | 1240603.4646 | 2718820.8845 | 1240612.4062 | 2718807.9841 | 1240626.9599 | 2718800.7838 | 1240636.7572 | 2718798.7413 | 1240643.1883 | 2718799.4337 | 1240648.2729 | 2718804.1754 | 1240657.7534 | 2718807.2605 | 1240665.3547 | 2718814.5651 | 1240680.9359 | 2718819.1574 | 1240685.0311 | 2718828.9642 | 1240690.8655 | 2718831.9272 | 1240694.361 | 2718832.7423 | 1240698.603 | 2718834.4329 | 1240726.7266 | 2718836.2463 | 1240737.0158 | 2718838.5165 | 1240743.3775 | 2718843.5317 | 1240749.394 | 2718851.9099 | 1240759.3254 | 2718855.764 | 1240765.908 | 2718860.5919 | 1240779.3823 | 2718861.8392 | 1240785.4567 | 2718861.6143 | 1240794.037 | 2718862.8338 | 1240801.879 | 2718870.5668 | 1240829.2785

## bus_geodata
| x | y | coords
0 | 2719153.9286 | 1239829.2274
1 | 2718833.1383 | 1239897.1997
2 | 2718999.4856 | 1240385.403
3 | 2719051.7727 | 1240881.7639
4 | 2718942.4868 | 1240999.859
5 | 2719158.8042 | 1241047.4029
6 | 2719490.02 | 1240596.3123
7 | 2719189.8147 | 1241545.8223
8 | 2719493.0145 | 1240562.9274
9 | 2719340.6289 | 1242334.278
10 | 2719542.4781 | 1242196.4706
11 | 2718966.3786 | 1241643.9
12 | 2719193.084 | 1241560.5796
13 | 2718441.692 | 1242181.5098
14 | 2718550.79 | 1242239.2186
15 | 2719513.9424 | 1242070.6742
16 | 2719341.2002 | 1241946.8295
17 | 2718656.2694 | 1242325.0205
18 | 2718632.2576 | 1242293.1912
19 | 2718384.8401 | 1242025.9193
20 | 2718194.5586 | 1241795.0138
21 | 2718642.7854 | 1241900.9188
22 | 2719329.691 | 1241912.537
23 | 2719266.9562 | 1241927.6091
24 | 2719321.1355 | 1241580.4688
25 | 2719246.9549 | 1241918.9011
26 | 2719548.1416 | 1241881.4833
27 | 2719683.512 | 1241743.2321
28 | 2719604.4456 | 1241712.5352
29 | 2719587.9849 | 1241519.2442
30 | 2719530.6979 | 1241688.8189
31 | 2719610.3896 | 1241304.174
32 | 2719769.6115 | 1241223.3735
33 | 2718848.9894 | 1242057.0197
34 | 2718824.8028 | 1241999.6725
35 | 2718988.8928 | 1242228.2206
36 | 2718812.3259 | 1241970.8336
37 | 2719012.7447 | 1242247.6941
38 | 2718802.3468 | 1241953.9531
39 | 2719053.9031 | 1242296.1586
40 | 2718789.6767 | 1241932.5205
41 | 2719008.9363 | 1242317.2032
42 | 2718689.0083 | 1241908.7648
43 | 2718700.1053 | 1241636.701
44 | 2718668.9424 | 1241342.7655
45 | 2718669.9271 | 1241311.8415
46 | 2718571.6641 | 1242233.887
47 | 2718574.7846 | 1242245.592
48 | 2718604.5649 | 1241194.6129
49 | 2718870.5668 | 1240829.2785
50 | 2718865.163 | 1240493.1394
51 | 2719189.8147 | 1241545.8223

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1