## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3394-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3394-5_0_5_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_3394-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3394-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3394-5_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3394-5_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3394-5_0_5_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_3394-5_0_5_node_143 | 0.4 | n |  | TRUE
8 | bus_LV_3394-5_0_5_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_3394-5_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3394-5_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3394-5_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3394-5_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3394-5_0_5_node_145 | 0.4 | n |  | TRUE
14 | bus_LV_3394-5_0_5_node_146 | 0.4 | n |  | TRUE
15 | bus_LV_3394-5_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3394-5_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3394-5_0_5_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_3394-5_0_5_node_130 | 0.4 | n |  | TRUE
19 | bus_LV_3394-5_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3394-5_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3394-5_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3394-5_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3394-5_0_5_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_3394-5_0_5_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_3394-5_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3394-5_0_5_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_3394-5_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3394-5_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_3394-5_0_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_3394-5_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3394-5_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3394-5_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3394-5_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3394-5_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3394-5_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3394-5_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3394-5_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3394-5_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3394-5_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_3394-5_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3394-5_0_5_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_3394-5_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_3394-5_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3394-5_0_5_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_3394-5_0_5_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_3394-5_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3394-5_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3394-5_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3394-5_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3394-5_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3394-5_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3394-5_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_3394-5_0_5_node_115 | 0.4 | n |  | TRUE
54 | bus_LV_3394-5_0_5_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_3394-5_0_5_node_111 | 0.4 | n |  | TRUE
56 | bus_LV_3394-5_0_5_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_3394-5_0_5_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_3394-5_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_3394-5_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3394-5_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3394-5_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_3394-5_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3394-5_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_3394-5_0_5_node_144 | 0.4 | n |  | TRUE
65 | bus_LV_3394-5_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_3394-5_0_5_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_3394-5_0_5_node_140 | 0.4 | n |  | TRUE
68 | bus_LV_3394-5_0_5_node_139 | 0.4 | n |  | TRUE
69 | bus_LV_3394-5_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3394-5_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3394-5_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3394-5_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_3394-5_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_3394-5_0_5_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_3394-5_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_3394-5_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3394-5_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3394-5_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3394-5_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_3394-5_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_3394-5_0_5_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_3394-5_0_5_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_3394-5_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_3394-5_0_5_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_3394-5_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3394-5_0_5_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_3394-5_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_3394-5_0_5_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_3394-5_0_5_node_127 | 0.4 | n |  | TRUE
90 | bus_LV_3394-5_0_5_node_141 | 0.4 | n |  | TRUE
91 | bus_LV_3394-5_0_5_node_102 | 0.4 | n |  | TRUE
92 | bus_LV_3394-5_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_3394-5_0_5_node_142 | 0.4 | n |  | TRUE
94 | bus_LV_3394-5_0_5_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_3394-5_0_5_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_3394-5_0_5_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_3394-5_0_5_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_3394-5_0_5_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_3394-5_0_5_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_3394-5_0_5_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_3394-5_0_5_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_3394-5_0_5_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_3394-5_0_5_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_3394-5_0_5_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_3394-5_0_5_node_85 | 0.4 | n |  | TRUE
106 | bus_LV_3394-5_0_5_node_81 | 0.4 | n |  | TRUE
107 | bus_LV_3394-5_0_5_node_79 | 0.4 | n |  | TRUE
108 | bus_LV_3394-5_0_5_node_86 | 0.4 | n |  | TRUE
109 | bus_LV_3394-5_0_5_node_82 | 0.4 | n |  | TRUE
110 | bus_LV_3394-5_0_5_node_84 | 0.4 | n |  | TRUE
111 | bus_LV_3394-5_0_5_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_3394-5_0_5_node_120 | 0.4 | n |  | TRUE
113 | bus_LV_3394-5_0_5_node_112 | 0.4 | n |  | TRUE
114 | bus_LV_3394-5_0_5_node_121 | 0.4 | n |  | TRUE
115 | bus_LV_3394-5_0_5_node_89 | 0.4 | n |  | TRUE
116 | bus_LV_3394-5_0_5_node_90 | 0.4 | n |  | TRUE
117 | bus_LV_3394-5_0_5_node_92 | 0.4 | n |  | TRUE
118 | bus_LV_3394-5_0_5_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_3394-5_0_5_node_97 | 0.4 | n |  | TRUE
120 | bus_LV_3394-5_0_5_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_3394-5_0_5_node_99 | 0.4 | n |  | TRUE
122 | bus_LV_3394-5_0_5_node_125 | 0.4 | n |  | TRUE
123 | bus_LV_3394-5_0_5_node_118 | 0.4 | n |  | TRUE
124 | bus_LV_3394-5_0_5_node_126 | 0.4 | n |  | TRUE
125 | bus_LV_3394-5_0_5_node_119 | 0.4 | n |  | TRUE
126 | bus_LV_3394-5_0_5_node_100 | 0.4 | n |  | TRUE
127 | bus_LV_3394-5_0_5_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_3394-5_0_5_node_137 | 0.4 | n |  | TRUE
129 | bus_LV_3394-5_0_5_node_138 | 0.4 | n |  | TRUE
130 | bus_LV_3394-5_0_5_node_135 | 0.4 | n |  | TRUE
131 | bus_LV_3394-5_0_5_node_109 | 0.4 | n |  | TRUE
132 | bus_LV_3394-5_0_5_node_110 | 0.4 | n |  | TRUE
133 | bus_LV_3394-5_0_5_node_116 | 0.4 | n |  | TRUE
134 | bus_LV_3394-5_0_5_node_117 | 0.4 | n |  | TRUE
135 | bus_LV_3394-5_0_5_node_122 | 0.4 | n |  | TRUE
136 | bus_LV_3394-5_0_5_node_123 | 0.4 | n |  | TRUE
137 | bus_LV_3394-5_0_5_node_124 | 0.4 | n |  | TRUE
138 | bus_LV_3394-5_0_5_node_136 | 0.4 | n |  | TRUE
139 | bus_LV_3394-5_0_5_node_131 | 0.4 | n |  | TRUE
140 | bus_LV_3394-5_0_5_node_128 | 0.4 | n |  | TRUE
141 | bus_LV_3394-5_0_5_node_129 | 0.4 | n |  | TRUE
142 | bus_MV_154_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3394-5_0_5_load_0 | 0 | 0.00020877 | 5.2322e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3394-5_0_5_load_5 | 1 | 0.00025574 | 6.4093e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3394-5_0_5_load_2 | 2 | 0.00040982 | 0.00010271 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3394-5_0_5_load_6 | 4 | 0.0054823 | 0.001374 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3394-5_0_5_load_143 | 7 | 0.0010448 | 0.00026184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3394-5_0_5_load_132 | 8 | 0.00056567 | 0.00014177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3394-5_0_5_load_7 | 9 | 0.0013241 | 0.00033185 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3394-5_0_5_load_8 | 10 | 0.00028027 | 7.0241e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3394-5_0_5_load_9 | 11 | 0.0001389 | 3.4811e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3394-5_0_5_load_13 | 12 | 0.0014821 | 0.00037146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3394-5_0_5_load_145 | 13 | 0.0019612 | 0.00049151 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3394-5_0_5_load_146 | 14 | 0.0010442 | 0.0002617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3394-5_0_5_load_11 | 15 | 0.00060186 | 0.00015084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3394-5_0_5_load_12 | 16 | 0.00068092 | 0.00017065 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3394-5_0_5_load_130 | 18 | 0.00017828 | 4.4682e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3394-5_0_5_load_14 | 19 | 0.0019795 | 0.00049611 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3394-5_0_5_load_18 | 22 | 0.002996 | 0.00075087 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3394-5_0_5_load_48 | 23 | 0.0059975 | 0.0015031 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3394-5_0_5_load_58 | 24 | 0.0027673 | 0.00069356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3394-5_0_5_load_21 | 25 | 0.0023956 | 0.00060038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3394-5_0_5_load_47 | 26 | 0.0027917 | 0.00069967 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3394-5_0_5_load_20 | 27 | 0.0013575 | 0.00034022 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3394-5_0_5_load_41 | 28 | 0.00211 | 0.00052881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3394-5_0_5_load_39 | 29 | 0.0029259 | 0.00073331 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3394-5_0_5_load_22 | 30 | 0.0015015 | 0.0003763 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3394-5_0_5_load_23 | 31 | 0.002155 | 0.0005401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3394-5_0_5_load_29 | 32 | 0.0020662 | 0.00051785 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3394-5_0_5_load_30 | 33 | 0.0024044 | 0.00060261 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3394-5_0_5_load_24 | 34 | 0.0014452 | 0.0003622 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3394-5_0_5_load_25 | 35 | 0.0014156 | 0.00035479 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3394-5_0_5_load_26 | 36 | 0.002313 | 0.0005797 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3394-5_0_5_load_28 | 38 | 0.0091811 | 0.002301 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3394-5_0_5_load_34 | 39 | 0.001805 | 0.00045237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3394-5_0_5_load_31 | 40 | 0.0014588 | 0.00036562 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3394-5_0_5_load_51 | 42 | 0.0030179 | 0.00075636 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3394-5_0_5_load_32 | 43 | 0.0035987 | 0.00090193 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3394-5_0_5_load_80 | 44 | 0.00098614 | 0.00024715 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3394-5_0_5_load_77 | 45 | 0.0011536 | 0.00028911 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3394-5_0_5_load_35 | 46 | 0.0013847 | 0.00034703 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3394-5_0_5_load_37 | 48 | 0.0017866 | 0.00044777 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3394-5_0_5_load_33 | 49 | 0.0032229 | 0.00080773 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3394-5_0_5_load_40 | 51 | 0.0042194 | 0.0010575 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3394-5_0_5_load_115 | 53 | 0.0022965 | 0.00057556 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3394-5_0_5_load_93 | 54 | 0.0015847 | 0.00039717 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3394-5_0_5_load_111 | 55 | 0.0012241 | 0.00030679 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3394-5_0_5_load_49 | 58 | 0.0085158 | 0.0021343 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3394-5_0_5_load_42 | 60 | 0.00097864 | 0.00024527 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3394-5_0_5_load_46 | 62 | 0.0011849 | 0.00029696 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3394-5_0_5_load_45 | 63 | 0.0024648 | 0.00061774 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3394-5_0_5_load_144 | 64 | 0.0018723 | 0.00046923 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3394-5_0_5_load_104 | 66 | 0.0011749 | 0.00029446 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3394-5_0_5_load_140 | 67 | 0.0037835 | 0.00094823 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3394-5_0_5_load_139 | 68 | 0.00019017 | 4.7661e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3394-5_0_5_load_59 | 69 | 0.0011115 | 0.00027858 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3394-5_0_5_load_56 | 71 | 0.0023325 | 0.00058457 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3394-5_0_5_load_53 | 72 | 0.0018961 | 0.0004752 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3394-5_0_5_load_54 | 73 | 0.006184 | 0.0015499 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3394-5_0_5_load_60 | 74 | 0.00064666 | 0.00016207 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3394-5_0_5_load_78 | 75 | 0.001354 | 0.00033934 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3394-5_0_5_load_61 | 76 | 0.0019282 | 0.00048325 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3394-5_0_5_load_62 | 77 | 0.0012836 | 0.00032171 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3394-5_0_5_load_63 | 78 | 0.0018086 | 0.00045327 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3394-5_0_5_load_64 | 79 | 0.0031943 | 0.00080057 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3394-5_0_5_load_65 | 80 | 0.0021425 | 0.00053697 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3394-5_0_5_load_105 | 81 | 0.001958 | 0.00049073 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3394-5_0_5_load_106 | 82 | 0.0018344 | 0.00045974 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3394-5_0_5_load_66 | 83 | 0.0032399 | 0.00081198 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3394-5_0_5_load_67 | 84 | 0.0034881 | 0.00087419 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3394-5_0_5_load_69 | 85 | 0.0011202 | 0.00028076 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3394-5_0_5_load_68 | 86 | 0.00027628 | 6.9244e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3394-5_0_5_load_101 | 88 | 0.0016285 | 0.00040813 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3394-5_0_5_load_127 | 89 | 0.00029161 | 7.3084e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3394-5_0_5_load_102 | 91 | 0.0029574 | 0.00074118 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3394-5_0_5_load_94 | 92 | 0.00029756 | 7.4577e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3394-5_0_5_load_142 | 93 | 0.00071816 | 0.00017999 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3394-5_0_5_load_71 | 94 | 0.0040866 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3394-5_0_5_load_72 | 95 | 0.0027262 | 0.00068325 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3394-5_0_5_load_74 | 97 | 0.0012103 | 0.00030333 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3394-5_0_5_load_75 | 98 | 0.0015158 | 0.00037989 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3394-5_0_5_load_76 | 99 | 0.0020279 | 0.00050825 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3394-5_0_5_load_107 | 100 | 0.002637 | 0.00066089 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3394-5_0_5_load_87 | 101 | 0.0019231 | 0.00048198 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3394-5_0_5_load_108 | 103 | 0.0021907 | 0.00054905 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3394-5_0_5_load_88 | 104 | 0.0016388 | 0.00041072 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3394-5_0_5_load_85 | 105 | 0.0019648 | 0.00049241 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3394-5_0_5_load_81 | 106 | 0.001639 | 0.00041076 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3394-5_0_5_load_79 | 107 | 0.0019506 | 0.00048888 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3394-5_0_5_load_82 | 109 | 0.0024524 | 0.00061463 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3394-5_0_5_load_84 | 110 | 0.0014281 | 0.00035791 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3394-5_0_5_load_113 | 111 | 0.00086807 | 0.00021756 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3394-5_0_5_load_120 | 112 | 0.0024782 | 0.00062109 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3394-5_0_5_load_112 | 113 | 0.00094003 | 0.00023559 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3394-5_0_5_load_89 | 115 | 0.0017627 | 0.00044177 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3394-5_0_5_load_90 | 116 | 0.00069137 | 0.00017327 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3394-5_0_5_load_92 | 117 | 0.00048715 | 0.00012209 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3394-5_0_5_load_96 | 118 | 0.0012406 | 0.00031093 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3394-5_0_5_load_97 | 119 | 0.001464 | 0.00036692 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3394-5_0_5_load_98 | 120 | 0.002637 | 0.0006609 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3394-5_0_5_load_99 | 121 | 0.001372 | 0.00034386 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3394-5_0_5_load_125 | 122 | 0.0027981 | 0.00070127 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3394-5_0_5_load_118 | 123 | 0.0015194 | 0.0003808 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3394-5_0_5_load_126 | 124 | 0.0036428 | 0.00091298 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3394-5_0_5_load_119 | 125 | 0.001357 | 0.00034009 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3394-5_0_5_load_100 | 126 | 0.00049437 | 0.0001239 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3394-5_0_5_load_114 | 127 | 0.0016718 | 0.00041899 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3394-5_0_5_load_138 | 129 | 0.00020014 | 5.0161e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3394-5_0_5_load_135 | 130 | 0.00039631 | 9.9324e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3394-5_0_5_load_109 | 131 | 0.0012068 | 0.00030245 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3394-5_0_5_load_116 | 133 | 0.0028154 | 0.0007056 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3394-5_0_5_load_117 | 134 | 0.0025049 | 0.00062778 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3394-5_0_5_load_122 | 135 | 0.0030068 | 0.00075358 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3394-5_0_5_load_123 | 136 | 0.0004532 | 0.00011358 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3394-5_0_5_load_136 | 138 | 0.0011501 | 0.00028824 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3394-5_0_5_load_131 | 139 | 0.00022637 | 5.6735e-05 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3394-5_0_5_load_128 | 140 | 0.00021994 | 5.5122e-05 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3394-5_0_5_load_129 | 141 | 0.0013168 | 0.00033003 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3394-5_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.098687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3394-5_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.14455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3394-5_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.046733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3394-5_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.033193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3394-5_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.027097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3394-5_0_5_line_5 | NAYY 4x150 SE | 5 | 6 | 0.020194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3394-5_0_5_line_6 | NAYY 4x150 SE | 5 | 7 | 0.057379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3394-5_0_5_line_7 | NAYY 4x150 SE | 6 | 8 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3394-5_0_5_line_8 | NAYY 4x150 SE | 8 | 139 | 0.027619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3394-5_0_5_line_9 | NAYY 4x150 SE | 9 | 10 | 0.029852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3394-5_0_5_line_10 | NAYY 4x150 SE | 9 | 11 | 0.12335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3394-5_0_5_line_11 | NAYY 4x150 SE | 10 | 12 | 0.24815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3394-5_0_5_line_12 | NAYY 4x150 SE | 10 | 13 | 0.2564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3394-5_0_5_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0063491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3394-5_0_5_line_14 | NAYY 4x150 SE | 14 | 15 | 0.062406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3394-5_0_5_line_15 | NAYY 4x150 SE | 15 | 16 | 0.044307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3394-5_0_5_line_16 | NAYY 4x150 SE | 16 | 17 | 0.088251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3394-5_0_5_line_17 | NAYY 4x150 SE | 17 | 18 | 0.032771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3394-5_0_5_line_18 | NAYY 4x150 SE | 18 | 141 | 0.0020751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3394-5_0_5_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0053839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3394-5_0_5_line_20 | NAYY 4x150 SE | 20 | 21 | 0.021943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3394-5_0_5_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0096307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3394-5_0_5_line_22 | NAYY 4x150 SE | 21 | 23 | 0.007198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3394-5_0_5_line_23 | NAYY 4x150 SE | 21 | 24 | 0.013583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3394-5_0_5_line_24 | NAYY 4x150 SE | 22 | 25 | 0.018889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3394-5_0_5_line_25 | NAYY 4x150 SE | 23 | 26 | 0.036066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3394-5_0_5_line_26 | NAYY 4x150 SE | 25 | 27 | 0.013201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3394-5_0_5_line_27 | NAYY 4x150 SE | 27 | 30 | 0.009955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3394-5_0_5_line_28 | NAYY 4x150 SE | 28 | 29 | 0.012553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3394-5_0_5_line_29 | NAYY 4x150 SE | 29 | 50 | 0.015557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3394-5_0_5_line_30 | NAYY 4x150 SE | 30 | 31 | 0.0034334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3394-5_0_5_line_31 | NAYY 4x150 SE | 31 | 32 | 0.012359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3394-5_0_5_line_32 | NAYY 4x150 SE | 32 | 33 | 0.0033271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3394-5_0_5_line_33 | NAYY 4x150 SE | 33 | 46 | 0.013241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3394-5_0_5_line_34 | NAYY 4x150 SE | 34 | 35 | 0.014124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3394-5_0_5_line_35 | NAYY 4x150 SE | 34 | 36 | 0.0068684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3394-5_0_5_line_36 | NAYY 4x150 SE | 35 | 37 | 0.01123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3394-5_0_5_line_37 | NAYY 4x150 SE | 36 | 38 | 0.015225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3394-5_0_5_line_38 | NAYY 4x150 SE | 37 | 39 | 0.023981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3394-5_0_5_line_39 | NAYY 4x150 SE | 37 | 40 | 0.0045554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3394-5_0_5_line_40 | NAYY 4x150 SE | 38 | 41 | 0.024297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3394-5_0_5_line_41 | NAYY 4x150 SE | 39 | 42 | 0.003549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3394-5_0_5_line_42 | NAYY 4x150 SE | 40 | 43 | 0.0048821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3394-5_0_5_line_43 | NAYY 4x150 SE | 41 | 44 | 0.015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3394-5_0_5_line_44 | NAYY 4x150 SE | 41 | 45 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3394-5_0_5_line_45 | NAYY 4x150 SE | 42 | 52 | 0.0019517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3394-5_0_5_line_46 | NAYY 4x150 SE | 43 | 49 | 0.012688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3394-5_0_5_line_47 | NAYY 4x150 SE | 44 | 57 | 0.014499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3394-5_0_5_line_48 | NAYY 4x150 SE | 45 | 75 | 0.021872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3394-5_0_5_line_49 | NAYY 4x150 SE | 46 | 47 | 0.03865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3394-5_0_5_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0088792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3394-5_0_5_line_51 | NAYY 4x150 SE | 47 | 53 | 0.024107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3394-5_0_5_line_52 | NAYY 4x150 SE | 47 | 54 | 0.018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3394-5_0_5_line_53 | NAYY 4x150 SE | 48 | 55 | 0.014282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3394-5_0_5_line_54 | NAYY 4x150 SE | 49 | 50 | 0.025534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3394-5_0_5_line_55 | NAYY 4x150 SE | 50 | 51 | 0.017241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3394-5_0_5_line_56 | NAYY 4x150 SE | 51 | 58 | 0.021902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3394-5_0_5_line_57 | NAYY 4x150 SE | 52 | 70 | 0.011138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3394-5_0_5_line_58 | NAYY 4x150 SE | 52 | 66 | 0.023396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3394-5_0_5_line_59 | NAYY 4x150 SE | 54 | 56 | 0.050036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3394-5_0_5_line_60 | NAYY 4x150 SE | 55 | 57 | 0.0040732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3394-5_0_5_line_61 | NAYY 4x150 SE | 56 | 115 | 0.017446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3394-5_0_5_line_62 | NAYY 4x150 SE | 56 | 104 | 0.03456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_3394-5_0_5_line_63 | NAYY 4x150 SE | 57 | 91 | 0.017859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3394-5_0_5_line_64 | NAYY 4x150 SE | 58 | 59 | 0.0092645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3394-5_0_5_line_65 | NAYY 4x150 SE | 59 | 69 | 0.024981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3394-5_0_5_line_66 | NAYY 4x150 SE | 60 | 61 | 0.040847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3394-5_0_5_line_67 | NAYY 4x150 SE | 61 | 62 | 0.01847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3394-5_0_5_line_68 | NAYY 4x150 SE | 62 | 66 | 0.030453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3394-5_0_5_line_69 | NAYY 4x150 SE | 63 | 64 | 0.28955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3394-5_0_5_line_70 | NAYY 4x150 SE | 63 | 65 | 0.075312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3394-5_0_5_line_71 | NAYY 4x150 SE | 65 | 67 | 0.07354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3394-5_0_5_line_72 | NAYY 4x150 SE | 67 | 68 | 0.016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3394-5_0_5_line_73 | NAYY 4x150 SE | 68 | 90 | 0.012339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3394-5_0_5_line_74 | NAYY 4x150 SE | 70 | 71 | 0.028723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3394-5_0_5_line_75 | NAYY 4x150 SE | 70 | 72 | 0.019934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3394-5_0_5_line_76 | NAYY 4x150 SE | 71 | 74 | 0.035032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3394-5_0_5_line_77 | NAYY 4x150 SE | 72 | 73 | 0.022009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3394-5_0_5_line_78 | NAYY 4x150 SE | 75 | 107 | 0.019622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3394-5_0_5_line_79 | NAYY 4x150 SE | 76 | 77 | 0.014065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3394-5_0_5_line_80 | NAYY 4x150 SE | 76 | 78 | 0.024575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3394-5_0_5_line_81 | NAYY 4x150 SE | 77 | 79 | 0.02377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3394-5_0_5_line_82 | NAYY 4x150 SE | 78 | 80 | 0.0038212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3394-5_0_5_line_83 | NAYY 4x150 SE | 80 | 81 | 0.031824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3394-5_0_5_line_84 | NAYY 4x150 SE | 81 | 82 | 0.01895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3394-5_0_5_line_85 | NAYY 4x150 SE | 82 | 131 | 0.0056102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3394-5_0_5_line_86 | NAYY 4x150 SE | 83 | 84 | 0.0052194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3394-5_0_5_line_87 | NAYY 4x150 SE | 84 | 85 | 0.019843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3394-5_0_5_line_88 | NAYY 4x150 SE | 85 | 88 | 0.025373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3394-5_0_5_line_89 | NAYY 4x150 SE | 86 | 87 | 0.0055822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3394-5_0_5_line_90 | NAYY 4x150 SE | 87 | 89 | 0.0021509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3394-5_0_5_line_91 | NAYY 4x150 SE | 87 | 90 | 0.008415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3394-5_0_5_line_92 | NAYY 4x150 SE | 88 | 91 | 1.9212e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3394-5_0_5_line_93 | NAYY 4x150 SE | 89 | 92 | 0.015463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3394-5_0_5_line_94 | NAYY 4x150 SE | 90 | 93 | 0.0353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3394-5_0_5_line_95 | NAYY 4x150 SE | 92 | 108 | 0.030369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3394-5_0_5_line_96 | NAYY 4x150 SE | 94 | 95 | 0.008191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3394-5_0_5_line_97 | NAYY 4x150 SE | 94 | 96 | 0.019633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3394-5_0_5_line_98 | NAYY 4x150 SE | 95 | 97 | 0.010862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3394-5_0_5_line_99 | NAYY 4x150 SE | 96 | 98 | 0.02817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
100 | LV_3394-5_0_5_line_100 | NAYY 4x150 SE | 96 | 99 | 0.036257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3394-5_0_5_line_101 | NAYY 4x150 SE | 97 | 100 | 0.027039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3394-5_0_5_line_102 | NAYY 4x150 SE | 98 | 101 | 0.022545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_3394-5_0_5_line_103 | NAYY 4x150 SE | 99 | 102 | 0.031468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3394-5_0_5_line_104 | NAYY 4x150 SE | 100 | 103 | 6.7095e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3394-5_0_5_line_105 | NAYY 4x150 SE | 101 | 104 | 0.0058056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
106 | LV_3394-5_0_5_line_106 | NAYY 4x150 SE | 102 | 105 | 0.035442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3394-5_0_5_line_107 | NAYY 4x150 SE | 102 | 106 | 0.012018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3394-5_0_5_line_108 | NAYY 4x150 SE | 103 | 133 | 0.036781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3394-5_0_5_line_109 | NAYY 4x150 SE | 105 | 112 | 0.015061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3394-5_0_5_line_110 | NAYY 4x150 SE | 106 | 109 | 0.014153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3394-5_0_5_line_111 | NAYY 4x150 SE | 107 | 108 | 0.025718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3394-5_0_5_line_112 | NAYY 4x150 SE | 109 | 110 | 0.017916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3394-5_0_5_line_113 | NAYY 4x150 SE | 110 | 111 | 0.025339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3394-5_0_5_line_114 | NAYY 4x150 SE | 111 | 113 | 0.035907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3394-5_0_5_line_115 | NAYY 4x150 SE | 112 | 114 | 0.0094691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3394-5_0_5_line_116 | NAYY 4x150 SE | 113 | 127 | 0.021866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3394-5_0_5_line_117 | NAYY 4x150 SE | 114 | 132 | 0.036912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3394-5_0_5_line_118 | NAYY 4x150 SE | 115 | 116 | 0.031608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3394-5_0_5_line_119 | NAYY 4x150 SE | 116 | 117 | 0.0012142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3394-5_0_5_line_120 | NAYY 4x150 SE | 118 | 119 | 0.0042843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3394-5_0_5_line_121 | NAYY 4x150 SE | 118 | 120 | 0.0058084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3394-5_0_5_line_122 | NAYY 4x150 SE | 119 | 121 | 0.020079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3394-5_0_5_line_123 | NAYY 4x150 SE | 119 | 122 | 0.041341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3394-5_0_5_line_124 | NAYY 4x150 SE | 121 | 123 | 0.011985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3394-5_0_5_line_125 | NAYY 4x150 SE | 122 | 124 | 0.026181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3394-5_0_5_line_126 | NAYY 4x150 SE | 123 | 125 | 0.016649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3394-5_0_5_line_127 | NAYY 4x150 SE | 125 | 135 | 0.007136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3394-5_0_5_line_128 | NAYY 4x150 SE | 126 | 127 | 0.036752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3394-5_0_5_line_129 | NAYY 4x150 SE | 126 | 128 | 0.061633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3394-5_0_5_line_130 | NAYY 4x150 SE | 128 | 129 | 0.011761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3394-5_0_5_line_131 | NAYY 4x150 SE | 128 | 130 | 0.027346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3394-5_0_5_line_132 | NAYY 4x150 SE | 130 | 138 | 0.035343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3394-5_0_5_line_133 | NAYY 4x150 SE | 131 | 132 | 0.017005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3394-5_0_5_line_134 | NAYY 4x150 SE | 132 | 135 | 0.024147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3394-5_0_5_line_135 | NAYY 4x150 SE | 133 | 134 | 0.037992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3394-5_0_5_line_136 | NAYY 4x150 SE | 136 | 137 | 0.042457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3394-5_0_5_line_137 | NAYY 4x150 SE | 136 | 138 | 0.052055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3394-5_0_5_line_138 | NAYY 4x150 SE | 137 | 139 | 0.015033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3394-5_0_5_line_139 | NAYY 4x150 SE | 137 | 140 | 0.024942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3394-5_0_5_line_140 | NAYY 4x150 SE | 140 | 141 | 0.0086873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3394-5_0_5_trafo_91 | 0.25 MVA 20/0.4 kV | 142 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2720275.1238 | 1247001.4555 | 2720179.6983 | 1246976.2933
1 | 2720179.6983 | 1246976.2933 | 2720054.5885 | 1247048.7011
2 | 2720306.3118 | 1247036.2491 | 2720292.9854 | 1247022.0112 | 2720275.1238 | 1247001.4555
3 | 2720068.9439 | 1247078.6296 | 2720054.5885 | 1247048.7011
4 | 2720306.3118 | 1247036.2491 | 2720319.8673 | 1247050.7363 | 2720325.7718 | 1247055.0264
5 | 2720343.02 | 1247065.5185 | 2720332.6891 | 1247060.0487 | 2720325.7718 | 1247055.0264
6 | 2720325.7718 | 1247055.0264 | 2720311.5284 | 1247091.9129 | 2720307.7614 | 1247109.3482
7 | 2720343.02 | 1247065.5185 | 2720346.0176 | 1247067.1029 | 2720355.8464 | 1247070.1656
8 | 2720355.8464 | 1247070.1656 | 2720359.9903 | 1247071.4568 | 2720374.0048 | 1247073.7543 | 2720382.4658 | 1247070.4681
9 | 2720145.1783 | 1247497.3486 | 2720171.0069 | 1247482.3812
10 | 2720145.1783 | 1247497.3486 | 2720029.0284 | 1247538.877
11 | 2720171.0069 | 1247482.3812 | 2720403.3329 | 1247569.5852
12 | 2720344.4815 | 1247293.5724 | 2720171.0069 | 1247482.3812
13 | 2720340.506 | 1247288.622 | 2720344.4815 | 1247293.5724
14 | 2720312.4742 | 1247232.8661 | 2720340.506 | 1247288.622
15 | 2720335.6535 | 1247195.4224 | 2720325.6883 | 1247216.1492 | 2720312.4742 | 1247232.8661
16 | 2720394.5973 | 1247129.7417 | 2720335.6535 | 1247195.4224
17 | 2720394.5973 | 1247129.7417 | 2720403.6717 | 1247103.3371 | 2720403.8646 | 1247098.4908
18 | 2720403.8646 | 1247098.4908 | 2720403.9471 | 1247096.4173
19 | 2720892.8955 | 1247005.4521 | 2720898.1438 | 1247004.2514
20 | 2720892.8955 | 1247005.4521 | 2720891.6343 | 1247014.3117 | 2720891.5712 | 1247017.4019 | 2720892.2994 | 1247024.3003 | 2720892.4505 | 1247027.2614
21 | 2720892.8955 | 1247005.4521 | 2720888.3603 | 1247005.9045 | 2720883.2873 | 1247005.9183
22 | 2720892.4505 | 1247027.2614 | 2720892.3624 | 1247029.7284 | 2720891.4182 | 1247034.3627
23 | 2720892.4505 | 1247027.2614 | 2720903.7165 | 1247034.8502
24 | 2720864.4343 | 1247004.8202 | 2720881.1442 | 1247005.9241 | 2720883.2873 | 1247005.9183
25 | 2720888.8408 | 1247068.6089 | 2720890.0277 | 1247056.3922 | 2720889.3977 | 1247054.3109 | 2720887.5092 | 1247053.5495 | 2720891.4182 | 1247034.3627
26 | 2720851.2407 | 1247004.4825 | 2720856.0806 | 1247004.4898 | 2720863.3667 | 1247004.7496 | 2720864.4343 | 1247004.8202
27 | 2720851.2407 | 1247004.4825 | 2720848.4268 | 1247004.4783 | 2720841.2947 | 1247004.8351
28 | 2720906.778 | 1246950.2826 | 2720912.3253 | 1246959.7208 | 2720913.3999 | 1246960.9134
29 | 2720901.8855 | 1246935.532 | 2720906.4177 | 1246949.6696 | 2720906.778 | 1246950.2826
30 | 2720837.8656 | 1247005.0067 | 2720841.2947 | 1247004.8351
31 | 2720837.8656 | 1247005.0067 | 2720835.7958 | 1247005.1103 | 2720825.5409 | 1247005.9162
32 | 2720822.2228 | 1247006.1353 | 2720822.6503 | 1247006.1433 | 2720825.5409 | 1247005.9162
33 | 2720809.022 | 1247005.2872 | 2720815.7092 | 1247006.0129 | 2720822.2228 | 1247006.1353
34 | 2720832.3627 | 1246957.0215 | 2720845.6404 | 1246952.2066
35 | 2720832.3627 | 1246957.0215 | 2720825.9057 | 1246959.363
36 | 2720856.1975 | 1246948.3782 | 2720845.6404 | 1246952.2066
37 | 2720825.9057 | 1246959.363 | 2720811.5927 | 1246964.5534
38 | 2720856.1975 | 1246948.3782 | 2720835.2181 | 1246936.7609
39 | 2720856.1975 | 1246948.3782 | 2720860.4805 | 1246946.8266
40 | 2720788.3979 | 1246971.7722 | 2720807.9441 | 1246965.8765 | 2720811.5927 | 1246964.5534
41 | 2720835.2181 | 1246936.7609 | 2720832.1133 | 1246935.0416
42 | 2720860.4805 | 1246946.8266 | 2720865.0707 | 1246945.1636
43 | 2720788.3979 | 1246971.7722 | 2720785.4196 | 1246981.8422 | 2720784.0134 | 1246986.7128
44 | 2720788.3979 | 1246971.7722 | 2720774.1795 | 1246973.1727 | 2720771.3201 | 1246973.379
45 | 2720830.4059 | 1246934.0962 | 2720832.1133 | 1246935.0416
46 | 2720876.9997 | 1246940.8419 | 2720865.0707 | 1246945.1636
47 | 2720782.1708 | 1247000.7364 | 2720781.2734 | 1246996.2032 | 2720784.0134 | 1246986.7128
48 | 2720771.3201 | 1246973.379 | 2720749.5048 | 1246974.9536
49 | 2720803.0903 | 1247043.4763 | 2720809.022 | 1247005.2872
50 | 2720809.022 | 1247005.2872 | 2720800.2676 | 1247003.8035
51 | 2720803.0903 | 1247043.4763 | 2720823.1264 | 1247050.2347 | 2720822.8837 | 1247053.2434
52 | 2720803.0903 | 1247043.4763 | 2720795.5219 | 1247048.5487 | 2720785.7909 | 1247047.0151
53 | 2720800.2676 | 1247003.8035 | 2720786.1868 | 1247001.417
54 | 2720901.8855 | 1246935.532 | 2720883.4261 | 1246938.5138 | 2720876.9997 | 1246940.8419
55 | 2720901.8855 | 1246935.532 | 2720900.8841 | 1246932.3978 | 2720894.939 | 1246919.7767
56 | 2720894.939 | 1246919.7767 | 2720888.5289 | 1246906.1683 | 2720885.0689 | 1246900.2457
57 | 2720830.4059 | 1246934.0962 | 2720823.942 | 1246925.0124
58 | 2720830.4059 | 1246934.0962 | 2720807.509 | 1246929.289
59 | 2720736.7873 | 1247050.2206 | 2720747.0749 | 1247046.3046 | 2720768.3706 | 1247044.2698 | 2720785.7909 | 1247047.0151
60 | 2720782.1708 | 1247000.7364 | 2720786.1868 | 1247001.417
61 | 2720736.7873 | 1247050.2206 | 2720719.6429 | 1247053.4498
62 | 2720736.7873 | 1247050.2206 | 2720739.5856 | 1247056.7609 | 2720744.8373 | 1247061.5608 | 2720762.9705 | 1247070.757
63 | 2720782.1708 | 1247000.7364 | 2720772.1752 | 1247004.7807 | 2720765.2178 | 1247006.0742
64 | 2720880.3956 | 1246892.2463 | 2720885.0689 | 1246900.2457
65 | 2720880.3956 | 1246892.2463 | 2720867.9892 | 1246870.5635
66 | 2720760.9205 | 1246917.489 | 2720738.5443 | 1246918.7567 | 2720721.3426 | 1246912.1273
67 | 2720760.9205 | 1246917.489 | 2720773.0009 | 1246917.1904 | 2720778.7499 | 1246919.9696
68 | 2720778.7499 | 1246919.9696 | 2720790.7486 | 1246925.7702 | 2720807.509 | 1246929.289
69 | 2720663.8594 | 1246856.5398 | 2720730.4649 | 1246574.7597
70 | 2720663.8594 | 1246856.5398 | 2720666.5722 | 1246862.8336 | 2720660.6224 | 1246875.6122 | 2720641.3947 | 1246897.7731 | 2720626.4844 | 1246910.5138 | 2720627.3716 | 1246915.9253
71 | 2720650.7871 | 1246985.6381 | 2720627.3716 | 1246915.9253
72 | 2720650.7871 | 1246985.6381 | 2720647.8065 | 1246995.1522 | 2720650.2766 | 1247000.9522
73 | 2720655.1113 | 1247012.3041 | 2720650.2766 | 1247000.9522
74 | 2720823.942 | 1246925.0124 | 2720820.2838 | 1246919.878 | 2720809.1668 | 1246908.1305 | 2720805.7699 | 1246902.8903
75 | 2720823.942 | 1246925.0124 | 2720837.8023 | 1246910.6855
76 | 2720791.0497 | 1246871.768 | 2720797.7905 | 1246879.8193 | 2720803.8631 | 1246899.9489 | 2720805.7699 | 1246902.8903
77 | 2720837.8023 | 1246910.6855 | 2720838.5224 | 1246909.9412 | 2720839.5961 | 1246906.9383 | 2720839.6909 | 1246902.2919 | 2720837.9372 | 1246898.6197 | 2720832.015 | 1246891.7539
78 | 2720749.5048 | 1246974.9536 | 2720747.627 | 1246975.0891 | 2720730.5723 | 1246979.9682
79 | 2720687.2108 | 1247167.3186 | 2720682.5953 | 1247166.0708 | 2720673.3705 | 1247165.0258
80 | 2720687.2108 | 1247167.3186 | 2720695.362 | 1247169.5224 | 2720709.7506 | 1247176.8145
81 | 2720649.7187 | 1247162.8435 | 2720655.0659 | 1247162.9524 | 2720673.3705 | 1247165.0258
82 | 2720713.1591 | 1247178.5419 | 2720709.7506 | 1247176.8145
83 | 2720713.1591 | 1247178.5419 | 2720732.6266 | 1247188.408 | 2720741.9344 | 1247192.0625
84 | 2720759.5732 | 1247198.9878 | 2720741.9344 | 1247192.0625
85 | 2720764.9889 | 1247200.4521 | 2720759.5732 | 1247198.9878 | 2720759.5732 | 1247198.9878
86 | 2720715.1798 | 1247012.2121 | 2720720.3757 | 1247011.7174
87 | 2720740.1296 | 1247009.8365 | 2720720.3757 | 1247011.7174
88 | 2720765.1989 | 1247006.0777 | 2720750.0739 | 1247008.8897 | 2720740.1296 | 1247009.8365
89 | 2720663.0715 | 1247009.5082 | 2720668.6415 | 1247009.8774
90 | 2720663.0715 | 1247009.5082 | 2720665.0083 | 1247008.5726
91 | 2720663.0715 | 1247009.5082 | 2720655.1113 | 1247012.3041
92 | 2720765.1989 | 1247006.0777 | 2720765.2178 | 1247006.0742
93 | 2720665.0083 | 1247008.5726 | 2720678.9316 | 1247001.8467
94 | 2720655.1113 | 1247012.3041 | 2720621.8004 | 1247023.9863
95 | 2720706.8704 | 1246989.9497 | 2720681.1185 | 1247000.7903 | 2720678.9316 | 1247001.8467
96 | 2720827.673 | 1247101.5017 | 2720835.8177 | 1247100.6323
97 | 2720808.1512 | 1247103.5857 | 2720827.673 | 1247101.5017
98 | 2720846.6185 | 1247099.4793 | 2720835.8177 | 1247100.6323
99 | 2720808.1512 | 1247103.5857 | 2720804.2053 | 1247097.7448 | 2720795.3817 | 1247089.8918 | 2720787.4503 | 1247085.0184
100 | 2720808.1512 | 1247103.5857 | 2720808.7106 | 1247107.6449 | 2720805.8357 | 1247112.2792 | 2720800.6554 | 1247114.7313 | 2720780.1906 | 1247119.3272
101 | 2720873.5816 | 1247100.311 | 2720851.9712 | 1247098.9079 | 2720846.6185 | 1247099.4793
102 | 2720787.4503 | 1247085.0184 | 2720770.2415 | 1247074.4445 | 2720768.1483 | 1247073.3829
103 | 2720749.5157 | 1247125.6323 | 2720754.4834 | 1247123.5984 | 2720767.5612 | 1247122.1635 | 2720780.1906 | 1247119.3272
104 | 2720873.6485 | 1247100.3154 | 2720873.5816 | 1247100.311
105 | 2720762.9705 | 1247070.757 | 2720768.1483 | 1247073.3829
106 | 2720749.5157 | 1247125.6323 | 2720748.9971 | 1247130.3145 | 2720755.3121 | 1247145.5893 | 2720763.4666 | 1247155.1301 | 2720764.8226 | 1247156.0729
107 | 2720749.5157 | 1247125.6323 | 2720740.143 | 1247118.1097
108 | 2720873.6485 | 1247100.3154 | 2720887.9339 | 1247101.2429 | 2720910.1139 | 1247104.8142
109 | 2720777.5071 | 1247164.1496 | 2720772.958 | 1247161.729 | 2720764.8226 | 1247156.0729
110 | 2720740.143 | 1247118.1097 | 2720729.1058 | 1247109.2511
111 | 2720706.8704 | 1246989.9497 | 2720730.5723 | 1246979.9682
112 | 2720713.5557 | 1247101.5164 | 2720721.1398 | 1247102.8576 | 2720729.1058 | 1247109.2511
113 | 2720688.6039 | 1247097.104 | 2720713.5557 | 1247101.5164
114 | 2720652.9153 | 1247097.2495 | 2720678.852 | 1247095.3794 | 2720688.6039 | 1247097.104
115 | 2720785.8664 | 1247168.5977 | 2720777.5071 | 1247164.1496
116 | 2720631.1056 | 1247098.822 | 2720652.9153 | 1247097.2495
117 | 2720785.8664 | 1247168.5977 | 2720790.8642 | 1247175.0938 | 2720791.0946 | 1247184.9179 | 2720787.2416 | 1247195.2815 | 2720781.5699 | 1247200.715
118 | 2720719.6429 | 1247053.4498 | 2720716.9681 | 1247053.9536 | 2720689.0842 | 1247061.4948
119 | 2720687.9121 | 1247061.8117 | 2720689.0842 | 1247061.4948
120 | 2720862.4562 | 1247221.4494 | 2720858.2516 | 1247220.627
121 | 2720868.1565 | 1247222.5643 | 2720862.4562 | 1247221.4494
122 | 2720858.2516 | 1247220.627 | 2720838.5462 | 1247216.7728
123 | 2720858.2516 | 1247220.627 | 2720863.3539 | 1247179.6026
124 | 2720838.5462 | 1247216.7728 | 2720826.7842 | 1247214.4722
125 | 2720889.2748 | 1247183.2839 | 2720863.3539 | 1247179.6026
126 | 2720810.4451 | 1247211.2764 | 2720826.7842 | 1247214.4722
127 | 2720810.4451 | 1247211.2764 | 2720803.4417 | 1247209.9066
128 | 2720631.1056 | 1247098.822 | 2720597.148 | 1247084.7641
129 | 2720597.148 | 1247084.7641 | 2720547.0762 | 1247048.8267
130 | 2720547.0762 | 1247048.8267 | 2720536.0705 | 1247052.9726
131 | 2720547.0762 | 1247048.8267 | 2720519.7304 | 1247048.9763
132 | 2720486.7023 | 1247040.312 | 2720502.1072 | 1247049.0685 | 2720513.4722 | 1247049.0106 | 2720519.7304 | 1247048.9763
133 | 2720781.5699 | 1247200.715 | 2720772.3397 | 1247202.4396 | 2720764.9889 | 1247200.4521
134 | 2720781.5699 | 1247200.715 | 2720792.623 | 1247207.7906 | 2720803.4417 | 1247209.9066
135 | 2720923.3162 | 1247131.6455 | 2720927.3014 | 1247123.7089 | 2720926.4852 | 1247114.4623 | 2720920.5857 | 1247107.7252 | 2720910.7903 | 1247104.9231 | 2720910.1139 | 1247104.8142
136 | 2720396.479 | 1247065.0254 | 2720427.3359 | 1247054.6432 | 2720437.1191 | 1247056.1614
137 | 2720437.1191 | 1247056.1614 | 2720486.7023 | 1247040.312
138 | 2720396.479 | 1247065.0254 | 2720382.4658 | 1247070.4681
139 | 2720396.479 | 1247065.0254 | 2720404.6442 | 1247078.9029 | 2720404.2926 | 1247087.7368
140 | 2720404.2926 | 1247087.7368 | 2720403.9471 | 1247096.4173

## bus_geodata
| x | y | coords
0 | 2720179.6983 | 1246976.2933
1 | 2720275.1238 | 1247001.4555
2 | 2720054.5885 | 1247048.7011
3 | 2720306.3118 | 1247036.2491
4 | 2720068.9439 | 1247078.6296
5 | 2720325.7718 | 1247055.0264
6 | 2720343.02 | 1247065.5185
7 | 2720307.7614 | 1247109.3482
8 | 2720355.8464 | 1247070.1656
9 | 2720145.1783 | 1247497.3486
10 | 2720171.0069 | 1247482.3812
11 | 2720029.0284 | 1247538.877
12 | 2720403.3329 | 1247569.5852
13 | 2720344.4815 | 1247293.5724
14 | 2720340.506 | 1247288.622
15 | 2720312.4742 | 1247232.8661
16 | 2720335.6535 | 1247195.4224
17 | 2720394.5973 | 1247129.7417
18 | 2720403.8646 | 1247098.4908
19 | 2720898.1438 | 1247004.2514
20 | 2720892.8955 | 1247005.4521
21 | 2720892.4505 | 1247027.2614
22 | 2720883.2873 | 1247005.9183
23 | 2720891.4182 | 1247034.3627
24 | 2720903.7165 | 1247034.8502
25 | 2720864.4343 | 1247004.8202
26 | 2720888.8408 | 1247068.6089
27 | 2720851.2407 | 1247004.4825
28 | 2720913.3999 | 1246960.9134
29 | 2720906.778 | 1246950.2826
30 | 2720841.2947 | 1247004.8351
31 | 2720837.8656 | 1247005.0067
32 | 2720825.5409 | 1247005.9162
33 | 2720822.2228 | 1247006.1353
34 | 2720832.3627 | 1246957.0215
35 | 2720845.6404 | 1246952.2066
36 | 2720825.9057 | 1246959.363
37 | 2720856.1975 | 1246948.3782
38 | 2720811.5927 | 1246964.5534
39 | 2720835.2181 | 1246936.7609
40 | 2720860.4805 | 1246946.8266
41 | 2720788.3979 | 1246971.7722
42 | 2720832.1133 | 1246935.0416
43 | 2720865.0707 | 1246945.1636
44 | 2720784.0134 | 1246986.7128
45 | 2720771.3201 | 1246973.379
46 | 2720809.022 | 1247005.2872
47 | 2720803.0903 | 1247043.4763
48 | 2720800.2676 | 1247003.8035
49 | 2720876.9997 | 1246940.8419
50 | 2720901.8855 | 1246935.532
51 | 2720894.939 | 1246919.7767
52 | 2720830.4059 | 1246934.0962
53 | 2720822.8837 | 1247053.2434
54 | 2720785.7909 | 1247047.0151
55 | 2720786.1868 | 1247001.417
56 | 2720736.7873 | 1247050.2206
57 | 2720782.1708 | 1247000.7364
58 | 2720885.0689 | 1246900.2457
59 | 2720880.3956 | 1246892.2463
60 | 2720721.3426 | 1246912.1273
61 | 2720760.9205 | 1246917.489
62 | 2720778.7499 | 1246919.9696
63 | 2720663.8594 | 1246856.5398
64 | 2720730.4649 | 1246574.7597
65 | 2720627.3716 | 1246915.9253
66 | 2720807.509 | 1246929.289
67 | 2720650.7871 | 1246985.6381
68 | 2720650.2766 | 1247000.9522
69 | 2720867.9892 | 1246870.5635
70 | 2720823.942 | 1246925.0124
71 | 2720805.7699 | 1246902.8903
72 | 2720837.8023 | 1246910.6855
73 | 2720832.015 | 1246891.7539
74 | 2720791.0497 | 1246871.768
75 | 2720749.5048 | 1246974.9536
76 | 2720687.2108 | 1247167.3186
77 | 2720673.3705 | 1247165.0258
78 | 2720709.7506 | 1247176.8145
79 | 2720649.7187 | 1247162.8435
80 | 2720713.1591 | 1247178.5419
81 | 2720741.9344 | 1247192.0625
82 | 2720759.5732 | 1247198.9878
83 | 2720715.1798 | 1247012.2121
84 | 2720720.3757 | 1247011.7174
85 | 2720740.1296 | 1247009.8365
86 | 2720668.6415 | 1247009.8774
87 | 2720663.0715 | 1247009.5082
88 | 2720765.1989 | 1247006.0777
89 | 2720665.0083 | 1247008.5726
90 | 2720655.1113 | 1247012.3041
91 | 2720765.2178 | 1247006.0742
92 | 2720678.9316 | 1247001.8467
93 | 2720621.8004 | 1247023.9863
94 | 2720827.673 | 1247101.5017
95 | 2720835.8177 | 1247100.6323
96 | 2720808.1512 | 1247103.5857
97 | 2720846.6185 | 1247099.4793
98 | 2720787.4503 | 1247085.0184
99 | 2720780.1906 | 1247119.3272
100 | 2720873.5816 | 1247100.311
101 | 2720768.1483 | 1247073.3829
102 | 2720749.5157 | 1247125.6323
103 | 2720873.6485 | 1247100.3154
104 | 2720762.9705 | 1247070.757
105 | 2720764.8226 | 1247156.0729
106 | 2720740.143 | 1247118.1097
107 | 2720730.5723 | 1246979.9682
108 | 2720706.8704 | 1246989.9497
109 | 2720729.1058 | 1247109.2511
110 | 2720713.5557 | 1247101.5164
111 | 2720688.6039 | 1247097.104
112 | 2720777.5071 | 1247164.1496
113 | 2720652.9153 | 1247097.2495
114 | 2720785.8664 | 1247168.5977
115 | 2720719.6429 | 1247053.4498
116 | 2720689.0842 | 1247061.4948
117 | 2720687.9121 | 1247061.8117
118 | 2720862.4562 | 1247221.4494
119 | 2720858.2516 | 1247220.627
120 | 2720868.1565 | 1247222.5643
121 | 2720838.5462 | 1247216.7728
122 | 2720863.3539 | 1247179.6026
123 | 2720826.7842 | 1247214.4722
124 | 2720889.2748 | 1247183.2839
125 | 2720810.4451 | 1247211.2764
126 | 2720597.148 | 1247084.7641
127 | 2720631.1056 | 1247098.822
128 | 2720547.0762 | 1247048.8267
129 | 2720536.0705 | 1247052.9726
130 | 2720519.7304 | 1247048.9763
131 | 2720764.9889 | 1247200.4521
132 | 2720781.5699 | 1247200.715
133 | 2720910.1139 | 1247104.8142
134 | 2720923.3162 | 1247131.6455
135 | 2720803.4417 | 1247209.9066
136 | 2720437.1191 | 1247056.1614
137 | 2720396.479 | 1247065.0254
138 | 2720486.7023 | 1247040.312
139 | 2720382.4658 | 1247070.4681
140 | 2720404.2926 | 1247087.7368
141 | 2720403.9471 | 1247096.4173
142 | 2720803.0903 | 1247043.4763

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1