## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3394-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3394-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3394-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3394-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3394-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3394-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3394-9_0_4_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_3394-9_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3394-9_0_4_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_3394-9_0_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_3394-9_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3394-9_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_3394-9_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_3394-9_0_4_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_3394-9_0_4_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_3394-9_0_4_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_3394-9_0_4_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_3394-9_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_3394-9_0_4_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_3394-9_0_4_node_101 | 0.4 | n |  | TRUE
20 | bus_LV_3394-9_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_3394-9_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3394-9_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3394-9_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3394-9_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3394-9_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3394-9_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3394-9_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3394-9_0_4_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_3394-9_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3394-9_0_4_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_3394-9_0_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_3394-9_0_4_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_3394-9_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3394-9_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3394-9_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_3394-9_0_4_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_3394-9_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_3394-9_0_4_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_3394-9_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_3394-9_0_4_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_3394-9_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_3394-9_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3394-9_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_3394-9_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_3394-9_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_3394-9_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_3394-9_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_3394-9_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3394-9_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3394-9_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3394-9_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_3394-9_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_3394-9_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3394-9_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_3394-9_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_3394-9_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3394-9_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3394-9_0_4_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_3394-9_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3394-9_0_4_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_3394-9_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_3394-9_0_4_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_3394-9_0_4_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_3394-9_0_4_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_3394-9_0_4_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_3394-9_0_4_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_3394-9_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_3394-9_0_4_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_3394-9_0_4_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_3394-9_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3394-9_0_4_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_3394-9_0_4_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_3394-9_0_4_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_3394-9_0_4_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_3394-9_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_3394-9_0_4_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_3394-9_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_3394-9_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_3394-9_0_4_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_3394-9_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3394-9_0_4_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_3394-9_0_4_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_3394-9_0_4_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_3394-9_0_4_node_47 | 0.4 | n |  | TRUE
85 | bus_LV_3394-9_0_4_node_48 | 0.4 | n |  | TRUE
86 | bus_LV_3394-9_0_4_node_49 | 0.4 | n |  | TRUE
87 | bus_LV_3394-9_0_4_node_50 | 0.4 | n |  | TRUE
88 | bus_LV_3394-9_0_4_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_3394-9_0_4_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_3394-9_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_3394-9_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_3394-9_0_4_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_3394-9_0_4_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_3394-9_0_4_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_3394-9_0_4_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_3394-9_0_4_node_71 | 0.4 | n |  | TRUE
97 | bus_LV_3394-9_0_4_node_92 | 0.4 | n |  | TRUE
98 | bus_MV_154_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3394-9_0_4_load_0 | 0 | 0.0020488 | 0.00051347 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3394-9_0_4_load_1 | 1 | 0.0025803 | 0.0006467 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3394-9_0_4_load_2 | 2 | 0.0018316 | 0.00045904 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3394-9_0_4_load_3 | 3 | 0.0030578 | 0.00076636 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3394-9_0_4_load_4 | 4 | 0.0017458 | 0.00043754 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3394-9_0_4_load_5 | 5 | 0.0030652 | 0.00076821 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3394-9_0_4_load_86 | 6 | 0.0032808 | 0.00082226 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3394-9_0_4_load_6 | 7 | 0.0021753 | 0.00054519 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3394-9_0_4_load_83 | 8 | 0.0025385 | 0.0006362 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3394-9_0_4_load_43 | 11 | 0.0036185 | 0.00090687 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3394-9_0_4_load_55 | 12 | 0.0045832 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3394-9_0_4_load_73 | 13 | 0.003563 | 0.00089296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3394-9_0_4_load_74 | 14 | 0.0023938 | 0.00059995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3394-9_0_4_load_75 | 15 | 0.0056666 | 0.0014202 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3394-9_0_4_load_60 | 16 | 0.0053768 | 0.0013476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3394-9_0_4_load_25 | 17 | 0.0033445 | 0.00083821 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3394-9_0_4_load_61 | 18 | 0.00538 | 0.0013483 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3394-9_0_4_load_101 | 19 | 0.0045853 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3394-9_0_4_load_8 | 20 | 0.0019147 | 0.00047986 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3394-9_0_4_load_9 | 21 | 0.0014922 | 0.00037397 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3394-9_0_4_load_12 | 24 | 0.0033441 | 0.00083812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3394-9_0_4_load_14 | 26 | 0.0017335 | 0.00043447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3394-9_0_4_load_15 | 27 | 0.0064942 | 0.0016276 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3394-9_0_4_load_89 | 28 | 0.0064724 | 0.0016221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3394-9_0_4_load_96 | 30 | 0.0050749 | 0.0012719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3394-9_0_4_load_17 | 33 | 0.002481 | 0.00062179 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3394-9_0_4_load_18 | 34 | 0.0027215 | 0.00068207 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3394-9_0_4_load_19 | 35 | 0.0014644 | 0.00036701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3394-9_0_4_load_90 | 36 | 0.0035703 | 0.0008948 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3394-9_0_4_load_62 | 37 | 0.0024728 | 0.00061975 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3394-9_0_4_load_63 | 38 | 0.0026805 | 0.00067179 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3394-9_0_4_load_64 | 39 | 0.0021087 | 0.00052849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3394-9_0_4_load_91 | 40 | 0.0036973 | 0.00092662 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3394-9_0_4_load_22 | 41 | 0.0042254 | 0.001059 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3394-9_0_4_load_40 | 42 | 0.0018307 | 0.00045883 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3394-9_0_4_load_23 | 43 | 0.0037119 | 0.0009303 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3394-9_0_4_load_41 | 44 | 0.0027759 | 0.00069571 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3394-9_0_4_load_24 | 45 | 0.0013183 | 0.0003304 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3394-9_0_4_load_26 | 46 | 0.0037179 | 0.00093178 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3394-9_0_4_load_52 | 47 | 0.0035368 | 0.00088642 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3394-9_0_4_load_42 | 48 | 0.0045431 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3394-9_0_4_load_38 | 49 | 0.0019709 | 0.00049396 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3394-9_0_4_load_39 | 50 | 0.0018301 | 0.00045867 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3394-9_0_4_load_27 | 52 | 0.0016502 | 0.00041358 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3394-9_0_4_load_28 | 53 | 0.00038095 | 9.5474e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3394-9_0_4_load_29 | 54 | 0.0017422 | 0.00043665 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3394-9_0_4_load_30 | 55 | 0.00036988 | 9.27e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3394-9_0_4_load_31 | 56 | 0.0020063 | 0.00050283 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3394-9_0_4_load_54 | 59 | 0.0030021 | 0.00075239 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3394-9_0_4_load_78 | 60 | 0.0011178 | 0.00028015 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3394-9_0_4_load_72 | 61 | 0.00061448 | 0.000154 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3394-9_0_4_load_97 | 62 | 0.001348 | 0.00033783 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3394-9_0_4_load_32 | 63 | 0.0013778 | 0.00034531 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3394-9_0_4_load_33 | 64 | 0.0014079 | 0.00035285 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3394-9_0_4_load_34 | 65 | 0.001407 | 0.00035263 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3394-9_0_4_load_35 | 66 | 0.0013801 | 0.00034587 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3394-9_0_4_load_59 | 67 | 0.0017343 | 0.00043466 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3394-9_0_4_load_36 | 68 | 0.0027855 | 0.00069812 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3394-9_0_4_load_82 | 69 | 0.001715 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3394-9_0_4_load_84 | 70 | 0.001781 | 0.00044635 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3394-9_0_4_load_81 | 71 | 0.0021102 | 0.00052888 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3394-9_0_4_load_87 | 72 | 0.0028843 | 0.00072287 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3394-9_0_4_load_37 | 74 | 0.0029059 | 0.00072828 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3394-9_0_4_load_57 | 75 | 0.0025315 | 0.00063445 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3394-9_0_4_load_56 | 76 | 0.0028859 | 0.00072328 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3394-9_0_4_load_66 | 77 | 0.0068147 | 0.0017079 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3394-9_0_4_load_80 | 78 | 0.0017529 | 0.00043931 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3394-9_0_4_load_58 | 79 | 0.0035843 | 0.00089832 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3394-9_0_4_load_77 | 80 | 0.0052849 | 0.0013245 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3394-9_0_4_load_44 | 81 | 0.0033058 | 0.00082851 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3394-9_0_4_load_45 | 82 | 0.0040765 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3394-9_0_4_load_47 | 84 | 0.0032434 | 0.00081287 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3394-9_0_4_load_48 | 85 | 0.0012694 | 0.00031814 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3394-9_0_4_load_50 | 87 | 0.0027099 | 0.00067917 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3394-9_0_4_load_98 | 88 | 0.0048446 | 0.0012142 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3394-9_0_4_load_95 | 89 | 0.0027217 | 0.00068212 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3394-9_0_4_load_93 | 90 | 0.00056898 | 0.0001426 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3394-9_0_4_load_79 | 91 | 0.00028104 | 7.0436e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3394-9_0_4_load_67 | 92 | 0.00076178 | 0.00019092 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3394-9_0_4_load_68 | 93 | 0.0014092 | 0.00035317 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3394-9_0_4_load_69 | 94 | 0.0011694 | 0.00029307 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3394-9_0_4_load_70 | 95 | 0.0012537 | 0.00031421 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3394-9_0_4_load_71 | 96 | 0.0011193 | 0.00028053 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3394-9_0_4_load_92 | 97 | 0.00061039 | 0.00015298 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3394-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0091182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3394-9_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3394-9_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.010425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3394-9_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.010609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3394-9_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.021101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3394-9_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.039961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3394-9_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.024163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3394-9_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0058751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3394-9_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.029215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3394-9_0_4_line_9 | NAYY 4x150 SE | 9 | 16 | 0.059016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3394-9_0_4_line_10 | NAYY 4x150 SE | 9 | 14 | 0.012746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3394-9_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.035851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3394-9_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.026176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3394-9_0_4_line_13 | NAYY 4x150 SE | 11 | 17 | 0.024506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3394-9_0_4_line_14 | NAYY 4x150 SE | 12 | 18 | 0.0092908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3394-9_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.02222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3394-9_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.041073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3394-9_0_4_line_17 | NAYY 4x150 SE | 15 | 80 | 0.029369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3394-9_0_4_line_18 | NAYY 4x150 SE | 16 | 79 | 0.039917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3394-9_0_4_line_19 | NAYY 4x150 SE | 17 | 43 | 0.025766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3394-9_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.013963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3394-9_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0070725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3394-9_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.049349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3394-9_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.017002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3394-9_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.050162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3394-9_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.038928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3394-9_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.041613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3394-9_0_4_line_27 | NAYY 4x150 SE | 23 | 27 | 0.022914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3394-9_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.052644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3394-9_0_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.011301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3394-9_0_4_line_30 | NAYY 4x150 SE | 28 | 32 | 0.045843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3394-9_0_4_line_31 | NAYY 4x150 SE | 29 | 33 | 0.013528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3394-9_0_4_line_32 | NAYY 4x150 SE | 29 | 34 | 0.015951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3394-9_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.023808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3394-9_0_4_line_34 | NAYY 4x150 SE | 31 | 62 | 0.048723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3394-9_0_4_line_35 | NAYY 4x150 SE | 31 | 97 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3394-9_0_4_line_36 | NAYY 4x150 SE | 32 | 59 | 0.05105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3394-9_0_4_line_37 | NAYY 4x150 SE | 33 | 35 | 0.021391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3394-9_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.021335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3394-9_0_4_line_39 | NAYY 4x150 SE | 36 | 40 | 0.027247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3394-9_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0058187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3394-9_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.029029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3394-9_0_4_line_42 | NAYY 4x150 SE | 39 | 77 | 0.0060687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3394-9_0_4_line_43 | NAYY 4x150 SE | 40 | 47 | 0.031057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3394-9_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.024649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3394-9_0_4_line_45 | NAYY 4x150 SE | 42 | 48 | 0.010023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3394-9_0_4_line_46 | NAYY 4x150 SE | 42 | 49 | 0.0085835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3394-9_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.024284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3394-9_0_4_line_48 | NAYY 4x150 SE | 44 | 50 | 0.0085834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3394-9_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3394-9_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.023758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3394-9_0_4_line_51 | NAYY 4x150 SE | 47 | 51 | 0.0049815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3394-9_0_4_line_52 | NAYY 4x150 SE | 48 | 51 | 0.023316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3394-9_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.021254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3394-9_0_4_line_54 | NAYY 4x150 SE | 51 | 74 | 0.0035645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3394-9_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.030774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3394-9_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.030798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3394-9_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.032183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3394-9_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.029868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3394-9_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.043519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3394-9_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.022461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3394-9_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.019719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3394-9_0_4_line_62 | NAYY 4x150 SE | 57 | 60 | 0.084781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3394-9_0_4_line_63 | NAYY 4x150 SE | 58 | 61 | 0.030866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3394-9_0_4_line_64 | NAYY 4x150 SE | 58 | 62 | 0.017112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3394-9_0_4_line_65 | NAYY 4x150 SE | 60 | 91 | 0.038359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3394-9_0_4_line_66 | NAYY 4x150 SE | 61 | 96 | 0.024444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3394-9_0_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.014093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3394-9_0_4_line_68 | NAYY 4x150 SE | 63 | 65 | 0.0081092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3394-9_0_4_line_69 | NAYY 4x150 SE | 64 | 66 | 0.0081077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3394-9_0_4_line_70 | NAYY 4x150 SE | 64 | 67 | 0.043854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3394-9_0_4_line_71 | NAYY 4x150 SE | 65 | 68 | 0.0096026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3394-9_0_4_line_72 | NAYY 4x150 SE | 66 | 74 | 0.036794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3394-9_0_4_line_73 | NAYY 4x150 SE | 67 | 77 | 0.028645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3394-9_0_4_line_74 | NAYY 4x150 SE | 67 | 75 | 0.0028161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3394-9_0_4_line_75 | NAYY 4x150 SE | 69 | 70 | 0.023374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3394-9_0_4_line_76 | NAYY 4x150 SE | 69 | 71 | 0.008626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3394-9_0_4_line_77 | NAYY 4x150 SE | 70 | 73 | 0.0049838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3394-9_0_4_line_78 | NAYY 4x150 SE | 71 | 78 | 0.013773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3394-9_0_4_line_79 | NAYY 4x150 SE | 72 | 73 | 0.025056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3394-9_0_4_line_80 | NAYY 4x150 SE | 73 | 80 | 0.033513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3394-9_0_4_line_81 | NAYY 4x150 SE | 75 | 76 | 0.021787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3394-9_0_4_line_82 | NAYY 4x150 SE | 76 | 79 | 0.0060914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3394-9_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.032275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3394-9_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.02792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3394-9_0_4_line_85 | NAYY 4x150 SE | 82 | 84 | 0.02117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3394-9_0_4_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0049327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3394-9_0_4_line_87 | NAYY 4x150 SE | 83 | 86 | 0.07384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3394-9_0_4_line_88 | NAYY 4x150 SE | 85 | 87 | 0.035062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3394-9_0_4_line_89 | NAYY 4x150 SE | 86 | 88 | 0.018122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3394-9_0_4_line_90 | NAYY 4x150 SE | 86 | 89 | 0.053448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3394-9_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0071597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3394-9_0_4_line_92 | NAYY 4x150 SE | 90 | 97 | 0.0070394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3394-9_0_4_line_93 | NAYY 4x150 SE | 92 | 93 | 0.014036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3394-9_0_4_line_94 | NAYY 4x150 SE | 92 | 94 | 0.022697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3394-9_0_4_line_95 | NAYY 4x150 SE | 94 | 95 | 0.025229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3394-9_0_4_line_96 | NAYY 4x150 SE | 95 | 96 | 0.02665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3394-9_0_4_trafo_24 | 0.25 MVA 20/0.4 kV | 98 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2721348.389 | 1247013.4289 | 2721357.4958 | 1247013.8842
1 | 2721371.182 | 1247014.5683 | 2721357.4958 | 1247013.8842
2 | 2721381.5936 | 1247015.0888 | 2721371.182 | 1247014.5683
3 | 2721381.5936 | 1247015.0888 | 2721386.82 | 1247015.3501 | 2721392.0661 | 1247016.526
4 | 2721392.0661 | 1247016.526 | 2721412.6564 | 1247021.1415
5 | 2721392.0661 | 1247016.526 | 2721388.0818 | 1247056.2883
6 | 2721436.2347 | 1247026.4267 | 2721412.6564 | 1247021.1415
7 | 2721388.0818 | 1247056.2883 | 2721393.8718 | 1247057.2844
8 | 2721417.73 | 1247068.1163 | 2721415.1569 | 1247060.9465 | 2721393.8718 | 1247057.2844
9 | 2721417.73 | 1247068.1163 | 2721426.5377 | 1247063.8041 | 2721441.4938 | 1247067.7026 | 2721465.3554 | 1247076.8879 | 2721473.4084 | 1247078.352
10 | 2721417.73 | 1247068.1163 | 2721416.3141 | 1247078.5851 | 2721417.7157 | 1247080.2568
11 | 2721377.8102 | 1246986.7415 | 2721411.858 | 1246997.9688
12 | 2721377.8102 | 1246986.7415 | 2721382.9831 | 1246961.0813
13 | 2721411.858 | 1246997.9688 | 2721422.5925 | 1246975.9385
14 | 2721374.2841 | 1246957.8184 | 2721382.9831 | 1246961.0813
15 | 2721434.4866 | 1247094.409 | 2721424.2354 | 1247088.033 | 2721417.7157 | 1247080.2568
16 | 2721434.4866 | 1247094.409 | 2721438.1942 | 1247096.7151 | 2721462.6968 | 1247104.1121 | 2721473.6194 | 1247106.1564
17 | 2721473.6194 | 1247106.1564 | 2721487.8514 | 1247108.8202 | 2721500.2484 | 1247117.0683
18 | 2721513.0299 | 1247081.4859 | 2721491.4162 | 1247081.6258 | 2721473.4084 | 1247078.352
19 | 2721446.7171 | 1246984.9875 | 2721422.5925 | 1246975.9385
20 | 2721374.2841 | 1246957.8184 | 2721369.2158 | 1246955.9173 | 2721361.2415 | 1246952.8348
21 | 2721638.2552 | 1246992.883 | 2721631.2257 | 1246992.1049
22 | 2721599.7105 | 1246962.0665 | 2721638.2552 | 1246992.883
23 | 2721614.3273 | 1246990.2345 | 2721631.2257 | 1246992.1049
24 | 2721599.7105 | 1246962.0665 | 2721649.3572 | 1246969.2408
25 | 2721594.6476 | 1246927.4779 | 2721593.7681 | 1246933.8875 | 2721592.5778 | 1246942.5482 | 2721591.9937 | 1246948.1854 | 2721591.1467 | 1246955.2184 | 2721599.7105 | 1246962.0665
26 | 2721614.3273 | 1246990.2345 | 2721607.8209 | 1247031.3357
27 | 2721591.4849 | 1246987.7084 | 2721614.3273 | 1246990.2345
28 | 2721594.6476 | 1246927.4779 | 2721646.6155 | 1246935.8894
29 | 2721606.0539 | 1247042.4979 | 2721607.8209 | 1247031.3357
30 | 2721689.0076 | 1246947.6415 | 2721688.3541 | 1246945.2483 | 2721684.1901 | 1246941.9712 | 2721646.6155 | 1246935.8894
31 | 2721606.0539 | 1247042.4979 | 2721619.1533 | 1247045.8745
32 | 2721606.0539 | 1247042.4979 | 2721595.1105 | 1247039.6823 | 2721590.5251 | 1247038.9021
33 | 2721513.4452 | 1246920.0516 | 2721520.0489 | 1246921.1657 | 2721537.0675 | 1246919.3919
34 | 2721513.4452 | 1246920.0516 | 2721514.501 | 1246894.3627 | 2721515.0896 | 1246874.5024 | 2721515.2934 | 1246871.3662
35 | 2721513.4452 | 1246920.0516 | 2721492.5953 | 1246916.5282
36 | 2721689.0076 | 1246947.6415 | 2721694.3925 | 1246943.7154 | 2721698.406 | 1246935.9245 | 2721697.1272 | 1246929.0257 | 2721698.2139 | 1246925.4117 | 2721700.9204 | 1246922.031 | 2721703.0274 | 1246918.0375 | 2721702.7861 | 1246902.0537
37 | 2721619.1533 | 1247045.8745 | 2721639.8668 | 1247051.2137
38 | 2721569.4922 | 1247035.3236 | 2721590.5251 | 1247038.9021
39 | 2721569.4922 | 1247035.3236 | 2721557.0564 | 1247033.2077 | 2721542.4755 | 1247031.9742
40 | 2721610.9032 | 1247101.1417 | 2721608.0054 | 1247100.1979 | 2721605.3309 | 1247099.4727
41 | 2721577.3137 | 1247091.8765 | 2721605.3309 | 1247099.4727
42 | 2721577.3137 | 1247091.8765 | 2721571.4565 | 1247090.2884
43 | 2721542.4755 | 1247031.9742 | 2721511.5293 | 1247029.356
44 | 2721474.2297 | 1247021.1717 | 2721481.9271 | 1246997.7553
45 | 2721474.2297 | 1247021.1717 | 2721475.5094 | 1247021.6492 | 2721483.8712 | 1247023.891
46 | 2721466.1878 | 1247018.1712 | 2721474.2297 | 1247021.1717
47 | 2721438.2328 | 1247007.7408 | 2721446.7171 | 1246984.9875
48 | 2721438.2328 | 1247007.7408 | 2721446.2747 | 1247010.7413
49 | 2721525.1237 | 1247006.7754 | 2721513.1439 | 1247005.6526
50 | 2721511.5293 | 1247029.356 | 2721513.1439 | 1247005.6526
51 | 2721506.5655 | 1247028.9361 | 2721511.5293 | 1247029.356
52 | 2721506.5655 | 1247028.9361 | 2721500.931 | 1247028.4647 | 2721483.8712 | 1247023.891
53 | 2721466.1878 | 1247018.1712 | 2721446.2747 | 1247010.7413
54 | 2721506.5655 | 1247028.9361 | 2721508.6674 | 1247031.8149
55 | 2721598.6476 | 1246866.3445 | 2721603.5412 | 1246867.087 | 2721629.0709 | 1246870.9743
56 | 2721568.1984 | 1246861.7245 | 2721598.6476 | 1246866.3445
57 | 2721660.8876 | 1246875.8189 | 2721629.0709 | 1246870.9743
58 | 2721568.1984 | 1246861.7245 | 2721538.6692 | 1246857.2379
59 | 2721703.9111 | 1246882.3699 | 2721660.8876 | 1246875.8189
60 | 2721516.4033 | 1246854.29 | 2721533.7596 | 1246856.492 | 2721538.6692 | 1246857.2379
61 | 2721703.9111 | 1246882.3699 | 2721702.7682 | 1246900.8621 | 2721702.7861 | 1246902.0537
62 | 2721703.9111 | 1246882.3699 | 2721697.4815 | 1246797.8335
63 | 2721516.4033 | 1246854.29 | 2721493.9295 | 1246851.4494 | 2721485.7166 | 1246851.4822
64 | 2721516.4033 | 1246854.29 | 2721515.2934 | 1246871.3662
65 | 2721710.6914 | 1246775.1962 | 2721718.7931 | 1246781.7458 | 2721711.9937 | 1246791.9927 | 2721697.4815 | 1246797.8335
66 | 2721461.2728 | 1246851.5801 | 2721485.7166 | 1246851.4822
67 | 2721566.3695 | 1247044.0262 | 2721552.5498 | 1247041.2619
68 | 2721566.3695 | 1247044.0262 | 2721574.3212 | 1247045.6167
69 | 2721552.5498 | 1247041.2619 | 2721544.5996 | 1247039.6717
70 | 2721552.5498 | 1247041.2619 | 2721543.5206 | 1247084.1764
71 | 2721583.7373 | 1247047.5001 | 2721574.3212 | 1247045.6167
72 | 2721508.6674 | 1247031.8149 | 2721519.5573 | 1247034.6627 | 2721544.5996 | 1247039.6717
73 | 2721543.5206 | 1247084.1764 | 2721555.3779 | 1247085.929 | 2721571.4565 | 1247090.2884
74 | 2721540.7347 | 1247083.7647 | 2721543.5206 | 1247084.1764
75 | 2721543.2404 | 1247161.3592 | 2721527.4554 | 1247144.1207
76 | 2721543.2404 | 1247161.3592 | 2721549.0658 | 1247167.7211
77 | 2721524.0897 | 1247140.445 | 2721527.4554 | 1247144.1207
78 | 2721558.3674 | 1247177.8793 | 2721549.0658 | 1247167.7211
79 | 2721524.0897 | 1247140.445 | 2721549.1461 | 1247140.3585
80 | 2721524.0897 | 1247140.445 | 2721505.0627 | 1247120.2714 | 2721500.2484 | 1247117.0683
81 | 2721519.1212 | 1247081.4464 | 2721524.8019 | 1247081.4097 | 2721540.7347 | 1247083.7647
82 | 2721519.1212 | 1247081.4464 | 2721513.0299 | 1247081.4859
83 | 2721475.6937 | 1246936.3574 | 2721443.9597 | 1246930.4734
84 | 2721503.146 | 1246941.4476 | 2721475.6937 | 1246936.3574
85 | 2721422.9609 | 1246927.8938 | 2721438.7499 | 1246929.5074 | 2721443.9597 | 1246930.4734
86 | 2721503.146 | 1246941.4476 | 2721507.917 | 1246942.7001
87 | 2721440.149 | 1246922.0742 | 2721456.6797 | 1246924.7372 | 2721504.5277 | 1246933.0243 | 2721503.146 | 1246941.4476
88 | 2721540.8856 | 1246953.7091 | 2721535.034 | 1246949.8192 | 2721507.917 | 1246942.7001
89 | 2721440.149 | 1246922.0742 | 2721426.2089 | 1246919.8313 | 2721422.2059 | 1246919.8518
90 | 2721440.149 | 1246922.0742 | 2721442.7465 | 1246905.936 | 2721449.802 | 1246906.3919 | 2721460.7965 | 1246911.1545 | 2721478.5947 | 1246914.1622
91 | 2721478.5947 | 1246914.1622 | 2721485.6543 | 1246915.3552
92 | 2721492.5953 | 1246916.5282 | 2721485.6543 | 1246915.3552
93 | 2721386.9324 | 1246857.3325 | 2721372.9432 | 1246858.482
94 | 2721386.9324 | 1246857.3325 | 2721409.5532 | 1246855.4736
95 | 2721409.5532 | 1246855.4736 | 2721434.6972 | 1246853.4074
96 | 2721434.6972 | 1246853.4074 | 2721456.713 | 1246851.5983 | 2721461.2728 | 1246851.5801

## bus_geodata
| x | y | coords
0 | 2721348.389 | 1247013.4289
1 | 2721357.4958 | 1247013.8842
2 | 2721371.182 | 1247014.5683
3 | 2721381.5936 | 1247015.0888
4 | 2721392.0661 | 1247016.526
5 | 2721412.6564 | 1247021.1415
6 | 2721388.0818 | 1247056.2883
7 | 2721436.2347 | 1247026.4267
8 | 2721393.8718 | 1247057.2844
9 | 2721417.73 | 1247068.1163
10 | 2721377.8102 | 1246986.7415
11 | 2721411.858 | 1246997.9688
12 | 2721382.9831 | 1246961.0813
13 | 2721434.4866 | 1247094.409
14 | 2721417.7157 | 1247080.2568
15 | 2721473.6194 | 1247106.1564
16 | 2721473.4084 | 1247078.352
17 | 2721422.5925 | 1246975.9385
18 | 2721374.2841 | 1246957.8184
19 | 2721361.2415 | 1246952.8348
20 | 2721638.2552 | 1246992.883
21 | 2721631.2257 | 1246992.1049
22 | 2721599.7105 | 1246962.0665
23 | 2721614.3273 | 1246990.2345
24 | 2721649.3572 | 1246969.2408
25 | 2721594.6476 | 1246927.4779
26 | 2721607.8209 | 1247031.3357
27 | 2721591.4849 | 1246987.7084
28 | 2721646.6155 | 1246935.8894
29 | 2721606.0539 | 1247042.4979
30 | 2721537.0675 | 1246919.3919
31 | 2721513.4452 | 1246920.0516
32 | 2721689.0076 | 1246947.6415
33 | 2721619.1533 | 1247045.8745
34 | 2721590.5251 | 1247038.9021
35 | 2721639.8668 | 1247051.2137
36 | 2721569.4922 | 1247035.3236
37 | 2721610.9032 | 1247101.1417
38 | 2721605.3309 | 1247099.4727
39 | 2721577.3137 | 1247091.8765
40 | 2721542.4755 | 1247031.9742
41 | 2721481.9271 | 1246997.7553
42 | 2721474.2297 | 1247021.1717
43 | 2721446.7171 | 1246984.9875
44 | 2721438.2328 | 1247007.7408
45 | 2721513.1439 | 1247005.6526
46 | 2721525.1237 | 1247006.7754
47 | 2721511.5293 | 1247029.356
48 | 2721483.8712 | 1247023.891
49 | 2721466.1878 | 1247018.1712
50 | 2721446.2747 | 1247010.7413
51 | 2721506.5655 | 1247028.9361
52 | 2721598.6476 | 1246866.3445
53 | 2721629.0709 | 1246870.9743
54 | 2721568.1984 | 1246861.7245
55 | 2721660.8876 | 1246875.8189
56 | 2721538.6692 | 1246857.2379
57 | 2721703.9111 | 1246882.3699
58 | 2721516.4033 | 1246854.29
59 | 2721702.7861 | 1246902.0537
60 | 2721697.4815 | 1246797.8335
61 | 2721485.7166 | 1246851.4822
62 | 2721515.2934 | 1246871.3662
63 | 2721566.3695 | 1247044.0262
64 | 2721552.5498 | 1247041.2619
65 | 2721574.3212 | 1247045.6167
66 | 2721544.5996 | 1247039.6717
67 | 2721543.5206 | 1247084.1764
68 | 2721583.7373 | 1247047.5001
69 | 2721543.2404 | 1247161.3592
70 | 2721527.4554 | 1247144.1207
71 | 2721549.0658 | 1247167.7211
72 | 2721549.1461 | 1247140.3585
73 | 2721524.0897 | 1247140.445
74 | 2721508.6674 | 1247031.8149
75 | 2721540.7347 | 1247083.7647
76 | 2721519.1212 | 1247081.4464
77 | 2721571.4565 | 1247090.2884
78 | 2721558.3674 | 1247177.8793
79 | 2721513.0299 | 1247081.4859
80 | 2721500.2484 | 1247117.0683
81 | 2721475.6937 | 1246936.3574
82 | 2721443.9597 | 1246930.4734
83 | 2721503.146 | 1246941.4476
84 | 2721422.9609 | 1246927.8938
85 | 2721507.917 | 1246942.7001
86 | 2721440.149 | 1246922.0742
87 | 2721540.8856 | 1246953.7091
88 | 2721422.2059 | 1246919.8518
89 | 2721478.5947 | 1246914.1622
90 | 2721485.6543 | 1246915.3552
91 | 2721710.6914 | 1246775.1962
92 | 2721386.9324 | 1246857.3325
93 | 2721372.9432 | 1246858.482
94 | 2721409.5532 | 1246855.4736
95 | 2721434.6972 | 1246853.4074
96 | 2721461.2728 | 1246851.5801
97 | 2721492.5953 | 1246916.5282
98 | 2721525.1237 | 1247006.7754

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1