## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3395-15_1_4_node_64 | 0.4 | n |  | TRUE
1 | bus_LV_3395-15_1_4_node_63 | 0.4 | n |  | TRUE
2 | bus_LV_3395-15_1_4_node_44 | 0.4 | n |  | TRUE
3 | bus_LV_3395-15_1_4_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_3395-15_1_4_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_3395-15_1_4_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_3395-15_1_4_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_3395-15_1_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_3395-15_1_4_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_3395-15_1_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_3395-15_1_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_3395-15_1_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_3395-15_1_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_3395-15_1_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_3395-15_1_4_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_3395-15_1_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_3395-15_1_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_3395-15_1_4_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_3395-15_1_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_3395-15_1_4_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_3395-15_1_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_3395-15_1_4_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_3395-15_1_4_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_3395-15_1_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_3395-15_1_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_3395-15_1_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_3395-15_1_4_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_3395-15_1_4_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_3395-15_1_4_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_3395-15_1_4_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_3395-15_1_4_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_3395-15_1_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_3395-15_1_4_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_3395-15_1_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_3395-15_1_4_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_3395-15_1_4_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_3395-15_1_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_3395-15_1_4_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_3395-15_1_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_3395-15_1_4_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_3395-15_1_4_node_114 | 0.4 | n |  | TRUE
41 | bus_LV_3395-15_1_4_node_119 | 0.4 | n |  | TRUE
42 | bus_LV_3395-15_1_4_node_113 | 0.4 | n |  | TRUE
43 | bus_LV_3395-15_1_4_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_3395-15_1_4_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_3395-15_1_4_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_3395-15_1_4_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_3395-15_1_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_3395-15_1_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_3395-15_1_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_3395-15_1_4_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_3395-15_1_4_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_3395-15_1_4_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_3395-15_1_4_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_3395-15_1_4_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_3395-15_1_4_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_3395-15_1_4_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_3395-15_1_4_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_3395-15_1_4_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_3395-15_1_4_node_99 | 0.4 | n |  | TRUE
60 | bus_LV_3395-15_1_4_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_3395-15_1_4_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_3395-15_1_4_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_3395-15_1_4_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_3395-15_1_4_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_3395-15_1_4_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_3395-15_1_4_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_3395-15_1_4_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_3395-15_1_4_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_3395-15_1_4_node_120 | 0.4 | n |  | TRUE
70 | bus_LV_3395-15_1_4_node_127 | 0.4 | n |  | TRUE
71 | bus_LV_3395-15_1_4_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_3395-15_1_4_node_121 | 0.4 | n |  | TRUE
73 | bus_LV_3395-15_1_4_node_116 | 0.4 | n |  | TRUE
74 | bus_LV_3395-15_1_4_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_3395-15_1_4_node_122 | 0.4 | n |  | TRUE
76 | bus_LV_3395-15_1_4_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_3395-15_1_4_node_124 | 0.4 | n |  | TRUE
78 | bus_LV_3395-15_1_4_node_125 | 0.4 | n |  | TRUE
79 | bus_MV_156_0_node_244 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3395-15_1_4_load_64 | 0 | 0.0005935 | 0.00014875 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3395-15_1_4_load_63 | 1 | 0.0058321 | 0.0014617 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3395-15_1_4_load_44 | 2 | 0.0013449 | 0.00033707 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3395-15_1_4_load_45 | 3 | 0.00020328 | 5.0946e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3395-15_1_4_load_82 | 5 | 0.00012171 | 3.0503e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3395-15_1_4_load_83 | 6 | 0.00048242 | 0.00012091 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3395-15_1_4_load_47 | 7 | 0.0011486 | 0.00028786 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3395-15_1_4_load_81 | 8 | 0.0018887 | 0.00047336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3395-15_1_4_load_48 | 9 | 0.00022474 | 5.6325e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3395-15_1_4_load_49 | 12 | 0.00083539 | 0.00020937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3395-15_1_4_load_54 | 13 | 0.00032311 | 8.0979e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3395-15_1_4_load_53 | 14 | 0.00069103 | 0.00017319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3395-15_1_4_load_55 | 15 | 0.0050188 | 0.0012578 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3395-15_1_4_load_58 | 18 | 0.0022521 | 0.00056443 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3395-15_1_4_load_59 | 19 | 0.0010151 | 0.0002544 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3395-15_1_4_load_66 | 21 | 0.0029846 | 0.00074802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3395-15_1_4_load_61 | 22 | 0.0056073 | 0.0014053 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3395-15_1_4_load_91 | 23 | 0.013776 | 0.0034527 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3395-15_1_4_load_65 | 24 | 0.0011142 | 0.00027925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3395-15_1_4_load_62 | 25 | 0.0013656 | 0.00034225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3395-15_1_4_load_67 | 27 | 0.00036915 | 9.2517e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3395-15_1_4_load_68 | 28 | 0.00017639 | 4.4207e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3395-15_1_4_load_78 | 33 | 0.0031694 | 0.00079433 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3395-15_1_4_load_77 | 34 | 0.00055007 | 0.00013786 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3395-15_1_4_load_84 | 35 | 0.00025937 | 6.5004e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3395-15_1_4_load_76 | 36 | 0.0045959 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3395-15_1_4_load_72 | 37 | 0.0010377 | 0.00026006 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3395-15_1_4_load_75 | 39 | 0.00090281 | 0.00022627 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3395-15_1_4_load_90 | 43 | 0.001054 | 0.00026417 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3395-15_1_4_load_86 | 46 | 0.00024814 | 6.2189e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3395-15_1_4_load_88 | 47 | 0.0002836 | 7.1076e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3395-15_1_4_load_87 | 48 | 0.00042621 | 0.00010682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3395-15_1_4_load_95 | 50 | 0.0012252 | 0.00030707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3395-15_1_4_load_94 | 51 | 0.0022065 | 0.000553 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3395-15_1_4_load_100 | 55 | 0.0010871 | 0.00027244 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3395-15_1_4_load_107 | 57 | 0.0023383 | 0.00058603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3395-15_1_4_load_104 | 58 | 0.00037793 | 9.4717e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3395-15_1_4_load_99 | 59 | 0.004051 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3395-15_1_4_load_108 | 60 | 0.00081446 | 0.00020412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3395-15_1_4_load_101 | 61 | 0.00067161 | 0.00016832 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3395-15_1_4_load_102 | 62 | 0.0005726 | 0.00014351 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3395-15_1_4_load_110 | 63 | 0.00092149 | 0.00023095 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3395-15_1_4_load_111 | 64 | 0.00055544 | 0.00013921 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3395-15_1_4_load_105 | 65 | 0.00052586 | 0.00013179 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3395-15_1_4_load_106 | 66 | 0.0013222 | 0.00033137 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3395-15_1_4_load_112 | 67 | 0.00096333 | 0.00024143 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3395-15_1_4_load_115 | 68 | 0.00094866 | 0.00023776 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3395-15_1_4_load_120 | 69 | 0.00081973 | 0.00020544 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3395-15_1_4_load_127 | 70 | 0.00073881 | 0.00018516 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3395-15_1_4_load_121 | 72 | 0.00069085 | 0.00017314 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3395-15_1_4_load_116 | 73 | 0.00097288 | 0.00024383 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3395-15_1_4_load_118 | 74 | 0.00083063 | 0.00020818 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3395-15_1_4_load_123 | 76 | 0.0017642 | 0.00044216 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3395-15_1_4_load_124 | 77 | 0.00073792 | 0.00018494 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3395-15_1_4_load_125 | 78 | 0.0017126 | 0.00042921 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3395-15_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0039252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3395-15_1_4_line_1 | NAYY 4x150 SE | 1 | 24 | 0.013922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3395-15_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.002184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3395-15_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.029031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3395-15_1_4_line_4 | NAYY 4x150 SE | 4 | 9 | 0.011324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3395-15_1_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.017576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3395-15_1_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.19213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3395-15_1_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.17366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3395-15_1_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.018923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3395-15_1_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.019201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3395-15_1_4_line_10 | NAYY 4x150 SE | 8 | 32 | 0.039891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3395-15_1_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3395-15_1_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.026882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3395-15_1_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.013568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3395-15_1_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0062628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3395-15_1_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.13089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3395-15_1_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0099415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3395-15_1_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.055741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3395-15_1_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.035084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3395-15_1_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.12201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3395-15_1_4_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0051442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3395-15_1_4_line_21 | NAYY 4x150 SE | 19 | 22 | 0.024722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3395-15_1_4_line_22 | NAYY 4x150 SE | 20 | 23 | 0.096467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3395-15_1_4_line_23 | NAYY 4x150 SE | 21 | 24 | 0.00033144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3395-15_1_4_line_24 | NAYY 4x150 SE | 22 | 25 | 0.017087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3395-15_1_4_line_25 | NAYY 4x150 SE | 23 | 26 | 0.056554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3395-15_1_4_line_26 | NAYY 4x150 SE | 26 | 49 | 0.0172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3395-15_1_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.097662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3395-15_1_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.015312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3395-15_1_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.029647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3395-15_1_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.017678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3395-15_1_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.088642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3395-15_1_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.0060274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3395-15_1_4_line_33 | NAYY 4x150 SE | 31 | 34 | 0.069178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3395-15_1_4_line_34 | NAYY 4x150 SE | 32 | 35 | 0.057368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3395-15_1_4_line_35 | NAYY 4x150 SE | 33 | 36 | 0.035128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3395-15_1_4_line_36 | NAYY 4x150 SE | 35 | 45 | 0.0078418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3395-15_1_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.046727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3395-15_1_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.052998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3395-15_1_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.10389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3395-15_1_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.021525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3395-15_1_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.023033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3395-15_1_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.054366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3395-15_1_4_line_43 | NAYY 4x150 SE | 41 | 70 | 0.011646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3395-15_1_4_line_44 | NAYY 4x150 SE | 41 | 71 | 0.007452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3395-15_1_4_line_45 | NAYY 4x150 SE | 42 | 68 | 0.040903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3395-15_1_4_line_46 | NAYY 4x150 SE | 42 | 67 | 0.081288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3395-15_1_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0038984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3395-15_1_4_line_48 | NAYY 4x150 SE | 44 | 47 | 0.01484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3395-15_1_4_line_49 | NAYY 4x150 SE | 44 | 48 | 0.0086291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3395-15_1_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.015481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3395-15_1_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.015684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3395-15_1_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.025012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3395-15_1_4_line_53 | NAYY 4x150 SE | 50 | 51 | 7.0295e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3395-15_1_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.012897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3395-15_1_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.013484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3395-15_1_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.006443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3395-15_1_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.0025553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3395-15_1_4_line_58 | NAYY 4x150 SE | 54 | 58 | 0.037228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3395-15_1_4_line_59 | NAYY 4x150 SE | 54 | 56 | 0.008676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3395-15_1_4_line_60 | NAYY 4x150 SE | 55 | 59 | 0.019006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3395-15_1_4_line_61 | NAYY 4x150 SE | 56 | 57 | 0.067955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3395-15_1_4_line_62 | NAYY 4x150 SE | 57 | 60 | 0.016696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3395-15_1_4_line_63 | NAYY 4x150 SE | 58 | 65 | 0.010447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3395-15_1_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.06144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3395-15_1_4_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0047249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3395-15_1_4_line_66 | NAYY 4x150 SE | 62 | 63 | 0.02019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3395-15_1_4_line_67 | NAYY 4x150 SE | 63 | 64 | 5.9701e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3395-15_1_4_line_68 | NAYY 4x150 SE | 64 | 67 | 0.0016352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_3395-15_1_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0087736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3395-15_1_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.073419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3395-15_1_4_line_71 | NAYY 4x150 SE | 69 | 72 | 0.022073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3395-15_1_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.015406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3395-15_1_4_line_73 | NAYY 4x150 SE | 72 | 75 | 0.053414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3395-15_1_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0059374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3395-15_1_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.015399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3395-15_1_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0032932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3395-15_1_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.025125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3395-15_1_4_trafo_56 | 0.25 MVA 20/0.4 kV | 79 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2722885.8955 | 1248891.6244 | 2722888.6797 | 1248888.8575 | 2722888.6797 | 1248888.8575
1 | 2722885.8955 | 1248891.6244 | 2722885.8955 | 1248891.6244 | 2722882.201 | 1248892.0259 | 2722872.1888 | 1248890.0497
2 | 2723228.3847 | 1248397.0885 | 2723228.9094 | 1248394.9685
3 | 2723234.6031 | 1248366.5911 | 2723234.1512 | 1248373.7879 | 2723228.9094 | 1248394.9685
4 | 2723234.6031 | 1248366.5911 | 2723230.3318 | 1248359.1182 | 2723228.1332 | 1248357.5223
5 | 2723040.5515 | 1248263.6707 | 2723041.2801 | 1248262.3981 | 2723047.4332 | 1248247.5098
6 | 2723040.5515 | 1248263.6707 | 2723215.1244 | 1248343.9002
7 | 2722952.5333 | 1248413.2366 | 2722961.8691 | 1248397.7885 | 2722969.3793 | 1248382.0753 | 2723014.8516 | 1248305.4976 | 2723024.9758 | 1248290.873 | 2723040.5515 | 1248263.6707
8 | 2723215.1244 | 1248343.9002 | 2723228.8722 | 1248330.8967
9 | 2723215.1244 | 1248343.9002 | 2723215.1244 | 1248343.9002 | 2723219.7644 | 1248351.4476 | 2723228.1332 | 1248357.5223
10 | 2722930.4778 | 1248446.3902 | 2722939.0501 | 1248435.5476 | 2722952.5333 | 1248413.2366
11 | 2723263.2273 | 1248321.5032 | 2723255.0481 | 1248331.2081
12 | 2723255.0481 | 1248331.2081 | 2723230.5515 | 1248329.3084 | 2723228.8722 | 1248330.8967
13 | 2723263.2273 | 1248321.5032 | 2723273.3844 | 1248330.4988
14 | 2723278.0728 | 1248334.6511 | 2723273.3844 | 1248330.4988
15 | 2722812.2065 | 1248879.0978 | 2722808.1924 | 1248887.2661 | 2722803.8262 | 1248900.031 | 2722800.191 | 1248907.0506 | 2722795.5026 | 1248912.4025 | 2722781.2087 | 1248924.5613 | 2722767.066 | 1248935.2553 | 2722755.4686 | 1248945.2348 | 2722742.3964 | 1248959.3206 | 2722736.0155 | 1248967.9848 | 2722734.2732 | 1248973.3311 | 2722734.1513 | 1248979.2114
16 | 2722730.2462 | 1248987.9602 | 2722733.5183 | 1248983.88 | 2722734.1513 | 1248979.2114
17 | 2722812.2065 | 1248879.0978 | 2722836.6156 | 1248885.4756 | 2722850.9743 | 1248885.8624 | 2722866.8169 | 1248888.9894
18 | 2722730.2462 | 1248987.9602 | 2722743.6899 | 1249018.6426 | 2722744.5618 | 1249019.9666
19 | 2722634.9163 | 1249046.2817 | 2722643.5078 | 1249041.0105 | 2722647.8978 | 1249035.4633 | 2722659.7166 | 1249011.8543 | 2722667.2016 | 1249002.7569 | 2722676.112 | 1248995.9466 | 2722698.6735 | 1248990.1308 | 2722705.315 | 1248989.6678 | 2722720.5866 | 1248991.1852 | 2722725.9647 | 1248990.4515 | 2722730.2462 | 1248987.9602
20 | 2722871.8636 | 1248889.9855 | 2722866.8169 | 1248888.9894
21 | 2722744.5618 | 1249019.9666 | 2722752.2284 | 1249031.6082 | 2722759.3964 | 1249039.6641
22 | 2722634.9163 | 1249046.2817 | 2722629.0519 | 1249046.4272 | 2722622.6885 | 1249045.5059 | 2722614.2692 | 1249041.7285 | 2722597.9805 | 1249033.885 | 2722563.8706 | 1249023.6264 | 2722543.5684 | 1249018.4579 | 2722543.2769 | 1249018.408
23 | 2722871.8636 | 1248889.9855 | 2722872.1888 | 1248890.0497
24 | 2722759.3964 | 1249039.6641 | 2722766.2308 | 1249047.345 | 2722769.197 | 1249053.4708
25 | 2722497.8137 | 1248990.544 | 2722510.0981 | 1249007.212 | 2722515.5129 | 1249012.0058 | 2722522.855 | 1249014.9156 | 2722543.2769 | 1249018.408
26 | 2722497.8137 | 1248990.544 | 2722500.7775 | 1248973.6018
27 | 2722832.3667 | 1248629.4254 | 2722838.0846 | 1248616.1202 | 2722862.8294 | 1248548.4529 | 2722867.7464 | 1248538.4674
28 | 2722825.0516 | 1248642.8397 | 2722830.3541 | 1248634.1088 | 2722832.3667 | 1248629.4254
29 | 2722889.2789 | 1248518.8091 | 2722881.6739 | 1248523.0885 | 2722869.3828 | 1248535.144 | 2722867.7464 | 1248538.4674
30 | 2722811.7439 | 1248654.3961 | 2722818.928 | 1248649.2739 | 2722825.0516 | 1248642.8397
31 | 2722889.2789 | 1248518.8091 | 2722893.6001 | 1248506.4103 | 2722912.8479 | 1248467.8097 | 2722917.8792 | 1248461.2417 | 2722915.1538 | 1248455.7027 | 2722930.4778 | 1248446.3902
32 | 2722811.7439 | 1248654.3961 | 2722805.9966 | 1248656.2124
33 | 2722811.7439 | 1248654.3961 | 2722814.3682 | 1248639.6712 | 2722814.9617 | 1248625.9829 | 2722810.7277 | 1248593.3785 | 2722810.0347 | 1248585.7678
34 | 2722930.4778 | 1248446.3902 | 2722936.6964 | 1248445.9521 | 2722941.7857 | 1248448.2374 | 2722970.969 | 1248483.2181
35 | 2722805.9966 | 1248656.2124 | 2722802.5967 | 1248657.2869 | 2722791.6004 | 1248660.106 | 2722782.3609 | 1248665.6304 | 2722777.4413 | 1248666.4626 | 2722773.3145 | 1248665.1204 | 2722773.2226 | 1248665.0489
36 | 2722976.3233 | 1248488.6104 | 2722975.3959 | 1248488.5244 | 2722970.969 | 1248483.2181
37 | 2722736.9026 | 1248635.7192 | 2722741.8245 | 1248640.6141 | 2722773.2226 | 1248665.0489
38 | 2722736.9026 | 1248635.7192 | 2722762.6416 | 1248615.1567 | 2722776.2155 | 1248600.3944
39 | 2722736.9026 | 1248635.7192 | 2722713.9992 | 1248654.6946 | 2722677.6189 | 1248692.6853 | 2722662.8527 | 1248708.3723
40 | 2722648.0992 | 1248724.0457 | 2722662.8527 | 1248708.3723
41 | 2722648.0992 | 1248724.0457 | 2722631.4413 | 1248708.0875
42 | 2722610.7795 | 1248763.6743 | 2722648.0992 | 1248724.0457
43 | 2722631.4413 | 1248708.0875 | 2722637.5463 | 1248698.1609
44 | 2722631.4413 | 1248708.0875 | 2722624.3519 | 1248705.7277
45 | 2722610.7795 | 1248763.6743 | 2722576.7534 | 1248740.9738
46 | 2722610.7795 | 1248763.6743 | 2722599.2274 | 1248782.7739 | 2722590.324 | 1248800.5495 | 2722582.4851 | 1248819.081 | 2722575.3299 | 1248836.644
47 | 2722989.7147 | 1248522.1724 | 2722989.6609 | 1248526.0704
48 | 2722989.7147 | 1248522.1724 | 2722989.7638 | 1248518.7149 | 2722993.2209 | 1248508.2888 | 2722993.2134 | 1248507.8906
49 | 2722989.7147 | 1248522.1724 | 2722982.6478 | 1248517.2206
50 | 2722976.3233 | 1248488.6104 | 2722987.5358 | 1248489.5882 | 2722989.8111 | 1248493.1492
51 | 2722989.8111 | 1248493.1492 | 2722993.0303 | 1248498.1873 | 2722993.2134 | 1248507.8906
52 | 2722500.7775 | 1248973.6018 | 2722507.8302 | 1248949.6049
53 | 2722507.8302 | 1248949.6049 | 2722507.8437 | 1248949.5359
54 | 2722510.3216 | 1248936.8788 | 2722507.8437 | 1248949.5359
55 | 2722517.8043 | 1248925.6905 | 2722515.1437 | 1248930.5286 | 2722510.3216 | 1248936.8788
56 | 2722517.8043 | 1248925.6905 | 2722511.8353 | 1248923.2206
57 | 2722517.8043 | 1248925.6905 | 2722519.97 | 1248924.3344
58 | 2722511.8353 | 1248923.2206 | 2722521.1453 | 1248887.1756
59 | 2722504.2563 | 1248918.9826 | 2722510.5022 | 1248922.6704 | 2722511.8353 | 1248923.2206
60 | 2722536.0787 | 1248914.2473 | 2722536.0787 | 1248914.2473 | 2722519.97 | 1248924.3344
61 | 2722504.2563 | 1248918.9826 | 2722496.5412 | 1248894.291 | 2722489.9115 | 1248871.1676 | 2722484.9433 | 1248853.8347
62 | 2722484.9433 | 1248853.8347 | 2722481.0486 | 1248840.247 | 2722479.6307 | 1248838.1145
63 | 2722521.1453 | 1248887.1756 | 2722523.7577 | 1248877.0609 | 2722523.7577 | 1248877.0609
64 | 2722536.0787 | 1248914.2473 | 2722543.3765 | 1248907.9817 | 2722549.2277 | 1248900.0848 | 2722553.6764 | 1248889.1452 | 2722560.8798 | 1248872.1129 | 2722565.2904 | 1248861.2868
65 | 2722567.0731 | 1248856.9111 | 2722565.2904 | 1248861.2868
66 | 2722567.0731 | 1248856.9111 | 2722574.6904 | 1248838.2136
67 | 2722574.7129 | 1248838.1583 | 2722574.6904 | 1248838.2136
68 | 2722575.3299 | 1248836.644 | 2722574.7129 | 1248838.1583
69 | 2722532.4676 | 1248878.1158 | 2722523.7577 | 1248877.0609
70 | 2722576.7534 | 1248740.9738 | 2722573.1232 | 1248738.552 | 2722563.1136 | 1248731.6614 | 2722562.8982 | 1248722.3601 | 2722567.9277 | 1248714.3906 | 2722582.6999 | 1248705.3994 | 2722589.7711 | 1248697.6946 | 2722593.7871 | 1248688.0748
71 | 2722593.7871 | 1248688.0748 | 2722602.2907 | 1248667.7059
72 | 2722624.3519 | 1248705.7277 | 2722617.4353 | 1248707.0636 | 2722611.9814 | 1248713.4017
73 | 2722622.1915 | 1248618.1527 | 2722617.4608 | 1248631.3884 | 2722613.3359 | 1248641.2671 | 2722609.1398 | 1248651.3 | 2722602.2907 | 1248667.7059
74 | 2722608.1087 | 1248717.9022 | 2722611.9814 | 1248713.4017
75 | 2722622.1915 | 1248618.1527 | 2722615.4612 | 1248611.9416 | 2722612.4317 | 1248606.4854
76 | 2722612.4317 | 1248606.4854 | 2722611.7985 | 1248603.2536
77 | 2722608.2209 | 1248578.4448 | 2722608.6467 | 1248587.1684 | 2722611.7985 | 1248603.2536

## bus_geodata
| x | y | coords
0 | 2722888.6797 | 1248888.8575
1 | 2722885.8955 | 1248891.6244
2 | 2723228.3847 | 1248397.0885
3 | 2723228.9094 | 1248394.9685
4 | 2723234.6031 | 1248366.5911
5 | 2723040.5515 | 1248263.6707
6 | 2723047.4332 | 1248247.5098
7 | 2723215.1244 | 1248343.9002
8 | 2722952.5333 | 1248413.2366
9 | 2723228.1332 | 1248357.5223
10 | 2723255.0481 | 1248331.2081
11 | 2723263.2273 | 1248321.5032
12 | 2723228.8722 | 1248330.8967
13 | 2723273.3844 | 1248330.4988
14 | 2723278.0728 | 1248334.6511
15 | 2722734.1513 | 1248979.2114
16 | 2722812.2065 | 1248879.0978
17 | 2722730.2462 | 1248987.9602
18 | 2722866.8169 | 1248888.9894
19 | 2722744.5618 | 1249019.9666
20 | 2722634.9163 | 1249046.2817
21 | 2722871.8636 | 1248889.9855
22 | 2722759.3964 | 1249039.6641
23 | 2722543.2769 | 1249018.408
24 | 2722872.1888 | 1248890.0497
25 | 2722769.197 | 1249053.4708
26 | 2722497.8137 | 1248990.544
27 | 2722832.3667 | 1248629.4254
28 | 2722867.7464 | 1248538.4674
29 | 2722825.0516 | 1248642.8397
30 | 2722889.2789 | 1248518.8091
31 | 2722811.7439 | 1248654.3961
32 | 2722930.4778 | 1248446.3902
33 | 2722805.9966 | 1248656.2124
34 | 2722810.0347 | 1248585.7678
35 | 2722970.969 | 1248483.2181
36 | 2722773.2226 | 1248665.0489
37 | 2722776.2155 | 1248600.3944
38 | 2722736.9026 | 1248635.7192
39 | 2722662.8527 | 1248708.3723
40 | 2722648.0992 | 1248724.0457
41 | 2722631.4413 | 1248708.0875
42 | 2722610.7795 | 1248763.6743
43 | 2722989.6609 | 1248526.0704
44 | 2722989.7147 | 1248522.1724
45 | 2722976.3233 | 1248488.6104
46 | 2722989.8111 | 1248493.1492
47 | 2722993.2134 | 1248507.8906
48 | 2722982.6478 | 1248517.2206
49 | 2722500.7775 | 1248973.6018
50 | 2722507.8302 | 1248949.6048
51 | 2722507.8437 | 1248949.5359
52 | 2722510.3216 | 1248936.8788
53 | 2722517.8043 | 1248925.6905
54 | 2722511.8353 | 1248923.2206
55 | 2722519.97 | 1248924.3344
56 | 2722504.2563 | 1248918.9826
57 | 2722484.9433 | 1248853.8347
58 | 2722521.1453 | 1248887.1756
59 | 2722536.0787 | 1248914.2473
60 | 2722479.6307 | 1248838.1145
61 | 2722565.2904 | 1248861.2868
62 | 2722567.0731 | 1248856.9111
63 | 2722574.6904 | 1248838.2136
64 | 2722574.7129 | 1248838.1583
65 | 2722523.7577 | 1248877.0609
66 | 2722532.4676 | 1248878.1158
67 | 2722575.3299 | 1248836.644
68 | 2722576.7534 | 1248740.9739
69 | 2722593.7871 | 1248688.0748
70 | 2722637.5463 | 1248698.1609
71 | 2722624.3519 | 1248705.7277
72 | 2722602.2907 | 1248667.7059
73 | 2722611.9814 | 1248713.4017
74 | 2722608.1087 | 1248717.9022
75 | 2722622.1915 | 1248618.1527
76 | 2722612.4317 | 1248606.4854
77 | 2722611.7985 | 1248603.2536
78 | 2722608.2209 | 1248578.4448
79 | 2722730.2462 | 1248987.9602

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1