## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3395-20_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3395-20_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3395-20_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3395-20_0_1_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3395-20_0_1_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3395-20_0_1_node_83 | 0.4 | n |  | TRUE
6 | bus_LV_3395-20_0_1_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_3395-20_0_1_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3395-20_0_1_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_3395-20_0_1_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_3395-20_0_1_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_3395-20_0_1_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3395-20_0_1_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_3395-20_0_1_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_3395-20_0_1_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3395-20_0_1_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3395-20_0_1_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3395-20_0_1_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3395-20_0_1_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3395-20_0_1_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3395-20_0_1_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3395-20_0_1_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_3395-20_0_1_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3395-20_0_1_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_3395-20_0_1_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_3395-20_0_1_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3395-20_0_1_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3395-20_0_1_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_3395-20_0_1_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_3395-20_0_1_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_3395-20_0_1_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_3395-20_0_1_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3395-20_0_1_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_3395-20_0_1_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_3395-20_0_1_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_3395-20_0_1_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_3395-20_0_1_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_3395-20_0_1_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_3395-20_0_1_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_3395-20_0_1_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_3395-20_0_1_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_3395-20_0_1_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3395-20_0_1_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_3395-20_0_1_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_3395-20_0_1_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_3395-20_0_1_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_3395-20_0_1_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_3395-20_0_1_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_3395-20_0_1_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_3395-20_0_1_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_3395-20_0_1_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_3395-20_0_1_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_3395-20_0_1_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_3395-20_0_1_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_3395-20_0_1_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_3395-20_0_1_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_3395-20_0_1_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_3395-20_0_1_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_3395-20_0_1_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_3395-20_0_1_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_3395-20_0_1_node_73 | 0.4 | n |  | TRUE
61 | bus_MV_154_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3395-20_0_1_load_0 | 0 | 0.0049684 | 0.0012452 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3395-20_0_1_load_4 | 3 | 0.0016463 | 0.00041261 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3395-20_0_1_load_88 | 6 | 0.00016785 | 4.2067e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3395-20_0_1_load_5 | 7 | 0.0014571 | 0.00036518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3395-20_0_1_load_85 | 8 | 0.00075182 | 0.00018842 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3395-20_0_1_load_82 | 9 | 0.00020501 | 5.1381e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3395-20_0_1_load_89 | 10 | 0.00011925 | 2.9886e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3395-20_0_1_load_6 | 11 | 0.0013181 | 0.00033034 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3395-20_0_1_load_77 | 12 | 0.0026188 | 0.00065633 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3395-20_0_1_load_76 | 13 | 0.0023366 | 0.00058561 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3395-20_0_1_load_7 | 14 | 0.00017603 | 4.4117e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3395-20_0_1_load_8 | 15 | 0.00015028 | 3.7664e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3395-20_0_1_load_10 | 17 | 0.00021339 | 5.3479e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3395-20_0_1_load_11 | 18 | 0.001776 | 0.0004451 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3395-20_0_1_load_12 | 19 | 0.0014367 | 0.00036008 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3395-20_0_1_load_13 | 20 | 0.0024707 | 0.00061921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3395-20_0_1_load_14 | 22 | 0.00375 | 0.00093984 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3395-20_0_1_load_74 | 23 | 0.0023126 | 0.00057959 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3395-20_0_1_load_68 | 24 | 0.0015377 | 0.00038537 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3395-20_0_1_load_49 | 27 | 0.0043728 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3395-20_0_1_load_75 | 28 | 0.0025881 | 0.00064863 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3395-20_0_1_load_81 | 29 | 0.0016781 | 0.00042056 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3395-20_0_1_load_43 | 31 | 0.0052669 | 0.00132 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3395-20_0_1_load_42 | 32 | 0.0035669 | 0.00089395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3395-20_0_1_load_79 | 36 | 0.0023561 | 0.00059049 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3395-20_0_1_load_80 | 37 | 0.0035743 | 0.0008958 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3395-20_0_1_load_78 | 38 | 0.0019578 | 0.00049066 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3395-20_0_1_load_57 | 39 | 0.0028156 | 0.00070566 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3395-20_0_1_load_44 | 40 | 0.002876 | 0.00072081 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3395-20_0_1_load_45 | 41 | 0.0022316 | 0.0005593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3395-20_0_1_load_90 | 44 | 0.00021067 | 5.28e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3395-20_0_1_load_104 | 45 | 0.0021118 | 0.00052926 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3395-20_0_1_load_58 | 47 | 0.0030502 | 0.00076445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3395-20_0_1_load_59 | 48 | 0.0035788 | 0.00089694 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3395-20_0_1_load_60 | 49 | 0.0037962 | 0.00095141 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3395-20_0_1_load_61 | 50 | 0.0020011 | 0.00050152 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3395-20_0_1_load_63 | 52 | 0.0033549 | 0.00084082 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3395-20_0_1_load_64 | 53 | 0.0011163 | 0.00027978 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3395-20_0_1_load_72 | 54 | 0.0018668 | 0.00046787 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3395-20_0_1_load_67 | 55 | 0.0023782 | 0.00059604 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3395-20_0_1_load_66 | 56 | 0.0016516 | 0.00041393 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3395-20_0_1_load_65 | 57 | 0.0010703 | 0.00026823 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3395-20_0_1_load_70 | 58 | 0.0014214 | 0.00035624 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3395-20_0_1_load_102 | 59 | 0.00093206 | 0.0002336 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3395-20_0_1_load_73 | 60 | 0.0019487 | 0.0004884 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3395-20_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3395-20_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.055452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3395-20_0_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.080871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3395-20_0_1_line_3 | NAYY 4x150 SE | 3 | 7 | 0.0017765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3395-20_0_1_line_4 | NAYY 4x150 SE | 4 | 5 | 0.22514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3395-20_0_1_line_5 | NAYY 4x150 SE | 4 | 6 | 0.13014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3395-20_0_1_line_6 | NAYY 4x150 SE | 5 | 8 | 0.013543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3395-20_0_1_line_7 | NAYY 4x150 SE | 5 | 9 | 0.0086604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3395-20_0_1_line_8 | NAYY 4x150 SE | 6 | 10 | 0.032025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3395-20_0_1_line_9 | NAYY 4x150 SE | 7 | 11 | 0.022719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3395-20_0_1_line_10 | NAYY 4x150 SE | 10 | 46 | 0.073982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3395-20_0_1_line_11 | NAYY 4x150 SE | 11 | 12 | 0.025256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3395-20_0_1_line_12 | NAYY 4x150 SE | 12 | 13 | 0.03006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3395-20_0_1_line_13 | NAYY 4x150 SE | 13 | 38 | 0.024045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3395-20_0_1_line_14 | NAYY 4x150 SE | 14 | 15 | 0.010154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3395-20_0_1_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0088008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3395-20_0_1_line_16 | NAYY 4x150 SE | 15 | 17 | 0.018865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3395-20_0_1_line_17 | NAYY 4x150 SE | 16 | 18 | 0.019552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3395-20_0_1_line_18 | NAYY 4x150 SE | 16 | 19 | 0.095032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3395-20_0_1_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0029678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3395-20_0_1_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0098334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3395-20_0_1_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3395-20_0_1_line_22 | NAYY 4x150 SE | 21 | 23 | 0.015481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3395-20_0_1_line_23 | NAYY 4x150 SE | 21 | 24 | 0.035492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3395-20_0_1_line_24 | NAYY 4x150 SE | 23 | 60 | 0.021303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3395-20_0_1_line_25 | NAYY 4x150 SE | 24 | 58 | 0.011686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3395-20_0_1_line_26 | NAYY 4x150 SE | 24 | 56 | 0.01306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3395-20_0_1_line_27 | NAYY 4x150 SE | 25 | 26 | 0.054701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3395-20_0_1_line_28 | NAYY 4x150 SE | 25 | 27 | 0.029454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3395-20_0_1_line_29 | NAYY 4x150 SE | 26 | 28 | 0.025345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3395-20_0_1_line_30 | NAYY 4x150 SE | 26 | 29 | 0.04495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3395-20_0_1_line_31 | NAYY 4x150 SE | 27 | 33 | 0.017038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3395-20_0_1_line_32 | NAYY 4x150 SE | 28 | 34 | 0.0087754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3395-20_0_1_line_33 | NAYY 4x150 SE | 29 | 37 | 0.0081355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3395-20_0_1_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0024206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3395-20_0_1_line_35 | NAYY 4x150 SE | 30 | 32 | 0.011592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3395-20_0_1_line_36 | NAYY 4x150 SE | 31 | 35 | 0.025674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3395-20_0_1_line_37 | NAYY 4x150 SE | 33 | 35 | 0.005141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3395-20_0_1_line_38 | NAYY 4x150 SE | 33 | 40 | 0.014133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3395-20_0_1_line_39 | NAYY 4x150 SE | 34 | 54 | 0.021417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3395-20_0_1_line_40 | NAYY 4x150 SE | 34 | 51 | 0.014203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3395-20_0_1_line_41 | NAYY 4x150 SE | 35 | 39 | 0.019709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3395-20_0_1_line_42 | NAYY 4x150 SE | 36 | 37 | 0.014757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3395-20_0_1_line_43 | NAYY 4x150 SE | 37 | 38 | 0.042309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3395-20_0_1_line_44 | NAYY 4x150 SE | 39 | 47 | 0.0092642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3395-20_0_1_line_45 | NAYY 4x150 SE | 40 | 41 | 0.0215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3395-20_0_1_line_46 | NAYY 4x150 SE | 41 | 42 | 0.35741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3395-20_0_1_line_47 | NAYY 4x150 SE | 42 | 43 | 0.078805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3395-20_0_1_line_48 | NAYY 4x150 SE | 42 | 44 | 0.050284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3395-20_0_1_line_49 | NAYY 4x150 SE | 43 | 45 | 0.006675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3395-20_0_1_line_50 | NAYY 4x150 SE | 44 | 46 | 0.010133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3395-20_0_1_line_51 | NAYY 4x150 SE | 48 | 49 | 0.039653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3395-20_0_1_line_52 | NAYY 4x150 SE | 48 | 50 | 0.024761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3395-20_0_1_line_53 | NAYY 4x150 SE | 49 | 51 | 0.012609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3395-20_0_1_line_54 | NAYY 4x150 SE | 50 | 52 | 0.001988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3395-20_0_1_line_55 | NAYY 4x150 SE | 52 | 53 | 0.025518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3395-20_0_1_line_56 | NAYY 4x150 SE | 53 | 57 | 0.020796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3395-20_0_1_line_57 | NAYY 4x150 SE | 54 | 60 | 0.023131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3395-20_0_1_line_58 | NAYY 4x150 SE | 55 | 56 | 0.021796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3395-20_0_1_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0089643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3395-20_0_1_trafo_67 | 0.25 MVA 20/0.4 kV | 61 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2722900.1877 | 1247014.6643 | 2722914.3423 | 1247022.1974 | 2722919.4935 | 1247027.7533 | 2722920.796 | 1247033.4407 | 2722919.2505 | 1247039.4693
1 | 2722877.8066 | 1246975.3448 | 2722873.4442 | 1246980.937 | 2722871.9479 | 1246984.9538 | 2722872.206 | 1246991.8206 | 2722874.9158 | 1246998.1488 | 2722878.8803 | 1247002.2677 | 2722887.879 | 1247008.1147 | 2722900.1877 | 1247014.6643
2 | 2722877.8066 | 1246975.3448 | 2722881.9188 | 1246978.8997 | 2722898.4548 | 1246988.5617 | 2722914.7123 | 1246994.8929 | 2722933.2274 | 1246997.2899 | 2722953.3638 | 1246996.1827
3 | 2722953.3638 | 1246996.1827 | 2722955.1376 | 1246996.0851
4 | 2722381.2556 | 1246683.674 | 2722387.0052 | 1246686.2727 | 2722393.0859 | 1246692.5924 | 2722399.3354 | 1246700.984 | 2722405.1088 | 1246712.6687 | 2722415.3761 | 1246737.257 | 2722422.5236 | 1246752.2839 | 2722427.9594 | 1246759.8248 | 2722434.0944 | 1246763.8771 | 2722441.9175 | 1246766.3184 | 2722471.8458 | 1246771.8856 | 2722481.9542 | 1246774.1629 | 2722488.7223 | 1246777.1942 | 2722491.9356 | 1246782.2204 | 2722492.838 | 1246788.6444 | 2722491.4201 | 1246797.2892 | 2722484.6715 | 1246813.052 | 2722481.986 | 1246822.7048 | 2722481.7386 | 1246834.6765 | 2722483.4214 | 1246844.653
5 | 2722483.4214 | 1246844.653 | 2722492.2156 | 1246840.3199 | 2722499.9285 | 1246838.9447 | 2722509.0726 | 1246841.0798 | 2722522.5383 | 1246848.3531 | 2722533.06 | 1246852.1959 | 2722541.9527 | 1246854.426 | 2722558.5209 | 1246857.0929 | 2722576.208 | 1246855.7128 | 2722589.4334 | 1246852.6836 | 2722597.9208 | 1246847.1099 | 2722605.3382 | 1246841.671
6 | 2722381.2556 | 1246683.674 | 2722380.025 | 1246697.1601
7 | 2722381.2556 | 1246683.674 | 2722380.4087 | 1246675.0552
8 | 2722605.3382 | 1246841.671 | 2722608.1866 | 1246839.5824 | 2722616.4466 | 1246836.9732 | 2722625.3242 | 1246832.6308 | 2722633.0343 | 1246826.3453
9 | 2722955.1376 | 1246996.0851 | 2722957.1617 | 1246995.9738 | 2722977.7792 | 1246994.2182
10 | 2722680.074 | 1246771.4001 | 2722672.7965 | 1246787.1407 | 2722665.4393 | 1246798.6983 | 2722656.8878 | 1246808.4519 | 2722645.5462 | 1246818.3035 | 2722638.0288 | 1246822.2737 | 2722633.0343 | 1246826.3453
11 | 2723002.9446 | 1246992.0753 | 2722977.7792 | 1246994.2182
12 | 2723032.8958 | 1246989.5249 | 2723002.9446 | 1246992.0753
13 | 2723032.8958 | 1246989.5249 | 2723041.4761 | 1246988.7943 | 2723056.9099 | 1246988.8237
14 | 2722885.6016 | 1246943.4964 | 2722877.214 | 1246937.774
15 | 2722892.8717 | 1246948.4564 | 2722885.6016 | 1246943.4964
16 | 2722862.5241 | 1246925.9974 | 2722870.967 | 1246933.512 | 2722877.214 | 1246937.774
17 | 2722892.8717 | 1246948.4564 | 2722898.1416 | 1246953.392 | 2722906.5475 | 1246957.9478 | 2722909.1201 | 1246958.9775
18 | 2722892.8717 | 1246948.4564 | 2722899.2155 | 1246931.8515 | 2722903.146 | 1246924.1375 | 2722906.8709 | 1246921.9573 | 2722911.8453 | 1246921.4711 | 2722927.3162 | 1246924.2052 | 2722959.0225 | 1246928.5106 | 2722970.5754 | 1246929.2508
19 | 2722911.8754 | 1246960.0803 | 2722909.1201 | 1246958.9775
20 | 2722980.4044 | 1246928.9543 | 2722970.5754 | 1246929.2508
21 | 2722930.7223 | 1246967.6238 | 2722911.8754 | 1246960.0803
22 | 2722980.4044 | 1246928.9543 | 2722995.7427 | 1246926.8609
23 | 2722978.6843 | 1246893.5108 | 2722979.4475 | 1246913.5325 | 2722979.8655 | 1246921.4257 | 2722980.4044 | 1246928.9543
24 | 2723016.5984 | 1246922.5706 | 2722999.4996 | 1246926.3481 | 2722995.7427 | 1246926.8609
25 | 2722978.6843 | 1246893.5108 | 2722966.9978 | 1246893.5137
26 | 2722978.6843 | 1246893.5108 | 2722985.8702 | 1246893.5042 | 2722991.7357 | 1246893.1835
27 | 2723094.2121 | 1246912.9908 | 2723093.3739 | 1246911.1496 | 2723091.5535 | 1246907.1195 | 2723082.3578 | 1246900.9345 | 2723075.3572 | 1246898.932 | 2723070.4174 | 1246897.3837 | 2723068.6378 | 1246893.2099 | 2723068.5676 | 1246886.4027 | 2723070.7683 | 1246873.2149
28 | 2723070.7683 | 1246873.2149 | 2723073.3061 | 1246857.9879 | 2723072.8068 | 1246852.1949 | 2723071.5813 | 1246844.0848
29 | 2723094.2121 | 1246912.9908 | 2723087.2203 | 1246912.7455 | 2723079.5421 | 1246912.8084 | 2723068.8725 | 1246912.8919
30 | 2723094.2121 | 1246912.9908 | 2723094.1587 | 1246957.9413
31 | 2723067.4306 | 1246827.6402 | 2723070.3356 | 1246835.8408 | 2723071.5813 | 1246844.0848
32 | 2723060.0973 | 1246912.9606 | 2723068.8725 | 1246912.8919
33 | 2723092.4707 | 1246965.8997 | 2723094.1587 | 1246957.9413
34 | 2723100.4555 | 1246826.6915 | 2723098.0525 | 1246826.4005
35 | 2723100.4555 | 1246826.6915 | 2723104.9609 | 1246816.0111
36 | 2723072.5314 | 1246826.8899 | 2723082.7103 | 1246825.3998 | 2723092.8053 | 1246825.7652 | 2723098.0525 | 1246826.4005
37 | 2723067.4306 | 1246827.6402 | 2723072.5314 | 1246826.8899
38 | 2723067.4306 | 1246827.6402 | 2723053.4588 | 1246829.7716
39 | 2723060.0973 | 1246912.9606 | 2723039.1846 | 1246917.5807
40 | 2723060.0973 | 1246912.9606 | 2723060.0409 | 1246912.4034 | 2723059.1238 | 1246903.4434 | 2723059.0353 | 1246902.6075 | 2723058.9554 | 1246898.8137
41 | 2723072.5314 | 1246826.8899 | 2723071.1284 | 1246819.4989 | 2723077.9574 | 1246809.4061
42 | 2723102.8388 | 1246974.8299 | 2723098.2684 | 1246969.79 | 2723093.1278 | 1246968.46 | 2723092.4707 | 1246965.8997 | 2723092.4707 | 1246965.8997
43 | 2723056.9099 | 1246988.8237 | 2723092.4707 | 1246965.8997
44 | 2723083.149 | 1246801.7333 | 2723077.9574 | 1246809.4061
45 | 2723032.9055 | 1246835.9526 | 2723050.2994 | 1246830.2536 | 2723053.4588 | 1246829.7716
46 | 2722736.0057 | 1246777.5626 | 2722742.2065 | 1246782.8065 | 2722750.9814 | 1246790.7282 | 2722755.3786 | 1246797.6807 | 2722758.1247 | 1246806.6451 | 2722760.9039 | 1246814.0089 | 2722763.635 | 1246816.4008 | 2722766.8631 | 1246816.3231 | 2722771.8858 | 1246814.2364 | 2722777.7711 | 1246813.1907 | 2722783.5852 | 1246815.2128 | 2722789.6335 | 1246820.1533 | 2722809.7716 | 1246845.2583 | 2722818.2577 | 1246852.885 | 2722825.6185 | 1246858.2976 | 2722834.0521 | 1246861.5306 | 2722852.437 | 1246865.1255 | 2722871.1103 | 1246869.0268 | 2722885.6797 | 1246872.9765 | 2722896.3125 | 1246875.8215 | 2722905.3773 | 1246877.0326 | 2722911.3938 | 1246876.5791 | 2722918.6386 | 1246873.371 | 2722924.7794 | 1246866.9261 | 2722940.1472 | 1246853.5111 | 2722951.1915 | 1246843.8096 | 2722959.3884 | 1246836.9626 | 2722966.3387 | 1246833.7484 | 2722972.9384 | 1246833.5962 | 2722988.5257 | 1246838.0121 | 2723001.7915 | 1246841.0565 | 2723013.4968 | 1246841.7443 | 2723026.8853 | 1246839.2421 | 2723032.1698 | 1246836.1936 | 2723032.9055 | 1246835.9526
47 | 2722710.3899 | 1246723.9426 | 2722731.6084 | 1246729.7532 | 2722743.1157 | 1246734.5399 | 2722744.8231 | 1246742.2151 | 2722743.1974 | 1246750.6553 | 2722739.3281 | 1246767.1003 | 2722737.7316 | 1246774.4957 | 2722736.0057 | 1246777.5626
48 | 2722736.0057 | 1246777.5626 | 2722731.4428 | 1246777.8795 | 2722724.4548 | 1246775.2549 | 2722711.7525 | 1246767.9748 | 2722706.3247 | 1246769.9197 | 2722701.4807 | 1246773.9562 | 2722689.9611 | 1246773.3907
49 | 2722710.3899 | 1246723.9426 | 2722711.4246 | 1246730.5362
50 | 2722680.074 | 1246771.4001 | 2722686.9875 | 1246773.2447 | 2722689.9611 | 1246773.3907
51 | 2723040.1249 | 1246865.0353 | 2723046.6743 | 1246862.9173 | 2723053.1201 | 1246862.8954 | 2723057.4733 | 1246865.032 | 2723059.0001 | 1246869.0115 | 2723059.2775 | 1246876.7572 | 2723058.8597 | 1246886.2099
52 | 2723040.1249 | 1246865.0353 | 2723029.7103 | 1246868.4033 | 2723016.4457 | 1246872.2203 | 2723016.4331 | 1246872.2212
53 | 2723058.9554 | 1246898.8137 | 2723058.7359 | 1246889.012 | 2723058.8597 | 1246886.2099
54 | 2723014.4503 | 1246872.3657 | 2723016.4331 | 1246872.2212
55 | 2723014.4503 | 1246872.3657 | 2723003.9744 | 1246873.129 | 2722989.0501 | 1246871.4885
56 | 2722968.3305 | 1246869.7611 | 2722981.026 | 1246870.6065 | 2722989.0501 | 1246871.4885
57 | 2723039.1846 | 1246917.5807 | 2723016.5984 | 1246922.5706
58 | 2722991.7357 | 1246893.1835 | 2723005.4778 | 1246892.4322 | 2723013.5111 | 1246892.4339
59 | 2722958.0335 | 1246893.5159 | 2722966.9978 | 1246893.5137

## bus_geodata
| x | y | coords
0 | 2722919.2505 | 1247039.4693
1 | 2722900.1877 | 1247014.6643
2 | 2722877.8066 | 1246975.3448
3 | 2722953.3638 | 1246996.1827
4 | 2722483.4214 | 1246844.653
5 | 2722381.2556 | 1246683.674
6 | 2722605.3382 | 1246841.671
7 | 2722955.1376 | 1246996.0851
8 | 2722380.025 | 1246697.1601
9 | 2722380.4087 | 1246675.0552
10 | 2722633.0343 | 1246826.3453
11 | 2722977.7792 | 1246994.2182
12 | 2723002.9446 | 1246992.0753
13 | 2723032.8958 | 1246989.5249
14 | 2722885.6016 | 1246943.4964
15 | 2722877.214 | 1246937.774
16 | 2722892.8717 | 1246948.4564
17 | 2722862.5241 | 1246925.9974
18 | 2722909.1201 | 1246958.9775
19 | 2722970.5754 | 1246929.2508
20 | 2722911.8754 | 1246960.0803
21 | 2722980.4044 | 1246928.9543
22 | 2722930.7223 | 1246967.6238
23 | 2722995.7427 | 1246926.8609
24 | 2722978.6843 | 1246893.5108
25 | 2723070.7683 | 1246873.2149
26 | 2723094.2121 | 1246912.9908
27 | 2723071.5813 | 1246844.0848
28 | 2723068.8725 | 1246912.8919
29 | 2723094.1587 | 1246957.9413
30 | 2723100.4555 | 1246826.6915
31 | 2723098.0525 | 1246826.4005
32 | 2723104.9609 | 1246816.0111
33 | 2723067.4306 | 1246827.6402
34 | 2723060.0973 | 1246912.9606
35 | 2723072.5314 | 1246826.8899
36 | 2723102.8388 | 1246974.8299
37 | 2723092.4707 | 1246965.8997
38 | 2723056.9099 | 1246988.8237
39 | 2723077.9574 | 1246809.4061
40 | 2723053.4588 | 1246829.7716
41 | 2723032.9055 | 1246835.9526
42 | 2722736.0057 | 1246777.5626
43 | 2722710.3899 | 1246723.9426
44 | 2722689.9611 | 1246773.3907
45 | 2722711.4246 | 1246730.5362
46 | 2722680.074 | 1246771.4001
47 | 2723083.149 | 1246801.7333
48 | 2723040.1249 | 1246865.0353
49 | 2723058.8597 | 1246886.2099
50 | 2723016.4331 | 1246872.2212
51 | 2723058.9554 | 1246898.8137
52 | 2723014.4503 | 1246872.3657
53 | 2722989.0501 | 1246871.4885
54 | 2723039.1846 | 1246917.5807
55 | 2723013.5111 | 1246892.4339
56 | 2722991.7357 | 1246893.1835
57 | 2722968.3305 | 1246869.7611
58 | 2722966.9978 | 1246893.5137
59 | 2722958.0335 | 1246893.5159
60 | 2723016.5984 | 1246922.5706
61 | 2722978.6843 | 1246893.5108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1