## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3395-4_1_3_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_3395-4_1_3_node_11 | 0.4 | n |  | TRUE
2 | bus_LV_3395-4_1_3_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_3395-4_1_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_3395-4_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_3395-4_1_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_3395-4_1_3_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_3395-4_1_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_3395-4_1_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_3395-4_1_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_3395-4_1_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_3395-4_1_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_3395-4_1_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_3395-4_1_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_3395-4_1_3_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_3395-4_1_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_3395-4_1_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_3395-4_1_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_3395-4_1_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_3395-4_1_3_node_167 | 0.4 | n |  | TRUE
20 | bus_LV_3395-4_1_3_node_179 | 0.4 | n |  | TRUE
21 | bus_LV_3395-4_1_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_3395-4_1_3_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_3395-4_1_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_3395-4_1_3_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_3395-4_1_3_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_3395-4_1_3_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_3395-4_1_3_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_3395-4_1_3_node_177 | 0.4 | n |  | TRUE
29 | bus_LV_3395-4_1_3_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_3395-4_1_3_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_3395-4_1_3_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_3395-4_1_3_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_3395-4_1_3_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_3395-4_1_3_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_3395-4_1_3_node_102 | 0.4 | n |  | TRUE
36 | bus_LV_3395-4_1_3_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_3395-4_1_3_node_184 | 0.4 | n |  | TRUE
38 | bus_LV_3395-4_1_3_node_112 | 0.4 | n |  | TRUE
39 | bus_LV_3395-4_1_3_node_113 | 0.4 | n |  | TRUE
40 | bus_LV_3395-4_1_3_node_114 | 0.4 | n |  | TRUE
41 | bus_LV_3395-4_1_3_node_115 | 0.4 | n |  | TRUE
42 | bus_LV_3395-4_1_3_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_3395-4_1_3_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_3395-4_1_3_node_119 | 0.4 | n |  | TRUE
45 | bus_LV_3395-4_1_3_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_3395-4_1_3_node_130 | 0.4 | n |  | TRUE
47 | bus_LV_3395-4_1_3_node_153 | 0.4 | n |  | TRUE
48 | bus_LV_3395-4_1_3_node_121 | 0.4 | n |  | TRUE
49 | bus_LV_3395-4_1_3_node_122 | 0.4 | n |  | TRUE
50 | bus_LV_3395-4_1_3_node_123 | 0.4 | n |  | TRUE
51 | bus_LV_3395-4_1_3_node_124 | 0.4 | n |  | TRUE
52 | bus_LV_3395-4_1_3_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_3395-4_1_3_node_126 | 0.4 | n |  | TRUE
54 | bus_LV_3395-4_1_3_node_169 | 0.4 | n |  | TRUE
55 | bus_LV_3395-4_1_3_node_127 | 0.4 | n |  | TRUE
56 | bus_LV_3395-4_1_3_node_128 | 0.4 | n |  | TRUE
57 | bus_LV_3395-4_1_3_node_131 | 0.4 | n |  | TRUE
58 | bus_LV_3395-4_1_3_node_132 | 0.4 | n |  | TRUE
59 | bus_LV_3395-4_1_3_node_135 | 0.4 | n |  | TRUE
60 | bus_LV_3395-4_1_3_node_164 | 0.4 | n |  | TRUE
61 | bus_LV_3395-4_1_3_node_180 | 0.4 | n |  | TRUE
62 | bus_LV_3395-4_1_3_node_154 | 0.4 | n |  | TRUE
63 | bus_LV_3395-4_1_3_node_155 | 0.4 | n |  | TRUE
64 | bus_LV_3395-4_1_3_node_156 | 0.4 | n |  | TRUE
65 | bus_LV_3395-4_1_3_node_157 | 0.4 | n |  | TRUE
66 | bus_LV_3395-4_1_3_node_158 | 0.4 | n |  | TRUE
67 | bus_LV_3395-4_1_3_node_159 | 0.4 | n |  | TRUE
68 | bus_LV_3395-4_1_3_node_166 | 0.4 | n |  | TRUE
69 | bus_LV_3395-4_1_3_node_165 | 0.4 | n |  | TRUE
70 | bus_LV_3395-4_1_3_node_178 | 0.4 | n |  | TRUE
71 | bus_LV_3395-4_1_3_node_160 | 0.4 | n |  | TRUE
72 | bus_LV_3395-4_1_3_node_161 | 0.4 | n |  | TRUE
73 | bus_LV_3395-4_1_3_node_162 | 0.4 | n |  | TRUE
74 | bus_LV_3395-4_1_3_node_163 | 0.4 | n |  | TRUE
75 | bus_LV_3395-4_1_3_node_168 | 0.4 | n |  | TRUE
76 | bus_LV_3395-4_1_3_node_170 | 0.4 | n |  | TRUE
77 | bus_LV_3395-4_1_3_node_171 | 0.4 | n |  | TRUE
78 | bus_LV_3395-4_1_3_node_172 | 0.4 | n |  | TRUE
79 | bus_LV_3395-4_1_3_node_173 | 0.4 | n |  | TRUE
80 | bus_LV_3395-4_1_3_node_174 | 0.4 | n |  | TRUE
81 | bus_LV_3395-4_1_3_node_175 | 0.4 | n |  | TRUE
82 | bus_LV_3395-4_1_3_node_176 | 0.4 | n |  | TRUE
83 | bus_LV_3395-4_1_3_node_181 | 0.4 | n |  | TRUE
84 | bus_MV_154_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3395-4_1_3_load_11 | 1 | 0.00016477 | 4.1296e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3395-4_1_3_load_9 | 2 | 0.00051484 | 0.00012903 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3395-4_1_3_load_12 | 4 | 0.00034983 | 8.7675e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3395-4_1_3_load_42 | 6 | 0.00022248 | 5.5759e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3395-4_1_3_load_29 | 7 | 0.00026914 | 6.7454e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3395-4_1_3_load_21 | 8 | 8.1191e-05 | 2.0348e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3395-4_1_3_load_23 | 10 | 0.00032468 | 8.1372e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3395-4_1_3_load_25 | 12 | 0.00080393 | 0.00020148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3395-4_1_3_load_34 | 13 | 0.00021944 | 5.4998e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3395-4_1_3_load_43 | 14 | 0.0012664 | 0.0003174 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3395-4_1_3_load_33 | 15 | 0.00021469 | 5.3805e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3395-4_1_3_load_36 | 17 | 0.00082518 | 0.00020681 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3395-4_1_3_load_179 | 20 | 0.0016836 | 0.00042194 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3395-4_1_3_load_45 | 21 | 0.00023068 | 5.7814e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3395-4_1_3_load_46 | 23 | 0.00036284 | 9.0936e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3395-4_1_3_load_100 | 24 | 0.00072642 | 0.00018206 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3395-4_1_3_load_89 | 25 | 0.00042748 | 0.00010714 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3395-4_1_3_load_177 | 28 | 0.0010524 | 0.00026374 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3395-4_1_3_load_103 | 29 | 0.001296 | 0.0003248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3395-4_1_3_load_97 | 31 | 0.00075616 | 0.00018951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3395-4_1_3_load_99 | 32 | 0.00027588 | 6.9142e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3395-4_1_3_load_98 | 33 | 0.00044061 | 0.00011043 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3395-4_1_3_load_101 | 34 | 0.00038823 | 9.7301e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3395-4_1_3_load_184 | 37 | 0.00027202 | 6.8175e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3395-4_1_3_load_112 | 38 | 0.0070335 | 0.0017628 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3395-4_1_3_load_113 | 39 | 0.0034209 | 0.00085735 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3395-4_1_3_load_114 | 40 | 0.0076357 | 0.0019137 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3395-4_1_3_load_117 | 43 | 0.0036221 | 0.00090779 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3395-4_1_3_load_119 | 44 | 0.0027086 | 0.00067884 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3395-4_1_3_load_120 | 45 | 0.0072313 | 0.0018123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3395-4_1_3_load_153 | 47 | 0.0037082 | 0.00092937 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3395-4_1_3_load_121 | 48 | 0.0029648 | 0.00074304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3395-4_1_3_load_124 | 51 | 0.0081161 | 0.0020341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3395-4_1_3_load_125 | 52 | 0.0030579 | 0.00076638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3395-4_1_3_load_126 | 53 | 0.0029507 | 0.00073952 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3395-4_1_3_load_169 | 54 | 0.0034184 | 0.00085672 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3395-4_1_3_load_131 | 57 | 0.001748 | 0.00043809 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3395-4_1_3_load_132 | 58 | 0.0034163 | 0.00085621 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3395-4_1_3_load_164 | 60 | 0.0033058 | 0.00082852 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3395-4_1_3_load_180 | 61 | 0.0039273 | 0.00098426 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3395-4_1_3_load_154 | 62 | 0.0046121 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3395-4_1_3_load_155 | 63 | 0.0025374 | 0.00063592 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3395-4_1_3_load_157 | 65 | 0.0022501 | 0.00056393 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3395-4_1_3_load_158 | 66 | 0.0029899 | 0.00074934 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3395-4_1_3_load_159 | 67 | 0.0012887 | 0.00032299 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3395-4_1_3_load_166 | 68 | 0.0039236 | 0.00098334 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3395-4_1_3_load_165 | 69 | 0.0018821 | 0.00047171 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3395-4_1_3_load_178 | 70 | 0.0020308 | 0.00050896 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3395-4_1_3_load_160 | 71 | 0.0047055 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3395-4_1_3_load_161 | 72 | 0.0042542 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3395-4_1_3_load_162 | 73 | 0.0060356 | 0.0015127 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3395-4_1_3_load_163 | 74 | 0.0019431 | 0.000487 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3395-4_1_3_load_168 | 75 | 0.0028082 | 0.00070379 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3395-4_1_3_load_170 | 76 | 0.01165 | 0.0029198 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3395-4_1_3_load_171 | 77 | 0.0024171 | 0.00060578 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3395-4_1_3_load_174 | 80 | 0.0020374 | 0.00051062 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3395-4_1_3_load_175 | 81 | 0.0025338 | 0.00063504 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3395-4_1_3_load_176 | 82 | 0.0018821 | 0.00047169 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3395-4_1_3_load_181 | 83 | 0.003823 | 0.00095813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3395-4_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.064621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3395-4_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.058139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3395-4_1_3_line_2 | NAYY 4x150 SE | 1 | 5 | 0.023853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3395-4_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.12743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3395-4_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.055141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3395-4_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3395-4_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0040707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3395-4_1_3_line_7 | NAYY 4x150 SE | 6 | 17 | 0.04163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3395-4_1_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.021053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3395-4_1_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.002656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3395-4_1_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.060854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3395-4_1_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3395-4_1_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.11642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3395-4_1_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.060309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3395-4_1_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.026882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3395-4_1_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.11519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3395-4_1_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.14838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3395-4_1_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.37945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3395-4_1_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.048194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3395-4_1_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.050273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3395-4_1_3_line_20 | NAYY 4x150 SE | 19 | 75 | 0.013344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3395-4_1_3_line_21 | NAYY 4x150 SE | 19 | 51 | 0.044409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3395-4_1_3_line_22 | NAYY 4x150 SE | 20 | 80 | 0.022561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3395-4_1_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.024474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3395-4_1_3_line_24 | NAYY 4x150 SE | 22 | 30 | 0.028521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3395-4_1_3_line_25 | NAYY 4x150 SE | 22 | 31 | 0.0013536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3395-4_1_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0027896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3395-4_1_3_line_27 | NAYY 4x150 SE | 24 | 32 | 0.21296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3395-4_1_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.077632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3395-4_1_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.18192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3395-4_1_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.24189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3395-4_1_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.36398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3395-4_1_3_line_32 | NAYY 4x150 SE | 28 | 81 | 0.0041016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3395-4_1_3_line_33 | NAYY 4x150 SE | 29 | 35 | 0.049305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3395-4_1_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.14946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3395-4_1_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.13574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3395-4_1_3_line_36 | NAYY 4x150 SE | 31 | 34 | 0.041632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3395-4_1_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.11597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3395-4_1_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.17142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3395-4_1_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.099677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3395-4_1_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0018772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3395-4_1_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.021852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3395-4_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.039693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3395-4_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3395-4_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3395-4_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.030221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3395-4_1_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.006396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3395-4_1_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.023009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3395-4_1_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.019694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3395-4_1_3_line_49 | NAYY 4x150 SE | 46 | 57 | 0.0039605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3395-4_1_3_line_50 | NAYY 4x150 SE | 46 | 53 | 0.033988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3395-4_1_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.052639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3395-4_1_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.014494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3395-4_1_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.034793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3395-4_1_3_line_54 | NAYY 4x150 SE | 49 | 52 | 0.013018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3395-4_1_3_line_55 | NAYY 4x150 SE | 50 | 53 | 0.0079953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3395-4_1_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.0099391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3395-4_1_3_line_57 | NAYY 4x150 SE | 54 | 76 | 0.017351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3395-4_1_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.007319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3395-4_1_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.043594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3395-4_1_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.070043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3395-4_1_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0063539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3395-4_1_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.0084905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3395-4_1_3_line_63 | NAYY 4x150 SE | 60 | 73 | 0.0075422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3395-4_1_3_line_64 | NAYY 4x150 SE | 61 | 83 | 0.013258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3395-4_1_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.022748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3395-4_1_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.029034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3395-4_1_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0017709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3395-4_1_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.0022458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3395-4_1_3_line_69 | NAYY 4x150 SE | 64 | 67 | 0.024793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3395-4_1_3_line_70 | NAYY 4x150 SE | 65 | 68 | 0.030195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3395-4_1_3_line_71 | NAYY 4x150 SE | 66 | 69 | 0.018713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3395-4_1_3_line_72 | NAYY 4x150 SE | 67 | 70 | 0.0052592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3395-4_1_3_line_73 | NAYY 4x150 SE | 68 | 75 | 0.024124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3395-4_1_3_line_74 | NAYY 4x150 SE | 69 | 74 | 5.6024e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3395-4_1_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.0075761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3395-4_1_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.018426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3395-4_1_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.013549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3395-4_1_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.023174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3395-4_1_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.011112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3395-4_1_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.014375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3395-4_1_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.049833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3395-4_1_3_line_82 | NAYY 4x150 SE | 79 | 82 | 0.012701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3395-4_1_3_trafo_154 | 0.25 MVA 20/0.4 kV | 84 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2725545.6557 | 1248648.3098 | 2725582.0406 | 1248594.9055
1 | 2725545.6557 | 1248648.3098 | 2725487.5763 | 1248650.9325
2 | 2725588.5994 | 1248572.4427 | 2725585.808 | 1248589.376 | 2725582.0406 | 1248594.9055
3 | 2725371.7052 | 1248691.7663 | 2725377.1891 | 1248681.0731 | 2725386.4334 | 1248675.4415 | 2725448.8643 | 1248664.8419 | 2725484.8108 | 1248651.0574 | 2725487.5763 | 1248650.9325
4 | 2725371.7052 | 1248691.7663 | 2725371.308 | 1248700.5433 | 2725374.9649 | 1248710.14 | 2725396.6437 | 1248738.9868
5 | 2725410.0389 | 1248756.8111 | 2725396.6437 | 1248738.9868
6 | 2725588.5994 | 1248572.4427 | 2725589.4738 | 1248568.467
7 | 2725410.0389 | 1248756.8111 | 2725410.0389 | 1248756.8111 | 2725419.3705 | 1248775.5914 | 2725435.6442 | 1248788.3174
8 | 2725648.0508 | 1248958.7698 | 2725642.2556 | 1248979.009
9 | 2725641.5245 | 1248981.5623 | 2725642.2556 | 1248979.009
10 | 2725660.6216 | 1248899.2292 | 2725648.0508 | 1248958.7698
11 | 2725648.0508 | 1248958.7698 | 2725664.5014 | 1248961.9026
12 | 2725660.6216 | 1248899.2292 | 2725640.1297 | 1248893.4788 | 2725621.0936 | 1248890.6729 | 2725585.102 | 1248889.8875 | 2725557.6942 | 1248883.2679 | 2725546.8879 | 1248878.7828
13 | 2725668.7201 | 1249007.4167 | 2725681.466 | 1248968.8202 | 2725678.9065 | 1248964.4955 | 2725664.9403 | 1248961.9861 | 2725664.5014 | 1248961.9026
14 | 2725522.0598 | 1248868.4781 | 2725546.8879 | 1248878.7828
15 | 2725414.0667 | 1248891.9464 | 2725427.9426 | 1248886.9578 | 2725454.612 | 1248871.3865 | 2725483.1434 | 1248863.4835 | 2725509.4953 | 1248863.2633 | 2725522.0598 | 1248868.4781
16 | 2725414.0667 | 1248891.9464 | 2725452.9979 | 1248852.3692 | 2725472.1889 | 1248826.1193 | 2725470.2197 | 1248804.2587 | 2725442.8888 | 1248793.9826 | 2725435.6442 | 1248788.3174
17 | 2725085.4493 | 1249024.1511 | 2725124.3883 | 1249029.8222 | 2725139.0023 | 1249045.6443 | 2725236.1665 | 1249013.2793 | 2725294.0981 | 1248965.9514 | 2725316.8844 | 1248947.1612 | 2725328.6528 | 1248941.4495 | 2725414.0667 | 1248891.9464
18 | 2725038.0081 | 1249033.3582 | 2725057.545 | 1249029.2446 | 2725085.4493 | 1249024.1511
19 | 2725085.4493 | 1249024.1511 | 2725050.3776 | 1248988.1321
20 | 2725038.0081 | 1249033.3582 | 2725026.133 | 1249027.2727
21 | 2725038.0081 | 1249033.3582 | 2725026.3318 | 1249047.969 | 2725008.3119 | 1249066.3013
22 | 2725050.3776 | 1248988.1321 | 2725034.6388 | 1248971.9682
23 | 2725318.1018 | 1248245.826 | 2725329.7871 | 1248240.5351 | 2725341.1863 | 1248238.1487
24 | 2725302.3174 | 1248223.1173 | 2725304.9933 | 1248225.8985 | 2725309.0305 | 1248229.6759 | 2725314.2739 | 1248234.2907 | 2725315.7987 | 1248240.0613 | 2725318.1018 | 1248245.826
25 | 2725318.1018 | 1248245.826 | 2725316.8687 | 1248246.3845
26 | 2725520.7277 | 1248113.4905 | 2725519.6386 | 1248110.9223
27 | 2725307.3844 | 1248093.5683 | 2725519.6386 | 1248110.9223
28 | 2724851.3972 | 1248733.9337 | 2724851.6751 | 1248678.4584 | 2724858.4004 | 1248666.8789 | 2724862.2005 | 1248659.6861 | 2724862.7427 | 1248659.364
29 | 2724919.8948 | 1248556.279 | 2724947.149 | 1248589.9824 | 2724955.3445 | 1248604.69 | 2724955.9224 | 1248615.6116 | 2724946.0088 | 1248624.6994 | 2724929.5923 | 1248634.4507 | 2724913.3624 | 1248654.704 | 2724896.2573 | 1248658.7916 | 2724883.3356 | 1248656.4952 | 2724868.764 | 1248655.7876 | 2724862.7427 | 1248659.364
30 | 2725029.4285 | 1248897.6824 | 2724851.3972 | 1248733.9337
31 | 2724919.8948 | 1248556.279 | 2725184.3439 | 1248306.1857
32 | 2725029.4285 | 1248897.6824 | 2725026.698 | 1248900.743
33 | 2725184.3439 | 1248306.1857 | 2725188.2832 | 1248298.8737 | 2725190.8315 | 1248293.0336 | 2725190.1976 | 1248287.2819 | 2725186.0818 | 1248281.1453 | 2725174.927 | 1248275.6384 | 2725168.667 | 1248269.0783
34 | 2725302.3174 | 1248223.1173 | 2725300.5729 | 1248221.3011 | 2725298.6232 | 1248216.3334 | 2725298.3463 | 1248209.7774 | 2725298.8658 | 1248204.862 | 2725301.8641 | 1248199.1871 | 2725306.9683 | 1248191.0991 | 2725312.4802 | 1248183.0197 | 2725315.8504 | 1248179.4101 | 2725319.6816 | 1248172.9299 | 2725322.7148 | 1248165.6099 | 2725328.3121 | 1248153.8515 | 2725331.3366 | 1248146.9428 | 2725334.335 | 1248141.2679 | 2725335.3151 | 1248133.5042 | 2725332.9748 | 1248127.7164 | 2725326.1458 | 1248120.1989 | 2725321.3362 | 1248114.3589 | 2725315.3316 | 1248106.4362 | 2725311.319 | 1248101.8475 | 2725308.5372 | 1248097.2847 | 2725307.3844 | 1248093.5683
35 | 2725302.3174 | 1248223.1173 | 2725287.5017 | 1248226.3959 | 2725263.9323 | 1248241.7334 | 2725236.4366 | 1248256.9768 | 2725208.5144 | 1248253.4507 | 2725189.1179 | 1248226.9279
36 | 2725280.1046 | 1248265.7771 | 2725299.1016 | 1248254.4319 | 2725316.8687 | 1248246.3845
37 | 2725168.667 | 1248269.0783 | 2725198.6928 | 1248278.1534 | 2725224.5758 | 1248280.9358 | 2725249.3343 | 1248279.0238 | 2725267.0896 | 1248273.5497 | 2725280.1046 | 1248265.7771
38 | 2725022.8862 | 1248188.7 | 2725035.1784 | 1248201.8928 | 2725056.168 | 1248224.6439 | 2725084.5389 | 1248244.137 | 2725107.799 | 1248255.2262 | 2725137.3016 | 1248259.3968 | 2725168.667 | 1248269.0783
39 | 2724957.7458 | 1248182.5103 | 2724967.4528 | 1248207.2473 | 2724972.7576 | 1248217.5569 | 2724986.9648 | 1248219.4802 | 2725022.8862 | 1248188.7
40 | 2724874.383 | 1249090.1717 | 2724873.4051 | 1249091.774
41 | 2724874.383 | 1249090.1717 | 2724882.4788 | 1249076.9063 | 2724883.4186 | 1249070.6652
42 | 2724860.5347 | 1249128.5776 | 2724864.0418 | 1249124.8816 | 2724871.0407 | 1249095.6482 | 2724873.4051 | 1249091.774
43 | 2724876.992 | 1249059.498 | 2724880.3227 | 1249064.528 | 2724883.4186 | 1249070.6652 | 2724883.4186 | 1249070.6652
44 | 2724860.5347 | 1249128.5776 | 2724877.4234 | 1249140.7762
45 | 2724876.992 | 1249059.498 | 2724894.2168 | 1249034.6664
46 | 2724873.9382 | 1249053.8732 | 2724876.992 | 1249059.498
47 | 2724896.0755 | 1249154.2484 | 2724877.4234 | 1249140.7762
48 | 2724905.4419 | 1249018.4842 | 2724894.2168 | 1249034.6664
49 | 2724896.0755 | 1249154.2484 | 2724899.2522 | 1249156.5507 | 2724899.2826 | 1249156.5723
50 | 2724896.0755 | 1249154.2484 | 2724899.3197 | 1249149.4126 | 2724908.8365 | 1249140.1162 | 2724921.6557 | 1249132.5993
51 | 2724984.1302 | 1249091.3166 | 2724966.6852 | 1249106.195 | 2724941.0555 | 1249121.2237
52 | 2724928.5527 | 1249128.555 | 2724941.0555 | 1249121.2237
53 | 2724984.1302 | 1249091.3166 | 2725007.5588 | 1249067.0674 | 2725008.3119 | 1249066.3013
54 | 2724984.1302 | 1249091.3166 | 2724972.5617 | 1249085.3477
55 | 2724928.5527 | 1249128.555 | 2724921.6557 | 1249132.5993
56 | 2724972.5617 | 1249085.3477 | 2724963.729 | 1249080.7904
57 | 2724948.3093 | 1249072.8344 | 2724963.729 | 1249080.7904
58 | 2724932.093 | 1249184.1665 | 2724931.4859 | 1249191.46
59 | 2724932.093 | 1249184.1665 | 2724930.7464 | 1249180.3237 | 2724927.3804 | 1249176.6163 | 2724899.2826 | 1249156.5723
60 | 2724931.4859 | 1249191.46 | 2724863.2758 | 1249175.542
61 | 2724852.9715 | 1248994.3136 | 2724857.9929 | 1248993.6743 | 2724859.2511 | 1248993.3809
62 | 2724852.9715 | 1248994.3136 | 2724853.3517 | 1249002.7956
63 | 2724859.2511 | 1248993.3809 | 2724866.5962 | 1248991.6682
64 | 2724853.3517 | 1249002.7956 | 2724850.469 | 1249009.4739 | 2724845.4808 | 1249012.7788
65 | 2724954.9706 | 1248994.3013 | 2724976.692 | 1249001.0575
66 | 2724926.7421 | 1248987.7064 | 2724944.558 | 1248991.0626 | 2724954.9706 | 1248994.3013
67 | 2724976.692 | 1249001.0575 | 2724978.383 | 1249001.5835
68 | 2724926.7421 | 1248987.7064 | 2724924.4964 | 1248987.7302
69 | 2724926.7421 | 1248987.7064 | 2724938.1303 | 1248975.6471 | 2724942.942 | 1248968.9993
70 | 2724978.383 | 1249001.5835 | 2724982.8746 | 1249002.9805 | 2725005.0655 | 1249015.5251
71 | 2724924.4964 | 1248987.7302 | 2724905.784 | 1248987.9286
72 | 2724946.0256 | 1248964.7389 | 2724942.942 | 1248968.9993
73 | 2725005.0655 | 1249015.5251 | 2725023.0704 | 1249025.7033 | 2725026.133 | 1249027.2727
74 | 2724905.728 | 1248987.9292 | 2724905.784 | 1248987.9286
75 | 2724884.6032 | 1248988.0159 | 2724892.1792 | 1248987.9894
76 | 2724884.6032 | 1248988.0159 | 2724882.2227 | 1248988.0243 | 2724866.5962 | 1248991.6682
77 | 2724905.728 | 1248987.9292 | 2724903.933 | 1248987.9482 | 2724892.1792 | 1248987.9894
78 | 2725024.6108 | 1248961.6694 | 2725013.6324 | 1248953.2306 | 2725007.2546 | 1248946.4249
79 | 2724998.4198 | 1248939.9761 | 2725003.6597 | 1248942.5889 | 2725007.2546 | 1248946.4249
80 | 2725024.6108 | 1248961.6694 | 2725034.6388 | 1248971.9682
81 | 2724998.4198 | 1248939.9761 | 2724998.9386 | 1248931.8578 | 2725026.698 | 1248900.743
82 | 2724998.4198 | 1248939.9761 | 2724992.7666 | 1248951.3494

## bus_geodata
| x | y | coords
0 | 2725545.6557 | 1248648.3098
1 | 2725582.0406 | 1248594.9055
2 | 2725487.5763 | 1248650.9325
3 | 2725371.7052 | 1248691.7663
4 | 2725396.6437 | 1248738.9868
5 | 2725588.5994 | 1248572.4427
6 | 2725410.0389 | 1248756.8111
7 | 2725589.4738 | 1248568.467
8 | 2725642.2556 | 1248979.009
9 | 2725648.0508 | 1248958.7698
10 | 2725641.5245 | 1248981.5623
11 | 2725660.6216 | 1248899.2292
12 | 2725664.5014 | 1248961.9026
13 | 2725546.8879 | 1248878.7828
14 | 2725668.7201 | 1249007.4167
15 | 2725522.0598 | 1248868.4781
16 | 2725414.0667 | 1248891.9464
17 | 2725435.6442 | 1248788.3174
18 | 2725085.4493 | 1249024.1511
19 | 2725038.0081 | 1249033.3582
20 | 2725050.3776 | 1248988.1321
21 | 2725341.1863 | 1248238.1487
22 | 2725318.1018 | 1248245.826
23 | 2725520.7277 | 1248113.4905
24 | 2725519.6386 | 1248110.9223
25 | 2724862.7427 | 1248659.364
26 | 2724851.3972 | 1248733.9337
27 | 2724919.8948 | 1248556.279
28 | 2725029.4285 | 1248897.6824
29 | 2725184.3439 | 1248306.1857
30 | 2725302.3174 | 1248223.1173
31 | 2725316.8687 | 1248246.3845
32 | 2725307.3844 | 1248093.5683
33 | 2725189.1179 | 1248226.9279
34 | 2725280.1046 | 1248265.7771
35 | 2725168.667 | 1248269.0783
36 | 2725022.8862 | 1248188.7
37 | 2724957.7458 | 1248182.5103
38 | 2724874.383 | 1249090.1717
39 | 2724873.4051 | 1249091.774
40 | 2724883.4186 | 1249070.6652
41 | 2724860.5347 | 1249128.5776
42 | 2724876.992 | 1249059.498
43 | 2724877.4234 | 1249140.7762
44 | 2724894.2168 | 1249034.6664
45 | 2724873.9382 | 1249053.8732
46 | 2724896.0755 | 1249154.2484
47 | 2724905.4419 | 1249018.4842
48 | 2724941.0555 | 1249121.2237
49 | 2724984.1302 | 1249091.3166
50 | 2724928.5527 | 1249128.555
51 | 2725008.3119 | 1249066.3013
52 | 2724972.5617 | 1249085.3477
53 | 2724921.6557 | 1249132.5993
54 | 2724963.729 | 1249080.7904
55 | 2724932.093 | 1249184.1665
56 | 2724931.4859 | 1249191.46
57 | 2724899.2826 | 1249156.5723
58 | 2724863.2758 | 1249175.542
59 | 2724852.9715 | 1248994.3136
60 | 2724859.2511 | 1248993.3809
61 | 2724853.3517 | 1249002.7956
62 | 2724954.9706 | 1248994.3013
63 | 2724976.692 | 1249001.0575
64 | 2724926.7421 | 1248987.7064
65 | 2724978.383 | 1249001.5835
66 | 2724924.4964 | 1248987.7302
67 | 2724942.942 | 1248968.9993
68 | 2725005.0655 | 1249015.5251
69 | 2724905.784 | 1248987.9286
70 | 2724946.0256 | 1248964.7389
71 | 2724884.6032 | 1248988.0159
72 | 2724892.1792 | 1248987.9894
73 | 2724866.5962 | 1248991.6682
74 | 2724905.728 | 1248987.9292
75 | 2725026.133 | 1249027.2727
76 | 2724948.3093 | 1249072.8344
77 | 2725007.2546 | 1248946.4249
78 | 2725024.6108 | 1248961.6694
79 | 2724998.4198 | 1248939.9761
80 | 2725034.6388 | 1248971.9682
81 | 2725026.698 | 1248900.743
82 | 2724992.7666 | 1248951.3494
83 | 2724845.4808 | 1249012.7788
84 | 2724926.7421 | 1248987.7064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1