## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3395-7_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3395-7_1_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_3395-7_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_3395-7_1_2_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_3395-7_1_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_3395-7_1_2_node_132 | 0.4 | n |  | TRUE
6 | bus_LV_3395-7_1_2_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_3395-7_1_2_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_3395-7_1_2_node_121 | 0.4 | n |  | TRUE
9 | bus_LV_3395-7_1_2_node_158 | 0.4 | n |  | TRUE
10 | bus_LV_3395-7_1_2_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_3395-7_1_2_node_159 | 0.4 | n |  | TRUE
12 | bus_LV_3395-7_1_2_node_160 | 0.4 | n |  | TRUE
13 | bus_LV_3395-7_1_2_node_124 | 0.4 | n |  | TRUE
14 | bus_LV_3395-7_1_2_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_3395-7_1_2_node_93 | 0.4 | n |  | TRUE
16 | bus_LV_3395-7_1_2_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_3395-7_1_2_node_97 | 0.4 | n |  | TRUE
18 | bus_LV_3395-7_1_2_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_3395-7_1_2_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_3395-7_1_2_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_3395-7_1_2_node_114 | 0.4 | n |  | TRUE
22 | bus_LV_3395-7_1_2_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_3395-7_1_2_node_111 | 0.4 | n |  | TRUE
24 | bus_LV_3395-7_1_2_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_3395-7_1_2_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_3395-7_1_2_node_112 | 0.4 | n |  | TRUE
27 | bus_LV_3395-7_1_2_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_3395-7_1_2_node_104 | 0.4 | n |  | TRUE
29 | bus_LV_3395-7_1_2_node_105 | 0.4 | n |  | TRUE
30 | bus_LV_3395-7_1_2_node_106 | 0.4 | n |  | TRUE
31 | bus_LV_3395-7_1_2_node_109 | 0.4 | n |  | TRUE
32 | bus_LV_3395-7_1_2_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_3395-7_1_2_node_115 | 0.4 | n |  | TRUE
34 | bus_LV_3395-7_1_2_node_116 | 0.4 | n |  | TRUE
35 | bus_LV_3395-7_1_2_node_117 | 0.4 | n |  | TRUE
36 | bus_LV_3395-7_1_2_node_118 | 0.4 | n |  | TRUE
37 | bus_LV_3395-7_1_2_node_119 | 0.4 | n |  | TRUE
38 | bus_LV_3395-7_1_2_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_3395-7_1_2_node_122 | 0.4 | n |  | TRUE
40 | bus_LV_3395-7_1_2_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_3395-7_1_2_node_125 | 0.4 | n |  | TRUE
42 | bus_LV_3395-7_1_2_node_126 | 0.4 | n |  | TRUE
43 | bus_MV_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3395-7_1_2_load_131 | 3 | 0.00029961 | 7.5089e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3395-7_1_2_load_132 | 5 | 0.0010422 | 0.0002612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3395-7_1_2_load_133 | 6 | 0.00018599 | 4.6613e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3395-7_1_2_load_134 | 7 | 0.0013971 | 0.00035016 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3395-7_1_2_load_98 | 10 | 0.0006739 | 0.0001689 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3395-7_1_2_load_159 | 11 | 0.00018425 | 4.6178e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3395-7_1_2_load_160 | 12 | 0.00011899 | 2.9822e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3395-7_1_2_load_92 | 14 | 0.0007179 | 0.00017992 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3395-7_1_2_load_97 | 17 | 0.00049654 | 0.00012444 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3395-7_1_2_load_95 | 18 | 0.00065055 | 0.00016304 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3395-7_1_2_load_99 | 19 | 0.011926 | 0.0029889 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3395-7_1_2_load_114 | 21 | 8.8116e-05 | 2.2084e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3395-7_1_2_load_111 | 23 | 0.00041551 | 0.00010414 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3395-7_1_2_load_110 | 24 | 0.00010416 | 2.6105e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3395-7_1_2_load_112 | 26 | 0.008439 | 0.002115 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3395-7_1_2_load_103 | 27 | 0.00011008 | 2.7589e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3395-7_1_2_load_104 | 28 | 0.00036204 | 9.0736e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3395-7_1_2_load_106 | 30 | 0.00020415 | 5.1164e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3395-7_1_2_load_109 | 31 | 0.00010917 | 2.7362e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3395-7_1_2_load_113 | 32 | 0.0027205 | 0.00068183 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3395-7_1_2_load_115 | 33 | 0.00015232 | 3.8174e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3395-7_1_2_load_118 | 36 | 0.00015671 | 3.9274e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3395-7_1_2_load_119 | 37 | 0.00038472 | 9.642e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3395-7_1_2_load_120 | 38 | 0.00018586 | 4.658e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3395-7_1_2_load_123 | 40 | 0.0013023 | 0.00032638 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3395-7_1_2_load_125 | 41 | 0.00076086 | 0.00019069 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3395-7_1_2_load_126 | 42 | 0.00019274 | 4.8306e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3395-7_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3395-7_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.04153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3395-7_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.0066791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3395-7_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.012298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3395-7_1_2_line_4 | NAYY 4x150 SE | 1 | 42 | 0.016188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3395-7_1_2_line_5 | NAYY 4x150 SE | 2 | 7 | 0.0013113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3395-7_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.038865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3395-7_1_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.0071558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3395-7_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.025318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3395-7_1_2_line_9 | NAYY 4x150 SE | 8 | 36 | 0.047738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3395-7_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.035157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3395-7_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.040069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3395-7_1_2_line_12 | NAYY 4x150 SE | 10 | 18 | 0.061841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3395-7_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3395-7_1_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.082014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3395-7_1_2_line_15 | NAYY 4x150 SE | 13 | 39 | 0.34459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3395-7_1_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3395-7_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.13626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3395-7_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0089097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3395-7_1_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.049247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3395-7_1_2_line_20 | NAYY 4x150 SE | 16 | 20 | 0.13012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3395-7_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.23117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3395-7_1_2_line_22 | NAYY 4x150 SE | 20 | 25 | 0.11938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3395-7_1_2_line_23 | NAYY 4x150 SE | 20 | 26 | 0.03024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3395-7_1_2_line_24 | NAYY 4x150 SE | 21 | 33 | 0.01515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3395-7_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.00285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3395-7_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.010428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3395-7_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.022582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3395-7_1_2_line_28 | NAYY 4x150 SE | 25 | 29 | 0.31234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3395-7_1_2_line_29 | NAYY 4x150 SE | 26 | 32 | 0.0082939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3395-7_1_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.086331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3395-7_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.18921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3395-7_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.02397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3395-7_1_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0020924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3395-7_1_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.040919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3395-7_1_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.063617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3395-7_1_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.11036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3395-7_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.022575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3395-7_1_2_line_38 | NAYY 4x150 SE | 35 | 38 | 0.01919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3395-7_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.095681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3395-7_1_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.18003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3395-7_1_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.093006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3395-7_1_2_trafo_99 | 0.25 MVA 20/0.4 kV | 43 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2722456.6817 | 1247613.754 | 2722460.0866 | 1247620.4523
1 | 2722486.7182 | 1247652.2516 | 2722477.7086 | 1247639.2878 | 2722460.0866 | 1247620.4523
2 | 2722460.0866 | 1247620.4523 | 2722463.1127 | 1247626.4065
3 | 2722456.6817 | 1247613.754 | 2722451.1061 | 1247602.7851
4 | 2722456.6817 | 1247613.754 | 2722446.7802 | 1247615.4288 | 2722442.0496 | 1247619.3522
5 | 2722486.7182 | 1247652.2516 | 2722487.4658 | 1247653.3289
6 | 2722451.1061 | 1247602.7851 | 2722468.466 | 1247615.6657 | 2722478.717 | 1247629.6115
7 | 2722451.1061 | 1247602.7851 | 2722446.1459 | 1247597.6274
8 | 2722429.3459 | 1247579.0934 | 2722433.6058 | 1247586.4654 | 2722443.3697 | 1247594.7407 | 2722446.1459 | 1247597.6274
9 | 2722429.3459 | 1247579.0934 | 2722438.5198 | 1247574.2454 | 2722447.8807 | 1247572.4149 | 2722469.3635 | 1247572.2473 | 2722475.6708 | 1247571.5975
10 | 2722869.1986 | 1248134.6538 | 2722879.1602 | 1248126.0418 | 2722884.6334 | 1248119.672 | 2722886.1851 | 1248113.6991 | 2722884.9702 | 1248108.1692 | 2722884.2494 | 1248106.566
11 | 2722869.1986 | 1248134.6538 | 2722859.8091 | 1248095.7005
12 | 2722884.2494 | 1248106.566 | 2722879.9586 | 1248097.0225 | 2722879.1689 | 1248092.847 | 2722880.1794 | 1248088.5643 | 2722885.3308 | 1248079.1296 | 2722886.154 | 1248074.4093 | 2722885.2803 | 1248055.7086 | 2722885.6922 | 1248047.2535
13 | 2722859.5251 | 1248094.5224 | 2722859.8091 | 1248095.7005
14 | 2722822.5119 | 1248021.7013 | 2722857.0673 | 1248084.3261 | 2722859.5251 | 1248094.5224
15 | 2722705.9123 | 1247700.4467 | 2722711.6653 | 1247715.5898 | 2722729.5625 | 1247764.1238 | 2722741.8205 | 1247790.5556 | 2722774.6582 | 1247843.5806 | 2722783.5094 | 1247864.5039 | 2722801.2047 | 1247921.9971 | 2722805.3518 | 1247946.4372 | 2722814.5412 | 1248000.5959 | 2722822.5119 | 1248021.7013
16 | 2722888.7653 | 1247526.3852 | 2722892.3974 | 1247536.4953
17 | 2722888.7653 | 1247526.3852 | 2722878.7598 | 1247526.1332 | 2722873.1134 | 1247524.804 | 2722869.3038 | 1247522.701 | 2722865.7274 | 1247519.1906 | 2722835.122 | 1247470.6819 | 2722832.9863 | 1247466.1894 | 2722831.1046 | 1247459.289 | 2722828.942 | 1247436.4136 | 2722825.7202 | 1247425.6377 | 2722825.2708 | 1247418.1553
18 | 2722888.7653 | 1247526.3852 | 2722895.2607 | 1247520.2867
19 | 2722825.2708 | 1247418.1553 | 2722800.7673 | 1247460.8731
20 | 2722825.2708 | 1247418.1553 | 2722841.4618 | 1247379.9026 | 2722854.2569 | 1247358.9498 | 2722856.206 | 1247353.1297 | 2722856.3065 | 1247348.2832 | 2722853.8047 | 1247341.7703 | 2722849.4577 | 1247336.4312 | 2722823.1163 | 1247307.4165
21 | 2722800.7673 | 1247460.8731 | 2722802.7233 | 1247469.2985 | 2722802.2192 | 1247473.9365 | 2722800.7547 | 1247476.4305 | 2722796.8236 | 1247480.1856 | 2722789.7583 | 1247483.8869 | 2722778.232 | 1247487.3846 | 2722765.4398 | 1247488.5318 | 2722756.3413 | 1247487.5315 | 2722748.0897 | 1247485.0363 | 2722737.9486 | 1247480.3891 | 2722732.206 | 1247478.9579 | 2722726.2144 | 1247479.3342 | 2722693.3805 | 1247478.176 | 2722674.5535 | 1247490.5415 | 2722648.1554 | 1247489.083 | 2722627.7701 | 1247493.5208 | 2722612.0293 | 1247508.6415 | 2722607.765 | 1247519.1081
22 | 2722754.372 | 1247248.9099 | 2722782.4338 | 1247232.121 | 2722782.2694 | 1247234.2194 | 2722784.7085 | 1247243.7669 | 2722787.0155 | 1247249.4751 | 2722814.578 | 1247298.3319 | 2722819.541 | 1247303.4835 | 2722823.1163 | 1247307.4165
23 | 2722823.1163 | 1247307.4165 | 2722835.4782 | 1247296.7968 | 2722838.4202 | 1247296.6576 | 2722848.6163 | 1247300.7807
24 | 2722607.765 | 1247519.1081 | 2722602.0488 | 1247533.1383
25 | 2722730.543 | 1247275.4726 | 2722732.3343 | 1247273.2522
26 | 2722732.3343 | 1247273.2522 | 2722738.8784 | 1247265.1337
27 | 2722754.372 | 1247248.9099 | 2722752.7577 | 1247249.8773 | 2722747.5959 | 1247254.3187 | 2722738.8784 | 1247265.1337
28 | 2722900.1877 | 1247014.6643 | 2722914.3423 | 1247022.1974 | 2722919.4935 | 1247027.7533 | 2722920.796 | 1247033.4407 | 2722919.2505 | 1247039.4693 | 2722916.0886 | 1247045.4645 | 2722908.3669 | 1247056.0134 | 2722898.5951 | 1247068.1323 | 2722883.956 | 1247079.9612 | 2722869.1207 | 1247091.775 | 2722838.543 | 1247110.335 | 2722832.5333 | 1247116.6715 | 2722817.5471 | 1247145.2521 | 2722800.373 | 1247182.0722 | 2722782.8162 | 1247227.1581 | 2722782.4338 | 1247232.121 | 2722754.372 | 1247248.9099
29 | 2722856.3053 | 1247303.8899 | 2722848.6163 | 1247300.7807
30 | 2722748.6387 | 1247034.9155 | 2722730.3131 | 1247041.8137 | 2722716.6658 | 1247045.1674 | 2722703.8851 | 1247045.7146 | 2722690.3255 | 1247044.8333 | 2722680.6513 | 1247042.4088 | 2722672.2189 | 1247038.3977 | 2722665.8884 | 1247035.399
31 | 2722900.1877 | 1247014.6643 | 2722884.1013 | 1247014.2973 | 2722874.1898 | 1247013.4801 | 2722862.8926 | 1247010.6214 | 2722854.7303 | 1247003.7909 | 2722840.7027 | 1246986.1186 | 2722832.7359 | 1246979.6926 | 2722824.4741 | 1246977.2972 | 2722817.1699 | 1246977.5461 | 2722807.1535 | 1246981.7868 | 2722802.8133 | 1246985.9449 | 2722788.1399 | 1247009.272 | 2722780.4802 | 1247017.1979 | 2722771.6138 | 1247024.287 | 2722757.2787 | 1247031.6632 | 2722748.6387 | 1247034.9155
32 | 2722665.8884 | 1247035.399 | 2722644.2259 | 1247025.138
33 | 2722642.3349 | 1247024.2423 | 2722644.2259 | 1247025.138
34 | 2722584.6977 | 1247570.1954 | 2722601.8889 | 1247533.5307 | 2722602.0488 | 1247533.1383
35 | 2722584.6977 | 1247570.1954 | 2722604.511 | 1247587.909 | 2722630.3566 | 1247614.5773
36 | 2722584.6977 | 1247570.1954 | 2722563.3597 | 1247564.0936 | 2722532.1417 | 1247564.4598 | 2722510.1803 | 1247568.0424 | 2722475.6708 | 1247571.5975
37 | 2722630.3566 | 1247614.5773 | 2722634.0892 | 1247607.6263 | 2722635.63 | 1247597.0603 | 2722635.0019 | 1247593.0995
38 | 2722630.3566 | 1247614.5773 | 2722643.7121 | 1247628.3567
39 | 2722705.9123 | 1247700.4467 | 2722693.2169 | 1247679.4328 | 2722643.7121 | 1247628.3567
40 | 2722705.9123 | 1247700.4467 | 2722696.2291 | 1247711.2778 | 2722705.5842 | 1247734.5245 | 2722726.555 | 1247787.4925 | 2722736.4879 | 1247834.2602 | 2722736.9896 | 1247857.8129 | 2722730.7169 | 1247868.1706
41 | 2722713.3153 | 1247955.4394 | 2722724.0521 | 1247936.034 | 2722733.6237 | 1247901.4026 | 2722727.3055 | 1247873.8038 | 2722730.7169 | 1247868.1706

## bus_geodata
| x | y | coords
0 | 2722460.0866 | 1247620.4523
1 | 2722456.6818 | 1247613.754
2 | 2722486.7182 | 1247652.2516
3 | 2722463.1127 | 1247626.4065
4 | 2722451.1061 | 1247602.7851
5 | 2722478.717 | 1247629.6115
6 | 2722446.1459 | 1247597.6274
7 | 2722487.4658 | 1247653.3289
8 | 2722429.3459 | 1247579.0934
9 | 2722869.1986 | 1248134.6538
10 | 2722884.2494 | 1248106.566
11 | 2722859.8091 | 1248095.7005
12 | 2722859.5251 | 1248094.5224
13 | 2722822.5119 | 1248021.7013
14 | 2722892.3974 | 1247536.4953
15 | 2722888.7653 | 1247526.3852
16 | 2722825.2708 | 1247418.1553
17 | 2722895.2607 | 1247520.2867
18 | 2722885.6922 | 1248047.2535
19 | 2722800.7673 | 1247460.8731
20 | 2722823.1163 | 1247307.4165
21 | 2722607.765 | 1247519.1081
22 | 2722732.3343 | 1247273.2522
23 | 2722730.543 | 1247275.4726
24 | 2722738.8784 | 1247265.1337
25 | 2722754.372 | 1247248.9099
26 | 2722848.6163 | 1247300.7807
27 | 2722748.6387 | 1247034.9155
28 | 2722665.8884 | 1247035.399
29 | 2722900.1877 | 1247014.6643
30 | 2722644.2259 | 1247025.138
31 | 2722642.3349 | 1247024.2423
32 | 2722856.3053 | 1247303.8899
33 | 2722602.0488 | 1247533.1383
34 | 2722584.6977 | 1247570.1954
35 | 2722630.3566 | 1247614.5773
36 | 2722475.6708 | 1247571.5975
37 | 2722635.0019 | 1247593.0995
38 | 2722643.7121 | 1247628.3567
39 | 2722705.9123 | 1247700.4467
40 | 2722730.7169 | 1247868.1706
41 | 2722713.3153 | 1247955.4394
42 | 2722442.0496 | 1247619.3522
43 | 2722800.7673 | 1247460.8731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1