## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3401-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3401-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3401-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3401-3_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3401-3_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3401-3_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3401-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3401-3_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_3401-3_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_3401-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3401-3_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3401-3_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3401-3_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3401-3_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3401-3_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3401-3_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3401-3_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3401-3_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_3401-3_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_3401-3_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_3401-3_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3401-3_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_3401-3_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3401-3_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3401-3_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_3401-3_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_3401-3_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3401-3_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3401-3_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3401-3_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_3401-3_0_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_3401-3_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_3401-3_0_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_3401-3_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_3401-3_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_3401-3_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_3401-3_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3401-3_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3401-3_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3401-3_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3401-3_0_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_3401-3_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3401-3_0_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_3401-3_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_3401-3_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3401-3_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3401-3_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3401-3_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3401-3_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3401-3_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_3401-3_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_3401-3_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3401-3_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3401-3_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_3401-3_0_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_3401-3_0_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_3401-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_3401-3_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3401-3_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3401-3_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_3401-3_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3401-3_0_3_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_3401-3_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3401-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_MV_155_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3401-3_0_3_load_0 | 0 | 0.0011163 | 0.00027978 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3401-3_0_3_load_2 | 2 | 0.0010887 | 0.00027285 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3401-3_0_3_load_6 | 4 | 0.0033881 | 0.00084913 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3401-3_0_3_load_3 | 5 | 0.00015798 | 3.9593e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3401-3_0_3_load_4 | 6 | 0.00036588 | 9.1698e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3401-3_0_3_load_26 | 7 | 0.001015 | 0.00025438 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3401-3_0_3_load_25 | 8 | 0.0014054 | 0.00035223 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3401-3_0_3_load_7 | 9 | 0.0010435 | 0.00026153 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3401-3_0_3_load_10 | 12 | 0.00097761 | 0.00024501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3401-3_0_3_load_11 | 13 | 0.00090989 | 0.00022804 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3401-3_0_3_load_12 | 14 | 0.00047056 | 0.00011793 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3401-3_0_3_load_14 | 16 | 0.0061809 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3401-3_0_3_load_21 | 18 | 0.001616 | 0.00040501 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3401-3_0_3_load_27 | 19 | 0.00059521 | 0.00014917 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3401-3_0_3_load_15 | 20 | 0.0008963 | 0.00022463 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3401-3_0_3_load_34 | 21 | 0.00056899 | 0.0001426 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3401-3_0_3_load_23 | 24 | 0.0056622 | 0.0014191 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3401-3_0_3_load_24 | 25 | 0.0034079 | 0.0008541 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3401-3_0_3_load_16 | 26 | 0.0031694 | 0.00079432 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3401-3_0_3_load_17 | 27 | 0.0011156 | 0.0002796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3401-3_0_3_load_18 | 28 | 0.00070594 | 0.00017692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3401-3_0_3_load_29 | 29 | 0.00062165 | 0.0001558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3401-3_0_3_load_59 | 30 | 0.00091084 | 0.00022828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3401-3_0_3_load_60 | 32 | 0.00065727 | 0.00016473 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3401-3_0_3_load_50 | 33 | 0.0036708 | 0.00091999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3401-3_0_3_load_38 | 34 | 0.022087 | 0.0055356 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3401-3_0_3_load_30 | 36 | 0.01787 | 0.0044787 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3401-3_0_3_load_32 | 38 | 0.027393 | 0.0068654 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3401-3_0_3_load_33 | 39 | 0.0067174 | 0.0016835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3401-3_0_3_load_64 | 42 | 0.016315 | 0.004089 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3401-3_0_3_load_62 | 43 | 0.001021 | 0.0002559 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3401-3_0_3_load_37 | 44 | 0.0060904 | 0.0015264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3401-3_0_3_load_35 | 45 | 0.0028621 | 0.00071731 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3401-3_0_3_load_39 | 46 | 0.0049684 | 0.0012452 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3401-3_0_3_load_40 | 47 | 0.00030577 | 7.6633e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3401-3_0_3_load_51 | 49 | 0.00061267 | 0.00015355 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3401-3_0_3_load_56 | 53 | 0.0034726 | 0.00087032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3401-3_0_3_load_57 | 54 | 0.00078774 | 0.00019743 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3401-3_0_3_load_61 | 55 | 0.00090012 | 0.00022559 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3401-3_0_3_load_47 | 56 | 0.00084402 | 0.00021153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3401-3_0_3_load_54 | 57 | 0.0043057 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3401-3_0_3_load_58 | 58 | 0.00086624 | 0.0002171 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3401-3_0_3_load_46 | 59 | 0.010378 | 0.002601 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3401-3_0_3_load_55 | 60 | 0.004102 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3401-3_0_3_load_65 | 61 | 0.00056773 | 0.00014229 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3401-3_0_3_load_53 | 62 | 0.0031811 | 0.00079727 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3401-3_0_3_load_52 | 63 | 0.014965 | 0.0037505 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3401-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3401-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3401-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3401-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.016224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3401-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3401-3_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.017789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3401-3_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.015722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3401-3_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.033507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3401-3_0_3_line_8 | NAYY 4x150 SE | 8 | 34 | 0.090974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3401-3_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.10689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3401-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.034509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3401-3_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0045481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3401-3_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.072818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3401-3_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.012944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3401-3_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.07332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3401-3_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.05554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3401-3_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.19396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3401-3_0_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.045976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3401-3_0_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.11275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3401-3_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.010566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3401-3_0_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.025022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3401-3_0_3_line_21 | NAYY 4x150 SE | 17 | 22 | 0.13438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3401-3_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.0028718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3401-3_0_3_line_23 | NAYY 4x150 SE | 22 | 29 | 0.045087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3401-3_0_3_line_24 | NAYY 4x150 SE | 22 | 28 | 0.013643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3401-3_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.024579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3401-3_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.052985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3401-3_0_3_line_27 | NAYY 4x150 SE | 24 | 30 | 0.035661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3401-3_0_3_line_28 | NAYY 4x150 SE | 25 | 31 | 0.0082692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3401-3_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0082091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3401-3_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0094629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3401-3_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.022344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3401-3_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.011032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3401-3_0_3_line_33 | NAYY 4x150 SE | 32 | 43 | 0.020894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3401-3_0_3_line_34 | NAYY 4x150 SE | 33 | 60 | 0.030669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3401-3_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.15245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3401-3_0_3_line_36 | NAYY 4x150 SE | 35 | 45 | 0.091682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3401-3_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.066212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3401-3_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.016066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3401-3_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.024051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3401-3_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.039935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3401-3_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.048895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3401-3_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.021369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3401-3_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.015949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3401-3_0_3_line_44 | NAYY 4x150 SE | 41 | 44 | 0.06445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3401-3_0_3_line_45 | NAYY 4x150 SE | 42 | 61 | 0.0022083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3401-3_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.010881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3401-3_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.047677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3401-3_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.016962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3401-3_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.021627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3401-3_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.031172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3401-3_0_3_line_51 | NAYY 4x150 SE | 50 | 55 | 0.014264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3401-3_0_3_line_52 | NAYY 4x150 SE | 50 | 56 | 0.040715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3401-3_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.062672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3401-3_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.028974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3401-3_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.11752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3401-3_0_3_line_56 | NAYY 4x150 SE | 53 | 57 | 0.0069994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3401-3_0_3_line_57 | NAYY 4x150 SE | 54 | 58 | 0.015619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3401-3_0_3_line_58 | NAYY 4x150 SE | 55 | 61 | 0.026137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3401-3_0_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.0002419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3401-3_0_3_line_60 | NAYY 4x150 SE | 57 | 63 | 0.049186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3401-3_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0040182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3401-3_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.010019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3401-3_0_3_trafo_65 | 0.25 MVA 20/0.4 kV | 64 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2732472.1757 | 1248893.5512 | 2732481.0979 | 1248902.4634
1 | 2732472.1757 | 1248893.5512 | 2732481.1078 | 1248884.2204
2 | 2732509.6558 | 1248858.9024 | 2732507.1486 | 1248859.8806 | 2732504.6841 | 1248861.3157 | 2732502.4119 | 1248862.933 | 2732498.3888 | 1248866.1682 | 2732481.1078 | 1248884.2204
3 | 2732509.6558 | 1248858.9024 | 2732508.8665 | 1248854.0026 | 2732508.6116 | 1248851.5503 | 2732508.7339 | 1248847.7719 | 2732509.3288 | 1248842.7919 | 2732509.3288 | 1248842.7919
4 | 2732509.6558 | 1248858.9024 | 2732514.3578 | 1248877.3239 | 2732518.6632 | 1248898.2734
5 | 2732509.3288 | 1248842.7919 | 2732510.1451 | 1248838.7176 | 2732512.3547 | 1248832.4725 | 2732515.194 | 1248827.4538 | 2732515.9432 | 1248826.4616
6 | 2732518.6632 | 1248898.2734 | 2732520.1347 | 1248905.4336 | 2732521.6817 | 1248913.702
7 | 2732538.2627 | 1248801.4986 | 2732525.5811 | 1248814.9526 | 2732518.3157 | 1248823.3199 | 2732515.9432 | 1248826.4616
8 | 2732538.2627 | 1248801.4986 | 2732468.7714 | 1248742.7854
9 | 2732197.2331 | 1248513.732 | 2732190.2226 | 1248505.2681 | 2732165.4778 | 1248469.2067 | 2732130.9942 | 1248430.0691
10 | 2732103.9094 | 1248408.8588 | 2732127.4368 | 1248426.0316 | 2732130.9942 | 1248430.0691
11 | 2732197.2331 | 1248513.732 | 2732201.6264 | 1248514.9085
12 | 2732197.2331 | 1248513.732 | 2732175.7213 | 1248517.6447 | 2732130.4245 | 1248530.1795 | 2732126.8743 | 1248531.9198
13 | 2732103.9094 | 1248408.8588 | 2732098.9047 | 1248398.5158 | 2732097.728 | 1248397.6626
14 | 2732035.9814 | 1248381.944 | 2732041.7322 | 1248382.2056 | 2732049.791 | 1248384.3314 | 2732103.9094 | 1248408.8588
15 | 2732254.6218 | 1248506.2043 | 2732238.4975 | 1248514.3305 | 2732212.4551 | 1248517.8084 | 2732201.6264 | 1248514.9085
16 | 2732023.6043 | 1248681.6899 | 2732029.434 | 1248631.9644 | 2732034.7009 | 1248614.6108 | 2732042.8902 | 1248599.3463 | 2732058.0852 | 1248581.9248 | 2732113.2391 | 1248538.604 | 2732126.8743 | 1248531.9198
17 | 2732081.0419 | 1248363.6559 | 2732093.4198 | 1248372.7819 | 2732093.8947 | 1248377.9082 | 2732089.262 | 1248385.7786 | 2732089.0467 | 1248391.3676 | 2732097.728 | 1248397.6626
18 | 2732035.9814 | 1248381.944 | 2732029.3509 | 1248385.2214 | 2732023.5234 | 1248390.7744 | 2732001.8687 | 1248414.6467 | 2731998.2847 | 1248417.158 | 2731994.2507 | 1248418.8475 | 2731989.9417 | 1248419.6523 | 2731985.563 | 1248419.5214 | 2731981.3183 | 1248418.4593 | 2731977.3874 | 1248416.5367 | 2731944.2744 | 1248396.2893
19 | 2732254.6218 | 1248506.2043 | 2732264.0576 | 1248501.4489
20 | 2732023.6043 | 1248681.6899 | 2732016.7648 | 1248679.4467 | 2732010.9773 | 1248676.4374 | 2732007.5736 | 1248670.8677 | 2732006.2642 | 1248666.2345
21 | 2732077.2676 | 1248762.0787 | 2732064.9007 | 1248760.7576 | 2732032.5162 | 1248762.1042 | 2732022.6231 | 1248758.9255 | 2732018.2456 | 1248752.9894 | 2732016.3163 | 1248743.9718 | 2732023.6043 | 1248681.6899
22 | 2732266.6221 | 1248500.1564 | 2732264.0576 | 1248501.4489
23 | 2732077.2676 | 1248762.0787 | 2732082.2569 | 1248747.3546 | 2732084.8488 | 1248741.218 | 2732092.2431 | 1248731.4518 | 2732100.6159 | 1248724.9033
24 | 2732077.2676 | 1248762.0787 | 2732080.6718 | 1248766.9478 | 2732082.2425 | 1248774.4878
25 | 2732266.6221 | 1248500.1564 | 2732277.7184 | 1248522.0883
26 | 2732266.6221 | 1248500.1564 | 2732317.9575 | 1248487.037
27 | 2732277.7184 | 1248522.0883 | 2732293.8177 | 1248553.9084
28 | 2732325.9692 | 1248484.9895 | 2732317.9575 | 1248487.037
29 | 2732084.1723 | 1248783.7518 | 2732077.6109 | 1248788.6851
30 | 2732082.2425 | 1248774.4878 | 2732084.1723 | 1248783.7518 | 2732084.1723 | 1248783.7518
31 | 2732293.8177 | 1248553.9084 | 2732303.9048 | 1248573.8456
32 | 2732325.9692 | 1248484.9895 | 2732336.6094 | 1248482.0751
33 | 2732303.9048 | 1248573.8456 | 2732313.3376 | 1248592.4896
34 | 2732366.189 | 1248473.9733 | 2732336.6094 | 1248482.0751
35 | 2732468.7714 | 1248742.7854 | 2732488.5126 | 1248738.9787 | 2732495.0949 | 1248734.4774 | 2732558.9108 | 1248651.1965 | 2732566.9863 | 1248640.4008 | 2732571.2262 | 1248635.9249
36 | 2732571.2262 | 1248635.9249 | 2732567.6889 | 1248635.3342 | 2732563.5306 | 1248636.1642 | 2732552.0103 | 1248642.2342 | 2732544.9456 | 1248646.3466 | 2732526.6228 | 1248660.3494 | 2732519.8293 | 1248664.8349 | 2732512.2274 | 1248668.3125 | 2732493.4824 | 1248675.1886 | 2732490.5001 | 1248676.1433
37 | 2732347.0163 | 1248656.0668 | 2732331.6009 | 1248674.1944 | 2732324.476 | 1248684.0552 | 2732321.7501 | 1248691.779 | 2732319.407 | 1248696.9091 | 2732312.0377 | 1248701.482 | 2732304.3902 | 1248702.7193
38 | 2732347.0163 | 1248656.0668 | 2732339.42 | 1248641.9101
39 | 2732347.0163 | 1248656.0668 | 2732364.6655 | 1248656.3055 | 2732369.3409 | 1248655.3201 | 2732370.9604 | 1248655.41
40 | 2732320.5378 | 1248606.7208 | 2732339.42 | 1248641.9101
41 | 2732419.6402 | 1248657.234 | 2732409.8512 | 1248658.1828 | 2732402.2937 | 1248658.3253 | 2732394.3371 | 1248657.736 | 2732389.2523 | 1248656.7549 | 2732380.7489 | 1248655.9532 | 2732370.9604 | 1248655.41
42 | 2732320.5378 | 1248606.7208 | 2732339.4004 | 1248596.6795
43 | 2732320.5378 | 1248606.7208 | 2732313.3376 | 1248592.4896
44 | 2732419.6402 | 1248657.234 | 2732480.1366 | 1248679.4608
45 | 2732339.4004 | 1248596.6795 | 2732341.3498 | 1248595.6418
46 | 2732480.1366 | 1248679.4608 | 2732490.5001 | 1248676.1433
47 | 2732465.5759 | 1248540.0911 | 2732426.599 | 1248557.156 | 2732421.8623 | 1248559.1205
48 | 2732406.1941 | 1248565.6189 | 2732421.8623 | 1248559.1205
49 | 2732406.1941 | 1248565.6189 | 2732396.0604 | 1248546.4978
50 | 2732377.558 | 1248578.0015 | 2732383.7434 | 1248576.049 | 2732401.3218 | 1248567.6341 | 2732406.1941 | 1248565.6189
51 | 2732377.558 | 1248578.0015 | 2732370.8212 | 1248579.9528 | 2732364.4211 | 1248583.3599
52 | 2732377.558 | 1248578.0015 | 2732357.8098 | 1248542.3965
53 | 2732524.5985 | 1248451.6631 | 2732461.8616 | 1248447.7687
54 | 2732461.8616 | 1248447.7687 | 2732433.9171 | 1248455.4227
55 | 2732524.5985 | 1248451.6631 | 2732486.1521 | 1248379.4285 | 2732469.3816 | 1248347.9189
56 | 2732433.9171 | 1248455.4227 | 2732427.1664 | 1248457.2717
57 | 2732469.3816 | 1248347.9189 | 2732462.0431 | 1248334.1308
58 | 2732364.4211 | 1248583.3599 | 2732341.3498 | 1248595.6418
59 | 2732357.8098 | 1248542.3965 | 2732357.6925 | 1248542.185
60 | 2732379.7276 | 1248470.2651 | 2732427.1664 | 1248457.2717
61 | 2732370.0644 | 1248472.9118 | 2732366.189 | 1248473.9733
62 | 2732379.7276 | 1248470.2651 | 2732370.0644 | 1248472.9118

## bus_geodata
| x | y | coords
0 | 2732481.0979 | 1248902.4634
1 | 2732472.1757 | 1248893.5512
2 | 2732481.1078 | 1248884.2204
3 | 2732509.6558 | 1248858.9024
4 | 2732509.3288 | 1248842.7919
5 | 2732518.6632 | 1248898.2734
6 | 2732521.6817 | 1248913.702
7 | 2732515.9432 | 1248826.4616
8 | 2732538.2627 | 1248801.4986
9 | 2732130.9942 | 1248430.0691
10 | 2732197.2331 | 1248513.732
11 | 2732103.9094 | 1248408.8588
12 | 2732201.6265 | 1248514.9085
13 | 2732126.8743 | 1248531.9198
14 | 2732097.728 | 1248397.6626
15 | 2732035.9814 | 1248381.944
16 | 2732254.6218 | 1248506.2043
17 | 2732023.6043 | 1248681.6899
18 | 2732081.0419 | 1248363.6559
19 | 2731944.2744 | 1248396.2893
20 | 2732264.0576 | 1248501.4489
21 | 2732006.2642 | 1248666.2345
22 | 2732077.2676 | 1248762.0787
23 | 2732266.6221 | 1248500.1564
24 | 2732277.7184 | 1248522.0883
25 | 2732317.9575 | 1248487.037
26 | 2732084.1723 | 1248783.7518
27 | 2732077.6109 | 1248788.6851
28 | 2732082.2425 | 1248774.4878
29 | 2732100.6159 | 1248724.9033
30 | 2732293.8177 | 1248553.9084
31 | 2732325.9692 | 1248484.9895
32 | 2732303.9048 | 1248573.8456
33 | 2732336.6094 | 1248482.0751
34 | 2732468.7714 | 1248742.7854
35 | 2732571.2262 | 1248635.9249
36 | 2732304.3902 | 1248702.7193
37 | 2732347.0163 | 1248656.0668
38 | 2732339.42 | 1248641.9101
39 | 2732370.9604 | 1248655.41
40 | 2732320.5378 | 1248606.7208
41 | 2732419.6402 | 1248657.234
42 | 2732339.4004 | 1248596.6795
43 | 2732313.3376 | 1248592.4896
44 | 2732480.1366 | 1248679.4608
45 | 2732490.5001 | 1248676.1433
46 | 2732465.5759 | 1248540.0911
47 | 2732421.8623 | 1248559.1205
48 | 2732406.1941 | 1248565.6189
49 | 2732396.0604 | 1248546.4978
50 | 2732377.558 | 1248578.0015
51 | 2732461.8616 | 1248447.7687
52 | 2732524.5985 | 1248451.6631
53 | 2732433.9171 | 1248455.4227
54 | 2732469.3816 | 1248347.9189
55 | 2732364.4211 | 1248583.3599
56 | 2732357.8098 | 1248542.3965
57 | 2732427.1664 | 1248457.2717
58 | 2732462.0431 | 1248334.1308
59 | 2732357.6925 | 1248542.185
60 | 2732366.189 | 1248473.9733
61 | 2732341.3498 | 1248595.6418
62 | 2732370.0644 | 1248472.9118
63 | 2732379.7276 | 1248470.2651
64 | 2732320.5378 | 1248606.7208

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1