## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3401-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3401-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3401-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3401-9_0_4_node_57 | 0.4 | n |  | TRUE
4 | bus_LV_3401-9_0_4_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_3401-9_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3401-9_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3401-9_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3401-9_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3401-9_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3401-9_0_4_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_3401-9_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_3401-9_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_3401-9_0_4_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_3401-9_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3401-9_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3401-9_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3401-9_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3401-9_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3401-9_0_4_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_3401-9_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3401-9_0_4_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_3401-9_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3401-9_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3401-9_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3401-9_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3401-9_0_4_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_3401-9_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3401-9_0_4_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_3401-9_0_4_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_3401-9_0_4_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_3401-9_0_4_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_3401-9_0_4_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_3401-9_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_3401-9_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_3401-9_0_4_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_3401-9_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_3401-9_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3401-9_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3401-9_0_4_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_3401-9_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_3401-9_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_3401-9_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3401-9_0_4_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_3401-9_0_4_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_3401-9_0_4_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_3401-9_0_4_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_3401-9_0_4_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_3401-9_0_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_3401-9_0_4_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_3401-9_0_4_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_3401-9_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_3401-9_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_3401-9_0_4_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_3401-9_0_4_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_3401-9_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_3401-9_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_3401-9_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3401-9_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_3401-9_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_3401-9_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3401-9_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3401-9_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_3401-9_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3401-9_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_3401-9_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_3401-9_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_3401-9_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_3401-9_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_3401-9_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_3401-9_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_3401-9_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_3401-9_0_4_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_3401-9_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_3401-9_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_3401-9_0_4_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_3401-9_0_4_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_3401-9_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_3401-9_0_4_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_3401-9_0_4_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_3401-9_0_4_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_3401-9_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3401-9_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3401-9_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3401-9_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_3401-9_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_3401-9_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_3401-9_0_4_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_3401-9_0_4_node_62 | 0.4 | n |  | TRUE
89 | bus_LV_3401-9_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_3401-9_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_3401-9_0_4_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_3401-9_0_4_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_3401-9_0_4_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_3401-9_0_4_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_3401-9_0_4_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_3401-9_0_4_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_3401-9_0_4_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_3401-9_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_MV_155_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3401-9_0_4_load_0 | 0 | 0.0046308 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3401-9_0_4_load_57 | 3 | 0.0015233 | 0.00038177 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3401-9_0_4_load_56 | 4 | 0.013321 | 0.0033385 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3401-9_0_4_load_3 | 5 | 0.0064996 | 0.001629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3401-9_0_4_load_5 | 7 | 0.010872 | 0.0027249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3401-9_0_4_load_60 | 10 | 0.0015699 | 0.00039345 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3401-9_0_4_load_40 | 11 | 0.0011241 | 0.00028173 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3401-9_0_4_load_58 | 12 | 0.0017075 | 0.00042795 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3401-9_0_4_load_8 | 14 | 0.0017039 | 0.00042703 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3401-9_0_4_load_10 | 16 | 0.0016889 | 0.00042327 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3401-9_0_4_load_11 | 17 | 0.0036414 | 0.00091261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3401-9_0_4_load_12 | 18 | 0.0033277 | 0.00083399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3401-9_0_4_load_43 | 19 | 0.0089652 | 0.0022469 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3401-9_0_4_load_13 | 20 | 0.002906 | 0.00072832 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3401-9_0_4_load_15 | 23 | 0.0019788 | 0.00049594 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3401-9_0_4_load_16 | 24 | 0.0042294 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3401-9_0_4_load_17 | 25 | 0.0023702 | 0.00059403 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3401-9_0_4_load_83 | 26 | 0.0013624 | 0.00034146 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3401-9_0_4_load_18 | 27 | 0.0016098 | 0.00040345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3401-9_0_4_load_86 | 28 | 0.0038674 | 0.00096927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3401-9_0_4_load_98 | 29 | 0.0029356 | 0.00073572 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3401-9_0_4_load_85 | 30 | 0.0027701 | 0.00069425 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3401-9_0_4_load_97 | 31 | 0.0035063 | 0.00087876 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3401-9_0_4_load_82 | 32 | 0.0013858 | 0.00034732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3401-9_0_4_load_19 | 33 | 0.0028834 | 0.00072264 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3401-9_0_4_load_20 | 34 | 0.0023764 | 0.00059559 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3401-9_0_4_load_96 | 35 | 0.0018334 | 0.00045949 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3401-9_0_4_load_21 | 36 | 0.0005815 | 0.00014574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3401-9_0_4_load_22 | 37 | 0.0011194 | 0.00028056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3401-9_0_4_load_25 | 38 | 0.002066 | 0.00051779 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3401-9_0_4_load_94 | 39 | 0.0011739 | 0.00029421 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3401-9_0_4_load_23 | 40 | 0.0015926 | 0.00039913 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3401-9_0_4_load_24 | 41 | 0.0010337 | 0.00025907 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3401-9_0_4_load_26 | 42 | 0.0018785 | 0.00047079 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3401-9_0_4_load_88 | 43 | 0.0019795 | 0.00049611 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3401-9_0_4_load_90 | 45 | 0.0017004 | 0.00042615 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3401-9_0_4_load_91 | 46 | 0.0017183 | 0.00043064 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3401-9_0_4_load_95 | 47 | 0.0010194 | 0.0002555 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3401-9_0_4_load_87 | 48 | 0.0014411 | 0.00036117 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3401-9_0_4_load_99 | 49 | 0.0020145 | 0.00050489 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3401-9_0_4_load_93 | 50 | 0.0011102 | 0.00027823 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3401-9_0_4_load_27 | 51 | 0.0022527 | 0.00056459 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3401-9_0_4_load_28 | 52 | 0.0098628 | 0.0024719 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3401-9_0_4_load_29 | 53 | 0.0074261 | 0.0018612 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3401-9_0_4_load_31 | 55 | 0.0019612 | 0.00049152 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3401-9_0_4_load_36 | 56 | 0.0073186 | 0.0018342 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3401-9_0_4_load_32 | 57 | 0.0019094 | 0.00047854 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3401-9_0_4_load_38 | 61 | 0.0025196 | 0.00063146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3401-9_0_4_load_44 | 62 | 0.0027569 | 0.00069095 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3401-9_0_4_load_74 | 63 | 0.0026818 | 0.00067211 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3401-9_0_4_load_73 | 64 | 0.0023918 | 0.00059943 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3401-9_0_4_load_37 | 65 | 0.0040342 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3401-9_0_4_load_47 | 66 | 0.0029236 | 0.00073273 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3401-9_0_4_load_41 | 67 | 0.00169 | 0.00042356 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3401-9_0_4_load_72 | 68 | 0.0027274 | 0.00068354 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3401-9_0_4_load_69 | 69 | 0.0022323 | 0.00055946 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3401-9_0_4_load_75 | 70 | 0.0022295 | 0.00055877 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3401-9_0_4_load_45 | 71 | 0.0023939 | 0.00059998 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3401-9_0_4_load_46 | 72 | 0.0026725 | 0.0006698 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3401-9_0_4_load_48 | 73 | 0.0028788 | 0.0007215 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3401-9_0_4_load_55 | 74 | 0.0023846 | 0.00059764 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3401-9_0_4_load_49 | 75 | 0.0033802 | 0.00084717 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3401-9_0_4_load_50 | 76 | 0.0021581 | 0.00054086 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3401-9_0_4_load_51 | 77 | 0.0013854 | 0.00034722 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3401-9_0_4_load_52 | 78 | 0.001358 | 0.00034036 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3401-9_0_4_load_53 | 79 | 0.0021303 | 0.00053389 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3401-9_0_4_load_54 | 80 | 0.0019763 | 0.00049531 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3401-9_0_4_load_80 | 81 | 0.0022416 | 0.0005618 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3401-9_0_4_load_81 | 82 | 0.0025121 | 0.00062959 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3401-9_0_4_load_79 | 83 | 0.0031967 | 0.00080118 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3401-9_0_4_load_84 | 84 | 0.0030417 | 0.00076232 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3401-9_0_4_load_77 | 85 | 0.0017464 | 0.00043769 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3401-9_0_4_load_78 | 86 | 0.00313 | 0.00078445 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3401-9_0_4_load_59 | 87 | 0.0016443 | 0.0004121 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3401-9_0_4_load_62 | 88 | 0.0024092 | 0.00060381 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3401-9_0_4_load_71 | 89 | 0.001554 | 0.00038948 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3401-9_0_4_load_70 | 90 | 0.001444 | 0.00036189 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3401-9_0_4_load_63 | 91 | 0.0023929 | 0.00059972 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3401-9_0_4_load_64 | 92 | 0.0023986 | 0.00060114 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3401-9_0_4_load_65 | 93 | 0.0022347 | 0.00056006 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3401-9_0_4_load_66 | 94 | 0.0017172 | 0.00043036 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3401-9_0_4_load_67 | 95 | 0.0051721 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3401-9_0_4_load_68 | 96 | 0.0032189 | 0.00080673 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3401-9_0_4_load_76 | 97 | 0.0027382 | 0.00068626 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3401-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3401-9_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3401-9_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0088869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3401-9_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.031581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3401-9_0_4_line_4 | NAYY 4x150 SE | 4 | 7 | 0.054122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3401-9_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.051997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3401-9_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.070631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3401-9_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.042446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3401-9_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.052895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3401-9_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.007617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3401-9_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.013518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3401-9_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.03157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3401-9_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.051832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3401-9_0_4_line_13 | NAYY 4x150 SE | 12 | 87 | 0.033076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3401-9_0_4_line_14 | NAYY 4x150 SE | 13 | 67 | 0.0092312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3401-9_0_4_line_15 | NAYY 4x150 SE | 13 | 65 | 0.057721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3401-9_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0023669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3401-9_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.013715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3401-9_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.039636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3401-9_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.015464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3401-9_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.018318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3401-9_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.030872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3401-9_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.04374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3401-9_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.050993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3401-9_0_4_line_24 | NAYY 4x150 SE | 21 | 62 | 0.053097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3401-9_0_4_line_25 | NAYY 4x150 SE | 21 | 58 | 0.005456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3401-9_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.031559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3401-9_0_4_line_27 | NAYY 4x150 SE | 22 | 24 | 0.019861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3401-9_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.0075782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3401-9_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0061901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3401-9_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.013388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3401-9_0_4_line_31 | NAYY 4x150 SE | 26 | 32 | 0.020214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3401-9_0_4_line_32 | NAYY 4x150 SE | 27 | 33 | 0.024641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3401-9_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0043521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3401-9_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.031901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3401-9_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.023342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3401-9_0_4_line_36 | NAYY 4x150 SE | 30 | 84 | 0.0067576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3401-9_0_4_line_37 | NAYY 4x150 SE | 31 | 35 | 0.029473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3401-9_0_4_line_38 | NAYY 4x150 SE | 32 | 79 | 0.0060422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3401-9_0_4_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0025836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3401-9_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.00071618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3401-9_0_4_line_41 | NAYY 4x150 SE | 35 | 39 | 0.024206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3401-9_0_4_line_42 | NAYY 4x150 SE | 36 | 37 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3401-9_0_4_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0024349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3401-9_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.009153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3401-9_0_4_line_45 | NAYY 4x150 SE | 39 | 47 | 0.019172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3401-9_0_4_line_46 | NAYY 4x150 SE | 40 | 41 | 0.0048797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3401-9_0_4_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0034352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3401-9_0_4_line_48 | NAYY 4x150 SE | 42 | 48 | 0.010661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3401-9_0_4_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0069501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3401-9_0_4_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0082151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3401-9_0_4_line_51 | NAYY 4x150 SE | 44 | 46 | 0.037247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3401-9_0_4_line_52 | NAYY 4x150 SE | 46 | 98 | 0.025383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3401-9_0_4_line_53 | NAYY 4x150 SE | 47 | 50 | 0.01992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3401-9_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.001286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3401-9_0_4_line_55 | NAYY 4x150 SE | 50 | 98 | 0.012533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3401-9_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0011584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3401-9_0_4_line_57 | NAYY 4x150 SE | 51 | 53 | 0.04934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3401-9_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.057827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3401-9_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.0078261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3401-9_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.067318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3401-9_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.027786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3401-9_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.0044068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3401-9_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.031314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3401-9_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.040031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3401-9_0_4_line_65 | NAYY 4x150 SE | 59 | 61 | 0.010768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3401-9_0_4_line_66 | NAYY 4x150 SE | 60 | 63 | 0.022504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3401-9_0_4_line_67 | NAYY 4x150 SE | 60 | 64 | 0.008032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3401-9_0_4_line_68 | NAYY 4x150 SE | 61 | 65 | 0.02416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_3401-9_0_4_line_69 | NAYY 4x150 SE | 62 | 66 | 0.030671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3401-9_0_4_line_70 | NAYY 4x150 SE | 63 | 70 | 0.027161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3401-9_0_4_line_71 | NAYY 4x150 SE | 66 | 71 | 0.034208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3401-9_0_4_line_72 | NAYY 4x150 SE | 67 | 68 | 0.016968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3401-9_0_4_line_73 | NAYY 4x150 SE | 68 | 69 | 0.010263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3401-9_0_4_line_74 | NAYY 4x150 SE | 69 | 96 | 0.018091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3401-9_0_4_line_75 | NAYY 4x150 SE | 70 | 97 | 0.038675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3401-9_0_4_line_76 | NAYY 4x150 SE | 71 | 72 | 0.041649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3401-9_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.0046555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3401-9_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.030972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3401-9_0_4_line_79 | NAYY 4x150 SE | 75 | 76 | 0.026236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3401-9_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.011495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3401-9_0_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.0030035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_3401-9_0_4_line_82 | NAYY 4x150 SE | 77 | 79 | 0.012238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_3401-9_0_4_line_83 | NAYY 4x150 SE | 78 | 80 | 0.020457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3401-9_0_4_line_84 | NAYY 4x150 SE | 80 | 85 | 0.048502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3401-9_0_4_line_85 | NAYY 4x150 SE | 81 | 82 | 0.0023925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3401-9_0_4_line_86 | NAYY 4x150 SE | 81 | 83 | 0.023452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3401-9_0_4_line_87 | NAYY 4x150 SE | 82 | 84 | 0.025254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3401-9_0_4_line_88 | NAYY 4x150 SE | 83 | 86 | 0.0081482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3401-9_0_4_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3401-9_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.015123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3401-9_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0024052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3401-9_0_4_line_92 | NAYY 4x150 SE | 90 | 95 | 0.024346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3401-9_0_4_line_93 | NAYY 4x150 SE | 91 | 92 | 0.0044969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3401-9_0_4_line_94 | NAYY 4x150 SE | 91 | 93 | 0.02236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3401-9_0_4_line_95 | NAYY 4x150 SE | 92 | 94 | 0.023042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3401-9_0_4_line_96 | NAYY 4x150 SE | 93 | 95 | 0.0065543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3401-9_0_4_line_97 | NAYY 4x150 SE | 94 | 96 | 0.011695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3401-9_0_4_trafo_44 | 0.25 MVA 20/0.4 kV | 99 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2733399.8362 | 1248768.7523 | 2733391.258 | 1248759.1804
1 | 2733400.2709 | 1248784.3315 | 2733402.607 | 1248782.2378 | 2733399.8362 | 1248768.7523
2 | 2733400.2709 | 1248784.3315 | 2733394.4263 | 1248777.637
3 | 2733372.1523 | 1248755.2801 | 2733385.2953 | 1248767.7019 | 2733391.1098 | 1248773.8382 | 2733394.4263 | 1248777.637
4 | 2733332.3775 | 1248718.5775 | 2733343.6483 | 1248728.797 | 2733371.8552 | 1248754.9993 | 2733372.1523 | 1248755.2801
5 | 2733268.1139 | 1248692.8332 | 2733268.0569 | 1248688.984 | 2733267.0775 | 1248686.5153 | 2733265.4835 | 1248683.8327 | 2733241.8545 | 1248648.6618
6 | 2733268.1139 | 1248692.8332 | 2733282.9367 | 1248694.7903 | 2733290.1854 | 1248696.288 | 2733299.2221 | 1248698.5598 | 2733311.9842 | 1248704.1407 | 2733323.8712 | 1248711.6814 | 2733330.9074 | 1248717.2446 | 2733332.3775 | 1248718.5775
7 | 2733245.7046 | 1248708.7548 | 2733246.0656 | 1248705.8047 | 2733246.4731 | 1248702.4664 | 2733246.5935 | 1248701.4794 | 2733244.6127 | 1248701.2124 | 2733244.7377 | 1248700.3589 | 2733245.3884 | 1248695.6137 | 2733245.5234 | 1248694.6492 | 2733248.9828 | 1248695.0051 | 2733249.563 | 1248690.7032 | 2733268.1139 | 1248692.8332
8 | 2733210.0687 | 1248683.9985 | 2733218.2666 | 1248686.2848 | 2733217.1978 | 1248690.142 | 2733216.5132 | 1248693.0403 | 2733216.4183 | 1248694.9065 | 2733216.6333 | 1248696.7686 | 2733217.1095 | 1248698.4363 | 2733217.8388 | 1248699.9318 | 2733218.5885 | 1248701.1942 | 2733220.1389 | 1248702.7971 | 2733222.2067 | 1248704.2338 | 2733224.9427 | 1248705.5186 | 2733234.1944 | 1248706.6275 | 2733245.7046 | 1248708.7548
9 | 2733245.7046 | 1248708.7548 | 2733253.0636 | 1248710.7205
10 | 2733210.0687 | 1248683.9985 | 2733201.43 | 1248694.3964
11 | 2733282.2424 | 1248722.5727 | 2733277.2271 | 1248719.9066 | 2733267.8328 | 1248715.7362 | 2733257.434 | 1248711.8879 | 2733253.0636 | 1248710.7205
12 | 2733197.3911 | 1248738.4845 | 2733193.8871 | 1248728.0187 | 2733188.668 | 1248718.2372 | 2733186.6092 | 1248712.0298 | 2733190.8513 | 1248708.4886 | 2733195.8287 | 1248701.1383 | 2733201.43 | 1248694.3964
13 | 2733282.2424 | 1248722.5727 | 2733287.0137 | 1248725.1091 | 2733295.8691 | 1248730.4018 | 2733305.6434 | 1248737.4945 | 2733309.6466 | 1248740.937
14 | 2733197.3911 | 1248738.4845 | 2733205.9157 | 1248742.0266
15 | 2733197.3911 | 1248738.4845 | 2733189.6689 | 1248748.976 | 2733174.9257 | 1248786.4893 | 2733170.6827 | 1248785.3708
16 | 2733052.0662 | 1248826.4219 | 2733049.9894 | 1248825.2866
17 | 2733052.0662 | 1248826.4219 | 2733064.0675 | 1248833.0596
18 | 2733052.0662 | 1248826.4219 | 2733054.2571 | 1248822.7123 | 2733055.3934 | 1248821.2253 | 2733056.5582 | 1248820.1505 | 2733057.9539 | 1248819.2254 | 2733059.8351 | 1248818.5448 | 2733087.9316 | 1248816.177
19 | 2733064.0675 | 1248833.0596 | 2733077.5998 | 1248840.5441
20 | 2733106.2063 | 1248814.9613 | 2733096.3 | 1248815.4717 | 2733087.9316 | 1248816.177
21 | 2733077.5998 | 1248840.5441 | 2733104.6151 | 1248855.4858
22 | 2733149.9203 | 1248813.752 | 2733124.5551 | 1248814.016 | 2733106.2063 | 1248814.9613
23 | 2733149.9812 | 1248878.589 | 2733137.4319 | 1248873.6361 | 2733104.6151 | 1248855.4858
24 | 2733149.9203 | 1248813.752 | 2733169.4184 | 1248822.4533 | 2733179.9575 | 1248828.1173 | 2733194.2118 | 1248836.8676 | 2733196.6524 | 1248838.7057
25 | 2733149.9203 | 1248813.752 | 2733155.1323 | 1248812.0898
26 | 2733149.9812 | 1248878.589 | 2733149.0495 | 1248881.3928 | 2733148.4751 | 1248882.4142 | 2733147.5626 | 1248883.3501 | 2733146.3028 | 1248883.9445 | 2733144.8755 | 1248884.6019 | 2733122.3628 | 1248890.0457 | 2733122.3628 | 1248890.0457
27 | 2733149.9812 | 1248878.589 | 2733169.2488 | 1248883.4077
28 | 2733122.3628 | 1248890.0457 | 2733114.8408 | 1248890.9666
29 | 2733175.2539 | 1248884.9095 | 2733169.2488 | 1248883.4077
30 | 2733101.5517 | 1248892.5937 | 2733114.8408 | 1248890.9666
31 | 2733195.12 | 1248888.3773 | 2733192.7258 | 1248887.8352 | 2733182.9131 | 1248886.825 | 2733175.2539 | 1248884.9095
32 | 2733101.5517 | 1248892.5937 | 2733093.1995 | 1248893.6163 | 2733077.2318 | 1248896.5013
33 | 2733129.6127 | 1248956.2295 | 2733133.9371 | 1248955.7391
34 | 2733165.5582 | 1248957.9462 | 2733156.5158 | 1248956.194 | 2733148.8432 | 1248955.0873 | 2733138.9077 | 1248955.1754 | 2733133.9371 | 1248955.7391
35 | 2733129.6127 | 1248956.2295 | 2733127.0404 | 1248956.5212 | 2733106.4181 | 1248958.8489
36 | 2733172.1924 | 1248959.2317 | 2733165.5582 | 1248957.9462
37 | 2733077.1312 | 1248962.1545 | 2733106.4181 | 1248958.8489
38 | 2733195.12 | 1248888.3773 | 2733196.9797 | 1248888.7983 | 2733200.9533 | 1248889.9438
39 | 2733077.2318 | 1248896.5013 | 2733074.6893 | 1248896.9606
40 | 2733073.9845 | 1248897.088 | 2733074.6893 | 1248896.9606
41 | 2733053.0781 | 1248964.8695 | 2733077.1312 | 1248962.1545
42 | 2733057.0944 | 1248900.0775 | 2733058.4912 | 1248899.8872 | 2733073.9845 | 1248897.088
43 | 2733057.0944 | 1248900.0775 | 2733054.6818 | 1248900.4062
44 | 2733054.6818 | 1248900.4062 | 2733050.0123 | 1248901.0424 | 2733045.5759 | 1248901.2306
45 | 2733053.0781 | 1248964.8695 | 2733050.2938 | 1248965.1837 | 2733039.0439 | 1248965.2758 | 2733033.9333 | 1248964.9751
46 | 2733040.7006 | 1248901.4373 | 2733045.5759 | 1248901.2306
47 | 2733040.7006 | 1248901.4373 | 2733040.5834 | 1248901.4423 | 2733037.2684 | 1248901.301
48 | 2733037.2684 | 1248901.301 | 2733030.6593 | 1248901.0192 | 2733026.7024 | 1248900.177
49 | 2733048.4407 | 1249000.2624 | 2733051.1659 | 1249006.6559
50 | 2733048.4407 | 1249000.2624 | 2733043.9375 | 1249007.1332
51 | 2733048.4407 | 1249000.2624 | 2733047.4088 | 1248995.4238 | 2733045.6195 | 1248992.0139 | 2733043.283 | 1248988.7586 | 2733038.8483 | 1248984.7443 | 2733034.6028 | 1248981.7241 | 2733023.3179 | 1248974.7806
52 | 2733001.6992 | 1248961.4789 | 2733023.3179 | 1248974.7806
53 | 2733033.9333 | 1248964.9751 | 2733029.5686 | 1248964.7182 | 2733014.1744 | 1248962.5409
54 | 2733025.4446 | 1248899.9093 | 2733026.7024 | 1248900.177
55 | 2733001.6992 | 1248961.4789 | 2733009.1923 | 1248961.8362 | 2733014.1744 | 1248962.5409
56 | 2733072.3426 | 1248782.3266 | 2733073.4999 | 1248782.378
57 | 2733121.7738 | 1248790.8004 | 2733107.2435 | 1248786.0023 | 2733098.7651 | 1248784.0991 | 2733093.1261 | 1248783.2495 | 2733073.4999 | 1248782.378
58 | 2733026.3857 | 1248750.2444 | 2733038.408 | 1248763.2035 | 2733047.2236 | 1248771.6199 | 2733052.9669 | 1248775.5635 | 2733058.4493 | 1248778.6782 | 2733064.217 | 1248781.5324 | 2733067.4598 | 1248782.4504 | 2733072.3426 | 1248782.3266
59 | 2733128.7613 | 1248794.3125 | 2733122.2406 | 1248790.9545 | 2733121.7738 | 1248790.8004
60 | 2733093.2038 | 1248749.1987 | 2733072.7999 | 1248745.1593 | 2733032.4255 | 1248750.0686 | 2733026.3857 | 1248750.2444
61 | 2733128.7613 | 1248794.3125 | 2733131.7246 | 1248795.8385 | 2733152.6917 | 1248808.4206
62 | 2733155.1323 | 1248812.0898 | 2733152.6917 | 1248808.4206 | 2733152.6917 | 1248808.4206
63 | 2733186.3854 | 1248809.0002 | 2733155.1323 | 1248812.0898
64 | 2733226.2696 | 1248809.7526 | 2733191.4107 | 1248807.5785 | 2733186.3854 | 1248809.0002
65 | 2733186.3854 | 1248809.0002 | 2733185.3798 | 1248798.6239 | 2733185.0674 | 1248798.482
66 | 2733226.2696 | 1248809.7526 | 2733228.9296 | 1248813.4045 | 2733243.9706 | 1248823.2674
67 | 2733226.2696 | 1248809.7526 | 2733231.0006 | 1248803.2618
68 | 2733170.6827 | 1248785.3708 | 2733168.5323 | 1248790.972 | 2733185.0674 | 1248798.482
69 | 2733221.1521 | 1248857.1574 | 2733196.6524 | 1248838.7057
70 | 2733243.9706 | 1248823.2674 | 2733261.8411 | 1248834.9857 | 2733266.4626 | 1248838.4762
71 | 2733248.477 | 1248877.7368 | 2733221.1521 | 1248857.1574
72 | 2733205.9157 | 1248742.0266 | 2733221.585 | 1248748.5372
73 | 2733231.0624 | 1248752.4751 | 2733221.585 | 1248748.5372
74 | 2733231.0624 | 1248752.4751 | 2733240.7702 | 1248756.5087 | 2733247.5081 | 1248759.9787
75 | 2733297.3241 | 1248861.7851 | 2733266.4626 | 1248838.4762
76 | 2733248.477 | 1248877.7368 | 2733250.0874 | 1248878.9497 | 2733254.028 | 1248881.7518 | 2733259.5951 | 1248884.1124 | 2733287.3742 | 1248891.5237
77 | 2733291.8724 | 1248892.7238 | 2733287.3742 | 1248891.5237
78 | 2733291.8724 | 1248892.7238 | 2733321.7977 | 1248900.7078
79 | 2733222.3579 | 1248900.049 | 2733225.0489 | 1248901.6405 | 2733231.4752 | 1248905.7664 | 2733239.4242 | 1248911.3834 | 2733243.8689 | 1248915.0154
80 | 2733222.3579 | 1248900.049 | 2733216.8783 | 1248896.8082 | 2733212.2783 | 1248894.5392
81 | 2733243.8689 | 1248915.0154 | 2733246.1947 | 1248916.9158
82 | 2733200.9533 | 1248889.9438 | 2733202.2936 | 1248890.3302 | 2733209.437 | 1248893.1377 | 2733212.2783 | 1248894.5392
83 | 2733262.0354 | 1248929.8596 | 2733246.1947 | 1248916.9158
84 | 2733262.0354 | 1248929.8596 | 2733248.2198 | 1248976.3522
85 | 2733199.2512 | 1248964.8825 | 2733196.9183 | 1248964.3514
86 | 2733222.0751 | 1248970.2706 | 2733210.6958 | 1248967.4879 | 2733199.2512 | 1248964.8825
87 | 2733172.1924 | 1248959.2317 | 2733187.2249 | 1248962.1447 | 2733196.9183 | 1248964.3514
88 | 2733222.0751 | 1248970.2706 | 2733229.9901 | 1248972.2061
89 | 2733248.2198 | 1248976.3522 | 2733241.6479 | 1248975.0569 | 2733229.9901 | 1248972.2061
90 | 2733319.7663 | 1248820.779 | 2733330.6754 | 1248831.2523 | 2733330.6754 | 1248831.2523
91 | 2733318.0313 | 1248819.1133 | 2733319.7663 | 1248820.779
92 | 2733300.4687 | 1248802.2525 | 2733318.0313 | 1248819.1133
93 | 2733279.5281 | 1248782.3219 | 2733276.0349 | 1248779.4898
94 | 2733279.5281 | 1248782.3219 | 2733280.6891 | 1248783.2632 | 2733295.7407 | 1248797.7134
95 | 2733257.9049 | 1248765.333 | 2733259.7382 | 1248766.2771 | 2733276.0349 | 1248779.4898
96 | 2733300.4687 | 1248802.2525 | 2733295.7407 | 1248797.7134
97 | 2733257.9049 | 1248765.333 | 2733247.5081 | 1248759.9787

## bus_geodata
| x | y | coords
0 | 2733391.258 | 1248759.1804
1 | 2733399.8362 | 1248768.7523
2 | 2733400.2709 | 1248784.3315
3 | 2733394.4263 | 1248777.637
4 | 2733372.1523 | 1248755.2801
5 | 2733241.8545 | 1248648.6618
6 | 2733268.1139 | 1248692.8332
7 | 2733332.3775 | 1248718.5775
8 | 2733245.7046 | 1248708.7548
9 | 2733210.0687 | 1248683.9985
10 | 2733253.0636 | 1248710.7205
11 | 2733201.43 | 1248694.3964
12 | 2733282.2424 | 1248722.5727
13 | 2733197.3911 | 1248738.4845
14 | 2733049.9894 | 1248825.2866
15 | 2733052.0662 | 1248826.4219
16 | 2733064.0675 | 1248833.0596
17 | 2733087.9316 | 1248816.177
18 | 2733077.5998 | 1248840.5441
19 | 2733106.2063 | 1248814.9613
20 | 2733104.6151 | 1248855.4858
21 | 2733149.9203 | 1248813.752
22 | 2733149.9812 | 1248878.589
23 | 2733122.3628 | 1248890.0457
24 | 2733169.2488 | 1248883.4077
25 | 2733114.8408 | 1248890.9666
26 | 2733175.2539 | 1248884.9095
27 | 2733101.5517 | 1248892.5937
28 | 2733133.9371 | 1248955.7391
29 | 2733129.6127 | 1248956.2295
30 | 2733165.5582 | 1248957.9462
31 | 2733106.4181 | 1248958.8489
32 | 2733195.12 | 1248888.3773
33 | 2733077.2318 | 1248896.5013
34 | 2733074.6893 | 1248896.9606
35 | 2733077.1312 | 1248962.1545
36 | 2733073.9845 | 1248897.088
37 | 2733057.0944 | 1248900.0775
38 | 2733054.6818 | 1248900.4062
39 | 2733053.0781 | 1248964.8695
40 | 2733045.5759 | 1248901.2306
41 | 2733040.7006 | 1248901.4373
42 | 2733037.2684 | 1248901.301
43 | 2733051.1659 | 1249006.6559
44 | 2733048.4407 | 1249000.2624
45 | 2733043.9375 | 1249007.1332
46 | 2733023.3179 | 1248974.7806
47 | 2733033.9333 | 1248964.9751
48 | 2733026.7024 | 1248900.177
49 | 2733025.4446 | 1248899.9093
50 | 2733014.1744 | 1248962.5409
51 | 2733073.4999 | 1248782.378
52 | 2733072.3426 | 1248782.3266
53 | 2733121.7738 | 1248790.8004
54 | 2733026.3857 | 1248750.2444
55 | 2733128.7613 | 1248794.3125
56 | 2733093.2038 | 1248749.1987
57 | 2733152.6917 | 1248808.4206
58 | 2733155.1323 | 1248812.0898
59 | 2733186.3854 | 1248809.0002
60 | 2733226.2696 | 1248809.7526
61 | 2733185.0674 | 1248798.482
62 | 2733196.6524 | 1248838.7057
63 | 2733243.9706 | 1248823.2674
64 | 2733231.0006 | 1248803.2618
65 | 2733170.6827 | 1248785.3708
66 | 2733221.1521 | 1248857.1574
67 | 2733205.9157 | 1248742.0266
68 | 2733221.585 | 1248748.5372
69 | 2733231.0624 | 1248752.4751
70 | 2733266.4626 | 1248838.4762
71 | 2733248.477 | 1248877.7368
72 | 2733287.3742 | 1248891.5237
73 | 2733291.8724 | 1248892.7238
74 | 2733321.7977 | 1248900.7078
75 | 2733222.3579 | 1248900.049
76 | 2733243.8689 | 1248915.0154
77 | 2733212.2783 | 1248894.5392
78 | 2733246.1947 | 1248916.9158
79 | 2733200.9533 | 1248889.9438
80 | 2733262.0354 | 1248929.8596
81 | 2733199.2512 | 1248964.8825
82 | 2733196.9183 | 1248964.3514
83 | 2733222.0751 | 1248970.2706
84 | 2733172.1924 | 1248959.2317
85 | 2733248.2198 | 1248976.3522
86 | 2733229.9901 | 1248972.2061
87 | 2733309.6466 | 1248740.937
88 | 2733330.6754 | 1248831.2523
89 | 2733319.7663 | 1248820.779
90 | 2733318.0313 | 1248819.1133
91 | 2733279.5281 | 1248782.3219
92 | 2733276.0349 | 1248779.4898
93 | 2733295.7407 | 1248797.7134
94 | 2733257.9049 | 1248765.333
95 | 2733300.4687 | 1248802.2525
96 | 2733247.5081 | 1248759.9787
97 | 2733297.3241 | 1248861.7851
98 | 2733001.6992 | 1248961.4789
99 | 2733149.9203 | 1248813.752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1