## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3506-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3506-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3506-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3506-25_0_3_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_3506-25_0_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_3506-25_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3506-25_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3506-25_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3506-25_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3506-25_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3506-25_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_3506-25_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3506-25_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_3506-25_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_3506-25_0_3_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_3506-25_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_3506-25_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_3506-25_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3506-25_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3506-25_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3506-25_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3506-25_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_3506-25_0_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_3506-25_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3506-25_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3506-25_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3506-25_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_3506-25_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3506-25_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3506-25_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3506-25_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3506-25_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3506-25_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3506-25_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_3506-25_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3506-25_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_3506-25_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_3506-25_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3506-25_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_3506-25_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3506-25_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3506-25_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3506-25_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3506-25_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_3506-25_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3506-25_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_3506-25_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3506-25_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_3506-25_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_3506-25_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_3506-25_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_3506-25_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3506-25_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3506-25_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3506-25_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_3506-25_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_3506-25_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3506-25_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_3506-25_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_3506-25_0_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3506-25_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_3506-25_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3506-25_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_3506-25_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_3506-25_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_3506-25_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3506-25_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3506-25_0_3_node_68 | 0.4 | n |  | TRUE
68 | bus_MV_60_1_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3506-25_0_3_load_0 | 0 | 0.0028654 | 0.00071815 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3506-25_0_3_load_1 | 1 | 0.0041586 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3506-25_0_3_load_2 | 2 | 0.0021169 | 0.00053055 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3506-25_0_3_load_29 | 4 | 0.0017593 | 0.00044091 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3506-25_0_3_load_10 | 5 | 0.0019243 | 0.00048228 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3506-25_0_3_load_3 | 6 | 0.010193 | 0.0025546 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3506-25_0_3_load_5 | 8 | 0.016993 | 0.0042589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3506-25_0_3_load_6 | 9 | 0.0097586 | 0.0024457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3506-25_0_3_load_16 | 10 | 0.010434 | 0.0026149 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3506-25_0_3_load_30 | 12 | 0.0033778 | 0.00084656 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3506-25_0_3_load_31 | 13 | 0.0052923 | 0.0013264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3506-25_0_3_load_44 | 14 | 0.0029335 | 0.0007352 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3506-25_0_3_load_37 | 15 | 0.0015303 | 0.00038352 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3506-25_0_3_load_43 | 16 | 0.0055737 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3506-25_0_3_load_7 | 17 | 0.0028127 | 0.00070493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3506-25_0_3_load_8 | 18 | 0.003622 | 0.00090776 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3506-25_0_3_load_9 | 19 | 0.009911 | 0.0024839 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3506-25_0_3_load_11 | 20 | 0.0049004 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3506-25_0_3_load_52 | 21 | 0.0019881 | 0.00049826 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3506-25_0_3_load_50 | 22 | 0.0036675 | 0.00091917 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3506-25_0_3_load_12 | 23 | 0.0025179 | 0.00063105 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3506-25_0_3_load_13 | 24 | 0.0037877 | 0.00094928 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3506-25_0_3_load_15 | 25 | 0.0025157 | 0.00063049 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3506-25_0_3_load_33 | 26 | 0.0025506 | 0.00063923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3506-25_0_3_load_20 | 27 | 0.0067312 | 0.001687 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3506-25_0_3_load_17 | 28 | 0.0018441 | 0.00046217 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3506-25_0_3_load_18 | 29 | 0.00233 | 0.00058394 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3506-25_0_3_load_22 | 32 | 0.0019684 | 0.00049332 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3506-25_0_3_load_36 | 33 | 0.0062521 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3506-25_0_3_load_34 | 34 | 0.0020205 | 0.00050639 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3506-25_0_3_load_45 | 35 | 0.0019582 | 0.00049078 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3506-25_0_3_load_53 | 36 | 0.0027303 | 0.00068427 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3506-25_0_3_load_35 | 37 | 0.0018579 | 0.00046563 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3506-25_0_3_load_46 | 38 | 0.0016832 | 0.00042186 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3506-25_0_3_load_23 | 39 | 0.0028599 | 0.00071677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3506-25_0_3_load_24 | 40 | 0.0027706 | 0.00069438 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3506-25_0_3_load_25 | 41 | 0.0013009 | 0.00032605 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3506-25_0_3_load_26 | 42 | 0.0036171 | 0.00090653 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3506-25_0_3_load_27 | 43 | 0.0073146 | 0.0018332 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3506-25_0_3_load_32 | 44 | 0.0026698 | 0.00066911 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3506-25_0_3_load_42 | 45 | 0.004862 | 0.0012185 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3506-25_0_3_load_54 | 46 | 0.0029762 | 0.0007459 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3506-25_0_3_load_38 | 47 | 0.0011362 | 0.00028476 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3506-25_0_3_load_39 | 48 | 0.0037458 | 0.00093878 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3506-25_0_3_load_55 | 50 | 0.0017274 | 0.00043293 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3506-25_0_3_load_47 | 51 | 0.0031172 | 0.00078125 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3506-25_0_3_load_48 | 52 | 0.0021886 | 0.00054851 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3506-25_0_3_load_49 | 53 | 0.0012665 | 0.00031741 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3506-25_0_3_load_56 | 54 | 0.0021532 | 0.00053964 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3506-25_0_3_load_58 | 56 | 0.0015805 | 0.00039612 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3506-25_0_3_load_59 | 57 | 0.0025513 | 0.00063941 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3506-25_0_3_load_69 | 58 | 0.0013533 | 0.00033917 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3506-25_0_3_load_60 | 59 | 0.0019866 | 0.00049789 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3506-25_0_3_load_61 | 60 | 0.0020818 | 0.00052175 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3506-25_0_3_load_62 | 61 | 0.0021049 | 0.00052753 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3506-25_0_3_load_63 | 62 | 0.0012875 | 0.00032267 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3506-25_0_3_load_64 | 63 | 0.0016225 | 0.00040665 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3506-25_0_3_load_65 | 64 | 0.0033974 | 0.00085147 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3506-25_0_3_load_66 | 65 | 0.0013733 | 0.00034417 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3506-25_0_3_load_67 | 66 | 0.0027525 | 0.00068984 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3506-25_0_3_load_68 | 67 | 0.0034552 | 0.00086596 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3506-25_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3506-25_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.033967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3506-25_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0096272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3506-25_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3506-25_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3506-25_0_3_line_5 | NAYY 4x150 SE | 4 | 37 | 0.01866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3506-25_0_3_line_6 | NAYY 4x150 SE | 5 | 18 | 0.01231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3506-25_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.011845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3506-25_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.047409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3506-25_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.043787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3506-25_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.030939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3506-25_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.016621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3506-25_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.039958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3506-25_0_3_line_13 | NAYY 4x150 SE | 11 | 25 | 0.0096206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3506-25_0_3_line_14 | NAYY 4x150 SE | 11 | 23 | 0.014232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3506-25_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0040484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3506-25_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3506-25_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.041391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3506-25_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0078897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3506-25_0_3_line_19 | NAYY 4x150 SE | 15 | 47 | 0.024093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3506-25_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.010605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3506-25_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0092095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3506-25_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.022546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3506-25_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.00019336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3506-25_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0035808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3506-25_0_3_line_25 | NAYY 4x150 SE | 22 | 53 | 0.0058954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3506-25_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0045845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3506-25_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.021928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3506-25_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.027322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3506-25_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.032806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3506-25_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.030895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3506-25_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0086413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3506-25_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.003647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3506-25_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.036263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3506-25_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.030258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3506-25_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.015873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3506-25_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.015761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3506-25_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.033138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3506-25_0_3_line_38 | NAYY 4x150 SE | 34 | 37 | 0.010582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3506-25_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.006125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3506-25_0_3_line_40 | NAYY 4x150 SE | 36 | 46 | 0.042891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3506-25_0_3_line_41 | NAYY 4x150 SE | 38 | 43 | 0.031308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3506-25_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.011622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3506-25_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.026917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3506-25_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.010975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3506-25_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0096111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3506-25_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0066085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3506-25_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0071854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3506-25_0_3_line_48 | NAYY 4x150 SE | 46 | 54 | 0.011296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3506-25_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.007577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3506-25_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.034601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3506-25_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.03195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3506-25_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.027184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3506-25_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.033554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3506-25_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.035835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3506-25_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.016135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3506-25_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.025521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3506-25_0_3_line_57 | NAYY 4x150 SE | 56 | 58 | 0.53572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3506-25_0_3_line_58 | NAYY 4x150 SE | 57 | 59 | 0.035882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3506-25_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.026904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3506-25_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.031127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3506-25_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.02703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3506-25_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0035315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3506-25_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0032667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3506-25_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.038358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3506-25_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.0021174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3506-25_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.019818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3506-25_0_3_trafo_18 | 0.25 MVA 20/0.4 kV | 68 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2760871.6567 | 1179989.1454 | 2760894.2572 | 1180007.7118
1 | 2760924.0101 | 1180020.3924 | 2760919.9752 | 1180020.9856 | 2760912.8044 | 1180020.4594 | 2760906.5093 | 1180017.777 | 2760894.2572 | 1180007.7118
2 | 2760933.535 | 1180018.9921 | 2760924.0101 | 1180020.3924
3 | 2760933.535 | 1180018.9921 | 2760925.7089 | 1180028.0699
4 | 2760933.535 | 1180018.9921 | 2760949.0957 | 1180014.0354
5 | 2760925.7089 | 1180028.0699 | 2760925.5983 | 1180028.1982 | 2760913.4063 | 1180039.3141 | 2760911.9745 | 1180040.6995
6 | 2760960.8246 | 1180010.2993 | 2760949.0957 | 1180014.0354
7 | 2761017.3198 | 1180066.36 | 2761019.1684 | 1180072.6596 | 2761018.853 | 1180077.9296
8 | 2761016.02 | 1180125.254 | 2761018.853 | 1180077.9296
9 | 2761017.3198 | 1180066.36 | 2761025.8403 | 1180060.7506 | 2761038.1901 | 1180049.7393 | 2761051.0341 | 1180038.5412 | 2761051.0341 | 1180038.5412
10 | 2760986.0758 | 1180117.4695 | 2761016.02 | 1180125.254
11 | 2761051.0341 | 1180038.5412 | 2761065.5603 | 1180030.463
12 | 2760984.2015 | 1180154.2248 | 2760988.9872 | 1180150.4945 | 2760990.9187 | 1180145.7422 | 2760989.5028 | 1180131.3028 | 2760986.0758 | 1180117.4695
13 | 2760984.2015 | 1180154.2248 | 2760978.406 | 1180146.5457
14 | 2760984.2015 | 1180154.2248 | 2760991.4569 | 1180166.4684
15 | 2761069.0984 | 1180028.4954 | 2761065.5603 | 1180030.463
16 | 2761123.1583 | 1180057.6062 | 2761069.0984 | 1180028.4954
17 | 2761142.9842 | 1180021.2719 | 2761123.1583 | 1180057.6062
18 | 2761123.1583 | 1180057.6062 | 2761125.3703 | 1180065.1795
19 | 2761142.9842 | 1180021.2719 | 2761142.751 | 1180011.1924 | 2761143.8676 | 1179997.2261
20 | 2760970.6722 | 1180006.4663 | 2760967.3414 | 1180008.2235 | 2760960.8246 | 1180010.2993
21 | 2760970.6722 | 1180006.4663 | 2760973.5597 | 1180004.9431 | 2760977.8215 | 1180000.7983 | 2760977.8215 | 1180000.7983
22 | 2760977.692 | 1179978.961 | 2760980.0763 | 1179987.7142 | 2760979.9173 | 1179995.3388 | 2760977.8215 | 1180000.7983
23 | 2760977.692 | 1179978.961 | 2760977.6412 | 1179978.7744
24 | 2760975.6516 | 1179975.7973 | 2760977.6412 | 1179978.7744 | 2760977.6412 | 1179978.7744
25 | 2760975.6516 | 1179975.7973 | 2760973.585 | 1179972.7047 | 2760972.0736 | 1179971.1394
26 | 2760993.6256 | 1180170.5039 | 2760992.4786 | 1180168.1925 | 2760991.4569 | 1180166.4684
27 | 2760978.406 | 1180146.5457 | 2760976.7913 | 1180144.4063 | 2760970.7911 | 1180137.5837 | 2760964.2744 | 1180129.7859
28 | 2760964.2744 | 1180129.7859 | 2760960.1051 | 1180124.7969 | 2760950.1672 | 1180110.3399 | 2760947.9102 | 1180107.9647
29 | 2760921.7022 | 1180088.412 | 2760924.0681 | 1180090.0107 | 2760943.715 | 1180103.5497 | 2760947.9102 | 1180107.9647
30 | 2760921.7022 | 1180088.412 | 2760908.3704 | 1180079.4026 | 2760900.1105 | 1180072.1858 | 2760898.212 | 1180068.8527
31 | 2760893.9352 | 1180061.3441 | 2760898.212 | 1180068.8527
32 | 2760892.1325 | 1180058.1707 | 2760893.9352 | 1180061.3441
33 | 2760893.9352 | 1180061.3441 | 2760883.7679 | 1180066.5202 | 2760876.2439 | 1180072.0342 | 2760873.8152 | 1180078.508 | 2760875.2961 | 1180084.275 | 2760876.1927 | 1180086.7769
34 | 2760892.1325 | 1180058.1707 | 2760889.637 | 1180055.7461 | 2760883.8696 | 1180051.6323 | 2760866.7219 | 1180041.9451
35 | 2760892.1325 | 1180058.1707 | 2760904.3273 | 1180048.0107
36 | 2760876.1927 | 1180086.7769 | 2760877.5857 | 1180090.6642 | 2760882.1764 | 1180101.3514
37 | 2760866.7219 | 1180041.9451 | 2760861.4246 | 1180038.9525 | 2760843.0029 | 1180019.1395
38 | 2760904.3273 | 1180048.0107 | 2760904.986 | 1180047.4619 | 2760911.9745 | 1180040.6995
39 | 2760884.5938 | 1180106.9792 | 2760882.1764 | 1180101.3514
40 | 2760843.0029 | 1180019.1395 | 2760840.014 | 1180015.9249 | 2760829.044 | 1180009.7142 | 2760816.5726 | 1180004.1972 | 2760808.282 | 1179999.5376 | 2760805.684 | 1179998.641
41 | 2760884.5938 | 1180106.9792 | 2760896.9502 | 1180135.7455
42 | 2760921.8277 | 1180160.3216 | 2760929.1012 | 1180169.3858
43 | 2760901.1565 | 1180144.3358 | 2760905.5094 | 1180150.0759 | 2760914.2468 | 1180153.1686 | 2760920.6521 | 1180158.8565 | 2760921.8277 | 1180160.3216
44 | 2760935.7937 | 1180178.0716 | 2760934.7338 | 1180176.4052 | 2760929.1012 | 1180169.3858
45 | 2760901.1565 | 1180144.3358 | 2760899.9655 | 1180142.7653 | 2760896.9502 | 1180135.7455
46 | 2760939.3405 | 1180183.6476 | 2760935.7937 | 1180178.0716
47 | 2760943.1968 | 1180189.7105 | 2760939.3405 | 1180183.6476
48 | 2760795.0062 | 1179994.9559 | 2760805.684 | 1179998.641
49 | 2761143.8676 | 1179997.2261 | 2761144.4715 | 1179989.6733
50 | 2761143.3545 | 1179955.2156 | 2761145.4809 | 1179977.0473 | 2761144.4715 | 1179989.6733
51 | 2761143.3545 | 1179955.2156 | 2761136.7354 | 1179923.9583
52 | 2760942.3224 | 1179957.0388 | 2760928.9175 | 1179952.7108 | 2760916.655 | 1179948.1091
53 | 2760942.3224 | 1179957.0388 | 2760960.8888 | 1179963.0333 | 2760967.0481 | 1179965.9345 | 2760972.0736 | 1179971.1394
54 | 2760762.5079 | 1179980.0379 | 2760769.6027 | 1179983.6868 | 2760784.5922 | 1179991.3619 | 2760795.0062 | 1179994.9559
55 | 2760762.5079 | 1179980.0379 | 2760764.7788 | 1179990.5523 | 2760767.3848 | 1179995.2571
56 | 2760767.3848 | 1179995.2571 | 2760779.7508 | 1180017.582
57 | 2760767.3848 | 1179995.2571 | 2760276.2228 | 1180209.164
58 | 2760795.3951 | 1180049.8591 | 2760783.1434 | 1180023.7067 | 2760779.7508 | 1180017.582
59 | 2760805.0157 | 1180074.8606 | 2760803.8715 | 1180069.035 | 2760797.5155 | 1180054.3852 | 2760795.3951 | 1180049.8591
60 | 2760805.0157 | 1180074.8606 | 2760808.9217 | 1180094.7483 | 2760810.664 | 1180105.4666
61 | 2760810.664 | 1180105.4666 | 2760812.11 | 1180114.3619 | 2760818.0298 | 1180131.38
62 | 2760818.0298 | 1180131.38 | 2760819.19 | 1180134.7154
63 | 2760820.2632 | 1180137.8008 | 2760820.2632 | 1180137.8008 | 2760819.19 | 1180134.7154
64 | 2760820.2632 | 1180137.8008 | 2760824.3584 | 1180148.6867 | 2760823.4154 | 1180158.7591 | 2760826.3669 | 1180174.6631 | 2760826.4472 | 1180175.0906
65 | 2760826.4472 | 1180175.0906 | 2760826.8385 | 1180177.1715
66 | 2760830.5003 | 1180196.6486 | 2760826.8385 | 1180177.1715

## bus_geodata
| x | y | coords
0 | 2760871.6567 | 1179989.1454
1 | 2760894.2572 | 1180007.7118
2 | 2760924.0101 | 1180020.3924
3 | 2760933.535 | 1180018.9921
4 | 2760925.7089 | 1180028.0699
5 | 2760949.0957 | 1180014.0354
6 | 2761018.853 | 1180077.9296
7 | 2761017.3198 | 1180066.36
8 | 2761016.02 | 1180125.254
9 | 2761051.0341 | 1180038.5412
10 | 2760986.0758 | 1180117.4695
11 | 2760984.2015 | 1180154.2248
12 | 2761065.5603 | 1180030.463
13 | 2761069.0984 | 1180028.4954
14 | 2761123.1583 | 1180057.6062
15 | 2761142.9842 | 1180021.2719
16 | 2761125.3703 | 1180065.1795
17 | 2760970.6722 | 1180006.4663
18 | 2760960.8246 | 1180010.2993
19 | 2760977.8215 | 1180000.7983
20 | 2760977.692 | 1179978.961
21 | 2760977.6412 | 1179978.7744
22 | 2760975.6516 | 1179975.7973
23 | 2760991.4569 | 1180166.4684
24 | 2760993.6256 | 1180170.5039
25 | 2760978.406 | 1180146.5457
26 | 2760964.2744 | 1180129.7859
27 | 2760947.9102 | 1180107.9647
28 | 2760898.212 | 1180068.8527
29 | 2760921.7022 | 1180088.412
30 | 2760893.9352 | 1180061.3441
31 | 2760892.1325 | 1180058.1707
32 | 2760876.1927 | 1180086.7769
33 | 2760866.7219 | 1180041.9451
34 | 2760904.3273 | 1180048.0107
35 | 2760882.1764 | 1180101.3514
36 | 2760843.0029 | 1180019.1395
37 | 2760911.9745 | 1180040.6995
38 | 2760884.5938 | 1180106.9792
39 | 2760921.8277 | 1180160.3216
40 | 2760929.1012 | 1180169.3858
41 | 2760901.1565 | 1180144.3358
42 | 2760935.7937 | 1180178.0716
43 | 2760896.9502 | 1180135.7455
44 | 2760939.3405 | 1180183.6476
45 | 2760943.1968 | 1180189.7105
46 | 2760805.684 | 1179998.641
47 | 2761143.8676 | 1179997.2261
48 | 2761144.4715 | 1179989.6733
49 | 2761143.3545 | 1179955.2156
50 | 2761136.7354 | 1179923.9583
51 | 2760942.3224 | 1179957.0388
52 | 2760916.655 | 1179948.1091
53 | 2760972.0736 | 1179971.1394
54 | 2760795.0062 | 1179994.9559
55 | 2760762.5079 | 1179980.0379
56 | 2760767.3848 | 1179995.2571
57 | 2760779.7508 | 1180017.582
58 | 2760276.2228 | 1180209.164
59 | 2760795.3951 | 1180049.8591
60 | 2760805.0157 | 1180074.8606
61 | 2760810.664 | 1180105.4666
62 | 2760818.0298 | 1180131.38
63 | 2760819.19 | 1180134.7154
64 | 2760820.2632 | 1180137.8008
65 | 2760826.4472 | 1180175.0906
66 | 2760826.8385 | 1180177.1715
67 | 2760830.5003 | 1180196.6486
68 | 2760893.9352 | 1180061.3441

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1