## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3542-1_1_3_node_44 | 0.4 | n |  | TRUE
1 | bus_LV_3542-1_1_3_node_45 | 0.4 | n |  | TRUE
2 | bus_LV_3542-1_1_3_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_3542-1_1_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_3542-1_1_3_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_3542-1_1_3_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_3542-1_1_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_3542-1_1_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_3542-1_1_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_3542-1_1_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_3542-1_1_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3542-1_1_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3542-1_1_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3542-1_1_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3542-1_1_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3542-1_1_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3542-1_1_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_3542-1_1_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3542-1_1_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_3542-1_1_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_3542-1_1_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3542-1_1_3_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_3542-1_1_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3542-1_1_3_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_3542-1_1_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3542-1_1_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_3542-1_1_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_3542-1_1_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3542-1_1_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_3542-1_1_3_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_3542-1_1_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_3542-1_1_3_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_3542-1_1_3_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_3542-1_1_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_3542-1_1_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_3542-1_1_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_3542-1_1_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_3542-1_1_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_3542-1_1_3_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_3542-1_1_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3542-1_1_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_3542-1_1_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_3542-1_1_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3542-1_1_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_3542-1_1_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_3542-1_1_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_3542-1_1_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_3542-1_1_3_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_3542-1_1_3_node_65 | 0.4 | n |  | TRUE
49 | bus_MV_157_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3542-1_1_3_load_44 | 0 | 0.0014469 | 0.00036263 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3542-1_1_3_load_45 | 1 | 0.0044528 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3542-1_1_3_load_43 | 2 | 0.0012312 | 0.00030858 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3542-1_1_3_load_42 | 3 | 0.0009181 | 0.0002301 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3542-1_1_3_load_46 | 4 | 0.0080326 | 0.0020132 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3542-1_1_3_load_41 | 5 | 0.0028785 | 0.00072143 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3542-1_1_3_load_47 | 6 | 0.0014381 | 0.00036043 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3542-1_1_3_load_49 | 7 | 0.0051522 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3542-1_1_3_load_48 | 9 | 0.0055459 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3542-1_1_3_load_9 | 10 | 0.0058125 | 0.0014567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3542-1_1_3_load_52 | 16 | 0.0021799 | 0.00054633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3542-1_1_3_load_73 | 19 | 0.0020868 | 0.000523 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3542-1_1_3_load_70 | 21 | 0.0020831 | 0.00052207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3542-1_1_3_load_68 | 23 | 0.0050751 | 0.0012719 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3542-1_1_3_load_69 | 25 | 0.0023925 | 0.00059962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3542-1_1_3_load_50 | 26 | 0.0072718 | 0.0018225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3542-1_1_3_load_77 | 28 | 0.0055145 | 0.0013821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3542-1_1_3_load_76 | 29 | 0.005601 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3542-1_1_3_load_51 | 30 | 0.0014852 | 0.00037224 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3542-1_1_3_load_74 | 32 | 0.041638 | 0.010436 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3542-1_1_3_load_75 | 34 | 0.00056538 | 0.0001417 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3542-1_1_3_load_72 | 35 | 0.0050695 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3542-1_1_3_load_63 | 36 | 0.0045508 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3542-1_1_3_load_60 | 37 | 0.0039775 | 0.00099685 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3542-1_1_3_load_71 | 38 | 0.005674 | 0.001422 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3542-1_1_3_load_61 | 39 | 0.0043163 | 0.0010818 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3542-1_1_3_load_55 | 40 | 0.0017269 | 0.00043281 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3542-1_1_3_load_56 | 41 | 0.0018452 | 0.00046245 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3542-1_1_3_load_57 | 42 | 0.0007631 | 0.00019125 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3542-1_1_3_load_58 | 43 | 0.0018867 | 0.00047286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3542-1_1_3_load_59 | 44 | 0.0034008 | 0.00085233 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3542-1_1_3_load_66 | 46 | 0.0012565 | 0.0003149 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3542-1_1_3_load_67 | 47 | 0.0032326 | 0.00081016 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3542-1_1_3_load_65 | 48 | 0.0019158 | 0.00048013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3542-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3542-1_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0036064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3542-1_1_3_line_2 | NAYY 4x150 SE | 1 | 4 | 0.046252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3542-1_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.030813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3542-1_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00029826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3542-1_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.010763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3542-1_1_3_line_6 | NAYY 4x150 SE | 5 | 14 | 0.028914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3542-1_1_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.011254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3542-1_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.007332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3542-1_1_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.057094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3542-1_1_3_line_10 | NAYY 4x150 SE | 8 | 26 | 0.017451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3542-1_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.28772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3542-1_1_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.07475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3542-1_1_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.15077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3542-1_1_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.074462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3542-1_1_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.071109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3542-1_1_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.046392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3542-1_1_3_line_17 | NAYY 4x150 SE | 16 | 30 | 0.0040673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3542-1_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.033721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3542-1_1_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.024582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3542-1_1_3_line_20 | NAYY 4x150 SE | 18 | 31 | 0.053394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3542-1_1_3_line_21 | NAYY 4x150 SE | 18 | 30 | 0.01932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3542-1_1_3_line_22 | NAYY 4x150 SE | 19 | 32 | 0.0023976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3542-1_1_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.037638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3542-1_1_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.077011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3542-1_1_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.035767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3542-1_1_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.98463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3542-1_1_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.023282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3542-1_1_3_line_28 | NAYY 4x150 SE | 23 | 33 | 0.025914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3542-1_1_3_line_29 | NAYY 4x150 SE | 24 | 28 | 0.042932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3542-1_1_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.026961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3542-1_1_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.081241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3542-1_1_3_line_32 | NAYY 4x150 SE | 31 | 36 | 0.025439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3542-1_1_3_line_33 | NAYY 4x150 SE | 31 | 37 | 0.0089907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3542-1_1_3_line_34 | NAYY 4x150 SE | 33 | 47 | 0.022247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3542-1_1_3_line_35 | NAYY 4x150 SE | 33 | 39 | 0.0040907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3542-1_1_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.005027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3542-1_1_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.02618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3542-1_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.21825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3542-1_1_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.029772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3542-1_1_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.024217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3542-1_1_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.0080226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3542-1_1_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3542-1_1_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0036234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3542-1_1_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.015055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3542-1_1_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.015517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3542-1_1_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.016384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3542-1_1_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.027459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3542-1_1_3_trafo_74 | 0.25 MVA 20/0.4 kV | 49 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2763970.8891 | 1170072.4989 | 2764016.7388 | 1170071.6623
1 | 2763967.2833 | 1170072.5647 | 2763970.8891 | 1170072.4989
2 | 2764016.7388 | 1170071.6623 | 2764057.3565 | 1170070.9211 | 2764062.96 | 1170070.4019
3 | 2763967.2833 | 1170072.5647 | 2763955.3597 | 1170072.7823 | 2763936.4722 | 1170072.7513
4 | 2763936.1739 | 1170072.7508 | 2763936.4722 | 1170072.7513
5 | 2764073.6774 | 1170069.4091 | 2764062.96 | 1170070.4019
6 | 2763907.386 | 1170071.0382 | 2763918.5415 | 1170072.7219 | 2763936.1739 | 1170072.7508
7 | 2764073.6774 | 1170069.4091 | 2764079.5092 | 1170068.8688 | 2764084.7748 | 1170067.6852
8 | 2764143.8462 | 1170043.1263 | 2764137.4077 | 1170046.6339
9 | 2764084.7748 | 1170067.6852 | 2764095.7411 | 1170065.2201 | 2764112.6482 | 1170060.122 | 2764137.4077 | 1170046.6339
10 | 2764143.8462 | 1170043.1263 | 2764157.3495 | 1170032.0301
11 | 2763623.0823 | 1170064.4593 | 2763626.5521 | 1170063.5641 | 2763633.2713 | 1170057.2194 | 2763644.3742 | 1170045.3894 | 2763651.8278 | 1170038.5087 | 2763657.8814 | 1170027.3751 | 2763671.1195 | 1170008.5639 | 2763675.2919 | 1169995.9444 | 2763695.3102 | 1169980.3542 | 2763719.5208 | 1169967.425 | 2763738.4469 | 1169960.7239 | 2763762.0324 | 1169954.9952 | 2763782.5413 | 1169952.5856 | 2763799.2734 | 1169953.8985 | 2763807.4767 | 1169961.362 | 2763816.2915 | 1169987.0914 | 2763823.7781 | 1169991.3549 | 2763841.8008 | 1169992.4522
12 | 2763910.2059 | 1169996.6616 | 2763907.0446 | 1169988.7796 | 2763898.639 | 1169986.7708 | 2763864.8332 | 1169993.8546 | 2763841.8008 | 1169992.4522
13 | 2763615.06 | 1169922.5621 | 2763613.6552 | 1169941.7961 | 2763610.6224 | 1169986.7636 | 2763609.3141 | 1169999.9283 | 2763607.1208 | 1170007.6419 | 2763599.4925 | 1170018.9662 | 2763615.0633 | 1170051.9189 | 2763618.6496 | 1170059.6677 | 2763623.0823 | 1170064.4593
14 | 2763907.386 | 1170071.0382 | 2763907.6068 | 1170066.3179 | 2763907.9809 | 1170049.2577 | 2763909.8794 | 1170015.6248 | 2763910.0888 | 1170011.8828 | 2763910.4558 | 1170006.8551 | 2763910.2059 | 1169996.6616
15 | 2763655.8903 | 1169934.7294 | 2763636.9554 | 1169949.3373 | 2763627.4542 | 1169953.5266 | 2763622.6394 | 1169952.6391 | 2763620.9238 | 1169951.5358 | 2763618.5714 | 1169946.2672 | 2763616.9062 | 1169940.7838 | 2763616.7097 | 1169928.3343 | 2763615.06 | 1169922.5621
16 | 2763655.8903 | 1169934.7294 | 2763680.6626 | 1169917.4893 | 2763695.1127 | 1169910.1411
17 | 2763698.7382 | 1169908.2975 | 2763695.1127 | 1169910.1411
18 | 2763738.8822 | 1169917.2647 | 2763734.2381 | 1169918.5392 | 2763728.5273 | 1169919.0618 | 2763725.5859 | 1169917.4246 | 2763716.1625 | 1169899.9526
19 | 2763738.8822 | 1169917.2647 | 2763751.1951 | 1169914.4201 | 2763762.8012 | 1169911.5971
20 | 2763721.2967 | 1169857.1332 | 2763730.3237 | 1169894.1892 | 2763716.1625 | 1169899.9526
21 | 2763716.1625 | 1169899.9526 | 2763699.7163 | 1169907.8001 | 2763698.7382 | 1169908.2975
22 | 2763765.1309 | 1169911.0304 | 2763762.8012 | 1169911.5971
23 | 2763678.3122 | 1169768.1179 | 2763676.865 | 1169770.6473 | 2763674.469 | 1169774.2741 | 2763668.7349 | 1169780.7012 | 2763652.0802 | 1169794.7819
24 | 2763624.0393 | 1169775.746 | 2763639.8446 | 1169746.7625 | 2763678.3122 | 1169768.1179
25 | 2763678.3122 | 1169768.1179 | 2763679.602 | 1169768.8314 | 2763706.3516 | 1169790.2901
26 | 2763624.0393 | 1169775.746 | 2763639.8446 | 1169746.7625 | 2763676.4893 | 1169694.015 | 2763707.456 | 1169679.057 | 2763760.5917 | 1169660.9451 | 2763784.2513 | 1169656.4751 | 2763803.9689 | 1169651.9533 | 2763814.0901 | 1169644.1447 | 2763820.8006 | 1169631.6947 | 2763760.275 | 1169608.8468 | 2763737.6614 | 1169599.1108 | 2763712.1146 | 1169586.3035 | 2763683.8697 | 1169567.4174 | 2763655.7223 | 1169545.2313 | 2763630.3117 | 1169516.7366 | 2763608.7573 | 1169488.3472 | 2763568.6196 | 1169443.6265 | 2763515.9978 | 1169403.7594 | 2763499.4928 | 1169385.6167 | 2763490.1271 | 1169362.8754 | 2763479.712 | 1169298.8143 | 2763481.2317 | 1169282.0967 | 2763485.2673 | 1169266.3484 | 2763495.8417 | 1169248.3762 | 2763508.5458 | 1169235.433 | 2763529.8389 | 1169224.5586 | 2763579.5987 | 1169207.6542 | 2763597.0806 | 1169201.4805 | 2763610.3813 | 1169191.6675 | 2763618.1904 | 1169182.1719 | 2763631.059 | 1169181.1882 | 2763642.8747 | 1169171.6351
27 | 2763624.0393 | 1169775.746 | 2763620.203 | 1169785.3053 | 2763617.9765 | 1169795.0754 | 2763617.9555 | 1169798.0363
28 | 2763714.8645 | 1169814.7656 | 2763706.3516 | 1169790.2901
29 | 2763642.8747 | 1169171.6351 | 2763645.1792 | 1169162.9459 | 2763636.1517 | 1169149.4327 | 2763636.9824 | 1169131.7606
30 | 2763638.2483 | 1169104.829 | 2763636.9824 | 1169131.7606
31 | 2763638.2483 | 1169104.829 | 2763639.3624 | 1169081.0943 | 2763643.8925 | 1169073.9114 | 2763656.6217 | 1169072.7127 | 2763671.3958 | 1169075.9958 | 2763676.4381 | 1169080.3592 | 2763678.7562 | 1169089.9862 | 2763678.2666 | 1169094.4568
32 | 2763721.2967 | 1169857.1332 | 2763746.125 | 1169851.5912
33 | 2763721.2967 | 1169857.1332 | 2763719.9472 | 1169848.2444
34 | 2763714.8645 | 1169814.7656 | 2763692.6734 | 1169816.3418
35 | 2763714.8645 | 1169814.7656 | 2763715.4785 | 1169818.8099
36 | 2763970.3757 | 1169839.5202 | 2763975.1601 | 1169837.9774
37 | 2763944.7725 | 1169843.2628 | 2763946.1897 | 1169843.1324 | 2763959.1138 | 1169843.1518 | 2763970.3757 | 1169839.5202
38 | 2763746.125 | 1169851.5912 | 2763765.2922 | 1169847.3128 | 2763816.514 | 1169835.8773 | 2763828.1465 | 1169833.2811 | 2763847.6663 | 1169826.452 | 2763863.3086 | 1169822.542 | 2763870.1135 | 1169824.2958 | 2763875.3052 | 1169830.7319 | 2763880.8412 | 1169845.3067 | 2763885.9235 | 1169850.1385 | 2763888.4567 | 1169850.4634 | 2763892.4626 | 1169850.9731 | 2763927.9208 | 1169844.8131 | 2763944.7725 | 1169843.2628
39 | 2763719.9472 | 1169848.2444 | 2763715.4785 | 1169818.8099
40 | 2763677.0293 | 1169882.0882 | 2763679.1286 | 1169870.1398 | 2763679.4624 | 1169862.9538 | 2763678.8477 | 1169858.1005
41 | 2763677.8396 | 1169850.1414 | 2763678.8477 | 1169858.1005
42 | 2763677.8396 | 1169850.1414 | 2763676.0082 | 1169835.6815
43 | 2763676.0082 | 1169835.6815 | 2763675.5529 | 1169832.0868
44 | 2763676.3356 | 1169817.5736 | 2763674.271 | 1169821.9656 | 2763675.5529 | 1169832.0868
45 | 2763676.3356 | 1169817.5736 | 2763665.5724 | 1169818.6146 | 2763660.9032 | 1169819.1809
46 | 2763676.3356 | 1169817.5736 | 2763687.262 | 1169816.7262 | 2763692.6734 | 1169816.3418
47 | 2763633.6435 | 1169822.4867 | 2763660.9032 | 1169819.1809

## bus_geodata
| x | y | coords
0 | 2763970.8891 | 1170072.4989
1 | 2764016.7388 | 1170071.6623
2 | 2763967.2833 | 1170072.5647
3 | 2763936.4722 | 1170072.7513
4 | 2764062.96 | 1170070.4019
5 | 2763936.1739 | 1170072.7508
6 | 2764073.6774 | 1170069.4091
7 | 2764137.4077 | 1170046.6339
8 | 2764143.8462 | 1170043.1263
9 | 2764084.7748 | 1170067.6852
10 | 2763841.8008 | 1169992.4522
11 | 2763623.0823 | 1170064.4593
12 | 2763910.2059 | 1169996.6616
13 | 2763615.06 | 1169922.5621
14 | 2763907.386 | 1170071.0382
15 | 2763655.8903 | 1169934.7294
16 | 2763695.1127 | 1169910.1411
17 | 2763738.8822 | 1169917.2647
18 | 2763716.1625 | 1169899.9526
19 | 2763762.8012 | 1169911.5971
20 | 2763678.3122 | 1169768.1179
21 | 2763652.0802 | 1169794.7819
22 | 2763624.0393 | 1169775.746
23 | 2763706.3516 | 1169790.2901
24 | 2763642.8747 | 1169171.6351
25 | 2763617.9555 | 1169798.0363
26 | 2764157.3495 | 1170032.0301
27 | 2763638.2483 | 1169104.829
28 | 2763636.9824 | 1169131.7606
29 | 2763678.2666 | 1169094.4568
30 | 2763698.7382 | 1169908.2975
31 | 2763721.2967 | 1169857.1332
32 | 2763765.1309 | 1169911.0304
33 | 2763714.8645 | 1169814.7656
34 | 2763975.1601 | 1169837.9773
35 | 2763970.3757 | 1169839.5202
36 | 2763746.125 | 1169851.5912
37 | 2763719.9472 | 1169848.2444
38 | 2763944.7725 | 1169843.2628
39 | 2763715.4785 | 1169818.8099
40 | 2763677.0293 | 1169882.0882
41 | 2763678.8477 | 1169858.1005
42 | 2763677.8396 | 1169850.1414
43 | 2763676.0082 | 1169835.6815
44 | 2763675.5529 | 1169832.0868
45 | 2763676.3356 | 1169817.5736
46 | 2763660.9032 | 1169819.1809
47 | 2763692.6734 | 1169816.3418
48 | 2763633.6435 | 1169822.4867
49 | 2763738.8822 | 1169917.2647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1