## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3542-5_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3542-5_1_2_node_116 | 0.4 | n |  | TRUE
2 | bus_LV_3542-5_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_3542-5_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_3542-5_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_3542-5_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3542-5_1_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_3542-5_1_2_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_3542-5_1_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3542-5_1_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_3542-5_1_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3542-5_1_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_3542-5_1_2_node_122 | 0.4 | n |  | TRUE
13 | bus_LV_3542-5_1_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3542-5_1_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3542-5_1_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_3542-5_1_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3542-5_1_2_node_123 | 0.4 | n |  | TRUE
18 | bus_LV_3542-5_1_2_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_3542-5_1_2_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_3542-5_1_2_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_3542-5_1_2_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_3542-5_1_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3542-5_1_2_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_3542-5_1_2_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_3542-5_1_2_node_112 | 0.4 | n |  | TRUE
26 | bus_LV_3542-5_1_2_node_111 | 0.4 | n |  | TRUE
27 | bus_LV_3542-5_1_2_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_3542-5_1_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_3542-5_1_2_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_3542-5_1_2_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_3542-5_1_2_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_3542-5_1_2_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_3542-5_1_2_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_3542-5_1_2_node_113 | 0.4 | n |  | TRUE
35 | bus_LV_3542-5_1_2_node_114 | 0.4 | n |  | TRUE
36 | bus_LV_3542-5_1_2_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_3542-5_1_2_node_120 | 0.4 | n |  | TRUE
38 | bus_LV_3542-5_1_2_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_3542-5_1_2_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_3542-5_1_2_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_3542-5_1_2_node_121 | 0.4 | n |  | TRUE
42 | bus_MV_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3542-5_1_2_load_5 | 0 | 0.0011739 | 0.00029421 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3542-5_1_2_load_116 | 1 | 0.0063394 | 0.0015888 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3542-5_1_2_load_6 | 2 | 0.00039366 | 9.8661e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3542-5_1_2_load_7 | 3 | 0.00030139 | 7.5535e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3542-5_1_2_load_8 | 4 | 0.0016425 | 0.00041164 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3542-5_1_2_load_9 | 5 | 0.00069806 | 0.00017495 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3542-5_1_2_load_10 | 6 | 0.0016251 | 0.00040728 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3542-5_1_2_load_122 | 12 | 0.00045562 | 0.00011419 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3542-5_1_2_load_14 | 13 | 0.00055334 | 0.00013868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3542-5_1_2_load_15 | 14 | 0.00065699 | 0.00016466 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3542-5_1_2_load_18 | 15 | 0.0013426 | 0.00033648 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3542-5_1_2_load_16 | 16 | 0.00132 | 0.00033083 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3542-5_1_2_load_123 | 17 | 0.0025919 | 0.00064959 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3542-5_1_2_load_60 | 18 | 0.0021446 | 0.00053748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3542-5_1_2_load_56 | 19 | 0.00038432 | 9.632e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3542-5_1_2_load_57 | 20 | 0.0005506 | 0.00013799 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3542-5_1_2_load_59 | 22 | 0.00031212 | 7.8224e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3542-5_1_2_load_69 | 24 | 0.0010162 | 0.00025467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3542-5_1_2_load_112 | 25 | 0.0013945 | 0.0003495 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3542-5_1_2_load_111 | 26 | 0.0022799 | 0.0005714 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3542-5_1_2_load_62 | 27 | 0.00073144 | 0.00018332 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3542-5_1_2_load_64 | 28 | 0.00045677 | 0.00011448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3542-5_1_2_load_71 | 31 | 0.00087993 | 0.00022053 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3542-5_1_2_load_68 | 32 | 0.00022732 | 5.6973e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3542-5_1_2_load_70 | 33 | 0.0004639 | 0.00011627 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3542-5_1_2_load_113 | 34 | 0.0022704 | 0.000569 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3542-5_1_2_load_114 | 35 | 0.00073934 | 0.0001853 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3542-5_1_2_load_120 | 37 | 0.00079339 | 0.00019884 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3542-5_1_2_load_117 | 38 | 0.0005657 | 0.00014178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3542-5_1_2_load_118 | 39 | 0.011952 | 0.0029954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3542-5_1_2_load_121 | 41 | 0.0017276 | 0.00043297 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3542-5_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.30848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3542-5_1_2_line_1 | NAYY 4x150 SE | 1 | 37 | 0.32001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3542-5_1_2_line_2 | NAYY 4x150 SE | 1 | 36 | 0.066603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3542-5_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.013467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3542-5_1_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.023646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3542-5_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.0029908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3542-5_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.054468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3542-5_1_2_line_7 | NAYY 4x150 SE | 4 | 7 | 0.36204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3542-5_1_2_line_8 | NAYY 4x150 SE | 5 | 8 | 0.013188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3542-5_1_2_line_9 | NAYY 4x150 SE | 7 | 28 | 0.14066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3542-5_1_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.070393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3542-5_1_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.077783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3542-5_1_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.070546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3542-5_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.10771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3542-5_1_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.15668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3542-5_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0089473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3542-5_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.27256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3542-5_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.030414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3542-5_1_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.28937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3542-5_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.24341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3542-5_1_2_line_20 | NAYY 4x150 SE | 17 | 41 | 0.012595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3542-5_1_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.13173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3542-5_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3542-5_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.013176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3542-5_1_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.039173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3542-5_1_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.11511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3542-5_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.013426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3542-5_1_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.021297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3542-5_1_2_line_28 | NAYY 4x150 SE | 23 | 26 | 0.06574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3542-5_1_2_line_29 | NAYY 4x150 SE | 23 | 27 | 0.21682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3542-5_1_2_line_30 | NAYY 4x150 SE | 24 | 32 | 0.072856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3542-5_1_2_line_31 | NAYY 4x150 SE | 25 | 34 | 0.034524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3542-5_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.027911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3542-5_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.041265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3542-5_1_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.052439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3542-5_1_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.030142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3542-5_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.026703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3542-5_1_2_line_37 | NAYY 4x150 SE | 37 | 40 | 0.048346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3542-5_1_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.021628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3542-5_1_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3542-5_1_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.057277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3542-5_1_2_trafo_122 | 0.25 MVA 20/0.4 kV | 42 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2762840.6324 | 1170225.7757 | 2762644.1769 | 1169987.9431
1 | 2762532.0899 | 1170310.6751 | 2762840.6324 | 1170225.7757
2 | 2762898.7227 | 1170199.5887 | 2762870.7289 | 1170201.9427 | 2762853.3377 | 1170217.6069 | 2762840.6324 | 1170225.7757
3 | 2762767.9255 | 1170656.5406 | 2762767.3857 | 1170660.6268 | 2762767.1771 | 1170669.97
4 | 2762767.9255 | 1170656.5406 | 2762770.3046 | 1170638.5312 | 2762767.5122 | 1170633.8157
5 | 2762767.1771 | 1170669.97 | 2762767.1104 | 1170672.96
6 | 2762749.3492 | 1170584.2936 | 2762759.0922 | 1170599.1823 | 2762760.1513 | 1170621.3857 | 2762767.5122 | 1170633.8157
7 | 2762767.5122 | 1170633.8157 | 2763129.0857 | 1170615.5117
8 | 2762766.816 | 1170686.1445 | 2762767.1104 | 1170672.96
9 | 2763129.0857 | 1170615.5117 | 2763134.3068 | 1170607.9135 | 2763140.2948 | 1170594.6314 | 2763158.9839 | 1170531.7846 | 2763168.814 | 1170505.3176 | 2763178.2619 | 1170484.2699
10 | 2762766.816 | 1170686.1445 | 2762761.2056 | 1170685.2584 | 2762740.994 | 1170686.9789 | 2762726.121 | 1170682.9613 | 2762715.9835 | 1170674.5461 | 2762714.9305 | 1170671.5928 | 2762713.7129 | 1170663.4194 | 2762713.7416 | 1170658.9719
11 | 2762713.7416 | 1170658.9719 | 2762702.147 | 1170645.0013 | 2762696.8709 | 1170634.0377 | 2762687.5665 | 1170614.0907 | 2762669.2419 | 1170596.4285
12 | 2762681.7197 | 1170654.6785 | 2762691.3567 | 1170671.9545 | 2762694.0903 | 1170679.2793 | 2762698.6913 | 1170683.7967 | 2762704.7451 | 1170683.8608 | 2762715.9835 | 1170674.5461 | 2762714.9305 | 1170671.5928 | 2762713.7129 | 1170663.4194 | 2762713.7416 | 1170658.9719
13 | 2762652.5591 | 1170743.9437 | 2762660.4534 | 1170744.7359 | 2762667.2101 | 1170740.0482 | 2762669.5418 | 1170731.415 | 2762664.5544 | 1170722.2275 | 2762660.9874 | 1170712.0444 | 2762663.6808 | 1170699.3841 | 2762668.6825 | 1170682.0602 | 2762672.4865 | 1170671.0759 | 2762681.7197 | 1170654.6785
14 | 2762652.5591 | 1170743.9437 | 2762646.9953 | 1170754.0462 | 2762625.4151 | 1170775.4915 | 2762614.9161 | 1170787.1951 | 2762595.9384 | 1170795.6664 | 2762580.8825 | 1170813.0961 | 2762573.6819 | 1170825.979 | 2762559.2986 | 1170834.13 | 2762541.118 | 1170849.6403
15 | 2762378.9526 | 1170630.5746 | 2762382.211 | 1170622.2417
16 | 2762541.118 | 1170849.6403 | 2762378.9526 | 1170630.5746
17 | 2762382.211 | 1170622.2417 | 2762383.4229 | 1170619.1425 | 2762395.8022 | 1170608.3901 | 2762406.3396 | 1170606.5945
18 | 2762541.118 | 1170849.6403 | 2762607.6549 | 1171131.2528
19 | 2762473.8088 | 1170372.7246 | 2762406.3396 | 1170606.5945
20 | 2762474.2601 | 1170360.3442 | 2762472.8837 | 1170368.4343 | 2762473.8088 | 1170372.7246
21 | 2762545.7917 | 1171233.554 | 2762547.0346 | 1171228.9281 | 2762546.2769 | 1171225.2488 | 2762544.0749 | 1171221.764 | 2762541.2996 | 1171217.3962 | 2762540.1378 | 1171213.0944 | 2762539.6828 | 1171207.5662 | 2762540.2158 | 1171202.8654 | 2762541.5904 | 1171198.4655 | 2762545.2318 | 1171192.3365 | 2762550.6518 | 1171185.544 | 2762585.8528 | 1171152.3571 | 2762607.6549 | 1171131.2528
22 | 2762552.8015 | 1171222.4489 | 2762555.3494 | 1171213.3285 | 2762555.9143 | 1171209.7416
23 | 2762545.7917 | 1171233.554 | 2762552.5435 | 1171223.3724 | 2762552.8015 | 1171222.4489
24 | 2762583.7677 | 1171187.2134 | 2762570.2793 | 1171191.4693 | 2762564.4729 | 1171194.1589 | 2762560.0872 | 1171197.81 | 2762557.069 | 1171202.4101 | 2762555.9143 | 1171209.7416
25 | 2762468.7683 | 1171304.2309 | 2762473.2238 | 1171301.6714 | 2762477.6909 | 1171298.4005 | 2762480.488 | 1171295.7406 | 2762483.1932 | 1171291.955 | 2762485.1719 | 1171288.7057 | 2762487.4601 | 1171283.641 | 2762489.1484 | 1171278.3932 | 2762490.9476 | 1171272.4479 | 2762492.9025 | 1171264.7052 | 2762495.2186 | 1171252.9577 | 2762517.4486 | 1171247.5768 | 2762524.5857 | 1171245.2124 | 2762529.9506 | 1171242.711 | 2762541.4445 | 1171237.7622 | 2762545.7917 | 1171233.554
26 | 2762583.7677 | 1171187.2134 | 2762596.5718 | 1171183.1734
27 | 2762468.7683 | 1171304.2309 | 2762451.9131 | 1171291.2137
28 | 2762468.7683 | 1171304.2309 | 2762411.6435 | 1171336.7657
29 | 2762468.7683 | 1171304.2309 | 2762592.8167 | 1171482.0649
30 | 2762663.6823 | 1171155.2064 | 2762660.7717 | 1171157.1788 | 2762613.9027 | 1171177.7051 | 2762596.5718 | 1171183.1734
31 | 2762421.7287 | 1171295.9475 | 2762444.3547 | 1171285.3764 | 2762451.9131 | 1171291.2137
32 | 2763190.0482 | 1170458.9765 | 2763186.8118 | 1170465.9391 | 2763184.5018 | 1170470.369 | 2763178.2619 | 1170484.2699
33 | 2763190.0482 | 1170458.9765 | 2763201.4801 | 1170458.0752 | 2763208.2458 | 1170457.0248 | 2763230.2713 | 1170450.5733
34 | 2763230.2713 | 1170450.5733 | 2763242.2242 | 1170451.3433 | 2763246.0827 | 1170453.0385 | 2763248.1011 | 1170455.6734 | 2763247.3901 | 1170459.0125 | 2763240.7648 | 1170467.5621 | 2763232.8189 | 1170482.4479 | 2763232.7061 | 1170484.2678
35 | 2763227.6217 | 1170513.7382 | 2763231.6453 | 1170501.388 | 2763232.7061 | 1170484.2678
36 | 2762898.7227 | 1170199.5887 | 2762887.7337 | 1170217.7286 | 2762885.928 | 1170222.9178
37 | 2762490.1929 | 1170305.4148 | 2762493.8446 | 1170299.4862 | 2762501.2477 | 1170297.5181 | 2762510.4186 | 1170299.2566 | 2762532.0899 | 1170310.6751
38 | 2762546.0819 | 1170359.5134 | 2762530.1508 | 1170347.2208 | 2762529.0624 | 1170346.1806
39 | 2762490.1929 | 1170305.4148 | 2762493.1307 | 1170306.9067 | 2762493.5126 | 1170308.9187 | 2762492.5808 | 1170312.7969 | 2762507.2174 | 1170325.3036 | 2762529.0624 | 1170346.1806
40 | 2762490.1929 | 1170305.4148 | 2762488.4739 | 1170310.3726 | 2762480.2697 | 1170334.8606 | 2762475.5241 | 1170352.9145 | 2762474.2601 | 1170360.3442

## bus_geodata
| x | y | coords
0 | 2762644.1769 | 1169987.9431
1 | 2762840.6324 | 1170225.7757
2 | 2762767.9255 | 1170656.5406
3 | 2762767.1771 | 1170669.97
4 | 2762767.5122 | 1170633.8157
5 | 2762767.1104 | 1170672.96
6 | 2762749.3492 | 1170584.2936
7 | 2763129.0857 | 1170615.5117
8 | 2762766.816 | 1170686.1445
9 | 2762713.7416 | 1170658.9719
10 | 2762681.7197 | 1170654.6785
11 | 2762652.5591 | 1170743.9437
12 | 2762669.2419 | 1170596.4285
13 | 2762378.9526 | 1170630.5746
14 | 2762382.211 | 1170622.2417
15 | 2762541.118 | 1170849.6403
16 | 2762406.3396 | 1170606.5945
17 | 2762473.8088 | 1170372.7246
18 | 2762607.6549 | 1171131.2528
19 | 2762552.8015 | 1171222.4489
20 | 2762555.9143 | 1171209.7416
21 | 2762545.7917 | 1171233.554
22 | 2762583.7677 | 1171187.2134
23 | 2762468.7683 | 1171304.2309
24 | 2762596.5718 | 1171183.1734
25 | 2762451.9131 | 1171291.2137
26 | 2762411.6435 | 1171336.7657
27 | 2762592.8167 | 1171482.0649
28 | 2763178.2619 | 1170484.2699
29 | 2763190.0482 | 1170458.9765
30 | 2763230.2713 | 1170450.5733
31 | 2763232.7061 | 1170484.2678
32 | 2762663.6823 | 1171155.2064
33 | 2763227.6217 | 1170513.7382
34 | 2762421.7287 | 1171295.9475
35 | 2762885.928 | 1170222.9178
36 | 2762898.7227 | 1170199.5887
37 | 2762532.0899 | 1170310.6751
38 | 2762546.0819 | 1170359.5134
39 | 2762529.0624 | 1170346.1806
40 | 2762490.1929 | 1170305.4148
41 | 2762474.2601 | 1170360.3442
42 | 2762669.2419 | 1170596.4285

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1