## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3543-37_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3543-37_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3543-37_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3543-37_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3543-37_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3543-37_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3543-37_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3543-37_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3543-37_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3543-37_0_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_3543-37_0_2_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_3543-37_0_2_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_3543-37_0_2_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_3543-37_0_2_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_3543-37_0_2_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_3543-37_0_2_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_3543-37_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_3543-37_0_2_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_3543-37_0_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_3543-37_0_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3543-37_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_3543-37_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_3543-37_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3543-37_0_2_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_3543-37_0_2_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_3543-37_0_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_3543-37_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3543-37_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3543-37_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_3543-37_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_3543-37_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_3543-37_0_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3543-37_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3543-37_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_3543-37_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_3543-37_0_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_3543-37_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_3543-37_0_2_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_3543-37_0_2_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_3543-37_0_2_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_3543-37_0_2_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_3543-37_0_2_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_3543-37_0_2_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_3543-37_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3543-37_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3543-37_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3543-37_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3543-37_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_3543-37_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_3543-37_0_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_3543-37_0_2_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_3543-37_0_2_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_3543-37_0_2_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3543-37_0_2_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_3543-37_0_2_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_3543-37_0_2_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_3543-37_0_2_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_3543-37_0_2_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_3543-37_0_2_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_3543-37_0_2_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_3543-37_0_2_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_3543-37_0_2_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_3543-37_0_2_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_3543-37_0_2_node_79 | 0.4 | n |  | TRUE
64 | bus_MV_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3543-37_0_2_load_0 | 0 | 0.00024741 | 6.2006e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3543-37_0_2_load_1 | 1 | 0.0010711 | 0.00026843 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3543-37_0_2_load_3 | 3 | 0.00051277 | 0.00012851 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3543-37_0_2_load_4 | 4 | 0.00029161 | 7.3084e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3543-37_0_2_load_7 | 7 | 0.0006607 | 0.00016559 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3543-37_0_2_load_8 | 8 | 0.00072308 | 0.00018122 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3543-37_0_2_load_17 | 9 | 0.0020513 | 0.00051411 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3543-37_0_2_load_40 | 11 | 0.00024429 | 6.1225e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3543-37_0_2_load_61 | 12 | 0.00025734 | 6.4494e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3543-37_0_2_load_39 | 13 | 0.00027503 | 6.8928e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3543-37_0_2_load_48 | 14 | 0.0007598 | 0.00019042 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3543-37_0_2_load_21 | 16 | 0.0017644 | 0.00044219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3543-37_0_2_load_22 | 17 | 0.0011619 | 0.0002912 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3543-37_0_2_load_23 | 18 | 0.0017181 | 0.00043059 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3543-37_0_2_load_24 | 19 | 0.0011438 | 0.00028665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3543-37_0_2_load_25 | 20 | 0.0011981 | 0.00030028 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3543-37_0_2_load_26 | 21 | 0.00080759 | 0.0002024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3543-37_0_2_load_27 | 22 | 0.0010783 | 0.00027025 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3543-37_0_2_load_81 | 23 | 0.00059795 | 0.00014986 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3543-37_0_2_load_28 | 26 | 0.00020668 | 5.18e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3543-37_0_2_load_32 | 30 | 0.00063516 | 0.00015919 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3543-37_0_2_load_33 | 31 | 0.00043606 | 0.00010929 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3543-37_0_2_load_34 | 32 | 0.00020399 | 5.1125e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3543-37_0_2_load_35 | 33 | 0.00021672 | 5.4314e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3543-37_0_2_load_36 | 34 | 0.00031817 | 7.9741e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3543-37_0_2_load_37 | 35 | 0.00059642 | 0.00014948 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3543-37_0_2_load_51 | 38 | 0.00047943 | 0.00012016 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3543-37_0_2_load_50 | 41 | 0.00026344 | 6.6025e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3543-37_0_2_load_64 | 42 | 0.00025821 | 6.4713e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3543-37_0_2_load_44 | 46 | 0.00065597 | 0.0001644 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3543-37_0_2_load_45 | 47 | 0.0013877 | 0.0003478 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3543-37_0_2_load_49 | 48 | 0.00017541 | 4.3962e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3543-37_0_2_load_65 | 49 | 0.00036073 | 9.0408e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3543-37_0_2_load_76 | 50 | 0.00023618 | 5.9191e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3543-37_0_2_load_66 | 52 | 0.00022439 | 5.6237e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3543-37_0_2_load_67 | 53 | 0.00052762 | 0.00013223 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3543-37_0_2_load_70 | 54 | 0.00027204 | 6.818e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3543-37_0_2_load_71 | 55 | 0.00021844 | 5.4747e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3543-37_0_2_load_77 | 59 | 0.00023675 | 5.9336e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3543-37_0_2_load_78 | 60 | 0.00018133 | 4.5445e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3543-37_0_2_load_84 | 61 | 0.00048793 | 0.00012229 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3543-37_0_2_load_82 | 62 | 0.0004501 | 0.00011281 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3543-37_0_2_load_79 | 63 | 0.00062039 | 0.00015548 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3543-37_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3543-37_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3543-37_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0087321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3543-37_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.22305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3543-37_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.009749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3543-37_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.010163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3543-37_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.24945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3543-37_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.19748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3543-37_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.05135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3543-37_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.10374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3543-37_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.014292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3543-37_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.16658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3543-37_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.022481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3543-37_0_2_line_13 | NAYY 4x150 SE | 12 | 39 | 0.13922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3543-37_0_2_line_14 | NAYY 4x150 SE | 13 | 43 | 0.10192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3543-37_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.047905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3543-37_0_2_line_16 | NAYY 4x150 SE | 15 | 25 | 0.50453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3543-37_0_2_line_17 | NAYY 4x150 SE | 15 | 22 | 0.029728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3543-37_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0084344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3543-37_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0013304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3543-37_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0085337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3543-37_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 7.1721e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3543-37_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.011642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3543-37_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.02424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3543-37_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0013013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3543-37_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.13344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3543-37_0_2_line_26 | NAYY 4x150 SE | 24 | 63 | 0.0085893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3543-37_0_2_line_27 | NAYY 4x150 SE | 25 | 47 | 0.027308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3543-37_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0030772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3543-37_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0092638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3543-37_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.02503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3543-37_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.012018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3543-37_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.007945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3543-37_0_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.0058509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3543-37_0_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.031398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3543-37_0_2_line_35 | NAYY 4x150 SE | 30 | 34 | 0.00082819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3543-37_0_2_line_36 | NAYY 4x150 SE | 31 | 35 | 0.010574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3543-37_0_2_line_37 | NAYY 4x150 SE | 32 | 36 | 0.18089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3543-37_0_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.16027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3543-37_0_2_line_39 | NAYY 4x150 SE | 35 | 38 | 0.00057279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3543-37_0_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.26004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3543-37_0_2_line_41 | NAYY 4x150 SE | 37 | 40 | 0.014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3543-37_0_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.011922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3543-37_0_2_line_43 | NAYY 4x150 SE | 39 | 42 | 0.07695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3543-37_0_2_line_44 | NAYY 4x150 SE | 40 | 52 | 0.21232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3543-37_0_2_line_45 | NAYY 4x150 SE | 41 | 48 | 0.015635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3543-37_0_2_line_46 | NAYY 4x150 SE | 42 | 49 | 0.49608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3543-37_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.51019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3543-37_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.040829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3543-37_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.032812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3543-37_0_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.030351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3543-37_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.045295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3543-37_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3543-37_0_2_line_53 | NAYY 4x150 SE | 51 | 56 | 0.031296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3543-37_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.00021607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3543-37_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.006015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3543-37_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.037487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3543-37_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.29881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3543-37_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.15425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3543-37_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.21518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3543-37_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.12758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3543-37_0_2_line_61 | NAYY 4x150 SE | 58 | 61 | 0.30051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3543-37_0_2_line_62 | NAYY 4x150 SE | 58 | 62 | 0.19281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3543-37_0_2_trafo_8 | 0.25 MVA 20/0.4 kV | 64 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2768974.1774 | 1150455.6036 | 2768973.2874 | 1150457.8621 | 2768973.0145 | 1150465.3944 | 2768973.6248 | 1150469.1036 | 2768973.6248 | 1150469.1036
1 | 2768985.648 | 1150442.2394 | 2768980.206 | 1150446.7352 | 2768974.6355 | 1150454.4413 | 2768974.1774 | 1150455.6036
2 | 2768973.6248 | 1150469.1036 | 2768982.2741 | 1150470.3038
3 | 2768985.648 | 1150442.2394 | 2768980.4824 | 1150440.9934 | 2768972.337 | 1150429.0435 | 2768964.566 | 1150408.9524 | 2768959.4697 | 1150389.0809 | 2768958.629 | 1150371.4085 | 2768954.9055 | 1150355.7237 | 2768940.7654 | 1150313.2011 | 2768936.5841 | 1150303.1528 | 2768930.4682 | 1150298.5329 | 2768918.6871 | 1150294.0432 | 2768912.3133 | 1150287.9369 | 2768909.2059 | 1150276.5732 | 2768907.4624 | 1150264.5138 | 2768902.0831 | 1150254.7211 | 2768897.3361 | 1150248.9496
4 | 2768994.6516 | 1150439.7563 | 2768988.166 | 1150442.8439 | 2768985.648 | 1150442.2394
5 | 2768992.3698 | 1150469.3294 | 2768982.9679 | 1150470.4001 | 2768982.2741 | 1150470.3038
6 | 2768897.3361 | 1150248.9496 | 2768889.7856 | 1150247.5479 | 2768886.9776 | 1150252.0732 | 2768888.5916 | 1150258.3462 | 2768892.1282 | 1150264.8176 | 2768891.4832 | 1150271.928 | 2768886.2336 | 1150278.5978 | 2768862.3838 | 1150306.7097 | 2768855.9027 | 1150320.3179 | 2768849.7005 | 1150334.3898 | 2768842.1711 | 1150342.9196 | 2768827.9312 | 1150351.873 | 2768814.3824 | 1150362.7586 | 2768797.4138 | 1150378.8974 | 2768788.9023 | 1150390.6805 | 2768785.8247 | 1150404.8289 | 2768787.5641 | 1150417.0439 | 2768792.6565 | 1150426.3836 | 2768796.4965 | 1150432.7189 | 2768794.5827 | 1150437.4139 | 2768788.4592 | 1150438.2764
7 | 2768994.6516 | 1150439.7563 | 2768996.3363 | 1150432.8308 | 2768995.9908 | 1150413.393 | 2769002.7427 | 1150395.3443 | 2769010.8502 | 1150382.3713 | 2769013.2551 | 1150370.862 | 2769014.7861 | 1150348.0627 | 2769016.629 | 1150335.5034 | 2769021.0265 | 1150316.4989 | 2769021.0386 | 1150305.6675 | 2769014.5571 | 1150292.7299 | 2769008.5373 | 1150279.2159 | 2769008.937 | 1150270.1747 | 2769014.1913 | 1150257.8668 | 2769017.8226 | 1150251.8791
8 | 2768992.3698 | 1150469.3294 | 2768996.3968 | 1150474.1911 | 2769014.9086 | 1150477.5243 | 2769021.1234 | 1150484.0821 | 2769022.9221 | 1150501.1807
9 | 2768770.9608 | 1150340.1336 | 2768775.1477 | 1150350.5378 | 2768776.8996 | 1150362.3083 | 2768775.0785 | 1150379.3167 | 2768770.8775 | 1150396.5475 | 2768773.9726 | 1150408.3556 | 2768780.4461 | 1150421.5929 | 2768784.7027 | 1150434.1676 | 2768788.4592 | 1150438.2764 | 2768788.4592 | 1150438.2764
10 | 2769029.3011 | 1150244.49 | 2769020.1197 | 1150248.0912 | 2769017.8226 | 1150251.8791
11 | 2768770.9608 | 1150340.1336 | 2768769.7185 | 1150337.0406 | 2768762.0262 | 1150324.8033 | 2768756.2264 | 1150314.1093 | 2768751.8655 | 1150294.559 | 2768751.557 | 1150278.9811 | 2768749.5763 | 1150264.6798 | 2768744.255 | 1150252.8093 | 2768737.4486 | 1150240.7526 | 2768732.4893 | 1150231.8615 | 2768730.9286 | 1150223.9553 | 2768732.5174 | 1150214.9585 | 2768729.6881 | 1150209.8304 | 2768723.7224 | 1150210.2637 | 2768720.6154 | 1150214.7696 | 2768721.0029 | 1150227.5361 | 2768720.7997 | 1150229.7901
12 | 2769029.3011 | 1150244.49 | 2769029.3011 | 1150244.49 | 2769041.5608 | 1150247.8034 | 2769049.85 | 1150252.9969
13 | 2768675.4409 | 1150352.2923 | 2768677.9513 | 1150351.5285 | 2768683.9622 | 1150338.7856 | 2768685.6927 | 1150329.9374 | 2768685.1701 | 1150284.9722 | 2768688.0068 | 1150273.9309 | 2768694.1715 | 1150266.3968 | 2768704.3426 | 1150259.2642 | 2768711.7139 | 1150251.1634 | 2768719.9217 | 1150239.5274 | 2768720.7997 | 1150229.7901
14 | 2769146.5088 | 1150283.2458 | 2769119.1852 | 1150276.0838 | 2769085.5043 | 1150267.4312 | 2769070.7031 | 1150264.3465 | 2769059.3998 | 1150258.9803 | 2769049.85 | 1150252.9969
15 | 2769413.0016 | 1150028.4071 | 2769385.2659 | 1150030.674 | 2769365.257 | 1150033.5475
16 | 2769153.4436 | 1150197.454 | 2769149.9858 | 1150088.9172 | 2769152.2956 | 1150044.4318 | 2769163.2039 | 1150005.3481 | 2769183.7234 | 1149966.2564 | 2769193.6709 | 1149970.1279 | 2769203.3061 | 1149966.2506 | 2769219.7031 | 1149949.2071 | 2769238.1168 | 1149940.2273 | 2769285.6583 | 1149932.2221 | 2769312.0058 | 1149932.0732 | 2769329.9662 | 1149933.757 | 2769339.5723 | 1149941.3002 | 2769343.728 | 1149952.2489 | 2769348.2947 | 1149975.075 | 2769357.7453 | 1149999.0728 | 2769363.0853 | 1150010.2438 | 2769365.5311 | 1150026.8049 | 2769365.257 | 1150033.5475
17 | 2769365.257 | 1150033.5475 | 2769354.8428 | 1150049.2798 | 2769350.7075 | 1150059.3227
18 | 2769346.6476 | 1150092.4906 | 2769346.2254 | 1150090.9966 | 2769345.3803 | 1150084.1668
19 | 2769345.5262 | 1150082.8445 | 2769345.3803 | 1150084.1668 | 2769345.3803 | 1150084.1668
20 | 2769346.9046 | 1150100.8583 | 2769347.5529 | 1150095.6936 | 2769346.6476 | 1150092.4906
21 | 2769345.5341 | 1150082.7732 | 2769345.5262 | 1150082.8445
22 | 2769344.6816 | 1150112.2166 | 2769345.8698 | 1150109.1025 | 2769346.9046 | 1150100.8583
23 | 2769350.7075 | 1150059.3227 | 2769347.1745 | 1150067.903 | 2769345.5341 | 1150082.7732
24 | 2769344.6816 | 1150112.2166 | 2769344.2177 | 1150113.4324
25 | 2769273.2725 | 1150224.6869 | 2769279.6596 | 1150208.452 | 2769283.3665 | 1150199.0145 | 2769294.2046 | 1150178.8457 | 2769325.2706 | 1150143.087 | 2769339.7657 | 1150125.1006 | 2769344.2177 | 1150113.4324
26 | 2769273.2725 | 1150224.6869 | 2769270.6244 | 1150232.8578
27 | 2769153.4436 | 1150197.454 | 2769142.1185 | 1150208.1789 | 2769139.7987 | 1150219.6572
28 | 2768606.8365 | 1150013.9205 | 2768609.7028 | 1150015.0402
29 | 2768617.1601 | 1150011.2292 | 2768615.3605 | 1150013.7699 | 2768611.1605 | 1150015.6096 | 2768609.7028 | 1150015.0402
30 | 2768596.1093 | 1149991.7899 | 2768603.7011 | 1150002.4338 | 2768605.5562 | 1150006.9675 | 2768606.8365 | 1150013.9205
31 | 2768606.8365 | 1150013.9205 | 2768598.0607 | 1150015.1094 | 2768594.9248 | 1150015.5186
32 | 2768617.1601 | 1150011.2292 | 2768621.987 | 1150017.5398
33 | 2768617.1601 | 1150011.2292 | 2768615.4382 | 1150005.6374
34 | 2768596.1093 | 1149991.7899 | 2768592.58 | 1149981.749 | 2768588.4232 | 1149976.2835 | 2768580.2495 | 1149974.8981 | 2768574.9327 | 1149976.6504
35 | 2768594.9248 | 1150015.5186 | 2768594.1036 | 1150015.6258
36 | 2768626.2855 | 1150027.0568 | 2768626.1027 | 1150025.7588 | 2768623.6967 | 1150019.7751 | 2768621.987 | 1150017.5398
37 | 2768655.5856 | 1150119.3547 | 2768659.8994 | 1150108.7883 | 2768665.3866 | 1150104.0489 | 2768672.9995 | 1150092.5407 | 2768678.9142 | 1150078.0269 | 2768681.5678 | 1150068.3149 | 2768680.5685 | 1150050.7826 | 2768678.259 | 1150037.5175 | 2768672.7417 | 1150027.4209 | 2768664.2086 | 1150018.5743 | 2768648.5067 | 1150005.3789 | 2768633.9353 | 1149997.075 | 2768622.0325 | 1149993.0607 | 2768616.2259 | 1149994.3883 | 2768613.6884 | 1149999.9555 | 2768615.4382 | 1150005.6374
38 | 2768486.3297 | 1150111.1689 | 2768492.5943 | 1150111.8668 | 2768512.8093 | 1150112.5771 | 2768523.1132 | 1150106.193 | 2768530.818 | 1150101.8157 | 2768538.9214 | 1150094.18 | 2768552.3 | 1150078.674 | 2768569.3882 | 1150053.0517 | 2768575.2863 | 1150039.1267 | 2768579.2003 | 1150021.4318 | 2768582.5549 | 1150017.1329 | 2768594.1036 | 1150015.6258
39 | 2768626.3653 | 1150027.624 | 2768626.2855 | 1150027.0568
40 | 2768655.5856 | 1150119.3547 | 2768652.0836 | 1150132.7573 | 2768646.2223 | 1150140.1553 | 2768638.4972 | 1150144.9767 | 2768637.8653 | 1150151.6315 | 2768639.7509 | 1150163.8505 | 2768637.8834 | 1150172.1055 | 2768634.4516 | 1150177.7922 | 2768636.5783 | 1150192.0976 | 2768636.7414 | 1150207.6714 | 2768640.8442 | 1150220.5419 | 2768646.7317 | 1150238.8116 | 2768653.2603 | 1150255.3087 | 2768656.1893 | 1150267.8461 | 2768657.8337 | 1150277.9788 | 2768655.3549 | 1150297.6378 | 2768654.4779 | 1150307.5552 | 2768655.1773 | 1150319.8856 | 2768653.8177 | 1150331.1241 | 2768653.9806 | 1150341.2153 | 2768658.5698 | 1150347.4158 | 2768664.2728 | 1150351.1454 | 2768670.8922 | 1150353.6995 | 2768675.4409 | 1150352.2923
41 | 2768472.0083 | 1150107.3874 | 2768473.6957 | 1150108.0351 | 2768479.3682 | 1150110.3958 | 2768486.3297 | 1150111.1689
42 | 2768626.2328 | 1150039.2187 | 2768626.2328 | 1150039.2187 | 2768627.5316 | 1150035.9076 | 2768626.3653 | 1150027.624
43 | 2768675.4409 | 1150352.2923 | 2768673.9033 | 1150365.7722 | 2768674.1628 | 1150382.5608 | 2768668.9043 | 1150397.5156 | 2768659.0202 | 1150408.671 | 2768646.9492 | 1150418.9199 | 2768646.9492 | 1150418.9199
44 | 2768472.0083 | 1150107.3874 | 2768461.9711 | 1150103.1476 | 2768457.379 | 1150097.3141 | 2768447.1113 | 1150077.9657 | 2768434.5202 | 1150060.1093 | 2768432.2717 | 1150033.9347 | 2768430.3406 | 1150028.5426 | 2768417.4302 | 1150022.0984 | 2768408.6518 | 1150016.5149 | 2768398.038 | 1150007.6106 | 2768384.8372 | 1150006.0515 | 2768372.9547 | 1150005.4301 | 2768361.5297 | 1149998.8829 | 2768344.9634 | 1150000.6439 | 2768334.2833 | 1149999.8783 | 2768330.6524 | 1149995.929 | 2768325.9196 | 1149988.8997
45 | 2768614.8397 | 1150045.204 | 2768616.3064 | 1150039.797 | 2768622.8908 | 1150040.0481 | 2768626.2328 | 1150039.2187
46 | 2768479.2041 | 1150663.888 | 2768483.2947 | 1150659.9757 | 2768483.3804 | 1150650.3252 | 2768473.2205 | 1150629.9121 | 2768462.1453 | 1150597.185 | 2768455.9608 | 1150581.287 | 2768447.0059 | 1150566.6684 | 2768437.9925 | 1150554.1388 | 2768430.4271 | 1150538.725 | 2768426.4896 | 1150532.8431 | 2768423.5745 | 1150516.5029 | 2768420.8468 | 1150504.9943 | 2768417.6969 | 1150493.474 | 2768418.2087 | 1150479.0201 | 2768417.2499 | 1150467.9837 | 2768422.9838 | 1150458.8025 | 2768430.6665 | 1150454.925 | 2768440.3338 | 1150444.0857 | 2768453.2317 | 1150438.0409 | 2768463.734 | 1150419.8741 | 2768471.4731 | 1150406.5677 | 2768480.5866 | 1150396.8584 | 2768497.2021 | 1150385.8911 | 2768507.1982 | 1150378.4085 | 2768513.3544 | 1150376.3789 | 2768522.8629 | 1150378.6356 | 2768528.2449 | 1150385.6034 | 2768533.452 | 1150391.4096 | 2768554.9889 | 1150403.8673 | 2768568.8921 | 1150410.7622 | 2768581.5277 | 1150414.3633 | 2768608.6911 | 1150421.207 | 2768617.689 | 1150423.0381 | 2768630.0915 | 1150419.6044 | 2768646.9492 | 1150418.9199
47 | 2769146.5088 | 1150283.2458 | 2769131.84 | 1150320.3 | 2769125.8095 | 1150345.742 | 2769125.5988 | 1150369.3791 | 2769129.7353 | 1150406.7169 | 2769130.5006 | 1150419.1271 | 2769129.0767 | 1150430.1635 | 2769127.8974 | 1150438.7824 | 2769124.2636 | 1150448.3666 | 2769103.3767 | 1150480.6422 | 2769097.9336 | 1150491.4656 | 2769095.8019 | 1150500.903 | 2769094.8715 | 1150511.8754 | 2769094.5816 | 1150542.4385 | 2769098.8698 | 1150580.3922 | 2769122.1826 | 1150652.3541 | 2769125.4497 | 1150665.6686 | 2769126.9046 | 1150680.3223 | 2769124.3239 | 1150718.8726 | 2769120.2839 | 1150757.4153 | 2769121.4038 | 1150776.3412
48 | 2769153.955 | 1150243.2419 | 2769153.7026 | 1150249.7628 | 2769150.8765 | 1150267.2321 | 2769148.2913 | 1150276.9459 | 2769146.5088 | 1150283.2458
49 | 2769121.4038 | 1150776.3412 | 2769102.8402 | 1150776.2535 | 2769088.7753 | 1150778.5316
50 | 2769153.955 | 1150243.2419 | 2769141.6734 | 1150235.2346 | 2769139.7987 | 1150219.6572
51 | 2768437.7723 | 1150678.7286 | 2768459.9188 | 1150669.0746 | 2768474.4154 | 1150668.4682 | 2768479.2041 | 1150663.888
52 | 2768425.1338 | 1150682.9144 | 2768434.148 | 1150680.3085 | 2768437.7723 | 1150678.7286
53 | 2768396.6167 | 1150671.2294 | 2768404.3519 | 1150674.5262 | 2768413.5932 | 1150675.6077 | 2768425.1338 | 1150682.9144
54 | 2768325.7989 | 1149988.7204 | 2768325.7989 | 1149988.7204 | 2768325.9196 | 1149988.8997
55 | 2768396.538 | 1150633.9726 | 2768395.5235 | 1150629.2955 | 2768394.889 | 1150628.2428
56 | 2768396.6167 | 1150671.2294 | 2768398.2588 | 1150641.9052 | 2768396.538 | 1150633.9726
57 | 2768273.861 | 1150411.6844 | 2768290.4807 | 1150465.9627 | 2768295.0156 | 1150487.8529 | 2768305.0562 | 1150497.1748 | 2768309.2655 | 1150509.0027 | 2768323.8758 | 1150524.402 | 2768344.8184 | 1150541.6243 | 2768346.3125 | 1150554.3994 | 2768346.004 | 1150580.269 | 2768353.0049 | 1150609.8349 | 2768362.5703 | 1150628.9967 | 2768382.8354 | 1150648.4577 | 2768396.6167 | 1150671.2294
58 | 2768329.6147 | 1150806.2756 | 2768334.6079 | 1150797.196 | 2768338.2999 | 1150789.3256 | 2768339.3739 | 1150780.8593 | 2768343.9981 | 1150769.8678 | 2768352.0964 | 1150751.1109 | 2768352.9924 | 1150738.0245 | 2768354.9868 | 1150726.8594 | 2768364.5822 | 1150710.8801 | 2768369.2379 | 1150706.1839 | 2768379.9231 | 1150689.9682 | 2768393.8222 | 1150675.5662 | 2768396.6167 | 1150671.2294
59 | 2768193.9678 | 1150579.512 | 2768193.185 | 1150563.2648 | 2768190.6382 | 1150543.8879 | 2768192.309 | 1150520.9255 | 2768188.6477 | 1150504.598 | 2768191.865 | 1150499.9726 | 2768199.6287 | 1150480.261 | 2768207.4136 | 1150444.9474 | 2768219.7411 | 1150431.5353 | 2768233.2349 | 1150427.7976 | 2768249.8162 | 1150424.3575 | 2768261.8161 | 1150415.2512 | 2768273.861 | 1150411.6844
60 | 2768247.0556 | 1150309.2687 | 2768241.792 | 1150328.0159 | 2768236.8585 | 1150364.6435 | 2768236.4548 | 1150385.1391 | 2768236.9688 | 1150390.1133 | 2768240.3886 | 1150393.0892 | 2768253.1302 | 1150408.8476 | 2768273.861 | 1150411.6844
61 | 2768329.6147 | 1150806.2756 | 2768309.8373 | 1150805.378 | 2768282.5573 | 1150823.0983 | 2768267.0582 | 1150832.1067 | 2768251.4156 | 1150846.2489 | 2768232.1545 | 1150864.8163 | 2768215.9698 | 1150868.679 | 2768206.0057 | 1150871.4811 | 2768204.1091 | 1150880.258 | 2768214.0185 | 1150887.1073 | 2768247.3277 | 1150911.4474 | 2768263.7262 | 1150936.7607 | 2768265.4675 | 1150962.6765 | 2768267.7749 | 1150990.8767 | 2768271.7424 | 1150998.6371
62 | 2768329.6147 | 1150806.2756 | 2768324.5263 | 1150819.0335 | 2768320.2245 | 1150830.0341 | 2768320.2404 | 1150844.3026 | 2768320.9784 | 1150851.9744 | 2768318.7055 | 1150861.5637 | 2768313.0966 | 1150869.3138 | 2768299.097 | 1150885.6816 | 2768293.325 | 1150900.6446 | 2768290.5433 | 1150909.4746 | 2768285.8604 | 1150917.3507 | 2768284.4475 | 1150930.8008 | 2768283.0474 | 1150943.5173 | 2768284.5921 | 1150957.506 | 2768280.725 | 1150968.0739 | 2768283.5378 | 1150979.2845 | 2768287.626 | 1150984.5518

## bus_geodata
| x | y | coords
0 | 2768974.1774 | 1150455.6036
1 | 2768973.6248 | 1150469.1036
2 | 2768985.648 | 1150442.2394
3 | 2768982.2741 | 1150470.3038
4 | 2768897.3361 | 1150248.9496
5 | 2768994.6516 | 1150439.7563
6 | 2768992.3698 | 1150469.3294
7 | 2768788.4592 | 1150438.2764
8 | 2769017.8226 | 1150251.8791
9 | 2769022.9221 | 1150501.1807
10 | 2768770.9608 | 1150340.1336
11 | 2769029.3011 | 1150244.49
12 | 2768720.7997 | 1150229.7901
13 | 2769049.85 | 1150252.9969
14 | 2769413.0016 | 1150028.4071
15 | 2769365.257 | 1150033.5475
16 | 2769345.3803 | 1150084.1668
17 | 2769346.6476 | 1150092.4906
18 | 2769345.5262 | 1150082.8445
19 | 2769346.9046 | 1150100.8583
20 | 2769345.5341 | 1150082.7732
21 | 2769344.6816 | 1150112.2166
22 | 2769350.7075 | 1150059.3227
23 | 2769344.2177 | 1150113.4324
24 | 2769273.2725 | 1150224.6869
25 | 2769153.4436 | 1150197.454
26 | 2768609.7028 | 1150015.0402
27 | 2768606.8365 | 1150013.9205
28 | 2768617.1602 | 1150011.2292
29 | 2768596.1093 | 1149991.7899
30 | 2768594.9248 | 1150015.5186
31 | 2768621.987 | 1150017.5398
32 | 2768615.4382 | 1150005.6374
33 | 2768574.9327 | 1149976.6504
34 | 2768594.1036 | 1150015.6258
35 | 2768626.2855 | 1150027.0568
36 | 2768655.5856 | 1150119.3547
37 | 2768486.3297 | 1150111.1689
38 | 2768626.3653 | 1150027.624
39 | 2768675.4409 | 1150352.2923
40 | 2768472.0083 | 1150107.3874
41 | 2768626.2328 | 1150039.2187
42 | 2768646.9492 | 1150418.9199
43 | 2769146.5088 | 1150283.2458
44 | 2769121.4038 | 1150776.3412
45 | 2769153.955 | 1150243.2419
46 | 2769088.7753 | 1150778.5316
47 | 2769139.7987 | 1150219.6572
48 | 2768614.8397 | 1150045.204
49 | 2768479.2041 | 1150663.888
50 | 2768437.7723 | 1150678.7286
51 | 2768425.1338 | 1150682.9144
52 | 2768325.9196 | 1149988.8997
53 | 2768325.7989 | 1149988.7204
54 | 2768394.889 | 1150628.2428
55 | 2768396.538 | 1150633.9726
56 | 2768396.6167 | 1150671.2294
57 | 2768273.861 | 1150411.6844
58 | 2768329.6147 | 1150806.2756
59 | 2768193.9678 | 1150579.512
60 | 2768247.0556 | 1150309.2687
61 | 2768271.7424 | 1150998.6371
62 | 2768287.626 | 1150984.5518
63 | 2769270.6244 | 1150232.8578
64 | 2769017.8226 | 1150251.8791

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1