## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3543-37_2_2_node_83 | 0.4 | n |  | TRUE
1 | bus_LV_3543-37_2_2_node_85 | 0.4 | n |  | TRUE
2 | bus_LV_3543-37_2_2_node_104 | 0.4 | n |  | TRUE
3 | bus_LV_3543-37_2_2_node_86 | 0.4 | n |  | TRUE
4 | bus_LV_3543-37_2_2_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_3543-37_2_2_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_3543-37_2_2_node_113 | 0.4 | n |  | TRUE
7 | bus_LV_3543-37_2_2_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_3543-37_2_2_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_3543-37_2_2_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_3543-37_2_2_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_3543-37_2_2_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_3543-37_2_2_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_3543-37_2_2_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_3543-37_2_2_node_106 | 0.4 | n |  | TRUE
15 | bus_LV_3543-37_2_2_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_3543-37_2_2_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_3543-37_2_2_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_3543-37_2_2_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_3543-37_2_2_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_3543-37_2_2_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_3543-37_2_2_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_3543-37_2_2_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_3543-37_2_2_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_3543-37_2_2_node_105 | 0.4 | n |  | TRUE
25 | bus_LV_3543-37_2_2_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_3543-37_2_2_node_111 | 0.4 | n |  | TRUE
27 | bus_LV_3543-37_2_2_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_3543-37_2_2_node_110 | 0.4 | n |  | TRUE
29 | bus_LV_3543-37_2_2_node_112 | 0.4 | n |  | TRUE
30 | bus_MV_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3543-37_2_2_load_87 | 4 | 0.00057304 | 0.00014362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3543-37_2_2_load_88 | 5 | 0.00033051 | 8.2834e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3543-37_2_2_load_113 | 6 | 0.0003662 | 9.1779e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3543-37_2_2_load_89 | 7 | 0.00054482 | 0.00013654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3543-37_2_2_load_90 | 8 | 0.00040731 | 0.00010208 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3543-37_2_2_load_91 | 9 | 0.00057539 | 0.00014421 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3543-37_2_2_load_92 | 10 | 0.0011809 | 0.00029595 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3543-37_2_2_load_93 | 11 | 0.00039519 | 9.9045e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3543-37_2_2_load_94 | 12 | 0.0010594 | 0.00026551 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3543-37_2_2_load_95 | 13 | 0.0005025 | 0.00012594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3543-37_2_2_load_96 | 15 | 0.00043088 | 0.00010799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3543-37_2_2_load_97 | 16 | 0.00035382 | 8.8675e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3543-37_2_2_load_98 | 17 | 0.00058076 | 0.00014555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3543-37_2_2_load_108 | 18 | 0.00045225 | 0.00011334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3543-37_2_2_load_99 | 19 | 0.00036573 | 9.1662e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3543-37_2_2_load_100 | 20 | 0.00043762 | 0.00010968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3543-37_2_2_load_102 | 22 | 0.00063941 | 0.00016025 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3543-37_2_2_load_103 | 23 | 0.00039073 | 9.7926e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3543-37_2_2_load_105 | 24 | 0.00045053 | 0.00011291 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3543-37_2_2_load_107 | 25 | 0.00057286 | 0.00014357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3543-37_2_2_load_109 | 27 | 0.0011296 | 0.00028311 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3543-37_2_2_load_112 | 29 | 0.00051058 | 0.00012796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3543-37_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.31456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3543-37_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.97317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3543-37_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.36612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3543-37_2_2_line_3 | NAYY 4x150 SE | 2 | 22 | 0.015836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3543-37_2_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.23657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3543-37_2_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.57107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3543-37_2_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0073517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3543-37_2_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.039047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3543-37_2_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.023192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3543-37_2_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.030011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3543-37_2_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.034901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3543-37_2_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.086164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3543-37_2_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.063607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3543-37_2_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.13004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3543-37_2_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.035532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3543-37_2_2_line_15 | NAYY 4x150 SE | 14 | 26 | 0.46917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3543-37_2_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.063884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3543-37_2_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.055199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3543-37_2_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.091005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3543-37_2_2_line_19 | NAYY 4x150 SE | 18 | 25 | 0.025407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3543-37_2_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.048004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3543-37_2_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.030253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3543-37_2_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.05029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3543-37_2_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.012421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3543-37_2_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.034462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3543-37_2_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0052731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3543-37_2_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.014353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3543-37_2_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.03336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3543-37_2_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.0091151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3543-37_2_2_trafo_98 | 0.25 MVA 20/0.4 kV | 30 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42
0 | 2768376.5644 | 1151333.2597 | 2768370.8608 | 1151334.2457 | 2768369.4931 | 1151338.9338 | 2768375.2873 | 1151360.2477 | 2768370.9493 | 1151382.7128 | 2768353.6875 | 1151410.5771 | 2768322.7283 | 1151449.5463 | 2768306.4387 | 1151464.9047 | 2768290.142 | 1151465.6835 | 2768263.5075 | 1151460.4128 | 2768253.738 | 1151463.4315 | 2768241.575 | 1151471.2988 | 2768230.8281 | 1151465.0488 | 2768223.3145 | 1151459.9012 | 2768216.9415 | 1151459.0114 | 2768209.7893 | 1151464.2941 | 2768202.1861 | 1151475.5473 | 2768195.2722 | 1151476.6997 | 2768181.226 | 1151468.6784 | 2768175.1397 | 1151469.0755 | 2768172.197 | 1151474.8874
1 | 2768376.5644 | 1151333.2597 | 2769150.6482 | 1151923.0479
2 | 2768172.197 | 1151474.8874 | 2768182.684 | 1151486.0454 | 2768195.167 | 1151499.9838 | 2768203.7721 | 1151519.1185 | 2768218.2432 | 1151546.8357 | 2768222.4796 | 1151564.8141 | 2768212.5063 | 1151597.3975 | 2768199.1942 | 1151638.7065 | 2768192.9026 | 1151650.0296 | 2768166.5201 | 1151694.8769 | 2768147.5722 | 1151724.3294 | 2768124.94 | 1151745.4608 | 2768089.1601 | 1151765.2019 | 2768078.6799 | 1151771.693
3 | 2769150.6482 | 1151923.0479 | 2769160.6914 | 1151925.3096 | 2769160.4235 | 1151927.7376 | 2769158.8509 | 1151930.4069
4 | 2768078.6799 | 1151771.693 | 2768074.4465 | 1151775.8786 | 2768056.9285 | 1151791.0032 | 2768033.1061 | 1151817.6509 | 2768013.1749 | 1151830.6398 | 2768014.037 | 1151836.6246 | 2768005.8184 | 1151865.554 | 2767998.7018 | 1151899.0293 | 2767985.1866 | 1151940.5332 | 2767969.6411 | 1151970.7149
5 | 2768078.6799 | 1151771.693 | 2768045.3621 | 1151769.8287 | 2768035.2863 | 1151772.8392 | 2768021.1983 | 1151781.743 | 2768005.1768 | 1151788.3798 | 2767987.1887 | 1151802.1903 | 2767968.5381 | 1151821.0312 | 2767964.9826 | 1151821.021 | 2767962.6595 | 1151817.5754 | 2767967.281 | 1151807.1841 | 2767972.7876 | 1151772.2293 | 2767979.4137 | 1151759.0803 | 2767993.2953 | 1151749.5924 | 2767992.4697 | 1151745.8772 | 2767983.5842 | 1151746.9638 | 2767961.7221 | 1151755.3839 | 2767949.0324 | 1151763.4483 | 2767940.1591 | 1151775.1111 | 2767936.4504 | 1151786.0951 | 2767933.8166 | 1151788.2792 | 2767929.6102 | 1151787.6503 | 2767927.5066 | 1151781.8421 | 2767931.5222 | 1151770.8667 | 2767929.9599 | 1151760.2472 | 2767940.9577 | 1151740.7033 | 2767939.3012 | 1151734.2849 | 2767934.7032 | 1151734.2011 | 2767926.6757 | 1151745.2759 | 2767911.8629 | 1151762.8229 | 2767898.194 | 1151791.4002 | 2767894.1503 | 1151799.806 | 2767890.0892 | 1151808.8341 | 2767884.2287 | 1151812.1625 | 2767880.381 | 1151809.6865 | 2767879.1555 | 1151801.8566 | 2767876.0915 | 1151782.5655 | 2767872.4878 | 1151778.7729 | 2767861.0939 | 1151784.7162 | 2767842.0011 | 1151797.1173 | 2767827.3806 | 1151811.9119 | 2767824.1894 | 1151822.7992 | 2767828.5414 | 1151833.0849 | 2767828.5889 | 1151833.1743
6 | 2767828.5889 | 1151833.1743 | 2767832.0405 | 1151839.6654
7 | 2769333.1802 | 1151896.7521 | 2769342.1398 | 1151905.3226 | 2769350.2963 | 1151906.6753 | 2769354.0328 | 1151903.8 | 2769356.1442 | 1151890.2988
8 | 2769333.1802 | 1151896.7521 | 2769333.1802 | 1151896.7521 | 2769320.0207 | 1151878.5885 | 2769319.5729 | 1151877.9712
9 | 2769356.1442 | 1151890.2988 | 2769357.3573 | 1151882.5414 | 2769367.8653 | 1151863.032
10 | 2769319.5729 | 1151877.9712 | 2769311.6293 | 1151867.0203 | 2769311.6756 | 1151862.095 | 2769312.9065 | 1151857.381 | 2769319.9013 | 1151848.1584
11 | 2769367.8653 | 1151863.032 | 2769368.3616 | 1151862.1105 | 2769379.366 | 1151841.6797 | 2769392.8164 | 1151821.1175 | 2769405.9859 | 1151809.1772 | 2769424.827 | 1151803.9073
12 | 2769285.076 | 1151872.8418 | 2769285.3028 | 1151862.8991 | 2769291.6016 | 1151850.8433 | 2769299.6283 | 1151845.3418 | 2769311.4682 | 1151838.613 | 2769318.5808 | 1151839.4025 | 2769320.9291 | 1151843.0161 | 2769319.9013 | 1151848.1584 | 2769319.9013 | 1151848.1584
13 | 2769517.113 | 1151733.2359 | 2769513.1656 | 1151731.59 | 2769503.6574 | 1151732.9571 | 2769492.8339 | 1151741.7604 | 2769479.7926 | 1151779.4156 | 2769468.9188 | 1151790.0079 | 2769453.3762 | 1151799.2122 | 2769439.0402 | 1151799.9319 | 2769424.827 | 1151803.9073
14 | 2769285.076 | 1151872.8418 | 2769284.6767 | 1151890.3501 | 2769285.4223 | 1151908.3536
15 | 2769517.113 | 1151733.2359 | 2769897.0204 | 1151457.938
16 | 2769258.684 | 1151958.9211 | 2769260.9506 | 1151961.4572 | 2769264.3176 | 1151960.2508 | 2769277.7611 | 1151938.8207 | 2769282.2635 | 1151927.8264 | 2769285.4223 | 1151908.3536 | 2769285.4223 | 1151908.3536
17 | 2769258.684 | 1151958.9211 | 2769257.1682 | 1151957.225 | 2769247.9511 | 1151932.9559 | 2769241.7809 | 1151926.2433 | 2769241.7353 | 1151912.8413 | 2769243.0307 | 1151908.5899
18 | 2769243.0307 | 1151908.5899 | 2769245.9148 | 1151899.1244 | 2769242.4993 | 1151892.2224 | 2769237.48 | 1151891.2806 | 2769231.2822 | 1151896.7447 | 2769220.1591 | 1151917.595 | 2769208.265 | 1151936.6444 | 2769205.1069 | 1151945.1743 | 2769205.6408 | 1151949.9994
19 | 2769204.2194 | 1151975.0384 | 2769206.987 | 1151962.1643 | 2769205.6408 | 1151949.9994
20 | 2769142.2378 | 1152012.8509 | 2769141.6558 | 1152010.2054 | 2769142.1502 | 1152006.5494 | 2769153.3256 | 1151987.9246 | 2769153.4626 | 1151983.8693 | 2769152.6074 | 1151980.6869 | 2769146.0564 | 1151970.0026
21 | 2769167.567 | 1152011.3228 | 2769153.6141 | 1152018.1037 | 2769149.9307 | 1152019.368 | 2769147.1155 | 1152018.9775 | 2769144.4694 | 1152016.6679 | 2769142.473 | 1152013.9205 | 2769142.2378 | 1152012.8509
22 | 2769158.8509 | 1151930.4069 | 2769142.4156 | 1151943.5348 | 2769139.7333 | 1151947.7076 | 2769138.5022 | 1151951.3429 | 2769138.7371 | 1151955.5532 | 2769142.2973 | 1151963.8716 | 2769146.0564 | 1151970.0026
23 | 2769167.567 | 1152011.3228 | 2769177.7057 | 1152004.148
24 | 2769177.7057 | 1152004.148 | 2769181.3969 | 1152001.5359 | 2769201.5417 | 1151979.3868
25 | 2769204.2194 | 1151975.0384 | 2769203.8241 | 1151976.8773 | 2769201.5417 | 1151979.3868
26 | 2769897.0204 | 1151457.938 | 2769906.1455 | 1151469.0163
27 | 2769935.2381 | 1151484.6393 | 2769908.6869 | 1151472.1017 | 2769906.1455 | 1151469.0163
28 | 2769935.2381 | 1151484.6393 | 2769942.6315 | 1151479.308

## bus_geodata
| x | y | coords
0 | 2768376.5644 | 1151333.2597
1 | 2768172.197 | 1151474.8874
2 | 2769150.6482 | 1151923.0479
3 | 2768078.6799 | 1151771.693
4 | 2767969.6411 | 1151970.7149
5 | 2767828.5889 | 1151833.1743
6 | 2767832.0405 | 1151839.6654
7 | 2769333.1802 | 1151896.7521
8 | 2769356.1442 | 1151890.2988
9 | 2769319.5729 | 1151877.9712
10 | 2769367.8653 | 1151863.032
11 | 2769319.9013 | 1151848.1584
12 | 2769424.827 | 1151803.9073
13 | 2769285.076 | 1151872.8418
14 | 2769517.113 | 1151733.2359
15 | 2769285.4223 | 1151908.3536
16 | 2769258.684 | 1151958.9211
17 | 2769243.0307 | 1151908.5899
18 | 2769205.6408 | 1151949.9994
19 | 2769142.2378 | 1152012.8509
20 | 2769146.0564 | 1151970.0026
21 | 2769167.567 | 1152011.3228
22 | 2769158.8509 | 1151930.4069
23 | 2769177.7057 | 1152004.148
24 | 2769201.5417 | 1151979.3868
25 | 2769204.2194 | 1151975.0384
26 | 2769897.0204 | 1151457.938
27 | 2769906.1455 | 1151469.0163
28 | 2769935.2381 | 1151484.6393
29 | 2769942.6315 | 1151479.308
30 | 2769243.0307 | 1151908.5899

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1