## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3543-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3543-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3543-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3543-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3543-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3543-8_0_6_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_3543-8_0_6_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_3543-8_0_6_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3543-8_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3543-8_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3543-8_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_3543-8_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3543-8_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3543-8_0_6_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_3543-8_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3543-8_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3543-8_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3543-8_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3543-8_0_6_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_3543-8_0_6_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_3543-8_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3543-8_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3543-8_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3543-8_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3543-8_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3543-8_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3543-8_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3543-8_0_6_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_3543-8_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3543-8_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_3543-8_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3543-8_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3543-8_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_3543-8_0_6_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3543-8_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_3543-8_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_3543-8_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3543-8_0_6_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_3543-8_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_3543-8_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3543-8_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3543-8_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3543-8_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3543-8_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3543-8_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_3543-8_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_3543-8_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_3543-8_0_6_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_3543-8_0_6_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_3543-8_0_6_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_3543-8_0_6_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_3543-8_0_6_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_3543-8_0_6_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_3543-8_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_3543-8_0_6_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_3543-8_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3543-8_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3543-8_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3543-8_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3543-8_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_3543-8_0_6_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3543-8_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3543-8_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_3543-8_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_3543-8_0_6_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_3543-8_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3543-8_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3543-8_0_6_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_3543-8_0_6_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3543-8_0_6_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_3543-8_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3543-8_0_6_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_3543-8_0_6_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_3543-8_0_6_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_3543-8_0_6_node_107 | 0.4 | n |  | TRUE
75 | bus_LV_3543-8_0_6_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3543-8_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_3543-8_0_6_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_3543-8_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_3543-8_0_6_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_3543-8_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_3543-8_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_3543-8_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_3543-8_0_6_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3543-8_0_6_node_105 | 0.4 | n |  | TRUE
85 | bus_LV_3543-8_0_6_node_111 | 0.4 | n |  | TRUE
86 | bus_LV_3543-8_0_6_node_112 | 0.4 | n |  | TRUE
87 | bus_LV_3543-8_0_6_node_110 | 0.4 | n |  | TRUE
88 | bus_LV_3543-8_0_6_node_104 | 0.4 | n |  | TRUE
89 | bus_LV_3543-8_0_6_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_3543-8_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_3543-8_0_6_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_3543-8_0_6_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_3543-8_0_6_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_3543-8_0_6_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_3543-8_0_6_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_3543-8_0_6_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_3543-8_0_6_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_3543-8_0_6_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_3543-8_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_3543-8_0_6_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_3543-8_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_3543-8_0_6_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_3543-8_0_6_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_3543-8_0_6_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_3543-8_0_6_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_3543-8_0_6_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_3543-8_0_6_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_3543-8_0_6_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_3543-8_0_6_node_109 | 0.4 | n |  | TRUE
110 | bus_LV_3543-8_0_6_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_3543-8_0_6_node_103 | 0.4 | n |  | TRUE
112 | bus_MV_159_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3543-8_0_6_load_0 | 0 | 0.0002421 | 6.0675e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3543-8_0_6_load_1 | 1 | 0.00016706 | 4.1868e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3543-8_0_6_load_3 | 3 | 0.00018865 | 4.728e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3543-8_0_6_load_34 | 6 | 0.00017927 | 4.493e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3543-8_0_6_load_17 | 7 | 0.00044916 | 0.00011257 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3543-8_0_6_load_6 | 8 | 0.00035302 | 8.8474e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3543-8_0_6_load_22 | 10 | 0.00015088 | 3.7813e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3543-8_0_6_load_7 | 12 | 0.00041894 | 0.000105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3543-8_0_6_load_23 | 13 | 0.00044317 | 0.00011107 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3543-8_0_6_load_11 | 14 | 0.00019839 | 4.9721e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3543-8_0_6_load_12 | 15 | 0.00034242 | 8.5818e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3543-8_0_6_load_10 | 17 | 0.00018516 | 4.6406e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3543-8_0_6_load_40 | 18 | 0.0001771 | 4.4386e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3543-8_0_6_load_35 | 19 | 0.00023666 | 5.9313e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3543-8_0_6_load_13 | 20 | 0.00020504 | 5.1387e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3543-8_0_6_load_14 | 21 | 0.0002902 | 7.273e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3543-8_0_6_load_16 | 23 | 0.00024895 | 6.2394e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3543-8_0_6_load_19 | 25 | 0.0002187 | 5.4811e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3543-8_0_6_load_21 | 26 | 0.00027067 | 6.7836e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3543-8_0_6_load_42 | 27 | 0.00032229 | 8.0773e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3543-8_0_6_load_26 | 28 | 0.0002373 | 5.9473e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3543-8_0_6_load_41 | 29 | 0.00033581 | 8.4163e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3543-8_0_6_load_24 | 30 | 0.00026185 | 6.5626e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3543-8_0_6_load_25 | 31 | 0.00026722 | 6.6972e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3543-8_0_6_load_39 | 32 | 0.00099172 | 0.00024855 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3543-8_0_6_load_30 | 33 | 0.00048106 | 0.00012056 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3543-8_0_6_load_31 | 34 | 0.00027269 | 6.8343e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3543-8_0_6_load_32 | 35 | 0.00024587 | 6.1621e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3543-8_0_6_load_33 | 36 | 0.00042947 | 0.00010763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3543-8_0_6_load_36 | 37 | 0.00024696 | 6.1894e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3543-8_0_6_load_37 | 38 | 0.00066792 | 0.0001674 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3543-8_0_6_load_38 | 39 | 0.00019137 | 4.7962e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3543-8_0_6_load_27 | 40 | 0.00021792 | 5.4617e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3543-8_0_6_load_28 | 41 | 0.00020419 | 5.1175e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3543-8_0_6_load_44 | 44 | 0.00021847 | 5.4755e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3543-8_0_6_load_88 | 47 | 0.001803 | 0.00045187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3543-8_0_6_load_100 | 48 | 0.00032768 | 8.2124e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3543-8_0_6_load_99 | 50 | 0.0009372 | 0.00023489 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3543-8_0_6_load_86 | 51 | 0.0032781 | 0.00082156 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3543-8_0_6_load_74 | 52 | 0.00046594 | 0.00011678 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3543-8_0_6_load_47 | 55 | 0.00043593 | 0.00010925 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3543-8_0_6_load_50 | 58 | 0.00054921 | 0.00013764 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3543-8_0_6_load_51 | 59 | 0.0001716 | 4.3007e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3543-8_0_6_load_52 | 60 | 0.00022979 | 5.759e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3543-8_0_6_load_54 | 62 | 0.0031425 | 0.00078758 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3543-8_0_6_load_55 | 63 | 0.008785 | 0.0022017 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3543-8_0_6_load_57 | 64 | 0.0051862 | 0.0012998 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3543-8_0_6_load_60 | 65 | 0.010433 | 0.0026147 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3543-8_0_6_load_92 | 67 | 0.0057356 | 0.0014375 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3543-8_0_6_load_90 | 68 | 0.0027603 | 0.00069179 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3543-8_0_6_load_61 | 70 | 0.0048166 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3543-8_0_6_load_113 | 72 | 0.0053782 | 0.0013479 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3543-8_0_6_load_89 | 73 | 0.0027033 | 0.0006775 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3543-8_0_6_load_107 | 74 | 0.0036623 | 0.00091786 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3543-8_0_6_load_72 | 75 | 0.00061148 | 0.00015325 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3543-8_0_6_load_63 | 76 | 0.0052315 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3543-8_0_6_load_64 | 77 | 0.0068445 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3543-8_0_6_load_65 | 78 | 0.0077692 | 0.0019471 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3543-8_0_6_load_68 | 81 | 0.0040914 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3543-8_0_6_load_70 | 82 | 0.0070253 | 0.0017607 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3543-8_0_6_load_71 | 83 | 0.0051963 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3543-8_0_6_load_105 | 84 | 0.0047662 | 0.0011945 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3543-8_0_6_load_111 | 85 | 0.002718 | 0.0006812 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3543-8_0_6_load_112 | 86 | 0.0024817 | 0.00062196 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3543-8_0_6_load_73 | 89 | 0.00043908 | 0.00011004 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3543-8_0_6_load_76 | 90 | 0.0022808 | 0.00057163 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3543-8_0_6_load_77 | 91 | 0.0026538 | 0.0006651 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3543-8_0_6_load_79 | 93 | 0.0020316 | 0.00050916 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3543-8_0_6_load_80 | 94 | 0.0053628 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3543-8_0_6_load_84 | 96 | 0.0046991 | 0.0011777 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3543-8_0_6_load_98 | 98 | 0.0034233 | 0.00085796 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3543-8_0_6_load_95 | 99 | 0.005192 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3543-8_0_6_load_91 | 100 | 0.013874 | 0.0034771 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3543-8_0_6_load_93 | 101 | 0.0044718 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3543-8_0_6_load_102 | 102 | 0.0037073 | 0.00092915 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3543-8_0_6_load_85 | 103 | 0.0028082 | 0.0007038 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3543-8_0_6_load_87 | 104 | 0.0018624 | 0.00046677 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3543-8_0_6_load_94 | 105 | 0.0025012 | 0.00062686 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3543-8_0_6_load_96 | 106 | 0.0052289 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3543-8_0_6_load_97 | 107 | 0.0032831 | 0.00082282 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3543-8_0_6_load_106 | 108 | 0.0024783 | 0.00062113 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3543-8_0_6_load_109 | 109 | 0.0025599 | 0.00064157 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3543-8_0_6_load_101 | 110 | 0.0059058 | 0.0014801 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3543-8_0_6_load_103 | 111 | 0.016403 | 0.0041109 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3543-8_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0052364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3543-8_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3543-8_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3543-8_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3543-8_0_6_line_4 | NAYY 4x150 SE | 3 | 8 | 0.027169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3543-8_0_6_line_5 | NAYY 4x150 SE | 4 | 9 | 0.47249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3543-8_0_6_line_6 | NAYY 4x150 SE | 4 | 10 | 0.12393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3543-8_0_6_line_7 | NAYY 4x150 SE | 5 | 6 | 0.6245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3543-8_0_6_line_8 | NAYY 4x150 SE | 5 | 7 | 0.022757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3543-8_0_6_line_9 | NAYY 4x150 SE | 6 | 37 | 0.0068873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3543-8_0_6_line_10 | NAYY 4x150 SE | 6 | 35 | 0.014673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3543-8_0_6_line_11 | NAYY 4x150 SE | 7 | 22 | 0.027291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3543-8_0_6_line_12 | NAYY 4x150 SE | 9 | 11 | 0.048833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3543-8_0_6_line_13 | NAYY 4x150 SE | 9 | 12 | 0.10397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3543-8_0_6_line_14 | NAYY 4x150 SE | 10 | 13 | 0.032138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3543-8_0_6_line_15 | NAYY 4x150 SE | 11 | 14 | 0.012786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3543-8_0_6_line_16 | NAYY 4x150 SE | 11 | 15 | 0.023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3543-8_0_6_line_17 | NAYY 4x150 SE | 12 | 16 | 0.44574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3543-8_0_6_line_18 | NAYY 4x150 SE | 13 | 30 | 0.015148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3543-8_0_6_line_19 | NAYY 4x150 SE | 14 | 18 | 0.015335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3543-8_0_6_line_20 | NAYY 4x150 SE | 16 | 17 | 0.23002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3543-8_0_6_line_21 | NAYY 4x150 SE | 18 | 19 | 0.059913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3543-8_0_6_line_22 | NAYY 4x150 SE | 19 | 36 | 0.0021236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3543-8_0_6_line_23 | NAYY 4x150 SE | 20 | 21 | 0.00032074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3543-8_0_6_line_24 | NAYY 4x150 SE | 20 | 22 | 0.014096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3543-8_0_6_line_25 | NAYY 4x150 SE | 21 | 23 | 0.014952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3543-8_0_6_line_26 | NAYY 4x150 SE | 22 | 24 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3543-8_0_6_line_27 | NAYY 4x150 SE | 23 | 25 | 0.00087754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3543-8_0_6_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0094253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3543-8_0_6_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0089492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3543-8_0_6_line_30 | NAYY 4x150 SE | 26 | 28 | 0.029187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3543-8_0_6_line_31 | NAYY 4x150 SE | 27 | 29 | 0.043171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3543-8_0_6_line_32 | NAYY 4x150 SE | 28 | 40 | 0.088997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3543-8_0_6_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0050255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3543-8_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0054959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3543-8_0_6_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0040349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3543-8_0_6_line_36 | NAYY 4x150 SE | 33 | 35 | 0.019992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3543-8_0_6_line_37 | NAYY 4x150 SE | 34 | 36 | 0.016887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3543-8_0_6_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0035666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3543-8_0_6_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0063252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3543-8_0_6_line_40 | NAYY 4x150 SE | 40 | 41 | 0.016197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3543-8_0_6_line_41 | NAYY 4x150 SE | 41 | 42 | 0.15178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3543-8_0_6_line_42 | NAYY 4x150 SE | 42 | 43 | 0.486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3543-8_0_6_line_43 | NAYY 4x150 SE | 43 | 44 | 0.32942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3543-8_0_6_line_44 | NAYY 4x150 SE | 43 | 45 | 0.2686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3543-8_0_6_line_45 | NAYY 4x150 SE | 43 | 46 | 0.48941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3543-8_0_6_line_46 | NAYY 4x150 SE | 45 | 47 | 0.36043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3543-8_0_6_line_47 | NAYY 4x150 SE | 46 | 48 | 0.027123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3543-8_0_6_line_48 | NAYY 4x150 SE | 46 | 49 | 0.22393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3543-8_0_6_line_49 | NAYY 4x150 SE | 46 | 50 | 0.017494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3543-8_0_6_line_50 | NAYY 4x150 SE | 47 | 51 | 0.019516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3543-8_0_6_line_51 | NAYY 4x150 SE | 49 | 52 | 0.0054727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3543-8_0_6_line_52 | NAYY 4x150 SE | 49 | 53 | 0.60042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3543-8_0_6_line_53 | NAYY 4x150 SE | 49 | 54 | 0.56532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3543-8_0_6_line_54 | NAYY 4x150 SE | 51 | 103 | 0.00029317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3543-8_0_6_line_55 | NAYY 4x150 SE | 52 | 75 | 0.03189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3543-8_0_6_line_56 | NAYY 4x150 SE | 53 | 59 | 0.45084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3543-8_0_6_line_57 | NAYY 4x150 SE | 54 | 61 | 0.007093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3543-8_0_6_line_58 | NAYY 4x150 SE | 55 | 56 | 0.14293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3543-8_0_6_line_59 | NAYY 4x150 SE | 55 | 57 | 0.079049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3543-8_0_6_line_60 | NAYY 4x150 SE | 56 | 58 | 0.085214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3543-8_0_6_line_61 | NAYY 4x150 SE | 56 | 59 | 0.030425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3543-8_0_6_line_62 | NAYY 4x150 SE | 57 | 60 | 0.16674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3543-8_0_6_line_63 | NAYY 4x150 SE | 61 | 62 | 0.024853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3543-8_0_6_line_64 | NAYY 4x150 SE | 62 | 63 | 0.011747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3543-8_0_6_line_65 | NAYY 4x150 SE | 63 | 64 | 0.00057328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3543-8_0_6_line_66 | NAYY 4x150 SE | 64 | 65 | 0.017546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3543-8_0_6_line_67 | NAYY 4x150 SE | 65 | 69 | 0.007483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3543-8_0_6_line_68 | NAYY 4x150 SE | 66 | 67 | 0.021048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_3543-8_0_6_line_69 | NAYY 4x150 SE | 66 | 68 | 0.018895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3543-8_0_6_line_70 | NAYY 4x150 SE | 67 | 72 | 0.0021842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3543-8_0_6_line_71 | NAYY 4x150 SE | 68 | 73 | 0.0081438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_3543-8_0_6_line_72 | NAYY 4x150 SE | 69 | 72 | 0.01218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3543-8_0_6_line_73 | NAYY 4x150 SE | 70 | 71 | 0.027552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3543-8_0_6_line_74 | NAYY 4x150 SE | 71 | 74 | 0.021711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3543-8_0_6_line_75 | NAYY 4x150 SE | 73 | 95 | 0.0054726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3543-8_0_6_line_76 | NAYY 4x150 SE | 74 | 98 | 0.0089028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3543-8_0_6_line_77 | NAYY 4x150 SE | 75 | 89 | 0.069803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3543-8_0_6_line_78 | NAYY 4x150 SE | 76 | 77 | 0.014281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3543-8_0_6_line_79 | NAYY 4x150 SE | 76 | 78 | 0.0015878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3543-8_0_6_line_80 | NAYY 4x150 SE | 77 | 79 | 0.015309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3543-8_0_6_line_81 | NAYY 4x150 SE | 78 | 80 | 0.0091032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3543-8_0_6_line_82 | NAYY 4x150 SE | 79 | 81 | 0.019363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3543-8_0_6_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0071764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3543-8_0_6_line_84 | NAYY 4x150 SE | 80 | 83 | 0.013761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3543-8_0_6_line_85 | NAYY 4x150 SE | 82 | 84 | 0.012013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3543-8_0_6_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0024842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3543-8_0_6_line_87 | NAYY 4x150 SE | 84 | 88 | 0.0066738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3543-8_0_6_line_88 | NAYY 4x150 SE | 85 | 87 | 0.0079446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3543-8_0_6_line_89 | NAYY 4x150 SE | 86 | 87 | 0.0024333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3543-8_0_6_line_90 | NAYY 4x150 SE | 87 | 109 | 0.0067769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3543-8_0_6_line_91 | NAYY 4x150 SE | 88 | 102 | 0.0081149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3543-8_0_6_line_92 | NAYY 4x150 SE | 88 | 96 | 0.0067475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_3543-8_0_6_line_93 | NAYY 4x150 SE | 90 | 91 | 0.008633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_3543-8_0_6_line_94 | NAYY 4x150 SE | 90 | 92 | 0.0058407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_3543-8_0_6_line_95 | NAYY 4x150 SE | 91 | 93 | 0.0029514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_3543-8_0_6_line_96 | NAYY 4x150 SE | 92 | 94 | 0.015282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_3543-8_0_6_line_97 | NAYY 4x150 SE | 93 | 95 | 0.0063032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_3543-8_0_6_line_98 | NAYY 4x150 SE | 94 | 96 | 0.0017564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_3543-8_0_6_line_99 | NAYY 4x150 SE | 95 | 100 | 0.008533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3543-8_0_6_line_100 | NAYY 4x150 SE | 97 | 98 | 0.011441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3543-8_0_6_line_101 | NAYY 4x150 SE | 97 | 99 | 0.011736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3543-8_0_6_line_102 | NAYY 4x150 SE | 99 | 101 | 0.0026248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3543-8_0_6_line_103 | NAYY 4x150 SE | 101 | 105 | 0.011256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3543-8_0_6_line_104 | NAYY 4x150 SE | 102 | 110 | 0.027342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3543-8_0_6_line_105 | NAYY 4x150 SE | 103 | 104 | 0.008113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3543-8_0_6_line_106 | NAYY 4x150 SE | 105 | 106 | 0.0031359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3543-8_0_6_line_107 | NAYY 4x150 SE | 106 | 107 | 0.0052692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3543-8_0_6_line_108 | NAYY 4x150 SE | 107 | 108 | 0.0083696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3543-8_0_6_line_109 | NAYY 4x150 SE | 108 | 109 | 0.0073157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3543-8_0_6_line_110 | NAYY 4x150 SE | 110 | 111 | 0.0029739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3543-8_0_6_trafo_59 | 0.25 MVA 20/0.4 kV | 112 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49
0 | 2772520.2361 | 1148206.5968 | 2772520.1614 | 1148201.3609
1 | 2772515.6802 | 1148218.0254 | 2772520.2687 | 1148208.8818 | 2772520.2361 | 1148206.5968
2 | 2772520.1614 | 1148201.3609 | 2772520.1614 | 1148201.3609 | 2772517.0703 | 1148196.3235 | 2772515.3901 | 1148191.1264 | 2772515.5563 | 1148185.3259 | 2772515.6167 | 1148184.5601
3 | 2772495.6657 | 1148218.3974 | 2772463.3657 | 1148199.8901 | 2772449.0336 | 1148192.3623 | 2772457.1 | 1148184.4082 | 2772467.7396 | 1148185.6248 | 2772480.9868 | 1148191.3199 | 2772494.5425 | 1148202.3398 | 2772513.793 | 1148216.5701 | 2772515.6802 | 1148218.0254
4 | 2772533.3804 | 1148168.8658 | 2772528.9623 | 1148168.8393 | 2772524.7312 | 1148169.7968 | 2772519.5726 | 1148173.0855 | 2772515.8941 | 1148181.0429 | 2772515.6167 | 1148184.5601
5 | 2772183.6844 | 1148136.0388 | 2772190.6258 | 1148133.824 | 2772200.2951 | 1148130.0079 | 2772204.9873 | 1148128.2403 | 2772227.2844 | 1148119.0024 | 2772244.7083 | 1148113.8289 | 2772261.0329 | 1148110.8148 | 2772278.1517 | 1148109.058 | 2772288.6389 | 1148109.4246 | 2772296.8896 | 1148110.6059 | 2772316.1497 | 1148114.0484 | 2772334.8111 | 1148116.6619 | 2772348.9353 | 1148117.7666 | 2772360.0256 | 1148117.7392 | 2772370.0327 | 1148116.6243 | 2772377.9819 | 1148115.4506 | 2772393.1999 | 1148110.5591 | 2772417.6392 | 1148100.5936 | 2772440.9628 | 1148093.3653 | 2772446.5315 | 1148092.9353 | 2772452.8708 | 1148094.5737 | 2772459.9455 | 1148100.5925 | 2772463.5924 | 1148107.4252 | 2772464.0393 | 1148114.6333 | 2772462.8429 | 1148121.7943 | 2772457.4587 | 1148128.9356 | 2772450.6925 | 1148133.0791 | 2772440.5884 | 1148137.3161 | 2772432.1272 | 1148141.6112 | 2772425.2883 | 1148147.2206 | 2772420.7698 | 1148153.1189 | 2772418.5652 | 1148157.6488 | 2772418.1968 | 1148162.4647 | 2772419.0099 | 1148168.9605 | 2772420.9934 | 1148173.7659 | 2772425.0351 | 1148178.6192 | 2772434.1867 | 1148184.564 | 2772449.0336 | 1148192.3623 | 2772463.3657 | 1148199.8901 | 2772495.6657 | 1148218.3974
6 | 2772495.6657 | 1148218.3974 | 2772495.0672 | 1148225.0752 | 2772497.6056 | 1148231.1644 | 2772506.2241 | 1148235.0589 | 2772511.5298 | 1148237.9021 | 2772518.7291 | 1148242.5123 | 2772522.5024 | 1148246.268 | 2772526.7667 | 1148251.6616 | 2772532.1432 | 1148259.5447 | 2772537.1784 | 1148268.0742 | 2772538.8597 | 1148277.2527 | 2772538.3051 | 1148285.0772 | 2772537.4357 | 1148292.8926 | 2772537.1804 | 1148301.8044 | 2772540.2745 | 1148310.4896 | 2772545.6846 | 1148320.9538
7 | 2771446.1993 | 1148085.4427 | 2772068.4898 | 1148032.9357
8 | 2771446.1993 | 1148085.4427 | 2771444.6385 | 1148080.3383 | 2771440.6427 | 1148076.5435 | 2771432.7086 | 1148074.2269 | 2771429.0746 | 1148073.9723
9 | 2772068.4898 | 1148032.9357 | 2772068.8131 | 1148028.8303 | 2772069.0886 | 1148026.0748
10 | 2772068.4898 | 1148032.9357 | 2772068.1377 | 1148037.4075 | 2772068.8967 | 1148044.7357 | 2772070.2118 | 1148047.2307
11 | 2771401.831 | 1148073.9265 | 2771417.4765 | 1148073.1595 | 2771429.0746 | 1148073.9723
12 | 2772134.8498 | 1148138.3352 | 2772166.4456 | 1148138.2374 | 2772183.6844 | 1148136.0388
13 | 2772183.6844 | 1148136.0388 | 2772194.2623 | 1148147.7514 | 2772209.471 | 1148159.5741 | 2772223.612 | 1148171.3775 | 2772231.1174 | 1148175.2398 | 2772233.8386 | 1148175.7513 | 2772241.7439 | 1148176.9115 | 2772257.1651 | 1148181.3005 | 2772266.4458 | 1148187.0375 | 2772270.4802 | 1148188.7029
14 | 2772554.9146 | 1148348.8318 | 2772554.9146 | 1148348.8318 | 2772557.4334 | 1148339.7735 | 2772557.4122 | 1148336.7591 | 2772553.3935 | 1148330.305 | 2772545.6846 | 1148320.9538
15 | 2772134.8498 | 1148138.3352 | 2772134.8232 | 1148125.5497
16 | 2772134.8498 | 1148138.3352 | 2772110.9854 | 1148138.074
17 | 2772408.2187 | 1148406.0747 | 2772413.1067 | 1148404.7133 | 2772422.1888 | 1148403.6832 | 2772423.6047 | 1148403.0787 | 2772426.7943 | 1148400.9125 | 2772430.9976 | 1148397.1627 | 2772437.584 | 1148392.8472 | 2772442.6011 | 1148390.7333 | 2772447.1422 | 1148390.2183 | 2772452.8457 | 1148390.7041 | 2772458.7809 | 1148394.0991 | 2772464.5261 | 1148392.8624 | 2772465.6734 | 1148386.8787 | 2772463.8255 | 1148378.9521 | 2772457.8637 | 1148374.0661 | 2772450.2007 | 1148370.3547 | 2772442.493 | 1148362.8386 | 2772439.5214 | 1148354.7019 | 2772439.4487 | 1148346.5036 | 2772441.8979 | 1148340.9465 | 2772447.9593 | 1148336.7161 | 2772458.1554 | 1148337.3083 | 2772467.7274 | 1148338.4943 | 2772476.4562 | 1148336.9204 | 2772481.3697 | 1148330.3773 | 2772484.266 | 1148319.6728 | 2772486.2762 | 1148313.3469 | 2772486.7656 | 1148306.9886 | 2772480.9028 | 1148298.9136 | 2772468.2234 | 1148294.6026 | 2772460.8512 | 1148291.1998 | 2772446.5064 | 1148286.5408 | 2772435.049 | 1148281.9534 | 2772426.585 | 1148274.2712 | 2772419.9543 | 1148266.1743 | 2772413.1295 | 1148259.7511 | 2772404.2716 | 1148255.0937 | 2772392.5448 | 1148249.4422 | 2772386.4933 | 1148242.5852 | 2772375.9972 | 1148236.3573 | 2772362.4429 | 1148230.6536 | 2772351.704 | 1148222.4392 | 2772340.4941 | 1148214.8342 | 2772330.9871 | 1148211.3704 | 2772314.88 | 1148204.3705 | 2772301.4054 | 1148201.2492 | 2772291.0754 | 1148194.5814 | 2772284.7182 | 1148193.0316 | 2772275.9399 | 1148190.9567 | 2772270.4802 | 1148188.7029
18 | 2772552.999 | 1148362.8816 | 2772555.7959 | 1148359.3775 | 2772556.0447 | 1148354.4469 | 2772554.9146 | 1148348.8318
19 | 2772134.7913 | 1148110.2143 | 2772134.8232 | 1148125.5497
20 | 2772408.2187 | 1148406.0747 | 2772405.7258 | 1148404.0349 | 2772402.2416 | 1148403.3346 | 2772388.6661 | 1148398.3864 | 2772375.7188 | 1148392.7 | 2772359.127 | 1148391.9138 | 2772342.9234 | 1148399.0458 | 2772330.315 | 1148408.1046 | 2772314.1547 | 1148413.7254 | 2772299.8969 | 1148416.5093 | 2772288.6677 | 1148414.9648 | 2772261.4209 | 1148408.4136 | 2772220.4448 | 1148396.9104 | 2772206.6024 | 1148395.9141 | 2772195.1023 | 1148408.9528
21 | 2772107.7794 | 1148064.2185 | 2772110.9053 | 1148064.3078 | 2772122.4253 | 1148068.6072 | 2772127.6035 | 1148076.729 | 2772132.3597 | 1148086.4401 | 2772133.1554 | 1148087.9086 | 2772134.353 | 1148101.1323 | 2772134.5007 | 1148103.7611 | 2772134.7867 | 1148108.0064 | 2772134.7913 | 1148110.2143
22 | 2772107.7794 | 1148064.2185 | 2772105.6566 | 1148064.1579
23 | 2771404.2545 | 1148060.1956 | 2771404.2283 | 1148059.876
24 | 2771401.831 | 1148073.9265 | 2771403.2189 | 1148069.9847 | 2771404.497 | 1148063.1483 | 2771404.2545 | 1148060.1956
25 | 2771404.2283 | 1148059.876 | 2771403.6923 | 1148053.35 | 2771401.1624 | 1148045.3355
26 | 2771397.9449 | 1148085.9934 | 2771400.2929 | 1148078.2866 | 2771401.831 | 1148073.9265
27 | 2771401.1624 | 1148045.3355 | 2771400.8982 | 1148044.4986
28 | 2771397.9449 | 1148085.9934 | 2771388.5213 | 1148086.1756
29 | 2771397.2823 | 1148036.3365 | 2771400.1322 | 1148042.0721 | 2771400.8982 | 1148044.4986
30 | 2771388.5213 | 1148086.1756 | 2771370.948 | 1148086.5153 | 2771359.3372 | 1148086.4711
31 | 2771396.4504 | 1147995.6717 | 2771392.6064 | 1147999.7428 | 2771392.1037 | 1148006.0675 | 2771392.9632 | 1148013.9433 | 2771393.2174 | 1148027.6961 | 2771395.7491 | 1148033.2508 | 2771397.2823 | 1148036.3365
32 | 2771270.349 | 1148087.0057 | 2771272.2905 | 1148086.9677 | 2771296.3391 | 1148086.6173 | 2771321.9832 | 1148086.9129 | 2771348.8329 | 1148086.4311 | 2771359.3372 | 1148086.4711
33 | 2772552.999 | 1148362.8816 | 2772551.1011 | 1148365.2595 | 2772550.4181 | 1148367.1212
34 | 2772548.5254 | 1148372.281 | 2772550.4181 | 1148367.1212
35 | 2772089.4429 | 1148060.3164 | 2772087.4401 | 1148059.556 | 2772085.7002 | 1148058.8112
36 | 2772070.2118 | 1148047.2307 | 2772072.1699 | 1148050.9458 | 2772077.7524 | 1148055.4091 | 2772085.7002 | 1148058.8112
37 | 2772089.4429 | 1148060.3164 | 2772099.0645 | 1148063.9695 | 2772105.6566 | 1148064.1579
38 | 2772069.4434 | 1148022.5258 | 2772069.0886 | 1148026.0748
39 | 2772069.4434 | 1148022.5258 | 2772070.0726 | 1148016.232
40 | 2771254.1554 | 1148087.3227 | 2771270.349 | 1148087.0057
41 | 2771102.692 | 1148093.947 | 2771118.871 | 1148091.4373 | 2771146.4047 | 1148089.0612 | 2771166.8579 | 1148089.2087 | 2771193.941 | 1148088.3547 | 2771217.9969 | 1148087.7484 | 2771249.8224 | 1148087.4076 | 2771254.1554 | 1148087.3227
42 | 2771102.692 | 1148093.947 | 2771029.445 | 1148106.7244 | 2770949.7937 | 1148120.4219 | 2770887.3323 | 1148131.7388 | 2770858.6758 | 1148137.4094 | 2770842.0245 | 1148142.7645 | 2770768.2689 | 1148184.3672 | 2770674.3885 | 1148225.6786 | 2770642.8451 | 1148239.965
43 | 2770642.8451 | 1148239.965 | 2770642.9377 | 1148233.9845 | 2770651.7939 | 1148227.8965 | 2770653.8573 | 1148225.3193 | 2770681.2613 | 1148209.8592 | 2770676.1336 | 1148188.7731 | 2770663.8427 | 1148182.3639 | 2770656.9287 | 1148180.1107 | 2770652.3259 | 1148177.656 | 2770652.9558 | 1148174.6823 | 2770667.8602 | 1148175.3715 | 2770669.3477 | 1148173.5898 | 2770668.3562 | 1148170.0697 | 2770650.8735 | 1148165.4485 | 2770648.7356 | 1148162.5187 | 2770651.2214 | 1148160.2204 | 2770657.5511 | 1148159.4989 | 2770690.6187 | 1148161.6815 | 2770695.9301 | 1148159.7413 | 2770702.4445 | 1148154.1319 | 2770765.0283 | 1148108.6529 | 2770787.3127 | 1148107.6388 | 2770808.4268 | 1148090.1659
44 | 2770467.6503 | 1148429.1424 | 2770478.6232 | 1148404.1862 | 2770493.7163 | 1148388.6882 | 2770498.2012 | 1148381.1862 | 2770516.0939 | 1148367.7804 | 2770525.2765 | 1148344.4529 | 2770544.1681 | 1148328.8846 | 2770550.2252 | 1148317.1567 | 2770579.4983 | 1148294.5538 | 2770613.4963 | 1148277.701 | 2770618.4995 | 1148270.9033 | 2770629.1847 | 1148263.9996 | 2770629.481 | 1148257.8803 | 2770634.7243 | 1148255.6267 | 2770636.5666 | 1148250.2741 | 2770640.5045 | 1148247.1718 | 2770642.8451 | 1148239.965
45 | 2770343.4673 | 1148154.2115 | 2770340.9467 | 1148168.3417 | 2770347.8755 | 1148169.2605 | 2770360.6554 | 1148170.3448 | 2770396.2903 | 1148171.4195 | 2770438.7601 | 1148173.1994 | 2770445.7233 | 1148173.9858 | 2770449.6106 | 1148174.574 | 2770453.3795 | 1148175.2701 | 2770458.7085 | 1148176.7776 | 2770463.2093 | 1148178.4953 | 2770466.4079 | 1148180.0649 | 2770470.3999 | 1148182.3798 | 2770475.4255 | 1148186.192 | 2770479.9726 | 1148190.3465 | 2770482.8666 | 1148193.9871 | 2770485.1694 | 1148197.6109 | 2770487.3982 | 1148201.6776 | 2770489.1477 | 1148205.8418 | 2770490.6352 | 1148210.577 | 2770491.8812 | 1148217.5962 | 2770492.1379 | 1148225.0879 | 2770491.5779 | 1148232.1116 | 2770490.6912 | 1148238.1919 | 2770488.3778 | 1148248.2464 | 2770473.491 | 1148305.5872 | 2770472.1414 | 1148312.5441 | 2770472.5567 | 1148316.337 | 2770473.3709 | 1148319.0624 | 2770475.3347 | 1148322.4432 | 2770477.4761 | 1148324.4388 | 2770478.9338 | 1148325.3364 | 2770481.8881 | 1148326.8435 | 2770485.5228 | 1148327.9361 | 2770489.0936 | 1148328.0261 | 2770493.6064 | 1148327.1418 | 2770499.0662 | 1148324.8386 | 2770545.751 | 1148293.0644 | 2770596.1283 | 1148261.4396 | 2770642.8451 | 1148239.965
46 | 2770467.6503 | 1148429.1424 | 2770471.8921 | 1148428.8732 | 2770474.3921 | 1148431.7687 | 2770474.8073 | 1148436.1065 | 2770473.4092 | 1148445.3195 | 2770467.8222 | 1148453.4799 | 2770467.3106 | 1148458.7923 | 2770471.9267 | 1148462.4038 | 2770481.7223 | 1148458.1326 | 2770483.3648 | 1148454.1311 | 2770484.2939 | 1148450.354 | 2770483.6381 | 1148444.4747 | 2770483.6533 | 1148439.5931 | 2770488.5489 | 1148431.1574 | 2770501.9998 | 1148418.2931 | 2770512.5367 | 1148406.5697 | 2770519.7662 | 1148398.7561 | 2770536.8351 | 1148392.1887 | 2770547.0652 | 1148388.3191 | 2770564.701 | 1148391.0427 | 2770574.5232 | 1148385.8382 | 2770587.4824 | 1148385.4602 | 2770596.0993 | 1148391.3425 | 2770604.0849 | 1148408.9285 | 2770607.6748 | 1148429.5039 | 2770605.2034 | 1148443.235 | 2770596.1738 | 1148457.0806 | 2770591.4739 | 1148496.8605 | 2770584.2522 | 1148536.4134 | 2770584.1584 | 1148536.9946
47 | 2770343.4673 | 1148154.2115 | 2770322.8843 | 1148150.5156 | 2770317.0372 | 1148148.421
48 | 2770179.6501 | 1148226.0039 | 2770180.5451 | 1148228.0532 | 2770185.9139 | 1148237.4019 | 2770219.9867 | 1148185.507 | 2770224.4512 | 1148179.5389 | 2770229.6868 | 1148173.7482 | 2770236.2829 | 1148167.4067 | 2770241.2937 | 1148163.5893 | 2770247.314 | 1148159.9449 | 2770254.8868 | 1148156.5669 | 2770260.474 | 1148154.9233 | 2770266.8332 | 1148153.7018 | 2770274.0274 | 1148153.1156 | 2770280.1956 | 1148153.2121 | 2770287.1181 | 1148153.8081 | 2770293.4702 | 1148155.0108 | 2770307.461 | 1148158.9318 | 2770334.1002 | 1148166.9581 | 2770340.9467 | 1148168.3417 | 2770343.4673 | 1148154.2115
49 | 2770343.4673 | 1148154.2115 | 2770360.8002 | 1148156.5787
50 | 2770584.1584 | 1148536.9946 | 2770582.6304 | 1148546.4653 | 2770583.3152 | 1148556.3644
51 | 2770179.6501 | 1148226.0039 | 2770179.3349 | 1148223.5595 | 2770179.6193 | 1148220.5649
52 | 2770108.7323 | 1148156.4522 | 2770094.495 | 1148194.7287 | 2770082.1145 | 1148247.5371 | 2770078.3887 | 1148262.7342 | 2770077.0742 | 1148286.6961 | 2770070.8296 | 1148311.0859 | 2770057.7111 | 1148352.4856 | 2770056.6028 | 1148377.5876 | 2770060.5453 | 1148409.9607 | 2770063.5854 | 1148438.9165 | 2770061.7804 | 1148457.393 | 2770057.3693 | 1148468.2892 | 2770063.6279 | 1148462.4495 | 2770070.3449 | 1148450.7176 | 2770071.7085 | 1148446.241 | 2770073.7319 | 1148425.7466 | 2770080.872 | 1148399.0356 | 2770084.0155 | 1148382.6877 | 2770085.5576 | 1148379.2393 | 2770085.888 | 1148367.5383 | 2770088.4417 | 1148364.7301 | 2770093.6964 | 1148360.975 | 2770098.7687 | 1148356.6032 | 2770110.0479 | 1148341.4303 | 2770112.6842 | 1148338.1462 | 2770115.8535 | 1148330.6846 | 2770119.7076 | 1148328.0911 | 2770124.8322 | 1148313.9788 | 2770129.5172 | 1148307.2717 | 2770132.7904 | 1148304.2948 | 2770141.0892 | 1148290.984 | 2770149.2903 | 1148281.407 | 2770164.4063 | 1148256.6451 | 2770170.0172 | 1148242.1907 | 2770175.6058 | 1148236.6881 | 2770176.2282 | 1148231.5233 | 2770179.6501 | 1148226.0039
53 | 2769870.1942 | 1148664.1179 | 2769872.0608 | 1148658.4211 | 2769874.3664 | 1148654.0488 | 2769880.6103 | 1148644.9056 | 2769900.3622 | 1148619.7179 | 2769904.9534 | 1148613.8643 | 2769925.768 | 1148588.6065 | 2769923.3839 | 1148584.0464 | 2769921.2492 | 1148578.815 | 2769921.4122 | 1148573.5816 | 2769928.5596 | 1148565.3759 | 2769954.3697 | 1148545.8196 | 2769969.0663 | 1148535.3247 | 2769980.2949 | 1148528.7243 | 2770009.33 | 1148515.7984 | 2770020.5019 | 1148510.3976 | 2770037.1769 | 1148496.7892 | 2770049.5697 | 1148482.4373 | 2770057.3693 | 1148468.2892 | 2770063.6279 | 1148462.4495 | 2770070.3449 | 1148450.7176 | 2770071.7085 | 1148446.241 | 2770073.7319 | 1148425.7466 | 2770080.872 | 1148399.0356 | 2770084.0155 | 1148382.6877 | 2770085.5576 | 1148379.2393 | 2770085.888 | 1148367.5383 | 2770088.4417 | 1148364.7301 | 2770093.6964 | 1148360.975 | 2770098.7687 | 1148356.6032 | 2770110.0479 | 1148341.4303 | 2770112.6842 | 1148338.1462 | 2770115.8535 | 1148330.6846 | 2770119.7076 | 1148328.0911 | 2770124.8322 | 1148313.9788 | 2770129.5172 | 1148307.2717 | 2770132.7904 | 1148304.2948 | 2770141.0892 | 1148290.984 | 2770149.2903 | 1148281.407 | 2770164.4063 | 1148256.6451 | 2770170.0172 | 1148242.1907 | 2770175.6058 | 1148236.6881 | 2770176.2282 | 1148231.5233 | 2770179.6501 | 1148226.0039
54 | 2770583.3152 | 1148556.3644 | 2770583.3355 | 1148556.6569
55 | 2770197.8306 | 1148194.4378 | 2770181.6428 | 1148216.6742 | 2770179.6193 | 1148220.5649
56 | 2770108.7323 | 1148156.4522 | 2770118.6065 | 1148112.4031 | 2770121.8006 | 1148090.4627 | 2770122.3353 | 1148051.1209 | 2770127.4518 | 1148035.1289 | 2770132.5218 | 1148020.2367 | 2770140.4028 | 1148006.2245 | 2770159.2483 | 1147985.4825 | 2770180.521 | 1147965.6098 | 2770210.5485 | 1147925.8335 | 2770220.3753 | 1147915.3128 | 2770235.3046 | 1147906.1707 | 2770252.2142 | 1147897.118 | 2770268.8678 | 1147882.9869 | 2770281.7913 | 1147873.032 | 2770301.4502 | 1147858.619 | 2770313.6972 | 1147845.6869 | 2770324.4718 | 1147827.7532 | 2770335.0085 | 1147807.6331 | 2770341.5469 | 1147795.7675
57 | 2769870.1942 | 1148664.1179 | 2769868.9522 | 1148671.1002
58 | 2770348.8238 | 1147766.6984 | 2770347.5006 | 1147750.9805 | 2770340.1237 | 1147733.8236 | 2770329.0049 | 1147707.1192 | 2770328.9506 | 1147691.9154 | 2770334.6062 | 1147676.9953 | 2770353.8324 | 1147647.746 | 2770359.7356 | 1147635.725
59 | 2770395.3187 | 1147565.1454 | 2770380.8342 | 1147592.7605 | 2770359.7356 | 1147635.725
60 | 2770348.8238 | 1147766.6984 | 2770340.1392 | 1147760.7256 | 2770329.5505 | 1147755.4996 | 2770320.1028 | 1147754.4985 | 2770303.4828 | 1147757.9098 | 2770284.2381 | 1147760.9244 | 2770277.3203 | 1147763.6759 | 2770272.4498 | 1147772.0346
61 | 2770348.8238 | 1147766.6984 | 2770346.1474 | 1147787.4189 | 2770341.5469 | 1147795.7675
62 | 2770395.3187 | 1147565.1454 | 2770408.4196 | 1147568.7855 | 2770426.4919 | 1147570.0197 | 2770442.7611 | 1147565.1753 | 2770460.8318 | 1147551.5297 | 2770480.4794 | 1147534.0364 | 2770493.5705 | 1147517.9257 | 2770504.0015 | 1147506.466 | 2770518.2994 | 1147496.0612 | 2770526.9675 | 1147483.6176
63 | 2769868.9522 | 1148671.1002 | 2769866.0823 | 1148695.7864
64 | 2769866.0823 | 1148695.7864 | 2769864.7259 | 1148707.4544
65 | 2769864.6597 | 1148708.0238 | 2769864.7259 | 1148707.4544
66 | 2769864.6597 | 1148708.0238 | 2769862.6334 | 1148725.4526
67 | 2769861.7693 | 1148732.8856 | 2769862.6334 | 1148725.4526
68 | 2769896.4447 | 1148740.0691 | 2769875.8346 | 1148735.7994
69 | 2769896.4447 | 1148740.0691 | 2769889.9471 | 1148744.045 | 2769886.1305 | 1148748.8639 | 2769885.0511 | 1148753.8795
70 | 2769875.8346 | 1148735.7994 | 2769873.6958 | 1148735.3563
71 | 2769883.3378 | 1148761.8411 | 2769885.0511 | 1148753.8795
72 | 2769861.7693 | 1148732.8856 | 2769873.6958 | 1148735.3563
73 | 2769816.2536 | 1148709.8273 | 2769827.7999 | 1148692.2148 | 2769833.0961 | 1148688.4599
74 | 2769816.2536 | 1148709.8273 | 2769826.012 | 1148718.2874 | 2769832.4801 | 1148724.2484
75 | 2769882.1864 | 1148767.1911 | 2769883.3378 | 1148761.8411
76 | 2769837.316 | 1148731.6177 | 2769834.1156 | 1148725.7557 | 2769832.4801 | 1148724.2484
77 | 2770197.8306 | 1148194.4378 | 2770197.9287 | 1148194.3031 | 2770214.8367 | 1148171.6827 | 2770224.2813 | 1148157.8149 | 2770227.1604 | 1148153.0142 | 2770227.5476 | 1148145.2961 | 2770224.6464 | 1148138.6416 | 2770225.6069 | 1148134.7263
78 | 2769834.7372 | 1148808.8634 | 2769834.4959 | 1148810.0962 | 2769833.9644 | 1148814.7743 | 2769833.1202 | 1148821.2784 | 2769832.8776 | 1148823.0191
79 | 2769834.7372 | 1148808.8634 | 2769835.0422 | 1148807.3052
80 | 2769830.4244 | 1148838.1284 | 2769832.1954 | 1148827.9138 | 2769832.8776 | 1148823.0191
81 | 2769838.5448 | 1148798.9449 | 2769836.0048 | 1148804 | 2769835.1692 | 1148806.6566 | 2769835.0422 | 1148807.3052
82 | 2769830.4244 | 1148838.1284 | 2769844.2 | 1148847.725 | 2769846.1305 | 1148849.4286
83 | 2769838.5448 | 1148798.9449 | 2769841.6748 | 1148794.7628 | 2769842.9317 | 1148793.2684
84 | 2769838.5448 | 1148798.9449 | 2769827.2663 | 1148791.0605
85 | 2769850.6644 | 1148784.075 | 2769842.9317 | 1148793.2684
86 | 2769827.2663 | 1148791.0605 | 2769825.2303 | 1148789.6372
87 | 2769854.9602 | 1148778.9676 | 2769850.6644 | 1148784.075
88 | 2769818.719 | 1148785.0853 | 2769825.2303 | 1148789.6372
89 | 2769818.719 | 1148785.0853 | 2769817.1866 | 1148786.9753
90 | 2769818.719 | 1148785.0853 | 2769821.5238 | 1148780.994 | 2769822.3649 | 1148779.384
91 | 2769854.9602 | 1148778.9676 | 2769860.8476 | 1148784.5525
92 | 2769854.9602 | 1148778.9676 | 2769858.2942 | 1148773.8237 | 2769858.5747 | 1148773.2735
93 | 2769866.0932 | 1148759.3969 | 2769872.4762 | 1148762.7469 | 2769873.7713 | 1148763.3397
94 | 2769860.9214 | 1148756.6826 | 2769866.0932 | 1148759.3969
95 | 2769876.455 | 1148764.5679 | 2769873.7713 | 1148763.3397
96 | 2769860.9214 | 1148756.6826 | 2769861.0347 | 1148763.8366 | 2769860.938 | 1148765.9023 | 2769860.6019 | 1148768.2839 | 2769859.9372 | 1148770.6005 | 2769859.3723 | 1148771.7087
97 | 2769882.1864 | 1148767.1911 | 2769876.455 | 1148764.5679
98 | 2769859.3723 | 1148771.7087 | 2769858.5747 | 1148773.2735
99 | 2769882.1864 | 1148767.1911 | 2769885.539 | 1148769.8324 | 2769887.4287 | 1148773.6668
100 | 2769847.5775 | 1148736.6779 | 2769837.316 | 1148731.6177 | 2769837.316 | 1148731.6177
101 | 2769847.5775 | 1148736.6779 | 2769843.5632 | 1148741.9695 | 2769840.5895 | 1148746.1057
102 | 2769839.0831 | 1148748.2539 | 2769839.2924 | 1148747.9099 | 2769840.5895 | 1148746.1057
103 | 2769839.0831 | 1148748.2539 | 2769835.8599 | 1148753.5515 | 2769833.5195 | 1148758.0316
104 | 2769871.5432 | 1148808.5038 | 2769868.3616 | 1148801.0202 | 2769867.789 | 1148798.4352 | 2769867.7228 | 1148793.4289 | 2769867.3868 | 1148791.7179 | 2769866.62 | 1148790.0281 | 2769860.8476 | 1148784.5525
105 | 2770583.8953 | 1148564.7506 | 2770583.3355 | 1148556.6569
106 | 2769833.5195 | 1148758.0316 | 2769832.0675 | 1148760.8111
107 | 2769829.6277 | 1148765.4814 | 2769832.0675 | 1148760.8111
108 | 2769829.6277 | 1148765.4814 | 2769825.7523 | 1148772.8997
109 | 2769822.3649 | 1148779.384 | 2769825.7523 | 1148772.8997
110 | 2769872.7067 | 1148811.2406 | 2769871.5432 | 1148808.5038

## bus_geodata
| x | y | coords
0 | 2772520.2361 | 1148206.5968
1 | 2772520.1614 | 1148201.3609
2 | 2772515.6802 | 1148218.0254
3 | 2772515.6167 | 1148184.5601
4 | 2772495.6657 | 1148218.3974
5 | 2771446.1993 | 1148085.4427
6 | 2772068.4898 | 1148032.9357
7 | 2771429.0746 | 1148073.9723
8 | 2772533.3804 | 1148168.8658
9 | 2772183.6844 | 1148136.0388
10 | 2772545.6846 | 1148320.9538
11 | 2772134.8498 | 1148138.3352
12 | 2772270.4802 | 1148188.7029
13 | 2772554.9146 | 1148348.8318
14 | 2772134.8232 | 1148125.5497
15 | 2772110.9854 | 1148138.074
16 | 2772408.2187 | 1148406.0747
17 | 2772195.1023 | 1148408.9528
18 | 2772134.7913 | 1148110.2143
19 | 2772107.7794 | 1148064.2185
20 | 2771404.2545 | 1148060.1956
21 | 2771404.2283 | 1148059.876
22 | 2771401.831 | 1148073.9265
23 | 2771401.1624 | 1148045.3355
24 | 2771397.9449 | 1148085.9934
25 | 2771400.8982 | 1148044.4986
26 | 2771388.5213 | 1148086.1756
27 | 2771397.2823 | 1148036.3365
28 | 2771359.3372 | 1148086.4711
29 | 2771396.4504 | 1147995.6717
30 | 2772552.999 | 1148362.8816
31 | 2772550.4181 | 1148367.1212
32 | 2772548.5254 | 1148372.281
33 | 2772085.7002 | 1148058.8112
34 | 2772089.4429 | 1148060.3164
35 | 2772070.2118 | 1148047.2307
36 | 2772105.6566 | 1148064.1579
37 | 2772069.0886 | 1148026.0748
38 | 2772069.4434 | 1148022.5258
39 | 2772070.0726 | 1148016.232
40 | 2771270.349 | 1148087.0057
41 | 2771254.1554 | 1148087.3227
42 | 2771102.692 | 1148093.947
43 | 2770642.8451 | 1148239.965
44 | 2770808.4268 | 1148090.1659
45 | 2770467.6503 | 1148429.1424
46 | 2770343.4673 | 1148154.2115
47 | 2770584.1584 | 1148536.9946
48 | 2770317.0372 | 1148148.421
49 | 2770179.6501 | 1148226.0039
50 | 2770360.8002 | 1148156.5787
51 | 2770583.3152 | 1148556.3645
52 | 2770179.6193 | 1148220.5649
53 | 2770108.7323 | 1148156.4522
54 | 2769870.1942 | 1148664.1179
55 | 2770359.7356 | 1147635.725
56 | 2770348.8238 | 1147766.6984
57 | 2770395.3187 | 1147565.1454
58 | 2770272.4498 | 1147772.0346
59 | 2770341.5469 | 1147795.7675
60 | 2770526.9675 | 1147483.6176
61 | 2769868.9522 | 1148671.1002
62 | 2769866.0823 | 1148695.7864
63 | 2769864.7259 | 1148707.4544
64 | 2769864.6597 | 1148708.0238
65 | 2769862.6334 | 1148725.4526
66 | 2769896.4447 | 1148740.0691
67 | 2769875.8346 | 1148735.7994
68 | 2769885.0511 | 1148753.8795
69 | 2769861.7693 | 1148732.8856
70 | 2769833.0961 | 1148688.4599
71 | 2769816.2536 | 1148709.8273
72 | 2769873.6958 | 1148735.3563
73 | 2769883.3378 | 1148761.8411
74 | 2769832.4801 | 1148724.2484
75 | 2770197.8306 | 1148194.4378
76 | 2769834.7372 | 1148808.8634
77 | 2769832.8776 | 1148823.0191
78 | 2769835.0422 | 1148807.3052
79 | 2769830.4244 | 1148838.1284
80 | 2769838.5448 | 1148798.9449
81 | 2769846.1305 | 1148849.4286
82 | 2769842.9317 | 1148793.2684
83 | 2769827.2663 | 1148791.0605
84 | 2769850.6644 | 1148784.075
85 | 2769825.2303 | 1148789.6372
86 | 2769817.1866 | 1148786.9754
87 | 2769818.719 | 1148785.0853
88 | 2769854.9602 | 1148778.9676
89 | 2770225.6069 | 1148134.7263
90 | 2769866.0932 | 1148759.3969
91 | 2769873.7713 | 1148763.3397
92 | 2769860.9214 | 1148756.6826
93 | 2769876.455 | 1148764.5679
94 | 2769859.3723 | 1148771.7087
95 | 2769882.1864 | 1148767.1911
96 | 2769858.5747 | 1148773.2735
97 | 2769847.5775 | 1148736.6779
98 | 2769837.316 | 1148731.6177
99 | 2769840.5895 | 1148746.1057
100 | 2769887.4287 | 1148773.6668
101 | 2769839.0831 | 1148748.2539
102 | 2769860.8476 | 1148784.5525
103 | 2770583.3355 | 1148556.6569
104 | 2770583.8953 | 1148564.7506
105 | 2769833.5195 | 1148758.0316
106 | 2769832.0675 | 1148760.8111
107 | 2769829.6277 | 1148765.4814
108 | 2769825.7523 | 1148772.8997
109 | 2769822.3649 | 1148779.384
110 | 2769871.5432 | 1148808.5038
111 | 2769872.7067 | 1148811.2406
112 | 2769904.4936 | 1148737.2156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1