## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3544-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3544-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3544-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3544-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3544-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3544-10_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3544-10_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3544-10_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3544-10_0_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_3544-10_0_2_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_3544-10_0_2_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_3544-10_0_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_3544-10_0_2_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3544-10_0_2_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_3544-10_0_2_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_3544-10_0_2_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3544-10_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_3544-10_0_2_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_3544-10_0_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_3544-10_0_2_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_3544-10_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3544-10_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3544-10_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3544-10_0_2_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_3544-10_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3544-10_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_3544-10_0_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3544-10_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3544-10_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3544-10_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_3544-10_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_3544-10_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_3544-10_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3544-10_0_2_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_3544-10_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_3544-10_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_3544-10_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_3544-10_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3544-10_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3544-10_0_2_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3544-10_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3544-10_0_2_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_3544-10_0_2_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_3544-10_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3544-10_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_3544-10_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3544-10_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3544-10_0_2_load_0 | 0 | 0.00068053 | 0.00017056 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3544-10_0_2_load_1 | 1 | 0.00059067 | 0.00014804 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3544-10_0_2_load_3 | 3 | 0.00080039 | 0.0002006 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3544-10_0_2_load_4 | 4 | 0.00068255 | 0.00017106 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3544-10_0_2_load_7 | 7 | 0.001276 | 0.00031979 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3544-10_0_2_load_39 | 9 | 0.0016134 | 0.00040436 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3544-10_0_2_load_33 | 11 | 0.0015162 | 0.00037999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3544-10_0_2_load_45 | 13 | 0.0064913 | 0.0016269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3544-10_0_2_load_42 | 14 | 0.0017859 | 0.00044759 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3544-10_0_2_load_28 | 15 | 0.0010291 | 0.00025792 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3544-10_0_2_load_25 | 16 | 0.0020073 | 0.00050308 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3544-10_0_2_load_36 | 18 | 0.00092666 | 0.00023224 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3544-10_0_2_load_8 | 19 | 0.0010953 | 0.0002745 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3544-10_0_2_load_37 | 23 | 0.0016013 | 0.00040133 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3544-10_0_2_load_19 | 24 | 0.00090773 | 0.0002275 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3544-10_0_2_load_35 | 26 | 0.00095927 | 0.00024041 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3544-10_0_2_load_13 | 28 | 0.00036647 | 9.1847e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3544-10_0_2_load_15 | 30 | 0.00078752 | 0.00019737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3544-10_0_2_load_16 | 31 | 0.00056314 | 0.00014114 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3544-10_0_2_load_17 | 32 | 0.00069942 | 0.00017529 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3544-10_0_2_load_34 | 33 | 0.00057114 | 0.00014314 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3544-10_0_2_load_20 | 34 | 0.0014274 | 0.00035774 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3544-10_0_2_load_23 | 37 | 0.0013497 | 0.00033826 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3544-10_0_2_load_24 | 38 | 0.00068295 | 0.00017116 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3544-10_0_2_load_26 | 39 | 0.00092889 | 0.0002328 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3544-10_0_2_load_48 | 41 | 0.0014274 | 0.00035775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3544-10_0_2_load_47 | 42 | 0.003421 | 0.00085738 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3544-10_0_2_load_41 | 44 | 0.0050747 | 0.0012718 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3544-10_0_2_load_44 | 45 | 0.0025666 | 0.00064326 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3544-10_0_2_load_46 | 46 | 0.0013713 | 0.00034369 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3544-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3544-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3544-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.068323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3544-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3544-10_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.23823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3544-10_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.16605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3544-10_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3544-10_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.076299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3544-10_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0092572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3544-10_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.033123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3544-10_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0046624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3544-10_0_2_line_11 | NAYY 4x150 SE | 8 | 15 | 0.061765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3544-10_0_2_line_12 | NAYY 4x150 SE | 8 | 16 | 0.024988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3544-10_0_2_line_13 | NAYY 4x150 SE | 8 | 12 | 0.073541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3544-10_0_2_line_14 | NAYY 4x150 SE | 9 | 17 | 0.055213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3544-10_0_2_line_15 | NAYY 4x150 SE | 10 | 18 | 0.047358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3544-10_0_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.027623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3544-10_0_2_line_17 | NAYY 4x150 SE | 12 | 14 | 0.013904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3544-10_0_2_line_18 | NAYY 4x150 SE | 13 | 42 | 0.012127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3544-10_0_2_line_19 | NAYY 4x150 SE | 14 | 43 | 0.034335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3544-10_0_2_line_20 | NAYY 4x150 SE | 15 | 40 | 0.035244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3544-10_0_2_line_21 | NAYY 4x150 SE | 16 | 36 | 0.041875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3544-10_0_2_line_22 | NAYY 4x150 SE | 17 | 44 | 0.0039004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3544-10_0_2_line_23 | NAYY 4x150 SE | 18 | 23 | 0.1185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3544-10_0_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.21409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3544-10_0_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3544-10_0_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.004222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3544-10_0_2_line_27 | NAYY 4x150 SE | 22 | 25 | 0.21528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3544-10_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.28148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3544-10_0_2_line_29 | NAYY 4x150 SE | 24 | 32 | 0.024221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3544-10_0_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.061483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3544-10_0_2_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0026996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3544-10_0_2_line_32 | NAYY 4x150 SE | 27 | 33 | 0.0076833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3544-10_0_2_line_33 | NAYY 4x150 SE | 27 | 31 | 0.012466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3544-10_0_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.012279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3544-10_0_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.0060651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3544-10_0_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.024909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3544-10_0_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.0053315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3544-10_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.063945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3544-10_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.037289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3544-10_0_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.0041165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3544-10_0_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.11354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3544-10_0_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.016213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3544-10_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.045442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3544-10_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.041968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3544-10_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3544-10_0_2_trafo_4 | 0.25 MVA 20/0.4 kV | 47 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2778912.9583 | 1162576.0387 | 2778910.6928 | 1162579.1075 | 2778906.5876 | 1162584.3681 | 2778901.1327 | 1162590.4114 | 2778894.8531 | 1162595.8297 | 2778887.3486 | 1162600.4108 | 2778877.0147 | 1162606.2596
1 | 2778929.4837 | 1162553.6538 | 2778912.9583 | 1162576.0387
2 | 2778877.0147 | 1162606.2596 | 2778870.3792 | 1162610.0151 | 2778857.2917 | 1162615.6756 | 2778845.356 | 1162619.9914 | 2778831.5165 | 1162623.6166 | 2778817.4334 | 1162626.6674 | 2778812.4079 | 1162626.9159
3 | 2778929.4837 | 1162553.6538 | 2778918.3224 | 1162547.4049 | 2778908.1137 | 1162540.4757
4 | 2778929.4837 | 1162553.6538 | 2778938.8848 | 1162540.9995 | 2778953.5452 | 1162518.3145 | 2778982.4435 | 1162472.9876 | 2778988.0684 | 1162452.7472 | 2778990.7497 | 1162441.2385 | 2778993.9094 | 1162435.8052 | 2779001.8317 | 1162439.6001 | 2779002.8744 | 1162444.2355 | 2779018.8191 | 1162455.1535 | 2779023.4385 | 1162456.0585 | 2779027.8971 | 1162455.6687 | 2779032.346 | 1162452.7762 | 2779038.3163 | 1162446.4257 | 2779047.2453 | 1162436.5045 | 2779055.534 | 1162431.858 | 2779060.9923 | 1162429.8297 | 2779069.0936 | 1162429.1591 | 2779073.993 | 1162431.4738 | 2779077.2522 | 1162434.2846
5 | 2778646.6683 | 1162634.8337 | 2778685.8319 | 1162633.5292 | 2778718.479 | 1162631.1748 | 2778756.3364 | 1162628.4195 | 2778784.1745 | 1162626.6453 | 2778792.9979 | 1162626.1738 | 2778808.0274 | 1162627.1326 | 2778812.4079 | 1162626.9159
6 | 2778908.1137 | 1162540.4757 | 2778895.7038 | 1162532.0523
7 | 2779077.2522 | 1162434.2846 | 2779072.1087 | 1162447.8775 | 2779069.9216 | 1162457.9774 | 2779069.9148 | 1162474.1589 | 2779074.1456 | 1162481.4139 | 2779066.9614 | 1162488.8736 | 2779058.6823 | 1162499.1145 | 2779056.7088 | 1162501.7916
8 | 2779077.2522 | 1162434.2846 | 2779080.7891 | 1162425.7297
9 | 2778613.4514 | 1162634.4357 | 2778646.6683 | 1162634.8337
10 | 2778891.8461 | 1162529.4339 | 2778895.7038 | 1162532.0523
11 | 2779056.7088 | 1162501.7916 | 2779059.1083 | 1162504.3765 | 2779062.818 | 1162508.7911 | 2779063.8625 | 1162512.8482 | 2779066.3748 | 1162528.6266 | 2779069.0743 | 1162532.7219 | 2779074.797 | 1162537.2521 | 2779075.3502 | 1162541.0721 | 2779072.2541 | 1162546.4294 | 2779069.3175 | 1162552.3475 | 2779069.7597 | 1162555.766
12 | 2779056.7088 | 1162501.7916 | 2779051.6508 | 1162508.6585 | 2779042.3 | 1162522.2042
13 | 2779056.7088 | 1162501.7916 | 2779058.6823 | 1162499.1145 | 2779066.9614 | 1162488.8736 | 2779074.1456 | 1162481.4139 | 2779079.6854 | 1162476.1295 | 2779088.763 | 1162470.4834 | 2779096.1849 | 1162468.1689 | 2779104.4364 | 1162467.3471 | 2779116.7127 | 1162467.3127
14 | 2779117.7349 | 1162392.1173 | 2779084.8361 | 1162409.8098 | 2779082.6315 | 1162411.2344 | 2779081.2898 | 1162412.7736 | 2779080.6656 | 1162414.4233 | 2779080.52 | 1162415.9648 | 2779080.7708 | 1162417.8407 | 2779081.233 | 1162421.1131 | 2779081.2956 | 1162422.8721 | 2779081.0448 | 1162425.1112 | 2779080.7891 | 1162425.7297
15 | 2778613.4514 | 1162634.4357 | 2778612.5819 | 1162618.8065 | 2778611.1681 | 1162610.9127 | 2778605.5376 | 1162587.9063
16 | 2779116.7127 | 1162467.3127 | 2779118.1006 | 1162475.5395 | 2779116.8754 | 1162484.4891 | 2779119.4586 | 1162494.4055
17 | 2779116.7127 | 1162467.3127 | 2779130.5532 | 1162468.6436
18 | 2779119.2051 | 1162506.1343 | 2779120.8727 | 1162499.8336 | 2779119.4586 | 1162494.4055
19 | 2779164.7339 | 1162469.8453 | 2779154.6696 | 1162470.7797 | 2779143.7527 | 1162470.2207 | 2779136.1548 | 1162469.1823 | 2779130.5532 | 1162468.6436
20 | 2779093.313 | 1162580.4771 | 2779087.3666 | 1162570.335 | 2779073.9613 | 1162561.6945 | 2779069.9905 | 1162557.5502 | 2779069.7597 | 1162555.766
21 | 2779021.8115 | 1162558.5391 | 2779026.7219 | 1162546.5852 | 2779033.95 | 1162534.3 | 2779042.3 | 1162522.2042
22 | 2779117.7349 | 1162392.1173 | 2779121.2175 | 1162390.361
23 | 2778509.9831 | 1162584.6954 | 2778515.6255 | 1162587.5544 | 2778517.5047 | 1162589.0783 | 2778518.6652 | 1162591.0479 | 2778523.727 | 1162603.899 | 2778524.5304 | 1162605.2463 | 2778525.6713 | 1162606.3256 | 2778527.5853 | 1162607.1943 | 2778529.7612 | 1162607.5037 | 2778532.1132 | 1162607.3066 | 2778534.2095 | 1162606.4236 | 2778535.9467 | 1162604.9849 | 2778540.3432 | 1162599.4547 | 2778543.4151 | 1162596.1873 | 2778546.9517 | 1162593.2785 | 2778550.942 | 1162590.8391 | 2778556.1014 | 1162588.5346 | 2778580.6723 | 1162581.3796 | 2778584.7361 | 1162580.8554 | 2778589.415 | 1162581.3058 | 2778601.5377 | 1162583.5901 | 2778603.0546 | 1162584.4026 | 2778604.6247 | 1162585.7505 | 2778605.3637 | 1162587.196 | 2778605.5376 | 1162587.9063
24 | 2777824.6423 | 1162954.1255 | 2777825.6902 | 1162952.9109 | 2777827.5825 | 1162951.9215 | 2777831.2442 | 1162950.9844 | 2777841.0033 | 1162949.1824 | 2777850.6767 | 1162947.6893 | 2777856.2233 | 1162947.5644 | 2777872.0727 | 1162948.5117 | 2777887.8846 | 1162950.7259 | 2777891.4876 | 1162952.2895 | 2777893.9045 | 1162954.552 | 2777895.9538 | 1162957.5821 | 2777897.1237 | 1162961.0532 | 2777897.7701 | 1162964.8536 | 2777899.5661 | 1162981.0996 | 2777900.6483 | 1162985.2021 | 2777902.0745 | 1162988.5585 | 2777904.2351 | 1162991.9701 | 2777907.1796 | 1162995.06 | 2777914.8788 | 1163002.2389 | 2777918.043 | 1163005.1574 | 2777920.3939 | 1163008.0964 | 2777922.3002 | 1163011.8118 | 2777923.0226 | 1163015.6367 | 2777922.5315 | 1163019.7927 | 2777921.5788 | 1163024.7802 | 2777921.7641 | 1163028.8784 | 2777922.8773 | 1163032.9707 | 2777929.1854 | 1163048.5496 | 2777932.0657 | 1163056.9092 | 2777933.8027 | 1163064.0116 | 2777934.4057 | 1163070.3131 | 2777934.7546 | 1163079.2428 | 2777935.0697 | 1163082.3217 | 2777936.6062 | 1163084.8028
25 | 2778032.4584 | 1162786.4846 | 2777824.6423 | 1162954.1255
26 | 2778031.9923 | 1162782.2891 | 2778032.4584 | 1162786.4846
27 | 2778031.9923 | 1162782.2891 | 2778040.7119 | 1162781.6911 | 2778044.9735 | 1162782.7627 | 2778048.5436 | 1162782.5905 | 2778054.3343 | 1162781.7389 | 2778057.1753 | 1162782.1122 | 2778060.8365 | 1162783.2662 | 2778063.5868 | 1162783.5923 | 2778069.5517 | 1162781.7784 | 2778071.3021 | 1162780.6625 | 2778072.4642 | 1162778.962 | 2778073.6918 | 1162777.1188 | 2778075.7503 | 1162775.9565 | 2778078.4249 | 1162775.7355 | 2778091.0271 | 1162776.3203 | 2778143.2735 | 1162770.2063 | 2778198.8908 | 1162749.7015 | 2778212.9193 | 1162742.2658 | 2778227.8421 | 1162729.4962 | 2778229.9674 | 1162723.7538
28 | 2778509.9831 | 1162584.6954 | 2778230.1173 | 1162614.8363
29 | 2778230.1173 | 1162614.8363 | 2778229.7352 | 1162615.5241 | 2778226.0304 | 1162619.974 | 2778222.0239 | 1162623.4807 | 2778214.296 | 1162631.7372 | 2778213.7195 | 1162632.5669
30 | 2778229.9674 | 1162723.7538 | 2778232.6781 | 1162717.406 | 2778237.524 | 1162708.8639 | 2778240.049 | 1162704.1232 | 2778240.7035 | 1162700.15 | 2778240.3095 | 1162697.9252 | 2778239.3483 | 1162695.6946 | 2778231.3068 | 1162684.8017 | 2778223.407 | 1162674.5581 | 2778220.0621 | 1162672.0223
31 | 2778217.9108 | 1162670.3914 | 2778220.0621 | 1162672.0223
32 | 2778217.9108 | 1162670.3914 | 2778212.6193 | 1162675.9621
33 | 2778217.9108 | 1162670.3914 | 2778210.4504 | 1162669.1136 | 2778206.4636 | 1162666.2706
34 | 2778207.2162 | 1162641.9258 | 2778204.9711 | 1162637.4885 | 2778201.1759 | 1162633.0942 | 2778199.9638 | 1162632.2116
35 | 2778207.2162 | 1162641.9258 | 2778210.6772 | 1162636.9451
36 | 2778207.2162 | 1162641.9258 | 2778206.1089 | 1162652.6363 | 2778204.5497 | 1162661.5206 | 2778206.4636 | 1162666.2706
37 | 2778210.6772 | 1162636.9451 | 2778213.7195 | 1162632.5669
38 | 2779001.5627 | 1162589.4208 | 2778999.841 | 1162583.3862 | 2779001.326 | 1162577.2913 | 2779008.7353 | 1162563.5546 | 2779008.3836 | 1162556.5709 | 2778997.1329 | 1162536.3394 | 2778996.174 | 1162530.7747
39 | 2779021.8115 | 1162558.5391 | 2779010.1912 | 1162580.8252 | 2779001.5627 | 1162589.4208
40 | 2779001.5627 | 1162589.4208 | 2778998.332 | 1162591.9719
41 | 2779021.8115 | 1162558.5391 | 2779026.606 | 1162563.0861 | 2779034.0142 | 1162576.4079 | 2779036.6121 | 1162584.426 | 2779036.4926 | 1162593.8424 | 2779036.073 | 1162601.4926 | 2779033.1934 | 1162607.0454 | 2779025.3284 | 1162616.7759 | 2779023.3788 | 1162620.9662 | 2779022.0986 | 1162626.8781 | 2779025.0962 | 1162642.0704 | 2779018.2919 | 1162662.2164
42 | 2778985.1882 | 1162601.4134 | 2778990.1619 | 1162598.4233 | 2778998.332 | 1162591.9719
43 | 2779093.313 | 1162580.4771 | 2779093.6942 | 1162589.5525 | 2779089.4777 | 1162601.1155 | 2779082.2467 | 1162610.1531 | 2779072.7131 | 1162618.2435
44 | 2779164.7339 | 1162469.8453 | 2779159.1444 | 1162482.1903 | 2779151.1755 | 1162498.4793 | 2779147.6944 | 1162508.1548
45 | 2779147.6944 | 1162508.1548 | 2779146.3101 | 1162512.0025 | 2779146.686 | 1162518.6025

## bus_geodata
| x | y | coords
0 | 2778912.9583 | 1162576.0387
1 | 2778877.0147 | 1162606.2596
2 | 2778929.4837 | 1162553.6538
3 | 2778812.4079 | 1162626.9159
4 | 2778908.1137 | 1162540.4757
5 | 2779077.2522 | 1162434.2846
6 | 2778646.6683 | 1162634.8337
7 | 2778895.7038 | 1162532.0523
8 | 2779056.7088 | 1162501.7916
9 | 2779080.7891 | 1162425.7297
10 | 2778613.4514 | 1162634.4357
11 | 2778891.8461 | 1162529.4339
12 | 2779116.7127 | 1162467.3127
13 | 2779119.4586 | 1162494.4055
14 | 2779130.5532 | 1162468.6436
15 | 2779069.7597 | 1162555.766
16 | 2779042.3 | 1162522.2042
17 | 2779117.7349 | 1162392.1173
18 | 2778605.5376 | 1162587.9063
19 | 2777936.6062 | 1163084.8028
20 | 2777824.6423 | 1162954.1255
21 | 2778032.4584 | 1162786.4846
22 | 2778031.9923 | 1162782.2891
23 | 2778509.9831 | 1162584.6954
24 | 2778230.1173 | 1162614.8363
25 | 2778229.9674 | 1162723.7538
26 | 2778220.0621 | 1162672.0223
27 | 2778217.9108 | 1162670.3914
28 | 2778199.9638 | 1162632.2116
29 | 2778207.2162 | 1162641.9258
30 | 2778210.6772 | 1162636.9451
31 | 2778206.4636 | 1162666.2706
32 | 2778213.7195 | 1162632.5669
33 | 2778212.6193 | 1162675.9621
34 | 2778996.174 | 1162530.7747
35 | 2779001.5627 | 1162589.4208
36 | 2779021.8115 | 1162558.5391
37 | 2778998.332 | 1162591.9719
38 | 2779018.2919 | 1162662.2164
39 | 2778985.1882 | 1162601.4134
40 | 2779093.313 | 1162580.4771
41 | 2779072.7131 | 1162618.2435
42 | 2779119.2051 | 1162506.1343
43 | 2779164.7339 | 1162469.8453
44 | 2779121.2175 | 1162390.361
45 | 2779147.6944 | 1162508.1548
46 | 2779146.686 | 1162518.6025
47 | 2778908.1137 | 1162540.4757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1